## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_901-4_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_901-4_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_901-4_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_901-4_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_901-4_0_2_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_901-4_0_2_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_901-4_0_2_node_38 | 0.4 | n |  | TRUE
7 | bus_LV_901-4_0_2_node_37 | 0.4 | n |  | TRUE
8 | bus_LV_901-4_0_2_node_78 | 0.4 | n |  | TRUE
9 | bus_LV_901-4_0_2_node_23 | 0.4 | n |  | TRUE
10 | bus_LV_901-4_0_2_node_44 | 0.4 | n |  | TRUE
11 | bus_LV_901-4_0_2_node_12 | 0.4 | n |  | TRUE
12 | bus_LV_901-4_0_2_node_14 | 0.4 | n |  | TRUE
13 | bus_LV_901-4_0_2_node_11 | 0.4 | n |  | TRUE
14 | bus_LV_901-4_0_2_node_21 | 0.4 | n |  | TRUE
15 | bus_LV_901-4_0_2_node_6 | 0.4 | n |  | TRUE
16 | bus_LV_901-4_0_2_node_7 | 0.4 | n |  | TRUE
17 | bus_LV_901-4_0_2_node_9 | 0.4 | n |  | TRUE
18 | bus_LV_901-4_0_2_node_8 | 0.4 | n |  | TRUE
19 | bus_LV_901-4_0_2_node_10 | 0.4 | n |  | TRUE
20 | bus_LV_901-4_0_2_node_56 | 0.4 | n |  | TRUE
21 | bus_LV_901-4_0_2_node_54 | 0.4 | n |  | TRUE
22 | bus_LV_901-4_0_2_node_55 | 0.4 | n |  | TRUE
23 | bus_LV_901-4_0_2_node_79 | 0.4 | n |  | TRUE
24 | bus_LV_901-4_0_2_node_57 | 0.4 | n |  | TRUE
25 | bus_LV_901-4_0_2_node_31 | 0.4 | n |  | TRUE
26 | bus_LV_901-4_0_2_node_32 | 0.4 | n |  | TRUE
27 | bus_LV_901-4_0_2_node_30 | 0.4 | n |  | TRUE
28 | bus_LV_901-4_0_2_node_13 | 0.4 | n |  | TRUE
29 | bus_LV_901-4_0_2_node_15 | 0.4 | n |  | TRUE
30 | bus_LV_901-4_0_2_node_16 | 0.4 | n |  | TRUE
31 | bus_LV_901-4_0_2_node_35 | 0.4 | n |  | TRUE
32 | bus_LV_901-4_0_2_node_42 | 0.4 | n |  | TRUE
33 | bus_LV_901-4_0_2_node_40 | 0.4 | n |  | TRUE
34 | bus_LV_901-4_0_2_node_36 | 0.4 | n |  | TRUE
35 | bus_LV_901-4_0_2_node_43 | 0.4 | n |  | TRUE
36 | bus_LV_901-4_0_2_node_39 | 0.4 | n |  | TRUE
37 | bus_LV_901-4_0_2_node_17 | 0.4 | n |  | TRUE
38 | bus_LV_901-4_0_2_node_18 | 0.4 | n |  | TRUE
39 | bus_LV_901-4_0_2_node_19 | 0.4 | n |  | TRUE
40 | bus_LV_901-4_0_2_node_20 | 0.4 | n |  | TRUE
41 | bus_LV_901-4_0_2_node_27 | 0.4 | n |  | TRUE
42 | bus_LV_901-4_0_2_node_28 | 0.4 | n |  | TRUE
43 | bus_LV_901-4_0_2_node_26 | 0.4 | n |  | TRUE
44 | bus_LV_901-4_0_2_node_22 | 0.4 | n |  | TRUE
45 | bus_LV_901-4_0_2_node_24 | 0.4 | n |  | TRUE
46 | bus_LV_901-4_0_2_node_25 | 0.4 | n |  | TRUE
47 | bus_LV_901-4_0_2_node_29 | 0.4 | n |  | TRUE
48 | bus_LV_901-4_0_2_node_41 | 0.4 | n |  | TRUE
49 | bus_LV_901-4_0_2_node_47 | 0.4 | n |  | TRUE
50 | bus_LV_901-4_0_2_node_33 | 0.4 | n |  | TRUE
51 | bus_LV_901-4_0_2_node_34 | 0.4 | n |  | TRUE
52 | bus_LV_901-4_0_2_node_45 | 0.4 | n |  | TRUE
53 | bus_LV_901-4_0_2_node_46 | 0.4 | n |  | TRUE
54 | bus_LV_901-4_0_2_node_52 | 0.4 | n |  | TRUE
55 | bus_LV_901-4_0_2_node_53 | 0.4 | n |  | TRUE
56 | bus_LV_901-4_0_2_node_76 | 0.4 | n |  | TRUE
57 | bus_LV_901-4_0_2_node_73 | 0.4 | n |  | TRUE
58 | bus_LV_901-4_0_2_node_75 | 0.4 | n |  | TRUE
59 | bus_LV_901-4_0_2_node_77 | 0.4 | n |  | TRUE
60 | bus_LV_901-4_0_2_node_48 | 0.4 | n |  | TRUE
61 | bus_LV_901-4_0_2_node_49 | 0.4 | n |  | TRUE
62 | bus_LV_901-4_0_2_node_67 | 0.4 | n |  | TRUE
63 | bus_LV_901-4_0_2_node_66 | 0.4 | n |  | TRUE
64 | bus_LV_901-4_0_2_node_68 | 0.4 | n |  | TRUE
65 | bus_LV_901-4_0_2_node_62 | 0.4 | n |  | TRUE
66 | bus_LV_901-4_0_2_node_50 | 0.4 | n |  | TRUE
67 | bus_LV_901-4_0_2_node_51 | 0.4 | n |  | TRUE
68 | bus_LV_901-4_0_2_node_65 | 0.4 | n |  | TRUE
69 | bus_LV_901-4_0_2_node_64 | 0.4 | n |  | TRUE
70 | bus_LV_901-4_0_2_node_59 | 0.4 | n |  | TRUE
71 | bus_LV_901-4_0_2_node_60 | 0.4 | n |  | TRUE
72 | bus_LV_901-4_0_2_node_61 | 0.4 | n |  | TRUE
73 | bus_LV_901-4_0_2_node_63 | 0.4 | n |  | TRUE
74 | bus_LV_901-4_0_2_node_71 | 0.4 | n |  | TRUE
75 | bus_LV_901-4_0_2_node_69 | 0.4 | n |  | TRUE
76 | bus_LV_901-4_0_2_node_70 | 0.4 | n |  | TRUE
77 | bus_MV_199_0_node_273 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_901-4_0_2_load_0 | 0 | 0.0024864 | 0.00062315 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_901-4_0_2_load_1 | 1 | 0.0005586 | 0.00014 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_901-4_0_2_load_38 | 6 | 0.0014097 | 0.00035331 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_901-4_0_2_load_37 | 7 | 0.0033371 | 0.00083637 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_901-4_0_2_load_78 | 8 | 0.0051999 | 0.0013032 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_901-4_0_2_load_23 | 9 | 0.0010062 | 0.00025217 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_901-4_0_2_load_44 | 10 | 0.00058502 | 0.00014662 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_901-4_0_2_load_14 | 12 | 0.00095611 | 0.00023962 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_901-4_0_2_load_11 | 13 | 0.0036805 | 0.00092242 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_901-4_0_2_load_21 | 14 | 0.0014188 | 0.00035557 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_901-4_0_2_load_6 | 15 | 0.0026075 | 0.00065349 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_901-4_0_2_load_7 | 16 | 0.0029681 | 0.00074389 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_901-4_0_2_load_9 | 17 | 0.0016628 | 0.00041675 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_901-4_0_2_load_8 | 18 | 0.0020609 | 0.00051651 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_901-4_0_2_load_10 | 19 | 0.0047006 | 0.0011781 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_901-4_0_2_load_54 | 21 | 0.003802 | 0.00095287 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_901-4_0_2_load_79 | 23 | 0.0015648 | 0.00039218 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_901-4_0_2_load_57 | 24 | 0.0011885 | 0.00029786 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_901-4_0_2_load_32 | 26 | 0.0038084 | 0.00095448 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_901-4_0_2_load_30 | 27 | 0.0017104 | 0.00042868 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_901-4_0_2_load_15 | 29 | 0.002377 | 0.00059572 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_901-4_0_2_load_16 | 30 | 0.00098277 | 0.00024631 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_901-4_0_2_load_35 | 31 | 0.0011612 | 0.00029101 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_901-4_0_2_load_42 | 32 | 0.00035836 | 8.9814e-05 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_901-4_0_2_load_40 | 33 | 0.0018793 | 0.00047101 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_901-4_0_2_load_36 | 34 | 0.0024923 | 0.00062463 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_901-4_0_2_load_43 | 35 | 0.0016419 | 0.0004115 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_901-4_0_2_load_39 | 36 | 0.002842 | 0.00071228 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_901-4_0_2_load_17 | 37 | 0.0033541 | 0.00084061 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_901-4_0_2_load_19 | 39 | 0.0021893 | 0.00054868 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_901-4_0_2_load_28 | 42 | 0.0056139 | 0.001407 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_901-4_0_2_load_22 | 44 | 0.0019597 | 0.00049114 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_901-4_0_2_load_25 | 46 | 0.0021386 | 0.00053599 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_901-4_0_2_load_41 | 48 | 0.0016965 | 0.00042519 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_901-4_0_2_load_47 | 49 | 0.0021838 | 0.00054731 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_901-4_0_2_load_33 | 50 | 0.0019272 | 0.000483 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_901-4_0_2_load_34 | 51 | 0.0018337 | 0.00045956 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_901-4_0_2_load_45 | 52 | 0.0034766 | 0.00087132 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_901-4_0_2_load_46 | 53 | 0.00036084 | 9.0435e-05 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_901-4_0_2_load_52 | 54 | 0.00041151 | 0.00010313 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_901-4_0_2_load_53 | 55 | 0.00042999 | 0.00010777 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_901-4_0_2_load_76 | 56 | 0.0039915 | 0.0010004 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_901-4_0_2_load_73 | 57 | 0.0071346 | 0.0017881 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_901-4_0_2_load_77 | 59 | 0.0070553 | 0.0017682 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_901-4_0_2_load_48 | 60 | 0.00053945 | 0.0001352 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_901-4_0_2_load_49 | 61 | 0.00078753 | 0.00019737 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_901-4_0_2_load_67 | 62 | 0.00033758 | 8.4605e-05 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_901-4_0_2_load_66 | 63 | 0.00097173 | 0.00024354 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_901-4_0_2_load_68 | 64 | 0.00022553 | 5.6523e-05 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_901-4_0_2_load_62 | 65 | 0.00072711 | 0.00018223 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_901-4_0_2_load_50 | 66 | 0.00049397 | 0.0001238 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_901-4_0_2_load_51 | 67 | 0.00036358 | 9.1121e-05 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_901-4_0_2_load_65 | 68 | 0.00043177 | 0.00010821 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_901-4_0_2_load_64 | 69 | 0.00041175 | 0.00010319 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_901-4_0_2_load_59 | 70 | 0.00033206 | 8.3223e-05 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_901-4_0_2_load_60 | 71 | 0.00036396 | 9.1218e-05 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_901-4_0_2_load_63 | 73 | 0.00017781 | 4.4565e-05 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_901-4_0_2_load_71 | 74 | 0.00033182 | 8.3162e-05 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_901-4_0_2_load_69 | 75 | 0.00021382 | 5.3589e-05 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_901-4_0_2_load_70 | 76 | 0.00064871 | 0.00016258 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 41 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_901-4_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.028178 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_901-4_0_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.022954 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_901-4_0_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.0073725 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_901-4_0_2_line_3 | NAYY 4x150 SE | 2 | 4 | 0.019533 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_901-4_0_2_line_4 | NAYY 4x150 SE | 2 | 5 | 0.029384 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_901-4_0_2_line_5 | NAYY 4x150 SE | 3 | 6 | 0.023089 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_901-4_0_2_line_6 | NAYY 4x150 SE | 3 | 7 | 0.051409 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_901-4_0_2_line_7 | NAYY 4x150 SE | 4 | 8 | 0.026111 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_901-4_0_2_line_8 | NAYY 4x150 SE | 5 | 9 | 0.035847 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_901-4_0_2_line_9 | NAYY 4x150 SE | 6 | 10 | 0.027153 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_901-4_0_2_line_10 | NAYY 4x150 SE | 9 | 14 | 0.012282 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_901-4_0_2_line_11 | NAYY 4x150 SE | 10 | 52 | 0.012042 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_901-4_0_2_line_12 | NAYY 4x150 SE | 11 | 12 | 0.020584 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_901-4_0_2_line_13 | NAYY 4x150 SE | 11 | 13 | 0.015233 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_901-4_0_2_line_14 | NAYY 4x150 SE | 12 | 31 | 0.0039086 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_901-4_0_2_line_15 | NAYY 4x150 SE | 13 | 28 | 0.010802 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_901-4_0_2_line_16 | NAYY 4x150 SE | 14 | 44 | 0.0082349 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_901-4_0_2_line_17 | NAYY 4x150 SE | 15 | 16 | 0.027326 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
18 | LV_901-4_0_2_line_18 | NAYY 4x150 SE | 15 | 17 | 0.17999 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
19 | LV_901-4_0_2_line_19 | NAYY 4x150 SE | 16 | 18 | 0.027534 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
20 | LV_901-4_0_2_line_20 | NAYY 4x150 SE | 17 | 19 | 0.040976 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_901-4_0_2_line_21 | NAYY 4x150 SE | 17 | 20 | 0.22564 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_901-4_0_2_line_22 | NAYY 4x150 SE | 18 | 25 | 0.019111 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
23 | LV_901-4_0_2_line_23 | NAYY 4x150 SE | 20 | 24 | 0.0095324 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_901-4_0_2_line_24 | NAYY 4x150 SE | 20 | 21 | 0.24024 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_901-4_0_2_line_25 | NAYY 4x150 SE | 21 | 22 | 0.095512 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_901-4_0_2_line_26 | NAYY 4x150 SE | 22 | 23 | 0.24723 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_901-4_0_2_line_27 | NAYY 4x150 SE | 23 | 62 | 0.40996 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_901-4_0_2_line_28 | NAYY 4x150 SE | 25 | 26 | 0.038043 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_901-4_0_2_line_29 | NAYY 4x150 SE | 25 | 27 | 0.0062283 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
30 | LV_901-4_0_2_line_30 | NAYY 4x150 SE | 26 | 50 | 0.0071076 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_901-4_0_2_line_31 | NAYY 4x150 SE | 27 | 39 | 0.042337 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
32 | LV_901-4_0_2_line_32 | NAYY 4x150 SE | 28 | 29 | 0.016937 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_901-4_0_2_line_33 | NAYY 4x150 SE | 28 | 30 | 0.017855 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_901-4_0_2_line_34 | NAYY 4x150 SE | 29 | 32 | 0.044045 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_901-4_0_2_line_35 | NAYY 4x150 SE | 30 | 33 | 0.017415 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_901-4_0_2_line_36 | NAYY 4x150 SE | 31 | 34 | 0.02763 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_901-4_0_2_line_37 | NAYY 4x150 SE | 32 | 35 | 0.011907 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_901-4_0_2_line_38 | NAYY 4x150 SE | 33 | 36 | 0.020364 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_901-4_0_2_line_39 | NAYY 4x150 SE | 35 | 54 | 0.011776 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_901-4_0_2_line_40 | NAYY 4x150 SE | 36 | 47 | 0.010142 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_901-4_0_2_line_41 | NAYY 4x150 SE | 37 | 38 | 0.012907 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_901-4_0_2_line_42 | NAYY 4x150 SE | 38 | 39 | 0.028474 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
43 | LV_901-4_0_2_line_43 | NAYY 4x150 SE | 38 | 40 | 0.012098 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
44 | LV_901-4_0_2_line_44 | NAYY 4x150 SE | 40 | 41 | 0.01138 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
45 | LV_901-4_0_2_line_45 | NAYY 4x150 SE | 40 | 42 | 0.034352 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_901-4_0_2_line_46 | NAYY 4x150 SE | 42 | 43 | 0.019662 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_901-4_0_2_line_47 | NAYY 4x150 SE | 43 | 47 | 0.009453 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_901-4_0_2_line_48 | NAYY 4x150 SE | 43 | 46 | 0.011895 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_901-4_0_2_line_49 | NAYY 4x150 SE | 44 | 45 | 0.01853 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_901-4_0_2_line_50 | NAYY 4x150 SE | 45 | 46 | 0.030166 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_901-4_0_2_line_51 | NAYY 4x150 SE | 47 | 48 | 0.036588 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_901-4_0_2_line_52 | NAYY 4x150 SE | 48 | 49 | 0.021232 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_901-4_0_2_line_53 | NAYY 4x150 SE | 49 | 53 | 0.022013 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_901-4_0_2_line_54 | NAYY 4x150 SE | 50 | 51 | 0.0076653 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_901-4_0_2_line_55 | NAYY 4x150 SE | 52 | 56 | 0.21581 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_901-4_0_2_line_56 | NAYY 4x150 SE | 54 | 55 | 0.017022 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_901-4_0_2_line_57 | NAYY 4x150 SE | 56 | 58 | 0.047901 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_901-4_0_2_line_58 | NAYY 4x150 SE | 57 | 58 | 0.0087099 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_901-4_0_2_line_59 | NAYY 4x150 SE | 58 | 59 | 0.018913 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_901-4_0_2_line_60 | NAYY 4x150 SE | 60 | 61 | 0.010402 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_901-4_0_2_line_61 | NAYY 4x150 SE | 61 | 62 | 0.014969 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_901-4_0_2_line_62 | NAYY 4x150 SE | 62 | 64 | 0.0175 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_901-4_0_2_line_63 | NAYY 4x150 SE | 63 | 64 | 0.17506 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_901-4_0_2_line_64 | NAYY 4x150 SE | 63 | 65 | 0.060441 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_901-4_0_2_line_65 | NAYY 4x150 SE | 65 | 71 | 0.012442 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_901-4_0_2_line_66 | NAYY 4x150 SE | 66 | 67 | 0.028357 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_901-4_0_2_line_67 | NAYY 4x150 SE | 67 | 68 | 0.0013817 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_901-4_0_2_line_68 | NAYY 4x150 SE | 68 | 69 | 0.0074667 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_901-4_0_2_line_69 | NAYY 4x150 SE | 69 | 73 | 0.018033 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_901-4_0_2_line_70 | NAYY 4x150 SE | 70 | 71 | 0.021197 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_901-4_0_2_line_71 | NAYY 4x150 SE | 70 | 72 | 0.020053 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_901-4_0_2_line_72 | NAYY 4x150 SE | 72 | 73 | 0.038661 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_901-4_0_2_line_73 | NAYY 4x150 SE | 72 | 74 | 0.17218 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_901-4_0_2_line_74 | NAYY 4x150 SE | 74 | 75 | 0.013081 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_901-4_0_2_line_75 | NAYY 4x150 SE | 75 | 76 | 0.065501 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_901-4_0_2_trafo_27 | 0.25 MVA 20/0.4 kV | 77 | 41 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12
0 | 2624630.6824 | 1195425.4491 | 2624654.4821 | 1195440.5338
1 | 2624611.2945 | 1195413.1606 | 2624630.6824 | 1195425.4491
2 | 2624660.7092 | 1195444.4806 | 2624654.4821 | 1195440.5338
3 | 2624607.2152 | 1195402.8383 | 2624617.0231 | 1195405.8802 | 2624611.2945 | 1195413.1606
4 | 2624611.2945 | 1195413.1606 | 2624617.0231 | 1195405.8802 | 2624628.4961 | 1195389.3518
5 | 2624660.7092 | 1195444.4806 | 2624657.7519 | 1195454.0513 | 2624652.2745 | 1195465.9206
6 | 2624660.7092 | 1195444.4806 | 2624666.5618 | 1195436.7005 | 2624671.1051 | 1195432.3391 | 2624673.2509 | 1195431.1361 | 2624675.6464 | 1195430.3345 | 2624677.6107 | 1195430.6538 | 2624681.2172 | 1195431.7915 | 2624686.3273 | 1195434.1249 | 2624689.7905 | 1195436.7628 | 2624692.7596 | 1195439.1208 | 2624696.1108 | 1195441.1912 | 2624700.4457 | 1195443.0657 | 2624702.5795 | 1195443.5699
7 | 2624607.2152 | 1195402.8383 | 2624602.9572 | 1195400.8087 | 2624583.5989 | 1195391.7015
8 | 2624628.4961 | 1195389.3518 | 2624636.7568 | 1195392.543 | 2624642.9633 | 1195393.1911 | 2624655.086 | 1195392.8074 | 2624663.7012 | 1195393.1653
9 | 2624652.2745 | 1195465.9206 | 2624640.8971 | 1195490.5755
10 | 2624663.7012 | 1195393.1653 | 2624672.2429 | 1195394.7235 | 2624675.722 | 1195395.6444
11 | 2624635.8515 | 1195501.509 | 2624640.8971 | 1195490.5755
12 | 2624641.587 | 1195344.3814 | 2624643.9087 | 1195323.9292
13 | 2624641.587 | 1195344.3814 | 2624656.6675 | 1195346.5315
14 | 2624644.3496 | 1195320.0455 | 2624643.9087 | 1195323.9292
15 | 2624667.361 | 1195348.0561 | 2624656.6675 | 1195346.5315
16 | 2624675.722 | 1195395.6444 | 2624683.6827 | 1195397.7516
17 | 2624900.8016 | 1195459.2049 | 2624876.6248 | 1195446.4702
18 | 2624900.8016 | 1195459.2049 | 2625064.8545 | 1195533.2638
19 | 2624876.6248 | 1195446.4702 | 2624855.4009 | 1195435.291 | 2624852.1128 | 1195433.9634
20 | 2625064.8545 | 1195533.2638 | 2625069.647 | 1195536.1042 | 2625083.4353 | 1195545.4447 | 2625096.0654 | 1195554.8248 | 2625098.5387 | 1195556.5546
21 | 2625064.8545 | 1195533.2638 | 2625133.4585 | 1195318.3098
22 | 2624833.9308 | 1195428.187 | 2624838.429 | 1195429.2618 | 2624845.9697 | 1195431.4831 | 2624852.1128 | 1195433.9634
23 | 2625133.4585 | 1195318.3098 | 2625132.9422 | 1195308.7914
24 | 2625133.4585 | 1195318.3098 | 2625371.0815 | 1195353.659
25 | 2625458.9116 | 1195318.9393 | 2625444.6609 | 1195328.7952 | 2625429.7406 | 1195336.6361 | 2625413.8285 | 1195343.0387 | 2625374.387 | 1195353.7551 | 2625371.0815 | 1195353.659
26 | 2625458.9116 | 1195318.9393 | 2625345.7897 | 1195099.1082
27 | 2624943.3535 | 1195020.9123 | 2625345.7897 | 1195099.1082
28 | 2624833.9308 | 1195428.187 | 2624834.3186 | 1195426.5433 | 2624836.079 | 1195419.0688 | 2624835.968 | 1195416.4447 | 2624834.6674 | 1195414.0825 | 2624833.0363 | 1195412.4082 | 2624831.8319 | 1195410.7356 | 2624831.0016 | 1195408.8645 | 2624830.5786 | 1195406.1613 | 2624830.1822 | 1195400.69 | 2624830.6018 | 1195392.0155
29 | 2624833.9308 | 1195428.187 | 2624827.7561 | 1195427.3719
30 | 2624830.9451 | 1195384.9163 | 2624830.6018 | 1195392.0155
31 | 2624785.7027 | 1195422.5979 | 2624788.926 | 1195423.1425 | 2624799.9602 | 1195424.3888 | 2624814.1943 | 1195425.5817 | 2624827.7561 | 1195427.3719
32 | 2624667.361 | 1195348.0561 | 2624671.7826 | 1195331.7069
33 | 2624667.361 | 1195348.0561 | 2624684.8691 | 1195351.5564
34 | 2624671.7826 | 1195331.7069 | 2624681.4492 | 1195295.9639 | 2624688.3586 | 1195297.1906
35 | 2624701.9458 | 1195354.9704 | 2624684.8691 | 1195351.5564
36 | 2624644.3496 | 1195320.0455 | 2624647.466 | 1195292.5921
37 | 2624688.3586 | 1195297.1906 | 2624700.0826 | 1195299.2721
38 | 2624721.9151 | 1195358.9627 | 2624701.9458 | 1195354.9704
39 | 2624711.6775 | 1195301.3308 | 2624700.0826 | 1195299.2721
40 | 2624731.8607 | 1195360.951 | 2624721.9151 | 1195358.9627
41 | 2624757.7137 | 1195417.377 | 2624754.5513 | 1195429.8905
42 | 2624757.7137 | 1195417.377 | 2624775.3668 | 1195420.8518 | 2624785.7027 | 1195422.5979
43 | 2624745.8856 | 1195414.6823 | 2624757.7137 | 1195417.377
44 | 2624734.7887 | 1195412.0239 | 2624745.8856 | 1195414.6823
45 | 2624745.8856 | 1195414.6823 | 2624746.8052 | 1195411.5399 | 2624748.917 | 1195401.9657 | 2624741.4222 | 1195384.9034 | 2624739.6269 | 1195382.9708
46 | 2624726.2448 | 1195368.5653 | 2624739.6269 | 1195382.9708
47 | 2624731.8607 | 1195360.951 | 2624726.2448 | 1195368.5653
48 | 2624726.2448 | 1195368.5653 | 2624718.8071 | 1195377.8481
49 | 2624701.5958 | 1195402.493 | 2624683.6827 | 1195397.7516
50 | 2624701.5958 | 1195402.493 | 2624707.1303 | 1195392.4215 | 2624718.8071 | 1195377.8481
51 | 2624731.8607 | 1195360.951 | 2624754.2719 | 1195332.0297
52 | 2624754.2719 | 1195332.0297 | 2624765.2561 | 1195317.8546 | 2624767.4585 | 1195315.3985
53 | 2624781.9321 | 1195298.8243 | 2624779.4084 | 1195302.0713 | 2624767.4585 | 1195315.3985
54 | 2624831.3155 | 1195377.2599 | 2624830.9451 | 1195384.9163
55 | 2624635.8515 | 1195501.509 | 2624487.2594 | 1195658.0217
56 | 2624728.4376 | 1195304.3065 | 2624711.6775 | 1195301.3308
57 | 2624447.0749 | 1195682.2778 | 2624456.2886 | 1195674.0221 | 2624467.6389 | 1195668.6433 | 2624475.1227 | 1195662.3816 | 2624482.4408 | 1195661.2664 | 2624487.2594 | 1195658.0217
58 | 2624447.0749 | 1195682.2778 | 2624442.902 | 1195685.5514 | 2624440.3614 | 1195687.8201
59 | 2624447.0749 | 1195682.2778 | 2624457.8926 | 1195697.7917
60 | 2624937.7662 | 1195034.7996 | 2624935.7005 | 1195039.9341 | 2624934.2224 | 1195044.5713
61 | 2624937.7662 | 1195034.7996 | 2624943.3535 | 1195020.9123
62 | 2624943.3535 | 1195020.9123 | 2624943.9612 | 1195019.4019 | 2624946.0396 | 1195010.6503 | 2624946.8434 | 1195003.8202
63 | 2624776.2095 | 1194964.699 | 2624946.8434 | 1195003.8202
64 | 2624776.2095 | 1194964.699 | 2624775.0115 | 1194957.7681 | 2624759.5461 | 1194942.6627 | 2624734.6419 | 1194922.9056
65 | 2624723.6621 | 1194917.1763 | 2624732.6547 | 1194921.3291 | 2624734.6419 | 1194922.9056
66 | 2624677.2134 | 1194993.3477 | 2624679.9177 | 1194965.1205
67 | 2624680.0495 | 1194963.7451 | 2624679.9177 | 1194965.1205
68 | 2624680.7616 | 1194956.3124 | 2624680.0495 | 1194963.7451
69 | 2624682.4948 | 1194938.3632 | 2624680.8723 | 1194955.1561 | 2624680.7616 | 1194956.3124
70 | 2624704.418 | 1194908.2892 | 2624723.6621 | 1194917.1763
71 | 2624686.2126 | 1194899.8817 | 2624704.418 | 1194908.2892
72 | 2624686.2126 | 1194899.8817 | 2624682.4948 | 1194938.3632
73 | 2624686.2126 | 1194899.8817 | 2624739.4004 | 1194736.1218
74 | 2624746.4759 | 1194725.1191 | 2624739.4004 | 1194736.1218
75 | 2624746.4759 | 1194725.1191 | 2624762.422 | 1194700.3222 | 2624786.695 | 1194673.7099

## bus_geodata
| x | y | coords
0 | 2624630.6824 | 1195425.4491
1 | 2624654.4821 | 1195440.5338
2 | 2624611.2945 | 1195413.1606
3 | 2624660.7092 | 1195444.4806
4 | 2624607.2153 | 1195402.8383
5 | 2624628.4961 | 1195389.3518
6 | 2624652.2745 | 1195465.9206
7 | 2624702.5795 | 1195443.5699
8 | 2624583.5989 | 1195391.7015
9 | 2624663.7012 | 1195393.1653
10 | 2624640.8971 | 1195490.5755
11 | 2624641.587 | 1195344.3814
12 | 2624643.9087 | 1195323.9292
13 | 2624656.6675 | 1195346.5315
14 | 2624675.722 | 1195395.6444
15 | 2624900.8016 | 1195459.2049
16 | 2624876.6248 | 1195446.4702
17 | 2625064.8545 | 1195533.2638
18 | 2624852.1128 | 1195433.9634
19 | 2625098.5387 | 1195556.5546
20 | 2625133.4585 | 1195318.3098
21 | 2625371.0815 | 1195353.659
22 | 2625458.9116 | 1195318.9393
23 | 2625345.7897 | 1195099.1082
24 | 2625132.9422 | 1195308.7914
25 | 2624833.9308 | 1195428.187
26 | 2624830.6018 | 1195392.0155
27 | 2624827.7561 | 1195427.3719
28 | 2624667.361 | 1195348.0561
29 | 2624671.7826 | 1195331.7069
30 | 2624684.8691 | 1195351.5564
31 | 2624644.3496 | 1195320.0455
32 | 2624688.3586 | 1195297.1906
33 | 2624701.9458 | 1195354.9704
34 | 2624647.466 | 1195292.5921
35 | 2624700.0826 | 1195299.2721
36 | 2624721.9151 | 1195358.9627
37 | 2624754.5513 | 1195429.8904
38 | 2624757.7137 | 1195417.377
39 | 2624785.7027 | 1195422.5979
40 | 2624745.8856 | 1195414.6823
41 | 2624734.7887 | 1195412.0239
42 | 2624739.6269 | 1195382.9708
43 | 2624726.2448 | 1195368.5653
44 | 2624683.6827 | 1195397.7516
45 | 2624701.5958 | 1195402.493
46 | 2624718.8071 | 1195377.8481
47 | 2624731.8607 | 1195360.951
48 | 2624754.2719 | 1195332.0297
49 | 2624767.4585 | 1195315.3985
50 | 2624830.9451 | 1195384.9163
51 | 2624831.3155 | 1195377.2599
52 | 2624635.8515 | 1195501.509
53 | 2624781.9321 | 1195298.8243
54 | 2624711.6775 | 1195301.3308
55 | 2624728.4376 | 1195304.3065
56 | 2624487.2594 | 1195658.0217
57 | 2624440.3614 | 1195687.8201
58 | 2624447.0749 | 1195682.2778
59 | 2624457.8926 | 1195697.7917
60 | 2624934.2224 | 1195044.5713
61 | 2624937.7662 | 1195034.7996
62 | 2624943.3535 | 1195020.9123
63 | 2624776.2095 | 1194964.699
64 | 2624946.8434 | 1195003.8202
65 | 2624734.6419 | 1194922.9056
66 | 2624677.2134 | 1194993.3477
67 | 2624679.9177 | 1194965.1205
68 | 2624680.0495 | 1194963.7451
69 | 2624680.7616 | 1194956.3124
70 | 2624704.418 | 1194908.2892
71 | 2624723.6621 | 1194917.1763
72 | 2624686.2126 | 1194899.8817
73 | 2624682.4948 | 1194938.3632
74 | 2624739.4004 | 1194736.1218
75 | 2624746.4759 | 1194725.1191
76 | 2624786.695 | 1194673.7099
77 | 2624745.8856 | 1195414.6823

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1