## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_901-5_3_2_node_125 | 0.4 | n |  | TRUE
1 | bus_LV_901-5_3_2_node_126 | 0.4 | n |  | TRUE
2 | bus_LV_901-5_3_2_node_127 | 0.4 | n |  | TRUE
3 | bus_LV_901-5_3_2_node_128 | 0.4 | n |  | TRUE
4 | bus_LV_901-5_3_2_node_129 | 0.4 | n |  | TRUE
5 | bus_LV_901-5_3_2_node_131 | 0.4 | n |  | TRUE
6 | bus_LV_901-5_3_2_node_145 | 0.4 | n |  | TRUE
7 | bus_LV_901-5_3_2_node_134 | 0.4 | n |  | TRUE
8 | bus_LV_901-5_3_2_node_136 | 0.4 | n |  | TRUE
9 | bus_LV_901-5_3_2_node_132 | 0.4 | n |  | TRUE
10 | bus_LV_901-5_3_2_node_133 | 0.4 | n |  | TRUE
11 | bus_LV_901-5_3_2_node_135 | 0.4 | n |  | TRUE
12 | bus_LV_901-5_3_2_node_137 | 0.4 | n |  | TRUE
13 | bus_LV_901-5_3_2_node_138 | 0.4 | n |  | TRUE
14 | bus_LV_901-5_3_2_node_148 | 0.4 | n |  | TRUE
15 | bus_LV_901-5_3_2_node_139 | 0.4 | n |  | TRUE
16 | bus_LV_901-5_3_2_node_140 | 0.4 | n |  | TRUE
17 | bus_LV_901-5_3_2_node_141 | 0.4 | n |  | TRUE
18 | bus_LV_901-5_3_2_node_143 | 0.4 | n |  | TRUE
19 | bus_LV_901-5_3_2_node_144 | 0.4 | n |  | TRUE
20 | bus_LV_901-5_3_2_node_142 | 0.4 | n |  | TRUE
21 | bus_LV_901-5_3_2_node_247 | 0.4 | n |  | TRUE
22 | bus_LV_901-5_3_2_node_178 | 0.4 | n |  | TRUE
23 | bus_LV_901-5_3_2_node_180 | 0.4 | n |  | TRUE
24 | bus_LV_901-5_3_2_node_248 | 0.4 | n |  | TRUE
25 | bus_LV_901-5_3_2_node_146 | 0.4 | n |  | TRUE
26 | bus_LV_901-5_3_2_node_147 | 0.4 | n |  | TRUE
27 | bus_LV_901-5_3_2_node_149 | 0.4 | n |  | TRUE
28 | bus_LV_901-5_3_2_node_150 | 0.4 | n |  | TRUE
29 | bus_LV_901-5_3_2_node_155 | 0.4 | n |  | TRUE
30 | bus_LV_901-5_3_2_node_151 | 0.4 | n |  | TRUE
31 | bus_LV_901-5_3_2_node_152 | 0.4 | n |  | TRUE
32 | bus_LV_901-5_3_2_node_153 | 0.4 | n |  | TRUE
33 | bus_LV_901-5_3_2_node_156 | 0.4 | n |  | TRUE
34 | bus_LV_901-5_3_2_node_154 | 0.4 | n |  | TRUE
35 | bus_LV_901-5_3_2_node_160 | 0.4 | n |  | TRUE
36 | bus_LV_901-5_3_2_node_161 | 0.4 | n |  | TRUE
37 | bus_LV_901-5_3_2_node_158 | 0.4 | n |  | TRUE
38 | bus_LV_901-5_3_2_node_159 | 0.4 | n |  | TRUE
39 | bus_LV_901-5_3_2_node_157 | 0.4 | n |  | TRUE
40 | bus_LV_901-5_3_2_node_162 | 0.4 | n |  | TRUE
41 | bus_LV_901-5_3_2_node_164 | 0.4 | n |  | TRUE
42 | bus_LV_901-5_3_2_node_176 | 0.4 | n |  | TRUE
43 | bus_LV_901-5_3_2_node_166 | 0.4 | n |  | TRUE
44 | bus_LV_901-5_3_2_node_165 | 0.4 | n |  | TRUE
45 | bus_LV_901-5_3_2_node_167 | 0.4 | n |  | TRUE
46 | bus_LV_901-5_3_2_node_168 | 0.4 | n |  | TRUE
47 | bus_LV_901-5_3_2_node_169 | 0.4 | n |  | TRUE
48 | bus_LV_901-5_3_2_node_311 | 0.4 | n |  | TRUE
49 | bus_LV_901-5_3_2_node_171 | 0.4 | n |  | TRUE
50 | bus_LV_901-5_3_2_node_170 | 0.4 | n |  | TRUE
51 | bus_LV_901-5_3_2_node_172 | 0.4 | n |  | TRUE
52 | bus_LV_901-5_3_2_node_173 | 0.4 | n |  | TRUE
53 | bus_LV_901-5_3_2_node_174 | 0.4 | n |  | TRUE
54 | bus_LV_901-5_3_2_node_175 | 0.4 | n |  | TRUE
55 | bus_LV_901-5_3_2_node_177 | 0.4 | n |  | TRUE
56 | bus_LV_901-5_3_2_node_179 | 0.4 | n |  | TRUE
57 | bus_LV_901-5_3_2_node_181 | 0.4 | n |  | TRUE
58 | bus_LV_901-5_3_2_node_182 | 0.4 | n |  | TRUE
59 | bus_LV_901-5_3_2_node_183 | 0.4 | n |  | TRUE
60 | bus_LV_901-5_3_2_node_185 | 0.4 | n |  | TRUE
61 | bus_LV_901-5_3_2_node_187 | 0.4 | n |  | TRUE
62 | bus_LV_901-5_3_2_node_184 | 0.4 | n |  | TRUE
63 | bus_LV_901-5_3_2_node_186 | 0.4 | n |  | TRUE
64 | bus_LV_901-5_3_2_node_188 | 0.4 | n |  | TRUE
65 | bus_LV_901-5_3_2_node_189 | 0.4 | n |  | TRUE
66 | bus_LV_901-5_3_2_node_191 | 0.4 | n |  | TRUE
67 | bus_LV_901-5_3_2_node_190 | 0.4 | n |  | TRUE
68 | bus_LV_901-5_3_2_node_299 | 0.4 | n |  | TRUE
69 | bus_LV_901-5_3_2_node_298 | 0.4 | n |  | TRUE
70 | bus_LV_901-5_3_2_node_300 | 0.4 | n |  | TRUE
71 | bus_LV_901-5_3_2_node_297 | 0.4 | n |  | TRUE
72 | bus_LV_901-5_3_2_node_294 | 0.4 | n |  | TRUE
73 | bus_LV_901-5_3_2_node_295 | 0.4 | n |  | TRUE
74 | bus_LV_901-5_3_2_node_296 | 0.4 | n |  | TRUE
75 | bus_LV_901-5_3_2_node_305 | 0.4 | n |  | TRUE
76 | bus_MV_0_node_156 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_901-5_3_2_load_125 | 0 | 9.8782e-05 | 2.4757e-05 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_901-5_3_2_load_126 | 1 | 0.00026516 | 6.6456e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_901-5_3_2_load_145 | 6 | 0.00020808 | 5.2149e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_901-5_3_2_load_136 | 8 | 0.00012821 | 3.2133e-05 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_901-5_3_2_load_132 | 9 | 0.00012294 | 3.0811e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_901-5_3_2_load_135 | 11 | 0.00097564 | 0.00024452 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_901-5_3_2_load_137 | 12 | 0.00012171 | 3.0503e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_901-5_3_2_load_138 | 13 | 0.00018976 | 4.7559e-05 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_901-5_3_2_load_139 | 15 | 0.0010872 | 0.00027247 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_901-5_3_2_load_144 | 19 | 0.00023359 | 5.8544e-05 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_901-5_3_2_load_247 | 21 | 0.00010858 | 2.7213e-05 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_901-5_3_2_load_178 | 22 | 0.00010117 | 2.5357e-05 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_901-5_3_2_load_180 | 23 | 8.8188e-05 | 2.2102e-05 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_901-5_3_2_load_248 | 24 | 0.0001726 | 4.3258e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_901-5_3_2_load_146 | 25 | 0.00014345 | 3.5952e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_901-5_3_2_load_147 | 26 | 0.0001255 | 3.1452e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_901-5_3_2_load_149 | 27 | 0.00012632 | 3.1658e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_901-5_3_2_load_151 | 30 | 8.0879e-05 | 2.027e-05 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_901-5_3_2_load_152 | 31 | 0.00012966 | 3.2497e-05 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_901-5_3_2_load_153 | 32 | 0.00054753 | 0.00013722 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_901-5_3_2_load_158 | 37 | 0.0006548 | 0.00016411 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_901-5_3_2_load_159 | 38 | 0.0019193 | 0.00048103 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_901-5_3_2_load_157 | 39 | 0.00037474 | 9.3917e-05 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_901-5_3_2_load_162 | 40 | 0.00040407 | 0.00010127 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_901-5_3_2_load_164 | 41 | 0.00050087 | 0.00012553 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_901-5_3_2_load_165 | 44 | 0.00067676 | 0.00016961 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_901-5_3_2_load_168 | 46 | 0.0037889 | 0.0009496 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_901-5_3_2_load_311 | 48 | 0.00043409 | 0.00010879 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_901-5_3_2_load_170 | 50 | 0.00082787 | 0.00020748 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_901-5_3_2_load_172 | 51 | 0.00052692 | 0.00013206 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_901-5_3_2_load_173 | 52 | 0.00020227 | 5.0693e-05 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_901-5_3_2_load_174 | 53 | 0.00013362 | 3.3489e-05 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_901-5_3_2_load_177 | 55 | 0.00046591 | 0.00011677 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_901-5_3_2_load_179 | 56 | 0.00055929 | 0.00014017 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_901-5_3_2_load_182 | 58 | 0.00036203 | 9.0733e-05 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_901-5_3_2_load_183 | 59 | 0.00012135 | 3.0413e-05 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_901-5_3_2_load_185 | 60 | 0.00056936 | 0.00014269 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_901-5_3_2_load_187 | 61 | 0.00039368 | 9.8665e-05 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_901-5_3_2_load_184 | 62 | 0.00012248 | 3.0696e-05 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_901-5_3_2_load_186 | 63 | 0.00063399 | 0.00015889 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_901-5_3_2_load_189 | 65 | 0.00051749 | 0.0001297 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_901-5_3_2_load_298 | 69 | 0.00010459 | 2.6213e-05 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_901-5_3_2_load_300 | 70 | 0.00058376 | 0.0001463 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_901-5_3_2_load_297 | 71 | 0.00013516 | 3.3874e-05 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_901-5_3_2_load_294 | 72 | 0.00011731 | 2.94e-05 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_901-5_3_2_load_295 | 73 | 0.0008263 | 0.00020709 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_901-5_3_2_load_296 | 74 | 9.4537e-05 | 2.3693e-05 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_901-5_3_2_load_305 | 75 | 0.00011627 | 2.9141e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 33 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_901-5_3_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.030055 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_901-5_3_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.011482 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_901-5_3_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.097946 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_901-5_3_2_line_3 | NAYY 4x150 SE | 2 | 4 | 0.015325 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_901-5_3_2_line_4 | NAYY 4x150 SE | 3 | 5 | 0.14181 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_901-5_3_2_line_5 | NAYY 4x150 SE | 4 | 6 | 0.055927 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_901-5_3_2_line_6 | NAYY 4x150 SE | 5 | 7 | 0.31804 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_901-5_3_2_line_7 | NAYY 4x150 SE | 5 | 8 | 0.26861 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_901-5_3_2_line_8 | NAYY 4x150 SE | 6 | 19 | 0.017839 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_901-5_3_2_line_9 | NAYY 4x150 SE | 7 | 9 | 0.010476 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_901-5_3_2_line_10 | NAYY 4x150 SE | 8 | 12 | 0.021265 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_901-5_3_2_line_11 | NAYY 4x150 SE | 9 | 10 | 0.079463 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_901-5_3_2_line_12 | NAYY 4x150 SE | 10 | 11 | 0.006229 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_901-5_3_2_line_13 | NAYY 4x150 SE | 12 | 13 | 0.0262 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_901-5_3_2_line_14 | NAYY 4x150 SE | 13 | 14 | 0.029454 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_901-5_3_2_line_15 | NAYY 4x150 SE | 14 | 25 | 0.0063297 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_901-5_3_2_line_16 | NAYY 4x150 SE | 15 | 16 | 0.11809 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_901-5_3_2_line_17 | NAYY 4x150 SE | 15 | 17 | 0.018062 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_901-5_3_2_line_18 | NAYY 4x150 SE | 16 | 18 | 0.20558 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_901-5_3_2_line_19 | NAYY 4x150 SE | 17 | 19 | 0.01807 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_901-5_3_2_line_20 | NAYY 4x150 SE | 18 | 23 | 0.16317 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_901-5_3_2_line_21 | NAYY 4x150 SE | 18 | 24 | 0.17827 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_901-5_3_2_line_22 | NAYY 4x150 SE | 20 | 21 | 0.011881 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_901-5_3_2_line_23 | NAYY 4x150 SE | 20 | 22 | 0.38163 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
24 | LV_901-5_3_2_line_24 | NAYY 4x150 SE | 21 | 24 | 0.023521 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_901-5_3_2_line_25 | NAYY 4x150 SE | 22 | 54 | 0.01521 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
26 | LV_901-5_3_2_line_26 | NAYY 4x150 SE | 23 | 56 | 0.033782 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_901-5_3_2_line_27 | NAYY 4x150 SE | 25 | 26 | 0.020235 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_901-5_3_2_line_28 | NAYY 4x150 SE | 26 | 27 | 0.018934 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_901-5_3_2_line_29 | NAYY 4x150 SE | 28 | 29 | 0.18816 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
30 | LV_901-5_3_2_line_30 | NAYY 4x150 SE | 28 | 30 | 0.34169 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
31 | LV_901-5_3_2_line_31 | NAYY 4x150 SE | 29 | 38 | 0.037138 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_901-5_3_2_line_32 | NAYY 4x150 SE | 29 | 39 | 0.0065305 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
33 | LV_901-5_3_2_line_33 | NAYY 4x150 SE | 30 | 31 | 0.0069636 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
34 | LV_901-5_3_2_line_34 | NAYY 4x150 SE | 31 | 32 | 0.010136 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
35 | LV_901-5_3_2_line_35 | NAYY 4x150 SE | 32 | 33 | 0.002902 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
36 | LV_901-5_3_2_line_36 | NAYY 4x150 SE | 34 | 35 | 0.45135 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_901-5_3_2_line_37 | NAYY 4x150 SE | 34 | 36 | 0.2779 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
38 | LV_901-5_3_2_line_38 | NAYY 4x150 SE | 34 | 37 | 0.098692 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
39 | LV_901-5_3_2_line_39 | NAYY 4x150 SE | 35 | 40 | 0.086753 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_901-5_3_2_line_40 | NAYY 4x150 SE | 36 | 41 | 0.23254 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
41 | LV_901-5_3_2_line_41 | NAYY 4x150 SE | 37 | 39 | 0.0041206 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
42 | LV_901-5_3_2_line_42 | NAYY 4x150 SE | 41 | 42 | 0.40001 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
43 | LV_901-5_3_2_line_43 | NAYY 4x150 SE | 41 | 43 | 0.16936 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_901-5_3_2_line_44 | NAYY 4x150 SE | 42 | 53 | 0.064848 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
45 | LV_901-5_3_2_line_45 | NAYY 4x150 SE | 43 | 46 | 0.015982 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_901-5_3_2_line_46 | NAYY 4x150 SE | 43 | 44 | 0.3063 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_901-5_3_2_line_47 | NAYY 4x150 SE | 44 | 45 | 0.03235 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_901-5_3_2_line_48 | NAYY 4x150 SE | 45 | 47 | 0.062948 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_901-5_3_2_line_49 | NAYY 4x150 SE | 47 | 48 | 0.031157 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_901-5_3_2_line_50 | NAYY 4x150 SE | 47 | 49 | 0.011119 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_901-5_3_2_line_51 | NAYY 4x150 SE | 49 | 50 | 0.016843 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_901-5_3_2_line_52 | NAYY 4x150 SE | 50 | 51 | 0.0075852 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_901-5_3_2_line_53 | NAYY 4x150 SE | 52 | 53 | 0.035037 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
54 | LV_901-5_3_2_line_54 | NAYY 4x150 SE | 52 | 54 | 0.01716 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
55 | LV_901-5_3_2_line_55 | NAYY 4x150 SE | 54 | 55 | 0.031967 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_901-5_3_2_line_56 | NAYY 4x150 SE | 56 | 57 | 0.025481 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_901-5_3_2_line_57 | NAYY 4x150 SE | 57 | 58 | 0.0096945 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_901-5_3_2_line_58 | NAYY 4x150 SE | 57 | 59 | 0.025083 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_901-5_3_2_line_59 | NAYY 4x150 SE | 58 | 60 | 0.026064 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_901-5_3_2_line_60 | NAYY 4x150 SE | 59 | 61 | 0.032219 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_901-5_3_2_line_61 | NAYY 4x150 SE | 60 | 62 | 0.00023858 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_901-5_3_2_line_62 | NAYY 4x150 SE | 61 | 64 | 0.060953 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_901-5_3_2_line_63 | NAYY 4x150 SE | 62 | 63 | 0.0014644 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_901-5_3_2_line_64 | NAYY 4x150 SE | 64 | 65 | 0.037013 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_901-5_3_2_line_65 | NAYY 4x150 SE | 64 | 66 | 0.14589 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_901-5_3_2_line_66 | NAYY 4x150 SE | 66 | 70 | 0.093846 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_901-5_3_2_line_67 | NAYY 4x150 SE | 66 | 71 | 0.058535 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_901-5_3_2_line_68 | NAYY 4x150 SE | 66 | 67 | 0.20636 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_901-5_3_2_line_69 | NAYY 4x150 SE | 67 | 68 | 0.007835 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_901-5_3_2_line_70 | NAYY 4x150 SE | 67 | 69 | 0.29809 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_901-5_3_2_line_71 | NAYY 4x150 SE | 68 | 75 | 0.3557 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_901-5_3_2_line_72 | NAYY 4x150 SE | 71 | 74 | 0.018345 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_901-5_3_2_line_73 | NAYY 4x150 SE | 72 | 73 | 0.024834 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_901-5_3_2_line_74 | NAYY 4x150 SE | 73 | 74 | 0.038774 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_901-5_3_2_trafo_156 | 0.25 MVA 20/0.4 kV | 76 | 33 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28
0 | 2625111.9303 | 1192185.1463 | 2625098.8505 | 1192175.4031 | 2625095.0853 | 1192171.6409 | 2625091.5986 | 1192166.946 | 2625090.4456 | 1192164.6443
1 | 2625121.1383 | 1192192.0052 | 2625111.9303 | 1192185.1463
2 | 2625103.7149 | 1192069.5781 | 2625099.7905 | 1192103.8244 | 2625097.8554 | 1192112.6654 | 2625095.1915 | 1192122.6263 | 2625091.0144 | 1192135.3267 | 2625088.6113 | 1192141.2531 | 2625086.6871 | 1192147.4928 | 2625086.622 | 1192152.1284 | 2625087.2751 | 1192156.3556 | 2625088.7637 | 1192161.2867 | 2625090.4456 | 1192164.6443
3 | 2625123.6744 | 1192207.0906 | 2625123.4014 | 1192203.1207 | 2625121.1383 | 1192192.0052
4 | 2625103.7149 | 1192069.5781 | 2625107.7539 | 1192055.2874 | 2625114.8136 | 1192036.8515 | 2625118.8573 | 1192026.9076 | 2625124.2526 | 1192016.4135 | 2625128.0923 | 1192009.6816 | 2625132.5917 | 1192003.7862 | 2625135.7016 | 1192000.2084 | 2625140.0237 | 1191996.5912 | 2625145.8801 | 1191992.4914 | 2625155.4255 | 1191986.695 | 2625164.7667 | 1191982.3207 | 2625192.9992 | 1191970.3218
5 | 2625123.6744 | 1192207.0906 | 2625097.1833 | 1192222.1988 | 2625091.8705 | 1192225.8007 | 2625086.3315 | 1192230.6357 | 2625080.7792 | 1192236.8047 | 2625078.8161 | 1192239.5315
6 | 2625192.9992 | 1191970.3218 | 2625203.0829 | 1191967.0513 | 2625285.0717 | 1191883.0627 | 2625307.3687 | 1191863.3129 | 2625323.1141 | 1191855.2418 | 2625338.5685 | 1191849.2705 | 2625390.1124 | 1191835.7591 | 2625413.07 | 1191825.751 | 2625434.7482 | 1191813.6587 | 2625442.0776 | 1191828.9868 | 2625442.8 | 1191834.8152
7 | 2625192.9992 | 1191970.3218 | 2625197.044 | 1191965.6029 | 2625201.9072 | 1191956.5852 | 2625216.7582 | 1191925.4533 | 2625233.8432 | 1191888.8278 | 2625237.761 | 1191879.884 | 2625240.2456 | 1191872.7573 | 2625242.5287 | 1191864.6181 | 2625242.9601 | 1191859.9286 | 2625242.7766 | 1191854.625 | 2625241.7826 | 1191848.0951 | 2625239.37 | 1191838.1018 | 2625237.3743 | 1191826.8874 | 2625236.7834 | 1191820.5593 | 2625238.461 | 1191811.3948 | 2625240.9457 | 1191804.2682 | 2625244.2494 | 1191796.3334 | 2625247.9528 | 1191791.2574 | 2625251.6934 | 1191786.3928 | 2625253.3056 | 1191781.9083 | 2625253.9217 | 1191778.6202 | 2625253.9362 | 1191775.174 | 2625253.5762 | 1191771.9597 | 2625251.9532 | 1191768.173 | 2625249.3889 | 1191765.2273 | 2625245.6016 | 1191763.0769 | 2625240.5026 | 1191761.0321 | 2625218.5723 | 1191755.1812 | 2625205.5693 | 1191751.2488
8 | 2625078.8161 | 1192239.5315 | 2625074.3081 | 1192245.7935 | 2625068.3587 | 1192253.9841
9 | 2625442.8 | 1191834.8152 | 2625443.4192 | 1191839.7761 | 2625443.3976 | 1191844.8787 | 2625443.3632 | 1191845.2511
10 | 2625205.5693 | 1191751.2488 | 2625201.3124 | 1191749.9614 | 2625189.6993 | 1191747 | 2625184.9274 | 1191746.2352
11 | 2625411.112 | 1191917.1804 | 2625412.6743 | 1191915.4861 | 2625419.8512 | 1191902.0538 | 2625426.4617 | 1191885.573 | 2625431.2039 | 1191876.4216 | 2625436.3494 | 1191867.4719 | 2625439.6558 | 1191860.7602 | 2625442.7583 | 1191851.8019 | 2625443.3632 | 1191845.2511
12 | 2625411.112 | 1191917.1804 | 2625406.8846 | 1191921.7649
13 | 2625159.0873 | 1191741.9316 | 2625162.2741 | 1191742.6047 | 2625184.9274 | 1191746.2352
14 | 2625130.2695 | 1191735.8447 | 2625159.0873 | 1191741.9316
15 | 2625130.2695 | 1191735.8447 | 2625129.9847 | 1191732.853 | 2625128.8009 | 1191729.7464
16 | 2625089.7148 | 1192367.4785 | 2625076.905 | 1192368.4365 | 2625067.7619 | 1192367.5089 | 2625062.9963 | 1192366.0771 | 2625056.2184 | 1192362.7803 | 2625051.9518 | 1192356.8482 | 2625049.7881 | 1192345.6443 | 2625049.3878 | 1192333.803 | 2625046.6708 | 1192299.9625 | 2625045.5285 | 1192288.7628 | 2625046.9679 | 1192281.1332
17 | 2625054.0213 | 1192264.7633 | 2625052.9268 | 1192265.8148 | 2625051.0777 | 1192268.7086 | 2625049.1137 | 1192273.5475 | 2625047.1421 | 1192280.2095 | 2625046.9679 | 1192281.1332
18 | 2625089.7148 | 1192367.4785 | 2625094.5457 | 1192376.9926 | 2625104.4176 | 1192393.1648 | 2625113.7564 | 1192407.4115 | 2625121.2548 | 1192416.9925 | 2625130.9432 | 1192427.8166 | 2625145.3601 | 1192441.6511 | 2625161.5871 | 1192454.615 | 2625172.8996 | 1192463.4561 | 2625183.7485 | 1192470.1608 | 2625211.8408 | 1192485.5315 | 2625232.4634 | 1192497.1911 | 2625237.3245 | 1192499.4572 | 2625240.5071 | 1192500.3044
19 | 2625054.0213 | 1192264.7633 | 2625055.4678 | 1192263.3575 | 2625060.1677 | 1192260.4867 | 2625064.5392 | 1192257.7702 | 2625066.505 | 1192256.1553 | 2625068.3587 | 1192253.9841
20 | 2625240.5071 | 1192500.3044 | 2625244.9575 | 1192500.5455 | 2625270.2037 | 1192502.0638 | 2625275.3971 | 1192503.253 | 2625280.0247 | 1192504.8733 | 2625283.9173 | 1192507.2466 | 2625287.2668 | 1192510.0733 | 2625290.3295 | 1192514.0217 | 2625293.3628 | 1192519.5263 | 2625295.3589 | 1192525.1711 | 2625297.0461 | 1192531.7595 | 2625299.4724 | 1192547.4225 | 2625301.6205 | 1192569.41 | 2625302.1746 | 1192578.9952 | 2625302.26 | 1192585.8548 | 2625301.6383 | 1192592.2779 | 2625300.5312 | 1192598.1541 | 2625298.6924 | 1192604.0161 | 2625296.1876 | 1192610.5424 | 2625291.4246 | 1192619.575
21 | 2625240.5071 | 1192500.3044 | 2625239.7738 | 1192515.1426 | 2625239.1377 | 1192532.2491 | 2625237.1584 | 1192557.0095 | 2625236.0635 | 1192574.4698 | 2625233.5662 | 1192584.6536 | 2625232.3271 | 1192587.5055 | 2625229.7192 | 1192591.3854 | 2625224.9452 | 1192593.7889 | 2625212.9207 | 1192598.4408 | 2625177.3322 | 1192611.2759 | 2625172.5242 | 1192612.7231 | 2625167.7968 | 1192613.1146 | 2625163.8663 | 1192612.52 | 2625160.175 | 1192611.2149 | 2625155.863 | 1192608.8845 | 2625149.7526 | 1192605.3425
22 | 2625116.0887 | 1192594.788 | 2625124.0201 | 1192597.4004 | 2625127.4428 | 1192598.2661
23 | 2625116.0887 | 1192594.788 | 2624751.5416 | 1192707.6992
24 | 2625127.4428 | 1192598.2661 | 2625139.53 | 1192601.3231 | 2625145.1258 | 1192602.8696 | 2625148.5027 | 1192604.618 | 2625149.7526 | 1192605.3425
25 | 2624751.5416 | 1192707.6992 | 2624745.4194 | 1192704.4166 | 2624742.3588 | 1192703.5813 | 2624737.2462 | 1192703.16
26 | 2625291.4246 | 1192619.575 | 2625290.7245 | 1192620.9027 | 2625286.2932 | 1192628.8104 | 2625276.9541 | 1192643.7457 | 2625274.051 | 1192648.5364
27 | 2625116.4381 | 1191713.812 | 2625120.1069 | 1191717.837 | 2625126.2806 | 1191725.3779 | 2625128.8009 | 1191729.7464
28 | 2625104.8095 | 1191699.0073 | 2625110.839 | 1191708.2375 | 2625112.4551 | 1191710.0674 | 2625116.3127 | 1191713.6744 | 2625116.4381 | 1191713.812
29 | 2624558.8802 | 1191941.087 | 2624562.5447 | 1191945.3487 | 2624565.4028 | 1191947.3282 | 2624567.7695 | 1191948.3273 | 2624570.138 | 1191948.8706 | 2624573.1101 | 1191949.0718 | 2624575.1617 | 1191948.8467 | 2624577.0943 | 1191947.8652 | 2624579.5728 | 1191945.752 | 2624584.6181 | 1191940.4588 | 2624587.8676 | 1191938.0708 | 2624590.923 | 1191936.5715 | 2624594.7773 | 1191935.4311 | 2624597.9865 | 1191935.4554 | 2624601.4443 | 1191936.1922 | 2624604.8986 | 1191937.7961 | 2624619.8418 | 1191946.5621 | 2624627.3878 | 1191950.4618 | 2624641.6113 | 1191945.1396 | 2624666.0612 | 1191937.0136 | 2624684.413 | 1191930.6746 | 2624694.5777 | 1191926.203 | 2624704.432 | 1191921.2075 | 2624714.6856 | 1191915.5134 | 2624726.4275 | 1191907.5131
30 | 2624726.4275 | 1191907.5131 | 2624730.8642 | 1191914.8909 | 2624732.0392 | 1191918.3309 | 2624732.6976 | 1191921.3575 | 2624732.7601 | 1191924.6817 | 2624731.5313 | 1191928.7344 | 2624723.2347 | 1191942.3296 | 2624718.3852 | 1191948.1905 | 2624713.4526 | 1191953.8732 | 2624706.0515 | 1191959.2011 | 2624691.3049 | 1191965.6661 | 2624670.8391 | 1191974.4865 | 2624662.2125 | 1191979.4092 | 2624658.9343 | 1191985.0432 | 2624656.4358 | 1191992.0144 | 2624656.4157 | 1191996.9058 | 2624657.6211 | 1192002.2136 | 2624660.8628 | 1192009.164 | 2624666.9622 | 1192018.1494 | 2624676.2973 | 1192033.685 | 2624705.1443 | 1192079.4504 | 2624713.6812 | 1192092.537 | 2624723.8427 | 1192107.2534 | 2624745.8112 | 1192135.0588 | 2624766.9696 | 1192159.6037 | 2624772.2649 | 1192165.7399 | 2624777.5982 | 1192168.0804
31 | 2624558.8802 | 1191941.087 | 2624558.0206 | 1191938.7934 | 2624556.8181 | 1191936.4539 | 2624553.8462 | 1191932.484 | 2624550.4698 | 1191928.6237 | 2624549.0703 | 1191925.9944 | 2624548.5391 | 1191923.5353 | 2624548.931 | 1191920.9133 | 2624549.8385 | 1191918.9715 | 2624551.7947 | 1191917.8011 | 2624553.8547 | 1191917.376 | 2624556.8623 | 1191918.2221 | 2624560.8204 | 1191919.6724
32 | 2624558.8802 | 1191941.087 | 2624556.3239 | 1191941.7213 | 2624554.4507 | 1191943.0922 | 2624553.389 | 1191944.2561
33 | 2624777.5982 | 1192168.0804 | 2624783.9749 | 1192170.8787
34 | 2624783.9749 | 1192170.8787 | 2624791.0361 | 1192173.9775 | 2624793.2667 | 1192174.9279
35 | 2624795.9365 | 1192176.0655 | 2624793.2667 | 1192174.9279
36 | 2624370.4525 | 1191765.4137 | 2624377.0342 | 1191779.7036 | 2624387.7318 | 1191799.7578 | 2624397.8246 | 1191820.4321 | 2624403.5404 | 1191837.6756 | 2624401.3189 | 1191864.6698 | 2624398.9549 | 1191913.5752 | 2624412.8826 | 1191977.099 | 2624426.6623 | 1192015.1754 | 2624429.8847 | 1192045.5936 | 2624430.4852 | 1192081.5597 | 2624430.4429 | 1192091.9317 | 2624434.2787 | 1192100.9188 | 2624457.1854 | 1192076.577 | 2624477.7008 | 1192051.7363 | 2624483.7614 | 1192046.0358 | 2624489.9928 | 1192041.4477 | 2624502.7977 | 1192034.3518 | 2624508.994 | 1192030.8863
37 | 2624344.9008 | 1192230.5466 | 2624351.7695 | 1192219.1351 | 2624356.3413 | 1192200.8106 | 2624358.8868 | 1192178.409 | 2624360.1191 | 1192165.9073 | 2624359.7967 | 1192158.9579 | 2624359.4128 | 1192146.5163 | 2624390.9871 | 1192129.4356 | 2624434.2787 | 1192100.9188 | 2624457.1854 | 1192076.577 | 2624477.7008 | 1192051.7363 | 2624483.7614 | 1192046.0358 | 2624489.9928 | 1192041.4477 | 2624502.7977 | 1192034.3518 | 2624508.994 | 1192030.8863
38 | 2624508.994 | 1192030.8863 | 2624505.3549 | 1192022.3002 | 2624504.6088 | 1192018.3284 | 2624504.944 | 1192014.65 | 2624506.2243 | 1192011.0089 | 2624514.1048 | 1191998.3677 | 2624541.6697 | 1191957.303 | 2624547.0154 | 1191951.2438 | 2624550.6121 | 1191947.3006
39 | 2624370.4525 | 1191765.4137 | 2624361.2077 | 1191761.1294 | 2624355.918 | 1191759.0513 | 2624346.6825 | 1191743.0719 | 2624330.1259 | 1191699.6149 | 2624328.1402 | 1191694.0377
40 | 2624344.9008 | 1192230.5466 | 2624333.2479 | 1192248.8202 | 2624330.5883 | 1192299.3586 | 2624326.3081 | 1192345.3991 | 2624326.2155 | 1192368.222 | 2624327.3666 | 1192386.9811 | 2624321.5694 | 1192404.8894 | 2624310.4514 | 1192424.8216 | 2624300.9992 | 1192436.2005 | 2624290.4705 | 1192448.1994
41 | 2624553.389 | 1191944.2561 | 2624550.6121 | 1191947.3006
42 | 2624290.4705 | 1192448.1994 | 2624640.3391 | 1192642.1062
43 | 2624290.4705 | 1192448.1994 | 2624124.6442 | 1192482.6021
44 | 2624640.3391 | 1192642.1062 | 2624680.0871 | 1192668.3503 | 2624692.7789 | 1192677.3296 | 2624694.0307 | 1192678.4355
45 | 2624124.6442 | 1192482.6021 | 2624122.4442 | 1192480.003 | 2624112.8654 | 1192471.8156
46 | 2624124.6442 | 1192482.6021 | 2624115.4312 | 1192485.8223 | 2624063.4434 | 1192501.9221 | 2623975.6276 | 1192528.4734 | 2623956.9992 | 1192534.102 | 2623941.4547 | 1192536.6857 | 2623932.8695 | 1192535.4286 | 2623924.1056 | 1192529.2792 | 2623915.1399 | 1192522.1174 | 2623910.4655 | 1192514.9616 | 2623908.2519 | 1192506.1926 | 2623908.4883 | 1192496.6106 | 2623924.8032 | 1192455.7094 | 2623929.2125 | 1192443.389
47 | 2623938.5741 | 1192412.4858 | 2623935.7645 | 1192425.0813 | 2623929.2125 | 1192443.389
48 | 2623938.5741 | 1192412.4858 | 2623939.4044 | 1192408.7871 | 2623947.2394 | 1192393.7437 | 2623952.5941 | 1192383.2706 | 2623954.565 | 1192376.4526 | 2623954.3066 | 1192372.4495 | 2623954.1775 | 1192370.4368 | 2623951.4365 | 1192365.8345 | 2623947.4635 | 1192362.4613 | 2623942.8709 | 1192361.5202 | 2623940.8203 | 1192361.5565
49 | 2623940.8203 | 1192361.5565 | 2623941.6661 | 1192355.9124 | 2623943.3184 | 1192350.6162 | 2623943.8707 | 1192347.8503 | 2623943.9692 | 1192342.2588 | 2623943.7813 | 1192337.7779 | 2623940.2534 | 1192331.7272
50 | 2623931.4009 | 1192366.7772 | 2623935.6003 | 1192363.1254 | 2623938.6782 | 1192361.6035 | 2623940.8203 | 1192361.5565
51 | 2623931.4009 | 1192366.7772 | 2623923.1917 | 1192374.3819 | 2623919.8497 | 1192378.9412
52 | 2623914.9715 | 1192384.7435 | 2623918.8691 | 1192380.2789 | 2623919.8497 | 1192378.9412
53 | 2624720.983 | 1192700.7402 | 2624718.5196 | 1192699.2807 | 2624711.5903 | 1192693.9493 | 2624694.0307 | 1192678.4355
54 | 2624737.2462 | 1192703.16 | 2624733.5606 | 1192704.1564 | 2624731.1755 | 1192704.0243 | 2624725.4539 | 1192703.3892 | 2624720.983 | 1192700.7402
55 | 2624737.2462 | 1192703.16 | 2624740.7344 | 1192700.1172 | 2624742.9989 | 1192696.2467 | 2624743.8287 | 1192692.7927 | 2624744.4646 | 1192688.304 | 2624743.8582 | 1192685.6557 | 2624742.2389 | 1192682.7919 | 2624739.3831 | 1192680.3344 | 2624734.8954 | 1192678.0813
56 | 2625270.6643 | 1192673.0237 | 2625269.762 | 1192670.085 | 2625269.4342 | 1192666.5039 | 2625269.5965 | 1192660.5459 | 2625271.0269 | 1192655.7271 | 2625273.1777 | 1192649.9775 | 2625274.051 | 1192648.5364
57 | 2625270.6643 | 1192673.0237 | 2625266.9078 | 1192681.9609
58 | 2625270.6643 | 1192673.0237 | 2625272.9313 | 1192675.8681 | 2625275.4771 | 1192677.6687 | 2625278.2478 | 1192678.5475 | 2625281.2658 | 1192678.6381 | 2625284.0733 | 1192678.0162 | 2625288.4404 | 1192676.3004 | 2625292.7492 | 1192674.1095
59 | 2625261.9554 | 1192706.8044 | 2625260.6931 | 1192700.5186 | 2625262.3568 | 1192692.7882 | 2625266.9078 | 1192681.9609
60 | 2625292.7492 | 1192674.1095 | 2625311.4246 | 1192664.6134 | 2625319.4189 | 1192661.312 | 2625321.9545 | 1192660.6587
61 | 2625261.9554 | 1192706.8044 | 2625262.0023 | 1192707.0383
62 | 2625344.8691 | 1192708.1557 | 2625340.3972 | 1192675.1747 | 2625339.523 | 1192671.0244 | 2625338.3276 | 1192667.1283 | 2625336.6402 | 1192664.2085 | 2625334.0965 | 1192661.9188 | 2625330.8933 | 1192660.549 | 2625327.6033 | 1192659.9125 | 2625324.0887 | 1192660.1089 | 2625321.9545 | 1192660.6587
63 | 2625262.2906 | 1192708.474 | 2625262.0023 | 1192707.0383
64 | 2625344.8691 | 1192708.1557 | 2625326.265 | 1192740.1528
65 | 2625344.8691 | 1192708.1557 | 2625352.5077 | 1192788.9089 | 2625352.9596 | 1192820.8168 | 2625356.53 | 1192829.0363 | 2625362.3806 | 1192833.3522 | 2625361.3003 | 1192840.0735 | 2625356.6905 | 1192848.7475
66 | 2625356.6905 | 1192848.7475 | 2625356.8511 | 1192859.4317 | 2625352.6615 | 1192876.8677 | 2625348.6361 | 1192893.3595 | 2625346.0116 | 1192911.9806 | 2625345.9671 | 1192926.1213 | 2625349.822 | 1192940.9233
67 | 2625356.6905 | 1192848.7475 | 2625349.6005 | 1192863.5699 | 2625339.5897 | 1192882.3821 | 2625327.1489 | 1192899.0436
68 | 2625356.6905 | 1192848.7475 | 2625361.3003 | 1192840.0735 | 2625362.3806 | 1192833.3522 | 2625369.4634 | 1192829.2578 | 2625386.8455 | 1192815.6796 | 2625408.1153 | 1192801.9735 | 2625431.498 | 1192786.1308 | 2625455.0883 | 1192768.0991 | 2625478.0495 | 1192749.2532 | 2625498.7051 | 1192734.9111 | 2625515.401 | 1192721.5194
69 | 2625515.401 | 1192721.5194 | 2625517.8911 | 1192718.4617 | 2625520.0468 | 1192715.2136
70 | 2625515.401 | 1192721.5194 | 2625516.3601 | 1192727.171 | 2625516.1189 | 1192730.1271 | 2625515.0348 | 1192732.3236 | 2625509.9441 | 1192737.5159 | 2625504.7627 | 1192742.5187 | 2625495.3504 | 1192754.8631 | 2625485.2599 | 1192772.5518 | 2625472.7083 | 1192791.8644 | 2625467.3381 | 1192803.659 | 2625465.6446 | 1192818.3263 | 2625462.1345 | 1192826.4602 | 2625454.7373 | 1192834.5776 | 2625441.0073 | 1192842.468 | 2625432.562 | 1192849.7138 | 2625426.038 | 1192860.4252 | 2625425.1787 | 1192872.5391 | 2625428.8167 | 1192882.7489 | 2625429.1967 | 1192893.7786 | 2625422.8928 | 1192904.7133 | 2625417.401 | 1192912.8833 | 2625414.2964 | 1192922.453 | 2625418.1074 | 1192940.401 | 2625419.6848 | 1192953.0367 | 2625421.6902 | 1192961.8165 | 2625429.0094 | 1192972.0308 | 2625435.8906 | 1192974.3955
71 | 2625520.0468 | 1192715.2136 | 2625519.4338 | 1192707.0177 | 2625519.5945 | 1192687.1856 | 2625520.0861 | 1192677.3491 | 2625528.0208 | 1192636.1497 | 2625527.9042 | 1192629.5346 | 2625526.182 | 1192625.8475 | 2625523.1912 | 1192621.1767 | 2625517.7172 | 1192614.3164 | 2625509.3151 | 1192605.9428 | 2625498.4267 | 1192596.1357 | 2625468.6135 | 1192573.4747 | 2625461.1752 | 1192567.8846 | 2625457.8765 | 1192563.8906 | 2625457.0591 | 1192560.7299 | 2625457.6047 | 1192557.8752 | 2625475.9722 | 1192508.1599 | 2625478.1866 | 1192501.8549 | 2625478.888 | 1192496.455 | 2625478.8284 | 1192492.5415 | 2625478.0129 | 1192488.9361 | 2625476.2205 | 1192485.6267 | 2625472.1652 | 1192482.0743 | 2625425.1222 | 1192452.8813 | 2625419.6355 | 1192448.9559 | 2625416.3348 | 1192445.4067 | 2625414.0879 | 1192441.4172 | 2625410.2937 | 1192429.2078
72 | 2625327.1489 | 1192899.0436 | 2625326.5818 | 1192899.8031 | 2625317.1022 | 1192914.3911
73 | 2625273.9413 | 1192960.4299 | 2625275.5465 | 1192959.4085 | 2625291.9549 | 1192945.2145 | 2625292.8228 | 1192944.3355
74 | 2625292.8228 | 1192944.3355 | 2625307.7155 | 1192929.2503 | 2625315.4656 | 1192916.9097 | 2625317.1022 | 1192914.3911

## bus_geodata
| x | y | coords
0 | 2625111.9303 | 1192185.1463
1 | 2625090.4456 | 1192164.6443
2 | 2625121.1383 | 1192192.0052
3 | 2625103.7149 | 1192069.5781
4 | 2625123.6744 | 1192207.0906
5 | 2625192.9992 | 1191970.3218
6 | 2625078.8161 | 1192239.5315
7 | 2625442.8 | 1191834.8152
8 | 2625205.5693 | 1191751.2488
9 | 2625443.3632 | 1191845.2511
10 | 2625411.112 | 1191917.1804
11 | 2625406.8846 | 1191921.7649
12 | 2625184.9274 | 1191746.2352
13 | 2625159.0873 | 1191741.9316
14 | 2625130.2695 | 1191735.8447
15 | 2625046.9679 | 1192281.1332
16 | 2625089.7148 | 1192367.4785
17 | 2625054.0213 | 1192264.7633
18 | 2625240.5071 | 1192500.3044
19 | 2625068.3587 | 1192253.9841
20 | 2625116.0887 | 1192594.788
21 | 2625127.4428 | 1192598.2661
22 | 2624751.5416 | 1192707.6992
23 | 2625291.4246 | 1192619.575
24 | 2625149.7526 | 1192605.3425
25 | 2625128.8009 | 1191729.7464
26 | 2625116.4381 | 1191713.812
27 | 2625104.8095 | 1191699.0073
28 | 2624726.4275 | 1191907.5131
29 | 2624558.8802 | 1191941.087
30 | 2624777.5982 | 1192168.0804
31 | 2624783.9749 | 1192170.8787
32 | 2624793.2667 | 1192174.9279
33 | 2624795.9365 | 1192176.0655
34 | 2624508.994 | 1192030.8863
35 | 2624370.4525 | 1191765.4137
36 | 2624344.9008 | 1192230.5466
37 | 2624550.6121 | 1191947.3006
38 | 2624560.8204 | 1191919.6724
39 | 2624553.389 | 1191944.2561
40 | 2624328.1402 | 1191694.0377
41 | 2624290.4705 | 1192448.1994
42 | 2624640.3391 | 1192642.1062
43 | 2624124.6442 | 1192482.6021
44 | 2623929.2125 | 1192443.389
45 | 2623938.5741 | 1192412.4858
46 | 2624112.8654 | 1192471.8156
47 | 2623940.8203 | 1192361.5565
48 | 2623940.2534 | 1192331.7272
49 | 2623931.4009 | 1192366.7772
50 | 2623919.8497 | 1192378.9412
51 | 2623914.9715 | 1192384.7435
52 | 2624720.983 | 1192700.7402
53 | 2624694.0307 | 1192678.4355
54 | 2624737.2462 | 1192703.16
55 | 2624734.8954 | 1192678.0813
56 | 2625274.051 | 1192648.5364
57 | 2625270.6643 | 1192673.0237
58 | 2625266.9078 | 1192681.9609
59 | 2625292.7492 | 1192674.1095
60 | 2625261.9554 | 1192706.8044
61 | 2625321.9545 | 1192660.6587
62 | 2625262.0023 | 1192707.0383
63 | 2625262.2906 | 1192708.474
64 | 2625344.8691 | 1192708.1557
65 | 2625326.265 | 1192740.1528
66 | 2625356.6905 | 1192848.7475
67 | 2625515.401 | 1192721.5194
68 | 2625520.0468 | 1192715.2136
69 | 2625435.8906 | 1192974.3955
70 | 2625349.822 | 1192940.9233
71 | 2625327.1489 | 1192899.0436
72 | 2625273.9413 | 1192960.4299
73 | 2625292.8228 | 1192944.3355
74 | 2625317.1022 | 1192914.3911
75 | 2625410.2937 | 1192429.2078
76 | 2624795.9365 | 1192176.0655

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1