## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_902-11_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_902-11_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_902-11_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_902-11_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_902-11_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_902-11_0_3_node_14 | 0.4 | n |  | TRUE
6 | bus_LV_902-11_0_3_node_10 | 0.4 | n |  | TRUE
7 | bus_LV_902-11_0_3_node_8 | 0.4 | n |  | TRUE
8 | bus_LV_902-11_0_3_node_30 | 0.4 | n |  | TRUE
9 | bus_LV_902-11_0_3_node_43 | 0.4 | n |  | TRUE
10 | bus_LV_902-11_0_3_node_11 | 0.4 | n |  | TRUE
11 | bus_LV_902-11_0_3_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_902-11_0_3_node_5 | 0.4 | n |  | TRUE
13 | bus_LV_902-11_0_3_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_902-11_0_3_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_902-11_0_3_node_95 | 0.4 | n |  | TRUE
16 | bus_LV_902-11_0_3_node_13 | 0.4 | n |  | TRUE
17 | bus_LV_902-11_0_3_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_902-11_0_3_node_65 | 0.4 | n |  | TRUE
19 | bus_LV_902-11_0_3_node_24 | 0.4 | n |  | TRUE
20 | bus_LV_902-11_0_3_node_64 | 0.4 | n |  | TRUE
21 | bus_LV_902-11_0_3_node_63 | 0.4 | n |  | TRUE
22 | bus_LV_902-11_0_3_node_67 | 0.4 | n |  | TRUE
23 | bus_LV_902-11_0_3_node_22 | 0.4 | n |  | TRUE
24 | bus_LV_902-11_0_3_node_66 | 0.4 | n |  | TRUE
25 | bus_LV_902-11_0_3_node_28 | 0.4 | n |  | TRUE
26 | bus_LV_902-11_0_3_node_34 | 0.4 | n |  | TRUE
27 | bus_LV_902-11_0_3_node_15 | 0.4 | n |  | TRUE
28 | bus_LV_902-11_0_3_node_16 | 0.4 | n |  | TRUE
29 | bus_LV_902-11_0_3_node_93 | 0.4 | n |  | TRUE
30 | bus_LV_902-11_0_3_node_17 | 0.4 | n |  | TRUE
31 | bus_LV_902-11_0_3_node_92 | 0.4 | n |  | TRUE
32 | bus_LV_902-11_0_3_node_90 | 0.4 | n |  | TRUE
33 | bus_LV_902-11_0_3_node_18 | 0.4 | n |  | TRUE
34 | bus_LV_902-11_0_3_node_29 | 0.4 | n |  | TRUE
35 | bus_LV_902-11_0_3_node_19 | 0.4 | n |  | TRUE
36 | bus_LV_902-11_0_3_node_20 | 0.4 | n |  | TRUE
37 | bus_LV_902-11_0_3_node_21 | 0.4 | n |  | TRUE
38 | bus_LV_902-11_0_3_node_23 | 0.4 | n |  | TRUE
39 | bus_LV_902-11_0_3_node_25 | 0.4 | n |  | TRUE
40 | bus_LV_902-11_0_3_node_26 | 0.4 | n |  | TRUE
41 | bus_LV_902-11_0_3_node_27 | 0.4 | n |  | TRUE
42 | bus_LV_902-11_0_3_node_31 | 0.4 | n |  | TRUE
43 | bus_LV_902-11_0_3_node_32 | 0.4 | n |  | TRUE
44 | bus_LV_902-11_0_3_node_33 | 0.4 | n |  | TRUE
45 | bus_LV_902-11_0_3_node_62 | 0.4 | n |  | TRUE
46 | bus_LV_902-11_0_3_node_35 | 0.4 | n |  | TRUE
47 | bus_LV_902-11_0_3_node_60 | 0.4 | n |  | TRUE
48 | bus_LV_902-11_0_3_node_61 | 0.4 | n |  | TRUE
49 | bus_LV_902-11_0_3_node_53 | 0.4 | n |  | TRUE
50 | bus_LV_902-11_0_3_node_79 | 0.4 | n |  | TRUE
51 | bus_LV_902-11_0_3_node_51 | 0.4 | n |  | TRUE
52 | bus_LV_902-11_0_3_node_36 | 0.4 | n |  | TRUE
53 | bus_LV_902-11_0_3_node_37 | 0.4 | n |  | TRUE
54 | bus_LV_902-11_0_3_node_38 | 0.4 | n |  | TRUE
55 | bus_LV_902-11_0_3_node_39 | 0.4 | n |  | TRUE
56 | bus_LV_902-11_0_3_node_40 | 0.4 | n |  | TRUE
57 | bus_LV_902-11_0_3_node_54 | 0.4 | n |  | TRUE
58 | bus_LV_902-11_0_3_node_42 | 0.4 | n |  | TRUE
59 | bus_LV_902-11_0_3_node_41 | 0.4 | n |  | TRUE
60 | bus_LV_902-11_0_3_node_47 | 0.4 | n |  | TRUE
61 | bus_LV_902-11_0_3_node_68 | 0.4 | n |  | TRUE
62 | bus_LV_902-11_0_3_node_98 | 0.4 | n |  | TRUE
63 | bus_LV_902-11_0_3_node_88 | 0.4 | n |  | TRUE
64 | bus_LV_902-11_0_3_node_69 | 0.4 | n |  | TRUE
65 | bus_LV_902-11_0_3_node_44 | 0.4 | n |  | TRUE
66 | bus_LV_902-11_0_3_node_45 | 0.4 | n |  | TRUE
67 | bus_LV_902-11_0_3_node_46 | 0.4 | n |  | TRUE
68 | bus_LV_902-11_0_3_node_48 | 0.4 | n |  | TRUE
69 | bus_LV_902-11_0_3_node_94 | 0.4 | n |  | TRUE
70 | bus_LV_902-11_0_3_node_52 | 0.4 | n |  | TRUE
71 | bus_LV_902-11_0_3_node_49 | 0.4 | n |  | TRUE
72 | bus_LV_902-11_0_3_node_50 | 0.4 | n |  | TRUE
73 | bus_LV_902-11_0_3_node_55 | 0.4 | n |  | TRUE
74 | bus_LV_902-11_0_3_node_56 | 0.4 | n |  | TRUE
75 | bus_LV_902-11_0_3_node_57 | 0.4 | n |  | TRUE
76 | bus_LV_902-11_0_3_node_58 | 0.4 | n |  | TRUE
77 | bus_LV_902-11_0_3_node_59 | 0.4 | n |  | TRUE
78 | bus_LV_902-11_0_3_node_70 | 0.4 | n |  | TRUE
79 | bus_LV_902-11_0_3_node_71 | 0.4 | n |  | TRUE
80 | bus_LV_902-11_0_3_node_72 | 0.4 | n |  | TRUE
81 | bus_LV_902-11_0_3_node_73 | 0.4 | n |  | TRUE
82 | bus_LV_902-11_0_3_node_74 | 0.4 | n |  | TRUE
83 | bus_LV_902-11_0_3_node_75 | 0.4 | n |  | TRUE
84 | bus_LV_902-11_0_3_node_76 | 0.4 | n |  | TRUE
85 | bus_LV_902-11_0_3_node_77 | 0.4 | n |  | TRUE
86 | bus_LV_902-11_0_3_node_78 | 0.4 | n |  | TRUE
87 | bus_LV_902-11_0_3_node_83 | 0.4 | n |  | TRUE
88 | bus_LV_902-11_0_3_node_86 | 0.4 | n |  | TRUE
89 | bus_LV_902-11_0_3_node_80 | 0.4 | n |  | TRUE
90 | bus_LV_902-11_0_3_node_81 | 0.4 | n |  | TRUE
91 | bus_LV_902-11_0_3_node_82 | 0.4 | n |  | TRUE
92 | bus_LV_902-11_0_3_node_84 | 0.4 | n |  | TRUE
93 | bus_LV_902-11_0_3_node_85 | 0.4 | n |  | TRUE
94 | bus_LV_902-11_0_3_node_87 | 0.4 | n |  | TRUE
95 | bus_LV_902-11_0_3_node_96 | 0.4 | n |  | TRUE
96 | bus_LV_902-11_0_3_node_97 | 0.4 | n |  | TRUE
97 | bus_LV_902-11_0_3_node_89 | 0.4 | n |  | TRUE
98 | bus_LV_902-11_0_3_node_91 | 0.4 | n |  | TRUE
99 | bus_MV_199_0_node_24 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_902-11_0_3_load_0 | 0 | 0.0028195 | 0.00070662 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_902-11_0_3_load_2 | 2 | 0.0020218 | 0.00050671 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_902-11_0_3_load_4 | 4 | 0.0012784 | 0.0003204 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_902-11_0_3_load_10 | 6 | 0.013399 | 0.0033582 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_902-11_0_3_load_8 | 7 | 0.0012675 | 0.00031767 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_902-11_0_3_load_30 | 8 | 0.0012896 | 0.0003232 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_902-11_0_3_load_43 | 9 | 0.0026761 | 0.0006707 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_902-11_0_3_load_11 | 10 | 0.014799 | 0.003709 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_902-11_0_3_load_6 | 11 | 0.0012782 | 0.00032035 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_902-11_0_3_load_5 | 12 | 0.0012756 | 0.00031968 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_902-11_0_3_load_7 | 13 | 0.0012728 | 0.00031899 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_902-11_0_3_load_9 | 14 | 0.0012637 | 0.00031672 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_902-11_0_3_load_95 | 15 | 0.0012779 | 0.00032028 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_902-11_0_3_load_13 | 16 | 0.0020077 | 0.00050318 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_902-11_0_3_load_12 | 17 | 0.0062115 | 0.0015567 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_902-11_0_3_load_65 | 18 | 0.0045708 | 0.0011455 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_902-11_0_3_load_24 | 19 | 0.0045046 | 0.001129 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_902-11_0_3_load_64 | 20 | 0.0045708 | 0.0011455 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_902-11_0_3_load_63 | 21 | 0.003249 | 0.00081428 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_902-11_0_3_load_67 | 22 | 0.0023575 | 0.00059084 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_902-11_0_3_load_66 | 24 | 0.0024188 | 0.00060621 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_902-11_0_3_load_28 | 25 | 0.0037879 | 0.00094934 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_902-11_0_3_load_34 | 26 | 0.002235 | 0.00056013 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_902-11_0_3_load_15 | 27 | 0.0060784 | 0.0015234 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_902-11_0_3_load_16 | 28 | 0.0010852 | 0.00027198 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_902-11_0_3_load_93 | 29 | 0.00046608 | 0.00011681 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_902-11_0_3_load_17 | 30 | 0.0016436 | 0.00041193 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_902-11_0_3_load_92 | 31 | 0.00036971 | 9.2658e-05 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_902-11_0_3_load_90 | 32 | 0.00069769 | 0.00017486 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_902-11_0_3_load_18 | 33 | 0.0023212 | 0.00058174 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_902-11_0_3_load_29 | 34 | 0.0035702 | 0.00089478 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_902-11_0_3_load_19 | 35 | 0.003044 | 0.0007629 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_902-11_0_3_load_20 | 36 | 0.0052396 | 0.0013132 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_902-11_0_3_load_21 | 37 | 0.0062936 | 0.0015773 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_902-11_0_3_load_23 | 38 | 0.010607 | 0.0026584 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_902-11_0_3_load_26 | 40 | 0.0089419 | 0.002241 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_902-11_0_3_load_27 | 41 | 0.00825 | 0.0020676 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_902-11_0_3_load_31 | 42 | 0.0041145 | 0.0010312 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_902-11_0_3_load_32 | 43 | 0.0026598 | 0.00066661 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_902-11_0_3_load_33 | 44 | 0.0021788 | 0.00054607 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_902-11_0_3_load_35 | 46 | 0.0023323 | 0.00058454 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_902-11_0_3_load_60 | 47 | 0.0028156 | 0.00070565 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_902-11_0_3_load_61 | 48 | 0.0029184 | 0.00073142 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_902-11_0_3_load_53 | 49 | 0.0016929 | 0.00042429 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_902-11_0_3_load_79 | 50 | 0.00027143 | 6.8027e-05 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_902-11_0_3_load_51 | 51 | 0.0012181 | 0.00030529 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_902-11_0_3_load_36 | 52 | 0.0058534 | 0.001467 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_902-11_0_3_load_37 | 53 | 0.0018816 | 0.00047157 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_902-11_0_3_load_38 | 54 | 0.0016232 | 0.00040681 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_902-11_0_3_load_39 | 55 | 0.0010427 | 0.00026132 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_902-11_0_3_load_54 | 57 | 0.00081411 | 0.00020404 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_902-11_0_3_load_42 | 58 | 0.00024236 | 6.0742e-05 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_902-11_0_3_load_41 | 59 | 0.0012786 | 0.00032045 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_902-11_0_3_load_47 | 60 | 0.0018808 | 0.00047138 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_902-11_0_3_load_68 | 61 | 0.00035899 | 8.9972e-05 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_902-11_0_3_load_98 | 62 | 0.00094472 | 0.00023677 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_902-11_0_3_load_69 | 64 | 0.00086885 | 0.00021775 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_902-11_0_3_load_44 | 65 | 0.0033127 | 0.00083025 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_902-11_0_3_load_45 | 66 | 0.0009763 | 0.00024468 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_902-11_0_3_load_46 | 67 | 0.00075295 | 0.00018871 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_902-11_0_3_load_48 | 68 | 0.0007575 | 0.00018985 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_902-11_0_3_load_94 | 69 | 0.00090951 | 0.00022794 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_902-11_0_3_load_52 | 70 | 0.00079888 | 0.00020022 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_902-11_0_3_load_49 | 71 | 0.00080289 | 0.00020122 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_902-11_0_3_load_50 | 72 | 0.00097404 | 0.00024412 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_902-11_0_3_load_55 | 73 | 0.00061627 | 0.00015445 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_902-11_0_3_load_56 | 74 | 0.00046189 | 0.00011576 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_902-11_0_3_load_57 | 75 | 0.00046917 | 0.00011759 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_902-11_0_3_load_58 | 76 | 0.00035844 | 8.9833e-05 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_902-11_0_3_load_59 | 77 | 0.00065563 | 0.00016432 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_902-11_0_3_load_71 | 79 | 0.00062368 | 0.00015631 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_902-11_0_3_load_72 | 80 | 0.0018186 | 0.00045578 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_902-11_0_3_load_73 | 81 | 0.00052845 | 0.00013244 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_902-11_0_3_load_74 | 82 | 0.0014411 | 0.00036118 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_902-11_0_3_load_77 | 85 | 0.00057303 | 0.00014362 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_902-11_0_3_load_78 | 86 | 0.00025026 | 6.2722e-05 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_902-11_0_3_load_83 | 87 | 0.0023014 | 0.00057678 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_902-11_0_3_load_86 | 88 | 0.00090343 | 0.00022642 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_902-11_0_3_load_81 | 90 | 0.0026624 | 0.00066726 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_902-11_0_3_load_82 | 91 | 0.00045388 | 0.00011375 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_902-11_0_3_load_84 | 92 | 0.00038376 | 9.6179e-05 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_902-11_0_3_load_87 | 94 | 0.00081799 | 0.00020501 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_902-11_0_3_load_96 | 95 | 0.00047277 | 0.00011849 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_902-11_0_3_load_97 | 96 | 0.0029179 | 0.0007313 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_902-11_0_3_load_89 | 97 | 0.0053929 | 0.0013516 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_902-11_0_3_load_91 | 98 | 0.0012026 | 0.00030139 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 26 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_902-11_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.014684 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_902-11_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.013488 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_902-11_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.021337 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_902-11_0_3_line_3 | NAYY 4x150 SE | 1 | 4 | 0.018784 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_902-11_0_3_line_4 | NAYY 4x150 SE | 3 | 5 | 0.006682 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
5 | LV_902-11_0_3_line_5 | NAYY 4x150 SE | 3 | 6 | 0.032001 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_902-11_0_3_line_6 | NAYY 4x150 SE | 4 | 7 | 0.0078245 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_902-11_0_3_line_7 | NAYY 4x150 SE | 5 | 8 | 0.040511 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_902-11_0_3_line_8 | NAYY 4x150 SE | 5 | 9 | 0.0046384 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
9 | LV_902-11_0_3_line_9 | NAYY 4x150 SE | 6 | 10 | 0.04101 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_902-11_0_3_line_10 | NAYY 4x150 SE | 7 | 11 | 0.0071873 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_902-11_0_3_line_11 | NAYY 4x150 SE | 8 | 25 | 0.017028 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_902-11_0_3_line_12 | NAYY 4x150 SE | 9 | 26 | 0.027998 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
13 | LV_902-11_0_3_line_13 | NAYY 4x150 SE | 10 | 16 | 0.048463 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_902-11_0_3_line_14 | NAYY 4x150 SE | 11 | 12 | 0.0053717 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_902-11_0_3_line_15 | NAYY 4x150 SE | 12 | 13 | 0.0066621 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_902-11_0_3_line_16 | NAYY 4x150 SE | 13 | 14 | 0.0072913 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_902-11_0_3_line_17 | NAYY 4x150 SE | 14 | 15 | 0.0070806 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_902-11_0_3_line_18 | NAYY 4x150 SE | 16 | 19 | 0.043013 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_902-11_0_3_line_19 | NAYY 4x150 SE | 16 | 20 | 0.045506 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_902-11_0_3_line_20 | NAYY 4x150 SE | 17 | 18 | 0.019914 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_902-11_0_3_line_21 | NAYY 4x150 SE | 18 | 22 | 0.017998 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_902-11_0_3_line_22 | NAYY 4x150 SE | 18 | 21 | 0.018075 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_902-11_0_3_line_23 | NAYY 4x150 SE | 19 | 23 | 0.012719 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_902-11_0_3_line_24 | NAYY 4x150 SE | 20 | 24 | 0.018084 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_902-11_0_3_line_25 | NAYY 4x150 SE | 20 | 21 | 0.018176 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_902-11_0_3_line_26 | NAYY 4x150 SE | 23 | 39 | 0.06006 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_902-11_0_3_line_27 | NAYY 4x150 SE | 23 | 36 | 0.01298 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_902-11_0_3_line_28 | NAYY 4x150 SE | 25 | 34 | 0.037996 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_902-11_0_3_line_29 | NAYY 4x150 SE | 26 | 43 | 0.028124 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_902-11_0_3_line_30 | NAYY 4x150 SE | 27 | 28 | 0.014057 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_902-11_0_3_line_31 | NAYY 4x150 SE | 27 | 29 | 0.3137 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_902-11_0_3_line_32 | NAYY 4x150 SE | 28 | 30 | 0.095312 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_902-11_0_3_line_33 | NAYY 4x150 SE | 29 | 31 | 0.071439 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_902-11_0_3_line_34 | NAYY 4x150 SE | 30 | 33 | 0.04528 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_902-11_0_3_line_35 | NAYY 4x150 SE | 31 | 32 | 0.079022 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_902-11_0_3_line_36 | NAYY 4x150 SE | 32 | 97 | 0.0018962 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_902-11_0_3_line_37 | NAYY 4x150 SE | 33 | 34 | 0.06031 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_902-11_0_3_line_38 | NAYY 4x150 SE | 35 | 36 | 0.031896 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_902-11_0_3_line_39 | NAYY 4x150 SE | 35 | 37 | 0.02957 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_902-11_0_3_line_40 | NAYY 4x150 SE | 37 | 38 | 0.031638 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_902-11_0_3_line_41 | NAYY 4x150 SE | 38 | 40 | 0.010731 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_902-11_0_3_line_42 | NAYY 4x150 SE | 39 | 41 | 0.11013 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_902-11_0_3_line_43 | NAYY 4x150 SE | 42 | 43 | 0.016621 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_902-11_0_3_line_44 | NAYY 4x150 SE | 42 | 44 | 0.077041 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_902-11_0_3_line_45 | NAYY 4x150 SE | 42 | 45 | 0.067589 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_902-11_0_3_line_46 | NAYY 4x150 SE | 44 | 46 | 0.060846 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_902-11_0_3_line_47 | NAYY 4x150 SE | 45 | 47 | 0.011437 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_902-11_0_3_line_48 | NAYY 4x150 SE | 46 | 49 | 0.016414 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_902-11_0_3_line_49 | NAYY 4x150 SE | 47 | 48 | 0.038011 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_902-11_0_3_line_50 | NAYY 4x150 SE | 48 | 50 | 0.32276 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_902-11_0_3_line_51 | NAYY 4x150 SE | 49 | 51 | 0.0019579 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_902-11_0_3_line_52 | NAYY 4x150 SE | 50 | 89 | 0.039958 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_902-11_0_3_line_53 | NAYY 4x150 SE | 50 | 84 | 0.035407 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_902-11_0_3_line_54 | NAYY 4x150 SE | 51 | 71 | 0.0087214 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_902-11_0_3_line_55 | NAYY 4x150 SE | 52 | 53 | 0.029445 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_902-11_0_3_line_56 | NAYY 4x150 SE | 52 | 54 | 0.003671 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_902-11_0_3_line_57 | NAYY 4x150 SE | 53 | 55 | 0.016238 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_902-11_0_3_line_58 | NAYY 4x150 SE | 54 | 56 | 0.01452 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_902-11_0_3_line_59 | NAYY 4x150 SE | 55 | 57 | 0.013383 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_902-11_0_3_line_60 | NAYY 4x150 SE | 56 | 58 | 0.00026769 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_902-11_0_3_line_61 | NAYY 4x150 SE | 56 | 59 | 0.065311 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_902-11_0_3_line_62 | NAYY 4x150 SE | 57 | 60 | 0.0050441 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_902-11_0_3_line_63 | NAYY 4x150 SE | 58 | 61 | 0.025523 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_902-11_0_3_line_64 | NAYY 4x150 SE | 60 | 66 | 0.010559 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_902-11_0_3_line_65 | NAYY 4x150 SE | 61 | 64 | 0.016692 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_902-11_0_3_line_66 | NAYY 4x150 SE | 62 | 63 | 0.28881 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_902-11_0_3_line_67 | NAYY 4x150 SE | 63 | 93 | 0.064992 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_902-11_0_3_line_68 | NAYY 4x150 SE | 64 | 76 | 0.009164 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_902-11_0_3_line_69 | NAYY 4x150 SE | 65 | 66 | 0.001745 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_902-11_0_3_line_70 | NAYY 4x150 SE | 65 | 67 | 0.013712 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_902-11_0_3_line_71 | NAYY 4x150 SE | 67 | 68 | 0.01569 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_902-11_0_3_line_72 | NAYY 4x150 SE | 68 | 69 | 0.0048777 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_902-11_0_3_line_73 | NAYY 4x150 SE | 69 | 70 | 0.0019722 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_902-11_0_3_line_74 | NAYY 4x150 SE | 70 | 72 | 0.0045224 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_902-11_0_3_line_75 | NAYY 4x150 SE | 71 | 72 | 0.0026071 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_902-11_0_3_line_76 | NAYY 4x150 SE | 73 | 74 | 0.0028702 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_902-11_0_3_line_77 | NAYY 4x150 SE | 73 | 75 | 0.0027894 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_902-11_0_3_line_78 | NAYY 4x150 SE | 74 | 76 | 0.0018748 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_902-11_0_3_line_79 | NAYY 4x150 SE | 75 | 77 | 0.018796 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_902-11_0_3_line_80 | NAYY 4x150 SE | 77 | 78 | 0.070248 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_902-11_0_3_line_81 | NAYY 4x150 SE | 78 | 79 | 0.051801 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_902-11_0_3_line_82 | NAYY 4x150 SE | 79 | 95 | 0.30715 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_902-11_0_3_line_83 | NAYY 4x150 SE | 80 | 81 | 0.015875 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_902-11_0_3_line_84 | NAYY 4x150 SE | 80 | 82 | 0.012742 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_902-11_0_3_line_85 | NAYY 4x150 SE | 81 | 83 | 0.011139 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_902-11_0_3_line_86 | NAYY 4x150 SE | 82 | 84 | 0.041755 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_902-11_0_3_line_87 | NAYY 4x150 SE | 83 | 85 | 0.032493 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_902-11_0_3_line_88 | NAYY 4x150 SE | 83 | 86 | 0.014962 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_902-11_0_3_line_89 | NAYY 4x150 SE | 85 | 87 | 0.0046791 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_902-11_0_3_line_90 | NAYY 4x150 SE | 86 | 88 | 0.045108 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_902-11_0_3_line_91 | NAYY 4x150 SE | 87 | 92 | 0.036209 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_902-11_0_3_line_92 | NAYY 4x150 SE | 88 | 94 | 0.0050703 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_902-11_0_3_line_93 | NAYY 4x150 SE | 89 | 90 | 0.0129 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
94 | LV_902-11_0_3_line_94 | NAYY 4x150 SE | 89 | 91 | 0.0067404 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
95 | LV_902-11_0_3_line_95 | NAYY 4x150 SE | 92 | 93 | 0.096549 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
96 | LV_902-11_0_3_line_96 | NAYY 4x150 SE | 95 | 96 | 0.0069139 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
97 | LV_902-11_0_3_line_97 | NAYY 4x150 SE | 97 | 98 | 0.021955 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_902-11_0_3_trafo_34 | 0.25 MVA 20/0.4 kV | 99 | 26 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2625235.7482 | 1199404.2953 | 2625249.5109 | 1199409.415
1 | 2625262.6144 | 1199411.9238 | 2625255.0637 | 1199411.4806 | 2625249.5109 | 1199409.415
2 | 2625235.7482 | 1199404.2953 | 2625244.7072 | 1199384.9225
3 | 2625235.7482 | 1199404.2953 | 2625235.3443 | 1199415.2107 | 2625243.1708 | 1199415.946
4 | 2625238.1113 | 1199383.7385 | 2625244.7072 | 1199384.9225
5 | 2625244.7072 | 1199384.9225 | 2625276.6675 | 1199386.5352
6 | 2625250.961 | 1199416.678 | 2625243.1708 | 1199415.946
7 | 2625238.1113 | 1199383.7385 | 2625225.8583 | 1199422.3524
8 | 2625238.1113 | 1199383.7385 | 2625233.6226 | 1199382.5693
9 | 2625317.3394 | 1199381.4939 | 2625278.367 | 1199386.621 | 2625276.6675 | 1199386.5352
10 | 2625258.1168 | 1199417.3503 | 2625250.961 | 1199416.678
11 | 2625210.7523 | 1199425.5186 | 2625218.1465 | 1199427.6228 | 2625225.8583 | 1199422.3524 | 2625225.8583 | 1199422.3524
12 | 2625233.6226 | 1199382.5693 | 2625206.5291 | 1199375.5122
13 | 2625317.3394 | 1199381.4939 | 2625365.1083 | 1199373.3186
14 | 2625263.465 | 1199417.8529 | 2625263.465 | 1199417.8529 | 2625258.1168 | 1199417.3503
15 | 2625263.465 | 1199417.8529 | 2625270.0917 | 1199417.1677
16 | 2625270.0917 | 1199417.1677 | 2625277.3444 | 1199416.4179
17 | 2625277.3444 | 1199416.4179 | 2625284.3875 | 1199415.6897
18 | 2625365.1083 | 1199373.3186 | 2625369.6366 | 1199372.5436 | 2625397.4963 | 1199370.3272 | 2625407.9592 | 1199369.9148
19 | 2625365.1083 | 1199373.3186 | 2625375.8671 | 1199329.1032
20 | 2625333.1238 | 1199350.5438 | 2625339.7132 | 1199331.7515
21 | 2625321.751 | 1199332.8578 | 2625328.1062 | 1199332.6017 | 2625339.7132 | 1199331.7515
22 | 2625357.74 | 1199330.431 | 2625339.7132 | 1199331.7515
23 | 2625420.6682 | 1199369.4139 | 2625407.9592 | 1199369.9148
24 | 2625375.8671 | 1199329.1032 | 2625379.7576 | 1199328.8183 | 2625393.7498 | 1199326.4981
25 | 2625357.74 | 1199330.431 | 2625375.8671 | 1199329.1032
26 | 2625420.6682 | 1199369.4139 | 2625435.1436 | 1199368.9084 | 2625452.0883 | 1199369.6363 | 2625478.0987 | 1199381.5645
27 | 2625420.6682 | 1199369.4139 | 2625419.3495 | 1199382.3264
28 | 2625210.7523 | 1199425.5186 | 2625174.2074 | 1199415.1189
29 | 2625179.1356 | 1199369.1692 | 2625196.5946 | 1199372.9245 | 2625206.5291 | 1199375.5122
30 | 2625153.8309 | 1199513.877 | 2625155.2778 | 1199506.5569 | 2625149.5132 | 1199503.3532
31 | 2625153.8309 | 1199513.877 | 2625128.4707 | 1199826.5522
32 | 2625096.2313 | 1199434.7665 | 2625095.7541 | 1199439.9376 | 2625097.0933 | 1199463.7451 | 2625107.0468 | 1199475.7711 | 2625141.8943 | 1199499.1189 | 2625149.5132 | 1199503.3532
33 | 2625066.3055 | 1199833.3668 | 2625074.8941 | 1199825.06 | 2625081.1334 | 1199820.4058 | 2625086.8932 | 1199817.5172 | 2625093.4036 | 1199815.3878 | 2625098.7292 | 1199814.4207 | 2625103.4265 | 1199814.3848 | 2625107.7632 | 1199815.0367 | 2625113.6172 | 1199816.94 | 2625119.9302 | 1199820.1127 | 2625128.4707 | 1199826.5522
34 | 2625096.2313 | 1199434.7665 | 2625097.2934 | 1199423.2572 | 2625105.2823 | 1199402.724 | 2625116.9092 | 1199401.5235
35 | 2625077.293 | 1199911.6214 | 2625066.3055 | 1199833.3668
36 | 2625079.0577 | 1199912.309 | 2625078.5796 | 1199912.0784 | 2625077.293 | 1199911.6214
37 | 2625174.2074 | 1199415.1189 | 2625162.1175 | 1199411.6784 | 2625134.15 | 1199399.7434 | 2625116.9092 | 1199401.5235
38 | 2625391.0238 | 1199396.2405 | 2625398.4735 | 1199393.0326 | 2625409.9576 | 1199388.7345 | 2625416.3058 | 1199385.5041 | 2625419.3495 | 1199382.3264 | 2625419.3495 | 1199382.3264
39 | 2625363.5197 | 1199407.0602 | 2625378.0472 | 1199401.8285 | 2625391.0238 | 1199396.2405
40 | 2625363.5197 | 1199407.0602 | 2625357.3907 | 1199409.2673 | 2625333.0375 | 1199415.443
41 | 2625322.6359 | 1199418.0806 | 2625333.0375 | 1199415.443
42 | 2625478.0987 | 1199381.5645 | 2625470.0743 | 1199417.2832 | 2625467.3887 | 1199423.9865 | 2625461.6607 | 1199426.4079 | 2625453.698 | 1199426.1739 | 2625401.826 | 1199421.135
43 | 2625162.8687 | 1199365.7633 | 2625164.8064 | 1199366.0871 | 2625179.1356 | 1199369.1692
44 | 2625162.8687 | 1199365.7633 | 2625133.8942 | 1199360.9212 | 2625103.6847 | 1199360.6833 | 2625086.4056 | 1199363.15
45 | 2625162.8687 | 1199365.7633 | 2625172.634 | 1199298.8835
46 | 2625086.4056 | 1199363.15 | 2625076.45 | 1199364.5713 | 2625053.0705 | 1199371.4328 | 2625030.4473 | 1199381.3658 | 2625028.9168 | 1199382.1411
47 | 2625172.634 | 1199298.8835 | 2625161.2204 | 1199298.1493
48 | 2625014.2744 | 1199389.5591 | 2625028.9168 | 1199382.1411
49 | 2625161.2204 | 1199298.1493 | 2625151.9229 | 1199297.5513 | 2625131.9382 | 1199290.0411 | 2625125.599 | 1199286.3302
50 | 2625125.599 | 1199286.3302 | 2624952.6768 | 1199013.797
51 | 2625014.2744 | 1199389.5591 | 2625012.5279 | 1199390.4439
52 | 2624985.7512 | 1198993.9241 | 2624984.7809 | 1198996.5437 | 2624983.8207 | 1198998.563 | 2624981.0627 | 1199000.8082 | 2624976.5087 | 1199002.8237 | 2624962.5088 | 1199007.768 | 2624957.5941 | 1199010.4823 | 2624952.6768 | 1199013.797
53 | 2624923.4411 | 1199033.4526 | 2624930.7419 | 1199030.0256 | 2624942.606 | 1199022.3375 | 2624948.6042 | 1199017.2375 | 2624952.6768 | 1199013.797
54 | 2625004.7479 | 1199394.3854 | 2625012.5279 | 1199390.4439
55 | 2624897.8835 | 1199448.524 | 2624924.1504 | 1199435.2169
56 | 2624897.8835 | 1199448.524 | 2624894.6088 | 1199450.183
57 | 2624924.1504 | 1199435.2169 | 2624938.6359 | 1199427.8784
58 | 2624881.6551 | 1199456.7424 | 2624890.6503 | 1199452.1884 | 2624894.6088 | 1199450.183
59 | 2624950.5742 | 1199421.8304 | 2624938.6359 | 1199427.8784
60 | 2624881.4164 | 1199456.8635 | 2624881.6551 | 1199456.7424
61 | 2624881.6551 | 1199456.7424 | 2624876.1443 | 1199447.2811 | 2624865.1997 | 1199426.2686 | 2624864.3763 | 1199421.0401 | 2624865.4083 | 1199418.1873 | 2624867.9007 | 1199415.6963 | 2624885.3806 | 1199408.7225
62 | 2624950.5742 | 1199421.8304 | 2624955.0738 | 1199419.5508
63 | 2624858.6526 | 1199468.4062 | 2624881.4164 | 1199456.8635
64 | 2624955.0738 | 1199419.5508 | 2624964.4927 | 1199414.7791
65 | 2624858.6526 | 1199468.4062 | 2624856.6686 | 1199469.4123 | 2624843.4023 | 1199475.1848
66 | 2624880.4171 | 1198787.3178 | 2624598.0783 | 1198726.5411
67 | 2624928.1956 | 1198793.0751 | 2624906.5419 | 1198792.7738 | 2624897.6095 | 1198792.9701 | 2624885.7412 | 1198794.2326 | 2624881.1118 | 1198794.2133 | 2624878.1901 | 1198793.7009 | 2624875.7583 | 1198792.5458 | 2624872.6696 | 1198790.076 | 2624880.4171 | 1198787.3178
68 | 2624834.9994 | 1199478.8411 | 2624843.4023 | 1199475.1848
69 | 2624966.0493 | 1199413.9905 | 2624964.4927 | 1199414.7791
70 | 2624966.0493 | 1199413.9905 | 2624978.2815 | 1199407.7936
71 | 2624992.2775 | 1199400.703 | 2624978.2815 | 1199407.7936
72 | 2624992.2775 | 1199400.703 | 2624996.6287 | 1199398.4986
73 | 2624998.388 | 1199397.6074 | 2624996.6287 | 1199398.4986
74 | 2625002.4222 | 1199395.5636 | 2624998.388 | 1199397.6074
75 | 2625004.7479 | 1199394.3854 | 2625002.4222 | 1199395.5636
76 | 2624830.6484 | 1199480.7343 | 2624833.2803 | 1199479.5891
77 | 2624830.6484 | 1199480.7343 | 2624828.0907 | 1199481.8473
78 | 2624833.2803 | 1199479.5891 | 2624834.9994 | 1199478.8411
79 | 2624810.8554 | 1199489.3468 | 2624828.0907 | 1199481.8473
80 | 2624745.8081 | 1199515.8674 | 2624803.9268 | 1199492.3617 | 2624810.8554 | 1199489.3468
81 | 2624745.8081 | 1199515.8674 | 2624750.1894 | 1199526.0244 | 2624752.6131 | 1199532.7491 | 2624754.2087 | 1199540.8935 | 2624753.7732 | 1199548.6292 | 2624752.1086 | 1199555.3371 | 2624749.006 | 1199565.5076
82 | 2624749.006 | 1199565.5076 | 2624704.4186 | 1199869.3993
83 | 2624924.633 | 1198982.1922 | 2624934.3257 | 1198969.6194
84 | 2624924.633 | 1198982.1922 | 2624923.6644 | 1198983.4486 | 2624919.075 | 1198990.3221 | 2624917.9907 | 1198993.002
85 | 2624941.1264 | 1198960.7979 | 2624934.3257 | 1198969.6194
86 | 2624923.4411 | 1199033.4526 | 2624920.4856 | 1199026.4365 | 2624918.4668 | 1199019.391 | 2624916.8218 | 1199010.3347 | 2624916.1302 | 1199004.5287 | 2624916.3883 | 1198999.2158 | 2624917.2518 | 1198994.8281 | 2624917.9907 | 1198993.002
87 | 2624941.1264 | 1198960.7979 | 2624945.6948 | 1198928.6271
88 | 2624941.1264 | 1198960.7979 | 2624955.9855 | 1198959.0494
89 | 2624945.6948 | 1198928.6271 | 2624946.3527 | 1198923.9946
90 | 2624998.9268 | 1198946.2628 | 2624996.3193 | 1198948.3545 | 2624978.2464 | 1198953.1373 | 2624966.2233 | 1198956.9225 | 2624957.916 | 1198958.8223 | 2624955.9855 | 1198959.0494
91 | 2624946.3527 | 1198923.9946 | 2624947.2292 | 1198917.8221 | 2624948.0349 | 1198909.0207 | 2624947.5152 | 1198902.1815 | 2624945.5147 | 1198888.8993 | 2624945.3742 | 1198888.0655
92 | 2625002.8818 | 1198943.0901 | 2624998.9268 | 1198946.2628
93 | 2624985.7512 | 1198993.9241 | 2624977.7836 | 1198983.7631
94 | 2624985.7512 | 1198993.9241 | 2624989.1006 | 1198992.2705 | 2624992.0154 | 1198991.5394
95 | 2624928.1956 | 1198793.0751 | 2624928.8007 | 1198797.7024 | 2624931.0289 | 1198809.3402 | 2624937.1554 | 1198839.3042 | 2624945.3742 | 1198888.0655
96 | 2624711.0861 | 1199871.2286 | 2624704.4186 | 1199869.3993
97 | 2625079.0577 | 1199912.309 | 2625083.2293 | 1199914.3213 | 2625087.5182 | 1199917.252 | 2625091.2712 | 1199920.9141 | 2625094.0038 | 1199924.6387 | 2625094.8333 | 1199926.7475

## bus_geodata
| x | y | coords
0 | 2625249.5109 | 1199409.415
1 | 2625235.7482 | 1199404.2953
2 | 2625262.6144 | 1199411.9238
3 | 2625244.7072 | 1199384.9225
4 | 2625243.1708 | 1199415.946
5 | 2625238.1113 | 1199383.7385
6 | 2625276.6675 | 1199386.5352
7 | 2625250.961 | 1199416.678
8 | 2625225.8583 | 1199422.3524
9 | 2625233.6226 | 1199382.5693
10 | 2625317.3394 | 1199381.4939
11 | 2625258.1168 | 1199417.3503
12 | 2625263.465 | 1199417.8529
13 | 2625270.0917 | 1199417.1677
14 | 2625277.3444 | 1199416.4179
15 | 2625284.3875 | 1199415.6897
16 | 2625365.1083 | 1199373.3186
17 | 2625333.1238 | 1199350.5438
18 | 2625339.7132 | 1199331.7515
19 | 2625407.9592 | 1199369.9148
20 | 2625375.8671 | 1199329.1032
21 | 2625357.74 | 1199330.431
22 | 2625321.751 | 1199332.8578
23 | 2625420.6682 | 1199369.4139
24 | 2625393.7498 | 1199326.4981
25 | 2625210.7523 | 1199425.5186
26 | 2625206.5291 | 1199375.5122
27 | 2625153.8309 | 1199513.877
28 | 2625149.5132 | 1199503.3532
29 | 2625128.4707 | 1199826.5522
30 | 2625096.2313 | 1199434.7665
31 | 2625066.3055 | 1199833.3668
32 | 2625077.293 | 1199911.6214
33 | 2625116.9092 | 1199401.5235
34 | 2625174.2074 | 1199415.1189
35 | 2625391.0238 | 1199396.2405
36 | 2625419.3495 | 1199382.3264
37 | 2625363.5197 | 1199407.0602
38 | 2625333.0375 | 1199415.443
39 | 2625478.0987 | 1199381.5645
40 | 2625322.6359 | 1199418.0806
41 | 2625401.826 | 1199421.135
42 | 2625162.8687 | 1199365.7633
43 | 2625179.1356 | 1199369.1692
44 | 2625086.4056 | 1199363.15
45 | 2625172.634 | 1199298.8835
46 | 2625028.9168 | 1199382.1411
47 | 2625161.2204 | 1199298.1493
48 | 2625125.599 | 1199286.3302
49 | 2625014.2744 | 1199389.5591
50 | 2624952.6768 | 1199013.797
51 | 2625012.5279 | 1199390.4439
52 | 2624897.8835 | 1199448.524
53 | 2624924.1504 | 1199435.2169
54 | 2624894.6088 | 1199450.183
55 | 2624938.6359 | 1199427.8784
56 | 2624881.6551 | 1199456.7424
57 | 2624950.5742 | 1199421.8304
58 | 2624881.4164 | 1199456.8635
59 | 2624885.3806 | 1199408.7225
60 | 2624955.0738 | 1199419.5508
61 | 2624858.6526 | 1199468.4062
62 | 2624598.0783 | 1198726.5411
63 | 2624880.4171 | 1198787.3178
64 | 2624843.4023 | 1199475.1848
65 | 2624966.0493 | 1199413.9905
66 | 2624964.4927 | 1199414.7791
67 | 2624978.2815 | 1199407.7936
68 | 2624992.2775 | 1199400.703
69 | 2624996.6287 | 1199398.4986
70 | 2624998.388 | 1199397.6074
71 | 2625004.7479 | 1199394.3854
72 | 2625002.4222 | 1199395.5636
73 | 2624830.6484 | 1199480.7343
74 | 2624833.2803 | 1199479.5891
75 | 2624828.0907 | 1199481.8473
76 | 2624834.9994 | 1199478.8411
77 | 2624810.8554 | 1199489.3468
78 | 2624745.8081 | 1199515.8674
79 | 2624749.006 | 1199565.5076
80 | 2624924.633 | 1198982.1922
81 | 2624934.3257 | 1198969.6194
82 | 2624917.9907 | 1198993.002
83 | 2624941.1264 | 1198960.7979
84 | 2624923.4411 | 1199033.4526
85 | 2624945.6948 | 1198928.6271
86 | 2624955.9855 | 1198959.0494
87 | 2624946.3527 | 1198923.9946
88 | 2624998.9268 | 1198946.2628
89 | 2624985.7512 | 1198993.9241
90 | 2624977.7836 | 1198983.7631
91 | 2624992.0154 | 1198991.5394
92 | 2624945.3742 | 1198888.0655
93 | 2624928.1956 | 1198793.0751
94 | 2625002.8818 | 1198943.0901
95 | 2624704.4186 | 1199869.3993
96 | 2624711.0861 | 1199871.2286
97 | 2625079.0577 | 1199912.309
98 | 2625094.8333 | 1199926.7475
99 | 2625238.1113 | 1199383.7385

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1