## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_902-13_1_2_node_20 | 0.4 | n |  | TRUE
1 | bus_LV_902-13_1_2_node_34 | 0.4 | n |  | TRUE
2 | bus_LV_902-13_1_2_node_107 | 0.4 | n |  | TRUE
3 | bus_LV_902-13_1_2_node_23 | 0.4 | n |  | TRUE
4 | bus_LV_902-13_1_2_node_24 | 0.4 | n |  | TRUE
5 | bus_LV_902-13_1_2_node_25 | 0.4 | n |  | TRUE
6 | bus_LV_902-13_1_2_node_26 | 0.4 | n |  | TRUE
7 | bus_LV_902-13_1_2_node_27 | 0.4 | n |  | TRUE
8 | bus_LV_902-13_1_2_node_28 | 0.4 | n |  | TRUE
9 | bus_LV_902-13_1_2_node_29 | 0.4 | n |  | TRUE
10 | bus_LV_902-13_1_2_node_30 | 0.4 | n |  | TRUE
11 | bus_LV_902-13_1_2_node_31 | 0.4 | n |  | TRUE
12 | bus_LV_902-13_1_2_node_32 | 0.4 | n |  | TRUE
13 | bus_LV_902-13_1_2_node_51 | 0.4 | n |  | TRUE
14 | bus_LV_902-13_1_2_node_50 | 0.4 | n |  | TRUE
15 | bus_LV_902-13_1_2_node_35 | 0.4 | n |  | TRUE
16 | bus_LV_902-13_1_2_node_33 | 0.4 | n |  | TRUE
17 | bus_LV_902-13_1_2_node_54 | 0.4 | n |  | TRUE
18 | bus_LV_902-13_1_2_node_45 | 0.4 | n |  | TRUE
19 | bus_LV_902-13_1_2_node_46 | 0.4 | n |  | TRUE
20 | bus_LV_902-13_1_2_node_47 | 0.4 | n |  | TRUE
21 | bus_LV_902-13_1_2_node_52 | 0.4 | n |  | TRUE
22 | bus_LV_902-13_1_2_node_48 | 0.4 | n |  | TRUE
23 | bus_LV_902-13_1_2_node_49 | 0.4 | n |  | TRUE
24 | bus_LV_902-13_1_2_node_53 | 0.4 | n |  | TRUE
25 | bus_LV_902-13_1_2_node_55 | 0.4 | n |  | TRUE
26 | bus_LV_902-13_1_2_node_83 | 0.4 | n |  | TRUE
27 | bus_LV_902-13_1_2_node_84 | 0.4 | n |  | TRUE
28 | bus_LV_902-13_1_2_node_92 | 0.4 | n |  | TRUE
29 | bus_LV_902-13_1_2_node_93 | 0.4 | n |  | TRUE
30 | bus_MV_0_node_27 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_902-13_1_2_load_107 | 2 | 0.00012488 | 3.1297e-05 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_902-13_1_2_load_23 | 3 | 0.00091516 | 0.00022936 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_902-13_1_2_load_24 | 4 | 0.00022547 | 5.6509e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_902-13_1_2_load_25 | 5 | 0.00013986 | 3.5051e-05 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_902-13_1_2_load_27 | 7 | 0.013948 | 0.0034956 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_902-13_1_2_load_28 | 8 | 7.787e-05 | 1.9516e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_902-13_1_2_load_31 | 11 | 0.00063321 | 0.0001587 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_902-13_1_2_load_51 | 13 | 0.00044507 | 0.00011154 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_902-13_1_2_load_50 | 14 | 0.00021955 | 5.5025e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_902-13_1_2_load_33 | 16 | 9.4163e-05 | 2.3599e-05 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_902-13_1_2_load_54 | 17 | 0.00036935 | 9.2569e-05 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_902-13_1_2_load_45 | 18 | 0.00312 | 0.00078195 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_902-13_1_2_load_46 | 19 | 0.0019745 | 0.00049485 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_902-13_1_2_load_47 | 20 | 0.00039116 | 9.8034e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_902-13_1_2_load_48 | 22 | 7.3227e-05 | 1.8352e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_902-13_1_2_load_53 | 24 | 7.3155e-05 | 1.8334e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_902-13_1_2_load_55 | 25 | 5.7169e-05 | 1.4328e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_902-13_1_2_load_92 | 28 | 0.00012876 | 3.2271e-05 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_902-13_1_2_load_93 | 29 | 0.00079406 | 0.00019901 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 7 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_902-13_1_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.33222 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_902-13_1_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.2185 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_902-13_1_2_line_2 | NAYY 4x150 SE | 1 | 6 | 0.22848 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_902-13_1_2_line_3 | NAYY 4x150 SE | 1 | 16 | 0.070344 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_902-13_1_2_line_4 | NAYY 4x150 SE | 2 | 26 | 0.15503 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_902-13_1_2_line_5 | NAYY 4x150 SE | 3 | 4 | 0.029876 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_902-13_1_2_line_6 | NAYY 4x150 SE | 3 | 5 | 0.044148 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_902-13_1_2_line_7 | NAYY 4x150 SE | 4 | 6 | 0.029218 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_902-13_1_2_line_8 | NAYY 4x150 SE | 7 | 8 | 0.26784 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_902-13_1_2_line_9 | NAYY 4x150 SE | 7 | 9 | 0.027369 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_902-13_1_2_line_10 | NAYY 4x150 SE | 8 | 10 | 0.042644 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_902-13_1_2_line_11 | NAYY 4x150 SE | 9 | 11 | 0.016647 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_902-13_1_2_line_12 | NAYY 4x150 SE | 9 | 12 | 0.049731 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_902-13_1_2_line_13 | NAYY 4x150 SE | 10 | 13 | 0.011034 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_902-13_1_2_line_14 | NAYY 4x150 SE | 10 | 14 | 0.010915 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_902-13_1_2_line_15 | NAYY 4x150 SE | 12 | 15 | 0.59764 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_902-13_1_2_line_16 | NAYY 4x150 SE | 12 | 16 | 0.022178 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_902-13_1_2_line_17 | NAYY 4x150 SE | 13 | 21 | 0.12244 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_902-13_1_2_line_18 | NAYY 4x150 SE | 14 | 23 | 0.25832 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_902-13_1_2_line_19 | NAYY 4x150 SE | 15 | 17 | 0.038208 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_902-13_1_2_line_20 | NAYY 4x150 SE | 17 | 25 | 0.02714 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_902-13_1_2_line_21 | NAYY 4x150 SE | 18 | 19 | 0.010147 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_902-13_1_2_line_22 | NAYY 4x150 SE | 19 | 20 | 0.034737 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_902-13_1_2_line_23 | NAYY 4x150 SE | 20 | 21 | 0.015196 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_902-13_1_2_line_24 | NAYY 4x150 SE | 21 | 24 | 0.0064232 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_902-13_1_2_line_25 | NAYY 4x150 SE | 22 | 23 | 0.063981 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_902-13_1_2_line_26 | NAYY 4x150 SE | 26 | 27 | 0.37582 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_902-13_1_2_line_27 | NAYY 4x150 SE | 27 | 28 | 0.3476 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_902-13_1_2_line_28 | NAYY 4x150 SE | 28 | 29 | 0.061706 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_902-13_1_2_trafo_27 | 0.25 MVA 20/0.4 kV | 30 | 7 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28 | x29 | y29 | x30 | y30 | x31 | y31 | x32 | y32 | x33 | y33 | x34 | y34 | x35 | y35 | x36 | y36 | x37 | y37 | x38 | y38 | x39 | y39 | x40 | y40 | x41 | y41 | x42 | y42 | x43 | y43 | x44 | y44 | x45 | y45 | x46 | y46 | x47 | y47 | x48 | y48 | x49 | y49 | x50 | y50 | x51 | y51 | x52 | y52 | x53 | y53 | x54 | y54 | x55 | y55 | x56 | y56 | x57 | y57
0 | 2627265.7587 | 1200701.0358 | 2627258.6242 | 1200693.1767 | 2627258.6936 | 1200677.9465 | 2627282.0068 | 1200631.6273 | 2627303.2178 | 1200580.6961 | 2627333.4955 | 1200487.9946 | 2627339.3302 | 1200457.1821 | 2627334.2729 | 1200412.7903 | 2627326.6739 | 1200396.5578 | 2627329.3188 | 1200389.1548
1 | 2627329.3188 | 1200389.1548 | 2627310.7361 | 1200387.7247 | 2627286.1854 | 1200396.3397 | 2627269.1544 | 1200405.2114 | 2627259.0965 | 1200417.3723 | 2627246.1166 | 1200422.6272 | 2627227.5728 | 1200434.4271 | 2627203.337 | 1200445.8454 | 2627192.4006 | 1200446.9963 | 2627178.3798 | 1200455.2038 | 2627165.9776 | 1200465.6977 | 2627156.1508 | 1200472.2901 | 2627151.1472 | 1200472.8344 | 2627146.1481 | 1200472.3559 | 2627136.6664 | 1200467.3748
2 | 2627404.3029 | 1200524.7051 | 2627371.3185 | 1200593.2028 | 2627355.869 | 1200617.5566 | 2627330.4552 | 1200650.3252 | 2627310.527 | 1200668.711 | 2627290.8829 | 1200681.5729 | 2627265.7587 | 1200701.0358
3 | 2627265.7587 | 1200701.0358 | 2627253.3098 | 1200721.8794 | 2627256.0493 | 1200748.7732 | 2627265.2857 | 1200765.4145
4 | 2627020.6651 | 1200427.7972 | 2627033.9612 | 1200423.277 | 2627042.5221 | 1200423.916 | 2627050.006 | 1200427.0293 | 2627056.9892 | 1200428.1059 | 2627063.0853 | 1200426.7104 | 2627072.2613 | 1200420.9265 | 2627084.753 | 1200412.5118 | 2627093.2138 | 1200410.0265 | 2627097.8631 | 1200410.4144 | 2627102.3411 | 1200413.3362 | 2627105.6387 | 1200418.0426 | 2627107.5707 | 1200423.4099 | 2627111.4565 | 1200436.0677 | 2627115.7838 | 1200445.3702 | 2627120.3516 | 1200453.651 | 2627126.9579 | 1200462.2745 | 2627136.6664 | 1200467.3748
5 | 2627398.9675 | 1200496.3095 | 2627395.198 | 1200478.3491 | 2627392.1298 | 1200467.2411
6 | 2627394.4277 | 1200423.7935 | 2627390.4449 | 1200445.754 | 2627389.7467 | 1200458.6134 | 2627392.1298 | 1200467.2411
7 | 2627404.3029 | 1200524.7051 | 2627399.539 | 1200511.1314 | 2627398.9675 | 1200496.3095
8 | 2627497.3027 | 1201024.0372 | 2627493.7744 | 1201011.9601 | 2627479.0664 | 1200981.0423 | 2627456.5441 | 1200939.5384 | 2627450.8989 | 1200924.0485 | 2627446.1108 | 1200910.8748 | 2627437.5406 | 1200899.1514 | 2627426.1622 | 1200887.3038 | 2627413.5967 | 1200867.0908 | 2627399.8258 | 1200852.453 | 2627387.8519 | 1200844.3049 | 2627380.9071 | 1200839.9485 | 2627374.8611 | 1200837.1304 | 2627368.7052 | 1200835.0456 | 2627340.9228 | 1200828.3038 | 2627337.0545 | 1200827.2495
9 | 2627311.2754 | 1200818.2741 | 2627323.2096 | 1200823.4759 | 2627337.0545 | 1200827.2495
10 | 2627507.4652 | 1201065.419 | 2627502.6692 | 1201042.4065 | 2627497.3027 | 1201024.0372
11 | 2627311.2754 | 1200818.2741 | 2627304.7154 | 1200802.9691
12 | 2627276.0487 | 1200784.8063 | 2627280.744 | 1200786.7287 | 2627283.133 | 1200788.6296 | 2627288.6134 | 1200796.9925 | 2627296.5231 | 1200808.4348 | 2627305.065 | 1200814.7772 | 2627311.2754 | 1200818.2741
13 | 2627507.4652 | 1201065.419 | 2627518.4859 | 1201065.9526
14 | 2627507.4652 | 1201065.419 | 2627506.0919 | 1201076.2471
15 | 2627276.0487 | 1200784.8063 | 2627286.1293 | 1200805.9194 | 2627292.8161 | 1200816.7891 | 2627297.5219 | 1200823.0807 | 2627301.9228 | 1200827.7922 | 2627309.8081 | 1200834.5541 | 2627367.2004 | 1200881.1306 | 2627372.7938 | 1200886.3702 | 2627377.6236 | 1200892.1399 | 2627380.5476 | 1200896.8892 | 2627382.8382 | 1200901.9802 | 2627384.7073 | 1200907.703 | 2627386.5764 | 1200915.0823 | 2627388.8814 | 1200927.0216 | 2627394.5462 | 1200958.2091 | 2627396.8905 | 1200968.2031 | 2627398.9328 | 1200974.3269 | 2627402.054 | 1200982.5234 | 2627411.6264 | 1201003.1008 | 2627413.309 | 1201007.9778 | 2627414.1458 | 1201013.0511 | 2627413.758 | 1201017.9631 | 2627412.2121 | 1201021.4468 | 2627409.41 | 1201025.0137 | 2627404.8656 | 1201028.4059 | 2627400.2638 | 1201031.0641 | 2627392.936 | 1201033.9321 | 2627355.8523 | 1201044.1015 | 2627342.3061 | 1201048.6198 | 2627337.0132 | 1201050.9414 | 2627331.2944 | 1201054.8396 | 2627326.9081 | 1201058.655 | 2627323.7775 | 1201062.4873 | 2627321.1233 | 1201067.011 | 2627318.8862 | 1201071.859 | 2627317.3702 | 1201077.155 | 2627316.4235 | 1201084.4658 | 2627316.1888 | 1201095.8487 | 2627316.7205 | 1201117.7743 | 2627317.4363 | 1201124.3701 | 2627318.3867 | 1201129.5995 | 2627319.7666 | 1201134.0971 | 2627321.5268 | 1201138.6632 | 2627323.7735 | 1201143.3538 | 2627327.3595 | 1201149.796 | 2627345.4268 | 1201180.1951 | 2627350.3408 | 1201187.4771 | 2627356.016 | 1201194.7515 | 2627346.2591 | 1201191.2495 | 2627342.6528 | 1201189.2763 | 2627340.5983 | 1201187.4993 | 2627339.0092 | 1201185.4798 | 2627336.8414 | 1201181.8346 | 2627332.1802 | 1201172.5082 | 2627328.4723 | 1201166.11 | 2627325.5614 | 1201161.861 | 2627321.1125 | 1201156.0487 | 2627311.6815 | 1201146.178
16 | 2627276.0487 | 1200784.8063 | 2627265.2857 | 1200765.4145
17 | 2627551.7966 | 1200967.3246 | 2627547.4949 | 1200975.8539 | 2627542.6792 | 1200988.5721 | 2627541.2478 | 1201001.8839 | 2627544.0354 | 1201014.7149 | 2627549.604 | 1201035.2073 | 2627550.1708 | 1201046.0047 | 2627544.4655 | 1201055.2169 | 2627534.2148 | 1201064.7305 | 2627526.2383 | 1201066.328 | 2627518.4859 | 1201065.9526
18 | 2627629.9605 | 1201229.1396 | 2627622.7342 | 1201226.5493 | 2627611.7148 | 1201224.564 | 2627580.4361 | 1201220.5287 | 2627546.3871 | 1201213.1568 | 2627533.7824 | 1201208.3184 | 2627526.2601 | 1201207.1832 | 2627517.1245 | 1201205.9961 | 2627513.8963 | 1201204.5693 | 2627511.1747 | 1201202.2222 | 2627508.4822 | 1201198.4967 | 2627506.8228 | 1201193.553 | 2627505.3141 | 1201188.9658 | 2627504.0276 | 1201180.722 | 2627502.4352 | 1201171.1539 | 2627501.0277 | 1201166.0557 | 2627494.4149 | 1201150.8392 | 2627487.5451 | 1201135.2436 | 2627486.3503 | 1201128.5678 | 2627485.9625 | 1201123.5076 | 2627486.8088 | 1201118.242 | 2627488.1621 | 1201111.9447 | 2627492.3356 | 1201103.1035 | 2627500.9243 | 1201089.202 | 2627505.3486 | 1201082.1073 | 2627506.0919 | 1201076.2471
19 | 2627311.6815 | 1201146.178 | 2627306.0876 | 1201141.0941 | 2627293.4499 | 1201130.0527 | 2627287.7813 | 1201124.6572 | 2627283.8042 | 1201120.1098
20 | 2627275.6019 | 1201094.8854 | 2627276.6212 | 1201103.3724 | 2627277.9126 | 1201110.6045 | 2627279.8118 | 1201114.7265 | 2627282.9883 | 1201119.1768 | 2627283.8042 | 1201120.1098
21 | 2627548.9446 | 1200907.6564 | 2627548.1678 | 1200912.3555 | 2627547.9783 | 1200917.7367
22 | 2627549.0005 | 1200952.3906 | 2627548.0132 | 1200945.9399 | 2627547.695 | 1200925.7829 | 2627547.9783 | 1200917.7367
23 | 2627551.7966 | 1200967.3246 | 2627549.6019 | 1200956.3196 | 2627549.0005 | 1200952.3906
24 | 2627551.7966 | 1200967.3246 | 2627558.2015 | 1200966.8402
25 | 2627629.9605 | 1201229.1396 | 2627645.6803 | 1201238.4395 | 2627662.0246 | 1201249.3099 | 2627669.9904 | 1201256.5618 | 2627674.2964 | 1201261.8957 | 2627677.8574 | 1201269.5697
26 | 2626854.5153 | 1200639.4211 | 2626845.7567 | 1200620.1601 | 2626841.8666 | 1200608.3585 | 2626838.486 | 1200603.474 | 2626830.6235 | 1200596.5238 | 2626826.3102 | 1200592.5245 | 2626821.6869 | 1200582.9652 | 2626849.4102 | 1200581.1885 | 2626857.881 | 1200579.8035 | 2626863.1403 | 1200578.2374 | 2626876.25 | 1200572.7488 | 2626885.9685 | 1200566.4334 | 2626904.4455 | 1200545.5383 | 2626909.412 | 1200532.9204 | 2626915.2093 | 1200499.7616 | 2626909.799 | 1200453.6343 | 2626925.9043 | 1200455.7634 | 2626944.4158 | 1200447.6089 | 2626954.7387 | 1200447.4442 | 2626967.2753 | 1200450.9581 | 2626977.6795 | 1200451.3163 | 2626991.3972 | 1200444.4521 | 2626998.2686 | 1200436.5454 | 2627020.6651 | 1200427.7972
27 | 2626854.5153 | 1200639.4211 | 2626868.5999 | 1200659.2062 | 2626873.4996 | 1200664.8313 | 2626881.7069 | 1200671.2272 | 2626896.0362 | 1200678.8735 | 2626915.3851 | 1200685.7531 | 2626925.8255 | 1200691.5143 | 2626932.4341 | 1200697.9364 | 2626940.0466 | 1200709.6438 | 2626944.0072 | 1200717.5437 | 2626947.4369 | 1200726.7197 | 2626950.64 | 1200740.5751 | 2626952.5726 | 1200764.3968 | 2626952.5296 | 1200773.9574 | 2626951.0674 | 1200780.8768 | 2626944.489 | 1200791.4308 | 2626940.3799 | 1200797.927 | 2626937.8978 | 1200804.8307 | 2626937.4565 | 1200811.5435 | 2626938.8655 | 1200816.4414 | 2626945.5449 | 1200829.0895 | 2626947.55 | 1200836.825 | 2626947.5216 | 1200843.1394 | 2626946.5079 | 1200846.8035 | 2626944.4135 | 1200850.4628 | 2626941.1141 | 1200852.9271 | 2626927.608 | 1200858.6694 | 2626918.7831 | 1200862.732 | 2626915.6149 | 1200864.8189 | 2626913.5226 | 1200867.989 | 2626912.2342 | 1200871.8186 | 2626911.8056 | 1200890.9605 | 2626912.772 | 1200904.5723 | 2626914.4553 | 1200911.0723 | 2626914.1503 | 1200915.68
28 | 2626914.1503 | 1200915.68 | 2626913.9654 | 1200918.4742 | 2626911.1909 | 1200926.0992 | 2626904.6105 | 1200940.5331 | 2626893.5432 | 1200960.8834 | 2626887.8203 | 1200971.1613

## bus_geodata
| x | y | coords
0 | 2627329.3188 | 1200389.1548
1 | 2627265.7587 | 1200701.0358
2 | 2627136.6664 | 1200467.3748
3 | 2627392.1298 | 1200467.2411
4 | 2627398.9675 | 1200496.3095
5 | 2627394.4277 | 1200423.7935
6 | 2627404.3029 | 1200524.7051
7 | 2627337.0545 | 1200827.2495
8 | 2627497.3027 | 1201024.0372
9 | 2627311.2754 | 1200818.2741
10 | 2627507.4652 | 1201065.419
11 | 2627304.7154 | 1200802.9691
12 | 2627276.0487 | 1200784.8063
13 | 2627518.4859 | 1201065.9526
14 | 2627506.0919 | 1201076.2471
15 | 2627311.6815 | 1201146.178
16 | 2627265.2857 | 1200765.4145
17 | 2627283.8042 | 1201120.1098
18 | 2627548.9446 | 1200907.6564
19 | 2627547.9783 | 1200917.7367
20 | 2627549.0005 | 1200952.3906
21 | 2627551.7966 | 1200967.3246
22 | 2627677.8574 | 1201269.5697
23 | 2627629.9605 | 1201229.1396
24 | 2627558.2015 | 1200966.8402
25 | 2627275.6019 | 1201094.8854
26 | 2627020.6651 | 1200427.7972
27 | 2626854.5153 | 1200639.4211
28 | 2626914.1503 | 1200915.68
29 | 2626887.8203 | 1200971.1613
30 | 2627337.0545 | 1200827.2495

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1