## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_902-14_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_902-14_0_3_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_902-14_0_3_node_4 | 0.4 | n |  | TRUE
3 | bus_LV_902-14_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_902-14_0_3_node_66 | 0.4 | n |  | TRUE
5 | bus_LV_902-14_0_3_node_8 | 0.4 | n |  | TRUE
6 | bus_LV_902-14_0_3_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_902-14_0_3_node_12 | 0.4 | n |  | TRUE
8 | bus_LV_902-14_0_3_node_14 | 0.4 | n |  | TRUE
9 | bus_LV_902-14_0_3_node_15 | 0.4 | n |  | TRUE
10 | bus_LV_902-14_0_3_node_63 | 0.4 | n |  | TRUE
11 | bus_LV_902-14_0_3_node_10 | 0.4 | n |  | TRUE
12 | bus_LV_902-14_0_3_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_902-14_0_3_node_11 | 0.4 | n |  | TRUE
14 | bus_LV_902-14_0_3_node_13 | 0.4 | n |  | TRUE
15 | bus_LV_902-14_0_3_node_65 | 0.4 | n |  | TRUE
16 | bus_LV_902-14_0_3_node_35 | 0.4 | n |  | TRUE
17 | bus_LV_902-14_0_3_node_62 | 0.4 | n |  | TRUE
18 | bus_LV_902-14_0_3_node_16 | 0.4 | n |  | TRUE
19 | bus_LV_902-14_0_3_node_17 | 0.4 | n |  | TRUE
20 | bus_LV_902-14_0_3_node_18 | 0.4 | n |  | TRUE
21 | bus_LV_902-14_0_3_node_19 | 0.4 | n |  | TRUE
22 | bus_LV_902-14_0_3_node_20 | 0.4 | n |  | TRUE
23 | bus_LV_902-14_0_3_node_21 | 0.4 | n |  | TRUE
24 | bus_LV_902-14_0_3_node_22 | 0.4 | n |  | TRUE
25 | bus_LV_902-14_0_3_node_27 | 0.4 | n |  | TRUE
26 | bus_LV_902-14_0_3_node_41 | 0.4 | n |  | TRUE
27 | bus_LV_902-14_0_3_node_26 | 0.4 | n |  | TRUE
28 | bus_LV_902-14_0_3_node_42 | 0.4 | n |  | TRUE
29 | bus_LV_902-14_0_3_node_23 | 0.4 | n |  | TRUE
30 | bus_LV_902-14_0_3_node_24 | 0.4 | n |  | TRUE
31 | bus_LV_902-14_0_3_node_25 | 0.4 | n |  | TRUE
32 | bus_LV_902-14_0_3_node_28 | 0.4 | n |  | TRUE
33 | bus_LV_902-14_0_3_node_29 | 0.4 | n |  | TRUE
34 | bus_LV_902-14_0_3_node_30 | 0.4 | n |  | TRUE
35 | bus_LV_902-14_0_3_node_31 | 0.4 | n |  | TRUE
36 | bus_LV_902-14_0_3_node_32 | 0.4 | n |  | TRUE
37 | bus_LV_902-14_0_3_node_38 | 0.4 | n |  | TRUE
38 | bus_LV_902-14_0_3_node_33 | 0.4 | n |  | TRUE
39 | bus_LV_902-14_0_3_node_36 | 0.4 | n |  | TRUE
40 | bus_LV_902-14_0_3_node_34 | 0.4 | n |  | TRUE
41 | bus_LV_902-14_0_3_node_37 | 0.4 | n |  | TRUE
42 | bus_LV_902-14_0_3_node_39 | 0.4 | n |  | TRUE
43 | bus_LV_902-14_0_3_node_40 | 0.4 | n |  | TRUE
44 | bus_LV_902-14_0_3_node_46 | 0.4 | n |  | TRUE
45 | bus_LV_902-14_0_3_node_45 | 0.4 | n |  | TRUE
46 | bus_LV_902-14_0_3_node_43 | 0.4 | n |  | TRUE
47 | bus_LV_902-14_0_3_node_44 | 0.4 | n |  | TRUE
48 | bus_LV_902-14_0_3_node_49 | 0.4 | n |  | TRUE
49 | bus_LV_902-14_0_3_node_53 | 0.4 | n |  | TRUE
50 | bus_LV_902-14_0_3_node_47 | 0.4 | n |  | TRUE
51 | bus_LV_902-14_0_3_node_48 | 0.4 | n |  | TRUE
52 | bus_LV_902-14_0_3_node_50 | 0.4 | n |  | TRUE
53 | bus_LV_902-14_0_3_node_51 | 0.4 | n |  | TRUE
54 | bus_LV_902-14_0_3_node_57 | 0.4 | n |  | TRUE
55 | bus_LV_902-14_0_3_node_52 | 0.4 | n |  | TRUE
56 | bus_LV_902-14_0_3_node_55 | 0.4 | n |  | TRUE
57 | bus_LV_902-14_0_3_node_54 | 0.4 | n |  | TRUE
58 | bus_LV_902-14_0_3_node_56 | 0.4 | n |  | TRUE
59 | bus_LV_902-14_0_3_node_58 | 0.4 | n |  | TRUE
60 | bus_LV_902-14_0_3_node_59 | 0.4 | n |  | TRUE
61 | bus_LV_902-14_0_3_node_60 | 0.4 | n |  | TRUE
62 | bus_LV_902-14_0_3_node_61 | 0.4 | n |  | TRUE
63 | bus_LV_902-14_0_3_node_64 | 0.4 | n |  | TRUE
64 | bus_MV_199_0_node_29 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_902-14_0_3_load_0 | 0 | 0.0017954 | 0.00044998 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_902-14_0_3_load_66 | 4 | 0.0016487 | 0.0004132 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_902-14_0_3_load_8 | 5 | 0.0016302 | 0.00040857 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_902-14_0_3_load_5 | 6 | 0.00085913 | 0.00021532 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_902-14_0_3_load_14 | 8 | 0.0013358 | 0.00033477 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_902-14_0_3_load_15 | 9 | 0.0011166 | 0.00027984 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_902-14_0_3_load_10 | 11 | 0.0030954 | 0.00077578 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_902-14_0_3_load_9 | 12 | 0.0016739 | 0.00041953 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_902-14_0_3_load_11 | 13 | 0.0023439 | 0.00058744 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_902-14_0_3_load_13 | 14 | 0.0015874 | 0.00039783 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_902-14_0_3_load_65 | 15 | 0.00071473 | 0.00017913 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_902-14_0_3_load_35 | 16 | 0.0028468 | 0.00071348 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_902-14_0_3_load_62 | 17 | 0.0015187 | 0.00038061 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_902-14_0_3_load_16 | 18 | 0.00071182 | 0.0001784 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_902-14_0_3_load_17 | 19 | 0.003759 | 0.0009421 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_902-14_0_3_load_18 | 20 | 0.0019724 | 0.00049433 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_902-14_0_3_load_20 | 22 | 0.0027858 | 0.0006982 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_902-14_0_3_load_21 | 23 | 0.0050164 | 0.0012572 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_902-14_0_3_load_22 | 24 | 0.0023897 | 0.0005989 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_902-14_0_3_load_41 | 26 | 0.0023994 | 0.00060134 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_902-14_0_3_load_42 | 28 | 0.0023998 | 0.00060145 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_902-14_0_3_load_23 | 29 | 0.0036503 | 0.00091486 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_902-14_0_3_load_24 | 30 | 0.0036392 | 0.00091206 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_902-14_0_3_load_25 | 31 | 0.0062708 | 0.0015716 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_902-14_0_3_load_28 | 32 | 0.0018794 | 0.00047103 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_902-14_0_3_load_29 | 33 | 0.0017403 | 0.00043616 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_902-14_0_3_load_31 | 35 | 0.0037612 | 0.00094264 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_902-14_0_3_load_38 | 37 | 0.0024196 | 0.0006064 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_902-14_0_3_load_33 | 38 | 0.0025968 | 0.00065083 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_902-14_0_3_load_36 | 39 | 0.0024968 | 0.00062576 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_902-14_0_3_load_34 | 40 | 0.0030645 | 0.00076804 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_902-14_0_3_load_37 | 41 | 0.003131 | 0.0007847 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_902-14_0_3_load_39 | 42 | 0.0029028 | 0.00072751 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_902-14_0_3_load_40 | 43 | 0.0018228 | 0.00045683 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_902-14_0_3_load_46 | 44 | 0.001829 | 0.0004584 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_902-14_0_3_load_45 | 45 | 0.0032053 | 0.00080333 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_902-14_0_3_load_43 | 46 | 0.0032071 | 0.00080378 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_902-14_0_3_load_44 | 47 | 0.0032012 | 0.0008023 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_902-14_0_3_load_47 | 50 | 0.0018232 | 0.00045692 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_902-14_0_3_load_48 | 51 | 0.0018197 | 0.00045607 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_902-14_0_3_load_50 | 52 | 0.0032146 | 0.00080567 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_902-14_0_3_load_51 | 53 | 0.0018329 | 0.00045936 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_902-14_0_3_load_57 | 54 | 0.0018306 | 0.00045878 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_902-14_0_3_load_52 | 55 | 0.0018339 | 0.00045961 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_902-14_0_3_load_55 | 56 | 0.0018176 | 0.00045554 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_902-14_0_3_load_54 | 57 | 0.0040692 | 0.0010198 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_902-14_0_3_load_56 | 58 | 0.0018247 | 0.00045732 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_902-14_0_3_load_58 | 59 | 0.0018221 | 0.00045666 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_902-14_0_3_load_59 | 60 | 0.0013431 | 0.00033661 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_902-14_0_3_load_60 | 61 | 0.0018352 | 0.00045995 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_902-14_0_3_load_61 | 62 | 0.0013185 | 0.00033044 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_902-14_0_3_load_64 | 63 | 0.0042899 | 0.0010752 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 43 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_902-14_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.094709 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_902-14_0_3_line_1 | NAYY 4x150 SE | 1 | 2 | 0.10858 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_902-14_0_3_line_2 | NAYY 4x150 SE | 2 | 5 | 0.0094377 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_902-14_0_3_line_3 | NAYY 4x150 SE | 2 | 6 | 0.03112 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_902-14_0_3_line_4 | NAYY 4x150 SE | 2 | 3 | 0.045156 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_902-14_0_3_line_5 | NAYY 4x150 SE | 3 | 4 | 0.012328 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_902-14_0_3_line_6 | NAYY 4x150 SE | 5 | 7 | 0.078186 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_902-14_0_3_line_7 | NAYY 4x150 SE | 7 | 10 | 0.028617 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_902-14_0_3_line_8 | NAYY 4x150 SE | 7 | 11 | 0.013573 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_902-14_0_3_line_9 | NAYY 4x150 SE | 8 | 9 | 0.027013 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_902-14_0_3_line_10 | NAYY 4x150 SE | 9 | 18 | 0.02869 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_902-14_0_3_line_11 | NAYY 4x150 SE | 10 | 16 | 0.015194 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_902-14_0_3_line_12 | NAYY 4x150 SE | 10 | 17 | 0.022508 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_902-14_0_3_line_13 | NAYY 4x150 SE | 11 | 12 | 0.031274 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_902-14_0_3_line_14 | NAYY 4x150 SE | 12 | 13 | 0.002942 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_902-14_0_3_line_15 | NAYY 4x150 SE | 13 | 14 | 0.022231 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_902-14_0_3_line_16 | NAYY 4x150 SE | 14 | 15 | 0.0017283 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_902-14_0_3_line_17 | NAYY 4x150 SE | 15 | 18 | 0.0048739 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_902-14_0_3_line_18 | NAYY 4x150 SE | 16 | 40 | 0.0082514 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_902-14_0_3_line_19 | NAYY 4x150 SE | 17 | 61 | 0.0078416 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_902-14_0_3_line_20 | NAYY 4x150 SE | 19 | 20 | 0.025522 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_902-14_0_3_line_21 | NAYY 4x150 SE | 19 | 21 | 0.0058297 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_902-14_0_3_line_22 | NAYY 4x150 SE | 20 | 22 | 0.0087126 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_902-14_0_3_line_23 | NAYY 4x150 SE | 21 | 23 | 0.022725 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_902-14_0_3_line_24 | NAYY 4x150 SE | 21 | 24 | 0.0091718 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_902-14_0_3_line_25 | NAYY 4x150 SE | 22 | 25 | 0.17226 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_902-14_0_3_line_26 | NAYY 4x150 SE | 24 | 26 | 0.011903 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_902-14_0_3_line_27 | NAYY 4x150 SE | 25 | 27 | 0.14616 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_902-14_0_3_line_28 | NAYY 4x150 SE | 26 | 28 | 0.011577 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_902-14_0_3_line_29 | NAYY 4x150 SE | 27 | 31 | 0.040508 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_902-14_0_3_line_30 | NAYY 4x150 SE | 28 | 46 | 0.017768 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_902-14_0_3_line_31 | NAYY 4x150 SE | 29 | 30 | 0.010603 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_902-14_0_3_line_32 | NAYY 4x150 SE | 30 | 31 | 0.020384 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_902-14_0_3_line_33 | NAYY 4x150 SE | 32 | 33 | 8.0318e-05 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_902-14_0_3_line_34 | NAYY 4x150 SE | 32 | 34 | 0.15374 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_902-14_0_3_line_35 | NAYY 4x150 SE | 33 | 35 | 0.0078375 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_902-14_0_3_line_36 | NAYY 4x150 SE | 34 | 36 | 0.14762 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_902-14_0_3_line_37 | NAYY 4x150 SE | 35 | 37 | 0.016337 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_902-14_0_3_line_38 | NAYY 4x150 SE | 36 | 38 | 0.0081941 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_902-14_0_3_line_39 | NAYY 4x150 SE | 37 | 39 | 0.008676 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_902-14_0_3_line_40 | NAYY 4x150 SE | 38 | 40 | 0.019936 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_902-14_0_3_line_41 | NAYY 4x150 SE | 39 | 41 | 0.00050644 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_902-14_0_3_line_42 | NAYY 4x150 SE | 41 | 42 | 0.017575 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_902-14_0_3_line_43 | NAYY 4x150 SE | 42 | 43 | 0.0059177 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_902-14_0_3_line_44 | NAYY 4x150 SE | 43 | 44 | 0.0078947 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
45 | LV_902-14_0_3_line_45 | NAYY 4x150 SE | 44 | 45 | 0.0053394 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
46 | LV_902-14_0_3_line_46 | NAYY 4x150 SE | 45 | 50 | 0.0088551 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
47 | LV_902-14_0_3_line_47 | NAYY 4x150 SE | 46 | 47 | 0.010007 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_902-14_0_3_line_48 | NAYY 4x150 SE | 47 | 48 | 0.093445 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_902-14_0_3_line_49 | NAYY 4x150 SE | 48 | 49 | 0.060119 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_902-14_0_3_line_50 | NAYY 4x150 SE | 49 | 54 | 0.11173 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_902-14_0_3_line_51 | NAYY 4x150 SE | 50 | 51 | 0.00092386 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
52 | LV_902-14_0_3_line_52 | NAYY 4x150 SE | 51 | 52 | 0.00074702 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
53 | LV_902-14_0_3_line_53 | NAYY 4x150 SE | 52 | 53 | 0.0060218 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
54 | LV_902-14_0_3_line_54 | NAYY 4x150 SE | 53 | 55 | 0.0011133 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
55 | LV_902-14_0_3_line_55 | NAYY 4x150 SE | 54 | 58 | 0.009118 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_902-14_0_3_line_56 | NAYY 4x150 SE | 55 | 56 | 0.016053 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
57 | LV_902-14_0_3_line_57 | NAYY 4x150 SE | 56 | 57 | 0.0017435 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
58 | LV_902-14_0_3_line_58 | NAYY 4x150 SE | 57 | 58 | 0.0073717 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
59 | LV_902-14_0_3_line_59 | NAYY 4x150 SE | 59 | 60 | 0.013684 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_902-14_0_3_line_60 | NAYY 4x150 SE | 59 | 61 | 0.0028799 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_902-14_0_3_line_61 | NAYY 4x150 SE | 60 | 62 | 0.029376 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_902-14_0_3_line_62 | NAYY 4x150 SE | 62 | 63 | 0.00015647 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_902-14_0_3_trafo_40 | 0.25 MVA 20/0.4 kV | 64 | 43 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2627054.1207 | 1199348.3363 | 2627044.0331 | 1199348.2462 | 2627007.8959 | 1199352.3298 | 2626985.4303 | 1199353.5514 | 2626972.236 | 1199351.8466 | 2626962.3683 | 1199348.5893 | 2626960.4347 | 1199347.8792
1 | 2626993.726 | 1199285.0292 | 2626992.2551 | 1199287.0348 | 2627014.3719 | 1199288.9244 | 2627040.7546 | 1199295.3581 | 2627044.5166 | 1199296.8537 | 2627046.2574 | 1199299.1406 | 2627054.1207 | 1199348.3363
2 | 2626993.726 | 1199285.0292 | 2626989.6017 | 1199284.5103 | 2626984.4885 | 1199285.8309
3 | 2626993.726 | 1199285.0292 | 2626997.3878 | 1199280.0319 | 2627005.4949 | 1199271.9196 | 2627015.3224 | 1199265.5604 | 2627016.9755 | 1199264.9859
4 | 2626954.0143 | 1199303.3603 | 2626970.9534 | 1199300.2682 | 2626978.6249 | 1199297.5569 | 2626985.9926 | 1199293.0098 | 2626992.2551 | 1199287.0348 | 2626993.726 | 1199285.0292
5 | 2626954.0143 | 1199303.3603 | 2626950.124 | 1199296.528 | 2626946.2512 | 1199294.276
6 | 2626915.5396 | 1199253.2266 | 2626947.6249 | 1199271.5698 | 2626963.4712 | 1199282.914 | 2626971.9451 | 1199286.3095 | 2626982.4518 | 1199286.3569 | 2626984.4885 | 1199285.8309
7 | 2626915.5396 | 1199253.2266 | 2626890.3542 | 1199239.506
8 | 2626915.5396 | 1199253.2266 | 2626927.9043 | 1199253.2155 | 2626929.1104 | 1199253.1369
9 | 2627043.9377 | 1199226.0812 | 2627031.878 | 1199231.0941 | 2627018.2955 | 1199234.2896
10 | 2626990.3471 | 1199240.7676 | 2627002.8541 | 1199237.9224 | 2627018.2955 | 1199234.2896
11 | 2626890.3542 | 1199239.506 | 2626876.1162 | 1199234.2022
12 | 2626890.3542 | 1199239.506 | 2626904.8635 | 1199231.5891 | 2626910.7186 | 1199230.3776
13 | 2626960.2582 | 1199250.6606 | 2626957.1114 | 1199251.3126 | 2626929.1104 | 1199253.1369
14 | 2626960.2582 | 1199250.6606 | 2626963.139 | 1199250.0637
15 | 2626963.139 | 1199250.0637 | 2626970.6079 | 1199248.5162 | 2626984.2015 | 1199243.1801
16 | 2626985.8103 | 1199242.5486 | 2626984.2015 | 1199243.1801
17 | 2626990.3471 | 1199240.7676 | 2626990.3471 | 1199240.7676 | 2626985.8103 | 1199242.5486
18 | 2626876.1162 | 1199234.2022 | 2626868.3839 | 1199231.3218
19 | 2626910.7186 | 1199230.3776 | 2626918.3976 | 1199228.7887
20 | 2626888.8455 | 1199106.713 | 2626865.9419 | 1199117.9746 | 2626865.9419 | 1199117.9746
21 | 2626862.783 | 1199122.8742 | 2626865.9419 | 1199117.9746
22 | 2626888.8455 | 1199106.713 | 2626896.664 | 1199102.8686
23 | 2626862.783 | 1199122.8742 | 2626840.5742 | 1199127.6921
24 | 2626862.783 | 1199122.8742 | 2626871.9128 | 1199121.9971
25 | 2627039.7686 | 1199014.7562 | 2627039.2772 | 1199022.4026 | 2627033.6431 | 1199029.0919 | 2626998.7874 | 1199052.4697 | 2626941.3568 | 1199080.8932 | 2626896.664 | 1199102.8686
26 | 2626871.9128 | 1199121.9971 | 2626883.7614 | 1199120.8589
27 | 2626896.0733 | 1199030.8402 | 2626906.0372 | 1199034.8426 | 2626919.1554 | 1199034.9906 | 2626962.0773 | 1199027.8242 | 2627039.7686 | 1199014.7562
28 | 2626883.7614 | 1199120.8589 | 2626895.2854 | 1199119.7517
29 | 2626896.0733 | 1199030.8402 | 2626890.2847 | 1199039.7523 | 2626882.4462 | 1199047.3546 | 2626874.6189 | 1199054.1677 | 2626866.9846 | 1199058.0934
30 | 2626895.2854 | 1199119.7517 | 2626895.2854 | 1199119.7517 | 2626912.8458 | 1199117.043
31 | 2626838.3462 | 1199069.7688 | 2626848.3324 | 1199066.2055
32 | 2626848.3324 | 1199066.2055 | 2626857.7303 | 1199062.8522 | 2626866.9846 | 1199058.0934
33 | 2626851.2359 | 1199178.2849 | 2626851.3159 | 1199178.2773
34 | 2626697.9644 | 1199189.7292 | 2626758.0873 | 1199187.0072 | 2626803.2177 | 1199182.84 | 2626851.2359 | 1199178.2849
35 | 2626859.1184 | 1199177.5371 | 2626851.3159 | 1199178.2773
36 | 2626697.9644 | 1199189.7292 | 2626729.3936 | 1199200.0639 | 2626739.4701 | 1199202.6992 | 2626756.5279 | 1199207.1445 | 2626800.6019 | 1199216.102 | 2626841.5483 | 1199222.9669
37 | 2626859.1184 | 1199177.5371 | 2626864.093 | 1199177.0652 | 2626875.2561 | 1199175.071
38 | 2626841.5483 | 1199222.9669 | 2626849.4451 | 1199225.1539
39 | 2626883.7969 | 1199173.5452 | 2626875.2561 | 1199175.071
40 | 2626849.4451 | 1199225.1539 | 2626858.7264 | 1199227.7243 | 2626868.3839 | 1199231.3218
41 | 2626883.7969 | 1199173.5452 | 2626884.2954 | 1199173.4561
42 | 2626884.2954 | 1199173.4561 | 2626901.5967 | 1199170.3654
43 | 2626907.4222 | 1199169.3247 | 2626901.5967 | 1199170.3654
44 | 2626915.1938 | 1199167.9363 | 2626907.4222 | 1199169.3247
45 | 2626920.4501 | 1199166.9973 | 2626915.1938 | 1199167.9363
46 | 2626920.4501 | 1199166.9973 | 2626929.1672 | 1199165.44 | 2626929.1672 | 1199165.44
47 | 2626912.8458 | 1199117.043 | 2626922.7354 | 1199115.5175
48 | 2627015.6349 | 1199106.9309 | 2627000.9113 | 1199106.5643 | 2626986.3567 | 1199107.5548 | 2626941.7852 | 1199112.5791 | 2626922.7354 | 1199115.5175
49 | 2627073.4323 | 1199123.6788 | 2627064.049 | 1199120.9905 | 2627047.2487 | 1199115.1558 | 2627038.7574 | 1199112.1826 | 2627030.4008 | 1199109.7435 | 2627015.6349 | 1199106.9309
50 | 2627073.4323 | 1199123.6788 | 2627071.6892 | 1199128.6292 | 2627069.8194 | 1199131.3 | 2627066.9451 | 1199133.8328 | 2627063.2638 | 1199136.362 | 2627057.8401 | 1199138.6165 | 2627027.5156 | 1199150.0969 | 2627021.3565 | 1199151.67 | 2627012.6158 | 1199153.3648 | 2626993.8314 | 1199155.2923 | 2626971.4478 | 1199157.4108
51 | 2626929.1672 | 1199165.44 | 2626930.068 | 1199165.2351
52 | 2626930.068 | 1199165.2351 | 2626930.7964 | 1199165.0693
53 | 2626930.7964 | 1199165.0693 | 2626936.6682 | 1199163.7335
54 | 2626936.6682 | 1199163.7335 | 2626937.7537 | 1199163.4865
55 | 2626971.4478 | 1199157.4108 | 2626963.4469 | 1199158.1681 | 2626962.3791 | 1199158.3383
56 | 2626937.7537 | 1199163.4865 | 2626953.4069 | 1199159.9253
57 | 2626955.1069 | 1199159.5385 | 2626953.4069 | 1199159.9253
58 | 2626955.1069 | 1199159.5385 | 2626955.7133 | 1199159.4006 | 2626962.3791 | 1199158.3383
59 | 2626921.2178 | 1199228.2052 | 2626921.2178 | 1199228.2052 | 2626934.8847 | 1199228.8892
60 | 2626921.2178 | 1199228.2052 | 2626918.3976 | 1199228.7887
61 | 2626934.8847 | 1199228.8892 | 2626941.2298 | 1199229.2068 | 2626946.3563 | 1199228.6629 | 2626951.6689 | 1199227.3639 | 2626961.6562 | 1199224.4072 | 2626963.3965 | 1199223.4568
62 | 2626963.5338 | 1199223.3818 | 2626963.3965 | 1199223.4568

## bus_geodata
| x | y | coords
0 | 2626960.4347 | 1199347.8792
1 | 2627054.1207 | 1199348.3363
2 | 2626993.726 | 1199285.0292
3 | 2626954.0143 | 1199303.3603
4 | 2626946.2512 | 1199294.276
5 | 2626984.4885 | 1199285.8309
6 | 2627016.9755 | 1199264.9859
7 | 2626915.5396 | 1199253.2266
8 | 2627043.9377 | 1199226.0812
9 | 2627018.2955 | 1199234.2896
10 | 2626890.3542 | 1199239.506
11 | 2626929.1104 | 1199253.1369
12 | 2626960.2582 | 1199250.6606
13 | 2626963.139 | 1199250.0637
14 | 2626984.2015 | 1199243.1801
15 | 2626985.8103 | 1199242.5486
16 | 2626876.1162 | 1199234.2022
17 | 2626910.7186 | 1199230.3776
18 | 2626990.3471 | 1199240.7676
19 | 2626865.9419 | 1199117.9746
20 | 2626888.8455 | 1199106.713
21 | 2626862.783 | 1199122.8742
22 | 2626896.664 | 1199102.8686
23 | 2626840.5742 | 1199127.6921
24 | 2626871.9128 | 1199121.9971
25 | 2627039.7686 | 1199014.7562
26 | 2626883.7614 | 1199120.8589
27 | 2626896.0733 | 1199030.8402
28 | 2626895.2854 | 1199119.7517
29 | 2626838.3462 | 1199069.7688
30 | 2626848.3324 | 1199066.2055
31 | 2626866.9846 | 1199058.0934
32 | 2626851.2359 | 1199178.2849
33 | 2626851.3159 | 1199178.2773
34 | 2626697.9644 | 1199189.7292
35 | 2626859.1184 | 1199177.5371
36 | 2626841.5483 | 1199222.9669
37 | 2626875.2561 | 1199175.071
38 | 2626849.4451 | 1199225.1539
39 | 2626883.7969 | 1199173.5452
40 | 2626868.3839 | 1199231.3218
41 | 2626884.2954 | 1199173.4561
42 | 2626901.5967 | 1199170.3654
43 | 2626907.4222 | 1199169.3247
44 | 2626915.1938 | 1199167.9363
45 | 2626920.4501 | 1199166.9973
46 | 2626912.8458 | 1199117.043
47 | 2626922.7354 | 1199115.5175
48 | 2627015.6349 | 1199106.9309
49 | 2627073.4323 | 1199123.6788
50 | 2626929.1672 | 1199165.44
51 | 2626930.068 | 1199165.2351
52 | 2626930.7964 | 1199165.0693
53 | 2626936.6682 | 1199163.7335
54 | 2626971.4478 | 1199157.4108
55 | 2626937.7537 | 1199163.4865
56 | 2626953.4069 | 1199159.9253
57 | 2626955.1069 | 1199159.5385
58 | 2626962.3791 | 1199158.3383
59 | 2626921.2178 | 1199228.2052
60 | 2626934.8847 | 1199228.8892
61 | 2626918.3976 | 1199228.7887
62 | 2626963.3965 | 1199223.4568
63 | 2626963.5338 | 1199223.3818
64 | 2627073.4323 | 1199123.6788

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1