## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_902-17_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_902-17_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_902-17_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_902-17_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_902-17_0_4_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_902-17_0_4_node_8 | 0.4 | n |  | TRUE
6 | bus_LV_902-17_0_4_node_142 | 0.4 | n |  | TRUE
7 | bus_LV_902-17_0_4_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_902-17_0_4_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_902-17_0_4_node_16 | 0.4 | n |  | TRUE
10 | bus_LV_902-17_0_4_node_9 | 0.4 | n |  | TRUE
11 | bus_LV_902-17_0_4_node_11 | 0.4 | n |  | TRUE
12 | bus_LV_902-17_0_4_node_13 | 0.4 | n |  | TRUE
13 | bus_LV_902-17_0_4_node_14 | 0.4 | n |  | TRUE
14 | bus_LV_902-17_0_4_node_12 | 0.4 | n |  | TRUE
15 | bus_LV_902-17_0_4_node_141 | 0.4 | n |  | TRUE
16 | bus_LV_902-17_0_4_node_82 | 0.4 | n |  | TRUE
17 | bus_LV_902-17_0_4_node_17 | 0.4 | n |  | TRUE
18 | bus_LV_902-17_0_4_node_15 | 0.4 | n |  | TRUE
19 | bus_LV_902-17_0_4_node_18 | 0.4 | n |  | TRUE
20 | bus_LV_902-17_0_4_node_99 | 0.4 | n |  | TRUE
21 | bus_LV_902-17_0_4_node_19 | 0.4 | n |  | TRUE
22 | bus_LV_902-17_0_4_node_20 | 0.4 | n |  | TRUE
23 | bus_LV_902-17_0_4_node_21 | 0.4 | n |  | TRUE
24 | bus_LV_902-17_0_4_node_22 | 0.4 | n |  | TRUE
25 | bus_LV_902-17_0_4_node_23 | 0.4 | n |  | TRUE
26 | bus_LV_902-17_0_4_node_25 | 0.4 | n |  | TRUE
27 | bus_LV_902-17_0_4_node_26 | 0.4 | n |  | TRUE
28 | bus_LV_902-17_0_4_node_31 | 0.4 | n |  | TRUE
29 | bus_LV_902-17_0_4_node_32 | 0.4 | n |  | TRUE
30 | bus_LV_902-17_0_4_node_33 | 0.4 | n |  | TRUE
31 | bus_LV_902-17_0_4_node_34 | 0.4 | n |  | TRUE
32 | bus_LV_902-17_0_4_node_35 | 0.4 | n |  | TRUE
33 | bus_LV_902-17_0_4_node_69 | 0.4 | n |  | TRUE
34 | bus_LV_902-17_0_4_node_70 | 0.4 | n |  | TRUE
35 | bus_LV_902-17_0_4_node_71 | 0.4 | n |  | TRUE
36 | bus_LV_902-17_0_4_node_72 | 0.4 | n |  | TRUE
37 | bus_LV_902-17_0_4_node_74 | 0.4 | n |  | TRUE
38 | bus_LV_902-17_0_4_node_75 | 0.4 | n |  | TRUE
39 | bus_LV_902-17_0_4_node_76 | 0.4 | n |  | TRUE
40 | bus_LV_902-17_0_4_node_87 | 0.4 | n |  | TRUE
41 | bus_LV_902-17_0_4_node_90 | 0.4 | n |  | TRUE
42 | bus_LV_902-17_0_4_node_77 | 0.4 | n |  | TRUE
43 | bus_LV_902-17_0_4_node_86 | 0.4 | n |  | TRUE
44 | bus_LV_902-17_0_4_node_79 | 0.4 | n |  | TRUE
45 | bus_LV_902-17_0_4_node_80 | 0.4 | n |  | TRUE
46 | bus_LV_902-17_0_4_node_81 | 0.4 | n |  | TRUE
47 | bus_LV_902-17_0_4_node_83 | 0.4 | n |  | TRUE
48 | bus_LV_902-17_0_4_node_85 | 0.4 | n |  | TRUE
49 | bus_LV_902-17_0_4_node_91 | 0.4 | n |  | TRUE
50 | bus_MV_0_node_16 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_902-17_0_4_load_0 | 0 | 0.0041642 | 0.0010436 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_902-17_0_4_load_8 | 5 | 0.00076063 | 0.00019063 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_902-17_0_4_load_142 | 6 | 0.0096077 | 0.0024079 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_902-17_0_4_load_6 | 7 | 0.0013827 | 0.00034653 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_902-17_0_4_load_7 | 8 | 0.0024913 | 0.00062438 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_902-17_0_4_load_9 | 10 | 5.7833e-05 | 1.4494e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_902-17_0_4_load_13 | 12 | 8.0248e-05 | 2.0112e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_902-17_0_4_load_14 | 13 | 9.0001e-05 | 2.2556e-05 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_902-17_0_4_load_141 | 15 | 6.0569e-05 | 1.518e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_902-17_0_4_load_15 | 18 | 0.00029993 | 7.517e-05 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_902-17_0_4_load_18 | 19 | 0.006561 | 0.0016443 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_902-17_0_4_load_99 | 20 | 0.0020165 | 0.00050539 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_902-17_0_4_load_19 | 21 | 0.00013708 | 3.4356e-05 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_902-17_0_4_load_22 | 24 | 7.8981e-05 | 1.9795e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_902-17_0_4_load_25 | 26 | 0.00071407 | 0.00017896 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_902-17_0_4_load_26 | 27 | 0.00021055 | 5.2768e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_902-17_0_4_load_31 | 28 | 0.0016189 | 0.00040572 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_902-17_0_4_load_34 | 31 | 0.0024167 | 0.00060568 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_902-17_0_4_load_35 | 32 | 0.0019816 | 0.00049664 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_902-17_0_4_load_69 | 33 | 0.00010848 | 2.7187e-05 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_902-17_0_4_load_70 | 34 | 0.00023864 | 5.981e-05 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_902-17_0_4_load_75 | 38 | 6.4445e-05 | 1.6151e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_902-17_0_4_load_90 | 41 | 0.00096413 | 0.00024163 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_902-17_0_4_load_77 | 42 | 9.7143e-05 | 2.4346e-05 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_902-17_0_4_load_79 | 44 | 0.00017669 | 4.4282e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_902-17_0_4_load_80 | 45 | 6.3209e-05 | 1.5842e-05 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_902-17_0_4_load_85 | 48 | 0.00015652 | 3.9228e-05 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_902-17_0_4_load_91 | 49 | 0.00026393 | 6.6147e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 9 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_902-17_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.87871 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
1 | LV_902-17_0_4_line_1 | NAYY 4x150 SE | 0 | 2 | 0.39011 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_902-17_0_4_line_2 | NAYY 4x150 SE | 1 | 3 | 0.04795 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
3 | LV_902-17_0_4_line_3 | NAYY 4x150 SE | 2 | 4 | 0.048523 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_902-17_0_4_line_4 | NAYY 4x150 SE | 3 | 5 | 0.028458 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
5 | LV_902-17_0_4_line_5 | NAYY 4x150 SE | 4 | 6 | 0.045784 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_902-17_0_4_line_6 | NAYY 4x150 SE | 5 | 8 | 0.22324 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
7 | LV_902-17_0_4_line_7 | NAYY 4x150 SE | 7 | 8 | 0.020233 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
8 | LV_902-17_0_4_line_8 | NAYY 4x150 SE | 7 | 9 | 0.57513 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
9 | LV_902-17_0_4_line_9 | NAYY 4x150 SE | 9 | 19 | 0.0098426 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_902-17_0_4_line_10 | NAYY 4x150 SE | 9 | 18 | 0.55994 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_902-17_0_4_line_11 | NAYY 4x150 SE | 10 | 11 | 0.15685 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_902-17_0_4_line_12 | NAYY 4x150 SE | 11 | 12 | 0.35903 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_902-17_0_4_line_13 | NAYY 4x150 SE | 11 | 13 | 0.12064 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_902-17_0_4_line_14 | NAYY 4x150 SE | 12 | 17 | 0.57302 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_902-17_0_4_line_15 | NAYY 4x150 SE | 14 | 15 | 0.1757 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_902-17_0_4_line_16 | NAYY 4x150 SE | 14 | 16 | 0.28091 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_902-17_0_4_line_17 | NAYY 4x150 SE | 15 | 17 | 0.45206 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_902-17_0_4_line_18 | NAYY 4x150 SE | 16 | 45 | 0.083721 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_902-17_0_4_line_19 | NAYY 4x150 SE | 17 | 18 | 0.01021 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_902-17_0_4_line_20 | NAYY 4x150 SE | 19 | 20 | 0.013776 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_902-17_0_4_line_21 | NAYY 4x150 SE | 20 | 31 | 0.016956 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_902-17_0_4_line_22 | NAYY 4x150 SE | 21 | 22 | 0.010708 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_902-17_0_4_line_23 | NAYY 4x150 SE | 21 | 23 | 0.013903 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_902-17_0_4_line_24 | NAYY 4x150 SE | 22 | 24 | 0.030573 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_902-17_0_4_line_25 | NAYY 4x150 SE | 22 | 25 | 0.74442 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_902-17_0_4_line_26 | NAYY 4x150 SE | 23 | 26 | 0.033166 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_902-17_0_4_line_27 | NAYY 4x150 SE | 23 | 27 | 0.0097693 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_902-17_0_4_line_28 | NAYY 4x150 SE | 25 | 28 | 0.08616 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_902-17_0_4_line_29 | NAYY 4x150 SE | 28 | 29 | 0.075797 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_902-17_0_4_line_30 | NAYY 4x150 SE | 29 | 30 | 0.004298 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_902-17_0_4_line_31 | NAYY 4x150 SE | 29 | 31 | 0.89839 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_902-17_0_4_line_32 | NAYY 4x150 SE | 30 | 32 | 0.012725 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_902-17_0_4_line_33 | NAYY 4x150 SE | 33 | 34 | 0.029006 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_902-17_0_4_line_34 | NAYY 4x150 SE | 33 | 35 | 0.013212 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_902-17_0_4_line_35 | NAYY 4x150 SE | 34 | 36 | 0.033253 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_902-17_0_4_line_36 | NAYY 4x150 SE | 35 | 37 | 0.035259 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_902-17_0_4_line_37 | NAYY 4x150 SE | 36 | 38 | 0.013039 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_902-17_0_4_line_38 | NAYY 4x150 SE | 36 | 39 | 0.021314 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_902-17_0_4_line_39 | NAYY 4x150 SE | 37 | 40 | 0.035338 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_902-17_0_4_line_40 | NAYY 4x150 SE | 37 | 41 | 0.017694 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_902-17_0_4_line_41 | NAYY 4x150 SE | 38 | 42 | 0.01142 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_902-17_0_4_line_42 | NAYY 4x150 SE | 39 | 43 | 0.046182 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_902-17_0_4_line_43 | NAYY 4x150 SE | 40 | 49 | 0.059732 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_902-17_0_4_line_44 | NAYY 4x150 SE | 43 | 48 | 0.0045689 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_902-17_0_4_line_45 | NAYY 4x150 SE | 44 | 45 | 0.018396 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_902-17_0_4_line_46 | NAYY 4x150 SE | 44 | 46 | 0.068164 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_902-17_0_4_line_47 | NAYY 4x150 SE | 46 | 47 | 0.013351 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_902-17_0_4_line_48 | NAYY 4x150 SE | 47 | 48 | 0.018165 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_902-17_0_4_trafo_16 | 0.25 MVA 20/0.4 kV | 50 | 9 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28 | x29 | y29 | x30 | y30 | x31 | y31 | x32 | y32 | x33 | y33 | x34 | y34 | x35 | y35 | x36 | y36 | x37 | y37 | x38 | y38 | x39 | y39 | x40 | y40 | x41 | y41 | x42 | y42 | x43 | y43 | x44 | y44 | x45 | y45 | x46 | y46 | x47 | y47 | x48 | y48 | x49 | y49 | x50 | y50 | x51 | y51 | x52 | y52 | x53 | y53 | x54 | y54 | x55 | y55 | x56 | y56 | x57 | y57 | x58 | y58 | x59 | y59 | x60 | y60 | x61 | y61 | x62 | y62 | x63 | y63 | x64 | y64
0 | 2629907.0084 | 1205104.8528 | 2629914.913 | 1205113.6306 | 2629923.5703 | 1205120.9558 | 2629934.4091 | 1205128.5698 | 2629950.1635 | 1205138.821 | 2629978.7347 | 1205158.1194 | 2629997.1912 | 1205167.9618 | 2630008.4489 | 1205172.3986 | 2630024.7489 | 1205176.9496 | 2630054.6821 | 1205186.9722 | 2630073.6292 | 1205194.5049 | 2630082.8667 | 1205199.8433 | 2630092.3303 | 1205207.0838 | 2630103.8208 | 1205216.6136 | 2630109.6753 | 1205223.1134 | 2630113.2475 | 1205229.6683 | 2630114.9493 | 1205234.5908 | 2630116.193 | 1205241.3786 | 2630115.4935 | 1205253.404 | 2630114.9362 | 1205264.374 | 2630115.5218 | 1205271.9256 | 2630117.7037 | 1205279.6853 | 2630120.9646 | 1205284.6267 | 2630136.4332 | 1205300.1466 | 2630152.9748 | 1205317.0172 | 2630157.703 | 1205326.6131 | 2630163.0696 | 1205337.813 | 2630168.8284 | 1205354.1623 | 2630171.1177 | 1205369.2601 | 2630175.156 | 1205396.4734 | 2630173.8243 | 1205410.1632 | 2630163.7654 | 1205436.5605 | 2630162.681 | 1205443.4478 | 2630162.464 | 1205448.7719 | 2630162.7985 | 1205453.3317 | 2630163.9943 | 1205459.0298 | 2630169.515 | 1205475.8225 | 2630178.2074 | 1205503.1483 | 2630178.8437 | 1205508.1765 | 2630178.5498 | 1205513.6559 | 2630178.0271 | 1205517.7667 | 2630177.1423 | 1205522.7983 | 2630172.3583 | 1205537.8493 | 2630170.2607 | 1205545.0649 | 2630166.1187 | 1205553.4932 | 2630163.0598 | 1205558.3027 | 2630160.366 | 1205561.5909 | 2630157.8888 | 1205564.1465 | 2630153.7911 | 1205566.8162 | 2630150.7335 | 1205568.3461 | 2630143.6634 | 1205570.734 | 2630135.6052 | 1205572.9836 | 2630106.4443 | 1205583.6982 | 2630076.4559 | 1205592.619 | 2630048.6844 | 1205605.3754 | 2630033.0743 | 1205610.5777 | 2630015.583 | 1205611.7683 | 2630002.0618 | 1205611.4447 | 2629990.2547 | 1205609.0397 | 2629971.9383 | 1205598.8311 | 2629935.3647 | 1205569.5761 | 2629926.1947 | 1205564.5273 | 2629921.191 | 1205562.8458 | 2629915.9139 | 1205562.5859 | 2629910.5773 | 1205563.6043
1 | 2629615.7033 | 1205677.4781 | 2629635.2976 | 1205683.1228 | 2629640.1619 | 1205685.3148 | 2629643.6489 | 1205687.6334 | 2629647.7909 | 1205691.3115 | 2629651.1039 | 1205694.9855 | 2629661.2283 | 1205708.4877 | 2629666.8132 | 1205714.1186 | 2629672.8683 | 1205718.4955 | 2629680.1221 | 1205721.9223 | 2629684.2688 | 1205723.1213 | 2629688.8744 | 1205723.7779 | 2629693.9015 | 1205723.8028 | 2629698.5145 | 1205722.992 | 2629703.4731 | 1205721.4824 | 2629713.0085 | 1205717.283 | 2629736.9764 | 1205705.9736 | 2629743.5744 | 1205703.6384 | 2629750.0764 | 1205702.2478 | 2629760.4184 | 1205701.0207 | 2629784.9741 | 1205698.4749 | 2629805.1007 | 1205693.4168 | 2629819.6751 | 1205689.9319 | 2629832.2751 | 1205685.8369 | 2629845.5116 | 1205679.1659 | 2629859.0164 | 1205667.5157 | 2629869.7789 | 1205653.684 | 2629878.1567 | 1205637.6502 | 2629890.1172 | 1205616.9873 | 2629896.9766 | 1205595.8654 | 2629899.5791 | 1205578.88 | 2629902.0077 | 1205572.3218 | 2629906.1193 | 1205566.8504 | 2629910.5773 | 1205563.6043
2 | 2629879.3062 | 1205069.8727 | 2629881.7208 | 1205076.7997 | 2629886.1423 | 1205090.0403 | 2629892.5636 | 1205098.8551 | 2629901.1123 | 1205103.5782 | 2629907.0084 | 1205104.8528
3 | 2629615.7033 | 1205677.4781 | 2629597.9786 | 1205687.4515 | 2629594.6483 | 1205690.3478 | 2629589.3263 | 1205697.6366 | 2629582.4696 | 1205710.7656
4 | 2629879.3062 | 1205069.8727 | 2629875.4342 | 1205068.4303 | 2629868.9041 | 1205069.2092 | 2629861.1413 | 1205071.6052 | 2629851.5459 | 1205072.3688 | 2629851.5459 | 1205072.3688
5 | 2629557.3096 | 1205746.3499 | 2629565.0184 | 1205734.6926 | 2629567.513 | 1205725.4554 | 2629574.2526 | 1205719.0851 | 2629578.5054 | 1205711.1239 | 2629582.4696 | 1205710.7656
6 | 2629851.5459 | 1205072.3688 | 2629828.8363 | 1205073.3227 | 2629822.1598 | 1205074.4678 | 2629819.425 | 1205078.3564 | 2629820.4188 | 1205083.4419 | 2629824.3993 | 1205102.7837 | 2629822.9323 | 1205111.7258 | 2629818.6141 | 1205117.3963 | 2629811.8827 | 1205117.3627 | 2629773.3994 | 1205102.7407 | 2629749.5984 | 1205089.1925 | 2629734.574 | 1205078.8676 | 2629728.8665 | 1205073.325 | 2629722.1565 | 1205064.3867 | 2629719.3804 | 1205059.7592 | 2629717.2089 | 1205054.3676 | 2629715.4861 | 1205047.4774 | 2629713.8608 | 1205037.8084 | 2629712.0625 | 1205033.864 | 2629710.3084 | 1205031.7207 | 2629710.3084 | 1205031.7207
7 | 2629702.1466 | 1205045.6343 | 2629702.7337 | 1205043.7231 | 2629703.3099 | 1205037.9783 | 2629703.8035 | 1205033.545 | 2629704.6268 | 1205031.648 | 2629707.0269 | 1205030.8373 | 2629710.3084 | 1205031.7207
8 | 2629138.0352 | 1204933.5843 | 2629702.1466 | 1205045.6343
9 | 2629138.0352 | 1204933.5843 | 2629135.2065 | 1204928.7012 | 2629131.1147 | 1204927.757
10 | 2629138.0352 | 1204933.5843 | 2629147.7818 | 1204928.3511 | 2629155.3758 | 1204918.4271 | 2629167.7619 | 1204889.8049 | 2629171.1381 | 1204866.6418 | 2629174.8676 | 1204855.2648 | 2629188.0433 | 1204830.115 | 2629198.7169 | 1204817.3489 | 2629207.3285 | 1204807.8301 | 2629219.5749 | 1204807.89 | 2629229.9825 | 1204807.5406 | 2629233.6853 | 1204801.6554 | 2629245.1549 | 1204792.562 | 2629261.7409 | 1204779.4247 | 2629271.1841 | 1204767.8756 | 2629277.5271 | 1204763.4264 | 2629281.4492 | 1204754.7074 | 2629291.3252 | 1204738.6802 | 2629298.496 | 1204731.4001 | 2629288.9306 | 1204727.4844 | 2629294.2554 | 1204722.8301 | 2629286.7176 | 1204721.1701 | 2629288.9815 | 1204717.1122 | 2629299.3933 | 1204715.9404 | 2629292.6787 | 1204710.8268 | 2629303.907 | 1204710.6818 | 2629306.5741 | 1204706.6259 | 2629305.81 | 1204696.4498 | 2629301.9695 | 1204688.5044 | 2629303.4334 | 1204681.5966 | 2629322.4908 | 1204665.6144 | 2629321.4994 | 1204659.9175 | 2629337.6522 | 1204651.4587 | 2629335.4512 | 1204642.6986 | 2629334.2467 | 1204640.1357 | 2629330.8776 | 1204638.4293 | 2629308.6864 | 1204631.0609 | 2629298.1844 | 1204628.886 | 2629278.0046 | 1204625.5298 | 2629262.7308 | 1204619.1515 | 2629257.7878 | 1204618.8494 | 2629252.3632 | 1204619.023 | 2629244.5232 | 1204620.0296 | 2629240.2018 | 1204620.1753 | 2629236.054 | 1204619.021 | 2629233.5237 | 1204616.8964 | 2629232.0241 | 1204613.9985 | 2629231.2447 | 1204610.0592 | 2629231.1611 | 1204606.9348 | 2629232.0188 | 1204602.6478 | 2629233.0289 | 1204601.4187 | 2629235.895 | 1204600.2209 | 2629244.8691 | 1204598.9673
11 | 2629705.0555 | 1204115.574 | 2629702.9793 | 1204103.1902 | 2629701.8929 | 1204089.1103 | 2629703.4586 | 1204040.4021 | 2629704.7669 | 1204003.6883 | 2629705.9671 | 1203997.9243 | 2629712.1342 | 1203980.1006 | 2629715.5155 | 1203973.2914 | 2629720.2333 | 1203966.9669 | 2629723.7324 | 1203964.1933
12 | 2629705.0555 | 1204115.574 | 2629708.4041 | 1204124.5067 | 2629712.5561 | 1204143.2155 | 2629713.8291 | 1204153.4053 | 2629713.8868 | 1204160.1649 | 2629711.9235 | 1204172.5287 | 2629711.4045 | 1204182.0536 | 2629712.5723 | 1204188.941 | 2629714.8287 | 1204195.6671 | 2629719.4761 | 1204206.5295 | 2629721.7717 | 1204213.0223 | 2629722.2506 | 1204217.6828 | 2629721.8884 | 1204223.2174 | 2629720.7882 | 1204228.7484 | 2629719.1868 | 1204234.1212 | 2629711.02 | 1204251.7793 | 2629709.4823 | 1204259.6427 | 2629709.7335 | 1204265.7362 | 2629710.8333 | 1204270.9779 | 2629714.3154 | 1204279.0553 | 2629721.9892 | 1204294.7577 | 2629730.1843 | 1204308.1169 | 2629736.1527 | 1204324.0777 | 2629736.9037 | 1204332.1526 | 2629735.6438 | 1204342.263 | 2629724.7062 | 1204369.4794 | 2629724.2239 | 1204373.1679 | 2629724.9674 | 1204376.618 | 2629726.5796 | 1204379.7944 | 2629728.4089 | 1204382.127 | 2629731.9486 | 1204384.7127 | 2629738.3712 | 1204387.3461 | 2629758.4851 | 1204390.3033 | 2629766.7902 | 1204392.2235 | 2629775.4447 | 1204395.7685 | 2629782.8772 | 1204400.3081 | 2629790.4152 | 1204406.5602 | 2629797.5778 | 1204412.9939
13 | 2629753.8393 | 1204024.5215 | 2629743.4186 | 1204019.578 | 2629740.4623 | 1204018.9407 | 2629737.114 | 1204019.1353 | 2629734.9859 | 1204020.2476 | 2629732.5651 | 1204023.6263 | 2629729.9826 | 1204028.9275 | 2629717.998 | 1204063.1092 | 2629714.4462 | 1204076.6991 | 2629711.7027 | 1204092.9723 | 2629705.0555 | 1204115.574
14 | 2629254.2903 | 1204595.1858 | 2629797.5778 | 1204412.9939
15 | 2629532.6017 | 1204039.8226 | 2629523.4378 | 1204069.9608 | 2629519.7672 | 1204083.0388 | 2629518.176 | 1204092.5362 | 2629516.2368 | 1204120.1309 | 2629514.8897 | 1204132.5756 | 2629512.9219 | 1204139.7587 | 2629506.5312 | 1204155.258 | 2629502.6191 | 1204164.8774 | 2629489.6503 | 1204209.227
16 | 2629487.4803 | 1203766.8819 | 2629487.1372 | 1203807.1359 | 2629493.7342 | 1203887.1461 | 2629498.2773 | 1203917.7411 | 2629501.9874 | 1203930.5776 | 2629506.9623 | 1203947.6672 | 2629518.0911 | 1204009.5675 | 2629520.4717 | 1204022.0195 | 2629523.1244 | 1204030.2149 | 2629526.1927 | 1204035.8777 | 2629529.4503 | 1204038.6397 | 2629532.6017 | 1204039.8226
17 | 2629254.2903 | 1204595.1858 | 2629489.6503 | 1204209.227
18 | 2629487.4803 | 1203766.8819 | 2629500.3231 | 1203701.9982 | 2629502.9784 | 1203694.2736 | 2629505.6265 | 1203689.5396 | 2629508.1372 | 1203686.4444
19 | 2629254.2903 | 1204595.1858 | 2629249.2203 | 1204597.5179 | 2629246.5062 | 1204598.7386 | 2629244.8691 | 1204598.9673
20 | 2629131.1147 | 1204927.757 | 2629128.5127 | 1204927.1566 | 2629122.8709 | 1204928.2631 | 2629118.7137 | 1204931.6415
21 | 2629106.5147 | 1204943.4106 | 2629117.6627 | 1204932.4956 | 2629118.7137 | 1204931.6415
22 | 2628802.0214 | 1204025.0192 | 2628805.8529 | 1204015.0202
23 | 2628810.8276 | 1204002.0378 | 2628805.8529 | 1204015.0202
24 | 2628802.0214 | 1204025.0192 | 2628803.6183 | 1204036.2109 | 2628800.4094 | 1204051.7041 | 2628800.1113 | 1204055.1367
25 | 2628672.47 | 1204658.1705 | 2628664.2882 | 1204641.6555 | 2628653.5372 | 1204612.0208 | 2628656.4778 | 1204599.9949 | 2628663.6793 | 1204557.6281 | 2628681.3063 | 1204516.0451 | 2628710.1656 | 1204487.8901 | 2628743.3334 | 1204465.5147 | 2628774.7329 | 1204418.6063 | 2628781.301 | 1204411.6451 | 2628828.2408 | 1204379.3199 | 2628834.5369 | 1204371.9795 | 2628839.7086 | 1204361.1762 | 2628839.7371 | 1204350.5482 | 2628837.231 | 1204337.0397 | 2628832.4173 | 1204306.7108 | 2628841.4314 | 1204275.2924 | 2628846.6445 | 1204246.4682 | 2628844.8375 | 1204229.9614 | 2628804.8795 | 1204173.96 | 2628771.1452 | 1204125.5375 | 2628768.2265 | 1204117.0966 | 2628769.0012 | 1204107.873 | 2628783.0456 | 1204066.5843 | 2628802.0214 | 1204025.0192
26 | 2628810.8276 | 1204002.0378 | 2628815.8148 | 1203980.6499 | 2628819.0617 | 1203969.9263 | 2628819.0617 | 1203969.9263
27 | 2628810.8276 | 1204002.0378 | 2628819.718 | 1204006.0875
28 | 2628672.47 | 1204658.1705 | 2628681.7443 | 1204676.8809 | 2628695.8357 | 1204706.2426 | 2628695.8017 | 1204713.3241 | 2628690.9431 | 1204723.9845 | 2628679.9775 | 1204732.5462
29 | 2628621.7248 | 1204778.9391 | 2628630.0929 | 1204777.1892 | 2628635.8269 | 1204772.7364 | 2628643.6266 | 1204762.6126 | 2628652.4369 | 1204754.3057 | 2628672.3052 | 1204738.5366 | 2628679.9775 | 1204732.5462
30 | 2628621.7248 | 1204778.9391 | 2628618.368 | 1204776.2437
31 | 2628621.7248 | 1204778.9391 | 2628626.1162 | 1204783.2291 | 2628625.9936 | 1204788.1646 | 2628629.942 | 1204816.6549 | 2628638.0141 | 1204835.4039 | 2628640.3349 | 1204860.6402 | 2628690.7649 | 1204895.857 | 2628723.8322 | 1204925.5655 | 2628728.9165 | 1204939.1642 | 2628726.3657 | 1204960.297 | 2628719.9556 | 1205001.0111 | 2628718.6967 | 1205019.2263 | 2628726.8131 | 1205036.5526 | 2628744.8064 | 1205048.3234 | 2628769.8538 | 1205053.1131 | 2628783.1584 | 1205062.3712 | 2628811.3341 | 1205066.6981 | 2628826.5791 | 1205077.333 | 2628832.9812 | 1205092.0276 | 2628833.492 | 1205107.5721 | 2628832.7127 | 1205131.9374 | 2628836.6956 | 1205138.816 | 2628848.713 | 1205143.6322 | 2628856.3212 | 1205151.1064 | 2628859.2398 | 1205159.4362 | 2628869.9519 | 1205179.3768 | 2628877.5582 | 1205187.2179 | 2628884.4267 | 1205188.7741 | 2628901.3772 | 1205186.3657 | 2628911.3798 | 1205178.3985 | 2628923.9042 | 1205168.0089 | 2628936.408 | 1205152.4496 | 2628950.7319 | 1205141.1682 | 2628987.5722 | 1205116.9442 | 2629008.8526 | 1205103.2175 | 2629022.011 | 1205082.9478 | 2629028.6476 | 1205060.2007 | 2629048.4864 | 1205008.2348 | 2629081.3463 | 1204962.8359 | 2629102.0482 | 1204947.7837 | 2629106.5147 | 1204943.4106
32 | 2628618.368 | 1204776.2437 | 2628618.1396 | 1204768.3271 | 2628618.5487 | 1204763.5397
33 | 2629719.3387 | 1203632.7854 | 2629693.6037 | 1203619.4046
34 | 2629731.0239 | 1203638.9496 | 2629727.2453 | 1203636.8964 | 2629719.3387 | 1203632.7854
35 | 2629664.1008 | 1203604.0648 | 2629693.6037 | 1203619.4046
36 | 2629707.2537 | 1203660.8659 | 2629712.17 | 1203660.5791 | 2629716.8714 | 1203659.135 | 2629721.8166 | 1203656.0801 | 2629725.3205 | 1203652.1953 | 2629731.0239 | 1203638.9496
37 | 2629664.1008 | 1203604.0648 | 2629664.0782 | 1203600.9518 | 2629661.2688 | 1203591.4316
38 | 2629652.68 | 1203621.1176 | 2629656.434 | 1203618.9461 | 2629658.5915 | 1203616.5333 | 2629661.1594 | 1203612.6549 | 2629662.8371 | 1203608.8167 | 2629664.1008 | 1203604.0648
39 | 2629707.2537 | 1203660.8659 | 2629702.055 | 1203670.5344 | 2629724.3743 | 1203680.2951
40 | 2629707.2537 | 1203660.8659 | 2629704.3441 | 1203660.0066 | 2629701.2845 | 1203658.6906 | 2629691.5309 | 1203652.9256
41 | 2629661.2688 | 1203591.4316 | 2629659.4391 | 1203585.2312 | 2629658.2286 | 1203580.4256
42 | 2629652.68 | 1203621.1176 | 2629647.4748 | 1203622.8928 | 2629615.1022 | 1203630.5478 | 2629607.7222 | 1203632.1122
43 | 2629724.3743 | 1203680.2951 | 2629738.5574 | 1203678.4423 | 2629748.6621 | 1203672.089 | 2629754.1028 | 1203664.2673 | 2629756.7521 | 1203659.3333 | 2629773.2341 | 1203667.4316
44 | 2629607.7222 | 1203632.1122 | 2629603.1698 | 1203632.5007
45 | 2629520.2334 | 1203672.5872 | 2629509.8749 | 1203684.3021 | 2629508.1372 | 1203686.4444
46 | 2629571.7549 | 1203632.8236 | 2629572.054 | 1203636.9718 | 2629570.4835 | 1203640.6883 | 2629568.6463 | 1203642.9694 | 2629566.5228 | 1203644.6709 | 2629551.0467 | 1203652.5989 | 2629536.2189 | 1203660.2188 | 2629528.3488 | 1203665.5162 | 2629520.915 | 1203671.8163 | 2629520.2334 | 1203672.5872
47 | 2629585.0708 | 1203634.0456 | 2629575.4523 | 1203632.853 | 2629571.7549 | 1203632.8236
48 | 2629585.0708 | 1203634.0456 | 2629603.1698 | 1203632.5007

## bus_geodata
| x | y | coords
0 | 2629910.5773 | 1205563.6043
1 | 2629907.0084 | 1205104.8528
2 | 2629615.7033 | 1205677.4781
3 | 2629879.3062 | 1205069.8727
4 | 2629582.4696 | 1205710.7656
5 | 2629851.5459 | 1205072.3688
6 | 2629557.3096 | 1205746.3499
7 | 2629702.1466 | 1205045.6343
8 | 2629710.3084 | 1205031.7207
9 | 2629138.0352 | 1204933.5843
10 | 2629723.7324 | 1203964.1933
11 | 2629705.0555 | 1204115.574
12 | 2629797.5778 | 1204412.9939
13 | 2629753.8393 | 1204024.5215
14 | 2629532.6017 | 1204039.8226
15 | 2629489.6503 | 1204209.227
16 | 2629487.4803 | 1203766.8819
17 | 2629254.2903 | 1204595.1858
18 | 2629244.8691 | 1204598.9673
19 | 2629131.1147 | 1204927.757
20 | 2629118.7137 | 1204931.6415
21 | 2628805.8529 | 1204015.0202
22 | 2628802.0214 | 1204025.0192
23 | 2628810.8276 | 1204002.0378
24 | 2628800.1113 | 1204055.1367
25 | 2628672.47 | 1204658.1705
26 | 2628819.0617 | 1203969.9263
27 | 2628819.718 | 1204006.0875
28 | 2628679.9775 | 1204732.5462
29 | 2628621.7248 | 1204778.9391
30 | 2628618.368 | 1204776.2437
31 | 2629106.5147 | 1204943.4106
32 | 2628618.5487 | 1204763.5397
33 | 2629719.3387 | 1203632.7854
34 | 2629693.6037 | 1203619.4046
35 | 2629731.0239 | 1203638.9496
36 | 2629664.1008 | 1203604.0648
37 | 2629707.2537 | 1203660.8659
38 | 2629661.2688 | 1203591.4316
39 | 2629652.68 | 1203621.1176
40 | 2629724.3743 | 1203680.2951
41 | 2629691.5309 | 1203652.9256
42 | 2629658.2286 | 1203580.4256
43 | 2629607.7222 | 1203632.1122
44 | 2629520.2334 | 1203672.5872
45 | 2629508.1372 | 1203686.4444
46 | 2629571.7549 | 1203632.8236
47 | 2629585.0708 | 1203634.0456
48 | 2629603.1698 | 1203632.5007
49 | 2629773.2341 | 1203667.4316
50 | 2629138.0352 | 1204933.5843

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1