## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_902-2_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_902-2_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_902-2_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_902-2_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_902-2_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_902-2_0_3_node_11 | 0.4 | n |  | TRUE
6 | bus_LV_902-2_0_3_node_9 | 0.4 | n |  | TRUE
7 | bus_LV_902-2_0_3_node_12 | 0.4 | n |  | TRUE
8 | bus_LV_902-2_0_3_node_13 | 0.4 | n |  | TRUE
9 | bus_LV_902-2_0_3_node_14 | 0.4 | n |  | TRUE
10 | bus_LV_902-2_0_3_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_902-2_0_3_node_5 | 0.4 | n |  | TRUE
12 | bus_LV_902-2_0_3_node_6 | 0.4 | n |  | TRUE
13 | bus_LV_902-2_0_3_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_902-2_0_3_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_902-2_0_3_node_66 | 0.4 | n |  | TRUE
16 | bus_LV_902-2_0_3_node_64 | 0.4 | n |  | TRUE
17 | bus_LV_902-2_0_3_node_67 | 0.4 | n |  | TRUE
18 | bus_LV_902-2_0_3_node_55 | 0.4 | n |  | TRUE
19 | bus_LV_902-2_0_3_node_59 | 0.4 | n |  | TRUE
20 | bus_LV_902-2_0_3_node_15 | 0.4 | n |  | TRUE
21 | bus_LV_902-2_0_3_node_45 | 0.4 | n |  | TRUE
22 | bus_LV_902-2_0_3_node_16 | 0.4 | n |  | TRUE
23 | bus_LV_902-2_0_3_node_17 | 0.4 | n |  | TRUE
24 | bus_LV_902-2_0_3_node_71 | 0.4 | n |  | TRUE
25 | bus_LV_902-2_0_3_node_18 | 0.4 | n |  | TRUE
26 | bus_LV_902-2_0_3_node_19 | 0.4 | n |  | TRUE
27 | bus_LV_902-2_0_3_node_20 | 0.4 | n |  | TRUE
28 | bus_LV_902-2_0_3_node_21 | 0.4 | n |  | TRUE
29 | bus_LV_902-2_0_3_node_22 | 0.4 | n |  | TRUE
30 | bus_LV_902-2_0_3_node_27 | 0.4 | n |  | TRUE
31 | bus_LV_902-2_0_3_node_24 | 0.4 | n |  | TRUE
32 | bus_LV_902-2_0_3_node_68 | 0.4 | n |  | TRUE
33 | bus_LV_902-2_0_3_node_23 | 0.4 | n |  | TRUE
34 | bus_LV_902-2_0_3_node_32 | 0.4 | n |  | TRUE
35 | bus_LV_902-2_0_3_node_25 | 0.4 | n |  | TRUE
36 | bus_LV_902-2_0_3_node_26 | 0.4 | n |  | TRUE
37 | bus_LV_902-2_0_3_node_39 | 0.4 | n |  | TRUE
38 | bus_LV_902-2_0_3_node_36 | 0.4 | n |  | TRUE
39 | bus_LV_902-2_0_3_node_43 | 0.4 | n |  | TRUE
40 | bus_LV_902-2_0_3_node_37 | 0.4 | n |  | TRUE
41 | bus_LV_902-2_0_3_node_30 | 0.4 | n |  | TRUE
42 | bus_LV_902-2_0_3_node_28 | 0.4 | n |  | TRUE
43 | bus_LV_902-2_0_3_node_29 | 0.4 | n |  | TRUE
44 | bus_LV_902-2_0_3_node_33 | 0.4 | n |  | TRUE
45 | bus_LV_902-2_0_3_node_34 | 0.4 | n |  | TRUE
46 | bus_LV_902-2_0_3_node_35 | 0.4 | n |  | TRUE
47 | bus_LV_902-2_0_3_node_40 | 0.4 | n |  | TRUE
48 | bus_LV_902-2_0_3_node_41 | 0.4 | n |  | TRUE
49 | bus_LV_902-2_0_3_node_38 | 0.4 | n |  | TRUE
50 | bus_LV_902-2_0_3_node_42 | 0.4 | n |  | TRUE
51 | bus_LV_902-2_0_3_node_44 | 0.4 | n |  | TRUE
52 | bus_LV_902-2_0_3_node_70 | 0.4 | n |  | TRUE
53 | bus_LV_902-2_0_3_node_69 | 0.4 | n |  | TRUE
54 | bus_LV_902-2_0_3_node_72 | 0.4 | n |  | TRUE
55 | bus_LV_902-2_0_3_node_46 | 0.4 | n |  | TRUE
56 | bus_LV_902-2_0_3_node_47 | 0.4 | n |  | TRUE
57 | bus_LV_902-2_0_3_node_48 | 0.4 | n |  | TRUE
58 | bus_LV_902-2_0_3_node_49 | 0.4 | n |  | TRUE
59 | bus_LV_902-2_0_3_node_50 | 0.4 | n |  | TRUE
60 | bus_LV_902-2_0_3_node_51 | 0.4 | n |  | TRUE
61 | bus_LV_902-2_0_3_node_52 | 0.4 | n |  | TRUE
62 | bus_LV_902-2_0_3_node_53 | 0.4 | n |  | TRUE
63 | bus_LV_902-2_0_3_node_54 | 0.4 | n |  | TRUE
64 | bus_LV_902-2_0_3_node_56 | 0.4 | n |  | TRUE
65 | bus_LV_902-2_0_3_node_57 | 0.4 | n |  | TRUE
66 | bus_LV_902-2_0_3_node_58 | 0.4 | n |  | TRUE
67 | bus_LV_902-2_0_3_node_60 | 0.4 | n |  | TRUE
68 | bus_LV_902-2_0_3_node_61 | 0.4 | n |  | TRUE
69 | bus_LV_902-2_0_3_node_62 | 0.4 | n |  | TRUE
70 | bus_MV_199_0_node_69 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_902-2_0_3_load_0 | 0 | 0.0028082 | 0.00070379 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_902-2_0_3_load_1 | 1 | 0.0044218 | 0.0011082 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_902-2_0_3_load_2 | 2 | 0.0043809 | 0.001098 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_902-2_0_3_load_3 | 3 | 0.0015391 | 0.00038572 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_902-2_0_3_load_4 | 4 | 0.0043403 | 0.0010878 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_902-2_0_3_load_12 | 7 | 0.0023687 | 0.00059365 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_902-2_0_3_load_14 | 9 | 0.0036137 | 0.00090567 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_902-2_0_3_load_5 | 11 | 0.013454 | 0.0033719 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_902-2_0_3_load_6 | 12 | 0.0023532 | 0.00058978 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_902-2_0_3_load_8 | 13 | 0.003579 | 0.00089698 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_902-2_0_3_load_10 | 14 | 0.0058962 | 0.0014777 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_902-2_0_3_load_64 | 16 | 0.0046698 | 0.0011704 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_902-2_0_3_load_67 | 17 | 0.0038724 | 0.00097051 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_902-2_0_3_load_55 | 18 | 0.002261 | 0.00056667 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_902-2_0_3_load_15 | 20 | 0.0091018 | 0.0022811 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_902-2_0_3_load_45 | 21 | 0.0034012 | 0.00085241 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_902-2_0_3_load_16 | 22 | 0.0022841 | 0.00057245 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_902-2_0_3_load_71 | 24 | 0.0021167 | 0.0005305 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_902-2_0_3_load_18 | 25 | 0.0019763 | 0.0004953 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_902-2_0_3_load_19 | 26 | 0.0026377 | 0.00066108 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_902-2_0_3_load_22 | 29 | 0.0030223 | 0.00075746 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_902-2_0_3_load_27 | 30 | 0.0071152 | 0.0017832 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_902-2_0_3_load_24 | 31 | 0.0024458 | 0.00061297 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_902-2_0_3_load_68 | 32 | 0.0020677 | 0.00051822 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_902-2_0_3_load_23 | 33 | 0.0038736 | 0.00097082 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_902-2_0_3_load_32 | 34 | 0.0003735 | 9.3607e-05 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_902-2_0_3_load_25 | 35 | 0.002221 | 0.00055664 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_902-2_0_3_load_39 | 37 | 0.00034122 | 8.5519e-05 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_902-2_0_3_load_36 | 38 | 0.00044514 | 0.00011156 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_902-2_0_3_load_43 | 39 | 0.0012996 | 0.00032572 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_902-2_0_3_load_37 | 40 | 0.00034189 | 8.5686e-05 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_902-2_0_3_load_28 | 42 | 0.0033069 | 0.00082878 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_902-2_0_3_load_29 | 43 | 0.010915 | 0.0027355 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_902-2_0_3_load_33 | 44 | 0.00037988 | 9.5207e-05 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_902-2_0_3_load_34 | 45 | 0.0048471 | 0.0012148 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_902-2_0_3_load_40 | 47 | 0.0057468 | 0.0014403 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_902-2_0_3_load_38 | 49 | 0.0037818 | 0.00094782 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_902-2_0_3_load_44 | 51 | 0.00034491 | 8.6443e-05 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_902-2_0_3_load_69 | 53 | 0.0048833 | 0.0012239 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_902-2_0_3_load_72 | 54 | 0.0058365 | 0.0014628 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_902-2_0_3_load_46 | 55 | 0.00028586 | 7.1644e-05 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_902-2_0_3_load_47 | 56 | 0.0023832 | 0.00059729 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_902-2_0_3_load_48 | 57 | 0.002749 | 0.00068896 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_902-2_0_3_load_49 | 58 | 0.0024922 | 0.00062461 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_902-2_0_3_load_50 | 59 | 0.0042118 | 0.0010556 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_902-2_0_3_load_51 | 60 | 0.0027809 | 0.00069695 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_902-2_0_3_load_52 | 61 | 0.0026936 | 0.00067509 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_902-2_0_3_load_53 | 62 | 0.0131 | 0.0032833 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_902-2_0_3_load_54 | 63 | 0.0072903 | 0.0018271 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_902-2_0_3_load_56 | 64 | 0.0027538 | 0.00069018 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_902-2_0_3_load_57 | 65 | 0.0027557 | 0.00069064 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_902-2_0_3_load_60 | 67 | 0.033138 | 0.0083053 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_902-2_0_3_load_61 | 68 | 0.0059256 | 0.0014851 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_902-2_0_3_load_62 | 69 | 0.0044192 | 0.0011075 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 61 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_902-2_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.01993 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_902-2_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.011008 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_902-2_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.020845 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_902-2_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.022753 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_902-2_0_3_line_4 | NAYY 4x150 SE | 3 | 5 | 0.010098 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_902-2_0_3_line_5 | NAYY 4x150 SE | 4 | 6 | 0.017667 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_902-2_0_3_line_6 | NAYY 4x150 SE | 5 | 7 | 0.022653 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_902-2_0_3_line_7 | NAYY 4x150 SE | 5 | 8 | 0.032498 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_902-2_0_3_line_8 | NAYY 4x150 SE | 6 | 9 | 0.037694 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_902-2_0_3_line_9 | NAYY 4x150 SE | 6 | 10 | 0.007512 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_902-2_0_3_line_10 | NAYY 4x150 SE | 7 | 20 | 0.017607 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_902-2_0_3_line_11 | NAYY 4x150 SE | 8 | 21 | 0.045059 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_902-2_0_3_line_12 | NAYY 4x150 SE | 10 | 14 | 0.01945 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_902-2_0_3_line_13 | NAYY 4x150 SE | 10 | 11 | 0.010714 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_902-2_0_3_line_14 | NAYY 4x150 SE | 11 | 12 | 0.021255 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
15 | LV_902-2_0_3_line_15 | NAYY 4x150 SE | 12 | 13 | 0.017079 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
16 | LV_902-2_0_3_line_16 | NAYY 4x150 SE | 13 | 15 | 0.0031547 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
17 | LV_902-2_0_3_line_17 | NAYY 4x150 SE | 14 | 16 | 0.012502 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_902-2_0_3_line_18 | NAYY 4x150 SE | 15 | 17 | 0.014695 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_902-2_0_3_line_19 | NAYY 4x150 SE | 15 | 18 | 0.015041 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
20 | LV_902-2_0_3_line_20 | NAYY 4x150 SE | 16 | 19 | 0.012337 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_902-2_0_3_line_21 | NAYY 4x150 SE | 17 | 33 | 0.015486 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_902-2_0_3_line_22 | NAYY 4x150 SE | 18 | 63 | 0.007114 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
23 | LV_902-2_0_3_line_23 | NAYY 4x150 SE | 19 | 68 | 0.032224 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_902-2_0_3_line_24 | NAYY 4x150 SE | 19 | 65 | 0.0018712 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_902-2_0_3_line_25 | NAYY 4x150 SE | 20 | 22 | 0.0082024 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_902-2_0_3_line_26 | NAYY 4x150 SE | 22 | 23 | 0.052989 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_902-2_0_3_line_27 | NAYY 4x150 SE | 23 | 24 | 0.064433 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_902-2_0_3_line_28 | NAYY 4x150 SE | 25 | 26 | 0.025746 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_902-2_0_3_line_29 | NAYY 4x150 SE | 25 | 27 | 0.0035718 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_902-2_0_3_line_30 | NAYY 4x150 SE | 26 | 28 | 0.0053144 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_902-2_0_3_line_31 | NAYY 4x150 SE | 27 | 29 | 0.016314 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_902-2_0_3_line_32 | NAYY 4x150 SE | 28 | 30 | 0.010512 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_902-2_0_3_line_33 | NAYY 4x150 SE | 28 | 31 | 0.020488 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_902-2_0_3_line_34 | NAYY 4x150 SE | 29 | 32 | 0.0083519 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_902-2_0_3_line_35 | NAYY 4x150 SE | 30 | 34 | 0.019427 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_902-2_0_3_line_36 | NAYY 4x150 SE | 31 | 35 | 0.00095213 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_902-2_0_3_line_37 | NAYY 4x150 SE | 34 | 41 | 0.0035457 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_902-2_0_3_line_38 | NAYY 4x150 SE | 35 | 36 | 0.017984 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_902-2_0_3_line_39 | NAYY 4x150 SE | 36 | 37 | 0.007292 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_902-2_0_3_line_40 | NAYY 4x150 SE | 36 | 38 | 0.0092198 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_902-2_0_3_line_41 | NAYY 4x150 SE | 37 | 39 | 0.012014 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_902-2_0_3_line_42 | NAYY 4x150 SE | 38 | 40 | 0.014647 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_902-2_0_3_line_43 | NAYY 4x150 SE | 39 | 51 | 0.0026415 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_902-2_0_3_line_44 | NAYY 4x150 SE | 41 | 44 | 0.019024 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_902-2_0_3_line_45 | NAYY 4x150 SE | 41 | 42 | 0.023007 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_902-2_0_3_line_46 | NAYY 4x150 SE | 42 | 43 | 0.013661 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_902-2_0_3_line_47 | NAYY 4x150 SE | 44 | 45 | 0.019319 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_902-2_0_3_line_48 | NAYY 4x150 SE | 45 | 46 | 0.030149 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_902-2_0_3_line_49 | NAYY 4x150 SE | 46 | 47 | 0.022744 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_902-2_0_3_line_50 | NAYY 4x150 SE | 47 | 48 | 0.014567 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_902-2_0_3_line_51 | NAYY 4x150 SE | 48 | 50 | 0.068166 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_902-2_0_3_line_52 | NAYY 4x150 SE | 48 | 49 | 0.03141 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_902-2_0_3_line_53 | NAYY 4x150 SE | 50 | 52 | 0.012855 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_902-2_0_3_line_54 | NAYY 4x150 SE | 50 | 53 | 0.030746 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_902-2_0_3_line_55 | NAYY 4x150 SE | 51 | 55 | 0.014435 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_902-2_0_3_line_56 | NAYY 4x150 SE | 52 | 54 | 0.04869 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_902-2_0_3_line_57 | NAYY 4x150 SE | 55 | 56 | 0.0065037 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_902-2_0_3_line_58 | NAYY 4x150 SE | 56 | 57 | 0.0018161 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_902-2_0_3_line_59 | NAYY 4x150 SE | 57 | 58 | 0.014921 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_902-2_0_3_line_60 | NAYY 4x150 SE | 58 | 59 | 0.0067137 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_902-2_0_3_line_61 | NAYY 4x150 SE | 59 | 60 | 0.0086397 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_902-2_0_3_line_62 | NAYY 4x150 SE | 60 | 61 | 0.0065417 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_902-2_0_3_line_63 | NAYY 4x150 SE | 61 | 62 | 0.0078156 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
64 | LV_902-2_0_3_line_64 | NAYY 4x150 SE | 62 | 63 | 0.0070916 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
65 | LV_902-2_0_3_line_65 | NAYY 4x150 SE | 64 | 65 | 0.010157 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_902-2_0_3_line_66 | NAYY 4x150 SE | 64 | 66 | 0.012107 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_902-2_0_3_line_67 | NAYY 4x150 SE | 66 | 67 | 0.053134 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_902-2_0_3_line_68 | NAYY 4x150 SE | 68 | 69 | 0.023464 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_902-2_0_3_trafo_52 | 0.25 MVA 20/0.4 kV | 70 | 61 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2627199.1651 | 1198687.6678 | 2627203.3779 | 1198668.1879
1 | 2627199.1651 | 1198687.6678 | 2627196.8383 | 1198698.4267
2 | 2627203.3779 | 1198668.1879 | 2627207.7842 | 1198647.8135
3 | 2627194.1263 | 1198720.9913 | 2627195.8484 | 1198703.0042 | 2627196.8383 | 1198698.4267
4 | 2627209.9186 | 1198637.9438 | 2627207.7842 | 1198647.8135
5 | 2627193.5777 | 1198738.5577 | 2627192.9227 | 1198733.5631 | 2627194.1263 | 1198720.9913
6 | 2627209.9186 | 1198637.9438 | 2627231.3417 | 1198645.3071
7 | 2627209.9186 | 1198637.9438 | 2627201.2417 | 1198633.8021 | 2627198.7446 | 1198628.6658 | 2627181.5732 | 1198628.8212
8 | 2627193.5777 | 1198738.5577 | 2627230.5602 | 1198731.2704
9 | 2627186.1554 | 1198739.847 | 2627193.5777 | 1198738.5577
10 | 2627231.3417 | 1198645.3071 | 2627247.9927 | 1198651.0301
11 | 2627181.5732 | 1198628.8212 | 2627181.5865 | 1198634.2798 | 2627181.6244 | 1198651.0892 | 2627181.2651 | 1198653.0664 | 2627177.4877 | 1198673.5015
12 | 2627186.1554 | 1198739.847 | 2627187.757 | 1198749.3483 | 2627191.5091 | 1198758.4175
13 | 2627186.1554 | 1198739.847 | 2627175.4692 | 1198740.6146
14 | 2627175.4692 | 1198740.6146 | 2627174.2198 | 1198740.7044 | 2627154.2181 | 1198740.7849
15 | 2627137.1395 | 1198740.8538 | 2627154.2181 | 1198740.7849
16 | 2627133.9848 | 1198740.8665 | 2627137.1395 | 1198740.8538
17 | 2627196.2886 | 1198769.97 | 2627191.5091 | 1198758.4175
18 | 2627133.9848 | 1198740.8665 | 2627119.4779 | 1198743.2091
19 | 2627133.9848 | 1198740.8665 | 2627137 | 1198755.6025
20 | 2627201.0051 | 1198781.3703 | 2627196.2886 | 1198769.97
21 | 2627104.4291 | 1198746.7818 | 2627114.6988 | 1198743.9808 | 2627119.4779 | 1198743.2091
22 | 2627138.426 | 1198762.5721 | 2627137 | 1198755.6025
23 | 2627201.0051 | 1198781.3703 | 2627232.8843 | 1198776.6673
24 | 2627201.0051 | 1198781.3703 | 2627201.6979 | 1198783.1085
25 | 2627247.9927 | 1198651.0301 | 2627255.7497 | 1198653.6963
26 | 2627306.961 | 1198667.2681 | 2627259.0542 | 1198654.832 | 2627255.7497 | 1198653.6963
27 | 2627306.961 | 1198667.2681 | 2627303.7676 | 1198677.9372 | 2627302.5427 | 1198681.0444 | 2627300.3201 | 1198684.1915 | 2627297.8284 | 1198686.2702 | 2627294.2171 | 1198688.3771 | 2627289.9843 | 1198689.8697 | 2627285.9008 | 1198690.3403 | 2627255.6992 | 1198690.9586
28 | 2627043.0274 | 1198770.0973 | 2627066.4204 | 1198759.3432
29 | 2627069.6657 | 1198757.8513 | 2627066.4204 | 1198759.3432
30 | 2627038.1988 | 1198772.3171 | 2627043.0274 | 1198770.0973
31 | 2627069.6657 | 1198757.8513 | 2627064.7118 | 1198742.3082
32 | 2627038.1988 | 1198772.3171 | 2627029.0774 | 1198777.5424
33 | 2627038.1988 | 1198772.3171 | 2627048.4147 | 1198790.0768
34 | 2627062.1756 | 1198734.3506 | 2627064.7118 | 1198742.3082
35 | 2627012.2202 | 1198787.1992 | 2627029.0774 | 1198777.5424
36 | 2627048.4147 | 1198790.0768 | 2627048.8895 | 1198790.9021
37 | 2627009.1436 | 1198788.9617 | 2627012.2202 | 1198787.1992
38 | 2627057.8568 | 1198806.4911 | 2627048.8895 | 1198790.9021
39 | 2627057.8568 | 1198806.4911 | 2627064.5363 | 1198803.5659
40 | 2627057.8568 | 1198806.4911 | 2627049.9994 | 1198811.3147
41 | 2627064.5363 | 1198803.5659 | 2627075.5416 | 1198798.7461
42 | 2627049.9994 | 1198811.3147 | 2627037.5169 | 1198818.9777
43 | 2627077.9612 | 1198797.6864 | 2627075.5416 | 1198798.7461
44 | 2627009.1436 | 1198788.9617 | 2626993.9578 | 1198800.4201
45 | 2627009.1436 | 1198788.9617 | 2626996.676 | 1198769.6255
46 | 2626991.8363 | 1198757.0285 | 2626993.9603 | 1198765.4137 | 2626996.676 | 1198769.6255
47 | 2626993.9578 | 1198800.4201 | 2626978.5362 | 1198812.0564
48 | 2626954.4699 | 1198830.2156 | 2626978.5362 | 1198812.0564
49 | 2626954.4699 | 1198830.2156 | 2626968.2479 | 1198848.3108
50 | 2626977.0723 | 1198859.9002 | 2626968.2479 | 1198848.3108
51 | 2626977.0723 | 1198859.9002 | 2627021.5569 | 1198911.6512
52 | 2626977.0723 | 1198859.9002 | 2627002.8123 | 1198841.8997
53 | 2627029.3761 | 1198921.8698 | 2627021.5569 | 1198911.6512
54 | 2627021.5569 | 1198911.6512 | 2627048.0636 | 1198896.072
55 | 2627077.9612 | 1198797.6864 | 2627091.184 | 1198791.8956
56 | 2627029.3761 | 1198921.8698 | 2627071.4871 | 1198897.2244
57 | 2627097.1415 | 1198789.2865 | 2627091.184 | 1198791.8956
58 | 2627097.1415 | 1198789.2865 | 2627098.805 | 1198788.558
59 | 2627112.473 | 1198782.5721 | 2627098.805 | 1198788.558
60 | 2627112.473 | 1198782.5721 | 2627118.6229 | 1198779.8788
61 | 2627118.6229 | 1198779.8788 | 2627126.5369 | 1198776.4129
62 | 2627132.5292 | 1198773.7886 | 2627126.5369 | 1198776.4129
63 | 2627132.5292 | 1198773.7886 | 2627136.272 | 1198772.1494 | 2627138.9564 | 1198769.5602
64 | 2627138.9564 | 1198769.5602 | 2627138.9564 | 1198769.5602 | 2627139.2738 | 1198766.7156 | 2627138.426 | 1198762.5721
65 | 2627205.4588 | 1198792.5437 | 2627201.6979 | 1198783.1085
66 | 2627209.9414 | 1198803.7898 | 2627205.4588 | 1198792.5437
67 | 2627209.9414 | 1198803.7898 | 2627181.9777 | 1198819.7604 | 2627180.1506 | 1198821.3752 | 2627178.9676 | 1198823.66 | 2627175.4028 | 1198832.3485 | 2627173.0934 | 1198836.1957 | 2627171.7981 | 1198837.7728
68 | 2627232.8843 | 1198776.6673 | 2627256.0974 | 1198773.2427

## bus_geodata
| x | y | coords
0 | 2627199.1651 | 1198687.6678
1 | 2627203.3779 | 1198668.1879
2 | 2627196.8383 | 1198698.4267
3 | 2627207.7842 | 1198647.8135
4 | 2627194.1263 | 1198720.9913
5 | 2627209.9186 | 1198637.9438
6 | 2627193.5777 | 1198738.5577
7 | 2627231.3417 | 1198645.3071
8 | 2627181.5732 | 1198628.8212
9 | 2627230.5602 | 1198731.2704
10 | 2627186.1554 | 1198739.847
11 | 2627175.4692 | 1198740.6146
12 | 2627154.2181 | 1198740.7849
13 | 2627137.1395 | 1198740.8538
14 | 2627191.5091 | 1198758.4175
15 | 2627133.9848 | 1198740.8665
16 | 2627196.2886 | 1198769.97
17 | 2627119.4779 | 1198743.2091
18 | 2627137 | 1198755.6025
19 | 2627201.0051 | 1198781.3703
20 | 2627247.9927 | 1198651.0301
21 | 2627177.4877 | 1198673.5015
22 | 2627255.7497 | 1198653.6962
23 | 2627306.961 | 1198667.2681
24 | 2627255.6992 | 1198690.9586
25 | 2627066.4204 | 1198759.3432
26 | 2627043.0274 | 1198770.0973
27 | 2627069.6657 | 1198757.8513
28 | 2627038.1988 | 1198772.3171
29 | 2627064.7118 | 1198742.3082
30 | 2627029.0774 | 1198777.5424
31 | 2627048.4147 | 1198790.0768
32 | 2627062.1756 | 1198734.3506
33 | 2627104.4291 | 1198746.7818
34 | 2627012.2202 | 1198787.1992
35 | 2627048.8895 | 1198790.9021
36 | 2627057.8568 | 1198806.4911
37 | 2627064.5363 | 1198803.5659
38 | 2627049.9994 | 1198811.3147
39 | 2627075.5416 | 1198798.7461
40 | 2627037.5169 | 1198818.9777
41 | 2627009.1436 | 1198788.9617
42 | 2626996.676 | 1198769.6255
43 | 2626991.8363 | 1198757.0285
44 | 2626993.9578 | 1198800.4201
45 | 2626978.5362 | 1198812.0564
46 | 2626954.4699 | 1198830.2156
47 | 2626968.2479 | 1198848.3108
48 | 2626977.0723 | 1198859.9002
49 | 2627002.8123 | 1198841.8997
50 | 2627021.5569 | 1198911.6512
51 | 2627077.9612 | 1198797.6864
52 | 2627029.3761 | 1198921.8698
53 | 2627048.0636 | 1198896.072
54 | 2627071.4871 | 1198897.2244
55 | 2627091.184 | 1198791.8956
56 | 2627097.1415 | 1198789.2865
57 | 2627098.805 | 1198788.558
58 | 2627112.473 | 1198782.5721
59 | 2627118.6229 | 1198779.8788
60 | 2627126.5369 | 1198776.4129
61 | 2627132.5292 | 1198773.7886
62 | 2627138.9564 | 1198769.5602
63 | 2627138.426 | 1198762.5721
64 | 2627205.4588 | 1198792.5437
65 | 2627201.6979 | 1198783.1085
66 | 2627209.9414 | 1198803.7898
67 | 2627171.7981 | 1198837.7728
68 | 2627232.8843 | 1198776.6673
69 | 2627256.0974 | 1198773.2427
70 | 2627133.9848 | 1198740.8665

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1