## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_902-6_1_2_node_19 | 0.4 | n |  | TRUE
1 | bus_LV_902-6_1_2_node_21 | 0.4 | n |  | TRUE
2 | bus_LV_902-6_1_2_node_20 | 0.4 | n |  | TRUE
3 | bus_LV_902-6_1_2_node_22 | 0.4 | n |  | TRUE
4 | bus_LV_902-6_1_2_node_23 | 0.4 | n |  | TRUE
5 | bus_LV_902-6_1_2_node_57 | 0.4 | n |  | TRUE
6 | bus_LV_902-6_1_2_node_58 | 0.4 | n |  | TRUE
7 | bus_LV_902-6_1_2_node_46 | 0.4 | n |  | TRUE
8 | bus_LV_902-6_1_2_node_50 | 0.4 | n |  | TRUE
9 | bus_LV_902-6_1_2_node_24 | 0.4 | n |  | TRUE
10 | bus_LV_902-6_1_2_node_37 | 0.4 | n |  | TRUE
11 | bus_LV_902-6_1_2_node_38 | 0.4 | n |  | TRUE
12 | bus_LV_902-6_1_2_node_40 | 0.4 | n |  | TRUE
13 | bus_LV_902-6_1_2_node_41 | 0.4 | n |  | TRUE
14 | bus_LV_902-6_1_2_node_39 | 0.4 | n |  | TRUE
15 | bus_LV_902-6_1_2_node_48 | 0.4 | n |  | TRUE
16 | bus_LV_902-6_1_2_node_42 | 0.4 | n |  | TRUE
17 | bus_LV_902-6_1_2_node_43 | 0.4 | n |  | TRUE
18 | bus_LV_902-6_1_2_node_44 | 0.4 | n |  | TRUE
19 | bus_LV_902-6_1_2_node_47 | 0.4 | n |  | TRUE
20 | bus_LV_902-6_1_2_node_59 | 0.4 | n |  | TRUE
21 | bus_LV_902-6_1_2_node_49 | 0.4 | n |  | TRUE
22 | bus_LV_902-6_1_2_node_51 | 0.4 | n |  | TRUE
23 | bus_LV_902-6_1_2_node_52 | 0.4 | n |  | TRUE
24 | bus_LV_902-6_1_2_node_53 | 0.4 | n |  | TRUE
25 | bus_LV_902-6_1_2_node_54 | 0.4 | n |  | TRUE
26 | bus_LV_902-6_1_2_node_55 | 0.4 | n |  | TRUE
27 | bus_LV_902-6_1_2_node_56 | 0.4 | n |  | TRUE
28 | bus_MV_0_node_42 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_902-6_1_2_load_19 | 0 | 0.0010374 | 0.00025999 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_902-6_1_2_load_22 | 3 | 0.0016217 | 0.00040643 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_902-6_1_2_load_58 | 6 | 0.00066829 | 0.00016749 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_902-6_1_2_load_50 | 8 | 0.002881 | 0.00072205 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_902-6_1_2_load_24 | 9 | 0.001299 | 0.00032556 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_902-6_1_2_load_37 | 10 | 0.0010413 | 0.00026097 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_902-6_1_2_load_40 | 12 | 0.00024283 | 6.086e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_902-6_1_2_load_39 | 14 | 0.00051987 | 0.00013029 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_902-6_1_2_load_48 | 15 | 0.00092616 | 0.00023212 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_902-6_1_2_load_42 | 16 | 0.0060068 | 0.0015055 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_902-6_1_2_load_43 | 17 | 0.00079854 | 0.00020013 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_902-6_1_2_load_47 | 19 | 0.0031168 | 0.00078115 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_902-6_1_2_load_49 | 21 | 0.00063119 | 0.00015819 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_902-6_1_2_load_53 | 24 | 0.00050449 | 0.00012644 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_902-6_1_2_load_54 | 25 | 0.0001062 | 2.6616e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_902-6_1_2_load_55 | 26 | 0.00034491 | 8.6444e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_902-6_1_2_load_56 | 27 | 0.00077032 | 0.00019306 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 16 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_902-6_1_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.22387 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_902-6_1_2_line_1 | NAYY 4x150 SE | 1 | 6 | 0.41136 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_902-6_1_2_line_2 | NAYY 4x150 SE | 2 | 3 | 0.038502 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_902-6_1_2_line_3 | NAYY 4x150 SE | 2 | 4 | 0.034326 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_902-6_1_2_line_4 | NAYY 4x150 SE | 2 | 5 | 0.27823 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_902-6_1_2_line_5 | NAYY 4x150 SE | 3 | 7 | 0.020834 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_902-6_1_2_line_6 | NAYY 4x150 SE | 4 | 8 | 0.19305 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_902-6_1_2_line_7 | NAYY 4x150 SE | 5 | 6 | 0.003311 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_902-6_1_2_line_8 | NAYY 4x150 SE | 5 | 14 | 0.024121 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_902-6_1_2_line_9 | NAYY 4x150 SE | 7 | 19 | 0.028583 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_902-6_1_2_line_10 | NAYY 4x150 SE | 7 | 9 | 0.015183 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_902-6_1_2_line_11 | NAYY 4x150 SE | 7 | 18 | 0.020422 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_902-6_1_2_line_12 | NAYY 4x150 SE | 8 | 21 | 0.037601 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_902-6_1_2_line_13 | NAYY 4x150 SE | 10 | 11 | 0.019126 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_902-6_1_2_line_14 | NAYY 4x150 SE | 11 | 12 | 0.038145 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_902-6_1_2_line_15 | NAYY 4x150 SE | 11 | 13 | 0.1197 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_902-6_1_2_line_16 | NAYY 4x150 SE | 13 | 15 | 0.24701 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_902-6_1_2_line_17 | NAYY 4x150 SE | 15 | 20 | 0.20924 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_902-6_1_2_line_18 | NAYY 4x150 SE | 16 | 17 | 0.016208 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_902-6_1_2_line_19 | NAYY 4x150 SE | 16 | 18 | 0.013367 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_902-6_1_2_line_20 | NAYY 4x150 SE | 19 | 20 | 0.019555 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_902-6_1_2_line_21 | NAYY 4x150 SE | 21 | 22 | 0.17198 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_902-6_1_2_line_22 | NAYY 4x150 SE | 22 | 23 | 0.03674 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_902-6_1_2_line_23 | NAYY 4x150 SE | 23 | 24 | 0.087947 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_902-6_1_2_line_24 | NAYY 4x150 SE | 24 | 25 | 0.0024114 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_902-6_1_2_line_25 | NAYY 4x150 SE | 25 | 26 | 0.0063839 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_902-6_1_2_line_26 | NAYY 4x150 SE | 26 | 27 | 0.03102 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_902-6_1_2_trafo_42 | 0.25 MVA 20/0.4 kV | 28 | 16 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22
0 | 2627390.0429 | 1198076.3481 | 2627417.4169 | 1198060.3091 | 2627450.5363 | 1198040.2276 | 2627463.7401 | 1198033.8069 | 2627470.6299 | 1198029.2805 | 2627474.8014 | 1198024.6527 | 2627478.2442 | 1198019.5323 | 2627483.6514 | 1198007.8397 | 2627487.5773 | 1198001.999 | 2627490.5374 | 1197999.1554 | 2627494.7523 | 1197996.7068 | 2627498.9082 | 1197995.503 | 2627510.9956 | 1197996.7481 | 2627522.4399 | 1197998.7351 | 2627528.5647 | 1197998.2741 | 2627532.3783 | 1197997.002 | 2627534.9343 | 1197994.2678 | 2627536.0129 | 1197989.9037 | 2627535.8248 | 1197986.1119 | 2627534.1512 | 1197982.4133 | 2627529.7704 | 1197977.8796 | 2627512.9838 | 1197961.8271 | 2627508.9559 | 1197958.3734
1 | 2626986.8732 | 1198158.003 | 2627390.0429 | 1198076.3481
2 | 2627130.5977 | 1197918.9818 | 2627109.0418 | 1197904.7987 | 2627105.5698 | 1197902.982 | 2627102.2553 | 1197901.6996 | 2627097.2365 | 1197900.2415
3 | 2627126.7542 | 1197884.8792 | 2627127.5563 | 1197891.0528 | 2627130.5977 | 1197918.9818
4 | 2626984.457 | 1198155.7392 | 2627130.5977 | 1197918.9818
5 | 2627077.2876 | 1197894.2382 | 2627083.5317 | 1197896.0452 | 2627092.4214 | 1197898.8425 | 2627097.2365 | 1197900.2415
6 | 2627126.7542 | 1197884.8792 | 2627125.8845 | 1197881.8403 | 2627124.0195 | 1197878.3077 | 2627121.2449 | 1197873.8482 | 2627117.2825 | 1197869.3167 | 2627112.2604 | 1197865.0361 | 2627106.7041 | 1197861.0199 | 2627093.7701 | 1197853.246 | 2627089.2005 | 1197849.9458 | 2627086.4053 | 1197846.6536 | 2627085.05 | 1197843.2234 | 2627084.7713 | 1197839.1755 | 2627085.9726 | 1197834.5673 | 2627095.8183 | 1197814.6232 | 2627135.5943 | 1197737.328 | 2627144.8978 | 1197726.2848
7 | 2626984.457 | 1198155.7392 | 2626986.8732 | 1198158.003
8 | 2626984.457 | 1198155.7392 | 2626977.5879 | 1198164.2462 | 2626971.9896 | 1198171.2915 | 2626970.7671 | 1198173.8763 | 2626970.3458 | 1198175.1368
9 | 2627077.2876 | 1197894.2382 | 2627071.404 | 1197893.5335 | 2627062.5448 | 1197892.3928 | 2627054.2277 | 1197890.9322 | 2627049.5707 | 1197888.4432
10 | 2627077.2876 | 1197894.2382 | 2627078.0521 | 1197901.9903 | 2627079.4109 | 1197909.2575
11 | 2627077.2876 | 1197894.2382 | 2627077.1714 | 1197891.3028 | 2627077.5046 | 1197888.3471 | 2627078.7089 | 1197884.7395 | 2627080.5978 | 1197881.3128 | 2627085.3945 | 1197876.4875
12 | 2627155.0189 | 1197694.1488 | 2627156.279 | 1197696.8997 | 2627157.7963 | 1197699.8638 | 2627158.7046 | 1197702.7917 | 2627158.7824 | 1197705.7826 | 2627158.25 | 1197708.9708 | 2627156.4287 | 1197712.5978 | 2627144.8978 | 1197726.2848
13 | 2626826.2178 | 1197991.995 | 2626838.2781 | 1198004.4113 | 2626839.2125 | 1198005.9694
14 | 2626826.2178 | 1197991.995 | 2626813.9825 | 1198001.6565 | 2626801.2438 | 1198020.2693
15 | 2626826.2178 | 1197991.995 | 2626821.3742 | 1197949.5613 | 2626814.7361 | 1197909.899 | 2626812.9098 | 1197902.798 | 2626810.289 | 1197896.2272 | 2626801.2802 | 1197875.7535
16 | 2626801.2802 | 1197875.7535 | 2626793.1051 | 1197805.1342 | 2626783.6478 | 1197752.0742 | 2626783.6758 | 1197749.2283 | 2626784.1743 | 1197746.7514 | 2626785.7249 | 1197745.7133 | 2626788.1384 | 1197745.8575 | 2626792.0554 | 1197746.9868 | 2626795.0778 | 1197748.9125 | 2626798.019 | 1197751.9606 | 2626804.8485 | 1197762.5525 | 2626815.3619 | 1197778.6861 | 2626822.2672 | 1197785.932 | 2626829.9794 | 1197791.5807 | 2626836.9918 | 1197795.3142 | 2626853.2874 | 1197802.48 | 2626856.5864 | 1197795.3687 | 2626858.0589 | 1197784.5806 | 2626856.6199 | 1197780.2456
17 | 2626856.6199 | 1197780.2456 | 2627045.1795 | 1197870.9472
18 | 2627077.3389 | 1197865.8852 | 2627075.7161 | 1197862.8474 | 2627073.4114 | 1197857.1672 | 2627071.9639 | 1197852.2358 | 2627071.7303 | 1197850.7595
19 | 2627085.3945 | 1197876.4875 | 2627083.9169 | 1197874.8688 | 2627081.5833 | 1197872.2235 | 2627078.5856 | 1197868.2188 | 2627077.3389 | 1197865.8852
20 | 2627045.1795 | 1197870.9472 | 2627043.969 | 1197877.6009 | 2627044.315 | 1197881.9381 | 2627046.3708 | 1197885.3937 | 2627049.5707 | 1197888.4432
21 | 2627207.3715 | 1197532.9426 | 2627181.8022 | 1197592.2476 | 2627166.1969 | 1197630.9422 | 2627156.1575 | 1197654.8541 | 2627154.408 | 1197661.1052 | 2627153.5793 | 1197665.8373 | 2627153.2757 | 1197670.6496 | 2627153.6809 | 1197685.4039 | 2627154.1176 | 1197689.875 | 2627154.9216 | 1197693.9364 | 2627155.0189 | 1197694.1488
22 | 2627207.3715 | 1197532.9426 | 2627235.5646 | 1197556.5946
23 | 2627235.5646 | 1197556.5946 | 2627267.6951 | 1197586.8795 | 2627292.4058 | 1197610.8384 | 2627295.7996 | 1197613.144 | 2627298.8701 | 1197614.5143 | 2627300.7369 | 1197614.9151
24 | 2627300.7369 | 1197614.9151 | 2627302.2558 | 1197615.2412 | 2627303.1116 | 1197615.3011
25 | 2627309.4822 | 1197615.7079 | 2627307.6918 | 1197615.6217 | 2627303.1116 | 1197615.3011
26 | 2627336.3061 | 1197627.3709 | 2627333.0453 | 1197622.1743 | 2627331.596 | 1197621.0226 | 2627328.6938 | 1197619.4752 | 2627323.6679 | 1197617.6846 | 2627319.8352 | 1197616.4553 | 2627315.8618 | 1197616.0148 | 2627309.4822 | 1197615.7079

## bus_geodata
| x | y | coords
0 | 2627508.9559 | 1197958.3734
1 | 2627390.0429 | 1198076.3481
2 | 2627130.5977 | 1197918.9818
3 | 2627097.2365 | 1197900.2415
4 | 2627126.7542 | 1197884.8792
5 | 2626984.457 | 1198155.7392
6 | 2626986.8732 | 1198158.003
7 | 2627077.2876 | 1197894.2382
8 | 2627144.8978 | 1197726.2848
9 | 2627079.4109 | 1197909.2575
10 | 2626839.2125 | 1198005.9694
11 | 2626826.2178 | 1197991.995
12 | 2626801.2438 | 1198020.2693
13 | 2626801.2802 | 1197875.7535
14 | 2626970.3458 | 1198175.1368
15 | 2626856.6199 | 1197780.2456
16 | 2627077.3389 | 1197865.8852
17 | 2627071.7303 | 1197850.7595
18 | 2627085.3945 | 1197876.4875
19 | 2627049.5707 | 1197888.4432
20 | 2627045.1795 | 1197870.9472
21 | 2627155.0189 | 1197694.1488
22 | 2627207.3715 | 1197532.9426
23 | 2627235.5646 | 1197556.5946
24 | 2627300.7369 | 1197614.9151
25 | 2627303.1116 | 1197615.3011
26 | 2627309.4822 | 1197615.7079
27 | 2627336.3061 | 1197627.3709
28 | 2627077.3389 | 1197865.8852

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1