## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_902-8_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_902-8_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_902-8_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_902-8_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_902-8_0_3_node_11 | 0.4 | n |  | TRUE
5 | bus_LV_902-8_0_3_node_13 | 0.4 | n |  | TRUE
6 | bus_LV_902-8_0_3_node_9 | 0.4 | n |  | TRUE
7 | bus_LV_902-8_0_3_node_4 | 0.4 | n |  | TRUE
8 | bus_LV_902-8_0_3_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_902-8_0_3_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_902-8_0_3_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_902-8_0_3_node_14 | 0.4 | n |  | TRUE
12 | bus_LV_902-8_0_3_node_32 | 0.4 | n |  | TRUE
13 | bus_LV_902-8_0_3_node_33 | 0.4 | n |  | TRUE
14 | bus_LV_902-8_0_3_node_34 | 0.4 | n |  | TRUE
15 | bus_LV_902-8_0_3_node_35 | 0.4 | n |  | TRUE
16 | bus_LV_902-8_0_3_node_41 | 0.4 | n |  | TRUE
17 | bus_LV_902-8_0_3_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_902-8_0_3_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_902-8_0_3_node_29 | 0.4 | n |  | TRUE
20 | bus_LV_902-8_0_3_node_30 | 0.4 | n |  | TRUE
21 | bus_LV_902-8_0_3_node_31 | 0.4 | n |  | TRUE
22 | bus_LV_902-8_0_3_node_26 | 0.4 | n |  | TRUE
23 | bus_LV_902-8_0_3_node_63 | 0.4 | n |  | TRUE
24 | bus_LV_902-8_0_3_node_95 | 0.4 | n |  | TRUE
25 | bus_LV_902-8_0_3_node_15 | 0.4 | n |  | TRUE
26 | bus_LV_902-8_0_3_node_27 | 0.4 | n |  | TRUE
27 | bus_LV_902-8_0_3_node_16 | 0.4 | n |  | TRUE
28 | bus_LV_902-8_0_3_node_36 | 0.4 | n |  | TRUE
29 | bus_LV_902-8_0_3_node_37 | 0.4 | n |  | TRUE
30 | bus_LV_902-8_0_3_node_17 | 0.4 | n |  | TRUE
31 | bus_LV_902-8_0_3_node_48 | 0.4 | n |  | TRUE
32 | bus_LV_902-8_0_3_node_24 | 0.4 | n |  | TRUE
33 | bus_LV_902-8_0_3_node_21 | 0.4 | n |  | TRUE
34 | bus_LV_902-8_0_3_node_18 | 0.4 | n |  | TRUE
35 | bus_LV_902-8_0_3_node_19 | 0.4 | n |  | TRUE
36 | bus_LV_902-8_0_3_node_45 | 0.4 | n |  | TRUE
37 | bus_LV_902-8_0_3_node_72 | 0.4 | n |  | TRUE
38 | bus_LV_902-8_0_3_node_23 | 0.4 | n |  | TRUE
39 | bus_LV_902-8_0_3_node_44 | 0.4 | n |  | TRUE
40 | bus_LV_902-8_0_3_node_73 | 0.4 | n |  | TRUE
41 | bus_LV_902-8_0_3_node_20 | 0.4 | n |  | TRUE
42 | bus_LV_902-8_0_3_node_22 | 0.4 | n |  | TRUE
43 | bus_LV_902-8_0_3_node_25 | 0.4 | n |  | TRUE
44 | bus_LV_902-8_0_3_node_59 | 0.4 | n |  | TRUE
45 | bus_LV_902-8_0_3_node_46 | 0.4 | n |  | TRUE
46 | bus_LV_902-8_0_3_node_60 | 0.4 | n |  | TRUE
47 | bus_LV_902-8_0_3_node_28 | 0.4 | n |  | TRUE
48 | bus_LV_902-8_0_3_node_39 | 0.4 | n |  | TRUE
49 | bus_LV_902-8_0_3_node_67 | 0.4 | n |  | TRUE
50 | bus_LV_902-8_0_3_node_58 | 0.4 | n |  | TRUE
51 | bus_LV_902-8_0_3_node_96 | 0.4 | n |  | TRUE
52 | bus_LV_902-8_0_3_node_43 | 0.4 | n |  | TRUE
53 | bus_LV_902-8_0_3_node_38 | 0.4 | n |  | TRUE
54 | bus_LV_902-8_0_3_node_49 | 0.4 | n |  | TRUE
55 | bus_LV_902-8_0_3_node_50 | 0.4 | n |  | TRUE
56 | bus_LV_902-8_0_3_node_51 | 0.4 | n |  | TRUE
57 | bus_LV_902-8_0_3_node_52 | 0.4 | n |  | TRUE
58 | bus_LV_902-8_0_3_node_53 | 0.4 | n |  | TRUE
59 | bus_LV_902-8_0_3_node_54 | 0.4 | n |  | TRUE
60 | bus_LV_902-8_0_3_node_55 | 0.4 | n |  | TRUE
61 | bus_LV_902-8_0_3_node_57 | 0.4 | n |  | TRUE
62 | bus_LV_902-8_0_3_node_56 | 0.4 | n |  | TRUE
63 | bus_LV_902-8_0_3_node_62 | 0.4 | n |  | TRUE
64 | bus_LV_902-8_0_3_node_61 | 0.4 | n |  | TRUE
65 | bus_LV_902-8_0_3_node_69 | 0.4 | n |  | TRUE
66 | bus_LV_902-8_0_3_node_65 | 0.4 | n |  | TRUE
67 | bus_LV_902-8_0_3_node_64 | 0.4 | n |  | TRUE
68 | bus_LV_902-8_0_3_node_66 | 0.4 | n |  | TRUE
69 | bus_LV_902-8_0_3_node_68 | 0.4 | n |  | TRUE
70 | bus_LV_902-8_0_3_node_70 | 0.4 | n |  | TRUE
71 | bus_LV_902-8_0_3_node_71 | 0.4 | n |  | TRUE
72 | bus_LV_902-8_0_3_node_91 | 0.4 | n |  | TRUE
73 | bus_LV_902-8_0_3_node_74 | 0.4 | n |  | TRUE
74 | bus_LV_902-8_0_3_node_75 | 0.4 | n |  | TRUE
75 | bus_LV_902-8_0_3_node_76 | 0.4 | n |  | TRUE
76 | bus_LV_902-8_0_3_node_89 | 0.4 | n |  | TRUE
77 | bus_LV_902-8_0_3_node_87 | 0.4 | n |  | TRUE
78 | bus_LV_902-8_0_3_node_77 | 0.4 | n |  | TRUE
79 | bus_LV_902-8_0_3_node_78 | 0.4 | n |  | TRUE
80 | bus_LV_902-8_0_3_node_79 | 0.4 | n |  | TRUE
81 | bus_LV_902-8_0_3_node_80 | 0.4 | n |  | TRUE
82 | bus_LV_902-8_0_3_node_81 | 0.4 | n |  | TRUE
83 | bus_LV_902-8_0_3_node_82 | 0.4 | n |  | TRUE
84 | bus_LV_902-8_0_3_node_90 | 0.4 | n |  | TRUE
85 | bus_LV_902-8_0_3_node_83 | 0.4 | n |  | TRUE
86 | bus_LV_902-8_0_3_node_84 | 0.4 | n |  | TRUE
87 | bus_LV_902-8_0_3_node_85 | 0.4 | n |  | TRUE
88 | bus_LV_902-8_0_3_node_86 | 0.4 | n |  | TRUE
89 | bus_LV_902-8_0_3_node_92 | 0.4 | n |  | TRUE
90 | bus_LV_902-8_0_3_node_93 | 0.4 | n |  | TRUE
91 | bus_LV_902-8_0_3_node_94 | 0.4 | n |  | TRUE
92 | bus_LV_902-8_0_3_node_100 | 0.4 | n |  | TRUE
93 | bus_LV_902-8_0_3_node_101 | 0.4 | n |  | TRUE
94 | bus_LV_902-8_0_3_node_97 | 0.4 | n |  | TRUE
95 | bus_LV_902-8_0_3_node_98 | 0.4 | n |  | TRUE
96 | bus_LV_902-8_0_3_node_99 | 0.4 | n |  | TRUE
97 | bus_LV_902-8_0_3_node_102 | 0.4 | n |  | TRUE
98 | bus_LV_902-8_0_3_node_104 | 0.4 | n |  | TRUE
99 | bus_LV_902-8_0_3_node_103 | 0.4 | n |  | TRUE
100 | bus_LV_902-8_0_3_node_105 | 0.4 | n |  | TRUE
101 | bus_MV_199_0_node_160 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_902-8_0_3_load_0 | 0 | 0.0023472 | 0.00058825 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_902-8_0_3_load_1 | 1 | 0.0019889 | 0.00049846 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_902-8_0_3_load_2 | 2 | 0.0014528 | 0.00036411 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_902-8_0_3_load_3 | 3 | 0.0032154 | 0.00080585 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_902-8_0_3_load_4 | 7 | 0.0026436 | 0.00066254 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_902-8_0_3_load_5 | 8 | 0.0026303 | 0.00065921 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_902-8_0_3_load_7 | 9 | 0.0016766 | 0.00042019 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_902-8_0_3_load_14 | 11 | 0.0060463 | 0.0015153 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_902-8_0_3_load_32 | 12 | 0.0063668 | 0.0015957 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_902-8_0_3_load_34 | 14 | 0.0014031 | 0.00035164 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_902-8_0_3_load_35 | 15 | 0.00074329 | 0.00018629 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_902-8_0_3_load_12 | 18 | 0.0040591 | 0.0010173 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_902-8_0_3_load_29 | 19 | 0.00032555 | 8.1591e-05 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_902-8_0_3_load_30 | 20 | 0.00060711 | 0.00015216 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_902-8_0_3_load_31 | 21 | 0.0055978 | 0.0014029 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_902-8_0_3_load_26 | 22 | 0.0094284 | 0.002363 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_902-8_0_3_load_95 | 24 | 0.0044712 | 0.0011206 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_902-8_0_3_load_15 | 25 | 0.0055552 | 0.0013923 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_902-8_0_3_load_27 | 26 | 0.0034256 | 0.00085853 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_902-8_0_3_load_16 | 27 | 0.0066032 | 0.0016549 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_902-8_0_3_load_36 | 28 | 0.0027601 | 0.00069176 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_902-8_0_3_load_37 | 29 | 0.0011097 | 0.00027813 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_902-8_0_3_load_17 | 30 | 0.0012118 | 0.00030369 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_902-8_0_3_load_48 | 31 | 0.0040566 | 0.0010167 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_902-8_0_3_load_24 | 32 | 0.00061108 | 0.00015315 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_902-8_0_3_load_21 | 33 | 0.00060952 | 0.00015276 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_902-8_0_3_load_19 | 35 | 0.0012942 | 0.00032437 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_902-8_0_3_load_23 | 38 | 0.0027704 | 0.00069433 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_902-8_0_3_load_44 | 39 | 0.00021562 | 5.4038e-05 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_902-8_0_3_load_73 | 40 | 0.0015307 | 0.00038362 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_902-8_0_3_load_22 | 42 | 0.001227 | 0.00030751 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_902-8_0_3_load_25 | 43 | 0.00092349 | 0.00023145 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_902-8_0_3_load_59 | 44 | 0.0012318 | 0.00030871 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_902-8_0_3_load_46 | 45 | 0.00050201 | 0.00012582 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_902-8_0_3_load_60 | 46 | 0.00099611 | 0.00024965 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_902-8_0_3_load_28 | 47 | 0.002013 | 0.0005045 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_902-8_0_3_load_39 | 48 | 0.002519 | 0.00063133 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_902-8_0_3_load_96 | 51 | 0.0040911 | 0.0010253 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_902-8_0_3_load_43 | 52 | 0.014859 | 0.003724 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_902-8_0_3_load_38 | 53 | 0.0045175 | 0.0011322 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_902-8_0_3_load_49 | 54 | 0.0012254 | 0.00030713 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_902-8_0_3_load_52 | 57 | 0.00034412 | 8.6243e-05 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_902-8_0_3_load_53 | 58 | 0.00037274 | 9.3418e-05 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_902-8_0_3_load_54 | 59 | 0.00020442 | 5.1232e-05 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_902-8_0_3_load_55 | 60 | 0.00030749 | 7.7065e-05 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_902-8_0_3_load_57 | 61 | 0.00033299 | 8.3456e-05 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_902-8_0_3_load_56 | 62 | 0.00041607 | 0.00010428 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_902-8_0_3_load_62 | 63 | 0.0018618 | 0.00046661 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_902-8_0_3_load_61 | 64 | 0.0012024 | 0.00030134 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_902-8_0_3_load_69 | 65 | 0.0038723 | 0.00097049 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_902-8_0_3_load_65 | 66 | 0.0011346 | 0.00028435 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_902-8_0_3_load_64 | 67 | 0.0010094 | 0.00025299 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_902-8_0_3_load_70 | 70 | 0.0016257 | 0.00040743 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_902-8_0_3_load_71 | 71 | 0.0019727 | 0.0004944 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_902-8_0_3_load_91 | 72 | 0.003822 | 0.00095787 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_902-8_0_3_load_75 | 74 | 0.002019 | 0.000506 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_902-8_0_3_load_76 | 75 | 0.0022317 | 0.00055932 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_902-8_0_3_load_89 | 76 | 0.0036827 | 0.00092298 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_902-8_0_3_load_87 | 77 | 0.001534 | 0.00038446 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_902-8_0_3_load_78 | 79 | 0.0020684 | 0.0005184 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_902-8_0_3_load_79 | 80 | 0.0031931 | 0.00080027 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_902-8_0_3_load_80 | 81 | 0.0025075 | 0.00062843 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_902-8_0_3_load_81 | 82 | 0.0022291 | 0.00055867 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_902-8_0_3_load_82 | 83 | 0.0032558 | 0.00081597 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_902-8_0_3_load_90 | 84 | 0.0017613 | 0.00044141 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_902-8_0_3_load_83 | 85 | 0.0032012 | 0.0008023 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_902-8_0_3_load_85 | 87 | 0.0020639 | 0.00051726 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_902-8_0_3_load_86 | 88 | 0.0022098 | 0.00055384 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_902-8_0_3_load_92 | 89 | 0.0027355 | 0.00068557 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_902-8_0_3_load_93 | 90 | 0.0020972 | 0.0005256 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_902-8_0_3_load_94 | 91 | 0.0021191 | 0.0005311 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_902-8_0_3_load_100 | 92 | 0.0020601 | 0.00051632 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_902-8_0_3_load_97 | 94 | 0.0063175 | 0.0015833 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_902-8_0_3_load_98 | 95 | 0.0069228 | 0.001735 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_902-8_0_3_load_99 | 96 | 0.003741 | 0.00093758 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_902-8_0_3_load_104 | 98 | 0.0030243 | 0.00075796 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_902-8_0_3_load_103 | 99 | 0.0020586 | 0.00051594 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_902-8_0_3_load_105 | 100 | 0.0022232 | 0.00055718 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 51 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_902-8_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.023556 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_902-8_0_3_line_1 | NAYY 4x150 SE | 1 | 2 | 0.025608 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_902-8_0_3_line_2 | NAYY 4x150 SE | 2 | 3 | 0.011566 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_902-8_0_3_line_3 | NAYY 4x150 SE | 3 | 4 | 0.011808 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_902-8_0_3_line_4 | NAYY 4x150 SE | 4 | 5 | 0.010352 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_902-8_0_3_line_5 | NAYY 4x150 SE | 4 | 6 | 0.022959 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_902-8_0_3_line_6 | NAYY 4x150 SE | 5 | 25 | 0.01306 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_902-8_0_3_line_7 | NAYY 4x150 SE | 5 | 11 | 0.0072812 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_902-8_0_3_line_8 | NAYY 4x150 SE | 6 | 17 | 0.041385 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_902-8_0_3_line_9 | NAYY 4x150 SE | 6 | 18 | 0.031313 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_902-8_0_3_line_10 | NAYY 4x150 SE | 7 | 8 | 0.013399 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_902-8_0_3_line_11 | NAYY 4x150 SE | 8 | 9 | 0.01334 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_902-8_0_3_line_12 | NAYY 4x150 SE | 9 | 10 | 0.01683 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_902-8_0_3_line_13 | NAYY 4x150 SE | 10 | 11 | 0.01744 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_902-8_0_3_line_14 | NAYY 4x150 SE | 12 | 13 | 0.011763 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_902-8_0_3_line_15 | NAYY 4x150 SE | 13 | 14 | 0.0083165 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_902-8_0_3_line_16 | NAYY 4x150 SE | 14 | 15 | 0.0008701 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_902-8_0_3_line_17 | NAYY 4x150 SE | 15 | 16 | 0.035801 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_902-8_0_3_line_18 | NAYY 4x150 SE | 16 | 52 | 0.0162 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_902-8_0_3_line_19 | NAYY 4x150 SE | 16 | 48 | 0.043999 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_902-8_0_3_line_20 | NAYY 4x150 SE | 17 | 19 | 0.028763 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_902-8_0_3_line_21 | NAYY 4x150 SE | 17 | 20 | 0.017868 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_902-8_0_3_line_22 | NAYY 4x150 SE | 17 | 21 | 0.013774 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
23 | LV_902-8_0_3_line_23 | NAYY 4x150 SE | 18 | 22 | 0.03513 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_902-8_0_3_line_24 | NAYY 4x150 SE | 20 | 23 | 0.0019973 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_902-8_0_3_line_25 | NAYY 4x150 SE | 21 | 24 | 0.020269 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
26 | LV_902-8_0_3_line_26 | NAYY 4x150 SE | 22 | 26 | 0.042386 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_902-8_0_3_line_27 | NAYY 4x150 SE | 23 | 49 | 0.02378 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_902-8_0_3_line_28 | NAYY 4x150 SE | 23 | 50 | 0.015866 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_902-8_0_3_line_29 | NAYY 4x150 SE | 24 | 51 | 0.021224 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
30 | LV_902-8_0_3_line_30 | NAYY 4x150 SE | 25 | 27 | 0.00070295 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_902-8_0_3_line_31 | NAYY 4x150 SE | 26 | 47 | 0.030747 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_902-8_0_3_line_32 | NAYY 4x150 SE | 27 | 28 | 0.029322 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_902-8_0_3_line_33 | NAYY 4x150 SE | 28 | 29 | 0.0018313 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_902-8_0_3_line_34 | NAYY 4x150 SE | 29 | 53 | 0.0029954 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_902-8_0_3_line_35 | NAYY 4x150 SE | 30 | 31 | 0.063521 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_902-8_0_3_line_36 | NAYY 4x150 SE | 30 | 32 | 0.099074 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_902-8_0_3_line_37 | NAYY 4x150 SE | 32 | 33 | 0.0066838 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_902-8_0_3_line_38 | NAYY 4x150 SE | 33 | 41 | 0.016064 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_902-8_0_3_line_39 | NAYY 4x150 SE | 34 | 35 | 0.0077951 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_902-8_0_3_line_40 | NAYY 4x150 SE | 34 | 36 | 0.12025 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_902-8_0_3_line_41 | NAYY 4x150 SE | 34 | 37 | 0.14453 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_902-8_0_3_line_42 | NAYY 4x150 SE | 35 | 38 | 0.02953 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_902-8_0_3_line_43 | NAYY 4x150 SE | 36 | 39 | 0.044234 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_902-8_0_3_line_44 | NAYY 4x150 SE | 37 | 40 | 0.080256 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_902-8_0_3_line_45 | NAYY 4x150 SE | 39 | 45 | 0.0034166 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_902-8_0_3_line_46 | NAYY 4x150 SE | 40 | 76 | 0.0048382 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_902-8_0_3_line_47 | NAYY 4x150 SE | 41 | 42 | 0.0017736 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_902-8_0_3_line_48 | NAYY 4x150 SE | 42 | 43 | 0.0033094 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_902-8_0_3_line_49 | NAYY 4x150 SE | 43 | 44 | 0.016988 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_902-8_0_3_line_50 | NAYY 4x150 SE | 44 | 46 | 0.0032977 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_902-8_0_3_line_51 | NAYY 4x150 SE | 46 | 64 | 0.0186 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_902-8_0_3_line_52 | NAYY 4x150 SE | 49 | 65 | 0.022191 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_902-8_0_3_line_53 | NAYY 4x150 SE | 49 | 66 | 0.034387 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_902-8_0_3_line_54 | NAYY 4x150 SE | 50 | 63 | 0.0077574 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_902-8_0_3_line_55 | NAYY 4x150 SE | 50 | 58 | 0.020275 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_902-8_0_3_line_56 | NAYY 4x150 SE | 51 | 94 | 0.026906 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_902-8_0_3_line_57 | NAYY 4x150 SE | 52 | 53 | 0.046431 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_902-8_0_3_line_58 | NAYY 4x150 SE | 54 | 55 | 0.0032191 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_902-8_0_3_line_59 | NAYY 4x150 SE | 54 | 56 | 0.032796 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_902-8_0_3_line_60 | NAYY 4x150 SE | 55 | 57 | 0.025196 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_902-8_0_3_line_61 | NAYY 4x150 SE | 56 | 58 | 0.026707 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_902-8_0_3_line_62 | NAYY 4x150 SE | 56 | 59 | 0.02842 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_902-8_0_3_line_63 | NAYY 4x150 SE | 57 | 60 | 0.049724 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_902-8_0_3_line_64 | NAYY 4x150 SE | 59 | 61 | 0.0094581 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_902-8_0_3_line_65 | NAYY 4x150 SE | 60 | 62 | 0.0041483 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_902-8_0_3_line_66 | NAYY 4x150 SE | 63 | 64 | 0.020018 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_902-8_0_3_line_67 | NAYY 4x150 SE | 65 | 72 | 0.019111 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_902-8_0_3_line_68 | NAYY 4x150 SE | 66 | 67 | 0.0023374 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_902-8_0_3_line_69 | NAYY 4x150 SE | 67 | 68 | 0.011707 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_902-8_0_3_line_70 | NAYY 4x150 SE | 68 | 69 | 0.040191 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_902-8_0_3_line_71 | NAYY 4x150 SE | 69 | 70 | 0.018818 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_902-8_0_3_line_72 | NAYY 4x150 SE | 69 | 71 | 0.0098616 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_902-8_0_3_line_73 | NAYY 4x150 SE | 71 | 73 | 0.009613 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_902-8_0_3_line_74 | NAYY 4x150 SE | 73 | 74 | 0.0079643 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_902-8_0_3_line_75 | NAYY 4x150 SE | 73 | 75 | 0.021336 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_902-8_0_3_line_76 | NAYY 4x150 SE | 74 | 78 | 0.0094055 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_902-8_0_3_line_77 | NAYY 4x150 SE | 76 | 77 | 0.0013737 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_902-8_0_3_line_78 | NAYY 4x150 SE | 77 | 87 | 0.014139 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_902-8_0_3_line_79 | NAYY 4x150 SE | 78 | 79 | 0.018166 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_902-8_0_3_line_80 | NAYY 4x150 SE | 78 | 80 | 0.019734 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_902-8_0_3_line_81 | NAYY 4x150 SE | 79 | 81 | 0.011654 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_902-8_0_3_line_82 | NAYY 4x150 SE | 80 | 82 | 0.0014447 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_902-8_0_3_line_83 | NAYY 4x150 SE | 81 | 83 | 0.012541 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_902-8_0_3_line_84 | NAYY 4x150 SE | 82 | 84 | 0.0081073 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_902-8_0_3_line_85 | NAYY 4x150 SE | 83 | 85 | 0.014184 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_902-8_0_3_line_86 | NAYY 4x150 SE | 85 | 86 | 0.0091775 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_902-8_0_3_line_87 | NAYY 4x150 SE | 86 | 87 | 0.036107 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_902-8_0_3_line_88 | NAYY 4x150 SE | 86 | 88 | 0.018553 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_902-8_0_3_line_89 | NAYY 4x150 SE | 89 | 90 | 0.017284 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_902-8_0_3_line_90 | NAYY 4x150 SE | 90 | 91 | 0.0096778 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_902-8_0_3_line_91 | NAYY 4x150 SE | 91 | 92 | 0.01572 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_902-8_0_3_line_92 | NAYY 4x150 SE | 92 | 93 | 0.011205 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_902-8_0_3_line_93 | NAYY 4x150 SE | 93 | 97 | 0.043483 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
94 | LV_902-8_0_3_line_94 | NAYY 4x150 SE | 93 | 96 | 0.014248 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
95 | LV_902-8_0_3_line_95 | NAYY 4x150 SE | 94 | 95 | 0.016792 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
96 | LV_902-8_0_3_line_96 | NAYY 4x150 SE | 95 | 96 | 0.017509 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
97 | LV_902-8_0_3_line_97 | NAYY 4x150 SE | 97 | 98 | 0.01163 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
98 | LV_902-8_0_3_line_98 | NAYY 4x150 SE | 98 | 99 | 0.036121 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
99 | LV_902-8_0_3_line_99 | NAYY 4x150 SE | 99 | 100 | 0.0078856 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_902-8_0_3_trafo_96 | 0.25 MVA 20/0.4 kV | 101 | 51 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2626899.5297 | 1198431.6954 | 2626920.3672 | 1198442.6813
1 | 2626943.0201 | 1198454.6243 | 2626920.3672 | 1198442.6813
2 | 2626943.0201 | 1198454.6243 | 2626953.2514 | 1198460.0185
3 | 2626963.6964 | 1198465.5253 | 2626953.2514 | 1198460.0185
4 | 2626963.6964 | 1198465.5253 | 2626957.051 | 1198473.4775
5 | 2626963.6964 | 1198465.5253 | 2626977.5464 | 1198447.1888
6 | 2626957.051 | 1198473.4775 | 2626966.4625 | 1198482.5328
7 | 2626957.051 | 1198473.4775 | 2626952.3832 | 1198479.0657
8 | 2626977.5464 | 1198447.1888 | 2626995.4495 | 1198409.8603
9 | 2626977.5464 | 1198447.1888 | 2626994.671 | 1198459.2169 | 2627002.9635 | 1198465.4715
10 | 2626904.7631 | 1198467.4412 | 2626916.3679 | 1198474.1395
11 | 2626916.3679 | 1198474.1395 | 2626925.3552 | 1198479.327 | 2626928.0264 | 1198480.6094
12 | 2626940.119 | 1198491.3999 | 2626937.6966 | 1198486.542 | 2626932.9991 | 1198482.9967 | 2626928.0264 | 1198480.6094
13 | 2626940.119 | 1198491.3999 | 2626947.772 | 1198484.5862 | 2626952.3832 | 1198479.0657
14 | 2626933.2754 | 1198555.2817 | 2626921.5346 | 1198554.5544
15 | 2626933.2754 | 1198555.2817 | 2626941.5783 | 1198555.7568
16 | 2626941.5783 | 1198555.7568 | 2626942.4469 | 1198555.8065
17 | 2626978.1899 | 1198557.8519 | 2626942.4469 | 1198555.8065
18 | 2626978.1899 | 1198557.8519 | 2626978.6404 | 1198542.3677 | 2626979.3218 | 1198542.5646
19 | 2626978.1899 | 1198557.8519 | 2627009.0503 | 1198559.8921 | 2627018.3857 | 1198561.5796 | 2627021.7052 | 1198562.9325
20 | 2626995.4495 | 1198409.8603 | 2626973.276 | 1198402.9344 | 2626968.3404 | 1198400.4336
21 | 2626995.4495 | 1198409.8603 | 2627002.1884 | 1198393.3116
22 | 2626995.4495 | 1198409.8603 | 2627006.9625 | 1198417.4211
23 | 2627031.0101 | 1198486.6256 | 2627002.9635 | 1198465.4715
24 | 2627002.9417 | 1198391.4618 | 2627002.1884 | 1198393.3116
25 | 2627023.9046 | 1198428.5475 | 2627006.9625 | 1198417.4211
26 | 2627060.536 | 1198516.7357 | 2627051.2098 | 1198504.8191 | 2627044.9658 | 1198498.0872 | 2627037.4798 | 1198491.5054 | 2627031.0101 | 1198486.6256
27 | 2627002.9417 | 1198391.4618 | 2627026.5396 | 1198394.9034
28 | 2627009.0235 | 1198376.8035 | 2627002.9417 | 1198391.4618
29 | 2627023.9046 | 1198428.5475 | 2627041.645 | 1198440.1981
30 | 2626966.9691 | 1198483.0202 | 2626966.4625 | 1198482.5328
31 | 2627060.536 | 1198516.7357 | 2627061.7486 | 1198518.2851 | 2627063.4327 | 1198521.3722 | 2627064.9649 | 1198526.0594 | 2627067.0189 | 1198534.9069 | 2627068.6648 | 1198538.0271 | 2627070.689 | 1198539.9929 | 2627073.9478 | 1198541.7308 | 2627075.0831 | 1198542.1378
32 | 2626992.3163 | 1198497.3868 | 2626974.3441 | 1198488.6747 | 2626971.8756 | 1198487.2739 | 2626970.0994 | 1198486.0319 | 2626966.9691 | 1198483.0202
33 | 2626992.3163 | 1198497.3868 | 2626993.9642 | 1198498.1857
34 | 2626996.6596 | 1198499.4923 | 2626993.9642 | 1198498.1857
35 | 2627153.1248 | 1198270.5976 | 2627168.4894 | 1198208.963
36 | 2627057.7041 | 1198297.2536 | 2627153.1248 | 1198270.5976
37 | 2627052.9596 | 1198301.9613 | 2627057.7041 | 1198297.2536
38 | 2627044.9918 | 1198315.3546 | 2627046.3963 | 1198309.5578 | 2627048.1529 | 1198306.7308 | 2627052.9596 | 1198301.9613
39 | 2627324.3071 | 1198266.8404 | 2627330.0232 | 1198265.7548 | 2627331.9999 | 1198265.7638
40 | 2627311.1302 | 1198147.3153 | 2627324.3071 | 1198266.8404
41 | 2627311.3141 | 1198410.7817 | 2627324.3071 | 1198266.8404
42 | 2627361.2912 | 1198268.8973 | 2627357.7346 | 1198268.983 | 2627351.806 | 1198268.2222 | 2627341.1382 | 1198266.3947 | 2627335.5135 | 1198265.7798 | 2627331.9999 | 1198265.7638
43 | 2627311.1302 | 1198147.3153 | 2627316.9905 | 1198144.7072 | 2627321.9335 | 1198142.8621 | 2627326.3313 | 1198142.015 | 2627332.7009 | 1198141.277 | 2627354.3134 | 1198139.9547
44 | 2627311.3141 | 1198410.7817 | 2627280.705 | 1198408.5854 | 2627248.9333 | 1198402.5264 | 2627235.089 | 1198399.3172 | 2627232.2245 | 1198398.3854
45 | 2627357.7236 | 1198139.746 | 2627354.3134 | 1198139.9547
46 | 2627227.6236 | 1198396.8888 | 2627232.2245 | 1198398.3854
47 | 2627044.9918 | 1198315.3546 | 2627044.0574 | 1198316.862
48 | 2627044.0574 | 1198316.862 | 2627042.3138 | 1198319.6749
49 | 2627035.6729 | 1198335.2738 | 2627038.7949 | 1198326.7995 | 2627041.3635 | 1198321.208 | 2627042.3138 | 1198319.6749
50 | 2627035.6729 | 1198335.2738 | 2627034.7551 | 1198337.765 | 2627034.507 | 1198338.3579
51 | 2627034.507 | 1198338.3579 | 2627031.676 | 1198345.1218 | 2627028.6883 | 1198350.7669 | 2627026.0164 | 1198354.8513
52 | 2627026.5396 | 1198394.9034 | 2627044.4744 | 1198407.9716
53 | 2627026.5396 | 1198394.9034 | 2627029.9651 | 1198393.4737 | 2627039.2628 | 1198391.7925 | 2627044.268 | 1198389.5917 | 2627048.498 | 1198387.0761 | 2627051.8849 | 1198384.0898 | 2627055.5895 | 1198379.8709 | 2627055.9773 | 1198379.2786
54 | 2627009.0235 | 1198376.8035 | 2627013.9244 | 1198370.7903
55 | 2627009.0235 | 1198376.8035 | 2627003.6336 | 1198357.2577
56 | 2627041.645 | 1198440.1981 | 2627064.1348 | 1198454.9677
57 | 2626996.6596 | 1198499.4923 | 2626979.3218 | 1198542.5646
58 | 2626988.4124 | 1198296.9338 | 2626990.312 | 1198299.5326
59 | 2626996.5338 | 1198331.5114 | 2626994.0563 | 1198311.8562 | 2626993.3918 | 1198307.2174 | 2626992.0398 | 1198303.0757 | 2626990.312 | 1198299.5326
60 | 2626988.4124 | 1198296.9338 | 2626985.568 | 1198297.8215 | 2626980.3617 | 1198300.6773 | 2626978.2191 | 1198302.9912 | 2626977.3654 | 1198304.8772 | 2626976.687 | 1198308.4094 | 2626976.4324 | 1198312.5105 | 2626976.0139 | 1198315.8327 | 2626976.0139 | 1198315.8327
61 | 2626996.5338 | 1198331.5114 | 2627003.6336 | 1198357.2577
62 | 2626996.5338 | 1198331.5114 | 2626986.3225 | 1198331.4654 | 2626970.1524 | 1198339.8359
63 | 2626935.0454 | 1198309.3098 | 2626944.3844 | 1198318.5918 | 2626947.3141 | 1198320.7395 | 2626950.3373 | 1198322.4095 | 2626954.3293 | 1198323.6949 | 2626961.4023 | 1198323.9602 | 2626966.3611 | 1198323.6268 | 2626970.2877 | 1198322.5327 | 2626973.2275 | 1198320.7561 | 2626974.874 | 1198318.6846 | 2626976.0139 | 1198315.8327
64 | 2626961.7529 | 1198344.1839 | 2626970.1524 | 1198339.8359
65 | 2626932.1032 | 1198306.3855 | 2626935.0454 | 1198309.3098
66 | 2627026.0164 | 1198354.8513 | 2627025.0845 | 1198356.2759 | 2627019.667 | 1198363.7444 | 2627013.9244 | 1198370.7903
67 | 2627060.3037 | 1198418.6686 | 2627049.476 | 1198411.6161 | 2627044.4744 | 1198407.9716
68 | 2627057.2575 | 1198377.323 | 2627055.9773 | 1198379.2786
69 | 2627063.7316 | 1198367.6677 | 2627062.3479 | 1198368.8732 | 2627060.952 | 1198371.0792 | 2627059.109 | 1198374.4949 | 2627057.2575 | 1198377.323
70 | 2627063.7316 | 1198367.6677 | 2627065.9368 | 1198366.6771 | 2627068.6426 | 1198366.1112 | 2627071.0258 | 1198366.1776 | 2627073.0638 | 1198366.776 | 2627075.1002 | 1198367.7524 | 2627087.5789 | 1198374.935 | 2627100.0158 | 1198381.228
71 | 2627100.0158 | 1198381.228 | 2627091.209 | 1198397.8581
72 | 2627100.0158 | 1198381.228 | 2627107.7041 | 1198385.1872 | 2627108.7945 | 1198385.7206
73 | 2627117.4295 | 1198389.9449 | 2627108.7945 | 1198385.7206
74 | 2627117.4295 | 1198389.9449 | 2627124.5821 | 1198393.448
75 | 2627117.4295 | 1198389.9449 | 2627107.9705 | 1198409.069
76 | 2627133.2897 | 1198396.9872 | 2627126.3647 | 1198394.3211 | 2627124.5821 | 1198393.448
77 | 2627227.6236 | 1198396.8888 | 2627226.3172 | 1198396.4639
78 | 2627212.8714 | 1198392.0901 | 2627226.3172 | 1198396.4639
79 | 2627133.2897 | 1198396.9872 | 2627150.2415 | 1198403.5172
80 | 2627133.2897 | 1198396.9872 | 2627126.0691 | 1198415.3527
81 | 2627150.2415 | 1198403.5172 | 2627161.1163 | 1198407.7062
82 | 2627126.0691 | 1198415.3527 | 2627125.5405 | 1198416.6973
83 | 2627172.8188 | 1198412.2141 | 2627161.1163 | 1198407.7062
84 | 2627122.574 | 1198424.2424 | 2627125.5405 | 1198416.6973
85 | 2627172.8188 | 1198412.2141 | 2627186.0544 | 1198417.3126
86 | 2627194.6186 | 1198420.6116 | 2627186.0544 | 1198417.3126
87 | 2627194.6186 | 1198420.6116 | 2627197.3422 | 1198417.8002 | 2627199.4554 | 1198415.2528 | 2627200.9842 | 1198412.3026 | 2627205.6901 | 1198397.2269 | 2627208.4749 | 1198392.6815 | 2627212.8714 | 1198392.0901 | 2627212.8714 | 1198392.0901
88 | 2627194.6186 | 1198420.6116 | 2627188.0667 | 1198437.9687
89 | 2627112.0249 | 1198452.357 | 2627097.5418 | 1198442.9235
90 | 2627112.0249 | 1198452.357 | 2627117.5037 | 1198455.9256 | 2627118.8158 | 1198458.7775 | 2627118.8158 | 1198458.7775
91 | 2627118.8158 | 1198458.7775 | 2627117.5728 | 1198462.5406 | 2627111.0017 | 1198472.2903
92 | 2627104.7395 | 1198481.5818 | 2627111.0017 | 1198472.2903
93 | 2627104.7395 | 1198481.5818 | 2627126.6569 | 1198496.2001 | 2627141.3198 | 1198505.2381
94 | 2627104.7395 | 1198481.5818 | 2627096.6992 | 1198476.3537 | 2627092.8059 | 1198473.7968
95 | 2627078.1709 | 1198464.1856 | 2627064.1348 | 1198454.9677
96 | 2627092.8059 | 1198473.7968 | 2627078.1709 | 1198464.1856
97 | 2627141.3198 | 1198505.2381 | 2627147.4956 | 1198495.3837
98 | 2627166.6774 | 1198464.7764 | 2627147.4956 | 1198495.3837
99 | 2627166.6774 | 1198464.7764 | 2627170.8649 | 1198458.0945

## bus_geodata
| x | y | coords
0 | 2626899.5297 | 1198431.6954
1 | 2626920.3672 | 1198442.6813
2 | 2626943.0201 | 1198454.6243
3 | 2626953.2514 | 1198460.0185
4 | 2626963.6964 | 1198465.5253
5 | 2626957.051 | 1198473.4775
6 | 2626977.5464 | 1198447.1888
7 | 2626904.7631 | 1198467.4412
8 | 2626916.3679 | 1198474.1395
9 | 2626928.0264 | 1198480.6094
10 | 2626940.119 | 1198491.3999
11 | 2626952.3832 | 1198479.0657
12 | 2626921.5346 | 1198554.5544
13 | 2626933.2754 | 1198555.2817
14 | 2626941.5783 | 1198555.7568
15 | 2626942.4469 | 1198555.8065
16 | 2626978.1899 | 1198557.8519
17 | 2626995.4495 | 1198409.8603
18 | 2627002.9635 | 1198465.4715
19 | 2626968.3404 | 1198400.4336
20 | 2627002.1884 | 1198393.3116
21 | 2627006.9625 | 1198417.4211
22 | 2627031.0101 | 1198486.6256
23 | 2627002.9417 | 1198391.4618
24 | 2627023.9046 | 1198428.5475
25 | 2626966.4625 | 1198482.5328
26 | 2627060.536 | 1198516.7357
27 | 2626966.9691 | 1198483.0202
28 | 2626992.3163 | 1198497.3868
29 | 2626993.9642 | 1198498.1857
30 | 2627153.1248 | 1198270.5976
31 | 2627168.4894 | 1198208.963
32 | 2627057.7041 | 1198297.2536
33 | 2627052.9596 | 1198301.9613
34 | 2627324.3071 | 1198266.8404
35 | 2627331.9999 | 1198265.7638
36 | 2627311.1302 | 1198147.3153
37 | 2627311.3141 | 1198410.7817
38 | 2627361.2912 | 1198268.8973
39 | 2627354.3134 | 1198139.9547
40 | 2627232.2245 | 1198398.3854
41 | 2627044.9918 | 1198315.3546
42 | 2627044.0574 | 1198316.862
43 | 2627042.3138 | 1198319.6749
44 | 2627035.6729 | 1198335.2738
45 | 2627357.7236 | 1198139.746
46 | 2627034.507 | 1198338.3579
47 | 2627075.0831 | 1198542.1378
48 | 2627021.7052 | 1198562.9325
49 | 2627026.5396 | 1198394.9034
50 | 2627009.0235 | 1198376.8035
51 | 2627041.645 | 1198440.1981
52 | 2626979.3218 | 1198542.5646
53 | 2626996.6596 | 1198499.4923
54 | 2626990.312 | 1198299.5326
55 | 2626988.4124 | 1198296.9338
56 | 2626996.5338 | 1198331.5114
57 | 2626976.0139 | 1198315.8327
58 | 2627003.6336 | 1198357.2577
59 | 2626970.1524 | 1198339.8359
60 | 2626935.0454 | 1198309.3098
61 | 2626961.7529 | 1198344.1839
62 | 2626932.1032 | 1198306.3855
63 | 2627013.9244 | 1198370.7903
64 | 2627026.0164 | 1198354.8513
65 | 2627044.4744 | 1198407.9716
66 | 2627055.9773 | 1198379.2786
67 | 2627057.2575 | 1198377.323
68 | 2627063.7316 | 1198367.6677
69 | 2627100.0158 | 1198381.228
70 | 2627091.209 | 1198397.8581
71 | 2627108.7945 | 1198385.7206
72 | 2627060.3037 | 1198418.6686
73 | 2627117.4295 | 1198389.9449
74 | 2627124.5821 | 1198393.448
75 | 2627107.9705 | 1198409.069
76 | 2627227.6236 | 1198396.8888
77 | 2627226.3172 | 1198396.4639
78 | 2627133.2897 | 1198396.9872
79 | 2627150.2415 | 1198403.5172
80 | 2627126.0691 | 1198415.3527
81 | 2627161.1163 | 1198407.7062
82 | 2627125.5405 | 1198416.6973
83 | 2627172.8188 | 1198412.2141
84 | 2627122.574 | 1198424.2424
85 | 2627186.0544 | 1198417.3126
86 | 2627194.6186 | 1198420.6116
87 | 2627212.8714 | 1198392.0901
88 | 2627188.0667 | 1198437.9687
89 | 2627097.5418 | 1198442.9235
90 | 2627112.0249 | 1198452.357
91 | 2627118.8158 | 1198458.7775
92 | 2627111.0017 | 1198472.2903
93 | 2627104.7395 | 1198481.5818
94 | 2627064.1348 | 1198454.9677
95 | 2627078.1709 | 1198464.1856
96 | 2627092.8059 | 1198473.7968
97 | 2627141.3198 | 1198505.2381
98 | 2627147.4956 | 1198495.3837
99 | 2627166.6774 | 1198464.7764
100 | 2627170.8649 | 1198458.0945
101 | 2627041.645 | 1198440.1981

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1