## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_903-10_1_3_node_9 | 0.4 | n |  | TRUE
1 | bus_LV_903-10_1_3_node_10 | 0.4 | n |  | TRUE
2 | bus_LV_903-10_1_3_node_11 | 0.4 | n |  | TRUE
3 | bus_LV_903-10_1_3_node_13 | 0.4 | n |  | TRUE
4 | bus_LV_903-10_1_3_node_21 | 0.4 | n |  | TRUE
5 | bus_LV_903-10_1_3_node_20 | 0.4 | n |  | TRUE
6 | bus_LV_903-10_1_3_node_14 | 0.4 | n |  | TRUE
7 | bus_LV_903-10_1_3_node_15 | 0.4 | n |  | TRUE
8 | bus_LV_903-10_1_3_node_16 | 0.4 | n |  | TRUE
9 | bus_LV_903-10_1_3_node_17 | 0.4 | n |  | TRUE
10 | bus_LV_903-10_1_3_node_18 | 0.4 | n |  | TRUE
11 | bus_LV_903-10_1_3_node_22 | 0.4 | n |  | TRUE
12 | bus_LV_903-10_1_3_node_90 | 0.4 | n |  | TRUE
13 | bus_LV_903-10_1_3_node_157 | 0.4 | n |  | TRUE
14 | bus_LV_903-10_1_3_node_158 | 0.4 | n |  | TRUE
15 | bus_LV_903-10_1_3_node_159 | 0.4 | n |  | TRUE
16 | bus_LV_903-10_1_3_node_160 | 0.4 | n |  | TRUE
17 | bus_LV_903-10_1_3_node_166 | 0.4 | n |  | TRUE
18 | bus_LV_903-10_1_3_node_164 | 0.4 | n |  | TRUE
19 | bus_LV_903-10_1_3_node_161 | 0.4 | n |  | TRUE
20 | bus_LV_903-10_1_3_node_162 | 0.4 | n |  | TRUE
21 | bus_LV_903-10_1_3_node_163 | 0.4 | n |  | TRUE
22 | bus_LV_903-10_1_3_node_165 | 0.4 | n |  | TRUE
23 | bus_LV_903-10_1_3_node_97 | 0.4 | n |  | TRUE
24 | bus_LV_903-10_1_3_node_45 | 0.4 | n |  | TRUE
25 | bus_LV_903-10_1_3_node_46 | 0.4 | n |  | TRUE
26 | bus_LV_903-10_1_3_node_47 | 0.4 | n |  | TRUE
27 | bus_LV_903-10_1_3_node_48 | 0.4 | n |  | TRUE
28 | bus_LV_903-10_1_3_node_49 | 0.4 | n |  | TRUE
29 | bus_LV_903-10_1_3_node_50 | 0.4 | n |  | TRUE
30 | bus_LV_903-10_1_3_node_83 | 0.4 | n |  | TRUE
31 | bus_LV_903-10_1_3_node_80 | 0.4 | n |  | TRUE
32 | bus_LV_903-10_1_3_node_51 | 0.4 | n |  | TRUE
33 | bus_LV_903-10_1_3_node_81 | 0.4 | n |  | TRUE
34 | bus_LV_903-10_1_3_node_63 | 0.4 | n |  | TRUE
35 | bus_LV_903-10_1_3_node_64 | 0.4 | n |  | TRUE
36 | bus_LV_903-10_1_3_node_65 | 0.4 | n |  | TRUE
37 | bus_LV_903-10_1_3_node_66 | 0.4 | n |  | TRUE
38 | bus_LV_903-10_1_3_node_82 | 0.4 | n |  | TRUE
39 | bus_LV_903-10_1_3_node_100 | 0.4 | n |  | TRUE
40 | bus_LV_903-10_1_3_node_91 | 0.4 | n |  | TRUE
41 | bus_LV_903-10_1_3_node_222 | 0.4 | n |  | TRUE
42 | bus_LV_903-10_1_3_node_219 | 0.4 | n |  | TRUE
43 | bus_LV_903-10_1_3_node_220 | 0.4 | n |  | TRUE
44 | bus_LV_903-10_1_3_node_221 | 0.4 | n |  | TRUE
45 | bus_LV_903-10_1_3_node_229 | 0.4 | n |  | TRUE
46 | bus_LV_903-10_1_3_node_94 | 0.4 | n |  | TRUE
47 | bus_LV_903-10_1_3_node_95 | 0.4 | n |  | TRUE
48 | bus_LV_903-10_1_3_node_96 | 0.4 | n |  | TRUE
49 | bus_LV_903-10_1_3_node_101 | 0.4 | n |  | TRUE
50 | bus_MV_0_node_17 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_903-10_1_3_load_9 | 0 | 0.0059329 | 0.0014869 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_903-10_1_3_load_10 | 1 | 0.015217 | 0.0038138 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_903-10_1_3_load_11 | 2 | 0.0083571 | 0.0020945 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_903-10_1_3_load_21 | 4 | 0.0046131 | 0.0011562 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_903-10_1_3_load_20 | 5 | 0.0016666 | 0.00041768 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_903-10_1_3_load_14 | 6 | 0.0012944 | 0.00032442 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_903-10_1_3_load_15 | 7 | 0.002588 | 0.0006486 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_903-10_1_3_load_22 | 11 | 0.0021668 | 0.00054304 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_903-10_1_3_load_157 | 13 | 0.00020625 | 5.1692e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_903-10_1_3_load_160 | 16 | 0.00085765 | 0.00021495 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_903-10_1_3_load_166 | 17 | 0.00023821 | 5.97e-05 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_903-10_1_3_load_164 | 18 | 0.00080502 | 0.00020176 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_903-10_1_3_load_161 | 19 | 0.000398 | 9.9749e-05 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_903-10_1_3_load_162 | 20 | 0.00015982 | 4.0056e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_903-10_1_3_load_163 | 21 | 0.00012057 | 3.0219e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_903-10_1_3_load_45 | 24 | 0.00058463 | 0.00014652 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_903-10_1_3_load_49 | 28 | 0.00060562 | 0.00015178 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_903-10_1_3_load_50 | 29 | 0.00020773 | 5.2063e-05 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_903-10_1_3_load_83 | 30 | 0.00020813 | 5.2162e-05 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_903-10_1_3_load_80 | 31 | 0.00022241 | 5.5741e-05 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_903-10_1_3_load_63 | 34 | 0.00063263 | 0.00015855 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_903-10_1_3_load_65 | 36 | 0.0001605 | 4.0225e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_903-10_1_3_load_82 | 38 | 0.0004059 | 0.00010173 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_903-10_1_3_load_100 | 39 | 0.00059317 | 0.00014866 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_903-10_1_3_load_222 | 41 | 0.00052964 | 0.00013274 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_903-10_1_3_load_229 | 45 | 0.00083754 | 0.00020991 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_903-10_1_3_load_94 | 46 | 0.00035405 | 8.8734e-05 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_903-10_1_3_load_95 | 47 | 0.00010217 | 2.5606e-05 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_903-10_1_3_load_101 | 49 | 0.00016291 | 4.083e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 9 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_903-10_1_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0020964 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_903-10_1_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.020096 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_903-10_1_3_line_2 | NAYY 4x150 SE | 2 | 3 | 0.0055658 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_903-10_1_3_line_3 | NAYY 4x150 SE | 3 | 4 | 0.0099901 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_903-10_1_3_line_4 | NAYY 4x150 SE | 3 | 5 | 0.035326 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_903-10_1_3_line_5 | NAYY 4x150 SE | 4 | 10 | 0.0027376 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_903-10_1_3_line_6 | NAYY 4x150 SE | 6 | 7 | 0.018829 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_903-10_1_3_line_7 | NAYY 4x150 SE | 6 | 8 | 0.0070231 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_903-10_1_3_line_8 | NAYY 4x150 SE | 7 | 9 | 0.018638 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_903-10_1_3_line_9 | NAYY 4x150 SE | 8 | 10 | 0.04404 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_903-10_1_3_line_10 | NAYY 4x150 SE | 9 | 11 | 0.030294 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_903-10_1_3_line_11 | NAYY 4x150 SE | 9 | 12 | 0.82469 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_903-10_1_3_line_12 | NAYY 4x150 SE | 12 | 40 | 0.33574 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_903-10_1_3_line_13 | NAYY 4x150 SE | 12 | 29 | 0.04303 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_903-10_1_3_line_14 | NAYY 4x150 SE | 13 | 14 | 0.0082722 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_903-10_1_3_line_15 | NAYY 4x150 SE | 14 | 15 | 0.084595 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_903-10_1_3_line_16 | NAYY 4x150 SE | 14 | 16 | 0.043732 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_903-10_1_3_line_17 | NAYY 4x150 SE | 15 | 17 | 0.046459 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_903-10_1_3_line_18 | NAYY 4x150 SE | 15 | 18 | 0.03787 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_903-10_1_3_line_19 | NAYY 4x150 SE | 18 | 20 | 0.013451 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_903-10_1_3_line_20 | NAYY 4x150 SE | 19 | 20 | 0.22372 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_903-10_1_3_line_21 | NAYY 4x150 SE | 19 | 21 | 0.037614 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_903-10_1_3_line_22 | NAYY 4x150 SE | 21 | 22 | 0.096205 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_903-10_1_3_line_23 | NAYY 4x150 SE | 22 | 23 | 0.17578 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_903-10_1_3_line_24 | NAYY 4x150 SE | 23 | 49 | 0.10136 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_903-10_1_3_line_25 | NAYY 4x150 SE | 23 | 48 | 0.15716 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_903-10_1_3_line_26 | NAYY 4x150 SE | 24 | 25 | 0.011252 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_903-10_1_3_line_27 | NAYY 4x150 SE | 24 | 26 | 0.0059435 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_903-10_1_3_line_28 | NAYY 4x150 SE | 25 | 27 | 0.028879 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_903-10_1_3_line_29 | NAYY 4x150 SE | 25 | 28 | 0.0099926 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_903-10_1_3_line_30 | NAYY 4x150 SE | 26 | 29 | 0.011368 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_903-10_1_3_line_31 | NAYY 4x150 SE | 27 | 30 | 0.017339 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_903-10_1_3_line_32 | NAYY 4x150 SE | 27 | 31 | 0.0067603 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_903-10_1_3_line_33 | NAYY 4x150 SE | 28 | 32 | 0.0058448 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_903-10_1_3_line_34 | NAYY 4x150 SE | 32 | 33 | 0.016577 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_903-10_1_3_line_35 | NAYY 4x150 SE | 33 | 38 | 0.12564 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_903-10_1_3_line_36 | NAYY 4x150 SE | 34 | 35 | 0.12617 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_903-10_1_3_line_37 | NAYY 4x150 SE | 35 | 36 | 0.085424 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_903-10_1_3_line_38 | NAYY 4x150 SE | 35 | 37 | 0.17122 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_903-10_1_3_line_39 | NAYY 4x150 SE | 36 | 38 | 0.1278 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_903-10_1_3_line_40 | NAYY 4x150 SE | 37 | 39 | 0.023132 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_903-10_1_3_line_41 | NAYY 4x150 SE | 39 | 49 | 0.01606 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_903-10_1_3_line_42 | NAYY 4x150 SE | 40 | 41 | 0.0084584 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_903-10_1_3_line_43 | NAYY 4x150 SE | 41 | 44 | 0.041599 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_903-10_1_3_line_44 | NAYY 4x150 SE | 42 | 43 | 0.012406 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_903-10_1_3_line_45 | NAYY 4x150 SE | 42 | 44 | 0.25952 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_903-10_1_3_line_46 | NAYY 4x150 SE | 43 | 45 | 0.00722 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_903-10_1_3_line_47 | NAYY 4x150 SE | 46 | 47 | 0.0056112 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_903-10_1_3_line_48 | NAYY 4x150 SE | 46 | 48 | 0.023304 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_903-10_1_3_trafo_17 | 0.25 MVA 20/0.4 kV | 50 | 9 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28 | x29 | y29 | x30 | y30 | x31 | y31 | x32 | y32 | x33 | y33 | x34 | y34 | x35 | y35
0 | 2623870.0145 | 1201791.5566 | 2623869.3284 | 1201793.5375
1 | 2623876.5919 | 1201772.5672 | 2623870.0145 | 1201791.5566
2 | 2623878.4136 | 1201767.308 | 2623876.5919 | 1201772.5672
3 | 2623878.4136 | 1201767.308 | 2623881.4801 | 1201757.8002
4 | 2623878.4136 | 1201767.308 | 2623843.2526 | 1201770.7179
5 | 2623882.3204 | 1201755.1947 | 2623881.4801 | 1201757.8002
6 | 2623931.0713 | 1201767.9705 | 2623934.466 | 1201770.7781 | 2623945.7385 | 1201779.7764
7 | 2623925.6594 | 1201763.4945 | 2623931.0713 | 1201767.9705
8 | 2623960.3046 | 1201791.4039 | 2623945.7385 | 1201779.7764
9 | 2623882.3204 | 1201755.1947 | 2623910.1874 | 1201759.6417 | 2623925.6594 | 1201763.4945
10 | 2623960.3046 | 1201791.4039 | 2623960.6582 | 1201805.7465 | 2623960.2766 | 1201809.8138 | 2623959.7423 | 1201812.113 | 2623958.8459 | 1201813.588 | 2623957.6555 | 1201814.3947 | 2623956.0254 | 1201814.7551 | 2623951.346 | 1201814.514
11 | 2624759.7965 | 1201993.7006 | 2623960.3046 | 1201791.4039
12 | 2624759.7965 | 1201993.7006 | 2624755.4918 | 1202002.2764 | 2624753.7178 | 1202009.8288 | 2624753.13 | 1202019.4538 | 2624753.9728 | 1202027.2838 | 2624756.7464 | 1202035.6443 | 2624764.9835 | 1202049.6416 | 2624826.0017 | 1202141.2779 | 2624825.4347 | 1202144.0437 | 2624825.4576 | 1202145.8671 | 2624825.4852 | 1202192.4038 | 2624784.7771 | 1202216.9041 | 2624746.0795 | 1202244.8038 | 2624731.197 | 1202257.1269
13 | 2624759.7965 | 1201993.7006 | 2624769.6674 | 1201978.8889 | 2624777.2791 | 1201969.3374 | 2624786.0275 | 1201959.6986
14 | 2625185.9258 | 1201437.5288 | 2625188.0104 | 1201434.0913 | 2625190.1915 | 1201431.2545 | 2625190.754 | 1201430.884
15 | 2625185.9258 | 1201437.5288 | 2625189.32 | 1201441.2007 | 2625192.2255 | 1201443.4586 | 2625195.2866 | 1201444.8945 | 2625198.7529 | 1201445.9207 | 2625221.9587 | 1201447.6638 | 2625267.749 | 1201450.514
16 | 2625185.9258 | 1201437.5288 | 2625177.0208 | 1201439.3924 | 2625166.2994 | 1201440.648 | 2625142.4738 | 1201441.4727
17 | 2625267.749 | 1201450.514 | 2625278.5504 | 1201451.9382 | 2625285.6213 | 1201453.6579 | 2625289.404 | 1201455.4415 | 2625290.2807 | 1201456.8904 | 2625290.5165 | 1201458.7369 | 2625289.5401 | 1201461.0562 | 2625286.3826 | 1201464.4114 | 2625279.9246 | 1201468.9644 | 2625274.7626 | 1201471.1883
18 | 2625267.749 | 1201450.514 | 2625273.6654 | 1201449.872 | 2625278.2969 | 1201448.9021 | 2625283.1363 | 1201447.355 | 2625287.8054 | 1201446.5076 | 2625296.0979 | 1201445.5088 | 2625304.4349 | 1201444.7769 | 2625305.0626 | 1201444.6545
19 | 2625318.0807 | 1201441.3105 | 2625318.0807 | 1201441.3105 | 2625309.0661 | 1201443.8738 | 2625305.0626 | 1201444.6545
20 | 2625392.6408 | 1201608.1361 | 2625396.9271 | 1201605.0786 | 2625405.6431 | 1201599.279 | 2625412.9683 | 1201594.8188 | 2625415.4968 | 1201592.6172 | 2625417.1664 | 1201590.1563 | 2625418.2008 | 1201586.7254 | 2625418.6361 | 1201582.8029 | 2625418.5101 | 1201580.201 | 2625418.1346 | 1201577.22 | 2625416.7919 | 1201574.3905 | 2625414.9238 | 1201571.6255 | 2625409.8516 | 1201567.0792 | 2625396.687 | 1201557.6404 | 2625388.3069 | 1201552.4243 | 2625383.7854 | 1201548.9921 | 2625380.2002 | 1201545.5194 | 2625377.3686 | 1201542.0278 | 2625374.6999 | 1201537.8141 | 2625372.7246 | 1201533.4033 | 2625370.9838 | 1201527.515 | 2625368.6208 | 1201517.6106 | 2625363.2486 | 1201492.2407 | 2625361.4211 | 1201485.2624 | 2625358.9564 | 1201477.7923 | 2625356.9252 | 1201472.2029 | 2625354.7906 | 1201467.6469 | 2625350.8882 | 1201461.7827 | 2625347.9043 | 1201458.2904 | 2625343.3183 | 1201453.913 | 2625332.3932 | 1201445.7512 | 2625327.938 | 1201442.8197 | 2625325.8199 | 1201441.5545 | 2625323.7147 | 1201440.8452 | 2625321.119 | 1201440.9342 | 2625318.0807 | 1201441.3105
21 | 2625376.6074 | 1201635.3114 | 2625378.4582 | 1201633.2601 | 2625385.3121 | 1201623.2726 | 2625380.5719 | 1201617.605 | 2625382.3901 | 1201615.9784 | 2625389.0566 | 1201610.6927 | 2625392.6408 | 1201608.1361
22 | 2625376.2433 | 1201715.8516 | 2625362.7751 | 1201697.3288 | 2625358.7235 | 1201690.7969 | 2625351.3818 | 1201670.4325 | 2625355.2356 | 1201658.9981 | 2625376.6074 | 1201635.3114
23 | 2625338.8934 | 1201833.8581 | 2625358.9747 | 1201841.6251 | 2625381.8428 | 1201840.099 | 2625393.3321 | 1201826.3068 | 2625394.257 | 1201800.2631 | 2625377.7528 | 1201756.5247 | 2625376.2433 | 1201715.8516
24 | 2625338.8934 | 1201833.8581 | 2625310.5502 | 1201818.1407 | 2625292.9046 | 1201804.8588 | 2625278.3946 | 1201802.3184 | 2625261.6553 | 1201810.4522 | 2625248.6186 | 1201814.0453
25 | 2625338.8934 | 1201833.8581 | 2625350.715 | 1201831.429 | 2625368.4235 | 1201829.8476 | 2625373.5392 | 1201825.9004 | 2625374.4894 | 1201818.9673 | 2625372.3828 | 1201813.233 | 2625367.4887 | 1201809.7993 | 2625357.4874 | 1201808.2783 | 2625348.1413 | 1201804.8146 | 2625335.0057 | 1201799.4005 | 2625319.6626 | 1201788.7186 | 2625307.6675 | 1201776.3723 | 2625295.9519 | 1201764.5051 | 2625289.2238 | 1201755.6052 | 2625286.718 | 1201752.4595
26 | 2624799.5306 | 1201936.4559 | 2624797.4075 | 1201941.939 | 2624796.3559 | 1201947.2074
27 | 2624795.1926 | 1201953.0359 | 2624796.3559 | 1201947.2074
28 | 2624808.5736 | 1201910.2901 | 2624806.9751 | 1201910.3613 | 2624802.3402 | 1201921.4482 | 2624799.5306 | 1201936.4559
29 | 2624799.5306 | 1201936.4559 | 2624806.5815 | 1201941.0654 | 2624807.9163 | 1201941.8896
30 | 2624795.1926 | 1201953.0359 | 2624789.3475 | 1201956.8027 | 2624786.7284 | 1201958.9263 | 2624786.0275 | 1201959.6986
31 | 2624808.5736 | 1201910.2901 | 2624804.2649 | 1201899.5775 | 2624800.0386 | 1201895.6164
32 | 2624808.5736 | 1201910.2901 | 2624812.6077 | 1201910.129 | 2624814.9246 | 1201911.5595
33 | 2624812.8894 | 1201944.9604 | 2624807.9163 | 1201941.8896
34 | 2624828.9062 | 1201947.4615 | 2624826.6744 | 1201946.1293 | 2624823.6723 | 1201945.1607 | 2624819.8927 | 1201944.5114 | 2624816.453 | 1201944.4971 | 2624812.8894 | 1201944.9604
35 | 2624828.9062 | 1201947.4615 | 2624832.0024 | 1201949.5866 | 2624839.4838 | 1201956.7882 | 2624847.9229 | 1201964.2718 | 2624853.52 | 1201968.9087 | 2624860.0557 | 1201972.9269 | 2624865.1525 | 1201975.2605 | 2624871.7428 | 1201977.1222 | 2624881.1344 | 1201978.7955 | 2624892.517 | 1201979.3542 | 2624902.1303 | 1201978.9717 | 2624914.2756 | 1201977.2769 | 2624943.6824 | 1201971.3204
36 | 2625067.0506 | 1201862.8074 | 2625058.2951 | 1201849.1299 | 2625045.6522 | 1201833.2683 | 2625036.6615 | 1201819.3786 | 2625030.5441 | 1201809.9479 | 2625025.8514 | 1201803.7916 | 2625017.1156 | 1201792.649 | 2625009.4146 | 1201785.1682 | 2624998.9581 | 1201779.6438 | 2624987.3171 | 1201773.4473 | 2624983.2838 | 1201772.2549
37 | 2625067.0506 | 1201862.8074 | 2625067.2924 | 1201897.7498 | 2625066.1604 | 1201933.6091 | 2625065.1911 | 1201939.7307 | 2625063.6573 | 1201944.3601 | 2625061.9559 | 1201947.452
38 | 2625212.1357 | 1201802.8948 | 2625207.4745 | 1201801.9525 | 2625176.2374 | 1201804.6892 | 2625151.9342 | 1201805.4208 | 2625130.9002 | 1201808.7565 | 2625110.0143 | 1201816.6955 | 2625085.4062 | 1201830.2775 | 2625078.405 | 1201835.64 | 2625073.4531 | 1201840.4886 | 2625070.5812 | 1201844.7789 | 2625068.5429 | 1201849.9399 | 2625067.6522 | 1201855.4614 | 2625067.0506 | 1201862.8074
39 | 2625061.9559 | 1201947.452 | 2625061.2953 | 1201948.6526 | 2625056.3935 | 1201954.3129 | 2625050.531 | 1201960.3806 | 2625043.2798 | 1201965.5198 | 2625034.7754 | 1201970.0533 | 2625028.5875 | 1201972.0619 | 2625021.2169 | 1201972.9983 | 2625012.5736 | 1201972.5397 | 2625001.7737 | 1201970.9604 | 2624992.0776 | 1201969.3079 | 2624979.4939 | 1201968.4438 | 2624967.7287 | 1201968.3947 | 2624958.3813 | 1201968.8782 | 2624947.9411 | 1201970.4578 | 2624943.6824 | 1201971.3204
40 | 2625212.1357 | 1201802.8948 | 2625218.2188 | 1201804.1323 | 2625233.0094 | 1201812.3213 | 2625233.0268 | 1201812.3254
41 | 2625248.6186 | 1201814.0453 | 2625244.771 | 1201815.1057 | 2625233.0268 | 1201812.3254
42 | 2624731.197 | 1202257.1269 | 2624722.9044 | 1202258.7934
43 | 2624682.4781 | 1202268.3542 | 2624694.1215 | 1202264.5779 | 2624722.9044 | 1202258.7934
44 | 2624848.9498 | 1202444.5173 | 2624836.5342 | 1202443.7097
45 | 2624682.4781 | 1202268.3542 | 2624694.3712 | 1202274.1397 | 2624706.232 | 1202276.6789 | 2624720.1987 | 1202277.8928 | 2624726.4394 | 1202279.564 | 2624732.5519 | 1202282.8021 | 2624739.2288 | 1202287.5879 | 2624753.3046 | 1202304.6999 | 2624776.9317 | 1202330.7452 | 2624779.9039 | 1202335.2044 | 2624781.821 | 1202340.8377 | 2624787.83 | 1202369.0447 | 2624796.5928 | 1202397.4632 | 2624802.0612 | 1202407.358 | 2624810.4998 | 1202416.6425 | 2624848.9498 | 1202444.5173
46 | 2624836.5342 | 1202443.7097 | 2624829.3625 | 1202442.7128
47 | 2625258.3176 | 1201749.386 | 2625263.9192 | 1201749.0568
48 | 2625286.718 | 1201752.4595 | 2625280.7218 | 1201750.4442 | 2625270.9043 | 1201748.6462 | 2625263.9192 | 1201749.0568

## bus_geodata
| x | y | coords
0 | 2623870.0145 | 1201791.5566
1 | 2623869.3284 | 1201793.5375
2 | 2623876.5919 | 1201772.5672
3 | 2623878.4136 | 1201767.308
4 | 2623881.4801 | 1201757.8002
5 | 2623843.2526 | 1201770.7179
6 | 2623931.0713 | 1201767.9705
7 | 2623945.7385 | 1201779.7764
8 | 2623925.6594 | 1201763.4945
9 | 2623960.3046 | 1201791.4039
10 | 2623882.3204 | 1201755.1947
11 | 2623951.346 | 1201814.514
12 | 2624759.7965 | 1201993.7006
13 | 2625190.754 | 1201430.884
14 | 2625185.9258 | 1201437.5288
15 | 2625267.749 | 1201450.514
16 | 2625142.4738 | 1201441.4727
17 | 2625274.7626 | 1201471.1883
18 | 2625305.0626 | 1201444.6545
19 | 2625392.6408 | 1201608.1361
20 | 2625318.0807 | 1201441.3105
21 | 2625376.6074 | 1201635.3114
22 | 2625376.2433 | 1201715.8516
23 | 2625338.8934 | 1201833.8581
24 | 2624796.3559 | 1201947.2074
25 | 2624799.5306 | 1201936.4559
26 | 2624795.1926 | 1201953.0359
27 | 2624808.5736 | 1201910.2901
28 | 2624807.9163 | 1201941.8896
29 | 2624786.0275 | 1201959.6986
30 | 2624800.0386 | 1201895.6164
31 | 2624814.9246 | 1201911.5595
32 | 2624812.8894 | 1201944.9604
33 | 2624828.9062 | 1201947.4615
34 | 2624983.2838 | 1201772.2549
35 | 2625067.0506 | 1201862.8074
36 | 2625061.9559 | 1201947.452
37 | 2625212.1357 | 1201802.8948
38 | 2624943.6824 | 1201971.3204
39 | 2625233.0268 | 1201812.3254
40 | 2624731.197 | 1202257.1269
41 | 2624722.9044 | 1202258.7934
42 | 2624848.9498 | 1202444.5173
43 | 2624836.5342 | 1202443.7097
44 | 2624682.4781 | 1202268.3542
45 | 2624829.3625 | 1202442.7128
46 | 2625263.9192 | 1201749.0568
47 | 2625258.3176 | 1201749.386
48 | 2625286.718 | 1201752.4595
49 | 2625248.6186 | 1201814.0453
50 | 2623960.3046 | 1201791.4039

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1