## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_903-11_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_903-11_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_903-11_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_903-11_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_903-11_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_903-11_0_3_node_73 | 0.4 | n |  | TRUE
6 | bus_LV_903-11_0_3_node_74 | 0.4 | n |  | TRUE
7 | bus_LV_903-11_0_3_node_71 | 0.4 | n |  | TRUE
8 | bus_LV_903-11_0_3_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_903-11_0_3_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_903-11_0_3_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_903-11_0_3_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_903-11_0_3_node_15 | 0.4 | n |  | TRUE
13 | bus_LV_903-11_0_3_node_20 | 0.4 | n |  | TRUE
14 | bus_LV_903-11_0_3_node_13 | 0.4 | n |  | TRUE
15 | bus_LV_903-11_0_3_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_903-11_0_3_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_903-11_0_3_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_903-11_0_3_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_903-11_0_3_node_14 | 0.4 | n |  | TRUE
20 | bus_LV_903-11_0_3_node_24 | 0.4 | n |  | TRUE
21 | bus_LV_903-11_0_3_node_25 | 0.4 | n |  | TRUE
22 | bus_LV_903-11_0_3_node_93 | 0.4 | n |  | TRUE
23 | bus_LV_903-11_0_3_node_92 | 0.4 | n |  | TRUE
24 | bus_LV_903-11_0_3_node_18 | 0.4 | n |  | TRUE
25 | bus_LV_903-11_0_3_node_16 | 0.4 | n |  | TRUE
26 | bus_LV_903-11_0_3_node_17 | 0.4 | n |  | TRUE
27 | bus_LV_903-11_0_3_node_19 | 0.4 | n |  | TRUE
28 | bus_LV_903-11_0_3_node_21 | 0.4 | n |  | TRUE
29 | bus_LV_903-11_0_3_node_22 | 0.4 | n |  | TRUE
30 | bus_LV_903-11_0_3_node_23 | 0.4 | n |  | TRUE
31 | bus_LV_903-11_0_3_node_36 | 0.4 | n |  | TRUE
32 | bus_LV_903-11_0_3_node_54 | 0.4 | n |  | TRUE
33 | bus_LV_903-11_0_3_node_35 | 0.4 | n |  | TRUE
34 | bus_LV_903-11_0_3_node_53 | 0.4 | n |  | TRUE
35 | bus_LV_903-11_0_3_node_26 | 0.4 | n |  | TRUE
36 | bus_LV_903-11_0_3_node_27 | 0.4 | n |  | TRUE
37 | bus_LV_903-11_0_3_node_28 | 0.4 | n |  | TRUE
38 | bus_LV_903-11_0_3_node_29 | 0.4 | n |  | TRUE
39 | bus_LV_903-11_0_3_node_30 | 0.4 | n |  | TRUE
40 | bus_LV_903-11_0_3_node_31 | 0.4 | n |  | TRUE
41 | bus_LV_903-11_0_3_node_32 | 0.4 | n |  | TRUE
42 | bus_LV_903-11_0_3_node_55 | 0.4 | n |  | TRUE
43 | bus_LV_903-11_0_3_node_48 | 0.4 | n |  | TRUE
44 | bus_LV_903-11_0_3_node_56 | 0.4 | n |  | TRUE
45 | bus_LV_903-11_0_3_node_46 | 0.4 | n |  | TRUE
46 | bus_LV_903-11_0_3_node_33 | 0.4 | n |  | TRUE
47 | bus_LV_903-11_0_3_node_85 | 0.4 | n |  | TRUE
48 | bus_LV_903-11_0_3_node_84 | 0.4 | n |  | TRUE
49 | bus_LV_903-11_0_3_node_37 | 0.4 | n |  | TRUE
50 | bus_LV_903-11_0_3_node_38 | 0.4 | n |  | TRUE
51 | bus_LV_903-11_0_3_node_39 | 0.4 | n |  | TRUE
52 | bus_LV_903-11_0_3_node_83 | 0.4 | n |  | TRUE
53 | bus_LV_903-11_0_3_node_86 | 0.4 | n |  | TRUE
54 | bus_LV_903-11_0_3_node_87 | 0.4 | n |  | TRUE
55 | bus_LV_903-11_0_3_node_88 | 0.4 | n |  | TRUE
56 | bus_LV_903-11_0_3_node_40 | 0.4 | n |  | TRUE
57 | bus_LV_903-11_0_3_node_76 | 0.4 | n |  | TRUE
58 | bus_LV_903-11_0_3_node_78 | 0.4 | n |  | TRUE
59 | bus_LV_903-11_0_3_node_75 | 0.4 | n |  | TRUE
60 | bus_LV_903-11_0_3_node_81 | 0.4 | n |  | TRUE
61 | bus_LV_903-11_0_3_node_79 | 0.4 | n |  | TRUE
62 | bus_LV_903-11_0_3_node_82 | 0.4 | n |  | TRUE
63 | bus_LV_903-11_0_3_node_77 | 0.4 | n |  | TRUE
64 | bus_LV_903-11_0_3_node_41 | 0.4 | n |  | TRUE
65 | bus_LV_903-11_0_3_node_42 | 0.4 | n |  | TRUE
66 | bus_LV_903-11_0_3_node_80 | 0.4 | n |  | TRUE
67 | bus_LV_903-11_0_3_node_51 | 0.4 | n |  | TRUE
68 | bus_LV_903-11_0_3_node_52 | 0.4 | n |  | TRUE
69 | bus_LV_903-11_0_3_node_57 | 0.4 | n |  | TRUE
70 | bus_LV_903-11_0_3_node_43 | 0.4 | n |  | TRUE
71 | bus_LV_903-11_0_3_node_44 | 0.4 | n |  | TRUE
72 | bus_LV_903-11_0_3_node_45 | 0.4 | n |  | TRUE
73 | bus_LV_903-11_0_3_node_47 | 0.4 | n |  | TRUE
74 | bus_LV_903-11_0_3_node_49 | 0.4 | n |  | TRUE
75 | bus_LV_903-11_0_3_node_50 | 0.4 | n |  | TRUE
76 | bus_LV_903-11_0_3_node_58 | 0.4 | n |  | TRUE
77 | bus_LV_903-11_0_3_node_59 | 0.4 | n |  | TRUE
78 | bus_LV_903-11_0_3_node_60 | 0.4 | n |  | TRUE
79 | bus_LV_903-11_0_3_node_61 | 0.4 | n |  | TRUE
80 | bus_LV_903-11_0_3_node_69 | 0.4 | n |  | TRUE
81 | bus_LV_903-11_0_3_node_70 | 0.4 | n |  | TRUE
82 | bus_LV_903-11_0_3_node_67 | 0.4 | n |  | TRUE
83 | bus_LV_903-11_0_3_node_62 | 0.4 | n |  | TRUE
84 | bus_LV_903-11_0_3_node_63 | 0.4 | n |  | TRUE
85 | bus_LV_903-11_0_3_node_64 | 0.4 | n |  | TRUE
86 | bus_LV_903-11_0_3_node_65 | 0.4 | n |  | TRUE
87 | bus_LV_903-11_0_3_node_66 | 0.4 | n |  | TRUE
88 | bus_LV_903-11_0_3_node_68 | 0.4 | n |  | TRUE
89 | bus_LV_903-11_0_3_node_89 | 0.4 | n |  | TRUE
90 | bus_LV_903-11_0_3_node_90 | 0.4 | n |  | TRUE
91 | bus_LV_903-11_0_3_node_91 | 0.4 | n |  | TRUE
92 | bus_MV_181_1_node_57 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_903-11_0_3_load_0 | 0 | 0.010868 | 0.0027238 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_903-11_0_3_load_1 | 1 | 0.0012679 | 0.00031776 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_903-11_0_3_load_2 | 2 | 0.00077251 | 0.00019361 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_903-11_0_3_load_4 | 4 | 0.00084085 | 0.00021074 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_903-11_0_3_load_74 | 6 | 0.0015576 | 0.00039038 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_903-11_0_3_load_71 | 7 | 0.00079515 | 0.00019928 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_903-11_0_3_load_5 | 8 | 0.0039419 | 0.00098794 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_903-11_0_3_load_6 | 9 | 0.0058718 | 0.0014716 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_903-11_0_3_load_7 | 10 | 0.0030257 | 0.00075831 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_903-11_0_3_load_8 | 11 | 0.0027929 | 0.00069997 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_903-11_0_3_load_20 | 13 | 0.0020997 | 0.00052624 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_903-11_0_3_load_13 | 14 | 0.0029538 | 0.00074029 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_903-11_0_3_load_9 | 15 | 0.0042342 | 0.0010612 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_903-11_0_3_load_10 | 16 | 0.0035031 | 0.00087795 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_903-11_0_3_load_11 | 17 | 0.0029408 | 0.00073704 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_903-11_0_3_load_12 | 18 | 0.0022251 | 0.00055766 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_903-11_0_3_load_24 | 20 | 0.0046592 | 0.0011677 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_903-11_0_3_load_25 | 21 | 0.0022085 | 0.00055351 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_903-11_0_3_load_93 | 22 | 0.0046551 | 0.0011667 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_903-11_0_3_load_92 | 23 | 0.0028196 | 0.00070666 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_903-11_0_3_load_16 | 25 | 0.0030626 | 0.00076756 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_903-11_0_3_load_17 | 26 | 0.006118 | 0.0015333 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_903-11_0_3_load_19 | 27 | 0.0052619 | 0.0013188 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_903-11_0_3_load_21 | 28 | 0.0029527 | 0.00074001 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_903-11_0_3_load_22 | 29 | 0.0018494 | 0.00046349 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_903-11_0_3_load_23 | 30 | 0.0025936 | 0.00065002 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_903-11_0_3_load_36 | 31 | 0.0024473 | 0.00061334 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_903-11_0_3_load_54 | 32 | 0.0021643 | 0.00054242 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_903-11_0_3_load_35 | 33 | 0.0022397 | 0.00056132 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_903-11_0_3_load_53 | 34 | 0.0028145 | 0.00070538 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_903-11_0_3_load_26 | 35 | 0.0019603 | 0.00049129 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_903-11_0_3_load_27 | 36 | 0.0019823 | 0.00049681 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_903-11_0_3_load_28 | 37 | 0.0019759 | 0.00049521 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_903-11_0_3_load_29 | 38 | 0.0024172 | 0.0006058 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_903-11_0_3_load_30 | 39 | 0.0067802 | 0.0016993 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_903-11_0_3_load_31 | 40 | 0.00038645 | 9.6853e-05 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_903-11_0_3_load_32 | 41 | 0.0026036 | 0.00065252 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_903-11_0_3_load_55 | 42 | 0.00041468 | 0.00010393 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_903-11_0_3_load_56 | 44 | 0.0024117 | 0.00060443 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_903-11_0_3_load_46 | 45 | 0.0032635 | 0.00081792 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_903-11_0_3_load_33 | 46 | 0.0083132 | 0.0020835 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_903-11_0_3_load_85 | 47 | 0.001522 | 0.00038145 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_903-11_0_3_load_84 | 48 | 0.00068341 | 0.00017128 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_903-11_0_3_load_38 | 50 | 0.0033965 | 0.00085125 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_903-11_0_3_load_39 | 51 | 0.0059708 | 0.0014964 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_903-11_0_3_load_83 | 52 | 0.00067436 | 0.00016901 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_903-11_0_3_load_86 | 53 | 0.0011785 | 0.00029537 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_903-11_0_3_load_87 | 54 | 0.00041242 | 0.00010336 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_903-11_0_3_load_88 | 55 | 0.0093033 | 0.0023316 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_903-11_0_3_load_76 | 57 | 0.0019053 | 0.00047751 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_903-11_0_3_load_78 | 58 | 0.001244 | 0.00031178 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_903-11_0_3_load_75 | 59 | 0.00081374 | 0.00020394 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_903-11_0_3_load_81 | 60 | 0.0025081 | 0.00062859 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_903-11_0_3_load_79 | 61 | 0.0034733 | 0.00087049 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_903-11_0_3_load_41 | 64 | 0.0021219 | 0.00053181 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_903-11_0_3_load_42 | 65 | 0.0059392 | 0.0014885 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_903-11_0_3_load_80 | 66 | 0.0004391 | 0.00011005 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_903-11_0_3_load_51 | 67 | 0.0012221 | 0.00030629 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_903-11_0_3_load_52 | 68 | 0.0020816 | 0.00052169 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_903-11_0_3_load_57 | 69 | 0.0018345 | 0.00045976 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_903-11_0_3_load_43 | 70 | 0.0037904 | 0.00094996 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_903-11_0_3_load_44 | 71 | 0.0024085 | 0.00060362 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_903-11_0_3_load_45 | 72 | 0.005904 | 0.0014797 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_903-11_0_3_load_49 | 74 | 0.0008207 | 0.00020569 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_903-11_0_3_load_50 | 75 | 0.0046375 | 0.0011623 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_903-11_0_3_load_58 | 76 | 0.0034568 | 0.00086637 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_903-11_0_3_load_59 | 77 | 0.0014833 | 0.00037174 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_903-11_0_3_load_60 | 78 | 0.0014387 | 0.00036058 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_903-11_0_3_load_70 | 81 | 0.002508 | 0.00062857 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_903-11_0_3_load_67 | 82 | 0.00076817 | 0.00019252 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_903-11_0_3_load_62 | 83 | 0.0017982 | 0.00045066 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_903-11_0_3_load_63 | 84 | 0.0011507 | 0.00028839 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_903-11_0_3_load_64 | 85 | 0.00062251 | 0.00015602 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_903-11_0_3_load_65 | 86 | 0.0019985 | 0.00050088 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_903-11_0_3_load_66 | 87 | 0.00059129 | 0.00014819 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_903-11_0_3_load_68 | 88 | 0.00065898 | 0.00016516 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_903-11_0_3_load_89 | 89 | 0.003274 | 0.00082055 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_903-11_0_3_load_90 | 90 | 0.0019544 | 0.00048982 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_903-11_0_3_load_91 | 91 | 0.0032563 | 0.0008161 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 70 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_903-11_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.032804 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_903-11_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.006355 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_903-11_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.038539 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_903-11_0_3_line_3 | NAYY 4x150 SE | 3 | 4 | 0.021675 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_903-11_0_3_line_4 | NAYY 4x150 SE | 4 | 5 | 0.015472 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_903-11_0_3_line_5 | NAYY 4x150 SE | 5 | 6 | 0.02014 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_903-11_0_3_line_6 | NAYY 4x150 SE | 5 | 7 | 0.015599 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_903-11_0_3_line_7 | NAYY 4x150 SE | 7 | 80 | 0.040774 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_903-11_0_3_line_8 | NAYY 4x150 SE | 8 | 9 | 0.043241 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_903-11_0_3_line_9 | NAYY 4x150 SE | 9 | 10 | 0.0065243 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_903-11_0_3_line_10 | NAYY 4x150 SE | 10 | 11 | 0.023636 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_903-11_0_3_line_11 | NAYY 4x150 SE | 11 | 12 | 0.020119 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_903-11_0_3_line_12 | NAYY 4x150 SE | 12 | 13 | 0.021798 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_903-11_0_3_line_13 | NAYY 4x150 SE | 12 | 14 | 0.0023662 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_903-11_0_3_line_14 | NAYY 4x150 SE | 13 | 24 | 0.0027664 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_903-11_0_3_line_15 | NAYY 4x150 SE | 14 | 17 | 0.025001 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_903-11_0_3_line_16 | NAYY 4x150 SE | 15 | 16 | 0.0035499 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_903-11_0_3_line_17 | NAYY 4x150 SE | 15 | 17 | 0.023345 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_903-11_0_3_line_18 | NAYY 4x150 SE | 16 | 18 | 0.039669 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_903-11_0_3_line_19 | NAYY 4x150 SE | 18 | 19 | 0.010765 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_903-11_0_3_line_20 | NAYY 4x150 SE | 19 | 20 | 0.014044 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_903-11_0_3_line_21 | NAYY 4x150 SE | 19 | 21 | 0.026558 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_903-11_0_3_line_22 | NAYY 4x150 SE | 20 | 22 | 0.024058 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_903-11_0_3_line_23 | NAYY 4x150 SE | 21 | 23 | 0.01833 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_903-11_0_3_line_24 | NAYY 4x150 SE | 24 | 28 | 0.016771 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_903-11_0_3_line_25 | NAYY 4x150 SE | 25 | 26 | 0.0078172 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_903-11_0_3_line_26 | NAYY 4x150 SE | 26 | 27 | 0.019368 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_903-11_0_3_line_27 | NAYY 4x150 SE | 27 | 29 | 0.019846 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_903-11_0_3_line_28 | NAYY 4x150 SE | 28 | 30 | 0.0023347 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_903-11_0_3_line_29 | NAYY 4x150 SE | 29 | 31 | 0.0028961 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_903-11_0_3_line_30 | NAYY 4x150 SE | 30 | 32 | 0.014872 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_903-11_0_3_line_31 | NAYY 4x150 SE | 31 | 33 | 0.0063554 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_903-11_0_3_line_32 | NAYY 4x150 SE | 32 | 34 | 0.0065587 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_903-11_0_3_line_33 | NAYY 4x150 SE | 33 | 49 | 0.03848 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_903-11_0_3_line_34 | NAYY 4x150 SE | 34 | 43 | 0.0091479 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_903-11_0_3_line_35 | NAYY 4x150 SE | 35 | 36 | 0.020656 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_903-11_0_3_line_36 | NAYY 4x150 SE | 35 | 37 | 8.3692e-05 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_903-11_0_3_line_37 | NAYY 4x150 SE | 36 | 38 | 0.0031207 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_903-11_0_3_line_38 | NAYY 4x150 SE | 37 | 39 | 0.00063973 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_903-11_0_3_line_39 | NAYY 4x150 SE | 38 | 40 | 0.003086 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_903-11_0_3_line_40 | NAYY 4x150 SE | 39 | 41 | 0.021241 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_903-11_0_3_line_41 | NAYY 4x150 SE | 40 | 42 | 0.007847 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_903-11_0_3_line_42 | NAYY 4x150 SE | 41 | 43 | 0.017995 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_903-11_0_3_line_43 | NAYY 4x150 SE | 42 | 44 | 0.026511 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_903-11_0_3_line_44 | NAYY 4x150 SE | 43 | 45 | 0.003227 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_903-11_0_3_line_45 | NAYY 4x150 SE | 45 | 71 | 0.016911 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_903-11_0_3_line_46 | NAYY 4x150 SE | 46 | 47 | 0.3758 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_903-11_0_3_line_47 | NAYY 4x150 SE | 47 | 48 | 0.030125 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_903-11_0_3_line_48 | NAYY 4x150 SE | 48 | 62 | 0.016851 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_903-11_0_3_line_49 | NAYY 4x150 SE | 49 | 50 | 0.020864 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_903-11_0_3_line_50 | NAYY 4x150 SE | 50 | 51 | 0.036891 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_903-11_0_3_line_51 | NAYY 4x150 SE | 50 | 52 | 0.099407 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_903-11_0_3_line_52 | NAYY 4x150 SE | 51 | 56 | 0.018869 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_903-11_0_3_line_53 | NAYY 4x150 SE | 52 | 53 | 0.044672 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_903-11_0_3_line_54 | NAYY 4x150 SE | 52 | 60 | 0.0023621 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_903-11_0_3_line_55 | NAYY 4x150 SE | 53 | 54 | 0.027404 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_903-11_0_3_line_56 | NAYY 4x150 SE | 54 | 55 | 0.014153 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_903-11_0_3_line_57 | NAYY 4x150 SE | 56 | 64 | 0.018939 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_903-11_0_3_line_58 | NAYY 4x150 SE | 56 | 65 | 0.037367 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_903-11_0_3_line_59 | NAYY 4x150 SE | 57 | 58 | 0.0016701 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_903-11_0_3_line_60 | NAYY 4x150 SE | 57 | 59 | 0.022504 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_903-11_0_3_line_61 | NAYY 4x150 SE | 58 | 60 | 0.01255 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_903-11_0_3_line_62 | NAYY 4x150 SE | 59 | 63 | 0.0081315 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_903-11_0_3_line_63 | NAYY 4x150 SE | 61 | 62 | 0.012089 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_903-11_0_3_line_64 | NAYY 4x150 SE | 61 | 63 | 0.012443 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_903-11_0_3_line_65 | NAYY 4x150 SE | 63 | 66 | 0.022136 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_903-11_0_3_line_66 | NAYY 4x150 SE | 64 | 67 | 0.0086766 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_903-11_0_3_line_67 | NAYY 4x150 SE | 65 | 68 | 0.013418 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_903-11_0_3_line_68 | NAYY 4x150 SE | 67 | 69 | 0.0098232 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_903-11_0_3_line_69 | NAYY 4x150 SE | 69 | 75 | 0.023287 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_903-11_0_3_line_70 | NAYY 4x150 SE | 70 | 71 | 0.0072055 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_903-11_0_3_line_71 | NAYY 4x150 SE | 70 | 72 | 0.019081 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
72 | LV_903-11_0_3_line_72 | NAYY 4x150 SE | 72 | 73 | 0.013418 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
73 | LV_903-11_0_3_line_73 | NAYY 4x150 SE | 73 | 74 | 0.0063826 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_903-11_0_3_line_74 | NAYY 4x150 SE | 73 | 75 | 0.016164 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_903-11_0_3_line_75 | NAYY 4x150 SE | 74 | 76 | 0.0057118 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_903-11_0_3_line_76 | NAYY 4x150 SE | 76 | 77 | 0.012769 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_903-11_0_3_line_77 | NAYY 4x150 SE | 77 | 78 | 0.034524 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_903-11_0_3_line_78 | NAYY 4x150 SE | 78 | 79 | 0.025327 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_903-11_0_3_line_79 | NAYY 4x150 SE | 79 | 80 | 0.02576 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_903-11_0_3_line_80 | NAYY 4x150 SE | 79 | 81 | 0.011941 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_903-11_0_3_line_81 | NAYY 4x150 SE | 80 | 82 | 0.0070799 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_903-11_0_3_line_82 | NAYY 4x150 SE | 82 | 86 | 0.014551 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_903-11_0_3_line_83 | NAYY 4x150 SE | 83 | 84 | 0.0094653 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_903-11_0_3_line_84 | NAYY 4x150 SE | 83 | 85 | 0.0054836 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_903-11_0_3_line_85 | NAYY 4x150 SE | 84 | 86 | 0.015327 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_903-11_0_3_line_86 | NAYY 4x150 SE | 85 | 87 | 0.007342 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_903-11_0_3_line_87 | NAYY 4x150 SE | 87 | 88 | 0.011217 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_903-11_0_3_line_88 | NAYY 4x150 SE | 88 | 89 | 0.004105 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_903-11_0_3_line_89 | NAYY 4x150 SE | 89 | 90 | 0.020598 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_903-11_0_3_line_90 | NAYY 4x150 SE | 90 | 91 | 0.0029808 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_903-11_0_3_trafo_43 | 0.25 MVA 20/0.4 kV | 92 | 70 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2623126.8496 | 1202451.6451 | 2623105.5654 | 1202476.6068
1 | 2623126.8496 | 1202451.6451 | 2623130.9729 | 1202446.8094
2 | 2623080.5687 | 1202505.9396 | 2623093.2809 | 1202491.0138 | 2623105.5654 | 1202476.6068
3 | 2623080.5687 | 1202505.9396 | 2623076.5186 | 1202490.6378 | 2623074.7289 | 1202485.0723
4 | 2623061.4042 | 1202479.2623 | 2623069.2761 | 1202480.282 | 2623071.5861 | 1202481.1581 | 2623073.3754 | 1202482.8548 | 2623074.7289 | 1202485.0723
5 | 2623061.4042 | 1202479.2623 | 2623061.517 | 1202481.5862 | 2623060.3361 | 1202485.9062 | 2623058.5465 | 1202490.2017 | 2623055.1652 | 1202496.8368 | 2623054.4884 | 1202497.8688
6 | 2623061.4042 | 1202479.2623 | 2623058.9106 | 1202476.6735 | 2623055.1276 | 1202474.9802 | 2623047.5642 | 1202472.8423
7 | 2623008.2569 | 1202462.015 | 2623018.1245 | 1202464.521 | 2623047.5642 | 1202472.8423
8 | 2623163.2026 | 1202285.3369 | 2623138.6756 | 1202267.6111 | 2623132.2615 | 1202263.4174 | 2623126.9507 | 1202263.1967
9 | 2623126.9507 | 1202263.1967 | 2623126.9507 | 1202263.1967 | 2623123.8794 | 1202266.3421 | 2623123.8037 | 1202268.4689
10 | 2623119.8436 | 1202291.5966 | 2623123.427 | 1202279.0474 | 2623123.8037 | 1202268.4689
11 | 2623111.9686 | 1202310.0645 | 2623118.6674 | 1202295.7159 | 2623119.8436 | 1202291.5966
12 | 2623111.9686 | 1202310.0645 | 2623090.385 | 1202307.0118
13 | 2623111.9686 | 1202310.0645 | 2623114.296 | 1202310.4914
14 | 2623087.6459 | 1202306.6244 | 2623090.385 | 1202307.0118
15 | 2623114.296 | 1202310.4914 | 2623126.2724 | 1202312.6879 | 2623132.7319 | 1202314.9807 | 2623137.485 | 1202317.7117 | 2623137.9059 | 1202317.9607
16 | 2623157.9979 | 1202329.8468 | 2623161.0532 | 1202331.6543
17 | 2623157.9979 | 1202329.8468 | 2623137.9059 | 1202317.9607
18 | 2623161.0532 | 1202331.6543 | 2623175.052 | 1202339.9358 | 2623186.2439 | 1202348.3171 | 2623193.077 | 1202354.8034
19 | 2623200.8844 | 1202362.2147 | 2623193.077 | 1202354.8034
20 | 2623200.8844 | 1202362.2147 | 2623195.9733 | 1202366.876 | 2623190.9215 | 1202372.1083
21 | 2623200.8844 | 1202362.2147 | 2623221.2254 | 1202345.1393
22 | 2623174.4115 | 1202389.6004 | 2623178.5533 | 1202384.9184 | 2623190.9215 | 1202372.1083
23 | 2623235.2656 | 1202333.3555 | 2623228.7124 | 1202338.8543 | 2623221.2254 | 1202345.1393
24 | 2623087.6459 | 1202306.6244 | 2623083.7385 | 1202322.9336
25 | 2623038.1784 | 1202296.8372 | 2623045.8592 | 1202298.2908
26 | 2623019.1237 | 1202293.372 | 2623024.6997 | 1202294.2864 | 2623038.1784 | 1202296.8372
27 | 2623019.1237 | 1202293.372 | 2622999.539 | 1202290.1603
28 | 2623083.7385 | 1202322.9336 | 2623083.2605 | 1202324.9286 | 2623083.1403 | 1202325.1851
29 | 2622996.6811 | 1202289.6916 | 2622999.539 | 1202290.1603
30 | 2623083.1403 | 1202325.1851 | 2623078.1197 | 1202335.8926 | 2623075.9348 | 1202338.0151
31 | 2622990.4094 | 1202288.6631 | 2622996.6811 | 1202289.6916
32 | 2623071.2303 | 1202342.585 | 2623075.9348 | 1202338.0151
33 | 2622952.3819 | 1202282.9025 | 2622957.4334 | 1202283.2554 | 2622990.4094 | 1202288.6631
34 | 2623064.6686 | 1202348.959 | 2623071.2303 | 1202342.585
35 | 2623113.4327 | 1202384.9637 | 2623096.8154 | 1202372.6944
36 | 2623096.748 | 1202372.6447 | 2623096.8154 | 1202372.6944
37 | 2623115.9433 | 1202386.8174 | 2623113.4327 | 1202384.9637
38 | 2623096.2334 | 1202372.2647 | 2623096.748 | 1202372.6447
39 | 2623115.9433 | 1202386.8174 | 2623118.4259 | 1202388.6504
40 | 2623079.1454 | 1202359.6479 | 2623096.2334 | 1202372.2647
41 | 2623125.2889 | 1202391.9497 | 2623125.2889 | 1202391.9497 | 2623123.4704 | 1202391.8871 | 2623121.9282 | 1202391.2363 | 2623118.4259 | 1202388.6504
42 | 2623064.6686 | 1202348.959 | 2623079.1454 | 1202359.6479
43 | 2623141.0832 | 1202371.166 | 2623128.1785 | 1202390.5156 | 2623126.7366 | 1202391.4661 | 2623125.2889 | 1202391.9497
44 | 2623064.6686 | 1202348.959 | 2623062.29 | 1202351.1398
45 | 2623049.8251 | 1202362.5682 | 2623062.29 | 1202351.1398
46 | 2622780.3046 | 1202315.3644 | 2622447.8792 | 1202140.1008
47 | 2622803.5003 | 1202300.9049 | 2622801.2857 | 1202299.8568 | 2622798.7924 | 1202299.1247 | 2622797.4225 | 1202299.164 | 2622796.3483 | 1202299.5045 | 2622793.8369 | 1202301.5294 | 2622780.6818 | 1202314.9422 | 2622780.3046 | 1202315.3644
48 | 2622818.7032 | 1202308.1722 | 2622804.5064 | 1202301.381 | 2622803.5003 | 1202300.9049
49 | 2622952.3819 | 1202282.9025 | 2622951.6324 | 1202303.7528
50 | 2622951.6324 | 1202303.7528 | 2622951.4789 | 1202308.0239 | 2622951.3617 | 1202332.6481 | 2622951.4306 | 1202340.64
51 | 2622951.6324 | 1202303.7528 | 2622852.9488 | 1202291.7827
52 | 2622951.5935 | 1202359.5081 | 2622951.4306 | 1202340.64
53 | 2622852.9488 | 1202291.7827 | 2622840.1327 | 1202248.9881
54 | 2622852.9488 | 1202291.7827 | 2622852.0958 | 1202293.9854
55 | 2622840.1327 | 1202248.9881 | 2622842.8971 | 1202221.7236
56 | 2622842.8971 | 1202221.7236 | 2622843.0792 | 1202219.9279 | 2622843.9192 | 1202217.1741 | 2622845.0407 | 1202214.4435 | 2622847.2281 | 1202211.5503 | 2622849.4951 | 1202209.7579
57 | 2622951.5935 | 1202359.5081 | 2622956.3877 | 1202359.482 | 2622960.5793 | 1202359.8205 | 2622963.7497 | 1202360.5664 | 2622970.0676 | 1202362.7421
58 | 2622951.5935 | 1202359.5081 | 2622952.0135 | 1202396.8728
59 | 2622850.0319 | 1202306.0556 | 2622850.337 | 1202307.6975
60 | 2622840.9973 | 1202325.3121 | 2622843.3431 | 1202324.2416 | 2622849.351 | 1202319.2729 | 2622850.8139 | 1202316.7882 | 2622851.3463 | 1202314.8781 | 2622851.159 | 1202312.1203 | 2622850.337 | 1202307.6975
61 | 2622850.0319 | 1202306.0556 | 2622849.5483 | 1202303.4539 | 2622849.6187 | 1202300.9639 | 2622850.159 | 1202298.9871 | 2622852.0958 | 1202293.9854
62 | 2622833.1344 | 1202327.2932 | 2622839.9128 | 1202325.8071 | 2622840.9973 | 1202325.3121
63 | 2622818.7032 | 1202308.1722 | 2622818.7132 | 1202309.5396 | 2622819.1319 | 1202311.4867 | 2622820.1143 | 1202313.2803 | 2622824.6648 | 1202318.1778
64 | 2622833.1344 | 1202327.2932 | 2622824.6648 | 1202318.1778
65 | 2622833.1344 | 1202327.2932 | 2622833.6765 | 1202336.8116 | 2622835.2909 | 1202346.4675 | 2622836.0707 | 1202349.1692
66 | 2622970.0676 | 1202362.7421 | 2622978.2714 | 1202365.5672
67 | 2622952.1378 | 1202410.2897 | 2622952.1268 | 1202406.9584 | 2622952.0135 | 1202396.8728
68 | 2622987.5593 | 1202368.7657 | 2622978.2714 | 1202365.5672
69 | 2623008.6048 | 1202378.5583 | 2623008.5627 | 1202378.526 | 2623004.0762 | 1202375.6961 | 2622992.7728 | 1202370.561 | 2622987.5593 | 1202368.7657
70 | 2623044.514 | 1202367.4376 | 2623049.8251 | 1202362.5682
71 | 2623044.514 | 1202367.4376 | 2623030.4493 | 1202380.3328
72 | 2623020.5594 | 1202389.4003 | 2623030.4493 | 1202380.3328
73 | 2623020.5594 | 1202389.4003 | 2623015.7843 | 1202393.6355
74 | 2623020.5594 | 1202389.4003 | 2623016.2235 | 1202385.0257 | 2623012.2577 | 1202381.3529 | 2623008.6048 | 1202378.5583
75 | 2623011.5111 | 1202397.4255 | 2623015.7843 | 1202393.6355
76 | 2623011.5111 | 1202397.4255 | 2623011.5111 | 1202397.4255 | 2623010.9502 | 1202398.8241 | 2623010.3496 | 1202400.6561 | 2623009.7153 | 1202403.3329 | 2623009.07 | 1202406.8991 | 2623008.8975 | 1202409.8537
77 | 2623008.8975 | 1202409.8537 | 2623008.8337 | 1202410.9448 | 2623009.1531 | 1202414.9705 | 2623008.8811 | 1202420.4058 | 2623007.9657 | 1202424.9492 | 2623007.2496 | 1202427.1365 | 2623004.9535 | 1202430.5629 | 2623002.216 | 1202434.0209 | 2623000.3376 | 1202435.6813 | 2622996.9881 | 1202438.003 | 2622995.402 | 1202439.0437
78 | 2622982.5439 | 1202460.1153 | 2622983.205 | 1202456.3935 | 2622984.2363 | 1202453.3625 | 2622985.4011 | 1202451.2436 | 2622986.6486 | 1202449.3807 | 2622991.3702 | 1202442.4839 | 2622993.6696 | 1202440.1804 | 2622995.402 | 1202439.0437
79 | 2623008.2569 | 1202462.015 | 2623003.8238 | 1202461.1753 | 2622999.5948 | 1202460.6699 | 2622993.2422 | 1202460.3009 | 2622982.5439 | 1202460.1153
80 | 2622982.5439 | 1202460.1153 | 2622970.6044 | 1202459.9479
81 | 2623008.2569 | 1202462.015 | 2623012.1193 | 1202456.0814
82 | 2623012.1193 | 1202456.0814 | 2623020.0576 | 1202443.8861
83 | 2623034.1742 | 1202423.7361 | 2623034.0865 | 1202423.76 | 2623032.5687 | 1202424.6658 | 2623028.4189 | 1202431.041
84 | 2623034.1742 | 1202423.7361 | 2623035.5338 | 1202423.3654 | 2623039.6038 | 1202423.1786
85 | 2623028.4189 | 1202431.041 | 2623020.0576 | 1202443.8861
86 | 2623039.6038 | 1202423.1786 | 2623046.9381 | 1202422.8419
87 | 2623058.1434 | 1202422.3275 | 2623046.9381 | 1202422.8419
88 | 2623062.2459 | 1202422.2231 | 2623060.5587 | 1202422.2166 | 2623058.1434 | 1202422.3275
89 | 2623062.2459 | 1202422.2231 | 2623062.4078 | 1202422.2238 | 2623065.1536 | 1202422.5568 | 2623072.1748 | 1202425.1741 | 2623081.0225 | 1202430.202
90 | 2623081.0225 | 1202430.202 | 2623083.6141 | 1202431.6747

## bus_geodata
| x | y | coords
0 | 2623126.8496 | 1202451.6451
1 | 2623105.5654 | 1202476.6068
2 | 2623130.9729 | 1202446.8094
3 | 2623080.5687 | 1202505.9396
4 | 2623074.7289 | 1202485.0723
5 | 2623061.4042 | 1202479.2623
6 | 2623054.4884 | 1202497.8688
7 | 2623047.5642 | 1202472.8423
8 | 2623163.2026 | 1202285.3369
9 | 2623126.9507 | 1202263.1967
10 | 2623123.8037 | 1202268.4689
11 | 2623119.8436 | 1202291.5966
12 | 2623111.9686 | 1202310.0645
13 | 2623090.385 | 1202307.0118
14 | 2623114.296 | 1202310.4914
15 | 2623157.9979 | 1202329.8468
16 | 2623161.0532 | 1202331.6543
17 | 2623137.9059 | 1202317.9607
18 | 2623193.077 | 1202354.8034
19 | 2623200.8844 | 1202362.2147
20 | 2623190.9215 | 1202372.1083
21 | 2623221.2254 | 1202345.1393
22 | 2623174.4115 | 1202389.6004
23 | 2623235.2656 | 1202333.3555
24 | 2623087.6459 | 1202306.6244
25 | 2623045.8592 | 1202298.2908
26 | 2623038.1784 | 1202296.8372
27 | 2623019.1237 | 1202293.372
28 | 2623083.7385 | 1202322.9336
29 | 2622999.539 | 1202290.1603
30 | 2623083.1403 | 1202325.1851
31 | 2622996.6811 | 1202289.6916
32 | 2623075.9348 | 1202338.0151
33 | 2622990.4094 | 1202288.6631
34 | 2623071.2303 | 1202342.585
35 | 2623096.8154 | 1202372.6944
36 | 2623113.4327 | 1202384.9637
37 | 2623096.748 | 1202372.6447
38 | 2623115.9433 | 1202386.8174
39 | 2623096.2334 | 1202372.2647
40 | 2623118.4259 | 1202388.6504
41 | 2623079.1454 | 1202359.6479
42 | 2623125.2889 | 1202391.9497
43 | 2623064.6686 | 1202348.959
44 | 2623141.0832 | 1202371.166
45 | 2623062.29 | 1202351.1398
46 | 2622447.8792 | 1202140.1008
47 | 2622780.3046 | 1202315.3644
48 | 2622803.5003 | 1202300.9049
49 | 2622952.3819 | 1202282.9025
50 | 2622951.6324 | 1202303.7528
51 | 2622951.4306 | 1202340.64
52 | 2622852.9488 | 1202291.7827
53 | 2622840.1327 | 1202248.9881
54 | 2622842.8971 | 1202221.7236
55 | 2622849.4951 | 1202209.7579
56 | 2622951.5935 | 1202359.5081
57 | 2622850.337 | 1202307.6975
58 | 2622850.0319 | 1202306.0556
59 | 2622840.9973 | 1202325.3121
60 | 2622852.0958 | 1202293.9854
61 | 2622824.6648 | 1202318.1778
62 | 2622818.7032 | 1202308.1722
63 | 2622833.1344 | 1202327.2932
64 | 2622970.0676 | 1202362.7421
65 | 2622952.0135 | 1202396.8728
66 | 2622836.0707 | 1202349.1692
67 | 2622978.2714 | 1202365.5672
68 | 2622952.1378 | 1202410.2897
69 | 2622987.5593 | 1202368.7657
70 | 2623044.514 | 1202367.4376
71 | 2623049.8251 | 1202362.5682
72 | 2623030.4493 | 1202380.3328
73 | 2623020.5594 | 1202389.4003
74 | 2623015.7843 | 1202393.6355
75 | 2623008.6048 | 1202378.5583
76 | 2623011.5111 | 1202397.4255
77 | 2623008.8975 | 1202409.8537
78 | 2622995.402 | 1202439.0437
79 | 2622982.5439 | 1202460.1153
80 | 2623008.2569 | 1202462.015
81 | 2622970.6044 | 1202459.9479
82 | 2623012.1193 | 1202456.0814
83 | 2623034.1742 | 1202423.7361
84 | 2623028.4189 | 1202431.041
85 | 2623039.6038 | 1202423.1786
86 | 2623020.0576 | 1202443.8861
87 | 2623046.9381 | 1202422.8419
88 | 2623058.1434 | 1202422.3275
89 | 2623062.2459 | 1202422.2231
90 | 2623081.0225 | 1202430.202
91 | 2623083.6141 | 1202431.6747
92 | 2623064.6686 | 1202348.959

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1