## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_903-15_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_903-15_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_903-15_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_903-15_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_903-15_0_2_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_903-15_0_2_node_82 | 0.4 | n |  | TRUE
6 | bus_LV_903-15_0_2_node_30 | 0.4 | n |  | TRUE
7 | bus_LV_903-15_0_2_node_84 | 0.4 | n |  | TRUE
8 | bus_LV_903-15_0_2_node_31 | 0.4 | n |  | TRUE
9 | bus_LV_903-15_0_2_node_29 | 0.4 | n |  | TRUE
10 | bus_LV_903-15_0_2_node_5 | 0.4 | n |  | TRUE
11 | bus_LV_903-15_0_2_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_903-15_0_2_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_903-15_0_2_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_903-15_0_2_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_903-15_0_2_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_903-15_0_2_node_8 | 0.4 | n |  | TRUE
17 | bus_LV_903-15_0_2_node_53 | 0.4 | n |  | TRUE
18 | bus_LV_903-15_0_2_node_55 | 0.4 | n |  | TRUE
19 | bus_LV_903-15_0_2_node_54 | 0.4 | n |  | TRUE
20 | bus_LV_903-15_0_2_node_21 | 0.4 | n |  | TRUE
21 | bus_LV_903-15_0_2_node_19 | 0.4 | n |  | TRUE
22 | bus_LV_903-15_0_2_node_78 | 0.4 | n |  | TRUE
23 | bus_LV_903-15_0_2_node_47 | 0.4 | n |  | TRUE
24 | bus_LV_903-15_0_2_node_97 | 0.4 | n |  | TRUE
25 | bus_LV_903-15_0_2_node_79 | 0.4 | n |  | TRUE
26 | bus_LV_903-15_0_2_node_76 | 0.4 | n |  | TRUE
27 | bus_LV_903-15_0_2_node_12 | 0.4 | n |  | TRUE
28 | bus_LV_903-15_0_2_node_13 | 0.4 | n |  | TRUE
29 | bus_LV_903-15_0_2_node_14 | 0.4 | n |  | TRUE
30 | bus_LV_903-15_0_2_node_15 | 0.4 | n |  | TRUE
31 | bus_LV_903-15_0_2_node_16 | 0.4 | n |  | TRUE
32 | bus_LV_903-15_0_2_node_17 | 0.4 | n |  | TRUE
33 | bus_LV_903-15_0_2_node_18 | 0.4 | n |  | TRUE
34 | bus_LV_903-15_0_2_node_88 | 0.4 | n |  | TRUE
35 | bus_LV_903-15_0_2_node_85 | 0.4 | n |  | TRUE
36 | bus_LV_903-15_0_2_node_28 | 0.4 | n |  | TRUE
37 | bus_LV_903-15_0_2_node_83 | 0.4 | n |  | TRUE
38 | bus_LV_903-15_0_2_node_86 | 0.4 | n |  | TRUE
39 | bus_LV_903-15_0_2_node_33 | 0.4 | n |  | TRUE
40 | bus_LV_903-15_0_2_node_34 | 0.4 | n |  | TRUE
41 | bus_LV_903-15_0_2_node_20 | 0.4 | n |  | TRUE
42 | bus_LV_903-15_0_2_node_22 | 0.4 | n |  | TRUE
43 | bus_LV_903-15_0_2_node_23 | 0.4 | n |  | TRUE
44 | bus_LV_903-15_0_2_node_71 | 0.4 | n |  | TRUE
45 | bus_LV_903-15_0_2_node_80 | 0.4 | n |  | TRUE
46 | bus_LV_903-15_0_2_node_70 | 0.4 | n |  | TRUE
47 | bus_LV_903-15_0_2_node_81 | 0.4 | n |  | TRUE
48 | bus_LV_903-15_0_2_node_24 | 0.4 | n |  | TRUE
49 | bus_LV_903-15_0_2_node_25 | 0.4 | n |  | TRUE
50 | bus_LV_903-15_0_2_node_94 | 0.4 | n |  | TRUE
51 | bus_LV_903-15_0_2_node_27 | 0.4 | n |  | TRUE
52 | bus_LV_903-15_0_2_node_95 | 0.4 | n |  | TRUE
53 | bus_LV_903-15_0_2_node_26 | 0.4 | n |  | TRUE
54 | bus_LV_903-15_0_2_node_32 | 0.4 | n |  | TRUE
55 | bus_LV_903-15_0_2_node_75 | 0.4 | n |  | TRUE
56 | bus_LV_903-15_0_2_node_73 | 0.4 | n |  | TRUE
57 | bus_LV_903-15_0_2_node_49 | 0.4 | n |  | TRUE
58 | bus_LV_903-15_0_2_node_51 | 0.4 | n |  | TRUE
59 | bus_LV_903-15_0_2_node_35 | 0.4 | n |  | TRUE
60 | bus_LV_903-15_0_2_node_37 | 0.4 | n |  | TRUE
61 | bus_LV_903-15_0_2_node_38 | 0.4 | n |  | TRUE
62 | bus_LV_903-15_0_2_node_99 | 0.4 | n |  | TRUE
63 | bus_LV_903-15_0_2_node_98 | 0.4 | n |  | TRUE
64 | bus_LV_903-15_0_2_node_91 | 0.4 | n |  | TRUE
65 | bus_LV_903-15_0_2_node_44 | 0.4 | n |  | TRUE
66 | bus_LV_903-15_0_2_node_43 | 0.4 | n |  | TRUE
67 | bus_LV_903-15_0_2_node_42 | 0.4 | n |  | TRUE
68 | bus_LV_903-15_0_2_node_40 | 0.4 | n |  | TRUE
69 | bus_LV_903-15_0_2_node_41 | 0.4 | n |  | TRUE
70 | bus_LV_903-15_0_2_node_45 | 0.4 | n |  | TRUE
71 | bus_LV_903-15_0_2_node_46 | 0.4 | n |  | TRUE
72 | bus_LV_903-15_0_2_node_48 | 0.4 | n |  | TRUE
73 | bus_LV_903-15_0_2_node_52 | 0.4 | n |  | TRUE
74 | bus_LV_903-15_0_2_node_50 | 0.4 | n |  | TRUE
75 | bus_LV_903-15_0_2_node_56 | 0.4 | n |  | TRUE
76 | bus_LV_903-15_0_2_node_57 | 0.4 | n |  | TRUE
77 | bus_LV_903-15_0_2_node_58 | 0.4 | n |  | TRUE
78 | bus_LV_903-15_0_2_node_59 | 0.4 | n |  | TRUE
79 | bus_LV_903-15_0_2_node_60 | 0.4 | n |  | TRUE
80 | bus_LV_903-15_0_2_node_61 | 0.4 | n |  | TRUE
81 | bus_LV_903-15_0_2_node_93 | 0.4 | n |  | TRUE
82 | bus_LV_903-15_0_2_node_74 | 0.4 | n |  | TRUE
83 | bus_LV_903-15_0_2_node_63 | 0.4 | n |  | TRUE
84 | bus_LV_903-15_0_2_node_68 | 0.4 | n |  | TRUE
85 | bus_LV_903-15_0_2_node_64 | 0.4 | n |  | TRUE
86 | bus_LV_903-15_0_2_node_92 | 0.4 | n |  | TRUE
87 | bus_LV_903-15_0_2_node_67 | 0.4 | n |  | TRUE
88 | bus_LV_903-15_0_2_node_77 | 0.4 | n |  | TRUE
89 | bus_LV_903-15_0_2_node_66 | 0.4 | n |  | TRUE
90 | bus_LV_903-15_0_2_node_65 | 0.4 | n |  | TRUE
91 | bus_LV_903-15_0_2_node_69 | 0.4 | n |  | TRUE
92 | bus_LV_903-15_0_2_node_72 | 0.4 | n |  | TRUE
93 | bus_LV_903-15_0_2_node_87 | 0.4 | n |  | TRUE
94 | bus_LV_903-15_0_2_node_89 | 0.4 | n |  | TRUE
95 | bus_LV_903-15_0_2_node_90 | 0.4 | n |  | TRUE
96 | bus_MV_181_1_node_72 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_903-15_0_2_load_0 | 0 | 0.012207 | 0.0030594 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_903-15_0_2_load_1 | 1 | 0.0021173 | 0.00053065 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_903-15_0_2_load_2 | 2 | 0.002173 | 0.0005446 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_903-15_0_2_load_3 | 3 | 0.0056965 | 0.0014277 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_903-15_0_2_load_4 | 4 | 0.0010068 | 0.00025232 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_903-15_0_2_load_82 | 5 | 0.0004489 | 0.00011251 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_903-15_0_2_load_84 | 7 | 0.00030307 | 7.5956e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_903-15_0_2_load_29 | 9 | 0.010025 | 0.0025124 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_903-15_0_2_load_5 | 10 | 0.0033252 | 0.00083336 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_903-15_0_2_load_9 | 13 | 0.0041211 | 0.0010328 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_903-15_0_2_load_11 | 15 | 0.0094117 | 0.0023588 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_903-15_0_2_load_55 | 18 | 0.0007495 | 0.00018784 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_903-15_0_2_load_54 | 19 | 0.004273 | 0.0010709 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_903-15_0_2_load_21 | 20 | 0.0017578 | 0.00044055 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_903-15_0_2_load_19 | 21 | 0.00096451 | 0.00024173 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_903-15_0_2_load_47 | 23 | 0.00018599 | 4.6613e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_903-15_0_2_load_97 | 24 | 0.00077811 | 0.00019501 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_903-15_0_2_load_79 | 25 | 0.0040267 | 0.0010092 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_903-15_0_2_load_76 | 26 | 0.00067735 | 0.00016976 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_903-15_0_2_load_12 | 27 | 0.0038006 | 0.00095253 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_903-15_0_2_load_16 | 31 | 0.0024232 | 0.00060732 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_903-15_0_2_load_17 | 32 | 0.0039342 | 0.00098601 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_903-15_0_2_load_18 | 33 | 0.0015789 | 0.00039572 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_903-15_0_2_load_88 | 34 | 0.0032627 | 0.00081771 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_903-15_0_2_load_85 | 35 | 0.0016854 | 0.00042239 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_903-15_0_2_load_28 | 36 | 0.0038152 | 0.00095618 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_903-15_0_2_load_83 | 37 | 0.00030688 | 7.6911e-05 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_903-15_0_2_load_86 | 38 | 0.00032436 | 8.1293e-05 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_903-15_0_2_load_33 | 39 | 0.00020369 | 5.1048e-05 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_903-15_0_2_load_34 | 40 | 0.000948 | 0.00023759 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_903-15_0_2_load_22 | 42 | 0.0008364 | 0.00020962 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_903-15_0_2_load_23 | 43 | 0.0013291 | 0.00033311 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_903-15_0_2_load_71 | 44 | 0.001934 | 0.0004847 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_903-15_0_2_load_80 | 45 | 0.004557 | 0.0011421 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_903-15_0_2_load_70 | 46 | 0.0027638 | 0.00069266 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_903-15_0_2_load_81 | 47 | 0.0020426 | 0.00051194 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_903-15_0_2_load_24 | 48 | 0.0072801 | 0.0018246 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_903-15_0_2_load_94 | 50 | 0.00032633 | 8.1786e-05 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_903-15_0_2_load_27 | 51 | 0.0012729 | 0.00031903 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_903-15_0_2_load_95 | 52 | 0.001276 | 0.00031979 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_903-15_0_2_load_75 | 55 | 0.0021726 | 0.0005445 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_903-15_0_2_load_73 | 56 | 0.0012211 | 0.00030603 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_903-15_0_2_load_35 | 59 | 0.0012892 | 0.00032311 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_903-15_0_2_load_99 | 62 | 0.0055802 | 0.0013985 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_903-15_0_2_load_98 | 63 | 0.00020987 | 5.2597e-05 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_903-15_0_2_load_44 | 65 | 0.00082782 | 0.00020747 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_903-15_0_2_load_42 | 67 | 0.00012846 | 3.2196e-05 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_903-15_0_2_load_40 | 68 | 8.8706e-05 | 2.2232e-05 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_903-15_0_2_load_41 | 69 | 0.00042144 | 0.00010562 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_903-15_0_2_load_45 | 70 | 0.00024783 | 6.2112e-05 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_903-15_0_2_load_48 | 72 | 0.00076805 | 0.00019249 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_903-15_0_2_load_50 | 74 | 0.00024455 | 6.129e-05 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_903-15_0_2_load_56 | 75 | 0.0032655 | 0.00081842 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_903-15_0_2_load_61 | 80 | 0.0065925 | 0.0016522 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_903-15_0_2_load_93 | 81 | 0.00072122 | 0.00018075 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_903-15_0_2_load_74 | 82 | 0.0026469 | 0.00066338 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_903-15_0_2_load_68 | 84 | 0.00038863 | 9.7399e-05 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_903-15_0_2_load_64 | 85 | 0.00039663 | 9.9404e-05 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_903-15_0_2_load_92 | 86 | 0.0016158 | 0.00040495 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_903-15_0_2_load_77 | 88 | 0.00034315 | 8.6001e-05 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_903-15_0_2_load_69 | 91 | 0.00068579 | 0.00017187 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_903-15_0_2_load_72 | 92 | 0.0039583 | 0.00099205 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_903-15_0_2_load_87 | 93 | 0.0014868 | 0.00037263 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_903-15_0_2_load_90 | 95 | 0.00025179 | 6.3104e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 9 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_903-15_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.027234 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_903-15_0_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.0049475 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_903-15_0_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.018973 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_903-15_0_2_line_3 | NAYY 4x150 SE | 2 | 4 | 0.010788 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_903-15_0_2_line_4 | NAYY 4x150 SE | 3 | 5 | 0.017317 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_903-15_0_2_line_5 | NAYY 4x150 SE | 4 | 6 | 0.0072021 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_903-15_0_2_line_6 | NAYY 4x150 SE | 5 | 7 | 0.00059681 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_903-15_0_2_line_7 | NAYY 4x150 SE | 6 | 8 | 0.022332 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_903-15_0_2_line_8 | NAYY 4x150 SE | 6 | 9 | 0.014325 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
9 | LV_903-15_0_2_line_9 | NAYY 4x150 SE | 7 | 37 | 0.001555 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_903-15_0_2_line_10 | NAYY 4x150 SE | 8 | 54 | 0.016118 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_903-15_0_2_line_11 | NAYY 4x150 SE | 8 | 25 | 0.017086 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_903-15_0_2_line_12 | NAYY 4x150 SE | 10 | 11 | 0.0082365 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_903-15_0_2_line_13 | NAYY 4x150 SE | 10 | 12 | 0.0082989 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_903-15_0_2_line_14 | NAYY 4x150 SE | 11 | 13 | 0.0096867 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_903-15_0_2_line_15 | NAYY 4x150 SE | 12 | 14 | 0.009732 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_903-15_0_2_line_16 | NAYY 4x150 SE | 12 | 15 | 0.009525 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_903-15_0_2_line_17 | NAYY 4x150 SE | 13 | 19 | 0.023469 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_903-15_0_2_line_18 | NAYY 4x150 SE | 14 | 20 | 0.044144 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_903-15_0_2_line_19 | NAYY 4x150 SE | 14 | 21 | 0.044864 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_903-15_0_2_line_20 | NAYY 4x150 SE | 15 | 22 | 0.048731 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_903-15_0_2_line_21 | NAYY 4x150 SE | 16 | 17 | 0.015471 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_903-15_0_2_line_22 | NAYY 4x150 SE | 16 | 18 | 0.17752 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_903-15_0_2_line_23 | NAYY 4x150 SE | 17 | 19 | 0.10525 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_903-15_0_2_line_24 | NAYY 4x150 SE | 17 | 23 | 0.001414 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_903-15_0_2_line_25 | NAYY 4x150 SE | 20 | 24 | 0.0088158 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_903-15_0_2_line_26 | NAYY 4x150 SE | 22 | 25 | 0.013271 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_903-15_0_2_line_27 | NAYY 4x150 SE | 22 | 26 | 0.020465 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_903-15_0_2_line_28 | NAYY 4x150 SE | 23 | 71 | 0.055151 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_903-15_0_2_line_29 | NAYY 4x150 SE | 26 | 88 | 0.015094 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_903-15_0_2_line_30 | NAYY 4x150 SE | 27 | 28 | 0.013391 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_903-15_0_2_line_31 | NAYY 4x150 SE | 27 | 29 | 0.01454 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_903-15_0_2_line_32 | NAYY 4x150 SE | 28 | 30 | 0.013765 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_903-15_0_2_line_33 | NAYY 4x150 SE | 28 | 31 | 0.063806 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_903-15_0_2_line_34 | NAYY 4x150 SE | 29 | 32 | 0.045135 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_903-15_0_2_line_35 | NAYY 4x150 SE | 29 | 33 | 0.0076474 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_903-15_0_2_line_36 | NAYY 4x150 SE | 30 | 34 | 0.066725 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_903-15_0_2_line_37 | NAYY 4x150 SE | 30 | 35 | 0.023919 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_903-15_0_2_line_38 | NAYY 4x150 SE | 32 | 36 | 0.01189 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_903-15_0_2_line_39 | NAYY 4x150 SE | 33 | 37 | 3.717e-05 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_903-15_0_2_line_40 | NAYY 4x150 SE | 35 | 38 | 0.021562 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_903-15_0_2_line_41 | NAYY 4x150 SE | 38 | 93 | 0.017538 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_903-15_0_2_line_42 | NAYY 4x150 SE | 39 | 40 | 0.0010471 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_903-15_0_2_line_43 | NAYY 4x150 SE | 40 | 57 | 0.025975 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_903-15_0_2_line_44 | NAYY 4x150 SE | 41 | 42 | 0.010135 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_903-15_0_2_line_45 | NAYY 4x150 SE | 41 | 43 | 0.012396 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_903-15_0_2_line_46 | NAYY 4x150 SE | 42 | 44 | 0.017767 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_903-15_0_2_line_47 | NAYY 4x150 SE | 43 | 45 | 0.016545 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_903-15_0_2_line_48 | NAYY 4x150 SE | 44 | 46 | 0.016516 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_903-15_0_2_line_49 | NAYY 4x150 SE | 45 | 47 | 0.013257 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_903-15_0_2_line_50 | NAYY 4x150 SE | 46 | 92 | 0.0053952 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_903-15_0_2_line_51 | NAYY 4x150 SE | 47 | 53 | 0.029028 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_903-15_0_2_line_52 | NAYY 4x150 SE | 48 | 49 | 0.026658 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_903-15_0_2_line_53 | NAYY 4x150 SE | 48 | 50 | 0.22194 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_903-15_0_2_line_54 | NAYY 4x150 SE | 49 | 51 | 0.0098995 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_903-15_0_2_line_55 | NAYY 4x150 SE | 50 | 52 | 0.16945 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_903-15_0_2_line_56 | NAYY 4x150 SE | 51 | 53 | 0.015602 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_903-15_0_2_line_57 | NAYY 4x150 SE | 54 | 55 | 0.012909 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_903-15_0_2_line_58 | NAYY 4x150 SE | 55 | 56 | 0.028653 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_903-15_0_2_line_59 | NAYY 4x150 SE | 56 | 82 | 0.0051769 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_903-15_0_2_line_60 | NAYY 4x150 SE | 57 | 58 | 0.024165 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_903-15_0_2_line_61 | NAYY 4x150 SE | 58 | 74 | 0.002769 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_903-15_0_2_line_62 | NAYY 4x150 SE | 59 | 60 | 0.030084 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_903-15_0_2_line_63 | NAYY 4x150 SE | 60 | 61 | 0.078613 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_903-15_0_2_line_64 | NAYY 4x150 SE | 61 | 65 | 0.017803 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_903-15_0_2_line_65 | NAYY 4x150 SE | 62 | 63 | 0.20492 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_903-15_0_2_line_66 | NAYY 4x150 SE | 62 | 64 | 0.18566 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_903-15_0_2_line_67 | NAYY 4x150 SE | 63 | 67 | 0.20642 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_903-15_0_2_line_68 | NAYY 4x150 SE | 64 | 95 | 0.0090787 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_903-15_0_2_line_69 | NAYY 4x150 SE | 65 | 66 | 0.066519 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_903-15_0_2_line_70 | NAYY 4x150 SE | 66 | 67 | 0.071385 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_903-15_0_2_line_71 | NAYY 4x150 SE | 66 | 69 | 0.10959 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_903-15_0_2_line_72 | NAYY 4x150 SE | 68 | 69 | 0.018196 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_903-15_0_2_line_73 | NAYY 4x150 SE | 70 | 71 | 0.069819 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_903-15_0_2_line_74 | NAYY 4x150 SE | 71 | 72 | 0.051458 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_903-15_0_2_line_75 | NAYY 4x150 SE | 72 | 73 | 0.0092247 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_903-15_0_2_line_76 | NAYY 4x150 SE | 73 | 74 | 0.01446 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_903-15_0_2_line_77 | NAYY 4x150 SE | 75 | 76 | 0.010919 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_903-15_0_2_line_78 | NAYY 4x150 SE | 75 | 77 | 0.036755 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_903-15_0_2_line_79 | NAYY 4x150 SE | 76 | 78 | 0.039491 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_903-15_0_2_line_80 | NAYY 4x150 SE | 76 | 79 | 0.002442 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_903-15_0_2_line_81 | NAYY 4x150 SE | 77 | 80 | 0.015647 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_903-15_0_2_line_82 | NAYY 4x150 SE | 78 | 81 | 0.011647 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_903-15_0_2_line_83 | NAYY 4x150 SE | 79 | 82 | 0.030558 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_903-15_0_2_line_84 | NAYY 4x150 SE | 81 | 86 | 0.01522 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_903-15_0_2_line_85 | NAYY 4x150 SE | 83 | 84 | 0.030495 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_903-15_0_2_line_86 | NAYY 4x150 SE | 83 | 85 | 0.035422 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_903-15_0_2_line_87 | NAYY 4x150 SE | 84 | 91 | 0.00053374 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_903-15_0_2_line_88 | NAYY 4x150 SE | 85 | 90 | 0.026221 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_903-15_0_2_line_89 | NAYY 4x150 SE | 87 | 88 | 0.010117 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_903-15_0_2_line_90 | NAYY 4x150 SE | 87 | 89 | 0.019309 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_903-15_0_2_line_91 | NAYY 4x150 SE | 89 | 92 | 0.012342 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_903-15_0_2_line_92 | NAYY 4x150 SE | 89 | 90 | 0.017996 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_903-15_0_2_line_93 | NAYY 4x150 SE | 93 | 94 | 0.0069969 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
94 | LV_903-15_0_2_line_94 | NAYY 4x150 SE | 94 | 95 | 0.014177 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_903-15_0_2_trafo_29 | 0.25 MVA 20/0.4 kV | 96 | 9 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12
0 | 2622943.8697 | 1201595.4346 | 2622929.4183 | 1201592.8261 | 2622916.9939 | 1201591.0597
1 | 2622943.8697 | 1201595.4346 | 2622948.7386 | 1201596.3135
2 | 2622916.9939 | 1201591.0597 | 2622902.6585 | 1201589.0216 | 2622898.2085 | 1201588.3969
3 | 2622959.3544 | 1201598.2339 | 2622949.1772 | 1201596.3926 | 2622948.7386 | 1201596.3135
4 | 2622898.2085 | 1201588.3969 | 2622881.0601 | 1201585.9893
5 | 2622966.4415 | 1201599.5161 | 2622959.3544 | 1201598.2339
6 | 2622880.4691 | 1201585.9063 | 2622881.0601 | 1201585.9893
7 | 2622966.4415 | 1201599.5161 | 2622971.0659 | 1201600.2675 | 2622977.3431 | 1201600.6696 | 2622981.9864 | 1201600.4762 | 2622988.567 | 1201599.1674
8 | 2622966.4415 | 1201599.5161 | 2622965.4837 | 1201591.2634 | 2622963.1162 | 1201585.7314
9 | 2622878.9292 | 1201585.6901 | 2622880.4691 | 1201585.9063
10 | 2622982.2999 | 1201613.9737 | 2622983.3414 | 1201610.309 | 2622984.7089 | 1201606.968 | 2622988.567 | 1201599.1674
11 | 2622988.567 | 1201599.1674 | 2622993.1028 | 1201597.2393 | 2623003.6727 | 1201591.2318
12 | 2622998.0128 | 1201511.756 | 2622999.6616 | 1201519.8258
13 | 2623001.3298 | 1201527.9553 | 2623000.1269 | 1201522.1031 | 2622999.6616 | 1201519.8258
14 | 2622998.0128 | 1201511.756 | 2622993.2495 | 1201511.482 | 2622992.6319 | 1201506.6054
15 | 2623010.6726 | 1201530.7705 | 2623001.3298 | 1201527.9553
16 | 2623001.3298 | 1201527.9553 | 2623003.5665 | 1201537.214
17 | 2622992.6319 | 1201506.6054 | 2622990.6715 | 1201491.1276 | 2622989.3669 | 1201483.369
18 | 2623010.6726 | 1201530.7705 | 2623011.925 | 1201535.5891 | 2623015.0975 | 1201545.8068 | 2623017.5795 | 1201551.4973 | 2623019.8237 | 1201555.7193 | 2623022.1489 | 1201558.6632 | 2623027.7839 | 1201563.7988 | 2623032.5164 | 1201567.6503
19 | 2623010.6726 | 1201530.7705 | 2623018.5509 | 1201532.435 | 2623030.2955 | 1201534.1144 | 2623047.7486 | 1201535.6491 | 2623055.125 | 1201536.5149
20 | 2623015.1388 | 1201584.5504 | 2623007.9373 | 1201555.3067 | 2623003.5665 | 1201537.214
21 | 2622991.0935 | 1201387.2058 | 2622977.5675 | 1201379.6276
22 | 2622991.0935 | 1201387.2058 | 2623103.1266 | 1201249.5059
23 | 2622977.5675 | 1201379.6276 | 2622982.4666 | 1201394.132 | 2622980.6423 | 1201417.3155 | 2622982.9851 | 1201445.4176 | 2622989.3669 | 1201483.369
24 | 2622977.5675 | 1201379.6276 | 2622976.3335 | 1201378.9371
25 | 2623039.354 | 1201573.2151 | 2623032.5164 | 1201567.6503
26 | 2623015.1388 | 1201584.5504 | 2623007.9074 | 1201588.8249 | 2623003.6727 | 1201591.2318
27 | 2623015.1388 | 1201584.5504 | 2623022.0209 | 1201603.8234
28 | 2622924.1516 | 1201364.3256 | 2622933.0262 | 1201364.2707 | 2622938.8319 | 1201364.6487 | 2622944.339 | 1201365.5036 | 2622950.3844 | 1201366.883 | 2622957.0277 | 1201369.1542 | 2622966.4034 | 1201373.3813 | 2622976.3335 | 1201378.9371
29 | 2623022.0209 | 1201603.8234 | 2623027.0968 | 1201618.0384
30 | 2622843.5281 | 1201581.8475 | 2622856.8602 | 1201583.0998
31 | 2622871.3193 | 1201584.6217 | 2622863.6359 | 1201583.7363 | 2622856.8602 | 1201583.0998
32 | 2622843.5281 | 1201581.8475 | 2622839.6004 | 1201581.9992 | 2622835.3356 | 1201582.7389 | 2622830.1001 | 1201584.5644
33 | 2622843.5281 | 1201581.8475 | 2622844.4749 | 1201571.0674 | 2622844.4277 | 1201555.5032 | 2622843.8849 | 1201538.2028 | 2622841.9315 | 1201518.1871
34 | 2622871.3193 | 1201584.6217 | 2622870.4255 | 1201539.496
35 | 2622871.3193 | 1201584.6217 | 2622878.8924 | 1201585.6849
36 | 2622824.1951 | 1201650.2 | 2622826.7842 | 1201645.7963 | 2622828.1694 | 1201641.7883 | 2622828.8313 | 1201637.8553 | 2622829.9254 | 1201624.3855 | 2622830.3579 | 1201596.7721 | 2622829.7364 | 1201590.1105 | 2622830.1001 | 1201584.5644
37 | 2622830.1001 | 1201584.5644 | 2622825.4361 | 1201586.192 | 2622822.3493 | 1201587.3586 | 2622819.5868 | 1201589.3158 | 2622816.6466 | 1201591.9727 | 2622811.4083 | 1201598.4505
38 | 2622870.1901 | 1201527.6085 | 2622870.4255 | 1201539.496
39 | 2622878.8924 | 1201585.6849 | 2622878.9292 | 1201585.6901
40 | 2622811.4083 | 1201598.4505 | 2622804.1978 | 1201607.3671 | 2622798.0971 | 1201615.4101
41 | 2622787.4984 | 1201629.3833 | 2622798.0971 | 1201615.4101
42 | 2622832.0961 | 1201391.5614 | 2622831.8507 | 1201390.5435
43 | 2622840.0453 | 1201367.6617 | 2622831.0175 | 1201379.9339 | 2622830.7884 | 1201386.1365 | 2622831.8507 | 1201390.5435
44 | 2623093.8285 | 1201585.8095 | 2623091.4308 | 1201587.8459 | 2623086.769 | 1201593.0532
45 | 2623093.8285 | 1201585.8095 | 2623097.9365 | 1201584.2801 | 2623105.6634 | 1201582.1615
46 | 2623074.7148 | 1201606.1 | 2623079.3998 | 1201601.2846 | 2623086.769 | 1201593.0532
47 | 2623121.1548 | 1201576.6666 | 2623116.9682 | 1201579.0618 | 2623105.6634 | 1201582.1615
48 | 2623062.809 | 1201617.5084 | 2623066.372 | 1201614.6751 | 2623074.7148 | 1201606.1
49 | 2623121.1548 | 1201576.6666 | 2623126.4645 | 1201573.6288 | 2623132.1206 | 1201569.2713
50 | 2623062.809 | 1201617.5084 | 2623058.5861 | 1201620.8664
51 | 2623153.726 | 1201550.0213 | 2623144.8 | 1201559.5031 | 2623132.1206 | 1201569.2713
52 | 2623171.7942 | 1201532.237 | 2623177.457 | 1201528.2234 | 2623192.116 | 1201515.0363
53 | 2623192.116 | 1201515.0363 | 2623414.0338 | 1201511.6435
54 | 2623171.7942 | 1201532.237 | 2623170.3383 | 1201534.7994 | 2623165.095 | 1201539.3648
55 | 2623382.3324 | 1201678.1029 | 2623414.0338 | 1201511.6435
56 | 2623153.726 | 1201550.0213 | 2623157.975 | 1201545.513 | 2623164.2749 | 1201540.0788 | 2623165.095 | 1201539.3648
57 | 2622982.2999 | 1201613.9737 | 2622985.6159 | 1201622.4688 | 2622987.253 | 1201625.8868
58 | 2623003.6203 | 1201649.0736 | 2622999.1836 | 1201644.8109 | 2622994.5164 | 1201639.3567 | 2622990.6518 | 1201632.9828 | 2622987.253 | 1201625.8868
59 | 2623003.6203 | 1201649.0736 | 2623005.6894 | 1201651.0615 | 2623007.6151 | 1201652.333
60 | 2622840.0453 | 1201367.6617 | 2622846.3115 | 1201357.0687 | 2622852.3024 | 1201346.8193
61 | 2622852.3024 | 1201346.8193 | 2622854.3675 | 1201348.6639
62 | 2622266.6833 | 1201725.1645 | 2622274.5371 | 1201727.2726 | 2622279.5816 | 1201729.6483 | 2622283.7568 | 1201732.4876 | 2622286.8511 | 1201735.3895 | 2622289.8759 | 1201738.5581 | 2622291.5569 | 1201740.676
63 | 2622261.8527 | 1201650.9171 | 2622258.3541 | 1201652.3605 | 2622256.9803 | 1201653.4004 | 2622256.1378 | 1201654.8536 | 2622255.9528 | 1201655.4755 | 2622255.5366 | 1201656.8747 | 2622255.5347 | 1201659.4427 | 2622255.8512 | 1201662.3344 | 2622258.5234 | 1201676.4076 | 2622264.4121 | 1201705.5676 | 2622265.7073 | 1201713.3767 | 2622266.727 | 1201721.5961 | 2622266.6833 | 1201725.1645
64 | 2622261.8527 | 1201650.9171 | 2622256.5779 | 1201633.9135
65 | 2622595.2264 | 1201576.5805 | 2622462.1216 | 1201420.7725
66 | 2622765.6773 | 1201650.1661 | 2622595.2264 | 1201576.5805
67 | 2622462.1216 | 1201420.7725 | 2622277.8564 | 1201513.8093
68 | 2622765.6773 | 1201650.1661 | 2622772.481 | 1201644.1551
69 | 2622250.4682 | 1201570.82 | 2622246.0598 | 1201579.4972 | 2622243.9091 | 1201584.7921 | 2622243.5311 | 1201588.2148 | 2622243.6193 | 1201591.1056 | 2622244.7135 | 1201595.6677 | 2622256.5779 | 1201633.9135
70 | 2622250.4682 | 1201570.82 | 2622258.3405 | 1201570.0488 | 2622260.9835 | 1201569.4917 | 2622263.1482 | 1201568.6103 | 2622266.7576 | 1201566.0446 | 2622269.0963 | 1201563.4074 | 2622270.8399 | 1201559.1115 | 2622272.4404 | 1201550.3349 | 2622277.1425 | 1201517.9681 | 2622277.8564 | 1201513.8093
71 | 2622250.4682 | 1201570.82 | 2622143.3466 | 1201593.9424
72 | 2622128.0634 | 1201584.0673 | 2622143.3466 | 1201593.9424
73 | 2622924.1516 | 1201364.3256 | 2622918.3369 | 1201342.4359 | 2622912.461 | 1201320.6237 | 2622907.447 | 1201304.2734 | 2622904.9294 | 1201297.2318
74 | 2622924.1516 | 1201364.3256 | 2622896.1666 | 1201366.1751 | 2622889.0052 | 1201366.0366 | 2622881.7089 | 1201365.3528 | 2622876.5684 | 1201364.1769 | 2622873.2274 | 1201362.7141
75 | 2622865.1516 | 1201358.2968 | 2622870.2162 | 1201361.3956 | 2622873.2274 | 1201362.7141
76 | 2622865.1516 | 1201358.2968 | 2622854.3675 | 1201348.6639
77 | 2623031.7109 | 1201672.6067 | 2623035.0886 | 1201674.9543 | 2623036.1739 | 1201681.6732
78 | 2623031.1707 | 1201718.0628 | 2623031.6042 | 1201712.2057 | 2623033.1721 | 1201702.2952 | 2623035.118 | 1201691.0298 | 2623036.1739 | 1201681.6732
79 | 2623031.7109 | 1201672.6067 | 2623022.837 | 1201706.2354 | 2623021.982 | 1201710.8679
80 | 2623032.3593 | 1201670.2523 | 2623031.7109 | 1201672.6067
81 | 2623031.1707 | 1201718.0628 | 2623038.7165 | 1201723.0056 | 2623040.7103 | 1201723.0577 | 2623045.2282 | 1201722.0343
82 | 2623021.982 | 1201710.8679 | 2623015.4539 | 1201710.4315 | 2623010.3978 | 1201711.1347 | 2623010.3978 | 1201711.1347
83 | 2623032.3593 | 1201670.2523 | 2623025.0509 | 1201664.8768 | 2623012.3622 | 1201655.4674 | 2623007.6151 | 1201652.333
84 | 2622998.3879 | 1201719.8438 | 2623002.2236 | 1201715.2166 | 2623006.6715 | 1201712.3544 | 2623010.3978 | 1201711.1347
85 | 2623078.9135 | 1201693.8444 | 2623109.0441 | 1201689.1423
86 | 2623078.9135 | 1201693.8444 | 2623072.7496 | 1201673.9542 | 2623068.3879 | 1201664.2877 | 2623067.0761 | 1201663.0375 | 2623065.0087 | 1201662.3403
87 | 2623109.5715 | 1201689.06 | 2623109.0441 | 1201689.1423
88 | 2623050.633 | 1201646.3429 | 2623052.336 | 1201658.6562 | 2623053.3961 | 1201660.0721 | 2623054.8381 | 1201661.1116 | 2623065.0087 | 1201662.3403
89 | 2623030.4991 | 1201627.5663 | 2623027.0968 | 1201618.0384
90 | 2623049.0962 | 1201628.4161 | 2623047.511 | 1201627.0092 | 2623045.147 | 1201626.2552 | 2623039.8201 | 1201626.1236 | 2623030.4991 | 1201627.5663
91 | 2623049.0962 | 1201628.4161 | 2623050.3371 | 1201626.353 | 2623055.2416 | 1201623.5259 | 2623058.5861 | 1201620.8664
92 | 2623050.633 | 1201646.3429 | 2623049.0962 | 1201628.4161
93 | 2622783.27 | 1201634.958 | 2622787.4984 | 1201629.3833
94 | 2622783.27 | 1201634.958 | 2622776.4515 | 1201640.7909 | 2622773.4204 | 1201643.3252 | 2622772.481 | 1201644.1551

## bus_geodata
| x | y | coords
0 | 2622943.8697 | 1201595.4346
1 | 2622916.9939 | 1201591.0597
2 | 2622948.7386 | 1201596.3135
3 | 2622898.2085 | 1201588.3969
4 | 2622959.3544 | 1201598.2339
5 | 2622881.0601 | 1201585.9893
6 | 2622966.4415 | 1201599.5161
7 | 2622880.4691 | 1201585.9063
8 | 2622988.567 | 1201599.1674
9 | 2622963.1162 | 1201585.7314
10 | 2622999.6616 | 1201519.8258
11 | 2622998.0128 | 1201511.756
12 | 2623001.3298 | 1201527.9553
13 | 2622992.6319 | 1201506.6054
14 | 2623010.6726 | 1201530.7705
15 | 2623003.5665 | 1201537.214
16 | 2622991.0935 | 1201387.2058
17 | 2622977.5675 | 1201379.6276
18 | 2623103.1266 | 1201249.5059
19 | 2622989.3669 | 1201483.369
20 | 2623032.5164 | 1201567.6503
21 | 2623055.125 | 1201536.5149
22 | 2623015.1388 | 1201584.5504
23 | 2622976.3335 | 1201378.9371
24 | 2623039.354 | 1201573.2151
25 | 2623003.6727 | 1201591.2318
26 | 2623022.0209 | 1201603.8234
27 | 2622856.8602 | 1201583.0998
28 | 2622843.5281 | 1201581.8475
29 | 2622871.3193 | 1201584.6217
30 | 2622830.1001 | 1201584.5644
31 | 2622841.9315 | 1201518.1871
32 | 2622870.4255 | 1201539.496
33 | 2622878.8924 | 1201585.6849
34 | 2622824.1951 | 1201650.2
35 | 2622811.4083 | 1201598.4505
36 | 2622870.1901 | 1201527.6085
37 | 2622878.9292 | 1201585.6901
38 | 2622798.0971 | 1201615.4101
39 | 2622832.0961 | 1201391.5614
40 | 2622831.8507 | 1201390.5435
41 | 2623093.8285 | 1201585.8095
42 | 2623086.769 | 1201593.0532
43 | 2623105.6634 | 1201582.1615
44 | 2623074.7148 | 1201606.1
45 | 2623121.1548 | 1201576.6666
46 | 2623062.809 | 1201617.5084
47 | 2623132.1206 | 1201569.2713
48 | 2623192.116 | 1201515.0363
49 | 2623171.7942 | 1201532.237
50 | 2623414.0338 | 1201511.6435
51 | 2623165.095 | 1201539.3648
52 | 2623382.3324 | 1201678.1029
53 | 2623153.726 | 1201550.0213
54 | 2622982.2999 | 1201613.9737
55 | 2622987.253 | 1201625.8868
56 | 2623003.6203 | 1201649.0736
57 | 2622840.0453 | 1201367.6617
58 | 2622852.3024 | 1201346.8193
59 | 2622291.5569 | 1201740.676
60 | 2622266.6833 | 1201725.1645
61 | 2622261.8527 | 1201650.9171
62 | 2622595.2264 | 1201576.5805
63 | 2622462.1216 | 1201420.7725
64 | 2622765.6773 | 1201650.1661
65 | 2622256.5779 | 1201633.9135
66 | 2622250.4682 | 1201570.82
67 | 2622277.8564 | 1201513.8093
68 | 2622128.0634 | 1201584.0673
69 | 2622143.3466 | 1201593.9424
70 | 2622904.9294 | 1201297.2318
71 | 2622924.1516 | 1201364.3256
72 | 2622873.2274 | 1201362.7141
73 | 2622865.1516 | 1201358.2968
74 | 2622854.3675 | 1201348.6639
75 | 2623036.1739 | 1201681.6732
76 | 2623031.7109 | 1201672.6067
77 | 2623031.1707 | 1201718.0628
78 | 2623021.982 | 1201710.8679
79 | 2623032.3593 | 1201670.2523
80 | 2623045.2282 | 1201722.0343
81 | 2623010.3978 | 1201711.1347
82 | 2623007.6151 | 1201652.333
83 | 2623078.9135 | 1201693.8444
84 | 2623109.0441 | 1201689.1423
85 | 2623065.0087 | 1201662.3403
86 | 2622998.3879 | 1201719.8438
87 | 2623030.4991 | 1201627.5663
88 | 2623027.0968 | 1201618.0384
89 | 2623049.0962 | 1201628.4161
90 | 2623050.633 | 1201646.3429
91 | 2623109.5715 | 1201689.06
92 | 2623058.5861 | 1201620.8664
93 | 2622787.4984 | 1201629.3833
94 | 2622783.27 | 1201634.958
95 | 2622772.481 | 1201644.1551
96 | 2622966.4415 | 1201599.5161

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1