## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_903-2_1_4_node_4 | 0.4 | n |  | TRUE
1 | bus_LV_903-2_1_4_node_5 | 0.4 | n |  | TRUE
2 | bus_LV_903-2_1_4_node_6 | 0.4 | n |  | TRUE
3 | bus_LV_903-2_1_4_node_8 | 0.4 | n |  | TRUE
4 | bus_LV_903-2_1_4_node_7 | 0.4 | n |  | TRUE
5 | bus_LV_903-2_1_4_node_107 | 0.4 | n |  | TRUE
6 | bus_LV_903-2_1_4_node_92 | 0.4 | n |  | TRUE
7 | bus_LV_903-2_1_4_node_121 | 0.4 | n |  | TRUE
8 | bus_LV_903-2_1_4_node_205 | 0.4 | n |  | TRUE
9 | bus_LV_903-2_1_4_node_9 | 0.4 | n |  | TRUE
10 | bus_LV_903-2_1_4_node_10 | 0.4 | n |  | TRUE
11 | bus_LV_903-2_1_4_node_11 | 0.4 | n |  | TRUE
12 | bus_LV_903-2_1_4_node_12 | 0.4 | n |  | TRUE
13 | bus_LV_903-2_1_4_node_13 | 0.4 | n |  | TRUE
14 | bus_LV_903-2_1_4_node_14 | 0.4 | n |  | TRUE
15 | bus_LV_903-2_1_4_node_15 | 0.4 | n |  | TRUE
16 | bus_LV_903-2_1_4_node_16 | 0.4 | n |  | TRUE
17 | bus_LV_903-2_1_4_node_21 | 0.4 | n |  | TRUE
18 | bus_LV_903-2_1_4_node_17 | 0.4 | n |  | TRUE
19 | bus_LV_903-2_1_4_node_196 | 0.4 | n |  | TRUE
20 | bus_LV_903-2_1_4_node_20 | 0.4 | n |  | TRUE
21 | bus_LV_903-2_1_4_node_25 | 0.4 | n |  | TRUE
22 | bus_LV_903-2_1_4_node_24 | 0.4 | n |  | TRUE
23 | bus_LV_903-2_1_4_node_152 | 0.4 | n |  | TRUE
24 | bus_LV_903-2_1_4_node_153 | 0.4 | n |  | TRUE
25 | bus_LV_903-2_1_4_node_184 | 0.4 | n |  | TRUE
26 | bus_LV_903-2_1_4_node_120 | 0.4 | n |  | TRUE
27 | bus_LV_903-2_1_4_node_185 | 0.4 | n |  | TRUE
28 | bus_LV_903-2_1_4_node_186 | 0.4 | n |  | TRUE
29 | bus_LV_903-2_1_4_node_190 | 0.4 | n |  | TRUE
30 | bus_LV_903-2_1_4_node_191 | 0.4 | n |  | TRUE
31 | bus_LV_903-2_1_4_node_187 | 0.4 | n |  | TRUE
32 | bus_LV_903-2_1_4_node_110 | 0.4 | n |  | TRUE
33 | bus_LV_903-2_1_4_node_118 | 0.4 | n |  | TRUE
34 | bus_LV_903-2_1_4_node_209 | 0.4 | n |  | TRUE
35 | bus_LV_903-2_1_4_node_188 | 0.4 | n |  | TRUE
36 | bus_LV_903-2_1_4_node_204 | 0.4 | n |  | TRUE
37 | bus_LV_903-2_1_4_node_189 | 0.4 | n |  | TRUE
38 | bus_LV_903-2_1_4_node_111 | 0.4 | n |  | TRUE
39 | bus_LV_903-2_1_4_node_119 | 0.4 | n |  | TRUE
40 | bus_LV_903-2_1_4_node_106 | 0.4 | n |  | TRUE
41 | bus_LV_903-2_1_4_node_202 | 0.4 | n |  | TRUE
42 | bus_LV_903-2_1_4_node_192 | 0.4 | n |  | TRUE
43 | bus_LV_903-2_1_4_node_193 | 0.4 | n |  | TRUE
44 | bus_LV_903-2_1_4_node_194 | 0.4 | n |  | TRUE
45 | bus_LV_903-2_1_4_node_195 | 0.4 | n |  | TRUE
46 | bus_LV_903-2_1_4_node_207 | 0.4 | n |  | TRUE
47 | bus_LV_903-2_1_4_node_197 | 0.4 | n |  | TRUE
48 | bus_LV_903-2_1_4_node_198 | 0.4 | n |  | TRUE
49 | bus_LV_903-2_1_4_node_124 | 0.4 | n |  | TRUE
50 | bus_LV_903-2_1_4_node_199 | 0.4 | n |  | TRUE
51 | bus_LV_903-2_1_4_node_200 | 0.4 | n |  | TRUE
52 | bus_LV_903-2_1_4_node_201 | 0.4 | n |  | TRUE
53 | bus_LV_903-2_1_4_node_203 | 0.4 | n |  | TRUE
54 | bus_LV_903-2_1_4_node_206 | 0.4 | n |  | TRUE
55 | bus_LV_903-2_1_4_node_208 | 0.4 | n |  | TRUE
56 | bus_LV_903-2_1_4_node_89 | 0.4 | n |  | TRUE
57 | bus_LV_903-2_1_4_node_90 | 0.4 | n |  | TRUE
58 | bus_LV_903-2_1_4_node_101 | 0.4 | n |  | TRUE
59 | bus_LV_903-2_1_4_node_102 | 0.4 | n |  | TRUE
60 | bus_LV_903-2_1_4_node_103 | 0.4 | n |  | TRUE
61 | bus_LV_903-2_1_4_node_104 | 0.4 | n |  | TRUE
62 | bus_LV_903-2_1_4_node_122 | 0.4 | n |  | TRUE
63 | bus_LV_903-2_1_4_node_123 | 0.4 | n |  | TRUE
64 | bus_MV_0_node_111 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_903-2_1_4_load_4 | 0 | 0.0011571 | 0.00029 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_903-2_1_4_load_5 | 1 | 0.00013352 | 3.3462e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_903-2_1_4_load_121 | 7 | 0.00049787 | 0.00012478 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_903-2_1_4_load_205 | 8 | 0.0014447 | 0.00036208 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_903-2_1_4_load_9 | 9 | 0.00099364 | 0.00024903 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_903-2_1_4_load_11 | 11 | 0.0012373 | 0.00031011 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_903-2_1_4_load_12 | 12 | 0.00041871 | 0.00010494 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_903-2_1_4_load_13 | 13 | 0.0027821 | 0.00069727 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_903-2_1_4_load_14 | 14 | 0.00091911 | 0.00023035 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_903-2_1_4_load_15 | 15 | 0.00075709 | 0.00018974 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_903-2_1_4_load_16 | 16 | 0.0054815 | 0.0013738 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_903-2_1_4_load_17 | 18 | 0.00075782 | 0.00018993 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_903-2_1_4_load_196 | 19 | 0.00012557 | 3.147e-05 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_903-2_1_4_load_25 | 21 | 0.0012933 | 0.00032412 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_903-2_1_4_load_24 | 22 | 0.0072673 | 0.0018213 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_903-2_1_4_load_152 | 23 | 0.00020952 | 5.2511e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_903-2_1_4_load_153 | 24 | 0.00022825 | 5.7206e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_903-2_1_4_load_120 | 26 | 0.0010621 | 0.0002662 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_903-2_1_4_load_185 | 27 | 0.00038644 | 9.6851e-05 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_903-2_1_4_load_186 | 28 | 0.00031598 | 7.9192e-05 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_903-2_1_4_load_190 | 29 | 0.002284 | 0.00057243 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_903-2_1_4_load_191 | 30 | 0.00038388 | 9.621e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_903-2_1_4_load_209 | 34 | 0.0021053 | 0.00052764 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_903-2_1_4_load_188 | 35 | 0.00055375 | 0.00013878 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_903-2_1_4_load_189 | 37 | 0.0005574 | 0.0001397 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_903-2_1_4_load_119 | 39 | 0.00014013 | 3.5119e-05 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_903-2_1_4_load_202 | 41 | 0.0003725 | 9.3358e-05 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_903-2_1_4_load_192 | 42 | 0.00065384 | 0.00016387 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_903-2_1_4_load_194 | 44 | 0.001355 | 0.00033959 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_903-2_1_4_load_197 | 47 | 0.0011504 | 0.00028832 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_903-2_1_4_load_198 | 48 | 0.00060582 | 0.00015183 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_903-2_1_4_load_199 | 50 | 0.00035127 | 8.8037e-05 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_903-2_1_4_load_200 | 51 | 0.0017749 | 0.00044483 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_903-2_1_4_load_201 | 52 | 0.00093378 | 0.00023403 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_903-2_1_4_load_206 | 54 | 0.0005662 | 0.0001419 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_903-2_1_4_load_208 | 55 | 0.00045683 | 0.00011449 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_903-2_1_4_load_89 | 56 | 0.0005006 | 0.00012546 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_903-2_1_4_load_90 | 57 | 0.00024381 | 6.1105e-05 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_903-2_1_4_load_101 | 58 | 0.00023021 | 5.7697e-05 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_903-2_1_4_load_102 | 59 | 0.00050926 | 0.00012763 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_903-2_1_4_load_104 | 61 | 9.6917e-05 | 2.429e-05 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_903-2_1_4_load_123 | 63 | 0.0001246 | 3.1227e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 38 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_903-2_1_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0031342 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_903-2_1_4_line_1 | NAYY 4x150 SE | 1 | 2 | 0.021669 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_903-2_1_4_line_2 | NAYY 4x150 SE | 2 | 3 | 0.87764 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_903-2_1_4_line_3 | NAYY 4x150 SE | 3 | 8 | 0.24038 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_903-2_1_4_line_4 | NAYY 4x150 SE | 4 | 5 | 0.76095 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_903-2_1_4_line_5 | NAYY 4x150 SE | 4 | 6 | 0.044212 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_903-2_1_4_line_6 | NAYY 4x150 SE | 4 | 7 | 0.0054008 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_903-2_1_4_line_7 | NAYY 4x150 SE | 5 | 23 | 0.022481 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_903-2_1_4_line_8 | NAYY 4x150 SE | 5 | 40 | 0.20789 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_903-2_1_4_line_9 | NAYY 4x150 SE | 5 | 60 | 0.4471 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_903-2_1_4_line_10 | NAYY 4x150 SE | 6 | 57 | 0.43273 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_903-2_1_4_line_11 | NAYY 4x150 SE | 7 | 62 | 0.024026 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_903-2_1_4_line_12 | NAYY 4x150 SE | 8 | 53 | 0.32169 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_903-2_1_4_line_13 | NAYY 4x150 SE | 9 | 10 | 0.01472 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_903-2_1_4_line_14 | NAYY 4x150 SE | 9 | 11 | 0.0099217 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_903-2_1_4_line_15 | NAYY 4x150 SE | 10 | 12 | 0.030049 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_903-2_1_4_line_16 | NAYY 4x150 SE | 10 | 13 | 0.032962 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_903-2_1_4_line_17 | NAYY 4x150 SE | 11 | 14 | 0.0072922 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_903-2_1_4_line_18 | NAYY 4x150 SE | 12 | 15 | 0.023006 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_903-2_1_4_line_19 | NAYY 4x150 SE | 13 | 16 | 0.079958 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_903-2_1_4_line_20 | NAYY 4x150 SE | 14 | 17 | 0.11207 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_903-2_1_4_line_21 | NAYY 4x150 SE | 15 | 18 | 0.025399 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_903-2_1_4_line_22 | NAYY 4x150 SE | 16 | 19 | 0.38773 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_903-2_1_4_line_23 | NAYY 4x150 SE | 17 | 22 | 0.06166 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_903-2_1_4_line_24 | NAYY 4x150 SE | 17 | 20 | 0.078739 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_903-2_1_4_line_25 | NAYY 4x150 SE | 19 | 38 | 0.059991 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_903-2_1_4_line_26 | NAYY 4x150 SE | 19 | 47 | 0.0057139 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_903-2_1_4_line_27 | NAYY 4x150 SE | 20 | 21 | 0.024795 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_903-2_1_4_line_28 | NAYY 4x150 SE | 23 | 24 | 0.023351 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_903-2_1_4_line_29 | NAYY 4x150 SE | 25 | 26 | 0.025232 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_903-2_1_4_line_30 | NAYY 4x150 SE | 25 | 27 | 0.0040029 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_903-2_1_4_line_31 | NAYY 4x150 SE | 25 | 28 | 0.056894 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_903-2_1_4_line_32 | NAYY 4x150 SE | 27 | 29 | 0.02522 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_903-2_1_4_line_33 | NAYY 4x150 SE | 28 | 30 | 0.3592 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_903-2_1_4_line_34 | NAYY 4x150 SE | 29 | 40 | 0.41715 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_903-2_1_4_line_35 | NAYY 4x150 SE | 30 | 41 | 0.0019536 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_903-2_1_4_line_36 | NAYY 4x150 SE | 31 | 32 | 0.22104 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
37 | LV_903-2_1_4_line_37 | NAYY 4x150 SE | 31 | 33 | 0.022864 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_903-2_1_4_line_38 | NAYY 4x150 SE | 31 | 34 | 0.010435 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_903-2_1_4_line_39 | NAYY 4x150 SE | 32 | 38 | 0.14785 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
40 | LV_903-2_1_4_line_40 | NAYY 4x150 SE | 33 | 35 | 0.075629 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_903-2_1_4_line_41 | NAYY 4x150 SE | 35 | 36 | 0.12083 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_903-2_1_4_line_42 | NAYY 4x150 SE | 36 | 46 | 0.1281 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_903-2_1_4_line_43 | NAYY 4x150 SE | 36 | 53 | 0.24777 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_903-2_1_4_line_44 | NAYY 4x150 SE | 37 | 38 | 0.1694 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_903-2_1_4_line_45 | NAYY 4x150 SE | 37 | 39 | 0.018833 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_903-2_1_4_line_46 | NAYY 4x150 SE | 41 | 51 | 0.014555 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_903-2_1_4_line_47 | NAYY 4x150 SE | 42 | 43 | 0.020814 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_903-2_1_4_line_48 | NAYY 4x150 SE | 43 | 44 | 0.0066331 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_903-2_1_4_line_49 | NAYY 4x150 SE | 44 | 45 | 0.26377 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_903-2_1_4_line_50 | NAYY 4x150 SE | 45 | 46 | 0.069465 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_903-2_1_4_line_51 | NAYY 4x150 SE | 46 | 55 | 0.16657 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_903-2_1_4_line_52 | NAYY 4x150 SE | 46 | 54 | 0.06574 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_903-2_1_4_line_53 | NAYY 4x150 SE | 48 | 49 | 0.033926 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_903-2_1_4_line_54 | NAYY 4x150 SE | 49 | 63 | 0.29507 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_903-2_1_4_line_55 | NAYY 4x150 SE | 50 | 51 | 0.02931 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_903-2_1_4_line_56 | NAYY 4x150 SE | 50 | 52 | 0.0070009 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_903-2_1_4_line_57 | NAYY 4x150 SE | 52 | 53 | 0.14927 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_903-2_1_4_line_58 | NAYY 4x150 SE | 56 | 57 | 0.086825 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_903-2_1_4_line_59 | NAYY 4x150 SE | 58 | 59 | 0.0004043 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_903-2_1_4_line_60 | NAYY 4x150 SE | 58 | 60 | 0.036691 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_903-2_1_4_line_61 | NAYY 4x150 SE | 59 | 61 | 0.023881 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_903-2_1_4_line_62 | NAYY 4x150 SE | 62 | 63 | 0.0088764 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_903-2_1_4_trafo_111 | 0.25 MVA 20/0.4 kV | 64 | 38 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28 | x29 | y29 | x30 | y30 | x31 | y31 | x32 | y32 | x33 | y33 | x34 | y34 | x35 | y35 | x36 | y36 | x37 | y37 | x38 | y38 | x39 | y39 | x40 | y40 | x41 | y41 | x42 | y42 | x43 | y43 | x44 | y44 | x45 | y45 | x46 | y46 | x47 | y47 | x48 | y48 | x49 | y49 | x50 | y50 | x51 | y51 | x52 | y52 | x53 | y53 | x54 | y54 | x55 | y55 | x56 | y56 | x57 | y57 | x58 | y58 | x59 | y59 | x60 | y60 | x61 | y61 | x62 | y62 | x63 | y63 | x64 | y64 | x65 | y65 | x66 | y66 | x67 | y67 | x68 | y68 | x69 | y69 | x70 | y70 | x71 | y71 | x72 | y72 | x73 | y73 | x74 | y74 | x75 | y75 | x76 | y76 | x77 | y77 | x78 | y78
0 | 2621938.5315 | 1199291.7924 | 2621937.9367 | 1199294.8697
1 | 2621930.4109 | 1199314.9351 | 2621936.1299 | 1199304.2169 | 2621937.9367 | 1199294.8697
2 | 2621487.5034 | 1198865.9097 | 2621487.3071 | 1198871.8122 | 2621487.6527 | 1198877.3386 | 2621488.5575 | 1198881.9332 | 2621490.4618 | 1198888.0878 | 2621494.0191 | 1198896.1494 | 2621501.0459 | 1198909.1817 | 2621506.9526 | 1198918.1522 | 2621518.0538 | 1198933.0334 | 2621528.6879 | 1198948.6356 | 2621532.5022 | 1198955.0639 | 2621535.5922 | 1198961.7786 | 2621540.8806 | 1198977.5284 | 2621545.249 | 1198992.9079 | 2621546.5282 | 1198999.2604 | 2621547.011 | 1199004.7207 | 2621551.2023 | 1199016.4199 | 2621558.9562 | 1199049.4768 | 2621562.3038 | 1199060.7282 | 2621564.6597 | 1199066.1952 | 2621567.5655 | 1199071.1862 | 2621573.8704 | 1199079.4689 | 2621581.2706 | 1199088.0335 | 2621598.7766 | 1199093.8997 | 2621604.3412 | 1199096.3322 | 2621608.1929 | 1199098.6807 | 2621611.3951 | 1199101.6939 | 2621614.9643 | 1199106.3649 | 2621617.3997 | 1199110.8872 | 2621618.9719 | 1199116.1735 | 2621620.08 | 1199123.4815 | 2621620.3148 | 1199130.1526 | 2621619.8173 | 1199137.1768 | 2621618.6632 | 1199142.6201 | 2621617.2905 | 1199147.4622 | 2621614.9314 | 1199153.468 | 2621605.9366 | 1199169.0551 | 2621578.588 | 1199221.8852 | 2621570.5948 | 1199238.4654 | 2621568.572 | 1199244.139 | 2621567.1943 | 1199250.3707 | 2621566.8253 | 1199255.5834 | 2621567.35 | 1199259.9987 | 2621568.4364 | 1199264.872 | 2621570.9762 | 1199272.0961 | 2621579.3024 | 1199289.8691 | 2621583.2221 | 1199296.5646 | 2621587.2069 | 1199302.1042 | 2621591.4408 | 1199306.1105 | 2621597.4994 | 1199310.846 | 2621601.9826 | 1199313.2968 | 2621605.5041 | 1199314.2878 | 2621612.1928 | 1199315.2903 | 2621619.2718 | 1199315.7271 | 2621633.8211 | 1199315.7908 | 2621638.3036 | 1199316.3073 | 2621641.7566 | 1199317.3092 | 2621645.2919 | 1199318.7005 | 2621649.1345 | 1199321.4158 | 2621659.4191 | 1199330.2133 | 2621664.1349 | 1199333.5877 | 2621669.6647 | 1199337.1319 | 2621712.4452 | 1199360.2437 | 2621756.428 | 1199381.3146 | 2621759.2337 | 1199382.3365 | 2621762.0411 | 1199382.8914 | 2621764.7822 | 1199382.8125 | 2621769.7956 | 1199381.7857 | 2621787.3274 | 1199378.1696 | 2621806.646 | 1199373.1038 | 2621825.9257 | 1199366.2036 | 2621845.5683 | 1199357.9263 | 2621865.1366 | 1199349.1707 | 2621881.395 | 1199341.9372 | 2621890.2599 | 1199337.0447 | 2621896.671 | 1199332.7436 | 2621903.052 | 1199328.3312 | 2621910.3919 | 1199324.0446 | 2621930.4109 | 1199314.9351
3 | 2621487.5034 | 1198865.9097 | 2621490.4281 | 1198855.0476 | 2621501.2264 | 1198827.0823 | 2621505.7251 | 1198818.9496 | 2621508.9037 | 1198813.7249 | 2621511.8346 | 1198809.6554 | 2621515.0521 | 1198806.343 | 2621518.1673 | 1198803.9417 | 2621528.8338 | 1198797.8656 | 2621546.2747 | 1198788.2009 | 2621559.8074 | 1198781.2569 | 2621564.4038 | 1198779.8616 | 2621569.0137 | 1198778.9554 | 2621576.3869 | 1198778.2371 | 2621599.8597 | 1198778.7775 | 2621641.9434 | 1198780.9528 | 2621654.1863 | 1198781.1749 | 2621661.2326 | 1198780.311 | 2621668.5652 | 1198778.1808 | 2621673.0573 | 1198776.1848 | 2621676.5763 | 1198773.7407 | 2621679.5481 | 1198771.0055
4 | 2622224.7551 | 1199527.3793 | 2622219.7145 | 1199517.2773 | 2622214.9916 | 1199513.8913 | 2622210.1396 | 1199510.3936 | 2622195.3301 | 1199496.4423 | 2622191.0929 | 1199493.4694 | 2622188.0973 | 1199492.3689 | 2622184.1995 | 1199492.2988 | 2622179.5916 | 1199492.7932 | 2622166.6566 | 1199496.892 | 2622160.1209 | 1199499.8805 | 2622155.7703 | 1199502.866 | 2622150.9889 | 1199507.0395 | 2622142.7288 | 1199515.1578 | 2622136.8684 | 1199520.8393 | 2622132.5591 | 1199522.9467 | 2622129.132 | 1199523.2453 | 2622126.0846 | 1199521.7555 | 2622124.5938 | 1199519.3153 | 2622124.2597 | 1199514.9562 | 2622128.5498 | 1199487.1347 | 2622132.5038 | 1199461.6911 | 2622137.6032 | 1199447.7134 | 2622169.6763 | 1199442.1179 | 2622180.0657 | 1199440.8556 | 2622190.7874 | 1199440.3173 | 2622208.3121 | 1199440.6713 | 2622234.3894 | 1199442.3689 | 2622263.7149 | 1199442.7447 | 2622301.0984 | 1199442.2945 | 2622343.9153 | 1199440.5198 | 2622355.5473 | 1199440.8633 | 2622369.8622 | 1199442.4398 | 2622416.8794 | 1199447.3849 | 2622428.5522 | 1199449.0295 | 2622445.137 | 1199452.349 | 2622471.4708 | 1199458.6956 | 2622484.5259 | 1199461.2014 | 2622495.8563 | 1199462.8004 | 2622538.6076 | 1199468.3085 | 2622573.2933 | 1199472.5636 | 2622601.2094 | 1199477.1714 | 2622639.132 | 1199485.13 | 2622654.8094 | 1199488.7578 | 2622667.7919 | 1199492.32 | 2622691.8267 | 1199500.5043
5 | 2622224.7551 | 1199527.3793 | 2622213.8115 | 1199526.1936 | 2622197.914 | 1199524.4004 | 2622193.2003 | 1199524.6942 | 2622189.9077 | 1199525.6603 | 2622187.5034 | 1199527.3078 | 2622185.1919 | 1199530.6344 | 2622184.5446 | 1199532.7332
6 | 2622224.7551 | 1199527.3793 | 2622230.1357 | 1199527.8455
7 | 2622691.8267 | 1199500.5043 | 2622712.8515 | 1199508.4651
8 | 2622530.6445 | 1199419.5966 | 2622542.6945 | 1199422.1766 | 2622563.8571 | 1199424.9356 | 2622585.4061 | 1199432.2318 | 2622597.322 | 1199436.0121 | 2622621.2869 | 1199442.6506 | 2622652.0818 | 1199449.0482 | 2622678.9893 | 1199456.6319 | 2622694.4974 | 1199462.7717 | 2622691.5784 | 1199477.6465 | 2622691.8267 | 1199500.5043
9 | 2622791.7161 | 1199265.8561 | 2622805.3952 | 1199262.5508 | 2622824.8369 | 1199249.5067 | 2622837.6864 | 1199240.1395 | 2622849.1543 | 1199241.7063 | 2622854.3592 | 1199246.4287 | 2622854.4868 | 1199258.8692 | 2622849.2249 | 1199267.087 | 2622831.2855 | 1199283.4941 | 2622825.4885 | 1199300.2812 | 2622826.9198 | 1199366.189 | 2622827.7517 | 1199413.6068 | 2622826.3143 | 1199425.1854 | 2622821.6018 | 1199435.1062 | 2622812.1063 | 1199447.5101 | 2622800.6215 | 1199452.5024 | 2622769.591 | 1199452.0508 | 2622712.5864 | 1199452.846 | 2622694.4974 | 1199462.7717 | 2622691.5784 | 1199477.6465 | 2622691.8267 | 1199500.5043
10 | 2622184.5446 | 1199532.7332 | 2622187.1754 | 1199531.609 | 2622191.1451 | 1199530.7343 | 2622193.9853 | 1199530.6225 | 2622196.4123 | 1199531.0762 | 2622199.3856 | 1199532.0211 | 2622218.2822 | 1199540.1177 | 2622226.8476 | 1199544.085 | 2622242.223 | 1199553.2248 | 2622254.115 | 1199563.43 | 2622262.6369 | 1199568.8646 | 2622267.6058 | 1199571.5957 | 2622273.77 | 1199574.3201 | 2622292.1056 | 1199581.7367 | 2622303.8774 | 1199587.3947 | 2622309.5593 | 1199590.84 | 2622314.4529 | 1199595.3829 | 2622317.2652 | 1199598.6396 | 2622320.0701 | 1199603.9196 | 2622322.6513 | 1199609.9547 | 2622329.1631 | 1199627.6552 | 2622332.5413 | 1199636.3725 | 2622334.6974 | 1199640.027 | 2622338.1738 | 1199644.8648 | 2622341.9724 | 1199649.0368 | 2622343.5666 | 1199650.2656 | 2622346.2518 | 1199650.876 | 2622360.1938 | 1199650.2499 | 2622381.7951 | 1199643.3935 | 2622391.9968 | 1199639.2849 | 2622421.2526 | 1199627.5101 | 2622444.592 | 1199622.1168 | 2622460.3874 | 1199626.7118 | 2622471.7515 | 1199633.4359 | 2622489.527 | 1199645.9316 | 2622505.5751 | 1199654.1407 | 2622522.4478 | 1199657.6727 | 2622543.7587 | 1199657.2193 | 2622551.4304 | 1199653.7796
11 | 2622253.8688 | 1199531.3673 | 2622240.3041 | 1199528.7266 | 2622230.1357 | 1199527.8455
12 | 2621957.9283 | 1198759.9019 | 2621953.2761 | 1198759.8849 | 2621948.2156 | 1198759.0659 | 2621942.9897 | 1198757.6571 | 2621936.0315 | 1198755.2303 | 2621928.1251 | 1198751.8329 | 2621915.5991 | 1198745.7393 | 2621867.2186 | 1198720.5045 | 2621858.9484 | 1198716.6055 | 2621850.844 | 1198713.1852 | 2621818.1419 | 1198702.3269 | 2621805.1761 | 1198697.755 | 2621798.3753 | 1198695.9626 | 2621792.1511 | 1198694.7727 | 2621784.3027 | 1198694.2327 | 2621776.9243 | 1198694.2615 | 2621769.634 | 1198695.18 | 2621761.532 | 1198697.3628 | 2621754.1195 | 1198700.4709 | 2621746.872 | 1198704.2911 | 2621738.7257 | 1198710.287 | 2621701.3803 | 1198743.1139 | 2621694.8895 | 1198750.3721 | 2621687.477 | 1198759.8282 | 2621682.5398 | 1198767.0142 | 2621679.5481 | 1198771.0055
13 | 2622987.5259 | 1198702.0207 | 2622975.5049 | 1198693.5256
14 | 2622975.5049 | 1198693.5256 | 2622979.9933 | 1198684.6771
15 | 2622987.5259 | 1198702.0207 | 2622995.5677 | 1198707.6991 | 2623004.9511 | 1198710.9925 | 2623013.1287 | 1198709.0895 | 2623014.9633 | 1198708.7614
16 | 2622987.5259 | 1198702.0207 | 2622980.3764 | 1198725.7173 | 2622974.9916 | 1198731.9151
17 | 2622983.2921 | 1198678.1737 | 2622979.9933 | 1198684.6771
18 | 2623037.3375 | 1198709.8425 | 2623026.5163 | 1198706.6952 | 2623014.9633 | 1198708.7614
19 | 2622974.9916 | 1198731.9151 | 2622971.8182 | 1198735.5676 | 2622964.8597 | 1198743.245 | 2622963.2446 | 1198745.4734 | 2622957.9793 | 1198752.4125 | 2622956.2724 | 1198756.7306 | 2622956.3303 | 1198759.5101 | 2622956.7158 | 1198764.203 | 2622957.7213 | 1198768.0756 | 2622958.937 | 1198770.7261 | 2622963.2106 | 1198774.1999 | 2622969.5276 | 1198778.9045 | 2622986.7923 | 1198787.9978 | 2622988.0107 | 1198788.5767
20 | 2623035.9838 | 1198579.2737 | 2623014.5971 | 1198618.2348 | 2622990.7347 | 1198663.5011 | 2622983.2921 | 1198678.1737
21 | 2623037.3375 | 1198709.8425 | 2623040.6936 | 1198710.8186 | 2623053.1203 | 1198718.704 | 2623058.0627 | 1198723.9207
22 | 2622627.0717 | 1198930.1956 | 2622988.0107 | 1198788.5767
23 | 2623035.9838 | 1198579.2737 | 2623018.4073 | 1198583.7975 | 2623005.6424 | 1198584.56 | 2622999.4232 | 1198582.0903 | 2622990.3551 | 1198575.9522 | 2622981.1251 | 1198566.683
24 | 2623002.2739 | 1198529.8063 | 2623047.9211 | 1198556.1182 | 2623035.9838 | 1198579.2737
25 | 2622605.5112 | 1198876.0394 | 2622608.2916 | 1198877.7397 | 2622611.4255 | 1198880.5975 | 2622613.8498 | 1198883.8195 | 2622616.1271 | 1198887.6747 | 2622618.1411 | 1198892.7072 | 2622620.1475 | 1198899.7297 | 2622624.5666 | 1198921.1246 | 2622627.0717 | 1198930.1956
26 | 2622628.5927 | 1198935.7033 | 2622627.0717 | 1198930.1956
27 | 2623002.2739 | 1198529.8063 | 2622988.7271 | 1198521.9945 | 2622981.0274 | 1198517.0386
28 | 2622712.8515 | 1199508.4651 | 2622721.2177 | 1199511.6328 | 2622734.7371 | 1199516.6055
29 | 2622263.9695 | 1199071.1553 | 2622261.0079 | 1199066.9864 | 2622258.947 | 1199062.2318 | 2622256.2223 | 1199047.5458
30 | 2622263.9695 | 1199071.1553 | 2622267.5029 | 1199073.0361
31 | 2622263.9695 | 1199071.1553 | 2622257.0487 | 1199075.1873 | 2622251.6073 | 1199078.6134 | 2622248.394 | 1199082.7593 | 2622246.3771 | 1199088.7217 | 2622244.1849 | 1199096.7401 | 2622238.7335 | 1199115.1743 | 2622237.585 | 1199118.3519
32 | 2622267.5029 | 1199073.0361 | 2622270.1287 | 1199075.3582 | 2622272.3614 | 1199078.9685 | 2622274.5829 | 1199085.5803 | 2622277.2054 | 1199095.7424
33 | 2622237.585 | 1199118.3519 | 2622226.9327 | 1199147.826 | 2622222.1159 | 1199157.3466 | 2622217.361 | 1199164.5662 | 2622213.7053 | 1199168.955 | 2622209.267 | 1199170.873 | 2622203.7294 | 1199171.5083 | 2622199.7685 | 1199171.9828 | 2622196.1073 | 1199171.7024 | 2622191.5108 | 1199169.0506 | 2622187.1633 | 1199164.9657 | 2622164.7682 | 1199132.8543 | 2622158.0961 | 1199119.111 | 2622149.9153 | 1199105.6513 | 2622135.0409 | 1199086.2858 | 2622095.5133 | 1199048.1526 | 2622086.12 | 1199037.2343 | 2622071.3944 | 1199014.5678 | 2622055.0189 | 1198989.1826 | 2622031.9029 | 1198947.7751 | 2622028.9531 | 1198943.8515
34 | 2622530.6445 | 1199419.5966 | 2622519.8135 | 1199412.741 | 2622504.0438 | 1199401.1977 | 2622455.0168 | 1199359.5912 | 2622430.5995 | 1199331.3178 | 2622375.0963 | 1199264.1738 | 2622350.9533 | 1199233.6227 | 2622319.6462 | 1199184.4794 | 2622300.7366 | 1199151.0019 | 2622283.1757 | 1199117.1405 | 2622279.2064 | 1199103.4961 | 2622277.2054 | 1199095.7424
35 | 2622027.7792 | 1198942.2899 | 2622028.9531 | 1198943.8515
36 | 2622354.0756 | 1198723.4691 | 2622355.0594 | 1198723.0392 | 2622356.248 | 1198722.8324 | 2622357.6945 | 1198722.8934 | 2622359.6722 | 1198723.4344 | 2622389.8568 | 1198731.2291 | 2622399.5716 | 1198735.5789 | 2622404.9192 | 1198739.0118 | 2622408.4459 | 1198742.7493 | 2622413.9226 | 1198750.3516 | 2622419.976 | 1198764.582 | 2622423.3765 | 1198775.5784 | 2622424.9592 | 1198779.9201 | 2622427.7461 | 1198783.966 | 2622439.4268 | 1198796.0385 | 2622444.1886 | 1198799.3359 | 2622451.3349 | 1198802.2976 | 2622458.4868 | 1198803.7585 | 2622467.1051 | 1198804.0354 | 2622476.0248 | 1198803.1017 | 2622503.1624 | 1198802.9813 | 2622523.7466 | 1198804.2259 | 2622537.2101 | 1198805.8441
37 | 2622372.742 | 1198736.7459 | 2622354.0756 | 1198723.4691
38 | 2622354.0756 | 1198723.4691 | 2622345.0954 | 1198718.1105
39 | 2622537.2101 | 1198805.8441 | 2622546.3519 | 1198806.6011 | 2622562.2968 | 1198808.451 | 2622589.5172 | 1198810.577 | 2622593.702 | 1198811.3932 | 2622597.8774 | 1198812.6429 | 2622606.507 | 1198815.9884 | 2622614.6916 | 1198820.1882 | 2622623.5843 | 1198826.4141 | 2622627.2946 | 1198829.8855 | 2622628.0043 | 1198831.4779 | 2622628.1257 | 1198833.6018 | 2622627.2231 | 1198838.7234 | 2622624.0357 | 1198845.993 | 2622605.5112 | 1198876.0394
40 | 2622372.742 | 1198736.7459 | 2622369.577 | 1198736.0671 | 2622366.4188 | 1198735.5884 | 2622361.2423 | 1198735.2578 | 2622345.6845 | 1198735.7222 | 2622337.2464 | 1198736.1132 | 2622332.7855 | 1198735.8408 | 2622328.5162 | 1198735.2024 | 2622324.8949 | 1198734.3551 | 2622320.7361 | 1198732.6942 | 2622301.0914 | 1198720.7029
41 | 2622187.2283 | 1198697.2904 | 2622207.3603 | 1198693.285 | 2622217.7293 | 1198691.7337 | 2622226.7318 | 1198691.089 | 2622234.1845 | 1198691.5725 | 2622242.5388 | 1198693.2599 | 2622260.2093 | 1198700.0737 | 2622288.4486 | 1198712.9856 | 2622301.0914 | 1198720.7029
42 | 2622301.9244 | 1198652.0583 | 2622302.4043 | 1198654.0612 | 2622302.1468 | 1198655.7278 | 2622301.4933 | 1198657.4041 | 2622300.5434 | 1198658.9458 | 2622298.6167 | 1198661.0509 | 2622296.3727 | 1198662.51 | 2622292.1644 | 1198663.8729 | 2622283.1493 | 1198665.8293 | 2622257.5376 | 1198669.0914 | 2622248.5452 | 1198671.0702 | 2622203.7938 | 1198687.9467 | 2622193.196 | 1198693.7217 | 2622187.2283 | 1198697.2904
43 | 2622187.2283 | 1198697.2904 | 2622181.1988 | 1198699.0579 | 2622172.2442 | 1198701.1481 | 2622141.3522 | 1198705.4251 | 2622133.4532 | 1198706.2186 | 2622126.0683 | 1198705.9356 | 2622116.6241 | 1198704.5111 | 2622104.0354 | 1198700.985 | 2622092.1081 | 1198697.717 | 2622084.6569 | 1198696.8557 | 2622079.0372 | 1198696.9351 | 2622073.4009 | 1198697.3701 | 2622067.6027 | 1198698.3715 | 2622061.3445 | 1198700.2161 | 2622055.7306 | 1198702.8636 | 2622046.8489 | 1198707.9114 | 2622036.1037 | 1198714.5088 | 2622001.0832 | 1198739.9605 | 2621992.9081 | 1198745.4446 | 2621983.1189 | 1198750.9116 | 2621975.896 | 1198754.2203 | 2621967.3788 | 1198757.5242 | 2621962.9346 | 1198758.8864 | 2621957.9283 | 1198759.9019
44 | 2622605.5112 | 1198876.0394 | 2622602.4154 | 1198875.2051 | 2622595.8767 | 1198874.7246 | 2622591.3988 | 1198874.93 | 2622586.9023 | 1198876.047 | 2622582.1131 | 1198878.0189 | 2622578.6331 | 1198880.1403 | 2622565.6211 | 1198890.0967 | 2622562.3607 | 1198892.5413 | 2622557.6701 | 1198894.6359 | 2622548.0278 | 1198897.4122 | 2622544.8399 | 1198898.7898 | 2622542.9999 | 1198900.1058 | 2622541.4545 | 1198902.0678 | 2622539.2388 | 1198906.1172 | 2622536.2918 | 1198912.2872 | 2622532.7691 | 1198919.6668 | 2622528.3281 | 1198928.2881 | 2622522.5583 | 1198937.9828 | 2622514.3361 | 1198949.8695 | 2622507.8266 | 1198957.8493 | 2622494.0594 | 1198972.2944 | 2622486.2509 | 1198979.4912 | 2622485.1089 | 1198980.4067
45 | 2622469.7257 | 1198991.1737 | 2622472.3698 | 1198989.8447 | 2622477.2927 | 1198986.6726 | 2622485.1089 | 1198980.4067
46 | 2622027.7792 | 1198942.2899 | 2622025.4246 | 1198939.1578 | 2622021.6533 | 1198933.5631 | 2622020.2418 | 1198929.9392
47 | 2621978.0504 | 1198625.692 | 2621972.0982 | 1198631.2954 | 2621964.232 | 1198635.5689 | 2621960.7827 | 1198636.8724
48 | 2621978.0504 | 1198625.692 | 2621984.2727 | 1198623.3938
49 | 2622239.3896 | 1198624.7334 | 2622212.3877 | 1198631.1812 | 2622162.307 | 1198637.4992 | 2622148.4836 | 1198638.3374 | 2622136.0731 | 1198638.0803 | 2622126.6816 | 1198636.7893 | 2622118.876 | 1198634.9595 | 2622047.4084 | 1198609.6936 | 2622037.8755 | 1198607.5129 | 2622028.4762 | 1198608.3455 | 2622019.1481 | 1198610.5124 | 2621984.2727 | 1198623.3938
50 | 2622239.3896 | 1198624.7334 | 2622249.9395 | 1198625.7397 | 2622274.5151 | 1198634.9805 | 2622285.257 | 1198639.6341 | 2622293.9267 | 1198644.569 | 2622297.5189 | 1198647.1059 | 2622300.4105 | 1198649.6514 | 2622301.9244 | 1198652.0583
51 | 2622301.9244 | 1198652.0583 | 2622303.6033 | 1198649.0074 | 2622303.9856 | 1198646.5519 | 2622304.1166 | 1198644.0844 | 2622303.882 | 1198641.66 | 2622303.3564 | 1198639.6681 | 2622302.298 | 1198637.6186 | 2622299.9766 | 1198635.2976 | 2622297.4782 | 1198633.4984 | 2622272.5707 | 1198619.3315 | 2622266.2426 | 1198615.3502 | 2622261.5001 | 1198612.9535 | 2622258.6054 | 1198611.2307 | 2622256.867 | 1198609.8013 | 2622255.5253 | 1198608.1732 | 2622254.8318 | 1198606.2918 | 2622254.7918 | 1198604.7464 | 2622255.3531 | 1198603.2921 | 2622256.194 | 1198602.3948 | 2622257.7804 | 1198601.6892 | 2622259.8604 | 1198601.3745 | 2622262.0831 | 1198601.5606 | 2622265.3469 | 1198602.3287 | 2622267.7264 | 1198603.3492 | 2622270.0038 | 1198605.2032 | 2622272.4171 | 1198607.3911 | 2622275.7188 | 1198610.2382 | 2622278.0653 | 1198611.9701 | 2622280.603 | 1198613.4359 | 2622283.1126 | 1198614.2901 | 2622297.1202 | 1198617.166 | 2622300.5954 | 1198618.3907 | 2622309.4934 | 1198623.371 | 2622313.2227 | 1198625.8862 | 2622315.8194 | 1198627.8859 | 2622318.8387 | 1198630.9099 | 2622321.6659 | 1198634.4001 | 2622324.0975 | 1198637.7887 | 2622329.3741 | 1198646.024
52 | 2622301.9244 | 1198652.0583 | 2622306.1937 | 1198652.6968 | 2622310.261 | 1198654.4351 | 2622321.2928 | 1198662.9919 | 2622326.5242 | 1198667.0025 | 2622329.4041 | 1198668.6141 | 2622336.0327 | 1198671.6071 | 2622359.8049 | 1198679.7335 | 2622360.4939 | 1198680.0322
53 | 2622502.779 | 1199624.3029 | 2622525.7666 | 1199631.5043 | 2622526.2623 | 1199641.3893
54 | 2622502.779 | 1199624.3029 | 2622496.7613 | 1199623.1575 | 2622486.5842 | 1199614.5702 | 2622473.0644 | 1199598.0327 | 2622459.2346 | 1199582.9171 | 2622450.987 | 1199577.4832 | 2622441.5874 | 1199578.7709 | 2622429.012 | 1199584.4269 | 2622409.7774 | 1199593.5154 | 2622391.6943 | 1199598.028 | 2622365.2578 | 1199594.872 | 2622361.5239 | 1199583.5631 | 2622359.6376 | 1199568.8036 | 2622355.5836 | 1199561.6624 | 2622334.4946 | 1199549.466 | 2622301.0497 | 1199537.1347 | 2622274.198 | 1199537.0348 | 2622262.4484 | 1199533.637
55 | 2622019.719 | 1198901.8947 | 2622019.5932 | 1198903.6838 | 2622016.1663 | 1198914.188 | 2622016.4714 | 1198920.2591 | 2622020.2418 | 1198929.9392
56 | 2622019.719 | 1198901.8947 | 2622019.8824 | 1198899.5715 | 2622018.9888 | 1198894.9858
57 | 2621957.9283 | 1198759.9019 | 2621962.6177 | 1198783.0094 | 2621966.6022 | 1198796.9427 | 2621970.9368 | 1198806.7527 | 2622018.9632 | 1198894.8545 | 2622018.9888 | 1198894.9858
58 | 2622635.6019 | 1199671.7624 | 2622630.0178 | 1199668.7174 | 2622622.1668 | 1199665.1858 | 2622604.744 | 1199662.1962 | 2622590.915 | 1199661.1102 | 2622576.2334 | 1199660.0098 | 2622562.8836 | 1199657.0356 | 2622551.4304 | 1199653.7796
59 | 2622772.9572 | 1199296.8099 | 2622772.752 | 1199297.1583
60 | 2622791.7161 | 1199265.8561 | 2622783.8499 | 1199284.2251 | 2622774.5695 | 1199294.0729 | 2622772.9572 | 1199296.8099
61 | 2622756.4172 | 1199310.8554 | 2622764.9907 | 1199310.3342 | 2622772.752 | 1199297.1583
62 | 2622253.8688 | 1199531.3673 | 2622259.0486 | 1199532.6539 | 2622262.4484 | 1199533.637

## bus_geodata
| x | y | coords
0 | 2621938.5315 | 1199291.7924
1 | 2621937.9367 | 1199294.8697
2 | 2621930.4109 | 1199314.9351
3 | 2621487.5034 | 1198865.9097
4 | 2622224.7551 | 1199527.3793
5 | 2622691.8267 | 1199500.5043
6 | 2622184.5446 | 1199532.7332
7 | 2622230.1357 | 1199527.8455
8 | 2621679.5481 | 1198771.0055
9 | 2622975.5049 | 1198693.5256
10 | 2622987.5259 | 1198702.0207
11 | 2622979.9933 | 1198684.6771
12 | 2623014.9633 | 1198708.7614
13 | 2622974.9916 | 1198731.9151
14 | 2622983.2921 | 1198678.1737
15 | 2623037.3375 | 1198709.8425
16 | 2622988.0107 | 1198788.5767
17 | 2623035.9838 | 1198579.2737
18 | 2623058.0627 | 1198723.9207
19 | 2622627.0717 | 1198930.1956
20 | 2623002.2739 | 1198529.8063
21 | 2622981.0274 | 1198517.0386
22 | 2622981.1251 | 1198566.683
23 | 2622712.8515 | 1199508.4651
24 | 2622734.7371 | 1199516.6055
25 | 2622263.9695 | 1199071.1553
26 | 2622256.2223 | 1199047.5458
27 | 2622267.5029 | 1199073.0361
28 | 2622237.585 | 1199118.3519
29 | 2622277.2054 | 1199095.7424
30 | 2622028.9531 | 1198943.8515
31 | 2622354.0756 | 1198723.4691
32 | 2622537.2101 | 1198805.8441
33 | 2622372.742 | 1198736.7459
34 | 2622345.0954 | 1198718.1105
35 | 2622301.0914 | 1198720.7029
36 | 2622187.2283 | 1198697.2904
37 | 2622485.1089 | 1198980.4067
38 | 2622605.5112 | 1198876.0394
39 | 2622469.7257 | 1198991.1737
40 | 2622530.6445 | 1199419.5966
41 | 2622027.7792 | 1198942.2899
42 | 2621960.7827 | 1198636.8724
43 | 2621978.0504 | 1198625.692
44 | 2621984.2727 | 1198623.3938
45 | 2622239.3896 | 1198624.7334
46 | 2622301.9244 | 1198652.0583
47 | 2622628.5927 | 1198935.7033
48 | 2622526.2623 | 1199641.3893
49 | 2622502.779 | 1199624.3029
50 | 2622019.719 | 1198901.8947
51 | 2622020.2418 | 1198929.9392
52 | 2622018.9888 | 1198894.9858
53 | 2621957.9283 | 1198759.9019
54 | 2622360.4939 | 1198680.0322
55 | 2622329.3741 | 1198646.024
56 | 2622635.6019 | 1199671.7624
57 | 2622551.4304 | 1199653.7796
58 | 2622772.9572 | 1199296.8099
59 | 2622772.752 | 1199297.1583
60 | 2622791.7161 | 1199265.8561
61 | 2622756.4172 | 1199310.8554
62 | 2622253.8688 | 1199531.3673
63 | 2622262.4484 | 1199533.637
64 | 2622605.5112 | 1198876.0394

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1