## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_905-2_1_4_node_41 | 0.4 | n |  | TRUE
1 | bus_LV_905-2_1_4_node_42 | 0.4 | n |  | TRUE
2 | bus_LV_905-2_1_4_node_43 | 0.4 | n |  | TRUE
3 | bus_LV_905-2_1_4_node_77 | 0.4 | n |  | TRUE
4 | bus_LV_905-2_1_4_node_44 | 0.4 | n |  | TRUE
5 | bus_LV_905-2_1_4_node_45 | 0.4 | n |  | TRUE
6 | bus_LV_905-2_1_4_node_80 | 0.4 | n |  | TRUE
7 | bus_LV_905-2_1_4_node_82 | 0.4 | n |  | TRUE
8 | bus_LV_905-2_1_4_node_120 | 0.4 | n |  | TRUE
9 | bus_LV_905-2_1_4_node_78 | 0.4 | n |  | TRUE
10 | bus_LV_905-2_1_4_node_67 | 0.4 | n |  | TRUE
11 | bus_LV_905-2_1_4_node_68 | 0.4 | n |  | TRUE
12 | bus_LV_905-2_1_4_node_72 | 0.4 | n |  | TRUE
13 | bus_LV_905-2_1_4_node_63 | 0.4 | n |  | TRUE
14 | bus_LV_905-2_1_4_node_69 | 0.4 | n |  | TRUE
15 | bus_LV_905-2_1_4_node_73 | 0.4 | n |  | TRUE
16 | bus_LV_905-2_1_4_node_46 | 0.4 | n |  | TRUE
17 | bus_LV_905-2_1_4_node_57 | 0.4 | n |  | TRUE
18 | bus_LV_905-2_1_4_node_47 | 0.4 | n |  | TRUE
19 | bus_LV_905-2_1_4_node_48 | 0.4 | n |  | TRUE
20 | bus_LV_905-2_1_4_node_55 | 0.4 | n |  | TRUE
21 | bus_LV_905-2_1_4_node_49 | 0.4 | n |  | TRUE
22 | bus_LV_905-2_1_4_node_50 | 0.4 | n |  | TRUE
23 | bus_LV_905-2_1_4_node_51 | 0.4 | n |  | TRUE
24 | bus_LV_905-2_1_4_node_52 | 0.4 | n |  | TRUE
25 | bus_LV_905-2_1_4_node_53 | 0.4 | n |  | TRUE
26 | bus_LV_905-2_1_4_node_54 | 0.4 | n |  | TRUE
27 | bus_LV_905-2_1_4_node_56 | 0.4 | n |  | TRUE
28 | bus_LV_905-2_1_4_node_58 | 0.4 | n |  | TRUE
29 | bus_LV_905-2_1_4_node_60 | 0.4 | n |  | TRUE
30 | bus_LV_905-2_1_4_node_61 | 0.4 | n |  | TRUE
31 | bus_LV_905-2_1_4_node_62 | 0.4 | n |  | TRUE
32 | bus_LV_905-2_1_4_node_76 | 0.4 | n |  | TRUE
33 | bus_LV_905-2_1_4_node_75 | 0.4 | n |  | TRUE
34 | bus_LV_905-2_1_4_node_64 | 0.4 | n |  | TRUE
35 | bus_LV_905-2_1_4_node_65 | 0.4 | n |  | TRUE
36 | bus_LV_905-2_1_4_node_66 | 0.4 | n |  | TRUE
37 | bus_LV_905-2_1_4_node_135 | 0.4 | n |  | TRUE
38 | bus_LV_905-2_1_4_node_132 | 0.4 | n |  | TRUE
39 | bus_LV_905-2_1_4_node_133 | 0.4 | n |  | TRUE
40 | bus_LV_905-2_1_4_node_71 | 0.4 | n |  | TRUE
41 | bus_LV_905-2_1_4_node_70 | 0.4 | n |  | TRUE
42 | bus_LV_905-2_1_4_node_134 | 0.4 | n |  | TRUE
43 | bus_LV_905-2_1_4_node_130 | 0.4 | n |  | TRUE
44 | bus_LV_905-2_1_4_node_74 | 0.4 | n |  | TRUE
45 | bus_LV_905-2_1_4_node_145 | 0.4 | n |  | TRUE
46 | bus_LV_905-2_1_4_node_114 | 0.4 | n |  | TRUE
47 | bus_LV_905-2_1_4_node_109 | 0.4 | n |  | TRUE
48 | bus_LV_905-2_1_4_node_143 | 0.4 | n |  | TRUE
49 | bus_LV_905-2_1_4_node_144 | 0.4 | n |  | TRUE
50 | bus_LV_905-2_1_4_node_146 | 0.4 | n |  | TRUE
51 | bus_LV_905-2_1_4_node_151 | 0.4 | n |  | TRUE
52 | bus_LV_905-2_1_4_node_152 | 0.4 | n |  | TRUE
53 | bus_LV_905-2_1_4_node_79 | 0.4 | n |  | TRUE
54 | bus_LV_905-2_1_4_node_81 | 0.4 | n |  | TRUE
55 | bus_LV_905-2_1_4_node_188 | 0.4 | n |  | TRUE
56 | bus_LV_905-2_1_4_node_103 | 0.4 | n |  | TRUE
57 | bus_LV_905-2_1_4_node_104 | 0.4 | n |  | TRUE
58 | bus_LV_905-2_1_4_node_105 | 0.4 | n |  | TRUE
59 | bus_LV_905-2_1_4_node_106 | 0.4 | n |  | TRUE
60 | bus_LV_905-2_1_4_node_107 | 0.4 | n |  | TRUE
61 | bus_LV_905-2_1_4_node_125 | 0.4 | n |  | TRUE
62 | bus_LV_905-2_1_4_node_119 | 0.4 | n |  | TRUE
63 | bus_LV_905-2_1_4_node_108 | 0.4 | n |  | TRUE
64 | bus_LV_905-2_1_4_node_117 | 0.4 | n |  | TRUE
65 | bus_LV_905-2_1_4_node_153 | 0.4 | n |  | TRUE
66 | bus_LV_905-2_1_4_node_116 | 0.4 | n |  | TRUE
67 | bus_LV_905-2_1_4_node_118 | 0.4 | n |  | TRUE
68 | bus_LV_905-2_1_4_node_115 | 0.4 | n |  | TRUE
69 | bus_LV_905-2_1_4_node_186 | 0.4 | n |  | TRUE
70 | bus_LV_905-2_1_4_node_83 | 0.4 | n |  | TRUE
71 | bus_LV_905-2_1_4_node_84 | 0.4 | n |  | TRUE
72 | bus_LV_905-2_1_4_node_85 | 0.4 | n |  | TRUE
73 | bus_LV_905-2_1_4_node_86 | 0.4 | n |  | TRUE
74 | bus_LV_905-2_1_4_node_87 | 0.4 | n |  | TRUE
75 | bus_LV_905-2_1_4_node_88 | 0.4 | n |  | TRUE
76 | bus_LV_905-2_1_4_node_140 | 0.4 | n |  | TRUE
77 | bus_LV_905-2_1_4_node_138 | 0.4 | n |  | TRUE
78 | bus_LV_905-2_1_4_node_101 | 0.4 | n |  | TRUE
79 | bus_LV_905-2_1_4_node_100 | 0.4 | n |  | TRUE
80 | bus_LV_905-2_1_4_node_113 | 0.4 | n |  | TRUE
81 | bus_LV_905-2_1_4_node_139 | 0.4 | n |  | TRUE
82 | bus_LV_905-2_1_4_node_102 | 0.4 | n |  | TRUE
83 | bus_LV_905-2_1_4_node_98 | 0.4 | n |  | TRUE
84 | bus_LV_905-2_1_4_node_89 | 0.4 | n |  | TRUE
85 | bus_LV_905-2_1_4_node_90 | 0.4 | n |  | TRUE
86 | bus_LV_905-2_1_4_node_91 | 0.4 | n |  | TRUE
87 | bus_LV_905-2_1_4_node_92 | 0.4 | n |  | TRUE
88 | bus_LV_905-2_1_4_node_93 | 0.4 | n |  | TRUE
89 | bus_LV_905-2_1_4_node_94 | 0.4 | n |  | TRUE
90 | bus_LV_905-2_1_4_node_110 | 0.4 | n |  | TRUE
91 | bus_LV_905-2_1_4_node_129 | 0.4 | n |  | TRUE
92 | bus_LV_905-2_1_4_node_112 | 0.4 | n |  | TRUE
93 | bus_LV_905-2_1_4_node_111 | 0.4 | n |  | TRUE
94 | bus_LV_905-2_1_4_node_95 | 0.4 | n |  | TRUE
95 | bus_LV_905-2_1_4_node_96 | 0.4 | n |  | TRUE
96 | bus_LV_905-2_1_4_node_97 | 0.4 | n |  | TRUE
97 | bus_LV_905-2_1_4_node_99 | 0.4 | n |  | TRUE
98 | bus_LV_905-2_1_4_node_126 | 0.4 | n |  | TRUE
99 | bus_LV_905-2_1_4_node_127 | 0.4 | n |  | TRUE
100 | bus_LV_905-2_1_4_node_128 | 0.4 | n |  | TRUE
101 | bus_LV_905-2_1_4_node_121 | 0.4 | n |  | TRUE
102 | bus_LV_905-2_1_4_node_137 | 0.4 | n |  | TRUE
103 | bus_LV_905-2_1_4_node_136 | 0.4 | n |  | TRUE
104 | bus_LV_905-2_1_4_node_122 | 0.4 | n |  | TRUE
105 | bus_LV_905-2_1_4_node_123 | 0.4 | n |  | TRUE
106 | bus_LV_905-2_1_4_node_124 | 0.4 | n |  | TRUE
107 | bus_MV_0_node_132 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_905-2_1_4_load_41 | 0 | 0.00052652 | 0.00013196 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_905-2_1_4_load_77 | 3 | 0.00043415 | 0.00010881 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_905-2_1_4_load_44 | 4 | 0.00081895 | 0.00020525 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_905-2_1_4_load_82 | 7 | 0.00012572 | 3.1508e-05 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_905-2_1_4_load_120 | 8 | 0.00019974 | 5.0059e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_905-2_1_4_load_78 | 9 | 0.00066665 | 0.00016708 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_905-2_1_4_load_67 | 10 | 0.00026803 | 6.7175e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_905-2_1_4_load_68 | 11 | 0.00046798 | 0.00011729 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_905-2_1_4_load_72 | 12 | 0.00068669 | 0.0001721 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_905-2_1_4_load_63 | 13 | 0.0005883 | 0.00014744 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_905-2_1_4_load_73 | 15 | 0.0016696 | 0.00041843 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_905-2_1_4_load_47 | 18 | 0.00054277 | 0.00013603 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_905-2_1_4_load_48 | 19 | 0.0039265 | 0.00098407 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_905-2_1_4_load_55 | 20 | 0.00070693 | 0.00017717 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_905-2_1_4_load_49 | 21 | 0.00048185 | 0.00012076 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_905-2_1_4_load_50 | 22 | 0.0027496 | 0.00068912 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_905-2_1_4_load_52 | 24 | 0.0011073 | 0.00027751 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_905-2_1_4_load_53 | 25 | 0.00029692 | 7.4416e-05 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_905-2_1_4_load_54 | 26 | 0.0029891 | 0.00074915 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_905-2_1_4_load_58 | 28 | 0.0028833 | 0.00072264 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_905-2_1_4_load_62 | 31 | 0.0011566 | 0.00028988 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_905-2_1_4_load_76 | 32 | 0.0011739 | 0.00029421 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_905-2_1_4_load_64 | 34 | 0.00063287 | 0.00015861 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_905-2_1_4_load_66 | 36 | 0.00010822 | 2.7122e-05 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_905-2_1_4_load_135 | 37 | 0.00091686 | 0.00022979 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_905-2_1_4_load_132 | 38 | 9.216e-05 | 2.3097e-05 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_905-2_1_4_load_134 | 42 | 0.00093755 | 0.00023497 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_905-2_1_4_load_130 | 43 | 0.00023531 | 5.8974e-05 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_905-2_1_4_load_74 | 44 | 0.00026646 | 6.6781e-05 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_905-2_1_4_load_114 | 46 | 0.00034592 | 8.6697e-05 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_905-2_1_4_load_143 | 48 | 0.00037121 | 9.3035e-05 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_905-2_1_4_load_144 | 49 | 0.00048338 | 0.00012115 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_905-2_1_4_load_146 | 50 | 0.0031248 | 0.00078314 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_905-2_1_4_load_152 | 52 | 0.0005991 | 0.00015015 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_905-2_1_4_load_79 | 53 | 0.00012767 | 3.1997e-05 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_905-2_1_4_load_188 | 55 | 0.00035969 | 9.0146e-05 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_905-2_1_4_load_103 | 56 | 0.00013886 | 3.4801e-05 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_905-2_1_4_load_104 | 57 | 0.00073052 | 0.00018309 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_905-2_1_4_load_106 | 59 | 0.00019169 | 4.8042e-05 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_905-2_1_4_load_125 | 61 | 0.00072121 | 0.00018075 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_905-2_1_4_load_119 | 62 | 0.00011926 | 2.989e-05 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_905-2_1_4_load_117 | 64 | 0.00015379 | 3.8544e-05 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_905-2_1_4_load_153 | 65 | 0.002211 | 0.00055414 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_905-2_1_4_load_116 | 66 | 0.00023899 | 5.9897e-05 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_905-2_1_4_load_115 | 68 | 0.00028012 | 7.0204e-05 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_905-2_1_4_load_186 | 69 | 0.00022946 | 5.7507e-05 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_905-2_1_4_load_83 | 70 | 0.00044521 | 0.00011158 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_905-2_1_4_load_88 | 75 | 9.8958e-05 | 2.4801e-05 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_905-2_1_4_load_140 | 76 | 0.00042861 | 0.00010742 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_905-2_1_4_load_138 | 77 | 0.00015702 | 3.9353e-05 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_905-2_1_4_load_101 | 78 | 4.9941e-05 | 1.2516e-05 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_905-2_1_4_load_100 | 79 | 7.8923e-05 | 1.978e-05 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_905-2_1_4_load_139 | 81 | 0.00010588 | 2.6535e-05 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_905-2_1_4_load_102 | 82 | 0.00017865 | 4.4775e-05 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_905-2_1_4_load_98 | 83 | 0.00037977 | 9.518e-05 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_905-2_1_4_load_89 | 84 | 0.00054276 | 0.00013603 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_905-2_1_4_load_90 | 85 | 0.0001905 | 4.7743e-05 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_905-2_1_4_load_110 | 90 | 6.688e-05 | 1.6762e-05 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_905-2_1_4_load_112 | 92 | 0.00010069 | 2.5236e-05 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_905-2_1_4_load_95 | 94 | 0.00013533 | 3.3917e-05 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_905-2_1_4_load_96 | 95 | 0.00029741 | 7.4537e-05 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_905-2_1_4_load_97 | 96 | 5.4886e-05 | 1.3756e-05 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_905-2_1_4_load_99 | 97 | 6.4314e-05 | 1.6119e-05 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_905-2_1_4_load_126 | 98 | 0.00023907 | 5.9917e-05 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_905-2_1_4_load_127 | 99 | 0.00027293 | 6.8402e-05 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_905-2_1_4_load_128 | 100 | 0.0001981 | 4.9648e-05 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_905-2_1_4_load_136 | 103 | 0.00018357 | 4.6008e-05 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_905-2_1_4_load_122 | 104 | 0.00022811 | 5.7169e-05 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_905-2_1_4_load_123 | 105 | 0.00013342 | 3.3439e-05 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_905-2_1_4_load_124 | 106 | 0.00073092 | 0.00018319 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 38 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_905-2_1_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.084989 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_905-2_1_4_line_1 | NAYY 4x150 SE | 0 | 2 | 0.032967 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_905-2_1_4_line_2 | NAYY 4x150 SE | 1 | 3 | 0.30372 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_905-2_1_4_line_3 | NAYY 4x150 SE | 2 | 4 | 0.042106 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_905-2_1_4_line_4 | NAYY 4x150 SE | 2 | 5 | 0.010356 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_905-2_1_4_line_5 | NAYY 4x150 SE | 3 | 15 | 0.0095136 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_905-2_1_4_line_6 | NAYY 4x150 SE | 4 | 16 | 0.018303 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_905-2_1_4_line_7 | NAYY 4x150 SE | 5 | 17 | 0.028883 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_905-2_1_4_line_8 | NAYY 4x150 SE | 6 | 7 | 0.032023 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_905-2_1_4_line_9 | NAYY 4x150 SE | 6 | 8 | 0.19383 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_905-2_1_4_line_10 | NAYY 4x150 SE | 6 | 9 | 0.020499 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_905-2_1_4_line_11 | NAYY 4x150 SE | 8 | 67 | 0.020162 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_905-2_1_4_line_12 | NAYY 4x150 SE | 9 | 53 | 0.017171 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_905-2_1_4_line_13 | NAYY 4x150 SE | 10 | 11 | 0.012597 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_905-2_1_4_line_14 | NAYY 4x150 SE | 10 | 12 | 0.10893 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_905-2_1_4_line_15 | NAYY 4x150 SE | 10 | 13 | 0.19583 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_905-2_1_4_line_16 | NAYY 4x150 SE | 11 | 14 | 0.034712 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_905-2_1_4_line_17 | NAYY 4x150 SE | 12 | 41 | 0.04219 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_905-2_1_4_line_18 | NAYY 4x150 SE | 13 | 30 | 0.015045 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_905-2_1_4_line_19 | NAYY 4x150 SE | 14 | 15 | 0.0013691 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_905-2_1_4_line_20 | NAYY 4x150 SE | 16 | 18 | 0.018394 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_905-2_1_4_line_21 | NAYY 4x150 SE | 16 | 19 | 0.019313 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_905-2_1_4_line_22 | NAYY 4x150 SE | 17 | 20 | 0.021315 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_905-2_1_4_line_23 | NAYY 4x150 SE | 20 | 26 | 0.0097141 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_905-2_1_4_line_24 | NAYY 4x150 SE | 21 | 22 | 0.0081602 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_905-2_1_4_line_25 | NAYY 4x150 SE | 21 | 23 | 0.0042875 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_905-2_1_4_line_26 | NAYY 4x150 SE | 23 | 24 | 0.017564 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_905-2_1_4_line_27 | NAYY 4x150 SE | 24 | 27 | 0.19868 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_905-2_1_4_line_28 | NAYY 4x150 SE | 25 | 26 | 0.0061581 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_905-2_1_4_line_29 | NAYY 4x150 SE | 25 | 27 | 0.20835 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_905-2_1_4_line_30 | NAYY 4x150 SE | 28 | 29 | 0.034898 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_905-2_1_4_line_31 | NAYY 4x150 SE | 29 | 30 | 0.016418 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_905-2_1_4_line_32 | NAYY 4x150 SE | 30 | 31 | 0.0098821 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_905-2_1_4_line_33 | NAYY 4x150 SE | 32 | 33 | 0.035767 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_905-2_1_4_line_34 | NAYY 4x150 SE | 33 | 46 | 0.29948 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_905-2_1_4_line_35 | NAYY 4x150 SE | 33 | 44 | 0.0097548 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_905-2_1_4_line_36 | NAYY 4x150 SE | 34 | 35 | 0.040487 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_905-2_1_4_line_37 | NAYY 4x150 SE | 35 | 36 | 0.0075455 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_905-2_1_4_line_38 | NAYY 4x150 SE | 35 | 37 | 0.18726 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
39 | LV_905-2_1_4_line_39 | NAYY 4x150 SE | 36 | 40 | 0.012867 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_905-2_1_4_line_40 | NAYY 4x150 SE | 37 | 38 | 0.018433 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
41 | LV_905-2_1_4_line_41 | NAYY 4x150 SE | 37 | 39 | 0.034379 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_905-2_1_4_line_42 | NAYY 4x150 SE | 38 | 42 | 0.007052 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_905-2_1_4_line_43 | NAYY 4x150 SE | 38 | 43 | 0.029937 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_905-2_1_4_line_44 | NAYY 4x150 SE | 39 | 59 | 0.014361 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_905-2_1_4_line_45 | NAYY 4x150 SE | 40 | 41 | 0.14955 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_905-2_1_4_line_46 | NAYY 4x150 SE | 44 | 45 | 0.31059 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_905-2_1_4_line_47 | NAYY 4x150 SE | 45 | 50 | 0.0024024 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_905-2_1_4_line_48 | NAYY 4x150 SE | 45 | 49 | 0.010707 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_905-2_1_4_line_49 | NAYY 4x150 SE | 46 | 47 | 0.01339 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_905-2_1_4_line_50 | NAYY 4x150 SE | 47 | 68 | 0.021942 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_905-2_1_4_line_51 | NAYY 4x150 SE | 47 | 54 | 0.061319 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_905-2_1_4_line_52 | NAYY 4x150 SE | 48 | 49 | 0.015287 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_905-2_1_4_line_53 | NAYY 4x150 SE | 50 | 51 | 0.04439 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_905-2_1_4_line_54 | NAYY 4x150 SE | 51 | 52 | 0.015175 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_905-2_1_4_line_55 | NAYY 4x150 SE | 53 | 54 | 0.012995 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_905-2_1_4_line_56 | NAYY 4x150 SE | 54 | 55 | 0.223 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_905-2_1_4_line_57 | NAYY 4x150 SE | 55 | 69 | 0.20548 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_905-2_1_4_line_58 | NAYY 4x150 SE | 56 | 57 | 0.0049158 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_905-2_1_4_line_59 | NAYY 4x150 SE | 56 | 58 | 0.051549 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_905-2_1_4_line_60 | NAYY 4x150 SE | 58 | 59 | 0.0058384 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_905-2_1_4_line_61 | NAYY 4x150 SE | 58 | 60 | 0.0060424 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_905-2_1_4_line_62 | NAYY 4x150 SE | 60 | 61 | 0.023043 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_905-2_1_4_line_63 | NAYY 4x150 SE | 60 | 62 | 0.0079131 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_905-2_1_4_line_64 | NAYY 4x150 SE | 62 | 67 | 0.04191 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_905-2_1_4_line_65 | NAYY 4x150 SE | 63 | 64 | 0.030626 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_905-2_1_4_line_66 | NAYY 4x150 SE | 63 | 65 | 0.30864 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_905-2_1_4_line_67 | NAYY 4x150 SE | 64 | 66 | 0.016836 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_905-2_1_4_line_68 | NAYY 4x150 SE | 66 | 67 | 0.042791 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_905-2_1_4_line_69 | NAYY 4x150 SE | 68 | 101 | 0.032204 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_905-2_1_4_line_70 | NAYY 4x150 SE | 69 | 91 | 0.27201 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_905-2_1_4_line_71 | NAYY 4x150 SE | 70 | 71 | 0.099031 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_905-2_1_4_line_72 | NAYY 4x150 SE | 70 | 72 | 0.012381 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_905-2_1_4_line_73 | NAYY 4x150 SE | 71 | 73 | 0.081251 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_905-2_1_4_line_74 | NAYY 4x150 SE | 72 | 74 | 0.022793 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_905-2_1_4_line_75 | NAYY 4x150 SE | 72 | 75 | 0.029276 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_905-2_1_4_line_76 | NAYY 4x150 SE | 73 | 76 | 0.01422 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_905-2_1_4_line_77 | NAYY 4x150 SE | 73 | 77 | 0.026991 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_905-2_1_4_line_78 | NAYY 4x150 SE | 74 | 78 | 0.10247 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_905-2_1_4_line_79 | NAYY 4x150 SE | 75 | 79 | 0.012947 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_905-2_1_4_line_80 | NAYY 4x150 SE | 76 | 80 | 0.029856 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_905-2_1_4_line_81 | NAYY 4x150 SE | 77 | 81 | 0.0050182 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_905-2_1_4_line_82 | NAYY 4x150 SE | 78 | 82 | 0.0078762 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_905-2_1_4_line_83 | NAYY 4x150 SE | 79 | 83 | 0.023545 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_905-2_1_4_line_84 | NAYY 4x150 SE | 80 | 102 | 0.031674 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_905-2_1_4_line_85 | NAYY 4x150 SE | 80 | 93 | 0.11182 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_905-2_1_4_line_86 | NAYY 4x150 SE | 83 | 96 | 0.02241 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_905-2_1_4_line_87 | NAYY 4x150 SE | 84 | 85 | 0.009308 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_905-2_1_4_line_88 | NAYY 4x150 SE | 84 | 86 | 0.013325 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_905-2_1_4_line_89 | NAYY 4x150 SE | 85 | 87 | 0.0061478 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_905-2_1_4_line_90 | NAYY 4x150 SE | 86 | 88 | 0.013761 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_905-2_1_4_line_91 | NAYY 4x150 SE | 86 | 89 | 0.012946 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_905-2_1_4_line_92 | NAYY 4x150 SE | 87 | 90 | 0.029114 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_905-2_1_4_line_93 | NAYY 4x150 SE | 88 | 91 | 0.15775 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
94 | LV_905-2_1_4_line_94 | NAYY 4x150 SE | 89 | 92 | 0.016432 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
95 | LV_905-2_1_4_line_95 | NAYY 4x150 SE | 92 | 93 | 0.050327 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
96 | LV_905-2_1_4_line_96 | NAYY 4x150 SE | 94 | 95 | 0.023949 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
97 | LV_905-2_1_4_line_97 | NAYY 4x150 SE | 94 | 96 | 0.2278 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
98 | LV_905-2_1_4_line_98 | NAYY 4x150 SE | 95 | 97 | 0.031595 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
99 | LV_905-2_1_4_line_99 | NAYY 4x150 SE | 97 | 98 | 0.33522 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
100 | LV_905-2_1_4_line_100 | NAYY 4x150 SE | 98 | 99 | 0.029187 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
101 | LV_905-2_1_4_line_101 | NAYY 4x150 SE | 99 | 100 | 0.026099 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
102 | LV_905-2_1_4_line_102 | NAYY 4x150 SE | 101 | 104 | 0.006111 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
103 | LV_905-2_1_4_line_103 | NAYY 4x150 SE | 101 | 105 | 0.00696 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
104 | LV_905-2_1_4_line_104 | NAYY 4x150 SE | 101 | 106 | 0.013046 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
105 | LV_905-2_1_4_line_105 | NAYY 4x150 SE | 102 | 103 | 0.016711 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_905-2_1_4_trafo_132 | 0.25 MVA 20/0.4 kV | 107 | 38 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28 | x29 | y29
0 | 2620617.872 | 1201269.1141 | 2620615.1638 | 1201268.738 | 2620612.7305 | 1201268.0737 | 2620610.7928 | 1201267.1776 | 2620609.2737 | 1201266.2719 | 2620607.0979 | 1201263.7742 | 2620604.5721 | 1201259.0407 | 2620603.0209 | 1201254.1994 | 2620602.3147 | 1201249.2832 | 2620601.8823 | 1201244.4457 | 2620602.003 | 1201238.1205 | 2620602.9335 | 1201206.5843 | 2620603.4827 | 1201192.2267
1 | 2620607.1598 | 1201159.5399 | 2620604.0542 | 1201177.2833 | 2620603.4827 | 1201192.2267
2 | 2620617.872 | 1201269.1141 | 2620359.2923 | 1201428.4389
3 | 2620607.1598 | 1201159.5399 | 2620626.425 | 1201165.8096 | 2620647.7498 | 1201170.5543
4 | 2620608.9454 | 1201149.3405 | 2620607.1598 | 1201159.5399
5 | 2620359.2923 | 1201428.4389 | 2620357.5601 | 1201436.4818 | 2620357.1726 | 1201437.7083
6 | 2620665.9922 | 1201171.2155 | 2620659.9717 | 1201171.2059 | 2620655.6788 | 1201171.28 | 2620650.0244 | 1201171.0604 | 2620647.7498 | 1201170.5543
7 | 2620608.9454 | 1201149.3405 | 2620602.441 | 1201141.7918 | 2620594.7643 | 1201129.8366 | 2620593.7969 | 1201127.8434 | 2620593.3107 | 1201125.3737
8 | 2620685.9043 | 1201895.6567 | 2620679.3467 | 1201897.1682 | 2620665.9213 | 1201899.6121 | 2620654.3161 | 1201900.597
9 | 2620685.9043 | 1201895.6567 | 2620705.53 | 1201702.8275
10 | 2620685.9043 | 1201895.6567 | 2620688.7667 | 1201897.601 | 2620703.4438 | 1201906.2562
11 | 2620702.7281 | 1201682.8877 | 2620704.7758 | 1201693.7674 | 2620705.53 | 1201702.8275
12 | 2620703.4438 | 1201906.2562 | 2620709.9485 | 1201910.0921 | 2620717.6836 | 1201915.8108
13 | 2620315.5347 | 1201456.4579 | 2620323.3316 | 1201452.919 | 2620327.2391 | 1201451.9132
14 | 2620352.1424 | 1201559.0547 | 2620315.5347 | 1201456.4579
15 | 2620315.5347 | 1201456.4579 | 2620121.3214 | 1201431.3366
16 | 2620356.76 | 1201439.0138 | 2620355.8369 | 1201441.9122 | 2620353.6491 | 1201445.1733 | 2620349.9488 | 1201447.8288 | 2620344.6682 | 1201449.6785 | 2620336.8339 | 1201450.4746 | 2620329.5551 | 1201451.317 | 2620327.2391 | 1201451.9132
17 | 2620320.0892 | 1201585.3023 | 2620322.1814 | 1201581.0404 | 2620325.3315 | 1201576.771 | 2620348.1687 | 1201561.807 | 2620352.1424 | 1201559.0547
18 | 2620112.2134 | 1201419.3439 | 2620117.0175 | 1201425.6524 | 2620121.3214 | 1201431.3366
19 | 2620356.76 | 1201439.0138 | 2620357.1726 | 1201437.7083
20 | 2620665.9922 | 1201171.2155 | 2620659.8893 | 1201162.0006 | 2620658.8872 | 1201161.2523 | 2620657.2919 | 1201160.3907 | 2620653.1818 | 1201159.204
21 | 2620665.9922 | 1201171.2155 | 2620671.1232 | 1201173.1009 | 2620675.4214 | 1201173.7272 | 2620680.2553 | 1201173.4882 | 2620683.3714 | 1201172.5985 | 2620684.6831 | 1201172.0477
22 | 2620593.3107 | 1201125.3737 | 2620589.1114 | 1201133.597 | 2620587.1697 | 1201136.0695 | 2620580.4697 | 1201141.9845
23 | 2620580.4697 | 1201141.9845 | 2620573.8858 | 1201147.7969 | 2620573.0506 | 1201148.2096
24 | 2620250.9737 | 1200912.9914 | 2620248.1649 | 1200913.2821 | 2620244.2303 | 1200916.8871
25 | 2620255.2385 | 1200912.55 | 2620250.9737 | 1200912.9914
26 | 2620255.2385 | 1200912.55 | 2620269.1475 | 1200916.2324 | 2620272.1544 | 1200917.2537
27 | 2620418.9596 | 1201004.867 | 2620415.7094 | 1201000.4424 | 2620413.001 | 1200997.8429 | 2620409.9095 | 1200995.9869 | 2620404.6341 | 1200993.9456 | 2620396.999 | 1200991.9741 | 2620391.5325 | 1200990.1767 | 2620387.1177 | 1200987.9716 | 2620383.1236 | 1200985.1898 | 2620378.6862 | 1200980.6945 | 2620374.9062 | 1200975.3899 | 2620371.2203 | 1200969.2518 | 2620368.0391 | 1200960.1805 | 2620365.5183 | 1200951.6228 | 2620362.1921 | 1200933.724 | 2620360.6028 | 1200928.8048 | 2620358.1431 | 1200924.672 | 2620356.0804 | 1200922.4416 | 2620353.6805 | 1200920.8659 | 2620350.7679 | 1200920.1 | 2620347.6867 | 1200919.6671 | 2620343.9346 | 1200919.5543 | 2620340.9876 | 1200919.9334 | 2620326.6766 | 1200924.8319 | 2620321.0244 | 1200926.1579 | 2620315.2901 | 1200926.9834 | 2620308.3256 | 1200926.982 | 2620301.7746 | 1200926.2372 | 2620291.7277 | 1200923.9019 | 2620272.1544 | 1200917.2537
28 | 2620567.5294 | 1201150.9372 | 2620573.0506 | 1201148.2096
29 | 2620567.5294 | 1201150.9372 | 2620418.9596 | 1201004.867
30 | 2620103.4163 | 1201432.6105 | 2620095.5819 | 1201428.9155 | 2620090.6234 | 1201418.7267 | 2620084.4745 | 1201405.1493
31 | 2620103.4163 | 1201432.6105 | 2620111.6827 | 1201423.2554 | 2620112.2134 | 1201419.3439
32 | 2620112.2134 | 1201419.3439 | 2620112.8456 | 1201414.6546 | 2620115.2291 | 1201410.0889
33 | 2620361.8908 | 1202007.1742 | 2620334.9732 | 1201983.6215
34 | 2620654.6215 | 1201943.9607 | 2620361.8908 | 1202007.1742
35 | 2620361.8908 | 1202007.1742 | 2620361.1678 | 1202011.6519 | 2620361.8136 | 1202016.8309
36 | 2620476.9722 | 1201628.5378 | 2620480.2563 | 1201631.8397 | 2620482.2425 | 1201638.5724 | 2620481.1593 | 1201648.185 | 2620476.0759 | 1201654.7379 | 2620468.0019 | 1201661.9762
37 | 2620476.9722 | 1201628.5378 | 2620475.7692 | 1201626.4548 | 2620471.9966 | 1201625.7971 | 2620470.7627 | 1201626.2387
38 | 2620661.4799 | 1201596.573 | 2620476.9722 | 1201628.5378
39 | 2620458.4659 | 1201629.9753 | 2620464.6739 | 1201628.4179 | 2620470.7627 | 1201626.2387
40 | 2620660.9306 | 1201579.3314 | 2620658.6049 | 1201587.2499 | 2620658.359 | 1201590.1395 | 2620659.072 | 1201593.0325 | 2620660.4793 | 1201595.4386 | 2620661.4799 | 1201596.573
41 | 2620693.0016 | 1201608.08 | 2620680.1699 | 1201605.9123 | 2620673.4781 | 1201604.2994 | 2620668.204 | 1201602.0689 | 2620663.686 | 1201599.0739 | 2620661.4799 | 1201596.573
42 | 2620660.9306 | 1201579.3314 | 2620667.8668 | 1201580.7116
43 | 2620660.9306 | 1201579.3314 | 2620663.1243 | 1201572.2018 | 2620665.5349 | 1201566.1512 | 2620667.3623 | 1201563.7118 | 2620669.4679 | 1201562.2516 | 2620672.043 | 1201561.4489 | 2620674.5919 | 1201561.6467 | 2620678.841 | 1201563.1844 | 2620679.3435 | 1201563.476
44 | 2620693.0016 | 1201608.08 | 2620693.2846 | 1201612.0609 | 2620694.4615 | 1201617.2789 | 2620695.9651 | 1201622.0698
45 | 2620320.0892 | 1201585.3023 | 2620324.6084 | 1201585.7512 | 2620333.8005 | 1201588.4617 | 2620344.0754 | 1201592.81 | 2620362.1083 | 1201603.0324 | 2620371.7202 | 1201607.612 | 2620379.2005 | 1201610.1166 | 2620402.4143 | 1201616.4324 | 2620421.8514 | 1201621.0122 | 2620432.0321 | 1201621.6917 | 2620447.4767 | 1201620.9107 | 2620452.0865 | 1201621.5712 | 2620455.3371 | 1201623.5389 | 2620457.5478 | 1201626.9372 | 2620458.4659 | 1201629.9753
46 | 2620361.8136 | 1202016.8309 | 2620480.4081 | 1202303.8845
47 | 2620480.4081 | 1202303.8845 | 2620480.6289 | 1202306.2767
48 | 2620480.4081 | 1202303.8845 | 2620487.7252 | 1202304.9212 | 2620491.0269 | 1202304.5991
49 | 2620667.6871 | 1201941.4521 | 2620662.6864 | 1201941.6683 | 2620654.6215 | 1201943.9607
50 | 2620667.6871 | 1201941.4521 | 2620666.976 | 1201957.8586 | 2620668.1846 | 1201963.2444
51 | 2620720.8372 | 1201928.1507 | 2620720.908 | 1201929.6629 | 2620718.6357 | 1201935.3581 | 2620714.1295 | 1201940.0229 | 2620705.3438 | 1201943.2387 | 2620697.587 | 1201943.8233 | 2620689.631 | 1201942.5841 | 2620679.8355 | 1201940.7159 | 2620671.2644 | 1201941.2977 | 2620667.6871 | 1201941.4521
52 | 2620506.1037 | 1202302.2455 | 2620498.9533 | 1202303.8257 | 2620491.0269 | 1202304.5991
53 | 2620487.1367 | 1202350.1439 | 2620484.7565 | 1202331.848 | 2620481.5455 | 1202316.2062 | 2620480.6289 | 1202306.2767
54 | 2620472.5707 | 1202346.0029 | 2620480.1323 | 1202348.9193 | 2620487.1367 | 1202350.1439
55 | 2620720.8372 | 1201928.1507 | 2620720.5246 | 1201921.7239 | 2620717.6836 | 1201915.8108
56 | 2620720.8372 | 1201928.1507 | 2620932.6678 | 1201997.8474
57 | 2620932.6678 | 1201997.8474 | 2620902.8264 | 1202201.1454
58 | 2620723.4984 | 1201601.1928 | 2620728.3904 | 1201601.6766
59 | 2620697.7135 | 1201627.6403 | 2620712.7289 | 1201625.5132 | 2620717.0634 | 1201624.3387 | 2620721.3082 | 1201622.7191 | 2620725.234 | 1201620.8873 | 2620728.0881 | 1201618.6404 | 2620729.6941 | 1201616.3891 | 2620731.151 | 1201613.248 | 2620731.8969 | 1201608.8593 | 2620731.7787 | 1201605.6127 | 2620731.0322 | 1201603.609 | 2620729.9858 | 1201602.5048 | 2620728.3904 | 1201601.6766
60 | 2620697.7135 | 1201627.6403 | 2620695.9651 | 1201622.0698
61 | 2620697.7135 | 1201627.6403 | 2620698.7748 | 1201631.0347 | 2620698.9919 | 1201632.0915 | 2620699.2687 | 1201633.471
62 | 2620699.2687 | 1201633.471 | 2620704.9633 | 1201635.1249 | 2620707.8034 | 1201636.9469 | 2620709.1071 | 1201638.4744 | 2620710.0596 | 1201640.3454 | 2620710.597 | 1201649.9859
63 | 2620699.2687 | 1201633.471 | 2620699.7435 | 1201637.0191 | 2620699.812 | 1201641.352
64 | 2620702.7281 | 1201682.8877 | 2620699.2354 | 1201665.1104 | 2620698.9728 | 1201659.6176 | 2620699.8684 | 1201644.9238 | 2620699.812 | 1201641.352
65 | 2620761.0001 | 1201621.9784 | 2620758.8795 | 1201625.5619 | 2620753.0281 | 1201640.6053 | 2620748.7996 | 1201650.0201
66 | 2620761.0001 | 1201621.9784 | 2620994.854 | 1201420.5627
67 | 2620740.7932 | 1201664.7758 | 2620740.8132 | 1201664.754 | 2620745.3507 | 1201657.6992 | 2620748.7996 | 1201650.0201
68 | 2620702.7281 | 1201682.8877 | 2620724.0311 | 1201675.9798 | 2620731.9052 | 1201672.394 | 2620738.3838 | 1201667.4137 | 2620740.7932 | 1201664.7758
69 | 2620683.0666 | 1201990.1207 | 2620678.0078 | 1201987.3572 | 2620671.2256 | 1201976.7947 | 2620668.1846 | 1201963.2444
70 | 2621165.8934 | 1202131.9846 | 2620902.8264 | 1202201.1454
71 | 2621350.7992 | 1202443.889 | 2621369.8375 | 1202435.6079 | 2621377.2434 | 1202432.9774 | 2621384.1968 | 1202431.3457 | 2621391.6799 | 1202430.5387 | 2621404.6544 | 1202430.5184 | 2621411.4671 | 1202429.909 | 2621418.0548 | 1202428.4096 | 2621423.489 | 1202426.0277 | 2621430.3814 | 1202422.3059 | 2621437.7921 | 1202416.218 | 2621441.9296 | 1202412.1337
72 | 2621450.7286 | 1202403.4239 | 2621446.7804 | 1202407.3453 | 2621441.9296 | 1202412.1337
73 | 2621350.7992 | 1202443.889 | 2621335.3324 | 1202451.4714 | 2621311.9929 | 1202462.4165 | 2621290.3303 | 1202470.4661 | 2621275.1342 | 1202472.5577
74 | 2621450.7286 | 1202403.4239 | 2621458.4768 | 1202405.1193 | 2621473.3569 | 1202406.3066
75 | 2621450.7286 | 1202403.4239 | 2621460.7119 | 1202386.5838 | 2621463.6966 | 1202377.3551
76 | 2621275.1342 | 1202472.5577 | 2621260.958 | 1202471.4408
77 | 2621275.1342 | 1202472.5577 | 2621276.9312 | 1202478.6785 | 2621285.2005 | 1202487.8796 | 2621292.3464 | 1202491.985
78 | 2621473.3569 | 1202406.3066 | 2621484.3011 | 1202397.3854 | 2621498.7759 | 1202386.4536 | 2621503.3379 | 1202381.1448 | 2621508.1583 | 1202369.6003 | 2621510.8996 | 1202364.852 | 2621516.246 | 1202363.6261 | 2621520.1015 | 1202366.4748 | 2621521.3315 | 1202371.4597 | 2621520.521 | 1202376.782 | 2621518.6787 | 1202383.3456 | 2621520.4782 | 1202388.6772 | 2621525.3395 | 1202395.3872 | 2621527.759 | 1202398.1786
79 | 2621467.2963 | 1202364.9504 | 2621467.0218 | 1202367.0736 | 2621463.6966 | 1202377.3551
80 | 2621231.1373 | 1202470.0113 | 2621242.0475 | 1202470.5391 | 2621258.436 | 1202471.2421 | 2621260.958 | 1202471.4408
81 | 2621292.3464 | 1202491.985 | 2621292.3464 | 1202491.985 | 2621297.2636 | 1202492.9867
82 | 2621532.9177 | 1202404.1304 | 2621527.759 | 1202398.1786
83 | 2621467.2963 | 1202364.9504 | 2621470.2386 | 1202342.1937 | 2621470.2861 | 1202341.5969
84 | 2621231.1373 | 1202470.0113 | 2621225.7118 | 1202467.8464 | 2621218.0059 | 1202462.8275 | 2621205.0843 | 1202452.2537
85 | 2621192.0617 | 1202366.9944 | 2621195.3388 | 1202378.5011 | 2621202.468 | 1202408.8874 | 2621205.5643 | 1202421.9833 | 2621209.1763 | 1202433.4579 | 2621211.8987 | 1202440.4158 | 2621214.8837 | 1202446.2852 | 2621217.8957 | 1202450.9651 | 2621222.5405 | 1202456.5735 | 2621229.1409 | 1202464.3455 | 2621230.5774 | 1202466.9632 | 2621231.1373 | 1202470.0113
86 | 2621470.2861 | 1202341.5969 | 2621471.0993 | 1202331.3798 | 2621471.2048 | 1202323.1757 | 2621470.9947 | 1202319.2259
87 | 2621194.0283 | 1202290.3053 | 2621202.8302 | 1202287.2778
88 | 2621181.0977 | 1202293.4376 | 2621190.7692 | 1202291.4263 | 2621194.0283 | 1202290.3053
89 | 2621208.4097 | 1202284.6962 | 2621202.8302 | 1202287.2778
90 | 2621168.9567 | 1202287.9473 | 2621173.4856 | 1202291.9321 | 2621181.0977 | 1202293.4376
91 | 2621173.1117 | 1202302.9813 | 2621175.6283 | 1202297.1537 | 2621181.0977 | 1202293.4376
92 | 2621204.9887 | 1202255.7905 | 2621207.5274 | 1202275.966 | 2621208.4097 | 1202284.6962
93 | 2621165.8934 | 1202131.9846 | 2621173.622 | 1202158.6932 | 2621177.4792 | 1202186.9556 | 2621174.8615 | 1202225.6563 | 2621169.9781 | 1202265.9388 | 2621168.9567 | 1202287.9473
94 | 2621173.1117 | 1202302.9813 | 2621177.7875 | 1202318.7345
95 | 2621192.0617 | 1202366.9944 | 2621182.6548 | 1202335.1326 | 2621177.7875 | 1202318.7345
96 | 2621461.4603 | 1202091.6275 | 2621461.7875 | 1202090.815 | 2621469.9557 | 1202073.1123 | 2621471.5232 | 1202069.8969
97 | 2621470.9947 | 1202319.2259 | 2621461.4603 | 1202091.6275
98 | 2621488.6157 | 1202043.5106 | 2621479.6642 | 1202054.5481 | 2621475.2685 | 1202062.2143 | 2621471.5232 | 1202069.8969
99 | 2621488.6157 | 1202043.5106 | 2621270.6071 | 1201788.8689
100 | 2621270.6071 | 1201788.8689 | 2621270.324 | 1201787.4331 | 2621270.0836 | 1201782.2739 | 2621274.7622 | 1201760.2057
101 | 2621281.3949 | 1201734.9711 | 2621275.8655 | 1201755.0018 | 2621274.7622 | 1201760.2057
102 | 2620683.0666 | 1201990.1207 | 2620688.4445 | 1201993.0519
103 | 2620683.0666 | 1201990.1207 | 2620680.3657 | 1201996.537
104 | 2620684.7475 | 1201977.1861 | 2620683.0666 | 1201990.1207
105 | 2621205.0843 | 1202452.2537 | 2621199.9807 | 1202449.4008 | 2621190.3275 | 1202448.455 | 2621189.1646 | 1202448.3984

## bus_geodata
| x | y | coords
0 | 2620603.4827 | 1201192.2267
1 | 2620617.872 | 1201269.1141
2 | 2620607.1598 | 1201159.5399
3 | 2620359.2923 | 1201428.4389
4 | 2620647.7498 | 1201170.5543
5 | 2620608.9454 | 1201149.3405
6 | 2620685.9043 | 1201895.6567
7 | 2620654.3161 | 1201900.597
8 | 2620705.53 | 1201702.8275
9 | 2620703.4438 | 1201906.2562
10 | 2620315.5347 | 1201456.4579
11 | 2620327.2391 | 1201451.9132
12 | 2620352.1424 | 1201559.0547
13 | 2620121.3214 | 1201431.3366
14 | 2620356.76 | 1201439.0138
15 | 2620357.1726 | 1201437.7083
16 | 2620665.9922 | 1201171.2155
17 | 2620593.3107 | 1201125.3737
18 | 2620653.1818 | 1201159.204
19 | 2620684.6831 | 1201172.0477
20 | 2620580.4697 | 1201141.9845
21 | 2620250.9737 | 1200912.9914
22 | 2620244.2303 | 1200916.8871
23 | 2620255.2385 | 1200912.55
24 | 2620272.1544 | 1200917.2537
25 | 2620567.5294 | 1201150.9372
26 | 2620573.0506 | 1201148.2096
27 | 2620418.9596 | 1201004.867
28 | 2620084.4745 | 1201405.1493
29 | 2620103.4163 | 1201432.6105
30 | 2620112.2134 | 1201419.3439
31 | 2620115.2291 | 1201410.0889
32 | 2620334.9732 | 1201983.6215
33 | 2620361.8908 | 1202007.1742
34 | 2620468.0019 | 1201661.9762
35 | 2620476.9722 | 1201628.5378
36 | 2620470.7627 | 1201626.2387
37 | 2620661.4799 | 1201596.573
38 | 2620660.9306 | 1201579.3314
39 | 2620693.0016 | 1201608.08
40 | 2620458.4659 | 1201629.9753
41 | 2620320.0892 | 1201585.3023
42 | 2620667.8668 | 1201580.7116
43 | 2620679.3435 | 1201563.476
44 | 2620361.8136 | 1202016.8309
45 | 2620480.4081 | 1202303.8845
46 | 2620654.6215 | 1201943.9607
47 | 2620667.6871 | 1201941.4521
48 | 2620506.1037 | 1202302.2455
49 | 2620491.0269 | 1202304.5991
50 | 2620480.6289 | 1202306.2767
51 | 2620487.1367 | 1202350.1439
52 | 2620472.5707 | 1202346.0029
53 | 2620717.6836 | 1201915.8108
54 | 2620720.8372 | 1201928.1507
55 | 2620932.6678 | 1201997.8474
56 | 2620728.3904 | 1201601.6766
57 | 2620723.4984 | 1201601.1928
58 | 2620697.7135 | 1201627.6403
59 | 2620695.9651 | 1201622.0698
60 | 2620699.2687 | 1201633.471
61 | 2620710.597 | 1201649.9858
62 | 2620699.812 | 1201641.352
63 | 2620761.0001 | 1201621.9784
64 | 2620748.7996 | 1201650.0201
65 | 2620994.854 | 1201420.5627
66 | 2620740.7932 | 1201664.7758
67 | 2620702.7281 | 1201682.8877
68 | 2620668.1846 | 1201963.2444
69 | 2620902.8264 | 1202201.1454
70 | 2621441.9296 | 1202412.1337
71 | 2621350.7992 | 1202443.889
72 | 2621450.7286 | 1202403.4239
73 | 2621275.1342 | 1202472.5577
74 | 2621473.3569 | 1202406.3066
75 | 2621463.6966 | 1202377.3551
76 | 2621260.958 | 1202471.4408
77 | 2621292.3464 | 1202491.985
78 | 2621527.759 | 1202398.1786
79 | 2621467.2963 | 1202364.9504
80 | 2621231.1373 | 1202470.0113
81 | 2621297.2636 | 1202492.9867
82 | 2621532.9177 | 1202404.1304
83 | 2621470.2861 | 1202341.5969
84 | 2621194.0283 | 1202290.3053
85 | 2621202.8302 | 1202287.2778
86 | 2621181.0977 | 1202293.4376
87 | 2621208.4097 | 1202284.6962
88 | 2621168.9567 | 1202287.9473
89 | 2621173.1117 | 1202302.9813
90 | 2621204.9887 | 1202255.7905
91 | 2621165.8934 | 1202131.9846
92 | 2621177.7875 | 1202318.7345
93 | 2621192.0617 | 1202366.9944
94 | 2621461.4603 | 1202091.6275
95 | 2621471.5232 | 1202069.8969
96 | 2621470.9947 | 1202319.2259
97 | 2621488.6157 | 1202043.5106
98 | 2621270.6071 | 1201788.8689
99 | 2621274.7622 | 1201760.2057
100 | 2621281.3949 | 1201734.9711
101 | 2620683.0666 | 1201990.1207
102 | 2621205.0843 | 1202452.2537
103 | 2621189.1646 | 1202448.3984
104 | 2620688.4445 | 1201993.0519
105 | 2620680.3657 | 1201996.537
106 | 2620684.7475 | 1201977.1861
107 | 2620660.9306 | 1201579.3314

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1