## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_905-6_1_1_node_128 | 0.4 | n |  | TRUE
1 | bus_LV_905-6_1_1_node_127 | 0.4 | n |  | TRUE
2 | bus_LV_905-6_1_1_node_130 | 0.4 | n |  | TRUE
3 | bus_LV_905-6_1_1_node_129 | 0.4 | n |  | TRUE
4 | bus_LV_905-6_1_1_node_40 | 0.4 | n |  | TRUE
5 | bus_LV_905-6_1_1_node_132 | 0.4 | n |  | TRUE
6 | bus_LV_905-6_1_1_node_133 | 0.4 | n |  | TRUE
7 | bus_LV_905-6_1_1_node_119 | 0.4 | n |  | TRUE
8 | bus_LV_905-6_1_1_node_134 | 0.4 | n |  | TRUE
9 | bus_LV_905-6_1_1_node_135 | 0.4 | n |  | TRUE
10 | bus_LV_905-6_1_1_node_136 | 0.4 | n |  | TRUE
11 | bus_LV_905-6_1_1_node_118 | 0.4 | n |  | TRUE
12 | bus_LV_905-6_1_1_node_142 | 0.4 | n |  | TRUE
13 | bus_LV_905-6_1_1_node_138 | 0.4 | n |  | TRUE
14 | bus_LV_905-6_1_1_node_139 | 0.4 | n |  | TRUE
15 | bus_LV_905-6_1_1_node_46 | 0.4 | n |  | TRUE
16 | bus_LV_905-6_1_1_node_140 | 0.4 | n |  | TRUE
17 | bus_LV_905-6_1_1_node_120 | 0.4 | n |  | TRUE
18 | bus_LV_905-6_1_1_node_141 | 0.4 | n |  | TRUE
19 | bus_LV_905-6_1_1_node_24 | 0.4 | n |  | TRUE
20 | bus_LV_905-6_1_1_node_25 | 0.4 | n |  | TRUE
21 | bus_LV_905-6_1_1_node_26 | 0.4 | n |  | TRUE
22 | bus_LV_905-6_1_1_node_28 | 0.4 | n |  | TRUE
23 | bus_LV_905-6_1_1_node_29 | 0.4 | n |  | TRUE
24 | bus_LV_905-6_1_1_node_36 | 0.4 | n |  | TRUE
25 | bus_LV_905-6_1_1_node_108 | 0.4 | n |  | TRUE
26 | bus_LV_905-6_1_1_node_30 | 0.4 | n |  | TRUE
27 | bus_LV_905-6_1_1_node_31 | 0.4 | n |  | TRUE
28 | bus_LV_905-6_1_1_node_32 | 0.4 | n |  | TRUE
29 | bus_LV_905-6_1_1_node_33 | 0.4 | n |  | TRUE
30 | bus_LV_905-6_1_1_node_34 | 0.4 | n |  | TRUE
31 | bus_LV_905-6_1_1_node_35 | 0.4 | n |  | TRUE
32 | bus_LV_905-6_1_1_node_41 | 0.4 | n |  | TRUE
33 | bus_LV_905-6_1_1_node_37 | 0.4 | n |  | TRUE
34 | bus_LV_905-6_1_1_node_38 | 0.4 | n |  | TRUE
35 | bus_LV_905-6_1_1_node_116 | 0.4 | n |  | TRUE
36 | bus_LV_905-6_1_1_node_42 | 0.4 | n |  | TRUE
37 | bus_LV_905-6_1_1_node_43 | 0.4 | n |  | TRUE
38 | bus_LV_905-6_1_1_node_44 | 0.4 | n |  | TRUE
39 | bus_LV_905-6_1_1_node_45 | 0.4 | n |  | TRUE
40 | bus_LV_905-6_1_1_node_179 | 0.4 | n |  | TRUE
41 | bus_LV_905-6_1_1_node_180 | 0.4 | n |  | TRUE
42 | bus_LV_905-6_1_1_node_107 | 0.4 | n |  | TRUE
43 | bus_LV_905-6_1_1_node_110 | 0.4 | n |  | TRUE
44 | bus_LV_905-6_1_1_node_114 | 0.4 | n |  | TRUE
45 | bus_LV_905-6_1_1_node_112 | 0.4 | n |  | TRUE
46 | bus_LV_905-6_1_1_node_113 | 0.4 | n |  | TRUE
47 | bus_LV_905-6_1_1_node_115 | 0.4 | n |  | TRUE
48 | bus_LV_905-6_1_1_node_117 | 0.4 | n |  | TRUE
49 | bus_MV_0_node_116 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_905-6_1_1_load_128 | 0 | 9.7761e-05 | 2.4501e-05 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_905-6_1_1_load_127 | 1 | 0.00068888 | 0.00017265 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_905-6_1_1_load_130 | 2 | 0.00039646 | 9.9363e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_905-6_1_1_load_132 | 5 | 0.00064137 | 0.00016074 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_905-6_1_1_load_133 | 6 | 0.00030805 | 7.7204e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_905-6_1_1_load_134 | 8 | 0.00091428 | 0.00022914 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_905-6_1_1_load_135 | 9 | 0.00018352 | 4.5994e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_905-6_1_1_load_142 | 12 | 0.00026105 | 6.5425e-05 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_905-6_1_1_load_138 | 13 | 0.00048503 | 0.00012156 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_905-6_1_1_load_140 | 16 | 0.00019018 | 4.7663e-05 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_905-6_1_1_load_141 | 18 | 0.0010138 | 0.00025408 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_905-6_1_1_load_24 | 19 | 0.00086272 | 0.00021622 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_905-6_1_1_load_25 | 20 | 0.0032792 | 0.00082184 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_905-6_1_1_load_28 | 22 | 0.00074452 | 0.00018659 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_905-6_1_1_load_29 | 23 | 0.003168 | 0.00079399 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_905-6_1_1_load_30 | 26 | 0.00022996 | 5.7633e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_905-6_1_1_load_31 | 27 | 0.00036476 | 9.1418e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_905-6_1_1_load_33 | 29 | 0.00023229 | 5.8217e-05 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_905-6_1_1_load_34 | 30 | 0.0023847 | 0.00059765 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_905-6_1_1_load_35 | 31 | 0.00017624 | 4.4171e-05 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_905-6_1_1_load_41 | 32 | 0.00042491 | 0.00010649 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_905-6_1_1_load_37 | 33 | 0.00059707 | 0.00014964 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_905-6_1_1_load_116 | 35 | 0.0012909 | 0.00032353 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_905-6_1_1_load_42 | 36 | 0.00070125 | 0.00017575 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_905-6_1_1_load_43 | 37 | 0.00061528 | 0.0001542 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_905-6_1_1_load_44 | 38 | 0.00099793 | 0.00025011 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_905-6_1_1_load_179 | 40 | 0.0007773 | 0.00019481 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_905-6_1_1_load_180 | 41 | 0.0014471 | 0.00036267 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_905-6_1_1_load_107 | 42 | 0.00052281 | 0.00013103 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_905-6_1_1_load_110 | 43 | 0.00027663 | 6.9331e-05 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_905-6_1_1_load_112 | 45 | 0.00092357 | 0.00023147 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_905-6_1_1_load_113 | 46 | 0.00027146 | 6.8035e-05 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_905-6_1_1_load_115 | 47 | 0.0002685 | 6.7293e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 35 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_905-6_1_1_line_0 | NAYY 4x150 SE | 0 | 1 | 0.01293 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_905-6_1_1_line_1 | NAYY 4x150 SE | 0 | 2 | 0.053311 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_905-6_1_1_line_2 | NAYY 4x150 SE | 1 | 3 | 0.047563 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_905-6_1_1_line_3 | NAYY 4x150 SE | 3 | 4 | 0.49086 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_905-6_1_1_line_4 | NAYY 4x150 SE | 4 | 30 | 0.3943 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_905-6_1_1_line_5 | NAYY 4x150 SE | 5 | 6 | 0.00034287 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_905-6_1_1_line_6 | NAYY 4x150 SE | 6 | 7 | 0.23621 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_905-6_1_1_line_7 | NAYY 4x150 SE | 7 | 48 | 0.21365 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_905-6_1_1_line_8 | NAYY 4x150 SE | 8 | 9 | 0.013059 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_905-6_1_1_line_9 | NAYY 4x150 SE | 9 | 10 | 0.018095 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_905-6_1_1_line_10 | NAYY 4x150 SE | 10 | 11 | 0.06824 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_905-6_1_1_line_11 | NAYY 4x150 SE | 10 | 12 | 0.037897 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_905-6_1_1_line_12 | NAYY 4x150 SE | 11 | 41 | 0.033812 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_905-6_1_1_line_13 | NAYY 4x150 SE | 11 | 48 | 0.074889 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_905-6_1_1_line_14 | NAYY 4x150 SE | 13 | 14 | 0.01053 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_905-6_1_1_line_15 | NAYY 4x150 SE | 14 | 15 | 0.003062 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_905-6_1_1_line_16 | NAYY 4x150 SE | 15 | 40 | 0.030196 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_905-6_1_1_line_17 | NAYY 4x150 SE | 15 | 39 | 0.38119 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_905-6_1_1_line_18 | NAYY 4x150 SE | 16 | 17 | 0.012499 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_905-6_1_1_line_19 | NAYY 4x150 SE | 17 | 18 | 0.008148 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_905-6_1_1_line_20 | NAYY 4x150 SE | 17 | 48 | 0.048471 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_905-6_1_1_line_21 | NAYY 4x150 SE | 19 | 20 | 0.038299 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_905-6_1_1_line_22 | NAYY 4x150 SE | 19 | 21 | 0.045946 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_905-6_1_1_line_23 | NAYY 4x150 SE | 21 | 22 | 0.03493 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_905-6_1_1_line_24 | NAYY 4x150 SE | 21 | 23 | 0.037364 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_905-6_1_1_line_25 | NAYY 4x150 SE | 22 | 24 | 0.025048 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_905-6_1_1_line_26 | NAYY 4x150 SE | 23 | 25 | 0.0092029 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_905-6_1_1_line_27 | NAYY 4x150 SE | 24 | 33 | 0.018599 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_905-6_1_1_line_28 | NAYY 4x150 SE | 24 | 34 | 0.2108 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_905-6_1_1_line_29 | NAYY 4x150 SE | 25 | 43 | 0.24293 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_905-6_1_1_line_30 | NAYY 4x150 SE | 25 | 42 | 0.014499 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_905-6_1_1_line_31 | NAYY 4x150 SE | 26 | 27 | 0.0020669 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_905-6_1_1_line_32 | NAYY 4x150 SE | 26 | 28 | 0.041799 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_905-6_1_1_line_33 | NAYY 4x150 SE | 27 | 29 | 0.0022062 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_905-6_1_1_line_34 | NAYY 4x150 SE | 28 | 30 | 0.011169 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_905-6_1_1_line_35 | NAYY 4x150 SE | 28 | 31 | 0.06499 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_905-6_1_1_line_36 | NAYY 4x150 SE | 31 | 32 | 0.00077501 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_905-6_1_1_line_37 | NAYY 4x150 SE | 32 | 34 | 0.23397 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_905-6_1_1_line_38 | NAYY 4x150 SE | 33 | 35 | 0.011289 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_905-6_1_1_line_39 | NAYY 4x150 SE | 34 | 36 | 0.037651 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_905-6_1_1_line_40 | NAYY 4x150 SE | 36 | 37 | 0.047546 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_905-6_1_1_line_41 | NAYY 4x150 SE | 37 | 38 | 0.077012 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_905-6_1_1_line_42 | NAYY 4x150 SE | 38 | 39 | 0.12607 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_905-6_1_1_line_43 | NAYY 4x150 SE | 43 | 44 | 0.015584 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_905-6_1_1_line_44 | NAYY 4x150 SE | 44 | 47 | 0.0027166 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_905-6_1_1_line_45 | NAYY 4x150 SE | 44 | 45 | 0.043897 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_905-6_1_1_line_46 | NAYY 4x150 SE | 45 | 46 | 0.0096669 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_905-6_1_1_line_47 | NAYY 4x150 SE | 47 | 48 | 0.1371 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_905-6_1_1_trafo_116 | 0.25 MVA 20/0.4 kV | 49 | 35 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28 | x29 | y29 | x30 | y30 | x31 | y31
0 | 2620628.1022 | 1204212.615 | 2620639.0652 | 1204205.7594
1 | 2620639.0652 | 1204205.7594 | 2620639.0652 | 1204205.7594 | 2620664.8073 | 1204181.8239 | 2620674.9579 | 1204166.7653
2 | 2620585.5132 | 1204233.4569 | 2620613.3579 | 1204221.8352 | 2620628.1022 | 1204212.615
3 | 2620555.7291 | 1204723.4128 | 2620585.5132 | 1204233.4569
4 | 2620555.7291 | 1204723.4128 | 2620584.769 | 1204704.1909 | 2620602.3518 | 1204692.0558 | 2620614.2003 | 1204688.4279 | 2620630.1204 | 1204686.4483 | 2620646.4407 | 1204687.5274 | 2620726.3603 | 1204704.0792 | 2620820.5639 | 1204720.8708 | 2620926.3946 | 1204738.5384 | 2620935.065 | 1204739.4557
5 | 2621861.3106 | 1204337.2055 | 2621861.6534 | 1204337.2137
6 | 2621702.1323 | 1204248.7415 | 2621724.1349 | 1204243.9075 | 2621788.8471 | 1204230.0906 | 2621798.2713 | 1204228.3461 | 2621802.5527 | 1204228.7731 | 2621805.8021 | 1204232.6426 | 2621807.7869 | 1204239.1089 | 2621820.9001 | 1204289.6512 | 2621828.3135 | 1204315.6703 | 2621834.1933 | 1204326.2642 | 2621838.9054 | 1204331.6177 | 2621845.7941 | 1204334.6445 | 2621858.4357 | 1204337.1364 | 2621861.3106 | 1204337.2055
7 | 2621660.8658 | 1204458.0849 | 2621662.651 | 1204435.6568 | 2621664.3703 | 1204420.9105 | 2621665.5897 | 1204411.8766 | 2621669.3638 | 1204392.6908 | 2621693.1954 | 1204288.1752 | 2621702.1323 | 1204248.7415
8 | 2621783.2452 | 1204517.5919 | 2621778.1004 | 1204505.5888
9 | 2621770.9715 | 1204488.9568 | 2621778.1004 | 1204505.5888
10 | 2621770.9715 | 1204488.9568 | 2621776.7264 | 1204477.3825 | 2621776.7781 | 1204471.535 | 2621774.9262 | 1204466.192 | 2621772.5234 | 1204461.7586 | 2621767.0027 | 1204457.0137 | 2621761.3276 | 1204455.0031 | 2621744.3695 | 1204453.474 | 2621735.8256 | 1204453.7987
11 | 2621770.9715 | 1204488.9568 | 2621779.8512 | 1204488.2999 | 2621788.951 | 1204485.6871 | 2621794.2682 | 1204481.5486 | 2621795.0508 | 1204475.5148 | 2621792.4187 | 1204469.2796
12 | 2621735.8256 | 1204453.7987 | 2621737.8671 | 1204473.9839 | 2621740.6564 | 1204487.2124
13 | 2621660.8658 | 1204458.0849 | 2621673.7943 | 1204456.9311 | 2621688.6938 | 1204455.5621 | 2621735.8256 | 1204453.7987
14 | 2621328.4648 | 1204226.8645 | 2621328.3258 | 1204218.893 | 2621328.9575 | 1204216.4149
15 | 2621331.3743 | 1204225.8855 | 2621328.4648 | 1204226.8645
16 | 2621352.2086 | 1204209.3951 | 2621338.1849 | 1204212.4913 | 2621334.9137 | 1204214.6363 | 2621332.748 | 1204218.2417 | 2621331.3743 | 1204225.8855
17 | 2621242.4334 | 1204437.0187 | 2621243.8152 | 1204435.6228 | 2621245.6524 | 1204434.5287 | 2621248.5786 | 1204433.0828 | 2621253.5451 | 1204431.1994 | 2621291.2607 | 1204420.5386 | 2621320.6714 | 1204411.4827 | 2621355.6059 | 1204400.012 | 2621380.5221 | 1204392.7858 | 2621401.4641 | 1204386.5016 | 2621401.031 | 1204375.7275 | 2621399.7541 | 1204366.907 | 2621397.565 | 1204357.9164 | 2621391.9751 | 1204340.5091 | 2621386.733 | 1204321.5689 | 2621384.7415 | 1204308.3434 | 2621384.2391 | 1204278.6475 | 2621382.0727 | 1204256.8722 | 2621379.7083 | 1204233.0618 | 2621378.1271 | 1204222.0834 | 2621366.0279 | 1204223.0964 | 2621362.2088 | 1204223.1494 | 2621356.4825 | 1204222.6065 | 2621350.4266 | 1204222.7405 | 2621343.334 | 1204223.449 | 2621331.3743 | 1204225.8855
18 | 2621688.4047 | 1204432.4705 | 2621700.904 | 1204432.5159
19 | 2621688.9971 | 1204424.346 | 2621688.4047 | 1204432.4705
20 | 2621660.8658 | 1204458.0849 | 2621662.651 | 1204435.6568 | 2621685.9401 | 1204432.4616 | 2621688.4047 | 1204432.4705
21 | 2621364.2218 | 1204774.9361 | 2621360.1838 | 1204777.6695 | 2621343.3425 | 1204788.4042 | 2621337.3478 | 1204792.8742 | 2621332.8973 | 1204796.8586
22 | 2621395.9933 | 1204742.1778 | 2621390.6024 | 1204750.074 | 2621385.1106 | 1204756.3801 | 2621379.3917 | 1204762.4074 | 2621374.1709 | 1204767.436 | 2621367.176 | 1204772.9363 | 2621364.2218 | 1204774.9361
23 | 2621395.9933 | 1204742.1778 | 2621372.6274 | 1204718.2478 | 2621371.5381 | 1204717.2397
24 | 2621395.9933 | 1204742.1778 | 2621432.4835 | 1204734.1465
25 | 2621352.9669 | 1204700.4345 | 2621361.2323 | 1204707.7014 | 2621371.5381 | 1204717.2397
26 | 2621441.4712 | 1204732.1683 | 2621432.4835 | 1204734.1465
27 | 2621352.9669 | 1204700.4345 | 2621355.4336 | 1204695.5629 | 2621357.1051 | 1204691.8668 | 2621359.7938 | 1204683.1916
28 | 2621352.9669 | 1204700.4345 | 2621348.1095 | 1204697.3822 | 2621339.6762 | 1204692.4161 | 2621331.9821 | 1204689.1869 | 2621325.1892 | 1204687.0726 | 2621316.3039 | 1204685.1177 | 2621301.4717 | 1204682.7414 | 2621279.7262 | 1204680.007 | 2621269.8629 | 1204679.2493 | 2621262.3392 | 1204679.456 | 2621236.4613 | 1204681.532 | 2621227.8734 | 1204681.5127 | 2621219.5229 | 1204681.0272 | 2621206.9308 | 1204679.7263 | 2621198.4032 | 1204679.8629 | 2621191.5814 | 1204679.4719 | 2621187.5982 | 1204678.6907 | 2621183.7683 | 1204677.5876 | 2621179.3552 | 1204675.771 | 2621171.9686 | 1204671.5981 | 2621166.4885 | 1204668.2325 | 2621160.4791 | 1204663.9533 | 2621152.5381 | 1204657.3661
29 | 2621441.4712 | 1204732.1683 | 2621454.294 | 1204728.5011 | 2621461.3737 | 1204726.9701 | 2621466.6695 | 1204726.5222 | 2621476.4549 | 1204725.6457 | 2621487.1139 | 1204725.0614 | 2621492.0076 | 1204724.3452 | 2621497.3359 | 1204723.3304 | 2621503.725 | 1204721.3523 | 2621509.0879 | 1204719.1815 | 2621514.9168 | 1204716.4453 | 2621520.0618 | 1204713.54 | 2621523.8444 | 1204710.8521 | 2621527.1655 | 1204707.4511 | 2621531.4643 | 1204702.9307 | 2621537.4926 | 1204695.5483 | 2621542.8338 | 1204688.8528 | 2621546.7657 | 1204684.8314 | 2621551.427 | 1204681.0572 | 2621555.4535 | 1204678.259 | 2621561.0411 | 1204674.9662 | 2621601.0872 | 1204656.9228 | 2621609.9584 | 1204652.2412 | 2621616.2714 | 1204648.1728 | 2621620.4058 | 1204645.0082 | 2621623.2842 | 1204642.0615 | 2621626.5767 | 1204638.1823 | 2621629.1495 | 1204633.5113 | 2621630.9741 | 1204629.5824 | 2621633.3736 | 1204622.3315 | 2621635.3234 | 1204613.2446 | 2621635.9275 | 1204611.1989
30 | 2621441.4712 | 1204732.1683 | 2621450.776 | 1204735.9148 | 2621455.0172 | 1204737.3209
31 | 2620975.4454 | 1204769.5041 | 2620976.3306 | 1204771.3718
32 | 2620946.1722 | 1204740.6309 | 2620966.9281 | 1204756.5678 | 2620972.2161 | 1204762.6897 | 2620975.4454 | 1204769.5041
33 | 2620976.3306 | 1204771.3718 | 2620977.2754 | 1204773.3655
34 | 2620946.1722 | 1204740.6309 | 2620935.065 | 1204739.4557
35 | 2620946.1722 | 1204740.6309 | 2620947.0122 | 1204735.3531 | 2620950.7305 | 1204720.5135 | 2620957.7261 | 1204703.8622 | 2620965.1111 | 1204693.3156 | 2620972.0704 | 1204687.0365 | 2620975.3628 | 1204684.6987
36 | 2620975.3628 | 1204684.6987 | 2620975.9948 | 1204684.25
37 | 2621152.5381 | 1204657.3661 | 2621135.6606 | 1204639.6078 | 2621113.9019 | 1204618.9864 | 2621091.5367 | 1204597.7514 | 2621086.2434 | 1204595.2981 | 2621082.3639 | 1204595.2844 | 2621078.0742 | 1204597.3038 | 2621066.1994 | 1204608.2458 | 2621031.8135 | 1204639.4421 | 2620990.8907 | 1204673.6729 | 2620975.9948 | 1204684.25
38 | 2621362.9406 | 1204672.3547 | 2621362.1302 | 1204675.6536 | 2621359.7938 | 1204683.1916
39 | 2621152.5381 | 1204657.3661 | 2621179.8551 | 1204650.5923 | 2621189.2593 | 1204649.2001
40 | 2621234.7131 | 1204637.4584 | 2621234.1284 | 1204637.9887 | 2621230.7575 | 1204640.4558 | 2621224.0309 | 1204643.2113 | 2621214.7656 | 1204645.4241 | 2621189.2593 | 1204649.2001
41 | 2621234.7131 | 1204637.4584 | 2621236.6926 | 1204635.6631 | 2621238.6694 | 1204631.6457 | 2621239.9834 | 1204627.8928 | 2621240.7492 | 1204620.0467 | 2621240.9791 | 1204613.1215 | 2621240.1435 | 1204599.9557 | 2621237.6569 | 1204576.1449 | 2621237.5284 | 1204562.2044
42 | 2621242.4334 | 1204437.0187 | 2621240.919 | 1204439.3257 | 2621239.6517 | 1204442.7342 | 2621238.918 | 1204445.8555 | 2621238.2964 | 1204449.5331 | 2621237.86 | 1204454.601 | 2621238.7203 | 1204542.2856 | 2621237.4976 | 1204558.8571 | 2621237.5284 | 1204562.2044
43 | 2621641.0207 | 1204596.4782 | 2621638.8007 | 1204602.4402 | 2621637.2255 | 1204606.8035 | 2621635.9275 | 1204611.1989
44 | 2621641.0207 | 1204596.4782 | 2621641.4378 | 1204593.7938
45 | 2621641.0207 | 1204596.4782 | 2621658.6554 | 1204600.1107 | 2621663.1632 | 1204603.0397 | 2621662.0762 | 1204609.128 | 2621660.653 | 1204619.8399 | 2621660.4059 | 1204623.3564
46 | 2621659.7281 | 1204632.9995 | 2621660.4059 | 1204623.3564
47 | 2621660.8658 | 1204458.0849 | 2621660.6666 | 1204460.5634 | 2621650.63 | 1204528.6645 | 2621642.8822 | 1204582.3327 | 2621642.1188 | 1204589.4116 | 2621641.4378 | 1204593.7938

## bus_geodata
| x | y | coords
0 | 2620639.0652 | 1204205.7594
1 | 2620628.1022 | 1204212.615
2 | 2620674.9579 | 1204166.7653
3 | 2620585.5132 | 1204233.4569
4 | 2620555.7291 | 1204723.4128
5 | 2621861.6534 | 1204337.2137
6 | 2621861.3106 | 1204337.2055
7 | 2621702.1323 | 1204248.7415
8 | 2621783.2452 | 1204517.5919
9 | 2621778.1004 | 1204505.5888
10 | 2621770.9715 | 1204488.9568
11 | 2621735.8256 | 1204453.7987
12 | 2621792.4187 | 1204469.2796
13 | 2621328.9575 | 1204216.4149
14 | 2621328.4648 | 1204226.8645
15 | 2621331.3743 | 1204225.8855
16 | 2621700.904 | 1204432.5159
17 | 2621688.4047 | 1204432.4705
18 | 2621688.9971 | 1204424.346
19 | 2621364.2218 | 1204774.9361
20 | 2621332.8973 | 1204796.8586
21 | 2621395.9933 | 1204742.1778
22 | 2621371.5381 | 1204717.2397
23 | 2621432.4835 | 1204734.1465
24 | 2621352.9669 | 1204700.4345
25 | 2621441.4712 | 1204732.1683
26 | 2620975.4454 | 1204769.5041
27 | 2620976.3306 | 1204771.3718
28 | 2620946.1722 | 1204740.6309
29 | 2620977.2754 | 1204773.3655
30 | 2620935.065 | 1204739.4557
31 | 2620975.3628 | 1204684.6987
32 | 2620975.9948 | 1204684.25
33 | 2621359.7938 | 1204683.1916
34 | 2621152.5381 | 1204657.3661
35 | 2621362.9406 | 1204672.3547
36 | 2621189.2593 | 1204649.2001
37 | 2621234.7131 | 1204637.4584
38 | 2621237.5284 | 1204562.2043
39 | 2621242.4334 | 1204437.0187
40 | 2621352.2086 | 1204209.3951
41 | 2621740.6564 | 1204487.2124
42 | 2621455.0172 | 1204737.3209
43 | 2621635.9275 | 1204611.1989
44 | 2621641.0207 | 1204596.4782
45 | 2621660.4059 | 1204623.3564
46 | 2621659.7281 | 1204632.9995
47 | 2621641.4378 | 1204593.7938
48 | 2621660.8658 | 1204458.0849
49 | 2621362.9406 | 1204672.3547

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1