## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_905-7_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_905-7_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_905-7_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_905-7_0_6_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_905-7_0_6_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_905-7_0_6_node_3 | 0.4 | n |  | TRUE
6 | bus_LV_905-7_0_6_node_18 | 0.4 | n |  | TRUE
7 | bus_LV_905-7_0_6_node_19 | 0.4 | n |  | TRUE
8 | bus_LV_905-7_0_6_node_17 | 0.4 | n |  | TRUE
9 | bus_LV_905-7_0_6_node_11 | 0.4 | n |  | TRUE
10 | bus_LV_905-7_0_6_node_148 | 0.4 | n |  | TRUE
11 | bus_LV_905-7_0_6_node_115 | 0.4 | n |  | TRUE
12 | bus_LV_905-7_0_6_node_122 | 0.4 | n |  | TRUE
13 | bus_LV_905-7_0_6_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_905-7_0_6_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_905-7_0_6_node_6 | 0.4 | n |  | TRUE
16 | bus_LV_905-7_0_6_node_7 | 0.4 | n |  | TRUE
17 | bus_LV_905-7_0_6_node_8 | 0.4 | n |  | TRUE
18 | bus_LV_905-7_0_6_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_905-7_0_6_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_905-7_0_6_node_15 | 0.4 | n |  | TRUE
21 | bus_LV_905-7_0_6_node_14 | 0.4 | n |  | TRUE
22 | bus_LV_905-7_0_6_node_114 | 0.4 | n |  | TRUE
23 | bus_LV_905-7_0_6_node_120 | 0.4 | n |  | TRUE
24 | bus_LV_905-7_0_6_node_58 | 0.4 | n |  | TRUE
25 | bus_LV_905-7_0_6_node_60 | 0.4 | n |  | TRUE
26 | bus_LV_905-7_0_6_node_61 | 0.4 | n |  | TRUE
27 | bus_LV_905-7_0_6_node_62 | 0.4 | n |  | TRUE
28 | bus_LV_905-7_0_6_node_144 | 0.4 | n |  | TRUE
29 | bus_LV_905-7_0_6_node_63 | 0.4 | n |  | TRUE
30 | bus_LV_905-7_0_6_node_142 | 0.4 | n |  | TRUE
31 | bus_LV_905-7_0_6_node_64 | 0.4 | n |  | TRUE
32 | bus_LV_905-7_0_6_node_143 | 0.4 | n |  | TRUE
33 | bus_LV_905-7_0_6_node_145 | 0.4 | n |  | TRUE
34 | bus_LV_905-7_0_6_node_146 | 0.4 | n |  | TRUE
35 | bus_LV_905-7_0_6_node_65 | 0.4 | n |  | TRUE
36 | bus_LV_905-7_0_6_node_66 | 0.4 | n |  | TRUE
37 | bus_LV_905-7_0_6_node_67 | 0.4 | n |  | TRUE
38 | bus_LV_905-7_0_6_node_68 | 0.4 | n |  | TRUE
39 | bus_LV_905-7_0_6_node_69 | 0.4 | n |  | TRUE
40 | bus_LV_905-7_0_6_node_70 | 0.4 | n |  | TRUE
41 | bus_LV_905-7_0_6_node_71 | 0.4 | n |  | TRUE
42 | bus_LV_905-7_0_6_node_73 | 0.4 | n |  | TRUE
43 | bus_LV_905-7_0_6_node_72 | 0.4 | n |  | TRUE
44 | bus_LV_905-7_0_6_node_90 | 0.4 | n |  | TRUE
45 | bus_LV_905-7_0_6_node_74 | 0.4 | n |  | TRUE
46 | bus_LV_905-7_0_6_node_91 | 0.4 | n |  | TRUE
47 | bus_LV_905-7_0_6_node_89 | 0.4 | n |  | TRUE
48 | bus_LV_905-7_0_6_node_81 | 0.4 | n |  | TRUE
49 | bus_LV_905-7_0_6_node_79 | 0.4 | n |  | TRUE
50 | bus_LV_905-7_0_6_node_75 | 0.4 | n |  | TRUE
51 | bus_LV_905-7_0_6_node_76 | 0.4 | n |  | TRUE
52 | bus_LV_905-7_0_6_node_77 | 0.4 | n |  | TRUE
53 | bus_LV_905-7_0_6_node_80 | 0.4 | n |  | TRUE
54 | bus_LV_905-7_0_6_node_82 | 0.4 | n |  | TRUE
55 | bus_LV_905-7_0_6_node_85 | 0.4 | n |  | TRUE
56 | bus_LV_905-7_0_6_node_83 | 0.4 | n |  | TRUE
57 | bus_LV_905-7_0_6_node_88 | 0.4 | n |  | TRUE
58 | bus_LV_905-7_0_6_node_84 | 0.4 | n |  | TRUE
59 | bus_LV_905-7_0_6_node_87 | 0.4 | n |  | TRUE
60 | bus_LV_905-7_0_6_node_86 | 0.4 | n |  | TRUE
61 | bus_LV_905-7_0_6_node_93 | 0.4 | n |  | TRUE
62 | bus_LV_905-7_0_6_node_102 | 0.4 | n |  | TRUE
63 | bus_LV_905-7_0_6_node_92 | 0.4 | n |  | TRUE
64 | bus_LV_905-7_0_6_node_103 | 0.4 | n |  | TRUE
65 | bus_LV_905-7_0_6_node_94 | 0.4 | n |  | TRUE
66 | bus_LV_905-7_0_6_node_97 | 0.4 | n |  | TRUE
67 | bus_LV_905-7_0_6_node_99 | 0.4 | n |  | TRUE
68 | bus_LV_905-7_0_6_node_95 | 0.4 | n |  | TRUE
69 | bus_LV_905-7_0_6_node_96 | 0.4 | n |  | TRUE
70 | bus_LV_905-7_0_6_node_98 | 0.4 | n |  | TRUE
71 | bus_LV_905-7_0_6_node_104 | 0.4 | n |  | TRUE
72 | bus_LV_905-7_0_6_node_100 | 0.4 | n |  | TRUE
73 | bus_LV_905-7_0_6_node_105 | 0.4 | n |  | TRUE
74 | bus_LV_905-7_0_6_node_101 | 0.4 | n |  | TRUE
75 | bus_LV_905-7_0_6_node_109 | 0.4 | n |  | TRUE
76 | bus_LV_905-7_0_6_node_107 | 0.4 | n |  | TRUE
77 | bus_LV_905-7_0_6_node_110 | 0.4 | n |  | TRUE
78 | bus_LV_905-7_0_6_node_106 | 0.4 | n |  | TRUE
79 | bus_LV_905-7_0_6_node_112 | 0.4 | n |  | TRUE
80 | bus_LV_905-7_0_6_node_111 | 0.4 | n |  | TRUE
81 | bus_LV_905-7_0_6_node_116 | 0.4 | n |  | TRUE
82 | bus_LV_905-7_0_6_node_113 | 0.4 | n |  | TRUE
83 | bus_LV_905-7_0_6_node_135 | 0.4 | n |  | TRUE
84 | bus_LV_905-7_0_6_node_130 | 0.4 | n |  | TRUE
85 | bus_LV_905-7_0_6_node_137 | 0.4 | n |  | TRUE
86 | bus_LV_905-7_0_6_node_128 | 0.4 | n |  | TRUE
87 | bus_LV_905-7_0_6_node_136 | 0.4 | n |  | TRUE
88 | bus_LV_905-7_0_6_node_117 | 0.4 | n |  | TRUE
89 | bus_LV_905-7_0_6_node_118 | 0.4 | n |  | TRUE
90 | bus_LV_905-7_0_6_node_119 | 0.4 | n |  | TRUE
91 | bus_LV_905-7_0_6_node_121 | 0.4 | n |  | TRUE
92 | bus_LV_905-7_0_6_node_123 | 0.4 | n |  | TRUE
93 | bus_LV_905-7_0_6_node_124 | 0.4 | n |  | TRUE
94 | bus_LV_905-7_0_6_node_125 | 0.4 | n |  | TRUE
95 | bus_LV_905-7_0_6_node_131 | 0.4 | n |  | TRUE
96 | bus_LV_905-7_0_6_node_134 | 0.4 | n |  | TRUE
97 | bus_LV_905-7_0_6_node_126 | 0.4 | n |  | TRUE
98 | bus_LV_905-7_0_6_node_127 | 0.4 | n |  | TRUE
99 | bus_LV_905-7_0_6_node_129 | 0.4 | n |  | TRUE
100 | bus_LV_905-7_0_6_node_132 | 0.4 | n |  | TRUE
101 | bus_LV_905-7_0_6_node_133 | 0.4 | n |  | TRUE
102 | bus_MV_183_0_node_6 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_905-7_0_6_load_0 | 0 | 0.0012464 | 0.00031237 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_905-7_0_6_load_2 | 2 | 0.0019923 | 0.00049932 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_905-7_0_6_load_18 | 6 | 0.0032893 | 0.00082437 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_905-7_0_6_load_17 | 8 | 0.0030693 | 0.00076924 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_905-7_0_6_load_148 | 10 | 0.00074893 | 0.0001877 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_905-7_0_6_load_115 | 11 | 0.003918 | 0.00098194 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_905-7_0_6_load_122 | 12 | 0.0020924 | 0.0005244 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_905-7_0_6_load_9 | 13 | 0.0017851 | 0.00044739 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_905-7_0_6_load_10 | 14 | 0.0016596 | 0.00041593 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_905-7_0_6_load_6 | 15 | 0.0016079 | 0.00040298 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_905-7_0_6_load_7 | 16 | 0.0036548 | 0.00091599 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_905-7_0_6_load_8 | 17 | 0.002606 | 0.00065313 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_905-7_0_6_load_15 | 20 | 4.2806e-05 | 1.0728e-05 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_905-7_0_6_load_14 | 21 | 0.00023322 | 5.8449e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_905-7_0_6_load_114 | 22 | 0.0033753 | 0.00084593 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_905-7_0_6_load_120 | 23 | 0.00091016 | 0.00022811 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_905-7_0_6_load_58 | 24 | 0.0017198 | 0.00043102 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_905-7_0_6_load_61 | 26 | 0.0033312 | 0.00083487 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_905-7_0_6_load_63 | 29 | 0.015253 | 0.0038227 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_905-7_0_6_load_142 | 30 | 0.00037188 | 9.3202e-05 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_905-7_0_6_load_143 | 32 | 0.00026252 | 6.5793e-05 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_905-7_0_6_load_146 | 34 | 0.00099501 | 0.00024937 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_905-7_0_6_load_66 | 36 | 0.0012052 | 0.00030205 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_905-7_0_6_load_67 | 37 | 0.00058683 | 0.00014707 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_905-7_0_6_load_68 | 38 | 0.00065935 | 0.00016525 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_905-7_0_6_load_69 | 39 | 0.00038985 | 9.7706e-05 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_905-7_0_6_load_71 | 41 | 0.0016035 | 0.00040189 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_905-7_0_6_load_90 | 44 | 0.0036443 | 0.00091335 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_905-7_0_6_load_74 | 45 | 0.0021382 | 0.0005359 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_905-7_0_6_load_89 | 47 | 0.0039056 | 0.00097882 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_905-7_0_6_load_75 | 50 | 0.0022181 | 0.00055591 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_905-7_0_6_load_76 | 51 | 0.0015812 | 0.00039628 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_905-7_0_6_load_77 | 52 | 0.0013084 | 0.00032791 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_905-7_0_6_load_80 | 53 | 0.0007923 | 0.00019857 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_905-7_0_6_load_85 | 55 | 0.013185 | 0.0033045 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_905-7_0_6_load_83 | 56 | 0.0020838 | 0.00052225 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_905-7_0_6_load_87 | 59 | 0.007798 | 0.0019544 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_905-7_0_6_load_102 | 62 | 0.0043118 | 0.0010806 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_905-7_0_6_load_92 | 63 | 0.0037888 | 0.00094956 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_905-7_0_6_load_94 | 65 | 0.0023683 | 0.00059356 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_905-7_0_6_load_99 | 67 | 0.010907 | 0.0027335 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_905-7_0_6_load_95 | 68 | 0.0029623 | 0.00074243 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_905-7_0_6_load_96 | 69 | 0.0083674 | 0.0020971 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_905-7_0_6_load_98 | 70 | 0.0035541 | 0.00089075 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_905-7_0_6_load_104 | 71 | 0.0049627 | 0.0012438 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_905-7_0_6_load_100 | 72 | 0.0029493 | 0.00073917 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_905-7_0_6_load_101 | 74 | 0.001778 | 0.00044562 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_905-7_0_6_load_109 | 75 | 0.003812 | 0.00095538 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_905-7_0_6_load_107 | 76 | 0.0032417 | 0.00081244 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_905-7_0_6_load_106 | 78 | 0.0025854 | 0.00064795 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_905-7_0_6_load_116 | 81 | 0.0030513 | 0.00076473 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_905-7_0_6_load_113 | 82 | 0.0030676 | 0.00076881 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_905-7_0_6_load_135 | 83 | 0.0050075 | 0.001255 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_905-7_0_6_load_137 | 85 | 0.0018217 | 0.00045655 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_905-7_0_6_load_128 | 86 | 0.00084499 | 0.00021178 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_905-7_0_6_load_136 | 87 | 0.0021236 | 0.00053222 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_905-7_0_6_load_117 | 88 | 0.0010377 | 0.00026008 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_905-7_0_6_load_118 | 89 | 0.00092885 | 0.00023279 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_905-7_0_6_load_119 | 90 | 0.00086687 | 0.00021726 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_905-7_0_6_load_121 | 91 | 0.002208 | 0.00055339 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_905-7_0_6_load_123 | 92 | 0.0023897 | 0.00059893 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_905-7_0_6_load_124 | 93 | 0.0031168 | 0.00078114 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_905-7_0_6_load_125 | 94 | 0.0022872 | 0.00057322 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_905-7_0_6_load_131 | 95 | 0.0016241 | 0.00040703 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_905-7_0_6_load_134 | 96 | 0.0017705 | 0.00044374 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_905-7_0_6_load_126 | 97 | 0.0052592 | 0.0013181 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_905-7_0_6_load_127 | 98 | 0.0026062 | 0.00065318 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_905-7_0_6_load_132 | 100 | 0.0029582 | 0.00074138 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 69 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_905-7_0_6_line_0 | NAYY 4x150 SE | 0 | 1 | 0.014415 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_905-7_0_6_line_1 | NAYY 4x150 SE | 1 | 2 | 0.018007 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_905-7_0_6_line_2 | NAYY 4x150 SE | 1 | 3 | 0.21083 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
3 | LV_905-7_0_6_line_3 | NAYY 4x150 SE | 1 | 4 | 0.26571 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
4 | LV_905-7_0_6_line_4 | NAYY 4x150 SE | 3 | 7 | 0.11704 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
5 | LV_905-7_0_6_line_5 | NAYY 4x150 SE | 3 | 8 | 0.061923 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_905-7_0_6_line_6 | NAYY 4x150 SE | 3 | 5 | 0.23933 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_905-7_0_6_line_7 | NAYY 4x150 SE | 4 | 9 | 0.005026 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_905-7_0_6_line_8 | NAYY 4x150 SE | 4 | 10 | 0.023739 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_905-7_0_6_line_9 | NAYY 4x150 SE | 5 | 6 | 0.13738 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_905-7_0_6_line_10 | NAYY 4x150 SE | 7 | 11 | 0.022474 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_905-7_0_6_line_11 | NAYY 4x150 SE | 7 | 12 | 0.021608 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
12 | LV_905-7_0_6_line_12 | NAYY 4x150 SE | 9 | 13 | 0.014868 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_905-7_0_6_line_13 | NAYY 4x150 SE | 9 | 14 | 0.054356 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_905-7_0_6_line_14 | NAYY 4x150 SE | 11 | 22 | 0.0078168 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_905-7_0_6_line_15 | NAYY 4x150 SE | 12 | 23 | 0.0096746 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
16 | LV_905-7_0_6_line_16 | NAYY 4x150 SE | 13 | 17 | 0.042673 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_905-7_0_6_line_17 | NAYY 4x150 SE | 14 | 18 | 0.11249 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_905-7_0_6_line_18 | NAYY 4x150 SE | 15 | 16 | 0.0073 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_905-7_0_6_line_19 | NAYY 4x150 SE | 15 | 17 | 0.0091258 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_905-7_0_6_line_20 | NAYY 4x150 SE | 18 | 19 | 0.19656 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_905-7_0_6_line_21 | NAYY 4x150 SE | 19 | 20 | 0.029376 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_905-7_0_6_line_22 | NAYY 4x150 SE | 20 | 21 | 0.020709 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_905-7_0_6_line_23 | NAYY 4x150 SE | 22 | 82 | 0.034274 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_905-7_0_6_line_24 | NAYY 4x150 SE | 23 | 89 | 0.02136 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
25 | LV_905-7_0_6_line_25 | NAYY 4x150 SE | 24 | 25 | 0.18379 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_905-7_0_6_line_26 | NAYY 4x150 SE | 25 | 26 | 0.040155 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_905-7_0_6_line_27 | NAYY 4x150 SE | 26 | 27 | 0.035264 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_905-7_0_6_line_28 | NAYY 4x150 SE | 26 | 28 | 0.51217 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_905-7_0_6_line_29 | NAYY 4x150 SE | 27 | 29 | 0.051289 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_905-7_0_6_line_30 | NAYY 4x150 SE | 28 | 30 | 0.18731 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_905-7_0_6_line_31 | NAYY 4x150 SE | 29 | 31 | 0.13561 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_905-7_0_6_line_32 | NAYY 4x150 SE | 30 | 32 | 0.015661 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_905-7_0_6_line_33 | NAYY 4x150 SE | 31 | 35 | 0.04971 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_905-7_0_6_line_34 | NAYY 4x150 SE | 32 | 33 | 0.014563 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_905-7_0_6_line_35 | NAYY 4x150 SE | 33 | 34 | 0.013336 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_905-7_0_6_line_36 | NAYY 4x150 SE | 35 | 36 | 0.0086877 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_905-7_0_6_line_37 | NAYY 4x150 SE | 36 | 37 | 0.053895 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_905-7_0_6_line_38 | NAYY 4x150 SE | 37 | 38 | 0.021285 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_905-7_0_6_line_39 | NAYY 4x150 SE | 38 | 39 | 0.010364 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_905-7_0_6_line_40 | NAYY 4x150 SE | 39 | 40 | 0.013946 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_905-7_0_6_line_41 | NAYY 4x150 SE | 40 | 41 | 0.021953 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_905-7_0_6_line_42 | NAYY 4x150 SE | 41 | 42 | 0.0050644 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_905-7_0_6_line_43 | NAYY 4x150 SE | 42 | 45 | 0.0094382 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_905-7_0_6_line_44 | NAYY 4x150 SE | 42 | 43 | 0.018815 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_905-7_0_6_line_45 | NAYY 4x150 SE | 43 | 44 | 0.020368 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_905-7_0_6_line_46 | NAYY 4x150 SE | 44 | 46 | 0.037423 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_905-7_0_6_line_47 | NAYY 4x150 SE | 45 | 48 | 0.011335 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_905-7_0_6_line_48 | NAYY 4x150 SE | 46 | 47 | 0.0033867 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_905-7_0_6_line_49 | NAYY 4x150 SE | 47 | 57 | 0.013404 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_905-7_0_6_line_50 | NAYY 4x150 SE | 48 | 49 | 0.01097 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_905-7_0_6_line_51 | NAYY 4x150 SE | 49 | 53 | 0.023507 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_905-7_0_6_line_52 | NAYY 4x150 SE | 49 | 52 | 0.018498 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_905-7_0_6_line_53 | NAYY 4x150 SE | 50 | 51 | 0.0011437 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_905-7_0_6_line_54 | NAYY 4x150 SE | 50 | 52 | 0.027882 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_905-7_0_6_line_55 | NAYY 4x150 SE | 54 | 55 | 0.025767 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
56 | LV_905-7_0_6_line_56 | NAYY 4x150 SE | 54 | 56 | 0.017208 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
57 | LV_905-7_0_6_line_57 | NAYY 4x150 SE | 55 | 57 | 0.031781 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
58 | LV_905-7_0_6_line_58 | NAYY 4x150 SE | 56 | 58 | 0.048216 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
59 | LV_905-7_0_6_line_59 | NAYY 4x150 SE | 58 | 59 | 0.045432 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
60 | LV_905-7_0_6_line_60 | NAYY 4x150 SE | 59 | 63 | 0.015024 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
61 | LV_905-7_0_6_line_61 | NAYY 4x150 SE | 60 | 61 | 0.024027 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
62 | LV_905-7_0_6_line_62 | NAYY 4x150 SE | 60 | 62 | 0.014878 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
63 | LV_905-7_0_6_line_63 | NAYY 4x150 SE | 61 | 63 | 0.0042206 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
64 | LV_905-7_0_6_line_64 | NAYY 4x150 SE | 62 | 64 | 0.031209 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
65 | LV_905-7_0_6_line_65 | NAYY 4x150 SE | 64 | 74 | 0.0066384 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
66 | LV_905-7_0_6_line_66 | NAYY 4x150 SE | 65 | 66 | 0.0046569 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_905-7_0_6_line_67 | NAYY 4x150 SE | 66 | 67 | 0.019455 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
68 | LV_905-7_0_6_line_68 | NAYY 4x150 SE | 66 | 68 | 0.0060548 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
69 | LV_905-7_0_6_line_69 | NAYY 4x150 SE | 67 | 72 | 0.01143 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
70 | LV_905-7_0_6_line_70 | NAYY 4x150 SE | 68 | 69 | 0.019388 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
71 | LV_905-7_0_6_line_71 | NAYY 4x150 SE | 69 | 70 | 0.017637 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
72 | LV_905-7_0_6_line_72 | NAYY 4x150 SE | 70 | 71 | 0.0091097 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
73 | LV_905-7_0_6_line_73 | NAYY 4x150 SE | 71 | 73 | 0.025326 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
74 | LV_905-7_0_6_line_74 | NAYY 4x150 SE | 72 | 74 | 0.020805 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
75 | LV_905-7_0_6_line_75 | NAYY 4x150 SE | 73 | 75 | 0.007833 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
76 | LV_905-7_0_6_line_76 | NAYY 4x150 SE | 73 | 76 | 0.019232 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_905-7_0_6_line_77 | NAYY 4x150 SE | 75 | 77 | 0.034838 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
78 | LV_905-7_0_6_line_78 | NAYY 4x150 SE | 76 | 78 | 0.015966 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_905-7_0_6_line_79 | NAYY 4x150 SE | 77 | 79 | 0.095348 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
80 | LV_905-7_0_6_line_80 | NAYY 4x150 SE | 79 | 83 | 0.092713 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
81 | LV_905-7_0_6_line_81 | NAYY 4x150 SE | 80 | 81 | 0.15165 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_905-7_0_6_line_82 | NAYY 4x150 SE | 80 | 82 | 0.021114 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_905-7_0_6_line_83 | NAYY 4x150 SE | 83 | 87 | 0.030362 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
84 | LV_905-7_0_6_line_84 | NAYY 4x150 SE | 84 | 85 | 0.0032139 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
85 | LV_905-7_0_6_line_85 | NAYY 4x150 SE | 84 | 86 | 0.027178 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
86 | LV_905-7_0_6_line_86 | NAYY 4x150 SE | 85 | 87 | 0.030855 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
87 | LV_905-7_0_6_line_87 | NAYY 4x150 SE | 86 | 97 | 0.061424 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
88 | LV_905-7_0_6_line_88 | NAYY 4x150 SE | 88 | 89 | 0.022994 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
89 | LV_905-7_0_6_line_89 | NAYY 4x150 SE | 88 | 90 | 0.011955 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
90 | LV_905-7_0_6_line_90 | NAYY 4x150 SE | 90 | 91 | 0.02776 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
91 | LV_905-7_0_6_line_91 | NAYY 4x150 SE | 91 | 92 | 0.028521 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
92 | LV_905-7_0_6_line_92 | NAYY 4x150 SE | 92 | 93 | 0.031618 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
93 | LV_905-7_0_6_line_93 | NAYY 4x150 SE | 93 | 94 | 0.013162 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
94 | LV_905-7_0_6_line_94 | NAYY 4x150 SE | 94 | 95 | 0.012188 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
95 | LV_905-7_0_6_line_95 | NAYY 4x150 SE | 95 | 96 | 0.042381 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
96 | LV_905-7_0_6_line_96 | NAYY 4x150 SE | 96 | 101 | 0.01656 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
97 | LV_905-7_0_6_line_97 | NAYY 4x150 SE | 97 | 98 | 0.027827 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
98 | LV_905-7_0_6_line_98 | NAYY 4x150 SE | 98 | 99 | 0.021487 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
99 | LV_905-7_0_6_line_99 | NAYY 4x150 SE | 99 | 100 | 0.0016411 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
100 | LV_905-7_0_6_line_100 | NAYY 4x150 SE | 100 | 101 | 0.036718 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_905-7_0_6_trafo_96 | 0.25 MVA 20/0.4 kV | 102 | 69 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2622511.3633 | 1204000.3483 | 2622506.3355 | 1204013.8586
1 | 2622511.3633 | 1204000.3483 | 2622517.6369 | 1203983.4692
2 | 2622511.3633 | 1204000.3483 | 2622532.9957 | 1204011.4358 | 2622523.6252 | 1204035.1358 | 2622507.2209 | 1204078.2534 | 2622498.4835 | 1204101.5556 | 2622562.211 | 1204127.8654 | 2622581.8628 | 1204135.4659
3 | 2622511.3633 | 1204000.3483 | 2622532.9957 | 1204011.4358 | 2622562.3058 | 1203937.2832 | 2622592.0238 | 1203862.0872 | 2622612.6166 | 1203814.1609 | 2622615.9449 | 1203797.0863 | 2622615.9874 | 1203785.8358
4 | 2622689.9895 | 1204180.9998 | 2622649.7495 | 1204164.127 | 2622620.408 | 1204152.0094 | 2622581.8628 | 1204135.4659
5 | 2622581.8628 | 1204135.4659 | 2622584.1821 | 1204125.6471 | 2622587.6963 | 1204113.6537 | 2622593.2409 | 1204103.9137 | 2622596.7329 | 1204097.8235 | 2622601.2351 | 1204094.183 | 2622607.7737 | 1204093.1849 | 2622616.3229 | 1204094.8209
6 | 2622417.3376 | 1204226.6422 | 2622433.2426 | 1204196.7076 | 2622465.2363 | 1204152.8923 | 2622498.4835 | 1204101.5556 | 2622562.211 | 1204127.8654 | 2622581.8628 | 1204135.4659
7 | 2622616.0064 | 1203780.8109 | 2622615.9874 | 1203785.8358
8 | 2622615.9874 | 1203785.8358 | 2622607.2295 | 1203782.1451 | 2622594.1317 | 1203776.5701
9 | 2622417.3376 | 1204226.6422 | 2622482.8135 | 1204253.0356 | 2622490.48 | 1204257.5336 | 2622494.3281 | 1204261.8726 | 2622495.5409 | 1204267.0912 | 2622492.4884 | 1204287.8578 | 2622491.5983 | 1204293.9356 | 2622493.7904 | 1204299.6803 | 2622498.484 | 1204301.7213 | 2622506.482 | 1204304.0804
10 | 2622689.9895 | 1204180.9998 | 2622710.713 | 1204189.6945
11 | 2622689.9895 | 1204180.9998 | 2622680.5129 | 1204200.4191
12 | 2622616.0064 | 1203780.8109 | 2622623.6594 | 1203776.9377 | 2622629.9429 | 1203776.6367
13 | 2622616.0064 | 1203780.8109 | 2622609.5113 | 1203770.2027 | 2622608.7465 | 1203757.1816 | 2622617.8067 | 1203735.2482 | 2622619.7403 | 1203730.4831
14 | 2622717.9211 | 1204192.7187 | 2622710.713 | 1204189.6945
15 | 2622676.27 | 1204209.1137 | 2622680.5129 | 1204200.4191
16 | 2622629.9429 | 1203776.6367 | 2622631.6187 | 1203776.5564 | 2622642.8425 | 1203775.9874 | 2622650.1985 | 1203774.1921 | 2622654.2932 | 1203769.7273 | 2622656.9661 | 1203765.0571 | 2622658.4256 | 1203757.3361 | 2622660.4742 | 1203755.2999
17 | 2622644.9937 | 1203621.6774 | 2622638.5726 | 1203641.7531 | 2622628.6074 | 1203685.6506 | 2622627.6979 | 1203710.8722 | 2622619.7403 | 1203730.4831
18 | 2622668.6261 | 1203757.7861 | 2622668.6261 | 1203757.7861 | 2622669.2232 | 1203760.8345 | 2622669.2073 | 1203765.0282
19 | 2622668.6261 | 1203757.7861 | 2622666.1841 | 1203755.7424 | 2622660.877 | 1203754.8996 | 2622660.4742 | 1203755.2999
20 | 2622644.9937 | 1203621.6774 | 2622647.5574 | 1203613.6827 | 2622671.6098 | 1203538.5325 | 2622693.5597 | 1203470.2559 | 2622697.3088 | 1203456.6738 | 2622698.1481 | 1203452.0411 | 2622698.6602 | 1203447.4072 | 2622699.1625 | 1203433.3347
21 | 2622699.1625 | 1203433.3347 | 2622704.7118 | 1203432.5886 | 2622718.8149 | 1203429.2959 | 2622722.6958 | 1203429.1216 | 2622728.1045 | 1203429.2156
22 | 2622739.4144 | 1203415.6863 | 2622738.6748 | 1203418.721 | 2622738.344 | 1203421.6992 | 2622737.7853 | 1203424.5653 | 2622736.5748 | 1203426.7619 | 2622734.9413 | 1203428.1676 | 2622732.8002 | 1203429.0044 | 2622730.0678 | 1203429.2497 | 2622728.1045 | 1203429.2156
23 | 2622747.5903 | 1204186.1999 | 2622742.2835 | 1204192.7825 | 2622735.7901 | 1204195.9151 | 2622730.7512 | 1204196.6631 | 2622725.1784 | 1204195.7636 | 2622717.9211 | 1204192.7187
24 | 2622666.9025 | 1204228.3095 | 2622676.27 | 1204209.1137
25 | 2623250.7928 | 1203420.689 | 2623147.0447 | 1203401.1762 | 2623070.0817 | 1203387.192
26 | 2623250.7928 | 1203420.689 | 2623253.101 | 1203457.1513 | 2623252.9878 | 1203460.7694
27 | 2623240.8033 | 1203493.09 | 2623243.7828 | 1203489.922 | 2623246.4396 | 1203485.6188 | 2623248.7728 | 1203480.4139 | 2623250.3214 | 1203475.4283 | 2623251.7367 | 1203469.5195 | 2623252.9185 | 1203462.9871 | 2623252.9878 | 1203460.7694
28 | 2623252.9878 | 1203460.7694 | 2623754.4406 | 1203564.9899
29 | 2623240.8033 | 1203493.09 | 2623230.9046 | 1203502.9903 | 2623217.0257 | 1203517.0775 | 2623212.9218 | 1203521.7976 | 2623209.4098 | 1203526.909 | 2623206.6318 | 1203531.1341
30 | 2623754.4406 | 1203564.9899 | 2623742.2221 | 1203633.9349 | 2623740.2395 | 1203650.425 | 2623740.0942 | 1203665.9441 | 2623741.6106 | 1203697.9344 | 2623742.162 | 1203714.29 | 2623740.8038 | 1203728.7148 | 2623738.0812 | 1203750.8311
31 | 2623167.7471 | 1203660.5655 | 2623170.2923 | 1203645.7339 | 2623181.0473 | 1203603.2522 | 2623188.6956 | 1203575.2219 | 2623195.9273 | 1203554.5719 | 2623201.5954 | 1203540.8308 | 2623205.4071 | 1203532.9968 | 2623206.6318 | 1203531.1341
32 | 2623738.0812 | 1203750.8311 | 2623737.3212 | 1203757.0054 | 2623735.4259 | 1203766.2532
33 | 2623157.0981 | 1203709.1177 | 2623159.7993 | 1203697.2438 | 2623167.7471 | 1203660.5655
34 | 2623731.9409 | 1203780.3859 | 2623734.3343 | 1203771.5794 | 2623735.4259 | 1203766.2532
35 | 2623731.9409 | 1203780.3859 | 2623735.4114 | 1203781.9894 | 2623739.3129 | 1203784.2506 | 2623743.4427 | 1203787.0759
36 | 2623157.0981 | 1203709.1177 | 2623154.9806 | 1203713.7009 | 2623153.2645 | 1203716.9098
37 | 2623153.2645 | 1203716.9098 | 2623131.9598 | 1203756.7467 | 2623127.4535 | 1203764.2113
38 | 2623127.4535 | 1203764.2113 | 2623119.4254 | 1203777.5097 | 2623115.9549 | 1203782.0956
39 | 2623115.9549 | 1203782.0956 | 2623112.9408 | 1203786.0783 | 2623109.0732 | 1203789.8032
40 | 2623098.2702 | 1203798.5841 | 2623105.7322 | 1203793.0209 | 2623109.0732 | 1203789.8032
41 | 2623098.2702 | 1203798.5841 | 2623091.4685 | 1203802.6045 | 2623083.2925 | 1203805.9192 | 2623078.3276 | 1203807.5604
42 | 2623073.5191 | 1203809.15 | 2623078.3276 | 1203807.5604
43 | 2623073.5191 | 1203809.15 | 2623068.522 | 1203810.7983 | 2623064.3998 | 1203811.4677
44 | 2623073.5191 | 1203809.15 | 2623078.012 | 1203810.0233 | 2623081.021 | 1203810.991 | 2623083.1613 | 1203812.3111 | 2623084.8524 | 1203813.7184 | 2623086.2228 | 1203815.4469 | 2623086.6657 | 1203816.9828 | 2623087.0744 | 1203819.5079
45 | 2623087.0744 | 1203819.5079 | 2623085.013 | 1203821.3788 | 2623078.1037 | 1203827.6667 | 2623073.2273 | 1203834.3114
46 | 2623078.121 | 1203862.6305 | 2623066.7823 | 1203853.5707 | 2623065.0476 | 1203851.6185 | 2623064.1631 | 1203850.1698 | 2623064.0401 | 1203848.524 | 2623064.5542 | 1203847.3809 | 2623069.6832 | 1203839.1406 | 2623073.2273 | 1203834.3114
47 | 2623053.3265 | 1203809.4946 | 2623059.8166 | 1203811.3317 | 2623064.1752 | 1203811.5042 | 2623064.3998 | 1203811.4677
48 | 2623078.121 | 1203862.6305 | 2623076.7962 | 1203865.7473
49 | 2623069.1518 | 1203876.3368 | 2623071.906 | 1203874.3129 | 2623073.1584 | 1203873.106 | 2623074.4128 | 1203871.3543 | 2623076.7962 | 1203865.7473
50 | 2623053.3265 | 1203809.4946 | 2623055.1865 | 1203798.6847
51 | 2623055.1865 | 1203798.6847 | 2623056.8719 | 1203785.7841 | 2623057.8209 | 1203775.3299
52 | 2623055.1865 | 1203798.6847 | 2623039.9316 | 1203788.2225
53 | 2623017.5188 | 1203771.7446 | 2623016.7 | 1203770.9462
54 | 2623017.5188 | 1203771.7446 | 2623021.3447 | 1203775.4751 | 2623039.9316 | 1203788.2225
55 | 2623024.0818 | 1203841.1662 | 2623040.1606 | 1203856.0584 | 2623042.9465 | 1203858.7174
56 | 2623024.0818 | 1203841.1662 | 2623016.8577 | 1203848.2312 | 2623012.1735 | 1203853.5716
57 | 2623069.1518 | 1203876.3368 | 2623052.7839 | 1203867.4022 | 2623047.9376 | 1203863.4813 | 2623042.9465 | 1203858.7174
58 | 2622988.7546 | 1203895.7048 | 2622995.6017 | 1203883.7913 | 2623008.7437 | 1203859.1615 | 2623012.1735 | 1203853.5716
59 | 2622988.7546 | 1203895.7048 | 2622976.2461 | 1203919.8479 | 2622971.3398 | 1203931.5577 | 2622969.4793 | 1203936.781
60 | 2622963.4604 | 1203950.5193 | 2622967.4407 | 1203942.5043 | 2622969.4793 | 1203936.781
61 | 2622961.5831 | 1203954.2995 | 2622983.5389 | 1203964.2003
62 | 2622983.5389 | 1203964.2003 | 2622997.0987 | 1203970.3223
63 | 2622961.5831 | 1203954.2995 | 2622963.4604 | 1203950.5193
64 | 2622999.4647 | 1203995.0784 | 2623004.8888 | 1203985.2272 | 2623005.7577 | 1203982.8181 | 2623006.2175 | 1203979.9738 | 2623005.8939 | 1203977.0821 | 2623005.1179 | 1203975.1114 | 2623004.1185 | 1203973.8624 | 2623002.9352 | 1203972.9574 | 2622997.0987 | 1203970.3223
65 | 2622999.4647 | 1203995.0784 | 2622993.7554 | 1203996.0126 | 2622992.9488 | 1203996.2903
66 | 2622944.223 | 1203987.8736 | 2622946.386 | 1203983.7495
67 | 2622944.223 | 1203987.8736 | 2622961.8766 | 1203996.0504
68 | 2622944.223 | 1203987.8736 | 2622941.2349 | 1203993.1397
69 | 2622961.8766 | 1203996.0504 | 2622965.8359 | 1203997.8842 | 2622972.6374 | 1203999.8002
70 | 2622941.2349 | 1203993.1397 | 2622931.6667 | 1204010.0019
71 | 2622921.5199 | 1204024.3889 | 2622929.2796 | 1204014.2086 | 2622931.6667 | 1204010.0019
72 | 2622921.5199 | 1204024.3889 | 2622915.9976 | 1204031.6338
73 | 2622898.3026 | 1204049.7207 | 2622900.822 | 1204047.3957 | 2622914.5611 | 1204033.5184 | 2622915.9976 | 1204031.6338
74 | 2622972.6374 | 1203999.8002 | 2622972.6374 | 1203999.8002 | 2622978.5792 | 1203999.7341 | 2622985.1322 | 1203998.9811 | 2622992.9488 | 1203996.2903
75 | 2622898.3026 | 1204049.7207 | 2622892.5427 | 1204055.0292
76 | 2622898.3026 | 1204049.7207 | 2622912.1982 | 1204063.0169
77 | 2622866.9251 | 1204078.6389 | 2622892.5427 | 1204055.0292
78 | 2622923.7342 | 1204074.0552 | 2622912.1982 | 1204063.0169
79 | 2622803.0643 | 1204149.3787 | 2622830.9731 | 1204116.2335 | 2622859.3329 | 1204086.581 | 2622866.9251 | 1204078.6389
80 | 2622803.0643 | 1204149.3787 | 2622778.9535 | 1204178.125 | 2622745.9717 | 1204219.1555 | 2622744.7585 | 1204221.3995
81 | 2622760.8417 | 1204169.7626 | 2622744.4044 | 1204167.1765 | 2622741.0504 | 1204164.9403 | 2622738.9775 | 1204161.8974 | 2622739.3204 | 1204157.7408 | 2622781.7771 | 1204103.8504 | 2622800.0657 | 1204081.8301 | 2622806.9101 | 1204074.4744 | 2622810.1147 | 1204071.9963 | 2622814.6133 | 1204069.3231 | 2622820.53 | 1204066.4717
82 | 2622760.8417 | 1204169.7626 | 2622747.5903 | 1204186.1999
83 | 2622744.7585 | 1204221.3995 | 2622730.3189 | 1204248.1087
84 | 2622714.1167 | 1204278.0781 | 2622715.6452 | 1204275.2509
85 | 2622714.1167 | 1204278.0781 | 2622705.7969 | 1204293.4661 | 2622699.3747 | 1204300.715
86 | 2622730.3189 | 1204248.1087 | 2622715.6452 | 1204275.2509
87 | 2622658.6426 | 1204346.6909 | 2622699.3747 | 1204300.715
88 | 2622656.8181 | 1204248.9743 | 2622666.9025 | 1204228.3095
89 | 2622656.8181 | 1204248.9743 | 2622651.5749 | 1204259.7186
90 | 2622651.5749 | 1204259.7186 | 2622646.9172 | 1204269.2631 | 2622640.3807 | 1204279.8108 | 2622637.2982 | 1204283.3989
91 | 2622616.1574 | 1204302.4263 | 2622624.5499 | 1204295.9265 | 2622633.374 | 1204287.9666 | 2622637.2982 | 1204283.3989
92 | 2622616.1574 | 1204302.4263 | 2622603.1796 | 1204312.4771 | 2622594.3611 | 1204324.8613
93 | 2622594.3611 | 1204324.8613 | 2622590.9738 | 1204329.6183 | 2622587.4477 | 1204336.0358
94 | 2622587.4477 | 1204336.0358 | 2622582.8544 | 1204344.3958 | 2622582.1416 | 1204346.9476
95 | 2622585.5881 | 1204387.7861 | 2622581.5089 | 1204378.3983 | 2622578.993 | 1204367.7719 | 2622579.2377 | 1204357.3448 | 2622582.1416 | 1204346.9476
96 | 2622592.1878 | 1204402.9744 | 2622585.5881 | 1204387.7861
97 | 2622658.6426 | 1204346.6909 | 2622641.8436 | 1204365.6525 | 2622640.0151 | 1204367.3487
98 | 2622624.2627 | 1204381.9617 | 2622640.0151 | 1204367.3487
99 | 2622624.2627 | 1204381.9617 | 2622622.921 | 1204382.9067
100 | 2622592.1878 | 1204402.9744 | 2622611.6088 | 1204390.8743 | 2622622.921 | 1204382.9067

## bus_geodata
| x | y | coords
0 | 2622506.3355 | 1204013.8586
1 | 2622511.3633 | 1204000.3483
2 | 2622517.6369 | 1203983.4692
3 | 2622581.8628 | 1204135.4659
4 | 2622615.9874 | 1203785.8358
5 | 2622417.3376 | 1204226.6422
6 | 2622506.482 | 1204304.0804
7 | 2622689.9895 | 1204180.9998
8 | 2622616.3229 | 1204094.8209
9 | 2622616.0064 | 1203780.8109
10 | 2622594.1317 | 1203776.5701
11 | 2622710.713 | 1204189.6945
12 | 2622680.5129 | 1204200.4191
13 | 2622629.9429 | 1203776.6367
14 | 2622619.7403 | 1203730.4831
15 | 2622668.6261 | 1203757.7861
16 | 2622669.2073 | 1203765.0282
17 | 2622660.4742 | 1203755.2999
18 | 2622644.9937 | 1203621.6774
19 | 2622699.1625 | 1203433.3347
20 | 2622728.1045 | 1203429.2156
21 | 2622739.4144 | 1203415.6863
22 | 2622717.9211 | 1204192.7187
23 | 2622676.27 | 1204209.1137
24 | 2623070.0817 | 1203387.192
25 | 2623250.7928 | 1203420.689
26 | 2623252.9878 | 1203460.7694
27 | 2623240.8033 | 1203493.09
28 | 2623754.4406 | 1203564.9899
29 | 2623206.6318 | 1203531.1341
30 | 2623738.0812 | 1203750.8311
31 | 2623167.7471 | 1203660.5655
32 | 2623735.4259 | 1203766.2532
33 | 2623731.9409 | 1203780.3859
34 | 2623743.4427 | 1203787.0759
35 | 2623157.0981 | 1203709.1177
36 | 2623153.2645 | 1203716.9098
37 | 2623127.4535 | 1203764.2113
38 | 2623115.9549 | 1203782.0956
39 | 2623109.0732 | 1203789.8032
40 | 2623098.2702 | 1203798.5841
41 | 2623078.3276 | 1203807.5604
42 | 2623073.5191 | 1203809.15
43 | 2623087.0744 | 1203819.5079
44 | 2623073.2273 | 1203834.3114
45 | 2623064.3998 | 1203811.4677
46 | 2623078.121 | 1203862.6305
47 | 2623076.7962 | 1203865.7473
48 | 2623053.3265 | 1203809.4946
49 | 2623055.1865 | 1203798.6847
50 | 2623017.5188 | 1203771.7446
51 | 2623016.7 | 1203770.9462
52 | 2623039.9316 | 1203788.2225
53 | 2623057.8209 | 1203775.3299
54 | 2623024.0818 | 1203841.1662
55 | 2623042.9465 | 1203858.7174
56 | 2623012.1735 | 1203853.5716
57 | 2623069.1518 | 1203876.3368
58 | 2622988.7546 | 1203895.7048
59 | 2622969.4793 | 1203936.781
60 | 2622983.5389 | 1203964.2003
61 | 2622961.5831 | 1203954.2995
62 | 2622997.0987 | 1203970.3223
63 | 2622963.4604 | 1203950.5193
64 | 2622999.4647 | 1203995.0784
65 | 2622946.386 | 1203983.7495
66 | 2622944.223 | 1203987.8736
67 | 2622961.8766 | 1203996.0504
68 | 2622941.2349 | 1203993.1397
69 | 2622931.6667 | 1204010.0019
70 | 2622921.5199 | 1204024.3889
71 | 2622915.9976 | 1204031.6338
72 | 2622972.6374 | 1203999.8002
73 | 2622898.3026 | 1204049.7207
74 | 2622992.9488 | 1203996.2903
75 | 2622892.5427 | 1204055.0292
76 | 2622912.1982 | 1204063.0169
77 | 2622866.9251 | 1204078.6389
78 | 2622923.7342 | 1204074.0552
79 | 2622803.0643 | 1204149.3787
80 | 2622760.8417 | 1204169.7626
81 | 2622820.53 | 1204066.4717
82 | 2622747.5903 | 1204186.1999
83 | 2622744.7585 | 1204221.3995
84 | 2622714.1167 | 1204278.0781
85 | 2622715.6452 | 1204275.2509
86 | 2622699.3747 | 1204300.715
87 | 2622730.3189 | 1204248.1087
88 | 2622656.8181 | 1204248.9743
89 | 2622666.9025 | 1204228.3095
90 | 2622651.5749 | 1204259.7186
91 | 2622637.2982 | 1204283.3989
92 | 2622616.1574 | 1204302.4263
93 | 2622594.3611 | 1204324.8613
94 | 2622587.4477 | 1204336.0358
95 | 2622582.1416 | 1204346.9476
96 | 2622585.5881 | 1204387.7861
97 | 2622658.6426 | 1204346.6909
98 | 2622640.0151 | 1204367.3487
99 | 2622624.2627 | 1204381.9617
100 | 2622622.921 | 1204382.9067
101 | 2622592.1878 | 1204402.9744
102 | 2622944.223 | 1203987.8736

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1