## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_908-2_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_908-2_0_2_node_14 | 0.4 | n |  | TRUE
2 | bus_LV_908-2_0_2_node_18 | 0.4 | n |  | TRUE
3 | bus_LV_908-2_0_2_node_2 | 0.4 | n |  | TRUE
4 | bus_LV_908-2_0_2_node_37 | 0.4 | n |  | TRUE
5 | bus_LV_908-2_0_2_node_10 | 0.4 | n |  | TRUE
6 | bus_LV_908-2_0_2_node_39 | 0.4 | n |  | TRUE
7 | bus_LV_908-2_0_2_node_20 | 0.4 | n |  | TRUE
8 | bus_LV_908-2_0_2_node_1 | 0.4 | n |  | TRUE
9 | bus_LV_908-2_0_2_node_26 | 0.4 | n |  | TRUE
10 | bus_LV_908-2_0_2_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_908-2_0_2_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_908-2_0_2_node_17 | 0.4 | n |  | TRUE
13 | bus_LV_908-2_0_2_node_34 | 0.4 | n |  | TRUE
14 | bus_LV_908-2_0_2_node_3 | 0.4 | n |  | TRUE
15 | bus_LV_908-2_0_2_node_16 | 0.4 | n |  | TRUE
16 | bus_LV_908-2_0_2_node_4 | 0.4 | n |  | TRUE
17 | bus_LV_908-2_0_2_node_28 | 0.4 | n |  | TRUE
18 | bus_LV_908-2_0_2_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_908-2_0_2_node_21 | 0.4 | n |  | TRUE
20 | bus_LV_908-2_0_2_node_31 | 0.4 | n |  | TRUE
21 | bus_LV_908-2_0_2_node_32 | 0.4 | n |  | TRUE
22 | bus_LV_908-2_0_2_node_11 | 0.4 | n |  | TRUE
23 | bus_LV_908-2_0_2_node_5 | 0.4 | n |  | TRUE
24 | bus_LV_908-2_0_2_node_29 | 0.4 | n |  | TRUE
25 | bus_LV_908-2_0_2_node_22 | 0.4 | n |  | TRUE
26 | bus_LV_908-2_0_2_node_9 | 0.4 | n |  | TRUE
27 | bus_LV_908-2_0_2_node_12 | 0.4 | n |  | TRUE
28 | bus_LV_908-2_0_2_node_7 | 0.4 | n |  | TRUE
29 | bus_LV_908-2_0_2_node_36 | 0.4 | n |  | TRUE
30 | bus_LV_908-2_0_2_node_24 | 0.4 | n |  | TRUE
31 | bus_LV_908-2_0_2_node_33 | 0.4 | n |  | TRUE
32 | bus_LV_908-2_0_2_node_30 | 0.4 | n |  | TRUE
33 | bus_LV_908-2_0_2_node_27 | 0.4 | n |  | TRUE
34 | bus_LV_908-2_0_2_node_25 | 0.4 | n |  | TRUE
35 | bus_LV_908-2_0_2_node_15 | 0.4 | n |  | TRUE
36 | bus_LV_908-2_0_2_node_19 | 0.4 | n |  | TRUE
37 | bus_LV_908-2_0_2_node_23 | 0.4 | n |  | TRUE
38 | bus_LV_908-2_0_2_node_38 | 0.4 | n |  | TRUE
39 | bus_LV_908-2_0_2_node_35 | 0.4 | n |  | TRUE
40 | bus_MV_126_0_node_74 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_908-2_0_2_load_0 | 0 | 6.1177e-05 | 1.5332e-05 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_908-2_0_2_load_14 | 1 | 6.3885e-05 | 1.6011e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_908-2_0_2_load_18 | 2 | 0.00032126 | 8.0515e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_908-2_0_2_load_2 | 3 | 6.1067e-05 | 1.5305e-05 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_908-2_0_2_load_37 | 4 | 0.00010783 | 2.7026e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_908-2_0_2_load_10 | 5 | 0.00019005 | 4.763e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_908-2_0_2_load_39 | 6 | 0.00047663 | 0.00011945 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_908-2_0_2_load_20 | 7 | 8.7768e-05 | 2.1997e-05 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_908-2_0_2_load_1 | 8 | 0.00018932 | 4.7448e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_908-2_0_2_load_26 | 9 | 7.0444e-05 | 1.7655e-05 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_908-2_0_2_load_8 | 11 | 0.053174 | 0.013327 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_908-2_0_2_load_17 | 12 | 0.0001911 | 4.7895e-05 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_908-2_0_2_load_34 | 13 | 0.00021564 | 5.4044e-05 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_908-2_0_2_load_3 | 14 | 0.00020958 | 5.2525e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_908-2_0_2_load_13 | 18 | 0.00018528 | 4.6436e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_908-2_0_2_load_21 | 19 | 0.00031399 | 7.8693e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_908-2_0_2_load_31 | 20 | 0.00014249 | 3.5712e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_908-2_0_2_load_32 | 21 | 0.00085206 | 0.00021355 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_908-2_0_2_load_5 | 23 | 0.00020121 | 5.0429e-05 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_908-2_0_2_load_29 | 24 | 0.0063937 | 0.0016024 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_908-2_0_2_load_22 | 25 | 0.00038246 | 9.5854e-05 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_908-2_0_2_load_9 | 26 | 6.7819e-05 | 1.6997e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_908-2_0_2_load_12 | 27 | 0.0021261 | 0.00053285 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_908-2_0_2_load_7 | 28 | 6.24e-05 | 1.5639e-05 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_908-2_0_2_load_36 | 29 | 0.00019253 | 4.8253e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_908-2_0_2_load_24 | 30 | 8.3018e-05 | 2.0806e-05 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_908-2_0_2_load_33 | 31 | 0.00063089 | 0.00015812 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_908-2_0_2_load_30 | 32 | 0.00061137 | 0.00015322 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_908-2_0_2_load_27 | 33 | 0.00019174 | 4.8054e-05 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_908-2_0_2_load_25 | 34 | 0.0002036 | 5.1028e-05 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_908-2_0_2_load_15 | 35 | 8.372e-05 | 2.0982e-05 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_908-2_0_2_load_19 | 36 | 0.00012545 | 3.144e-05 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_908-2_0_2_load_23 | 37 | 0.00051734 | 0.00012966 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_908-2_0_2_load_38 | 38 | 0.011834 | 0.0029659 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 11 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_908-2_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.00012514 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_908-2_0_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.056025 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_908-2_0_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.002042 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_908-2_0_2_line_3 | NAYY 4x150 SE | 2 | 4 | 0.076076 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_908-2_0_2_line_4 | NAYY 4x150 SE | 3 | 13 | 0.020299 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_908-2_0_2_line_5 | NAYY 4x150 SE | 5 | 6 | 0.021435 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_908-2_0_2_line_6 | NAYY 4x150 SE | 5 | 7 | 0.18441 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_908-2_0_2_line_7 | NAYY 4x150 SE | 6 | 9 | 0.026197 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_908-2_0_2_line_8 | NAYY 4x150 SE | 7 | 15 | 0.20758 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_908-2_0_2_line_9 | NAYY 4x150 SE | 8 | 9 | 0.022624 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_908-2_0_2_line_10 | NAYY 4x150 SE | 8 | 10 | 0.025352 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_908-2_0_2_line_11 | NAYY 4x150 SE | 10 | 11 | 0.1109 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
12 | LV_908-2_0_2_line_12 | NAYY 4x150 SE | 10 | 12 | 0.015408 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_908-2_0_2_line_13 | NAYY 4x150 SE | 12 | 22 | 0.066054 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_908-2_0_2_line_14 | NAYY 4x150 SE | 13 | 14 | 0.084562 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_908-2_0_2_line_15 | NAYY 4x150 SE | 14 | 15 | 0.026081 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_908-2_0_2_line_16 | NAYY 4x150 SE | 16 | 17 | 0.18784 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_908-2_0_2_line_17 | NAYY 4x150 SE | 16 | 18 | 0.008531 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_908-2_0_2_line_18 | NAYY 4x150 SE | 17 | 19 | 0.2155 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_908-2_0_2_line_19 | NAYY 4x150 SE | 19 | 39 | 0.14107 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_908-2_0_2_line_20 | NAYY 4x150 SE | 20 | 21 | 0.063662 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_908-2_0_2_line_21 | NAYY 4x150 SE | 20 | 22 | 0.22578 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_908-2_0_2_line_22 | NAYY 4x150 SE | 21 | 32 | 0.043796 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_908-2_0_2_line_23 | NAYY 4x150 SE | 23 | 24 | 0.0030937 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_908-2_0_2_line_24 | NAYY 4x150 SE | 23 | 25 | 0.0098907 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_908-2_0_2_line_25 | NAYY 4x150 SE | 24 | 26 | 0.0032735 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_908-2_0_2_line_26 | NAYY 4x150 SE | 25 | 27 | 0.0037018 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_908-2_0_2_line_27 | NAYY 4x150 SE | 26 | 33 | 0.0096555 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_908-2_0_2_line_28 | NAYY 4x150 SE | 28 | 29 | 0.03799 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_908-2_0_2_line_29 | NAYY 4x150 SE | 28 | 30 | 0.12423 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_908-2_0_2_line_30 | NAYY 4x150 SE | 29 | 31 | 0.003002 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_908-2_0_2_line_31 | NAYY 4x150 SE | 30 | 32 | 0.02761 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_908-2_0_2_line_32 | NAYY 4x150 SE | 31 | 35 | 0.0039035 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_908-2_0_2_line_33 | NAYY 4x150 SE | 32 | 39 | 0.22224 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_908-2_0_2_line_34 | NAYY 4x150 SE | 33 | 34 | 0.0094907 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_908-2_0_2_line_35 | NAYY 4x150 SE | 34 | 38 | 0.0072019 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_908-2_0_2_line_36 | NAYY 4x150 SE | 35 | 36 | 0.020716 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_908-2_0_2_line_37 | NAYY 4x150 SE | 36 | 37 | 0.066065 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_908-2_0_2_line_38 | NAYY 4x150 SE | 37 | 38 | 0.019079 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_908-2_0_2_trafo_8 | 0.25 MVA 20/0.4 kV | 40 | 11 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27
0 | 2632889.1266 | 1196741.6174 | 2632889.0922 | 1196741.4971
1 | 2632889.1266 | 1196741.6174 | 2632890.255 | 1196745.5598 | 2632902.7267 | 1196774.155 | 2632912.5016 | 1196792.4331
2 | 2632889.0922 | 1196741.4971 | 2632888.5303 | 1196739.5338
3 | 2632912.5016 | 1196792.4331 | 2632920.6629 | 1196807.6941 | 2632948.5065 | 1196859.4495
4 | 2632882.945 | 1196720.0186 | 2632888.5303 | 1196739.5338
5 | 2632749.0658 | 1196267.4741 | 2632734.6542 | 1196251.6072
6 | 2632749.0658 | 1196267.4741 | 2632755.5246 | 1196451.7747
7 | 2632734.6542 | 1196251.6072 | 2632717.0407 | 1196232.215
8 | 2632845.9127 | 1196615.7899 | 2632832.4329 | 1196619.4847 | 2632825.9876 | 1196619.7161 | 2632821.3927 | 1196618.6459 | 2632815.6929 | 1196614.8682 | 2632810.7912 | 1196610.0165 | 2632805.4373 | 1196601.5047 | 2632775.2697 | 1196535.4145 | 2632770.9024 | 1196521.9722 | 2632755.5246 | 1196451.7747
9 | 2632701.8296 | 1196215.4679 | 2632717.0407 | 1196232.215
10 | 2632686.7496 | 1196195.0895 | 2632701.7825 | 1196215.416 | 2632701.8296 | 1196215.4679
11 | 2632686.7496 | 1196195.0895 | 2632682.8964 | 1196189.2541 | 2632677.572 | 1196178.019 | 2632674.1459 | 1196169.3177 | 2632672.0266 | 1196161.224 | 2632670.5969 | 1196151.0106 | 2632668.1402 | 1196104.2495 | 2632666.8441 | 1196087.689
12 | 2632686.7496 | 1196195.0895 | 2632671.9911 | 1196199.5167
13 | 2632617.8911 | 1196234.6578 | 2632639.6159 | 1196212.4196 | 2632656.6486 | 1196204.1191 | 2632671.9911 | 1196199.5167
14 | 2632882.945 | 1196720.0186 | 2632879.1045 | 1196706.5995 | 2632854.8662 | 1196640.2859
15 | 2632845.9127 | 1196615.7899 | 2632854.8662 | 1196640.2859
16 | 2632341.4941 | 1196461.4603 | 2632338.9642 | 1196470.0958 | 2632339.3847 | 1196475.4454 | 2632344.4192 | 1196481.198 | 2632348.7744 | 1196487.1803 | 2632352.0509 | 1196496.8477 | 2632377.5635 | 1196549.9368 | 2632365.2268 | 1196554.984 | 2632359.7332 | 1196566.5495 | 2632357.8261 | 1196578.3345 | 2632357.6856 | 1196591.641 | 2632366.6361 | 1196587.3537 | 2632373.5318 | 1196582.7329 | 2632381.1665 | 1196576.682 | 2632389.7707 | 1196571.6369
17 | 2632390.4642 | 1196563.136 | 2632389.7707 | 1196571.6369
18 | 2632341.4941 | 1196461.4603 | 2632335.9306 | 1196456.3608 | 2632330.8999 | 1196452.7205 | 2632324.2151 | 1196450.7167 | 2632318.7296 | 1196450.8983 | 2632314.5442 | 1196452.9546 | 2632310.1313 | 1196457.6445 | 2632304.4613 | 1196470.8433 | 2632301.2183 | 1196481.7762 | 2632298.3382 | 1196487.5527 | 2632295.2456 | 1196490.382 | 2632291.4036 | 1196490.9061 | 2632288.225 | 1196489.9106 | 2632285.7103 | 1196487.2734 | 2632284.1022 | 1196480.3721 | 2632281.5263 | 1196469.2966 | 2632276.6972 | 1196449.4708 | 2632275.6652 | 1196437.4254 | 2632277.1598 | 1196424.4152 | 2632280.0865 | 1196411.4128 | 2632284.3222 | 1196398.6287 | 2632284.1395 | 1196392.9468 | 2632282.1739 | 1196390.1903 | 2632277.4706 | 1196387.9859 | 2632270.4411 | 1196387.7257 | 2632263.7349 | 1196389.6573 | 2632257.0264 | 1196393.4565 | 2632254.828 | 1196396.8923
19 | 2632211.7266 | 1196369.2106 | 2632213.1858 | 1196378.3234 | 2632214.7128 | 1196390.4049 | 2632221.5803 | 1196417.9235 | 2632230.6249 | 1196444.2977 | 2632232.699 | 1196446.7213 | 2632235.4353 | 1196447.8255 | 2632238.8437 | 1196447.1879 | 2632241.7066 | 1196444.5797 | 2632244.3634 | 1196440.6474 | 2632247.3824 | 1196430.2691 | 2632253.2621 | 1196399.3395 | 2632254.828 | 1196396.8923
20 | 2632344.2865 | 1196171.9227 | 2632371.2916 | 1196172.9973 | 2632386.2548 | 1196175.4462 | 2632392.2834 | 1196179.103 | 2632396.6956 | 1196184.452 | 2632402.0043 | 1196189.7331
21 | 2632617.8911 | 1196234.6578 | 2632616.45 | 1196233.5049 | 2632584.1059 | 1196222.2449 | 2632573.6066 | 1196221.2428 | 2632556.0759 | 1196220.3025 | 2632471.6178 | 1196220.5441 | 2632458.6855 | 1196218.6841 | 2632447.9439 | 1196216.0134 | 2632403.3026 | 1196191.0247 | 2632402.0043 | 1196189.7331
22 | 2632344.2865 | 1196171.9227 | 2632327.9714 | 1196171.2735 | 2632307.349 | 1196168.6942 | 2632301.3115 | 1196165.8236
23 | 2632375.6135 | 1196038.4883 | 2632372.5627 | 1196037.9751
24 | 2632385.3671 | 1196040.1292 | 2632375.6135 | 1196038.4883
25 | 2632372.5627 | 1196037.9751 | 2632372.5627 | 1196037.9751 | 2632369.3135 | 1196037.5769
26 | 2632385.3671 | 1196040.1292 | 2632389.0176 | 1196040.7433 | 2632389.0176 | 1196040.7433
27 | 2632359.7248 | 1196036.4507 | 2632360.7933 | 1196036.5329 | 2632369.3135 | 1196037.5769
28 | 2632196.0795 | 1196062.048 | 2632218.9735 | 1196053.0995 | 2632231.7492 | 1196049.0262
29 | 2632196.0795 | 1196062.048 | 2632204.8811 | 1196082.7177 | 2632211.546 | 1196095.5938 | 2632232.6984 | 1196118.6424 | 2632259.353 | 1196141.2427 | 2632277.4154 | 1196152.0244
30 | 2632234.6094 | 1196048.1143 | 2632234.6094 | 1196048.1143 | 2632231.7492 | 1196049.0262
31 | 2632277.4154 | 1196152.0244 | 2632297.4865 | 1196164.0051 | 2632301.3115 | 1196165.8236
32 | 2632238.3703 | 1196047.0689 | 2632234.6094 | 1196048.1143
33 | 2632301.3115 | 1196165.8236 | 2632211.7266 | 1196369.2106
34 | 2632359.7248 | 1196036.4507 | 2632350.2621 | 1196035.7224
35 | 2632350.2621 | 1196035.7224 | 2632343.0814 | 1196035.1698 | 2632343.0814 | 1196035.1698
36 | 2632238.3703 | 1196047.0689 | 2632245.8702 | 1196044.9843 | 2632258.4846 | 1196042.139
37 | 2632324.009 | 1196034.6666 | 2632324.009 | 1196034.6666 | 2632307.9554 | 1196035.1802 | 2632291.9495 | 1196036.7281 | 2632275.3618 | 1196038.7953 | 2632261.8033 | 1196041.3904 | 2632258.4846 | 1196042.139
38 | 2632343.0814 | 1196035.1698 | 2632324.009 | 1196034.6666

## bus_geodata
| x | y | coords
0 | 2632889.1266 | 1196741.6174
1 | 2632889.0922 | 1196741.4971
2 | 2632912.5016 | 1196792.4331
3 | 2632888.5303 | 1196739.5338
4 | 2632948.5065 | 1196859.4495
5 | 2632749.0658 | 1196267.4741
6 | 2632734.6542 | 1196251.6072
7 | 2632755.5246 | 1196451.7747
8 | 2632701.8296 | 1196215.4679
9 | 2632717.0407 | 1196232.215
10 | 2632686.7496 | 1196195.0895
11 | 2632666.8441 | 1196087.689
12 | 2632671.9911 | 1196199.5167
13 | 2632882.945 | 1196720.0186
14 | 2632854.8662 | 1196640.2859
15 | 2632845.9127 | 1196615.7899
16 | 2632389.7707 | 1196571.6369
17 | 2632341.4941 | 1196461.4603
18 | 2632390.4642 | 1196563.136
19 | 2632254.828 | 1196396.8923
20 | 2632402.0043 | 1196189.7331
21 | 2632344.2865 | 1196171.9227
22 | 2632617.8911 | 1196234.6578
23 | 2632375.6135 | 1196038.4883
24 | 2632372.5627 | 1196037.9751
25 | 2632385.3671 | 1196040.1292
26 | 2632369.3135 | 1196037.5769
27 | 2632389.0176 | 1196040.7433
28 | 2632196.0795 | 1196062.048
29 | 2632231.7492 | 1196049.0262
30 | 2632277.4154 | 1196152.0244
31 | 2632234.6094 | 1196048.1143
32 | 2632301.3115 | 1196165.8236
33 | 2632359.7248 | 1196036.4507
34 | 2632350.2621 | 1196035.7224
35 | 2632238.3703 | 1196047.0689
36 | 2632258.4846 | 1196042.139
37 | 2632324.009 | 1196034.6666
38 | 2632343.0814 | 1196035.1698
39 | 2632211.7266 | 1196369.2106
40 | 2632686.7496 | 1196195.0895

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1