## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_908-3_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_908-3_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_908-3_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_908-3_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_908-3_0_2_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_908-3_0_2_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_908-3_0_2_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_908-3_0_2_node_113 | 0.4 | n |  | TRUE
8 | bus_LV_908-3_0_2_node_263 | 0.4 | n |  | TRUE
9 | bus_LV_908-3_0_2_node_128 | 0.4 | n |  | TRUE
10 | bus_LV_908-3_0_2_node_126 | 0.4 | n |  | TRUE
11 | bus_LV_908-3_0_2_node_184 | 0.4 | n |  | TRUE
12 | bus_LV_908-3_0_2_node_262 | 0.4 | n |  | TRUE
13 | bus_LV_908-3_0_2_node_100 | 0.4 | n |  | TRUE
14 | bus_LV_908-3_0_2_node_179 | 0.4 | n |  | TRUE
15 | bus_LV_908-3_0_2_node_264 | 0.4 | n |  | TRUE
16 | bus_LV_908-3_0_2_node_265 | 0.4 | n |  | TRUE
17 | bus_LV_908-3_0_2_node_266 | 0.4 | n |  | TRUE
18 | bus_LV_908-3_0_2_node_267 | 0.4 | n |  | TRUE
19 | bus_LV_908-3_0_2_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_908-3_0_2_node_99 | 0.4 | n |  | TRUE
21 | bus_LV_908-3_0_2_node_172 | 0.4 | n |  | TRUE
22 | bus_LV_908-3_0_2_node_273 | 0.4 | n |  | TRUE
23 | bus_LV_908-3_0_2_node_74 | 0.4 | n |  | TRUE
24 | bus_LV_908-3_0_2_node_235 | 0.4 | n |  | TRUE
25 | bus_LV_908-3_0_2_node_178 | 0.4 | n |  | TRUE
26 | bus_LV_908-3_0_2_node_236 | 0.4 | n |  | TRUE
27 | bus_LV_908-3_0_2_node_174 | 0.4 | n |  | TRUE
28 | bus_LV_908-3_0_2_node_175 | 0.4 | n |  | TRUE
29 | bus_LV_908-3_0_2_node_75 | 0.4 | n |  | TRUE
30 | bus_LV_908-3_0_2_node_176 | 0.4 | n |  | TRUE
31 | bus_LV_908-3_0_2_node_177 | 0.4 | n |  | TRUE
32 | bus_LV_908-3_0_2_node_180 | 0.4 | n |  | TRUE
33 | bus_LV_908-3_0_2_node_116 | 0.4 | n |  | TRUE
34 | bus_LV_908-3_0_2_node_181 | 0.4 | n |  | TRUE
35 | bus_LV_908-3_0_2_node_182 | 0.4 | n |  | TRUE
36 | bus_LV_908-3_0_2_node_183 | 0.4 | n |  | TRUE
37 | bus_LV_908-3_0_2_node_117 | 0.4 | n |  | TRUE
38 | bus_LV_908-3_0_2_node_66 | 0.4 | n |  | TRUE
39 | bus_LV_908-3_0_2_node_67 | 0.4 | n |  | TRUE
40 | bus_LV_908-3_0_2_node_68 | 0.4 | n |  | TRUE
41 | bus_LV_908-3_0_2_node_69 | 0.4 | n |  | TRUE
42 | bus_LV_908-3_0_2_node_70 | 0.4 | n |  | TRUE
43 | bus_LV_908-3_0_2_node_71 | 0.4 | n |  | TRUE
44 | bus_LV_908-3_0_2_node_72 | 0.4 | n |  | TRUE
45 | bus_LV_908-3_0_2_node_73 | 0.4 | n |  | TRUE
46 | bus_LV_908-3_0_2_node_240 | 0.4 | n |  | TRUE
47 | bus_LV_908-3_0_2_node_219 | 0.4 | n |  | TRUE
48 | bus_LV_908-3_0_2_node_106 | 0.4 | n |  | TRUE
49 | bus_LV_908-3_0_2_node_96 | 0.4 | n |  | TRUE
50 | bus_LV_908-3_0_2_node_97 | 0.4 | n |  | TRUE
51 | bus_LV_908-3_0_2_node_98 | 0.4 | n |  | TRUE
52 | bus_LV_908-3_0_2_node_101 | 0.4 | n |  | TRUE
53 | bus_LV_908-3_0_2_node_109 | 0.4 | n |  | TRUE
54 | bus_LV_908-3_0_2_node_103 | 0.4 | n |  | TRUE
55 | bus_LV_908-3_0_2_node_104 | 0.4 | n |  | TRUE
56 | bus_LV_908-3_0_2_node_105 | 0.4 | n |  | TRUE
57 | bus_LV_908-3_0_2_node_107 | 0.4 | n |  | TRUE
58 | bus_LV_908-3_0_2_node_127 | 0.4 | n |  | TRUE
59 | bus_LV_908-3_0_2_node_108 | 0.4 | n |  | TRUE
60 | bus_LV_908-3_0_2_node_111 | 0.4 | n |  | TRUE
61 | bus_LV_908-3_0_2_node_112 | 0.4 | n |  | TRUE
62 | bus_LV_908-3_0_2_node_114 | 0.4 | n |  | TRUE
63 | bus_LV_908-3_0_2_node_115 | 0.4 | n |  | TRUE
64 | bus_LV_908-3_0_2_node_123 | 0.4 | n |  | TRUE
65 | bus_LV_908-3_0_2_node_124 | 0.4 | n |  | TRUE
66 | bus_LV_908-3_0_2_node_125 | 0.4 | n |  | TRUE
67 | bus_MV_0_node_266 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_908-3_0_2_load_0 | 0 | 0.00052931 | 0.00013266 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_908-3_0_2_load_1 | 1 | 0.0014639 | 0.00036689 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_908-3_0_2_load_3 | 3 | 0.0001502 | 3.7644e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_908-3_0_2_load_4 | 4 | 0.00022314 | 5.5923e-05 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_908-3_0_2_load_5 | 5 | 0.00035523 | 8.9028e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_908-3_0_2_load_128 | 9 | 0.0001083 | 2.7143e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_908-3_0_2_load_126 | 10 | 0.00018544 | 4.6474e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_908-3_0_2_load_184 | 11 | 0.00080837 | 0.0002026 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_908-3_0_2_load_262 | 12 | 5.6355e-05 | 1.4124e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_908-3_0_2_load_100 | 13 | 0.00020577 | 5.1571e-05 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_908-3_0_2_load_264 | 15 | 0.00014814 | 3.7129e-05 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_908-3_0_2_load_266 | 17 | 0.00012912 | 3.2361e-05 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_908-3_0_2_load_267 | 18 | 0.001505 | 0.00037719 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_908-3_0_2_load_273 | 22 | 0.00045412 | 0.00011381 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_908-3_0_2_load_74 | 23 | 0.0001917 | 4.8046e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_908-3_0_2_load_235 | 24 | 0.0001217 | 3.05e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_908-3_0_2_load_178 | 25 | 0.00039139 | 9.8093e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_908-3_0_2_load_236 | 26 | 9.7099e-05 | 2.4335e-05 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_908-3_0_2_load_174 | 27 | 0.00018321 | 4.5918e-05 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_908-3_0_2_load_75 | 29 | 0.00017666 | 4.4275e-05 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_908-3_0_2_load_176 | 30 | 5.463e-05 | 1.3691e-05 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_908-3_0_2_load_177 | 31 | 0.00032476 | 8.1393e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_908-3_0_2_load_116 | 33 | 0.000217 | 5.4386e-05 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_908-3_0_2_load_181 | 34 | 0.00021095 | 5.287e-05 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_908-3_0_2_load_182 | 35 | 0.0018169 | 0.00045536 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_908-3_0_2_load_117 | 37 | 0.0010389 | 0.00026036 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_908-3_0_2_load_66 | 38 | 6.3366e-05 | 1.5881e-05 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_908-3_0_2_load_72 | 44 | 0.0006094 | 0.00015273 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_908-3_0_2_load_73 | 45 | 7.8683e-05 | 1.972e-05 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_908-3_0_2_load_240 | 46 | 0.0003271 | 8.1979e-05 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_908-3_0_2_load_219 | 47 | 0.00022918 | 5.7438e-05 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_908-3_0_2_load_106 | 48 | 0.00014949 | 3.7466e-05 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_908-3_0_2_load_96 | 49 | 0.00013872 | 3.4766e-05 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_908-3_0_2_load_97 | 50 | 0.00010313 | 2.5847e-05 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_908-3_0_2_load_109 | 53 | 0.0006529 | 0.00016363 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_908-3_0_2_load_103 | 54 | 0.00090308 | 0.00022633 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_908-3_0_2_load_104 | 55 | 0.00014619 | 3.6638e-05 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_908-3_0_2_load_127 | 58 | 0.00046515 | 0.00011658 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_908-3_0_2_load_108 | 59 | 7.3502e-05 | 1.8421e-05 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_908-3_0_2_load_111 | 60 | 0.00018598 | 4.6611e-05 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_908-3_0_2_load_114 | 62 | 0.00016509 | 4.1376e-05 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_908-3_0_2_load_115 | 63 | 0.00023015 | 5.7681e-05 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_908-3_0_2_load_123 | 64 | 0.00021149 | 5.3004e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 17 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_908-3_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.015427 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_908-3_0_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.0068963 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_908-3_0_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.031828 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_908-3_0_2_line_3 | NAYY 4x150 SE | 2 | 4 | 0.036577 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_908-3_0_2_line_4 | NAYY 4x150 SE | 2 | 5 | 0.030104 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_908-3_0_2_line_5 | NAYY 4x150 SE | 4 | 6 | 0.051721 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_908-3_0_2_line_6 | NAYY 4x150 SE | 6 | 7 | 0.24103 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_908-3_0_2_line_7 | NAYY 4x150 SE | 6 | 8 | 0.43536 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_908-3_0_2_line_8 | NAYY 4x150 SE | 7 | 60 | 0.57652 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_908-3_0_2_line_9 | NAYY 4x150 SE | 8 | 15 | 0.0095327 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_908-3_0_2_line_10 | NAYY 4x150 SE | 9 | 10 | 0.015592 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_908-3_0_2_line_11 | NAYY 4x150 SE | 9 | 11 | 0.0045076 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_908-3_0_2_line_12 | NAYY 4x150 SE | 10 | 65 | 0.075053 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_908-3_0_2_line_13 | NAYY 4x150 SE | 11 | 27 | 0.058717 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_908-3_0_2_line_14 | NAYY 4x150 SE | 12 | 13 | 0.4114 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_908-3_0_2_line_15 | NAYY 4x150 SE | 12 | 14 | 0.32618 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_908-3_0_2_line_16 | NAYY 4x150 SE | 13 | 17 | 0.45048 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_908-3_0_2_line_17 | NAYY 4x150 SE | 13 | 51 | 0.022072 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_908-3_0_2_line_18 | NAYY 4x150 SE | 14 | 31 | 0.026366 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_908-3_0_2_line_19 | NAYY 4x150 SE | 15 | 16 | 0.014518 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_908-3_0_2_line_20 | NAYY 4x150 SE | 16 | 17 | 0.01932 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_908-3_0_2_line_21 | NAYY 4x150 SE | 16 | 18 | 0.012836 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_908-3_0_2_line_22 | NAYY 4x150 SE | 19 | 20 | 0.14936 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_908-3_0_2_line_23 | NAYY 4x150 SE | 19 | 21 | 0.094685 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_908-3_0_2_line_24 | NAYY 4x150 SE | 20 | 52 | 0.005773 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_908-3_0_2_line_25 | NAYY 4x150 SE | 20 | 50 | 0.0073625 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_908-3_0_2_line_26 | NAYY 4x150 SE | 21 | 27 | 0.16434 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_908-3_0_2_line_27 | NAYY 4x150 SE | 22 | 23 | 0.014754 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_908-3_0_2_line_28 | NAYY 4x150 SE | 23 | 42 | 0.098247 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_908-3_0_2_line_29 | NAYY 4x150 SE | 24 | 25 | 0.042287 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_908-3_0_2_line_30 | NAYY 4x150 SE | 24 | 26 | 0.020774 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_908-3_0_2_line_31 | NAYY 4x150 SE | 25 | 30 | 0.035864 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_908-3_0_2_line_32 | NAYY 4x150 SE | 28 | 29 | 0.0034484 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_908-3_0_2_line_33 | NAYY 4x150 SE | 28 | 30 | 0.041083 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_908-3_0_2_line_34 | NAYY 4x150 SE | 28 | 31 | 0.21984 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_908-3_0_2_line_35 | NAYY 4x150 SE | 29 | 43 | 0.33491 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_908-3_0_2_line_36 | NAYY 4x150 SE | 32 | 33 | 0.14948 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_908-3_0_2_line_37 | NAYY 4x150 SE | 32 | 34 | 0.50096 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_908-3_0_2_line_38 | NAYY 4x150 SE | 33 | 62 | 0.019778 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_908-3_0_2_line_39 | NAYY 4x150 SE | 35 | 36 | 0.033775 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_908-3_0_2_line_40 | NAYY 4x150 SE | 36 | 37 | 0.029562 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_908-3_0_2_line_41 | NAYY 4x150 SE | 37 | 63 | 0.0088071 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_908-3_0_2_line_42 | NAYY 4x150 SE | 38 | 39 | 0.0067016 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_908-3_0_2_line_43 | NAYY 4x150 SE | 38 | 40 | 0.048527 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_908-3_0_2_line_44 | NAYY 4x150 SE | 39 | 41 | 0.05629 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_908-3_0_2_line_45 | NAYY 4x150 SE | 39 | 42 | 0.010506 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_908-3_0_2_line_46 | NAYY 4x150 SE | 40 | 43 | 0.006919 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_908-3_0_2_line_47 | NAYY 4x150 SE | 41 | 44 | 0.028265 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_908-3_0_2_line_48 | NAYY 4x150 SE | 41 | 45 | 0.007749 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_908-3_0_2_line_49 | NAYY 4x150 SE | 45 | 46 | 0.21251 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_908-3_0_2_line_50 | NAYY 4x150 SE | 47 | 48 | 0.0018087 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_908-3_0_2_line_51 | NAYY 4x150 SE | 48 | 56 | 0.036819 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_908-3_0_2_line_52 | NAYY 4x150 SE | 49 | 50 | 0.0266 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_908-3_0_2_line_53 | NAYY 4x150 SE | 49 | 51 | 0.1587 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_908-3_0_2_line_54 | NAYY 4x150 SE | 52 | 53 | 0.017361 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_908-3_0_2_line_55 | NAYY 4x150 SE | 53 | 59 | 0.030725 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_908-3_0_2_line_56 | NAYY 4x150 SE | 54 | 55 | 0.0064872 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_908-3_0_2_line_57 | NAYY 4x150 SE | 55 | 56 | 0.014442 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_908-3_0_2_line_58 | NAYY 4x150 SE | 56 | 57 | 0.32568 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_908-3_0_2_line_59 | NAYY 4x150 SE | 57 | 58 | 0.024606 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_908-3_0_2_line_60 | NAYY 4x150 SE | 58 | 66 | 0.24972 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_908-3_0_2_line_61 | NAYY 4x150 SE | 60 | 61 | 0.011302 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_908-3_0_2_line_62 | NAYY 4x150 SE | 61 | 62 | 0.035021 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_908-3_0_2_line_63 | NAYY 4x150 SE | 61 | 63 | 0.0083148 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_908-3_0_2_line_64 | NAYY 4x150 SE | 64 | 65 | 0.28276 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_908-3_0_2_line_65 | NAYY 4x150 SE | 64 | 66 | 0.078286 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_908-3_0_2_trafo_266 | 0.25 MVA 20/0.4 kV | 67 | 17 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28 | x29 | y29 | x30 | y30 | x31 | y31 | x32 | y32 | x33 | y33 | x34 | y34 | x35 | y35 | x36 | y36 | x37 | y37 | x38 | y38 | x39 | y39 | x40 | y40 | x41 | y41 | x42 | y42 | x43 | y43 | x44 | y44 | x45 | y45
0 | 2631243.8218 | 1200758.087 | 2631251.0088 | 1200747.3296 | 2631253.4606 | 1200746.8971
1 | 2631239.5826 | 1200763.5122 | 2631242.3933 | 1200760.225 | 2631243.8218 | 1200758.087
2 | 2631272.4714 | 1200736.1324 | 2631275.9641 | 1200739.3555 | 2631274.3561 | 1200744.0831 | 2631267.7925 | 1200747.4173 | 2631261.9782 | 1200748.6431 | 2631254.4982 | 1200746.7141 | 2631253.4606 | 1200746.8971
3 | 2631239.5826 | 1200763.5122 | 2631233.9996 | 1200770.02 | 2631229.4049 | 1200776.7664 | 2631225.679 | 1200783.3061 | 2631222.1918 | 1200790.792 | 2631220.8043 | 1200794.6024
4 | 2631220.9567 | 1200741.5918 | 2631221.5588 | 1200747.2758 | 2631226.4974 | 1200751.9375 | 2631233.3325 | 1200756.3867 | 2631239.5826 | 1200763.5122
5 | 2631189.4017 | 1200829.9204 | 2631197.7167 | 1200827.8848 | 2631203.5231 | 1200825.2359 | 2631207.6907 | 1200823.0119 | 2631211.9295 | 1200818.8206 | 2631214.7509 | 1200814.9443 | 2631216.9623 | 1200809.7863 | 2631218.0679 | 1200805.0561 | 2631219.5816 | 1200797.9601 | 2631220.8043 | 1200794.6024
6 | 2631110.9545 | 1201051.0006 | 2631117.7691 | 1201041.7754 | 2631125.0728 | 1201030.7184 | 2631153.0589 | 1200982.7376 | 2631163.784 | 1200965.1393 | 2631173.5325 | 1200950.9044 | 2631176.5105 | 1200944.6943 | 2631179.5091 | 1200937.4615 | 2631181.5391 | 1200930.6016 | 2631182.619 | 1200922.0358 | 2631184.7733 | 1200881.1134 | 2631189.2741 | 1200835.4116 | 2631189.4017 | 1200829.9204
7 | 2631189.4017 | 1200829.9204 | 2631188.804 | 1200823.3803 | 2631185.0321 | 1200794.9672 | 2631184.7845 | 1200786.9838 | 2631185.3439 | 1200778.96 | 2631186.3282 | 1200772.6728 | 2631187.8817 | 1200765.2324 | 2631190.3776 | 1200758.0859 | 2631201.3105 | 1200732.8289 | 2631206.1408 | 1200720.325 | 2631213.7546 | 1200699.531 | 2631218.3371 | 1200689.3049 | 2631224.9371 | 1200677.5439 | 2631248.91 | 1200637.6582 | 2631255.0474 | 1200628.4963 | 2631279.9551 | 1200596.242 | 2631298.5042 | 1200576.1612 | 2631305.1396 | 1200567.8691 | 2631309.7869 | 1200561.3009 | 2631332.7195 | 1200582.1435 | 2631341.73 | 1200588.3719 | 2631346.7926 | 1200591.1667 | 2631351.6332 | 1200592.7484 | 2631358.6811 | 1200592.9188 | 2631364.8515 | 1200592.0395 | 2631371.2308 | 1200590.4943 | 2631382.7461 | 1200586.4858 | 2631389.1979 | 1200584.1962 | 2631393.6387 | 1200583.6303 | 2631407.0407 | 1200584.1787 | 2631412.0978 | 1200585.1168 | 2631416.0774 | 1200586.8387 | 2631420.0915 | 1200589.2499 | 2631422.674 | 1200591.7649 | 2631424.5258 | 1200594.276
8 | 2631110.9545 | 1201051.0006 | 2631103.3168 | 1201050.2049 | 2631097.8253 | 1201046.5077 | 2631095.2072 | 1201040.5908 | 2631095.2422 | 1201033.8762 | 2631102.7574 | 1201001.1528 | 2631098.4392 | 1200967.9565 | 2631096.2489 | 1200957.3615 | 2631091.7539 | 1200939.1169 | 2631091.0611 | 1200934.7443 | 2631083.7169 | 1200914.0503 | 2631080.8905 | 1200907.2096 | 2631083.3603 | 1200884.5321 | 2631075.6749 | 1200869.4283 | 2631058.4022 | 1200855.0975 | 2631050.918 | 1200840.8063 | 2631051.2574 | 1200832.6147 | 2631052.7802 | 1200826.6526 | 2631057.5381 | 1200820.6962 | 2631073.1442 | 1200807.1142 | 2631082.5232 | 1200798.0801 | 2631084.8667 | 1200792.4003 | 2631085.8726 | 1200784.8458 | 2631085.6406 | 1200766.5123 | 2631083.3632 | 1200759.4743 | 2631078.3842 | 1200753.7787 | 2631073.274 | 1200746.9595 | 2631071.8089 | 1200740.3371 | 2631072.7761 | 1200732.9158 | 2631076.7376 | 1200723.4868 | 2631086.1 | 1200710.3281 | 2631093.8256 | 1200698.7174 | 2631103.2151 | 1200677.4434 | 2631117.4738 | 1200644.9552 | 2631118.8503 | 1200637.8807 | 2631119.7276 | 1200624.3555 | 2631122.2339 | 1200612.2619 | 2631120.8688 | 1200601.0598 | 2631115.0097 | 1200588.9226 | 2631108.636 | 1200577.6944 | 2631103.1726 | 1200568.5054 | 2631095.3386 | 1200562.8727 | 2631086.9756 | 1200560.8948 | 2631082.0801 | 1200561.0695 | 2631078.4972 | 1200562.0737 | 2631071.4699 | 1200560.0094
9 | 2631424.5258 | 1200594.276 | 2631430.7661 | 1200587.0696
10 | 2632026.2812 | 1200754.9767 | 2632021.4756 | 1200755.4513 | 2632017.0163 | 1200756.6281 | 2632012.8057 | 1200758.2954 | 2632011.4931 | 1200759.2493
11 | 2632026.2812 | 1200754.9767 | 2632026.2812 | 1200754.9767 | 2632030.6521 | 1200756.0785
12 | 2631964.0979 | 1200816.6116 | 2631978.5492 | 1200793.0536 | 2631985.6693 | 1200783.9422 | 2631992.7771 | 1200775.709 | 2632001.348 | 1200767.1723 | 2632006.9446 | 1200762.5553 | 2632011.4931 | 1200759.2493
13 | 2632083.8191 | 1200737.0916 | 2632045.3976 | 1200757.247 | 2632042.0118 | 1200758.3962 | 2632038.366 | 1200758.3322 | 2632035.1863 | 1200757.9483 | 2632030.6521 | 1200756.0785 | 2632030.6521 | 1200756.0785
14 | 2631892.2699 | 1200502.4768 | 2631658.0511 | 1200164.2604
15 | 2631473.5088 | 1200237.0255 | 2631499.6567 | 1200253.1164 | 2631514.4348 | 1200259.9201 | 2631528.1292 | 1200265.7732 | 2631543.5854 | 1200273.9036 | 2631551.4318 | 1200278.6142 | 2631558.007 | 1200283.3181 | 2631573.3442 | 1200296.6508 | 2631587.0114 | 1200307.6401 | 2631596.4071 | 1200313.026 | 2631600.174 | 1200313.2682 | 2631602.225 | 1200311.2113 | 2631602.3085 | 1200308.3657 | 2631601.3125 | 1200305.2476 | 2631594.161 | 1200297.261 | 2631589.9592 | 1200291.4467 | 2631588.6234 | 1200284.925 | 2631590.7904 | 1200278.1994 | 2631614.551 | 1200244.673 | 2631622.6296 | 1200234.2544 | 2631628.9803 | 1200229.5854 | 2631632.0109 | 1200223.6648 | 2631633.0491 | 1200215.9216 | 2631635.565 | 1200195.0679 | 2631639.7492 | 1200184.0506 | 2631645.3922 | 1200176.4763 | 2631652.6051 | 1200168.5656 | 2631658.0511 | 1200164.2604
16 | 2631892.2699 | 1200502.4768 | 2631445.0521 | 1200556.622
17 | 2631914.1127 | 1200499.6367 | 2631899.994 | 1200502.1517 | 2631892.2699 | 1200502.4768
18 | 2631473.5088 | 1200237.0255 | 2631476.5281 | 1200230.3377 | 2631483.263 | 1200212.5415
19 | 2631436.432 | 1200573.8161 | 2631435.4785 | 1200577.1018 | 2631431.8474 | 1200585.8209 | 2631430.7661 | 1200587.0696
20 | 2631436.432 | 1200573.8161 | 2631437.525 | 1200570.0643 | 2631442.6372 | 1200560.5192 | 2631445.0521 | 1200556.622
21 | 2631424.753 | 1200568.4185 | 2631433.3949 | 1200572.3549 | 2631436.432 | 1200573.8161
22 | 2632203.2267 | 1200556.9726 | 2632199.1065 | 1200551.7031 | 2632165.8704 | 1200512.3693 | 2632159.7296 | 1200506.2885 | 2632152.8385 | 1200501.0152 | 2632142.9823 | 1200495.0479 | 2632127.0198 | 1200486.5019 | 2632113.2423 | 1200477.8899 | 2632104.3715 | 1200471.2831 | 2632091.4992 | 1200459.9411
23 | 2632203.8814 | 1200647.4482 | 2632202.4607 | 1200645.5173 | 2632201.2132 | 1200642.5423 | 2632199.776 | 1200636.6091 | 2632197.2023 | 1200614.1384 | 2632193.5985 | 1200585.0585 | 2632193.3676 | 1200578.4425 | 2632193.6969 | 1200573.8306 | 2632194.6301 | 1200570.1781 | 2632196.4122 | 1200565.763 | 2632198.9491 | 1200561.1407 | 2632200.9099 | 1200558.8834 | 2632203.2267 | 1200556.9726
24 | 2632087.7012 | 1200455.585 | 2632091.4992 | 1200459.9411
25 | 2632091.4992 | 1200459.9411 | 2632086.9642 | 1200465.7412
26 | 2632203.8814 | 1200647.4482 | 2632200.5662 | 1200649.5983 | 2632198.4651 | 1200652.4663 | 2632196.0163 | 1200656.2775 | 2632178.7434 | 1200701.8097 | 2632176.4848 | 1200705.6552 | 2632174.0591 | 1200708.0101 | 2632171.4023 | 1200709.4856 | 2632168.5717 | 1200710.6932 | 2632164.4786 | 1200711.7162 | 2632133.4174 | 1200716.8411 | 2632126.2778 | 1200718.1813 | 2632119.1594 | 1200719.844 | 2632112.7832 | 1200722.1889 | 2632106.8842 | 1200724.9921 | 2632083.8191 | 1200737.0916
27 | 2631722.5569 | 1199789.6163 | 2631729.9406 | 1199782.6405 | 2631733.6322 | 1199779.903
28 | 2631677.3388 | 1199704.1187 | 2631685.0775 | 1199713.487 | 2631691.9671 | 1199723.6068 | 2631702.5242 | 1199735.536 | 2631722.7334 | 1199756.3322 | 2631729.0208 | 1199763.703 | 2631734.609 | 1199769.4246 | 2631736.1121 | 1199774.5243 | 2631733.6322 | 1199779.903
29 | 2631548.7487 | 1199910.3606 | 2631547.492 | 1199915.6381 | 2631549.3365 | 1199925.331 | 2631552.2445 | 1199935.4519 | 2631550.4868 | 1199948.283 | 2631549.4062 | 1199951.6269
30 | 2631553.958 | 1199890.5954 | 2631553.9279 | 1199896.3059 | 2631550.2947 | 1199903.8687 | 2631548.7487 | 1199910.3606
31 | 2631549.4062 | 1199951.6269 | 2631546.6172 | 1199960.2581 | 2631540.4677 | 1199965.7064 | 2631536.0058 | 1199968.7401 | 2631533.2797 | 1199971.7719 | 2631531.4978 | 1199976.1983 | 2631531.1512 | 1199980.5175
32 | 2631559.0732 | 1200006.1823 | 2631560.2972 | 1200002.9585
33 | 2631559.0732 | 1200006.1823 | 2631551.4596 | 1200003.4407 | 2631542.782 | 1199998.9258 | 2631536.9539 | 1199995.3931 | 2631533.4538 | 1199990.7277 | 2631531.8175 | 1199986.3166 | 2631531.0822 | 1199981.3767 | 2631531.1512 | 1199980.5175
34 | 2631559.0732 | 1200006.1823 | 2631483.4605 | 1200212.0196 | 2631483.263 | 1200212.5415
35 | 2631628.9851 | 1199682.9625 | 2631625.1658 | 1199694.0039 | 2631579.6228 | 1199796.5532 | 2631572.4753 | 1199823.7527 | 2631570.7501 | 1199852.0369 | 2631579.2226 | 1199938.707 | 2631579.0457 | 1199944.8317 | 2631578.3712 | 1199951.4651 | 2631577.5513 | 1199956.7859 | 2631575.9493 | 1199961.7358 | 2631560.2972 | 1200002.9585
36 | 2631009.9802 | 1200366.8886 | 2631029.3048 | 1200393.9148 | 2631035.4013 | 1200404.3632 | 2631049.9532 | 1200437.1568 | 2631066.0058 | 1200494.6384 | 2631066.8211 | 1200503.1978
37 | 2631009.9802 | 1200366.8886 | 2631064.626 | 1200354.2984 | 2631092.5906 | 1200315.3666 | 2631114.8845 | 1200269.0792 | 2631142.0684 | 1200225.252 | 2631169.2493 | 1200180.6134 | 2631177.6974 | 1200126.9167 | 2631178.7877 | 1200074.0044 | 2631165.0586 | 1200045.4394 | 2631139.2731 | 1199976.912 | 2631120.6114 | 1199954.0135
38 | 2631066.8211 | 1200503.1978 | 2631068.5973 | 1200521.8446 | 2631068.4986 | 1200522.887
39 | 2631034.9741 | 1200595.2883 | 2631011.1501 | 1200571.3475
40 | 2631034.9741 | 1200595.2883 | 2631052.4635 | 1200571.4555
41 | 2631052.4635 | 1200571.4555 | 2631056.1943 | 1200566.3714 | 2631057.2393 | 1200564.0992
42 | 2631682.5637 | 1199695.0636 | 2631677.1955 | 1199692.3559 | 2631676.6044 | 1199692.0015
43 | 2631631.1895 | 1199676.4038 | 2631644.7079 | 1199679.7994 | 2631657.8961 | 1199682.2816 | 2631664.1195 | 1199684.5157 | 2631676.6044 | 1199692.0015
44 | 2631682.5637 | 1199695.0636 | 2631686.7631 | 1199695.6528 | 2631691.0764 | 1199694.8418 | 2631695.2466 | 1199692.3181 | 2631705.6471 | 1199683.5461 | 2631710.4318 | 1199681.4148 | 2631715.6423 | 1199680.8532 | 2631724.9894 | 1199682.637 | 2631730.5468 | 1199684.134 | 2631734.1088 | 1199684.3085
45 | 2631677.3388 | 1199704.1187 | 2631680.318 | 1199697.9088 | 2631682.5637 | 1199695.0636
46 | 2631628.9851 | 1199682.9625 | 2631631.1895 | 1199676.4038
47 | 2631734.1088 | 1199684.3085 | 2631737.7271 | 1199688.2409 | 2631739.5581 | 1199693.2534 | 2631738.3729 | 1199701.396 | 2631734.5168 | 1199709.9207
48 | 2631734.1088 | 1199684.3085 | 2631737.1136 | 1199681.9009 | 2631739.5862 | 1199678.8866
49 | 2631739.5862 | 1199678.8866 | 2631744.5771 | 1199672.8021 | 2631757.8301 | 1199658.7758 | 2631774.7461 | 1199638.8213 | 2631782.5226 | 1199621.0083 | 2631788.0795 | 1199606.83 | 2631802.0665 | 1199587.9495 | 2631819.7427 | 1199563.9969 | 2631840.325 | 1199543.3395 | 2631858.6626 | 1199531.0414 | 2631866.039 | 1199519.7856 | 2631868.883 | 1199513.8829
50 | 2632194.3054 | 1201614.398 | 2632195.6052 | 1201615.6556
51 | 2632171.8515 | 1201585.3275 | 2632183.6115 | 1201602.0444 | 2632189.7412 | 1201609.9818 | 2632194.3054 | 1201614.398
52 | 2632086.9642 | 1200465.7412 | 2632086.4787 | 1200466.3622 | 2632079.9592 | 1200472.6752 | 2632075.9823 | 1200474.7105 | 2632072.7137 | 1200475.2711 | 2632069.5805 | 1200474.6984 | 2632064.4419 | 1200472.0781
53 | 2631914.1127 | 1200499.6367 | 2631915.9029 | 1200497.9676 | 2631918.4791 | 1200497.3476 | 2631952.8656 | 1200498.3428 | 2631963.3134 | 1200497.6204 | 2631973.6054 | 1200496.1412 | 2631982.5052 | 1200494.499 | 2631988.301 | 1200492.5177 | 2631998.2863 | 1200487.1904 | 2632024.7227 | 1200471.6788 | 2632032.1459 | 1200468.5946 | 2632037.5575 | 1200467.3118 | 2632043.0382 | 1200467.3189 | 2632058.4415 | 1200469.4692 | 2632061.2299 | 1200470.4402 | 2632064.4419 | 1200472.0781
54 | 2632087.7012 | 1200455.585 | 2632086.63 | 1200442.4165 | 2632085.7866 | 1200438.3543
55 | 2632067.6825 | 1200415.5557 | 2632073.2794 | 1200419.4545 | 2632081.9228 | 1200425.9044 | 2632084.2406 | 1200430.9084 | 2632085.7866 | 1200438.3543
56 | 2632154.6968 | 1201597.2963 | 2632159.8258 | 1201593.3242
57 | 2632171.8515 | 1201585.3275 | 2632159.9132 | 1201593.2566 | 2632159.8258 | 1201593.3242
58 | 2632169.1704 | 1201357.9095 | 2632168.1824 | 1201367.554 | 2632166.7456 | 1201372.8937 | 2632165.1043 | 1201376.6425 | 2632156.2404 | 1201391.6587 | 2632151.6061 | 1201400.0051 | 2632148.3798 | 1201406.9249 | 2632144.4302 | 1201420.9892 | 2632140.9775 | 1201431.8322 | 2632138.9592 | 1201436.335 | 2632136.0896 | 1201440.622 | 2632128.4021 | 1201450.6195 | 2632122.6847 | 1201457.9929 | 2632109.0867 | 1201480.1655 | 2632095.0448 | 1201508.4725 | 2632094.0121 | 1201530.7237 | 2632098.476 | 1201547.0011 | 2632103.7503 | 1201544.1723 | 2632108.9725 | 1201539.6979 | 2632119.8288 | 1201530.5955 | 2632125.3485 | 1201527.4345 | 2632130.9979 | 1201525.6083 | 2632135.5357 | 1201525.2992 | 2632139.126 | 1201525.6742 | 2632142.255 | 1201526.925 | 2632145.0454 | 1201528.8522 | 2632147.8876 | 1201532.4695 | 2632150.7159 | 1201537.2762 | 2632159.7106 | 1201560.1594 | 2632171.8515 | 1201585.3275
59 | 2632169.1704 | 1201357.9095 | 2632165.1565 | 1201349.9502 | 2632161.1205 | 1201334.7868
60 | 2632096.6679 | 1201123.7797 | 2632085.5139 | 1201166.9548 | 2632079.5201 | 1201180.4079 | 2632069.9965 | 1201203.4696 | 2632070.8038 | 1201220.4166 | 2632082.5178 | 1201245.9046 | 2632089.8004 | 1201257.4945 | 2632107.5981 | 1201276.8451 | 2632115.511 | 1201290.1172 | 2632121.6407 | 1201299.5219 | 2632136.9022 | 1201310.6433 | 2632151.918 | 1201320.7407 | 2632161.1205 | 1201334.7868
61 | 2631060.7136 | 1200556.545 | 2631067.9021 | 1200558.9614 | 2631071.4699 | 1200560.0094
62 | 2631060.7136 | 1200556.545 | 2631066.5032 | 1200543.9681 | 2631068.4986 | 1200522.887
63 | 2631060.7136 | 1200556.545 | 2631057.2393 | 1200564.0992
64 | 2631964.0979 | 1200816.6116 | 2631964.7802 | 1200828.5107 | 2631966.2143 | 1200833.6435 | 2631968.823 | 1200839.7274 | 2631972.2624 | 1200844.2149 | 2631977.4848 | 1200849.7681 | 2631993.2092 | 1200861.4141 | 2632012.9286 | 1200880.3856 | 2632043.7257 | 1200905.9312 | 2632055.2914 | 1200926.549 | 2632066.0967 | 1200939.9365 | 2632087.1016 | 1200957.5588 | 2632095.4599 | 1200977.2701 | 2632098.1588 | 1200999.13 | 2632093.3952 | 1201031.5445 | 2632094.7216 | 1201045.6899
65 | 2632096.6679 | 1201123.7797 | 2632098.3802 | 1201089.7812 | 2632095.987 | 1201059.1848 | 2632094.7216 | 1201045.6899

## bus_geodata
| x | y | coords
0 | 2631243.8218 | 1200758.087
1 | 2631253.4606 | 1200746.8971
2 | 2631239.5826 | 1200763.5122
3 | 2631272.4714 | 1200736.1324
4 | 2631220.8043 | 1200794.6024
5 | 2631220.9567 | 1200741.5918
6 | 2631189.4017 | 1200829.9204
7 | 2631110.9545 | 1201051.0006
8 | 2631424.5258 | 1200594.276
9 | 2632026.2812 | 1200754.9767
10 | 2632011.4931 | 1200759.2493
11 | 2632030.6521 | 1200756.0785
12 | 2631658.0511 | 1200164.2604
13 | 2631892.2699 | 1200502.4768
14 | 2631473.5088 | 1200237.0255
15 | 2631430.7661 | 1200587.0696
16 | 2631436.432 | 1200573.8161
17 | 2631445.0521 | 1200556.622
18 | 2631424.753 | 1200568.4185
19 | 2632203.2267 | 1200556.9726
20 | 2632091.4992 | 1200459.9411
21 | 2632203.8814 | 1200647.4482
22 | 2631722.5569 | 1199789.6163
23 | 2631733.6322 | 1199779.903
24 | 2631548.7487 | 1199910.3606
25 | 2631549.4062 | 1199951.6269
26 | 2631553.958 | 1199890.5954
27 | 2632083.8191 | 1200737.0916
28 | 2631559.0732 | 1200006.1823
29 | 2631560.2972 | 1200002.9585
30 | 2631531.1512 | 1199980.5175
31 | 2631483.263 | 1200212.5415
32 | 2631009.9802 | 1200366.8886
33 | 2631066.8211 | 1200503.1978
34 | 2631120.6114 | 1199954.0135
35 | 2631011.1501 | 1200571.3475
36 | 2631034.9741 | 1200595.2883
37 | 2631052.4635 | 1200571.4555
38 | 2631676.6044 | 1199692.0015
39 | 2631682.5637 | 1199695.0636
40 | 2631631.1895 | 1199676.4038
41 | 2631734.1088 | 1199684.3085
42 | 2631677.3388 | 1199704.1187
43 | 2631628.9851 | 1199682.9625
44 | 2631734.5168 | 1199709.9207
45 | 2631739.5862 | 1199678.8866
46 | 2631868.883 | 1199513.8829
47 | 2632195.6052 | 1201615.6556
48 | 2632194.3054 | 1201614.398
49 | 2632064.4419 | 1200472.0781
50 | 2632086.9642 | 1200465.7412
51 | 2631914.1127 | 1200499.6367
52 | 2632087.7012 | 1200455.585
53 | 2632085.7866 | 1200438.3543
54 | 2632154.6968 | 1201597.2963
55 | 2632159.8258 | 1201593.3242
56 | 2632171.8515 | 1201585.3275
57 | 2632169.1704 | 1201357.9095
58 | 2632161.1205 | 1201334.7868
59 | 2632067.6825 | 1200415.5557
60 | 2631071.4699 | 1200560.0094
61 | 2631060.7136 | 1200556.545
62 | 2631068.4986 | 1200522.887
63 | 2631057.2393 | 1200564.0992
64 | 2632094.7216 | 1201045.6899
65 | 2631964.0979 | 1200816.6116
66 | 2632096.6679 | 1201123.7797
67 | 2631445.0521 | 1200556.622

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1