## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_908-5_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_908-5_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_908-5_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_908-5_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_908-5_0_3_node_33 | 0.4 | n |  | TRUE
5 | bus_LV_908-5_0_3_node_40 | 0.4 | n |  | TRUE
6 | bus_LV_908-5_0_3_node_7 | 0.4 | n |  | TRUE
7 | bus_LV_908-5_0_3_node_4 | 0.4 | n |  | TRUE
8 | bus_LV_908-5_0_3_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_908-5_0_3_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_908-5_0_3_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_908-5_0_3_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_908-5_0_3_node_107 | 0.4 | n |  | TRUE
13 | bus_LV_908-5_0_3_node_46 | 0.4 | n |  | TRUE
14 | bus_LV_908-5_0_3_node_123 | 0.4 | n |  | TRUE
15 | bus_LV_908-5_0_3_node_128 | 0.4 | n |  | TRUE
16 | bus_LV_908-5_0_3_node_52 | 0.4 | n |  | TRUE
17 | bus_LV_908-5_0_3_node_45 | 0.4 | n |  | TRUE
18 | bus_LV_908-5_0_3_node_124 | 0.4 | n |  | TRUE
19 | bus_LV_908-5_0_3_node_10 | 0.4 | n |  | TRUE
20 | bus_LV_908-5_0_3_node_11 | 0.4 | n |  | TRUE
21 | bus_LV_908-5_0_3_node_13 | 0.4 | n |  | TRUE
22 | bus_LV_908-5_0_3_node_12 | 0.4 | n |  | TRUE
23 | bus_LV_908-5_0_3_node_82 | 0.4 | n |  | TRUE
24 | bus_LV_908-5_0_3_node_81 | 0.4 | n |  | TRUE
25 | bus_LV_908-5_0_3_node_25 | 0.4 | n |  | TRUE
26 | bus_LV_908-5_0_3_node_22 | 0.4 | n |  | TRUE
27 | bus_LV_908-5_0_3_node_100 | 0.4 | n |  | TRUE
28 | bus_LV_908-5_0_3_node_117 | 0.4 | n |  | TRUE
29 | bus_LV_908-5_0_3_node_24 | 0.4 | n |  | TRUE
30 | bus_LV_908-5_0_3_node_26 | 0.4 | n |  | TRUE
31 | bus_LV_908-5_0_3_node_44 | 0.4 | n |  | TRUE
32 | bus_LV_908-5_0_3_node_23 | 0.4 | n |  | TRUE
33 | bus_LV_908-5_0_3_node_19 | 0.4 | n |  | TRUE
34 | bus_LV_908-5_0_3_node_20 | 0.4 | n |  | TRUE
35 | bus_LV_908-5_0_3_node_21 | 0.4 | n |  | TRUE
36 | bus_LV_908-5_0_3_node_97 | 0.4 | n |  | TRUE
37 | bus_LV_908-5_0_3_node_95 | 0.4 | n |  | TRUE
38 | bus_LV_908-5_0_3_node_108 | 0.4 | n |  | TRUE
39 | bus_LV_908-5_0_3_node_109 | 0.4 | n |  | TRUE
40 | bus_LV_908-5_0_3_node_96 | 0.4 | n |  | TRUE
41 | bus_LV_908-5_0_3_node_42 | 0.4 | n |  | TRUE
42 | bus_LV_908-5_0_3_node_41 | 0.4 | n |  | TRUE
43 | bus_LV_908-5_0_3_node_43 | 0.4 | n |  | TRUE
44 | bus_LV_908-5_0_3_node_47 | 0.4 | n |  | TRUE
45 | bus_LV_908-5_0_3_node_48 | 0.4 | n |  | TRUE
46 | bus_LV_908-5_0_3_node_49 | 0.4 | n |  | TRUE
47 | bus_LV_908-5_0_3_node_50 | 0.4 | n |  | TRUE
48 | bus_LV_908-5_0_3_node_51 | 0.4 | n |  | TRUE
49 | bus_LV_908-5_0_3_node_79 | 0.4 | n |  | TRUE
50 | bus_LV_908-5_0_3_node_76 | 0.4 | n |  | TRUE
51 | bus_LV_908-5_0_3_node_77 | 0.4 | n |  | TRUE
52 | bus_LV_908-5_0_3_node_53 | 0.4 | n |  | TRUE
53 | bus_LV_908-5_0_3_node_54 | 0.4 | n |  | TRUE
54 | bus_LV_908-5_0_3_node_55 | 0.4 | n |  | TRUE
55 | bus_LV_908-5_0_3_node_56 | 0.4 | n |  | TRUE
56 | bus_LV_908-5_0_3_node_57 | 0.4 | n |  | TRUE
57 | bus_LV_908-5_0_3_node_89 | 0.4 | n |  | TRUE
58 | bus_LV_908-5_0_3_node_87 | 0.4 | n |  | TRUE
59 | bus_LV_908-5_0_3_node_102 | 0.4 | n |  | TRUE
60 | bus_LV_908-5_0_3_node_101 | 0.4 | n |  | TRUE
61 | bus_LV_908-5_0_3_node_85 | 0.4 | n |  | TRUE
62 | bus_LV_908-5_0_3_node_63 | 0.4 | n |  | TRUE
63 | bus_LV_908-5_0_3_node_64 | 0.4 | n |  | TRUE
64 | bus_LV_908-5_0_3_node_65 | 0.4 | n |  | TRUE
65 | bus_LV_908-5_0_3_node_75 | 0.4 | n |  | TRUE
66 | bus_LV_908-5_0_3_node_69 | 0.4 | n |  | TRUE
67 | bus_LV_908-5_0_3_node_92 | 0.4 | n |  | TRUE
68 | bus_LV_908-5_0_3_node_68 | 0.4 | n |  | TRUE
69 | bus_LV_908-5_0_3_node_67 | 0.4 | n |  | TRUE
70 | bus_LV_908-5_0_3_node_70 | 0.4 | n |  | TRUE
71 | bus_LV_908-5_0_3_node_71 | 0.4 | n |  | TRUE
72 | bus_LV_908-5_0_3_node_72 | 0.4 | n |  | TRUE
73 | bus_LV_908-5_0_3_node_73 | 0.4 | n |  | TRUE
74 | bus_LV_908-5_0_3_node_74 | 0.4 | n |  | TRUE
75 | bus_LV_908-5_0_3_node_99 | 0.4 | n |  | TRUE
76 | bus_LV_908-5_0_3_node_110 | 0.4 | n |  | TRUE
77 | bus_LV_908-5_0_3_node_94 | 0.4 | n |  | TRUE
78 | bus_LV_908-5_0_3_node_78 | 0.4 | n |  | TRUE
79 | bus_LV_908-5_0_3_node_111 | 0.4 | n |  | TRUE
80 | bus_LV_908-5_0_3_node_88 | 0.4 | n |  | TRUE
81 | bus_LV_908-5_0_3_node_118 | 0.4 | n |  | TRUE
82 | bus_LV_908-5_0_3_node_83 | 0.4 | n |  | TRUE
83 | bus_LV_908-5_0_3_node_84 | 0.4 | n |  | TRUE
84 | bus_LV_908-5_0_3_node_86 | 0.4 | n |  | TRUE
85 | bus_LV_908-5_0_3_node_104 | 0.4 | n |  | TRUE
86 | bus_LV_908-5_0_3_node_112 | 0.4 | n |  | TRUE
87 | bus_LV_908-5_0_3_node_98 | 0.4 | n |  | TRUE
88 | bus_LV_908-5_0_3_node_106 | 0.4 | n |  | TRUE
89 | bus_LV_908-5_0_3_node_125 | 0.4 | n |  | TRUE
90 | bus_LV_908-5_0_3_node_105 | 0.4 | n |  | TRUE
91 | bus_LV_908-5_0_3_node_103 | 0.4 | n |  | TRUE
92 | bus_LV_908-5_0_3_node_127 | 0.4 | n |  | TRUE
93 | bus_LV_908-5_0_3_node_126 | 0.4 | n |  | TRUE
94 | bus_MV_126_0_node_68 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_908-5_0_3_load_0 | 0 | 0.0030958 | 0.00077587 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_908-5_0_3_load_1 | 1 | 0.0022871 | 0.00057321 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_908-5_0_3_load_2 | 2 | 0.0020072 | 0.00050305 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_908-5_0_3_load_3 | 3 | 0.001893 | 0.00047444 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_908-5_0_3_load_40 | 5 | 0.0020193 | 0.0005061 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_908-5_0_3_load_4 | 7 | 0.00035248 | 8.8339e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_908-5_0_3_load_5 | 8 | 0.00051789 | 0.00012979 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_908-5_0_3_load_8 | 10 | 0.00038951 | 9.762e-05 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_908-5_0_3_load_9 | 11 | 0.00051767 | 0.00012974 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_908-5_0_3_load_46 | 13 | 0.0025056 | 0.00062796 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_908-5_0_3_load_123 | 14 | 0.00052315 | 0.00013111 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_908-5_0_3_load_128 | 15 | 0.00019953 | 5.0006e-05 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_908-5_0_3_load_52 | 16 | 0.00015249 | 3.8217e-05 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_908-5_0_3_load_45 | 17 | 0.0009072 | 0.00022737 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_908-5_0_3_load_124 | 18 | 0.00026818 | 6.7211e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_908-5_0_3_load_10 | 19 | 0.0011848 | 0.00029695 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_908-5_0_3_load_81 | 24 | 0.00062535 | 0.00015673 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_908-5_0_3_load_25 | 25 | 0.0013806 | 0.00034601 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_908-5_0_3_load_22 | 26 | 0.0021955 | 0.00055025 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_908-5_0_3_load_100 | 27 | 0.0018017 | 0.00045155 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_908-5_0_3_load_117 | 28 | 0.00063238 | 0.00015849 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_908-5_0_3_load_24 | 29 | 0.00083645 | 0.00020964 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_908-5_0_3_load_44 | 31 | 0.0011731 | 0.000294 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_908-5_0_3_load_23 | 32 | 0.0013592 | 0.00034066 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_908-5_0_3_load_19 | 33 | 0.0001913 | 4.7945e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_908-5_0_3_load_20 | 34 | 0.00042957 | 0.00010766 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_908-5_0_3_load_95 | 37 | 0.00039191 | 9.8221e-05 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_908-5_0_3_load_108 | 38 | 0.00023974 | 6.0085e-05 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_908-5_0_3_load_42 | 41 | 0.016579 | 0.0041551 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_908-5_0_3_load_41 | 42 | 0.01257 | 0.0031504 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_908-5_0_3_load_43 | 43 | 0.017361 | 0.004351 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_908-5_0_3_load_47 | 44 | 0.00057658 | 0.0001445 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_908-5_0_3_load_48 | 45 | 0.0065878 | 0.0016511 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_908-5_0_3_load_49 | 46 | 0.0012111 | 0.00030352 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_908-5_0_3_load_79 | 49 | 0.0017056 | 0.00042747 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_908-5_0_3_load_76 | 50 | 0.0017418 | 0.00043654 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_908-5_0_3_load_77 | 51 | 0.0039253 | 0.00098377 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_908-5_0_3_load_53 | 52 | 0.00045873 | 0.00011497 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_908-5_0_3_load_54 | 53 | 0.0060194 | 0.0015086 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_908-5_0_3_load_55 | 54 | 0.00058576 | 0.0001468 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_908-5_0_3_load_56 | 55 | 0.0021435 | 0.0005372 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_908-5_0_3_load_57 | 56 | 0.00081521 | 0.00020431 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_908-5_0_3_load_102 | 59 | 0.0045094 | 0.0011302 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_908-5_0_3_load_101 | 60 | 0.0012453 | 0.00031209 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_908-5_0_3_load_63 | 62 | 0.0007257 | 0.00018188 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_908-5_0_3_load_75 | 65 | 0.00015187 | 3.8063e-05 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_908-5_0_3_load_69 | 66 | 0.00014206 | 3.5605e-05 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_908-5_0_3_load_68 | 68 | 0.00025728 | 6.4481e-05 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_908-5_0_3_load_67 | 69 | 0.00086841 | 0.00021765 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_908-5_0_3_load_70 | 70 | 0.00060023 | 0.00015043 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_908-5_0_3_load_71 | 71 | 0.00034973 | 8.7651e-05 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_908-5_0_3_load_72 | 72 | 0.0016054 | 0.00040234 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_908-5_0_3_load_73 | 73 | 0.0028267 | 0.00070843 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_908-5_0_3_load_74 | 74 | 0.00047483 | 0.000119 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_908-5_0_3_load_110 | 76 | 0.0075366 | 0.0018889 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_908-5_0_3_load_94 | 77 | 0.00035802 | 8.9727e-05 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_908-5_0_3_load_111 | 79 | 0.0013187 | 0.0003305 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_908-5_0_3_load_88 | 80 | 0.0038762 | 0.00097148 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_908-5_0_3_load_118 | 81 | 0.0044164 | 0.0011069 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_908-5_0_3_load_83 | 82 | 0.0017444 | 0.00043718 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_908-5_0_3_load_84 | 83 | 0.00051569 | 0.00012924 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_908-5_0_3_load_86 | 84 | 0.0036402 | 0.00091232 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_908-5_0_3_load_104 | 85 | 0.0011294 | 0.00028306 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_908-5_0_3_load_112 | 86 | 0.0011837 | 0.00029666 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_908-5_0_3_load_106 | 88 | 0.0030652 | 0.00076821 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_908-5_0_3_load_125 | 89 | 0.00036506 | 9.1492e-05 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_908-5_0_3_load_105 | 90 | 0.00083212 | 0.00020855 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_908-5_0_3_load_103 | 91 | 0.00088332 | 0.00022138 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_908-5_0_3_load_127 | 92 | 0.00015937 | 3.9942e-05 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_908-5_0_3_load_126 | 93 | 0.00015688 | 3.9317e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 47 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_908-5_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.022652 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_908-5_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.01332 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_908-5_0_3_line_2 | NAYY 4x150 SE | 2 | 3 | 0.018925 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_908-5_0_3_line_3 | NAYY 4x150 SE | 3 | 4 | 0.01347 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_908-5_0_3_line_4 | NAYY 4x150 SE | 4 | 5 | 0.015673 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_908-5_0_3_line_5 | NAYY 4x150 SE | 4 | 6 | 0.06668 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_908-5_0_3_line_6 | NAYY 4x150 SE | 6 | 12 | 0.079378 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_908-5_0_3_line_7 | NAYY 4x150 SE | 6 | 8 | 0.010927 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_908-5_0_3_line_8 | NAYY 4x150 SE | 7 | 8 | 0.023344 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_908-5_0_3_line_9 | NAYY 4x150 SE | 7 | 9 | 0.083626 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_908-5_0_3_line_10 | NAYY 4x150 SE | 9 | 10 | 0.021706 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_908-5_0_3_line_11 | NAYY 4x150 SE | 9 | 11 | 0.056889 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_908-5_0_3_line_12 | NAYY 4x150 SE | 10 | 13 | 0.049339 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_908-5_0_3_line_13 | NAYY 4x150 SE | 11 | 14 | 0.03152 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_908-5_0_3_line_14 | NAYY 4x150 SE | 12 | 15 | 0.037709 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_908-5_0_3_line_15 | NAYY 4x150 SE | 12 | 16 | 0.010663 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_908-5_0_3_line_16 | NAYY 4x150 SE | 13 | 17 | 0.013245 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_908-5_0_3_line_17 | NAYY 4x150 SE | 14 | 18 | 0.038595 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_908-5_0_3_line_18 | NAYY 4x150 SE | 15 | 92 | 0.036154 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_908-5_0_3_line_19 | NAYY 4x150 SE | 17 | 44 | 0.059834 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_908-5_0_3_line_20 | NAYY 4x150 SE | 18 | 89 | 0.012961 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_908-5_0_3_line_21 | NAYY 4x150 SE | 19 | 20 | 0.1447 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_908-5_0_3_line_22 | NAYY 4x150 SE | 20 | 21 | 0.36334 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_908-5_0_3_line_23 | NAYY 4x150 SE | 21 | 25 | 0.036407 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
24 | LV_908-5_0_3_line_24 | NAYY 4x150 SE | 21 | 26 | 0.032373 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
25 | LV_908-5_0_3_line_25 | NAYY 4x150 SE | 22 | 23 | 0.073688 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
26 | LV_908-5_0_3_line_26 | NAYY 4x150 SE | 22 | 24 | 0.021864 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
27 | LV_908-5_0_3_line_27 | NAYY 4x150 SE | 23 | 27 | 0.15524 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
28 | LV_908-5_0_3_line_28 | NAYY 4x150 SE | 23 | 28 | 0.033606 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_908-5_0_3_line_29 | NAYY 4x150 SE | 24 | 29 | 0.02465 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
30 | LV_908-5_0_3_line_30 | NAYY 4x150 SE | 25 | 30 | 0.033844 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
31 | LV_908-5_0_3_line_31 | NAYY 4x150 SE | 26 | 32 | 0.032497 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
32 | LV_908-5_0_3_line_32 | NAYY 4x150 SE | 27 | 49 | 0.01876 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
33 | LV_908-5_0_3_line_33 | NAYY 4x150 SE | 28 | 81 | 0.044008 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_908-5_0_3_line_34 | NAYY 4x150 SE | 29 | 32 | 0.00074678 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
35 | LV_908-5_0_3_line_35 | NAYY 4x150 SE | 30 | 31 | 0.011662 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
36 | LV_908-5_0_3_line_36 | NAYY 4x150 SE | 31 | 41 | 0.1916 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
37 | LV_908-5_0_3_line_37 | NAYY 4x150 SE | 33 | 34 | 0.0027243 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_908-5_0_3_line_38 | NAYY 4x150 SE | 34 | 35 | 0.031003 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_908-5_0_3_line_39 | NAYY 4x150 SE | 35 | 36 | 0.32727 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_908-5_0_3_line_40 | NAYY 4x150 SE | 35 | 37 | 0.078428 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_908-5_0_3_line_41 | NAYY 4x150 SE | 36 | 38 | 0.1128 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_908-5_0_3_line_42 | NAYY 4x150 SE | 36 | 39 | 0.05342 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_908-5_0_3_line_43 | NAYY 4x150 SE | 37 | 40 | 0.088436 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_908-5_0_3_line_44 | NAYY 4x150 SE | 39 | 63 | 0.49361 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_908-5_0_3_line_45 | NAYY 4x150 SE | 40 | 87 | 0.024321 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_908-5_0_3_line_46 | NAYY 4x150 SE | 40 | 75 | 0.004875 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_908-5_0_3_line_47 | NAYY 4x150 SE | 41 | 42 | 0.024728 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_908-5_0_3_line_48 | NAYY 4x150 SE | 42 | 43 | 0.13213 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_908-5_0_3_line_49 | NAYY 4x150 SE | 45 | 46 | 0.0027002 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
50 | LV_908-5_0_3_line_50 | NAYY 4x150 SE | 45 | 47 | 0.034345 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
51 | LV_908-5_0_3_line_51 | NAYY 4x150 SE | 46 | 48 | 0.043319 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
52 | LV_908-5_0_3_line_52 | NAYY 4x150 SE | 48 | 49 | 0.019775 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
53 | LV_908-5_0_3_line_53 | NAYY 4x150 SE | 48 | 50 | 0.019375 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
54 | LV_908-5_0_3_line_54 | NAYY 4x150 SE | 50 | 51 | 0.0075693 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
55 | LV_908-5_0_3_line_55 | NAYY 4x150 SE | 51 | 78 | 0.013051 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
56 | LV_908-5_0_3_line_56 | NAYY 4x150 SE | 52 | 53 | 0.021398 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_908-5_0_3_line_57 | NAYY 4x150 SE | 52 | 54 | 0.021141 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_908-5_0_3_line_58 | NAYY 4x150 SE | 53 | 55 | 0.010507 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_908-5_0_3_line_59 | NAYY 4x150 SE | 54 | 56 | 0.027476 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_908-5_0_3_line_60 | NAYY 4x150 SE | 55 | 57 | 0.040101 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_908-5_0_3_line_61 | NAYY 4x150 SE | 56 | 58 | 0.077377 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_908-5_0_3_line_62 | NAYY 4x150 SE | 57 | 59 | 0.17254 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_908-5_0_3_line_63 | NAYY 4x150 SE | 58 | 60 | 0.10341 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
64 | LV_908-5_0_3_line_64 | NAYY 4x150 SE | 58 | 61 | 0.032358 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
65 | LV_908-5_0_3_line_65 | NAYY 4x150 SE | 59 | 86 | 0.021644 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_908-5_0_3_line_66 | NAYY 4x150 SE | 60 | 85 | 0.017346 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_908-5_0_3_line_67 | NAYY 4x150 SE | 61 | 80 | 0.029928 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
68 | LV_908-5_0_3_line_68 | NAYY 4x150 SE | 61 | 82 | 0.046625 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_908-5_0_3_line_69 | NAYY 4x150 SE | 62 | 63 | 0.11595 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_908-5_0_3_line_70 | NAYY 4x150 SE | 63 | 64 | 0.30275 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_908-5_0_3_line_71 | NAYY 4x150 SE | 64 | 65 | 0.11415 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_908-5_0_3_line_72 | NAYY 4x150 SE | 64 | 66 | 0.12607 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_908-5_0_3_line_73 | NAYY 4x150 SE | 65 | 67 | 0.098441 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_908-5_0_3_line_74 | NAYY 4x150 SE | 66 | 68 | 0.012347 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_908-5_0_3_line_75 | NAYY 4x150 SE | 67 | 77 | 0.017892 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_908-5_0_3_line_76 | NAYY 4x150 SE | 68 | 69 | 0.0073679 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_908-5_0_3_line_77 | NAYY 4x150 SE | 70 | 71 | 0.012405 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_908-5_0_3_line_78 | NAYY 4x150 SE | 70 | 72 | 0.15631 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_908-5_0_3_line_79 | NAYY 4x150 SE | 71 | 73 | 0.033846 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_908-5_0_3_line_80 | NAYY 4x150 SE | 73 | 74 | 0.0077013 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_908-5_0_3_line_81 | NAYY 4x150 SE | 74 | 75 | 0.012586 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_908-5_0_3_line_82 | NAYY 4x150 SE | 75 | 76 | 0.018687 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_908-5_0_3_line_83 | NAYY 4x150 SE | 78 | 79 | 0.074269 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_908-5_0_3_line_84 | NAYY 4x150 SE | 78 | 80 | 0.088442 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
85 | LV_908-5_0_3_line_85 | NAYY 4x150 SE | 82 | 83 | 0.0090558 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_908-5_0_3_line_86 | NAYY 4x150 SE | 83 | 84 | 0.006132 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_908-5_0_3_line_87 | NAYY 4x150 SE | 85 | 91 | 0.019363 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_908-5_0_3_line_88 | NAYY 4x150 SE | 87 | 88 | 0.014108 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_908-5_0_3_line_89 | NAYY 4x150 SE | 87 | 89 | 0.022342 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_908-5_0_3_line_90 | NAYY 4x150 SE | 88 | 90 | 0.027665 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_908-5_0_3_line_91 | NAYY 4x150 SE | 90 | 91 | 0.028871 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_908-5_0_3_line_92 | NAYY 4x150 SE | 92 | 93 | 0.012791 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_908-5_0_3_trafo_50 | 0.25 MVA 20/0.4 kV | 94 | 47 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24
0 | 2633846.1053 | 1199265.4097 | 2633831.0419 | 1199282.3275
1 | 2633846.1053 | 1199265.4097 | 2633852.8476 | 1199257.8374 | 2633855.9947 | 1199257.3771 | 2633855.9947 | 1199257.3771
2 | 2633855.9947 | 1199257.3771 | 2633859.3833 | 1199258.6414 | 2633868.4758 | 1199270.9573
3 | 2633876.4745 | 1199281.7954 | 2633875.2656 | 1199280.1543 | 2633868.4758 | 1199270.9573
4 | 2633876.4745 | 1199281.7954 | 2633865.7855 | 1199293.2583
5 | 2633888.9344 | 1199344.3004 | 2633889.8655 | 1199306.2847 | 2633889.6211 | 1199302.37 | 2633889.0064 | 1199299.3315 | 2633887.6367 | 1199296.5111 | 2633884.9057 | 1199292.0599 | 2633876.4745 | 1199281.7954
6 | 2633888.9344 | 1199344.3004 | 2633878.4365 | 1199344.0519 | 2633864.9494 | 1199343.2974 | 2633855.2039 | 1199341.9415 | 2633844.8412 | 1199339.337 | 2633833.5522 | 1199334.9263 | 2633822.8877 | 1199329.1406 | 2633815.6002 | 1199323.9633 | 2633814.2215 | 1199322.7215
7 | 2633888.9344 | 1199344.3004 | 2633899.8557 | 1199344.6645
8 | 2633923.1864 | 1199345.4425 | 2633899.8557 | 1199344.6645
9 | 2634005.4282 | 1199343.5051 | 2634002.7496 | 1199345.9357 | 2634000.0996 | 1199347.3547 | 2633997.0053 | 1199347.9041 | 2633923.1864 | 1199345.4425
10 | 2634005.4282 | 1199343.5051 | 2634020.3848 | 1199359.235
11 | 2634005.4282 | 1199343.5051 | 2633965.9862 | 1199302.5095
12 | 2634052.6595 | 1199396.5218 | 2634030.7445 | 1199370.1303 | 2634020.3848 | 1199359.235
13 | 2633965.9862 | 1199302.5095 | 2633944.1326 | 1199279.795
14 | 2633814.2215 | 1199322.7215 | 2633816.1387 | 1199360.3816
15 | 2633814.2215 | 1199322.7215 | 2633807.9571 | 1199317.0496 | 2633806.5328 | 1199315.3564
16 | 2634061.1213 | 1199406.712 | 2634052.6595 | 1199396.5218
17 | 2633917.3737 | 1199251.982 | 2633944.1326 | 1199279.795
18 | 2633817.9767 | 1199396.4894 | 2633816.1387 | 1199360.3816
19 | 2634061.1213 | 1199406.712 | 2634076.6671 | 1199425.4332 | 2634098.3383 | 1199453.5512
20 | 2633917.3737 | 1199251.982 | 2633913.691 | 1199248.1542 | 2633908.9949 | 1199242.1168
21 | 2633300.6133 | 1199241.2303 | 2633301.5171 | 1199251.2187 | 2633299.2443 | 1199271.0614 | 2633292.2864 | 1199302.3399 | 2633288.5362 | 1199316.7825 | 2633283.5348 | 1199328.9503 | 2633275.7209 | 1199344.4043 | 2633265.2278 | 1199361.1107 | 2633257.4184 | 1199366.1812 | 2633249.4204 | 1199368.0723
22 | 2633300.6133 | 1199241.2303 | 2633299.6307 | 1199230.3633 | 2633299.1089 | 1199213.3177 | 2633303.6932 | 1199189.9303 | 2633308.2243 | 1199174.7361 | 2633311.3625 | 1199167.6608 | 2633314.0969 | 1199163.3736 | 2633316.6286 | 1199161.3088 | 2633320.9353 | 1199160.4545 | 2633328.3156 | 1199161.3739 | 2633323.8111 | 1199216.8905 | 2633319.6785 | 1199264.427 | 2633317.7349 | 1199282.5706 | 2633315.7553 | 1199301.7146 | 2633315.2274 | 1199317.2202 | 2633317.2447 | 1199317.2759 | 2633321.8448 | 1199317.0236 | 2633323.2736 | 1199316.1199 | 2633325.6263 | 1199310.63 | 2633341.088 | 1199310.9496 | 2633354.6216 | 1199311.592 | 2633360.2043 | 1199300.3392 | 2633377.6246 | 1199252.5655 | 2633379.2097 | 1199248.2164
23 | 2633379.2097 | 1199248.2164 | 2633378.036 | 1199284.6045
24 | 2633379.2097 | 1199248.2164 | 2633381.7339 | 1199215.9424
25 | 2633468.8528 | 1199128.7623 | 2633447.6045 | 1199126.9981 | 2633419.2225 | 1199131.9535 | 2633404.4631 | 1199138.0522 | 2633396.6749 | 1199137.8864
26 | 2633396.6749 | 1199137.8864 | 2633391.195 | 1199159.0521
27 | 2633468.8528 | 1199128.7623 | 2633622.9023 | 1199141.5772 | 2633623.5327 | 1199141.7757
28 | 2633468.8528 | 1199128.7623 | 2633464.4029 | 1199152.495 | 2633460.7156 | 1199161.2067
29 | 2633391.195 | 1199159.0521 | 2633385.0167 | 1199182.9152
30 | 2633376.9449 | 1199318.4314 | 2633378.036 | 1199284.6045
31 | 2633384.8295 | 1199183.6381 | 2633384.0142 | 1199186.7872 | 2633381.7339 | 1199215.9424
32 | 2633641.4269 | 1199147.4102 | 2633623.5327 | 1199141.7757
33 | 2633424.7501 | 1199174.2187 | 2633433.7531 | 1199177.6931 | 2633444.0458 | 1199177.9285 | 2633454.7319 | 1199170.4286 | 2633460.3752 | 1199162.011 | 2633460.7156 | 1199161.2067
34 | 2633384.8295 | 1199183.6381 | 2633385.0167 | 1199182.9152
35 | 2633376.9449 | 1199318.4314 | 2633387.6391 | 1199323.0824 | 2633387.6391 | 1199323.0824
36 | 2633540.0001 | 1199270.4664 | 2633537.5557 | 1199260.0859 | 2633532.7068 | 1199251.7541 | 2633522.4448 | 1199246.0713 | 2633508.6728 | 1199244.4599 | 2633494.8419 | 1199252.0311 | 2633401.6468 | 1199320.6148 | 2633387.6391 | 1199323.0824
37 | 2634070.0107 | 1199327.2567 | 2634067.3498 | 1199326.6728
38 | 2634037.0672 | 1199320.0275 | 2634067.3498 | 1199326.6728
39 | 2634037.0672 | 1199320.0275 | 2634042.3293 | 1199329.207 | 2634074.6191 | 1199359.9299 | 2634082.5839 | 1199359.7752 | 2634090.7264 | 1199364.5019 | 2634101.8657 | 1199380.4408 | 2634110.2207 | 1199383.957 | 2634124.6255 | 1199401.3376 | 2634140.862 | 1199417.9172 | 2634144.4544 | 1199432.8014 | 2634150.3137 | 1199444.0299 | 2634159.0476 | 1199451.8174 | 2634168.4378 | 1199452.6826 | 2634178.6216 | 1199457.221 | 2634191.8445 | 1199466.8685 | 2634192.0099 | 1199472.5615 | 2634183.5801 | 1199483.5083 | 2634196.6712 | 1199478.9027 | 2634188.6251 | 1199493.3092 | 2634199.6846 | 1199488.4919 | 2634194.4935 | 1199502.9147 | 2634207.0038 | 1199500.0179 | 2634206.5348 | 1199504.8179 | 2634209.1539 | 1199510.1246 | 2634212.3217 | 1199511.3545
40 | 2634037.0672 | 1199320.0275 | 2634022.0158 | 1199309.1582 | 2633978.1686 | 1199268.4041
41 | 2634212.3217 | 1199511.3545 | 2634212.3836 | 1199505.8519 | 2634213.3698 | 1199502.489 | 2634215.5323 | 1199499.7776 | 2634220.788 | 1199495.3719 | 2634237.9861 | 1199483.5304 | 2634243.3265 | 1199478.9584 | 2634245.745 | 1199475.4259 | 2634247.257 | 1199471.9659 | 2634247.9033 | 1199468.1342 | 2634247.4279 | 1199464.7185 | 2634245.8938 | 1199461.3968 | 2634240.7306 | 1199453.6296 | 2634235.0795 | 1199447.3049 | 2634223.0252 | 1199437.0192 | 2634219.9848 | 1199433.4665 | 2634218.8494 | 1199430.9808 | 2634218.2647 | 1199428.0537 | 2634218.4391 | 1199425.6054
42 | 2634260.5812 | 1199534.3544 | 2634239.4977 | 1199525.3621 | 2634223.412 | 1199517.1211 | 2634217.0999 | 1199513.2162 | 2634212.3217 | 1199511.3545
43 | 2633913.3921 | 1199208.1972 | 2633978.1686 | 1199268.4041
44 | 2634260.5812 | 1199534.3544 | 2634743.5238 | 1199432.2822
45 | 2633913.3921 | 1199208.1972 | 2633910.5912 | 1199210.716 | 2633899.9538 | 1199220.2722 | 2633895.2779 | 1199224.4813
46 | 2633913.3921 | 1199208.1972 | 2633917.0272 | 1199204.9382
47 | 2633546.9523 | 1199294.1717 | 2633542.3004 | 1199280.2347 | 2633540.0001 | 1199270.4664
48 | 2633546.9523 | 1199294.1717 | 2633547.0702 | 1199294.5248 | 2633552.8592 | 1199303.5734 | 2633582.0357 | 1199331.9193 | 2633617.4889 | 1199377.2989 | 2633629.7213 | 1199396.4793
49 | 2633698.6346 | 1199178.7924 | 2633696.3846 | 1199177.2995
50 | 2633721.2862 | 1199204.2985 | 2633703.4812 | 1199182.0082 | 2633698.6346 | 1199178.7924
51 | 2633660.289 | 1199153.3494 | 2633696.3846 | 1199177.2995
52 | 2633660.289 | 1199153.3494 | 2633641.4269 | 1199147.4102
53 | 2633660.289 | 1199153.3494 | 2633677.2918 | 1199144.06
54 | 2633677.2918 | 1199144.06 | 2633683.9344 | 1199140.4308
55 | 2633693.0476 | 1199131.0881 | 2633683.9344 | 1199140.4308
56 | 2633726.7921 | 1198938.0776 | 2633713.3328 | 1198925.4335 | 2633710.9782 | 1198923.6875
57 | 2633726.7921 | 1198938.0776 | 2633742.2002 | 1198952.5523
58 | 2633710.9782 | 1198923.6875 | 2633702.5384 | 1198917.4294
59 | 2633762.226 | 1198971.365 | 2633742.2002 | 1198952.5523
60 | 2633667.3958 | 1198898.449 | 2633693.4514 | 1198910.6912 | 2633702.5384 | 1198917.4294
61 | 2633806.7149 | 1199034.309 | 2633796.9215 | 1199015.7435 | 2633765.4195 | 1198974.3652 | 2633762.226 | 1198971.365
62 | 2633667.3958 | 1198898.449 | 2633657.5361 | 1198919.9721 | 2633620.0596 | 1199047.2093 | 2633610.883 | 1199060.5897
63 | 2633806.7149 | 1199034.309 | 2633831.9743 | 1199082.167 | 2633848.7199 | 1199123.4511 | 2633850.317 | 1199127.9223
64 | 2633806.7149 | 1199034.309 | 2633780.544 | 1199053.4385
65 | 2633598.641 | 1199078.4395 | 2633610.883 | 1199060.5897
66 | 2633850.317 | 1199127.9223 | 2633856.1518 | 1199144.2575
67 | 2633780.544 | 1199053.4385 | 2633755.4555 | 1199069.7552
68 | 2633780.544 | 1199053.4385 | 2633803.5 | 1199094.0205
69 | 2634743.5238 | 1199432.2822 | 2634749.0279 | 1199448.1006 | 2634765.3055 | 1199493.9872 | 2634768.8703 | 1199509.4053 | 2634764.4736 | 1199527.0895 | 2634757.5887 | 1199542.0459
70 | 2634743.5238 | 1199432.2822 | 2634759.0575 | 1199425.4019 | 2634823.4778 | 1199396.3159 | 2634888.0609 | 1199387.7428 | 2634965.6478 | 1199409.2186 | 2634991.4521 | 1199416.7291 | 2634997.4168 | 1199417.4755 | 2635002.2606 | 1199417.2037 | 2635006.8984 | 1199415.7189 | 2635012.1934 | 1199412.5147 | 2635029.391 | 1199399.7639
71 | 2635029.391 | 1199399.7639 | 2635033.2487 | 1199397.5741 | 2635037.1598 | 1199396.6743 | 2635040.7082 | 1199396.6062 | 2635044.5841 | 1199397.7962 | 2635046.7991 | 1199399.1988 | 2635089.8898 | 1199432.0584 | 2635101.2899 | 1199439.3959 | 2635105.3814 | 1199441.4878 | 2635109.9264 | 1199442.8374 | 2635113.2598 | 1199443.0571 | 2635116.0276 | 1199442.3729 | 2635118.5559 | 1199440.9759 | 2635120.5561 | 1199438.7531 | 2635121.6904 | 1199436.1805 | 2635122.3719 | 1199432.916 | 2635122.3718 | 1199432.7441
72 | 2635029.391 | 1199399.7639 | 2635030.6078 | 1199405.2074 | 2635030.9516 | 1199410.201 | 2635030.2305 | 1199415.0217 | 2635027.5811 | 1199421.4986 | 2635023.9464 | 1199428.5257 | 2635018.4262 | 1199436.3866 | 2635013.2519 | 1199442.393 | 2635002.6965 | 1199452.0032 | 2634977.1982 | 1199471.6206 | 2634957.2779 | 1199490.4257 | 2634957.1008 | 1199494.7561
73 | 2635172.8247 | 1199395.7807 | 2635167.7233 | 1199395.8174 | 2635160.5887 | 1199394.6304 | 2635152.5204 | 1199392.9821 | 2635133.5212 | 1199388.3346 | 2635128.6354 | 1199387.9724 | 2635124.7525 | 1199387.9607 | 2635120.868 | 1199389.5166 | 2635118.2128 | 1199391.78 | 2635116.799 | 1199395.2625 | 2635116.5255 | 1199399.063 | 2635117.3313 | 1199405.7492 | 2635122.3691 | 1199428.2023 | 2635122.3718 | 1199432.7441
74 | 2634957.1008 | 1199494.7561 | 2634956.5961 | 1199507.093
75 | 2635172.8247 | 1199395.7807 | 2635168.3328 | 1199403.5253 | 2635161.5603 | 1199409.3887
76 | 2634956.295 | 1199514.4548 | 2634956.5961 | 1199507.093
77 | 2633942.6763 | 1199155.1616 | 2633947.3229 | 1199166.6633
78 | 2633942.6763 | 1199155.1616 | 2633938.4066 | 1199144.5928 | 2633909.2418 | 1199119.6805 | 2633896.483 | 1199100.4754 | 2633889.7907 | 1199056.0575 | 2633892.418 | 1199042.5427 | 2633902.9156 | 1199028.1498 | 2633909.5076 | 1199025.8173
79 | 2633947.3229 | 1199166.6633 | 2633949.9847 | 1199173.2521 | 2633947.5864 | 1199181.2873 | 2633933.0713 | 1199192.5211
80 | 2633933.0713 | 1199192.5211 | 2633926.9809 | 1199197.2347
81 | 2633917.0272 | 1199204.9382 | 2633926.9809 | 1199197.2347
82 | 2633905.3695 | 1199190.3086 | 2633917.0272 | 1199204.9382
83 | 2633693.0476 | 1199131.0881 | 2633627.1301 | 1199096.5095
84 | 2633693.0476 | 1199131.0881 | 2633707.3974 | 1199109.9128 | 2633737.3127 | 1199081.5546 | 2633755.4555 | 1199069.7552
85 | 2633803.5 | 1199094.0205 | 2633807.9587 | 1199101.9027
86 | 2633810.9778 | 1199107.24 | 2633807.9587 | 1199101.9027
87 | 2633862.665 | 1199162.4921 | 2633856.1518 | 1199144.2575
88 | 2633895.2779 | 1199224.4813 | 2633886.619 | 1199213.3434
89 | 2633895.2779 | 1199224.4813 | 2633908.9949 | 1199242.1168
90 | 2633886.619 | 1199213.3434 | 2633880.8936 | 1199205.9786 | 2633873.0708 | 1199189.394
91 | 2633862.665 | 1199162.4921 | 2633869.7888 | 1199182.4361 | 2633873.0708 | 1199189.394
92 | 2633818.627 | 1199409.2641 | 2633817.9767 | 1199396.4894

## bus_geodata
| x | y | coords
0 | 2633846.1053 | 1199265.4097
1 | 2633831.0419 | 1199282.3275
2 | 2633855.9947 | 1199257.3771
3 | 2633868.4758 | 1199270.9573
4 | 2633876.4745 | 1199281.7954
5 | 2633865.7855 | 1199293.2583
6 | 2633888.9344 | 1199344.3004
7 | 2633923.1864 | 1199345.4425
8 | 2633899.8557 | 1199344.6645
9 | 2634005.4282 | 1199343.5051
10 | 2634020.3848 | 1199359.235
11 | 2633965.9862 | 1199302.5095
12 | 2633814.2215 | 1199322.7215
13 | 2634052.6595 | 1199396.5218
14 | 2633944.1326 | 1199279.795
15 | 2633816.1387 | 1199360.3816
16 | 2633806.5328 | 1199315.3564
17 | 2634061.1213 | 1199406.712
18 | 2633917.3737 | 1199251.982
19 | 2633249.4204 | 1199368.0723
20 | 2633300.6133 | 1199241.2303
21 | 2633379.2097 | 1199248.2164
22 | 2633396.6749 | 1199137.8864
23 | 2633468.8528 | 1199128.7623
24 | 2633391.195 | 1199159.0521
25 | 2633378.036 | 1199284.6045
26 | 2633381.7339 | 1199215.9424
27 | 2633623.5327 | 1199141.7757
28 | 2633460.7156 | 1199161.2067
29 | 2633385.0167 | 1199182.9151
30 | 2633376.9449 | 1199318.4314
31 | 2633387.6391 | 1199323.0824
32 | 2633384.8295 | 1199183.6381
33 | 2634070.0107 | 1199327.2567
34 | 2634067.3498 | 1199326.6728
35 | 2634037.0672 | 1199320.0275
36 | 2634212.3217 | 1199511.3545
37 | 2633978.1686 | 1199268.4041
38 | 2634218.4391 | 1199425.6054
39 | 2634260.5812 | 1199534.3544
40 | 2633913.3921 | 1199208.1972
41 | 2633540.0001 | 1199270.4664
42 | 2633546.9523 | 1199294.1717
43 | 2633629.7213 | 1199396.4793
44 | 2634098.3383 | 1199453.5512
45 | 2633698.6346 | 1199178.7924
46 | 2633696.3846 | 1199177.2995
47 | 2633721.2862 | 1199204.2985
48 | 2633660.289 | 1199153.3494
49 | 2633641.4269 | 1199147.4102
50 | 2633677.2918 | 1199144.06
51 | 2633683.9344 | 1199140.4308
52 | 2633726.7921 | 1198938.0776
53 | 2633710.9782 | 1198923.6875
54 | 2633742.2002 | 1198952.5523
55 | 2633702.5384 | 1198917.4294
56 | 2633762.226 | 1198971.365
57 | 2633667.3958 | 1198898.449
58 | 2633806.7149 | 1199034.309
59 | 2633610.883 | 1199060.5897
60 | 2633850.317 | 1199127.9223
61 | 2633780.544 | 1199053.4385
62 | 2634757.5887 | 1199542.0459
63 | 2634743.5238 | 1199432.2822
64 | 2635029.391 | 1199399.7639
65 | 2635122.3718 | 1199432.7441
66 | 2634957.1008 | 1199494.7561
67 | 2635172.8247 | 1199395.7807
68 | 2634956.5961 | 1199507.093
69 | 2634956.295 | 1199514.4548
70 | 2633942.6763 | 1199155.1616
71 | 2633947.3229 | 1199166.6633
72 | 2633909.5076 | 1199025.8174
73 | 2633933.0713 | 1199192.5211
74 | 2633926.9809 | 1199197.2347
75 | 2633917.0272 | 1199204.9382
76 | 2633905.3695 | 1199190.3086
77 | 2635161.5603 | 1199409.3887
78 | 2633693.0476 | 1199131.0881
79 | 2633627.1301 | 1199096.5095
80 | 2633755.4555 | 1199069.7552
81 | 2633424.7501 | 1199174.2187
82 | 2633803.5 | 1199094.0205
83 | 2633807.9587 | 1199101.9027
84 | 2633810.9778 | 1199107.24
85 | 2633856.1518 | 1199144.2575
86 | 2633598.641 | 1199078.4395
87 | 2633895.2779 | 1199224.4813
88 | 2633886.619 | 1199213.3434
89 | 2633908.9949 | 1199242.1168
90 | 2633873.0708 | 1199189.394
91 | 2633862.665 | 1199162.4921
92 | 2633817.9767 | 1199396.4894
93 | 2633818.627 | 1199409.2641
94 | 2633711.9095 | 1199214.4847

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1