## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_909-5_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_909-5_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_909-5_0_3_node_15 | 0.4 | n |  | TRUE
3 | bus_LV_909-5_0_3_node_2 | 0.4 | n |  | TRUE
4 | bus_LV_909-5_0_3_node_20 | 0.4 | n |  | TRUE
5 | bus_LV_909-5_0_3_node_13 | 0.4 | n |  | TRUE
6 | bus_LV_909-5_0_3_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_909-5_0_3_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_909-5_0_3_node_3 | 0.4 | n |  | TRUE
9 | bus_LV_909-5_0_3_node_22 | 0.4 | n |  | TRUE
10 | bus_LV_909-5_0_3_node_4 | 0.4 | n |  | TRUE
11 | bus_LV_909-5_0_3_node_62 | 0.4 | n |  | TRUE
12 | bus_LV_909-5_0_3_node_36 | 0.4 | n |  | TRUE
13 | bus_LV_909-5_0_3_node_35 | 0.4 | n |  | TRUE
14 | bus_LV_909-5_0_3_node_7 | 0.4 | n |  | TRUE
15 | bus_LV_909-5_0_3_node_8 | 0.4 | n |  | TRUE
16 | bus_LV_909-5_0_3_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_909-5_0_3_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_909-5_0_3_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_909-5_0_3_node_27 | 0.4 | n |  | TRUE
20 | bus_LV_909-5_0_3_node_28 | 0.4 | n |  | TRUE
21 | bus_LV_909-5_0_3_node_33 | 0.4 | n |  | TRUE
22 | bus_LV_909-5_0_3_node_46 | 0.4 | n |  | TRUE
23 | bus_LV_909-5_0_3_node_53 | 0.4 | n |  | TRUE
24 | bus_LV_909-5_0_3_node_31 | 0.4 | n |  | TRUE
25 | bus_LV_909-5_0_3_node_12 | 0.4 | n |  | TRUE
26 | bus_LV_909-5_0_3_node_14 | 0.4 | n |  | TRUE
27 | bus_LV_909-5_0_3_node_16 | 0.4 | n |  | TRUE
28 | bus_LV_909-5_0_3_node_17 | 0.4 | n |  | TRUE
29 | bus_LV_909-5_0_3_node_55 | 0.4 | n |  | TRUE
30 | bus_LV_909-5_0_3_node_21 | 0.4 | n |  | TRUE
31 | bus_LV_909-5_0_3_node_63 | 0.4 | n |  | TRUE
32 | bus_LV_909-5_0_3_node_56 | 0.4 | n |  | TRUE
33 | bus_LV_909-5_0_3_node_47 | 0.4 | n |  | TRUE
34 | bus_LV_909-5_0_3_node_19 | 0.4 | n |  | TRUE
35 | bus_LV_909-5_0_3_node_42 | 0.4 | n |  | TRUE
36 | bus_LV_909-5_0_3_node_18 | 0.4 | n |  | TRUE
37 | bus_LV_909-5_0_3_node_37 | 0.4 | n |  | TRUE
38 | bus_LV_909-5_0_3_node_34 | 0.4 | n |  | TRUE
39 | bus_LV_909-5_0_3_node_45 | 0.4 | n |  | TRUE
40 | bus_LV_909-5_0_3_node_48 | 0.4 | n |  | TRUE
41 | bus_LV_909-5_0_3_node_23 | 0.4 | n |  | TRUE
42 | bus_LV_909-5_0_3_node_24 | 0.4 | n |  | TRUE
43 | bus_LV_909-5_0_3_node_25 | 0.4 | n |  | TRUE
44 | bus_LV_909-5_0_3_node_26 | 0.4 | n |  | TRUE
45 | bus_LV_909-5_0_3_node_57 | 0.4 | n |  | TRUE
46 | bus_LV_909-5_0_3_node_61 | 0.4 | n |  | TRUE
47 | bus_LV_909-5_0_3_node_44 | 0.4 | n |  | TRUE
48 | bus_LV_909-5_0_3_node_52 | 0.4 | n |  | TRUE
49 | bus_LV_909-5_0_3_node_29 | 0.4 | n |  | TRUE
50 | bus_LV_909-5_0_3_node_30 | 0.4 | n |  | TRUE
51 | bus_LV_909-5_0_3_node_32 | 0.4 | n |  | TRUE
52 | bus_LV_909-5_0_3_node_58 | 0.4 | n |  | TRUE
53 | bus_LV_909-5_0_3_node_59 | 0.4 | n |  | TRUE
54 | bus_LV_909-5_0_3_node_65 | 0.4 | n |  | TRUE
55 | bus_LV_909-5_0_3_node_66 | 0.4 | n |  | TRUE
56 | bus_LV_909-5_0_3_node_38 | 0.4 | n |  | TRUE
57 | bus_LV_909-5_0_3_node_39 | 0.4 | n |  | TRUE
58 | bus_LV_909-5_0_3_node_40 | 0.4 | n |  | TRUE
59 | bus_LV_909-5_0_3_node_41 | 0.4 | n |  | TRUE
60 | bus_LV_909-5_0_3_node_54 | 0.4 | n |  | TRUE
61 | bus_LV_909-5_0_3_node_43 | 0.4 | n |  | TRUE
62 | bus_LV_909-5_0_3_node_64 | 0.4 | n |  | TRUE
63 | bus_LV_909-5_0_3_node_49 | 0.4 | n |  | TRUE
64 | bus_LV_909-5_0_3_node_50 | 0.4 | n |  | TRUE
65 | bus_LV_909-5_0_3_node_51 | 0.4 | n |  | TRUE
66 | bus_LV_909-5_0_3_node_67 | 0.4 | n |  | TRUE
67 | bus_MV_199_0_node_223 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_909-5_0_3_load_0 | 0 | 0.0020965 | 0.00052543 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_909-5_0_3_load_2 | 3 | 0.0040511 | 0.0010153 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_909-5_0_3_load_13 | 5 | 0.0063372 | 0.0015883 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_909-5_0_3_load_6 | 7 | 0.00040737 | 0.0001021 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_909-5_0_3_load_3 | 8 | 0.00080184 | 0.00020096 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_909-5_0_3_load_62 | 11 | 0.00090606 | 0.00022708 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_909-5_0_3_load_36 | 12 | 0.0072659 | 0.001821 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_909-5_0_3_load_35 | 13 | 0.0021141 | 0.00052985 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_909-5_0_3_load_7 | 14 | 0.00078122 | 0.00019579 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_909-5_0_3_load_8 | 15 | 0.00081077 | 0.0002032 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_909-5_0_3_load_9 | 16 | 0.00055697 | 0.00013959 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_909-5_0_3_load_11 | 18 | 0.0007146 | 0.00017909 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_909-5_0_3_load_27 | 19 | 0.00080448 | 0.00020162 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_909-5_0_3_load_28 | 20 | 0.00337 | 0.00084459 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_909-5_0_3_load_33 | 21 | 0.0005513 | 0.00013817 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_909-5_0_3_load_53 | 23 | 0.031975 | 0.0080136 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_909-5_0_3_load_31 | 24 | 0.0014952 | 0.00037472 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_909-5_0_3_load_12 | 25 | 0.0109 | 0.0027319 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_909-5_0_3_load_16 | 27 | 0.0005335 | 0.00013371 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_909-5_0_3_load_55 | 29 | 0.00065672 | 0.00016459 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_909-5_0_3_load_63 | 31 | 0.00052248 | 0.00013095 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_909-5_0_3_load_56 | 32 | 0.0027995 | 0.00070163 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_909-5_0_3_load_47 | 33 | 0.00055769 | 0.00013977 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_909-5_0_3_load_19 | 34 | 0.001619 | 0.00040575 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_909-5_0_3_load_42 | 35 | 0.00087537 | 0.00021939 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_909-5_0_3_load_18 | 36 | 0.004702 | 0.0011784 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_909-5_0_3_load_37 | 37 | 0.012798 | 0.0032074 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_909-5_0_3_load_34 | 38 | 0.0079216 | 0.0019853 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_909-5_0_3_load_45 | 39 | 0.00058823 | 0.00014742 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_909-5_0_3_load_48 | 40 | 0.00071364 | 0.00017886 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_909-5_0_3_load_23 | 41 | 0.0063068 | 0.0015806 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_909-5_0_3_load_25 | 43 | 0.0044278 | 0.0011097 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_909-5_0_3_load_26 | 44 | 0.010898 | 0.0027312 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_909-5_0_3_load_61 | 46 | 0.00054691 | 0.00013707 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_909-5_0_3_load_44 | 47 | 0.00056929 | 0.00014268 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_909-5_0_3_load_52 | 48 | 0.00080399 | 0.0002015 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_909-5_0_3_load_29 | 49 | 0.00053576 | 0.00013427 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_909-5_0_3_load_30 | 50 | 0.0012045 | 0.00030189 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_909-5_0_3_load_58 | 52 | 0.00063647 | 0.00015951 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_909-5_0_3_load_59 | 53 | 0.0010696 | 0.00026807 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_909-5_0_3_load_65 | 54 | 0.00060108 | 0.00015064 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_909-5_0_3_load_66 | 55 | 0.00080531 | 0.00020183 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_909-5_0_3_load_38 | 56 | 0.0014655 | 0.0003673 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_909-5_0_3_load_39 | 57 | 0.00060105 | 0.00015064 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_909-5_0_3_load_41 | 59 | 0.00084951 | 0.00021291 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_909-5_0_3_load_54 | 60 | 0.0025648 | 0.00064279 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_909-5_0_3_load_43 | 61 | 0.00060129 | 0.0001507 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_909-5_0_3_load_64 | 62 | 0.00060083 | 0.00015058 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_909-5_0_3_load_49 | 63 | 0.00051712 | 0.0001296 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_909-5_0_3_load_50 | 64 | 0.00096998 | 0.0002431 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_909-5_0_3_load_51 | 65 | 0.00070805 | 0.00017745 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_909-5_0_3_load_67 | 66 | 0.0015275 | 0.00038282 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 37 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_909-5_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.051393 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_909-5_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.18343 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_909-5_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.02766 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_909-5_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.02616 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_909-5_0_3_line_4 | NAYY 4x150 SE | 2 | 5 | 0.021473 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_909-5_0_3_line_5 | NAYY 4x150 SE | 3 | 6 | 0.032138 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_909-5_0_3_line_6 | NAYY 4x150 SE | 4 | 9 | 0.025355 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_909-5_0_3_line_7 | NAYY 4x150 SE | 6 | 7 | 0.014109 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_909-5_0_3_line_8 | NAYY 4x150 SE | 6 | 8 | 0.02663 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_909-5_0_3_line_9 | NAYY 4x150 SE | 8 | 10 | 0.042733 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_909-5_0_3_line_10 | NAYY 4x150 SE | 9 | 37 | 0.029364 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_909-5_0_3_line_11 | NAYY 4x150 SE | 9 | 38 | 0.027774 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_909-5_0_3_line_12 | NAYY 4x150 SE | 10 | 11 | 0.16893 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_909-5_0_3_line_13 | NAYY 4x150 SE | 12 | 13 | 0.0081075 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_909-5_0_3_line_14 | NAYY 4x150 SE | 13 | 38 | 0.0075265 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_909-5_0_3_line_15 | NAYY 4x150 SE | 14 | 15 | 0.00049486 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_909-5_0_3_line_16 | NAYY 4x150 SE | 14 | 16 | 0.013758 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_909-5_0_3_line_17 | NAYY 4x150 SE | 15 | 17 | 0.018875 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_909-5_0_3_line_18 | NAYY 4x150 SE | 16 | 18 | 8.3216e-05 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_909-5_0_3_line_19 | NAYY 4x150 SE | 17 | 19 | 0.010769 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_909-5_0_3_line_20 | NAYY 4x150 SE | 17 | 20 | 0.023297 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_909-5_0_3_line_21 | NAYY 4x150 SE | 18 | 21 | 0.013261 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_909-5_0_3_line_22 | NAYY 4x150 SE | 19 | 22 | 0.018734 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_909-5_0_3_line_23 | NAYY 4x150 SE | 20 | 23 | 0.003232 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_909-5_0_3_line_24 | NAYY 4x150 SE | 21 | 24 | 0.006804 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_909-5_0_3_line_25 | NAYY 4x150 SE | 22 | 40 | 0.019379 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_909-5_0_3_line_26 | NAYY 4x150 SE | 22 | 47 | 0.0089824 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_909-5_0_3_line_27 | NAYY 4x150 SE | 23 | 48 | 0.022212 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_909-5_0_3_line_28 | NAYY 4x150 SE | 24 | 49 | 0.0068249 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_909-5_0_3_line_29 | NAYY 4x150 SE | 25 | 26 | 0.027134 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_909-5_0_3_line_30 | NAYY 4x150 SE | 26 | 27 | 0.017045 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_909-5_0_3_line_31 | NAYY 4x150 SE | 26 | 28 | 0.026563 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_909-5_0_3_line_32 | NAYY 4x150 SE | 27 | 29 | 0.01732 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_909-5_0_3_line_33 | NAYY 4x150 SE | 28 | 30 | 0.003186 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_909-5_0_3_line_34 | NAYY 4x150 SE | 28 | 31 | 0.011818 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_909-5_0_3_line_35 | NAYY 4x150 SE | 29 | 32 | 0.017701 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_909-5_0_3_line_36 | NAYY 4x150 SE | 30 | 33 | 0.017399 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_909-5_0_3_line_37 | NAYY 4x150 SE | 30 | 34 | 0.012399 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_909-5_0_3_line_38 | NAYY 4x150 SE | 31 | 35 | 0.011102 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_909-5_0_3_line_39 | NAYY 4x150 SE | 32 | 45 | 0.019369 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_909-5_0_3_line_40 | NAYY 4x150 SE | 33 | 39 | 0.00014288 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_909-5_0_3_line_41 | NAYY 4x150 SE | 34 | 36 | 0.031884 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_909-5_0_3_line_42 | NAYY 4x150 SE | 35 | 58 | 0.011619 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_909-5_0_3_line_43 | NAYY 4x150 SE | 37 | 40 | 0.030837 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
44 | LV_909-5_0_3_line_44 | NAYY 4x150 SE | 39 | 47 | 0.00076984 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_909-5_0_3_line_45 | NAYY 4x150 SE | 41 | 42 | 0.038899 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_909-5_0_3_line_46 | NAYY 4x150 SE | 42 | 43 | 0.016652 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_909-5_0_3_line_47 | NAYY 4x150 SE | 42 | 44 | 0.022622 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_909-5_0_3_line_48 | NAYY 4x150 SE | 44 | 45 | 0.026209 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_909-5_0_3_line_49 | NAYY 4x150 SE | 45 | 46 | 0.025069 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_909-5_0_3_line_50 | NAYY 4x150 SE | 48 | 65 | 0.002264 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_909-5_0_3_line_51 | NAYY 4x150 SE | 49 | 50 | 0.0073715 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_909-5_0_3_line_52 | NAYY 4x150 SE | 50 | 51 | 0.016731 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_909-5_0_3_line_53 | NAYY 4x150 SE | 51 | 52 | 0.011058 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_909-5_0_3_line_54 | NAYY 4x150 SE | 51 | 53 | 0.04538 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_909-5_0_3_line_55 | NAYY 4x150 SE | 52 | 54 | 0.015386 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_909-5_0_3_line_56 | NAYY 4x150 SE | 53 | 55 | 0.0085412 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_909-5_0_3_line_57 | NAYY 4x150 SE | 54 | 62 | 0.015199 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_909-5_0_3_line_58 | NAYY 4x150 SE | 55 | 66 | 0.00016055 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_909-5_0_3_line_59 | NAYY 4x150 SE | 56 | 57 | 0.005141 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_909-5_0_3_line_60 | NAYY 4x150 SE | 56 | 58 | 0.019909 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_909-5_0_3_line_61 | NAYY 4x150 SE | 57 | 59 | 0.046318 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_909-5_0_3_line_62 | NAYY 4x150 SE | 59 | 60 | 0.0046041 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_909-5_0_3_line_63 | NAYY 4x150 SE | 61 | 62 | 0.01693 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_909-5_0_3_line_64 | NAYY 4x150 SE | 63 | 64 | 0.0011718 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_909-5_0_3_line_65 | NAYY 4x150 SE | 64 | 65 | 0.0020098 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_909-5_0_3_trafo_37 | 0.25 MVA 20/0.4 kV | 67 | 37 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2631416.1978 | 1197081.9621 | 2631369.7885 | 1197093.9364 | 2631366.3554 | 1197094.3926
1 | 2631285.6006 | 1197259.0861 | 2631366.3554 | 1197094.3926
2 | 2631416.1978 | 1197081.9621 | 2631443.023 | 1197075.2174
3 | 2631285.6006 | 1197259.0861 | 2631306.9687 | 1197274.2617
4 | 2631285.6006 | 1197259.0861 | 2631274.5064 | 1197277.471
5 | 2631474.1906 | 1197067.3809 | 2631443.023 | 1197075.2174
6 | 2631327.7839 | 1197288.8229 | 2631306.9687 | 1197274.2617
7 | 2631474.1906 | 1197067.3809 | 2631474.4586 | 1197053.2741
8 | 2631474.1906 | 1197067.3809 | 2631500.0103 | 1197060.8621
9 | 2631542.0399 | 1197054.164 | 2631536.3035 | 1197054.3895 | 2631526.6279 | 1197054.8721 | 2631518.5322 | 1197056.1858 | 2631500.0103 | 1197060.8621
10 | 2631327.7839 | 1197288.8229 | 2631322.8282 | 1197305.8174 | 2631318.0258 | 1197312.4292 | 2631317.4067 | 1197312.8484 | 2631315.8707 | 1197315.1199
11 | 2631327.7839 | 1197288.8229 | 2631344.4786 | 1197300.4944 | 2631348.8324 | 1197302.4627 | 2631351.3583 | 1197303.1796
12 | 2631542.0399 | 1197054.164 | 2631665.0425 | 1196938.3682
13 | 2631358.7725 | 1197304.277 | 2631366.8797 | 1197304.3422
14 | 2631351.3583 | 1197303.1796 | 2631352.5436 | 1197303.5161 | 2631356.7515 | 1197304.2607 | 2631358.7725 | 1197304.277
15 | 2631301.5556 | 1197388.8781 | 2631301.8337 | 1197388.4688
16 | 2631293.3598 | 1197399.8399 | 2631296.6644 | 1197395.0404 | 2631298.2477 | 1197393.748 | 2631301.5556 | 1197388.8781
17 | 2631312.4393 | 1197372.8552 | 2631301.8337 | 1197388.4688
18 | 2631293.3126 | 1197399.9084 | 2631293.3598 | 1197399.8399
19 | 2631312.4393 | 1197372.8552 | 2631303.4241 | 1197366.9647
20 | 2631312.4393 | 1197372.8552 | 2631318.8075 | 1197377.013 | 2631328.4755 | 1197379.3204 | 2631333.2123 | 1197382.5844
21 | 2631293.3126 | 1197399.9084 | 2631285.7919 | 1197410.8311
22 | 2631287.7407 | 1197356.7173 | 2631303.4241 | 1197366.9647
23 | 2631335.8736 | 1197384.4183 | 2631333.2123 | 1197382.5844
24 | 2631285.7919 | 1197410.8311 | 2631281.9333 | 1197416.4351
25 | 2631287.7407 | 1197356.7173 | 2631298.5964 | 1197340.6643
26 | 2631287.7407 | 1197356.7173 | 2631280.338 | 1197351.6296
27 | 2631354.1635 | 1197397.0216 | 2631335.8736 | 1197384.4183
28 | 2631281.9333 | 1197416.4351 | 2631278.0628 | 1197422.0564
29 | 2631242.3577 | 1197327.1864 | 2631257.4842 | 1197304.6594
30 | 2631242.3577 | 1197327.1864 | 2631229.02 | 1197316.5735
31 | 2631263.0491 | 1197343.57 | 2631243.4588 | 1197329.26 | 2631242.3577 | 1197327.1864
32 | 2631215.1677 | 1197306.1879 | 2631222.5843 | 1197311.4525 | 2631229.02 | 1197316.5735
33 | 2631265.2471 | 1197341.258 | 2631263.0491 | 1197343.57
34 | 2631263.0491 | 1197343.57 | 2631256.5548 | 1197347.5049 | 2631252.6914 | 1197349.2133
35 | 2631215.1677 | 1197306.1879 | 2631200.7333 | 1197295.9418
36 | 2631265.2471 | 1197341.258 | 2631279.5858 | 1197351.1126
37 | 2631265.2471 | 1197341.258 | 2631269.9799 | 1197336.28 | 2631273.184 | 1197331.773
38 | 2631242.5375 | 1197353.7033 | 2631252.6914 | 1197349.2133
39 | 2631184.9394 | 1197284.7307 | 2631200.7333 | 1197295.9418
40 | 2631279.7035 | 1197351.1936 | 2631279.5858 | 1197351.1126
41 | 2631273.184 | 1197331.773 | 2631273.8776 | 1197330.7974 | 2631278.6262 | 1197322.7956 | 2631289.3703 | 1197304.3091
42 | 2631232.8658 | 1197359.6991 | 2631235.31 | 1197356.8992 | 2631242.5375 | 1197353.7033
43 | 2631298.5964 | 1197340.6643 | 2631315.8707 | 1197315.1199
44 | 2631280.338 | 1197351.6296 | 2631279.7035 | 1197351.1936
45 | 2631207.5271 | 1197242.781 | 2631239.2417 | 1197265.3055
46 | 2631207.5271 | 1197242.781 | 2631217.0395 | 1197229.1137
47 | 2631207.5271 | 1197242.781 | 2631202.5209 | 1197250.5147 | 2631201.8881 | 1197252.1122 | 2631201.636 | 1197253.7229 | 2631201.6187 | 1197255.5794 | 2631201.8459 | 1197258.7379 | 2631201.4296 | 1197261.1592 | 2631200.268 | 1197263.3877 | 2631200.2285 | 1197263.4427
48 | 2631184.9394 | 1197284.7307 | 2631200.2285 | 1197263.4427
49 | 2631184.9394 | 1197284.7307 | 2631177.4785 | 1197304.6249 | 2631173.6966 | 1197305.1751
50 | 2631356.0277 | 1197398.3063 | 2631354.1635 | 1197397.0216
51 | 2631273.8823 | 1197428.1279 | 2631278.0628 | 1197422.0564
52 | 2631264.3938 | 1197441.9085 | 2631273.8823 | 1197428.1279
53 | 2631264.3938 | 1197441.9085 | 2631257.5887 | 1197433.1919
54 | 2631264.3938 | 1197441.9085 | 2631277.0959 | 1197458.2171 | 2631288.4331 | 1197469.0155 | 2631295.9565 | 1197474.0479
55 | 2631250.1364 | 1197419.7431 | 2631257.1083 | 1197432.5765 | 2631257.5887 | 1197433.1919
56 | 2631295.9565 | 1197474.0479 | 2631303.056 | 1197478.7966
57 | 2631250.1364 | 1197419.7431 | 2631242.881 | 1197406.388 | 2631242.881 | 1197406.388
58 | 2631303.1894 | 1197478.8859 | 2631303.056 | 1197478.7966
59 | 2631214.3321 | 1197364.9132 | 2631209.6241 | 1197366.9784
60 | 2631232.8658 | 1197359.6991 | 2631228.3008 | 1197358.7859 | 2631214.3321 | 1197364.9132
61 | 2631182.5633 | 1197401.1733 | 2631187.2564 | 1197395.4921 | 2631189.2975 | 1197386.7312 | 2631193.8925 | 1197376.0271 | 2631199.6976 | 1197371.3326 | 2631209.6241 | 1197366.9784
62 | 2631182.5633 | 1197401.1733 | 2631179.631 | 1197404.7229
63 | 2631236.9312 | 1197390.5379 | 2631242.881 | 1197406.388
64 | 2631358.6476 | 1197400.1116 | 2631357.6827 | 1197399.4467
65 | 2631356.0277 | 1197398.3063 | 2631357.6827 | 1197399.4467

## bus_geodata
| x | y | coords
0 | 2631366.3554 | 1197094.3926
1 | 2631416.1978 | 1197081.9621
2 | 2631285.6006 | 1197259.0861
3 | 2631443.023 | 1197075.2174
4 | 2631306.9687 | 1197274.2617
5 | 2631274.5064 | 1197277.471
6 | 2631474.1906 | 1197067.3809
7 | 2631474.4586 | 1197053.2741
8 | 2631500.0103 | 1197060.8621
9 | 2631327.7839 | 1197288.8229
10 | 2631542.0399 | 1197054.164
11 | 2631665.0425 | 1196938.3682
12 | 2631366.8797 | 1197304.3422
13 | 2631358.7725 | 1197304.277
14 | 2631301.5556 | 1197388.8781
15 | 2631301.8337 | 1197388.4688
16 | 2631293.3598 | 1197399.8399
17 | 2631312.4393 | 1197372.8552
18 | 2631293.3126 | 1197399.9084
19 | 2631303.4241 | 1197366.9647
20 | 2631333.2123 | 1197382.5844
21 | 2631285.7919 | 1197410.8311
22 | 2631287.7407 | 1197356.7173
23 | 2631335.8736 | 1197384.4183
24 | 2631281.9333 | 1197416.4351
25 | 2631257.4842 | 1197304.6594
26 | 2631242.3577 | 1197327.1864
27 | 2631229.02 | 1197316.5735
28 | 2631263.0491 | 1197343.57
29 | 2631215.1677 | 1197306.1879
30 | 2631265.2471 | 1197341.258
31 | 2631252.6914 | 1197349.2133
32 | 2631200.7333 | 1197295.9418
33 | 2631279.5858 | 1197351.1126
34 | 2631273.184 | 1197331.773
35 | 2631242.5375 | 1197353.7033
36 | 2631289.3702 | 1197304.3091
37 | 2631315.8707 | 1197315.1199
38 | 2631351.3583 | 1197303.1796
39 | 2631279.7035 | 1197351.1936
40 | 2631298.5964 | 1197340.6643
41 | 2631239.2417 | 1197265.3055
42 | 2631207.5271 | 1197242.781
43 | 2631217.0395 | 1197229.1137
44 | 2631200.2285 | 1197263.4427
45 | 2631184.9394 | 1197284.7306
46 | 2631173.6966 | 1197305.1751
47 | 2631280.338 | 1197351.6296
48 | 2631354.1635 | 1197397.0216
49 | 2631278.0628 | 1197422.0564
50 | 2631273.8823 | 1197428.1279
51 | 2631264.3938 | 1197441.9085
52 | 2631257.5887 | 1197433.1919
53 | 2631295.9565 | 1197474.0479
54 | 2631250.1364 | 1197419.7431
55 | 2631303.056 | 1197478.7966
56 | 2631214.3321 | 1197364.9133
57 | 2631209.6241 | 1197366.9784
58 | 2631232.8658 | 1197359.6991
59 | 2631182.5633 | 1197401.1733
60 | 2631179.631 | 1197404.7229
61 | 2631236.9312 | 1197390.5379
62 | 2631242.881 | 1197406.388
63 | 2631358.6476 | 1197400.1116
64 | 2631357.6827 | 1197399.4467
65 | 2631356.0277 | 1197398.3063
66 | 2631303.1894 | 1197478.8859
67 | 2631327.7839 | 1197288.8229

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1