## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_909-8_1_2_node_128 | 0.4 | n |  | TRUE
1 | bus_LV_909-8_1_2_node_127 | 0.4 | n |  | TRUE
2 | bus_LV_909-8_1_2_node_130 | 0.4 | n |  | TRUE
3 | bus_LV_909-8_1_2_node_129 | 0.4 | n |  | TRUE
4 | bus_LV_909-8_1_2_node_98 | 0.4 | n |  | TRUE
5 | bus_LV_909-8_1_2_node_133 | 0.4 | n |  | TRUE
6 | bus_LV_909-8_1_2_node_159 | 0.4 | n |  | TRUE
7 | bus_LV_909-8_1_2_node_162 | 0.4 | n |  | TRUE
8 | bus_LV_909-8_1_2_node_134 | 0.4 | n |  | TRUE
9 | bus_LV_909-8_1_2_node_135 | 0.4 | n |  | TRUE
10 | bus_LV_909-8_1_2_node_136 | 0.4 | n |  | TRUE
11 | bus_LV_909-8_1_2_node_137 | 0.4 | n |  | TRUE
12 | bus_LV_909-8_1_2_node_138 | 0.4 | n |  | TRUE
13 | bus_LV_909-8_1_2_node_139 | 0.4 | n |  | TRUE
14 | bus_LV_909-8_1_2_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_909-8_1_2_node_25 | 0.4 | n |  | TRUE
16 | bus_LV_909-8_1_2_node_178 | 0.4 | n |  | TRUE
17 | bus_LV_909-8_1_2_node_13 | 0.4 | n |  | TRUE
18 | bus_LV_909-8_1_2_node_143 | 0.4 | n |  | TRUE
19 | bus_LV_909-8_1_2_node_140 | 0.4 | n |  | TRUE
20 | bus_LV_909-8_1_2_node_21 | 0.4 | n |  | TRUE
21 | bus_LV_909-8_1_2_node_163 | 0.4 | n |  | TRUE
22 | bus_LV_909-8_1_2_node_141 | 0.4 | n |  | TRUE
23 | bus_LV_909-8_1_2_node_142 | 0.4 | n |  | TRUE
24 | bus_LV_909-8_1_2_node_15 | 0.4 | n |  | TRUE
25 | bus_LV_909-8_1_2_node_169 | 0.4 | n |  | TRUE
26 | bus_LV_909-8_1_2_node_149 | 0.4 | n |  | TRUE
27 | bus_LV_909-8_1_2_node_152 | 0.4 | n |  | TRUE
28 | bus_LV_909-8_1_2_node_144 | 0.4 | n |  | TRUE
29 | bus_LV_909-8_1_2_node_145 | 0.4 | n |  | TRUE
30 | bus_LV_909-8_1_2_node_146 | 0.4 | n |  | TRUE
31 | bus_LV_909-8_1_2_node_147 | 0.4 | n |  | TRUE
32 | bus_LV_909-8_1_2_node_184 | 0.4 | n |  | TRUE
33 | bus_LV_909-8_1_2_node_78 | 0.4 | n |  | TRUE
34 | bus_LV_909-8_1_2_node_148 | 0.4 | n |  | TRUE
35 | bus_LV_909-8_1_2_node_24 | 0.4 | n |  | TRUE
36 | bus_LV_909-8_1_2_node_103 | 0.4 | n |  | TRUE
37 | bus_LV_909-8_1_2_node_101 | 0.4 | n |  | TRUE
38 | bus_LV_909-8_1_2_node_175 | 0.4 | n |  | TRUE
39 | bus_LV_909-8_1_2_node_174 | 0.4 | n |  | TRUE
40 | bus_LV_909-8_1_2_node_100 | 0.4 | n |  | TRUE
41 | bus_LV_909-8_1_2_node_150 | 0.4 | n |  | TRUE
42 | bus_LV_909-8_1_2_node_151 | 0.4 | n |  | TRUE
43 | bus_LV_909-8_1_2_node_153 | 0.4 | n |  | TRUE
44 | bus_LV_909-8_1_2_node_154 | 0.4 | n |  | TRUE
45 | bus_LV_909-8_1_2_node_155 | 0.4 | n |  | TRUE
46 | bus_LV_909-8_1_2_node_156 | 0.4 | n |  | TRUE
47 | bus_LV_909-8_1_2_node_157 | 0.4 | n |  | TRUE
48 | bus_LV_909-8_1_2_node_158 | 0.4 | n |  | TRUE
49 | bus_LV_909-8_1_2_node_160 | 0.4 | n |  | TRUE
50 | bus_LV_909-8_1_2_node_161 | 0.4 | n |  | TRUE
51 | bus_LV_909-8_1_2_node_164 | 0.4 | n |  | TRUE
52 | bus_LV_909-8_1_2_node_107 | 0.4 | n |  | TRUE
53 | bus_LV_909-8_1_2_node_165 | 0.4 | n |  | TRUE
54 | bus_LV_909-8_1_2_node_167 | 0.4 | n |  | TRUE
55 | bus_LV_909-8_1_2_node_166 | 0.4 | n |  | TRUE
56 | bus_LV_909-8_1_2_node_168 | 0.4 | n |  | TRUE
57 | bus_LV_909-8_1_2_node_170 | 0.4 | n |  | TRUE
58 | bus_LV_909-8_1_2_node_171 | 0.4 | n |  | TRUE
59 | bus_LV_909-8_1_2_node_172 | 0.4 | n |  | TRUE
60 | bus_LV_909-8_1_2_node_173 | 0.4 | n |  | TRUE
61 | bus_LV_909-8_1_2_node_177 | 0.4 | n |  | TRUE
62 | bus_LV_909-8_1_2_node_96 | 0.4 | n |  | TRUE
63 | bus_LV_909-8_1_2_node_97 | 0.4 | n |  | TRUE
64 | bus_LV_909-8_1_2_node_99 | 0.4 | n |  | TRUE
65 | bus_LV_909-8_1_2_node_102 | 0.4 | n |  | TRUE
66 | bus_LV_909-8_1_2_node_106 | 0.4 | n |  | TRUE
67 | bus_LV_909-8_1_2_node_104 | 0.4 | n |  | TRUE
68 | bus_LV_909-8_1_2_node_105 | 0.4 | n |  | TRUE
69 | bus_LV_909-8_1_2_node_108 | 0.4 | n |  | TRUE
70 | bus_LV_909-8_1_2_node_109 | 0.4 | n |  | TRUE
71 | bus_LV_909-8_1_2_node_126 | 0.4 | n |  | TRUE
72 | bus_MV_0_node_96 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_909-8_1_2_load_128 | 0 | 0.00034532 | 8.6547e-05 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_909-8_1_2_load_130 | 2 | 0.00037896 | 9.4975e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_909-8_1_2_load_129 | 3 | 0.0017687 | 0.00044329 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_909-8_1_2_load_159 | 6 | 9.7404e-05 | 2.4412e-05 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_909-8_1_2_load_162 | 7 | 0.000474 | 0.0001188 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_909-8_1_2_load_134 | 8 | 0.00012889 | 3.2304e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_909-8_1_2_load_137 | 11 | 0.00064949 | 0.00016278 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_909-8_1_2_load_139 | 13 | 0.00019431 | 4.8698e-05 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_909-8_1_2_load_178 | 16 | 0.0026717 | 0.0006696 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_909-8_1_2_load_143 | 18 | 0.00010206 | 2.5578e-05 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_909-8_1_2_load_163 | 21 | 0.00054351 | 0.00013622 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_909-8_1_2_load_142 | 23 | 0.0002553 | 6.3984e-05 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_909-8_1_2_load_169 | 25 | 0.00012514 | 3.1362e-05 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_909-8_1_2_load_149 | 26 | 0.00024727 | 6.1972e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_909-8_1_2_load_144 | 28 | 0.00078042 | 0.00019559 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_909-8_1_2_load_145 | 29 | 0.00052656 | 0.00013197 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_909-8_1_2_load_146 | 30 | 0.0017958 | 0.00045008 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_909-8_1_2_load_147 | 31 | 0.00038479 | 9.6439e-05 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_909-8_1_2_load_184 | 32 | 0.00029226 | 7.3248e-05 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_909-8_1_2_load_103 | 36 | 0.00063521 | 0.0001592 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_909-8_1_2_load_101 | 37 | 0.00054555 | 0.00013673 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_909-8_1_2_load_175 | 38 | 0.0010077 | 0.00025257 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_909-8_1_2_load_174 | 39 | 0.0034185 | 0.00085676 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_909-8_1_2_load_150 | 41 | 0.00034974 | 8.7653e-05 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_909-8_1_2_load_151 | 42 | 0.0019337 | 0.00048464 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_909-8_1_2_load_153 | 43 | 0.00037481 | 9.3936e-05 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_909-8_1_2_load_154 | 44 | 0.00028769 | 7.2102e-05 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_909-8_1_2_load_155 | 45 | 0.00026145 | 6.5526e-05 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_909-8_1_2_load_158 | 48 | 0.00042884 | 0.00010748 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_909-8_1_2_load_160 | 49 | 0.0014733 | 0.00036924 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_909-8_1_2_load_161 | 50 | 0.00026389 | 6.6138e-05 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_909-8_1_2_load_107 | 52 | 0.00097534 | 0.00024444 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_909-8_1_2_load_167 | 54 | 0.0011258 | 0.00028215 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_909-8_1_2_load_166 | 55 | 0.00017715 | 4.4399e-05 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_909-8_1_2_load_168 | 56 | 0.00026629 | 6.6738e-05 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_909-8_1_2_load_170 | 57 | 0.00025175 | 6.3095e-05 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_909-8_1_2_load_171 | 58 | 7.7144e-05 | 1.9334e-05 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_909-8_1_2_load_172 | 59 | 0.00035587 | 8.919e-05 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_909-8_1_2_load_173 | 60 | 0.001004 | 0.00025163 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_909-8_1_2_load_177 | 61 | 0.00072812 | 0.00018249 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_909-8_1_2_load_96 | 62 | 0.00094866 | 0.00023776 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_909-8_1_2_load_102 | 65 | 0.0015518 | 0.00038893 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_909-8_1_2_load_104 | 67 | 0.00043685 | 0.00010948 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_909-8_1_2_load_105 | 68 | 0.00022227 | 5.5705e-05 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_909-8_1_2_load_108 | 69 | 0.008075 | 0.0020238 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_909-8_1_2_load_109 | 70 | 0.0034622 | 0.00086771 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_909-8_1_2_load_126 | 71 | 0.00043465 | 0.00010893 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 62 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_909-8_1_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0072365 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_909-8_1_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.012019 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_909-8_1_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.030087 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_909-8_1_2_line_3 | NAYY 4x150 SE | 1 | 71 | 0.015268 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_909-8_1_2_line_4 | NAYY 4x150 SE | 2 | 4 | 0.0070012 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_909-8_1_2_line_5 | NAYY 4x150 SE | 4 | 36 | 0.021708 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_909-8_1_2_line_6 | NAYY 4x150 SE | 5 | 6 | 0.019564 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_909-8_1_2_line_7 | NAYY 4x150 SE | 5 | 7 | 0.010494 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_909-8_1_2_line_8 | NAYY 4x150 SE | 6 | 48 | 0.20748 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_909-8_1_2_line_9 | NAYY 4x150 SE | 8 | 9 | 0.043209 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_909-8_1_2_line_10 | NAYY 4x150 SE | 8 | 10 | 0.0089349 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_909-8_1_2_line_11 | NAYY 4x150 SE | 9 | 11 | 0.062701 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_909-8_1_2_line_12 | NAYY 4x150 SE | 10 | 12 | 0.20949 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_909-8_1_2_line_13 | NAYY 4x150 SE | 10 | 13 | 0.19811 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_909-8_1_2_line_14 | NAYY 4x150 SE | 12 | 17 | 0.020064 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_909-8_1_2_line_15 | NAYY 4x150 SE | 12 | 18 | 0.65571 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_909-8_1_2_line_16 | NAYY 4x150 SE | 13 | 19 | 0.086314 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_909-8_1_2_line_17 | NAYY 4x150 SE | 14 | 15 | 0.91888 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_909-8_1_2_line_18 | NAYY 4x150 SE | 14 | 16 | 0.12197 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_909-8_1_2_line_19 | NAYY 4x150 SE | 15 | 38 | 0.087063 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_909-8_1_2_line_20 | NAYY 4x150 SE | 15 | 39 | 0.31691 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_909-8_1_2_line_21 | NAYY 4x150 SE | 15 | 24 | 0.22187 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_909-8_1_2_line_22 | NAYY 4x150 SE | 17 | 20 | 0.70571 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_909-8_1_2_line_23 | NAYY 4x150 SE | 17 | 21 | 0.25136 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
24 | LV_909-8_1_2_line_24 | NAYY 4x150 SE | 18 | 28 | 0.0091999 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_909-8_1_2_line_25 | NAYY 4x150 SE | 19 | 22 | 0.14544 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_909-8_1_2_line_26 | NAYY 4x150 SE | 19 | 23 | 0.014968 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_909-8_1_2_line_27 | NAYY 4x150 SE | 20 | 32 | 0.051505 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_909-8_1_2_line_28 | NAYY 4x150 SE | 20 | 33 | 0.38375 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_909-8_1_2_line_29 | NAYY 4x150 SE | 21 | 51 | 0.060411 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
30 | LV_909-8_1_2_line_30 | NAYY 4x150 SE | 22 | 26 | 0.087316 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_909-8_1_2_line_31 | NAYY 4x150 SE | 22 | 27 | 0.10343 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_909-8_1_2_line_32 | NAYY 4x150 SE | 24 | 25 | 0.23793 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_909-8_1_2_line_33 | NAYY 4x150 SE | 25 | 56 | 0.023511 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_909-8_1_2_line_34 | NAYY 4x150 SE | 26 | 34 | 0.035608 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_909-8_1_2_line_35 | NAYY 4x150 SE | 27 | 41 | 0.2079 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_909-8_1_2_line_36 | NAYY 4x150 SE | 29 | 30 | 0.028158 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_909-8_1_2_line_37 | NAYY 4x150 SE | 29 | 31 | 0.0018709 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_909-8_1_2_line_38 | NAYY 4x150 SE | 30 | 34 | 0.043355 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_909-8_1_2_line_39 | NAYY 4x150 SE | 31 | 40 | 0.22277 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_909-8_1_2_line_40 | NAYY 4x150 SE | 33 | 57 | 0.05134 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_909-8_1_2_line_41 | NAYY 4x150 SE | 33 | 58 | 0.31938 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_909-8_1_2_line_42 | NAYY 4x150 SE | 35 | 36 | 0.23468 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_909-8_1_2_line_43 | NAYY 4x150 SE | 35 | 37 | 0.011453 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_909-8_1_2_line_44 | NAYY 4x150 SE | 37 | 65 | 0.0082681 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_909-8_1_2_line_45 | NAYY 4x150 SE | 39 | 60 | 0.022868 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_909-8_1_2_line_46 | NAYY 4x150 SE | 40 | 61 | 0.095812 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_909-8_1_2_line_47 | NAYY 4x150 SE | 41 | 42 | 0.023339 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_909-8_1_2_line_48 | NAYY 4x150 SE | 42 | 43 | 0.012799 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_909-8_1_2_line_49 | NAYY 4x150 SE | 43 | 44 | 0.040711 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_909-8_1_2_line_50 | NAYY 4x150 SE | 44 | 45 | 0.0091463 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_909-8_1_2_line_51 | NAYY 4x150 SE | 45 | 46 | 0.013155 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_909-8_1_2_line_52 | NAYY 4x150 SE | 46 | 47 | 0.020207 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_909-8_1_2_line_53 | NAYY 4x150 SE | 46 | 48 | 0.28039 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_909-8_1_2_line_54 | NAYY 4x150 SE | 47 | 49 | 0.15195 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_909-8_1_2_line_55 | NAYY 4x150 SE | 49 | 50 | 0.015814 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_909-8_1_2_line_56 | NAYY 4x150 SE | 51 | 52 | 0.019787 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
57 | LV_909-8_1_2_line_57 | NAYY 4x150 SE | 51 | 53 | 0.013728 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_909-8_1_2_line_58 | NAYY 4x150 SE | 52 | 68 | 0.052646 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
59 | LV_909-8_1_2_line_59 | NAYY 4x150 SE | 53 | 54 | 0.030507 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_909-8_1_2_line_60 | NAYY 4x150 SE | 53 | 55 | 0.0048241 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_909-8_1_2_line_61 | NAYY 4x150 SE | 54 | 56 | 0.0087141 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_909-8_1_2_line_62 | NAYY 4x150 SE | 58 | 59 | 0.01371 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_909-8_1_2_line_63 | NAYY 4x150 SE | 62 | 63 | 0.027188 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
64 | LV_909-8_1_2_line_64 | NAYY 4x150 SE | 63 | 64 | 0.16664 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
65 | LV_909-8_1_2_line_65 | NAYY 4x150 SE | 64 | 65 | 0.0065062 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_909-8_1_2_line_66 | NAYY 4x150 SE | 64 | 66 | 0.013885 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
67 | LV_909-8_1_2_line_67 | NAYY 4x150 SE | 66 | 69 | 0.07641 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_909-8_1_2_line_68 | NAYY 4x150 SE | 66 | 67 | 0.01772 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
69 | LV_909-8_1_2_line_69 | NAYY 4x150 SE | 67 | 68 | 0.20747 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
70 | LV_909-8_1_2_line_70 | NAYY 4x150 SE | 69 | 70 | 0.0107 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_909-8_1_2_trafo_96 | 0.25 MVA 20/0.4 kV | 72 | 62 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28 | x29 | y29 | x30 | y30 | x31 | y31 | x32 | y32 | x33 | y33 | x34 | y34 | x35 | y35 | x36 | y36 | x37 | y37 | x38 | y38 | x39 | y39 | x40 | y40 | x41 | y41 | x42 | y42 | x43 | y43 | x44 | y44 | x45 | y45 | x46 | y46 | x47 | y47 | x48 | y48 | x49 | y49 | x50 | y50 | x51 | y51 | x52 | y52 | x53 | y53 | x54 | y54 | x55 | y55 | x56 | y56 | x57 | y57 | x58 | y58 | x59 | y59 | x60 | y60 | x61 | y61
0 | 2629535.556 | 1196583.7323 | 2629542.7539 | 1196582.9865
1 | 2629542.7539 | 1196582.9865 | 2629554.7093 | 1196581.7478
2 | 2629535.556 | 1196583.7323 | 2629533.2981 | 1196570.4806 | 2629532.9314 | 1196566.0764 | 2629533.5328 | 1196563.0444 | 2629535.3126 | 1196560.4962 | 2629538.5733 | 1196557.2884 | 2629539.7489 | 1196556.4377
3 | 2629535.556 | 1196583.7323 | 2629520.3197 | 1196584.7129
4 | 2629561.6733 | 1196581.0263 | 2629554.7093 | 1196581.7478
5 | 2629561.6733 | 1196581.0263 | 2629564.2035 | 1196580.7609 | 2629569.7866 | 1196577.7201 | 2629580.1071 | 1196577.8712 | 2629582.4988 | 1196578.5439
6 | 2629676.3109 | 1195791.1867 | 2629673.4686 | 1195799.0213 | 2629671.4812 | 1195806.5155 | 2629670.9224 | 1195809.9467
7 | 2629676.3109 | 1195791.1867 | 2629684.1571 | 1195784.2174
8 | 2629670.9224 | 1195809.9467 | 2629669.8077 | 1195816.7906 | 2629669.1608 | 1195827.4154 | 2629669.4626 | 1195837.2222 | 2629673.3736 | 1195867.3913 | 2629673.9501 | 1195875.5652 | 2629673.681 | 1195880.6778 | 2629672.6587 | 1195885.5865 | 2629669.9087 | 1195890.1753 | 2629666.3034 | 1195893.6483 | 2629660.9181 | 1195896.601 | 2629641.5546 | 1195903.9869 | 2629619.8766 | 1195911.1058 | 2629611.4261 | 1195913.0873 | 2629603.2341 | 1195913.6138 | 2629592.3342 | 1195913.3153 | 2629583.5042 | 1195911.9265 | 2629567.1012 | 1195907.5987 | 2629560.7379 | 1195906.5112 | 2629557.0425 | 1195906.6486 | 2629554.0196 | 1195907.901 | 2629551.0417 | 1195910.8323
9 | 2629916.3409 | 1196430.5054 | 2629920.951 | 1196431.718 | 2629924.4937 | 1196434.6262 | 2629927.7637 | 1196440.29 | 2629933.0177 | 1196443.7293 | 2629944.8859 | 1196443.6552 | 2629953.9511 | 1196442.2683
10 | 2629962.6362 | 1196440.2199 | 2629956.4959 | 1196441.879 | 2629953.9511 | 1196442.2683
11 | 2629916.3409 | 1196430.5054 | 2629912.1072 | 1196433.2413 | 2629908.3715 | 1196441.505 | 2629896.9742 | 1196454.066 | 2629893.375 | 1196462.4637 | 2629894.6678 | 1196467.4618 | 2629902.0416 | 1196468.9438 | 2629911.9266 | 1196469.3823
12 | 2629962.6362 | 1196440.2199 | 2629989.8899 | 1196460.2116 | 2629993.9079 | 1196462.4996 | 2629997.88 | 1196463.3311 | 2630002.9078 | 1196463.2562 | 2630007.5839 | 1196461.9123 | 2630010.632 | 1196460.1599 | 2630012.9926 | 1196457.2813 | 2630018.09 | 1196452.4486 | 2630040.4823 | 1196431.7163 | 2630064.6064 | 1196410.4814 | 2630076.0558 | 1196399.7552 | 2630078.6174 | 1196396.3107 | 2630081.1829 | 1196392.0546 | 2630082.1543 | 1196388.2352 | 2630082.4248 | 1196384.4233 | 2630083.0672 | 1196362.7036 | 2630084.6631 | 1196357.3977 | 2630087.7183 | 1196354.2335 | 2630092.5183 | 1196352.5234 | 2630097.8351 | 1196352.5501 | 2630102.9336 | 1196355.0993
13 | 2629962.6362 | 1196440.2199 | 2629955.0791 | 1196431.2217 | 2629952.7557 | 1196426.6854 | 2629951.3661 | 1196421.231 | 2629950.7007 | 1196414.1572 | 2629951.2588 | 1196398.5292 | 2629954.9452 | 1196336.1916 | 2629954.1128 | 1196283.3254 | 2629946.7374 | 1196246.4805
14 | 2630111.8437 | 1196372.2201 | 2630110.7527 | 1196364.9884 | 2630106.8169 | 1196358.4429 | 2630102.9336 | 1196355.0993
15 | 2630102.9336 | 1196355.0993 | 2630104.1301 | 1196336.8176 | 2630103.7216 | 1196324.1198 | 2630106.1646 | 1196307.901 | 2630112.6308 | 1196288.423 | 2630118.3804 | 1196270.5755 | 2630119.6013 | 1196262.5884 | 2630118.2306 | 1196253.4099 | 2630115.2027 | 1196246.5798 | 2630101.3839 | 1196226.9997 | 2630091.567 | 1196208.3736 | 2630082.276 | 1196180.5785 | 2630073.6303 | 1196163.8371 | 2630059.7911 | 1196148.2481 | 2630039.391 | 1196123.9214 | 2630013.5989 | 1196093.231 | 2630004.7144 | 1196076.9555 | 2629978.8717 | 1196009.1115 | 2629969.739 | 1195995.1915 | 2629958.7376 | 1195978.672 | 2629955.9486 | 1195969.7198 | 2629954.7749 | 1195960.6869 | 2629951.0301 | 1195952.4192 | 2629946.0568 | 1195944.5679 | 2629943.6676 | 1195944 | 2629941.7893 | 1195944.8578 | 2629939.8991 | 1195948.0834 | 2629939.5992 | 1195951.695 | 2629939.7029 | 1195964.4691 | 2629938.434 | 1195982.0946 | 2629944.0678 | 1196034.5623 | 2629952.6718 | 1196059.7634 | 2629954.7265 | 1196073.8925 | 2629966.2224 | 1196085.9343 | 2629961.595 | 1196115.5383 | 2629955.7171 | 1196125.084
16 | 2629906.9477 | 1196177.5878 | 2629913.066 | 1196178.8413 | 2629920.0972 | 1196181.8669 | 2629926.803 | 1196186.0027 | 2629930.7633 | 1196190.7362 | 2629934.5558 | 1196197.0585 | 2629937.6533 | 1196205.2451 | 2629941.3598 | 1196219.6159 | 2629946.7374 | 1196246.4805
17 | 2629822.1395 | 1197182.289 | 2629844.8986 | 1197177.4442 | 2629850.5675 | 1197175.4491 | 2629857.4079 | 1197172.2148 | 2629872.6412 | 1197164.4865 | 2629879.5508 | 1197161.1303 | 2629892.213 | 1197157.3247 | 2629900.5008 | 1197154.0643 | 2629917.3837 | 1197143.932 | 2629930.3711 | 1197137.5601 | 2629937.3756 | 1197135.0382 | 2629943.816 | 1197134.1365 | 2629954.4722 | 1197133.9675 | 2629967.9137 | 1197134.2794 | 2629974.7584 | 1197133.2575 | 2629981.9467 | 1197130.5476 | 2629987.7399 | 1197126.5522 | 2630003.9461 | 1197114.7158 | 2630022.0314 | 1197101.8216 | 2630047.8747 | 1197081.9738 | 2630053.036 | 1197079.4872 | 2630059.2941 | 1197076.9839 | 2630064.0375 | 1197075.7959 | 2630071.9447 | 1197075.5577 | 2630081.31 | 1197077.6726 | 2630100.522 | 1197083.1054 | 2630110.0876 | 1197084.7544 | 2630123.448 | 1197086.0667 | 2630157.8083 | 1197087.1402 | 2630183.7487 | 1197088.9386 | 2630194.0235 | 1197090.4134 | 2630201.1343 | 1197091.0162 | 2630205.0284 | 1197090.5912 | 2630209.5443 | 1197089.2243 | 2630212.6288 | 1197087.7613 | 2630242.5344 | 1197073.549 | 2630246.7471 | 1197070.3907 | 2630255.1939 | 1197061.3396 | 2630245.7835 | 1197065.1275 | 2630235.4898 | 1197068.8998 | 2630226.7874 | 1197071.2682 | 2630216.8462 | 1197073.0968 | 2630207.0614 | 1197074.1147 | 2630198.8707 | 1197074.6959 | 2630188.6506 | 1197074.4443 | 2630178.0009 | 1197073.3011 | 2630164.8756 | 1197070.678 | 2630152.4696 | 1197067.3804 | 2630135.7138 | 1197061.2149 | 2630084.1339 | 1197038.6322 | 2630045.4681 | 1197019.7278 | 2630032.6039 | 1197015.1274 | 2630020.5649 | 1197011.5207 | 2630009.1889 | 1197009.3625 | 2629995.6246 | 1197007.6603 | 2629974.133 | 1197008.6977 | 2629957.4844 | 1197011.4826 | 2629949.1866 | 1197013.6756 | 2629935.6343 | 1197018.7217 | 2629921.1804 | 1197025.8645 | 2629874.5924 | 1197057.3824 | 2629841.9408 | 1197080.1987
18 | 2629822.1395 | 1197182.289 | 2629818.8636 | 1197177.8814 | 2629816.2008 | 1197177.3011 | 2629806.8059 | 1197178.0659 | 2629798.4281 | 1197178.0242 | 2629785.5568 | 1197177.9601 | 2629776.7753 | 1197177.9164 | 2629767.1672 | 1197178.6802 | 2629757.5662 | 1197178.021 | 2629749.1991 | 1197177.368 | 2629740.8344 | 1197174.6805 | 2629718.5152 | 1197164.5754 | 2629711.8839 | 1197162.5302 | 2629705.5583 | 1197161.4455
19 | 2629841.9408 | 1197080.1987 | 2629842.1775 | 1197089.2493 | 2629839.6763 | 1197099.0088 | 2629838.2921 | 1197106.2391 | 2629837.786 | 1197109.9942 | 2629837.163 | 1197111.214 | 2629834.1922 | 1197112.8112 | 2629828.4612 | 1197115.0283 | 2629814.6574 | 1197118.6393 | 2629784.2596 | 1197127.3731
20 | 2629841.9408 | 1197080.1987 | 2629830.9205 | 1197087.6812 | 2629816.6817 | 1197096.0371 | 2629798.5763 | 1197102.3615 | 2629780.2936 | 1197106.0504 | 2629768.9962 | 1197106.4945 | 2629756.0964 | 1197105.9856 | 2629731.4264 | 1197102.9615 | 2629699.8709 | 1197096.9016 | 2629670.7344 | 1197089.9089 | 2629643.4213 | 1197082.2918 | 2629611.5404 | 1197069.6272 | 2629545.3416 | 1197033.4885
21 | 2629841.9408 | 1197080.1987 | 2629874.5924 | 1197057.3824 | 2629870.7956 | 1197050.5042 | 2629853.6136 | 1197027.4059 | 2629850.9334 | 1197024.1797 | 2629871.4164 | 1197008.5177 | 2629939.4524 | 1196966.5013 | 2629974.4414 | 1196960.8065
22 | 2630111.8437 | 1196372.2201 | 2630114.2512 | 1196370.6313 | 2630117.0971 | 1196369.7007 | 2630120.4949 | 1196369.6288 | 2630123.9566 | 1196370.4578 | 2630128.2137 | 1196372.1802 | 2630149.1769 | 1196388.8169 | 2630172.0438 | 1196408.565 | 2630174.1425 | 1196410.8101 | 2630175.7902 | 1196413.3531 | 2630176.2431 | 1196388.4975 | 2630176.0104 | 1196362.1264 | 2630174.9759 | 1196354.2725 | 2630172.0107 | 1196338.0487 | 2630171.6359 | 1196329.2754 | 2630173.0859 | 1196319.6775 | 2630176.0466 | 1196308.0972 | 2630180.9229 | 1196295.7929 | 2630182.6638 | 1196288.9313 | 2630184.0838 | 1196280.7451 | 2630187.6203 | 1196274.3261 | 2630208.0545 | 1196247.8814 | 2630217.6693 | 1196238.5359 | 2630229.7564 | 1196231.393 | 2630344.68 | 1196171.8974 | 2630355.0532 | 1196166.2913 | 2630360.3911 | 1196165.2067 | 2630372.273 | 1196165.5449 | 2630375.7787 | 1196166.73 | 2630377.9571 | 1196168.2863 | 2630380.5035 | 1196173.88 | 2630381.3483 | 1196181.5218 | 2630401.275 | 1196192.2399 | 2630420.9894 | 1196202.7457 | 2630438.1015 | 1196214.1721 | 2630385.0771 | 1196149.2676 | 2630379.7911 | 1196143.1375 | 2630375.2134 | 1196138.5118 | 2630323.985 | 1196094.7618 | 2630314.8313 | 1196086.6666
23 | 2630111.8437 | 1196372.2201 | 2630109.6908 | 1196374.6884 | 2630108.059 | 1196378.0487 | 2630107.0828 | 1196381.3122 | 2630106.331 | 1196385.3995 | 2630105.7489 | 1196393.5899 | 2630105.5732 | 1196410.3537 | 2630104.8528 | 1196427.893 | 2630102.3568 | 1196439.5201 | 2630096.0901 | 1196457.2316 | 2630028.7369 | 1196606.2997
24 | 2629954.1916 | 1196133.6111 | 2629953.5078 | 1196128.6717 | 2629955.7171 | 1196125.084
25 | 2629906.9477 | 1196177.5878 | 2629761.3884 | 1196186.9902
26 | 2629906.9477 | 1196177.5878 | 2629912.6615 | 1196163.7533
27 | 2630266.0273 | 1196081.5281 | 2630273.7874 | 1196077.4763 | 2630278.1807 | 1196076.3979 | 2630282.1114 | 1196076.4178 | 2630287.5169 | 1196077.0454 | 2630293.6335 | 1196078.655 | 2630304.8095 | 1196083.025 | 2630314.8313 | 1196086.6666
28 | 2630218.6407 | 1195932.8971 | 2630216.4588 | 1195933.5086 | 2630213.2756 | 1195933.2924 | 2630209.3716 | 1195932.4945 | 2630200.8651 | 1195928.9275 | 2630177.6664 | 1195917.2264 | 2630157.4124 | 1195906.1962 | 2630144.1113 | 1195900.1482 | 2630140.1566 | 1195898.8276 | 2630136.4482 | 1195898.5088 | 2630132.5522 | 1195899.1451 | 2630129.6277 | 1195900.4867 | 2630126.278 | 1195903.0823 | 2630123.2472 | 1195907.3916 | 2630125.4653 | 1195913.1837 | 2630129.6054 | 1195921.5758 | 2630140.9783 | 1195941.3882 | 2630145.7354 | 1195949.7833 | 2630149.9456 | 1195959.3542 | 2630162.6449 | 1195992.5917 | 2630165.207 | 1195998.141 | 2630168.8787 | 1196004.2183 | 2630173.6312 | 1196010.479 | 2630178.0953 | 1196015.0039 | 2630182.6306 | 1196019.0067 | 2630188.5735 | 1196023.3501 | 2630196.9444 | 1196028.0949 | 2630282.4603 | 1196064.6798 | 2630293.6899 | 1196070.5064 | 2630303.3394 | 1196076.9699 | 2630314.8313 | 1196086.6666
29 | 2630010.4044 | 1196663.5805 | 2630013.4706 | 1196646.0418 | 2630023.1753 | 1196618.6089 | 2630028.7369 | 1196606.2997
30 | 2629761.3884 | 1196186.9902 | 2629684.7499 | 1196228.8303
31 | 2629761.3884 | 1196186.9902 | 2629658.4124 | 1196199.4084
32 | 2629974.4414 | 1196960.8065 | 2629982.8217 | 1196949.7647 | 2629987.2855 | 1196934.4676 | 2629997.1307 | 1196866.7133 | 2630007.0312 | 1196789.4765 | 2630017.8648 | 1196728.6399
33 | 2630017.8648 | 1196728.6399 | 2630018.3174 | 1196726.0986 | 2630018.8004 | 1196705.1743
34 | 2629652.9257 | 1196244.4279 | 2629656.174 | 1196243.7659 | 2629659.1573 | 1196242.8023 | 2629684.7499 | 1196228.8303
35 | 2629658.4124 | 1196199.4084 | 2629639.79 | 1196201.951 | 2629585.3746 | 1196208.6523 | 2629576.544 | 1196210.5541 | 2629568.55 | 1196212.727 | 2629562.0061 | 1196215.8853 | 2629553.7781 | 1196219.1687 | 2629549.707 | 1196219.8489 | 2629545.6408 | 1196219.5176 | 2629541.4047 | 1196218.1182 | 2629534.4491 | 1196213.6259 | 2629529.4617 | 1196208.5763 | 2629525.8381 | 1196203.4557 | 2629523.9125 | 1196196.9427 | 2629523.6983 | 1196187.8589 | 2629525.7686 | 1196171.2045 | 2629526.9913 | 1196156.5137 | 2629528.1456 | 1196137.4368
36 | 2629594.143 | 1196265.5598 | 2629599.4395 | 1196262.0174 | 2629607.2649 | 1196252.3286 | 2629613.1669 | 1196245.1009
37 | 2629594.143 | 1196265.5598 | 2629594.143 | 1196265.5598 | 2629592.3318 | 1196266.0284
38 | 2629652.9257 | 1196244.4279 | 2629648.8115 | 1196243.0179 | 2629639.2334 | 1196238.9683 | 2629633.4572 | 1196237.8502 | 2629626.2134 | 1196237.7588 | 2629620.2107 | 1196239.3077 | 2629615.9176 | 1196241.7323 | 2629613.1669 | 1196245.1009
39 | 2629624.5847 | 1196428.3431 | 2629606.8497 | 1196345.5327 | 2629603.8091 | 1196338.0914 | 2629598.7079 | 1196329.8728 | 2629590.0089 | 1196322.1479 | 2629582.8435 | 1196316.9875 | 2629572.5981 | 1196310.7891 | 2629564.921 | 1196304.3477 | 2629550.3817 | 1196282.2417 | 2629548.8632 | 1196278.1431 | 2629549.1272 | 1196275.5763 | 2629555.8215 | 1196272.7967 | 2629563.5315 | 1196272.5791 | 2629581.5351 | 1196268.8215 | 2629592.3318 | 1196266.0284
40 | 2630218.6407 | 1195932.8971 | 2630256.6404 | 1195941.6937 | 2630258.5793 | 1195942.4261 | 2630266.4936 | 1195948.9595
41 | 2630218.6407 | 1195932.8971 | 2630220.3995 | 1195931.5719 | 2630221.1636 | 1195929.5969 | 2630221.1279 | 1195927.629 | 2630220.4413 | 1195924.7906 | 2630217.2877 | 1195917.204 | 2630210.0545 | 1195904.3494 | 2630202.0367 | 1195891.4909 | 2630179.0823 | 1195859.9914 | 2630169.2874 | 1195844.5003 | 2630156.3453 | 1195820.0997 | 2630143.1032 | 1195784.1358 | 2630140.8908 | 1195780.2225 | 2630134.167 | 1195772.0509 | 2630133.2318 | 1195768.6444 | 2630133.8926 | 1195766.024 | 2630135.523 | 1195764.4758 | 2630138.4654 | 1195764.1349 | 2630142.2533 | 1195765.3102 | 2630147.4234 | 1195768.8714 | 2630157.6346 | 1195777.383 | 2630175.7665 | 1195793.8833 | 2630221.9952 | 1195829.758 | 2630234.7554 | 1195838.9234
42 | 2629704.6178 | 1196743.5107 | 2629702.311 | 1196737.1291 | 2629701.7178 | 1196732.3458 | 2629704.4099 | 1196725.5332 | 2629708.7355 | 1196718.0173 | 2629708.3485 | 1196714.658 | 2629698.3572 | 1196709.6168 | 2629694.698 | 1196708.6982 | 2629692.1211 | 1196707.6292 | 2629692.4744 | 1196703.9846 | 2629689.1841 | 1196703.9349 | 2629686.643 | 1196703.3331 | 2629686.3073 | 1196698.829 | 2629681.0455 | 1196698.5138 | 2629680.659 | 1196695.0545 | 2629675.8759 | 1196694.9752 | 2629676.3423 | 1196690.0193 | 2629671.6897 | 1196689.7294 | 2629671.1957 | 1196686.4251 | 2629666.9357 | 1196685.3257 | 2629666.4459 | 1196681.1654 | 2629663.09 | 1196680.5262 | 2629662.5257 | 1196676.0543 | 2629651.636 | 1196655.5115 | 2629637.9488 | 1196635.3884 | 2629621.0034 | 1196611.7806 | 2629601.2014 | 1196588.1588 | 2629591.5322 | 1196581.0849 | 2629582.4988 | 1196578.5439
43 | 2629704.6178 | 1196743.5107 | 2629711.4461 | 1196744.3339 | 2629715.9073 | 1196745.347
44 | 2629715.9073 | 1196745.347 | 2629723.9701 | 1196747.178
45 | 2629525.2701 | 1197022.5312 | 2629545.3416 | 1197033.4885
46 | 2629709.6971 | 1196464.4065 | 2629702.1479 | 1196466.0255 | 2629698.0808 | 1196465.9275 | 2629693.0484 | 1196465.3911 | 2629688.2346 | 1196463.7997 | 2629680.6956 | 1196460.2827 | 2629652.4453 | 1196444.4453 | 2629645.0518 | 1196439.2392 | 2629631.9783 | 1196428.9133 | 2629629.0355 | 1196427.8871 | 2629626.6907 | 1196427.6198 | 2629624.5847 | 1196428.3431
47 | 2629528.1456 | 1196137.4368 | 2629528.7828 | 1196126.9064 | 2629529.0605 | 1196120.0152 | 2629528.596 | 1196114.1409
48 | 2629527.0901 | 1196101.4397 | 2629528.1212 | 1196108.1374 | 2629528.596 | 1196114.1409
49 | 2629527.0901 | 1196101.4397 | 2629526.3349 | 1196096.5335 | 2629525.6557 | 1196089.0483 | 2629525.8166 | 1196081.1559 | 2629527.8545 | 1196075.7074 | 2629531.1535 | 1196070.9767 | 2629536.1917 | 1196067.3218 | 2629538.4282 | 1196066.1431
50 | 2629538.4282 | 1196066.1431 | 2629546.5197 | 1196061.879
51 | 2629558.1576 | 1196055.746 | 2629546.5197 | 1196061.879
52 | 2629558.1576 | 1196055.746 | 2629554.6073 | 1196045.0227 | 2629552.6925 | 1196036.3196
53 | 2629558.1576 | 1196055.746 | 2629599.7868 | 1196029.9932 | 2629657.3558 | 1195985.2092 | 2629661.7653 | 1195980.8398 | 2629663.8855 | 1195977.2817 | 2629664.7653 | 1195973.4506 | 2629664.6241 | 1195969.6701 | 2629663.536 | 1195966.3407 | 2629661.6422 | 1195964.1745 | 2629659.0595 | 1195962.6721 | 2629653.3069 | 1195961.354 | 2629627.8125 | 1195956.1583 | 2629618.1815 | 1195953.4759 | 2629558.1251 | 1195932.7125 | 2629552.9863 | 1195928.9518 | 2629550.3791 | 1195924.6921 | 2629549.3417 | 1195920.3402 | 2629549.5976 | 1195914.8051 | 2629551.0417 | 1195910.8323
54 | 2629552.6925 | 1196036.3196 | 2629553.1171 | 1196025.9161 | 2629556.3553 | 1196008.8228 | 2629559.0835 | 1195997.8192 | 2629559.6414 | 1195991.2851 | 2629559.1328 | 1195986.2798 | 2629557.3342 | 1195981.8241 | 2629553.4307 | 1195977.8138 | 2629548.8277 | 1195975.1007 | 2629541.83 | 1195972.9095 | 2629533.7572 | 1195969.3788 | 2629529.448 | 1195965.7779 | 2629526.2451 | 1195961.8155 | 2629513.4204 | 1195937.8393 | 2629507.9949 | 1195928.8855 | 2629502.1892 | 1195922.8647 | 2629494.5957 | 1195916.3349 | 2629492.7697 | 1195914.5227
55 | 2629482.2901 | 1195902.7228 | 2629487.0754 | 1195908.8716 | 2629492.7697 | 1195914.5227
56 | 2630010.4044 | 1196663.5805 | 2629991.2446 | 1196658.6362
57 | 2630010.4044 | 1196663.5805 | 2630019.3219 | 1196665.5262 | 2630023.8567 | 1196666.505
58 | 2629991.2446 | 1196658.6362 | 2629988.7011 | 1196657.9798 | 2629982.9672 | 1196657.6287 | 2629976.9545 | 1196658.1989 | 2629972.1346 | 1196659.3866 | 2629965.2337 | 1196662.387 | 2629957.7937 | 1196666.5854 | 2629947.4613 | 1196673.4152 | 2629943.7074 | 1196676.4349
59 | 2630023.8567 | 1196666.505 | 2630019.2515 | 1196685.6368 | 2630019.0016 | 1196696.4624
60 | 2630023.8567 | 1196666.505 | 2630028.5735 | 1196667.5167
61 | 2630019.0016 | 1196696.4624 | 2630018.8004 | 1196705.1743
62 | 2630245.8903 | 1195846.9213 | 2630234.7554 | 1195838.9234
63 | 2629736.5846 | 1196591.9981 | 2629733.0197 | 1196590.4685 | 2629729.4373 | 1196590.9509 | 2629710.9542 | 1196597.7503
64 | 2629730.3148 | 1196748.6188 | 2629735.4307 | 1196741.4847 | 2629742.6648 | 1196725.0228 | 2629756.7441 | 1196687.6168 | 2629759.731 | 1196661.3619 | 2629755.7536 | 1196640.1639 | 2629745.675 | 1196612.8212 | 2629739.1533 | 1196596.2465 | 2629736.5846 | 1196591.9981
65 | 2629730.3148 | 1196748.6188 | 2629723.9701 | 1196747.178
66 | 2629743.7636 | 1196752.2208 | 2629730.3148 | 1196748.6188
67 | 2629743.7636 | 1196752.2208 | 2629740.2337 | 1196762.0753 | 2629728.0207 | 1196793.3762 | 2629714.3678 | 1196822.6966
68 | 2629743.7636 | 1196752.2208 | 2629757.7877 | 1196755.0142 | 2629761.1872 | 1196755.3935
69 | 2629761.1872 | 1196755.3935 | 2629769.2601 | 1196756.2942 | 2629780.6719 | 1196755.9618 | 2629792.7586 | 1196754.699 | 2629863.108 | 1196739.53 | 2629871.849 | 1196737.1278 | 2629879.5031 | 1196734.2756 | 2629883.865 | 1196731.7404 | 2629887.963 | 1196728.6814 | 2629915.6143 | 1196702.4163 | 2629938.0392 | 1196680.9945 | 2629943.7074 | 1196676.4349
70 | 2629709.8512 | 1196832.3961 | 2629714.3678 | 1196822.6966

## bus_geodata
| x | y | coords
0 | 2629542.7539 | 1196582.9865
1 | 2629535.556 | 1196583.7323
2 | 2629554.7093 | 1196581.7478
3 | 2629539.7489 | 1196556.4377
4 | 2629561.6733 | 1196581.0263
5 | 2629676.3109 | 1195791.1867
6 | 2629670.9224 | 1195809.9467
7 | 2629684.1571 | 1195784.2174
8 | 2629953.9511 | 1196442.2683
9 | 2629916.3409 | 1196430.5054
10 | 2629962.6362 | 1196440.2199
11 | 2629911.9266 | 1196469.3823
12 | 2630102.9336 | 1196355.0993
13 | 2629946.7374 | 1196246.4805
14 | 2629822.1395 | 1197182.289
15 | 2629841.9408 | 1197080.1987
16 | 2629705.5583 | 1197161.4455
17 | 2630111.8437 | 1196372.2201
18 | 2629955.7171 | 1196125.084
19 | 2629906.9477 | 1196177.5878
20 | 2630314.8313 | 1196086.6666
21 | 2630028.7369 | 1196606.2997
22 | 2629761.3884 | 1196186.9902
23 | 2629912.6615 | 1196163.7533
24 | 2629974.4414 | 1196960.8065
25 | 2630017.8648 | 1196728.6399
26 | 2629684.7499 | 1196228.8303
27 | 2629658.4124 | 1196199.4084
28 | 2629954.1916 | 1196133.6111
29 | 2629594.143 | 1196265.5598
30 | 2629613.1669 | 1196245.1009
31 | 2629592.3318 | 1196266.0284
32 | 2630266.0273 | 1196081.5281
33 | 2630218.6407 | 1195932.8971
34 | 2629652.9257 | 1196244.4279
35 | 2629704.6178 | 1196743.5107
36 | 2629582.4988 | 1196578.5439
37 | 2629715.9073 | 1196745.347
38 | 2629784.2596 | 1197127.3731
39 | 2629545.3416 | 1197033.4885
40 | 2629624.5847 | 1196428.3431
41 | 2629528.1456 | 1196137.4368
42 | 2629528.596 | 1196114.1409
43 | 2629527.0901 | 1196101.4397
44 | 2629538.4282 | 1196066.1431
45 | 2629546.5197 | 1196061.879
46 | 2629558.1576 | 1196055.746
47 | 2629552.6925 | 1196036.3196
48 | 2629551.0417 | 1195910.8323
49 | 2629492.7697 | 1195914.5227
50 | 2629482.2901 | 1195902.7228
51 | 2630010.4044 | 1196663.5805
52 | 2629991.2446 | 1196658.6362
53 | 2630023.8567 | 1196666.505
54 | 2630019.0016 | 1196696.4624
55 | 2630028.5735 | 1196667.5167
56 | 2630018.8004 | 1196705.1743
57 | 2630266.4936 | 1195948.9595
58 | 2630234.7554 | 1195838.9234
59 | 2630245.8903 | 1195846.9213
60 | 2629525.2701 | 1197022.5312
61 | 2629709.6971 | 1196464.4065
62 | 2629710.9542 | 1196597.7503
63 | 2629736.5846 | 1196591.9981
64 | 2629730.3148 | 1196748.6188
65 | 2629723.9701 | 1196747.178
66 | 2629743.7636 | 1196752.2208
67 | 2629761.1872 | 1196755.3935
68 | 2629943.7074 | 1196676.4349
69 | 2629714.3678 | 1196822.6966
70 | 2629709.8512 | 1196832.3961
71 | 2629520.3197 | 1196584.7129
72 | 2629710.9542 | 1196597.7503

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1