## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_951-3_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_951-3_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_951-3_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_951-3_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_951-3_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_951-3_0_3_node_41 | 0.4 | n |  | TRUE
6 | bus_LV_951-3_0_3_node_82 | 0.4 | n |  | TRUE
7 | bus_LV_951-3_0_3_node_42 | 0.4 | n |  | TRUE
8 | bus_LV_951-3_0_3_node_43 | 0.4 | n |  | TRUE
9 | bus_LV_951-3_0_3_node_44 | 0.4 | n |  | TRUE
10 | bus_LV_951-3_0_3_node_5 | 0.4 | n |  | TRUE
11 | bus_LV_951-3_0_3_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_951-3_0_3_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_951-3_0_3_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_951-3_0_3_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_951-3_0_3_node_88 | 0.4 | n |  | TRUE
16 | bus_LV_951-3_0_3_node_73 | 0.4 | n |  | TRUE
17 | bus_LV_951-3_0_3_node_83 | 0.4 | n |  | TRUE
18 | bus_LV_951-3_0_3_node_48 | 0.4 | n |  | TRUE
19 | bus_LV_951-3_0_3_node_87 | 0.4 | n |  | TRUE
20 | bus_LV_951-3_0_3_node_74 | 0.4 | n |  | TRUE
21 | bus_LV_951-3_0_3_node_47 | 0.4 | n |  | TRUE
22 | bus_LV_951-3_0_3_node_45 | 0.4 | n |  | TRUE
23 | bus_LV_951-3_0_3_node_10 | 0.4 | n |  | TRUE
24 | bus_LV_951-3_0_3_node_11 | 0.4 | n |  | TRUE
25 | bus_LV_951-3_0_3_node_12 | 0.4 | n |  | TRUE
26 | bus_LV_951-3_0_3_node_13 | 0.4 | n |  | TRUE
27 | bus_LV_951-3_0_3_node_14 | 0.4 | n |  | TRUE
28 | bus_LV_951-3_0_3_node_15 | 0.4 | n |  | TRUE
29 | bus_LV_951-3_0_3_node_56 | 0.4 | n |  | TRUE
30 | bus_LV_951-3_0_3_node_67 | 0.4 | n |  | TRUE
31 | bus_LV_951-3_0_3_node_57 | 0.4 | n |  | TRUE
32 | bus_LV_951-3_0_3_node_65 | 0.4 | n |  | TRUE
33 | bus_LV_951-3_0_3_node_16 | 0.4 | n |  | TRUE
34 | bus_LV_951-3_0_3_node_17 | 0.4 | n |  | TRUE
35 | bus_LV_951-3_0_3_node_18 | 0.4 | n |  | TRUE
36 | bus_LV_951-3_0_3_node_19 | 0.4 | n |  | TRUE
37 | bus_LV_951-3_0_3_node_34 | 0.4 | n |  | TRUE
38 | bus_LV_951-3_0_3_node_35 | 0.4 | n |  | TRUE
39 | bus_LV_951-3_0_3_node_78 | 0.4 | n |  | TRUE
40 | bus_LV_951-3_0_3_node_84 | 0.4 | n |  | TRUE
41 | bus_LV_951-3_0_3_node_20 | 0.4 | n |  | TRUE
42 | bus_LV_951-3_0_3_node_21 | 0.4 | n |  | TRUE
43 | bus_LV_951-3_0_3_node_22 | 0.4 | n |  | TRUE
44 | bus_LV_951-3_0_3_node_58 | 0.4 | n |  | TRUE
45 | bus_LV_951-3_0_3_node_59 | 0.4 | n |  | TRUE
46 | bus_LV_951-3_0_3_node_23 | 0.4 | n |  | TRUE
47 | bus_LV_951-3_0_3_node_24 | 0.4 | n |  | TRUE
48 | bus_LV_951-3_0_3_node_25 | 0.4 | n |  | TRUE
49 | bus_LV_951-3_0_3_node_26 | 0.4 | n |  | TRUE
50 | bus_LV_951-3_0_3_node_31 | 0.4 | n |  | TRUE
51 | bus_LV_951-3_0_3_node_53 | 0.4 | n |  | TRUE
52 | bus_LV_951-3_0_3_node_27 | 0.4 | n |  | TRUE
53 | bus_LV_951-3_0_3_node_28 | 0.4 | n |  | TRUE
54 | bus_LV_951-3_0_3_node_29 | 0.4 | n |  | TRUE
55 | bus_LV_951-3_0_3_node_46 | 0.4 | n |  | TRUE
56 | bus_LV_951-3_0_3_node_30 | 0.4 | n |  | TRUE
57 | bus_LV_951-3_0_3_node_32 | 0.4 | n |  | TRUE
58 | bus_LV_951-3_0_3_node_33 | 0.4 | n |  | TRUE
59 | bus_LV_951-3_0_3_node_54 | 0.4 | n |  | TRUE
60 | bus_LV_951-3_0_3_node_55 | 0.4 | n |  | TRUE
61 | bus_LV_951-3_0_3_node_69 | 0.4 | n |  | TRUE
62 | bus_LV_951-3_0_3_node_70 | 0.4 | n |  | TRUE
63 | bus_LV_951-3_0_3_node_39 | 0.4 | n |  | TRUE
64 | bus_LV_951-3_0_3_node_79 | 0.4 | n |  | TRUE
65 | bus_LV_951-3_0_3_node_36 | 0.4 | n |  | TRUE
66 | bus_LV_951-3_0_3_node_37 | 0.4 | n |  | TRUE
67 | bus_LV_951-3_0_3_node_38 | 0.4 | n |  | TRUE
68 | bus_LV_951-3_0_3_node_40 | 0.4 | n |  | TRUE
69 | bus_LV_951-3_0_3_node_66 | 0.4 | n |  | TRUE
70 | bus_LV_951-3_0_3_node_89 | 0.4 | n |  | TRUE
71 | bus_LV_951-3_0_3_node_64 | 0.4 | n |  | TRUE
72 | bus_LV_951-3_0_3_node_80 | 0.4 | n |  | TRUE
73 | bus_LV_951-3_0_3_node_52 | 0.4 | n |  | TRUE
74 | bus_LV_951-3_0_3_node_50 | 0.4 | n |  | TRUE
75 | bus_LV_951-3_0_3_node_49 | 0.4 | n |  | TRUE
76 | bus_LV_951-3_0_3_node_51 | 0.4 | n |  | TRUE
77 | bus_LV_951-3_0_3_node_77 | 0.4 | n |  | TRUE
78 | bus_LV_951-3_0_3_node_75 | 0.4 | n |  | TRUE
79 | bus_LV_951-3_0_3_node_76 | 0.4 | n |  | TRUE
80 | bus_LV_951-3_0_3_node_72 | 0.4 | n |  | TRUE
81 | bus_LV_951-3_0_3_node_71 | 0.4 | n |  | TRUE
82 | bus_LV_951-3_0_3_node_60 | 0.4 | n |  | TRUE
83 | bus_LV_951-3_0_3_node_61 | 0.4 | n |  | TRUE
84 | bus_LV_951-3_0_3_node_62 | 0.4 | n |  | TRUE
85 | bus_LV_951-3_0_3_node_63 | 0.4 | n |  | TRUE
86 | bus_LV_951-3_0_3_node_68 | 0.4 | n |  | TRUE
87 | bus_LV_951-3_0_3_node_85 | 0.4 | n |  | TRUE
88 | bus_LV_951-3_0_3_node_81 | 0.4 | n |  | TRUE
89 | bus_MV_183_0_node_9 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_951-3_0_3_load_0 | 0 | 0.00078327 | 0.00019631 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_951-3_0_3_load_1 | 1 | 0.0016843 | 0.00042212 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_951-3_0_3_load_3 | 3 | 0.0024231 | 0.00060729 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_951-3_0_3_load_4 | 4 | 0.00056047 | 0.00014047 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_951-3_0_3_load_82 | 6 | 0.00067188 | 0.00016839 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_951-3_0_3_load_43 | 8 | 0.0086709 | 0.0021731 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_951-3_0_3_load_44 | 9 | 0.0032031 | 0.00080276 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_951-3_0_3_load_5 | 10 | 0.0023221 | 0.00058197 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_951-3_0_3_load_8 | 13 | 0.0031338 | 0.00078541 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_951-3_0_3_load_9 | 14 | 0.00075275 | 0.00018866 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_951-3_0_3_load_88 | 15 | 0.010708 | 0.0026836 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_951-3_0_3_load_83 | 17 | 0.0043523 | 0.0010908 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_951-3_0_3_load_48 | 18 | 0.00054977 | 0.00013779 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_951-3_0_3_load_87 | 19 | 0.003186 | 0.00079848 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_951-3_0_3_load_47 | 21 | 0.0008623 | 0.00021611 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_951-3_0_3_load_45 | 22 | 0.0013076 | 0.00032773 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_951-3_0_3_load_10 | 23 | 0.0013862 | 0.00034742 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_951-3_0_3_load_11 | 24 | 0.0011246 | 0.00028185 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_951-3_0_3_load_13 | 26 | 0.0025017 | 0.00062698 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_951-3_0_3_load_14 | 27 | 0.0019112 | 0.00047898 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_951-3_0_3_load_15 | 28 | 0.017369 | 0.004353 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_951-3_0_3_load_67 | 30 | 0.0018643 | 0.00046724 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_951-3_0_3_load_57 | 31 | 0.0039963 | 0.0010016 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_951-3_0_3_load_16 | 33 | 0.0019005 | 0.00047631 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_951-3_0_3_load_17 | 34 | 0.0017787 | 0.00044579 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_951-3_0_3_load_18 | 35 | 0.0015567 | 0.00039015 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_951-3_0_3_load_34 | 37 | 0.01117 | 0.0027995 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_951-3_0_3_load_35 | 38 | 0.0039633 | 0.0009933 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_951-3_0_3_load_78 | 39 | 0.002164 | 0.00054235 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_951-3_0_3_load_84 | 40 | 0.0023749 | 0.00059521 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_951-3_0_3_load_20 | 41 | 0.00068965 | 0.00017284 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_951-3_0_3_load_21 | 42 | 0.00052447 | 0.00013144 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_951-3_0_3_load_22 | 43 | 0.00057681 | 0.00014456 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_951-3_0_3_load_58 | 44 | 0.00039691 | 9.9475e-05 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_951-3_0_3_load_59 | 45 | 0.0021201 | 0.00053134 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_951-3_0_3_load_23 | 46 | 0.0020326 | 0.00050942 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_951-3_0_3_load_24 | 47 | 0.0019337 | 0.00048464 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_951-3_0_3_load_25 | 48 | 0.0036098 | 0.00090471 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_951-3_0_3_load_26 | 49 | 0.0009571 | 0.00023987 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_951-3_0_3_load_31 | 50 | 0.0011986 | 0.00030041 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_951-3_0_3_load_27 | 52 | 0.0024502 | 0.00061409 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_951-3_0_3_load_28 | 53 | 0.0013418 | 0.00033627 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_951-3_0_3_load_29 | 54 | 0.0036527 | 0.00091545 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_951-3_0_3_load_46 | 55 | 0.0015715 | 0.00039385 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_951-3_0_3_load_30 | 56 | 0.00070501 | 0.00017669 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_951-3_0_3_load_32 | 57 | 0.0076661 | 0.0019213 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_951-3_0_3_load_55 | 60 | 0.00053596 | 0.00013432 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_951-3_0_3_load_70 | 62 | 0.0063989 | 0.0016037 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_951-3_0_3_load_39 | 63 | 0.0062955 | 0.0015778 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_951-3_0_3_load_79 | 64 | 0.0038258 | 0.00095882 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_951-3_0_3_load_36 | 65 | 0.0023067 | 0.0005781 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_951-3_0_3_load_37 | 66 | 0.0063556 | 0.0015929 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_951-3_0_3_load_38 | 67 | 0.0048118 | 0.0012059 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_951-3_0_3_load_66 | 69 | 0.0017872 | 0.00044792 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_951-3_0_3_load_89 | 70 | 0.0024654 | 0.00061788 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_951-3_0_3_load_80 | 72 | 0.0087568 | 0.0021947 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_951-3_0_3_load_52 | 73 | 0.0011635 | 0.00029159 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_951-3_0_3_load_49 | 75 | 0.0027886 | 0.00069888 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_951-3_0_3_load_77 | 77 | 0.00098525 | 0.00024693 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_951-3_0_3_load_75 | 78 | 0.0040028 | 0.0010032 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_951-3_0_3_load_76 | 79 | 0.0047621 | 0.0011935 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_951-3_0_3_load_72 | 80 | 0.00087571 | 0.00021947 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_951-3_0_3_load_71 | 81 | 0.00071712 | 0.00017973 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_951-3_0_3_load_60 | 82 | 0.016569 | 0.0041526 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_951-3_0_3_load_62 | 84 | 0.0050878 | 0.0012751 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_951-3_0_3_load_63 | 85 | 0.0059839 | 0.0014997 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_951-3_0_3_load_68 | 86 | 0.0021112 | 0.00052912 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_951-3_0_3_load_85 | 87 | 0.0064772 | 0.0016233 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_951-3_0_3_load_81 | 88 | 0.0067995 | 0.0017041 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 65 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_951-3_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.02708 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_951-3_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.029215 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_951-3_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.013371 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_951-3_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.010385 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_951-3_0_3_line_4 | NAYY 4x150 SE | 3 | 5 | 0.019952 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_951-3_0_3_line_5 | NAYY 4x150 SE | 4 | 6 | 0.0065676 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_951-3_0_3_line_6 | NAYY 4x150 SE | 5 | 7 | 0.033255 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_951-3_0_3_line_7 | NAYY 4x150 SE | 5 | 8 | 0.022377 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_951-3_0_3_line_8 | NAYY 4x150 SE | 5 | 9 | 0.048037 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_951-3_0_3_line_9 | NAYY 4x150 SE | 7 | 70 | 0.019102 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_951-3_0_3_line_10 | NAYY 4x150 SE | 7 | 68 | 0.017903 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_951-3_0_3_line_11 | NAYY 4x150 SE | 8 | 72 | 0.0074371 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_951-3_0_3_line_12 | NAYY 4x150 SE | 9 | 73 | 0.023359 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_951-3_0_3_line_13 | NAYY 4x150 SE | 10 | 11 | 0.016163 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_951-3_0_3_line_14 | NAYY 4x150 SE | 10 | 12 | 0.019125 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_951-3_0_3_line_15 | NAYY 4x150 SE | 11 | 13 | 0.016511 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_951-3_0_3_line_16 | NAYY 4x150 SE | 11 | 14 | 0.022773 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_951-3_0_3_line_17 | NAYY 4x150 SE | 12 | 15 | 0.068097 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_951-3_0_3_line_18 | NAYY 4x150 SE | 13 | 16 | 0.020452 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_951-3_0_3_line_19 | NAYY 4x150 SE | 14 | 17 | 0.010103 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_951-3_0_3_line_20 | NAYY 4x150 SE | 14 | 18 | 0.054775 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_951-3_0_3_line_21 | NAYY 4x150 SE | 15 | 19 | 0.0023647 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_951-3_0_3_line_22 | NAYY 4x150 SE | 16 | 20 | 0.041106 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_951-3_0_3_line_23 | NAYY 4x150 SE | 18 | 21 | 0.0069747 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_951-3_0_3_line_24 | NAYY 4x150 SE | 20 | 87 | 0.071198 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_951-3_0_3_line_25 | NAYY 4x150 SE | 21 | 22 | 0.025599 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_951-3_0_3_line_26 | NAYY 4x150 SE | 22 | 55 | 0.031649 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_951-3_0_3_line_27 | NAYY 4x150 SE | 23 | 24 | 0.020648 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_951-3_0_3_line_28 | NAYY 4x150 SE | 23 | 25 | 0.017273 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_951-3_0_3_line_29 | NAYY 4x150 SE | 24 | 26 | 0.04602 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_951-3_0_3_line_30 | NAYY 4x150 SE | 25 | 27 | 0.014853 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_951-3_0_3_line_31 | NAYY 4x150 SE | 25 | 28 | 0.014718 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_951-3_0_3_line_32 | NAYY 4x150 SE | 27 | 29 | 0.020774 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_951-3_0_3_line_33 | NAYY 4x150 SE | 28 | 30 | 0.022055 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_951-3_0_3_line_34 | NAYY 4x150 SE | 29 | 31 | 0.026655 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_951-3_0_3_line_35 | NAYY 4x150 SE | 30 | 32 | 0.024082 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_951-3_0_3_line_36 | NAYY 4x150 SE | 32 | 86 | 0.026716 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_951-3_0_3_line_37 | NAYY 4x150 SE | 32 | 71 | 0.011754 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_951-3_0_3_line_38 | NAYY 4x150 SE | 33 | 34 | 0.026038 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_951-3_0_3_line_39 | NAYY 4x150 SE | 33 | 35 | 0.03132 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_951-3_0_3_line_40 | NAYY 4x150 SE | 34 | 36 | 0.027651 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_951-3_0_3_line_41 | NAYY 4x150 SE | 36 | 37 | 0.028915 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_951-3_0_3_line_42 | NAYY 4x150 SE | 36 | 38 | 0.032418 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_951-3_0_3_line_43 | NAYY 4x150 SE | 37 | 39 | 0.0045232 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_951-3_0_3_line_44 | NAYY 4x150 SE | 38 | 40 | 0.031136 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_951-3_0_3_line_45 | NAYY 4x150 SE | 39 | 64 | 0.022144 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_951-3_0_3_line_46 | NAYY 4x150 SE | 41 | 42 | 0.023177 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_951-3_0_3_line_47 | NAYY 4x150 SE | 42 | 43 | 0.020696 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_951-3_0_3_line_48 | NAYY 4x150 SE | 43 | 44 | 0.017772 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_951-3_0_3_line_49 | NAYY 4x150 SE | 44 | 45 | 0.011668 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_951-3_0_3_line_50 | NAYY 4x150 SE | 45 | 81 | 0.018031 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_951-3_0_3_line_51 | NAYY 4x150 SE | 46 | 47 | 0.022119 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_951-3_0_3_line_52 | NAYY 4x150 SE | 46 | 48 | 0.033532 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_951-3_0_3_line_53 | NAYY 4x150 SE | 47 | 49 | 0.027165 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_951-3_0_3_line_54 | NAYY 4x150 SE | 49 | 50 | 0.0093609 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_951-3_0_3_line_55 | NAYY 4x150 SE | 50 | 51 | 0.011075 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_951-3_0_3_line_56 | NAYY 4x150 SE | 51 | 59 | 0.009489 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_951-3_0_3_line_57 | NAYY 4x150 SE | 51 | 60 | 0.0063977 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_951-3_0_3_line_58 | NAYY 4x150 SE | 52 | 53 | 0.031787 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_951-3_0_3_line_59 | NAYY 4x150 SE | 52 | 54 | 0.016263 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_951-3_0_3_line_60 | NAYY 4x150 SE | 52 | 55 | 0.036642 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_951-3_0_3_line_61 | NAYY 4x150 SE | 53 | 56 | 0.008212 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_951-3_0_3_line_62 | NAYY 4x150 SE | 56 | 57 | 0.047118 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_951-3_0_3_line_63 | NAYY 4x150 SE | 57 | 58 | 0.010117 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_951-3_0_3_line_64 | NAYY 4x150 SE | 58 | 61 | 0.040589 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_951-3_0_3_line_65 | NAYY 4x150 SE | 59 | 80 | 0.038034 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_951-3_0_3_line_66 | NAYY 4x150 SE | 60 | 77 | 0.011207 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_951-3_0_3_line_67 | NAYY 4x150 SE | 61 | 62 | 0.013916 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_951-3_0_3_line_68 | NAYY 4x150 SE | 61 | 63 | 0.020983 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_951-3_0_3_line_69 | NAYY 4x150 SE | 63 | 66 | 0.0024836 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_951-3_0_3_line_70 | NAYY 4x150 SE | 64 | 88 | 0.012549 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_951-3_0_3_line_71 | NAYY 4x150 SE | 64 | 72 | 0.023301 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_951-3_0_3_line_72 | NAYY 4x150 SE | 65 | 66 | 0.034101 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_951-3_0_3_line_73 | NAYY 4x150 SE | 65 | 67 | 0.019389 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
74 | LV_951-3_0_3_line_74 | NAYY 4x150 SE | 67 | 68 | 0.014798 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
75 | LV_951-3_0_3_line_75 | NAYY 4x150 SE | 68 | 69 | 0.0056938 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_951-3_0_3_line_76 | NAYY 4x150 SE | 69 | 71 | 0.024084 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_951-3_0_3_line_77 | NAYY 4x150 SE | 71 | 84 | 0.015981 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_951-3_0_3_line_78 | NAYY 4x150 SE | 73 | 74 | 0.0016816 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_951-3_0_3_line_79 | NAYY 4x150 SE | 74 | 76 | 0.008149 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_951-3_0_3_line_80 | NAYY 4x150 SE | 74 | 75 | 0.024064 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_951-3_0_3_line_81 | NAYY 4x150 SE | 76 | 77 | 0.017127 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_951-3_0_3_line_82 | NAYY 4x150 SE | 76 | 78 | 0.028406 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_951-3_0_3_line_83 | NAYY 4x150 SE | 78 | 79 | 0.0066173 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_951-3_0_3_line_84 | NAYY 4x150 SE | 80 | 81 | 0.0040705 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_951-3_0_3_line_85 | NAYY 4x150 SE | 82 | 83 | 0.016466 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_951-3_0_3_line_86 | NAYY 4x150 SE | 83 | 84 | 0.0071562 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_951-3_0_3_line_87 | NAYY 4x150 SE | 83 | 85 | 0.015035 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_951-3_0_3_trafo_36 | 0.25 MVA 20/0.4 kV | 89 | 65 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2623621.8417 | 1212340.1483 | 2623624.8406 | 1212313.2348
1 | 2623618.6064 | 1212369.1837 | 2623621.8417 | 1212340.1483
2 | 2623626.3213 | 1212299.9462 | 2623624.8406 | 1212313.2348
3 | 2623618.6064 | 1212369.1837 | 2623624.0259 | 1212370.3836 | 2623626.2399 | 1212371.4818 | 2623627.6863 | 1212372.6326 | 2623627.944 | 1212373.078
4 | 2623628.5308 | 1212280.117 | 2623626.3213 | 1212299.9462
5 | 2623629.5979 | 1212379.3486 | 2623629.371 | 1212376.9528 | 2623628.6597 | 1212374.3152 | 2623627.944 | 1212373.078
6 | 2623628.5308 | 1212280.117 | 2623622.9698 | 1212280.1061 | 2623618.9335 | 1212280.6905 | 2623614.1494 | 1212282.0946 | 2623609.6914 | 1212283.6334 | 2623596.6424 | 1212288.707
7 | 2623628.5308 | 1212280.117 | 2623631.1423 | 1212257.8927
8 | 2623628.5308 | 1212280.117 | 2623660.9306 | 1212286.282 | 2623664.7568 | 1212286.9642 | 2623668.8336 | 1212287.6918 | 2623675.7331 | 1212289.0325
9 | 2623596.6424 | 1212288.707 | 2623589.0615 | 1212271.1672
10 | 2623596.6424 | 1212288.707 | 2623579.9184 | 1212295.2225
11 | 2623632.0065 | 1212250.506 | 2623631.9507 | 1212251.014 | 2623631.1423 | 1212257.8927
12 | 2623698.6635 | 1212293.4881 | 2623675.7331 | 1212289.0325
13 | 2623604.1837 | 1212493.1969 | 2623606.1538 | 1212477.1545
14 | 2623608.4851 | 1212458.1718 | 2623606.1538 | 1212477.1545
15 | 2623604.1837 | 1212493.1969 | 2623602.2288 | 1212509.592
16 | 2623604.1837 | 1212493.1969 | 2623590.0699 | 1212489.0833 | 2623587.5614 | 1212487.5503 | 2623585.7385 | 1212485.5531 | 2623585.1628 | 1212483.1939
17 | 2623608.4851 | 1212458.1718 | 2623673.6066 | 1212438.2635
18 | 2623599.8073 | 1212529.9003 | 2623602.2288 | 1212509.592
19 | 2623585.8332 | 1212473.1131 | 2623585.1628 | 1212483.1939
20 | 2623585.1628 | 1212483.1939 | 2623532.9977 | 1212499.8988
21 | 2623675.9596 | 1212438.4981 | 2623673.6066 | 1212438.2635
22 | 2623577.501 | 1212547.7891 | 2623597.3165 | 1212550.8135 | 2623599.8073 | 1212529.9003
23 | 2623532.9977 | 1212499.8988 | 2623528.3632 | 1212494.6864
24 | 2623577.501 | 1212547.7891 | 2623524.6344 | 1212595.4782
25 | 2623511.3534 | 1212475.5557 | 2623528.3632 | 1212494.6864
26 | 2623511.3534 | 1212475.5557 | 2623508.3267 | 1212472.1517 | 2623504.4249 | 1212471.4026 | 2623487.9657 | 1212455.1651
27 | 2623487.8484 | 1212343.6728 | 2623490.3104 | 1212351.5237 | 2623491.8325 | 1212354.6982 | 2623495.3349 | 1212356.5686 | 2623499.0678 | 1212355.8717 | 2623500.1461 | 1212355.5277
28 | 2623482.6799 | 1212327.1911 | 2623487.8484 | 1212343.6728
29 | 2623500.1461 | 1212355.5277 | 2623501.0987 | 1212355.2238 | 2623505.5397 | 1212369.5605 | 2623496.3133 | 1212372.4258 | 2623488.5838 | 1212373.2959 | 2623476.4379 | 1212376.5409
30 | 2623482.6799 | 1212327.1911 | 2623468.3675 | 1212331.1626
31 | 2623482.6799 | 1212327.1911 | 2623496.8631 | 1212323.2603
32 | 2623448.3497 | 1212336.7173 | 2623468.3675 | 1212331.1626
33 | 2623518.0406 | 1212317.104 | 2623505.5414 | 1212320.8552 | 2623496.8631 | 1212323.2603
34 | 2623452.7241 | 1212362.2378 | 2623454.2001 | 1212359.7533 | 2623448.3497 | 1212336.7173
35 | 2623540.8668 | 1212309.4433 | 2623538.866 | 1212310.158 | 2623524.3358 | 1212315.2148 | 2623518.0406 | 1212317.104
36 | 2623549.8392 | 1212288.1777 | 2623540.0469 | 1212295.799 | 2623538.2688 | 1212301.6953 | 2623540.8668 | 1212309.4433
37 | 2623551.974 | 1212305.507 | 2623540.8668 | 1212309.4433
38 | 2623567.2882 | 1212180.7525 | 2623564.9023 | 1212178.8419 | 2623549.2632 | 1212166.3955 | 2623546.8106 | 1212164.6791
39 | 2623520.2702 | 1212148.1456 | 2623533.0953 | 1212155.081 | 2623546.8106 | 1212164.6791
40 | 2623588.8716 | 1212198.0362 | 2623567.2882 | 1212180.7525
41 | 2623588.8716 | 1212198.0362 | 2623610.4683 | 1212217.262
42 | 2623588.8716 | 1212198.0362 | 2623590.5036 | 1212171.4387 | 2623591.2445 | 1212165.7155
43 | 2623610.4683 | 1212217.262 | 2623613.8467 | 1212220.2696 | 2623613.8467 | 1212220.2696
44 | 2623591.2445 | 1212165.7155 | 2623592.3922 | 1212156.849 | 2623593.8422 | 1212149.4061 | 2623595.5383 | 1212143.1648 | 2623598.0939 | 1212135.431
45 | 2623634.5513 | 1212227.3443 | 2623625.3288 | 1212225.3289 | 2623619.7428 | 1212223.9505 | 2623613.8467 | 1212220.2696
46 | 2623820.5876 | 1212173.4262 | 2623818.9259 | 1212175.8914 | 2623814.164 | 1212181.2088 | 2623805.2858 | 1212190.7954
47 | 2623791.2234 | 1212205.9798 | 2623805.2858 | 1212190.7954
48 | 2623791.2234 | 1212205.9798 | 2623779.1474 | 1212219.0193
49 | 2623779.1474 | 1212219.0193 | 2623772.3213 | 1212226.39 | 2623771.3362 | 1212227.6781
50 | 2623760.3829 | 1212242.0009 | 2623771.3362 | 1212227.6781
51 | 2623768.01 | 1212353.4289 | 2623763.7868 | 1212335.9958 | 2623762.5108 | 1212332.0139
52 | 2623769.8984 | 1212386.8122 | 2623769.9763 | 1212386.1711 | 2623770.0587 | 1212371.174 | 2623768.6824 | 1212356.2045 | 2623768.01 | 1212353.4289
53 | 2623753.8652 | 1212306.2635 | 2623758.8643 | 1212320.6343 | 2623762.5108 | 1212332.0139
54 | 2623750.0365 | 1212297.7307 | 2623753.276 | 1212304.5696 | 2623753.8652 | 1212306.2635
55 | 2623742.6924 | 1212289.5191 | 2623746.0992 | 1212292.4898 | 2623750.0365 | 1212297.7307 | 2623750.0365 | 1212297.7307
56 | 2623742.6924 | 1212289.5191 | 2623747.367 | 1212281.2552
57 | 2623742.6924 | 1212289.5191 | 2623736.3678 | 1212290.4834 | 2623736.3678 | 1212290.4834
58 | 2623517.2093 | 1212425.6342 | 2623515.6949 | 1212426.0212 | 2623505.0664 | 1212428.0806 | 2623500.4075 | 1212428.5959 | 2623497.0073 | 1212427.7709 | 2623494.1518 | 1212425.6141 | 2623492.1144 | 1212422.1152 | 2623491.1539 | 1212418.6624
59 | 2623486.7958 | 1212402.9946 | 2623491.1539 | 1212418.6624
60 | 2623491.1539 | 1212418.6624 | 2623487.9657 | 1212455.1651
61 | 2623525.1656 | 1212423.6011 | 2623517.2093 | 1212425.6342
62 | 2623525.1656 | 1212423.6011 | 2623549.0712 | 1212417.4922 | 2623569.1848 | 1212414.3697 | 2623571.2712 | 1212414.2543
63 | 2623581.3729 | 1212413.6952 | 2623571.2712 | 1212414.2543
64 | 2623584.8371 | 1212373.2749 | 2623584.4833 | 1212382.0562 | 2623582.8373 | 1212396.8248 | 2623581.3729 | 1212413.6952
65 | 2623747.367 | 1212281.2552 | 2623747.7418 | 1212278.7108 | 2623748.7704 | 1212268.3979 | 2623750.3098 | 1212261.4668 | 2623752.2697 | 1212255.7603 | 2623754.9588 | 1212250.09 | 2623757.3608 | 1212245.9527 | 2623757.9102 | 1212245.2343
66 | 2623736.3678 | 1212290.4834 | 2623729.0536 | 1212291.9441 | 2623725.4237 | 1212292.8781
67 | 2623584.8371 | 1212373.2749 | 2623571.0002 | 1212374.7551
68 | 2623584.8371 | 1212373.2749 | 2623584.9385 | 1212370.6849 | 2623586.7412 | 1212354.7052 | 2623587.2405 | 1212352.4495
69 | 2623587.7772 | 1212350.0246 | 2623587.2405 | 1212352.4495
70 | 2623634.5513 | 1212227.3443 | 2623635.8724 | 1212214.8652
71 | 2623634.5513 | 1212227.3443 | 2623632.0065 | 1212250.506
72 | 2623597.4313 | 1212317.8822 | 2623597.4313 | 1212317.8822 | 2623598.1672 | 1212321.9874 | 2623589.8882 | 1212342.7109 | 2623588.0098 | 1212348.9737 | 2623587.7772 | 1212350.0246
73 | 2623597.4313 | 1212317.8822 | 2623590.8629 | 1212313.2647 | 2623582.5313 | 1212312.6871 | 2623582.2842 | 1212309.6888
74 | 2623579.9184 | 1212295.2225 | 2623581.3785 | 1212298.6969 | 2623582.2842 | 1212309.6888
75 | 2623579.9184 | 1212295.2225 | 2623575.4141 | 1212296.9724 | 2623574.6046 | 1212297.2671
76 | 2623551.974 | 1212305.507 | 2623574.6046 | 1212297.2671
77 | 2623551.974 | 1212305.507 | 2623553.8109 | 1212321.3817
78 | 2623700.3142 | 1212293.8089 | 2623698.6635 | 1212293.4881
79 | 2623708.4479 | 1212294.5082 | 2623704.9157 | 1212294.3941 | 2623700.3142 | 1212293.8089
80 | 2623700.3142 | 1212293.8089 | 2623697.331 | 1212317.6873
81 | 2623708.4479 | 1212294.5082 | 2623715.5284 | 1212294.503 | 2623722.331 | 1212293.6739 | 2623725.4237 | 1212292.8781
82 | 2623708.4479 | 1212294.5082 | 2623714.9889 | 1212305.9962 | 2623721.9347 | 1212319.5006
83 | 2623721.9347 | 1212319.5006 | 2623724.9613 | 1212325.3851
84 | 2623757.9102 | 1212245.2343 | 2623760.3829 | 1212242.0009
85 | 2623553.6992 | 1212328.449 | 2623554.9859 | 1212331.6003 | 2623556.0557 | 1212337.7302 | 2623549.3321 | 1212338.9872
86 | 2623553.6992 | 1212328.449 | 2623554.138 | 1212326.9832 | 2623554.2147 | 1212324.8712 | 2623553.8109 | 1212321.3817
87 | 2623553.6992 | 1212328.449 | 2623552.8221 | 1212329.3238 | 2623551.2083 | 1212330.1624 | 2623539.4221 | 1212332.2969

## bus_geodata
| x | y | coords
0 | 2623621.8417 | 1212340.1483
1 | 2623624.8406 | 1212313.2348
2 | 2623618.6064 | 1212369.1837
3 | 2623626.3213 | 1212299.9462
4 | 2623627.944 | 1212373.078
5 | 2623628.5308 | 1212280.117
6 | 2623629.5979 | 1212379.3486
7 | 2623596.6424 | 1212288.707
8 | 2623631.1424 | 1212257.8927
9 | 2623675.7331 | 1212289.0325
10 | 2623606.1538 | 1212477.1545
11 | 2623604.1837 | 1212493.1969
12 | 2623608.4851 | 1212458.1718
13 | 2623602.2288 | 1212509.592
14 | 2623585.1628 | 1212483.1939
15 | 2623673.6066 | 1212438.2635
16 | 2623599.8073 | 1212529.9003
17 | 2623585.8332 | 1212473.1131
18 | 2623532.9977 | 1212499.8988
19 | 2623675.9596 | 1212438.4981
20 | 2623577.501 | 1212547.7891
21 | 2623528.3632 | 1212494.6864
22 | 2623511.3534 | 1212475.5557
23 | 2623487.8484 | 1212343.6728
24 | 2623500.1461 | 1212355.5277
25 | 2623482.6799 | 1212327.1911
26 | 2623476.4379 | 1212376.5409
27 | 2623468.3675 | 1212331.1626
28 | 2623496.8631 | 1212323.2603
29 | 2623448.3497 | 1212336.7173
30 | 2623518.0406 | 1212317.104
31 | 2623452.7241 | 1212362.2378
32 | 2623540.8668 | 1212309.4433
33 | 2623546.8106 | 1212164.6791
34 | 2623567.2882 | 1212180.7525
35 | 2623520.2702 | 1212148.1456
36 | 2623588.8716 | 1212198.0362
37 | 2623610.4683 | 1212217.262
38 | 2623591.2445 | 1212165.7155
39 | 2623613.8467 | 1212220.2696
40 | 2623598.0939 | 1212135.431
41 | 2623820.5876 | 1212173.4262
42 | 2623805.2858 | 1212190.7954
43 | 2623791.2234 | 1212205.9798
44 | 2623779.1474 | 1212219.0193
45 | 2623771.3362 | 1212227.6781
46 | 2623768.01 | 1212353.4289
47 | 2623762.5108 | 1212332.0139
48 | 2623769.8984 | 1212386.8122
49 | 2623753.8652 | 1212306.2635
50 | 2623750.0365 | 1212297.7307
51 | 2623742.6924 | 1212289.5191
52 | 2623491.1539 | 1212418.6624
53 | 2623517.2093 | 1212425.6342
54 | 2623486.7958 | 1212402.9946
55 | 2623487.9657 | 1212455.1651
56 | 2623525.1656 | 1212423.6011
57 | 2623571.2712 | 1212414.2543
58 | 2623581.3729 | 1212413.6952
59 | 2623747.367 | 1212281.2552
60 | 2623736.3678 | 1212290.4834
61 | 2623584.8371 | 1212373.2749
62 | 2623571.0002 | 1212374.7551
63 | 2623587.2405 | 1212352.4495
64 | 2623634.5513 | 1212227.3443
65 | 2623597.4313 | 1212317.8822
66 | 2623587.7772 | 1212350.0246
67 | 2623582.2842 | 1212309.6888
68 | 2623579.9184 | 1212295.2225
69 | 2623574.6046 | 1212297.2671
70 | 2623589.0615 | 1212271.1672
71 | 2623551.974 | 1212305.507
72 | 2623632.0065 | 1212250.506
73 | 2623698.6635 | 1212293.4881
74 | 2623700.3142 | 1212293.8089
75 | 2623697.331 | 1212317.6873
76 | 2623708.4479 | 1212294.5082
77 | 2623725.4237 | 1212292.8781
78 | 2623721.9347 | 1212319.5006
79 | 2623724.9613 | 1212325.3851
80 | 2623757.9102 | 1212245.2343
81 | 2623760.3829 | 1212242.0009
82 | 2623549.3321 | 1212338.9872
83 | 2623553.6992 | 1212328.449
84 | 2623553.8109 | 1212321.3817
85 | 2623539.4221 | 1212332.2969
86 | 2623549.8392 | 1212288.1777
87 | 2623524.6344 | 1212595.4782
88 | 2623635.8724 | 1212214.8652
89 | 2623579.9184 | 1212295.2225

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1