## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_952-2_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_952-2_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_952-2_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_952-2_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_952-2_0_2_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_952-2_0_2_node_10 | 0.4 | n |  | TRUE
6 | bus_LV_952-2_0_2_node_11 | 0.4 | n |  | TRUE
7 | bus_LV_952-2_0_2_node_12 | 0.4 | n |  | TRUE
8 | bus_LV_952-2_0_2_node_41 | 0.4 | n |  | TRUE
9 | bus_LV_952-2_0_2_node_39 | 0.4 | n |  | TRUE
10 | bus_LV_952-2_0_2_node_44 | 0.4 | n |  | TRUE
11 | bus_LV_952-2_0_2_node_13 | 0.4 | n |  | TRUE
12 | bus_LV_952-2_0_2_node_43 | 0.4 | n |  | TRUE
13 | bus_LV_952-2_0_2_node_42 | 0.4 | n |  | TRUE
14 | bus_LV_952-2_0_2_node_78 | 0.4 | n |  | TRUE
15 | bus_LV_952-2_0_2_node_76 | 0.4 | n |  | TRUE
16 | bus_LV_952-2_0_2_node_14 | 0.4 | n |  | TRUE
17 | bus_LV_952-2_0_2_node_15 | 0.4 | n |  | TRUE
18 | bus_LV_952-2_0_2_node_16 | 0.4 | n |  | TRUE
19 | bus_LV_952-2_0_2_node_66 | 0.4 | n |  | TRUE
20 | bus_LV_952-2_0_2_node_17 | 0.4 | n |  | TRUE
21 | bus_LV_952-2_0_2_node_18 | 0.4 | n |  | TRUE
22 | bus_LV_952-2_0_2_node_65 | 0.4 | n |  | TRUE
23 | bus_LV_952-2_0_2_node_67 | 0.4 | n |  | TRUE
24 | bus_LV_952-2_0_2_node_48 | 0.4 | n |  | TRUE
25 | bus_LV_952-2_0_2_node_51 | 0.4 | n |  | TRUE
26 | bus_LV_952-2_0_2_node_46 | 0.4 | n |  | TRUE
27 | bus_LV_952-2_0_2_node_50 | 0.4 | n |  | TRUE
28 | bus_LV_952-2_0_2_node_53 | 0.4 | n |  | TRUE
29 | bus_LV_952-2_0_2_node_55 | 0.4 | n |  | TRUE
30 | bus_LV_952-2_0_2_node_52 | 0.4 | n |  | TRUE
31 | bus_LV_952-2_0_2_node_19 | 0.4 | n |  | TRUE
32 | bus_LV_952-2_0_2_node_20 | 0.4 | n |  | TRUE
33 | bus_LV_952-2_0_2_node_29 | 0.4 | n |  | TRUE
34 | bus_LV_952-2_0_2_node_23 | 0.4 | n |  | TRUE
35 | bus_LV_952-2_0_2_node_27 | 0.4 | n |  | TRUE
36 | bus_LV_952-2_0_2_node_22 | 0.4 | n |  | TRUE
37 | bus_LV_952-2_0_2_node_25 | 0.4 | n |  | TRUE
38 | bus_LV_952-2_0_2_node_24 | 0.4 | n |  | TRUE
39 | bus_LV_952-2_0_2_node_33 | 0.4 | n |  | TRUE
40 | bus_LV_952-2_0_2_node_32 | 0.4 | n |  | TRUE
41 | bus_LV_952-2_0_2_node_26 | 0.4 | n |  | TRUE
42 | bus_LV_952-2_0_2_node_28 | 0.4 | n |  | TRUE
43 | bus_LV_952-2_0_2_node_30 | 0.4 | n |  | TRUE
44 | bus_LV_952-2_0_2_node_31 | 0.4 | n |  | TRUE
45 | bus_LV_952-2_0_2_node_49 | 0.4 | n |  | TRUE
46 | bus_LV_952-2_0_2_node_34 | 0.4 | n |  | TRUE
47 | bus_LV_952-2_0_2_node_47 | 0.4 | n |  | TRUE
48 | bus_LV_952-2_0_2_node_77 | 0.4 | n |  | TRUE
49 | bus_LV_952-2_0_2_node_35 | 0.4 | n |  | TRUE
50 | bus_LV_952-2_0_2_node_36 | 0.4 | n |  | TRUE
51 | bus_LV_952-2_0_2_node_37 | 0.4 | n |  | TRUE
52 | bus_LV_952-2_0_2_node_38 | 0.4 | n |  | TRUE
53 | bus_LV_952-2_0_2_node_45 | 0.4 | n |  | TRUE
54 | bus_LV_952-2_0_2_node_54 | 0.4 | n |  | TRUE
55 | bus_LV_952-2_0_2_node_56 | 0.4 | n |  | TRUE
56 | bus_LV_952-2_0_2_node_57 | 0.4 | n |  | TRUE
57 | bus_LV_952-2_0_2_node_94 | 0.4 | n |  | TRUE
58 | bus_LV_952-2_0_2_node_62 | 0.4 | n |  | TRUE
59 | bus_LV_952-2_0_2_node_58 | 0.4 | n |  | TRUE
60 | bus_LV_952-2_0_2_node_95 | 0.4 | n |  | TRUE
61 | bus_LV_952-2_0_2_node_64 | 0.4 | n |  | TRUE
62 | bus_LV_952-2_0_2_node_59 | 0.4 | n |  | TRUE
63 | bus_LV_952-2_0_2_node_60 | 0.4 | n |  | TRUE
64 | bus_LV_952-2_0_2_node_61 | 0.4 | n |  | TRUE
65 | bus_LV_952-2_0_2_node_63 | 0.4 | n |  | TRUE
66 | bus_MV_0_node_76 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_952-2_0_2_load_0 | 0 | 0.00041822 | 0.00010482 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_952-2_0_2_load_1 | 1 | 0.0002716 | 6.8068e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_952-2_0_2_load_4 | 4 | 0.0020741 | 0.00051982 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_952-2_0_2_load_11 | 6 | 0.0011793 | 0.00029557 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_952-2_0_2_load_39 | 9 | 0.0015408 | 0.00038617 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_952-2_0_2_load_44 | 10 | 0.00081515 | 0.0002043 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_952-2_0_2_load_13 | 11 | 0.00041278 | 0.00010345 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_952-2_0_2_load_43 | 12 | 0.00025487 | 6.3878e-05 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_952-2_0_2_load_42 | 13 | 0.00019851 | 4.9752e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_952-2_0_2_load_76 | 15 | 0.0012603 | 0.00031587 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_952-2_0_2_load_14 | 16 | 0.00047536 | 0.00011914 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_952-2_0_2_load_15 | 17 | 0.0010139 | 0.00025412 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_952-2_0_2_load_17 | 20 | 0.00063589 | 0.00015937 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_952-2_0_2_load_18 | 21 | 0.00056434 | 0.00014144 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_952-2_0_2_load_65 | 22 | 0.0011499 | 0.00028819 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_952-2_0_2_load_67 | 23 | 0.00060243 | 0.00015098 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_952-2_0_2_load_46 | 26 | 0.00031172 | 7.8124e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_952-2_0_2_load_50 | 27 | 0.0022642 | 0.00056746 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_952-2_0_2_load_52 | 30 | 0.00078076 | 0.00019568 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_952-2_0_2_load_19 | 31 | 0.0012991 | 0.00032559 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_952-2_0_2_load_23 | 34 | 0.0014711 | 0.00036869 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_952-2_0_2_load_27 | 35 | 0.00061946 | 0.00015525 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_952-2_0_2_load_22 | 36 | 0.00052655 | 0.00013197 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_952-2_0_2_load_25 | 37 | 0.0027105 | 0.00067932 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_952-2_0_2_load_24 | 38 | 0.0015014 | 0.00037627 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_952-2_0_2_load_33 | 39 | 0.00036663 | 9.1887e-05 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_952-2_0_2_load_32 | 40 | 0.0036807 | 0.00092246 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_952-2_0_2_load_28 | 42 | 0.001532 | 0.00038396 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_952-2_0_2_load_34 | 46 | 0.00054016 | 0.00013538 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_952-2_0_2_load_47 | 47 | 0.00047568 | 0.00011922 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_952-2_0_2_load_77 | 48 | 0.001748 | 0.00043809 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_952-2_0_2_load_35 | 49 | 0.00011182 | 2.8026e-05 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_952-2_0_2_load_36 | 50 | 0.0010411 | 0.00026093 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_952-2_0_2_load_38 | 52 | 0.00021393 | 5.3615e-05 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_952-2_0_2_load_45 | 53 | 0.0013047 | 0.00032699 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_952-2_0_2_load_56 | 55 | 0.0017722 | 0.00044415 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_952-2_0_2_load_94 | 57 | 0.00050876 | 0.00012751 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_952-2_0_2_load_95 | 60 | 0.00020418 | 5.1172e-05 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_952-2_0_2_load_64 | 61 | 0.0010969 | 0.00027491 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_952-2_0_2_load_59 | 62 | 0.00045931 | 0.00011511 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_952-2_0_2_load_60 | 63 | 0.00040289 | 0.00010097 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_952-2_0_2_load_63 | 65 | 0.00049969 | 0.00012523 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 15 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_952-2_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.017716 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_952-2_0_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.00091665 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_952-2_0_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.0039437 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_952-2_0_2_line_3 | NAYY 4x150 SE | 2 | 4 | 0.042489 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_952-2_0_2_line_4 | NAYY 4x150 SE | 3 | 5 | 0.023154 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_952-2_0_2_line_5 | NAYY 4x150 SE | 3 | 6 | 0.018708 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_952-2_0_2_line_6 | NAYY 4x150 SE | 4 | 7 | 0.076192 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_952-2_0_2_line_7 | NAYY 4x150 SE | 5 | 8 | 0.002604 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_952-2_0_2_line_8 | NAYY 4x150 SE | 5 | 9 | 0.032838 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_952-2_0_2_line_9 | NAYY 4x150 SE | 6 | 10 | 0.033044 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_952-2_0_2_line_10 | NAYY 4x150 SE | 7 | 11 | 0.040572 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_952-2_0_2_line_11 | NAYY 4x150 SE | 8 | 12 | 0.028546 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_952-2_0_2_line_12 | NAYY 4x150 SE | 8 | 13 | 0.0081961 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_952-2_0_2_line_13 | NAYY 4x150 SE | 11 | 14 | 0.029096 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_952-2_0_2_line_14 | NAYY 4x150 SE | 12 | 52 | 0.18033 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_952-2_0_2_line_15 | NAYY 4x150 SE | 14 | 15 | 0.021895 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_952-2_0_2_line_16 | NAYY 4x150 SE | 15 | 48 | 0.056523 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_952-2_0_2_line_17 | NAYY 4x150 SE | 16 | 17 | 0.014446 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_952-2_0_2_line_18 | NAYY 4x150 SE | 16 | 18 | 0.089863 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_952-2_0_2_line_19 | NAYY 4x150 SE | 16 | 19 | 0.19201 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_952-2_0_2_line_20 | NAYY 4x150 SE | 17 | 20 | 0.030137 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_952-2_0_2_line_21 | NAYY 4x150 SE | 18 | 21 | 0.014376 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_952-2_0_2_line_22 | NAYY 4x150 SE | 19 | 23 | 0.045774 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_952-2_0_2_line_23 | NAYY 4x150 SE | 19 | 22 | 0.01756 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_952-2_0_2_line_24 | NAYY 4x150 SE | 20 | 27 | 0.0077094 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_952-2_0_2_line_25 | NAYY 4x150 SE | 21 | 28 | 0.036109 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_952-2_0_2_line_26 | NAYY 4x150 SE | 24 | 25 | 0.42983 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_952-2_0_2_line_27 | NAYY 4x150 SE | 24 | 26 | 0.039954 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_952-2_0_2_line_28 | NAYY 4x150 SE | 25 | 27 | 0.030619 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_952-2_0_2_line_29 | NAYY 4x150 SE | 26 | 53 | 0.032564 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_952-2_0_2_line_30 | NAYY 4x150 SE | 28 | 29 | 0.007092 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_952-2_0_2_line_31 | NAYY 4x150 SE | 28 | 30 | 0.040696 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_952-2_0_2_line_32 | NAYY 4x150 SE | 29 | 56 | 0.056354 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_952-2_0_2_line_33 | NAYY 4x150 SE | 29 | 57 | 0.02257 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_952-2_0_2_line_34 | NAYY 4x150 SE | 30 | 54 | 0.016873 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_952-2_0_2_line_35 | NAYY 4x150 SE | 31 | 32 | 0.026572 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_952-2_0_2_line_36 | NAYY 4x150 SE | 31 | 33 | 0.18319 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_952-2_0_2_line_37 | NAYY 4x150 SE | 32 | 34 | 0.019907 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_952-2_0_2_line_38 | NAYY 4x150 SE | 33 | 35 | 0.16407 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_952-2_0_2_line_39 | NAYY 4x150 SE | 35 | 41 | 0.010276 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_952-2_0_2_line_40 | NAYY 4x150 SE | 36 | 37 | 0.040927 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_952-2_0_2_line_41 | NAYY 4x150 SE | 37 | 38 | 0.014519 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_952-2_0_2_line_42 | NAYY 4x150 SE | 38 | 41 | 0.047766 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_952-2_0_2_line_43 | NAYY 4x150 SE | 39 | 40 | 0.038195 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_952-2_0_2_line_44 | NAYY 4x150 SE | 40 | 46 | 0.041864 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_952-2_0_2_line_45 | NAYY 4x150 SE | 41 | 42 | 0.025223 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_952-2_0_2_line_46 | NAYY 4x150 SE | 42 | 43 | 0.036831 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_952-2_0_2_line_47 | NAYY 4x150 SE | 43 | 44 | 0.024735 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_952-2_0_2_line_48 | NAYY 4x150 SE | 44 | 45 | 0.20416 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_952-2_0_2_line_49 | NAYY 4x150 SE | 45 | 47 | 0.078793 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_952-2_0_2_line_50 | NAYY 4x150 SE | 46 | 48 | 0.22218 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_952-2_0_2_line_51 | NAYY 4x150 SE | 47 | 48 | 0.20458 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_952-2_0_2_line_52 | NAYY 4x150 SE | 47 | 53 | 0.024143 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_952-2_0_2_line_53 | NAYY 4x150 SE | 49 | 50 | 0.0038582 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_952-2_0_2_line_54 | NAYY 4x150 SE | 49 | 51 | 0.050614 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_952-2_0_2_line_55 | NAYY 4x150 SE | 51 | 52 | 0.011382 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_952-2_0_2_line_56 | NAYY 4x150 SE | 54 | 55 | 0.016917 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_952-2_0_2_line_57 | NAYY 4x150 SE | 55 | 58 | 0.0057659 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_952-2_0_2_line_58 | NAYY 4x150 SE | 56 | 59 | 0.014955 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_952-2_0_2_line_59 | NAYY 4x150 SE | 56 | 60 | 0.020573 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_952-2_0_2_line_60 | NAYY 4x150 SE | 58 | 65 | 0.013992 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_952-2_0_2_line_61 | NAYY 4x150 SE | 58 | 64 | 0.030429 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_952-2_0_2_line_62 | NAYY 4x150 SE | 59 | 61 | 0.025746 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_952-2_0_2_line_63 | NAYY 4x150 SE | 62 | 63 | 0.017428 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_952-2_0_2_line_64 | NAYY 4x150 SE | 63 | 64 | 0.0029896 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_952-2_0_2_trafo_76 | 0.25 MVA 20/0.4 kV | 66 | 15 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2623845.3498 | 1215331.0428 | 2623837.2823 | 1215327.0554 | 2623828.6722 | 1215325.6969
1 | 2623845.3498 | 1215331.0428 | 2623846.1716 | 1215331.449
2 | 2623824.7767 | 1215325.0822 | 2623828.6722 | 1215325.6969
3 | 2623846.1716 | 1215331.449 | 2623849.0058 | 1215332.85 | 2623861.2471 | 1215332.5654 | 2623888.0437 | 1215328.6375
4 | 2623803.4652 | 1215333.9579 | 2623810.7771 | 1215332.1304 | 2623824.7767 | 1215325.0822
5 | 2623824.7767 | 1215325.0822 | 2623832.1694 | 1215316.3289 | 2623836.8536 | 1215310.7948
6 | 2623964.1844 | 1215329.5979 | 2623948.3194 | 1215328.4114 | 2623888.7125 | 1215328.5395 | 2623888.0437 | 1215328.6375
7 | 2623803.4652 | 1215333.9579 | 2623802.9615 | 1215336.5129
8 | 2623803.4652 | 1215333.9579 | 2623797.8888 | 1215329.0106 | 2623787.9977 | 1215318.7654 | 2623778.4459 | 1215313.0273
9 | 2623866.251 | 1215298.388 | 2623855.6545 | 1215299.3685 | 2623848.5233 | 1215301.5635 | 2623838.5092 | 1215308.8388 | 2623836.8536 | 1215310.7948
10 | 2623964.1844 | 1215329.5979 | 2623978.6906 | 1215330.6789 | 2624004.3452 | 1215335.0602
11 | 2623802.9615 | 1215336.5129 | 2623807.5922 | 1215350.128 | 2623806.1533 | 1215352.9683 | 2623801.8385 | 1215355.3636 | 2623796.2812 | 1215357.7446
12 | 2623802.9615 | 1215336.5129 | 2623795.0111 | 1215338.5046
13 | 2624032.6189 | 1215341.5796 | 2624022.291 | 1215338.125 | 2624004.3452 | 1215335.0602
14 | 2623796.2812 | 1215357.7446 | 2623757.6733 | 1215533.8903
15 | 2624032.6189 | 1215341.5796 | 2624053.3833 | 1215348.526
16 | 2624053.3833 | 1215348.526 | 2624058.6208 | 1215350.2781 | 2624072.2549 | 1215358.6156 | 2624089.4162 | 1215373.4488 | 2624096.7957 | 1215383.3335
17 | 2624045.5806 | 1214760.5844 | 2624049.1929 | 1214746.5978
18 | 2624071.6708 | 1214659.5919 | 2624062.9613 | 1214693.2983 | 2624060.4002 | 1214703.2047 | 2624049.1929 | 1214746.5978
19 | 2624049.1929 | 1214746.5978 | 2623862.3145 | 1214702.4878
20 | 2624045.5806 | 1214760.5844 | 2624041.2998 | 1214777.1589 | 2624037.2964 | 1214789.5468
21 | 2624071.6708 | 1214659.5919 | 2624077.1016 | 1214651.7871 | 2624079.4738 | 1214647.5366
22 | 2623862.3145 | 1214702.4878 | 2623853.3002 | 1214710.1562 | 2623827.4499 | 1214732.1479
23 | 2623862.3145 | 1214702.4878 | 2623849.4548 | 1214690.5295
24 | 2624037.2964 | 1214789.5468 | 2624035.9248 | 1214793.7912 | 2624034.7691 | 1214796.8276
25 | 2624097.4225 | 1214616.2266 | 2624095.0852 | 1214619.5635 | 2624079.4738 | 1214647.5366
26 | 2624230.25 | 1215200.2415 | 2624021.6846 | 1214824.407
27 | 2624230.25 | 1215200.2415 | 2624230.769 | 1215203.3343 | 2624236.088 | 1215221.1438 | 2624244.9297 | 1215233.4756 | 2624246.8497 | 1215235.8552
28 | 2624021.6846 | 1214824.407 | 2624026.984 | 1214815.2453 | 2624029.4394 | 1214810.8304 | 2624034.7691 | 1214796.8276
29 | 2624265.2386 | 1215262.5801 | 2624258.4384 | 1215250.2178 | 2624246.8497 | 1215235.8552
30 | 2624101.4027 | 1214610.3504 | 2624097.4225 | 1214616.2266
31 | 2624097.4225 | 1214616.2266 | 2624096.1293 | 1214597.9443 | 2624092.1972 | 1214575.9244
32 | 2624101.4027 | 1214610.3504 | 2624110.5779 | 1214596.8019 | 2624121.8222 | 1214578.6258 | 2624128.7086 | 1214565.8352 | 2624131.9919 | 1214563.3248
33 | 2624101.4027 | 1214610.3504 | 2624110.3193 | 1214615.7005 | 2624114.6203 | 1214618.7863 | 2624117.8625 | 1214622.6571 | 2624118.2014 | 1214624.4546
34 | 2624084.948 | 1214560.9781 | 2624087.7663 | 1214564.5137 | 2624090.0059 | 1214568.4472 | 2624091.6215 | 1214572.7006 | 2624092.1972 | 1214575.9244
35 | 2624435.4143 | 1215966.4711 | 2624428.9398 | 1215956.7724 | 2624419.432 | 1215945.2861
36 | 2624469.6599 | 1215769.1205 | 2624419.432 | 1215945.2861
37 | 2624435.4143 | 1215966.4711 | 2624433.0451 | 1215968.4292 | 2624430.341 | 1215970.575 | 2624427.3235 | 1215973.253 | 2624420.177 | 1215979.3273
38 | 2624469.6599 | 1215769.1205 | 2624467.3104 | 1215768.0992 | 2624461.243 | 1215762.7601 | 2624453.8241 | 1215753.7246 | 2624419.2659 | 1215699.0297 | 2624412.8161 | 1215686.9075 | 2624405.1746 | 1215663.5518 | 2624398.8065 | 1215649.9958 | 2624387.4845 | 1215637.2979 | 2624384.1217 | 1215635.2274 | 2624381.3329 | 1215635.176
39 | 2624371.0614 | 1215635.3964 | 2624379.4753 | 1215635.1417 | 2624381.3329 | 1215635.176
40 | 2624355.2643 | 1215695.4516 | 2624352.6681 | 1215703.2936 | 2624344.811 | 1215735.0008
41 | 2624355.2643 | 1215695.4516 | 2624359.8273 | 1215681.6684
42 | 2624371.0614 | 1215635.3964 | 2624370.2024 | 1215643.0973 | 2624368.4443 | 1215653.4294 | 2624365.437 | 1215664.7236 | 2624359.8273 | 1215681.6684
43 | 2624109.4839 | 1215646.1367 | 2624110.2269 | 1215654.1377 | 2624114.1217 | 1215667.3721 | 2624114.7647 | 1215683.7238
44 | 2624109.4839 | 1215646.1367 | 2624108.1459 | 1215631.7276 | 2624103.8018 | 1215615.0338 | 2624100.389 | 1215605.4823
45 | 2624371.0614 | 1215635.3964 | 2624367.1623 | 1215614.0572 | 2624366.1698 | 1215610.6686
46 | 2624355.8172 | 1215575.3221 | 2624366.1698 | 1215610.6686
47 | 2624355.8172 | 1215575.3221 | 2624350.8206 | 1215569.8653 | 2624337.6476 | 1215558.5385
48 | 2624337.6476 | 1215558.5385 | 2624306.6853 | 1215356.7414
49 | 2624306.6853 | 1215356.7414 | 2624305.5633 | 1215354.4244 | 2624275.7868 | 1215284.2624
50 | 2624096.7957 | 1215383.3335 | 2624100.389 | 1215605.4823
51 | 2624096.7957 | 1215383.3335 | 2624275.7868 | 1215284.2624
52 | 2624265.2386 | 1215262.5801 | 2624271.1317 | 1215273.2936 | 2624275.7868 | 1215284.2624
53 | 2623792.6776 | 1215539.1989 | 2623794.9187 | 1215542.3394
54 | 2623754.645 | 1215544.8619 | 2623760.9694 | 1215546.8882 | 2623773.6845 | 1215551.4636 | 2623793.7996 | 1215551.0657 | 2623797.125 | 1215545.4313 | 2623794.9187 | 1215542.3394
55 | 2623754.645 | 1215544.8619 | 2623757.6733 | 1215533.8903
56 | 2624084.948 | 1214560.9781 | 2624081.74 | 1214558.0302 | 2624070.9136 | 1214551.6623
57 | 2624065.9436 | 1214548.739 | 2624070.9136 | 1214551.6623
58 | 2624127.4677 | 1214549.6765 | 2624127.8621 | 1214557.3158 | 2624128.5125 | 1214557.9966 | 2624131.9919 | 1214563.3248
59 | 2624131.9919 | 1214563.3248 | 2624134.6657 | 1214561.2789 | 2624141.3239 | 1214557.9706 | 2624151.0092 | 1214556.6765
60 | 2624065.9436 | 1214548.739 | 2624064.9219 | 1214545.9889 | 2624064.4204 | 1214542.2736 | 2624064.6096 | 1214540.5623 | 2624065.0568 | 1214538.8965 | 2624066.6177 | 1214535.99 | 2624067.0125 | 1214535.5882
61 | 2624065.9436 | 1214548.739 | 2624061.8592 | 1214546.5435 | 2624056.5883 | 1214544.7991 | 2624036.4206 | 1214542.2943
62 | 2624127.4677 | 1214549.6765 | 2624129.3352 | 1214547.9609 | 2624132.4774 | 1214533.3764 | 2624134.4409 | 1214525.3217
63 | 2624016.8255 | 1214536.5558 | 2624033.5515 | 1214541.4541
64 | 2624036.4206 | 1214542.2943 | 2624033.5515 | 1214541.4541

## bus_geodata
| x | y | coords
0 | 2623845.3498 | 1215331.0428
1 | 2623828.6722 | 1215325.6969
2 | 2623846.1716 | 1215331.449
3 | 2623824.7767 | 1215325.0822
4 | 2623888.0437 | 1215328.6375
5 | 2623803.4652 | 1215333.9579
6 | 2623836.8536 | 1215310.7948
7 | 2623964.1844 | 1215329.5979
8 | 2623802.9615 | 1215336.5129
9 | 2623778.4459 | 1215313.0273
10 | 2623866.251 | 1215298.388
11 | 2624004.3452 | 1215335.0602
12 | 2623796.2812 | 1215357.7446
13 | 2623795.0111 | 1215338.5046
14 | 2624032.6189 | 1215341.5796
15 | 2624053.3833 | 1215348.526
16 | 2624049.1929 | 1214746.5978
17 | 2624045.5806 | 1214760.5844
18 | 2624071.6708 | 1214659.5919
19 | 2623862.3145 | 1214702.4878
20 | 2624037.2964 | 1214789.5468
21 | 2624079.4738 | 1214647.5366
22 | 2623849.4548 | 1214690.5295
23 | 2623827.4499 | 1214732.1479
24 | 2624230.25 | 1215200.2415
25 | 2624021.6846 | 1214824.407
26 | 2624246.8497 | 1215235.8552
27 | 2624034.7691 | 1214796.8276
28 | 2624097.4225 | 1214616.2266
29 | 2624101.4027 | 1214610.3504
30 | 2624092.1972 | 1214575.9244
31 | 2624419.432 | 1215945.2861
32 | 2624435.4143 | 1215966.4711
33 | 2624469.6599 | 1215769.1205
34 | 2624420.177 | 1215979.3273
35 | 2624381.3329 | 1215635.176
36 | 2624344.811 | 1215735.0008
37 | 2624355.2643 | 1215695.4516
38 | 2624359.8273 | 1215681.6684
39 | 2624114.7647 | 1215683.7238
40 | 2624109.4839 | 1215646.1367
41 | 2624371.0614 | 1215635.3964
42 | 2624366.1698 | 1215610.6686
43 | 2624355.8172 | 1215575.3221
44 | 2624337.6476 | 1215558.5385
45 | 2624306.6853 | 1215356.7414
46 | 2624100.389 | 1215605.4823
47 | 2624275.7868 | 1215284.2624
48 | 2624096.7957 | 1215383.3335
49 | 2623794.9187 | 1215542.3394
50 | 2623792.6776 | 1215539.1989
51 | 2623754.645 | 1215544.8619
52 | 2623757.6733 | 1215533.8903
53 | 2624265.2386 | 1215262.5801
54 | 2624084.948 | 1214560.9781
55 | 2624070.9136 | 1214551.6623
56 | 2624131.9919 | 1214563.3248
57 | 2624118.2014 | 1214624.4546
58 | 2624065.9436 | 1214548.739
59 | 2624127.4677 | 1214549.6765
60 | 2624151.0092 | 1214556.6765
61 | 2624134.4409 | 1214525.3217
62 | 2624016.8255 | 1214536.5558
63 | 2624033.5515 | 1214541.4541
64 | 2624036.4206 | 1214542.2943
65 | 2624067.0125 | 1214535.5882
66 | 2624053.3833 | 1215348.526

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1