## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_952-4_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_952-4_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_952-4_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_952-4_0_3_node_40 | 0.4 | n |  | TRUE
4 | bus_LV_952-4_0_3_node_21 | 0.4 | n |  | TRUE
5 | bus_LV_952-4_0_3_node_75 | 0.4 | n |  | TRUE
6 | bus_LV_952-4_0_3_node_87 | 0.4 | n |  | TRUE
7 | bus_LV_952-4_0_3_node_23 | 0.4 | n |  | TRUE
8 | bus_LV_952-4_0_3_node_19 | 0.4 | n |  | TRUE
9 | bus_LV_952-4_0_3_node_3 | 0.4 | n |  | TRUE
10 | bus_LV_952-4_0_3_node_4 | 0.4 | n |  | TRUE
11 | bus_LV_952-4_0_3_node_5 | 0.4 | n |  | TRUE
12 | bus_LV_952-4_0_3_node_6 | 0.4 | n |  | TRUE
13 | bus_LV_952-4_0_3_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_952-4_0_3_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_952-4_0_3_node_16 | 0.4 | n |  | TRUE
16 | bus_LV_952-4_0_3_node_65 | 0.4 | n |  | TRUE
17 | bus_LV_952-4_0_3_node_64 | 0.4 | n |  | TRUE
18 | bus_LV_952-4_0_3_node_82 | 0.4 | n |  | TRUE
19 | bus_LV_952-4_0_3_node_9 | 0.4 | n |  | TRUE
20 | bus_LV_952-4_0_3_node_76 | 0.4 | n |  | TRUE
21 | bus_LV_952-4_0_3_node_74 | 0.4 | n |  | TRUE
22 | bus_LV_952-4_0_3_node_10 | 0.4 | n |  | TRUE
23 | bus_LV_952-4_0_3_node_69 | 0.4 | n |  | TRUE
24 | bus_LV_952-4_0_3_node_70 | 0.4 | n |  | TRUE
25 | bus_LV_952-4_0_3_node_66 | 0.4 | n |  | TRUE
26 | bus_LV_952-4_0_3_node_81 | 0.4 | n |  | TRUE
27 | bus_LV_952-4_0_3_node_34 | 0.4 | n |  | TRUE
28 | bus_LV_952-4_0_3_node_77 | 0.4 | n |  | TRUE
29 | bus_LV_952-4_0_3_node_67 | 0.4 | n |  | TRUE
30 | bus_LV_952-4_0_3_node_11 | 0.4 | n |  | TRUE
31 | bus_LV_952-4_0_3_node_12 | 0.4 | n |  | TRUE
32 | bus_LV_952-4_0_3_node_13 | 0.4 | n |  | TRUE
33 | bus_LV_952-4_0_3_node_14 | 0.4 | n |  | TRUE
34 | bus_LV_952-4_0_3_node_15 | 0.4 | n |  | TRUE
35 | bus_LV_952-4_0_3_node_36 | 0.4 | n |  | TRUE
36 | bus_LV_952-4_0_3_node_56 | 0.4 | n |  | TRUE
37 | bus_LV_952-4_0_3_node_35 | 0.4 | n |  | TRUE
38 | bus_LV_952-4_0_3_node_57 | 0.4 | n |  | TRUE
39 | bus_LV_952-4_0_3_node_79 | 0.4 | n |  | TRUE
40 | bus_LV_952-4_0_3_node_17 | 0.4 | n |  | TRUE
41 | bus_LV_952-4_0_3_node_18 | 0.4 | n |  | TRUE
42 | bus_LV_952-4_0_3_node_20 | 0.4 | n |  | TRUE
43 | bus_LV_952-4_0_3_node_26 | 0.4 | n |  | TRUE
44 | bus_LV_952-4_0_3_node_27 | 0.4 | n |  | TRUE
45 | bus_LV_952-4_0_3_node_49 | 0.4 | n |  | TRUE
46 | bus_LV_952-4_0_3_node_22 | 0.4 | n |  | TRUE
47 | bus_LV_952-4_0_3_node_24 | 0.4 | n |  | TRUE
48 | bus_LV_952-4_0_3_node_25 | 0.4 | n |  | TRUE
49 | bus_LV_952-4_0_3_node_47 | 0.4 | n |  | TRUE
50 | bus_LV_952-4_0_3_node_28 | 0.4 | n |  | TRUE
51 | bus_LV_952-4_0_3_node_29 | 0.4 | n |  | TRUE
52 | bus_LV_952-4_0_3_node_30 | 0.4 | n |  | TRUE
53 | bus_LV_952-4_0_3_node_31 | 0.4 | n |  | TRUE
54 | bus_LV_952-4_0_3_node_32 | 0.4 | n |  | TRUE
55 | bus_LV_952-4_0_3_node_33 | 0.4 | n |  | TRUE
56 | bus_LV_952-4_0_3_node_38 | 0.4 | n |  | TRUE
57 | bus_LV_952-4_0_3_node_41 | 0.4 | n |  | TRUE
58 | bus_LV_952-4_0_3_node_37 | 0.4 | n |  | TRUE
59 | bus_LV_952-4_0_3_node_88 | 0.4 | n |  | TRUE
60 | bus_LV_952-4_0_3_node_68 | 0.4 | n |  | TRUE
61 | bus_LV_952-4_0_3_node_71 | 0.4 | n |  | TRUE
62 | bus_LV_952-4_0_3_node_39 | 0.4 | n |  | TRUE
63 | bus_LV_952-4_0_3_node_89 | 0.4 | n |  | TRUE
64 | bus_LV_952-4_0_3_node_72 | 0.4 | n |  | TRUE
65 | bus_LV_952-4_0_3_node_85 | 0.4 | n |  | TRUE
66 | bus_LV_952-4_0_3_node_86 | 0.4 | n |  | TRUE
67 | bus_LV_952-4_0_3_node_43 | 0.4 | n |  | TRUE
68 | bus_LV_952-4_0_3_node_44 | 0.4 | n |  | TRUE
69 | bus_LV_952-4_0_3_node_61 | 0.4 | n |  | TRUE
70 | bus_LV_952-4_0_3_node_60 | 0.4 | n |  | TRUE
71 | bus_LV_952-4_0_3_node_73 | 0.4 | n |  | TRUE
72 | bus_LV_952-4_0_3_node_46 | 0.4 | n |  | TRUE
73 | bus_LV_952-4_0_3_node_50 | 0.4 | n |  | TRUE
74 | bus_LV_952-4_0_3_node_51 | 0.4 | n |  | TRUE
75 | bus_LV_952-4_0_3_node_52 | 0.4 | n |  | TRUE
76 | bus_LV_952-4_0_3_node_54 | 0.4 | n |  | TRUE
77 | bus_LV_952-4_0_3_node_55 | 0.4 | n |  | TRUE
78 | bus_LV_952-4_0_3_node_59 | 0.4 | n |  | TRUE
79 | bus_LV_952-4_0_3_node_63 | 0.4 | n |  | TRUE
80 | bus_LV_952-4_0_3_node_62 | 0.4 | n |  | TRUE
81 | bus_LV_952-4_0_3_node_58 | 0.4 | n |  | TRUE
82 | bus_LV_952-4_0_3_node_78 | 0.4 | n |  | TRUE
83 | bus_LV_952-4_0_3_node_83 | 0.4 | n |  | TRUE
84 | bus_LV_952-4_0_3_node_84 | 0.4 | n |  | TRUE
85 | bus_MV_129_1_node_75 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_952-4_0_3_load_0 | 0 | 0.00067582 | 0.00016938 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_952-4_0_3_load_1 | 1 | 0.00083892 | 0.00021025 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_952-4_0_3_load_87 | 6 | 0.00097232 | 0.00024369 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_952-4_0_3_load_23 | 7 | 0.0021205 | 0.00053144 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_952-4_0_3_load_19 | 8 | 0.0027697 | 0.00069415 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_952-4_0_3_load_3 | 9 | 0.0033431 | 0.00083785 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_952-4_0_3_load_4 | 10 | 0.0022285 | 0.00055853 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_952-4_0_3_load_6 | 12 | 0.0014548 | 0.0003646 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_952-4_0_3_load_8 | 14 | 0.004315 | 0.0010814 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_952-4_0_3_load_65 | 16 | 0.0023927 | 0.00059968 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_952-4_0_3_load_64 | 17 | 0.0015612 | 0.00039128 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_952-4_0_3_load_82 | 18 | 0.0025603 | 0.00064168 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_952-4_0_3_load_76 | 20 | 0.00095866 | 0.00024026 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_952-4_0_3_load_74 | 21 | 0.00099588 | 0.00024959 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_952-4_0_3_load_70 | 24 | 0.0020666 | 0.00051793 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_952-4_0_3_load_66 | 25 | 0.021208 | 0.0053153 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_952-4_0_3_load_81 | 26 | 0.00096414 | 0.00024164 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_952-4_0_3_load_34 | 27 | 0.0055004 | 0.0013785 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_952-4_0_3_load_77 | 28 | 0.0031408 | 0.00078716 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_952-4_0_3_load_67 | 29 | 0.0017305 | 0.00043371 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_952-4_0_3_load_11 | 30 | 0.0023722 | 0.00059454 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_952-4_0_3_load_12 | 31 | 0.00047908 | 0.00012007 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_952-4_0_3_load_15 | 34 | 0.0026482 | 0.00066371 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_952-4_0_3_load_36 | 35 | 0.00059869 | 0.00015004 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_952-4_0_3_load_56 | 36 | 0.0015265 | 0.00038257 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_952-4_0_3_load_35 | 37 | 0.0011857 | 0.00029717 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_952-4_0_3_load_57 | 38 | 0.00063743 | 0.00015976 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_952-4_0_3_load_79 | 39 | 0.0019125 | 0.00047933 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_952-4_0_3_load_17 | 40 | 0.004001 | 0.0010027 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_952-4_0_3_load_18 | 41 | 0.00069176 | 0.00017337 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_952-4_0_3_load_27 | 44 | 0.00067742 | 0.00016978 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_952-4_0_3_load_49 | 45 | 0.0023559 | 0.00059044 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_952-4_0_3_load_22 | 46 | 0.0011762 | 0.00029479 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_952-4_0_3_load_25 | 48 | 0.0010073 | 0.00025244 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_952-4_0_3_load_47 | 49 | 0.00094729 | 0.00023741 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_952-4_0_3_load_28 | 50 | 0.0029342 | 0.00073539 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_952-4_0_3_load_32 | 54 | 0.00097339 | 0.00024395 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_952-4_0_3_load_41 | 57 | 0.001122 | 0.0002812 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_952-4_0_3_load_88 | 59 | 0.0044497 | 0.0011152 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_952-4_0_3_load_68 | 60 | 0.0011128 | 0.00027889 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_952-4_0_3_load_71 | 61 | 0.00070738 | 0.00017729 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_952-4_0_3_load_39 | 62 | 0.0021295 | 0.00053369 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_952-4_0_3_load_89 | 63 | 0.023126 | 0.0057959 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_952-4_0_3_load_72 | 64 | 0.00053514 | 0.00013412 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_952-4_0_3_load_85 | 65 | 0.0032431 | 0.00081279 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_952-4_0_3_load_86 | 66 | 0.0057875 | 0.0014505 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_952-4_0_3_load_43 | 67 | 0.00040109 | 0.00010052 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_952-4_0_3_load_73 | 71 | 0.0011509 | 0.00028844 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_952-4_0_3_load_46 | 72 | 0.0010038 | 0.00025158 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_952-4_0_3_load_50 | 73 | 0.0055106 | 0.0013811 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_952-4_0_3_load_54 | 76 | 0.009437 | 0.0023651 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_952-4_0_3_load_59 | 78 | 0.0037232 | 0.00093313 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_952-4_0_3_load_63 | 79 | 0.0024363 | 0.00061059 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_952-4_0_3_load_62 | 80 | 0.0021846 | 0.00054751 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_952-4_0_3_load_58 | 81 | 0.007381 | 0.0018499 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_952-4_0_3_load_78 | 82 | 0.009253 | 0.002319 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_952-4_0_3_load_83 | 83 | 0.0004716 | 0.00011819 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_952-4_0_3_load_84 | 84 | 0.0024679 | 0.00061851 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 24 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_952-4_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0061687 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_952-4_0_3_line_1 | NAYY 4x150 SE | 1 | 2 | 0.015459 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_952-4_0_3_line_2 | NAYY 4x150 SE | 2 | 3 | 0.085967 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_952-4_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.011607 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_952-4_0_3_line_4 | NAYY 4x150 SE | 3 | 5 | 0.032799 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_952-4_0_3_line_5 | NAYY 4x150 SE | 3 | 6 | 0.024021 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_952-4_0_3_line_6 | NAYY 4x150 SE | 4 | 7 | 0.057461 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_952-4_0_3_line_7 | NAYY 4x150 SE | 4 | 8 | 0.010657 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_952-4_0_3_line_8 | NAYY 4x150 SE | 5 | 65 | 0.021811 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_952-4_0_3_line_9 | NAYY 4x150 SE | 5 | 23 | 0.070316 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_952-4_0_3_line_10 | NAYY 4x150 SE | 6 | 66 | 0.01948 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_952-4_0_3_line_11 | NAYY 4x150 SE | 7 | 46 | 0.013719 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_952-4_0_3_line_12 | NAYY 4x150 SE | 8 | 40 | 0.017944 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_952-4_0_3_line_13 | NAYY 4x150 SE | 9 | 10 | 0.018435 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_952-4_0_3_line_14 | NAYY 4x150 SE | 9 | 11 | 0.014896 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_952-4_0_3_line_15 | NAYY 4x150 SE | 10 | 12 | 0.010678 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_952-4_0_3_line_16 | NAYY 4x150 SE | 11 | 13 | 0.006425 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
17 | LV_952-4_0_3_line_17 | NAYY 4x150 SE | 11 | 14 | 0.029016 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_952-4_0_3_line_18 | NAYY 4x150 SE | 12 | 15 | 0.067525 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_952-4_0_3_line_19 | NAYY 4x150 SE | 13 | 16 | 0.01123 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
20 | LV_952-4_0_3_line_20 | NAYY 4x150 SE | 13 | 17 | 0.017003 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_952-4_0_3_line_21 | NAYY 4x150 SE | 14 | 18 | 0.0034995 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_952-4_0_3_line_22 | NAYY 4x150 SE | 15 | 26 | 0.010884 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_952-4_0_3_line_23 | NAYY 4x150 SE | 16 | 24 | 0.0062365 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
24 | LV_952-4_0_3_line_24 | NAYY 4x150 SE | 18 | 27 | 0.020168 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_952-4_0_3_line_25 | NAYY 4x150 SE | 19 | 20 | 0.014343 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_952-4_0_3_line_26 | NAYY 4x150 SE | 19 | 21 | 0.013961 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_952-4_0_3_line_27 | NAYY 4x150 SE | 20 | 28 | 0.03011 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_952-4_0_3_line_28 | NAYY 4x150 SE | 21 | 23 | 0.048189 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_952-4_0_3_line_29 | NAYY 4x150 SE | 22 | 23 | 0.040473 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_952-4_0_3_line_30 | NAYY 4x150 SE | 22 | 24 | 0.029305 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_952-4_0_3_line_31 | NAYY 4x150 SE | 22 | 25 | 0.016699 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_952-4_0_3_line_32 | NAYY 4x150 SE | 25 | 29 | 0.010911 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_952-4_0_3_line_33 | NAYY 4x150 SE | 26 | 39 | 0.012965 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_952-4_0_3_line_34 | NAYY 4x150 SE | 27 | 52 | 0.017078 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_952-4_0_3_line_35 | NAYY 4x150 SE | 30 | 31 | 0.013277 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_952-4_0_3_line_36 | NAYY 4x150 SE | 30 | 32 | 0.026476 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_952-4_0_3_line_37 | NAYY 4x150 SE | 31 | 33 | 0.020042 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_952-4_0_3_line_38 | NAYY 4x150 SE | 32 | 34 | 0.027294 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_952-4_0_3_line_39 | NAYY 4x150 SE | 33 | 35 | 0.0027794 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_952-4_0_3_line_40 | NAYY 4x150 SE | 33 | 36 | 0.017831 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_952-4_0_3_line_41 | NAYY 4x150 SE | 35 | 37 | 0.011875 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_952-4_0_3_line_42 | NAYY 4x150 SE | 36 | 38 | 0.021393 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_952-4_0_3_line_43 | NAYY 4x150 SE | 37 | 58 | 0.0035064 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_952-4_0_3_line_44 | NAYY 4x150 SE | 38 | 81 | 0.00028996 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_952-4_0_3_line_45 | NAYY 4x150 SE | 39 | 82 | 0.00033428 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_952-4_0_3_line_46 | NAYY 4x150 SE | 40 | 41 | 0.051375 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_952-4_0_3_line_47 | NAYY 4x150 SE | 41 | 42 | 0.12752 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_952-4_0_3_line_48 | NAYY 4x150 SE | 42 | 43 | 0.027812 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_952-4_0_3_line_49 | NAYY 4x150 SE | 42 | 44 | 0.03144 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_952-4_0_3_line_50 | NAYY 4x150 SE | 43 | 45 | 0.016742 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_952-4_0_3_line_51 | NAYY 4x150 SE | 45 | 49 | 0.025134 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_952-4_0_3_line_52 | NAYY 4x150 SE | 46 | 47 | 0.025904 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_952-4_0_3_line_53 | NAYY 4x150 SE | 47 | 48 | 0.02061 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_952-4_0_3_line_54 | NAYY 4x150 SE | 49 | 72 | 0.021953 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_952-4_0_3_line_55 | NAYY 4x150 SE | 50 | 51 | 0.016419 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_952-4_0_3_line_56 | NAYY 4x150 SE | 50 | 52 | 0.010701 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_952-4_0_3_line_57 | NAYY 4x150 SE | 51 | 53 | 0.022654 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_952-4_0_3_line_58 | NAYY 4x150 SE | 51 | 54 | 0.025907 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_952-4_0_3_line_59 | NAYY 4x150 SE | 52 | 55 | 0.024881 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_952-4_0_3_line_60 | NAYY 4x150 SE | 53 | 56 | 0.009664 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_952-4_0_3_line_61 | NAYY 4x150 SE | 53 | 57 | 0.027943 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_952-4_0_3_line_62 | NAYY 4x150 SE | 54 | 58 | 0.012867 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_952-4_0_3_line_63 | NAYY 4x150 SE | 55 | 59 | 0.024402 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_952-4_0_3_line_64 | NAYY 4x150 SE | 55 | 60 | 0.018258 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_952-4_0_3_line_65 | NAYY 4x150 SE | 56 | 61 | 0.009359 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_952-4_0_3_line_66 | NAYY 4x150 SE | 58 | 62 | 0.024394 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_952-4_0_3_line_67 | NAYY 4x150 SE | 59 | 63 | 0.019296 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_952-4_0_3_line_68 | NAYY 4x150 SE | 61 | 64 | 0.0083752 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_952-4_0_3_line_69 | NAYY 4x150 SE | 63 | 69 | 0.017239 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_952-4_0_3_line_70 | NAYY 4x150 SE | 64 | 71 | 0.022557 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_952-4_0_3_line_71 | NAYY 4x150 SE | 66 | 84 | 0.026987 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_952-4_0_3_line_72 | NAYY 4x150 SE | 67 | 68 | 0.022369 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_952-4_0_3_line_73 | NAYY 4x150 SE | 68 | 69 | 0.001937 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_952-4_0_3_line_74 | NAYY 4x150 SE | 69 | 70 | 0.030699 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_952-4_0_3_line_75 | NAYY 4x150 SE | 70 | 78 | 0.032594 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_952-4_0_3_line_76 | NAYY 4x150 SE | 73 | 74 | 0.019903 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_952-4_0_3_line_77 | NAYY 4x150 SE | 73 | 75 | 0.03267 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_952-4_0_3_line_78 | NAYY 4x150 SE | 74 | 76 | 0.016254 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_952-4_0_3_line_79 | NAYY 4x150 SE | 75 | 77 | 0.029483 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_952-4_0_3_line_80 | NAYY 4x150 SE | 76 | 78 | 0.01948 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_952-4_0_3_line_81 | NAYY 4x150 SE | 77 | 79 | 0.015398 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_952-4_0_3_line_82 | NAYY 4x150 SE | 79 | 80 | 0.0056987 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_952-4_0_3_line_83 | NAYY 4x150 SE | 83 | 84 | 0.0036531 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_952-4_0_3_trafo_70 | 0.25 MVA 20/0.4 kV | 85 | 24 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17
0 | 2626771.1977 | 1215713.2059 | 2626773.9521 | 1215713.4952 | 2626777.2904 | 1215714.1354
1 | 2626792.2533 | 1215717.9576 | 2626782.7369 | 1215715.18 | 2626777.2904 | 1215714.1354
2 | 2626812.9646 | 1215638.8718 | 2626810.2548 | 1215640.3605 | 2626806.2315 | 1215643.5554 | 2626802.7081 | 1215647.0082 | 2626800.651 | 1215650.2786 | 2626798.7638 | 1215654.5837 | 2626798.2435 | 1215657.1718 | 2626797.5265 | 1215659.5811 | 2626797.0246 | 1215661.4465 | 2626795.3865 | 1215667.7762 | 2626793.2566 | 1215677.1164 | 2626792.932 | 1215680.0722 | 2626792.8669 | 1215682.7512 | 2626793.4387 | 1215688.9796 | 2626794.0105 | 1215696.9312 | 2626794.1521 | 1215702.5795 | 2626793.8418 | 1215709.1374 | 2626792.2533 | 1215717.9576
3 | 2626787.5497 | 1215725.5408 | 2626791.1548 | 1215725.8683 | 2626792.2533 | 1215717.9576
4 | 2626812.9646 | 1215638.8718 | 2626818.5307 | 1215610.0024 | 2626819.0469 | 1215606.6473
5 | 2626812.9646 | 1215638.8718 | 2626816.1424 | 1215637.9633 | 2626820.8078 | 1215637.2061 | 2626836.7561 | 1215636.0617
6 | 2626787.5497 | 1215725.5408 | 2626730.3209 | 1215720.3823
7 | 2626787.5497 | 1215725.5408 | 2626785.4358 | 1215729.6337 | 2626782.5624 | 1215734.9589
8 | 2626819.0469 | 1215606.6473 | 2626840.8518 | 1215607.1503
9 | 2626819.0469 | 1215606.6473 | 2626819.5226 | 1215603.87 | 2626822.009 | 1215592.9416 | 2626823.4677 | 1215584.2987 | 2626824.4408 | 1215575.5648 | 2626824.5465 | 1215567.2716 | 2626824.2073 | 1215559.9436 | 2626822.5436 | 1215546.6174 | 2626819.7227 | 1215537.3661
10 | 2626836.7561 | 1215636.0617 | 2626856.1858 | 1215634.6675
11 | 2626730.3209 | 1215720.3823 | 2626716.6571 | 1215719.1507
12 | 2626774.0416 | 1215750.7507 | 2626782.5624 | 1215734.9589
13 | 2626862.5214 | 1215486.0983 | 2626867.3327 | 1215486.2285 | 2626880.949 | 1215486.6279
14 | 2626847.6313 | 1215485.6952 | 2626862.5214 | 1215486.0983
15 | 2626891.4978 | 1215485.3034 | 2626888.5864 | 1215486.0352 | 2626885.5397 | 1215486.4661 | 2626882.5547 | 1215486.675 | 2626880.949 | 1215486.6279
16 | 2626847.6313 | 1215485.6952 | 2626843.9355 | 1215485.2561 | 2626841.3116 | 1215484.5328
17 | 2626847.6313 | 1215485.6952 | 2626850.0405 | 1215456.7793
18 | 2626956.6597 | 1215468.7766 | 2626949.7616 | 1215469.5681 | 2626938.9435 | 1215470.8311 | 2626932.3777 | 1215472.0244 | 2626927.0418 | 1215473.2789 | 2626919.5377 | 1215475.4352 | 2626898.1288 | 1215483.1098 | 2626891.4978 | 1215485.3034 | 2626891.4978 | 1215485.3034
19 | 2626841.3116 | 1215484.5328 | 2626830.1 | 1215483.8919
20 | 2626841.3116 | 1215484.5328 | 2626840.2141 | 1215483.7607 | 2626839.3149 | 1215482.7895 | 2626838.4942 | 1215481.2293 | 2626837.0862 | 1215476.8983 | 2626834.8661 | 1215472.4969 | 2626833.1921 | 1215469.899
21 | 2626850.3311 | 1215453.2918 | 2626850.0405 | 1215456.7793
22 | 2626956.6597 | 1215468.7766 | 2626956.0771 | 1215479.6449
23 | 2626823.9551 | 1215484.2769 | 2626823.9551 | 1215484.2769 | 2626825.3925 | 1215483.7719 | 2626827.1694 | 1215483.7243 | 2626830.1 | 1215483.8919
24 | 2626850.3311 | 1215453.2918 | 2626850.6813 | 1215449.0879 | 2626851.3067 | 1215433.1511
25 | 2626868.1522 | 1215525.1657 | 2626881.8269 | 1215529.4929
26 | 2626868.1522 | 1215525.1657 | 2626866.2514 | 1215530.7937 | 2626863.5816 | 1215538.3573
27 | 2626910.5399 | 1215538.5559 | 2626908.8531 | 1215538.0452 | 2626881.8269 | 1215529.4929
28 | 2626819.7227 | 1215537.3661 | 2626827.6645 | 1215539.1472 | 2626845.4247 | 1215544.1188 | 2626852.7162 | 1215545.2967 | 2626856.3005 | 1215545.2016 | 2626859.2122 | 1215544.4032 | 2626860.9574 | 1215542.9769 | 2626862.9212 | 1215540.2286 | 2626863.5816 | 1215538.3573
29 | 2626800.6711 | 1215502.0492 | 2626802.8627 | 1215509.4411 | 2626803.7859 | 1215511.8132 | 2626807.7702 | 1215517.3454 | 2626815.2331 | 1215527.6959 | 2626819.7227 | 1215537.3661
30 | 2626800.6711 | 1215502.0492 | 2626803.1021 | 1215500.0812 | 2626809.5645 | 1215494.8294 | 2626822.0726 | 1215485.836 | 2626823.9551 | 1215484.2769
31 | 2626800.6711 | 1215502.0492 | 2626802.2435 | 1215485.4244
32 | 2626802.2435 | 1215485.4244 | 2626802.377 | 1215484.0132 | 2626802.8437 | 1215474.5315
33 | 2626955.3615 | 1215492.59 | 2626955.872 | 1215483.4703 | 2626956.0771 | 1215479.6449
34 | 2626851.9763 | 1215416.0859 | 2626851.3067 | 1215433.1511
35 | 2626924.7419 | 1215386.7516 | 2626922.2526 | 1215385.2846 | 2626917.5534 | 1215381.7058 | 2626914.2677 | 1215378.6589
36 | 2626948.1058 | 1215399.0424 | 2626945.9568 | 1215397.4095 | 2626943.2086 | 1215395.6072 | 2626926.91 | 1215388.0294 | 2626924.7419 | 1215386.7516
37 | 2626902.9334 | 1215362.2065 | 2626910.6227 | 1215374.5705 | 2626913.6139 | 1215378.0526 | 2626914.2677 | 1215378.6589
38 | 2626948.1058 | 1215399.0424 | 2626952.9723 | 1215395.8403 | 2626961.6431 | 1215390.9099 | 2626971.4122 | 1215384.8532
39 | 2626902.9334 | 1215362.2065 | 2626900.3028 | 1215363.1039
40 | 2626902.9334 | 1215362.2065 | 2626908.3253 | 1215360.3631 | 2626918.1841 | 1215354.6709 | 2626918.8769 | 1215354.3881
41 | 2626900.3028 | 1215363.1039 | 2626897.4655 | 1215364.0718 | 2626888.733 | 1215365.6662
42 | 2626918.8769 | 1215354.3881 | 2626938.6832 | 1215346.3026
43 | 2626885.2837 | 1215366.296 | 2626888.733 | 1215365.6662
44 | 2626938.6832 | 1215346.3026 | 2626938.9517 | 1215346.193
45 | 2626955.3428 | 1215492.9237 | 2626955.3615 | 1215492.59
46 | 2626774.0416 | 1215750.7507 | 2626772.2286 | 1215754.1108 | 2626769.7989 | 1215757.5018 | 2626767.747 | 1215759.6161 | 2626764.6487 | 1215761.4254 | 2626758.1524 | 1215764.1423 | 2626748.3604 | 1215766.9668 | 2626729.9435 | 1215773.7257
47 | 2626623.5152 | 1215841.7408 | 2626626.2611 | 1215838.918 | 2626632.299 | 1215833.3973 | 2626662.7466 | 1215810.9759 | 2626677.0745 | 1215798.9329 | 2626683.192 | 1215794.3243 | 2626695.7675 | 1215787.043 | 2626703.7392 | 1215783.7656 | 2626720.6473 | 1215777.1374 | 2626729.9435 | 1215773.7257
48 | 2626623.5152 | 1215841.7408 | 2626621.2303 | 1215845.0547 | 2626615.3286 | 1215859.1809 | 2626613.0448 | 1215867.3532
49 | 2626592.7581 | 1215834.8664 | 2626615.53 | 1215839.5595 | 2626623.5152 | 1215841.7408
50 | 2626613.0448 | 1215867.3532 | 2626628.9112 | 1215872.6971
51 | 2626628.9112 | 1215872.6971 | 2626637.13 | 1215875.4653 | 2626653.4673 | 1215877.4813
52 | 2626690.8578 | 1215716.8252 | 2626716.6571 | 1215719.1507
53 | 2626690.8578 | 1215716.8252 | 2626688.345 | 1215696.3688
54 | 2626674.08 | 1215884.8889 | 2626670.6215 | 1215883.7417 | 2626659.0191 | 1215878.876 | 2626653.8622 | 1215877.53 | 2626653.4673 | 1215877.4813
55 | 2626853.9127 | 1215389.0457 | 2626852.828 | 1215398.9243 | 2626852.5068 | 1215405.3978
56 | 2626851.9763 | 1215416.0859 | 2626852.5068 | 1215405.3978
57 | 2626853.9127 | 1215389.0457 | 2626855.9429 | 1215366.4864
58 | 2626853.9127 | 1215389.0457 | 2626869.9675 | 1215376.5886 | 2626874.6039 | 1215373.4729
59 | 2626851.9763 | 1215416.0859 | 2626838.6459 | 1215427.2324 | 2626835.7977 | 1215429.0984 | 2626834.0176 | 1215429.8353 | 2626831.8071 | 1215430.0366
60 | 2626855.9429 | 1215366.4864 | 2626857.0339 | 1215356.8858
61 | 2626855.9429 | 1215366.4864 | 2626829.5286 | 1215357.3718
62 | 2626885.2837 | 1215366.296 | 2626874.6039 | 1215373.4729
63 | 2626831.8071 | 1215430.0366 | 2626829.8492 | 1215429.7832 | 2626827.6812 | 1215428.9841 | 2626810.5735 | 1215418.4007
64 | 2626831.8071 | 1215430.0366 | 2626819.5131 | 1215443.5354
65 | 2626857.0339 | 1215356.8858 | 2626857.7615 | 1215350.4298 | 2626858.1103 | 1215347.589
66 | 2626885.2837 | 1215366.296 | 2626887.1452 | 1215341.9729
67 | 2626794.429 | 1215407.8517 | 2626800.0205 | 1215411.8723 | 2626810.5735 | 1215418.4007
68 | 2626858.1103 | 1215347.589 | 2626859.131 | 1215339.2762
69 | 2626780.4328 | 1215397.7875 | 2626794.429 | 1215407.8517
70 | 2626859.131 | 1215339.2762 | 2626861.8799 | 1215316.8874
71 | 2626881.2259 | 1215628.3059 | 2626880.4535 | 1215629.5254 | 2626878.0667 | 1215631.8159 | 2626876.9096 | 1215632.4778 | 2626873.7316 | 1215633.4084 | 2626856.1858 | 1215634.6675
72 | 2626781.5485 | 1215396.2027 | 2626785.4071 | 1215390.8392 | 2626787.9556 | 1215386.3814 | 2626792.2867 | 1215376.6777
73 | 2626781.5485 | 1215396.2027 | 2626780.4328 | 1215397.7875
74 | 2626763.7265 | 1215423.5163 | 2626774.1607 | 1215406.2865 | 2626776.5082 | 1215402.6282 | 2626780.4328 | 1215397.7875
75 | 2626763.7265 | 1215423.5163 | 2626760.8877 | 1215428.373 | 2626758.9424 | 1215432.0998 | 2626756.7761 | 1215437.671 | 2626751.7365 | 1215453.6839
76 | 2626741.6381 | 1215487.9543 | 2626738.5293 | 1215490.3862 | 2626736.972 | 1215492.2359 | 2626732.2282 | 1215504.9159
77 | 2626725.2851 | 1215536.6312 | 2626725.9856 | 1215526.0172 | 2626727.5036 | 1215519.3646 | 2626730.2246 | 1215510.2716 | 2626732.2282 | 1215504.9159
78 | 2626741.6381 | 1215487.9543 | 2626745.8988 | 1215472.2682
79 | 2626725.2851 | 1215536.6312 | 2626726.63 | 1215539.7946 | 2626728.5444 | 1215541.2818 | 2626733.2268 | 1215543.5263 | 2626750.6936 | 1215549.608
80 | 2626745.8988 | 1215472.2682 | 2626745.9692 | 1215472.009 | 2626751.7365 | 1215453.6839
81 | 2626750.6936 | 1215549.608 | 2626758.4877 | 1215552.1555 | 2626760.2784 | 1215552.4303 | 2626762.9769 | 1215551.7531 | 2626764.8283 | 1215549.9221
82 | 2626768.88 | 1215545.9148 | 2626764.8283 | 1215549.9221
83 | 2626881.7353 | 1215624.7728 | 2626881.7353 | 1215624.7728 | 2626881.8014 | 1215626.9744 | 2626881.2259 | 1215628.3059 | 2626881.2259 | 1215628.3059

## bus_geodata
| x | y | coords
0 | 2626771.1977 | 1215713.2059
1 | 2626777.2904 | 1215714.1354
2 | 2626792.2533 | 1215717.9576
3 | 2626812.9646 | 1215638.8718
4 | 2626787.5497 | 1215725.5408
5 | 2626819.0469 | 1215606.6473
6 | 2626836.7561 | 1215636.0617
7 | 2626730.3209 | 1215720.3823
8 | 2626782.5624 | 1215734.9589
9 | 2626862.5214 | 1215486.0983
10 | 2626880.949 | 1215486.6279
11 | 2626847.6313 | 1215485.6952
12 | 2626891.4978 | 1215485.3034
13 | 2626841.3116 | 1215484.5328
14 | 2626850.0405 | 1215456.7793
15 | 2626956.6597 | 1215468.7766
16 | 2626830.1 | 1215483.8919
17 | 2626833.1921 | 1215469.899
18 | 2626850.3311 | 1215453.2918
19 | 2626868.1522 | 1215525.1657
20 | 2626881.8269 | 1215529.4929
21 | 2626863.5816 | 1215538.3573
22 | 2626800.6711 | 1215502.0492
23 | 2626819.7227 | 1215537.3661
24 | 2626823.9551 | 1215484.2769
25 | 2626802.2435 | 1215485.4244
26 | 2626956.0771 | 1215479.6449
27 | 2626851.3067 | 1215433.1511
28 | 2626910.5399 | 1215538.5559
29 | 2626802.8437 | 1215474.5315
30 | 2626924.7419 | 1215386.7516
31 | 2626914.2677 | 1215378.6589
32 | 2626948.1058 | 1215399.0424
33 | 2626902.9334 | 1215362.2065
34 | 2626971.4122 | 1215384.8532
35 | 2626900.3028 | 1215363.1039
36 | 2626918.8769 | 1215354.3881
37 | 2626888.733 | 1215365.6662
38 | 2626938.6832 | 1215346.3026
39 | 2626955.3615 | 1215492.59
40 | 2626774.0416 | 1215750.7507
41 | 2626729.9435 | 1215773.7257
42 | 2626623.5152 | 1215841.7408
43 | 2626613.0448 | 1215867.3532
44 | 2626592.7581 | 1215834.8664
45 | 2626628.9112 | 1215872.6971
46 | 2626716.6571 | 1215719.1507
47 | 2626690.8578 | 1215716.8252
48 | 2626688.345 | 1215696.3689
49 | 2626653.4673 | 1215877.4813
50 | 2626852.5068 | 1215405.3978
51 | 2626853.9127 | 1215389.0457
52 | 2626851.9763 | 1215416.0859
53 | 2626855.9429 | 1215366.4864
54 | 2626874.6039 | 1215373.4729
55 | 2626831.8071 | 1215430.0366
56 | 2626857.0339 | 1215356.8858
57 | 2626829.5286 | 1215357.3718
58 | 2626885.2837 | 1215366.296
59 | 2626810.5735 | 1215418.4007
60 | 2626819.5131 | 1215443.5354
61 | 2626858.1103 | 1215347.589
62 | 2626887.1452 | 1215341.9729
63 | 2626794.429 | 1215407.8517
64 | 2626859.131 | 1215339.2762
65 | 2626840.8518 | 1215607.1503
66 | 2626856.1858 | 1215634.6675
67 | 2626792.2867 | 1215376.6777
68 | 2626781.5485 | 1215396.2027
69 | 2626780.4328 | 1215397.7875
70 | 2626763.7265 | 1215423.5163
71 | 2626861.8799 | 1215316.8874
72 | 2626674.08 | 1215884.8889
73 | 2626732.2282 | 1215504.9159
74 | 2626741.6381 | 1215487.9543
75 | 2626725.2851 | 1215536.6312
76 | 2626745.8988 | 1215472.2682
77 | 2626750.6936 | 1215549.608
78 | 2626751.7365 | 1215453.6839
79 | 2626764.8283 | 1215549.9221
80 | 2626768.88 | 1215545.9148
81 | 2626938.9517 | 1215346.193
82 | 2626955.3428 | 1215492.9237
83 | 2626881.7353 | 1215624.7728
84 | 2626881.2259 | 1215628.3059
85 | 2626841.3116 | 1215484.5328

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1