## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_953-1_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_953-1_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_953-1_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_953-1_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_953-1_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_953-1_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_953-1_0_3_node_47 | 0.4 | n |  | TRUE
7 | bus_LV_953-1_0_3_node_72 | 0.4 | n |  | TRUE
8 | bus_LV_953-1_0_3_node_68 | 0.4 | n |  | TRUE
9 | bus_LV_953-1_0_3_node_53 | 0.4 | n |  | TRUE
10 | bus_LV_953-1_0_3_node_49 | 0.4 | n |  | TRUE
11 | bus_LV_953-1_0_3_node_45 | 0.4 | n |  | TRUE
12 | bus_LV_953-1_0_3_node_70 | 0.4 | n |  | TRUE
13 | bus_LV_953-1_0_3_node_32 | 0.4 | n |  | TRUE
14 | bus_LV_953-1_0_3_node_51 | 0.4 | n |  | TRUE
15 | bus_LV_953-1_0_3_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_953-1_0_3_node_12 | 0.4 | n |  | TRUE
17 | bus_LV_953-1_0_3_node_13 | 0.4 | n |  | TRUE
18 | bus_LV_953-1_0_3_node_37 | 0.4 | n |  | TRUE
19 | bus_LV_953-1_0_3_node_106 | 0.4 | n |  | TRUE
20 | bus_LV_953-1_0_3_node_87 | 0.4 | n |  | TRUE
21 | bus_LV_953-1_0_3_node_28 | 0.4 | n |  | TRUE
22 | bus_LV_953-1_0_3_node_29 | 0.4 | n |  | TRUE
23 | bus_LV_953-1_0_3_node_30 | 0.4 | n |  | TRUE
24 | bus_LV_953-1_0_3_node_31 | 0.4 | n |  | TRUE
25 | bus_LV_953-1_0_3_node_36 | 0.4 | n |  | TRUE
26 | bus_LV_953-1_0_3_node_38 | 0.4 | n |  | TRUE
27 | bus_LV_953-1_0_3_node_105 | 0.4 | n |  | TRUE
28 | bus_LV_953-1_0_3_node_39 | 0.4 | n |  | TRUE
29 | bus_LV_953-1_0_3_node_40 | 0.4 | n |  | TRUE
30 | bus_LV_953-1_0_3_node_41 | 0.4 | n |  | TRUE
31 | bus_LV_953-1_0_3_node_42 | 0.4 | n |  | TRUE
32 | bus_LV_953-1_0_3_node_43 | 0.4 | n |  | TRUE
33 | bus_LV_953-1_0_3_node_44 | 0.4 | n |  | TRUE
34 | bus_LV_953-1_0_3_node_110 | 0.4 | n |  | TRUE
35 | bus_LV_953-1_0_3_node_66 | 0.4 | n |  | TRUE
36 | bus_LV_953-1_0_3_node_91 | 0.4 | n |  | TRUE
37 | bus_LV_953-1_0_3_node_67 | 0.4 | n |  | TRUE
38 | bus_LV_953-1_0_3_node_92 | 0.4 | n |  | TRUE
39 | bus_LV_953-1_0_3_node_46 | 0.4 | n |  | TRUE
40 | bus_LV_953-1_0_3_node_48 | 0.4 | n |  | TRUE
41 | bus_LV_953-1_0_3_node_79 | 0.4 | n |  | TRUE
42 | bus_LV_953-1_0_3_node_50 | 0.4 | n |  | TRUE
43 | bus_LV_953-1_0_3_node_52 | 0.4 | n |  | TRUE
44 | bus_LV_953-1_0_3_node_84 | 0.4 | n |  | TRUE
45 | bus_LV_953-1_0_3_node_80 | 0.4 | n |  | TRUE
46 | bus_LV_953-1_0_3_node_81 | 0.4 | n |  | TRUE
47 | bus_LV_953-1_0_3_node_82 | 0.4 | n |  | TRUE
48 | bus_LV_953-1_0_3_node_55 | 0.4 | n |  | TRUE
49 | bus_LV_953-1_0_3_node_56 | 0.4 | n |  | TRUE
50 | bus_LV_953-1_0_3_node_57 | 0.4 | n |  | TRUE
51 | bus_LV_953-1_0_3_node_59 | 0.4 | n |  | TRUE
52 | bus_LV_953-1_0_3_node_107 | 0.4 | n |  | TRUE
53 | bus_LV_953-1_0_3_node_108 | 0.4 | n |  | TRUE
54 | bus_LV_953-1_0_3_node_69 | 0.4 | n |  | TRUE
55 | bus_LV_953-1_0_3_node_71 | 0.4 | n |  | TRUE
56 | bus_LV_953-1_0_3_node_73 | 0.4 | n |  | TRUE
57 | bus_LV_953-1_0_3_node_83 | 0.4 | n |  | TRUE
58 | bus_LV_953-1_0_3_node_113 | 0.4 | n |  | TRUE
59 | bus_LV_953-1_0_3_node_109 | 0.4 | n |  | TRUE
60 | bus_MV_129_1_node_76 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_953-1_0_3_load_0 | 0 | 0.0016095 | 0.00040339 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_953-1_0_3_load_1 | 1 | 0.0052158 | 0.0013072 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_953-1_0_3_load_4 | 4 | 0.0022213 | 0.0005567 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_953-1_0_3_load_72 | 7 | 0.0023201 | 0.00058148 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_953-1_0_3_load_68 | 8 | 0.00085318 | 0.00021383 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_953-1_0_3_load_49 | 10 | 0.0031187 | 0.00078161 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_953-1_0_3_load_45 | 11 | 0.0086686 | 0.0021725 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_953-1_0_3_load_70 | 12 | 0.0026681 | 0.0006687 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_953-1_0_3_load_32 | 13 | 0.00026824 | 6.7228e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_953-1_0_3_load_51 | 14 | 0.00079058 | 0.00019814 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_953-1_0_3_load_11 | 15 | 0.0013868 | 0.00034756 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_953-1_0_3_load_12 | 16 | 0.0031787 | 0.00079666 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_953-1_0_3_load_13 | 17 | 0.0014918 | 0.00037389 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_953-1_0_3_load_37 | 18 | 0.0015789 | 0.00039571 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_953-1_0_3_load_106 | 19 | 0.0020032 | 0.00050204 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_953-1_0_3_load_87 | 20 | 0.0011188 | 0.0002804 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_953-1_0_3_load_28 | 21 | 0.0010031 | 0.0002514 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_953-1_0_3_load_29 | 22 | 0.00062237 | 0.00015598 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_953-1_0_3_load_30 | 23 | 0.0014187 | 0.00035557 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_953-1_0_3_load_31 | 24 | 0.0006912 | 0.00017323 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_953-1_0_3_load_38 | 26 | 0.00081622 | 0.00020457 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_953-1_0_3_load_105 | 27 | 0.0025524 | 0.0006397 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_953-1_0_3_load_39 | 28 | 0.0013492 | 0.00033813 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_953-1_0_3_load_40 | 29 | 0.0007763 | 0.00019456 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_953-1_0_3_load_42 | 31 | 0.00055871 | 0.00014003 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_953-1_0_3_load_43 | 32 | 0.0027479 | 0.0006887 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_953-1_0_3_load_44 | 33 | 0.0013388 | 0.00033553 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_953-1_0_3_load_110 | 34 | 0.00028975 | 7.2618e-05 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_953-1_0_3_load_91 | 36 | 0.00085622 | 0.00021459 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_953-1_0_3_load_67 | 37 | 0.0002976 | 7.4587e-05 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_953-1_0_3_load_92 | 38 | 0.001284 | 0.0003218 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_953-1_0_3_load_46 | 39 | 0.000423 | 0.00010601 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_953-1_0_3_load_48 | 40 | 0.00064847 | 0.00016252 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_953-1_0_3_load_79 | 41 | 0.0014703 | 0.00036848 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_953-1_0_3_load_50 | 42 | 0.0012849 | 0.00032203 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_953-1_0_3_load_52 | 43 | 0.0011364 | 0.0002848 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_953-1_0_3_load_84 | 44 | 0.0023811 | 0.00059677 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_953-1_0_3_load_80 | 45 | 0.00046186 | 0.00011575 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_953-1_0_3_load_81 | 46 | 0.00029761 | 7.4588e-05 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_953-1_0_3_load_55 | 48 | 0.010144 | 0.0025422 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_953-1_0_3_load_56 | 49 | 0.0014282 | 0.00035795 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_953-1_0_3_load_59 | 51 | 0.0018346 | 0.00045979 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_953-1_0_3_load_108 | 53 | 0.00089918 | 0.00022536 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_953-1_0_3_load_69 | 54 | 0.0051891 | 0.0013005 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_953-1_0_3_load_71 | 55 | 0.0021712 | 0.00054416 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_953-1_0_3_load_73 | 56 | 0.0016311 | 0.00040879 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_953-1_0_3_load_83 | 57 | 0.00036814 | 9.2265e-05 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_953-1_0_3_load_113 | 58 | 0.0018031 | 0.00045189 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_953-1_0_3_load_109 | 59 | 0.00030213 | 7.5721e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 4 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_953-1_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.015219 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_953-1_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.029749 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_953-1_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.018628 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_953-1_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.027387 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
4 | LV_953-1_0_3_line_4 | NAYY 4x150 SE | 2 | 5 | 0.014556 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_953-1_0_3_line_5 | NAYY 4x150 SE | 3 | 6 | 0.005693 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_953-1_0_3_line_6 | NAYY 4x150 SE | 3 | 7 | 0.029659 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_953-1_0_3_line_7 | NAYY 4x150 SE | 4 | 8 | 0.02881 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_953-1_0_3_line_8 | NAYY 4x150 SE | 5 | 9 | 0.060055 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_953-1_0_3_line_9 | NAYY 4x150 SE | 6 | 10 | 0.013924 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_953-1_0_3_line_10 | NAYY 4x150 SE | 6 | 11 | 0.015478 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_953-1_0_3_line_11 | NAYY 4x150 SE | 7 | 12 | 0.012457 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_953-1_0_3_line_12 | NAYY 4x150 SE | 9 | 13 | 0.080414 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_953-1_0_3_line_13 | NAYY 4x150 SE | 9 | 14 | 0.0063764 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_953-1_0_3_line_14 | NAYY 4x150 SE | 10 | 20 | 0.044008 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_953-1_0_3_line_15 | NAYY 4x150 SE | 11 | 39 | 0.019206 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_953-1_0_3_line_16 | NAYY 4x150 SE | 12 | 54 | 0.0069388 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_953-1_0_3_line_17 | NAYY 4x150 SE | 13 | 23 | 0.0066825 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_953-1_0_3_line_18 | NAYY 4x150 SE | 14 | 42 | 0.039046 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_953-1_0_3_line_19 | NAYY 4x150 SE | 15 | 16 | 0.0033629 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_953-1_0_3_line_20 | NAYY 4x150 SE | 16 | 17 | 0.0071609 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_953-1_0_3_line_21 | NAYY 4x150 SE | 17 | 18 | 0.027441 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_953-1_0_3_line_22 | NAYY 4x150 SE | 18 | 19 | 0.0093458 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_953-1_0_3_line_23 | NAYY 4x150 SE | 19 | 27 | 0.027003 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_953-1_0_3_line_24 | NAYY 4x150 SE | 21 | 22 | 0.018121 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_953-1_0_3_line_25 | NAYY 4x150 SE | 21 | 23 | 0.032827 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_953-1_0_3_line_26 | NAYY 4x150 SE | 22 | 24 | 0.063635 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_953-1_0_3_line_27 | NAYY 4x150 SE | 24 | 25 | 0.021215 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_953-1_0_3_line_28 | NAYY 4x150 SE | 25 | 26 | 0.078374 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_953-1_0_3_line_29 | NAYY 4x150 SE | 27 | 41 | 0.049426 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_953-1_0_3_line_30 | NAYY 4x150 SE | 28 | 29 | 0.020924 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_953-1_0_3_line_31 | NAYY 4x150 SE | 28 | 30 | 0.013581 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_953-1_0_3_line_32 | NAYY 4x150 SE | 29 | 31 | 0.0007569 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_953-1_0_3_line_33 | NAYY 4x150 SE | 30 | 32 | 0.041324 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_953-1_0_3_line_34 | NAYY 4x150 SE | 30 | 33 | 0.0082558 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_953-1_0_3_line_35 | NAYY 4x150 SE | 31 | 34 | 0.081456 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_953-1_0_3_line_36 | NAYY 4x150 SE | 32 | 35 | 0.021576 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_953-1_0_3_line_37 | NAYY 4x150 SE | 33 | 36 | 0.023371 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_953-1_0_3_line_38 | NAYY 4x150 SE | 35 | 37 | 0.038294 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_953-1_0_3_line_39 | NAYY 4x150 SE | 36 | 38 | 0.008124 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_953-1_0_3_line_40 | NAYY 4x150 SE | 38 | 56 | 0.0016303 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_953-1_0_3_line_41 | NAYY 4x150 SE | 39 | 40 | 0.009923 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_953-1_0_3_line_42 | NAYY 4x150 SE | 40 | 41 | 0.0059777 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_953-1_0_3_line_43 | NAYY 4x150 SE | 42 | 43 | 0.031048 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_953-1_0_3_line_44 | NAYY 4x150 SE | 43 | 44 | 0.19042 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_953-1_0_3_line_45 | NAYY 4x150 SE | 44 | 47 | 0.015397 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_953-1_0_3_line_46 | NAYY 4x150 SE | 45 | 46 | 0.091855 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_953-1_0_3_line_47 | NAYY 4x150 SE | 45 | 47 | 0.0097805 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_953-1_0_3_line_48 | NAYY 4x150 SE | 46 | 57 | 0.014938 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_953-1_0_3_line_49 | NAYY 4x150 SE | 46 | 58 | 0.27854 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_953-1_0_3_line_50 | NAYY 4x150 SE | 48 | 49 | 0.0048276 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_953-1_0_3_line_51 | NAYY 4x150 SE | 48 | 50 | 0.011583 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_953-1_0_3_line_52 | NAYY 4x150 SE | 50 | 51 | 0.043003 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_953-1_0_3_line_53 | NAYY 4x150 SE | 51 | 52 | 0.045526 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_953-1_0_3_line_54 | NAYY 4x150 SE | 52 | 53 | 0.016977 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_953-1_0_3_line_55 | NAYY 4x150 SE | 53 | 59 | 0.054157 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_953-1_0_3_line_56 | NAYY 4x150 SE | 54 | 55 | 0.019935 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_953-1_0_3_line_57 | NAYY 4x150 SE | 55 | 56 | 0.008169 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_953-1_0_3_line_58 | NAYY 4x150 SE | 58 | 59 | 0.12502 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_953-1_0_3_trafo_4 | 0.25 MVA 20/0.4 kV | 60 | 4 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2631617.0219 | 1213958.0275 | 2631614.0721 | 1213954.6571 | 2631605.4018 | 1213948.3182
1 | 2631636.6143 | 1213980.4135 | 2631617.0219 | 1213958.0275
2 | 2631590.1085 | 1213937.6872 | 2631600.9758 | 1213945.0823 | 2631605.4018 | 1213948.3182
3 | 2631636.6143 | 1213980.4135 | 2631630.0254 | 1213996.9437 | 2631624.3882 | 1214004.7045
4 | 2631636.6143 | 1213980.4135 | 2631644.3503 | 1213985.3351 | 2631649.1986 | 1213987.6844
5 | 2631593.399 | 1213933.0353 | 2631590.1085 | 1213937.6872
6 | 2631590.1085 | 1213937.6872 | 2631583.9208 | 1213945.8703 | 2631574.5816 | 1213956.8605 | 2631570.948 | 1213960.2619
7 | 2631606.979 | 1214027.6502 | 2631615.3283 | 1214017.1775 | 2631624.3882 | 1214004.7045
8 | 2631704.2621 | 1214011.9904 | 2631660.8875 | 1213993.3607 | 2631649.1986 | 1213987.6844
9 | 2631593.399 | 1213933.0353 | 2631584.0767 | 1213926.4711 | 2631581.9097 | 1213925.179
10 | 2631593.399 | 1213933.0353 | 2631595.2018 | 1213929.6429 | 2631601.5778 | 1213919.9083
11 | 2631561.7187 | 1213968.613 | 2631563.2087 | 1213967.5065 | 2631570.948 | 1213960.2619
12 | 2631704.2621 | 1214011.9904 | 2631764.8716 | 1213994.5136 | 2631774.4618 | 1213987.8052 | 2631777.6941 | 1213983.1936
13 | 2631704.2621 | 1214011.9904 | 2631709.7056 | 1214015.3112
14 | 2631547.464 | 1213899.06 | 2631553.9964 | 1213908.5351 | 2631581.9097 | 1213925.179
15 | 2631601.5778 | 1213919.9083 | 2631602.698 | 1213918.1982 | 2631609.1771 | 1213906.6147 | 2631610.7849 | 1213903.0732
16 | 2631556.148 | 1213972.75 | 2631561.7187 | 1213968.613
17 | 2631777.6941 | 1213983.1936 | 2631780.3853 | 1213979.3541 | 2631780.9918 | 1213977.4548
18 | 2631743.2619 | 1214035.2324 | 2631735.2163 | 1214031.0881 | 2631717.8661 | 1214020.2897 | 2631709.7056 | 1214015.3112
19 | 2631684.046 | 1213789.2825 | 2631683.6833 | 1213789.5867 | 2631681.2608 | 1213791.1619
20 | 2631675.2573 | 1213795.0654 | 2631681.2608 | 1213791.1619
21 | 2631675.2573 | 1213795.0654 | 2631666.8931 | 1213800.504 | 2631657.3156 | 1213807.6462 | 2631653.4351 | 1213811.5677
22 | 2631647.2323 | 1213818.5185 | 2631648.8013 | 1213816.2504 | 2631653.4351 | 1213811.5677
23 | 2631647.2323 | 1213818.5185 | 2631641.9511 | 1213826.1531 | 2631638.2444 | 1213833.3599 | 2631634.6862 | 1213842.2927
24 | 2631784.4094 | 1213944.9892 | 2631784.6237 | 1213940.7656 | 2631786.8251 | 1213927.0488
25 | 2631784.4094 | 1213944.9892 | 2631783.0964 | 1213970.8636 | 2631780.9918 | 1213977.4548
26 | 2631804.3489 | 1213867.2956 | 2631801.6365 | 1213869.5263 | 2631799.1452 | 1213872.3925 | 2631797.1456 | 1213875.6281 | 2631795.7144 | 1213879.1003 | 2631793.6116 | 1213890.3178 | 2631787.4047 | 1213923.4371 | 2631786.8251 | 1213927.0488
27 | 2631821.9587 | 1213869.9682 | 2631819.9717 | 1213866.5556 | 2631817.8615 | 1213864.899 | 2631814.9737 | 1213863.7941 | 2631811.9666 | 1213863.678 | 2631808.3218 | 1213864.9482 | 2631804.7794 | 1213866.9416 | 2631804.3489 | 1213867.2956
28 | 2631821.9587 | 1213869.9682 | 2631816.8691 | 1213871.5419 | 2631811.9367 | 1213873.5613 | 2631808.0527 | 1213878.3767 | 2631805.2982 | 1213886.4555 | 2631801.3149 | 1213909.9256 | 2631801.5922 | 1213919.1768 | 2631807.521 | 1213938.2416
29 | 2631617.0174 | 1213888.4526 | 2631633.2641 | 1213845.8629 | 2631634.6862 | 1213842.2927
30 | 2631501.4062 | 1214017.5317 | 2631503.3533 | 1214024.9235 | 2631503.7312 | 1214031.0179 | 2631502.0319 | 1214037.9881
31 | 2631495.4502 | 1214005.5929 | 2631498.7488 | 1214009.4681 | 2631501.1568 | 1214016.5849 | 2631501.4062 | 1214017.5317
32 | 2631501.8526 | 1214038.7235 | 2631502.0319 | 1214037.9881
33 | 2631495.4502 | 1214005.5929 | 2631484.2612 | 1214008.7913 | 2631474.7198 | 1214012.0762 | 2631468.301 | 1214015.1664 | 2631462.2431 | 1214018.9478 | 2631458.1272 | 1214022.3358
34 | 2631495.4502 | 1214005.5929 | 2631503.3889 | 1214003.3265
35 | 2631501.8526 | 1214038.7235 | 2631535.6427 | 1214112.8404
36 | 2631443.0732 | 1214037.7465 | 2631454.6608 | 1214025.1892 | 2631458.1272 | 1214022.3358
37 | 2631503.3889 | 1214003.3265 | 2631504.0531 | 1214003.1369 | 2631510.3919 | 1214000.8245 | 2631516.6343 | 1213998.0781 | 2631524.6076 | 1213993.6649
38 | 2631443.0732 | 1214037.7465 | 2631441.3317 | 1214039.6273 | 2631419.4968 | 1214059.7239 | 2631414.8544 | 1214063.6122
39 | 2631524.6076 | 1213993.6649 | 2631527.9154 | 1213991.8341 | 2631531.5138 | 1213989.4017
40 | 2631531.5138 | 1213989.4017 | 2631532.8644 | 1213988.4887
41 | 2631610.7849 | 1213903.0732 | 2631614.8869 | 1213894.0377
42 | 2631617.0174 | 1213888.4526 | 2631614.8869 | 1213894.0377 | 2631614.8869 | 1213894.0377
43 | 2631743.2619 | 1214035.2324 | 2631746.0549 | 1214036.6711 | 2631773.6088 | 1214041.094
44 | 2631773.6088 | 1214041.094 | 2631954.6455 | 1214100.1171
45 | 2631966.1568 | 1214110.1431 | 2631962.4973 | 1214105.6654 | 2631954.6455 | 1214100.1171
46 | 2631975.6861 | 1214111.9729 | 2631975.6861 | 1214111.9729 | 2632010.1477 | 1214128.2336 | 2632020.8252 | 1214131.2148 | 2632051.5067 | 1214135.7264 | 2632062.7824 | 1214138.6638
47 | 2631966.1568 | 1214110.1431 | 2631970.682 | 1214110.3897 | 2631975.6861 | 1214111.9729
48 | 2632062.7824 | 1214138.6638 | 2632077.2381 | 1214142.4296
49 | 2631846.6335 | 1214314.3442 | 2632062.7824 | 1214138.6638
50 | 2631677.3017 | 1214287.294 | 2631673.9012 | 1214290.7207
51 | 2631684.8015 | 1214278.5182 | 2631681.779 | 1214282.7824 | 2631677.3017 | 1214287.294
52 | 2631684.8015 | 1214278.5182 | 2631686.416 | 1214276.2477 | 2631690.5482 | 1214267.5313 | 2631692.405 | 1214261.1152 | 2631695.8702 | 1214244.991 | 2631699.6945 | 1214238.6569
53 | 2631728.3159 | 1214203.306 | 2631723.8942 | 1214209.3193 | 2631701.0957 | 1214236.336 | 2631699.6945 | 1214238.6569
54 | 2631728.3159 | 1214203.306 | 2631730.3502 | 1214220.1606
55 | 2631730.3502 | 1214220.1606 | 2631732.0257 | 1214234.0434 | 2631732.4408 | 1214243.1064 | 2631732.547 | 1214251.7008 | 2631740.8386 | 1214242.0393 | 2631748.851 | 1214236.4414
56 | 2631556.148 | 1213972.75 | 2631556.148 | 1213972.75 | 2631539.6323 | 1213983.914
57 | 2631539.6323 | 1213983.914 | 2631532.8644 | 1213988.4887
58 | 2631748.851 | 1214236.4414 | 2631846.6335 | 1214314.3442

## bus_geodata
| x | y | coords
0 | 2631617.0219 | 1213958.0275
1 | 2631605.4018 | 1213948.3182
2 | 2631636.6143 | 1213980.4135
3 | 2631590.1085 | 1213937.6872
4 | 2631624.3882 | 1214004.7045
5 | 2631649.1986 | 1213987.6844
6 | 2631593.399 | 1213933.0353
7 | 2631570.948 | 1213960.2619
8 | 2631606.979 | 1214027.6502
9 | 2631704.2621 | 1214011.9904
10 | 2631581.9097 | 1213925.179
11 | 2631601.5778 | 1213919.9083
12 | 2631561.7187 | 1213968.613
13 | 2631777.6941 | 1213983.1936
14 | 2631709.7056 | 1214015.3112
15 | 2631684.046 | 1213789.2825
16 | 2631681.2608 | 1213791.1619
17 | 2631675.2573 | 1213795.0654
18 | 2631653.4351 | 1213811.5677
19 | 2631647.2323 | 1213818.5185
20 | 2631547.464 | 1213899.06
21 | 2631784.4094 | 1213944.9892
22 | 2631786.8251 | 1213927.0488
23 | 2631780.9918 | 1213977.4548
24 | 2631804.3489 | 1213867.2956
25 | 2631821.9587 | 1213869.9682
26 | 2631807.521 | 1213938.2416
27 | 2631634.6862 | 1213842.2927
28 | 2631501.4062 | 1214017.5317
29 | 2631502.0319 | 1214037.9881
30 | 2631495.4502 | 1214005.5929
31 | 2631501.8526 | 1214038.7235
32 | 2631458.1272 | 1214022.3358
33 | 2631503.3889 | 1214003.3265
34 | 2631535.6427 | 1214112.8404
35 | 2631443.0732 | 1214037.7465
36 | 2631524.6076 | 1213993.6649
37 | 2631414.8544 | 1214063.6122
38 | 2631531.5138 | 1213989.4017
39 | 2631610.7849 | 1213903.0732
40 | 2631614.8869 | 1213894.0377
41 | 2631617.0174 | 1213888.4526
42 | 2631743.2619 | 1214035.2324
43 | 2631773.6088 | 1214041.094
44 | 2631954.6455 | 1214100.1171
45 | 2631975.6861 | 1214111.9729
46 | 2632062.7824 | 1214138.6638
47 | 2631966.1568 | 1214110.1431
48 | 2631677.3017 | 1214287.294
49 | 2631673.9012 | 1214290.7207
50 | 2631684.8015 | 1214278.5182
51 | 2631699.6945 | 1214238.6569
52 | 2631728.3159 | 1214203.306
53 | 2631730.3502 | 1214220.1606
54 | 2631556.148 | 1213972.75
55 | 2631539.6323 | 1213983.914
56 | 2631532.8644 | 1213988.4887
57 | 2632077.2381 | 1214142.4296
58 | 2631846.6335 | 1214314.3442
59 | 2631748.851 | 1214236.4414
60 | 2631636.6143 | 1213980.4135

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1