## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_953-1_1_3_node_6 | 0.4 | n |  | TRUE
1 | bus_LV_953-1_1_3_node_7 | 0.4 | n |  | TRUE
2 | bus_LV_953-1_1_3_node_8 | 0.4 | n |  | TRUE
3 | bus_LV_953-1_1_3_node_9 | 0.4 | n |  | TRUE
4 | bus_LV_953-1_1_3_node_10 | 0.4 | n |  | TRUE
5 | bus_LV_953-1_1_3_node_63 | 0.4 | n |  | TRUE
6 | bus_LV_953-1_1_3_node_33 | 0.4 | n |  | TRUE
7 | bus_LV_953-1_1_3_node_14 | 0.4 | n |  | TRUE
8 | bus_LV_953-1_1_3_node_15 | 0.4 | n |  | TRUE
9 | bus_LV_953-1_1_3_node_17 | 0.4 | n |  | TRUE
10 | bus_LV_953-1_1_3_node_97 | 0.4 | n |  | TRUE
11 | bus_LV_953-1_1_3_node_18 | 0.4 | n |  | TRUE
12 | bus_LV_953-1_1_3_node_19 | 0.4 | n |  | TRUE
13 | bus_LV_953-1_1_3_node_20 | 0.4 | n |  | TRUE
14 | bus_LV_953-1_1_3_node_21 | 0.4 | n |  | TRUE
15 | bus_LV_953-1_1_3_node_22 | 0.4 | n |  | TRUE
16 | bus_LV_953-1_1_3_node_98 | 0.4 | n |  | TRUE
17 | bus_LV_953-1_1_3_node_88 | 0.4 | n |  | TRUE
18 | bus_LV_953-1_1_3_node_23 | 0.4 | n |  | TRUE
19 | bus_LV_953-1_1_3_node_24 | 0.4 | n |  | TRUE
20 | bus_LV_953-1_1_3_node_25 | 0.4 | n |  | TRUE
21 | bus_LV_953-1_1_3_node_26 | 0.4 | n |  | TRUE
22 | bus_LV_953-1_1_3_node_27 | 0.4 | n |  | TRUE
23 | bus_LV_953-1_1_3_node_93 | 0.4 | n |  | TRUE
24 | bus_LV_953-1_1_3_node_54 | 0.4 | n |  | TRUE
25 | bus_LV_953-1_1_3_node_34 | 0.4 | n |  | TRUE
26 | bus_LV_953-1_1_3_node_35 | 0.4 | n |  | TRUE
27 | bus_LV_953-1_1_3_node_96 | 0.4 | n |  | TRUE
28 | bus_LV_953-1_1_3_node_78 | 0.4 | n |  | TRUE
29 | bus_LV_953-1_1_3_node_90 | 0.4 | n |  | TRUE
30 | bus_LV_953-1_1_3_node_60 | 0.4 | n |  | TRUE
31 | bus_LV_953-1_1_3_node_61 | 0.4 | n |  | TRUE
32 | bus_LV_953-1_1_3_node_62 | 0.4 | n |  | TRUE
33 | bus_LV_953-1_1_3_node_64 | 0.4 | n |  | TRUE
34 | bus_LV_953-1_1_3_node_65 | 0.4 | n |  | TRUE
35 | bus_LV_953-1_1_3_node_99 | 0.4 | n |  | TRUE
36 | bus_LV_953-1_1_3_node_101 | 0.4 | n |  | TRUE
37 | bus_LV_953-1_1_3_node_74 | 0.4 | n |  | TRUE
38 | bus_LV_953-1_1_3_node_75 | 0.4 | n |  | TRUE
39 | bus_LV_953-1_1_3_node_76 | 0.4 | n |  | TRUE
40 | bus_LV_953-1_1_3_node_77 | 0.4 | n |  | TRUE
41 | bus_LV_953-1_1_3_node_89 | 0.4 | n |  | TRUE
42 | bus_LV_953-1_1_3_node_112 | 0.4 | n |  | TRUE
43 | bus_LV_953-1_1_3_node_94 | 0.4 | n |  | TRUE
44 | bus_LV_953-1_1_3_node_95 | 0.4 | n |  | TRUE
45 | bus_LV_953-1_1_3_node_100 | 0.4 | n |  | TRUE
46 | bus_LV_953-1_1_3_node_104 | 0.4 | n |  | TRUE
47 | bus_LV_953-1_1_3_node_102 | 0.4 | n |  | TRUE
48 | bus_MV_129_1_node_258 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_953-1_1_3_load_6 | 0 | 0.0044426 | 0.0011134 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_953-1_1_3_load_7 | 1 | 0.0064605 | 0.0016192 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_953-1_1_3_load_8 | 2 | 0.0014925 | 0.00037406 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_953-1_1_3_load_9 | 3 | 0.0067183 | 0.0016838 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_953-1_1_3_load_10 | 4 | 0.0023759 | 0.00059547 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_953-1_1_3_load_33 | 6 | 0.0047309 | 0.0011857 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_953-1_1_3_load_14 | 7 | 0.0048536 | 0.0012164 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_953-1_1_3_load_15 | 8 | 0.0011717 | 0.00029365 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_953-1_1_3_load_97 | 10 | 0.0029826 | 0.00074751 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_953-1_1_3_load_18 | 11 | 0.0013539 | 0.00033932 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_953-1_1_3_load_19 | 12 | 0.0016764 | 0.00042016 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_953-1_1_3_load_20 | 13 | 0.0013241 | 0.00033184 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_953-1_1_3_load_21 | 14 | 0.0024961 | 0.00062558 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_953-1_1_3_load_22 | 15 | 0.0038418 | 0.00096285 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_953-1_1_3_load_98 | 16 | 0.0024213 | 0.00060684 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_953-1_1_3_load_23 | 18 | 0.0044655 | 0.0011192 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_953-1_1_3_load_24 | 19 | 0.0010102 | 0.00025319 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_953-1_1_3_load_25 | 20 | 0.00044216 | 0.00011082 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_953-1_1_3_load_26 | 21 | 0.0010858 | 0.00027213 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_953-1_1_3_load_27 | 22 | 0.00056561 | 0.00014176 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_953-1_1_3_load_34 | 25 | 0.003116 | 0.00078094 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_953-1_1_3_load_35 | 26 | 0.00084967 | 0.00021295 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_953-1_1_3_load_60 | 30 | 0.0082728 | 0.0020734 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_953-1_1_3_load_61 | 31 | 0.0062192 | 0.0015587 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_953-1_1_3_load_64 | 33 | 0.0069368 | 0.0017385 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_953-1_1_3_load_99 | 35 | 0.0036538 | 0.00091573 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_953-1_1_3_load_74 | 37 | 0.0063645 | 0.0015951 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_953-1_1_3_load_75 | 38 | 0.00063618 | 0.00015944 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_953-1_1_3_load_76 | 39 | 0.00067577 | 0.00016936 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_953-1_1_3_load_77 | 40 | 0.00064984 | 0.00016287 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_953-1_1_3_load_89 | 41 | 0.012415 | 0.0031116 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_953-1_1_3_load_112 | 42 | 0.0049266 | 0.0012347 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_953-1_1_3_load_95 | 44 | 0.0023233 | 0.00058227 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_953-1_1_3_load_100 | 45 | 0.015873 | 0.0039782 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_953-1_1_3_load_102 | 47 | 0.0014638 | 0.00036686 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 5 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_953-1_1_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0077682 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_953-1_1_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.060098 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_953-1_1_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.014246 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_953-1_1_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.025793 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_953-1_1_3_line_4 | NAYY 4x150 SE | 3 | 5 | 0.01459 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_953-1_1_3_line_5 | NAYY 4x150 SE | 4 | 6 | 0.013877 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_953-1_1_3_line_6 | NAYY 4x150 SE | 5 | 16 | 0.023315 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_953-1_1_3_line_7 | NAYY 4x150 SE | 5 | 31 | 0.015221 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_953-1_1_3_line_8 | NAYY 4x150 SE | 6 | 25 | 0.0013624 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_953-1_1_3_line_9 | NAYY 4x150 SE | 7 | 8 | 0.034983 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_953-1_1_3_line_10 | NAYY 4x150 SE | 8 | 9 | 0.12278 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_953-1_1_3_line_11 | NAYY 4x150 SE | 9 | 10 | 0.20171 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_953-1_1_3_line_12 | NAYY 4x150 SE | 10 | 17 | 0.081855 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_953-1_1_3_line_13 | NAYY 4x150 SE | 11 | 12 | 0.020901 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_953-1_1_3_line_14 | NAYY 4x150 SE | 11 | 13 | 0.012954 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_953-1_1_3_line_15 | NAYY 4x150 SE | 12 | 14 | 0.038735 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_953-1_1_3_line_16 | NAYY 4x150 SE | 13 | 15 | 0.003573 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_953-1_1_3_line_17 | NAYY 4x150 SE | 14 | 16 | 0.10116 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_953-1_1_3_line_18 | NAYY 4x150 SE | 15 | 17 | 0.11748 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_953-1_1_3_line_19 | NAYY 4x150 SE | 18 | 19 | 0.039593 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_953-1_1_3_line_20 | NAYY 4x150 SE | 18 | 20 | 0.0029459 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_953-1_1_3_line_21 | NAYY 4x150 SE | 19 | 21 | 0.02065 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_953-1_1_3_line_22 | NAYY 4x150 SE | 20 | 22 | 0.012996 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_953-1_1_3_line_23 | NAYY 4x150 SE | 21 | 23 | 0.024008 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_953-1_1_3_line_24 | NAYY 4x150 SE | 22 | 24 | 0.11096 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_953-1_1_3_line_25 | NAYY 4x150 SE | 23 | 42 | 0.15757 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_953-1_1_3_line_26 | NAYY 4x150 SE | 24 | 28 | 0.003668 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_953-1_1_3_line_27 | NAYY 4x150 SE | 24 | 29 | 0.00848 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_953-1_1_3_line_28 | NAYY 4x150 SE | 25 | 26 | 0.016435 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_953-1_1_3_line_29 | NAYY 4x150 SE | 26 | 27 | 0.019887 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_953-1_1_3_line_30 | NAYY 4x150 SE | 27 | 43 | 0.056474 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_953-1_1_3_line_31 | NAYY 4x150 SE | 28 | 39 | 0.0085633 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_953-1_1_3_line_32 | NAYY 4x150 SE | 29 | 41 | 0.031282 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_953-1_1_3_line_33 | NAYY 4x150 SE | 30 | 31 | 0.031205 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_953-1_1_3_line_34 | NAYY 4x150 SE | 30 | 32 | 0.033311 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_953-1_1_3_line_35 | NAYY 4x150 SE | 32 | 33 | 0.012893 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_953-1_1_3_line_36 | NAYY 4x150 SE | 32 | 34 | 0.015521 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_953-1_1_3_line_37 | NAYY 4x150 SE | 33 | 35 | 0.0028845 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_953-1_1_3_line_38 | NAYY 4x150 SE | 34 | 36 | 0.056497 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_953-1_1_3_line_39 | NAYY 4x150 SE | 35 | 45 | 0.0041584 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_953-1_1_3_line_40 | NAYY 4x150 SE | 36 | 42 | 0.046331 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_953-1_1_3_line_41 | NAYY 4x150 SE | 36 | 46 | 0.016621 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_953-1_1_3_line_42 | NAYY 4x150 SE | 37 | 38 | 0.01529 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_953-1_1_3_line_43 | NAYY 4x150 SE | 37 | 39 | 0.038171 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_953-1_1_3_line_44 | NAYY 4x150 SE | 38 | 40 | 0.04101 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_953-1_1_3_line_45 | NAYY 4x150 SE | 43 | 44 | 0.026281 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_953-1_1_3_line_46 | NAYY 4x150 SE | 46 | 47 | 0.01242 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_953-1_1_3_trafo_63 | 0.25 MVA 20/0.4 kV | 48 | 5 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16
0 | 2631093.8436 | 1213823.1697 | 2631097.6895 | 1213829.9192
1 | 2631093.8436 | 1213823.1697 | 2631083.3616 | 1213804.774 | 2631067.4368 | 1213769.2554
2 | 2631097.6895 | 1213829.9192 | 2631100.8152 | 1213835.4047 | 2631105.2429 | 1213841.9865
3 | 2631056.8845 | 1213745.7193 | 2631067.4368 | 1213769.2554
4 | 2631113.3865 | 1213854.092 | 2631105.2429 | 1213841.9865
5 | 2631056.8845 | 1213745.7193 | 2631054.8384 | 1213741.1558 | 2631050.8914 | 1213733.2063
6 | 2631113.3865 | 1213854.092 | 2631117.7128 | 1213850.2901 | 2631120.6753 | 1213847.2927 | 2631123.0461 | 1213844.17 | 2631127.3702 | 1213835.801
7 | 2631113.3865 | 1213854.092 | 2631122.3467 | 1213866.3959
8 | 2631050.2855 | 1213731.9861 | 2631050.8914 | 1213733.2063
9 | 2631382.3706 | 1213794.6717 | 2631388.0414 | 1213760.1509
10 | 2631412.3485 | 1213640.0786 | 2631410.1054 | 1213646.326 | 2631406.6851 | 1213665.5412 | 2631395.8897 | 1213707.8532 | 2631392.0942 | 1213724.7763 | 2631390.1889 | 1213738.9967 | 2631388.4973 | 1213757.3761 | 2631388.0414 | 1213760.1509
11 | 2631214.1448 | 1213602.6068 | 2631412.3485 | 1213640.0786
12 | 2631150.5032 | 1213564.6194 | 2631162.7915 | 1213572.1322 | 2631173.8148 | 1213577.5262 | 2631183.401 | 1213581.7564 | 2631190.7644 | 1213584.0184 | 2631198.1227 | 1213585.7912 | 2631211.8349 | 1213588.242 | 2631214.4826 | 1213590.2904 | 2631214.1448 | 1213602.6068
13 | 2631151.2616 | 1213680.2653 | 2631151.1646 | 1213692.574 | 2631148.9555 | 1213700.877
14 | 2631151.9354 | 1213667.3474 | 2631151.3221 | 1213672.5967 | 2631151.2616 | 1213680.2653
15 | 2631138.454 | 1213738.157 | 2631143.7505 | 1213720.4402 | 2631148.9555 | 1213700.877
16 | 2631151.9354 | 1213667.3474 | 2631152.3501 | 1213663.7986
17 | 2631127.3702 | 1213835.801 | 2631130.3274 | 1213830.0776 | 2631132.8419 | 1213824.1651 | 2631134.5227 | 1213817.9036 | 2631134.3289 | 1213812.833 | 2631129.0623 | 1213790.1259 | 2631128.3289 | 1213785.1192 | 2631128.1045 | 1213780.0929 | 2631128.61 | 1213773.4584 | 2631129.7898 | 1213767.1387 | 2631138.454 | 1213738.157
18 | 2631150.5032 | 1213564.6194 | 2631145.9261 | 1213578.6035 | 2631145.4289 | 1213582.1808 | 2631145.5471 | 1213585.739 | 2631147.2171 | 1213591.7511 | 2631151.9326 | 1213599.2689 | 2631164.0853 | 1213612.3843 | 2631170.1263 | 1213622.0547 | 2631172.1473 | 1213636.4735 | 2631171.3027 | 1213639.6821 | 2631169.6338 | 1213642.1859 | 2631167.5286 | 1213643.887 | 2631157.6315 | 1213648.3157 | 2631155.8908 | 1213650.0298 | 2631154.247 | 1213653.5344 | 2631152.7929 | 1213660.0083 | 2631152.3501 | 1213663.7986
19 | 2630916.9878 | 1214064.0994 | 2630942.0303 | 1214071.382 | 2630954.8137 | 1214075.7627
20 | 2630914.1591 | 1214063.2768 | 2630916.9878 | 1214064.0994
21 | 2630974.3486 | 1214082.457 | 2630954.8137 | 1214075.7627
22 | 2630914.1591 | 1214063.2768 | 2630908.2841 | 1214061.5683 | 2630902.0866 | 1214058.5874
23 | 2630997.3115 | 1214089.2679 | 2630990.915 | 1214088.134 | 2630974.3486 | 1214082.457
24 | 2630925.6909 | 1213992.7856 | 2630923.84 | 1213998.2124 | 2630921.4245 | 1214002.6692 | 2630918.5789 | 1214006.59 | 2630915.2495 | 1214010.0748 | 2630910.7338 | 1214013.8313 | 2630901.212 | 1214020.7416 | 2630891.1779 | 1214026.8376 | 2630874.5347 | 1214034.7116 | 2630873.711 | 1214035.3855 | 2630872.2282 | 1214037.2011 | 2630871.7572 | 1214038.6884 | 2630871.7338 | 1214040.267 | 2630872.5801 | 1214042.5838 | 2630874.3784 | 1214044.3719 | 2630886.0636 | 1214050.8805 | 2630902.0866 | 1214058.5874
25 | 2631123.2944 | 1213994.6354 | 2630997.3115 | 1214089.2679
26 | 2630925.6909 | 1213992.7856 | 2630928.7258 | 1213994.858
27 | 2630919.1188 | 1213987.404 | 2630925.6909 | 1213992.7856
28 | 2631050.2855 | 1213731.9861 | 2631043.3381 | 1213717.9938 | 2631042.9208 | 1213717.2961
29 | 2631032.7135 | 1213700.2284 | 2631042.9208 | 1213717.2961
30 | 2631021.4281 | 1213752.5998 | 2631021.4182 | 1213750.1206 | 2631018.5288 | 1213734.6522 | 2631018.2226 | 1213730.7262 | 2631018.4938 | 1213726.7809 | 2631019.3267 | 1213722.8941 | 2631020.9206 | 1213718.7222 | 2631023.1813 | 1213714.8539 | 2631026.9103 | 1213709.0589 | 2631032.7135 | 1213700.2284
31 | 2630928.7258 | 1213994.858 | 2630930.6255 | 1213988.7977 | 2630931.0621 | 1213986.629
32 | 2630919.1188 | 1213987.404 | 2630891.1459 | 1213973.4021
33 | 2631139.4437 | 1213892.4807 | 2631127.9258 | 1213874.057 | 2631122.3467 | 1213866.3959
34 | 2631153.8308 | 1213922.4421 | 2631151.8566 | 1213916.5284 | 2631144.0167 | 1213900.8563 | 2631141.3558 | 1213895.5393 | 2631139.4437 | 1213892.4807
35 | 2631153.8308 | 1213922.4421 | 2631149.4268 | 1213923.6865 | 2631143.8755 | 1213925.0027 | 2631141.5918 | 1213926.2692
36 | 2631153.8308 | 1213922.4421 | 2631158.683 | 1213937.187
37 | 2631139.0692 | 1213927.6681 | 2631139.0692 | 1213927.6681 | 2631141.5918 | 1213926.2692
38 | 2631158.683 | 1213937.187 | 2631160.9782 | 1213944.1807 | 2631163.7191 | 1213958.8924 | 2631169.2621 | 1213992.6073
39 | 2631139.0692 | 1213927.6681 | 2631137.5527 | 1213931.5402 | 2631137.5527 | 1213931.5402
40 | 2631123.2944 | 1213994.6354 | 2631127.4976 | 1213992.5673 | 2631135.5876 | 1213992.3093 | 2631145.7737 | 1213992.0623 | 2631155.1367 | 1213992.3779 | 2631163.1177 | 1213992.6197 | 2631169.2621 | 1213992.6073
41 | 2631169.2621 | 1213992.6073 | 2631172.2302 | 1214004.5408 | 2631173.2715 | 1214008.7375
42 | 2630924.9195 | 1213949.3094 | 2630922.1934 | 1213937.8137 | 2630922.2917 | 1213934.3397
43 | 2630924.9195 | 1213949.3094 | 2630931.5139 | 1213977.1179 | 2630931.7949 | 1213982.9893 | 2630931.0621 | 1213986.629
44 | 2630922.2917 | 1213934.3397 | 2630922.3422 | 1213932.5559 | 2630924.3914 | 1213926.9744 | 2630932.7168 | 1213910.6192 | 2630937.7152 | 1213903.1186 | 2630941.3682 | 1213898.4678
45 | 2631021.4281 | 1213752.5998 | 2631030.9228 | 1213755.3952 | 2631042.915 | 1213759.9268 | 2631045.1483 | 1213762.7845
46 | 2631173.2715 | 1214008.7375 | 2631176.0112 | 1214020.8517

## bus_geodata
| x | y | coords
0 | 2631093.8436 | 1213823.1697
1 | 2631097.6895 | 1213829.9192
2 | 2631067.4368 | 1213769.2554
3 | 2631105.2429 | 1213841.9865
4 | 2631056.8845 | 1213745.7193
5 | 2631113.3865 | 1213854.092
6 | 2631050.8914 | 1213733.2063
7 | 2631382.3706 | 1213794.6717
8 | 2631388.0414 | 1213760.1509
9 | 2631412.3485 | 1213640.0786
10 | 2631214.1448 | 1213602.6068
11 | 2631151.2616 | 1213680.2653
12 | 2631148.9555 | 1213700.877
13 | 2631151.9354 | 1213667.3474
14 | 2631138.454 | 1213738.157
15 | 2631152.3501 | 1213663.7986
16 | 2631127.3702 | 1213835.801
17 | 2631150.5032 | 1213564.6194
18 | 2630916.9878 | 1214064.0994
19 | 2630954.8137 | 1214075.7627
20 | 2630914.1591 | 1214063.2768
21 | 2630974.3486 | 1214082.457
22 | 2630902.0866 | 1214058.5874
23 | 2630997.3115 | 1214089.2679
24 | 2630925.6909 | 1213992.7856
25 | 2631050.2855 | 1213731.9861
26 | 2631042.9208 | 1213717.2961
27 | 2631032.7135 | 1213700.2284
28 | 2630928.7258 | 1213994.858
29 | 2630919.1188 | 1213987.404
30 | 2631139.4437 | 1213892.4807
31 | 2631122.3467 | 1213866.3959
32 | 2631153.8308 | 1213922.4421
33 | 2631141.5918 | 1213926.2692
34 | 2631158.683 | 1213937.187
35 | 2631139.0692 | 1213927.6681
36 | 2631169.2621 | 1213992.6073
37 | 2630924.9195 | 1213949.3094
38 | 2630922.2917 | 1213934.3397
39 | 2630931.0621 | 1213986.629
40 | 2630941.3682 | 1213898.4678
41 | 2630891.1459 | 1213973.4022
42 | 2631123.2944 | 1213994.6354
43 | 2631021.4281 | 1213752.5998
44 | 2631045.1483 | 1213762.7845
45 | 2631137.5527 | 1213931.5402
46 | 2631173.2715 | 1214008.7375
47 | 2631176.0112 | 1214020.8517
48 | 2631153.8308 | 1213922.4421

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1