## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_953-5_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_953-5_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_953-5_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_953-5_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_953-5_0_3_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_953-5_0_3_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_953-5_0_3_node_67 | 0.4 | n |  | TRUE
7 | bus_LV_953-5_0_3_node_72 | 0.4 | n |  | TRUE
8 | bus_LV_953-5_0_3_node_106 | 0.4 | n |  | TRUE
9 | bus_LV_953-5_0_3_node_4 | 0.4 | n |  | TRUE
10 | bus_LV_953-5_0_3_node_98 | 0.4 | n |  | TRUE
11 | bus_LV_953-5_0_3_node_10 | 0.4 | n |  | TRUE
12 | bus_LV_953-5_0_3_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_953-5_0_3_node_85 | 0.4 | n |  | TRUE
14 | bus_LV_953-5_0_3_node_83 | 0.4 | n |  | TRUE
15 | bus_LV_953-5_0_3_node_122 | 0.4 | n |  | TRUE
16 | bus_LV_953-5_0_3_node_8 | 0.4 | n |  | TRUE
17 | bus_LV_953-5_0_3_node_103 | 0.4 | n |  | TRUE
18 | bus_LV_953-5_0_3_node_84 | 0.4 | n |  | TRUE
19 | bus_LV_953-5_0_3_node_9 | 0.4 | n |  | TRUE
20 | bus_LV_953-5_0_3_node_80 | 0.4 | n |  | TRUE
21 | bus_LV_953-5_0_3_node_120 | 0.4 | n |  | TRUE
22 | bus_LV_953-5_0_3_node_108 | 0.4 | n |  | TRUE
23 | bus_LV_953-5_0_3_node_107 | 0.4 | n |  | TRUE
24 | bus_LV_953-5_0_3_node_17 | 0.4 | n |  | TRUE
25 | bus_LV_953-5_0_3_node_18 | 0.4 | n |  | TRUE
26 | bus_LV_953-5_0_3_node_19 | 0.4 | n |  | TRUE
27 | bus_LV_953-5_0_3_node_117 | 0.4 | n |  | TRUE
28 | bus_LV_953-5_0_3_node_21 | 0.4 | n |  | TRUE
29 | bus_LV_953-5_0_3_node_116 | 0.4 | n |  | TRUE
30 | bus_LV_953-5_0_3_node_20 | 0.4 | n |  | TRUE
31 | bus_LV_953-5_0_3_node_28 | 0.4 | n |  | TRUE
32 | bus_LV_953-5_0_3_node_129 | 0.4 | n |  | TRUE
33 | bus_LV_953-5_0_3_node_29 | 0.4 | n |  | TRUE
34 | bus_LV_953-5_0_3_node_30 | 0.4 | n |  | TRUE
35 | bus_LV_953-5_0_3_node_40 | 0.4 | n |  | TRUE
36 | bus_LV_953-5_0_3_node_41 | 0.4 | n |  | TRUE
37 | bus_LV_953-5_0_3_node_42 | 0.4 | n |  | TRUE
38 | bus_LV_953-5_0_3_node_43 | 0.4 | n |  | TRUE
39 | bus_LV_953-5_0_3_node_45 | 0.4 | n |  | TRUE
40 | bus_LV_953-5_0_3_node_46 | 0.4 | n |  | TRUE
41 | bus_LV_953-5_0_3_node_44 | 0.4 | n |  | TRUE
42 | bus_LV_953-5_0_3_node_70 | 0.4 | n |  | TRUE
43 | bus_LV_953-5_0_3_node_110 | 0.4 | n |  | TRUE
44 | bus_LV_953-5_0_3_node_47 | 0.4 | n |  | TRUE
45 | bus_LV_953-5_0_3_node_71 | 0.4 | n |  | TRUE
46 | bus_LV_953-5_0_3_node_48 | 0.4 | n |  | TRUE
47 | bus_LV_953-5_0_3_node_87 | 0.4 | n |  | TRUE
48 | bus_LV_953-5_0_3_node_86 | 0.4 | n |  | TRUE
49 | bus_LV_953-5_0_3_node_62 | 0.4 | n |  | TRUE
50 | bus_LV_953-5_0_3_node_63 | 0.4 | n |  | TRUE
51 | bus_LV_953-5_0_3_node_64 | 0.4 | n |  | TRUE
52 | bus_LV_953-5_0_3_node_65 | 0.4 | n |  | TRUE
53 | bus_LV_953-5_0_3_node_66 | 0.4 | n |  | TRUE
54 | bus_LV_953-5_0_3_node_104 | 0.4 | n |  | TRUE
55 | bus_LV_953-5_0_3_node_105 | 0.4 | n |  | TRUE
56 | bus_LV_953-5_0_3_node_114 | 0.4 | n |  | TRUE
57 | bus_LV_953-5_0_3_node_128 | 0.4 | n |  | TRUE
58 | bus_LV_953-5_0_3_node_113 | 0.4 | n |  | TRUE
59 | bus_LV_953-5_0_3_node_115 | 0.4 | n |  | TRUE
60 | bus_LV_953-5_0_3_node_118 | 0.4 | n |  | TRUE
61 | bus_LV_953-5_0_3_node_119 | 0.4 | n |  | TRUE
62 | bus_LV_953-5_0_3_node_121 | 0.4 | n |  | TRUE
63 | bus_LV_953-5_0_3_node_88 | 0.4 | n |  | TRUE
64 | bus_MV_0_node_106 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_953-5_0_3_load_0 | 0 | 0.00016546 | 4.1468e-05 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_953-5_0_3_load_1 | 1 | 0.00086832 | 0.00021762 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_953-5_0_3_load_3 | 3 | 0.00016467 | 4.1271e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_953-5_0_3_load_72 | 7 | 0.0003232 | 8.1001e-05 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_953-5_0_3_load_98 | 10 | 0.00050487 | 0.00012653 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_953-5_0_3_load_7 | 12 | 0.00073928 | 0.00018528 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_953-5_0_3_load_83 | 14 | 0.00038117 | 9.553e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_953-5_0_3_load_122 | 15 | 0.00015313 | 3.8379e-05 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_953-5_0_3_load_8 | 16 | 0.00014781 | 3.7045e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_953-5_0_3_load_103 | 17 | 0.00093279 | 0.00023378 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_953-5_0_3_load_84 | 18 | 0.00079314 | 0.00019878 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_953-5_0_3_load_80 | 20 | 0.00017435 | 4.3695e-05 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_953-5_0_3_load_108 | 22 | 0.0014667 | 0.00036759 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_953-5_0_3_load_107 | 23 | 0.00018699 | 4.6863e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_953-5_0_3_load_17 | 24 | 0.00090609 | 0.00022709 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_953-5_0_3_load_116 | 29 | 0.00033423 | 8.3767e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_953-5_0_3_load_28 | 31 | 0.001176 | 0.00029474 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_953-5_0_3_load_129 | 32 | 0.00062411 | 0.00015642 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_953-5_0_3_load_30 | 34 | 0.0016662 | 0.0004176 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_953-5_0_3_load_40 | 35 | 0.0015073 | 0.00037776 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_953-5_0_3_load_45 | 39 | 0.00013068 | 3.2751e-05 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_953-5_0_3_load_46 | 40 | 0.00035538 | 8.9066e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_953-5_0_3_load_70 | 42 | 0.00029333 | 7.3515e-05 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_953-5_0_3_load_110 | 43 | 0.00019225 | 4.8183e-05 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_953-5_0_3_load_87 | 47 | 0.0022609 | 0.00056664 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_953-5_0_3_load_86 | 48 | 0.00024238 | 6.0746e-05 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_953-5_0_3_load_62 | 49 | 0.00022345 | 5.6003e-05 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_953-5_0_3_load_63 | 50 | 0.00012267 | 3.0744e-05 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_953-5_0_3_load_65 | 52 | 0.001411 | 0.00035364 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_953-5_0_3_load_66 | 53 | 0.0001326 | 3.3232e-05 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_953-5_0_3_load_104 | 54 | 0.00010442 | 2.6169e-05 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_953-5_0_3_load_128 | 57 | 0.000537 | 0.00013458 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_953-5_0_3_load_113 | 58 | 0.00087021 | 0.0002181 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_953-5_0_3_load_118 | 60 | 0.001173 | 0.00029398 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_953-5_0_3_load_121 | 62 | 0.00035791 | 8.9701e-05 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_953-5_0_3_load_88 | 63 | 0.00073273 | 0.00018364 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 8 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_953-5_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.012745 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_953-5_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.04572 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_953-5_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.023175 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_953-5_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.28927 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_953-5_0_3_line_4 | NAYY 4x150 SE | 2 | 5 | 0.19963 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_953-5_0_3_line_5 | NAYY 4x150 SE | 4 | 11 | 0.01138 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_953-5_0_3_line_6 | NAYY 4x150 SE | 4 | 12 | 0.087473 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_953-5_0_3_line_7 | NAYY 4x150 SE | 4 | 9 | 0.020925 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_953-5_0_3_line_8 | NAYY 4x150 SE | 5 | 13 | 0.01775 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_953-5_0_3_line_9 | NAYY 4x150 SE | 5 | 14 | 0.020452 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_953-5_0_3_line_10 | NAYY 4x150 SE | 6 | 7 | 0.062227 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_953-5_0_3_line_11 | NAYY 4x150 SE | 6 | 8 | 0.41614 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_953-5_0_3_line_12 | NAYY 4x150 SE | 7 | 45 | 0.014528 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_953-5_0_3_line_13 | NAYY 4x150 SE | 8 | 57 | 0.016751 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_953-5_0_3_line_14 | NAYY 4x150 SE | 8 | 13 | 0.23016 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_953-5_0_3_line_15 | NAYY 4x150 SE | 9 | 10 | 0.010105 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_953-5_0_3_line_16 | NAYY 4x150 SE | 11 | 15 | 0.0046675 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_953-5_0_3_line_17 | NAYY 4x150 SE | 12 | 16 | 0.0042364 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_953-5_0_3_line_18 | NAYY 4x150 SE | 13 | 17 | 0.0066135 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_953-5_0_3_line_19 | NAYY 4x150 SE | 14 | 18 | 0.0033238 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_953-5_0_3_line_20 | NAYY 4x150 SE | 15 | 21 | 0.0066358 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_953-5_0_3_line_21 | NAYY 4x150 SE | 16 | 19 | 0.054009 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_953-5_0_3_line_22 | NAYY 4x150 SE | 17 | 54 | 0.025133 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_953-5_0_3_line_23 | NAYY 4x150 SE | 19 | 20 | 0.31569 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_953-5_0_3_line_24 | NAYY 4x150 SE | 21 | 60 | 0.044954 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_953-5_0_3_line_25 | NAYY 4x150 SE | 22 | 23 | 0.039424 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_953-5_0_3_line_26 | NAYY 4x150 SE | 23 | 41 | 0.020694 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_953-5_0_3_line_27 | NAYY 4x150 SE | 24 | 25 | 0.036264 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_953-5_0_3_line_28 | NAYY 4x150 SE | 24 | 26 | 0.013112 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_953-5_0_3_line_29 | NAYY 4x150 SE | 25 | 27 | 0.17276 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_953-5_0_3_line_30 | NAYY 4x150 SE | 26 | 28 | 0.068011 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_953-5_0_3_line_31 | NAYY 4x150 SE | 27 | 29 | 0.33579 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_953-5_0_3_line_32 | NAYY 4x150 SE | 28 | 32 | 0.009361 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_953-5_0_3_line_33 | NAYY 4x150 SE | 28 | 30 | 0.094118 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_953-5_0_3_line_34 | NAYY 4x150 SE | 29 | 59 | 0.011635 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_953-5_0_3_line_35 | NAYY 4x150 SE | 30 | 31 | 0.020286 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_953-5_0_3_line_36 | NAYY 4x150 SE | 31 | 33 | 0.027227 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_953-5_0_3_line_37 | NAYY 4x150 SE | 33 | 34 | 0.029965 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_953-5_0_3_line_38 | NAYY 4x150 SE | 35 | 36 | 0.055433 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_953-5_0_3_line_39 | NAYY 4x150 SE | 35 | 37 | 0.049342 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_953-5_0_3_line_40 | NAYY 4x150 SE | 36 | 38 | 0.10718 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_953-5_0_3_line_41 | NAYY 4x150 SE | 37 | 39 | 0.0071423 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_953-5_0_3_line_42 | NAYY 4x150 SE | 37 | 40 | 0.021695 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_953-5_0_3_line_43 | NAYY 4x150 SE | 38 | 41 | 0.089696 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_953-5_0_3_line_44 | NAYY 4x150 SE | 38 | 42 | 0.034804 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_953-5_0_3_line_45 | NAYY 4x150 SE | 39 | 44 | 0.066208 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_953-5_0_3_line_46 | NAYY 4x150 SE | 41 | 43 | 0.000964 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_953-5_0_3_line_47 | NAYY 4x150 SE | 42 | 45 | 0.018076 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_953-5_0_3_line_48 | NAYY 4x150 SE | 44 | 46 | 0.062271 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_953-5_0_3_line_49 | NAYY 4x150 SE | 45 | 53 | 0.0069511 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_953-5_0_3_line_50 | NAYY 4x150 SE | 46 | 47 | 0.055187 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_953-5_0_3_line_51 | NAYY 4x150 SE | 47 | 48 | 0.039091 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_953-5_0_3_line_52 | NAYY 4x150 SE | 48 | 63 | 0.0011547 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_953-5_0_3_line_53 | NAYY 4x150 SE | 49 | 50 | 0.0080363 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_953-5_0_3_line_54 | NAYY 4x150 SE | 49 | 51 | 0.073757 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_953-5_0_3_line_55 | NAYY 4x150 SE | 50 | 52 | 0.015046 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_953-5_0_3_line_56 | NAYY 4x150 SE | 51 | 53 | 0.1048 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_953-5_0_3_line_57 | NAYY 4x150 SE | 54 | 55 | 0.08074 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_953-5_0_3_line_58 | NAYY 4x150 SE | 55 | 56 | 0.38041 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_953-5_0_3_line_59 | NAYY 4x150 SE | 56 | 58 | 0.057534 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_953-5_0_3_line_60 | NAYY 4x150 SE | 58 | 59 | 0.052942 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_953-5_0_3_line_61 | NAYY 4x150 SE | 60 | 61 | 0.096566 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_953-5_0_3_line_62 | NAYY 4x150 SE | 61 | 62 | 0.10072 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_953-5_0_3_trafo_106 | 0.25 MVA 20/0.4 kV | 64 | 8 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28 | x29 | y29 | x30 | y30 | x31 | y31 | x32 | y32 | x33 | y33 | x34 | y34 | x35 | y35 | x36 | y36 | x37 | y37 | x38 | y38 | x39 | y39 | x40 | y40 | x41 | y41 | x42 | y42 | x43 | y43 | x44 | y44
0 | 2632475.272 | 1214928.8807 | 2632473.3126 | 1214927.1951 | 2632471.595 | 1214926.0518 | 2632468.5889 | 1214924.479 | 2632465.1412 | 1214923.1039 | 2632464.2236 | 1214922.726
1 | 2632508.9704 | 1214959.7413 | 2632503.5562 | 1214955.5205 | 2632485.5219 | 1214938.6348 | 2632475.6406 | 1214929.1978 | 2632475.272 | 1214928.8807
2 | 2632447.0619 | 1214907.6125 | 2632447.8391 | 1214908.3791 | 2632453.31 | 1214914.7347 | 2632456.9123 | 1214918.4008 | 2632459.4153 | 1214920.3378 | 2632460.8301 | 1214921.3016 | 2632462.1862 | 1214921.8871 | 2632464.2236 | 1214922.726
3 | 2632508.9704 | 1214959.7413 | 2632509.2046 | 1214964.134 | 2632509.41 | 1214968.2486 | 2632509.059 | 1214974.1278 | 2632508.1792 | 1214979.5151 | 2632506.8141 | 1214984.7662 | 2632504.5587 | 1214990.346 | 2632502.0991 | 1214995.7914 | 2632496.6775 | 1215006.8905 | 2632494.5528 | 1215012.1931 | 2632493.2383 | 1215016.5106 | 2632492.5632 | 1215020.5537 | 2632492.33 | 1215025.7444 | 2632492.7906 | 1215030.4051 | 2632493.9578 | 1215034.9808 | 2632495.8486 | 1215039.1824 | 2632498.6335 | 1215043.7224 | 2632501.2434 | 1215046.9273 | 2632505.7732 | 1215050.3873 | 2632511.9062 | 1215053.6559 | 2632522.2862 | 1215057.9261 | 2632529.7105 | 1215061.1128 | 2632573.158 | 1215082.5621 | 2632579.8789 | 1215086.6233 | 2632586.263 | 1215091.183 | 2632592.2648 | 1215096.2298 | 2632597.8917 | 1215101.7748 | 2632611.5132 | 1215120.082 | 2632620.2693 | 1215135.2275 | 2632622.1976 | 1215139.4627 | 2632623.6769 | 1215143.8956 | 2632624.4638 | 1215148.5804 | 2632624.3278 | 1215152.6153 | 2632623.6529 | 1215156.625 | 2632622.2907 | 1215161.3314 | 2632620.4762 | 1215165.4239 | 2632618.3249 | 1215168.6362 | 2632615.3397 | 1215171.5994 | 2632611.18 | 1215174.0892
4 | 2632508.9704 | 1214959.7413 | 2632508.5732 | 1214950.4004 | 2632507.7911 | 1214932.2746 | 2632507.8606 | 1214925.093 | 2632508.615 | 1214917.6373 | 2632510.0671 | 1214908.9624 | 2632511.8449 | 1214897.6655 | 2632512.4635 | 1214892.8328 | 2632512.6803 | 1214886.497 | 2632513.0427 | 1214868.7665 | 2632513.5622 | 1214864.0221 | 2632514.4873 | 1214860.0916 | 2632515.6018 | 1214857.6184 | 2632517.1762 | 1214855.7815 | 2632519.1529 | 1214853.969 | 2632522.6738 | 1214851.6646 | 2632526.8146 | 1214849.875 | 2632531.0967 | 1214848.6421 | 2632539.0298 | 1214846.3284 | 2632548.69 | 1214844.7802 | 2632554.2594 | 1214844.2214 | 2632567.7611 | 1214842.872 | 2632577.0277 | 1214842.489 | 2632586.3144 | 1214842.6064 | 2632595.7199 | 1214843.2248 | 2632600.1181 | 1214842.982 | 2632604.4593 | 1214842.0496 | 2632608.5992 | 1214840.4379
5 | 2632611.18 | 1215174.0892 | 2632609.6605 | 1215185.3652
6 | 2632611.18 | 1215174.0892 | 2632608.2513 | 1215175.0515 | 2632604.9308 | 1215175.4447 | 2632600.4664 | 1215175.3425 | 2632595.7405 | 1215174.4495 | 2632572.3022 | 1215166.9951 | 2632558.2525 | 1215160.359 | 2632538.1171 | 1215148.7648 | 2632529.9113 | 1215146.9518
7 | 2632611.18 | 1215174.0892 | 2632615.1226 | 1215176.59 | 2632617.7451 | 1215177.4715 | 2632624.838 | 1215178.7443 | 2632630.8574 | 1215180.5449
8 | 2632621.2257 | 1214828.3221 | 2632618.8207 | 1214832.0778 | 2632615.8714 | 1214835.3859 | 2632612.4311 | 1214838.202 | 2632608.5992 | 1214840.4379
9 | 2632608.5992 | 1214840.4379 | 2632619.8351 | 1214849.3378 | 2632622.5508 | 1214854.8205
10 | 2632497.0932 | 1214280.7406 | 2632491.979 | 1214275.7209 | 2632485.1959 | 1214270.3365 | 2632478.0683 | 1214265.4616 | 2632472.4891 | 1214262.1404 | 2632466.4906 | 1214259.1283 | 2632459.9134 | 1214256.3687 | 2632443.5594 | 1214250.3473
11 | 2632497.0932 | 1214280.7406 | 2632586.784 | 1214687.097
12 | 2632429.7361 | 1214245.8987 | 2632438.7667 | 1214248.5827 | 2632443.5594 | 1214250.3473
13 | 2632586.784 | 1214687.097 | 2632570.8903 | 1214692.5245
14 | 2632586.784 | 1214687.097 | 2632588.3245 | 1214687.3055 | 2632598.0495 | 1214685.0684 | 2632610.7168 | 1214678.0669 | 2632620.3829 | 1214674.1063 | 2632625.4833 | 1214673.2448 | 2632630.6021 | 1214673.1727 | 2632635.6709 | 1214673.912 | 2632640.5381 | 1214675.4172 | 2632645.2044 | 1214677.5551 | 2632649.5252 | 1214680.3692 | 2632652.8194 | 1214683.4446 | 2632655.6195 | 1214686.6061 | 2632657.9668 | 1214689.2538 | 2632660.025 | 1214696.158 | 2632659.7937 | 1214706.5071 | 2632661.5032 | 1214725.772 | 2632661.279 | 1214729.2728 | 2632660.4629 | 1214732.6926 | 2632659.0783 | 1214735.9313 | 2632657.1023 | 1214738.9889 | 2632645.8202 | 1214748.2103 | 2632642.8929 | 1214751.663 | 2632640.5098 | 1214755.5522 | 2632638.7554 | 1214759.7561 | 2632637.6604 | 1214764.1861 | 2632635.032 | 1214789.3529 | 2632633.8478 | 1214796.1948 | 2632632.0635 | 1214801.6993 | 2632621.2257 | 1214828.3221
15 | 2632630.8574 | 1215180.5449 | 2632639.4092 | 1215184.4161 | 2632640.0614 | 1215184.716
16 | 2632609.6605 | 1215185.3652 | 2632606.7201 | 1215188.4509 | 2632606.5148 | 1215188.8002
17 | 2632529.9113 | 1215146.9518 | 2632525.7746 | 1215146.0378
18 | 2632621.2257 | 1214828.3221 | 2632626.8749 | 1214824.8834
19 | 2632624.0262 | 1214857.7989 | 2632622.5508 | 1214854.8205
20 | 2632603.7392 | 1215194.7939 | 2632604.8576 | 1215191.6204 | 2632606.5148 | 1215188.8002
21 | 2632472.8184 | 1215136.6022 | 2632478.3026 | 1215136.2986 | 2632486.7648 | 1215137.134 | 2632512.0117 | 1215142.997 | 2632525.7746 | 1215146.0378
22 | 2632626.8749 | 1214824.8834 | 2632643.2912 | 1214814.8905 | 2632648.2024 | 1214811.5946
23 | 2632472.8184 | 1215136.6022 | 2632159.5739 | 1215175.8204
24 | 2632603.7392 | 1215194.7939 | 2632603.1919 | 1215207.4093 | 2632603.6359 | 1215210.9248 | 2632604.6606 | 1215213.7765 | 2632606.3132 | 1215215.6755 | 2632608.9174 | 1215217.1128 | 2632612.5484 | 1215218.2666 | 2632616.7137 | 1215218.9009 | 2632620.4118 | 1215218.8877 | 2632628.7413 | 1215217.0059
25 | 2632277.1257 | 1214247.5375 | 2632271.7878 | 1214249.1337 | 2632247.6055 | 1214259.1533 | 2632244.5108 | 1214259.837 | 2632241.3656 | 1214260.0312 | 2632240.0146 | 1214259.9149
26 | 2632290.6368 | 1214233.8602 | 2632286.5174 | 1214242.8653 | 2632285.2253 | 1214244.4592 | 2632283.5101 | 1214245.6284 | 2632277.1257 | 1214247.5375
27 | 2633202.337 | 1214960.3241 | 2633197.2365 | 1214959.8732 | 2633185.694 | 1214958.5083 | 2633180.8914 | 1214959.1042 | 2633176.3996 | 1214961.1804 | 2633169.1064 | 1214965.8537 | 2633168.2851 | 1214966.5404
28 | 2633159.141 | 1214975.8485 | 2633159.6235 | 1214975.1063 | 2633163.4531 | 1214970.5806 | 2633168.2851 | 1214966.5404
29 | 2633282.4392 | 1214807.2594 | 2633202.337 | 1214960.3241
30 | 2633153.1931 | 1215039.0743 | 2633152.6193 | 1215035.7358 | 2633153.0125 | 1215031.9469 | 2633152.0239 | 1215022.6361 | 2633145.6661 | 1214998.3645 | 2633146.4495 | 1214995.4116 | 2633159.141 | 1214975.8485
31 | 2633282.4392 | 1214807.2594 | 2633280.9724 | 1214806.1061 | 2633276.9171 | 1214804.7605 | 2633272.6597 | 1214805.6151 | 2633261.6864 | 1214813.8031 | 2633252.5485 | 1214819.6778 | 2633243.0044 | 1214824.8721 | 2633233.1529 | 1214829.3532 | 2633227.6912 | 1214831.0238 | 2633222.0734 | 1214832.0709 | 2633216.3682 | 1214832.4727 | 2633210.6438 | 1214832.2074 | 2633201.4243 | 1214830.9331 | 2633192.2687 | 1214829.0923 | 2633183.2375 | 1214826.7296 | 2633174.3687 | 1214823.8342 | 2633165.7002 | 1214820.4174 | 2633161.505 | 1214818.2928 | 2633157.7461 | 1214815.537 | 2633154.4841 | 1214812.2059 | 2633151.8018 | 1214808.3999 | 2633149.7747 | 1214804.1973 | 2633143.1857 | 1214781.8701 | 2633139.959 | 1214777.6386 | 2633137.827 | 1214775.9258 | 2633135.4424 | 1214774.5784 | 2633130.3319 | 1214773.1604 | 2633125.0373 | 1214773.4423 | 2633122.451 | 1214774.2284 | 2633113.5373 | 1214778.0367 | 2633092.7551 | 1214788.5386 | 2633083.1118 | 1214792.4541 | 2633073.1993 | 1214795.6344 | 2633063.1239 | 1214798.0466 | 2633057.1146 | 1214798.4914 | 2633051.0401 | 1214798.3688 | 2633045.0067 | 1214797.6905 | 2633039.0523 | 1214796.4569 | 2633033.2375 | 1214794.6792 | 2632996.5615 | 1214780.446 | 2632992.0135 | 1214778.3655
32 | 2633153.1931 | 1215039.0743 | 2633149.5008 | 1215042.1333 | 2633146.2857 | 1215045.3951
33 | 2633153.1931 | 1215039.0743 | 2633155.2797 | 1215042.0987 | 2633158.9954 | 1215044.3985 | 2633164.0762 | 1215047.0171 | 2633163.7837 | 1215054.5532 | 2633158.2483 | 1215085.9183 | 2633159.1574 | 1215091.7712 | 2633162.2441 | 1215097.9252 | 2633167.5524 | 1215101.9571 | 2633173.777 | 1215103.7149 | 2633181.3383 | 1215102.6897 | 2633188.6494 | 1215101.5852
34 | 2632981.0947 | 1214774.5571 | 2632985.8355 | 1214775.5394 | 2632992.0135 | 1214778.3655
35 | 2633188.6494 | 1215101.5852 | 2633196.1114 | 1215097.9468 | 2633201.247 | 1215096.1521 | 2633206.2952 | 1215095.0685 | 2633207.6713 | 1215094.9514
36 | 2633233.7295 | 1215100.7466 | 2633231.3685 | 1215099.2882 | 2633226.6418 | 1215097.1829 | 2633221.6915 | 1215095.6989 | 2633216.6009 | 1215094.8479 | 2633211.4461 | 1215094.6302 | 2633207.6713 | 1215094.9514
37 | 2633233.7295 | 1215100.7466 | 2633232.0267 | 1215109.2643 | 2633230.687 | 1215118.0286 | 2633227.5468 | 1215124.2147 | 2633223.6374 | 1215128.0618
38 | 2632279.1691 | 1214197.3105 | 2632283.2596 | 1214193.6638 | 2632302.5823 | 1214189.1324 | 2632332.4887 | 1214185.6671
39 | 2632381.5031 | 1214179.9879 | 2632332.4887 | 1214185.6671
40 | 2632279.1691 | 1214197.3105 | 2632286.773 | 1214201.2316 | 2632294.0473 | 1214205.7068 | 2632313.0551 | 1214218.6505 | 2632344.1919 | 1214227.3129 | 2632352.0105 | 1214229.4454 | 2632377.6948 | 1214236.5998
41 | 2632381.5031 | 1214179.9879 | 2632384.3633 | 1214179.1474 | 2632388.0271 | 1214177.1744
42 | 2632381.5031 | 1214179.9879 | 2632382.8884 | 1214187.8333 | 2632379.1865 | 1214194.0279 | 2632373.2924 | 1214196.7973
43 | 2632377.6948 | 1214236.5998 | 2632352.0105 | 1214229.4454 | 2632343.2485 | 1214233.2223 | 2632337.9383 | 1214233.5048 | 2632330.8323 | 1214231.6208 | 2632322.8685 | 1214231.0663 | 2632293.2362 | 1214232.0954 | 2632291.7897 | 1214232.7435 | 2632290.6368 | 1214233.8602
44 | 2632377.6948 | 1214236.5998 | 2632387.0113 | 1214238.3958 | 2632401.8671 | 1214241.078 | 2632411.9707 | 1214242.6131
45 | 2632428.8108 | 1214125.4799 | 2632427.3184 | 1214128.9738 | 2632425.3563 | 1214132.2539 | 2632408.5496 | 1214154.52 | 2632399.4821 | 1214165.5994 | 2632393.0012 | 1214173.0685 | 2632389.2687 | 1214176.5058 | 2632388.0271 | 1214177.1744
46 | 2632290.102 | 1214233.0568 | 2632290.6368 | 1214233.8602
47 | 2632429.7361 | 1214245.8987 | 2632425.6552 | 1214244.976 | 2632420.5345 | 1214243.9143 | 2632411.9707 | 1214242.6131
48 | 2632428.8108 | 1214125.4799 | 2632429.8256 | 1214121.8166 | 2632430.3397 | 1214118.0506 | 2632430.3408 | 1214108.0671 | 2632429.5779 | 1214101.7148 | 2632424.673 | 1214079.0974 | 2632423.2853 | 1214068.9062 | 2632423.4938 | 1214065.472 | 2632423.8051 | 1214064.0952
49 | 2632429.7361 | 1214245.8987 | 2632435.9706 | 1214242.825
50 | 2632423.8051 | 1214064.0952 | 2632424.2486 | 1214062.1409 | 2632425.5572 | 1214058.935 | 2632429.4832 | 1214053.4532 | 2632432.5695 | 1214051.5467 | 2632436.0523 | 1214050.7318 | 2632439.5594 | 1214051.0621 | 2632441.2649 | 1214051.6717 | 2632452.9606 | 1214057.3386 | 2632458.7308 | 1214057.7035 | 2632464.3818 | 1214056.2222 | 2632469.3091 | 1214053.125
51 | 2632499.4299 | 1214028.8349 | 2632493.7448 | 1214032.3126 | 2632489.0974 | 1214037.7682 | 2632484.664 | 1214042.9693 | 2632481.2851 | 1214045.5969 | 2632469.3091 | 1214053.125
52 | 2632499.4299 | 1214028.8349 | 2632500.4149 | 1214028.2323
53 | 2632549.4133 | 1214111.9004 | 2632549.8235 | 1214106.5163 | 2632550.2299 | 1214103.9112
54 | 2632514.3324 | 1214174.8957 | 2632528.0483 | 1214158.2163 | 2632538.6292 | 1214144.0325 | 2632541.9002 | 1214138.8918 | 2632544.679 | 1214133.4816 | 2632546.9351 | 1214127.8351 | 2632548.6373 | 1214122.0855 | 2632549.4133 | 1214111.9004
55 | 2632550.2299 | 1214103.9112 | 2632552.4364 | 1214089.7654 | 2632552.5876 | 1214089.0526
56 | 2632514.3324 | 1214174.8957 | 2632490.9726 | 1214199.705 | 2632475.0402 | 1214216.2279 | 2632458.0517 | 1214231.4331 | 2632454.1785 | 1214234.2026 | 2632449.5612 | 1214236.9568 | 2632444.8696 | 1214239.3883 | 2632438.2116 | 1214241.7201 | 2632435.9706 | 1214242.825
57 | 2632714.8509 | 1214766.0318 | 2632695.5246 | 1214779.8006 | 2632677.125 | 1214792.1847 | 2632648.2024 | 1214811.5946
58 | 2632714.8509 | 1214766.0318 | 2632728.8875 | 1214759.9608 | 2632731.5923 | 1214758.3191 | 2632736.0744 | 1214753.8856 | 2632737.7446 | 1214751.2043 | 2632739.7442 | 1214745.2229 | 2632740.1323 | 1214739.544 | 2632739.9964 | 1214733.8622 | 2632739.3364 | 1214728.2109 | 2632739.1415 | 1214722.1952 | 2632739.7288 | 1214716.2061 | 2632741.0747 | 1214710.3434 | 2632742.1866 | 1214705.6246 | 2632743.2721 | 1214696.0139 | 2632743.6141 | 1214694.5816 | 2632745.9128 | 1214690.8476 | 2632755.1508 | 1214686.0399 | 2632764.6817 | 1214681.8454 | 2632773.0056 | 1214677.5552 | 2632780.9609 | 1214672.6294 | 2632801.1393 | 1214660.033 | 2632805.7618 | 1214657.7014 | 2632810.6616 | 1214656.0274 | 2632815.7399 | 1214655.0436 | 2632820.9131 | 1214654.7608 | 2632823.5952 | 1214657.2659 | 2632825.8575 | 1214660.1578 | 2632827.6473 | 1214663.3583 | 2632828.9194 | 1214666.8007 | 2632827.5667 | 1214669.7394 | 2632826.2105 | 1214676.0689 | 2632826.2534 | 1214679.3154 | 2632827.7376 | 1214685.605 | 2632831.9978 | 1214695.2785 | 2632843.134 | 1214715.3846 | 2632849.2161 | 1214727.9365 | 2632859.8997 | 1214755.7335 | 2632867.9286 | 1214773.2879 | 2632873.2726 | 1214786.0802 | 2632877.2741 | 1214804.1016 | 2632878.884 | 1214810.9811 | 2632883.6424 | 1214822.5473 | 2632886.8077 | 1214828.3125 | 2632894.8263 | 1214836.6837 | 2632897.8054 | 1214841.7697
59 | 2632897.8054 | 1214841.7697 | 2632918.032 | 1214835.5332 | 2632922.5277 | 1214832.7675 | 2632934.71 | 1214817.3258 | 2632942.4243 | 1214808.9035
60 | 2632981.0947 | 1214774.5571 | 2632976.2693 | 1214775.1419 | 2632969.9687 | 1214778.8315 | 2632942.4243 | 1214808.9035
61 | 2632722.6992 | 1215200.1367 | 2632721.4307 | 1215201.5861 | 2632719.0005 | 1215203.0292 | 2632716.5723 | 1215204.1054 | 2632712.6015 | 1215205.3844 | 2632704.7967 | 1215206.5423 | 2632696.6847 | 1215206.9537 | 2632681.3376 | 1215207.0808 | 2632673.9926 | 1215207.4853 | 2632666.7281 | 1215208.4238 | 2632628.7413 | 1215217.0059
62 | 2632722.6992 | 1215200.1367 | 2632724.5536 | 1215197.0784 | 2632725.2945 | 1215194.9034 | 2632725.8495 | 1215192.0048 | 2632726.1642 | 1215188.6268 | 2632726.1085 | 1215184.9355 | 2632725.4553 | 1215179.4287 | 2632724.1666 | 1215174.8746 | 2632721.2314 | 1215167.3097 | 2632716.8666 | 1215157.3578 | 2632710.4522 | 1215144.5041 | 2632707.1345 | 1215138.8382 | 2632700.1606 | 1215128.3161 | 2632685.6797 | 1215111.6939

## bus_geodata
| x | y | coords
0 | 2632475.272 | 1214928.8807
1 | 2632464.2236 | 1214922.726
2 | 2632508.9704 | 1214959.7413
3 | 2632447.0619 | 1214907.6125
4 | 2632611.18 | 1215174.0892
5 | 2632608.5992 | 1214840.4379
6 | 2632497.0932 | 1214280.7406
7 | 2632443.5594 | 1214250.3473
8 | 2632586.784 | 1214687.097
9 | 2632630.8574 | 1215180.5449
10 | 2632640.0614 | 1215184.716
11 | 2632609.6605 | 1215185.3652
12 | 2632529.9113 | 1215146.9518
13 | 2632621.2257 | 1214828.3221
14 | 2632622.5508 | 1214854.8205
15 | 2632606.5148 | 1215188.8002
16 | 2632525.7746 | 1215146.0378
17 | 2632626.8749 | 1214824.8834
18 | 2632624.0262 | 1214857.7989
19 | 2632472.8184 | 1215136.6022
20 | 2632159.5739 | 1215175.8204
21 | 2632603.7392 | 1215194.7939
22 | 2632240.0146 | 1214259.9149
23 | 2632277.1257 | 1214247.5375
24 | 2633168.2851 | 1214966.5404
25 | 2633202.337 | 1214960.3241
26 | 2633159.141 | 1214975.8485
27 | 2633282.4392 | 1214807.2594
28 | 2633153.1931 | 1215039.0743
29 | 2632992.0135 | 1214778.3655
30 | 2633188.6494 | 1215101.5852
31 | 2633207.6713 | 1215094.9514
32 | 2633146.2857 | 1215045.3951
33 | 2633233.7295 | 1215100.7466
34 | 2633223.6374 | 1215128.0618
35 | 2632332.4887 | 1214185.6671
36 | 2632279.1691 | 1214197.3105
37 | 2632381.5031 | 1214179.9879
38 | 2632377.6948 | 1214236.5998
39 | 2632388.0271 | 1214177.1744
40 | 2632373.2924 | 1214196.7973
41 | 2632290.6368 | 1214233.8602
42 | 2632411.9707 | 1214242.6131
43 | 2632290.102 | 1214233.0568
44 | 2632428.8108 | 1214125.4799
45 | 2632429.7361 | 1214245.8987
46 | 2632423.8051 | 1214064.0952
47 | 2632469.3091 | 1214053.125
48 | 2632499.4299 | 1214028.8349
49 | 2632549.4133 | 1214111.9004
50 | 2632550.2299 | 1214103.9112
51 | 2632514.3324 | 1214174.8957
52 | 2632552.5876 | 1214089.0526
53 | 2632435.9706 | 1214242.825
54 | 2632648.2024 | 1214811.5946
55 | 2632714.8509 | 1214766.0318
56 | 2632897.8054 | 1214841.7697
57 | 2632570.8903 | 1214692.5245
58 | 2632942.4243 | 1214808.9035
59 | 2632981.0947 | 1214774.5571
60 | 2632628.7413 | 1215217.0059
61 | 2632722.6992 | 1215200.1367
62 | 2632685.6797 | 1215111.6939
63 | 2632500.4149 | 1214028.2323
64 | 2632586.784 | 1214687.097

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1