## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_953-6_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_953-6_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_953-6_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_953-6_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_953-6_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_953-6_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_953-6_0_3_node_16 | 0.4 | n |  | TRUE
7 | bus_LV_953-6_0_3_node_18 | 0.4 | n |  | TRUE
8 | bus_LV_953-6_0_3_node_10 | 0.4 | n |  | TRUE
9 | bus_LV_953-6_0_3_node_51 | 0.4 | n |  | TRUE
10 | bus_LV_953-6_0_3_node_14 | 0.4 | n |  | TRUE
11 | bus_LV_953-6_0_3_node_19 | 0.4 | n |  | TRUE
12 | bus_LV_953-6_0_3_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_953-6_0_3_node_49 | 0.4 | n |  | TRUE
14 | bus_LV_953-6_0_3_node_6 | 0.4 | n |  | TRUE
15 | bus_LV_953-6_0_3_node_7 | 0.4 | n |  | TRUE
16 | bus_LV_953-6_0_3_node_8 | 0.4 | n |  | TRUE
17 | bus_LV_953-6_0_3_node_50 | 0.4 | n |  | TRUE
18 | bus_LV_953-6_0_3_node_21 | 0.4 | n |  | TRUE
19 | bus_LV_953-6_0_3_node_20 | 0.4 | n |  | TRUE
20 | bus_LV_953-6_0_3_node_28 | 0.4 | n |  | TRUE
21 | bus_LV_953-6_0_3_node_11 | 0.4 | n |  | TRUE
22 | bus_LV_953-6_0_3_node_29 | 0.4 | n |  | TRUE
23 | bus_LV_953-6_0_3_node_12 | 0.4 | n |  | TRUE
24 | bus_LV_953-6_0_3_node_13 | 0.4 | n |  | TRUE
25 | bus_LV_953-6_0_3_node_15 | 0.4 | n |  | TRUE
26 | bus_LV_953-6_0_3_node_17 | 0.4 | n |  | TRUE
27 | bus_LV_953-6_0_3_node_27 | 0.4 | n |  | TRUE
28 | bus_LV_953-6_0_3_node_39 | 0.4 | n |  | TRUE
29 | bus_LV_953-6_0_3_node_43 | 0.4 | n |  | TRUE
30 | bus_LV_953-6_0_3_node_40 | 0.4 | n |  | TRUE
31 | bus_LV_953-6_0_3_node_36 | 0.4 | n |  | TRUE
32 | bus_LV_953-6_0_3_node_42 | 0.4 | n |  | TRUE
33 | bus_LV_953-6_0_3_node_65 | 0.4 | n |  | TRUE
34 | bus_LV_953-6_0_3_node_22 | 0.4 | n |  | TRUE
35 | bus_LV_953-6_0_3_node_23 | 0.4 | n |  | TRUE
36 | bus_LV_953-6_0_3_node_24 | 0.4 | n |  | TRUE
37 | bus_LV_953-6_0_3_node_25 | 0.4 | n |  | TRUE
38 | bus_LV_953-6_0_3_node_26 | 0.4 | n |  | TRUE
39 | bus_LV_953-6_0_3_node_70 | 0.4 | n |  | TRUE
40 | bus_LV_953-6_0_3_node_68 | 0.4 | n |  | TRUE
41 | bus_LV_953-6_0_3_node_71 | 0.4 | n |  | TRUE
42 | bus_LV_953-6_0_3_node_69 | 0.4 | n |  | TRUE
43 | bus_LV_953-6_0_3_node_33 | 0.4 | n |  | TRUE
44 | bus_LV_953-6_0_3_node_59 | 0.4 | n |  | TRUE
45 | bus_LV_953-6_0_3_node_63 | 0.4 | n |  | TRUE
46 | bus_LV_953-6_0_3_node_31 | 0.4 | n |  | TRUE
47 | bus_LV_953-6_0_3_node_32 | 0.4 | n |  | TRUE
48 | bus_LV_953-6_0_3_node_66 | 0.4 | n |  | TRUE
49 | bus_LV_953-6_0_3_node_62 | 0.4 | n |  | TRUE
50 | bus_LV_953-6_0_3_node_64 | 0.4 | n |  | TRUE
51 | bus_LV_953-6_0_3_node_34 | 0.4 | n |  | TRUE
52 | bus_LV_953-6_0_3_node_35 | 0.4 | n |  | TRUE
53 | bus_LV_953-6_0_3_node_37 | 0.4 | n |  | TRUE
54 | bus_LV_953-6_0_3_node_38 | 0.4 | n |  | TRUE
55 | bus_LV_953-6_0_3_node_57 | 0.4 | n |  | TRUE
56 | bus_LV_953-6_0_3_node_55 | 0.4 | n |  | TRUE
57 | bus_LV_953-6_0_3_node_41 | 0.4 | n |  | TRUE
58 | bus_LV_953-6_0_3_node_44 | 0.4 | n |  | TRUE
59 | bus_LV_953-6_0_3_node_45 | 0.4 | n |  | TRUE
60 | bus_LV_953-6_0_3_node_46 | 0.4 | n |  | TRUE
61 | bus_LV_953-6_0_3_node_47 | 0.4 | n |  | TRUE
62 | bus_LV_953-6_0_3_node_48 | 0.4 | n |  | TRUE
63 | bus_LV_953-6_0_3_node_61 | 0.4 | n |  | TRUE
64 | bus_LV_953-6_0_3_node_52 | 0.4 | n |  | TRUE
65 | bus_LV_953-6_0_3_node_60 | 0.4 | n |  | TRUE
66 | bus_LV_953-6_0_3_node_53 | 0.4 | n |  | TRUE
67 | bus_LV_953-6_0_3_node_54 | 0.4 | n |  | TRUE
68 | bus_LV_953-6_0_3_node_56 | 0.4 | n |  | TRUE
69 | bus_LV_953-6_0_3_node_58 | 0.4 | n |  | TRUE
70 | bus_MV_129_1_node_86 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_953-6_0_3_load_0 | 0 | 0.027213 | 0.0068202 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_953-6_0_3_load_1 | 1 | 0.017069 | 0.0042778 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_953-6_0_3_load_5 | 5 | 0.0010536 | 0.00026406 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_953-6_0_3_load_16 | 6 | 0.017806 | 0.0044625 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_953-6_0_3_load_18 | 7 | 0.013076 | 0.0032772 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_953-6_0_3_load_10 | 8 | 0.0034209 | 0.00085736 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_953-6_0_3_load_51 | 9 | 0.0036 | 0.00090224 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_953-6_0_3_load_19 | 11 | 0.020619 | 0.0051676 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_953-6_0_3_load_49 | 13 | 0.0020763 | 0.00052037 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_953-6_0_3_load_6 | 14 | 0.00072183 | 0.00018091 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_953-6_0_3_load_50 | 17 | 0.0032493 | 0.00081435 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_953-6_0_3_load_21 | 18 | 0.0081505 | 0.0020427 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_953-6_0_3_load_20 | 19 | 0.00118 | 0.00029574 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_953-6_0_3_load_28 | 20 | 0.0046282 | 0.0011599 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_953-6_0_3_load_11 | 21 | 0.0074477 | 0.0018666 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_953-6_0_3_load_12 | 23 | 0.01497 | 0.0037519 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_953-6_0_3_load_13 | 24 | 0.0097523 | 0.0024442 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_953-6_0_3_load_15 | 25 | 0.010101 | 0.0025315 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_953-6_0_3_load_39 | 28 | 0.011467 | 0.0028738 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_953-6_0_3_load_43 | 29 | 0.013101 | 0.0032835 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_953-6_0_3_load_42 | 32 | 0.0062646 | 0.0015701 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_953-6_0_3_load_22 | 34 | 0.00020403 | 5.1136e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_953-6_0_3_load_24 | 36 | 0.001053 | 0.0002639 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_953-6_0_3_load_70 | 39 | 0.00018438 | 4.6209e-05 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_953-6_0_3_load_68 | 40 | 0.00072939 | 0.0001828 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_953-6_0_3_load_71 | 41 | 0.00046011 | 0.00011532 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_953-6_0_3_load_59 | 44 | 0.015755 | 0.0039487 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_953-6_0_3_load_63 | 45 | 0.00091078 | 0.00022826 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_953-6_0_3_load_31 | 46 | 0.0010706 | 0.00026832 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_953-6_0_3_load_66 | 48 | 0.00047066 | 0.00011796 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_953-6_0_3_load_62 | 49 | 0.0011215 | 0.00028108 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_953-6_0_3_load_64 | 50 | 0.0014808 | 0.00037112 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_953-6_0_3_load_34 | 51 | 0.00037455 | 9.3872e-05 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_953-6_0_3_load_35 | 52 | 0.00044384 | 0.00011124 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_953-6_0_3_load_37 | 53 | 0.00014287 | 3.5807e-05 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_953-6_0_3_load_38 | 54 | 0.00024022 | 6.0204e-05 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_953-6_0_3_load_57 | 55 | 0.00078355 | 0.00019638 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_953-6_0_3_load_41 | 57 | 0.001101 | 0.00027594 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_953-6_0_3_load_44 | 58 | 0.00095385 | 0.00023906 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_953-6_0_3_load_45 | 59 | 0.00030594 | 7.6676e-05 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_953-6_0_3_load_48 | 62 | 0.00017151 | 4.2984e-05 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_953-6_0_3_load_61 | 63 | 0.00017384 | 4.3568e-05 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_953-6_0_3_load_60 | 65 | 0.013574 | 0.003402 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_953-6_0_3_load_53 | 66 | 0.00011618 | 2.9118e-05 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_953-6_0_3_load_54 | 67 | 0.00020638 | 5.1724e-05 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_953-6_0_3_load_56 | 68 | 0.00072159 | 0.00018085 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_953-6_0_3_load_58 | 69 | 0.00099265 | 0.00024878 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 1 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_953-6_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.013302 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_953-6_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.016067 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_953-6_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.015612 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
3 | LV_953-6_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.008829 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_953-6_0_3_line_4 | NAYY 4x150 SE | 2 | 5 | 0.011323 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_953-6_0_3_line_5 | NAYY 4x150 SE | 3 | 6 | 0.013909 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
6 | LV_953-6_0_3_line_6 | NAYY 4x150 SE | 3 | 7 | 0.013712 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_953-6_0_3_line_7 | NAYY 4x150 SE | 4 | 8 | 0.01351 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_953-6_0_3_line_8 | NAYY 4x150 SE | 4 | 9 | 0.013659 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_953-6_0_3_line_9 | NAYY 4x150 SE | 6 | 10 | 0.015367 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_953-6_0_3_line_10 | NAYY 4x150 SE | 7 | 11 | 0.021514 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_953-6_0_3_line_11 | NAYY 4x150 SE | 8 | 12 | 0.020137 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_953-6_0_3_line_12 | NAYY 4x150 SE | 9 | 13 | 0.014618 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_953-6_0_3_line_13 | NAYY 4x150 SE | 10 | 26 | 0.014558 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_953-6_0_3_line_14 | NAYY 4x150 SE | 10 | 23 | 0.012862 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_953-6_0_3_line_15 | NAYY 4x150 SE | 12 | 21 | 0.03474 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_953-6_0_3_line_16 | NAYY 4x150 SE | 13 | 17 | 0.0077955 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_953-6_0_3_line_17 | NAYY 4x150 SE | 13 | 14 | 0.14969 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_953-6_0_3_line_18 | NAYY 4x150 SE | 14 | 15 | 0.0063927 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_953-6_0_3_line_19 | NAYY 4x150 SE | 15 | 16 | 0.007498 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_953-6_0_3_line_20 | NAYY 4x150 SE | 16 | 18 | 0.039399 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_953-6_0_3_line_21 | NAYY 4x150 SE | 16 | 19 | 0.026108 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_953-6_0_3_line_22 | NAYY 4x150 SE | 17 | 64 | 0.027064 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_953-6_0_3_line_23 | NAYY 4x150 SE | 18 | 20 | 0.11769 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_953-6_0_3_line_24 | NAYY 4x150 SE | 20 | 22 | 0.054297 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_953-6_0_3_line_25 | NAYY 4x150 SE | 22 | 33 | 0.25346 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_953-6_0_3_line_26 | NAYY 4x150 SE | 23 | 24 | 0.0289 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_953-6_0_3_line_27 | NAYY 4x150 SE | 24 | 25 | 0.02693 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_953-6_0_3_line_28 | NAYY 4x150 SE | 25 | 27 | 0.026687 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_953-6_0_3_line_29 | NAYY 4x150 SE | 26 | 28 | 0.0023867 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_953-6_0_3_line_30 | NAYY 4x150 SE | 26 | 29 | 0.016812 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_953-6_0_3_line_31 | NAYY 4x150 SE | 27 | 30 | 0.007778 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_953-6_0_3_line_32 | NAYY 4x150 SE | 28 | 31 | 0.028152 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_953-6_0_3_line_33 | NAYY 4x150 SE | 29 | 32 | 0.066594 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_953-6_0_3_line_34 | NAYY 4x150 SE | 30 | 44 | 0.008537 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_953-6_0_3_line_35 | NAYY 4x150 SE | 31 | 54 | 0.018609 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_953-6_0_3_line_36 | NAYY 4x150 SE | 31 | 51 | 0.062347 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_953-6_0_3_line_37 | NAYY 4x150 SE | 32 | 57 | 0.042717 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_953-6_0_3_line_38 | NAYY 4x150 SE | 33 | 45 | 0.052554 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_953-6_0_3_line_39 | NAYY 4x150 SE | 34 | 35 | 0.014518 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_953-6_0_3_line_40 | NAYY 4x150 SE | 34 | 36 | 0.056352 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_953-6_0_3_line_41 | NAYY 4x150 SE | 35 | 37 | 0.072705 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_953-6_0_3_line_42 | NAYY 4x150 SE | 35 | 38 | 0.057551 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_953-6_0_3_line_43 | NAYY 4x150 SE | 37 | 39 | 0.014819 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_953-6_0_3_line_44 | NAYY 4x150 SE | 37 | 40 | 0.01479 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_953-6_0_3_line_45 | NAYY 4x150 SE | 38 | 41 | 0.03433 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_953-6_0_3_line_46 | NAYY 4x150 SE | 39 | 42 | 0.012198 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_953-6_0_3_line_47 | NAYY 4x150 SE | 40 | 43 | 0.0066202 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_953-6_0_3_line_48 | NAYY 4x150 SE | 42 | 49 | 0.013542 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_953-6_0_3_line_49 | NAYY 4x150 SE | 43 | 48 | 0.083067 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_953-6_0_3_line_50 | NAYY 4x150 SE | 43 | 47 | 0.086272 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_953-6_0_3_line_51 | NAYY 4x150 SE | 45 | 50 | 0.039909 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_953-6_0_3_line_52 | NAYY 4x150 SE | 46 | 47 | 0.01621 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_953-6_0_3_line_53 | NAYY 4x150 SE | 48 | 50 | 0.019996 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_953-6_0_3_line_54 | NAYY 4x150 SE | 49 | 61 | 0.037045 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_953-6_0_3_line_55 | NAYY 4x150 SE | 51 | 52 | 0.011041 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_953-6_0_3_line_56 | NAYY 4x150 SE | 52 | 53 | 0.018836 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_953-6_0_3_line_57 | NAYY 4x150 SE | 53 | 55 | 0.012221 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_953-6_0_3_line_58 | NAYY 4x150 SE | 55 | 56 | 0.020729 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_953-6_0_3_line_59 | NAYY 4x150 SE | 56 | 69 | 0.034049 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_953-6_0_3_line_60 | NAYY 4x150 SE | 56 | 66 | 0.014633 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_953-6_0_3_line_61 | NAYY 4x150 SE | 58 | 59 | 0.0051527 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_953-6_0_3_line_62 | NAYY 4x150 SE | 58 | 60 | 0.0083344 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_953-6_0_3_line_63 | NAYY 4x150 SE | 59 | 61 | 0.012162 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_953-6_0_3_line_64 | NAYY 4x150 SE | 60 | 62 | 0.013377 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_953-6_0_3_line_65 | NAYY 4x150 SE | 61 | 63 | 0.032879 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_953-6_0_3_line_66 | NAYY 4x150 SE | 64 | 65 | 0.022738 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_953-6_0_3_line_67 | NAYY 4x150 SE | 66 | 67 | 0.029565 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_953-6_0_3_line_68 | NAYY 4x150 SE | 67 | 68 | 0.001604 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_953-6_0_3_trafo_1 | 0.25 MVA 20/0.4 kV | 70 | 1 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2631481.9611 | 1214517.202 | 2631482.2782 | 1214518.574 | 2631482.7042 | 1214525.6359 | 2631482.2078 | 1214530.4294
1 | 2631479.0043 | 1214501.4469 | 2631479.3454 | 1214505.8846 | 2631481.9611 | 1214517.202
2 | 2631480.5997 | 1214545.9587 | 2631482.2078 | 1214530.4294
3 | 2631478.6483 | 1214492.64 | 2631478.5348 | 1214495.441 | 2631479.0043 | 1214501.4469
4 | 2631470.0861 | 1214494.7183 | 2631474.8528 | 1214499.5239 | 2631479.0043 | 1214501.4469
5 | 2631480.5997 | 1214545.9587 | 2631480.6384 | 1214553.0186 | 2631480.0498 | 1214559.8418
6 | 2631480.5997 | 1214545.9587 | 2631471.0154 | 1214537.3922 | 2631470.3061 | 1214536.9103
7 | 2631478.6483 | 1214492.64 | 2631480.521 | 1214490.3485 | 2631487.3319 | 1214487.6829 | 2631490.5546 | 1214487.3845
8 | 2631478.6483 | 1214492.64 | 2631477.0751 | 1214491.4088 | 2631473.8852 | 1214482.8314 | 2631472.8627 | 1214480.5395
9 | 2631475.7575 | 1214574.1939 | 2631479.328 | 1214568.2093 | 2631480.0498 | 1214559.8418
10 | 2631454.3925 | 1214522.8073 | 2631456.9851 | 1214526.5676 | 2631460.4289 | 1214530.1989 | 2631470.3061 | 1214536.9103
11 | 2631508.3177 | 1214481.4233 | 2631505.9534 | 1214484.7683 | 2631502.0845 | 1214486.8602 | 2631497.9865 | 1214487.728 | 2631491.7616 | 1214487.2727 | 2631490.5546 | 1214487.3845
12 | 2631465.7966 | 1214468.5473 | 2631466.8367 | 1214468.5972 | 2631467.7606 | 1214469.1024 | 2631472.8627 | 1214480.5395
13 | 2631487.2764 | 1214583.1376 | 2631475.7575 | 1214574.1939
14 | 2631475.7575 | 1214574.1939 | 2631464.5971 | 1214567.7999
15 | 2631538.7121 | 1214498.3157 | 2631531.3412 | 1214494.8415 | 2631516.7867 | 1214486.9379 | 2631508.3177 | 1214481.4233
16 | 2631465.7966 | 1214468.5473 | 2631465.7966 | 1214468.5473 | 2631460.9404 | 1214470.634 | 2631458.5802 | 1214471.488
17 | 2631465.7966 | 1214468.5473 | 2631521.1259 | 1214329.459
18 | 2631523.7473 | 1214323.6807 | 2631522.9432 | 1214326.3891 | 2631521.1259 | 1214329.459
19 | 2631522.9427 | 1214316.4056 | 2631524.1032 | 1214319.558 | 2631523.7473 | 1214323.6807
20 | 2631522.9427 | 1214316.4056 | 2631532.3539 | 1214310.3629 | 2631537.8793 | 1214305.278 | 2631539.7674 | 1214294.3373 | 2631542.6491 | 1214285.1763
21 | 2631522.9427 | 1214316.4056 | 2631519.7619 | 1214314.7323 | 2631515.6431 | 1214313.7655 | 2631512.3733 | 1214311.6693 | 2631510.0601 | 1214309.6448 | 2631506.2439 | 1214304.5995 | 2631504.8792 | 1214301.2793 | 2631504.5456 | 1214299.9095
22 | 2631433.6554 | 1214481.8745 | 2631444.2475 | 1214476.4939 | 2631448.7053 | 1214475.061 | 2631458.5802 | 1214471.488
23 | 2631542.6491 | 1214285.1763 | 2631654.8223 | 1214320.7782
24 | 2631684.8015 | 1214278.5182 | 2631681.779 | 1214282.7824 | 2631670.5625 | 1214294.085 | 2631658.0665 | 1214304.6692 | 2631656.5058 | 1214306.8177 | 2631655.8035 | 1214308.9263 | 2631654.8223 | 1214320.7782
25 | 2631774.7966 | 1214515.4661 | 2631684.8015 | 1214278.5182
26 | 2631464.5971 | 1214567.7999 | 2631452.3923 | 1214560.8075 | 2631439.3786 | 1214553.6879
27 | 2631416.1695 | 1214540.1166 | 2631420.4443 | 1214543.3293 | 2631439.3786 | 1214553.6879
28 | 2631397.4283 | 1214521.2622 | 2631402.9972 | 1214528.0287 | 2631411.1931 | 1214536.3766 | 2631416.1695 | 1214540.1166
29 | 2631487.2764 | 1214583.1376 | 2631489.2228 | 1214584.5188
30 | 2631487.2764 | 1214583.1376 | 2631485.2105 | 1214590.3753 | 2631482.0701 | 1214599.1135
31 | 2631397.4283 | 1214521.2622 | 2631399.1541 | 1214513.678
32 | 2631511.0439 | 1214602.274 | 2631501.3676 | 1214593.8959 | 2631494.6001 | 1214588.3347 | 2631489.2228 | 1214584.5188
33 | 2631462.114 | 1214662.5803 | 2631465.0595 | 1214652.994 | 2631468.2642 | 1214642.9162 | 2631471.6772 | 1214629.3486 | 2631474.355 | 1214619.8239 | 2631478.0252 | 1214609.315 | 2631481.5495 | 1214600.5618 | 2631482.0701 | 1214599.1135
34 | 2631399.1541 | 1214513.678 | 2631406.284 | 1214508.9828
35 | 2631511.0439 | 1214602.274 | 2631510.3751 | 1214606.6841 | 2631509.5202 | 1214610.3928 | 2631505.9406 | 1214620.0957
36 | 2631511.0439 | 1214602.274 | 2631523.0111 | 1214612.5764 | 2631527.5187 | 1214617.5253 | 2631530.2114 | 1214621.0082 | 2631532.8934 | 1214625.0691 | 2631537.31 | 1214632.8747 | 2631541.5207 | 1214640.8126 | 2631545.6114 | 1214649.9173 | 2631546.5192 | 1214652.4148
37 | 2631447.7403 | 1214702.6103 | 2631450.9734 | 1214697.4676 | 2631453.7909 | 1214690.245 | 2631460.8407 | 1214666.7241 | 2631462.114 | 1214662.5803
38 | 2631774.7966 | 1214515.4661 | 2631746.3735 | 1214559.6704
39 | 2631897.9848 | 1214675.7931 | 2631899.3814 | 1214680.2031 | 2631896.6918 | 1214688.9716 | 2631896.4185 | 1214689.6386
40 | 2631865.0581 | 1214709.6924 | 2631868.9039 | 1214716.2056 | 2631873.2744 | 1214721.1428 | 2631879.265 | 1214721.3527 | 2631884.77 | 1214712.9551 | 2631890.8055 | 1214703.3373 | 2631896.4185 | 1214689.6386
41 | 2631833.5435 | 1214646.9215 | 2631842.616 | 1214648.8154 | 2631851.5255 | 1214652.7763 | 2631862.7182 | 1214661.5077 | 2631870.77 | 1214668.2323 | 2631879.3628 | 1214673.1922 | 2631884.3287 | 1214674.7307 | 2631888.9004 | 1214676.1559 | 2631897.9848 | 1214675.7931
42 | 2631897.9848 | 1214675.7931 | 2631918.3869 | 1214674.9795 | 2631934.7998 | 1214674.6003 | 2631940.5483 | 1214674.6533 | 2631946.0481 | 1214675.7612 | 2631949.9045 | 1214674.6034 | 2631955.1715 | 1214673.7866
43 | 2631833.5435 | 1214646.9215 | 2631833.2373 | 1214641.6724 | 2631832.5898 | 1214636.3658 | 2631832.8482 | 1214632.1591
44 | 2631833.5435 | 1214646.9215 | 2631826.063 | 1214651.2507 | 2631820.8271 | 1214654.4716
45 | 2631955.1715 | 1214673.7866 | 2631959.704 | 1214666.9292 | 2631963.8811 | 1214659.7807 | 2631972.6718 | 1214653.3018 | 2631972.8229 | 1214646.3653
46 | 2631833.5961 | 1214619.984 | 2631832.8482 | 1214632.1591
47 | 2631814.9648 | 1214657.5285 | 2631818.8781 | 1214655.6705 | 2631820.8271 | 1214654.4716
48 | 2631833.5961 | 1214619.984 | 2631839.8158 | 1214607.9553
49 | 2631814.9648 | 1214657.5285 | 2631742.4092 | 1214617.0844
50 | 2631814.9648 | 1214657.5285 | 2631791.0681 | 1214704.2059 | 2631785.763 | 1214712.1601 | 2631774.5429 | 1214722.8398 | 2631767.5579 | 1214728.2725
51 | 2631746.3735 | 1214559.6704 | 2631743.5074 | 1214564.1277 | 2631739.8135 | 1214573.2801 | 2631737.4119 | 1214597.9037 | 2631737.4119 | 1214597.9037
52 | 2631767.5579 | 1214728.2725 | 2631775.303 | 1214731.2709 | 2631777.244 | 1214733.2713 | 2631777.8082 | 1214734.2749 | 2631778.433 | 1214736.7352 | 2631778.2181 | 1214738.147
53 | 2631742.4092 | 1214617.0844 | 2631738.8881 | 1214608.7734 | 2631737.4119 | 1214597.9037
54 | 2631856.8311 | 1214575.0487 | 2631839.8158 | 1214607.9553
55 | 2631546.5192 | 1214652.4148 | 2631547.6399 | 1214655.4979 | 2631549.8069 | 1214662.1687 | 2631550.0677 | 1214662.8684
56 | 2631557.3872 | 1214680.1761 | 2631555.9512 | 1214677.8547 | 2631554.1574 | 1214673.8429 | 2631550.0677 | 1214662.8684
57 | 2631566.6154 | 1214687.8741 | 2631562.8501 | 1214685.8068 | 2631560.2251 | 1214683.8807 | 2631557.683 | 1214680.6543 | 2631557.3872 | 1214680.1761
58 | 2631585.6013 | 1214695.9663 | 2631580.5282 | 1214694.5831 | 2631573.8296 | 1214691.835 | 2631566.6154 | 1214687.8741
59 | 2631585.6013 | 1214695.9663 | 2631591.8733 | 1214697.5448 | 2631598.8532 | 1214698.7936 | 2631605.3041 | 1214699.5615 | 2631611.2176 | 1214699.982 | 2631619.0021 | 1214699.8787 | 2631619.2819 | 1214699.8543
60 | 2631585.6013 | 1214695.9663 | 2631588.6071 | 1214686.2099 | 2631589.7736 | 1214681.9424
61 | 2631873.9982 | 1214576.043 | 2631871.2593 | 1214576.6266 | 2631868.9188 | 1214576.3911
62 | 2631880.6828 | 1214571.1071 | 2631874.2624 | 1214575.9867 | 2631873.9982 | 1214576.043
63 | 2631856.8311 | 1214575.0487 | 2631864.0259 | 1214575.8987 | 2631868.9188 | 1214576.3911
64 | 2631888.7518 | 1214560.4218 | 2631880.6828 | 1214571.1071
65 | 2631856.8311 | 1214575.0487 | 2631858.6037 | 1214571.6117 | 2631868.4614 | 1214551.6306 | 2631870.2834 | 1214545.15
66 | 2631444.8134 | 1214501.7003 | 2631444.7758 | 1214501.6222 | 2631433.6554 | 1214481.8745
67 | 2631589.7736 | 1214681.9424 | 2631591.5963 | 1214675.275 | 2631592.3775 | 1214665.4179 | 2631594.2693 | 1214655.2109 | 2631594.9352 | 1214652.9214
68 | 2631595.3831 | 1214651.3813 | 2631594.9352 | 1214652.9214

## bus_geodata
| x | y | coords
0 | 2631481.9611 | 1214517.202
1 | 2631482.2078 | 1214530.4294
2 | 2631479.0043 | 1214501.4469
3 | 2631480.5997 | 1214545.9587
4 | 2631478.6483 | 1214492.64
5 | 2631470.0861 | 1214494.7183
6 | 2631480.0498 | 1214559.8418
7 | 2631470.3061 | 1214536.9103
8 | 2631490.5546 | 1214487.3845
9 | 2631472.8627 | 1214480.5395
10 | 2631475.7575 | 1214574.1939
11 | 2631454.3925 | 1214522.8073
12 | 2631508.3177 | 1214481.4233
13 | 2631465.7966 | 1214468.5473
14 | 2631521.1259 | 1214329.459
15 | 2631523.7473 | 1214323.6807
16 | 2631522.9427 | 1214316.4056
17 | 2631458.5802 | 1214471.488
18 | 2631542.6491 | 1214285.1763
19 | 2631504.5456 | 1214299.9095
20 | 2631654.8223 | 1214320.7782
21 | 2631538.7121 | 1214498.3157
22 | 2631684.8015 | 1214278.5182
23 | 2631464.5971 | 1214567.7999
24 | 2631439.3786 | 1214553.6879
25 | 2631416.1695 | 1214540.1166
26 | 2631487.2764 | 1214583.1376
27 | 2631397.4283 | 1214521.2622
28 | 2631489.2228 | 1214584.5188
29 | 2631482.07 | 1214599.1135
30 | 2631399.1541 | 1214513.678
31 | 2631511.0439 | 1214602.274
32 | 2631462.114 | 1214662.5803
33 | 2631774.7966 | 1214515.4661
34 | 2631896.4185 | 1214689.6386
35 | 2631897.9848 | 1214675.7931
36 | 2631865.0581 | 1214709.6924
37 | 2631833.5435 | 1214646.9215
38 | 2631955.1715 | 1214673.7866
39 | 2631832.8482 | 1214632.1591
40 | 2631820.8271 | 1214654.4716
41 | 2631972.8229 | 1214646.3653
42 | 2631833.5961 | 1214619.984
43 | 2631814.9648 | 1214657.5285
44 | 2631406.284 | 1214508.9828
45 | 2631746.3735 | 1214559.6704
46 | 2631778.2181 | 1214738.147
47 | 2631767.5579 | 1214728.2725
48 | 2631742.4092 | 1214617.0844
49 | 2631839.8158 | 1214607.9553
50 | 2631737.4119 | 1214597.9037
51 | 2631546.5192 | 1214652.4148
52 | 2631550.0677 | 1214662.8684
53 | 2631557.3872 | 1214680.1761
54 | 2631505.9406 | 1214620.0957
55 | 2631566.6154 | 1214687.8741
56 | 2631585.6013 | 1214695.9663
57 | 2631447.7403 | 1214702.6103
58 | 2631873.9982 | 1214576.043
59 | 2631868.9188 | 1214576.3911
60 | 2631880.6828 | 1214571.1071
61 | 2631856.8311 | 1214575.0487
62 | 2631888.7518 | 1214560.4218
63 | 2631870.2834 | 1214545.15
64 | 2631433.6554 | 1214481.8745
65 | 2631444.8134 | 1214501.7003
66 | 2631589.7736 | 1214681.9424
67 | 2631594.9352 | 1214652.9214
68 | 2631595.3831 | 1214651.3813
69 | 2631619.2819 | 1214699.8543
70 | 2631480.5997 | 1214545.9587

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1