## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_954-13_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_954-13_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_954-13_0_2_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_954-13_0_2_node_2 | 0.4 | n |  | TRUE
4 | bus_LV_954-13_0_2_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_954-13_0_2_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_954-13_0_2_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_954-13_0_2_node_25 | 0.4 | n |  | TRUE
8 | bus_LV_954-13_0_2_node_94 | 0.4 | n |  | TRUE
9 | bus_LV_954-13_0_2_node_54 | 0.4 | n |  | TRUE
10 | bus_LV_954-13_0_2_node_74 | 0.4 | n |  | TRUE
11 | bus_LV_954-13_0_2_node_89 | 0.4 | n |  | TRUE
12 | bus_LV_954-13_0_2_node_24 | 0.4 | n |  | TRUE
13 | bus_LV_954-13_0_2_node_95 | 0.4 | n |  | TRUE
14 | bus_LV_954-13_0_2_node_93 | 0.4 | n |  | TRUE
15 | bus_LV_954-13_0_2_node_55 | 0.4 | n |  | TRUE
16 | bus_LV_954-13_0_2_node_75 | 0.4 | n |  | TRUE
17 | bus_LV_954-13_0_2_node_76 | 0.4 | n |  | TRUE
18 | bus_LV_954-13_0_2_node_77 | 0.4 | n |  | TRUE
19 | bus_LV_954-13_0_2_node_11 | 0.4 | n |  | TRUE
20 | bus_LV_954-13_0_2_node_12 | 0.4 | n |  | TRUE
21 | bus_LV_954-13_0_2_node_13 | 0.4 | n |  | TRUE
22 | bus_LV_954-13_0_2_node_14 | 0.4 | n |  | TRUE
23 | bus_LV_954-13_0_2_node_15 | 0.4 | n |  | TRUE
24 | bus_LV_954-13_0_2_node_17 | 0.4 | n |  | TRUE
25 | bus_LV_954-13_0_2_node_35 | 0.4 | n |  | TRUE
26 | bus_LV_954-13_0_2_node_33 | 0.4 | n |  | TRUE
27 | bus_LV_954-13_0_2_node_16 | 0.4 | n |  | TRUE
28 | bus_LV_954-13_0_2_node_52 | 0.4 | n |  | TRUE
29 | bus_LV_954-13_0_2_node_18 | 0.4 | n |  | TRUE
30 | bus_LV_954-13_0_2_node_39 | 0.4 | n |  | TRUE
31 | bus_LV_954-13_0_2_node_44 | 0.4 | n |  | TRUE
32 | bus_LV_954-13_0_2_node_46 | 0.4 | n |  | TRUE
33 | bus_LV_954-13_0_2_node_38 | 0.4 | n |  | TRUE
34 | bus_LV_954-13_0_2_node_34 | 0.4 | n |  | TRUE
35 | bus_LV_954-13_0_2_node_47 | 0.4 | n |  | TRUE
36 | bus_LV_954-13_0_2_node_42 | 0.4 | n |  | TRUE
37 | bus_LV_954-13_0_2_node_19 | 0.4 | n |  | TRUE
38 | bus_LV_954-13_0_2_node_20 | 0.4 | n |  | TRUE
39 | bus_LV_954-13_0_2_node_21 | 0.4 | n |  | TRUE
40 | bus_LV_954-13_0_2_node_22 | 0.4 | n |  | TRUE
41 | bus_LV_954-13_0_2_node_23 | 0.4 | n |  | TRUE
42 | bus_LV_954-13_0_2_node_37 | 0.4 | n |  | TRUE
43 | bus_LV_954-13_0_2_node_26 | 0.4 | n |  | TRUE
44 | bus_LV_954-13_0_2_node_36 | 0.4 | n |  | TRUE
45 | bus_LV_954-13_0_2_node_61 | 0.4 | n |  | TRUE
46 | bus_LV_954-13_0_2_node_90 | 0.4 | n |  | TRUE
47 | bus_LV_954-13_0_2_node_30 | 0.4 | n |  | TRUE
48 | bus_LV_954-13_0_2_node_49 | 0.4 | n |  | TRUE
49 | bus_LV_954-13_0_2_node_28 | 0.4 | n |  | TRUE
50 | bus_LV_954-13_0_2_node_32 | 0.4 | n |  | TRUE
51 | bus_LV_954-13_0_2_node_27 | 0.4 | n |  | TRUE
52 | bus_LV_954-13_0_2_node_31 | 0.4 | n |  | TRUE
53 | bus_LV_954-13_0_2_node_133 | 0.4 | n |  | TRUE
54 | bus_LV_954-13_0_2_node_50 | 0.4 | n |  | TRUE
55 | bus_LV_954-13_0_2_node_124 | 0.4 | n |  | TRUE
56 | bus_LV_954-13_0_2_node_41 | 0.4 | n |  | TRUE
57 | bus_LV_954-13_0_2_node_43 | 0.4 | n |  | TRUE
58 | bus_LV_954-13_0_2_node_45 | 0.4 | n |  | TRUE
59 | bus_LV_954-13_0_2_node_51 | 0.4 | n |  | TRUE
60 | bus_LV_954-13_0_2_node_70 | 0.4 | n |  | TRUE
61 | bus_LV_954-13_0_2_node_72 | 0.4 | n |  | TRUE
62 | bus_LV_954-13_0_2_node_69 | 0.4 | n |  | TRUE
63 | bus_LV_954-13_0_2_node_56 | 0.4 | n |  | TRUE
64 | bus_LV_954-13_0_2_node_57 | 0.4 | n |  | TRUE
65 | bus_LV_954-13_0_2_node_58 | 0.4 | n |  | TRUE
66 | bus_LV_954-13_0_2_node_59 | 0.4 | n |  | TRUE
67 | bus_LV_954-13_0_2_node_60 | 0.4 | n |  | TRUE
68 | bus_LV_954-13_0_2_node_68 | 0.4 | n |  | TRUE
69 | bus_LV_954-13_0_2_node_66 | 0.4 | n |  | TRUE
70 | bus_LV_954-13_0_2_node_92 | 0.4 | n |  | TRUE
71 | bus_LV_954-13_0_2_node_64 | 0.4 | n |  | TRUE
72 | bus_LV_954-13_0_2_node_91 | 0.4 | n |  | TRUE
73 | bus_LV_954-13_0_2_node_63 | 0.4 | n |  | TRUE
74 | bus_LV_954-13_0_2_node_65 | 0.4 | n |  | TRUE
75 | bus_LV_954-13_0_2_node_67 | 0.4 | n |  | TRUE
76 | bus_LV_954-13_0_2_node_73 | 0.4 | n |  | TRUE
77 | bus_LV_954-13_0_2_node_71 | 0.4 | n |  | TRUE
78 | bus_LV_954-13_0_2_node_79 | 0.4 | n |  | TRUE
79 | bus_LV_954-13_0_2_node_78 | 0.4 | n |  | TRUE
80 | bus_LV_954-13_0_2_node_84 | 0.4 | n |  | TRUE
81 | bus_LV_954-13_0_2_node_88 | 0.4 | n |  | TRUE
82 | bus_LV_954-13_0_2_node_83 | 0.4 | n |  | TRUE
83 | bus_LV_954-13_0_2_node_80 | 0.4 | n |  | TRUE
84 | bus_LV_954-13_0_2_node_81 | 0.4 | n |  | TRUE
85 | bus_LV_954-13_0_2_node_82 | 0.4 | n |  | TRUE
86 | bus_LV_954-13_0_2_node_85 | 0.4 | n |  | TRUE
87 | bus_LV_954-13_0_2_node_96 | 0.4 | n |  | TRUE
88 | bus_LV_954-13_0_2_node_86 | 0.4 | n |  | TRUE
89 | bus_LV_954-13_0_2_node_97 | 0.4 | n |  | TRUE
90 | bus_LV_954-13_0_2_node_87 | 0.4 | n |  | TRUE
91 | bus_LV_954-13_0_2_node_111 | 0.4 | n |  | TRUE
92 | bus_LV_954-13_0_2_node_112 | 0.4 | n |  | TRUE
93 | bus_LV_954-13_0_2_node_113 | 0.4 | n |  | TRUE
94 | bus_MV_129_2_node_244 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_954-13_0_2_load_0 | 0 | 0.00021953 | 5.5019e-05 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_954-13_0_2_load_1 | 1 | 0.00019835 | 4.9712e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_954-13_0_2_load_4 | 4 | 0.00010879 | 2.7265e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_954-13_0_2_load_5 | 5 | 8.118e-05 | 2.0346e-05 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_954-13_0_2_load_6 | 6 | 0.00034282 | 8.592e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_954-13_0_2_load_54 | 9 | 0.00010913 | 2.735e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_954-13_0_2_load_89 | 11 | 0.00054493 | 0.00013657 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_954-13_0_2_load_95 | 13 | 0.00011618 | 2.9117e-05 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_954-13_0_2_load_93 | 14 | 0.00011209 | 2.8094e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_954-13_0_2_load_55 | 15 | 0.00045347 | 0.00011365 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_954-13_0_2_load_75 | 16 | 0.00034981 | 8.7672e-05 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_954-13_0_2_load_76 | 17 | 0.00015458 | 3.8741e-05 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_954-13_0_2_load_77 | 18 | 6.3091e-05 | 1.5812e-05 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_954-13_0_2_load_11 | 19 | 0.00062309 | 0.00015616 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_954-13_0_2_load_12 | 20 | 0.018707 | 0.0046883 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_954-13_0_2_load_33 | 26 | 0.0052853 | 0.0013246 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_954-13_0_2_load_52 | 28 | 0.013744 | 0.0034445 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_954-13_0_2_load_39 | 30 | 0.059739 | 0.014972 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_954-13_0_2_load_46 | 32 | 0.0075854 | 0.0019011 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_954-13_0_2_load_38 | 33 | 0.00054334 | 0.00013617 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_954-13_0_2_load_34 | 34 | 0.021259 | 0.0053281 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_954-13_0_2_load_47 | 35 | 0.0022157 | 0.00055531 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_954-13_0_2_load_19 | 37 | 0.00043373 | 0.0001087 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_954-13_0_2_load_20 | 38 | 0.001893 | 0.00047442 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_954-13_0_2_load_21 | 39 | 0.0013664 | 0.00034245 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_954-13_0_2_load_22 | 40 | 0.00057793 | 0.00014484 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_954-13_0_2_load_23 | 41 | 0.0015751 | 0.00039476 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_954-13_0_2_load_37 | 42 | 0.00084654 | 0.00021216 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_954-13_0_2_load_36 | 44 | 0.0013086 | 0.00032796 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_954-13_0_2_load_61 | 45 | 0.0016909 | 0.00042378 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_954-13_0_2_load_90 | 46 | 0.025734 | 0.0064495 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_954-13_0_2_load_49 | 48 | 0.00033577 | 8.4151e-05 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_954-13_0_2_load_27 | 51 | 0.0013016 | 0.00032622 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_954-13_0_2_load_133 | 53 | 0.0015168 | 0.00038016 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_954-13_0_2_load_124 | 55 | 0.0009327 | 0.00023376 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_954-13_0_2_load_41 | 56 | 0.0029319 | 0.00073481 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_954-13_0_2_load_43 | 57 | 0.0022038 | 0.00055231 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_954-13_0_2_load_45 | 58 | 0.0004818 | 0.00012075 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_954-13_0_2_load_51 | 59 | 0.0011658 | 0.00029218 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_954-13_0_2_load_72 | 61 | 6.1814e-05 | 1.5492e-05 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_954-13_0_2_load_69 | 62 | 0.00020397 | 5.112e-05 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_954-13_0_2_load_56 | 63 | 0.00016921 | 4.2407e-05 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_954-13_0_2_load_57 | 64 | 0.00026378 | 6.6109e-05 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_954-13_0_2_load_58 | 65 | 0.00043781 | 0.00010972 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_954-13_0_2_load_68 | 68 | 6.6989e-05 | 1.6789e-05 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_954-13_0_2_load_66 | 69 | 0.0001572 | 3.9397e-05 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_954-13_0_2_load_92 | 70 | 0.00032348 | 8.1073e-05 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_954-13_0_2_load_64 | 71 | 0.00011762 | 2.9479e-05 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_954-13_0_2_load_91 | 72 | 0.019902 | 0.0049879 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_954-13_0_2_load_63 | 73 | 6.6975e-05 | 1.6786e-05 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_954-13_0_2_load_65 | 74 | 0.00028157 | 7.0569e-05 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_954-13_0_2_load_67 | 75 | 0.00010276 | 2.5754e-05 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_954-13_0_2_load_73 | 76 | 7.8304e-05 | 1.9625e-05 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_954-13_0_2_load_71 | 77 | 0.0019358 | 0.00048515 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_954-13_0_2_load_78 | 79 | 0.00017736 | 4.445e-05 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_954-13_0_2_load_81 | 84 | 0.00028185 | 7.0638e-05 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_954-13_0_2_load_82 | 85 | 8.6261e-05 | 2.1619e-05 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_954-13_0_2_load_96 | 87 | 5.1328e-05 | 1.2864e-05 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_954-13_0_2_load_86 | 88 | 0.00026549 | 6.6537e-05 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_954-13_0_2_load_97 | 89 | 0.00027851 | 6.9801e-05 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_954-13_0_2_load_87 | 90 | 6.0789e-05 | 1.5235e-05 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_954-13_0_2_load_111 | 91 | 0.00063962 | 0.0001603 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_954-13_0_2_load_112 | 92 | 0.0023002 | 0.00057649 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 34 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_954-13_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.032848 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_954-13_0_2_line_1 | NAYY 4x150 SE | 1 | 2 | 0.037291 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_954-13_0_2_line_2 | NAYY 4x150 SE | 2 | 7 | 0.28613 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_954-13_0_2_line_3 | NAYY 4x150 SE | 2 | 8 | 0.065351 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_954-13_0_2_line_4 | NAYY 4x150 SE | 3 | 4 | 0.070561 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_954-13_0_2_line_5 | NAYY 4x150 SE | 3 | 5 | 0.02637 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_954-13_0_2_line_6 | NAYY 4x150 SE | 3 | 6 | 0.036625 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_954-13_0_2_line_7 | NAYY 4x150 SE | 5 | 9 | 0.00014338 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_954-13_0_2_line_8 | NAYY 4x150 SE | 6 | 10 | 0.03351 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_954-13_0_2_line_9 | NAYY 4x150 SE | 7 | 11 | 0.031618 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_954-13_0_2_line_10 | NAYY 4x150 SE | 7 | 12 | 0.006509 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_954-13_0_2_line_11 | NAYY 4x150 SE | 8 | 13 | 0.013337 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_954-13_0_2_line_12 | NAYY 4x150 SE | 8 | 14 | 0.043214 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_954-13_0_2_line_13 | NAYY 4x150 SE | 9 | 15 | 0.029024 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_954-13_0_2_line_14 | NAYY 4x150 SE | 10 | 16 | 0.020183 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_954-13_0_2_line_15 | NAYY 4x150 SE | 10 | 17 | 0.054829 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_954-13_0_2_line_16 | NAYY 4x150 SE | 10 | 18 | 0.012472 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_954-13_0_2_line_17 | NAYY 4x150 SE | 11 | 46 | 0.021995 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_954-13_0_2_line_18 | NAYY 4x150 SE | 12 | 43 | 0.009464 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_954-13_0_2_line_19 | NAYY 4x150 SE | 12 | 40 | 0.097022 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
20 | LV_954-13_0_2_line_20 | NAYY 4x150 SE | 14 | 70 | 0.0054078 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_954-13_0_2_line_21 | NAYY 4x150 SE | 15 | 60 | 0.034143 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_954-13_0_2_line_22 | NAYY 4x150 SE | 16 | 76 | 0.015206 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_954-13_0_2_line_23 | NAYY 4x150 SE | 17 | 80 | 0.12936 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_954-13_0_2_line_24 | NAYY 4x150 SE | 19 | 20 | 0.00074181 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
25 | LV_954-13_0_2_line_25 | NAYY 4x150 SE | 19 | 21 | 0.06491 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
26 | LV_954-13_0_2_line_26 | NAYY 4x150 SE | 20 | 22 | 0.016439 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
27 | LV_954-13_0_2_line_27 | NAYY 4x150 SE | 21 | 23 | 0.011058 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
28 | LV_954-13_0_2_line_28 | NAYY 4x150 SE | 22 | 24 | 0.1858 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
29 | LV_954-13_0_2_line_29 | NAYY 4x150 SE | 23 | 25 | 0.039964 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
30 | LV_954-13_0_2_line_30 | NAYY 4x150 SE | 23 | 26 | 0.0063326 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
31 | LV_954-13_0_2_line_31 | NAYY 4x150 SE | 24 | 29 | 0.034923 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_954-13_0_2_line_32 | NAYY 4x150 SE | 24 | 30 | 0.065611 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_954-13_0_2_line_33 | NAYY 4x150 SE | 25 | 33 | 0.066433 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
34 | LV_954-13_0_2_line_34 | NAYY 4x150 SE | 25 | 27 | 0.044794 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_954-13_0_2_line_35 | NAYY 4x150 SE | 26 | 34 | 0.010317 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
36 | LV_954-13_0_2_line_36 | NAYY 4x150 SE | 27 | 28 | 0.048692 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_954-13_0_2_line_37 | NAYY 4x150 SE | 29 | 31 | 0.090295 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_954-13_0_2_line_38 | NAYY 4x150 SE | 29 | 32 | 0.10699 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_954-13_0_2_line_39 | NAYY 4x150 SE | 31 | 35 | 0.022151 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_954-13_0_2_line_40 | NAYY 4x150 SE | 31 | 36 | 0.014002 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_954-13_0_2_line_41 | NAYY 4x150 SE | 33 | 44 | 0.026785 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
42 | LV_954-13_0_2_line_42 | NAYY 4x150 SE | 36 | 58 | 0.050305 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_954-13_0_2_line_43 | NAYY 4x150 SE | 36 | 56 | 0.029737 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_954-13_0_2_line_44 | NAYY 4x150 SE | 37 | 38 | 0.0075057 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
45 | LV_954-13_0_2_line_45 | NAYY 4x150 SE | 37 | 39 | 0.0050089 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
46 | LV_954-13_0_2_line_46 | NAYY 4x150 SE | 38 | 40 | 0.030648 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
47 | LV_954-13_0_2_line_47 | NAYY 4x150 SE | 39 | 41 | 0.022562 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
48 | LV_954-13_0_2_line_48 | NAYY 4x150 SE | 41 | 42 | 0.025635 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
49 | LV_954-13_0_2_line_49 | NAYY 4x150 SE | 42 | 44 | 0.024758 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
50 | LV_954-13_0_2_line_50 | NAYY 4x150 SE | 43 | 45 | 0.014021 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_954-13_0_2_line_51 | NAYY 4x150 SE | 45 | 50 | 0.12824 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_954-13_0_2_line_52 | NAYY 4x150 SE | 46 | 72 | 0.040438 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_954-13_0_2_line_53 | NAYY 4x150 SE | 47 | 48 | 0.11377 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_954-13_0_2_line_54 | NAYY 4x150 SE | 47 | 49 | 0.019756 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_954-13_0_2_line_55 | NAYY 4x150 SE | 48 | 54 | 0.018567 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_954-13_0_2_line_56 | NAYY 4x150 SE | 49 | 52 | 0.16044 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_954-13_0_2_line_57 | NAYY 4x150 SE | 49 | 50 | 0.17737 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_954-13_0_2_line_58 | NAYY 4x150 SE | 49 | 51 | 0.089189 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_954-13_0_2_line_59 | NAYY 4x150 SE | 52 | 53 | 0.26358 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_954-13_0_2_line_60 | NAYY 4x150 SE | 53 | 55 | 0.14605 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_954-13_0_2_line_61 | NAYY 4x150 SE | 54 | 59 | 0.036397 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_954-13_0_2_line_62 | NAYY 4x150 SE | 55 | 93 | 0.01523 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_954-13_0_2_line_63 | NAYY 4x150 SE | 56 | 57 | 0.00046422 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_954-13_0_2_line_64 | NAYY 4x150 SE | 60 | 61 | 0.011777 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_954-13_0_2_line_65 | NAYY 4x150 SE | 60 | 62 | 0.01489 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_954-13_0_2_line_66 | NAYY 4x150 SE | 61 | 78 | 0.1098 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_954-13_0_2_line_67 | NAYY 4x150 SE | 62 | 77 | 0.0048973 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_954-13_0_2_line_68 | NAYY 4x150 SE | 63 | 64 | 0.01779 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_954-13_0_2_line_69 | NAYY 4x150 SE | 63 | 65 | 0.014733 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_954-13_0_2_line_70 | NAYY 4x150 SE | 64 | 66 | 0.024256 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_954-13_0_2_line_71 | NAYY 4x150 SE | 66 | 67 | 0.009957 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_954-13_0_2_line_72 | NAYY 4x150 SE | 67 | 68 | 0.023804 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_954-13_0_2_line_73 | NAYY 4x150 SE | 67 | 69 | 0.048784 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_954-13_0_2_line_74 | NAYY 4x150 SE | 68 | 70 | 0.0060319 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_954-13_0_2_line_75 | NAYY 4x150 SE | 69 | 71 | 0.022429 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_954-13_0_2_line_76 | NAYY 4x150 SE | 71 | 73 | 0.0054481 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_954-13_0_2_line_77 | NAYY 4x150 SE | 73 | 74 | 0.028628 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_954-13_0_2_line_78 | NAYY 4x150 SE | 74 | 75 | 0.01545 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_954-13_0_2_line_79 | NAYY 4x150 SE | 75 | 76 | 0.021007 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_954-13_0_2_line_80 | NAYY 4x150 SE | 78 | 79 | 0.01637 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_954-13_0_2_line_81 | NAYY 4x150 SE | 79 | 83 | 0.0079873 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_954-13_0_2_line_82 | NAYY 4x150 SE | 80 | 81 | 0.028485 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_954-13_0_2_line_83 | NAYY 4x150 SE | 80 | 82 | 0.084396 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_954-13_0_2_line_84 | NAYY 4x150 SE | 81 | 88 | 0.0082805 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_954-13_0_2_line_85 | NAYY 4x150 SE | 82 | 86 | 0.24089 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_954-13_0_2_line_86 | NAYY 4x150 SE | 82 | 85 | 0.016978 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_954-13_0_2_line_87 | NAYY 4x150 SE | 83 | 84 | 0.042432 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_954-13_0_2_line_88 | NAYY 4x150 SE | 86 | 87 | 0.063833 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_954-13_0_2_line_89 | NAYY 4x150 SE | 87 | 89 | 0.035147 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_954-13_0_2_line_90 | NAYY 4x150 SE | 88 | 90 | 0.0038008 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_954-13_0_2_line_91 | NAYY 4x150 SE | 91 | 92 | 0.014323 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_954-13_0_2_line_92 | NAYY 4x150 SE | 92 | 93 | 0.032884 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_954-13_0_2_trafo_34 | 0.25 MVA 20/0.4 kV | 94 | 34 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22
0 | 2629786.2377 | 1217312.7789 | 2629784.7754 | 1217321.75 | 2629781.248 | 1217336.4965 | 2629777.9479 | 1217344.4342
1 | 2629757.4628 | 1217375.2559 | 2629764.227 | 1217367.474 | 2629770.5055 | 1217359.6452 | 2629776.2618 | 1217348.4896 | 2629777.9479 | 1217344.4342
2 | 2629757.4628 | 1217375.2559 | 2629739.7666 | 1217387.9306 | 2629652.6308 | 1217448.1431 | 2629648.0919 | 1217451.1556 | 2629643.1096 | 1217453.2543 | 2629639.0232 | 1217453.801 | 2629634.6014 | 1217453.1009 | 2629629.9497 | 1217451.3212 | 2629625.5248 | 1217448.1752 | 2629605.2222 | 1217424.8276 | 2629597.0775 | 1217414.1254 | 2629595.1997 | 1217410.1249 | 2629594.2263 | 1217405.8954 | 2629591.8707 | 1217388.0289 | 2629589.7992 | 1217374.1106 | 2629587.2129 | 1217364.5033 | 2629584.3797 | 1217355.7064 | 2629582.3285 | 1217351.4604 | 2629580.2971 | 1217349.338 | 2629577.3532 | 1217347.5669 | 2629574.1369 | 1217347.1285 | 2629570.1186 | 1217347.7089 | 2629564.1298 | 1217349.1801
3 | 2629757.4628 | 1217375.2559 | 2629772.2107 | 1217372.3611 | 2629784.364 | 1217367.6523 | 2629802.8088 | 1217360.14 | 2629819.1305 | 1217353.7178
4 | 2629827.0165 | 1217208.095 | 2629836.5141 | 1217215.3911 | 2629843.6113 | 1217221.5079 | 2629851.7306 | 1217226.6293 | 2629862.2957 | 1217229.9285 | 2629871.8553 | 1217232.4111 | 2629875.3075 | 1217234.2516 | 2629877.3306 | 1217236.4964 | 2629877.923 | 1217240.9686 | 2629878.6987 | 1217248.2768
5 | 2629827.0165 | 1217208.095 | 2629826.5878 | 1217202.7564 | 2629827.8524 | 1217197.2818 | 2629827.6841 | 1217189.9656 | 2629825.3872 | 1217184.7845 | 2629823.7971 | 1217182.9734
6 | 2629827.0165 | 1217208.095 | 2629845.4515 | 1217196.5916 | 2629858.4438 | 1217189.3068
7 | 2629823.7971 | 1217182.9734 | 2629823.7025 | 1217182.8657
8 | 2629886.6901 | 1217171.3388 | 2629883.9541 | 1217173.4931 | 2629866.9712 | 1217184.5256 | 2629858.4438 | 1217189.3068
9 | 2629564.1298 | 1217349.1801 | 2629551.3959 | 1217327.082 | 2629548.0221 | 1217321.9838
10 | 2629557.7915 | 1217350.7385 | 2629564.1298 | 1217349.1801
11 | 2629819.1305 | 1217353.7178 | 2629832.1709 | 1217350.7479
12 | 2629819.1305 | 1217353.7178 | 2629829.36 | 1217343.6297 | 2629842.0327 | 1217333.7429 | 2629852.6332 | 1217329.9381 | 2629854.1428 | 1217329.861
13 | 2629823.7025 | 1217182.8657 | 2629820.7301 | 1217179.4803 | 2629807.0897 | 1217173.3198 | 2629799.553 | 1217167.4511
14 | 2629886.6901 | 1217171.3388 | 2629898.3087 | 1217187.8421
15 | 2629886.6901 | 1217171.3388 | 2629892.7001 | 1217165.6768 | 2629900.2877 | 1217160.2672 | 2629916.8277 | 1217149.7884 | 2629931.7871 | 1217140.3775
16 | 2629886.6901 | 1217171.3388 | 2629886.6428 | 1217164.1122 | 2629884.2712 | 1217159.4338
17 | 2629548.0221 | 1217321.9838 | 2629535.8837 | 1217303.6416
18 | 2629557.7915 | 1217350.7385 | 2629553.4306 | 1217342.3342
19 | 2629557.7915 | 1217350.7385 | 2629563.2263 | 1217366.0743 | 2629568.5687 | 1217384.7338 | 2629570.5991 | 1217399.3078 | 2629571.0452 | 1217418.032 | 2629573.0417 | 1217437.8979 | 2629574.3103 | 1217445.728
20 | 2629859.5436 | 1217329.585 | 2629854.1428 | 1217329.861
21 | 2629770.6534 | 1217153.5598 | 2629773.71 | 1217152.5522 | 2629777.9856 | 1217152.1734 | 2629782.4636 | 1217153.8189 | 2629791.5131 | 1217161.1905 | 2629799.553 | 1217167.4511
22 | 2629898.3087 | 1217187.8421 | 2629905.3371 | 1217197.8254 | 2629905.3221 | 1217200.8217
23 | 2630044.0726 | 1217076.2404 | 2629985.3798 | 1217107.7858 | 2629964.489 | 1217119.9769 | 2629936.8322 | 1217137.2036 | 2629931.7871 | 1217140.3775
24 | 2629701.0687 | 1217642.6926 | 2629701.4119 | 1217642.035
25 | 2629677.9541 | 1217632.487 | 2629684.4132 | 1217635.5987 | 2629692.9043 | 1217619.3204 | 2629696.0596 | 1217618.2466 | 2629700.6971 | 1217618.2696 | 2629704.5329 | 1217619.256 | 2629708.8633 | 1217623.0464 | 2629710.1593 | 1217626.4771 | 2629709.3476 | 1217629.4414 | 2629705.4294 | 1217634.3359 | 2629701.4119 | 1217642.035
26 | 2629693.0282 | 1217656.9428 | 2629694.2562 | 1217655.7482 | 2629701.0687 | 1217642.6926
27 | 2629672.2114 | 1217624.2314 | 2629672.5912 | 1217628.7471 | 2629677.9541 | 1217632.487
28 | 2629663.3892 | 1217806.3377 | 2629659.5334 | 1217803.2835 | 2629684.7499 | 1217741.8287 | 2629698.4683 | 1217707.6882 | 2629705.691 | 1217693.0712 | 2629700.3747 | 1217690.6656 | 2629680.7613 | 1217681.5516 | 2629683.2066 | 1217676.7388 | 2629684.8997 | 1217673.5787 | 2629682.8035 | 1217670.8 | 2629680.8825 | 1217666.3434 | 2629681.2914 | 1217663.4882 | 2629687.9055 | 1217658.3293 | 2629693.0282 | 1217656.9428
29 | 2629706.3837 | 1217604.2676 | 2629689.8282 | 1217616.6702 | 2629679.7271 | 1217622.4455 | 2629672.2114 | 1217624.2314
30 | 2629672.2114 | 1217624.2314 | 2629666.2667 | 1217623.0123 | 2629666.0487 | 1217622.863
31 | 2629648.102 | 1217830.9316 | 2629651.2091 | 1217825.7774 | 2629658.073 | 1217806.9561 | 2629659.5334 | 1217803.2835 | 2629663.3892 | 1217806.3377
32 | 2629663.3892 | 1217806.3377 | 2629719.1591 | 1217840.8994
33 | 2629706.3837 | 1217604.2676 | 2629690.4658 | 1217581.5863 | 2629677.3169 | 1217562.232 | 2629668.208 | 1217549.9083
34 | 2629737.8765 | 1217636.1429 | 2629724.4794 | 1217624.0025 | 2629719.851 | 1217619.0877 | 2629706.3837 | 1217604.2676
35 | 2629657.5372 | 1217617.0321 | 2629666.0487 | 1217622.863
36 | 2629737.8765 | 1217636.1429 | 2629776.6831 | 1217665.5534
37 | 2629617.7445 | 1217915.9858 | 2629648.102 | 1217830.9316
38 | 2629648.102 | 1217830.9316 | 2629645.7456 | 1217828.5741 | 2629641.8909 | 1217825.3086 | 2629613.7057 | 1217803.0447 | 2629595.9088 | 1217790.438 | 2629577.2431 | 1217778.5163 | 2629560.5435 | 1217770.0322
39 | 2629617.7445 | 1217915.9858 | 2629597.3286 | 1217907.3926
40 | 2629617.7445 | 1217915.9858 | 2629612.7764 | 1217929.0799
41 | 2629649.8245 | 1217530.523 | 2629658.6337 | 1217538.4698 | 2629666.8669 | 1217548.094 | 2629668.208 | 1217549.9083
42 | 2629612.7764 | 1217929.0799 | 2629616.5536 | 1217938.7821 | 2629620.638 | 1217949.2751 | 2629623.039 | 1217968.6093 | 2629626.9006 | 1217973.5314 | 2629629.3087 | 1217975.1387
43 | 2629612.7764 | 1217929.0799 | 2629604.9596 | 1217938.0908 | 2629597.0248 | 1217954.0332
44 | 2629586.1985 | 1217473.6915 | 2629588.1002 | 1217476.3948 | 2629591.0709 | 1217479.3646
45 | 2629594.6134 | 1217482.9058 | 2629591.0709 | 1217479.3646
46 | 2629586.1985 | 1217473.6915 | 2629582.1984 | 1217468.0051 | 2629578.279 | 1217457.8465 | 2629574.8462 | 1217449.0355 | 2629574.3103 | 1217445.728
47 | 2629611.3857 | 1217497.9748 | 2629609.8673 | 1217496.7701 | 2629599.1427 | 1217487.4337 | 2629594.6134 | 1217482.9058
48 | 2629611.3857 | 1217497.9748 | 2629630.9616 | 1217513.5067 | 2629631.4414 | 1217513.9396
49 | 2629649.8245 | 1217530.523 | 2629631.4414 | 1217513.9396
50 | 2629553.4306 | 1217342.3342 | 2629546.9789 | 1217329.8857
51 | 2629466.4245 | 1217230.5282 | 2629516.2466 | 1217286.5513 | 2629528.6388 | 1217301.0543 | 2629539.2473 | 1217317.0605 | 2629545.3027 | 1217326.6516 | 2629546.9789 | 1217329.8857
52 | 2629535.8837 | 1217303.6416 | 2629535.7471 | 1217303.4353 | 2629510.2316 | 1217272.3829
53 | 2629379.2622 | 1217391.7809 | 2629375.4848 | 1217397.3878 | 2629373.3467 | 1217403.0583 | 2629373.8957 | 1217410.2652 | 2629371.8144 | 1217418.2707 | 2629364.3371 | 1217429.1958 | 2629327.9418 | 1217482.9481 | 2629324.1388 | 1217489.1763
54 | 2629379.2622 | 1217391.7809 | 2629372.811 | 1217373.105
55 | 2629314.6784 | 1217505.1513 | 2629321.9655 | 1217492.7355 | 2629324.1388 | 1217489.1763
56 | 2629258.1589 | 1217262.3445 | 2629266.4583 | 1217272.6356 | 2629280.3155 | 1217290.3582 | 2629291.368 | 1217299.5511 | 2629308.8201 | 1217311.7105 | 2629321.1928 | 1217321.01 | 2629330.4163 | 1217328.5596 | 2629345.3986 | 1217345.8878 | 2629353.1118 | 1217351.818 | 2629357.9621 | 1217358.0232 | 2629364.8501 | 1217365.0612 | 2629372.811 | 1217373.105
57 | 2629372.811 | 1217373.105 | 2629376.9687 | 1217344.2199 | 2629383.853 | 1217330.4458 | 2629391.9194 | 1217320.1573 | 2629409.4295 | 1217305.1015 | 2629425.343 | 1217295.1741 | 2629436.2999 | 1217285.2446 | 2629445.62 | 1217274.7401 | 2629453.385 | 1217262.5157 | 2629460.8571 | 1217245.0314 | 2629466.4245 | 1217230.5282
58 | 2629372.811 | 1217373.105 | 2629355.8234 | 1217376.1566 | 2629342.6771 | 1217376.0141 | 2629284.8461 | 1217365.4805
59 | 2629258.1589 | 1217262.3445 | 2629242.2414 | 1217249.8926 | 2629226.1648 | 1217238.9186 | 2629219.9157 | 1217234.6522 | 2629199.9154 | 1217223.4923 | 2629182.7518 | 1217215.904 | 2629175.7532 | 1217211.2004 | 2629166.0102 | 1217204.2488 | 2629157.5995 | 1217196.5032 | 2629151.2058 | 1217192.3029 | 2629142.8719 | 1217189.0158 | 2629130.5722 | 1217186.421 | 2629115.8177 | 1217184.4256 | 2629093.9467 | 1217181.673 | 2629087.3306 | 1217181.0292 | 2629061.2322 | 1217189.029 | 2629049.906 | 1217193.8433 | 2629036.1288 | 1217201.5919 | 2629028.575 | 1217204.9015 | 2629022.4519 | 1217206.8167
60 | 2629022.4519 | 1217206.8167 | 2629019.3001 | 1217207.8025 | 2629009.322 | 1217208.5656 | 2628999.7537 | 1217207.8075 | 2628989.9868 | 1217205.7256 | 2628980.2211 | 1217204.9666 | 2628964.7493 | 1217205.3028 | 2628880.7715 | 1217202.2609 | 2628876.9189 | 1217202.4437
61 | 2629279.0419 | 1217497.2719 | 2629295.5703 | 1217501.1107 | 2629314.6784 | 1217505.1513
62 | 2628861.7349 | 1217203.5807 | 2628871.2049 | 1217202.7148 | 2628876.9189 | 1217202.4437
63 | 2629596.818 | 1217954.4488 | 2629597.0248 | 1217954.0332
64 | 2629770.6534 | 1217153.5598 | 2629776.2262 | 1217143.1852
65 | 2629770.6534 | 1217153.5598 | 2629767.9952 | 1217155.3698 | 2629764.5287 | 1217156.3642 | 2629761.4773 | 1217156.349 | 2629756.7457 | 1217154.6827
66 | 2629809.3844 | 1217040.6988 | 2629810.2209 | 1217046.4841 | 2629810.737 | 1217054.0911 | 2629810.3668 | 1217061.3379 | 2629808.7276 | 1217070.3683 | 2629804.0212 | 1217084.0305 | 2629795.44 | 1217105.9781 | 2629784.9892 | 1217126.8714 | 2629776.2262 | 1217143.1852
67 | 2629752.1265 | 1217153.056 | 2629756.7457 | 1217154.6827
68 | 2629929.1785 | 1217353.9687 | 2629911.4441 | 1217352.558
69 | 2629929.1785 | 1217353.9687 | 2629929.1785 | 1217353.9687 | 2629933.7891 | 1217350.323 | 2629937.165 | 1217342.1365
70 | 2629887.2644 | 1217350.6345 | 2629911.4441 | 1217352.558
71 | 2629884.8611 | 1217340.9725 | 2629887.2644 | 1217350.6345
72 | 2629884.8611 | 1217340.9725 | 2629880.2533 | 1217334.957 | 2629874.5433 | 1217330.7593 | 2629867.0971 | 1217329.1989 | 2629865.5676 | 1217329.2771
73 | 2629884.8611 | 1217340.9725 | 2629892.9207 | 1217292.8587
74 | 2629859.5436 | 1217329.585 | 2629865.5676 | 1217329.2771
75 | 2629895.8941 | 1217270.6384 | 2629894.6263 | 1217282.6764 | 2629892.9207 | 1217292.8587
76 | 2629896.4647 | 1217265.2203 | 2629895.8941 | 1217270.6384
77 | 2629896.4647 | 1217265.2203 | 2629897.0253 | 1217259.8975 | 2629900.7086 | 1217236.9149
78 | 2629900.7086 | 1217236.9149 | 2629903.1536 | 1217221.6593
79 | 2629903.1536 | 1217221.6593 | 2629905.2843 | 1217208.3645 | 2629905.3221 | 1217200.8217
80 | 2629809.3844 | 1217040.6988 | 2629800.4637 | 1217026.9734
81 | 2629796.111 | 1217020.2763 | 2629800.4637 | 1217026.9734
82 | 2630044.0726 | 1217076.2404 | 2630053.3729 | 1217092.5523 | 2630057.8994 | 1217101.1578
83 | 2630044.0726 | 1217076.2404 | 2630118.9967 | 1217036.9842
84 | 2630057.8994 | 1217101.1578 | 2630051.8585 | 1217106.8212
85 | 2630328.9479 | 1216918.0116 | 2630319.9148 | 1216922.3905 | 2630219.5571 | 1216982.7165 | 2630201.1176 | 1216993.3516 | 2630118.9967 | 1217036.9842
86 | 2630118.9967 | 1217036.9842 | 2630122.6376 | 1217042.0499 | 2630126.4649 | 1217050.7965 | 2630126.7995 | 1217051.9406
87 | 2629796.111 | 1217020.2763 | 2629794.5436 | 1217013.4089 | 2629793.2711 | 1217006.7654 | 2629793.4241 | 1216998.9283 | 2629795.2897 | 1216991.689 | 2629799.9412 | 1216979.2195
88 | 2630328.9479 | 1216918.0116 | 2630326.2013 | 1216890.8486 | 2630323.9898 | 1216885.3564 | 2630320.1372 | 1216883.1133 | 2630314.5777 | 1216882.1623 | 2630299.7092 | 1216883.0984 | 2630294.1194 | 1216882.5747
89 | 2630294.1194 | 1216882.5747 | 2630290.5509 | 1216882.2403 | 2630281.6038 | 1216880.1604 | 2630274.1336 | 1216880.2337 | 2630267.343 | 1216882.5228 | 2630260.2597 | 1216885.6442
90 | 2630051.8585 | 1217106.8212 | 2630049.0857 | 1217109.4208
91 | 2628827.6444 | 1217178.457 | 2628827.6444 | 1217178.457 | 2628834.9446 | 1217190.7799
92 | 2628861.7349 | 1217203.5807 | 2628853.5901 | 1217203.5413 | 2628846.3577 | 1217203.2061 | 2628843.6138 | 1217202.3813 | 2628841.5869 | 1217200.8484 | 2628839.1569 | 1217197.8905 | 2628834.9446 | 1217190.7799

## bus_geodata
| x | y | coords
0 | 2629786.2377 | 1217312.7789
1 | 2629777.9479 | 1217344.4342
2 | 2629757.4628 | 1217375.2559
3 | 2629827.0165 | 1217208.095
4 | 2629878.6987 | 1217248.2768
5 | 2629823.7971 | 1217182.9734
6 | 2629858.4438 | 1217189.3068
7 | 2629564.1298 | 1217349.1801
8 | 2629819.1305 | 1217353.7178
9 | 2629823.7025 | 1217182.8657
10 | 2629886.6901 | 1217171.3388
11 | 2629548.0221 | 1217321.9838
12 | 2629557.7915 | 1217350.7385
13 | 2629832.1709 | 1217350.7479
14 | 2629854.1428 | 1217329.861
15 | 2629799.553 | 1217167.4511
16 | 2629898.3087 | 1217187.8421
17 | 2629931.7871 | 1217140.3775
18 | 2629884.2712 | 1217159.4338
19 | 2629701.4119 | 1217642.035
20 | 2629701.0687 | 1217642.6926
21 | 2629677.9541 | 1217632.487
22 | 2629693.0282 | 1217656.9428
23 | 2629672.2114 | 1217624.2314
24 | 2629663.3892 | 1217806.3377
25 | 2629706.3837 | 1217604.2676
26 | 2629666.0487 | 1217622.863
27 | 2629737.8765 | 1217636.1429
28 | 2629776.6831 | 1217665.5534
29 | 2629648.102 | 1217830.9316
30 | 2629719.1591 | 1217840.8994
31 | 2629617.7445 | 1217915.9858
32 | 2629560.5435 | 1217770.0322
33 | 2629668.208 | 1217549.9083
34 | 2629657.5372 | 1217617.0321
35 | 2629597.3286 | 1217907.3926
36 | 2629612.7764 | 1217929.0799
37 | 2629591.0709 | 1217479.3646
38 | 2629586.1985 | 1217473.6915
39 | 2629594.6134 | 1217482.9058
40 | 2629574.3103 | 1217445.728
41 | 2629611.3857 | 1217497.9748
42 | 2629631.4414 | 1217513.9396
43 | 2629553.4306 | 1217342.3342
44 | 2629649.8245 | 1217530.523
45 | 2629546.9789 | 1217329.8857
46 | 2629535.8837 | 1217303.6416
47 | 2629379.2622 | 1217391.7809
48 | 2629324.1388 | 1217489.1763
49 | 2629372.811 | 1217373.105
50 | 2629466.4245 | 1217230.5282
51 | 2629284.8461 | 1217365.4805
52 | 2629258.1589 | 1217262.3445
53 | 2629022.4519 | 1217206.8167
54 | 2629314.6784 | 1217505.1513
55 | 2628876.9189 | 1217202.4437
56 | 2629597.0248 | 1217954.0332
57 | 2629596.818 | 1217954.4488
58 | 2629629.3087 | 1217975.1387
59 | 2629279.042 | 1217497.2719
60 | 2629770.6534 | 1217153.5598
61 | 2629776.2262 | 1217143.1852
62 | 2629756.7457 | 1217154.6827
63 | 2629929.1785 | 1217353.9687
64 | 2629911.4441 | 1217352.558
65 | 2629937.165 | 1217342.1365
66 | 2629887.2644 | 1217350.6345
67 | 2629884.8611 | 1217340.9725
68 | 2629865.5676 | 1217329.2771
69 | 2629892.9207 | 1217292.8587
70 | 2629859.5436 | 1217329.585
71 | 2629895.8941 | 1217270.6384
72 | 2629510.2316 | 1217272.3829
73 | 2629896.4647 | 1217265.2203
74 | 2629900.7086 | 1217236.9149
75 | 2629903.1536 | 1217221.6593
76 | 2629905.3221 | 1217200.8217
77 | 2629752.1265 | 1217153.056
78 | 2629809.3844 | 1217040.6988
79 | 2629800.4637 | 1217026.9734
80 | 2630044.0726 | 1217076.2404
81 | 2630057.8994 | 1217101.1578
82 | 2630118.9967 | 1217036.9842
83 | 2629796.111 | 1217020.2763
84 | 2629799.9412 | 1216979.2195
85 | 2630126.7995 | 1217051.9406
86 | 2630328.9479 | 1216918.0116
87 | 2630294.1194 | 1216882.5747
88 | 2630051.8585 | 1217106.8212
89 | 2630260.2597 | 1216885.6442
90 | 2630049.0857 | 1217109.4208
91 | 2628827.6444 | 1217178.457
92 | 2628834.9446 | 1217190.7799
93 | 2628861.7349 | 1217203.5807
94 | 2629672.2114 | 1217624.2314

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1