## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_954-17_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_954-17_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_954-17_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_954-17_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_954-17_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_954-17_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_954-17_0_3_node_71 | 0.4 | n |  | TRUE
7 | bus_LV_954-17_0_3_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_954-17_0_3_node_14 | 0.4 | n |  | TRUE
9 | bus_LV_954-17_0_3_node_72 | 0.4 | n |  | TRUE
10 | bus_LV_954-17_0_3_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_954-17_0_3_node_15 | 0.4 | n |  | TRUE
12 | bus_LV_954-17_0_3_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_954-17_0_3_node_62 | 0.4 | n |  | TRUE
14 | bus_LV_954-17_0_3_node_67 | 0.4 | n |  | TRUE
15 | bus_LV_954-17_0_3_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_954-17_0_3_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_954-17_0_3_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_954-17_0_3_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_954-17_0_3_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_954-17_0_3_node_38 | 0.4 | n |  | TRUE
21 | bus_LV_954-17_0_3_node_57 | 0.4 | n |  | TRUE
22 | bus_LV_954-17_0_3_node_40 | 0.4 | n |  | TRUE
23 | bus_LV_954-17_0_3_node_37 | 0.4 | n |  | TRUE
24 | bus_LV_954-17_0_3_node_73 | 0.4 | n |  | TRUE
25 | bus_LV_954-17_0_3_node_16 | 0.4 | n |  | TRUE
26 | bus_LV_954-17_0_3_node_76 | 0.4 | n |  | TRUE
27 | bus_LV_954-17_0_3_node_78 | 0.4 | n |  | TRUE
28 | bus_LV_954-17_0_3_node_32 | 0.4 | n |  | TRUE
29 | bus_LV_954-17_0_3_node_17 | 0.4 | n |  | TRUE
30 | bus_LV_954-17_0_3_node_18 | 0.4 | n |  | TRUE
31 | bus_LV_954-17_0_3_node_19 | 0.4 | n |  | TRUE
32 | bus_LV_954-17_0_3_node_20 | 0.4 | n |  | TRUE
33 | bus_LV_954-17_0_3_node_21 | 0.4 | n |  | TRUE
34 | bus_LV_954-17_0_3_node_48 | 0.4 | n |  | TRUE
35 | bus_LV_954-17_0_3_node_66 | 0.4 | n |  | TRUE
36 | bus_LV_954-17_0_3_node_26 | 0.4 | n |  | TRUE
37 | bus_LV_954-17_0_3_node_41 | 0.4 | n |  | TRUE
38 | bus_LV_954-17_0_3_node_46 | 0.4 | n |  | TRUE
39 | bus_LV_954-17_0_3_node_64 | 0.4 | n |  | TRUE
40 | bus_LV_954-17_0_3_node_24 | 0.4 | n |  | TRUE
41 | bus_LV_954-17_0_3_node_22 | 0.4 | n |  | TRUE
42 | bus_LV_954-17_0_3_node_23 | 0.4 | n |  | TRUE
43 | bus_LV_954-17_0_3_node_25 | 0.4 | n |  | TRUE
44 | bus_LV_954-17_0_3_node_27 | 0.4 | n |  | TRUE
45 | bus_LV_954-17_0_3_node_79 | 0.4 | n |  | TRUE
46 | bus_LV_954-17_0_3_node_77 | 0.4 | n |  | TRUE
47 | bus_LV_954-17_0_3_node_45 | 0.4 | n |  | TRUE
48 | bus_LV_954-17_0_3_node_55 | 0.4 | n |  | TRUE
49 | bus_LV_954-17_0_3_node_28 | 0.4 | n |  | TRUE
50 | bus_LV_954-17_0_3_node_29 | 0.4 | n |  | TRUE
51 | bus_LV_954-17_0_3_node_30 | 0.4 | n |  | TRUE
52 | bus_LV_954-17_0_3_node_31 | 0.4 | n |  | TRUE
53 | bus_LV_954-17_0_3_node_44 | 0.4 | n |  | TRUE
54 | bus_LV_954-17_0_3_node_33 | 0.4 | n |  | TRUE
55 | bus_LV_954-17_0_3_node_34 | 0.4 | n |  | TRUE
56 | bus_LV_954-17_0_3_node_35 | 0.4 | n |  | TRUE
57 | bus_LV_954-17_0_3_node_36 | 0.4 | n |  | TRUE
58 | bus_LV_954-17_0_3_node_53 | 0.4 | n |  | TRUE
59 | bus_LV_954-17_0_3_node_63 | 0.4 | n |  | TRUE
60 | bus_LV_954-17_0_3_node_51 | 0.4 | n |  | TRUE
61 | bus_LV_954-17_0_3_node_39 | 0.4 | n |  | TRUE
62 | bus_LV_954-17_0_3_node_42 | 0.4 | n |  | TRUE
63 | bus_LV_954-17_0_3_node_43 | 0.4 | n |  | TRUE
64 | bus_LV_954-17_0_3_node_69 | 0.4 | n |  | TRUE
65 | bus_LV_954-17_0_3_node_68 | 0.4 | n |  | TRUE
66 | bus_LV_954-17_0_3_node_61 | 0.4 | n |  | TRUE
67 | bus_LV_954-17_0_3_node_47 | 0.4 | n |  | TRUE
68 | bus_LV_954-17_0_3_node_49 | 0.4 | n |  | TRUE
69 | bus_LV_954-17_0_3_node_70 | 0.4 | n |  | TRUE
70 | bus_LV_954-17_0_3_node_50 | 0.4 | n |  | TRUE
71 | bus_LV_954-17_0_3_node_52 | 0.4 | n |  | TRUE
72 | bus_LV_954-17_0_3_node_54 | 0.4 | n |  | TRUE
73 | bus_LV_954-17_0_3_node_56 | 0.4 | n |  | TRUE
74 | bus_LV_954-17_0_3_node_58 | 0.4 | n |  | TRUE
75 | bus_LV_954-17_0_3_node_59 | 0.4 | n |  | TRUE
76 | bus_LV_954-17_0_3_node_60 | 0.4 | n |  | TRUE
77 | bus_LV_954-17_0_3_node_75 | 0.4 | n |  | TRUE
78 | bus_LV_954-17_0_3_node_65 | 0.4 | n |  | TRUE
79 | bus_LV_954-17_0_3_node_74 | 0.4 | n |  | TRUE
80 | bus_LV_954-17_0_3_node_80 | 0.4 | n |  | TRUE
81 | bus_LV_954-17_0_3_node_81 | 0.4 | n |  | TRUE
82 | bus_LV_954-17_0_3_node_82 | 0.4 | n |  | TRUE
83 | bus_MV_129_2_node_118 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_954-17_0_3_load_0 | 0 | 0.0013037 | 0.00032674 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_954-17_0_3_load_1 | 1 | 0.0013315 | 0.00033371 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_954-17_0_3_load_3 | 3 | 0.0040465 | 0.0010142 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_954-17_0_3_load_4 | 4 | 0.0038411 | 0.00096267 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_954-17_0_3_load_5 | 5 | 0.0023289 | 0.00058368 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_954-17_0_3_load_71 | 6 | 0.0030555 | 0.00076577 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_954-17_0_3_load_6 | 7 | 0.0082121 | 0.0020582 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_954-17_0_3_load_14 | 8 | 0.0023566 | 0.00059061 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_954-17_0_3_load_7 | 10 | 0.0040819 | 0.001023 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_954-17_0_3_load_15 | 11 | 0.0016683 | 0.00041812 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_954-17_0_3_load_8 | 12 | 0.0041555 | 0.0010415 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_954-17_0_3_load_62 | 13 | 0.0031039 | 0.00077791 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_954-17_0_3_load_67 | 14 | 0.0083253 | 0.0020865 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_954-17_0_3_load_9 | 15 | 0.0011228 | 0.0002814 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_954-17_0_3_load_10 | 16 | 0.00079253 | 0.00019863 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_954-17_0_3_load_11 | 17 | 0.015029 | 0.0037667 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_954-17_0_3_load_12 | 18 | 0.0073822 | 0.0018502 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_954-17_0_3_load_13 | 19 | 0.0011007 | 0.00027585 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_954-17_0_3_load_57 | 21 | 0.0012304 | 0.00030836 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_954-17_0_3_load_40 | 22 | 0.00024694 | 6.1889e-05 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_954-17_0_3_load_37 | 23 | 0.0072099 | 0.001807 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_954-17_0_3_load_16 | 25 | 0.0017908 | 0.00044881 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_954-17_0_3_load_78 | 27 | 0.0021945 | 0.00055 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_954-17_0_3_load_32 | 28 | 0.0017747 | 0.00044479 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_954-17_0_3_load_17 | 29 | 0.0029903 | 0.00074943 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_954-17_0_3_load_18 | 30 | 0.0023624 | 0.00059206 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_954-17_0_3_load_19 | 31 | 0.0021463 | 0.00053792 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_954-17_0_3_load_21 | 33 | 0.0026202 | 0.00065667 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_954-17_0_3_load_66 | 35 | 0.0039569 | 0.00099169 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_954-17_0_3_load_41 | 37 | 0.0034092 | 0.00085442 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_954-17_0_3_load_46 | 38 | 0.001839 | 0.00046091 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_954-17_0_3_load_64 | 39 | 0.0070524 | 0.0017675 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_954-17_0_3_load_22 | 41 | 0.0017444 | 0.00043719 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_954-17_0_3_load_23 | 42 | 0.003054 | 0.00076541 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_954-17_0_3_load_25 | 43 | 0.0028837 | 0.00072273 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_954-17_0_3_load_27 | 44 | 0.0011864 | 0.00029733 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_954-17_0_3_load_79 | 45 | 0.0019647 | 0.00049241 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_954-17_0_3_load_77 | 46 | 0.002044 | 0.00051229 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_954-17_0_3_load_45 | 47 | 0.0024129 | 0.00060472 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_954-17_0_3_load_55 | 48 | 0.0024104 | 0.00060409 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_954-17_0_3_load_28 | 49 | 0.0017656 | 0.0004425 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_954-17_0_3_load_29 | 50 | 0.0019374 | 0.00048555 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_954-17_0_3_load_30 | 51 | 0.0018542 | 0.0004647 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_954-17_0_3_load_31 | 52 | 0.0017712 | 0.00044391 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_954-17_0_3_load_44 | 53 | 0.0028027 | 0.00070242 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_954-17_0_3_load_33 | 54 | 0.0017148 | 0.00042976 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_954-17_0_3_load_34 | 55 | 0.0019474 | 0.00048807 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_954-17_0_3_load_35 | 56 | 0.0018161 | 0.00045516 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_954-17_0_3_load_53 | 58 | 0.0019023 | 0.00047677 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_954-17_0_3_load_63 | 59 | 0.0021054 | 0.00052767 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_954-17_0_3_load_51 | 60 | 0.00107 | 0.00026817 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_954-17_0_3_load_42 | 62 | 0.0014509 | 0.00036363 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_954-17_0_3_load_43 | 63 | 0.0049019 | 0.0012285 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_954-17_0_3_load_69 | 64 | 0.002332 | 0.00058446 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_954-17_0_3_load_68 | 65 | 0.0053468 | 0.00134 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_954-17_0_3_load_61 | 66 | 0.0017804 | 0.00044622 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_954-17_0_3_load_47 | 67 | 0.0049981 | 0.0012526 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_954-17_0_3_load_49 | 68 | 0.0014923 | 0.000374 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_954-17_0_3_load_70 | 69 | 0.0014593 | 0.00036573 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_954-17_0_3_load_50 | 70 | 0.0035867 | 0.00089892 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_954-17_0_3_load_54 | 72 | 0.0034993 | 0.000877 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_954-17_0_3_load_56 | 73 | 0.005138 | 0.0012877 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_954-17_0_3_load_58 | 74 | 0.00035881 | 8.9926e-05 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_954-17_0_3_load_59 | 75 | 0.000433 | 0.00010852 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_954-17_0_3_load_60 | 76 | 0.0050223 | 0.0012587 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_954-17_0_3_load_75 | 77 | 0.011275 | 0.0028258 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_954-17_0_3_load_65 | 78 | 0.004621 | 0.0011581 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_954-17_0_3_load_74 | 79 | 0.0018278 | 0.00045809 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_954-17_0_3_load_80 | 80 | 0.0023524 | 0.00058956 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_954-17_0_3_load_81 | 81 | 0.0018692 | 0.00046846 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_954-17_0_3_load_82 | 82 | 0.002298 | 0.00057593 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 13 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_954-17_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.03818 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
1 | LV_954-17_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.013909 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
2 | LV_954-17_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.012092 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
3 | LV_954-17_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.021145 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
4 | LV_954-17_0_3_line_4 | NAYY 4x150 SE | 2 | 5 | 0.017062 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_954-17_0_3_line_5 | NAYY 4x150 SE | 3 | 6 | 0.024153 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
6 | LV_954-17_0_3_line_6 | NAYY 4x150 SE | 4 | 7 | 0.0078636 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
7 | LV_954-17_0_3_line_7 | NAYY 4x150 SE | 5 | 8 | 0.0078704 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_954-17_0_3_line_8 | NAYY 4x150 SE | 6 | 9 | 0.041348 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
9 | LV_954-17_0_3_line_9 | NAYY 4x150 SE | 7 | 10 | 0.023357 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
10 | LV_954-17_0_3_line_10 | NAYY 4x150 SE | 8 | 11 | 0.00015209 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_954-17_0_3_line_11 | NAYY 4x150 SE | 9 | 79 | 0.011843 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_954-17_0_3_line_12 | NAYY 4x150 SE | 9 | 24 | 0.029899 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
13 | LV_954-17_0_3_line_13 | NAYY 4x150 SE | 10 | 12 | 0.00052297 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
14 | LV_954-17_0_3_line_14 | NAYY 4x150 SE | 11 | 25 | 0.030935 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_954-17_0_3_line_15 | NAYY 4x150 SE | 12 | 13 | 0.0078034 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
16 | LV_954-17_0_3_line_16 | NAYY 4x150 SE | 13 | 14 | 0.010751 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_954-17_0_3_line_17 | NAYY 4x150 SE | 14 | 78 | 0.015654 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_954-17_0_3_line_18 | NAYY 4x150 SE | 15 | 16 | 0.0083888 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_954-17_0_3_line_19 | NAYY 4x150 SE | 15 | 17 | 0.030542 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_954-17_0_3_line_20 | NAYY 4x150 SE | 16 | 18 | 0.037623 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_954-17_0_3_line_21 | NAYY 4x150 SE | 17 | 19 | 0.010463 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_954-17_0_3_line_22 | NAYY 4x150 SE | 18 | 20 | 0.037234 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_954-17_0_3_line_23 | NAYY 4x150 SE | 19 | 21 | 0.037941 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_954-17_0_3_line_24 | NAYY 4x150 SE | 20 | 22 | 0.016998 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_954-17_0_3_line_25 | NAYY 4x150 SE | 20 | 23 | 0.0051076 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_954-17_0_3_line_26 | NAYY 4x150 SE | 21 | 24 | 0.056027 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_954-17_0_3_line_27 | NAYY 4x150 SE | 22 | 64 | 0.017847 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_954-17_0_3_line_28 | NAYY 4x150 SE | 25 | 26 | 0.015018 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_954-17_0_3_line_29 | NAYY 4x150 SE | 26 | 27 | 0.012233 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_954-17_0_3_line_30 | NAYY 4x150 SE | 26 | 28 | 0.017592 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_954-17_0_3_line_31 | NAYY 4x150 SE | 27 | 80 | 0.02401 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_954-17_0_3_line_32 | NAYY 4x150 SE | 28 | 51 | 0.0023549 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_954-17_0_3_line_33 | NAYY 4x150 SE | 29 | 30 | 0.0095425 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_954-17_0_3_line_34 | NAYY 4x150 SE | 29 | 31 | 0.00068231 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_954-17_0_3_line_35 | NAYY 4x150 SE | 30 | 32 | 0.015849 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_954-17_0_3_line_36 | NAYY 4x150 SE | 31 | 33 | 0.027473 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_954-17_0_3_line_37 | NAYY 4x150 SE | 32 | 34 | 0.003808 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_954-17_0_3_line_38 | NAYY 4x150 SE | 32 | 35 | 0.017927 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_954-17_0_3_line_39 | NAYY 4x150 SE | 33 | 36 | 0.018009 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_954-17_0_3_line_40 | NAYY 4x150 SE | 34 | 37 | 0.033951 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_954-17_0_3_line_41 | NAYY 4x150 SE | 34 | 38 | 0.016194 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_954-17_0_3_line_42 | NAYY 4x150 SE | 35 | 39 | 0.026563 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_954-17_0_3_line_43 | NAYY 4x150 SE | 36 | 40 | 0.005649 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_954-17_0_3_line_44 | NAYY 4x150 SE | 37 | 61 | 0.025773 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_954-17_0_3_line_45 | NAYY 4x150 SE | 38 | 67 | 0.016021 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_954-17_0_3_line_46 | NAYY 4x150 SE | 39 | 78 | 0.0011652 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_954-17_0_3_line_47 | NAYY 4x150 SE | 40 | 44 | 0.027642 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_954-17_0_3_line_48 | NAYY 4x150 SE | 40 | 41 | 0.01286 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_954-17_0_3_line_49 | NAYY 4x150 SE | 41 | 42 | 0.0098391 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_954-17_0_3_line_50 | NAYY 4x150 SE | 42 | 43 | 0.0090592 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_954-17_0_3_line_51 | NAYY 4x150 SE | 44 | 45 | 0.016421 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_954-17_0_3_line_52 | NAYY 4x150 SE | 45 | 48 | 0.0098061 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_954-17_0_3_line_53 | NAYY 4x150 SE | 46 | 47 | 0.0014397 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_954-17_0_3_line_54 | NAYY 4x150 SE | 47 | 53 | 0.023415 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_954-17_0_3_line_55 | NAYY 4x150 SE | 48 | 71 | 0.022395 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_954-17_0_3_line_56 | NAYY 4x150 SE | 49 | 50 | 0.0015136 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_954-17_0_3_line_57 | NAYY 4x150 SE | 49 | 51 | 0.023187 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_954-17_0_3_line_58 | NAYY 4x150 SE | 50 | 52 | 0.024152 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_954-17_0_3_line_59 | NAYY 4x150 SE | 52 | 53 | 0.0003673 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_954-17_0_3_line_60 | NAYY 4x150 SE | 54 | 55 | 0.024673 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_954-17_0_3_line_61 | NAYY 4x150 SE | 54 | 56 | 0.025712 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_954-17_0_3_line_62 | NAYY 4x150 SE | 55 | 57 | 0.0092322 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_954-17_0_3_line_63 | NAYY 4x150 SE | 57 | 58 | 0.015079 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_954-17_0_3_line_64 | NAYY 4x150 SE | 57 | 59 | 0.0048865 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_954-17_0_3_line_65 | NAYY 4x150 SE | 58 | 60 | 0.0026074 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_954-17_0_3_line_66 | NAYY 4x150 SE | 60 | 70 | 0.013223 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_954-17_0_3_line_67 | NAYY 4x150 SE | 61 | 62 | 0.030828 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_954-17_0_3_line_68 | NAYY 4x150 SE | 61 | 63 | 0.036189 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_954-17_0_3_line_69 | NAYY 4x150 SE | 62 | 65 | 0.056788 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_954-17_0_3_line_70 | NAYY 4x150 SE | 64 | 66 | 1.4143e-06 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_954-17_0_3_line_71 | NAYY 4x150 SE | 66 | 75 | 0.028591 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_954-17_0_3_line_72 | NAYY 4x150 SE | 67 | 68 | 0.0071705 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_954-17_0_3_line_73 | NAYY 4x150 SE | 68 | 69 | 0.00039087 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_954-17_0_3_line_74 | NAYY 4x150 SE | 70 | 71 | 0.022788 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_954-17_0_3_line_75 | NAYY 4x150 SE | 71 | 72 | 0.011932 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_954-17_0_3_line_76 | NAYY 4x150 SE | 72 | 73 | 0.017674 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_954-17_0_3_line_77 | NAYY 4x150 SE | 74 | 75 | 0.0065949 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_954-17_0_3_line_78 | NAYY 4x150 SE | 74 | 76 | 0.00039155 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_954-17_0_3_line_79 | NAYY 4x150 SE | 76 | 77 | 0.11142 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_954-17_0_3_line_80 | NAYY 4x150 SE | 80 | 81 | 0.0052506 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_954-17_0_3_line_81 | NAYY 4x150 SE | 81 | 82 | 0.019718 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_954-17_0_3_trafo_62 | 0.25 MVA 20/0.4 kV | 83 | 13 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2632206.4998 | 1218393.0302 | 2632196.347 | 1218372.8285 | 2632188.7596 | 1218359.2315
1 | 2632212.7459 | 1218405.4583 | 2632206.4998 | 1218393.0302
2 | 2632188.7596 | 1218359.2315 | 2632182.8673 | 1218348.672
3 | 2632212.7459 | 1218405.4583 | 2632220.478 | 1218425.1384
4 | 2632212.7459 | 1218405.4583 | 2632197.1956 | 1218412.48
5 | 2632170.5411 | 1218327.902 | 2632182.0352 | 1218347.1808 | 2632182.8673 | 1218348.672
6 | 2632223.3536 | 1218432.4573 | 2632220.478 | 1218425.1384
7 | 2632197.1956 | 1218412.48 | 2632190.0226 | 1218415.719
8 | 2632148.0445 | 1218293.2439 | 2632160.2307 | 1218310.6085 | 2632170.5411 | 1218327.902
9 | 2632223.3536 | 1218432.4573 | 2632231.8947 | 1218454.1965
10 | 2632189.884 | 1218415.7816 | 2632190.0226 | 1218415.719
11 | 2632148.0445 | 1218293.2439 | 2632137.5675 | 1218298.7659
12 | 2632148.0445 | 1218293.2439 | 2632159.3078 | 1218287.5345 | 2632175.9029 | 1218282.4877
13 | 2632231.8947 | 1218454.1965 | 2632231.9185 | 1218454.257 | 2632232.0961 | 1218454.6791
14 | 2632189.884 | 1218415.7816 | 2632161.6901 | 1218428.5125
15 | 2632235.1229 | 1218461.8715 | 2632232.0961 | 1218454.6791
16 | 2632239.2932 | 1218471.7812 | 2632235.1229 | 1218461.8715
17 | 2632245.3652 | 1218486.2099 | 2632239.2932 | 1218471.7812
18 | 2632261.9507 | 1218369.554 | 2632265.5509 | 1218377.131
19 | 2632248.0781 | 1218342.3589 | 2632255.1685 | 1218355.2804 | 2632261.9507 | 1218369.554
20 | 2632265.5509 | 1218377.131 | 2632270.5591 | 1218387.6714 | 2632280.4917 | 1218411.6485
21 | 2632248.0781 | 1218342.3589 | 2632243.0448 | 1218333.1861
22 | 2632294.7415 | 1218446.0475 | 2632280.4917 | 1218411.6485
23 | 2632223.7124 | 1218300.5446 | 2632224.4624 | 1218301.7944 | 2632239.9574 | 1218327.5598 | 2632243.0448 | 1218333.1861
24 | 2632294.7415 | 1218446.0475 | 2632310.0421 | 1218438.6438
25 | 2632294.7415 | 1218446.0475 | 2632296.6337 | 1218450.7917
26 | 2632175.9029 | 1218282.4877 | 2632188.6129 | 1218284.324 | 2632207.081 | 1218283.8011 | 2632212.5205 | 1218285.6205 | 2632216.3163 | 1218288.2202 | 2632223.7124 | 1218300.5446
27 | 2632310.0421 | 1218438.6438 | 2632326.1074 | 1218430.8702
28 | 2632148.003 | 1218434.6929 | 2632161.6901 | 1218428.5125
29 | 2632148.003 | 1218434.6929 | 2632143.4129 | 1218423.3538
30 | 2632148.003 | 1218434.6929 | 2632154.6036 | 1218451
31 | 2632143.4129 | 1218423.3538 | 2632139.4424 | 1218413.5455 | 2632132.8995 | 1218401.8186
32 | 2632154.6036 | 1218451 | 2632155.4872 | 1218453.1829
33 | 2632239.6781 | 1218538.1572 | 2632248.4707 | 1218534.4492
34 | 2632239.0494 | 1218538.4223 | 2632239.6781 | 1218538.1572
35 | 2632263.0742 | 1218528.2909 | 2632248.4707 | 1218534.4492
36 | 2632213.7352 | 1218549.0975 | 2632239.0494 | 1218538.4223
37 | 2632263.0742 | 1218528.2909 | 2632264.6796 | 1218531.746
38 | 2632263.0742 | 1218528.2909 | 2632256.1205 | 1218511.7672
39 | 2632197.141 | 1218556.0954 | 2632213.7352 | 1218549.0975
40 | 2632264.6796 | 1218531.746 | 2632295.6574 | 1218517.8518
41 | 2632264.6796 | 1218531.746 | 2632270.434 | 1218546.8831
42 | 2632245.8172 | 1218487.2839 | 2632256.1205 | 1218511.7672
43 | 2632197.141 | 1218556.0954 | 2632199.2072 | 1218561.3541
44 | 2632319.1734 | 1218507.3044 | 2632295.6574 | 1218517.8518
45 | 2632270.434 | 1218546.8831 | 2632276.127 | 1218561.8588
46 | 2632245.8172 | 1218487.2839 | 2632245.3652 | 1218486.2099
47 | 2632199.2072 | 1218561.3541 | 2632173.0088 | 1218570.1706
48 | 2632199.2072 | 1218561.3541 | 2632203.8402 | 1218573.3505
49 | 2632203.8402 | 1218573.3505 | 2632207.3849 | 1218582.5289
50 | 2632210.6486 | 1218590.9798 | 2632207.3849 | 1218582.5289
51 | 2632157.4451 | 1218575.4082 | 2632173.0088 | 1218570.1706
52 | 2632148.1511 | 1218578.5359 | 2632157.4451 | 1218575.4082
53 | 2632182.7389 | 1218520.5121 | 2632183.279 | 1218521.8466
54 | 2632182.7389 | 1218520.5121 | 2632173.954 | 1218498.8073
55 | 2632126.9262 | 1218585.6787 | 2632148.1511 | 1218578.5359
56 | 2632164.7546 | 1218476.0787 | 2632164.1867 | 1218474.6757
57 | 2632155.4872 | 1218453.1829 | 2632164.1867 | 1218474.6757
58 | 2632173.8162 | 1218498.4668 | 2632167.6255 | 1218483.1714 | 2632164.7546 | 1218476.0787
59 | 2632173.8162 | 1218498.4668 | 2632173.954 | 1218498.8073
60 | 2632113.3099 | 1218525.3161 | 2632107.0326 | 1218511.4282 | 2632103.6364 | 1218502.629
61 | 2632094.3781 | 1218478.642 | 2632103.6364 | 1218502.629
62 | 2632117.1124 | 1218533.7288 | 2632113.3099 | 1218525.3161
63 | 2632117.1124 | 1218533.7288 | 2632122.6402 | 1218547.7585
64 | 2632117.1124 | 1218533.7288 | 2632114.1168 | 1218529.8682
65 | 2632123.596 | 1218550.1845 | 2632123.596 | 1218550.1845 | 2632122.6402 | 1218547.7585
66 | 2632126.4739 | 1218563.089 | 2632126.3242 | 1218562.1839 | 2632123.596 | 1218550.1845
67 | 2632319.1734 | 1218507.3044 | 2632347.5334 | 1218495.2184
68 | 2632319.1734 | 1218507.3044 | 2632332.9629 | 1218540.7636
69 | 2632399.7753 | 1218472.9548 | 2632347.5334 | 1218495.2184
70 | 2632326.1086 | 1218430.8695 | 2632326.1074 | 1218430.8702
71 | 2632351.8454 | 1218418.416 | 2632326.1086 | 1218430.8695
72 | 2632276.127 | 1218561.8588 | 2632278.675 | 1218568.5613
73 | 2632278.8139 | 1218568.9267 | 2632278.675 | 1218568.5613
74 | 2632126.9262 | 1218585.6787 | 2632128.1543 | 1218573.2447 | 2632126.4739 | 1218563.089
75 | 2632126.9262 | 1218585.6787 | 2632121.9296 | 1218596.5136
76 | 2632121.9296 | 1218596.5136 | 2632114.5283 | 1218612.5632
77 | 2632357.7819 | 1218415.5435 | 2632351.8454 | 1218418.416
78 | 2632358.1343 | 1218415.373 | 2632357.7819 | 1218415.5435
79 | 2632358.1343 | 1218415.373 | 2632463.2772 | 1218378.4966
80 | 2632132.8995 | 1218401.8186 | 2632130.5952 | 1218397.6886 | 2632130.3275 | 1218397.2414
81 | 2632120.1985 | 1218380.3234 | 2632130.3275 | 1218397.2414

## bus_geodata
| x | y | coords
0 | 2632206.4998 | 1218393.0301
1 | 2632188.7596 | 1218359.2315
2 | 2632212.7459 | 1218405.4583
3 | 2632182.8673 | 1218348.672
4 | 2632220.478 | 1218425.1384
5 | 2632197.1956 | 1218412.48
6 | 2632170.5411 | 1218327.902
7 | 2632223.3536 | 1218432.4573
8 | 2632190.0226 | 1218415.719
9 | 2632148.0445 | 1218293.2439
10 | 2632231.8947 | 1218454.1965
11 | 2632189.884 | 1218415.7816
12 | 2632232.0961 | 1218454.6791
13 | 2632235.1229 | 1218461.8715
14 | 2632239.2932 | 1218471.7812
15 | 2632261.9507 | 1218369.554
16 | 2632265.5509 | 1218377.131
17 | 2632248.0781 | 1218342.3589
18 | 2632280.4917 | 1218411.6485
19 | 2632243.0448 | 1218333.1861
20 | 2632294.7415 | 1218446.0475
21 | 2632223.7124 | 1218300.5446
22 | 2632310.0421 | 1218438.6438
23 | 2632296.6337 | 1218450.7917
24 | 2632175.9029 | 1218282.4877
25 | 2632161.6901 | 1218428.5125
26 | 2632148.003 | 1218434.6929
27 | 2632143.4129 | 1218423.3538
28 | 2632154.6036 | 1218451
29 | 2632239.6781 | 1218538.1572
30 | 2632248.4707 | 1218534.4492
31 | 2632239.0494 | 1218538.4223
32 | 2632263.0742 | 1218528.2909
33 | 2632213.7352 | 1218549.0975
34 | 2632264.6796 | 1218531.746
35 | 2632256.1205 | 1218511.7672
36 | 2632197.141 | 1218556.0954
37 | 2632295.6574 | 1218517.8518
38 | 2632270.434 | 1218546.8831
39 | 2632245.8172 | 1218487.2839
40 | 2632199.2072 | 1218561.3541
41 | 2632203.8402 | 1218573.3505
42 | 2632207.3849 | 1218582.5289
43 | 2632210.6486 | 1218590.9798
44 | 2632173.0088 | 1218570.1706
45 | 2632157.4451 | 1218575.4082
46 | 2632183.279 | 1218521.8466
47 | 2632182.7389 | 1218520.5121
48 | 2632148.1511 | 1218578.5359
49 | 2632164.1867 | 1218474.6757
50 | 2632164.7546 | 1218476.0787
51 | 2632155.4872 | 1218453.1829
52 | 2632173.8162 | 1218498.4668
53 | 2632173.954 | 1218498.8073
54 | 2632103.6364 | 1218502.629
55 | 2632113.3099 | 1218525.3161
56 | 2632094.3781 | 1218478.642
57 | 2632117.1124 | 1218533.7288
58 | 2632122.6402 | 1218547.7585
59 | 2632114.1168 | 1218529.8682
60 | 2632123.596 | 1218550.1845
61 | 2632319.1734 | 1218507.3044
62 | 2632347.5334 | 1218495.2184
63 | 2632332.9629 | 1218540.7636
64 | 2632326.1073 | 1218430.8702
65 | 2632399.7753 | 1218472.9548
66 | 2632326.1086 | 1218430.8695
67 | 2632276.127 | 1218561.8588
68 | 2632278.675 | 1218568.5613
69 | 2632278.8139 | 1218568.9267
70 | 2632126.4739 | 1218563.089
71 | 2632126.9262 | 1218585.6787
72 | 2632121.9296 | 1218596.5136
73 | 2632114.5283 | 1218612.5632
74 | 2632357.7819 | 1218415.5435
75 | 2632351.8454 | 1218418.416
76 | 2632358.1343 | 1218415.373
77 | 2632463.2772 | 1218378.4966
78 | 2632245.3652 | 1218486.2099
79 | 2632137.5675 | 1218298.7659
80 | 2632132.8995 | 1218401.8186
81 | 2632130.3275 | 1218397.2414
82 | 2632120.1985 | 1218380.3234
83 | 2632212.7459 | 1218405.4583

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1