## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_955-6_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_955-6_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_955-6_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_955-6_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_955-6_0_4_node_21 | 0.4 | n |  | TRUE
5 | bus_LV_955-6_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_955-6_0_4_node_19 | 0.4 | n |  | TRUE
7 | bus_LV_955-6_0_4_node_20 | 0.4 | n |  | TRUE
8 | bus_LV_955-6_0_4_node_23 | 0.4 | n |  | TRUE
9 | bus_LV_955-6_0_4_node_26 | 0.4 | n |  | TRUE
10 | bus_LV_955-6_0_4_node_78 | 0.4 | n |  | TRUE
11 | bus_LV_955-6_0_4_node_79 | 0.4 | n |  | TRUE
12 | bus_LV_955-6_0_4_node_4 | 0.4 | n |  | TRUE
13 | bus_LV_955-6_0_4_node_6 | 0.4 | n |  | TRUE
14 | bus_LV_955-6_0_4_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_955-6_0_4_node_58 | 0.4 | n |  | TRUE
16 | bus_LV_955-6_0_4_node_56 | 0.4 | n |  | TRUE
17 | bus_LV_955-6_0_4_node_7 | 0.4 | n |  | TRUE
18 | bus_LV_955-6_0_4_node_55 | 0.4 | n |  | TRUE
19 | bus_LV_955-6_0_4_node_215 | 0.4 | n |  | TRUE
20 | bus_LV_955-6_0_4_node_130 | 0.4 | n |  | TRUE
21 | bus_LV_955-6_0_4_node_57 | 0.4 | n |  | TRUE
22 | bus_LV_955-6_0_4_node_9 | 0.4 | n |  | TRUE
23 | bus_LV_955-6_0_4_node_10 | 0.4 | n |  | TRUE
24 | bus_LV_955-6_0_4_node_11 | 0.4 | n |  | TRUE
25 | bus_LV_955-6_0_4_node_12 | 0.4 | n |  | TRUE
26 | bus_LV_955-6_0_4_node_13 | 0.4 | n |  | TRUE
27 | bus_LV_955-6_0_4_node_14 | 0.4 | n |  | TRUE
28 | bus_LV_955-6_0_4_node_15 | 0.4 | n |  | TRUE
29 | bus_LV_955-6_0_4_node_16 | 0.4 | n |  | TRUE
30 | bus_LV_955-6_0_4_node_17 | 0.4 | n |  | TRUE
31 | bus_LV_955-6_0_4_node_18 | 0.4 | n |  | TRUE
32 | bus_LV_955-6_0_4_node_50 | 0.4 | n |  | TRUE
33 | bus_LV_955-6_0_4_node_148 | 0.4 | n |  | TRUE
34 | bus_LV_955-6_0_4_node_80 | 0.4 | n |  | TRUE
35 | bus_LV_955-6_0_4_node_52 | 0.4 | n |  | TRUE
36 | bus_LV_955-6_0_4_node_48 | 0.4 | n |  | TRUE
37 | bus_LV_955-6_0_4_node_53 | 0.4 | n |  | TRUE
38 | bus_LV_955-6_0_4_node_69 | 0.4 | n |  | TRUE
39 | bus_LV_955-6_0_4_node_146 | 0.4 | n |  | TRUE
40 | bus_LV_955-6_0_4_node_81 | 0.4 | n |  | TRUE
41 | bus_LV_955-6_0_4_node_22 | 0.4 | n |  | TRUE
42 | bus_LV_955-6_0_4_node_24 | 0.4 | n |  | TRUE
43 | bus_LV_955-6_0_4_node_25 | 0.4 | n |  | TRUE
44 | bus_LV_955-6_0_4_node_47 | 0.4 | n |  | TRUE
45 | bus_LV_955-6_0_4_node_71 | 0.4 | n |  | TRUE
46 | bus_LV_955-6_0_4_node_108 | 0.4 | n |  | TRUE
47 | bus_LV_955-6_0_4_node_45 | 0.4 | n |  | TRUE
48 | bus_LV_955-6_0_4_node_32 | 0.4 | n |  | TRUE
49 | bus_LV_955-6_0_4_node_33 | 0.4 | n |  | TRUE
50 | bus_LV_955-6_0_4_node_34 | 0.4 | n |  | TRUE
51 | bus_LV_955-6_0_4_node_173 | 0.4 | n |  | TRUE
52 | bus_LV_955-6_0_4_node_172 | 0.4 | n |  | TRUE
53 | bus_LV_955-6_0_4_node_42 | 0.4 | n |  | TRUE
54 | bus_LV_955-6_0_4_node_43 | 0.4 | n |  | TRUE
55 | bus_LV_955-6_0_4_node_44 | 0.4 | n |  | TRUE
56 | bus_LV_955-6_0_4_node_46 | 0.4 | n |  | TRUE
57 | bus_LV_955-6_0_4_node_158 | 0.4 | n |  | TRUE
58 | bus_LV_955-6_0_4_node_159 | 0.4 | n |  | TRUE
59 | bus_LV_955-6_0_4_node_160 | 0.4 | n |  | TRUE
60 | bus_LV_955-6_0_4_node_161 | 0.4 | n |  | TRUE
61 | bus_LV_955-6_0_4_node_162 | 0.4 | n |  | TRUE
62 | bus_LV_955-6_0_4_node_165 | 0.4 | n |  | TRUE
63 | bus_LV_955-6_0_4_node_117 | 0.4 | n |  | TRUE
64 | bus_LV_955-6_0_4_node_101 | 0.4 | n |  | TRUE
65 | bus_LV_955-6_0_4_node_102 | 0.4 | n |  | TRUE
66 | bus_LV_955-6_0_4_node_103 | 0.4 | n |  | TRUE
67 | bus_LV_955-6_0_4_node_104 | 0.4 | n |  | TRUE
68 | bus_LV_955-6_0_4_node_106 | 0.4 | n |  | TRUE
69 | bus_LV_955-6_0_4_node_170 | 0.4 | n |  | TRUE
70 | bus_LV_955-6_0_4_node_168 | 0.4 | n |  | TRUE
71 | bus_LV_955-6_0_4_node_114 | 0.4 | n |  | TRUE
72 | bus_LV_955-6_0_4_node_115 | 0.4 | n |  | TRUE
73 | bus_LV_955-6_0_4_node_118 | 0.4 | n |  | TRUE
74 | bus_LV_955-6_0_4_node_153 | 0.4 | n |  | TRUE
75 | bus_LV_955-6_0_4_node_119 | 0.4 | n |  | TRUE
76 | bus_LV_955-6_0_4_node_156 | 0.4 | n |  | TRUE
77 | bus_LV_955-6_0_4_node_152 | 0.4 | n |  | TRUE
78 | bus_LV_955-6_0_4_node_154 | 0.4 | n |  | TRUE
79 | bus_LV_955-6_0_4_node_155 | 0.4 | n |  | TRUE
80 | bus_LV_955-6_0_4_node_157 | 0.4 | n |  | TRUE
81 | bus_LV_955-6_0_4_node_191 | 0.4 | n |  | TRUE
82 | bus_LV_955-6_0_4_node_166 | 0.4 | n |  | TRUE
83 | bus_LV_955-6_0_4_node_167 | 0.4 | n |  | TRUE
84 | bus_LV_955-6_0_4_node_169 | 0.4 | n |  | TRUE
85 | bus_LV_955-6_0_4_node_171 | 0.4 | n |  | TRUE
86 | bus_LV_955-6_0_4_node_49 | 0.4 | n |  | TRUE
87 | bus_LV_955-6_0_4_node_51 | 0.4 | n |  | TRUE
88 | bus_LV_955-6_0_4_node_54 | 0.4 | n |  | TRUE
89 | bus_LV_955-6_0_4_node_127 | 0.4 | n |  | TRUE
90 | bus_LV_955-6_0_4_node_70 | 0.4 | n |  | TRUE
91 | bus_LV_955-6_0_4_node_124 | 0.4 | n |  | TRUE
92 | bus_LV_955-6_0_4_node_131 | 0.4 | n |  | TRUE
93 | bus_LV_955-6_0_4_node_129 | 0.4 | n |  | TRUE
94 | bus_LV_955-6_0_4_node_128 | 0.4 | n |  | TRUE
95 | bus_LV_955-6_0_4_node_82 | 0.4 | n |  | TRUE
96 | bus_LV_955-6_0_4_node_83 | 0.4 | n |  | TRUE
97 | bus_LV_955-6_0_4_node_84 | 0.4 | n |  | TRUE
98 | bus_LV_955-6_0_4_node_85 | 0.4 | n |  | TRUE
99 | bus_LV_955-6_0_4_node_86 | 0.4 | n |  | TRUE
100 | bus_LV_955-6_0_4_node_87 | 0.4 | n |  | TRUE
101 | bus_LV_955-6_0_4_node_88 | 0.4 | n |  | TRUE
102 | bus_LV_955-6_0_4_node_89 | 0.4 | n |  | TRUE
103 | bus_LV_955-6_0_4_node_199 | 0.4 | n |  | TRUE
104 | bus_LV_955-6_0_4_node_90 | 0.4 | n |  | TRUE
105 | bus_LV_955-6_0_4_node_91 | 0.4 | n |  | TRUE
106 | bus_LV_955-6_0_4_node_92 | 0.4 | n |  | TRUE
107 | bus_LV_955-6_0_4_node_93 | 0.4 | n |  | TRUE
108 | bus_LV_955-6_0_4_node_94 | 0.4 | n |  | TRUE
109 | bus_LV_955-6_0_4_node_95 | 0.4 | n |  | TRUE
110 | bus_LV_955-6_0_4_node_96 | 0.4 | n |  | TRUE
111 | bus_LV_955-6_0_4_node_147 | 0.4 | n |  | TRUE
112 | bus_LV_955-6_0_4_node_111 | 0.4 | n |  | TRUE
113 | bus_LV_955-6_0_4_node_120 | 0.4 | n |  | TRUE
114 | bus_LV_955-6_0_4_node_121 | 0.4 | n |  | TRUE
115 | bus_LV_955-6_0_4_node_122 | 0.4 | n |  | TRUE
116 | bus_LV_955-6_0_4_node_123 | 0.4 | n |  | TRUE
117 | bus_LV_955-6_0_4_node_125 | 0.4 | n |  | TRUE
118 | bus_LV_955-6_0_4_node_126 | 0.4 | n |  | TRUE
119 | bus_LV_955-6_0_4_node_205 | 0.4 | n |  | TRUE
120 | bus_LV_955-6_0_4_node_208 | 0.4 | n |  | TRUE
121 | bus_LV_955-6_0_4_node_204 | 0.4 | n |  | TRUE
122 | bus_LV_955-6_0_4_node_210 | 0.4 | n |  | TRUE
123 | bus_LV_955-6_0_4_node_174 | 0.4 | n |  | TRUE
124 | bus_LV_955-6_0_4_node_175 | 0.4 | n |  | TRUE
125 | bus_LV_955-6_0_4_node_176 | 0.4 | n |  | TRUE
126 | bus_MV_0_node_47 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_955-6_0_4_load_0 | 0 | 0.00026559 | 6.6562e-05 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_955-6_0_4_load_1 | 1 | 0.00089229 | 0.00022363 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_955-6_0_4_load_2 | 2 | 0.00064885 | 0.00016262 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_955-6_0_4_load_21 | 4 | 0.0003486 | 8.7368e-05 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_955-6_0_4_load_19 | 6 | 0.00023265 | 5.8308e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_955-6_0_4_load_20 | 7 | 0.00012581 | 3.1531e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_955-6_0_4_load_23 | 8 | 9.993e-05 | 2.5045e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_955-6_0_4_load_26 | 9 | 0.00086717 | 0.00021733 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_955-6_0_4_load_78 | 10 | 0.00058149 | 0.00014574 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_955-6_0_4_load_79 | 11 | 0.00029947 | 7.5055e-05 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_955-6_0_4_load_6 | 13 | 0.0002375 | 5.9523e-05 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_955-6_0_4_load_58 | 15 | 0.00059321 | 0.00014867 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_955-6_0_4_load_55 | 18 | 0.00037444 | 9.3843e-05 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_955-6_0_4_load_215 | 19 | 0.00011054 | 2.7704e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_955-6_0_4_load_57 | 21 | 0.00017414 | 4.3642e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_955-6_0_4_load_9 | 22 | 8.7955e-05 | 2.2044e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_955-6_0_4_load_12 | 25 | 0.0013655 | 0.00034224 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_955-6_0_4_load_13 | 26 | 6.4765e-05 | 1.6232e-05 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_955-6_0_4_load_14 | 27 | 0.00013358 | 3.3478e-05 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_955-6_0_4_load_15 | 28 | 5.1932e-05 | 1.3015e-05 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_955-6_0_4_load_16 | 29 | 0.00037647 | 9.4352e-05 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_955-6_0_4_load_18 | 31 | 0.0005339 | 0.00013381 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_955-6_0_4_load_80 | 34 | 0.00012539 | 3.1425e-05 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_955-6_0_4_load_52 | 35 | 0.00019561 | 4.9025e-05 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_955-6_0_4_load_48 | 36 | 4.7115e-05 | 1.1808e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_955-6_0_4_load_146 | 39 | 0.00087375 | 0.00021898 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_955-6_0_4_load_24 | 42 | 0.0013744 | 0.00034446 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_955-6_0_4_load_25 | 43 | 0.0002028 | 5.0826e-05 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_955-6_0_4_load_71 | 45 | 0.00012281 | 3.0779e-05 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_955-6_0_4_load_108 | 46 | 0.00013939 | 3.4934e-05 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_955-6_0_4_load_45 | 47 | 0.00073132 | 0.00018329 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_955-6_0_4_load_32 | 48 | 0.00020959 | 5.2527e-05 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_955-6_0_4_load_33 | 49 | 0.00072583 | 0.00018191 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_955-6_0_4_load_34 | 50 | 0.0005745 | 0.00014398 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_955-6_0_4_load_172 | 52 | 0.00023343 | 5.8502e-05 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_955-6_0_4_load_42 | 53 | 0.00059048 | 0.00014799 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_955-6_0_4_load_43 | 54 | 0.00073817 | 0.000185 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_955-6_0_4_load_44 | 55 | 0.00015143 | 3.7952e-05 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_955-6_0_4_load_46 | 56 | 0.00022394 | 5.6125e-05 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_955-6_0_4_load_158 | 57 | 0.0024105 | 0.00060413 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_955-6_0_4_load_160 | 59 | 0.00031568 | 7.9116e-05 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_955-6_0_4_load_161 | 60 | 0.0032731 | 0.00082032 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_955-6_0_4_load_162 | 61 | 0.00060267 | 0.00015104 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_955-6_0_4_load_165 | 62 | 0.00090407 | 0.00022658 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_955-6_0_4_load_101 | 64 | 0.00081794 | 0.000205 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_955-6_0_4_load_102 | 65 | 0.00083659 | 0.00020967 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_955-6_0_4_load_103 | 66 | 0.001561 | 0.00039122 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_955-6_0_4_load_170 | 69 | 0.00057514 | 0.00014414 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_955-6_0_4_load_114 | 71 | 0.00033519 | 8.4006e-05 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_955-6_0_4_load_118 | 73 | 0.00097199 | 0.0002436 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_955-6_0_4_load_153 | 74 | 0.00044452 | 0.00011141 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_955-6_0_4_load_119 | 75 | 0.0031593 | 0.0007918 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_955-6_0_4_load_152 | 77 | 0.0011906 | 0.00029839 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_955-6_0_4_load_154 | 78 | 0.00042377 | 0.00010621 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_955-6_0_4_load_191 | 81 | 0.00086458 | 0.00021668 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_955-6_0_4_load_166 | 82 | 0.0025966 | 0.00065076 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_955-6_0_4_load_167 | 83 | 0.0010301 | 0.00025816 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_955-6_0_4_load_169 | 84 | 0.0004614 | 0.00011564 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_955-6_0_4_load_171 | 85 | 0.0024004 | 0.00060159 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_955-6_0_4_load_49 | 86 | 0.00085136 | 0.00021337 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_955-6_0_4_load_54 | 88 | 9.9647e-05 | 2.4974e-05 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_955-6_0_4_load_127 | 89 | 0.00016679 | 4.1801e-05 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_955-6_0_4_load_124 | 91 | 0.00014996 | 3.7584e-05 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_955-6_0_4_load_129 | 93 | 0.00081011 | 0.00020303 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_955-6_0_4_load_128 | 94 | 0.00013102 | 3.2836e-05 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_955-6_0_4_load_82 | 95 | 0.00013923 | 3.4894e-05 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_955-6_0_4_load_83 | 96 | 0.0003886 | 9.7393e-05 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_955-6_0_4_load_84 | 97 | 0.00017002 | 4.2612e-05 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_955-6_0_4_load_85 | 98 | 0.00051747 | 0.00012969 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_955-6_0_4_load_86 | 99 | 4.8993e-05 | 1.2279e-05 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_955-6_0_4_load_87 | 100 | 0.00011162 | 2.7974e-05 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_955-6_0_4_load_89 | 102 | 0.00028818 | 7.2224e-05 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_955-6_0_4_load_199 | 103 | 0.000106 | 2.6567e-05 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_955-6_0_4_load_90 | 104 | 0.00079491 | 0.00019922 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_955-6_0_4_load_91 | 105 | 0.00019081 | 4.7822e-05 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_955-6_0_4_load_92 | 106 | 0.00043653 | 0.00010941 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_955-6_0_4_load_93 | 107 | 0.00010237 | 2.5657e-05 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_955-6_0_4_load_94 | 108 | 8.7627e-05 | 2.1961e-05 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_955-6_0_4_load_95 | 109 | 9.0894e-05 | 2.278e-05 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_955-6_0_4_load_96 | 110 | 0.00010971 | 2.7497e-05 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_955-6_0_4_load_147 | 111 | 0.00025648 | 6.4281e-05 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_955-6_0_4_load_111 | 112 | 0.00021817 | 5.4677e-05 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_955-6_0_4_load_120 | 113 | 5.5689e-05 | 1.3957e-05 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_955-6_0_4_load_123 | 116 | 0.00051981 | 0.00013028 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_955-6_0_4_load_205 | 119 | 0.00034639 | 8.6814e-05 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_955-6_0_4_load_208 | 120 | 6.0417e-05 | 1.5142e-05 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_955-6_0_4_load_204 | 121 | 9.3675e-05 | 2.3477e-05 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_955-6_0_4_load_210 | 122 | 0.00028899 | 7.2428e-05 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_955-6_0_4_load_175 | 124 | 0.0011315 | 0.00028359 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_955-6_0_4_load_176 | 125 | 0.00015925 | 3.9911e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 44 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_955-6_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.00023775 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_955-6_0_4_line_1 | NAYY 4x150 SE | 0 | 2 | 0.051931 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_955-6_0_4_line_2 | NAYY 4x150 SE | 1 | 3 | 0.12481 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
3 | LV_955-6_0_4_line_3 | NAYY 4x150 SE | 1 | 4 | 0.25359 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
4 | LV_955-6_0_4_line_4 | NAYY 4x150 SE | 3 | 5 | 0.15468 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
5 | LV_955-6_0_4_line_5 | NAYY 4x150 SE | 4 | 8 | 0.02033 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_955-6_0_4_line_6 | NAYY 4x150 SE | 4 | 6 | 0.0064273 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
7 | LV_955-6_0_4_line_7 | NAYY 4x150 SE | 5 | 15 | 0.056966 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_955-6_0_4_line_8 | NAYY 4x150 SE | 5 | 16 | 0.062921 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_955-6_0_4_line_9 | NAYY 4x150 SE | 6 | 7 | 0.31383 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
10 | LV_955-6_0_4_line_10 | NAYY 4x150 SE | 7 | 41 | 0.017983 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
11 | LV_955-6_0_4_line_11 | NAYY 4x150 SE | 8 | 9 | 0.020317 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_955-6_0_4_line_12 | NAYY 4x150 SE | 9 | 10 | 0.013645 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_955-6_0_4_line_13 | NAYY 4x150 SE | 10 | 11 | 0.022561 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_955-6_0_4_line_14 | NAYY 4x150 SE | 12 | 13 | 0.1005 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_955-6_0_4_line_15 | NAYY 4x150 SE | 12 | 14 | 0.059406 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_955-6_0_4_line_16 | NAYY 4x150 SE | 14 | 19 | 0.014786 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_955-6_0_4_line_17 | NAYY 4x150 SE | 14 | 17 | 0.11115 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_955-6_0_4_line_18 | NAYY 4x150 SE | 15 | 20 | 0.1431 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_955-6_0_4_line_19 | NAYY 4x150 SE | 16 | 21 | 0.10534 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_955-6_0_4_line_20 | NAYY 4x150 SE | 16 | 18 | 0.0096739 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_955-6_0_4_line_21 | NAYY 4x150 SE | 17 | 18 | 0.01196 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_955-6_0_4_line_22 | NAYY 4x150 SE | 20 | 92 | 0.068761 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_955-6_0_4_line_23 | NAYY 4x150 SE | 22 | 23 | 0.19205 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_955-6_0_4_line_24 | NAYY 4x150 SE | 22 | 24 | 0.013082 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_955-6_0_4_line_25 | NAYY 4x150 SE | 23 | 25 | 0.26166 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_955-6_0_4_line_26 | NAYY 4x150 SE | 23 | 26 | 0.22358 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_955-6_0_4_line_27 | NAYY 4x150 SE | 24 | 27 | 0.011031 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_955-6_0_4_line_28 | NAYY 4x150 SE | 24 | 28 | 0.030713 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_955-6_0_4_line_29 | NAYY 4x150 SE | 25 | 29 | 0.0030375 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_955-6_0_4_line_30 | NAYY 4x150 SE | 26 | 30 | 0.027466 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_955-6_0_4_line_31 | NAYY 4x150 SE | 27 | 31 | 0.011061 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_955-6_0_4_line_32 | NAYY 4x150 SE | 30 | 32 | 0.063119 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_955-6_0_4_line_33 | NAYY 4x150 SE | 30 | 33 | 0.13405 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_955-6_0_4_line_34 | NAYY 4x150 SE | 31 | 34 | 0.017499 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_955-6_0_4_line_35 | NAYY 4x150 SE | 32 | 35 | 0.017748 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_955-6_0_4_line_36 | NAYY 4x150 SE | 32 | 36 | 0.024343 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_955-6_0_4_line_37 | NAYY 4x150 SE | 33 | 39 | 0.37919 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_955-6_0_4_line_38 | NAYY 4x150 SE | 34 | 40 | 0.01227 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_955-6_0_4_line_39 | NAYY 4x150 SE | 35 | 37 | 0.048862 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_955-6_0_4_line_40 | NAYY 4x150 SE | 36 | 86 | 0.053095 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_955-6_0_4_line_41 | NAYY 4x150 SE | 37 | 38 | 0.10522 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_955-6_0_4_line_42 | NAYY 4x150 SE | 38 | 90 | 0.12276 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_955-6_0_4_line_43 | NAYY 4x150 SE | 39 | 111 | 0.010945 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_955-6_0_4_line_44 | NAYY 4x150 SE | 40 | 95 | 0.02925 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_955-6_0_4_line_45 | NAYY 4x150 SE | 40 | 96 | 0.016953 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_955-6_0_4_line_46 | NAYY 4x150 SE | 41 | 42 | 0.019673 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_955-6_0_4_line_47 | NAYY 4x150 SE | 41 | 43 | 0.012009 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
48 | LV_955-6_0_4_line_48 | NAYY 4x150 SE | 43 | 46 | 0.016166 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
49 | LV_955-6_0_4_line_49 | NAYY 4x150 SE | 44 | 45 | 0.16562 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_955-6_0_4_line_50 | NAYY 4x150 SE | 44 | 46 | 0.24157 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
51 | LV_955-6_0_4_line_51 | NAYY 4x150 SE | 44 | 47 | 0.10334 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_955-6_0_4_line_52 | NAYY 4x150 SE | 45 | 48 | 0.12526 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_955-6_0_4_line_53 | NAYY 4x150 SE | 47 | 54 | 0.022944 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_955-6_0_4_line_54 | NAYY 4x150 SE | 48 | 49 | 0.052845 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_955-6_0_4_line_55 | NAYY 4x150 SE | 49 | 50 | 0.032955 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_955-6_0_4_line_56 | NAYY 4x150 SE | 50 | 51 | 0.14229 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_955-6_0_4_line_57 | NAYY 4x150 SE | 51 | 52 | 0.25549 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_955-6_0_4_line_58 | NAYY 4x150 SE | 52 | 123 | 0.27517 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_955-6_0_4_line_59 | NAYY 4x150 SE | 53 | 54 | 0.018273 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_955-6_0_4_line_60 | NAYY 4x150 SE | 53 | 55 | 0.0067549 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_955-6_0_4_line_61 | NAYY 4x150 SE | 55 | 56 | 0.0062573 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_955-6_0_4_line_62 | NAYY 4x150 SE | 56 | 63 | 0.32359 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_955-6_0_4_line_63 | NAYY 4x150 SE | 57 | 58 | 0.038775 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_955-6_0_4_line_64 | NAYY 4x150 SE | 57 | 59 | 0.066487 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_955-6_0_4_line_65 | NAYY 4x150 SE | 58 | 60 | 0.034574 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_955-6_0_4_line_66 | NAYY 4x150 SE | 58 | 61 | 0.256 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_955-6_0_4_line_67 | NAYY 4x150 SE | 60 | 62 | 0.014883 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_955-6_0_4_line_68 | NAYY 4x150 SE | 61 | 80 | 0.070643 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_955-6_0_4_line_69 | NAYY 4x150 SE | 63 | 73 | 0.017259 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_955-6_0_4_line_70 | NAYY 4x150 SE | 63 | 72 | 0.031266 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_955-6_0_4_line_71 | NAYY 4x150 SE | 64 | 65 | 0.0022699 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_955-6_0_4_line_72 | NAYY 4x150 SE | 65 | 66 | 0.069855 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_955-6_0_4_line_73 | NAYY 4x150 SE | 66 | 67 | 0.0054757 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_955-6_0_4_line_74 | NAYY 4x150 SE | 67 | 68 | 0.018145 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_955-6_0_4_line_75 | NAYY 4x150 SE | 68 | 69 | 0.018602 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_955-6_0_4_line_76 | NAYY 4x150 SE | 68 | 70 | 0.005878 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_955-6_0_4_line_77 | NAYY 4x150 SE | 69 | 81 | 0.025122 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_955-6_0_4_line_78 | NAYY 4x150 SE | 70 | 84 | 0.011554 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_955-6_0_4_line_79 | NAYY 4x150 SE | 70 | 82 | 0.033495 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_955-6_0_4_line_80 | NAYY 4x150 SE | 71 | 72 | 0.048088 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_955-6_0_4_line_81 | NAYY 4x150 SE | 73 | 74 | 0.017175 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_955-6_0_4_line_82 | NAYY 4x150 SE | 74 | 77 | 0.016346 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_955-6_0_4_line_83 | NAYY 4x150 SE | 75 | 76 | 0.031219 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_955-6_0_4_line_84 | NAYY 4x150 SE | 76 | 81 | 0.012521 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_955-6_0_4_line_85 | NAYY 4x150 SE | 76 | 79 | 0.007405 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_955-6_0_4_line_86 | NAYY 4x150 SE | 77 | 78 | 0.0029316 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_955-6_0_4_line_87 | NAYY 4x150 SE | 78 | 79 | 0.0098541 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_955-6_0_4_line_88 | NAYY 4x150 SE | 79 | 80 | 0.028113 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_955-6_0_4_line_89 | NAYY 4x150 SE | 82 | 83 | 0.038166 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_955-6_0_4_line_90 | NAYY 4x150 SE | 84 | 85 | 0.029284 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_955-6_0_4_line_91 | NAYY 4x150 SE | 86 | 87 | 0.040928 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_955-6_0_4_line_92 | NAYY 4x150 SE | 87 | 88 | 0.012607 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_955-6_0_4_line_93 | NAYY 4x150 SE | 88 | 89 | 0.00049422 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
94 | LV_955-6_0_4_line_94 | NAYY 4x150 SE | 89 | 91 | 0.022818 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
95 | LV_955-6_0_4_line_95 | NAYY 4x150 SE | 90 | 93 | 0.12147 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
96 | LV_955-6_0_4_line_96 | NAYY 4x150 SE | 91 | 114 | 0.24966 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
97 | LV_955-6_0_4_line_97 | NAYY 4x150 SE | 92 | 109 | 0.026065 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
98 | LV_955-6_0_4_line_98 | NAYY 4x150 SE | 93 | 94 | 0.027554 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
99 | LV_955-6_0_4_line_99 | NAYY 4x150 SE | 94 | 112 | 0.010157 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
100 | LV_955-6_0_4_line_100 | NAYY 4x150 SE | 95 | 97 | 0.021079 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
101 | LV_955-6_0_4_line_101 | NAYY 4x150 SE | 96 | 98 | 0.017009 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
102 | LV_955-6_0_4_line_102 | NAYY 4x150 SE | 97 | 99 | 0.036331 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
103 | LV_955-6_0_4_line_103 | NAYY 4x150 SE | 99 | 100 | 0.035194 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
104 | LV_955-6_0_4_line_104 | NAYY 4x150 SE | 100 | 101 | 0.03924 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
105 | LV_955-6_0_4_line_105 | NAYY 4x150 SE | 101 | 102 | 0.084536 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
106 | LV_955-6_0_4_line_106 | NAYY 4x150 SE | 102 | 103 | 0.018738 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
107 | LV_955-6_0_4_line_107 | NAYY 4x150 SE | 104 | 105 | 0.0011184 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
108 | LV_955-6_0_4_line_108 | NAYY 4x150 SE | 104 | 106 | 0.020548 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
109 | LV_955-6_0_4_line_109 | NAYY 4x150 SE | 105 | 107 | 0.0043069 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
110 | LV_955-6_0_4_line_110 | NAYY 4x150 SE | 106 | 108 | 0.0067647 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
111 | LV_955-6_0_4_line_111 | NAYY 4x150 SE | 107 | 109 | 0.0044256 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
112 | LV_955-6_0_4_line_112 | NAYY 4x150 SE | 108 | 110 | 0.097569 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
113 | LV_955-6_0_4_line_113 | NAYY 4x150 SE | 110 | 111 | 0.0095473 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
114 | LV_955-6_0_4_line_114 | NAYY 4x150 SE | 113 | 114 | 0.065456 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
115 | LV_955-6_0_4_line_115 | NAYY 4x150 SE | 113 | 115 | 0.10378 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
116 | LV_955-6_0_4_line_116 | NAYY 4x150 SE | 114 | 116 | 0.038105 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
117 | LV_955-6_0_4_line_117 | NAYY 4x150 SE | 115 | 117 | 0.30682 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
118 | LV_955-6_0_4_line_118 | NAYY 4x150 SE | 117 | 118 | 0.016608 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
119 | LV_955-6_0_4_line_119 | NAYY 4x150 SE | 117 | 119 | 0.11717 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
120 | LV_955-6_0_4_line_120 | NAYY 4x150 SE | 118 | 120 | 0.045553 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
121 | LV_955-6_0_4_line_121 | NAYY 4x150 SE | 119 | 121 | 0.042847 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
122 | LV_955-6_0_4_line_122 | NAYY 4x150 SE | 120 | 122 | 0.027547 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
123 | LV_955-6_0_4_line_123 | NAYY 4x150 SE | 123 | 124 | 0.010168 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
124 | LV_955-6_0_4_line_124 | NAYY 4x150 SE | 124 | 125 | 0.03008 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_955-6_0_4_trafo_47 | 0.25 MVA 20/0.4 kV | 126 | 44 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28 | x29 | y29 | x30 | y30
0 | 2620743.5664 | 1208184.1766 | 2620743.7718 | 1208184.0569
1 | 2620743.5664 | 1208184.1766 | 2620731.297 | 1208191.325 | 2620721.6431 | 1208195.4383 | 2620713.2439 | 1208197.2769 | 2620695.7913 | 1208196.6606 | 2620694.6419 | 1208196.4124
2 | 2620723.9438 | 1208266.4635 | 2620737.2433 | 1208228.2106 | 2620746.2513 | 1208210.8543 | 2620750.393 | 1208204.7097 | 2620755.741 | 1208199.2919 | 2620765.9153 | 1208191.9898 | 2620769.3468 | 1208188.9667 | 2620770.2599 | 1208186.5463 | 2620769.7206 | 1208184.2321 | 2620768.7679 | 1208182.7279 | 2620765.3593 | 1208181.3487 | 2620757.6614 | 1208180.4325 | 2620751.8585 | 1208181.1239 | 2620744.6888 | 1208183.5226 | 2620743.7718 | 1208184.0569
3 | 2620743.7718 | 1208184.0569 | 2620973.5446 | 1208076.7629
4 | 2620723.9438 | 1208266.4635 | 2620685.5863 | 1208252.423 | 2620676.565 | 1208249.5013 | 2620666.495 | 1208246.476 | 2620651.4165 | 1208243.0665 | 2620635.3815 | 1208239.2424 | 2620618.2695 | 1208234.6809 | 2620606.1671 | 1208230.1922 | 2620576.9637 | 1208217.9071
5 | 2620973.5446 | 1208076.7629 | 2620977.6707 | 1208087.2145 | 2620981.6684 | 1208095.3816
6 | 2620973.5446 | 1208076.7629 | 2620971.1845 | 1208070.7846
7 | 2620576.9637 | 1208217.9071 | 2620572.1241 | 1208241.348 | 2620571.3181 | 1208254.6526 | 2620573.2885 | 1208269.7122 | 2620574.0452 | 1208274.1618
8 | 2620576.9637 | 1208217.9071 | 2620562.5967 | 1208210.9428 | 2620549.8337 | 1208203.9728 | 2620536.3911 | 1208195.6665 | 2620522.9007 | 1208185.7481
9 | 2620971.1845 | 1208070.7846 | 2620970.0147 | 1208067.8214 | 2620962.2499 | 1208051.2516 | 2620957.7421 | 1208033.7706 | 2620955.8618 | 1208025.7929 | 2620958.9756 | 1208007.1934 | 2620967.7944 | 1207992.0381 | 2620984.5754 | 1207984.8819 | 2621001.0133 | 1207969.3642 | 2621013.2413 | 1207957.6451 | 2621039.6776 | 1207937.549 | 2621055.6135 | 1207915.6929 | 2621070.2856 | 1207894.3771 | 2621084.6939 | 1207881.0427 | 2621103.4125 | 1207870.0137 | 2621119.099 | 1207860.7972 | 2621134.7629 | 1207847.1894 | 2621137.2343 | 1207842.2912
10 | 2621137.8908 | 1207824.788 | 2621138.4957 | 1207830.0153 | 2621139.0351 | 1207838.722 | 2621137.2343 | 1207842.2912
11 | 2620990.6009 | 1208113.6301 | 2620990.6009 | 1208113.6301 | 2620981.6684 | 1208095.3816
12 | 2620994.6871 | 1208126.6494 | 2620990.6009 | 1208113.6301
13 | 2620994.6871 | 1208126.6494 | 2620997.7583 | 1208136.4346 | 2621003.0861 | 1208147.526
14 | 2620523.2174 | 1208024.7819 | 2620511.058 | 1208038.9703 | 2620506.2453 | 1208043.5119 | 2620503.0359 | 1208048.2813 | 2620500.4965 | 1208054.9986 | 2620497.7111 | 1208066.9401 | 2620497.451 | 1208076.2778 | 2620500.1553 | 1208088.0158 | 2620510.2885 | 1208114.821
15 | 2620465.8857 | 1208087.4426 | 2620466.684 | 1208096.3281 | 2620472.5921 | 1208104.8975 | 2620475.9692 | 1208108.8668 | 2620495.5894 | 1208111.5132 | 2620510.2885 | 1208114.821
16 | 2620478.2634 | 1208087.1515 | 2620474.8058 | 1208084.5048 | 2620469.0373 | 1208083.9959 | 2620465.8857 | 1208087.4426
17 | 2620465.8857 | 1208087.4426 | 2620466.684 | 1208096.3281 | 2620472.5921 | 1208104.8975 | 2620475.9692 | 1208108.8668 | 2620478.3467 | 1208111.6654 | 2620494.3103 | 1208125.3721 | 2620509.6191 | 1208137.1088 | 2620515.5333 | 1208143.8773 | 2620517.4887 | 1208152.2776 | 2620512.006 | 1208163.7763 | 2620504.8941 | 1208173.7575
18 | 2620569.2148 | 1208410.899 | 2620573.0235 | 1208402.0071 | 2620587.2487 | 1208368.3262 | 2620590.6347 | 1208354.1855 | 2620591.4239 | 1208343.5379 | 2620589.7112 | 1208333.1484 | 2620578.6662 | 1208297.5684 | 2620575.7326 | 1208284.0842 | 2620574.0452 | 1208274.1618
19 | 2620522.9007 | 1208185.7481 | 2620503.8841 | 1208182.3032 | 2620496.0516 | 1208180.7199 | 2620468.9953 | 1208171.8113 | 2620458.5573 | 1208169.6188 | 2620447.4243 | 1208168.3356 | 2620439.3295 | 1208167.8632 | 2620429.5279 | 1208168.5413 | 2620419.943 | 1208170.2225
20 | 2620522.9007 | 1208185.7481 | 2620514.8487 | 1208180.3862
21 | 2620504.8941 | 1208173.7575 | 2620514.8487 | 1208180.3862
22 | 2620569.2148 | 1208410.899 | 2620558.6498 | 1208467.8944 | 2620556.0216 | 1208478.3578
23 | 2621135.6261 | 1208824.7921 | 2621137.9309 | 1208828.6469 | 2621146.3798 | 1208836.2143 | 2621158.4797 | 1208843.0831 | 2621192.3287 | 1208862.4248 | 2621206.8881 | 1208870.2141 | 2621220.8159 | 1208876.0667 | 2621258.3559 | 1208889.7854 | 2621267.4477 | 1208893.9089 | 2621273.9645 | 1208897.4896 | 2621278.7414 | 1208900.8418 | 2621283.8758 | 1208906.2742 | 2621289.801 | 1208913.7661 | 2621294.6734 | 1208922.2993 | 2621295.412 | 1208923.7458
24 | 2621301.3615 | 1208935.3971 | 2621295.412 | 1208923.7458
25 | 2621135.6261 | 1208824.7921 | 2621110.6485 | 1208846.1159 | 2621102.1745 | 1208852.156 | 2621094.3362 | 1208856.8087 | 2621082.8249 | 1208861.9043 | 2621066.9833 | 1208868.4855 | 2621049.8771 | 1208873.6616 | 2621036.128 | 1208877.4709 | 2621030.0055 | 1208878.461 | 2621021.0276 | 1208878.6407 | 2621010.6557 | 1208877.5036 | 2620998.2004 | 1208874.3915 | 2620971.3126 | 1208866.2149 | 2620966.3201 | 1208863.607 | 2620963.1687 | 1208860.5276 | 2620961.7923 | 1208856.3427 | 2620961.7327 | 1208851.6621 | 2620962.5777 | 1208846.9735 | 2620965.0958 | 1208842.0463 | 2620980.6487 | 1208822.4232 | 2620987.6822 | 1208810.9748 | 2620990.3865 | 1208805.0032 | 2620990.6176 | 1208801.9801 | 2620989.3515 | 1208798.8517
26 | 2621135.6261 | 1208824.7921 | 2621133.6271 | 1208820.4382 | 2621133.0479 | 1208814.4106 | 2621133.6293 | 1208809.0652 | 2621136.5114 | 1208800.1482 | 2621142.3377 | 1208790.5412 | 2621154.4076 | 1208775.8423 | 2621164.8485 | 1208761.8159 | 2621170.4871 | 1208751.5523 | 2621175.531 | 1208737.5402 | 2621184.8398 | 1208710.5136 | 2621186.1969 | 1208705.0932 | 2621186.8548 | 1208699.6035 | 2621186.9801 | 1208685.6962 | 2621186.6516 | 1208675.4227 | 2621185.8428 | 1208667.6933 | 2621183.6152 | 1208657.0684 | 2621181.5499 | 1208649.9682 | 2621178.672 | 1208642.6317 | 2621166.6969 | 1208619.721
27 | 2621301.3615 | 1208935.3971 | 2621306.3767 | 1208945.222
28 | 2621301.3615 | 1208935.3971 | 2621292.6483 | 1208938.1343 | 2621288.1033 | 1208940.097 | 2621274.451 | 1208948.7533 | 2621274.1023 | 1208949.0588
29 | 2620989.3515 | 1208798.8517 | 2620989.3515 | 1208798.8517 | 2620986.6273 | 1208797.508
30 | 2621158.6711 | 1208593.4669 | 2621163.5134 | 1208610.6603 | 2621166.6969 | 1208619.721
31 | 2621312.5926 | 1208954.3531 | 2621311.5148 | 1208953.0542 | 2621306.7965 | 1208946.0446 | 2621306.3767 | 1208945.222
32 | 2621158.6711 | 1208593.4669 | 2621160.7294 | 1208589.6943 | 2621164.703 | 1208581.6928 | 2621172.5723 | 1208579.1303 | 2621177.7612 | 1208577.848 | 2621182.5791 | 1208578.2986 | 2621187.9546 | 1208580.152 | 2621198.9453 | 1208584.8491 | 2621211.9431 | 1208589.4533
33 | 2621055.2361 | 1208508.766 | 2621065.8455 | 1208518.1975 | 2621078.5538 | 1208527.3584 | 2621107.4302 | 1208545.4258 | 2621123.4331 | 1208558.0115 | 2621158.6711 | 1208593.4669
34 | 2621312.5926 | 1208954.3531 | 2621323.7668 | 1208967.8191
35 | 2621211.9431 | 1208589.4533 | 2621203.6539 | 1208581.8085 | 2621199.6967 | 1208576.688
36 | 2621211.9431 | 1208589.4533 | 2621229.1362 | 1208598.5971 | 2621233.1874 | 1208601.2987
37 | 2621055.2361 | 1208508.766 | 2621032.302 | 1208495.6113 | 2621002.9732 | 1208476.3754 | 2620988.0269 | 1208452.8321 | 2620965.9982 | 1208441.5152 | 2620939.1554 | 1208428.6029 | 2620924.1006 | 1208422.9471 | 2620894.0143 | 1208417.9503 | 2620852.5811 | 1208412.1581 | 2620825.2568 | 1208410.7956 | 2620796.1548 | 1208413.4625 | 2620771.8848 | 1208419.148 | 2620743.7117 | 1208425.7985 | 2620735.4309 | 1208426.4701 | 2620725.6385 | 1208424.5685 | 2620719.3569 | 1208425.2582 | 2620708.5363 | 1208429.8774
38 | 2621331.6022 | 1208977.2615 | 2621323.7668 | 1208967.8191
39 | 2621178.1615 | 1208533.5024 | 2621179.8791 | 1208542.2023 | 2621181.8949 | 1208548.2572 | 2621184.8081 | 1208554.2264 | 2621192.6511 | 1208565.516 | 2621197.9938 | 1208574.4844 | 2621199.6967 | 1208576.688
40 | 2621272.3221 | 1208636.6172 | 2621269.3564 | 1208635.0936 | 2621264.2383 | 1208631.4289 | 2621259.9339 | 1208627.656 | 2621244.3447 | 1208610.0019 | 2621239.1088 | 1208605.2473 | 2621233.1874 | 1208601.2987
41 | 2621205.9 | 1208432.878 | 2621205.8981 | 1208439.8596 | 2621205.3276 | 1208450.6747 | 2621203.3806 | 1208461.6517 | 2621200.6458 | 1208471.8366 | 2621193.6464 | 1208494.8913 | 2621187.9061 | 1208510.1573 | 2621181.9614 | 1208523.0545 | 2621178.1615 | 1208533.5024
42 | 2621205.9 | 1208432.878 | 2621208.545 | 1208411.5755 | 2621210.224 | 1208405.4447 | 2621212.4467 | 1208400.3164 | 2621216.1186 | 1208393.8591 | 2621231.751 | 1208371.68 | 2621236.2722 | 1208365.815 | 2621239.5449 | 1208362.5915 | 2621246.5161 | 1208358.2694 | 2621251.0289 | 1208356.918 | 2621257.9436 | 1208355.6752 | 2621265.9389 | 1208356.2484 | 2621273.5933 | 1208358.6214 | 2621279.6857 | 1208362.0005
43 | 2620708.5363 | 1208429.8774 | 2620701.0929 | 1208433.0549 | 2620698.3031 | 1208433.6485
44 | 2621331.6022 | 1208977.2615 | 2621345.9971 | 1208977.7798 | 2621351.4944 | 1208977.3325 | 2621356.5913 | 1208976.1834 | 2621360.4613 | 1208974.812
45 | 2621331.6022 | 1208977.2615 | 2621321.4883 | 1208990.8668
46 | 2621137.8908 | 1207824.788 | 2621132.6841 | 1207820.1448 | 2621124.3504 | 1207816.1465 | 2621121.6062 | 1207814.0491
47 | 2621137.8908 | 1207824.788 | 2621148.1828 | 1207818.6003
48 | 2621162.3051 | 1207816.1083 | 2621156.7704 | 1207813.4373 | 2621148.1828 | 1207818.6003
49 | 2621093.6125 | 1207501.4077 | 2621112.1015 | 1207519.1605 | 2621116.1356 | 1207522.2098 | 2621119.74 | 1207524.2125 | 2621126.7275 | 1207526.2828 | 2621137.8469 | 1207529.5461 | 2621145.4448 | 1207533.1749 | 2621151.2328 | 1207536.8863 | 2621156.3576 | 1207541.0845 | 2621160.8116 | 1207545.7918 | 2621167.5322 | 1207554.5426 | 2621185.4171 | 1207581.7321 | 2621190.9611 | 1207587.7662 | 2621195.2303 | 1207590.9609 | 2621198.2304 | 1207591.8276 | 2621201.1273 | 1207591.7934 | 2621204.0801 | 1207590.9923 | 2621208.178 | 1207588.8723 | 2621218.6822 | 1207581.2053
50 | 2621218.6822 | 1207581.2053 | 2621162.3051 | 1207816.1083
51 | 2621218.6822 | 1207581.2053 | 2621216.9252 | 1207579.2646 | 2621212.9115 | 1207574.7701 | 2621207.7346 | 1207570.2715 | 2621186.6731 | 1207553.3986 | 2621180.7234 | 1207548.1191 | 2621176.814 | 1207544.2142 | 2621173.6564 | 1207540.5899 | 2621162.7708 | 1207524.9649 | 2621155.364 | 1207514.6108 | 2621149.1055 | 1207505.8186
52 | 2621093.6125 | 1207501.4077 | 2620968.4006 | 1207497.7945
53 | 2621135.7999 | 1207487.1263 | 2621149.1055 | 1207505.8186
54 | 2620968.4006 | 1207497.7945 | 2620966.2127 | 1207501.9492 | 2620961.4139 | 1207508.814 | 2620956.0292 | 1207515.8102 | 2620942.5326 | 1207531.3271 | 2620934.9292 | 1207538.393
55 | 2620934.9292 | 1207538.393 | 2620934.0351 | 1207539.224 | 2620927.0058 | 1207544.7358 | 2620923.0045 | 1207547.49 | 2620920.3847 | 1207548.7482 | 2620917.9118 | 1207549.2954 | 2620913.5906 | 1207550.0363 | 2620910.8651 | 1207551.0718 | 2620908.4638 | 1207552.8755 | 2620907.1327 | 1207554.6295
56 | 2620765.333 | 1207542.8827 | 2620907.1327 | 1207554.6295
57 | 2620765.333 | 1207542.8827 | 2620748.5678 | 1207571.496 | 2620743.7529 | 1207580.9068 | 2620740.9749 | 1207588.3013 | 2620739.3039 | 1207594.3989 | 2620736.6484 | 1207605.9739 | 2620721.6913 | 1207676.7836 | 2620707.9194 | 1207741.3496 | 2620702.4526 | 1207770.0132 | 2620700.0932 | 1207787.9422
58 | 2620537.8384 | 1207864.9099 | 2620540.4932 | 1207862.262 | 2620543.0311 | 1207860.4586 | 2620545.6584 | 1207859.1669 | 2620549.6305 | 1207858.1577 | 2620583.9105 | 1207851.6608 | 2620589.844 | 1207850.6696 | 2620595.9042 | 1207850.4014 | 2620604.3351 | 1207850.5416 | 2620649.3968 | 1207854.7659 | 2620660.072 | 1207856.6482 | 2620667.7727 | 1207859.0984 | 2620673.6483 | 1207861.6535 | 2620680.6504 | 1207866.0356 | 2620690.3333 | 1207873.4732 | 2620695.4309 | 1207876.7593 | 2620699.8521 | 1207877.7641 | 2620703.5312 | 1207877.9547 | 2620706.6515 | 1207876.9983 | 2620709.4565 | 1207874.9291 | 2620711.3519 | 1207872.0563 | 2620712.1926 | 1207868.5906 | 2620711.7036 | 1207864.9091 | 2620710.1873 | 1207861.4686 | 2620707.1769 | 1207857.0112 | 2620696.541 | 1207843.7671 | 2620694.4492 | 1207839.6687 | 2620693.5499 | 1207835.9079 | 2620693.6887 | 1207828.7378 | 2620698.5876 | 1207799.3828 | 2620700.0932 | 1207787.9422
59 | 2621135.7999 | 1207487.1263 | 2621128.6122 | 1207477.0288 | 2621124.8593 | 1207472.5044
60 | 2621120.5466 | 1207467.3053 | 2621124.8593 | 1207472.5044
61 | 2621116.5517 | 1207462.4892 | 2621120.5466 | 1207467.3053
62 | 2621116.5517 | 1207462.4892 | 2621329.8521 | 1207219.155
63 | 2621661.4878 | 1207044.3381 | 2621659.3953 | 1207046.8541 | 2621658.0991 | 1207049.9512 | 2621657.7058 | 1207053.574 | 2621658.6439 | 1207067.4851 | 2621658.9995 | 1207082.0392
64 | 2621629.8398 | 1207126.7249 | 2621644.3867 | 1207128.5007 | 2621646.8968 | 1207128.2541 | 2621648.6115 | 1207127.1597 | 2621649.4145 | 1207125.9063 | 2621651.9696 | 1207117.4108 | 2621656.1395 | 1207103.9518 | 2621658.2938 | 1207101.1803 | 2621658.9762 | 1207099.593 | 2621659.3657 | 1207097.0263 | 2621658.9995 | 1207082.0392
65 | 2621661.4878 | 1207044.3381 | 2621677.7789 | 1207036.9596 | 2621679.8668 | 1207035.7332 | 2621680.9054 | 1207034.4918 | 2621681.3145 | 1207032.8146 | 2621680.9769 | 1207029.456 | 2621679.4596 | 1207024.3032 | 2621678.6995 | 1207022.2635
66 | 2621661.4878 | 1207044.3381 | 2621646.7957 | 1207046.9308 | 2621540.0568 | 1207059.0524 | 2621497.7616 | 1207064.2477 | 2621473.7488 | 1207068.5861 | 2621458.1746 | 1207073.3551 | 2621442.3285 | 1207079.7241 | 2621427.4717 | 1207087.9865 | 2621419.9791 | 1207095.1971 | 2621416.5502 | 1207099.9682
67 | 2621673.5024 | 1207008.3176 | 2621678.6995 | 1207022.2635
68 | 2621372.5085 | 1207152.9705 | 2621384.2432 | 1207145.9085 | 2621391.3186 | 1207140.5197 | 2621397.8674 | 1207133.5392 | 2621402.1338 | 1207126.9508 | 2621414.2173 | 1207103.2142 | 2621416.5502 | 1207099.9682
69 | 2621329.8521 | 1207219.155 | 2621337.7134 | 1207203.7908
70 | 2621305.3929 | 1207199.6015 | 2621320.8612 | 1207211.6188 | 2621329.8521 | 1207219.155
71 | 2621309.4214 | 1207020.5197 | 2621309.9834 | 1207022.7189
72 | 2621316.1434 | 1207089.4418 | 2621316.464 | 1207088.546 | 2621320.4611 | 1207082.8126 | 2621321.9452 | 1207078.1598 | 2621322.5012 | 1207073.6481 | 2621321.8506 | 1207068.4541 | 2621313.0291 | 1207034.6372 | 2621309.9834 | 1207022.7189
73 | 2621314.2982 | 1207094.5972 | 2621316.1434 | 1207089.4418
74 | 2621331.6969 | 1207098.428 | 2621319.7816 | 1207094.261 | 2621315.7827 | 1207094.0911 | 2621314.2982 | 1207094.5972
75 | 2621331.6969 | 1207098.428 | 2621330.1664 | 1207103.2919 | 2621329.3891 | 1207108.0362 | 2621329.5411 | 1207112.328 | 2621330.4183 | 1207116.6408
76 | 2621331.6969 | 1207098.428 | 2621334.7714 | 1207093.4139
77 | 2621330.4183 | 1207116.6408 | 2621330.7517 | 1207118.2801 | 2621332.5721 | 1207125.9241 | 2621338.323 | 1207140.4155
78 | 2621334.7714 | 1207093.4139 | 2621343.4858 | 1207097.5139 | 2621345.0979 | 1207098.562
79 | 2621334.7714 | 1207093.4139 | 2621338.6875 | 1207089.0922 | 2621350.0108 | 1207078.0486 | 2621359.094 | 1207070.4446
80 | 2621305.3929 | 1207199.6015 | 2621291.441 | 1207188.7681 | 2621284.0961 | 1207182.3273 | 2621269.4993 | 1207167.7138
81 | 2621344.0989 | 1207187.8628 | 2621341.7865 | 1207194.4617 | 2621338.4202 | 1207202.4096 | 2621337.7134 | 1207203.7908
82 | 2621344.0989 | 1207187.8628 | 2621344.1755 | 1207187.6442 | 2621345.239 | 1207183.6457 | 2621346.0763 | 1207179.124 | 2621346.6727 | 1207173.9455 | 2621346.694 | 1207171.7797
83 | 2621342.9414 | 1207152.0534 | 2621322.6766 | 1207160.9639 | 2621320.1424 | 1207161.5663 | 2621318.2285 | 1207160.948 | 2621315.4429 | 1207157.4584
84 | 2621342.9414 | 1207152.0534 | 2621338.323 | 1207140.4155
85 | 2621345.007 | 1207159.1647 | 2621342.9414 | 1207152.0534
86 | 2621346.6977 | 1207168.8493 | 2621346.7204 | 1207169.0874 | 2621346.694 | 1207171.7797
87 | 2621345.007 | 1207159.1647 | 2621346.288 | 1207164.5611 | 2621346.6977 | 1207168.8493
88 | 2621345.007 | 1207159.1647 | 2621372.5085 | 1207152.9705
89 | 2621359.094 | 1207070.4446 | 2621360.6954 | 1207069.104 | 2621363.6732 | 1207065.6461 | 2621366.5586 | 1207060.3979 | 2621371.3113 | 1207049.6423 | 2621376.2993 | 1207036.8114
90 | 2621360.3902 | 1207122.6326 | 2621357.5099 | 1207113.7063 | 2621352.9073 | 1207105.8633 | 2621348.9022 | 1207101.0352 | 2621345.0979 | 1207098.562
91 | 2621312.3382 | 1208634.5574 | 2621298.7328 | 1208636.2321 | 2621288.9184 | 1208638.554 | 2621283.9823 | 1208639.2813 | 2621279.642 | 1208639.2103 | 2621274.8044 | 1208637.8923 | 2621272.3221 | 1208636.6172
92 | 2621312.3382 | 1208634.5574 | 2621318.8592 | 1208634.8919 | 2621324.9129 | 1208635.4328
93 | 2621325.4052 | 1208635.4768 | 2621324.9129 | 1208635.4328
94 | 2621325.4052 | 1208635.4768 | 2621333.1154 | 1208636.1656 | 2621338.3995 | 1208635.9177 | 2621347.7018 | 1208634.3833 | 2621348.0536 | 1208634.3113
95 | 2621279.6857 | 1208362.0005 | 2621292.2915 | 1208346.6145 | 2621302.6101 | 1208330.9314 | 2621318.4355 | 1208310.1984 | 2621328.9149 | 1208298.507 | 2621338.6057 | 1208288.3582 | 2621345.5145 | 1208282.4128 | 2621350.6955 | 1208279.1628 | 2621356.9853 | 1208276.2503 | 2621361.7565 | 1208275.5255
96 | 2621585.8753 | 1208683.4874 | 2621564.0349 | 1208685.8656 | 2621548.1347 | 1208685.1968 | 2621473.5931 | 1208661.9603 | 2621456.2914 | 1208653.5713 | 2621428.423 | 1208636.7954 | 2621415.5953 | 1208631.4688 | 2621394.3948 | 1208629.1583 | 2621363.8064 | 1208631.0834 | 2621348.0536 | 1208634.3113
97 | 2620556.0216 | 1208478.3578 | 2620556.3603 | 1208481.5386 | 2620557.3057 | 1208485.1549 | 2620558.6103 | 1208488.2389 | 2620560.5029 | 1208490.5244 | 2620563.2387 | 1208492.9797 | 2620565.6444 | 1208494.1552 | 2620567.9472 | 1208494.341 | 2620570.3511 | 1208493.8379 | 2620571.8087 | 1208492.9778
98 | 2621361.7565 | 1208275.5255 | 2621362.3477 | 1208275.4357 | 2621369.4739 | 1208274.6051 | 2621374.824 | 1208272.99 | 2621381.2908 | 1208271.6012 | 2621384.8619 | 1208272.1254 | 2621388.5819 | 1208273.5094
99 | 2621388.5819 | 1208273.5094 | 2621389.5386 | 1208273.8653 | 2621396.4652 | 1208277.8256 | 2621397.3814 | 1208278.5321
100 | 2621360.4613 | 1208974.812 | 2621363.8902 | 1208973.5969 | 2621379.569 | 1208965.9574
101 | 2621321.4883 | 1208990.8668 | 2621314.944 | 1208999.6702 | 2621311.1061 | 1209004.3341
102 | 2621413.7345 | 1208954.2027 | 2621413.1928 | 1208954.229 | 2621404.6196 | 1208956.0549 | 2621395.6413 | 1208958.5353 | 2621388.8734 | 1208961.4238 | 2621379.569 | 1208965.9574
103 | 2621446.3611 | 1208965.1932 | 2621444.4295 | 1208963.9797 | 2621430.7955 | 1208956.8713 | 2621424.9734 | 1208954.6047 | 2621419.5866 | 1208953.9184 | 2621413.7345 | 1208954.2027
104 | 2621479.6813 | 1208985.9184 | 2621463.4733 | 1208975.9435 | 2621446.3611 | 1208965.1932
105 | 2621479.6813 | 1208985.9184 | 2621507.5354 | 1209006.1853 | 2621530.9713 | 1209022.6899 | 2621541.5761 | 1209030.8215 | 2621547.4928 | 1209036.2971
106 | 2621560.8991 | 1209049.3879 | 2621547.811 | 1209036.5916 | 2621547.4928 | 1209036.2971
107 | 2620578.9233 | 1208486.2531 | 2620578.1805 | 1208487.0891
108 | 2620578.9233 | 1208486.2531 | 2620580.5395 | 1208484.4344 | 2620584.9992 | 1208480.7699 | 2620595.6447 | 1208474.5226
109 | 2620578.1805 | 1208487.0891 | 2620575.3196 | 1208490.3086 | 2620575.3196 | 1208490.3086
110 | 2620601.4141 | 1208470.9969 | 2620600.0662 | 1208471.9279 | 2620595.6447 | 1208474.5226
111 | 2620571.8087 | 1208492.9778 | 2620573.0857 | 1208492.2242 | 2620575.3196 | 1208490.3086
112 | 2620601.4141 | 1208470.9969 | 2620613.1497 | 1208462.8902 | 2620632.2738 | 1208448.1368 | 2620639.3591 | 1208443.6365 | 2620645.4053 | 1208440.6668 | 2620651.3031 | 1208438.8306 | 2620656.6804 | 1208438.0487 | 2620667.0895 | 1208437.4287 | 2620680.9728 | 1208436.8208 | 2620686.3875 | 1208436.1836 | 2620688.9649 | 1208435.6352
113 | 2620688.9649 | 1208435.6352 | 2620698.3031 | 1208433.6485
114 | 2621585.8753 | 1208683.4874 | 2621598.7257 | 1208676.1742 | 2621622.3912 | 1208677.805 | 2621641.8189 | 1208688.8925 | 2621646.2865 | 1208689.901
115 | 2621747.8401 | 1208701.0282 | 2621728.2803 | 1208692.9081 | 2621701.1029 | 1208691.2641 | 2621675.6723 | 1208694.2292 | 2621659.6377 | 1208692.9148 | 2621646.2865 | 1208689.901
116 | 2621585.8753 | 1208683.4874 | 2621586.5936 | 1208699.2877 | 2621591.6249 | 1208705.8873 | 2621605.2868 | 1208708.8991
117 | 2621747.8401 | 1208701.0282 | 2621753.713 | 1208685.174 | 2621766.1654 | 1208653.5795 | 2621778.9072 | 1208630.2462 | 2621784.2293 | 1208623.7397 | 2621814.4186 | 1208593.733 | 2621826.5134 | 1208574.8888 | 2621828.2917 | 1208512.5605 | 2621827.8029 | 1208496.5165 | 2621835.1122 | 1208453.7971 | 2621837.1242 | 1208433.6599 | 2621843.7754 | 1208421.3106
118 | 2621843.7754 | 1208421.3106 | 2621841.4237 | 1208422.0691 | 2621835.9936 | 1208424.773 | 2621828.233 | 1208422.4101
119 | 2621843.7754 | 1208421.3106 | 2621848.0594 | 1208413.9666 | 2621851.229 | 1208401.5824 | 2621846.2598 | 1208378.0178 | 2621835.8997 | 1208344.3057 | 2621832.1924 | 1208307.9617
120 | 2621828.233 | 1208422.4101 | 2621814.646 | 1208418.8808 | 2621792.1127 | 1208419.1877 | 2621783.2204 | 1208420.4347
121 | 2621832.1924 | 1208307.9617 | 2621831.4594 | 1208300.7763 | 2621830.3952 | 1208286.1754 | 2621829.164 | 1208277.744 | 2621826.0139 | 1208265.6843
122 | 2621756.6046 | 1208427.3519 | 2621777.5855 | 1208421.2249 | 2621783.2204 | 1208420.4347
123 | 2620537.8384 | 1207864.9099 | 2620530.806 | 1207869.3327 | 2620529.1422 | 1207870.1643
124 | 2620528.7552 | 1207886.8251 | 2620516.557 | 1207876.4544 | 2620529.1422 | 1207870.1643

## bus_geodata
| x | y | coords
0 | 2620743.5664 | 1208184.1766
1 | 2620743.7718 | 1208184.0569
2 | 2620694.6419 | 1208196.4124
3 | 2620723.9438 | 1208266.4635
4 | 2620973.5446 | 1208076.7629
5 | 2620576.9637 | 1208217.9071
6 | 2620971.1845 | 1208070.7846
7 | 2621137.2343 | 1207842.2912
8 | 2620981.6684 | 1208095.3816
9 | 2620990.6009 | 1208113.6301
10 | 2620994.6871 | 1208126.6494
11 | 2621003.0861 | 1208147.526
12 | 2620510.2885 | 1208114.821
13 | 2620523.2174 | 1208024.7819
14 | 2620465.8857 | 1208087.4426
15 | 2620574.0452 | 1208274.1618
16 | 2620522.9007 | 1208185.7481
17 | 2620504.8941 | 1208173.7575
18 | 2620514.8487 | 1208180.3862
19 | 2620478.2634 | 1208087.1515
20 | 2620569.2148 | 1208410.899
21 | 2620419.943 | 1208170.2225
22 | 2621295.412 | 1208923.7458
23 | 2621135.6261 | 1208824.7921
24 | 2621301.3615 | 1208935.3971
25 | 2620989.3515 | 1208798.8517
26 | 2621166.6969 | 1208619.721
27 | 2621306.3767 | 1208945.222
28 | 2621274.1023 | 1208949.0588
29 | 2620986.6273 | 1208797.508
30 | 2621158.6711 | 1208593.4669
31 | 2621312.5926 | 1208954.3531
32 | 2621211.9431 | 1208589.4533
33 | 2621055.2361 | 1208508.766
34 | 2621323.7668 | 1208967.8191
35 | 2621199.6967 | 1208576.688
36 | 2621233.1874 | 1208601.2987
37 | 2621178.1615 | 1208533.5024
38 | 2621205.9 | 1208432.878
39 | 2620708.5363 | 1208429.8774
40 | 2621331.6022 | 1208977.2615
41 | 2621137.8908 | 1207824.788
42 | 2621121.6062 | 1207814.0491
43 | 2621148.1828 | 1207818.6003
44 | 2621218.6822 | 1207581.2053
45 | 2621093.6125 | 1207501.4077
46 | 2621162.3051 | 1207816.1083
47 | 2621149.1055 | 1207505.8186
48 | 2620968.4006 | 1207497.7945
49 | 2620934.9292 | 1207538.393
50 | 2620907.1327 | 1207554.6295
51 | 2620765.333 | 1207542.8827
52 | 2620700.0932 | 1207787.9422
53 | 2621124.8593 | 1207472.5044
54 | 2621135.7999 | 1207487.1263
55 | 2621120.5466 | 1207467.3053
56 | 2621116.5517 | 1207462.4892
57 | 2621658.9995 | 1207082.0392
58 | 2621661.4878 | 1207044.3381
59 | 2621629.8398 | 1207126.7249
60 | 2621678.6995 | 1207022.2635
61 | 2621416.5502 | 1207099.9682
62 | 2621673.5024 | 1207008.3176
63 | 2621329.8521 | 1207219.155
64 | 2621309.4214 | 1207020.5197
65 | 2621309.9834 | 1207022.7189
66 | 2621316.1434 | 1207089.4418
67 | 2621314.2982 | 1207094.5972
68 | 2621331.6969 | 1207098.428
69 | 2621330.4183 | 1207116.6408
70 | 2621334.7714 | 1207093.4139
71 | 2621269.4993 | 1207167.7138
72 | 2621305.3929 | 1207199.6015
73 | 2621337.7134 | 1207203.7908
74 | 2621344.0989 | 1207187.8628
75 | 2621315.4429 | 1207157.4584
76 | 2621342.9414 | 1207152.0534
77 | 2621346.694 | 1207171.7797
78 | 2621346.6977 | 1207168.8493
79 | 2621345.007 | 1207159.1647
80 | 2621372.5084 | 1207152.9705
81 | 2621338.323 | 1207140.4155
82 | 2621359.094 | 1207070.4446
83 | 2621376.2993 | 1207036.8114
84 | 2621345.0979 | 1207098.562
85 | 2621360.3902 | 1207122.6326
86 | 2621272.3221 | 1208636.6172
87 | 2621312.3382 | 1208634.5574
88 | 2621324.9129 | 1208635.4328
89 | 2621325.4052 | 1208635.4768
90 | 2621279.6857 | 1208362.0005
91 | 2621348.0536 | 1208634.3113
92 | 2620556.0216 | 1208478.3578
93 | 2621361.7565 | 1208275.5255
94 | 2621388.5819 | 1208273.5094
95 | 2621360.4613 | 1208974.812
96 | 2621321.4883 | 1208990.8668
97 | 2621379.569 | 1208965.9574
98 | 2621311.1061 | 1209004.3341
99 | 2621413.7345 | 1208954.2027
100 | 2621446.3611 | 1208965.1932
101 | 2621479.6813 | 1208985.9184
102 | 2621547.4928 | 1209036.2971
103 | 2621560.8991 | 1209049.3879
104 | 2620578.9233 | 1208486.2531
105 | 2620578.1805 | 1208487.0891
106 | 2620595.6447 | 1208474.5226
107 | 2620575.3196 | 1208490.3086
108 | 2620601.4141 | 1208470.9969
109 | 2620571.8087 | 1208492.9778
110 | 2620688.9649 | 1208435.6352
111 | 2620698.3031 | 1208433.6485
112 | 2621397.3814 | 1208278.5321
113 | 2621646.2865 | 1208689.901
114 | 2621585.8753 | 1208683.4874
115 | 2621747.8401 | 1208701.0282
116 | 2621605.2868 | 1208708.8991
117 | 2621843.7754 | 1208421.3106
118 | 2621828.233 | 1208422.4101
119 | 2621832.1924 | 1208307.9617
120 | 2621783.2204 | 1208420.4347
121 | 2621826.0139 | 1208265.6843
122 | 2621756.6046 | 1208427.3519
123 | 2620537.8384 | 1207864.9099
124 | 2620529.1422 | 1207870.1643
125 | 2620528.7552 | 1207886.8251
126 | 2621218.6822 | 1207581.2053

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1