## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_956-1_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_956-1_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_956-1_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_956-1_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_956-1_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_956-1_0_3_node_68 | 0.4 | n |  | TRUE
6 | bus_LV_956-1_0_3_node_70 | 0.4 | n |  | TRUE
7 | bus_LV_956-1_0_3_node_38 | 0.4 | n |  | TRUE
8 | bus_LV_956-1_0_3_node_59 | 0.4 | n |  | TRUE
9 | bus_LV_956-1_0_3_node_69 | 0.4 | n |  | TRUE
10 | bus_LV_956-1_0_3_node_5 | 0.4 | n |  | TRUE
11 | bus_LV_956-1_0_3_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_956-1_0_3_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_956-1_0_3_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_956-1_0_3_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_956-1_0_3_node_14 | 0.4 | n |  | TRUE
16 | bus_LV_956-1_0_3_node_24 | 0.4 | n |  | TRUE
17 | bus_LV_956-1_0_3_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_956-1_0_3_node_48 | 0.4 | n |  | TRUE
19 | bus_LV_956-1_0_3_node_10 | 0.4 | n |  | TRUE
20 | bus_LV_956-1_0_3_node_40 | 0.4 | n |  | TRUE
21 | bus_LV_956-1_0_3_node_46 | 0.4 | n |  | TRUE
22 | bus_LV_956-1_0_3_node_42 | 0.4 | n |  | TRUE
23 | bus_LV_956-1_0_3_node_32 | 0.4 | n |  | TRUE
24 | bus_LV_956-1_0_3_node_22 | 0.4 | n |  | TRUE
25 | bus_LV_956-1_0_3_node_11 | 0.4 | n |  | TRUE
26 | bus_LV_956-1_0_3_node_13 | 0.4 | n |  | TRUE
27 | bus_LV_956-1_0_3_node_45 | 0.4 | n |  | TRUE
28 | bus_LV_956-1_0_3_node_55 | 0.4 | n |  | TRUE
29 | bus_LV_956-1_0_3_node_49 | 0.4 | n |  | TRUE
30 | bus_LV_956-1_0_3_node_47 | 0.4 | n |  | TRUE
31 | bus_LV_956-1_0_3_node_28 | 0.4 | n |  | TRUE
32 | bus_LV_956-1_0_3_node_44 | 0.4 | n |  | TRUE
33 | bus_LV_956-1_0_3_node_26 | 0.4 | n |  | TRUE
34 | bus_LV_956-1_0_3_node_25 | 0.4 | n |  | TRUE
35 | bus_LV_956-1_0_3_node_27 | 0.4 | n |  | TRUE
36 | bus_LV_956-1_0_3_node_15 | 0.4 | n |  | TRUE
37 | bus_LV_956-1_0_3_node_16 | 0.4 | n |  | TRUE
38 | bus_LV_956-1_0_3_node_17 | 0.4 | n |  | TRUE
39 | bus_LV_956-1_0_3_node_18 | 0.4 | n |  | TRUE
40 | bus_LV_956-1_0_3_node_19 | 0.4 | n |  | TRUE
41 | bus_LV_956-1_0_3_node_65 | 0.4 | n |  | TRUE
42 | bus_LV_956-1_0_3_node_66 | 0.4 | n |  | TRUE
43 | bus_LV_956-1_0_3_node_36 | 0.4 | n |  | TRUE
44 | bus_LV_956-1_0_3_node_63 | 0.4 | n |  | TRUE
45 | bus_LV_956-1_0_3_node_34 | 0.4 | n |  | TRUE
46 | bus_LV_956-1_0_3_node_35 | 0.4 | n |  | TRUE
47 | bus_LV_956-1_0_3_node_20 | 0.4 | n |  | TRUE
48 | bus_LV_956-1_0_3_node_21 | 0.4 | n |  | TRUE
49 | bus_LV_956-1_0_3_node_23 | 0.4 | n |  | TRUE
50 | bus_LV_956-1_0_3_node_31 | 0.4 | n |  | TRUE
51 | bus_LV_956-1_0_3_node_39 | 0.4 | n |  | TRUE
52 | bus_LV_956-1_0_3_node_43 | 0.4 | n |  | TRUE
53 | bus_LV_956-1_0_3_node_67 | 0.4 | n |  | TRUE
54 | bus_LV_956-1_0_3_node_58 | 0.4 | n |  | TRUE
55 | bus_LV_956-1_0_3_node_64 | 0.4 | n |  | TRUE
56 | bus_LV_956-1_0_3_node_29 | 0.4 | n |  | TRUE
57 | bus_LV_956-1_0_3_node_41 | 0.4 | n |  | TRUE
58 | bus_LV_956-1_0_3_node_30 | 0.4 | n |  | TRUE
59 | bus_LV_956-1_0_3_node_37 | 0.4 | n |  | TRUE
60 | bus_LV_956-1_0_3_node_57 | 0.4 | n |  | TRUE
61 | bus_LV_956-1_0_3_node_62 | 0.4 | n |  | TRUE
62 | bus_LV_956-1_0_3_node_50 | 0.4 | n |  | TRUE
63 | bus_LV_956-1_0_3_node_51 | 0.4 | n |  | TRUE
64 | bus_LV_956-1_0_3_node_53 | 0.4 | n |  | TRUE
65 | bus_LV_956-1_0_3_node_56 | 0.4 | n |  | TRUE
66 | bus_LV_956-1_0_3_node_60 | 0.4 | n |  | TRUE
67 | bus_LV_956-1_0_3_node_61 | 0.4 | n |  | TRUE
68 | bus_MV_181_0_node_164 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_956-1_0_3_load_0 | 0 | 0.0011368 | 0.00028491 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_956-1_0_3_load_1 | 1 | 0.0013116 | 0.00032871 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_956-1_0_3_load_2 | 2 | 0.00010167 | 2.5481e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_956-1_0_3_load_3 | 3 | 0.00091384 | 0.00022903 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_956-1_0_3_load_68 | 5 | 0.00875 | 0.002193 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_956-1_0_3_load_70 | 6 | 0.00026255 | 6.5802e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_956-1_0_3_load_38 | 7 | 0.0022902 | 0.00057397 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_956-1_0_3_load_59 | 8 | 0.00084109 | 0.0002108 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_956-1_0_3_load_69 | 9 | 0.00024862 | 6.231e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_956-1_0_3_load_5 | 10 | 0.0016933 | 0.00042438 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_956-1_0_3_load_6 | 11 | 0.0018481 | 0.00046317 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_956-1_0_3_load_7 | 12 | 0.00080897 | 0.00020275 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_956-1_0_3_load_8 | 13 | 0.0012659 | 0.00031727 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_956-1_0_3_load_9 | 14 | 0.0012722 | 0.00031883 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_956-1_0_3_load_14 | 15 | 0.0071565 | 0.0017936 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_956-1_0_3_load_24 | 16 | 0.0036664 | 0.00091888 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_956-1_0_3_load_12 | 17 | 0.0051361 | 0.0012872 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_956-1_0_3_load_48 | 18 | 0.0012544 | 0.00031439 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_956-1_0_3_load_10 | 19 | 0.0038064 | 0.00095397 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_956-1_0_3_load_46 | 21 | 0.0011265 | 0.00028232 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_956-1_0_3_load_32 | 23 | 0.0051077 | 0.0012801 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_956-1_0_3_load_22 | 24 | 0.0036698 | 0.00091973 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_956-1_0_3_load_11 | 25 | 0.0034285 | 0.00085927 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_956-1_0_3_load_13 | 26 | 0.004151 | 0.0010404 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_956-1_0_3_load_45 | 27 | 0.0034322 | 0.00086018 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_956-1_0_3_load_55 | 28 | 0.0039265 | 0.00098408 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_956-1_0_3_load_47 | 30 | 0.0039775 | 0.00099686 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_956-1_0_3_load_28 | 31 | 0.0040234 | 0.0010084 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_956-1_0_3_load_44 | 32 | 0.0027327 | 0.00068488 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_956-1_0_3_load_26 | 33 | 0.0031962 | 0.00080105 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_956-1_0_3_load_25 | 34 | 0.00096958 | 0.000243 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_956-1_0_3_load_15 | 36 | 0.0034028 | 0.00085282 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_956-1_0_3_load_16 | 37 | 0.0030516 | 0.0007648 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_956-1_0_3_load_17 | 38 | 0.0019057 | 0.00047761 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_956-1_0_3_load_19 | 40 | 0.0019314 | 0.00048405 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_956-1_0_3_load_65 | 41 | 0.012006 | 0.003009 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_956-1_0_3_load_66 | 42 | 0.011859 | 0.0029722 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_956-1_0_3_load_36 | 43 | 0.0028116 | 0.00070465 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_956-1_0_3_load_63 | 44 | 0.0042634 | 0.0010685 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_956-1_0_3_load_34 | 45 | 0.010556 | 0.0026456 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_956-1_0_3_load_35 | 46 | 0.0020393 | 0.0005111 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_956-1_0_3_load_20 | 47 | 0.0050779 | 0.0012726 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_956-1_0_3_load_21 | 48 | 0.0042294 | 0.00106 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_956-1_0_3_load_23 | 49 | 0.003248 | 0.00081401 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_956-1_0_3_load_31 | 50 | 0.0025719 | 0.00064459 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_956-1_0_3_load_43 | 52 | 0.0037024 | 0.0009279 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_956-1_0_3_load_67 | 53 | 0.0030051 | 0.00075315 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_956-1_0_3_load_58 | 54 | 0.007004 | 0.0017554 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_956-1_0_3_load_64 | 55 | 0.0027843 | 0.00069781 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_956-1_0_3_load_29 | 56 | 0.0010835 | 0.00027155 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_956-1_0_3_load_41 | 57 | 0.0031247 | 0.00078313 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_956-1_0_3_load_30 | 58 | 0.01185 | 0.0029698 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_956-1_0_3_load_37 | 59 | 0.0030444 | 0.000763 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_956-1_0_3_load_57 | 60 | 0.0027492 | 0.00068901 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_956-1_0_3_load_62 | 61 | 0.0042751 | 0.0010714 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_956-1_0_3_load_50 | 62 | 0.0082693 | 0.0020725 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_956-1_0_3_load_51 | 63 | 0.0082787 | 0.0020748 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_956-1_0_3_load_53 | 64 | 0.0061061 | 0.0015303 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_956-1_0_3_load_56 | 65 | 0.0070386 | 0.001764 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_956-1_0_3_load_60 | 66 | 0.003044 | 0.00076289 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_956-1_0_3_load_61 | 67 | 0.0036824 | 0.0009229 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 49 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_956-1_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0031795 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_956-1_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.022811 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_956-1_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.0064159 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_956-1_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.01569 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_956-1_0_3_line_4 | NAYY 4x150 SE | 3 | 8 | 0.029351 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_956-1_0_3_line_5 | NAYY 4x150 SE | 4 | 9 | 0.0298 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_956-1_0_3_line_6 | NAYY 4x150 SE | 5 | 6 | 0.56702 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_956-1_0_3_line_7 | NAYY 4x150 SE | 5 | 7 | 0.0046704 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_956-1_0_3_line_8 | NAYY 4x150 SE | 6 | 8 | 0.01445 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_956-1_0_3_line_9 | NAYY 4x150 SE | 7 | 59 | 0.010341 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_956-1_0_3_line_10 | NAYY 4x150 SE | 10 | 11 | 0.016601 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_956-1_0_3_line_11 | NAYY 4x150 SE | 10 | 12 | 0.0055154 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_956-1_0_3_line_12 | NAYY 4x150 SE | 11 | 13 | 0.0043867 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_956-1_0_3_line_13 | NAYY 4x150 SE | 12 | 14 | 0.020407 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_956-1_0_3_line_14 | NAYY 4x150 SE | 13 | 18 | 0.015249 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_956-1_0_3_line_15 | NAYY 4x150 SE | 14 | 20 | 0.024341 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_956-1_0_3_line_16 | NAYY 4x150 SE | 15 | 16 | 0.0073421 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_956-1_0_3_line_17 | NAYY 4x150 SE | 15 | 17 | 0.005037 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_956-1_0_3_line_18 | NAYY 4x150 SE | 16 | 24 | 0.002346 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_956-1_0_3_line_19 | NAYY 4x150 SE | 17 | 19 | 0.023363 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_956-1_0_3_line_20 | NAYY 4x150 SE | 18 | 21 | 0.01095 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_956-1_0_3_line_21 | NAYY 4x150 SE | 19 | 25 | 0.023453 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_956-1_0_3_line_22 | NAYY 4x150 SE | 20 | 22 | 0.00437 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_956-1_0_3_line_23 | NAYY 4x150 SE | 20 | 23 | 0.017004 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_956-1_0_3_line_24 | NAYY 4x150 SE | 21 | 27 | 0.011685 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_956-1_0_3_line_25 | NAYY 4x150 SE | 22 | 52 | 0.016603 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_956-1_0_3_line_26 | NAYY 4x150 SE | 22 | 57 | 0.023777 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_956-1_0_3_line_27 | NAYY 4x150 SE | 23 | 50 | 0.020107 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_956-1_0_3_line_28 | NAYY 4x150 SE | 24 | 47 | 0.0084182 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_956-1_0_3_line_29 | NAYY 4x150 SE | 25 | 26 | 0.023097 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_956-1_0_3_line_30 | NAYY 4x150 SE | 26 | 28 | 0.021923 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_956-1_0_3_line_31 | NAYY 4x150 SE | 26 | 29 | 0.067489 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_956-1_0_3_line_32 | NAYY 4x150 SE | 27 | 30 | 0.019893 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_956-1_0_3_line_33 | NAYY 4x150 SE | 29 | 30 | 0.011264 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_956-1_0_3_line_34 | NAYY 4x150 SE | 31 | 32 | 0.0085542 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_956-1_0_3_line_35 | NAYY 4x150 SE | 31 | 33 | 0.017835 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_956-1_0_3_line_36 | NAYY 4x150 SE | 33 | 34 | 0.010019 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_956-1_0_3_line_37 | NAYY 4x150 SE | 34 | 35 | 0.0069711 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_956-1_0_3_line_38 | NAYY 4x150 SE | 35 | 56 | 0.0122 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_956-1_0_3_line_39 | NAYY 4x150 SE | 36 | 37 | 0.032031 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_956-1_0_3_line_40 | NAYY 4x150 SE | 36 | 38 | 2.0729e-05 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_956-1_0_3_line_41 | NAYY 4x150 SE | 37 | 39 | 0.018666 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_956-1_0_3_line_42 | NAYY 4x150 SE | 38 | 40 | 0.00031682 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_956-1_0_3_line_43 | NAYY 4x150 SE | 39 | 41 | 0.0033521 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_956-1_0_3_line_44 | NAYY 4x150 SE | 39 | 42 | 0.027243 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_956-1_0_3_line_45 | NAYY 4x150 SE | 40 | 43 | 0.024684 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_956-1_0_3_line_46 | NAYY 4x150 SE | 41 | 44 | 0.018756 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_956-1_0_3_line_47 | NAYY 4x150 SE | 42 | 45 | 0.03139 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_956-1_0_3_line_48 | NAYY 4x150 SE | 43 | 46 | 0.00015664 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_956-1_0_3_line_49 | NAYY 4x150 SE | 44 | 67 | 0.00075393 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_956-1_0_3_line_50 | NAYY 4x150 SE | 46 | 59 | 0.00059665 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_956-1_0_3_line_51 | NAYY 4x150 SE | 47 | 48 | 0.01732 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_956-1_0_3_line_52 | NAYY 4x150 SE | 48 | 49 | 0.0012298 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_956-1_0_3_line_53 | NAYY 4x150 SE | 49 | 51 | 0.017637 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
54 | LV_956-1_0_3_line_54 | NAYY 4x150 SE | 50 | 58 | 0.0254 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_956-1_0_3_line_55 | NAYY 4x150 SE | 51 | 54 | 0.0096021 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_956-1_0_3_line_56 | NAYY 4x150 SE | 51 | 55 | 0.0077344 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_956-1_0_3_line_57 | NAYY 4x150 SE | 52 | 53 | 0.018468 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_956-1_0_3_line_58 | NAYY 4x150 SE | 54 | 60 | 0.022012 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_956-1_0_3_line_59 | NAYY 4x150 SE | 55 | 61 | 0.014307 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_956-1_0_3_line_60 | NAYY 4x150 SE | 56 | 57 | 0.0074063 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_956-1_0_3_line_61 | NAYY 4x150 SE | 60 | 65 | 0.015541 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_956-1_0_3_line_62 | NAYY 4x150 SE | 61 | 66 | 0.0011589 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_956-1_0_3_line_63 | NAYY 4x150 SE | 62 | 63 | 0.03221 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_956-1_0_3_line_64 | NAYY 4x150 SE | 63 | 64 | 0.040519 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_956-1_0_3_line_65 | NAYY 4x150 SE | 64 | 65 | 0.021642 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_956-1_0_3_line_66 | NAYY 4x150 SE | 66 | 67 | 0.0087334 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_956-1_0_3_trafo_23 | 0.25 MVA 20/0.4 kV | 68 | 49 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2616901.5913 | 1208448.32 | 2616903.2103 | 1208445.5836
1 | 2616901.5913 | 1208448.32 | 2616898.5642 | 1208453.4359 | 2616893.5722 | 1208460.648 | 2616889.0568 | 1208466.0161 | 2616888.2223 | 1208466.7021
2 | 2616903.2103 | 1208445.5836 | 2616906.4775 | 1208440.0619
3 | 2616875.8158 | 1208476.2844 | 2616880.3248 | 1208473.1954 | 2616888.2223 | 1208466.7021
4 | 2616906.4775 | 1208440.0619 | 2616906.4775 | 1208440.0619 | 2616910.9036 | 1208431.3696 | 2616915.2571 | 1208421.4431 | 2616918.4285 | 1208413.2805
5 | 2616875.8158 | 1208476.2844 | 2616847.396 | 1208485.2477
6 | 2617095.8718 | 1207859.5668 | 2616923.5513 | 1208399.7721
7 | 2617095.8718 | 1207859.5668 | 2617096.7841 | 1207854.9864
8 | 2616923.5513 | 1208399.7721 | 2616922.9071 | 1208401.7538 | 2616918.4285 | 1208413.2805
9 | 2617096.7841 | 1207854.9864 | 2617098.8043 | 1207844.8448
10 | 2617050.3373 | 1207651.3899 | 2617033.7405 | 1207651.0124
11 | 2617050.3373 | 1207651.3899 | 2617055.8513 | 1207651.5153 | 2617055.8513 | 1207651.5153
12 | 2617033.7405 | 1207651.0124 | 2617029.3549 | 1207650.9126
13 | 2617076.2096 | 1207650.2104 | 2617071.0439 | 1207650.7804 | 2617055.8513 | 1207651.5153
14 | 2617014.1149 | 1207650.4314 | 2617020.0971 | 1207650.7021 | 2617029.3549 | 1207650.9126
15 | 2617098.7439 | 1207641.8767 | 2617090.6041 | 1207646.1892 | 2617083.4178 | 1207649.4149 | 2617076.2096 | 1207650.2104
16 | 2617029.9518 | 1207726.9234 | 2617036.9543 | 1207729.1304
17 | 2617029.9518 | 1207726.9234 | 2617027.0828 | 1207726.0191 | 2617025.0631 | 1207725.8261
18 | 2617036.9543 | 1207729.1304 | 2617037.5121 | 1207729.3062 | 2617038.8637 | 1207730.4352
19 | 2617001.8062 | 1207723.6034 | 2617025.0631 | 1207725.8261
20 | 2617014.1149 | 1207650.4314 | 2617003.1764 | 1207649.9366
21 | 2617001.8062 | 1207723.6034 | 2616999.0285 | 1207723.338 | 2616978.7019 | 1207719.6289
22 | 2617098.7439 | 1207641.8767 | 2617096.6565 | 1207638.0353
23 | 2617098.7439 | 1207641.8767 | 2617107.0002 | 1207656.7419
24 | 2616991.5037 | 1207649.4085 | 2617003.1764 | 1207649.9366
25 | 2617096.6565 | 1207638.0353 | 2617111.7719 | 1207631.1653
26 | 2617096.6565 | 1207638.0353 | 2617089.3663 | 1207619.0484 | 2617087.7502 | 1207616.0128
27 | 2617107.0002 | 1207656.7419 | 2617107.73 | 1207658.0558 | 2617113.3727 | 1207668.2109 | 2617118.3525 | 1207673.1107
28 | 2617038.8637 | 1207730.4352 | 2617045.3244 | 1207735.832
29 | 2616955.9446 | 1207715.6865 | 2616966.4141 | 1207717.3866 | 2616978.7019 | 1207719.6289
30 | 2616955.9446 | 1207715.6865 | 2616934.3046 | 1207712.1725
31 | 2616955.9446 | 1207715.6865 | 2616960.3678 | 1207648.3424
32 | 2616991.5037 | 1207649.4085 | 2616973.1628 | 1207648.5788 | 2616971.6295 | 1207648.5505
33 | 2616960.3678 | 1207648.3424 | 2616971.6295 | 1207648.5505
34 | 2617052.8145 | 1207575.8543 | 2617045.3941 | 1207571.5985
35 | 2617067.2351 | 1207586.0208 | 2617063.7811 | 1207582.144 | 2617052.8145 | 1207575.8543
36 | 2617067.2351 | 1207586.0208 | 2617073.8996 | 1207593.5013
37 | 2617078.5369 | 1207598.7063 | 2617073.8996 | 1207593.5013
38 | 2617078.5369 | 1207598.7063 | 2617084.2698 | 1207609.4752
39 | 2617103.8396 | 1207819.5665 | 2617110.097 | 1207788.1527
40 | 2617103.8355 | 1207819.5868 | 2617103.8396 | 1207819.5665
41 | 2617113.7436 | 1207769.8459 | 2617110.097 | 1207788.1527
42 | 2617103.7736 | 1207819.8975 | 2617103.8355 | 1207819.5868
43 | 2617113.7436 | 1207769.8459 | 2617110.3915 | 1207769.8364
44 | 2617113.7436 | 1207769.8459 | 2617135.9394 | 1207766.0073 | 2617140.6173 | 1207765.3994
45 | 2617098.9514 | 1207844.106 | 2617103.7736 | 1207819.8975
46 | 2617091.6359 | 1207769.7828 | 2617110.3915 | 1207769.8364
47 | 2617140.6173 | 1207765.3994 | 2617165.3198 | 1207762.1893 | 2617171.5166 | 1207760.2938
48 | 2617098.9208 | 1207844.2597 | 2617098.9514 | 1207844.106
49 | 2617091.6359 | 1207769.7828 | 2617090.8819 | 1207769.7806
50 | 2617098.8043 | 1207844.8448 | 2617098.9208 | 1207844.2597
51 | 2617045.3244 | 1207735.832 | 2617045.3244 | 1207735.832 | 2617047.8933 | 1207749.4913 | 2617049.364 | 1207752.5803
52 | 2617049.8927 | 1207753.6907 | 2617049.364 | 1207752.5803
53 | 2617059.9995 | 1207767.2467 | 2617055.0276 | 1207764.4755 | 2617049.8927 | 1207753.6907
54 | 2617118.3525 | 1207673.1107 | 2617119.6957 | 1207674.4324 | 2617134.8057 | 1207689.2838 | 2617136.614 | 1207690.752
55 | 2617059.9995 | 1207767.2467 | 2617050.4457 | 1207768.2075
56 | 2617059.9995 | 1207767.2467 | 2617066.7552 | 1207771.0125 | 2617066.7552 | 1207771.0125
57 | 2617111.7719 | 1207631.1653 | 2617113.9147 | 1207630.1914 | 2617126.6314 | 1207620.2946
58 | 2617028.5439 | 1207770.4101 | 2617050.4457 | 1207768.2075
59 | 2617080.9897 | 1207769.7524 | 2617077.8513 | 1207769.7434 | 2617066.7552 | 1207771.0125
60 | 2617087.7502 | 1207616.0128 | 2617084.2698 | 1207609.4752
61 | 2617028.5439 | 1207770.4101 | 2617013.0805 | 1207771.9653
62 | 2617082.1486 | 1207769.7557 | 2617080.9897 | 1207769.7524
63 | 2616921.2458 | 1207752.8359 | 2616953.0961 | 1207757.6376
64 | 2616953.0961 | 1207757.6376 | 2616954.1504 | 1207757.7965 | 2616992.0341 | 1207768.8135
65 | 2617013.0805 | 1207771.9653 | 2617005.495 | 1207772.7281 | 2616992.0341 | 1207768.8135
66 | 2617082.1486 | 1207769.7557 | 2617090.8819 | 1207769.7806

## bus_geodata
| x | y | coords
0 | 2616901.5913 | 1208448.32
1 | 2616903.2103 | 1208445.5836
2 | 2616888.2223 | 1208466.7021
3 | 2616906.4775 | 1208440.0619
4 | 2616875.8158 | 1208476.2844
5 | 2617095.8718 | 1207859.5668
6 | 2616923.5513 | 1208399.7721
7 | 2617096.7841 | 1207854.9864
8 | 2616918.4285 | 1208413.2805
9 | 2616847.396 | 1208485.2477
10 | 2617050.3373 | 1207651.3899
11 | 2617033.7405 | 1207651.0124
12 | 2617055.8513 | 1207651.5153
13 | 2617029.3549 | 1207650.9126
14 | 2617076.2096 | 1207650.2104
15 | 2617029.9518 | 1207726.9234
16 | 2617036.9543 | 1207729.1304
17 | 2617025.0631 | 1207725.8261
18 | 2617014.1149 | 1207650.4314
19 | 2617001.8062 | 1207723.6034
20 | 2617098.7439 | 1207641.8767
21 | 2617003.1764 | 1207649.9366
22 | 2617096.6565 | 1207638.0353
23 | 2617107.0002 | 1207656.7419
24 | 2617038.8637 | 1207730.4352
25 | 2616978.7019 | 1207719.6289
26 | 2616955.9446 | 1207715.6865
27 | 2616991.5037 | 1207649.4085
28 | 2616934.3046 | 1207712.1725
29 | 2616960.3678 | 1207648.3424
30 | 2616971.6295 | 1207648.5505
31 | 2617052.8145 | 1207575.8543
32 | 2617045.3941 | 1207571.5985
33 | 2617067.2351 | 1207586.0208
34 | 2617073.8996 | 1207593.5013
35 | 2617078.5369 | 1207598.7063
36 | 2617103.8396 | 1207819.5665
37 | 2617110.097 | 1207788.1527
38 | 2617103.8355 | 1207819.5868
39 | 2617113.7436 | 1207769.8459
40 | 2617103.7736 | 1207819.8975
41 | 2617110.3915 | 1207769.8364
42 | 2617140.6173 | 1207765.3994
43 | 2617098.9514 | 1207844.106
44 | 2617091.6359 | 1207769.7828
45 | 2617171.5166 | 1207760.2938
46 | 2617098.9208 | 1207844.2597
47 | 2617045.3244 | 1207735.832
48 | 2617049.3641 | 1207752.5803
49 | 2617049.8927 | 1207753.6907
50 | 2617118.3525 | 1207673.1107
51 | 2617059.9995 | 1207767.2467
52 | 2617111.7719 | 1207631.1653
53 | 2617126.6314 | 1207620.2946
54 | 2617050.4457 | 1207768.2075
55 | 2617066.7552 | 1207771.0125
56 | 2617084.2698 | 1207609.4752
57 | 2617087.7502 | 1207616.0128
58 | 2617136.614 | 1207690.752
59 | 2617098.8043 | 1207844.8448
60 | 2617028.5439 | 1207770.4101
61 | 2617080.9897 | 1207769.7524
62 | 2616921.2458 | 1207752.8359
63 | 2616953.0961 | 1207757.6376
64 | 2616992.0341 | 1207768.8135
65 | 2617013.0805 | 1207771.9653
66 | 2617082.1486 | 1207769.7557
67 | 2617090.8819 | 1207769.7806
68 | 2617059.9995 | 1207767.2467

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1