## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_956-2_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_956-2_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_956-2_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_956-2_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_956-2_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_956-2_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_956-2_0_4_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_956-2_0_4_node_18 | 0.4 | n |  | TRUE
8 | bus_LV_956-2_0_4_node_15 | 0.4 | n |  | TRUE
9 | bus_LV_956-2_0_4_node_76 | 0.4 | n |  | TRUE
10 | bus_LV_956-2_0_4_node_20 | 0.4 | n |  | TRUE
11 | bus_LV_956-2_0_4_node_16 | 0.4 | n |  | TRUE
12 | bus_LV_956-2_0_4_node_75 | 0.4 | n |  | TRUE
13 | bus_LV_956-2_0_4_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_956-2_0_4_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_956-2_0_4_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_956-2_0_4_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_956-2_0_4_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_956-2_0_4_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_956-2_0_4_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_956-2_0_4_node_14 | 0.4 | n |  | TRUE
21 | bus_LV_956-2_0_4_node_22 | 0.4 | n |  | TRUE
22 | bus_LV_956-2_0_4_node_26 | 0.4 | n |  | TRUE
23 | bus_LV_956-2_0_4_node_21 | 0.4 | n |  | TRUE
24 | bus_LV_956-2_0_4_node_27 | 0.4 | n |  | TRUE
25 | bus_LV_956-2_0_4_node_17 | 0.4 | n |  | TRUE
26 | bus_LV_956-2_0_4_node_19 | 0.4 | n |  | TRUE
27 | bus_LV_956-2_0_4_node_77 | 0.4 | n |  | TRUE
28 | bus_LV_956-2_0_4_node_52 | 0.4 | n |  | TRUE
29 | bus_LV_956-2_0_4_node_78 | 0.4 | n |  | TRUE
30 | bus_LV_956-2_0_4_node_50 | 0.4 | n |  | TRUE
31 | bus_LV_956-2_0_4_node_23 | 0.4 | n |  | TRUE
32 | bus_LV_956-2_0_4_node_24 | 0.4 | n |  | TRUE
33 | bus_LV_956-2_0_4_node_25 | 0.4 | n |  | TRUE
34 | bus_LV_956-2_0_4_node_30 | 0.4 | n |  | TRUE
35 | bus_LV_956-2_0_4_node_28 | 0.4 | n |  | TRUE
36 | bus_LV_956-2_0_4_node_31 | 0.4 | n |  | TRUE
37 | bus_LV_956-2_0_4_node_32 | 0.4 | n |  | TRUE
38 | bus_LV_956-2_0_4_node_33 | 0.4 | n |  | TRUE
39 | bus_LV_956-2_0_4_node_34 | 0.4 | n |  | TRUE
40 | bus_LV_956-2_0_4_node_37 | 0.4 | n |  | TRUE
41 | bus_LV_956-2_0_4_node_35 | 0.4 | n |  | TRUE
42 | bus_LV_956-2_0_4_node_70 | 0.4 | n |  | TRUE
43 | bus_LV_956-2_0_4_node_67 | 0.4 | n |  | TRUE
44 | bus_LV_956-2_0_4_node_36 | 0.4 | n |  | TRUE
45 | bus_LV_956-2_0_4_node_38 | 0.4 | n |  | TRUE
46 | bus_LV_956-2_0_4_node_89 | 0.4 | n |  | TRUE
47 | bus_LV_956-2_0_4_node_90 | 0.4 | n |  | TRUE
48 | bus_LV_956-2_0_4_node_88 | 0.4 | n |  | TRUE
49 | bus_LV_956-2_0_4_node_39 | 0.4 | n |  | TRUE
50 | bus_LV_956-2_0_4_node_94 | 0.4 | n |  | TRUE
51 | bus_LV_956-2_0_4_node_72 | 0.4 | n |  | TRUE
52 | bus_LV_956-2_0_4_node_87 | 0.4 | n |  | TRUE
53 | bus_LV_956-2_0_4_node_40 | 0.4 | n |  | TRUE
54 | bus_LV_956-2_0_4_node_41 | 0.4 | n |  | TRUE
55 | bus_LV_956-2_0_4_node_42 | 0.4 | n |  | TRUE
56 | bus_LV_956-2_0_4_node_43 | 0.4 | n |  | TRUE
57 | bus_LV_956-2_0_4_node_44 | 0.4 | n |  | TRUE
58 | bus_LV_956-2_0_4_node_45 | 0.4 | n |  | TRUE
59 | bus_LV_956-2_0_4_node_46 | 0.4 | n |  | TRUE
60 | bus_LV_956-2_0_4_node_47 | 0.4 | n |  | TRUE
61 | bus_LV_956-2_0_4_node_82 | 0.4 | n |  | TRUE
62 | bus_LV_956-2_0_4_node_65 | 0.4 | n |  | TRUE
63 | bus_LV_956-2_0_4_node_83 | 0.4 | n |  | TRUE
64 | bus_LV_956-2_0_4_node_84 | 0.4 | n |  | TRUE
65 | bus_LV_956-2_0_4_node_85 | 0.4 | n |  | TRUE
66 | bus_LV_956-2_0_4_node_63 | 0.4 | n |  | TRUE
67 | bus_LV_956-2_0_4_node_48 | 0.4 | n |  | TRUE
68 | bus_LV_956-2_0_4_node_49 | 0.4 | n |  | TRUE
69 | bus_LV_956-2_0_4_node_51 | 0.4 | n |  | TRUE
70 | bus_LV_956-2_0_4_node_53 | 0.4 | n |  | TRUE
71 | bus_LV_956-2_0_4_node_91 | 0.4 | n |  | TRUE
72 | bus_LV_956-2_0_4_node_92 | 0.4 | n |  | TRUE
73 | bus_LV_956-2_0_4_node_56 | 0.4 | n |  | TRUE
74 | bus_LV_956-2_0_4_node_57 | 0.4 | n |  | TRUE
75 | bus_LV_956-2_0_4_node_58 | 0.4 | n |  | TRUE
76 | bus_LV_956-2_0_4_node_59 | 0.4 | n |  | TRUE
77 | bus_LV_956-2_0_4_node_60 | 0.4 | n |  | TRUE
78 | bus_LV_956-2_0_4_node_61 | 0.4 | n |  | TRUE
79 | bus_LV_956-2_0_4_node_62 | 0.4 | n |  | TRUE
80 | bus_LV_956-2_0_4_node_80 | 0.4 | n |  | TRUE
81 | bus_LV_956-2_0_4_node_68 | 0.4 | n |  | TRUE
82 | bus_LV_956-2_0_4_node_81 | 0.4 | n |  | TRUE
83 | bus_LV_956-2_0_4_node_79 | 0.4 | n |  | TRUE
84 | bus_LV_956-2_0_4_node_69 | 0.4 | n |  | TRUE
85 | bus_LV_956-2_0_4_node_64 | 0.4 | n |  | TRUE
86 | bus_LV_956-2_0_4_node_66 | 0.4 | n |  | TRUE
87 | bus_LV_956-2_0_4_node_71 | 0.4 | n |  | TRUE
88 | bus_LV_956-2_0_4_node_73 | 0.4 | n |  | TRUE
89 | bus_LV_956-2_0_4_node_74 | 0.4 | n |  | TRUE
90 | bus_LV_956-2_0_4_node_86 | 0.4 | n |  | TRUE
91 | bus_LV_956-2_0_4_node_93 | 0.4 | n |  | TRUE
92 | bus_MV_181_0_node_172 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_956-2_0_4_load_0 | 0 | 0.003114 | 0.00078044 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_956-2_0_4_load_1 | 1 | 0.0021624 | 0.00054194 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_956-2_0_4_load_2 | 2 | 0.0032252 | 0.00080832 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_956-2_0_4_load_3 | 3 | 0.0018686 | 0.00046832 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_956-2_0_4_load_4 | 4 | 0.00122 | 0.00030576 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_956-2_0_4_load_6 | 6 | 0.029804 | 0.0074696 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_956-2_0_4_load_18 | 7 | 0.0016855 | 0.00042243 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_956-2_0_4_load_15 | 8 | 0.0042632 | 0.0010685 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_956-2_0_4_load_76 | 9 | 0.00030599 | 7.6688e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_956-2_0_4_load_20 | 10 | 0.0025266 | 0.00063321 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_956-2_0_4_load_16 | 11 | 0.002684 | 0.00067267 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_956-2_0_4_load_7 | 13 | 0.0043697 | 0.0010952 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_956-2_0_4_load_8 | 14 | 0.0013732 | 0.00034416 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_956-2_0_4_load_9 | 15 | 0.001041 | 0.00026089 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_956-2_0_4_load_10 | 16 | 0.004337 | 0.001087 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_956-2_0_4_load_12 | 18 | 0.014016 | 0.0035128 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_956-2_0_4_load_13 | 19 | 0.00068038 | 0.00017052 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_956-2_0_4_load_14 | 20 | 0.0024651 | 0.00061781 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_956-2_0_4_load_22 | 21 | 0.0097943 | 0.0024547 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_956-2_0_4_load_26 | 22 | 0.0082221 | 0.0020606 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_956-2_0_4_load_21 | 23 | 0.0086365 | 0.0021645 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_956-2_0_4_load_17 | 25 | 0.0024578 | 0.00061598 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_956-2_0_4_load_19 | 26 | 0.0024913 | 0.00062438 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_956-2_0_4_load_77 | 27 | 0.0025829 | 0.00064733 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_956-2_0_4_load_52 | 28 | 0.0025191 | 0.00063133 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_956-2_0_4_load_78 | 29 | 0.0060562 | 0.0015178 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_956-2_0_4_load_50 | 30 | 0.0028238 | 0.00070771 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_956-2_0_4_load_23 | 31 | 0.0080945 | 0.0020287 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_956-2_0_4_load_24 | 32 | 0.0017733 | 0.00044442 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_956-2_0_4_load_25 | 33 | 0.015799 | 0.0039596 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_956-2_0_4_load_30 | 34 | 0.0018347 | 0.00045981 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_956-2_0_4_load_31 | 36 | 0.0017305 | 0.00043371 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_956-2_0_4_load_32 | 37 | 0.0015173 | 0.00038028 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_956-2_0_4_load_34 | 39 | 0.0066271 | 0.0016609 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_956-2_0_4_load_37 | 40 | 0.0002075 | 5.2005e-05 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_956-2_0_4_load_35 | 41 | 0.00030592 | 7.667e-05 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_956-2_0_4_load_70 | 42 | 0.0019963 | 0.00050032 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_956-2_0_4_load_36 | 44 | 0.00034311 | 8.5992e-05 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_956-2_0_4_load_90 | 47 | 0.00019962 | 5.0031e-05 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_956-2_0_4_load_88 | 48 | 0.00029415 | 7.3721e-05 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_956-2_0_4_load_94 | 50 | 0.00039373 | 9.8679e-05 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_956-2_0_4_load_72 | 51 | 0.0028454 | 0.00071313 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_956-2_0_4_load_87 | 52 | 0.00012078 | 3.027e-05 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_956-2_0_4_load_40 | 53 | 0.00079586 | 0.00019946 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_956-2_0_4_load_43 | 56 | 0.0021416 | 0.00053674 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_956-2_0_4_load_44 | 57 | 0.0033201 | 0.00083209 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_956-2_0_4_load_45 | 58 | 0.0018627 | 0.00046684 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_956-2_0_4_load_46 | 59 | 0.00076269 | 0.00019115 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_956-2_0_4_load_82 | 61 | 0.00011242 | 2.8176e-05 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_956-2_0_4_load_65 | 62 | 0.0038641 | 0.00096843 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_956-2_0_4_load_83 | 63 | 0.00044177 | 0.00011072 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_956-2_0_4_load_84 | 64 | 0.004788 | 0.0012 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_956-2_0_4_load_85 | 65 | 0.00036274 | 9.0912e-05 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_956-2_0_4_load_63 | 66 | 0.001767 | 0.00044286 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_956-2_0_4_load_48 | 67 | 0.0061211 | 0.0015341 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_956-2_0_4_load_49 | 68 | 0.0025115 | 0.00062945 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_956-2_0_4_load_51 | 69 | 0.002355 | 0.00059021 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_956-2_0_4_load_53 | 70 | 0.00018353 | 4.5997e-05 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_956-2_0_4_load_91 | 71 | 0.0027795 | 0.00069661 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_956-2_0_4_load_92 | 72 | 0.00023839 | 5.9747e-05 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_956-2_0_4_load_56 | 73 | 0.0003424 | 8.5814e-05 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_956-2_0_4_load_59 | 76 | 0.0014184 | 0.00035547 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_956-2_0_4_load_61 | 78 | 0.00040309 | 0.00010102 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_956-2_0_4_load_62 | 79 | 0.00029156 | 7.3072e-05 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_956-2_0_4_load_80 | 80 | 0.00026854 | 6.7303e-05 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_956-2_0_4_load_68 | 81 | 0.0013581 | 0.00034037 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_956-2_0_4_load_81 | 82 | 0.00018778 | 4.7063e-05 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_956-2_0_4_load_79 | 83 | 0.00038464 | 9.64e-05 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_956-2_0_4_load_69 | 84 | 0.00078065 | 0.00019565 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_956-2_0_4_load_64 | 85 | 0.0010247 | 0.00025682 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_956-2_0_4_load_66 | 86 | 0.0010677 | 0.0002676 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_956-2_0_4_load_71 | 87 | 0.00055498 | 0.00013909 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_956-2_0_4_load_73 | 88 | 0.00055426 | 0.00013891 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_956-2_0_4_load_74 | 89 | 0.0001774 | 4.4459e-05 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_956-2_0_4_load_93 | 91 | 0.0012733 | 0.00031911 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 68 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_956-2_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.014929 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_956-2_0_4_line_1 | NAYY 4x150 SE | 0 | 2 | 0.015093 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_956-2_0_4_line_2 | NAYY 4x150 SE | 1 | 3 | 0.010148 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_956-2_0_4_line_3 | NAYY 4x150 SE | 2 | 4 | 0.015451 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_956-2_0_4_line_4 | NAYY 4x150 SE | 3 | 5 | 0.031546 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_956-2_0_4_line_5 | NAYY 4x150 SE | 4 | 6 | 0.013979 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_956-2_0_4_line_6 | NAYY 4x150 SE | 5 | 7 | 0.024233 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
7 | LV_956-2_0_4_line_7 | NAYY 4x150 SE | 5 | 8 | 0.002898 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
8 | LV_956-2_0_4_line_8 | NAYY 4x150 SE | 6 | 9 | 0.001885 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_956-2_0_4_line_9 | NAYY 4x150 SE | 7 | 10 | 0.027583 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
10 | LV_956-2_0_4_line_10 | NAYY 4x150 SE | 8 | 11 | 0.02043 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
11 | LV_956-2_0_4_line_11 | NAYY 4x150 SE | 9 | 12 | 0.060623 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_956-2_0_4_line_12 | NAYY 4x150 SE | 10 | 28 | 0.0014599 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
13 | LV_956-2_0_4_line_13 | NAYY 4x150 SE | 11 | 25 | 0.0035501 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
14 | LV_956-2_0_4_line_14 | NAYY 4x150 SE | 12 | 89 | 0.050233 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_956-2_0_4_line_15 | NAYY 4x150 SE | 13 | 14 | 0.018347 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_956-2_0_4_line_16 | NAYY 4x150 SE | 13 | 15 | 0.0083221 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_956-2_0_4_line_17 | NAYY 4x150 SE | 14 | 16 | 0.0076991 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_956-2_0_4_line_18 | NAYY 4x150 SE | 15 | 17 | 0.033974 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
19 | LV_956-2_0_4_line_19 | NAYY 4x150 SE | 16 | 18 | 0.013483 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_956-2_0_4_line_20 | NAYY 4x150 SE | 17 | 19 | 0.065867 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_956-2_0_4_line_21 | NAYY 4x150 SE | 17 | 20 | 0.055509 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
22 | LV_956-2_0_4_line_22 | NAYY 4x150 SE | 18 | 21 | 0.0090026 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_956-2_0_4_line_23 | NAYY 4x150 SE | 20 | 22 | 0.02079 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
24 | LV_956-2_0_4_line_24 | NAYY 4x150 SE | 21 | 23 | 0.014441 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_956-2_0_4_line_25 | NAYY 4x150 SE | 22 | 24 | 0.053342 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
26 | LV_956-2_0_4_line_26 | NAYY 4x150 SE | 23 | 31 | 0.00014975 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_956-2_0_4_line_27 | NAYY 4x150 SE | 24 | 35 | 0.043368 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
28 | LV_956-2_0_4_line_28 | NAYY 4x150 SE | 25 | 26 | 0.0074917 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
29 | LV_956-2_0_4_line_29 | NAYY 4x150 SE | 26 | 27 | 0.0023478 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
30 | LV_956-2_0_4_line_30 | NAYY 4x150 SE | 27 | 29 | 0.017443 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
31 | LV_956-2_0_4_line_31 | NAYY 4x150 SE | 28 | 30 | 0.01414 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
32 | LV_956-2_0_4_line_32 | NAYY 4x150 SE | 29 | 35 | 0.092137 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
33 | LV_956-2_0_4_line_33 | NAYY 4x150 SE | 30 | 67 | 0.0085519 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
34 | LV_956-2_0_4_line_34 | NAYY 4x150 SE | 31 | 32 | 0.010174 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_956-2_0_4_line_35 | NAYY 4x150 SE | 32 | 33 | 0.018436 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_956-2_0_4_line_36 | NAYY 4x150 SE | 33 | 34 | 0.0026864 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_956-2_0_4_line_37 | NAYY 4x150 SE | 36 | 37 | 0.010677 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_956-2_0_4_line_38 | NAYY 4x150 SE | 36 | 38 | 0.018203 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_956-2_0_4_line_39 | NAYY 4x150 SE | 37 | 39 | 0.019848 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_956-2_0_4_line_40 | NAYY 4x150 SE | 38 | 40 | 0.27059 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_956-2_0_4_line_41 | NAYY 4x150 SE | 40 | 41 | 0.030509 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_956-2_0_4_line_42 | NAYY 4x150 SE | 41 | 44 | 0.07313 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_956-2_0_4_line_43 | NAYY 4x150 SE | 42 | 43 | 0.029217 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_956-2_0_4_line_44 | NAYY 4x150 SE | 43 | 84 | 0.03273 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_956-2_0_4_line_45 | NAYY 4x150 SE | 43 | 86 | 0.016323 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_956-2_0_4_line_46 | NAYY 4x150 SE | 44 | 45 | 0.012805 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_956-2_0_4_line_47 | NAYY 4x150 SE | 45 | 49 | 0.015449 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_956-2_0_4_line_48 | NAYY 4x150 SE | 46 | 47 | 0.020059 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_956-2_0_4_line_49 | NAYY 4x150 SE | 46 | 48 | 0.143 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_956-2_0_4_line_50 | NAYY 4x150 SE | 47 | 90 | 0.0044917 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_956-2_0_4_line_51 | NAYY 4x150 SE | 48 | 52 | 0.0013466 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_956-2_0_4_line_52 | NAYY 4x150 SE | 49 | 52 | 0.022407 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_956-2_0_4_line_53 | NAYY 4x150 SE | 50 | 51 | 0.11335 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_956-2_0_4_line_54 | NAYY 4x150 SE | 51 | 87 | 0.03619 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_956-2_0_4_line_55 | NAYY 4x150 SE | 53 | 54 | 0.034046 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_956-2_0_4_line_56 | NAYY 4x150 SE | 53 | 55 | 0.043849 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_956-2_0_4_line_57 | NAYY 4x150 SE | 54 | 56 | 0.017187 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_956-2_0_4_line_58 | NAYY 4x150 SE | 54 | 57 | 0.033831 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_956-2_0_4_line_59 | NAYY 4x150 SE | 55 | 58 | 0.0017503 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_956-2_0_4_line_60 | NAYY 4x150 SE | 56 | 59 | 0.026173 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_956-2_0_4_line_61 | NAYY 4x150 SE | 57 | 60 | 0.024091 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_956-2_0_4_line_62 | NAYY 4x150 SE | 58 | 61 | 0.10259 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_956-2_0_4_line_63 | NAYY 4x150 SE | 60 | 62 | 0.013703 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_956-2_0_4_line_64 | NAYY 4x150 SE | 61 | 63 | 0.019533 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_956-2_0_4_line_65 | NAYY 4x150 SE | 61 | 64 | 0.050671 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_956-2_0_4_line_66 | NAYY 4x150 SE | 62 | 66 | 0.045827 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_956-2_0_4_line_67 | NAYY 4x150 SE | 63 | 65 | 0.028362 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_956-2_0_4_line_68 | NAYY 4x150 SE | 64 | 69 | 0.098065 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_956-2_0_4_line_69 | NAYY 4x150 SE | 65 | 90 | 0.025914 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_956-2_0_4_line_70 | NAYY 4x150 SE | 66 | 85 | 0.0087443 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_956-2_0_4_line_71 | NAYY 4x150 SE | 67 | 68 | 0.016065 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
72 | LV_956-2_0_4_line_72 | NAYY 4x150 SE | 68 | 69 | 0.0037234 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_956-2_0_4_line_73 | NAYY 4x150 SE | 69 | 70 | 0.019297 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_956-2_0_4_line_74 | NAYY 4x150 SE | 70 | 71 | 0.00094343 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_956-2_0_4_line_75 | NAYY 4x150 SE | 71 | 72 | 0.018125 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_956-2_0_4_line_76 | NAYY 4x150 SE | 72 | 91 | 0.0072466 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_956-2_0_4_line_77 | NAYY 4x150 SE | 73 | 74 | 0.036961 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_956-2_0_4_line_78 | NAYY 4x150 SE | 73 | 75 | 0.029958 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_956-2_0_4_line_79 | NAYY 4x150 SE | 74 | 76 | 0.0050562 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_956-2_0_4_line_80 | NAYY 4x150 SE | 75 | 77 | 0.019938 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_956-2_0_4_line_81 | NAYY 4x150 SE | 76 | 78 | 0.005686 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_956-2_0_4_line_82 | NAYY 4x150 SE | 77 | 79 | 0.064894 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_956-2_0_4_line_83 | NAYY 4x150 SE | 77 | 80 | 0.2621 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_956-2_0_4_line_84 | NAYY 4x150 SE | 78 | 81 | 0.0043414 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_956-2_0_4_line_85 | NAYY 4x150 SE | 79 | 82 | 0.0062596 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_956-2_0_4_line_86 | NAYY 4x150 SE | 80 | 83 | 0.002184 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_956-2_0_4_line_87 | NAYY 4x150 SE | 81 | 84 | 0.051313 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_956-2_0_4_line_88 | NAYY 4x150 SE | 85 | 86 | 0.025691 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_956-2_0_4_line_89 | NAYY 4x150 SE | 87 | 88 | 0.0089166 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_956-2_0_4_line_90 | NAYY 4x150 SE | 88 | 89 | 0.014951 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_956-2_0_4_trafo_49 | 0.25 MVA 20/0.4 kV | 92 | 68 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2617253.8681 | 1207511.5727 | 2617241.6256 | 1207520.1168
1 | 2617253.8681 | 1207511.5727 | 2617266.2449 | 1207502.9349
2 | 2617233.3039 | 1207525.9245 | 2617241.6256 | 1207520.1168
3 | 2617266.2449 | 1207502.9349 | 2617278.9154 | 1207494.0921
4 | 2617207.4353 | 1207543.9783 | 2617233.3039 | 1207525.9245
5 | 2617278.9154 | 1207494.0921 | 2617282.7735 | 1207491.3995 | 2617287.3177 | 1207483.315
6 | 2617207.4353 | 1207543.9783 | 2617225.1628 | 1207560.5
7 | 2617207.4353 | 1207543.9783 | 2617205.3296 | 1207545.9694
8 | 2617288.2413 | 1207481.6718 | 2617287.3177 | 1207483.315
9 | 2617245.3411 | 1207579.3059 | 2617225.1628 | 1207560.5
10 | 2617205.3296 | 1207545.9694 | 2617190.4849 | 1207560.0063
11 | 2617322.5085 | 1207433.1932 | 2617317.3057 | 1207436.5911 | 2617308.3014 | 1207455.7424 | 2617297.4469 | 1207465.2941 | 2617288.2413 | 1207481.6718
12 | 2617245.3411 | 1207579.3059 | 2617246.409 | 1207580.3012
13 | 2617187.9053 | 1207562.4454 | 2617190.4849 | 1207560.0063
14 | 2617322.5085 | 1207433.1932 | 2617328.4008 | 1207433.2769 | 2617361.7538 | 1207452.3396 | 2617366.9238 | 1207455.2309
15 | 2617149.6498 | 1207481.071 | 2617167.6672 | 1207484.534
16 | 2617149.6498 | 1207481.071 | 2617141.4772 | 1207479.5003
17 | 2617167.6672 | 1207484.534 | 2617175.2279 | 1207485.9871 | 2617175.2279 | 1207485.9871
18 | 2617108.1141 | 1207473.0879 | 2617141.4772 | 1207479.5003
19 | 2617175.2279 | 1207485.9871 | 2617187.7268 | 1207480.9313 | 2617187.7268 | 1207480.9313
20 | 2617108.1141 | 1207473.0879 | 2617118.0103 | 1207426.3014 | 2617123.3798 | 1207409.0735
21 | 2617108.1141 | 1207473.0879 | 2617102.8128 | 1207497.7308 | 2617097.7254 | 1207521.9853 | 2617096.7901 | 1207527.4254
22 | 2617191.9081 | 1207472.9586 | 2617187.7268 | 1207480.9313
23 | 2617093.2675 | 1207547.9148 | 2617096.7901 | 1207527.4254
24 | 2617196.092 | 1207459.3333 | 2617194.806 | 1207467.433 | 2617191.9081 | 1207472.9586
25 | 2617078.5369 | 1207598.7063 | 2617084.7262 | 1207587.8735 | 2617088.9401 | 1207568.586 | 2617092.468 | 1207552.565 | 2617093.2675 | 1207547.9148
26 | 2617196.1155 | 1207459.1854 | 2617196.092 | 1207459.3333
27 | 2617078.5369 | 1207598.7063 | 2617089.3663 | 1207619.0484 | 2617096.6565 | 1207638.0353
28 | 2617182.4619 | 1207567.5927 | 2617187.9053 | 1207562.4454
29 | 2617180.756 | 1207569.2058 | 2617182.4619 | 1207567.5927
30 | 2617180.756 | 1207569.2058 | 2617168.0821 | 1207581.1899
31 | 2617246.409 | 1207580.3012 | 2617249.231 | 1207582.9312 | 2617259.2648 | 1207585.1805
32 | 2617096.6565 | 1207638.0353 | 2617113.9147 | 1207630.1914 | 2617137.1707 | 1207612.0923 | 2617164.1479 | 1207584.9101 | 2617168.0821 | 1207581.1899
33 | 2617267.3054 | 1207582.7274 | 2617260.233 | 1207585.3976 | 2617259.2648 | 1207585.1805
34 | 2617196.1155 | 1207459.1854 | 2617197.7108 | 1207449.1371
35 | 2617200.6017 | 1207430.9293 | 2617197.7108 | 1207449.1371
36 | 2617200.6017 | 1207430.9293 | 2617201.0229 | 1207428.2762
37 | 2617928.0046 | 1207903.4367 | 2617928.9977 | 1207908.2856 | 2617928.2047 | 1207913.9575
38 | 2617924.3521 | 1207885.6036 | 2617928.0046 | 1207903.4367
39 | 2617925.4562 | 1207933.614 | 2617928.2047 | 1207913.9575
40 | 2617721.2478 | 1207706.8032 | 2617924.3521 | 1207885.6036
41 | 2617721.2478 | 1207706.8032 | 2617708.9349 | 1207704.8292 | 2617698.798 | 1207703.0316 | 2617691.3558 | 1207700.8912
42 | 2617625.868 | 1207668.5778 | 2617638.0041 | 1207675.1923 | 2617670.388 | 1207692.1194 | 2617686.9249 | 1207699.6168 | 2617691.3558 | 1207700.8912
43 | 2617384.5282 | 1207951.3263 | 2617407.4007 | 1207969.5052
44 | 2617384.5282 | 1207951.3263 | 2617375.8296 | 1207982.8794
45 | 2617384.5282 | 1207951.3263 | 2617373.868 | 1207938.9644
46 | 2617614.6248 | 1207662.4498 | 2617625.868 | 1207668.5778
47 | 2617599.728 | 1207658.2037 | 2617614.6248 | 1207662.4498
48 | 2617457.5081 | 1207616.531 | 2617446.9697 | 1207616.8005 | 2617442.7112 | 1207619.7008 | 2617439.7494 | 1207622.9072
49 | 2617457.5081 | 1207616.531 | 2617588.1374 | 1207674.7077
50 | 2617438.6524 | 1207627.1153 | 2617439.096 | 1207623.6146 | 2617439.7494 | 1207622.9072
51 | 2617589.4412 | 1207674.3705 | 2617588.1374 | 1207674.7077
52 | 2617599.728 | 1207658.2037 | 2617597.2154 | 1207672.3597 | 2617589.4412 | 1207674.3705
53 | 2617418.6087 | 1207485.7724 | 2617530.4084 | 1207504.4549
54 | 2617387.7553 | 1207466.881 | 2617397.5825 | 1207472.3769 | 2617418.6087 | 1207485.7724
55 | 2617284.4204 | 1207816.2951 | 2617306.8972 | 1207790.7229
56 | 2617336.1581 | 1207758.068 | 2617313.681 | 1207782.8945 | 2617307.647 | 1207789.8698 | 2617306.8972 | 1207790.7229
57 | 2617284.4204 | 1207816.2951 | 2617272.3034 | 1207804.1069
58 | 2617284.4204 | 1207816.2951 | 2617303.9278 | 1207843.9352
59 | 2617336.1581 | 1207758.068 | 2617337.3124 | 1207756.7522
60 | 2617272.3034 | 1207804.1069 | 2617270.6539 | 1207802.4477 | 2617252.8885 | 1207786.5597
61 | 2617317.819 | 1207863.6178 | 2617303.9278 | 1207843.9352
62 | 2617337.3124 | 1207756.7522 | 2617373.3384 | 1207660.7006
63 | 2617317.819 | 1207863.6178 | 2617325.7199 | 1207874.8135
64 | 2617373.3384 | 1207660.7006 | 2617388.0889 | 1207654.6724 | 2617391.3641 | 1207653.1811
65 | 2617333.2326 | 1207657.7818 | 2617336.4736 | 1207664.9062 | 2617342.1569 | 1207671.4152 | 2617346.8524 | 1207672.4515 | 2617354.3898 | 1207671.4506 | 2617363.1706 | 1207666.3955 | 2617372.7737 | 1207660.9314 | 2617373.3384 | 1207660.7006
66 | 2617352.3116 | 1207912.1326 | 2617348.6048 | 1207907.2422 | 2617325.7199 | 1207874.8135
67 | 2617416.0163 | 1207639.2866 | 2617414.2308 | 1207640.5183 | 2617400.9472 | 1207648.8176 | 2617391.3641 | 1207653.1811
68 | 2617284.3789 | 1207572.7521 | 2617333.2326 | 1207657.7818
69 | 2617438.6524 | 1207627.1153 | 2617434.8712 | 1207627.9825 | 2617425.6734 | 1207632.625 | 2617416.0163 | 1207639.2866
70 | 2617352.3116 | 1207912.1326 | 2617357.5936 | 1207919.1013
71 | 2617267.3054 | 1207582.7274 | 2617268.2401 | 1207582.3745 | 2617281.1808 | 1207574.659
72 | 2617281.1808 | 1207574.659 | 2617284.3789 | 1207572.7521
73 | 2617300.9532 | 1207562.8701 | 2617284.3789 | 1207572.7521
74 | 2617300.9532 | 1207562.8701 | 2617301.7636 | 1207562.387
75 | 2617317.3317 | 1207553.1049 | 2617301.7636 | 1207562.387
76 | 2617323.556 | 1207549.3938 | 2617317.3317 | 1207553.1049
77 | 2617350.2011 | 1208043.7113 | 2617337.864 | 1208069.412 | 2617333.7759 | 1208076.8098
78 | 2617318.6099 | 1208102.6414 | 2617330.2827 | 1208083.131 | 2617333.7759 | 1208076.8098
79 | 2617350.2011 | 1208043.7113 | 2617352.6809 | 1208039.3049
80 | 2617307.273 | 1208119.0621 | 2617318.6099 | 1208102.6414
81 | 2617352.6809 | 1208039.3049 | 2617355.4695 | 1208034.3497
82 | 2617307.273 | 1208119.0621 | 2617299.3337 | 1208119.8952 | 2617294.774 | 1208119.3262 | 2617291.2513 | 1208117.6707 | 2617287.8705 | 1208114.2812 | 2617285.4756 | 1208109.0714 | 2617283.772 | 1208098.7719 | 2617280.7586 | 1208086.5898 | 2617278.2803 | 1208078.6894 | 2617275.165 | 1208072.8327
83 | 2617307.273 | 1208119.0621 | 2617215.1456 | 1208364.4372
84 | 2617357.5986 | 1208030.5663 | 2617355.4695 | 1208034.3497
85 | 2617270.8295 | 1208068.3177 | 2617275.165 | 1208072.8327 | 2617275.165 | 1208072.8327
86 | 2617213.5442 | 1208365.9223 | 2617215.1456 | 1208364.4372
87 | 2617357.5986 | 1208030.5663 | 2617364.8734 | 1208017.6394 | 2617366.91 | 1208012.6758 | 2617370.821 | 1208001.0474 | 2617375.8296 | 1207982.8794
88 | 2617357.5936 | 1207919.1013 | 2617363.7975 | 1207927.2862 | 2617373.868 | 1207938.9644
89 | 2617387.7553 | 1207466.881 | 2617379.973 | 1207462.5287
90 | 2617379.973 | 1207462.5287 | 2617366.9238 | 1207455.2309

## bus_geodata
| x | y | coords
0 | 2617253.8681 | 1207511.5727
1 | 2617241.6256 | 1207520.1168
2 | 2617266.2449 | 1207502.9349
3 | 2617233.3039 | 1207525.9245
4 | 2617278.9154 | 1207494.0921
5 | 2617207.4353 | 1207543.9783
6 | 2617287.3177 | 1207483.315
7 | 2617225.1628 | 1207560.5
8 | 2617205.3296 | 1207545.9694
9 | 2617288.2413 | 1207481.6718
10 | 2617245.3411 | 1207579.3059
11 | 2617190.4849 | 1207560.0063
12 | 2617322.5085 | 1207433.1932
13 | 2617149.6498 | 1207481.071
14 | 2617167.6672 | 1207484.534
15 | 2617141.4772 | 1207479.5003
16 | 2617175.2279 | 1207485.9871
17 | 2617108.1141 | 1207473.0879
18 | 2617187.7268 | 1207480.9313
19 | 2617123.3798 | 1207409.0735
20 | 2617096.7901 | 1207527.4254
21 | 2617191.9081 | 1207472.9586
22 | 2617093.2675 | 1207547.9148
23 | 2617196.092 | 1207459.3333
24 | 2617078.5369 | 1207598.7063
25 | 2617187.9053 | 1207562.4455
26 | 2617182.4619 | 1207567.5927
27 | 2617180.756 | 1207569.2058
28 | 2617246.409 | 1207580.3012
29 | 2617168.0821 | 1207581.1899
30 | 2617259.2648 | 1207585.1805
31 | 2617196.1155 | 1207459.1854
32 | 2617197.7108 | 1207449.1371
33 | 2617200.6017 | 1207430.9293
34 | 2617201.0229 | 1207428.2762
35 | 2617096.6565 | 1207638.0353
36 | 2617928.0046 | 1207903.4367
37 | 2617928.2047 | 1207913.9575
38 | 2617924.3521 | 1207885.6036
39 | 2617925.4562 | 1207933.614
40 | 2617721.2478 | 1207706.8032
41 | 2617691.3558 | 1207700.8912
42 | 2617407.4007 | 1207969.5052
43 | 2617384.5282 | 1207951.3263
44 | 2617625.868 | 1207668.5778
45 | 2617614.6248 | 1207662.4498
46 | 2617457.5081 | 1207616.531
47 | 2617439.7494 | 1207622.9072
48 | 2617588.1374 | 1207674.7077
49 | 2617599.728 | 1207658.2037
50 | 2617530.4084 | 1207504.4549
51 | 2617418.6087 | 1207485.7724
52 | 2617589.4412 | 1207674.3705
53 | 2617306.8972 | 1207790.7229
54 | 2617284.4204 | 1207816.2951
55 | 2617336.1581 | 1207758.068
56 | 2617272.3034 | 1207804.1069
57 | 2617303.9278 | 1207843.9352
58 | 2617337.3124 | 1207756.7522
59 | 2617252.8885 | 1207786.5597
60 | 2617317.819 | 1207863.6178
61 | 2617373.3384 | 1207660.7006
62 | 2617325.7199 | 1207874.8135
63 | 2617391.3641 | 1207653.1811
64 | 2617333.2326 | 1207657.7818
65 | 2617416.0163 | 1207639.2866
66 | 2617352.3116 | 1207912.1326
67 | 2617267.3054 | 1207582.7274
68 | 2617281.1808 | 1207574.659
69 | 2617284.3789 | 1207572.7521
70 | 2617300.9532 | 1207562.8701
71 | 2617301.7636 | 1207562.387
72 | 2617317.3318 | 1207553.1049
73 | 2617333.7759 | 1208076.8098
74 | 2617350.2011 | 1208043.7113
75 | 2617318.6099 | 1208102.6414
76 | 2617352.6809 | 1208039.3049
77 | 2617307.273 | 1208119.0621
78 | 2617355.4695 | 1208034.3497
79 | 2617275.165 | 1208072.8327
80 | 2617215.1456 | 1208364.4372
81 | 2617357.5986 | 1208030.5663
82 | 2617270.8295 | 1208068.3177
83 | 2617213.5442 | 1208365.9223
84 | 2617375.8296 | 1207982.8794
85 | 2617357.5936 | 1207919.1013
86 | 2617373.868 | 1207938.9644
87 | 2617387.7553 | 1207466.881
88 | 2617379.973 | 1207462.5287
89 | 2617366.9238 | 1207455.2309
90 | 2617438.6524 | 1207627.1153
91 | 2617323.556 | 1207549.3938
92 | 2617323.556 | 1207549.3938

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1