## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_956-5_2_3_node_136 | 0.4 | n |  | TRUE
1 | bus_LV_956-5_2_3_node_137 | 0.4 | n |  | TRUE
2 | bus_LV_956-5_2_3_node_138 | 0.4 | n |  | TRUE
3 | bus_LV_956-5_2_3_node_139 | 0.4 | n |  | TRUE
4 | bus_LV_956-5_2_3_node_69 | 0.4 | n |  | TRUE
5 | bus_LV_956-5_2_3_node_140 | 0.4 | n |  | TRUE
6 | bus_LV_956-5_2_3_node_150 | 0.4 | n |  | TRUE
7 | bus_LV_956-5_2_3_node_151 | 0.4 | n |  | TRUE
8 | bus_LV_956-5_2_3_node_226 | 0.4 | n |  | TRUE
9 | bus_LV_956-5_2_3_node_152 | 0.4 | n |  | TRUE
10 | bus_LV_956-5_2_3_node_153 | 0.4 | n |  | TRUE
11 | bus_LV_956-5_2_3_node_154 | 0.4 | n |  | TRUE
12 | bus_LV_956-5_2_3_node_155 | 0.4 | n |  | TRUE
13 | bus_LV_956-5_2_3_node_156 | 0.4 | n |  | TRUE
14 | bus_LV_956-5_2_3_node_157 | 0.4 | n |  | TRUE
15 | bus_LV_956-5_2_3_node_158 | 0.4 | n |  | TRUE
16 | bus_LV_956-5_2_3_node_190 | 0.4 | n |  | TRUE
17 | bus_LV_956-5_2_3_node_77 | 0.4 | n |  | TRUE
18 | bus_LV_956-5_2_3_node_169 | 0.4 | n |  | TRUE
19 | bus_LV_956-5_2_3_node_75 | 0.4 | n |  | TRUE
20 | bus_LV_956-5_2_3_node_214 | 0.4 | n |  | TRUE
21 | bus_LV_956-5_2_3_node_170 | 0.4 | n |  | TRUE
22 | bus_LV_956-5_2_3_node_215 | 0.4 | n |  | TRUE
23 | bus_LV_956-5_2_3_node_191 | 0.4 | n |  | TRUE
24 | bus_LV_956-5_2_3_node_62 | 0.4 | n |  | TRUE
25 | bus_LV_956-5_2_3_node_63 | 0.4 | n |  | TRUE
26 | bus_LV_956-5_2_3_node_64 | 0.4 | n |  | TRUE
27 | bus_LV_956-5_2_3_node_65 | 0.4 | n |  | TRUE
28 | bus_LV_956-5_2_3_node_66 | 0.4 | n |  | TRUE
29 | bus_LV_956-5_2_3_node_67 | 0.4 | n |  | TRUE
30 | bus_LV_956-5_2_3_node_68 | 0.4 | n |  | TRUE
31 | bus_LV_956-5_2_3_node_74 | 0.4 | n |  | TRUE
32 | bus_LV_956-5_2_3_node_123 | 0.4 | n |  | TRUE
33 | bus_LV_956-5_2_3_node_70 | 0.4 | n |  | TRUE
34 | bus_LV_956-5_2_3_node_71 | 0.4 | n |  | TRUE
35 | bus_LV_956-5_2_3_node_72 | 0.4 | n |  | TRUE
36 | bus_LV_956-5_2_3_node_73 | 0.4 | n |  | TRUE
37 | bus_LV_956-5_2_3_node_76 | 0.4 | n |  | TRUE
38 | bus_LV_956-5_2_3_node_216 | 0.4 | n |  | TRUE
39 | bus_LV_956-5_2_3_node_220 | 0.4 | n |  | TRUE
40 | bus_LV_956-5_2_3_node_221 | 0.4 | n |  | TRUE
41 | bus_LV_956-5_2_3_node_222 | 0.4 | n |  | TRUE
42 | bus_LV_956-5_2_3_node_223 | 0.4 | n |  | TRUE
43 | bus_LV_956-5_2_3_node_224 | 0.4 | n |  | TRUE
44 | bus_LV_956-5_2_3_node_225 | 0.4 | n |  | TRUE
45 | bus_LV_956-5_2_3_node_122 | 0.4 | n |  | TRUE
46 | bus_MV_0_node_74 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_956-5_2_3_load_136 | 0 | 0.00022649 | 5.6763e-05 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_956-5_2_3_load_137 | 1 | 0.00036186 | 9.0692e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_956-5_2_3_load_139 | 3 | 0.00038271 | 9.5916e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_956-5_2_3_load_140 | 5 | 0.0011032 | 0.00027648 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_956-5_2_3_load_150 | 6 | 0.002951 | 0.00073959 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_956-5_2_3_load_226 | 8 | 0.00039932 | 0.00010008 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_956-5_2_3_load_152 | 9 | 0.00041895 | 0.000105 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_956-5_2_3_load_153 | 10 | 0.00031703 | 7.9456e-05 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_956-5_2_3_load_155 | 12 | 0.0017253 | 0.00043241 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_956-5_2_3_load_156 | 13 | 0.0001618 | 4.055e-05 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_956-5_2_3_load_158 | 15 | 0.0014586 | 0.00036557 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_956-5_2_3_load_169 | 18 | 0.00044499 | 0.00011153 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_956-5_2_3_load_214 | 20 | 0.00022863 | 5.7299e-05 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_956-5_2_3_load_170 | 21 | 0.0013342 | 0.00033439 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_956-5_2_3_load_215 | 22 | 0.00017531 | 4.3936e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_956-5_2_3_load_191 | 23 | 0.00014834 | 3.7177e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_956-5_2_3_load_62 | 24 | 0.00034003 | 8.5219e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_956-5_2_3_load_65 | 27 | 0.00030925 | 7.7505e-05 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_956-5_2_3_load_66 | 28 | 0.00096131 | 0.00024093 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_956-5_2_3_load_67 | 29 | 0.00016069 | 4.0272e-05 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_956-5_2_3_load_68 | 30 | 0.0013617 | 0.00034127 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_956-5_2_3_load_123 | 32 | 0.00063145 | 0.00015826 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_956-5_2_3_load_70 | 33 | 0.0013882 | 0.00034792 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_956-5_2_3_load_71 | 34 | 0.0001615 | 4.0476e-05 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_956-5_2_3_load_73 | 36 | 0.00055215 | 0.00013838 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_956-5_2_3_load_76 | 37 | 0.0002274 | 5.6992e-05 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_956-5_2_3_load_216 | 38 | 0.0011175 | 0.00028008 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_956-5_2_3_load_220 | 39 | 0.0017424 | 0.00043668 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_956-5_2_3_load_221 | 40 | 0.00050956 | 0.00012771 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_956-5_2_3_load_222 | 41 | 0.00015676 | 3.9287e-05 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_956-5_2_3_load_224 | 43 | 0.00014351 | 3.5966e-05 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_956-5_2_3_load_225 | 44 | 0.00037756 | 9.4625e-05 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_956-5_2_3_load_122 | 45 | 0.00040012 | 0.00010028 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 31 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_956-5_2_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.063296 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_956-5_2_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.093401 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_956-5_2_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.01556 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_956-5_2_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.26388 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_956-5_2_3_line_4 | NAYY 4x150 SE | 3 | 5 | 0.027134 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_956-5_2_3_line_5 | NAYY 4x150 SE | 4 | 28 | 0.010066 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_956-5_2_3_line_6 | NAYY 4x150 SE | 5 | 6 | 0.0038542 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_956-5_2_3_line_7 | NAYY 4x150 SE | 6 | 7 | 0.032646 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_956-5_2_3_line_8 | NAYY 4x150 SE | 7 | 8 | 0.02534 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_956-5_2_3_line_9 | NAYY 4x150 SE | 8 | 44 | 0.025879 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_956-5_2_3_line_10 | NAYY 4x150 SE | 9 | 10 | 0.017947 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_956-5_2_3_line_11 | NAYY 4x150 SE | 9 | 11 | 0.28977 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_956-5_2_3_line_12 | NAYY 4x150 SE | 10 | 12 | 0.0041853 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_956-5_2_3_line_13 | NAYY 4x150 SE | 11 | 13 | 0.31778 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_956-5_2_3_line_14 | NAYY 4x150 SE | 12 | 14 | 0.30285 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_956-5_2_3_line_15 | NAYY 4x150 SE | 13 | 15 | 0.017211 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_956-5_2_3_line_16 | NAYY 4x150 SE | 14 | 16 | 0.13545 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_956-5_2_3_line_17 | NAYY 4x150 SE | 15 | 17 | 0.18671 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_956-5_2_3_line_18 | NAYY 4x150 SE | 16 | 23 | 0.10694 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_956-5_2_3_line_19 | NAYY 4x150 SE | 17 | 39 | 0.017332 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_956-5_2_3_line_20 | NAYY 4x150 SE | 18 | 19 | 0.0038156 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_956-5_2_3_line_21 | NAYY 4x150 SE | 18 | 20 | 0.020741 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_956-5_2_3_line_22 | NAYY 4x150 SE | 19 | 21 | 0.016395 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_956-5_2_3_line_23 | NAYY 4x150 SE | 19 | 36 | 0.033011 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_956-5_2_3_line_24 | NAYY 4x150 SE | 20 | 39 | 0.033306 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_956-5_2_3_line_25 | NAYY 4x150 SE | 21 | 22 | 0.020643 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_956-5_2_3_line_26 | NAYY 4x150 SE | 24 | 25 | 0.015298 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_956-5_2_3_line_27 | NAYY 4x150 SE | 24 | 26 | 0.018683 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_956-5_2_3_line_28 | NAYY 4x150 SE | 25 | 27 | 0.34813 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_956-5_2_3_line_29 | NAYY 4x150 SE | 26 | 28 | 0.020947 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_956-5_2_3_line_30 | NAYY 4x150 SE | 26 | 29 | 0.05348 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_956-5_2_3_line_31 | NAYY 4x150 SE | 27 | 30 | 0.025384 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_956-5_2_3_line_32 | NAYY 4x150 SE | 29 | 31 | 0.33902 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_956-5_2_3_line_33 | NAYY 4x150 SE | 30 | 32 | 0.032321 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_956-5_2_3_line_34 | NAYY 4x150 SE | 31 | 37 | 0.22401 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_956-5_2_3_line_35 | NAYY 4x150 SE | 31 | 35 | 0.20137 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_956-5_2_3_line_36 | NAYY 4x150 SE | 32 | 45 | 0.0041806 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_956-5_2_3_line_37 | NAYY 4x150 SE | 33 | 34 | 0.025715 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_956-5_2_3_line_38 | NAYY 4x150 SE | 33 | 35 | 0.0046866 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_956-5_2_3_line_39 | NAYY 4x150 SE | 34 | 36 | 0.024719 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_956-5_2_3_line_40 | NAYY 4x150 SE | 37 | 38 | 0.030472 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_956-5_2_3_line_41 | NAYY 4x150 SE | 40 | 41 | 0.041294 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_956-5_2_3_line_42 | NAYY 4x150 SE | 40 | 42 | 0.02361 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_956-5_2_3_line_43 | NAYY 4x150 SE | 41 | 43 | 0.0035927 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_956-5_2_3_line_44 | NAYY 4x150 SE | 42 | 44 | 0.007106 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_956-5_2_3_trafo_74 | 0.25 MVA 20/0.4 kV | 46 | 31 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28 | x29 | y29 | x30 | y30
0 | 2620185.8316 | 1208976.6631 | 2620166.3608 | 1208957.5211 | 2620144.5148 | 1208937.2251 | 2620139.9137 | 1208933.1107
1 | 2620209.8379 | 1209063.8715 | 2620209.3575 | 1209055.3207 | 2620209.1057 | 1209037.6322 | 2620208.9926 | 1209028.3377 | 2620207.546 | 1209020.0504 | 2620205.3527 | 1209010.0263 | 2620202.7284 | 1209001.5794 | 2620198.8793 | 1208993.4397 | 2620193.8133 | 1208985.4959 | 2620186.5815 | 1208977.4004 | 2620185.8316 | 1208976.6631
2 | 2620139.9137 | 1208933.1107 | 2620130.1763 | 1208924.4031 | 2620128.2485 | 1208922.8161
3 | 2620009.7708 | 1209235.9395 | 2620209.8379 | 1209063.8715
4 | 2620106.4433 | 1208906.8357 | 2620113.6057 | 1208910.762 | 2620128.2485 | 1208922.8161
5 | 2620009.7708 | 1209235.9395 | 2619999.8112 | 1209237.3989
6 | 2620106.4433 | 1208906.8357 | 2620106.4433 | 1208906.8357 | 2620102.8188 | 1208905.525
7 | 2620080.6745 | 1208886.549 | 2620082.3827 | 1208893.97 | 2620084.33 | 1208898.0899 | 2620087.0567 | 1208901.0007 | 2620091.8918 | 1208903.0736 | 2620100.3924 | 1208904.6475 | 2620102.8188 | 1208905.525
8 | 2620080.6745 | 1208886.549 | 2620086.7822 | 1208885.4022 | 2620094.1332 | 1208882.9922 | 2620098.6385 | 1208876.9039 | 2620100.3592 | 1208873.4979
9 | 2620104.4065 | 1208848.2291 | 2620103.6184 | 1208851.7177 | 2620103.7081 | 1208861.2122 | 2620101.6382 | 1208870.9663 | 2620100.3592 | 1208873.4979
10 | 2620468.5635 | 1210229.9904 | 2620470.5366 | 1210222.0156 | 2620472.8489 | 1210212.5627 | 2620472.8489 | 1210212.5627
11 | 2620662.7273 | 1210020.9749 | 2620657.3937 | 1210031.5291 | 2620650.8534 | 1210037.1875 | 2620636.9704 | 1210043.243 | 2620618.1889 | 1210050.4934 | 2620602.6823 | 1210055.7206 | 2620581.8669 | 1210062.1526 | 2620568.3972 | 1210067.387 | 2620554.5073 | 1210075.466 | 2620540.6118 | 1210085.1793 | 2620526.7053 | 1210098.1388 | 2620512.7793 | 1210116.7792 | 2620509.9494 | 1210126.4527 | 2620509.5246 | 1210139.503 | 2620508.7348 | 1210148.194 | 2620506.4232 | 1210157.458 | 2620502.4124 | 1210165.76 | 2620495.9208 | 1210177.2775 | 2620477.8153 | 1210202.563 | 2620472.8489 | 1210212.5627
12 | 2620468.5635 | 1210229.9904 | 2620467.5583 | 1210234.0532
13 | 2620662.7273 | 1210020.9749 | 2620628.5063 | 1210013.9529 | 2620622.676 | 1210012.1096 | 2620614.9443 | 1210010.6377 | 2620603.517 | 1210009.7756 | 2620588.7756 | 1210009.0689 | 2620575.2309 | 1210007.3436 | 2620559.9004 | 1210003.3331 | 2620536.6868 | 1209993.281 | 2620519.2004 | 1209984.1048 | 2620512.8194 | 1209978.8133 | 2620506.2831 | 1209970.0304 | 2620498.2031 | 1209952.6597 | 2620494.8184 | 1209944.588 | 2620490.103 | 1209936.7008 | 2620484.0162 | 1209929.8206 | 2620475.9948 | 1209924.1232 | 2620467.5866 | 1209920.448 | 2620459.6727 | 1209918.8756 | 2620432.7907 | 1209919.0838 | 2620413.6535 | 1209919.163 | 2620385.5933 | 1209921.6576 | 2620384.2935 | 1209921.6458
14 | 2620240.4822 | 1210347.1029 | 2620240.8364 | 1210343.491 | 2620241.6883 | 1210341.0258 | 2620243.2137 | 1210339.4079 | 2620245.5142 | 1210337.7925 | 2620248.5716 | 1210337.0914 | 2620251.6267 | 1210337.0684 | 2620268.2887 | 1210340.3822 | 2620313.6799 | 1210358.4685 | 2620323.389 | 1210361.581 | 2620327.1028 | 1210362.2718 | 2620330.3997 | 1210362.6387 | 2620334.3733 | 1210362.9079 | 2620340.6828 | 1210362.3624 | 2620346.1577 | 1210361.3805 | 2620352.5688 | 1210360.0015 | 2620362.1314 | 1210357.0324 | 2620373.4897 | 1210353.4357 | 2620385.3528 | 1210348.8958 | 2620396.2963 | 1210344.3639 | 2620403.6229 | 1210339.7085 | 2620409.4165 | 1210334.4364 | 2620416.3121 | 1210326.9335 | 2620426.0071 | 1210314.1483 | 2620434.7772 | 1210300.7375 | 2620444.9896 | 1210283.3737 | 2620456.4845 | 1210262.1011 | 2620460.4937 | 1210254.2104 | 2620463.367 | 1210247.3497 | 2620467.0765 | 1210236.0005 | 2620467.5583 | 1210234.0532
15 | 2620367.1677 | 1209920.3497 | 2620375.8352 | 1209921.5688 | 2620384.2935 | 1209921.6458
16 | 2620240.4822 | 1210347.1029 | 2620275.899 | 1210361.8533 | 2620291.6648 | 1210369.4888 | 2620306.0164 | 1210377.3308 | 2620320.2487 | 1210386.6955 | 2620358.8875 | 1210412.5191
17 | 2620280.1536 | 1209788.5138 | 2620282.9624 | 1209789.4905 | 2620286.0376 | 1209792.5693 | 2620287.8265 | 1209796.1996 | 2620289.0978 | 1209800.0839 | 2620288.6267 | 1209806.7638 | 2620281.3641 | 1209832.7204 | 2620279.6819 | 1209846.9337 | 2620279.2515 | 1209855.059 | 2620281.258 | 1209864.0153 | 2620286.3955 | 1209875.2612 | 2620294.5213 | 1209883.8269 | 2620313.7592 | 1209896.6326 | 2620331.6668 | 1209907.2661 | 2620352.1434 | 1209915.5848 | 2620367.1677 | 1209920.3497 | 2620367.1677 | 1209920.3497
18 | 2620358.8875 | 1210412.5191 | 2620361.817 | 1210420.3557 | 2620364.0983 | 1210424.3768 | 2620367.9067 | 1210428.5032 | 2620375.6328 | 1210435.9448 | 2620404.2792 | 1210461.39 | 2620408.0333 | 1210465.8275 | 2620411.1769 | 1210471.0189 | 2620413.3025 | 1210476.1068 | 2620414.3047 | 1210480.8351 | 2620414.6913 | 1210487.7847 | 2620414.1409 | 1210497.6439 | 2620414.1162 | 1210497.8668
19 | 2620280.1536 | 1209788.5138 | 2620262.8317 | 1209787.9181
20 | 2620205.2673 | 1209788.9718 | 2620208.999 | 1209788.1761
21 | 2620208.999 | 1209788.1761 | 2620214.455 | 1209787.0128 | 2620222.1722 | 1209786.1273 | 2620229.5561 | 1209786.519
22 | 2620205.2673 | 1209788.9718 | 2620195.8435 | 1209802.3475 | 2620195.8242 | 1209802.3747
23 | 2620205.2673 | 1209788.9718 | 2620174.32 | 1209777.4832
24 | 2620262.8317 | 1209787.9181 | 2620243.2133 | 1209787.2435 | 2620229.5561 | 1209786.519
25 | 2620184.093 | 1209819.3451 | 2620185.1982 | 1209817.3533 | 2620195.8242 | 1209802.3747
26 | 2619946.2443 | 1209246.7891 | 2619958.3526 | 1209246.7405 | 2619961.5287 | 1209246.4506
27 | 2619979.7235 | 1209243.032 | 2619973.9772 | 1209245.3141 | 2619961.5287 | 1209246.4506
28 | 2619946.2443 | 1209246.7891 | 2619937.1201 | 1209256.842 | 2619931.5154 | 1209262.2486 | 2619920.3645 | 1209266.9474 | 2619895.5794 | 1209277.9823 | 2619877.5984 | 1209290.9297 | 2619854.7023 | 1209309.9532 | 2619833.0315 | 1209328.5806 | 2619815.0431 | 1209341.5283 | 2619772.9446 | 1209373.0844 | 2619738.2226 | 1209392.0804 | 2619729.227 | 1209400.1774 | 2619723.7788 | 1209408.9644 | 2619721.4123 | 1209421.2857 | 2619718.5223 | 1209431.0371 | 2619713.4913 | 1209437.7688 | 2619708.6893 | 1209441.8886 | 2619701.3759 | 1209444.6883 | 2619691.8479 | 1209446.0355 | 2619676.5382 | 1209446.9036
29 | 2619979.7235 | 1209243.032 | 2619984.4728 | 1209241.1468 | 2619993.4513 | 1209238.3308 | 2619999.8112 | 1209237.3989
30 | 2619979.7235 | 1209243.032 | 2619987.0889 | 1209258.9099 | 2619990.2501 | 1209268.259 | 2619993.625 | 1209270.4715 | 2620001.158 | 1209277.1448 | 2620003.0015 | 1209282.7319 | 2620002.7333 | 1209288.8516
31 | 2619676.5382 | 1209446.9036 | 2619668.6844 | 1209447.3489 | 2619658.5891 | 1209452.4964 | 2619652.4885 | 1209453.5198
32 | 2620002.7333 | 1209288.8516 | 2620158.8859 | 1209589.7708
33 | 2619622.5148 | 1209446.787 | 2619626.4349 | 1209446.6209 | 2619633.1876 | 1209452.5575 | 2619649.5545 | 1209454.012 | 2619652.4885 | 1209453.5198
34 | 2620158.8859 | 1209589.7708 | 2620166.0152 | 1209580.7453 | 2620180.7149 | 1209573.8799 | 2620194.1985 | 1209567.0105 | 2620217.8735 | 1209558.1521 | 2620240.3264 | 1209548.8784 | 2620257.079 | 1209539.5855 | 2620271.7885 | 1209529.8854 | 2620278.7449 | 1209522.5938 | 2620284.9018 | 1209511.2306 | 2620299.259 | 1209484.4532 | 2620308.6711 | 1209474.7353 | 2620316.434 | 1209469.4698 | 2620326.2387 | 1209465.034 | 2620333.6284 | 1209462.694
35 | 2620158.8859 | 1209589.7708 | 2620155.3538 | 1209598.1858 | 2620150.3859 | 1209622.1491 | 2620146.6712 | 1209635.1439 | 2620139.685 | 1209651.3738 | 2620131.0538 | 1209670.8557 | 2620127.3508 | 1209682.6276 | 2620126.0984 | 1209691.1615 | 2620126.0628 | 1209701.7228 | 2620125.1928 | 1209716.3503 | 2620123.5103 | 1209733.0095 | 2620117.0605 | 1209772.8322 | 2620117.3268 | 1209777.2689 | 2620120.0619 | 1209784.3265
36 | 2619622.5148 | 1209446.787 | 2619618.3379 | 1209446.9639
37 | 2620124.7386 | 1209784.0219 | 2620133.5324 | 1209783.4491 | 2620145.7665 | 1209781.8561 | 2620150.1324 | 1209780.5219
38 | 2620120.0619 | 1209784.3265 | 2620124.7386 | 1209784.0219
39 | 2620150.1324 | 1209780.5219 | 2620157.6046 | 1209778.2384 | 2620166.1678 | 1209776.6441 | 2620174.32 | 1209777.4832
40 | 2620333.6284 | 1209462.694 | 2620337.6671 | 1209461.4152 | 2620346.6385 | 1209460.6342 | 2620357.3396 | 1209463.0386 | 2620363.1328 | 1209465.4173
41 | 2620148.9377 | 1208795.4005 | 2620147.8308 | 1208799.026 | 2620140.8435 | 1208815.267 | 2620133.4795 | 1208823.7803 | 2620126.5797 | 1208828.8575
42 | 2620107.3757 | 1208842.0138 | 2620110.5959 | 1208838.3337 | 2620117.5378 | 1208835.511 | 2620126.5797 | 1208828.8575
43 | 2620149.9868 | 1208791.9644 | 2620148.9377 | 1208795.4005
44 | 2620107.3757 | 1208842.0138 | 2620105.2697 | 1208844.4081 | 2620104.4065 | 1208848.2291

## bus_geodata
| x | y | coords
0 | 2620185.8316 | 1208976.6631
1 | 2620139.9137 | 1208933.1107
2 | 2620209.8379 | 1209063.8715
3 | 2620128.2485 | 1208922.8161
4 | 2620009.7708 | 1209235.9395
5 | 2620106.4433 | 1208906.8357
6 | 2620102.8188 | 1208905.525
7 | 2620080.6745 | 1208886.549
8 | 2620100.3592 | 1208873.4979
9 | 2620472.8489 | 1210212.5627
10 | 2620468.5635 | 1210229.9904
11 | 2620662.7273 | 1210020.9749
12 | 2620467.5583 | 1210234.0532
13 | 2620384.2935 | 1209921.6458
14 | 2620240.4822 | 1210347.1029
15 | 2620367.1677 | 1209920.3497
16 | 2620358.8875 | 1210412.5191
17 | 2620280.1536 | 1209788.5138
18 | 2620208.999 | 1209788.1761
19 | 2620205.2673 | 1209788.9718
20 | 2620229.5561 | 1209786.519
21 | 2620195.8242 | 1209802.3747
22 | 2620184.093 | 1209819.3451
23 | 2620414.1162 | 1210497.8668
24 | 2619961.5287 | 1209246.4506
25 | 2619946.2443 | 1209246.7891
26 | 2619979.7235 | 1209243.032
27 | 2619676.5382 | 1209446.9036
28 | 2619999.8112 | 1209237.3989
29 | 2620002.7333 | 1209288.8516
30 | 2619652.4885 | 1209453.5198
31 | 2620158.8859 | 1209589.7708
32 | 2619622.5148 | 1209446.787
33 | 2620124.7386 | 1209784.0219
34 | 2620150.1324 | 1209780.5219
35 | 2620120.0619 | 1209784.3265
36 | 2620174.32 | 1209777.4832
37 | 2620333.6284 | 1209462.694
38 | 2620363.1328 | 1209465.4173
39 | 2620262.8317 | 1209787.9181
40 | 2620126.5797 | 1208828.8575
41 | 2620148.9377 | 1208795.4005
42 | 2620107.3757 | 1208842.0138
43 | 2620149.9868 | 1208791.9644
44 | 2620104.4065 | 1208848.2291
45 | 2619618.3379 | 1209446.9639
46 | 2620158.8859 | 1209589.7708

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1