## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_956-9_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_956-9_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_956-9_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_956-9_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_956-9_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_956-9_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_956-9_0_3_node_29 | 0.4 | n |  | TRUE
7 | bus_LV_956-9_0_3_node_13 | 0.4 | n |  | TRUE
8 | bus_LV_956-9_0_3_node_10 | 0.4 | n |  | TRUE
9 | bus_LV_956-9_0_3_node_38 | 0.4 | n |  | TRUE
10 | bus_LV_956-9_0_3_node_59 | 0.4 | n |  | TRUE
11 | bus_LV_956-9_0_3_node_62 | 0.4 | n |  | TRUE
12 | bus_LV_956-9_0_3_node_57 | 0.4 | n |  | TRUE
13 | bus_LV_956-9_0_3_node_11 | 0.4 | n |  | TRUE
14 | bus_LV_956-9_0_3_node_75 | 0.4 | n |  | TRUE
15 | bus_LV_956-9_0_3_node_36 | 0.4 | n |  | TRUE
16 | bus_LV_956-9_0_3_node_60 | 0.4 | n |  | TRUE
17 | bus_LV_956-9_0_3_node_6 | 0.4 | n |  | TRUE
18 | bus_LV_956-9_0_3_node_7 | 0.4 | n |  | TRUE
19 | bus_LV_956-9_0_3_node_8 | 0.4 | n |  | TRUE
20 | bus_LV_956-9_0_3_node_81 | 0.4 | n |  | TRUE
21 | bus_LV_956-9_0_3_node_80 | 0.4 | n |  | TRUE
22 | bus_LV_956-9_0_3_node_9 | 0.4 | n |  | TRUE
23 | bus_LV_956-9_0_3_node_18 | 0.4 | n |  | TRUE
24 | bus_LV_956-9_0_3_node_17 | 0.4 | n |  | TRUE
25 | bus_LV_956-9_0_3_node_15 | 0.4 | n |  | TRUE
26 | bus_LV_956-9_0_3_node_63 | 0.4 | n |  | TRUE
27 | bus_LV_956-9_0_3_node_46 | 0.4 | n |  | TRUE
28 | bus_LV_956-9_0_3_node_12 | 0.4 | n |  | TRUE
29 | bus_LV_956-9_0_3_node_22 | 0.4 | n |  | TRUE
30 | bus_LV_956-9_0_3_node_20 | 0.4 | n |  | TRUE
31 | bus_LV_956-9_0_3_node_58 | 0.4 | n |  | TRUE
32 | bus_LV_956-9_0_3_node_14 | 0.4 | n |  | TRUE
33 | bus_LV_956-9_0_3_node_86 | 0.4 | n |  | TRUE
34 | bus_LV_956-9_0_3_node_85 | 0.4 | n |  | TRUE
35 | bus_LV_956-9_0_3_node_19 | 0.4 | n |  | TRUE
36 | bus_LV_956-9_0_3_node_21 | 0.4 | n |  | TRUE
37 | bus_LV_956-9_0_3_node_23 | 0.4 | n |  | TRUE
38 | bus_LV_956-9_0_3_node_44 | 0.4 | n |  | TRUE
39 | bus_LV_956-9_0_3_node_43 | 0.4 | n |  | TRUE
40 | bus_LV_956-9_0_3_node_24 | 0.4 | n |  | TRUE
41 | bus_LV_956-9_0_3_node_25 | 0.4 | n |  | TRUE
42 | bus_LV_956-9_0_3_node_26 | 0.4 | n |  | TRUE
43 | bus_LV_956-9_0_3_node_27 | 0.4 | n |  | TRUE
44 | bus_LV_956-9_0_3_node_28 | 0.4 | n |  | TRUE
45 | bus_LV_956-9_0_3_node_30 | 0.4 | n |  | TRUE
46 | bus_LV_956-9_0_3_node_31 | 0.4 | n |  | TRUE
47 | bus_LV_956-9_0_3_node_32 | 0.4 | n |  | TRUE
48 | bus_LV_956-9_0_3_node_33 | 0.4 | n |  | TRUE
49 | bus_LV_956-9_0_3_node_34 | 0.4 | n |  | TRUE
50 | bus_LV_956-9_0_3_node_41 | 0.4 | n |  | TRUE
51 | bus_LV_956-9_0_3_node_70 | 0.4 | n |  | TRUE
52 | bus_LV_956-9_0_3_node_71 | 0.4 | n |  | TRUE
53 | bus_LV_956-9_0_3_node_67 | 0.4 | n |  | TRUE
54 | bus_LV_956-9_0_3_node_40 | 0.4 | n |  | TRUE
55 | bus_LV_956-9_0_3_node_68 | 0.4 | n |  | TRUE
56 | bus_LV_956-9_0_3_node_35 | 0.4 | n |  | TRUE
57 | bus_LV_956-9_0_3_node_37 | 0.4 | n |  | TRUE
58 | bus_LV_956-9_0_3_node_39 | 0.4 | n |  | TRUE
59 | bus_LV_956-9_0_3_node_73 | 0.4 | n |  | TRUE
60 | bus_LV_956-9_0_3_node_42 | 0.4 | n |  | TRUE
61 | bus_LV_956-9_0_3_node_45 | 0.4 | n |  | TRUE
62 | bus_LV_956-9_0_3_node_47 | 0.4 | n |  | TRUE
63 | bus_LV_956-9_0_3_node_48 | 0.4 | n |  | TRUE
64 | bus_LV_956-9_0_3_node_50 | 0.4 | n |  | TRUE
65 | bus_LV_956-9_0_3_node_49 | 0.4 | n |  | TRUE
66 | bus_LV_956-9_0_3_node_66 | 0.4 | n |  | TRUE
67 | bus_LV_956-9_0_3_node_51 | 0.4 | n |  | TRUE
68 | bus_LV_956-9_0_3_node_52 | 0.4 | n |  | TRUE
69 | bus_LV_956-9_0_3_node_53 | 0.4 | n |  | TRUE
70 | bus_LV_956-9_0_3_node_55 | 0.4 | n |  | TRUE
71 | bus_LV_956-9_0_3_node_64 | 0.4 | n |  | TRUE
72 | bus_LV_956-9_0_3_node_56 | 0.4 | n |  | TRUE
73 | bus_LV_956-9_0_3_node_74 | 0.4 | n |  | TRUE
74 | bus_LV_956-9_0_3_node_65 | 0.4 | n |  | TRUE
75 | bus_LV_956-9_0_3_node_72 | 0.4 | n |  | TRUE
76 | bus_LV_956-9_0_3_node_61 | 0.4 | n |  | TRUE
77 | bus_LV_956-9_0_3_node_79 | 0.4 | n |  | TRUE
78 | bus_LV_956-9_0_3_node_84 | 0.4 | n |  | TRUE
79 | bus_LV_956-9_0_3_node_82 | 0.4 | n |  | TRUE
80 | bus_LV_956-9_0_3_node_69 | 0.4 | n |  | TRUE
81 | bus_LV_956-9_0_3_node_76 | 0.4 | n |  | TRUE
82 | bus_LV_956-9_0_3_node_77 | 0.4 | n |  | TRUE
83 | bus_LV_956-9_0_3_node_78 | 0.4 | n |  | TRUE
84 | bus_LV_956-9_0_3_node_87 | 0.4 | n |  | TRUE
85 | bus_LV_956-9_0_3_node_88 | 0.4 | n |  | TRUE
86 | bus_LV_956-9_0_3_node_89 | 0.4 | n |  | TRUE
87 | bus_MV_181_0_node_178 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_956-9_0_3_load_0 | 0 | 0.0035758 | 0.00089619 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_956-9_0_3_load_1 | 1 | 0.0095135 | 0.0023843 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_956-9_0_3_load_3 | 3 | 0.011672 | 0.0029254 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_956-9_0_3_load_29 | 6 | 0.0074812 | 0.001875 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_956-9_0_3_load_13 | 7 | 0.0075937 | 0.0019032 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_956-9_0_3_load_10 | 8 | 0.0031271 | 0.00078373 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_956-9_0_3_load_59 | 10 | 0.014594 | 0.0036577 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_956-9_0_3_load_62 | 11 | 0.0071206 | 0.0017846 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_956-9_0_3_load_57 | 12 | 0.00042741 | 0.00010712 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_956-9_0_3_load_11 | 13 | 0.0019547 | 0.0004899 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_956-9_0_3_load_36 | 15 | 0.0050472 | 0.0012649 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_956-9_0_3_load_60 | 16 | 0.0073764 | 0.0018487 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_956-9_0_3_load_6 | 17 | 0.0010711 | 0.00026845 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_956-9_0_3_load_81 | 20 | 0.00033763 | 8.4617e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_956-9_0_3_load_80 | 21 | 0.00021219 | 5.318e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_956-9_0_3_load_18 | 23 | 0.00018862 | 4.7273e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_956-9_0_3_load_17 | 24 | 0.00056624 | 0.00014191 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_956-9_0_3_load_15 | 25 | 0.00033866 | 8.4875e-05 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_956-9_0_3_load_63 | 26 | 0.00083508 | 0.00020929 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_956-9_0_3_load_46 | 27 | 0.0011568 | 0.00028991 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_956-9_0_3_load_12 | 28 | 0.0034268 | 0.00085885 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_956-9_0_3_load_22 | 29 | 0.002757 | 0.00069096 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_956-9_0_3_load_20 | 30 | 0.0023205 | 0.00058157 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_956-9_0_3_load_58 | 31 | 0.0044845 | 0.0011239 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_956-9_0_3_load_14 | 32 | 0.0016037 | 0.00040192 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_956-9_0_3_load_86 | 33 | 0.0021804 | 0.00054645 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_956-9_0_3_load_85 | 34 | 0.0039817 | 0.0009979 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_956-9_0_3_load_19 | 35 | 0.0043156 | 0.0010816 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_956-9_0_3_load_21 | 36 | 0.0051074 | 0.00128 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_956-9_0_3_load_23 | 37 | 0.0038871 | 0.00097419 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_956-9_0_3_load_44 | 38 | 0.0021609 | 0.00054158 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_956-9_0_3_load_43 | 39 | 0.0047149 | 0.0011817 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_956-9_0_3_load_24 | 40 | 0.0020394 | 0.00051111 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_956-9_0_3_load_25 | 41 | 0.0024075 | 0.00060339 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_956-9_0_3_load_26 | 42 | 0.002043 | 0.00051203 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_956-9_0_3_load_27 | 43 | 0.0030824 | 0.00077252 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_956-9_0_3_load_28 | 44 | 0.0042339 | 0.0010611 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_956-9_0_3_load_30 | 45 | 0.0021299 | 0.00053379 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_956-9_0_3_load_31 | 46 | 0.0031856 | 0.00079837 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_956-9_0_3_load_32 | 47 | 0.0021226 | 0.00053198 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_956-9_0_3_load_33 | 48 | 0.0021223 | 0.00053191 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_956-9_0_3_load_41 | 50 | 0.0021283 | 0.00053341 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_956-9_0_3_load_70 | 51 | 0.004284 | 0.0010737 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_956-9_0_3_load_71 | 52 | 0.0027208 | 0.00068189 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_956-9_0_3_load_67 | 53 | 0.0016254 | 0.00040735 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_956-9_0_3_load_40 | 54 | 0.0021244 | 0.00053242 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_956-9_0_3_load_68 | 55 | 0.0011874 | 0.00029758 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_956-9_0_3_load_35 | 56 | 0.0045181 | 0.0011324 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_956-9_0_3_load_37 | 57 | 0.0064969 | 0.0016283 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_956-9_0_3_load_39 | 58 | 0.0042566 | 0.0010668 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_956-9_0_3_load_73 | 59 | 0.0020664 | 0.00051789 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_956-9_0_3_load_42 | 60 | 0.008814 | 0.002209 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_956-9_0_3_load_45 | 61 | 0.0018688 | 0.00046837 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_956-9_0_3_load_47 | 62 | 0.00038403 | 9.6246e-05 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_956-9_0_3_load_48 | 63 | 0.0018235 | 0.00045701 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_956-9_0_3_load_50 | 64 | 0.0037367 | 0.0009365 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_956-9_0_3_load_49 | 65 | 0.00076459 | 0.00019162 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_956-9_0_3_load_66 | 66 | 0.00050355 | 0.0001262 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_956-9_0_3_load_51 | 67 | 0.0016158 | 0.00040496 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_956-9_0_3_load_52 | 68 | 0.0021305 | 0.00053395 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_956-9_0_3_load_53 | 69 | 0.001183 | 0.00029648 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_956-9_0_3_load_55 | 70 | 0.0011532 | 0.00028901 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_956-9_0_3_load_64 | 71 | 0.0011782 | 0.00029528 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_956-9_0_3_load_56 | 72 | 0.0019502 | 0.00048875 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_956-9_0_3_load_74 | 73 | 0.0077953 | 0.0019537 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_956-9_0_3_load_65 | 74 | 0.0011818 | 0.00029619 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_956-9_0_3_load_72 | 75 | 0.0022233 | 0.0005572 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_956-9_0_3_load_61 | 76 | 0.005923 | 0.0014844 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_956-9_0_3_load_82 | 79 | 0.0033125 | 0.00083019 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_956-9_0_3_load_69 | 80 | 0.0011546 | 0.00028936 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_956-9_0_3_load_76 | 81 | 0.00058404 | 0.00014637 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_956-9_0_3_load_78 | 83 | 0.0010841 | 0.00027171 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_956-9_0_3_load_87 | 84 | 0.0044724 | 0.0011209 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_956-9_0_3_load_88 | 85 | 0.00044947 | 0.00011265 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_956-9_0_3_load_89 | 86 | 0.00049809 | 0.00012483 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 0 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_956-9_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.024119 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_956-9_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.059655 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
2 | LV_956-9_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.0081014 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_956-9_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.01923 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_956-9_0_3_line_4 | NAYY 4x150 SE | 2 | 5 | 0.007367 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
5 | LV_956-9_0_3_line_5 | NAYY 4x150 SE | 3 | 6 | 0.029146 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_956-9_0_3_line_6 | NAYY 4x150 SE | 4 | 7 | 0.022305 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_956-9_0_3_line_7 | NAYY 4x150 SE | 4 | 8 | 0.032919 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_956-9_0_3_line_8 | NAYY 4x150 SE | 5 | 9 | 0.048894 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_956-9_0_3_line_9 | NAYY 4x150 SE | 5 | 10 | 0.016479 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_956-9_0_3_line_10 | NAYY 4x150 SE | 6 | 11 | 0.0031684 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_956-9_0_3_line_11 | NAYY 4x150 SE | 7 | 12 | 0.029214 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_956-9_0_3_line_12 | NAYY 4x150 SE | 8 | 13 | 0.011808 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_956-9_0_3_line_13 | NAYY 4x150 SE | 9 | 14 | 0.007809 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_956-9_0_3_line_14 | NAYY 4x150 SE | 9 | 15 | 0.01375 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_956-9_0_3_line_15 | NAYY 4x150 SE | 10 | 16 | 0.010865 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_956-9_0_3_line_16 | NAYY 4x150 SE | 11 | 44 | 0.017586 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_956-9_0_3_line_17 | NAYY 4x150 SE | 12 | 31 | 0.0062225 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_956-9_0_3_line_18 | NAYY 4x150 SE | 13 | 28 | 4.5987e-05 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_956-9_0_3_line_19 | NAYY 4x150 SE | 14 | 59 | 0.01772 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_956-9_0_3_line_20 | NAYY 4x150 SE | 14 | 51 | 0.01042 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_956-9_0_3_line_21 | NAYY 4x150 SE | 15 | 56 | 0.029261 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_956-9_0_3_line_22 | NAYY 4x150 SE | 16 | 76 | 0.018111 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_956-9_0_3_line_23 | NAYY 4x150 SE | 17 | 18 | 0.023742 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_956-9_0_3_line_24 | NAYY 4x150 SE | 17 | 19 | 0.26567 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_956-9_0_3_line_25 | NAYY 4x150 SE | 18 | 20 | 0.22862 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_956-9_0_3_line_26 | NAYY 4x150 SE | 19 | 22 | 0.019938 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_956-9_0_3_line_27 | NAYY 4x150 SE | 20 | 21 | 0.0054253 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_956-9_0_3_line_28 | NAYY 4x150 SE | 21 | 83 | 0.027025 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_956-9_0_3_line_29 | NAYY 4x150 SE | 22 | 23 | 0.0087449 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_956-9_0_3_line_30 | NAYY 4x150 SE | 22 | 24 | 0.013211 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_956-9_0_3_line_31 | NAYY 4x150 SE | 24 | 25 | 0.051468 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_956-9_0_3_line_32 | NAYY 4x150 SE | 25 | 26 | 0.23141 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_956-9_0_3_line_33 | NAYY 4x150 SE | 25 | 32 | 0.020853 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_956-9_0_3_line_34 | NAYY 4x150 SE | 26 | 27 | 0.011598 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_956-9_0_3_line_35 | NAYY 4x150 SE | 27 | 61 | 0.020007 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_956-9_0_3_line_36 | NAYY 4x150 SE | 28 | 29 | 0.020647 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_956-9_0_3_line_37 | NAYY 4x150 SE | 29 | 30 | 0.0051167 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_956-9_0_3_line_38 | NAYY 4x150 SE | 30 | 35 | 0.018139 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_956-9_0_3_line_39 | NAYY 4x150 SE | 31 | 66 | 0.023579 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_956-9_0_3_line_40 | NAYY 4x150 SE | 33 | 34 | 0.0027866 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_956-9_0_3_line_41 | NAYY 4x150 SE | 34 | 43 | 0.00516 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_956-9_0_3_line_42 | NAYY 4x150 SE | 35 | 36 | 0.0019444 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_956-9_0_3_line_43 | NAYY 4x150 SE | 36 | 37 | 0.022387 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_956-9_0_3_line_44 | NAYY 4x150 SE | 37 | 38 | 0.0070848 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_956-9_0_3_line_45 | NAYY 4x150 SE | 38 | 39 | 0.019054 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_956-9_0_3_line_46 | NAYY 4x150 SE | 39 | 61 | 0.016439 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_956-9_0_3_line_47 | NAYY 4x150 SE | 40 | 41 | 0.0045059 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_956-9_0_3_line_48 | NAYY 4x150 SE | 40 | 42 | 0.0063168 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_956-9_0_3_line_49 | NAYY 4x150 SE | 41 | 43 | 0.015141 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_956-9_0_3_line_50 | NAYY 4x150 SE | 42 | 44 | 0.0090139 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_956-9_0_3_line_51 | NAYY 4x150 SE | 45 | 46 | 0.011687 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_956-9_0_3_line_52 | NAYY 4x150 SE | 45 | 47 | 0.006564 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_956-9_0_3_line_53 | NAYY 4x150 SE | 46 | 48 | 0.011944 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_956-9_0_3_line_54 | NAYY 4x150 SE | 47 | 49 | 0.016745 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_956-9_0_3_line_55 | NAYY 4x150 SE | 48 | 50 | 0.0065525 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_956-9_0_3_line_56 | NAYY 4x150 SE | 49 | 51 | 0.024938 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_956-9_0_3_line_57 | NAYY 4x150 SE | 49 | 52 | 0.0090642 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_956-9_0_3_line_58 | NAYY 4x150 SE | 49 | 53 | 0.00563 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_956-9_0_3_line_59 | NAYY 4x150 SE | 50 | 54 | 0.0065526 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_956-9_0_3_line_60 | NAYY 4x150 SE | 53 | 55 | 0.0064701 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_956-9_0_3_line_61 | NAYY 4x150 SE | 54 | 60 | 0.0059645 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_956-9_0_3_line_62 | NAYY 4x150 SE | 55 | 80 | 0.0059817 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_956-9_0_3_line_63 | NAYY 4x150 SE | 56 | 57 | 0.0072671 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_956-9_0_3_line_64 | NAYY 4x150 SE | 57 | 58 | 0.016723 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_956-9_0_3_line_65 | NAYY 4x150 SE | 59 | 75 | 0.014561 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_956-9_0_3_line_66 | NAYY 4x150 SE | 62 | 63 | 0.028287 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_956-9_0_3_line_67 | NAYY 4x150 SE | 62 | 64 | 0.15935 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_956-9_0_3_line_68 | NAYY 4x150 SE | 63 | 65 | 0.024376 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_956-9_0_3_line_69 | NAYY 4x150 SE | 65 | 66 | 0.0020265 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_956-9_0_3_line_70 | NAYY 4x150 SE | 67 | 68 | 0.0097 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_956-9_0_3_line_71 | NAYY 4x150 SE | 67 | 69 | 0.014983 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_956-9_0_3_line_72 | NAYY 4x150 SE | 69 | 70 | 0.0059717 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_956-9_0_3_line_73 | NAYY 4x150 SE | 70 | 71 | 0.0059673 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_956-9_0_3_line_74 | NAYY 4x150 SE | 71 | 74 | 0.016105 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_956-9_0_3_line_75 | NAYY 4x150 SE | 72 | 73 | 0.0096501 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_956-9_0_3_line_76 | NAYY 4x150 SE | 73 | 75 | 0.021282 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_956-9_0_3_line_77 | NAYY 4x150 SE | 74 | 80 | 0.0059713 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_956-9_0_3_line_78 | NAYY 4x150 SE | 76 | 77 | 0.030339 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_956-9_0_3_line_79 | NAYY 4x150 SE | 77 | 78 | 0.023808 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_956-9_0_3_line_80 | NAYY 4x150 SE | 77 | 79 | 0.015163 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_956-9_0_3_line_81 | NAYY 4x150 SE | 78 | 84 | 0.076015 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_956-9_0_3_line_82 | NAYY 4x150 SE | 81 | 82 | 0.035734 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_956-9_0_3_line_83 | NAYY 4x150 SE | 82 | 83 | 0.010198 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_956-9_0_3_line_84 | NAYY 4x150 SE | 84 | 85 | 0.013543 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_956-9_0_3_line_85 | NAYY 4x150 SE | 85 | 86 | 0.014976 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_956-9_0_3_trafo_0 | 0.25 MVA 20/0.4 kV | 87 | 0 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2617708.9743 | 1208209.7197 | 2617690.1892 | 1208197.7024 | 2617688.7508 | 1208196.5887
1 | 2617764.0024 | 1208232.418 | 2617729.0994 | 1208220.0744 | 2617709.2195 | 1208209.8765 | 2617708.9743 | 1208209.7197
2 | 2617682.3454 | 1208191.6286 | 2617688.7508 | 1208196.5887
3 | 2617755.2851 | 1208249.5683 | 2617764.0024 | 1208232.418
4 | 2617771.1813 | 1208234.1625 | 2617764.0024 | 1208232.418
5 | 2617682.3454 | 1208191.6286 | 2617674.8981 | 1208185.8618 | 2617660.6064 | 1208172.2644
6 | 2617755.2851 | 1208249.5683 | 2617749.0486 | 1208260.7449 | 2617745.8133 | 1208269.6831
7 | 2617755.2851 | 1208249.5683 | 2617742.2276 | 1208248.5401 | 2617725.3974 | 1208250.7915 | 2617722.5662 | 1208251.0261
8 | 2617771.1813 | 1208234.1625 | 2617773.4181 | 1208223.3187 | 2617775.187 | 1208213.8853 | 2617780.6364 | 1208186.1973
9 | 2617771.1813 | 1208234.1625 | 2617778.4117 | 1208236.4519 | 2617786.8196 | 1208239.353
10 | 2617660.6064 | 1208172.2644 | 2617659.5315 | 1208171.2417 | 2617658.2821 | 1208170.1114
11 | 2617745.8133 | 1208269.6831 | 2617742.4644 | 1208278.9355 | 2617733.1525 | 1208295.9252
12 | 2617722.5662 | 1208251.0261 | 2617710.7988 | 1208252.0009
13 | 2617780.6364 | 1208186.1973 | 2617783.2734 | 1208178.8455
14 | 2617780.6364 | 1208186.1973 | 2617767.6568 | 1208181.6605
15 | 2617786.8196 | 1208239.353 | 2617797.09 | 1208242.8968
16 | 2617645.2408 | 1208158.3134 | 2617658.2821 | 1208170.1114
17 | 2617733.1525 | 1208295.9252 | 2617730.1617 | 1208301.3819
18 | 2617710.7988 | 1208252.0009 | 2617710.7529 | 1208252.0047
19 | 2617783.2734 | 1208178.8455 | 2617800.5267 | 1208182.8852
20 | 2617783.2734 | 1208178.8455 | 2617786.05 | 1208168.8022
21 | 2617767.6568 | 1208181.6605 | 2617751.5728 | 1208176.0387 | 2617740.2061 | 1208171.5448
22 | 2617797.09 | 1208242.8968 | 2617810.1638 | 1208247.4079 | 2617814.1524 | 1208248.9635
23 | 2617199.9629 | 1208387.4796 | 2617212.2225 | 1208367.148
24 | 2617212.2225 | 1208367.148 | 2617307.273 | 1208119.0621
25 | 2617219.8177 | 1208615.2408 | 2617199.9629 | 1208387.4796
26 | 2617307.273 | 1208119.0621 | 2617318.6099 | 1208102.6414
27 | 2617219.8177 | 1208615.2408 | 2617219.8177 | 1208615.2408 | 2617221.6212 | 1208617.236 | 2617222.7541 | 1208619.7262
28 | 2617212.8296 | 1208644.3932 | 2617215.0652 | 1208639.5184 | 2617221.2939 | 1208627.941 | 2617222.8195 | 1208623.4762 | 2617222.9582 | 1208620.1748 | 2617222.7541 | 1208619.7262
29 | 2617318.6099 | 1208102.6414 | 2617323.0997 | 1208095.137
30 | 2617318.6099 | 1208102.6414 | 2617328.0956 | 1208111.8364
31 | 2617369.1352 | 1208110.7462 | 2617368.2404 | 1208112.2571 | 2617357.4005 | 1208122.3868 | 2617354.3385 | 1208124.4124 | 2617351.485 | 1208125.3269 | 2617348.2155 | 1208125.5175 | 2617344.3477 | 1208124.8949 | 2617340.4759 | 1208123.0493 | 2617336.5087 | 1208119.9917 | 2617328.0956 | 1208111.8364
32 | 2617573.829 | 1208218.6826 | 2617369.1352 | 1208110.7462
33 | 2617371.7589 | 1208091.2261 | 2617373.0794 | 1208095.195 | 2617373.6831 | 1208099.3657 | 2617373.4692 | 1208102.3112 | 2617371.7241 | 1208106.3751 | 2617369.1352 | 1208110.7462
34 | 2617573.829 | 1208218.6826 | 2617584.3561 | 1208223.5506
35 | 2617584.3561 | 1208223.5506 | 2617586.7731 | 1208224.6683 | 2617602.7542 | 1208231.4073
36 | 2617690.2411 | 1208251.0265 | 2617702.7223 | 1208252.67 | 2617710.7529 | 1208252.0047
37 | 2617690.2411 | 1208251.0265 | 2617685.1682 | 1208250.3585
38 | 2617667.247 | 1208247.5656 | 2617681.2166 | 1208249.8382 | 2617685.1682 | 1208250.3585
39 | 2617719.9173 | 1208322.6187 | 2617730.0056 | 1208301.6667 | 2617730.1617 | 1208301.3819
40 | 2617615.3698 | 1208131.5087 | 2617613.2205 | 1208129.7351
41 | 2617619.3023 | 1208134.8478 | 2617618.1184 | 1208133.7767 | 2617615.3698 | 1208131.5087
42 | 2617665.3278 | 1208247.2533 | 2617667.247 | 1208247.5656
43 | 2617665.3278 | 1208247.2533 | 2617662.9118 | 1208246.8603 | 2617649.2386 | 1208245.8305 | 2617643.1539 | 1208244.5035
44 | 2617636.2319 | 1208242.9938 | 2617643.1539 | 1208244.5035
45 | 2617618.0603 | 1208237.3868 | 2617629.706 | 1208241.5706 | 2617636.2319 | 1208242.9938
46 | 2617618.0603 | 1208237.3868 | 2617610.4549 | 1208234.6546 | 2617602.7542 | 1208231.4073
47 | 2617633.8719 | 1208148.0284 | 2617630.5305 | 1208145.0055
48 | 2617638.5563 | 1208152.2662 | 2617633.8719 | 1208148.0284
49 | 2617619.3023 | 1208134.8478 | 2617630.5305 | 1208145.0055
50 | 2617638.5563 | 1208152.2662 | 2617645.2408 | 1208158.3134
51 | 2617759.5171 | 1208133.6337 | 2617770.5967 | 1208137.3511
52 | 2617776.8197 | 1208139.4391 | 2617770.5967 | 1208137.3511
53 | 2617748.1937 | 1208129.8344 | 2617759.5171 | 1208133.6337
54 | 2617792.6951 | 1208144.7657 | 2617776.8197 | 1208139.4391
55 | 2617748.1937 | 1208129.8344 | 2617741.9815 | 1208127.7501
56 | 2617792.6951 | 1208144.7657 | 2617786.05 | 1208168.8022
57 | 2617792.6951 | 1208144.7657 | 2617794.6921 | 1208135.9242
58 | 2617792.6951 | 1208144.7657 | 2617798.0875 | 1208146.384
59 | 2617735.7693 | 1208125.6657 | 2617741.9815 | 1208127.7501
60 | 2617798.0875 | 1208146.384 | 2617804.2845 | 1208148.2439
61 | 2617730.1145 | 1208123.7684 | 2617735.7693 | 1208125.6657
62 | 2617810.0138 | 1208149.9633 | 2617804.2845 | 1208148.2439
63 | 2617733.448 | 1208168.873 | 2617740.2061 | 1208171.5448
64 | 2617717.8887 | 1208162.7427 | 2617723.7508 | 1208165.0391 | 2617733.448 | 1208168.873
65 | 2617814.704 | 1208186.2047 | 2617800.5267 | 1208182.8852
66 | 2617695.3725 | 1208371.4899 | 2617708.133 | 1208346.2443
67 | 2617695.3725 | 1208371.4899 | 2617558.0988 | 1208452.4145
68 | 2617708.133 | 1208346.2443 | 2617708.3382 | 1208345.8382 | 2617716.8721 | 1208328.943 | 2617719.0381 | 1208324.4446
69 | 2617719.9173 | 1208322.6187 | 2617719.0381 | 1208324.4446
70 | 2617856.9441 | 1208164.0479 | 2617866.2347 | 1208166.8362
71 | 2617856.9441 | 1208164.0479 | 2617842.5931 | 1208159.741
72 | 2617836.8734 | 1208158.0244 | 2617842.5931 | 1208159.741
73 | 2617836.8734 | 1208158.0244 | 2617831.158 | 1208156.3091
74 | 2617815.733 | 1208151.6798 | 2617831.158 | 1208156.3091
75 | 2617835.8903 | 1208187.7175 | 2617845.4934 | 1208188.6677
76 | 2617814.704 | 1208186.2047 | 2617816.6012 | 1208186.6489 | 2617827.0917 | 1208186.8469 | 2617835.8903 | 1208187.7175
77 | 2617810.0138 | 1208149.9633 | 2617815.733 | 1208151.6798
78 | 2617841.9073 | 1208261.1655 | 2617826.1629 | 1208253.6478 | 2617814.1524 | 1208248.9635
79 | 2617841.9073 | 1208261.1655 | 2617862.6946 | 1208272.8785
80 | 2617841.9073 | 1208261.1655 | 2617849.3423 | 1208247.9506
81 | 2617862.6946 | 1208272.8785 | 2617851.3269 | 1208306.8412 | 2617846.3946 | 1208308.9276 | 2617813.5503 | 1208297.29
82 | 2617208.5784 | 1208653.6631 | 2617205.1896 | 1208661.0464 | 2617194.0369 | 1208686.3039
83 | 2617208.5784 | 1208653.6631 | 2617212.8296 | 1208644.3932
84 | 2617813.5503 | 1208297.29 | 2617813.5503 | 1208297.29 | 2617808.4062 | 1208309.8178
85 | 2617802.7179 | 1208323.671 | 2617808.4062 | 1208309.8178

## bus_geodata
| x | y | coords
0 | 2617708.9743 | 1208209.7197
1 | 2617688.7508 | 1208196.5887
2 | 2617764.0024 | 1208232.418
3 | 2617682.3454 | 1208191.6286
4 | 2617755.2851 | 1208249.5683
5 | 2617771.1813 | 1208234.1625
6 | 2617660.6064 | 1208172.2644
7 | 2617745.8133 | 1208269.6831
8 | 2617722.5662 | 1208251.0261
9 | 2617780.6364 | 1208186.1973
10 | 2617786.8196 | 1208239.353
11 | 2617658.2821 | 1208170.1114
12 | 2617733.1525 | 1208295.9252
13 | 2617710.7988 | 1208252.0009
14 | 2617783.2734 | 1208178.8455
15 | 2617767.6568 | 1208181.6605
16 | 2617797.09 | 1208242.8968
17 | 2617212.2225 | 1208367.148
18 | 2617199.9629 | 1208387.4796
19 | 2617307.273 | 1208119.0621
20 | 2617219.8177 | 1208615.2408
21 | 2617222.7541 | 1208619.7262
22 | 2617318.6099 | 1208102.6414
23 | 2617323.0997 | 1208095.137
24 | 2617328.0956 | 1208111.8364
25 | 2617369.1352 | 1208110.7462
26 | 2617573.829 | 1208218.6826
27 | 2617584.3561 | 1208223.5506
28 | 2617710.7529 | 1208252.0047
29 | 2617690.2411 | 1208251.0265
30 | 2617685.1682 | 1208250.3585
31 | 2617730.1617 | 1208301.3819
32 | 2617371.7589 | 1208091.2261
33 | 2617613.2205 | 1208129.7351
34 | 2617615.3698 | 1208131.5087
35 | 2617667.247 | 1208247.5656
36 | 2617665.3278 | 1208247.2533
37 | 2617643.1539 | 1208244.5035
38 | 2617636.2319 | 1208242.9938
39 | 2617618.0603 | 1208237.3868
40 | 2617633.8719 | 1208148.0284
41 | 2617630.5305 | 1208145.0055
42 | 2617638.5563 | 1208152.2662
43 | 2617619.3023 | 1208134.8478
44 | 2617645.2408 | 1208158.3134
45 | 2617770.5967 | 1208137.3511
46 | 2617759.5171 | 1208133.6337
47 | 2617776.8197 | 1208139.4391
48 | 2617748.1937 | 1208129.8344
49 | 2617792.6951 | 1208144.7657
50 | 2617741.9815 | 1208127.7501
51 | 2617786.05 | 1208168.8022
52 | 2617794.6921 | 1208135.9242
53 | 2617798.0875 | 1208146.384
54 | 2617735.7693 | 1208125.6657
55 | 2617804.2845 | 1208148.2439
56 | 2617740.2061 | 1208171.5448
57 | 2617733.448 | 1208168.873
58 | 2617717.8887 | 1208162.7427
59 | 2617800.5267 | 1208182.8852
60 | 2617730.1145 | 1208123.7684
61 | 2617602.7542 | 1208231.4073
62 | 2617695.3725 | 1208371.4899
63 | 2617708.133 | 1208346.2443
64 | 2617558.0988 | 1208452.4145
65 | 2617719.0381 | 1208324.4446
66 | 2617719.9173 | 1208322.6187
67 | 2617856.9441 | 1208164.0479
68 | 2617866.2347 | 1208166.8362
69 | 2617842.5931 | 1208159.741
70 | 2617836.8734 | 1208158.0244
71 | 2617831.158 | 1208156.3091
72 | 2617845.4934 | 1208188.6677
73 | 2617835.8903 | 1208187.7175
74 | 2617815.733 | 1208151.6798
75 | 2617814.704 | 1208186.2047
76 | 2617814.1523 | 1208248.9635
77 | 2617841.9073 | 1208261.1655
78 | 2617862.6946 | 1208272.8785
79 | 2617849.3423 | 1208247.9506
80 | 2617810.0138 | 1208149.9633
81 | 2617194.0369 | 1208686.3039
82 | 2617208.5784 | 1208653.6631
83 | 2617212.8296 | 1208644.3932
84 | 2617813.5503 | 1208297.29
85 | 2617808.4062 | 1208309.8178
86 | 2617802.7179 | 1208323.671
87 | 2617764.0024 | 1208232.418

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1