## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_957-1_1_2_node_3 | 0.4 | n |  | TRUE
1 | bus_LV_957-1_1_2_node_4 | 0.4 | n |  | TRUE
2 | bus_LV_957-1_1_2_node_5 | 0.4 | n |  | TRUE
3 | bus_LV_957-1_1_2_node_6 | 0.4 | n |  | TRUE
4 | bus_LV_957-1_1_2_node_7 | 0.4 | n |  | TRUE
5 | bus_LV_957-1_1_2_node_12 | 0.4 | n |  | TRUE
6 | bus_LV_957-1_1_2_node_8 | 0.4 | n |  | TRUE
7 | bus_LV_957-1_1_2_node_9 | 0.4 | n |  | TRUE
8 | bus_LV_957-1_1_2_node_10 | 0.4 | n |  | TRUE
9 | bus_LV_957-1_1_2_node_11 | 0.4 | n |  | TRUE
10 | bus_LV_957-1_1_2_node_91 | 0.4 | n |  | TRUE
11 | bus_LV_957-1_1_2_node_13 | 0.4 | n |  | TRUE
12 | bus_LV_957-1_1_2_node_267 | 0.4 | n |  | TRUE
13 | bus_LV_957-1_1_2_node_74 | 0.4 | n |  | TRUE
14 | bus_LV_957-1_1_2_node_83 | 0.4 | n |  | TRUE
15 | bus_LV_957-1_1_2_node_270 | 0.4 | n |  | TRUE
16 | bus_LV_957-1_1_2_node_271 | 0.4 | n |  | TRUE
17 | bus_LV_957-1_1_2_node_272 | 0.4 | n |  | TRUE
18 | bus_LV_957-1_1_2_node_273 | 0.4 | n |  | TRUE
19 | bus_LV_957-1_1_2_node_123 | 0.4 | n |  | TRUE
20 | bus_LV_957-1_1_2_node_54 | 0.4 | n |  | TRUE
21 | bus_LV_957-1_1_2_node_55 | 0.4 | n |  | TRUE
22 | bus_LV_957-1_1_2_node_56 | 0.4 | n |  | TRUE
23 | bus_LV_957-1_1_2_node_86 | 0.4 | n |  | TRUE
24 | bus_LV_957-1_1_2_node_57 | 0.4 | n |  | TRUE
25 | bus_LV_957-1_1_2_node_58 | 0.4 | n |  | TRUE
26 | bus_LV_957-1_1_2_node_59 | 0.4 | n |  | TRUE
27 | bus_LV_957-1_1_2_node_60 | 0.4 | n |  | TRUE
28 | bus_LV_957-1_1_2_node_61 | 0.4 | n |  | TRUE
29 | bus_LV_957-1_1_2_node_85 | 0.4 | n |  | TRUE
30 | bus_LV_957-1_1_2_node_99 | 0.4 | n |  | TRUE
31 | bus_LV_957-1_1_2_node_62 | 0.4 | n |  | TRUE
32 | bus_LV_957-1_1_2_node_63 | 0.4 | n |  | TRUE
33 | bus_LV_957-1_1_2_node_64 | 0.4 | n |  | TRUE
34 | bus_LV_957-1_1_2_node_65 | 0.4 | n |  | TRUE
35 | bus_LV_957-1_1_2_node_66 | 0.4 | n |  | TRUE
36 | bus_LV_957-1_1_2_node_67 | 0.4 | n |  | TRUE
37 | bus_LV_957-1_1_2_node_73 | 0.4 | n |  | TRUE
38 | bus_LV_957-1_1_2_node_72 | 0.4 | n |  | TRUE
39 | bus_LV_957-1_1_2_node_68 | 0.4 | n |  | TRUE
40 | bus_LV_957-1_1_2_node_70 | 0.4 | n |  | TRUE
41 | bus_LV_957-1_1_2_node_69 | 0.4 | n |  | TRUE
42 | bus_LV_957-1_1_2_node_71 | 0.4 | n |  | TRUE
43 | bus_LV_957-1_1_2_node_81 | 0.4 | n |  | TRUE
44 | bus_LV_957-1_1_2_node_75 | 0.4 | n |  | TRUE
45 | bus_LV_957-1_1_2_node_100 | 0.4 | n |  | TRUE
46 | bus_LV_957-1_1_2_node_76 | 0.4 | n |  | TRUE
47 | bus_LV_957-1_1_2_node_77 | 0.4 | n |  | TRUE
48 | bus_LV_957-1_1_2_node_78 | 0.4 | n |  | TRUE
49 | bus_LV_957-1_1_2_node_79 | 0.4 | n |  | TRUE
50 | bus_LV_957-1_1_2_node_96 | 0.4 | n |  | TRUE
51 | bus_LV_957-1_1_2_node_80 | 0.4 | n |  | TRUE
52 | bus_LV_957-1_1_2_node_82 | 0.4 | n |  | TRUE
53 | bus_LV_957-1_1_2_node_84 | 0.4 | n |  | TRUE
54 | bus_LV_957-1_1_2_node_92 | 0.4 | n |  | TRUE
55 | bus_LV_957-1_1_2_node_87 | 0.4 | n |  | TRUE
56 | bus_LV_957-1_1_2_node_88 | 0.4 | n |  | TRUE
57 | bus_LV_957-1_1_2_node_102 | 0.4 | n |  | TRUE
58 | bus_LV_957-1_1_2_node_95 | 0.4 | n |  | TRUE
59 | bus_LV_957-1_1_2_node_89 | 0.4 | n |  | TRUE
60 | bus_LV_957-1_1_2_node_90 | 0.4 | n |  | TRUE
61 | bus_LV_957-1_1_2_node_93 | 0.4 | n |  | TRUE
62 | bus_LV_957-1_1_2_node_94 | 0.4 | n |  | TRUE
63 | bus_LV_957-1_1_2_node_97 | 0.4 | n |  | TRUE
64 | bus_LV_957-1_1_2_node_98 | 0.4 | n |  | TRUE
65 | bus_MV_0_node_63 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_957-1_1_2_load_3 | 0 | 0.00020757 | 5.2023e-05 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_957-1_1_2_load_4 | 1 | 0.0011969 | 0.00029998 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_957-1_1_2_load_7 | 4 | 0.00033734 | 8.4544e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_957-1_1_2_load_12 | 5 | 0.0020554 | 0.00051512 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_957-1_1_2_load_8 | 6 | 0.00030202 | 7.5694e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_957-1_1_2_load_9 | 7 | 0.00015 | 3.7595e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_957-1_1_2_load_91 | 10 | 0.0004245 | 0.00010639 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_957-1_1_2_load_13 | 11 | 0.00018112 | 4.5392e-05 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_957-1_1_2_load_267 | 12 | 0.0025822 | 0.00064717 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_957-1_1_2_load_271 | 16 | 0.00073754 | 0.00018485 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_957-1_1_2_load_273 | 18 | 0.00046398 | 0.00011628 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_957-1_1_2_load_54 | 20 | 0.00013488 | 3.3805e-05 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_957-1_1_2_load_55 | 21 | 0.00032077 | 8.0393e-05 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_957-1_1_2_load_86 | 23 | 0.0003045 | 7.6315e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_957-1_1_2_load_57 | 24 | 0.00021308 | 5.3404e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_957-1_1_2_load_58 | 25 | 0.00016426 | 4.1166e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_957-1_1_2_load_59 | 26 | 0.0014023 | 0.00035145 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_957-1_1_2_load_60 | 27 | 0.00020981 | 5.2584e-05 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_957-1_1_2_load_61 | 28 | 0.00028449 | 7.1301e-05 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_957-1_1_2_load_85 | 29 | 0.00055754 | 0.00013973 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_957-1_1_2_load_62 | 31 | 0.00017276 | 4.3299e-05 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_957-1_1_2_load_66 | 35 | 0.00056679 | 0.00014205 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_957-1_1_2_load_73 | 37 | 0.0003826 | 9.5889e-05 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_957-1_1_2_load_72 | 38 | 0.00017679 | 4.4308e-05 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_957-1_1_2_load_70 | 40 | 0.001248 | 0.00031279 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_957-1_1_2_load_69 | 41 | 0.00021621 | 5.4188e-05 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_957-1_1_2_load_71 | 42 | 0.0002176 | 5.4537e-05 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_957-1_1_2_load_100 | 45 | 0.0043754 | 0.0010966 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_957-1_1_2_load_76 | 46 | 0.00030166 | 7.5604e-05 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_957-1_1_2_load_78 | 48 | 0.00018051 | 4.5241e-05 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_957-1_1_2_load_79 | 49 | 0.00081055 | 0.00020314 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_957-1_1_2_load_80 | 51 | 0.0028976 | 0.0007262 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_957-1_1_2_load_102 | 57 | 0.00013286 | 3.3298e-05 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_957-1_1_2_load_95 | 58 | 0.0002707 | 6.7845e-05 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_957-1_1_2_load_89 | 59 | 0.00086907 | 0.00021781 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_957-1_1_2_load_90 | 60 | 0.00058771 | 0.00014729 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_957-1_1_2_load_94 | 62 | 0.00054997 | 0.00013784 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_957-1_1_2_load_97 | 63 | 0.00042103 | 0.00010552 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_957-1_1_2_load_98 | 64 | 0.00017933 | 4.4946e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 32 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_957-1_1_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.00043055 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_957-1_1_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.016029 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_957-1_1_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.019792 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_957-1_1_2_line_3 | NAYY 4x150 SE | 2 | 4 | 0.0082633 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_957-1_1_2_line_4 | NAYY 4x150 SE | 3 | 5 | 0.038627 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_957-1_1_2_line_5 | NAYY 4x150 SE | 3 | 6 | 0.0012075 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_957-1_1_2_line_6 | NAYY 4x150 SE | 5 | 9 | 0.053049 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_957-1_1_2_line_7 | NAYY 4x150 SE | 7 | 8 | 0.055809 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_957-1_1_2_line_8 | NAYY 4x150 SE | 7 | 9 | 0.0092172 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_957-1_1_2_line_9 | NAYY 4x150 SE | 8 | 10 | 0.30983 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_957-1_1_2_line_10 | NAYY 4x150 SE | 9 | 11 | 0.014738 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_957-1_1_2_line_11 | NAYY 4x150 SE | 10 | 61 | 0.027091 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_957-1_1_2_line_12 | NAYY 4x150 SE | 10 | 60 | 0.015968 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_957-1_1_2_line_13 | NAYY 4x150 SE | 12 | 13 | 0.23529 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_957-1_1_2_line_14 | NAYY 4x150 SE | 12 | 14 | 0.016918 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_957-1_1_2_line_15 | NAYY 4x150 SE | 13 | 44 | 0.014539 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_957-1_1_2_line_16 | NAYY 4x150 SE | 14 | 43 | 0.009938 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_957-1_1_2_line_17 | NAYY 4x150 SE | 15 | 16 | 0.033018 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_957-1_1_2_line_18 | NAYY 4x150 SE | 15 | 17 | 0.1327 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_957-1_1_2_line_19 | NAYY 4x150 SE | 17 | 18 | 0.051652 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_957-1_1_2_line_20 | NAYY 4x150 SE | 18 | 19 | 0.33552 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_957-1_1_2_line_21 | NAYY 4x150 SE | 19 | 29 | 0.35387 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_957-1_1_2_line_22 | NAYY 4x150 SE | 20 | 21 | 0.00098518 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_957-1_1_2_line_23 | NAYY 4x150 SE | 20 | 22 | 0.096984 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_957-1_1_2_line_24 | NAYY 4x150 SE | 22 | 23 | 0.22056 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_957-1_1_2_line_25 | NAYY 4x150 SE | 23 | 55 | 0.017757 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_957-1_1_2_line_26 | NAYY 4x150 SE | 24 | 25 | 0.013214 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_957-1_1_2_line_27 | NAYY 4x150 SE | 24 | 26 | 0.02295 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_957-1_1_2_line_28 | NAYY 4x150 SE | 25 | 27 | 0.0057157 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_957-1_1_2_line_29 | NAYY 4x150 SE | 26 | 28 | 0.0098876 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_957-1_1_2_line_30 | NAYY 4x150 SE | 27 | 29 | 0.2915 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_957-1_1_2_line_31 | NAYY 4x150 SE | 28 | 30 | 0.0090361 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_957-1_1_2_line_32 | NAYY 4x150 SE | 30 | 57 | 0.06637 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_957-1_1_2_line_33 | NAYY 4x150 SE | 30 | 39 | 0.034887 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_957-1_1_2_line_34 | NAYY 4x150 SE | 31 | 32 | 0.016679 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_957-1_1_2_line_35 | NAYY 4x150 SE | 31 | 33 | 0.028797 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_957-1_1_2_line_36 | NAYY 4x150 SE | 32 | 34 | 0.11138 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_957-1_1_2_line_37 | NAYY 4x150 SE | 33 | 35 | 0.027146 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_957-1_1_2_line_38 | NAYY 4x150 SE | 33 | 36 | 0.039186 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_957-1_1_2_line_39 | NAYY 4x150 SE | 34 | 37 | 0.017537 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_957-1_1_2_line_40 | NAYY 4x150 SE | 36 | 38 | 0.00095346 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_957-1_1_2_line_41 | NAYY 4x150 SE | 37 | 43 | 0.1691 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_957-1_1_2_line_42 | NAYY 4x150 SE | 38 | 42 | 0.00069202 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_957-1_1_2_line_43 | NAYY 4x150 SE | 39 | 40 | 0.014758 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_957-1_1_2_line_44 | NAYY 4x150 SE | 40 | 41 | 0.016102 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_957-1_1_2_line_45 | NAYY 4x150 SE | 41 | 42 | 0.010919 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_957-1_1_2_line_46 | NAYY 4x150 SE | 43 | 51 | 0.023312 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_957-1_1_2_line_47 | NAYY 4x150 SE | 44 | 45 | 0.025964 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_957-1_1_2_line_48 | NAYY 4x150 SE | 46 | 47 | 0.023599 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_957-1_1_2_line_49 | NAYY 4x150 SE | 47 | 48 | 0.018585 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_957-1_1_2_line_50 | NAYY 4x150 SE | 47 | 49 | 0.022767 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_957-1_1_2_line_51 | NAYY 4x150 SE | 48 | 50 | 0.053364 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_957-1_1_2_line_52 | NAYY 4x150 SE | 50 | 63 | 0.14764 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_957-1_1_2_line_53 | NAYY 4x150 SE | 50 | 64 | 0.07407 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_957-1_1_2_line_54 | NAYY 4x150 SE | 50 | 58 | 0.051948 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_957-1_1_2_line_55 | NAYY 4x150 SE | 51 | 52 | 0.028962 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_957-1_1_2_line_56 | NAYY 4x150 SE | 52 | 53 | 0.096426 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_957-1_1_2_line_57 | NAYY 4x150 SE | 53 | 54 | 0.029059 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_957-1_1_2_line_58 | NAYY 4x150 SE | 54 | 62 | 0.031746 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_957-1_1_2_line_59 | NAYY 4x150 SE | 55 | 56 | 0.076166 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_957-1_1_2_line_60 | NAYY 4x150 SE | 55 | 57 | 0.25448 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_957-1_1_2_line_61 | NAYY 4x150 SE | 56 | 58 | 0.064749 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_957-1_1_2_line_62 | NAYY 4x150 SE | 59 | 60 | 0.011917 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_957-1_1_2_line_63 | NAYY 4x150 SE | 61 | 62 | 0.012253 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_957-1_1_2_trafo_63 | 0.25 MVA 20/0.4 kV | 65 | 32 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19
0 | 2625993.4052 | 1211845.5466 | 2625993.0913 | 1211845.2519
1 | 2625987.2364 | 1211831.5638 | 2625986.6145 | 1211834.8074 | 2625987.3039 | 1211838.7459 | 2625990.7951 | 1211843.0969 | 2625993.0913 | 1211845.2519
2 | 2626011.4335 | 1211851.0801 | 2626003.402 | 1211851.2675 | 2625997.0906 | 1211849.0054 | 2625993.4052 | 1211845.5466
3 | 2625987.2364 | 1211831.5638 | 2625982.0829 | 1211825.1044
4 | 2626011.4335 | 1211851.0801 | 2626015.8183 | 1211856.102 | 2626027.3961 | 1211865.0242 | 2626035.4791 | 1211870.4513 | 2626042.1775 | 1211874.0573
5 | 2626011.4335 | 1211851.0801 | 2626010.638 | 1211850.1718
6 | 2626086.3413 | 1211860.8788 | 2626083.2349 | 1211865.8681 | 2626080.003 | 1211870.0119 | 2626076.1353 | 1211873.6193 | 2626071.7613 | 1211876.5796 | 2626066.9193 | 1211878.8598 | 2626062.2203 | 1211879.7176 | 2626057.4945 | 1211879.7414 | 2626052.8329 | 1211878.9651 | 2626048.3876 | 1211877.4004 | 2626042.1775 | 1211874.0573
7 | 2626130.4531 | 1211817.458 | 2626125.8167 | 1211817.8602 | 2626119.8974 | 1211819.7687 | 2626108.4201 | 1211827.8343 | 2626099.4997 | 1211836.6892 | 2626091.1317 | 1211853.008
8 | 2626086.3413 | 1211860.8788 | 2626090.649 | 1211853.9492 | 2626091.1317 | 1211853.008
9 | 2626431.0202 | 1211892.6373 | 2626130.4531 | 1211817.458
10 | 2626086.3413 | 1211860.8788 | 2626072.7353 | 1211855.3496 | 2626072.6939 | 1211855.3188
11 | 2626440.6729 | 1211869.1072 | 2626437.0256 | 1211870.9143 | 2626434.3597 | 1211874.1599 | 2626432.2886 | 1211882.0664 | 2626431.0202 | 1211892.6373
12 | 2626431.0202 | 1211892.6373 | 2626430.3874 | 1211897.9114 | 2626432.5699 | 1211908.3412
13 | 2626626.5638 | 1211957.6939 | 2626858.3564 | 1211998.1096
14 | 2626626.5638 | 1211957.6939 | 2626615.3838 | 1211944.9702
15 | 2626858.3564 | 1211998.1096 | 2626868.2077 | 1212008.8266
16 | 2626609.6686 | 1211936.8512 | 2626611.735 | 1211940.2846 | 2626615.3838 | 1211944.9702
17 | 2627151.5729 | 1211591.871 | 2627154.3626 | 1211608.3152 | 2627158.538 | 1211624.1098
18 | 2627158.538 | 1211624.1098 | 2627173.4479 | 1211616.8178 | 2627177.8528 | 1211615.5705 | 2627182.3688 | 1211614.9462 | 2627186.9276 | 1211614.9448 | 2627191.4378 | 1211615.5879 | 2627195.7554 | 1211616.8304 | 2627242.6629 | 1211632.3084 | 2627243.8397 | 1211632.5028 | 2627244.8434 | 1211632.3184 | 2627246.261 | 1211631.3687 | 2627246.7508 | 1211630.5927 | 2627246.8979 | 1211628.3255 | 2627246.0687 | 1211626.8764 | 2627239.0692 | 1211620.6076 | 2627235.8316 | 1211615.8124 | 2627234.7047 | 1211613.0056 | 2627233.3784 | 1211605.6065 | 2627233.514 | 1211600.86 | 2627234.4316 | 1211596.2393
19 | 2627265.7987 | 1211557.3826 | 2627265.2642 | 1211559.6147 | 2627263.4202 | 1211565.7765 | 2627261.9687 | 1211569.1607 | 2627260.0398 | 1211572.2759 | 2627257.6717 | 1211575.0666 | 2627254.8873 | 1211577.4998 | 2627237.8408 | 1211590.0847 | 2627235.2246 | 1211593.9639 | 2627234.4316 | 1211596.2393
20 | 2627153.2577 | 1211241.3023 | 2627265.7987 | 1211557.3826
21 | 2627153.2577 | 1211241.3023 | 2626805.4961 | 1211306.7584
22 | 2626285.9751 | 1211173.4472 | 2626286.6586 | 1211174.1567
23 | 2626371.422 | 1211206.2261 | 2626367.628 | 1211208.4662 | 2626363.0153 | 1211210.3025 | 2626360.3455 | 1211210.9244 | 2626352.6408 | 1211210.9015 | 2626346.3605 | 1211210.0845 | 2626340.2278 | 1211208.5121 | 2626334.3265 | 1211206.1959 | 2626328.8458 | 1211203.2367 | 2626306.8484 | 1211192.8562 | 2626302.5907 | 1211189.9803 | 2626298.7073 | 1211186.6614 | 2626286.6586 | 1211174.1567
24 | 2626345.5939 | 1211425.264 | 2626371.422 | 1211206.2261
25 | 2626356.0997 | 1211439.5794 | 2626345.5939 | 1211425.264
26 | 2626639.3654 | 1211568.3867 | 2626639.515 | 1211568.142 | 2626643.2694 | 1211555.9963 | 2626643.3718 | 1211555.8082
27 | 2626639.3654 | 1211568.3867 | 2626634.4099 | 1211576.4906 | 2626631.0682 | 1211579.5886 | 2626626.9111 | 1211581.5045 | 2626622.6804 | 1211582.3653
28 | 2626646.5564 | 1211551.1208 | 2626646.4287 | 1211551.2077 | 2626645.062 | 1211552.7024 | 2626643.3718 | 1211555.8082
29 | 2626622.6804 | 1211582.3653 | 2626612.9913 | 1211584.3366
30 | 2626646.5564 | 1211551.1208 | 2626805.4961 | 1211306.7584
31 | 2626604.0385 | 1211585.5271 | 2626611.4581 | 1211584.6486 | 2626612.9913 | 1211584.3366
32 | 2626604.0385 | 1211585.5271 | 2626600.2775 | 1211580.4075 | 2626596.8254 | 1211572.4654 | 2626594.737 | 1211562.0058 | 2626595.142 | 1211549.5227 | 2626597.0737 | 1211521.3875
33 | 2626604.0385 | 1211585.5271 | 2626603.4202 | 1211593.0064 | 2626602.9929 | 1211600.2197 | 2626601.9129 | 1211607.3078 | 2626600.1797 | 1211614.3152 | 2626597.8161 | 1211619.5743
34 | 2626538.7067 | 1211713.0756 | 2626546.6387 | 1211698.4032
35 | 2626560.3332 | 1211673.0712 | 2626546.6387 | 1211698.4032
36 | 2626538.7067 | 1211713.0756 | 2626567.6189 | 1211726.1781 | 2626611.1237 | 1211743.2591 | 2626620.5487 | 1211747.5257 | 2626627.4201 | 1211751.9589 | 2626632.7137 | 1211755.8402 | 2626639.0832 | 1211760.3712
37 | 2626560.3332 | 1211673.0712 | 2626554.284 | 1211669.9426 | 2626534.7316 | 1211675.7813
38 | 2626560.3332 | 1211673.0712 | 2626561.581 | 1211670.9756 | 2626575.4501 | 1211653.2272 | 2626570.2268 | 1211647.1894 | 2626566.892 | 1211641.9161
39 | 2626639.0832 | 1211760.3712 | 2626643.895 | 1211764.9174 | 2626651.2848 | 1211772.9537
40 | 2626566.892 | 1211641.9161 | 2626567.3571 | 1211641.0838
41 | 2626609.6686 | 1211936.8512 | 2626651.2848 | 1211772.9537
42 | 2626567.3571 | 1211641.0838 | 2626567.6947 | 1211640.4797
43 | 2626597.8161 | 1211619.5743 | 2626594.2068 | 1211617.9462 | 2626584.7599 | 1211618.5378 | 2626583.6989 | 1211619.3442
44 | 2626573.0215 | 1211630.9486 | 2626576.4119 | 1211624.8821 | 2626583.6989 | 1211619.3442
45 | 2626573.0215 | 1211630.9486 | 2626567.6947 | 1211640.4797
46 | 2626609.6686 | 1211936.8512 | 2626608.2893 | 1211939.491 | 2626605.0279 | 1211941.6666 | 2626600.387 | 1211943.1023 | 2626595.4866 | 1211943.0916 | 2626589.0842 | 1211941.2756
47 | 2626868.2077 | 1212008.8266 | 2626889.8792 | 1211994.5271
48 | 2626166.412 | 1211384.0256 | 2626168.829 | 1211373.4302 | 2626177.3295 | 1211368.6759 | 2626180.2052 | 1211367.8505
49 | 2626166.412 | 1211384.0256 | 2626178.7875 | 1211384.4801 | 2626184.8373 | 1211385.8407
50 | 2626166.412 | 1211384.0256 | 2626155.5386 | 1211384.0892 | 2626149.7033 | 1211382.3293 | 2626144.9159 | 1211379.0573
51 | 2626211.531 | 1211421.9448 | 2626214.3346 | 1211416.7875 | 2626214.8844 | 1211410.9533 | 2626213.943 | 1211405.5906 | 2626211.6077 | 1211400.9999 | 2626208.3102 | 1211397.5168 | 2626203.6718 | 1211394.8506 | 2626189.957 | 1211387.9199 | 2626184.8373 | 1211385.8407
52 | 2626211.531 | 1211421.9448 | 2626207.8817 | 1211424.1745 | 2626196.4979 | 1211426.3036 | 2626164.213 | 1211426.3733 | 2626155.9296 | 1211426.6928 | 2626147.764 | 1211427.8688 | 2626139.7694 | 1211429.9017 | 2626132.0296 | 1211432.7472 | 2626121.3009 | 1211437.9922 | 2626118.3821 | 1211439.9805 | 2626115.7958 | 1211442.3928 | 2626113.6106 | 1211445.1737 | 2626111.8648 | 1211448.2456 | 2626110.5967 | 1211451.542 | 2626109.8445 | 1211454.9962 | 2626107.7226 | 1211488.5059
53 | 2626211.531 | 1211421.9448 | 2626204.0348 | 1211417.754 | 2626193.133 | 1211412.1808 | 2626181.9664 | 1211408.0963 | 2626170.3628 | 1211404.8992 | 2626147.7084 | 1211400.6532 | 2626141.7422 | 1211398.7483
54 | 2626211.531 | 1211421.9448 | 2626239.9511 | 1211447.2282 | 2626251.2077 | 1211455.3983
55 | 2626561.1566 | 1211933.8337 | 2626567.5658 | 1211936.2413 | 2626573.5465 | 1211937.6354 | 2626581.5097 | 1211939.1272 | 2626589.0842 | 1211941.2756
56 | 2626469.6717 | 1211931.104 | 2626476.3342 | 1211929.5104 | 2626489.3836 | 1211926.8112 | 2626498.5262 | 1211926.1847 | 2626502.0415 | 1211926.7228 | 2626505.4629 | 1211927.8497 | 2626508.6768 | 1211929.5316 | 2626519.804 | 1211937.1075 | 2626523.7458 | 1211939.1039 | 2626527.987 | 1211940.4123 | 2626532.3909 | 1211941.01 | 2626536.8514 | 1211940.8519 | 2626547.8716 | 1211938.2883 | 2626561.1566 | 1211933.8337
57 | 2626469.6717 | 1211931.104 | 2626469.2754 | 1211924.543 | 2626466.4635 | 1211905.8533 | 2626465.2857 | 1211902.4684
58 | 2626465.2857 | 1211902.4684 | 2626463.9174 | 1211900.9059 | 2626458.1361 | 1211897.3783 | 2626455.5239 | 1211895.3656 | 2626453.2632 | 1211892.8875 | 2626451.4599 | 1211890.0557 | 2626450.1669 | 1211886.9371 | 2626448.8715 | 1211877.5149
59 | 2626303.0904 | 1211494.0989 | 2626310.5241 | 1211488.295 | 2626328.6182 | 1211466.9293 | 2626341.3763 | 1211452.9554 | 2626350.3045 | 1211444.2454 | 2626356.0997 | 1211439.5794
60 | 2626356.0997 | 1211439.5794 | 2626597.0737 | 1211521.3875
61 | 2626303.0904 | 1211494.0989 | 2626293.2565 | 1211485.9177 | 2626251.2077 | 1211455.3983
62 | 2626436.1653 | 1211919.5772 | 2626434.1596 | 1211915.9383 | 2626432.5699 | 1211908.3412
63 | 2626440.6729 | 1211869.1072 | 2626442.4054 | 1211870.7603 | 2626445.2789 | 1211872.1293 | 2626447.9722 | 1211874.7094 | 2626448.8715 | 1211877.5149

## bus_geodata
| x | y | coords
0 | 2625993.0913 | 1211845.2519
1 | 2625993.4052 | 1211845.5466
2 | 2625987.2364 | 1211831.5638
3 | 2626011.4335 | 1211851.0801
4 | 2625982.0829 | 1211825.1044
5 | 2626042.1775 | 1211874.0573
6 | 2626010.638 | 1211850.1718
7 | 2626091.1317 | 1211853.008
8 | 2626130.4531 | 1211817.458
9 | 2626086.3413 | 1211860.8788
10 | 2626431.0202 | 1211892.6373
11 | 2626072.6939 | 1211855.3188
12 | 2626626.5638 | 1211957.6939
13 | 2626858.3564 | 1211998.1096
14 | 2626615.3838 | 1211944.9702
15 | 2627158.538 | 1211624.1098
16 | 2627151.5729 | 1211591.871
17 | 2627234.4316 | 1211596.2393
18 | 2627265.7987 | 1211557.3826
19 | 2627153.2577 | 1211241.3023
20 | 2626286.6586 | 1211174.1567
21 | 2626285.9751 | 1211173.4472
22 | 2626371.422 | 1211206.2261
23 | 2626345.5939 | 1211425.264
24 | 2626639.3654 | 1211568.3867
25 | 2626643.3718 | 1211555.8082
26 | 2626622.6804 | 1211582.3653
27 | 2626646.5564 | 1211551.1208
28 | 2626612.9913 | 1211584.3366
29 | 2626805.4961 | 1211306.7584
30 | 2626604.0385 | 1211585.5271
31 | 2626546.6387 | 1211698.4032
32 | 2626538.7067 | 1211713.0756
33 | 2626560.3332 | 1211673.0712
34 | 2626639.0832 | 1211760.3712
35 | 2626534.7316 | 1211675.7813
36 | 2626566.892 | 1211641.9161
37 | 2626651.2848 | 1211772.9537
38 | 2626567.3571 | 1211641.0838
39 | 2626597.8161 | 1211619.5743
40 | 2626583.6989 | 1211619.3442
41 | 2626573.0215 | 1211630.9486
42 | 2626567.6947 | 1211640.4797
43 | 2626609.6686 | 1211936.8512
44 | 2626868.2077 | 1212008.8266
45 | 2626889.8792 | 1211994.5271
46 | 2626180.2052 | 1211367.8505
47 | 2626166.412 | 1211384.0256
48 | 2626184.8373 | 1211385.8407
49 | 2626144.9159 | 1211379.0573
50 | 2626211.531 | 1211421.9448
51 | 2626589.0842 | 1211941.2756
52 | 2626561.1566 | 1211933.8337
53 | 2626469.6717 | 1211931.104
54 | 2626465.2857 | 1211902.4684
55 | 2626356.0997 | 1211439.5794
56 | 2626303.0904 | 1211494.0989
57 | 2626597.0737 | 1211521.3875
58 | 2626251.2077 | 1211455.3983
59 | 2626436.1653 | 1211919.5772
60 | 2626432.5699 | 1211908.3412
61 | 2626440.6729 | 1211869.1072
62 | 2626448.8715 | 1211877.5149
63 | 2626107.7226 | 1211488.5059
64 | 2626141.7422 | 1211398.7483
65 | 2626538.7067 | 1211713.0756

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1