## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_957-23_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_957-23_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_957-23_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_957-23_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_957-23_0_2_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_957-23_0_2_node_51 | 0.4 | n |  | TRUE
6 | bus_LV_957-23_0_2_node_49 | 0.4 | n |  | TRUE
7 | bus_LV_957-23_0_2_node_48 | 0.4 | n |  | TRUE
8 | bus_LV_957-23_0_2_node_45 | 0.4 | n |  | TRUE
9 | bus_LV_957-23_0_2_node_96 | 0.4 | n |  | TRUE
10 | bus_LV_957-23_0_2_node_50 | 0.4 | n |  | TRUE
11 | bus_LV_957-23_0_2_node_76 | 0.4 | n |  | TRUE
12 | bus_LV_957-23_0_2_node_5 | 0.4 | n |  | TRUE
13 | bus_LV_957-23_0_2_node_6 | 0.4 | n |  | TRUE
14 | bus_LV_957-23_0_2_node_7 | 0.4 | n |  | TRUE
15 | bus_LV_957-23_0_2_node_8 | 0.4 | n |  | TRUE
16 | bus_LV_957-23_0_2_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_957-23_0_2_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_957-23_0_2_node_78 | 0.4 | n |  | TRUE
19 | bus_LV_957-23_0_2_node_57 | 0.4 | n |  | TRUE
20 | bus_LV_957-23_0_2_node_54 | 0.4 | n |  | TRUE
21 | bus_LV_957-23_0_2_node_25 | 0.4 | n |  | TRUE
22 | bus_LV_957-23_0_2_node_70 | 0.4 | n |  | TRUE
23 | bus_LV_957-23_0_2_node_77 | 0.4 | n |  | TRUE
24 | bus_LV_957-23_0_2_node_56 | 0.4 | n |  | TRUE
25 | bus_LV_957-23_0_2_node_26 | 0.4 | n |  | TRUE
26 | bus_LV_957-23_0_2_node_15 | 0.4 | n |  | TRUE
27 | bus_LV_957-23_0_2_node_16 | 0.4 | n |  | TRUE
28 | bus_LV_957-23_0_2_node_17 | 0.4 | n |  | TRUE
29 | bus_LV_957-23_0_2_node_19 | 0.4 | n |  | TRUE
30 | bus_LV_957-23_0_2_node_72 | 0.4 | n |  | TRUE
31 | bus_LV_957-23_0_2_node_64 | 0.4 | n |  | TRUE
32 | bus_LV_957-23_0_2_node_27 | 0.4 | n |  | TRUE
33 | bus_LV_957-23_0_2_node_28 | 0.4 | n |  | TRUE
34 | bus_LV_957-23_0_2_node_29 | 0.4 | n |  | TRUE
35 | bus_LV_957-23_0_2_node_92 | 0.4 | n |  | TRUE
36 | bus_LV_957-23_0_2_node_33 | 0.4 | n |  | TRUE
37 | bus_LV_957-23_0_2_node_34 | 0.4 | n |  | TRUE
38 | bus_LV_957-23_0_2_node_35 | 0.4 | n |  | TRUE
39 | bus_LV_957-23_0_2_node_36 | 0.4 | n |  | TRUE
40 | bus_LV_957-23_0_2_node_37 | 0.4 | n |  | TRUE
41 | bus_LV_957-23_0_2_node_38 | 0.4 | n |  | TRUE
42 | bus_LV_957-23_0_2_node_61 | 0.4 | n |  | TRUE
43 | bus_LV_957-23_0_2_node_108 | 0.4 | n |  | TRUE
44 | bus_LV_957-23_0_2_node_62 | 0.4 | n |  | TRUE
45 | bus_LV_957-23_0_2_node_65 | 0.4 | n |  | TRUE
46 | bus_LV_957-23_0_2_node_66 | 0.4 | n |  | TRUE
47 | bus_LV_957-23_0_2_node_107 | 0.4 | n |  | TRUE
48 | bus_LV_957-23_0_2_node_75 | 0.4 | n |  | TRUE
49 | bus_LV_957-23_0_2_node_89 | 0.4 | n |  | TRUE
50 | bus_LV_957-23_0_2_node_88 | 0.4 | n |  | TRUE
51 | bus_LV_957-23_0_2_node_63 | 0.4 | n |  | TRUE
52 | bus_LV_957-23_0_2_node_79 | 0.4 | n |  | TRUE
53 | bus_LV_957-23_0_2_node_80 | 0.4 | n |  | TRUE
54 | bus_LV_957-23_0_2_node_68 | 0.4 | n |  | TRUE
55 | bus_LV_957-23_0_2_node_69 | 0.4 | n |  | TRUE
56 | bus_MV_183_0_node_76 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_957-23_0_2_load_0 | 0 | 0.0017165 | 0.00043021 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_957-23_0_2_load_1 | 1 | 0.0028452 | 0.00071308 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_957-23_0_2_load_2 | 2 | 0.0015856 | 0.00039738 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_957-23_0_2_load_51 | 5 | 0.0047508 | 0.0011907 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_957-23_0_2_load_49 | 6 | 0.016936 | 0.0042445 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_957-23_0_2_load_48 | 7 | 0.00018042 | 4.5218e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_957-23_0_2_load_45 | 8 | 0.00053821 | 0.00013489 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_957-23_0_2_load_50 | 10 | 0.0014035 | 0.00035174 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_957-23_0_2_load_76 | 11 | 0.0013865 | 0.0003475 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_957-23_0_2_load_5 | 12 | 0.00036527 | 9.1547e-05 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_957-23_0_2_load_6 | 13 | 0.00051584 | 0.00012928 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_957-23_0_2_load_8 | 15 | 0.00013586 | 3.405e-05 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_957-23_0_2_load_10 | 17 | 0.0004108 | 0.00010296 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_957-23_0_2_load_57 | 19 | 0.00011129 | 2.7893e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_957-23_0_2_load_54 | 20 | 0.0012925 | 0.00032392 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_957-23_0_2_load_25 | 21 | 0.00018068 | 4.5282e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_957-23_0_2_load_70 | 22 | 0.00058602 | 0.00014687 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_957-23_0_2_load_77 | 23 | 0.00027756 | 6.9563e-05 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_957-23_0_2_load_26 | 25 | 0.0017617 | 0.00044153 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_957-23_0_2_load_15 | 26 | 0.010398 | 0.002606 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_957-23_0_2_load_17 | 28 | 0.00067098 | 0.00016816 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_957-23_0_2_load_72 | 30 | 0.0014926 | 0.00037409 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_957-23_0_2_load_27 | 32 | 0.0036359 | 0.00091125 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_957-23_0_2_load_28 | 33 | 0.00018235 | 4.5701e-05 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_957-23_0_2_load_92 | 35 | 0.00039438 | 9.8842e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_957-23_0_2_load_33 | 36 | 0.00028785 | 7.2143e-05 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_957-23_0_2_load_34 | 37 | 0.00040081 | 0.00010045 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_957-23_0_2_load_36 | 39 | 0.0001514 | 3.7943e-05 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_957-23_0_2_load_38 | 41 | 0.0024477 | 0.00061345 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_957-23_0_2_load_61 | 42 | 0.00025537 | 6.4002e-05 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_957-23_0_2_load_108 | 43 | 0.055572 | 0.013928 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_957-23_0_2_load_62 | 44 | 0.00025566 | 6.4075e-05 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_957-23_0_2_load_75 | 48 | 0.0090367 | 0.0022648 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_957-23_0_2_load_88 | 50 | 0.0013956 | 0.00034976 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_957-23_0_2_load_63 | 51 | 0.00020343 | 5.0985e-05 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_957-23_0_2_load_79 | 52 | 0.00051184 | 0.00012828 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_957-23_0_2_load_80 | 53 | 0.00043275 | 0.00010846 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_957-23_0_2_load_68 | 54 | 0.00068448 | 0.00017155 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 41 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_957-23_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.030846 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
1 | LV_957-23_0_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.024655 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
2 | LV_957-23_0_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.0079601 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_957-23_0_2_line_3 | NAYY 4x150 SE | 2 | 4 | 0.10511 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
4 | LV_957-23_0_2_line_4 | NAYY 4x150 SE | 3 | 5 | 0.011407 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_957-23_0_2_line_5 | NAYY 4x150 SE | 3 | 6 | 0.051696 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_957-23_0_2_line_6 | NAYY 4x150 SE | 4 | 7 | 0.039333 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
7 | LV_957-23_0_2_line_7 | NAYY 4x150 SE | 4 | 8 | 0.043943 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_957-23_0_2_line_8 | NAYY 4x150 SE | 5 | 9 | 0.1351 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_957-23_0_2_line_9 | NAYY 4x150 SE | 6 | 10 | 0.015299 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_957-23_0_2_line_10 | NAYY 4x150 SE | 7 | 11 | 0.018767 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
11 | LV_957-23_0_2_line_11 | NAYY 4x150 SE | 9 | 33 | 0.13025 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_957-23_0_2_line_12 | NAYY 4x150 SE | 11 | 48 | 0.052711 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
13 | LV_957-23_0_2_line_13 | NAYY 4x150 SE | 12 | 13 | 0.015332 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_957-23_0_2_line_14 | NAYY 4x150 SE | 12 | 14 | 0.022211 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_957-23_0_2_line_15 | NAYY 4x150 SE | 13 | 15 | 0.0051319 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_957-23_0_2_line_16 | NAYY 4x150 SE | 14 | 16 | 0.02488 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_957-23_0_2_line_17 | NAYY 4x150 SE | 14 | 17 | 0.020438 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_957-23_0_2_line_18 | NAYY 4x150 SE | 15 | 18 | 0.014746 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_957-23_0_2_line_19 | NAYY 4x150 SE | 16 | 19 | 0.043941 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_957-23_0_2_line_20 | NAYY 4x150 SE | 16 | 20 | 0.0076884 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_957-23_0_2_line_21 | NAYY 4x150 SE | 17 | 21 | 0.00064988 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_957-23_0_2_line_22 | NAYY 4x150 SE | 18 | 22 | 0.015958 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_957-23_0_2_line_23 | NAYY 4x150 SE | 18 | 23 | 0.020944 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_957-23_0_2_line_24 | NAYY 4x150 SE | 19 | 24 | 0.027068 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_957-23_0_2_line_25 | NAYY 4x150 SE | 21 | 25 | 0.01227 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_957-23_0_2_line_26 | NAYY 4x150 SE | 22 | 55 | 0.018209 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_957-23_0_2_line_27 | NAYY 4x150 SE | 24 | 49 | 0.002474 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_957-23_0_2_line_28 | NAYY 4x150 SE | 26 | 27 | 0.023386 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_957-23_0_2_line_29 | NAYY 4x150 SE | 26 | 28 | 0.21756 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_957-23_0_2_line_30 | NAYY 4x150 SE | 27 | 29 | 0.10751 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_957-23_0_2_line_31 | NAYY 4x150 SE | 29 | 30 | 0.027277 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_957-23_0_2_line_32 | NAYY 4x150 SE | 30 | 31 | 0.091473 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_957-23_0_2_line_33 | NAYY 4x150 SE | 31 | 43 | 0.066499 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
34 | LV_957-23_0_2_line_34 | NAYY 4x150 SE | 31 | 40 | 0.048025 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
35 | LV_957-23_0_2_line_35 | NAYY 4x150 SE | 32 | 33 | 0.019753 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_957-23_0_2_line_36 | NAYY 4x150 SE | 33 | 34 | 0.046605 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_957-23_0_2_line_37 | NAYY 4x150 SE | 34 | 35 | 0.050918 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_957-23_0_2_line_38 | NAYY 4x150 SE | 36 | 37 | 0.030422 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_957-23_0_2_line_39 | NAYY 4x150 SE | 36 | 38 | 0.025175 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_957-23_0_2_line_40 | NAYY 4x150 SE | 37 | 39 | 0.039741 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_957-23_0_2_line_41 | NAYY 4x150 SE | 38 | 40 | 0.03711 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
42 | LV_957-23_0_2_line_42 | NAYY 4x150 SE | 38 | 41 | 0.016917 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
43 | LV_957-23_0_2_line_43 | NAYY 4x150 SE | 40 | 42 | 0.026478 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_957-23_0_2_line_44 | NAYY 4x150 SE | 42 | 44 | 0.0028577 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_957-23_0_2_line_45 | NAYY 4x150 SE | 43 | 47 | 0.030669 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
46 | LV_957-23_0_2_line_46 | NAYY 4x150 SE | 44 | 51 | 0.024244 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_957-23_0_2_line_47 | NAYY 4x150 SE | 45 | 46 | 0.022983 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
48 | LV_957-23_0_2_line_48 | NAYY 4x150 SE | 45 | 47 | 0.081993 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
49 | LV_957-23_0_2_line_49 | NAYY 4x150 SE | 46 | 48 | 0.089824 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
50 | LV_957-23_0_2_line_50 | NAYY 4x150 SE | 49 | 50 | 0.089205 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_957-23_0_2_line_51 | NAYY 4x150 SE | 50 | 53 | 0.016139 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_957-23_0_2_line_52 | NAYY 4x150 SE | 51 | 52 | 0.014406 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_957-23_0_2_line_53 | NAYY 4x150 SE | 52 | 53 | 0.011992 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_957-23_0_2_line_54 | NAYY 4x150 SE | 54 | 55 | 0.028233 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_957-23_0_2_trafo_38 | 0.25 MVA 20/0.4 kV | 56 | 41 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2624462.913 | 1209181.0709 | 2624460.3514 | 1209186.521 | 2624440.6978 | 1209201.6856
1 | 2624462.913 | 1209181.0709 | 2624471.1783 | 1209163.4858 | 2624474.0172 | 1209159.0996
2 | 2624434.3957 | 1209206.5484 | 2624440.6978 | 1209201.6856
3 | 2624529.6645 | 1209069.9507 | 2624506.1212 | 1209109.4986 | 2624474.0172 | 1209159.0996
4 | 2624434.3957 | 1209206.5484 | 2624423.3787 | 1209203.5906
5 | 2624434.3957 | 1209206.5484 | 2624444.4227 | 1209222.943 | 2624459.3696 | 1209233.2654 | 2624467.2303 | 1209236.6439 | 2624472.9636 | 1209236.1226
6 | 2624529.6645 | 1209069.9507 | 2624501.1431 | 1209042.865
7 | 2624529.6645 | 1209069.9507 | 2624547.5725 | 1209088.5457 | 2624558.4724 | 1209103.029
8 | 2624312.9671 | 1209240.8838 | 2624314.7357 | 1209234.0205 | 2624312.0531 | 1209226.4053 | 2624312.3494 | 1209218.969 | 2624316.4334 | 1209216.5398 | 2624322.6976 | 1209216.2874 | 2624423.3787 | 1209203.5906
9 | 2624472.9636 | 1209236.1226 | 2624472.9636 | 1209236.1226 | 2624480.2626 | 1209241.1665 | 2624483.2007 | 1209246.8818
10 | 2624487.5399 | 1209029.9358 | 2624496.3794 | 1209038.3411 | 2624501.1431 | 1209042.865
11 | 2624312.9671 | 1209240.8838 | 2624199.8696 | 1209305.4946
12 | 2624449.3413 | 1208993.6136 | 2624487.5399 | 1209029.9358
13 | 2624698.9635 | 1209096.3613 | 2624700.3273 | 1209100.8372 | 2624705.8405 | 1209107.6082 | 2624707.6185 | 1209108.3361
14 | 2624693.0459 | 1209074.9593 | 2624696.1726 | 1209087.2012 | 2624698.9635 | 1209096.3613
15 | 2624707.6185 | 1209108.3361 | 2624712.3678 | 1209110.2806
16 | 2624693.0459 | 1209074.9593 | 2624697.7051 | 1209073.1886 | 2624704.9407 | 1209069.6721 | 2624716.5138 | 1209066.8405
17 | 2624693.0459 | 1209074.9593 | 2624674.6206 | 1209066.114
18 | 2624726.3485 | 1209114.897 | 2624717.663 | 1209112.4486 | 2624712.3678 | 1209110.2806
19 | 2624716.5138 | 1209066.8405 | 2624716.0725 | 1209061.4246 | 2624723.3738 | 1209056.741 | 2624728.4141 | 1209051.0698 | 2624732.3361 | 1209036.4111 | 2624733.0092 | 1209029.3725
20 | 2624716.5138 | 1209066.8405 | 2624723.9818 | 1209065.0125
21 | 2624674.0347 | 1209065.8327 | 2624674.6206 | 1209066.114
22 | 2624726.3485 | 1209114.897 | 2624736.826 | 1209119.6541 | 2624740.7063 | 1209121.8342
23 | 2624726.3485 | 1209114.897 | 2624723.4926 | 1209125.4133 | 2624718.9962 | 1209133.7883 | 2624718.6441 | 1209134.1989
24 | 2624735.5857 | 1209002.4278 | 2624733.0092 | 1209029.3725
25 | 2624674.0347 | 1209065.8327 | 2624665.3186 | 1209061.6485 | 2624664.6144 | 1209059.1442
26 | 2624756.5809 | 1209130.7532 | 2624740.7063 | 1209121.8342
27 | 2624733.5621 | 1209000.9964 | 2624735.5857 | 1209002.4278
28 | 2624665.4285 | 1208874.7554 | 2624669.7028 | 1208865.0009 | 2624676.7475 | 1208854.391
29 | 2624676.7475 | 1208854.391 | 2624860.9832 | 1208738.6718
30 | 2624665.4285 | 1208874.7554 | 2624651.2948 | 1208869.8833 | 2624629.7608 | 1208864.1469 | 2624617.3184 | 1208860.1823 | 2624602.3116 | 1208856.8743 | 2624595.6862 | 1208854.29 | 2624590.4774 | 1208851.0335 | 2624587.3211 | 1208847.7631 | 2624572.648 | 1208866.8135
31 | 2624572.648 | 1208866.8135 | 2624568.1909 | 1208876.7118 | 2624564.7132 | 1208888.7376 | 2624561.5958 | 1208891.0863
32 | 2624511.1076 | 1208966.7502 | 2624554.9685 | 1208896.0795 | 2624561.5958 | 1208891.0863
33 | 2624511.1076 | 1208966.7502 | 2624484.5476 | 1208905.7851
34 | 2624554.9001 | 1208986.741 | 2624511.1076 | 1208966.7502
35 | 2624199.8696 | 1209305.4946 | 2624192.5405 | 1209302.2187 | 2624180.9116 | 1209300.7219
36 | 2624196.834 | 1209349.3847 | 2624204.6987 | 1209321.7789 | 2624204.7382 | 1209312.018 | 2624199.8696 | 1209305.4946
37 | 2624196.834 | 1209349.3847 | 2624211.7018 | 1209356.749 | 2624230.2212 | 1209365.151 | 2624243.6571 | 1209369.4745
38 | 2624561.817 | 1209037.015 | 2624555.4276 | 1209032.2687 | 2624537.9889 | 1209018.11
39 | 2624520.4115 | 1209000.1293 | 2624535.018 | 1209015.6979 | 2624537.9889 | 1209018.11
40 | 2624591.0355 | 1209063.7803 | 2624585.6892 | 1209057.8518 | 2624572.5237 | 1209044.9683 | 2624561.817 | 1209037.015
41 | 2624554.9001 | 1208986.741 | 2624547.894 | 1208989.8918 | 2624532.3348 | 1208997.1543 | 2624525.7657 | 1208999.4175 | 2624520.4115 | 1209000.1293
42 | 2624520.4115 | 1209000.1293 | 2624515.7141 | 1209000.0766 | 2624511.1649 | 1208999.113 | 2624506.9008 | 1208997.2056 | 2624504.5252 | 1208995.5465
43 | 2624554.9001 | 1208986.741 | 2624579.775 | 1208977.6668
44 | 2624579.775 | 1208977.6668 | 2624581.1487 | 1208977.1657 | 2624582.5304 | 1208976.9693
45 | 2624484.5476 | 1208905.7851 | 2624485.5045 | 1208902.287 | 2624484.2878 | 1208898.68 | 2624479.0261 | 1208893.5111 | 2624477.1663 | 1208889.1678 | 2624474.9679 | 1208882.1437 | 2624474.6108 | 1208878.3735
46 | 2624606.5327 | 1208973.5578 | 2624582.5304 | 1208976.9693
47 | 2624408.8639 | 1208927.3655 | 2624401.8035 | 1208925.2022 | 2624395.9879 | 1208925.3452 | 2624392.6615 | 1208926.4767 | 2624386.9267 | 1208929.1548
48 | 2624408.8639 | 1208927.3655 | 2624474.6108 | 1208878.3735
49 | 2624386.9267 | 1208929.1548 | 2624393.9595 | 1208938.0996 | 2624413.6602 | 1208959.0251 | 2624419.6091 | 1208965.3418 | 2624449.3413 | 1208993.6136
50 | 2624733.5621 | 1209000.9964 | 2624721.8695 | 1208994.0775 | 2624706.5937 | 1208987.922 | 2624683.3305 | 1208981.3667 | 2624659.3925 | 1208976.2095 | 2624648.9589 | 1208975.0913
51 | 2624648.9589 | 1208975.0913 | 2624638.2475 | 1208973.9433 | 2624632.8841 | 1208973.7754
52 | 2624606.5327 | 1208973.5578 | 2624610.0352 | 1208973.06 | 2624620.8978 | 1208973.4001
53 | 2624620.8978 | 1208973.4001 | 2624632.8841 | 1208973.7754
54 | 2624756.5809 | 1209130.7532 | 2624762.7159 | 1209132.3462 | 2624770.1501 | 1209132.2658 | 2624783.3153 | 1209130.4082 | 2624784.4253 | 1209130.058

## bus_geodata
| x | y | coords
0 | 2624462.913 | 1209181.0709
1 | 2624440.6978 | 1209201.6856
2 | 2624474.0172 | 1209159.0996
3 | 2624434.3957 | 1209206.5484
4 | 2624529.6645 | 1209069.9507
5 | 2624423.3787 | 1209203.5906
6 | 2624472.9636 | 1209236.1226
7 | 2624501.1431 | 1209042.865
8 | 2624558.4724 | 1209103.029
9 | 2624312.9671 | 1209240.8838
10 | 2624483.2007 | 1209246.8818
11 | 2624487.5399 | 1209029.9358
12 | 2624698.9635 | 1209096.3613
13 | 2624707.6185 | 1209108.3361
14 | 2624693.0459 | 1209074.9593
15 | 2624712.3678 | 1209110.2806
16 | 2624716.5138 | 1209066.8405
17 | 2624674.6206 | 1209066.114
18 | 2624726.3485 | 1209114.897
19 | 2624733.0092 | 1209029.3725
20 | 2624723.9818 | 1209065.0125
21 | 2624674.0347 | 1209065.8327
22 | 2624740.7063 | 1209121.8342
23 | 2624718.6441 | 1209134.1989
24 | 2624735.5857 | 1209002.4278
25 | 2624664.6144 | 1209059.1442
26 | 2624676.7475 | 1208854.391
27 | 2624665.4285 | 1208874.7554
28 | 2624860.9832 | 1208738.6718
29 | 2624572.648 | 1208866.8135
30 | 2624561.5958 | 1208891.0863
31 | 2624511.1076 | 1208966.7502
32 | 2624180.9116 | 1209300.7219
33 | 2624199.8696 | 1209305.4946
34 | 2624196.834 | 1209349.3847
35 | 2624243.6571 | 1209369.4745
36 | 2624537.9889 | 1209018.11
37 | 2624561.817 | 1209037.015
38 | 2624520.4115 | 1209000.1293
39 | 2624591.0355 | 1209063.7803
40 | 2624554.9001 | 1208986.741
41 | 2624504.5252 | 1208995.5465
42 | 2624579.775 | 1208977.6668
43 | 2624484.5476 | 1208905.7851
44 | 2624582.5304 | 1208976.9693
45 | 2624408.8639 | 1208927.3655
46 | 2624386.9267 | 1208929.1548
47 | 2624474.6108 | 1208878.3735
48 | 2624449.3413 | 1208993.6136
49 | 2624733.5621 | 1209000.9964
50 | 2624648.9589 | 1208975.0913
51 | 2624606.5327 | 1208973.5578
52 | 2624620.8978 | 1208973.4001
53 | 2624632.8841 | 1208973.7754
54 | 2624784.4253 | 1209130.058
55 | 2624756.5809 | 1209130.7532
56 | 2624504.5252 | 1208995.5465

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1