## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_957-25_2_3_node_120 | 0.4 | n |  | TRUE
1 | bus_LV_957-25_2_3_node_151 | 0.4 | n |  | TRUE
2 | bus_LV_957-25_2_3_node_121 | 0.4 | n |  | TRUE
3 | bus_LV_957-25_2_3_node_269 | 0.4 | n |  | TRUE
4 | bus_LV_957-25_2_3_node_156 | 0.4 | n |  | TRUE
5 | bus_LV_957-25_2_3_node_157 | 0.4 | n |  | TRUE
6 | bus_LV_957-25_2_3_node_273 | 0.4 | n |  | TRUE
7 | bus_LV_957-25_2_3_node_183 | 0.4 | n |  | TRUE
8 | bus_LV_957-25_2_3_node_184 | 0.4 | n |  | TRUE
9 | bus_LV_957-25_2_3_node_263 | 0.4 | n |  | TRUE
10 | bus_LV_957-25_2_3_node_275 | 0.4 | n |  | TRUE
11 | bus_LV_957-25_2_3_node_185 | 0.4 | n |  | TRUE
12 | bus_LV_957-25_2_3_node_186 | 0.4 | n |  | TRUE
13 | bus_LV_957-25_2_3_node_187 | 0.4 | n |  | TRUE
14 | bus_LV_957-25_2_3_node_264 | 0.4 | n |  | TRUE
15 | bus_LV_957-25_2_3_node_188 | 0.4 | n |  | TRUE
16 | bus_LV_957-25_2_3_node_189 | 0.4 | n |  | TRUE
17 | bus_LV_957-25_2_3_node_254 | 0.4 | n |  | TRUE
18 | bus_LV_957-25_2_3_node_262 | 0.4 | n |  | TRUE
19 | bus_LV_957-25_2_3_node_190 | 0.4 | n |  | TRUE
20 | bus_LV_957-25_2_3_node_191 | 0.4 | n |  | TRUE
21 | bus_LV_957-25_2_3_node_192 | 0.4 | n |  | TRUE
22 | bus_LV_957-25_2_3_node_193 | 0.4 | n |  | TRUE
23 | bus_LV_957-25_2_3_node_194 | 0.4 | n |  | TRUE
24 | bus_LV_957-25_2_3_node_195 | 0.4 | n |  | TRUE
25 | bus_LV_957-25_2_3_node_196 | 0.4 | n |  | TRUE
26 | bus_LV_957-25_2_3_node_197 | 0.4 | n |  | TRUE
27 | bus_LV_957-25_2_3_node_200 | 0.4 | n |  | TRUE
28 | bus_LV_957-25_2_3_node_268 | 0.4 | n |  | TRUE
29 | bus_LV_957-25_2_3_node_198 | 0.4 | n |  | TRUE
30 | bus_LV_957-25_2_3_node_199 | 0.4 | n |  | TRUE
31 | bus_LV_957-25_2_3_node_201 | 0.4 | n |  | TRUE
32 | bus_LV_957-25_2_3_node_202 | 0.4 | n |  | TRUE
33 | bus_LV_957-25_2_3_node_280 | 0.4 | n |  | TRUE
34 | bus_LV_957-25_2_3_node_233 | 0.4 | n |  | TRUE
35 | bus_LV_957-25_2_3_node_205 | 0.4 | n |  | TRUE
36 | bus_LV_957-25_2_3_node_242 | 0.4 | n |  | TRUE
37 | bus_LV_957-25_2_3_node_203 | 0.4 | n |  | TRUE
38 | bus_LV_957-25_2_3_node_204 | 0.4 | n |  | TRUE
39 | bus_LV_957-25_2_3_node_206 | 0.4 | n |  | TRUE
40 | bus_LV_957-25_2_3_node_216 | 0.4 | n |  | TRUE
41 | bus_LV_957-25_2_3_node_207 | 0.4 | n |  | TRUE
42 | bus_LV_957-25_2_3_node_208 | 0.4 | n |  | TRUE
43 | bus_LV_957-25_2_3_node_210 | 0.4 | n |  | TRUE
44 | bus_LV_957-25_2_3_node_211 | 0.4 | n |  | TRUE
45 | bus_LV_957-25_2_3_node_237 | 0.4 | n |  | TRUE
46 | bus_LV_957-25_2_3_node_257 | 0.4 | n |  | TRUE
47 | bus_LV_957-25_2_3_node_212 | 0.4 | n |  | TRUE
48 | bus_LV_957-25_2_3_node_288 | 0.4 | n |  | TRUE
49 | bus_LV_957-25_2_3_node_213 | 0.4 | n |  | TRUE
50 | bus_LV_957-25_2_3_node_215 | 0.4 | n |  | TRUE
51 | bus_LV_957-25_2_3_node_217 | 0.4 | n |  | TRUE
52 | bus_LV_957-25_2_3_node_240 | 0.4 | n |  | TRUE
53 | bus_LV_957-25_2_3_node_218 | 0.4 | n |  | TRUE
54 | bus_LV_957-25_2_3_node_219 | 0.4 | n |  | TRUE
55 | bus_LV_957-25_2_3_node_220 | 0.4 | n |  | TRUE
56 | bus_LV_957-25_2_3_node_221 | 0.4 | n |  | TRUE
57 | bus_LV_957-25_2_3_node_241 | 0.4 | n |  | TRUE
58 | bus_LV_957-25_2_3_node_222 | 0.4 | n |  | TRUE
59 | bus_LV_957-25_2_3_node_223 | 0.4 | n |  | TRUE
60 | bus_LV_957-25_2_3_node_224 | 0.4 | n |  | TRUE
61 | bus_LV_957-25_2_3_node_225 | 0.4 | n |  | TRUE
62 | bus_LV_957-25_2_3_node_261 | 0.4 | n |  | TRUE
63 | bus_LV_957-25_2_3_node_226 | 0.4 | n |  | TRUE
64 | bus_LV_957-25_2_3_node_227 | 0.4 | n |  | TRUE
65 | bus_LV_957-25_2_3_node_228 | 0.4 | n |  | TRUE
66 | bus_LV_957-25_2_3_node_229 | 0.4 | n |  | TRUE
67 | bus_LV_957-25_2_3_node_272 | 0.4 | n |  | TRUE
68 | bus_LV_957-25_2_3_node_230 | 0.4 | n |  | TRUE
69 | bus_LV_957-25_2_3_node_231 | 0.4 | n |  | TRUE
70 | bus_LV_957-25_2_3_node_232 | 0.4 | n |  | TRUE
71 | bus_LV_957-25_2_3_node_279 | 0.4 | n |  | TRUE
72 | bus_LV_957-25_2_3_node_287 | 0.4 | n |  | TRUE
73 | bus_LV_957-25_2_3_node_234 | 0.4 | n |  | TRUE
74 | bus_LV_957-25_2_3_node_235 | 0.4 | n |  | TRUE
75 | bus_LV_957-25_2_3_node_236 | 0.4 | n |  | TRUE
76 | bus_LV_957-25_2_3_node_238 | 0.4 | n |  | TRUE
77 | bus_LV_957-25_2_3_node_239 | 0.4 | n |  | TRUE
78 | bus_LV_957-25_2_3_node_243 | 0.4 | n |  | TRUE
79 | bus_LV_957-25_2_3_node_244 | 0.4 | n |  | TRUE
80 | bus_LV_957-25_2_3_node_267 | 0.4 | n |  | TRUE
81 | bus_LV_957-25_2_3_node_252 | 0.4 | n |  | TRUE
82 | bus_LV_957-25_2_3_node_249 | 0.4 | n |  | TRUE
83 | bus_LV_957-25_2_3_node_255 | 0.4 | n |  | TRUE
84 | bus_LV_957-25_2_3_node_253 | 0.4 | n |  | TRUE
85 | bus_LV_957-25_2_3_node_245 | 0.4 | n |  | TRUE
86 | bus_LV_957-25_2_3_node_246 | 0.4 | n |  | TRUE
87 | bus_LV_957-25_2_3_node_247 | 0.4 | n |  | TRUE
88 | bus_LV_957-25_2_3_node_248 | 0.4 | n |  | TRUE
89 | bus_LV_957-25_2_3_node_274 | 0.4 | n |  | TRUE
90 | bus_LV_957-25_2_3_node_250 | 0.4 | n |  | TRUE
91 | bus_LV_957-25_2_3_node_251 | 0.4 | n |  | TRUE
92 | bus_LV_957-25_2_3_node_256 | 0.4 | n |  | TRUE
93 | bus_LV_957-25_2_3_node_284 | 0.4 | n |  | TRUE
94 | bus_LV_957-25_2_3_node_281 | 0.4 | n |  | TRUE
95 | bus_LV_957-25_2_3_node_258 | 0.4 | n |  | TRUE
96 | bus_LV_957-25_2_3_node_259 | 0.4 | n |  | TRUE
97 | bus_LV_957-25_2_3_node_271 | 0.4 | n |  | TRUE
98 | bus_LV_957-25_2_3_node_277 | 0.4 | n |  | TRUE
99 | bus_LV_957-25_2_3_node_266 | 0.4 | n |  | TRUE
100 | bus_LV_957-25_2_3_node_270 | 0.4 | n |  | TRUE
101 | bus_LV_957-25_2_3_node_276 | 0.4 | n |  | TRUE
102 | bus_LV_957-25_2_3_node_278 | 0.4 | n |  | TRUE
103 | bus_LV_957-25_2_3_node_286 | 0.4 | n |  | TRUE
104 | bus_LV_957-25_2_3_node_282 | 0.4 | n |  | TRUE
105 | bus_LV_957-25_2_3_node_289 | 0.4 | n |  | TRUE
106 | bus_MV_0_node_233 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_957-25_2_3_load_120 | 0 | 7.6756e-05 | 1.9237e-05 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_957-25_2_3_load_151 | 1 | 0.00042717 | 0.00010706 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_957-25_2_3_load_269 | 3 | 0.00028592 | 7.1659e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_957-25_2_3_load_156 | 4 | 0.00035014 | 8.7754e-05 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_957-25_2_3_load_273 | 6 | 8.5339e-05 | 2.1388e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_957-25_2_3_load_183 | 7 | 0.00027777 | 6.9616e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_957-25_2_3_load_275 | 10 | 0.00035819 | 8.977e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_957-25_2_3_load_185 | 11 | 0.00017033 | 4.2689e-05 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_957-25_2_3_load_186 | 12 | 0.00035019 | 8.7766e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_957-25_2_3_load_264 | 14 | 8.7224e-05 | 2.186e-05 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_957-25_2_3_load_189 | 16 | 8.6946e-05 | 2.1791e-05 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_957-25_2_3_load_262 | 18 | 6.587e-05 | 1.6508e-05 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_957-25_2_3_load_190 | 19 | 0.0002504 | 6.2756e-05 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_957-25_2_3_load_192 | 21 | 0.00016452 | 4.1233e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_957-25_2_3_load_193 | 22 | 0.00043635 | 0.00010936 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_957-25_2_3_load_194 | 23 | 0.00032192 | 8.068e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_957-25_2_3_load_195 | 24 | 0.00030168 | 7.5607e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_957-25_2_3_load_196 | 25 | 0.00028092 | 7.0404e-05 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_957-25_2_3_load_268 | 28 | 0.00019523 | 4.893e-05 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_957-25_2_3_load_198 | 29 | 0.00012404 | 3.1086e-05 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_957-25_2_3_load_199 | 30 | 0.00072734 | 0.00018229 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_957-25_2_3_load_202 | 32 | 0.00014154 | 3.5472e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_957-25_2_3_load_280 | 33 | 0.0002623 | 6.5739e-05 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_957-25_2_3_load_203 | 37 | 0.00012005 | 3.0086e-05 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_957-25_2_3_load_204 | 38 | 0.00015382 | 3.855e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_957-25_2_3_load_206 | 39 | 0.00015259 | 3.8242e-05 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_957-25_2_3_load_216 | 40 | 0.00029784 | 7.4647e-05 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_957-25_2_3_load_207 | 41 | 0.00088273 | 0.00022123 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_957-25_2_3_load_211 | 44 | 0.00010443 | 2.6172e-05 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_957-25_2_3_load_237 | 45 | 0.00015251 | 3.8222e-05 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_957-25_2_3_load_257 | 46 | 0.00028588 | 7.1647e-05 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_957-25_2_3_load_212 | 47 | 0.00032841 | 8.2307e-05 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_957-25_2_3_load_213 | 49 | 0.00020397 | 5.1121e-05 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_957-25_2_3_load_240 | 52 | 0.00014029 | 3.5161e-05 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_957-25_2_3_load_218 | 53 | 0.00018813 | 4.715e-05 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_957-25_2_3_load_219 | 54 | 0.00016186 | 4.0566e-05 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_957-25_2_3_load_220 | 55 | 0.00051406 | 0.00012884 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_957-25_2_3_load_221 | 56 | 0.00014196 | 3.558e-05 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_957-25_2_3_load_222 | 58 | 0.00015705 | 3.9362e-05 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_957-25_2_3_load_224 | 60 | 7.3175e-05 | 1.8339e-05 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_957-25_2_3_load_261 | 62 | 0.00039608 | 9.9267e-05 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_957-25_2_3_load_226 | 63 | 0.00058736 | 0.00014721 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_957-25_2_3_load_227 | 64 | 9.0506e-05 | 2.2683e-05 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_957-25_2_3_load_229 | 66 | 0.00034442 | 8.6319e-05 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_957-25_2_3_load_230 | 68 | 0.00011171 | 2.7996e-05 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_957-25_2_3_load_231 | 69 | 0.00017796 | 4.4601e-05 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_957-25_2_3_load_287 | 72 | 0.00027393 | 6.8654e-05 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_957-25_2_3_load_234 | 73 | 0.00011816 | 2.9614e-05 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_957-25_2_3_load_236 | 75 | 0.00050303 | 0.00012607 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_957-25_2_3_load_238 | 76 | 0.00011637 | 2.9164e-05 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_957-25_2_3_load_239 | 77 | 8.6668e-05 | 2.1721e-05 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_957-25_2_3_load_267 | 80 | 0.00021193 | 5.3113e-05 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_957-25_2_3_load_249 | 82 | 0.00033773 | 8.4644e-05 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_957-25_2_3_load_253 | 84 | 0.00015468 | 3.8765e-05 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_957-25_2_3_load_245 | 85 | 9.4276e-05 | 2.3628e-05 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_957-25_2_3_load_247 | 87 | 0.00016088 | 4.0321e-05 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_957-25_2_3_load_248 | 88 | 0.00054035 | 0.00013543 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_957-25_2_3_load_274 | 89 | 0.00060636 | 0.00015197 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_957-25_2_3_load_256 | 92 | 0.00014455 | 3.6227e-05 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_957-25_2_3_load_284 | 93 | 0.00061743 | 0.00015474 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_957-25_2_3_load_281 | 94 | 0.00016339 | 4.095e-05 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_957-25_2_3_load_258 | 95 | 7.8054e-05 | 1.9562e-05 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_957-25_2_3_load_259 | 96 | 0.00036311 | 9.1003e-05 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_957-25_2_3_load_266 | 99 | 9.593e-05 | 2.4042e-05 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_957-25_2_3_load_270 | 100 | 0.00064648 | 0.00016202 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_957-25_2_3_load_276 | 101 | 0.00010873 | 2.7249e-05 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_957-25_2_3_load_278 | 102 | 0.00011368 | 2.8492e-05 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_957-25_2_3_load_286 | 103 | 0.0006135 | 0.00015376 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_957-25_2_3_load_289 | 105 | 0.00027378 | 6.8615e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 34 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_957-25_2_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.032094 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_957-25_2_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.10898 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_957-25_2_3_line_2 | NAYY 4x150 SE | 1 | 4 | 0.31369 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_957-25_2_3_line_3 | NAYY 4x150 SE | 2 | 3 | 0.13049 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_957-25_2_3_line_4 | NAYY 4x150 SE | 3 | 28 | 0.028244 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_957-25_2_3_line_5 | NAYY 4x150 SE | 4 | 5 | 0.3532 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_957-25_2_3_line_6 | NAYY 4x150 SE | 5 | 6 | 0.35435 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_957-25_2_3_line_7 | NAYY 4x150 SE | 6 | 9 | 0.014373 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_957-25_2_3_line_8 | NAYY 4x150 SE | 7 | 8 | 0.24495 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_957-25_2_3_line_9 | NAYY 4x150 SE | 8 | 9 | 0.2399 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_957-25_2_3_line_10 | NAYY 4x150 SE | 8 | 10 | 0.29046 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_957-25_2_3_line_11 | NAYY 4x150 SE | 9 | 89 | 0.0084759 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_957-25_2_3_line_12 | NAYY 4x150 SE | 10 | 101 | 0.030656 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_957-25_2_3_line_13 | NAYY 4x150 SE | 10 | 98 | 0.21275 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_957-25_2_3_line_14 | NAYY 4x150 SE | 11 | 12 | 0.026832 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_957-25_2_3_line_15 | NAYY 4x150 SE | 11 | 13 | 0.019733 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_957-25_2_3_line_16 | NAYY 4x150 SE | 11 | 14 | 0.23259 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_957-25_2_3_line_17 | NAYY 4x150 SE | 12 | 15 | 0.11046 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_957-25_2_3_line_18 | NAYY 4x150 SE | 13 | 16 | 0.035993 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_957-25_2_3_line_19 | NAYY 4x150 SE | 15 | 17 | 0.27921 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_957-25_2_3_line_20 | NAYY 4x150 SE | 15 | 18 | 0.018488 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_957-25_2_3_line_21 | NAYY 4x150 SE | 17 | 20 | 0.26687 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_957-25_2_3_line_22 | NAYY 4x150 SE | 17 | 84 | 0.26178 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_957-25_2_3_line_23 | NAYY 4x150 SE | 18 | 62 | 0.17624 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_957-25_2_3_line_24 | NAYY 4x150 SE | 19 | 20 | 0.25997 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_957-25_2_3_line_25 | NAYY 4x150 SE | 20 | 21 | 0.021246 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_957-25_2_3_line_26 | NAYY 4x150 SE | 22 | 23 | 0.026497 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_957-25_2_3_line_27 | NAYY 4x150 SE | 22 | 24 | 0.0088717 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_957-25_2_3_line_28 | NAYY 4x150 SE | 23 | 25 | 0.033474 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_957-25_2_3_line_29 | NAYY 4x150 SE | 24 | 26 | 0.07664 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_957-25_2_3_line_30 | NAYY 4x150 SE | 26 | 27 | 0.085334 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_957-25_2_3_line_31 | NAYY 4x150 SE | 26 | 28 | 0.0087713 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_957-25_2_3_line_32 | NAYY 4x150 SE | 27 | 32 | 0.030224 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_957-25_2_3_line_33 | NAYY 4x150 SE | 27 | 29 | 0.10034 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_957-25_2_3_line_34 | NAYY 4x150 SE | 29 | 30 | 0.030556 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_957-25_2_3_line_35 | NAYY 4x150 SE | 30 | 31 | 0.011486 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_957-25_2_3_line_36 | NAYY 4x150 SE | 31 | 33 | 0.021 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_957-25_2_3_line_37 | NAYY 4x150 SE | 31 | 34 | 0.31884 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_957-25_2_3_line_38 | NAYY 4x150 SE | 31 | 35 | 0.004711 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_957-25_2_3_line_39 | NAYY 4x150 SE | 32 | 36 | 0.12513 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_957-25_2_3_line_40 | NAYY 4x150 SE | 34 | 72 | 0.081714 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_957-25_2_3_line_41 | NAYY 4x150 SE | 34 | 50 | 0.36649 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_957-25_2_3_line_42 | NAYY 4x150 SE | 35 | 37 | 0.026111 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_957-25_2_3_line_43 | NAYY 4x150 SE | 36 | 80 | 0.030801 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_957-25_2_3_line_44 | NAYY 4x150 SE | 36 | 51 | 0.11024 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_957-25_2_3_line_45 | NAYY 4x150 SE | 37 | 38 | 0.019661 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_957-25_2_3_line_46 | NAYY 4x150 SE | 38 | 39 | 0.0063012 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_957-25_2_3_line_47 | NAYY 4x150 SE | 39 | 40 | 0.022961 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_957-25_2_3_line_48 | NAYY 4x150 SE | 41 | 42 | 0.025281 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_957-25_2_3_line_49 | NAYY 4x150 SE | 42 | 43 | 0.021133 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_957-25_2_3_line_50 | NAYY 4x150 SE | 42 | 44 | 0.021392 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_957-25_2_3_line_51 | NAYY 4x150 SE | 43 | 45 | 0.0073682 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_957-25_2_3_line_52 | NAYY 4x150 SE | 44 | 46 | 0.039369 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_957-25_2_3_line_53 | NAYY 4x150 SE | 45 | 74 | 0.022288 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_957-25_2_3_line_54 | NAYY 4x150 SE | 46 | 92 | 0.37317 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_957-25_2_3_line_55 | NAYY 4x150 SE | 47 | 48 | 0.3029 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_957-25_2_3_line_56 | NAYY 4x150 SE | 48 | 105 | 0.022963 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_957-25_2_3_line_57 | NAYY 4x150 SE | 49 | 50 | 0.0262 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_957-25_2_3_line_58 | NAYY 4x150 SE | 51 | 52 | 0.21583 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_957-25_2_3_line_59 | NAYY 4x150 SE | 52 | 57 | 0.020987 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_957-25_2_3_line_60 | NAYY 4x150 SE | 53 | 54 | 0.081182 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_957-25_2_3_line_61 | NAYY 4x150 SE | 53 | 55 | 0.011714 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_957-25_2_3_line_62 | NAYY 4x150 SE | 54 | 56 | 0.013601 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_957-25_2_3_line_63 | NAYY 4x150 SE | 56 | 57 | 0.032797 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_957-25_2_3_line_64 | NAYY 4x150 SE | 57 | 78 | 0.38484 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_957-25_2_3_line_65 | NAYY 4x150 SE | 57 | 79 | 0.25343 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_957-25_2_3_line_66 | NAYY 4x150 SE | 58 | 59 | 0.02448 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_957-25_2_3_line_67 | NAYY 4x150 SE | 59 | 60 | 0.005587 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_957-25_2_3_line_68 | NAYY 4x150 SE | 59 | 61 | 0.15013 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_957-25_2_3_line_69 | NAYY 4x150 SE | 61 | 62 | 0.1687 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_957-25_2_3_line_70 | NAYY 4x150 SE | 63 | 64 | 0.24113 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_957-25_2_3_line_71 | NAYY 4x150 SE | 63 | 65 | 0.036448 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_957-25_2_3_line_72 | NAYY 4x150 SE | 65 | 66 | 0.0035853 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_957-25_2_3_line_73 | NAYY 4x150 SE | 66 | 67 | 0.015469 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_957-25_2_3_line_74 | NAYY 4x150 SE | 67 | 100 | 0.045488 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_957-25_2_3_line_75 | NAYY 4x150 SE | 68 | 69 | 0.017565 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_957-25_2_3_line_76 | NAYY 4x150 SE | 69 | 70 | 0.012187 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_957-25_2_3_line_77 | NAYY 4x150 SE | 70 | 71 | 0.022669 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_957-25_2_3_line_78 | NAYY 4x150 SE | 71 | 103 | 0.005319 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_957-25_2_3_line_79 | NAYY 4x150 SE | 71 | 104 | 0.028796 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_957-25_2_3_line_80 | NAYY 4x150 SE | 73 | 74 | 0.01615 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_957-25_2_3_line_81 | NAYY 4x150 SE | 73 | 75 | 0.0087381 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_957-25_2_3_line_82 | NAYY 4x150 SE | 75 | 76 | 0.012394 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_957-25_2_3_line_83 | NAYY 4x150 SE | 76 | 77 | 0.016455 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_957-25_2_3_line_84 | NAYY 4x150 SE | 78 | 81 | 0.31036 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_957-25_2_3_line_85 | NAYY 4x150 SE | 78 | 82 | 0.011851 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_957-25_2_3_line_86 | NAYY 4x150 SE | 79 | 83 | 0.12386 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_957-25_2_3_line_87 | NAYY 4x150 SE | 79 | 84 | 0.16119 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_957-25_2_3_line_88 | NAYY 4x150 SE | 80 | 99 | 0.019304 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_957-25_2_3_line_89 | NAYY 4x150 SE | 81 | 93 | 0.026131 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_957-25_2_3_line_90 | NAYY 4x150 SE | 82 | 90 | 0.33925 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_957-25_2_3_line_91 | NAYY 4x150 SE | 83 | 94 | 0.0080122 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_957-25_2_3_line_92 | NAYY 4x150 SE | 85 | 86 | 0.0066779 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_957-25_2_3_line_93 | NAYY 4x150 SE | 86 | 87 | 0.13062 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
94 | LV_957-25_2_3_line_94 | NAYY 4x150 SE | 86 | 88 | 0.02727 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
95 | LV_957-25_2_3_line_95 | NAYY 4x150 SE | 87 | 89 | 0.0066741 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
96 | LV_957-25_2_3_line_96 | NAYY 4x150 SE | 90 | 91 | 0.25898 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
97 | LV_957-25_2_3_line_97 | NAYY 4x150 SE | 91 | 92 | 0.036907 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
98 | LV_957-25_2_3_line_98 | NAYY 4x150 SE | 94 | 104 | 0.048907 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
99 | LV_957-25_2_3_line_99 | NAYY 4x150 SE | 95 | 96 | 0.28738 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
100 | LV_957-25_2_3_line_100 | NAYY 4x150 SE | 95 | 97 | 0.45787 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
101 | LV_957-25_2_3_line_101 | NAYY 4x150 SE | 96 | 98 | 0.20072 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
102 | LV_957-25_2_3_line_102 | NAYY 4x150 SE | 97 | 100 | 0.033113 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
103 | LV_957-25_2_3_line_103 | NAYY 4x150 SE | 98 | 102 | 0.038558 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
104 | LV_957-25_2_3_line_104 | NAYY 4x150 SE | 104 | 105 | 0.29209 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_957-25_2_3_trafo_233 | 0.25 MVA 20/0.4 kV | 106 | 34 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28 | x29 | y29 | x30 | y30 | x31 | y31 | x32 | y32 | x33 | y33 | x34 | y34 | x35 | y35 | x36 | y36 | x37 | y37 | x38 | y38 | x39 | y39 | x40 | y40 | x41 | y41 | x42 | y42 | x43 | y43
0 | 2627834.1637 | 1209290.3707 | 2627827.7997 | 1209298.3302 | 2627821.4626 | 1209302.7699 | 2627812.594 | 1209304.0627 | 2627807.4698 | 1209303.1564
1 | 2627731.5402 | 1209224.9861 | 2627807.4698 | 1209303.1564
2 | 2627834.1637 | 1209290.3707 | 2628012.1832 | 1209548.656
3 | 2627731.5402 | 1209224.9861 | 2627735.1377 | 1209221.2229 | 2627743.7547 | 1209208.6781 | 2627764.9042 | 1209165.4075 | 2627775.0461 | 1209150.2349 | 2627785.6832 | 1209143.0136 | 2627814.3056 | 1209131.6448
4 | 2627840.0812 | 1209120.2725 | 2627833.407 | 1209124.1917 | 2627817.6366 | 1209130.3217 | 2627814.3056 | 1209131.6448
5 | 2628333.7282 | 1209694.808 | 2628012.1832 | 1209548.656
6 | 2628333.7282 | 1209694.808 | 2628348.1113 | 1209700.5461 | 2628367.4138 | 1209709.0869 | 2628383.4278 | 1209717.0675 | 2628396.3095 | 1209725.2777 | 2628402.4061 | 1209728.2306 | 2628406.3996 | 1209729.139 | 2628410.5404 | 1209729.4255 | 2628414.6767 | 1209729.0671 | 2628418.702 | 1209728.0746 | 2628422.5326 | 1209726.4697 | 2628426.062 | 1209724.2852 | 2628429.2138 | 1209721.5876 | 2628431.9117 | 1209718.432 | 2628434.0565 | 1209714.9291 | 2628437.0094 | 1209706.116 | 2628445.4369 | 1209666.4893 | 2628447.8808 | 1209652.8599 | 2628458.1794 | 1209585.8489 | 2628459.7223 | 1209480.5524 | 2628459.8102 | 1209476.7575
7 | 2628460.1432 | 1209462.3886 | 2628459.8102 | 1209476.7575
8 | 2628513.9852 | 1209231.7597 | 2628502.2116 | 1209220.5417 | 2628468.8172 | 1209198.8703 | 2628445.8371 | 1209186.5429 | 2628430.9348 | 1209176.2662 | 2628421.5728 | 1209169.3289 | 2628422.4961 | 1209176.5707 | 2628431.6005 | 1209194.5019 | 2628433.9389 | 1209203.0511 | 2628434.0308 | 1209212.5013 | 2628430.7248 | 1209237.9555 | 2628428.858 | 1209245.2952 | 2628425.0509 | 1209251.4806 | 2628418.2789 | 1209259.3751 | 2628409.2047 | 1209271.8945 | 2628406.6724 | 1209276.9298 | 2628404.5158 | 1209284.4794 | 2628401.2763 | 1209286.4095 | 2628397.708 | 1209287.3642
9 | 2628460.1432 | 1209462.3886 | 2628462.7375 | 1209453.8962 | 2628468.272 | 1209444.0726 | 2628477.4122 | 1209424.0826 | 2628479.946 | 1209417.1352 | 2628481.9333 | 1209410.0073 | 2628483.3437 | 1209402.7433 | 2628484.1845 | 1209395.3876 | 2628485.0635 | 1209360.8612 | 2628487.4119 | 1209337.0034 | 2628493.711 | 1209297.589 | 2628504.9573 | 1209247.2476 | 2628506.4921 | 1209242.6079 | 2628508.679 | 1209238.2825 | 2628511.495 | 1209234.327 | 2628513.9852 | 1209231.7597
10 | 2628513.9852 | 1209231.7597 | 2628793.6842 | 1209310.1027
11 | 2628460.1432 | 1209462.3886 | 2628452.2675 | 1209465.5215
12 | 2628793.6842 | 1209310.1027 | 2628794.5032 | 1209303.6449 | 2628797.9556 | 1209295.4347 | 2628805.4179 | 1209282.1468
13 | 2628843.5608 | 1209482.838 | 2628846.5008 | 1209478.4052 | 2628863.2628 | 1209457.441 | 2628866.032 | 1209450.6283 | 2628866.3756 | 1209444.004 | 2628863.9454 | 1209438.8671 | 2628858.5812 | 1209433.7495 | 2628828.1918 | 1209416.771 | 2628819.7761 | 1209410.816 | 2628813.1937 | 1209404.5251 | 2628808.6554 | 1209398.3553 | 2628802.4305 | 1209387.2969 | 2628799.5167 | 1209376.8103 | 2628797.5204 | 1209365.2052 | 2628796.5591 | 1209351.7708 | 2628797.4279 | 1209337.1 | 2628796.8913 | 1209330.1602 | 2628792.3699 | 1209320.4663 | 2628793.6842 | 1209310.1027
14 | 2628904.7554 | 1208043.2234 | 2628909.7169 | 1208032.8416 | 2628909.6918 | 1208030.1622 | 2628907.9341 | 1208027.341 | 2628900.2433 | 1208022.0722
15 | 2628887.7514 | 1208052.0795 | 2628890.7023 | 1208050.2706 | 2628895.3206 | 1208049.5369 | 2628899.6085 | 1208047.9345 | 2628903.2258 | 1208045.106 | 2628904.7554 | 1208043.2234
16 | 2628904.7554 | 1208043.2234 | 2629015.3733 | 1208247.8223
17 | 2628800.1787 | 1207979.394 | 2628812.6146 | 1207981.3773 | 2628830.9929 | 1207985.5238 | 2628847.9153 | 1207990.4526 | 2628860.1023 | 1207995.1474 | 2628871.7669 | 1208002.5634 | 2628900.2433 | 1208022.0722
18 | 2628887.7514 | 1208052.0795 | 2628879.9484 | 1208046.3609 | 2628874.6303 | 1208040.8988 | 2628870.274 | 1208034.6075 | 2628866.9661 | 1208031.6343 | 2628862.9264 | 1208032.2041 | 2628861.2699 | 1208034.098
19 | 2628800.1787 | 1207979.394 | 2628738.2146 | 1208029.0126 | 2628721.5766 | 1208044.0189 | 2628690.13 | 1208074.6518 | 2628648.9164 | 1208115.9996 | 2628636.1267 | 1208127.6115 | 2628632.6855 | 1208130.2187 | 2628627.9053 | 1208133.0418 | 2628623.275 | 1208134.7095 | 2628617.8414 | 1208135.8508 | 2628591.294 | 1208138.9922 | 2628585.482 | 1208139.7871 | 2628580.2226 | 1208141.0849
20 | 2628800.1787 | 1207979.394 | 2628805.5545 | 1207971.3488 | 2628808.4819 | 1207963.0373
21 | 2628580.2226 | 1208141.0849 | 2628355.5484 | 1207997.0677
22 | 2628580.2226 | 1208141.0849 | 2628573.5615 | 1208144.5439 | 2628558.7406 | 1208154.9122 | 2628550.4159 | 1208161.2983 | 2628545.2917 | 1208166.0987 | 2628541.8401 | 1208170.9072 | 2628539.6583 | 1208175.6661 | 2628538.6011 | 1208180.5416 | 2628538.4339 | 1208196.4608 | 2628537.6606 | 1208210.3205 | 2628536.687 | 1208218.387 | 2628535.4431 | 1208225.7519 | 2628533.4985 | 1208233.3802 | 2628530.5426 | 1208241.0482 | 2628526.1886 | 1208250.177 | 2628519.9562 | 1208259.4302 | 2628513.1817 | 1208267.5691 | 2628502.9681 | 1208277.9374 | 2628489.1687 | 1208290.99 | 2628460.3521 | 1208317.4232 | 2628437.8372 | 1208337.6163 | 2628433.2809 | 1208341.9564
23 | 2628905.7625 | 1207848.7574 | 2628902.6886 | 1207851.239 | 2628896.1053 | 1207855.8097 | 2628889.6103 | 1207859.4137 | 2628878.3974 | 1207863.9065 | 2628864.3899 | 1207867.7188 | 2628834.2237 | 1207873.7099 | 2628829.2115 | 1207875.7091 | 2628825.5748 | 1207877.8261 | 2628822.7207 | 1207880.0469 | 2628819.8167 | 1207883.1346 | 2628817.7014 | 1207886.6598 | 2628816.38 | 1207889.5106 | 2628815.0664 | 1207893.8956 | 2628813.6123 | 1207902.1821 | 2628813.7682 | 1207907.6971 | 2628814.9363 | 1207933.4838 | 2628814.8238 | 1207939.4755 | 2628813.8121 | 1207945.8965 | 2628811.5977 | 1207954.1905 | 2628808.4819 | 1207963.0373
24 | 2628355.5484 | 1207997.0677 | 2628359.9277 | 1207993.8199 | 2628365.2362 | 1207988.62 | 2628370.7232 | 1207982.6315 | 2628373.6635 | 1207978.243 | 2628375.5863 | 1207973.5606 | 2628376.826 | 1207968.6638 | 2628377.3668 | 1207963.6413 | 2628376.2167 | 1207946.4818 | 2628377.2903 | 1207936.5257 | 2628379.4853 | 1207930.5884 | 2628383.5847 | 1207923.8596 | 2628393.5716 | 1207908.4873 | 2628408.729 | 1207891.383 | 2628422.6579 | 1207880.0429 | 2628436.872 | 1207866.2916 | 2628446.7675 | 1207854.1875 | 2628457.4028 | 1207844.8106 | 2628482.1522 | 1207823.5721 | 2628491.2412 | 1207814.8438 | 2628499.0592 | 1207809.5559 | 2628506.3131 | 1207804.6211 | 2628510.5825 | 1207802.1556
25 | 2628340.4963 | 1208011.282 | 2628347.8834 | 1208007.0258 | 2628351.1887 | 1208004.1954 | 2628353.6826 | 1208000.9388 | 2628355.5484 | 1207997.0677
26 | 2627877.4504 | 1209036.6966 | 2627877.4487 | 1209036.0473 | 2627874.675 | 1209024.4946 | 2627867.3405 | 1209012.6088
27 | 2627877.4504 | 1209036.6966 | 2627877.4678 | 1209043.3626 | 2627877.2768 | 1209045.5599
28 | 2627867.3405 | 1209012.6088 | 2627862.9512 | 1209005.4959 | 2627854.8328 | 1208990.8721 | 2627850.8166 | 1208983.5065
29 | 2627847.6449 | 1209115.8311 | 2627849.4811 | 1209108.3799 | 2627859.1531 | 1209089.7256 | 2627876.9056 | 1209049.8303 | 2627877.2768 | 1209045.5599
30 | 2627847.6449 | 1209115.8311 | 2627902.4535 | 1209075.8197 | 2627916.3826 | 1209065.2677
31 | 2627847.6449 | 1209115.8311 | 2627840.0812 | 1209120.2725
32 | 2627916.3826 | 1209065.2677 | 2627920.6768 | 1209062.1082 | 2627940.1031 | 1209046.5436
33 | 2627916.3826 | 1209065.2677 | 2627918.5671 | 1209067.8793 | 2627922.6134 | 1209072.2451 | 2627925.8655 | 1209075.7512 | 2627935.3776 | 1209083.2332 | 2627949.4043 | 1209090.8141 | 2627968.8579 | 1209100.0881 | 2628002.4454 | 1209108.6279 | 2628004.3582 | 1209108.988
34 | 2628004.3582 | 1209108.988 | 2628021.4011 | 1209112.1965 | 2628034.3243 | 1209109.442
35 | 2628045.5217 | 1209106.8844 | 2628035.5382 | 1209109.1833 | 2628034.3243 | 1209109.442
36 | 2628045.5217 | 1209106.8844 | 2628044.1993 | 1209108.4568 | 2628042.7157 | 1209113.6083 | 2628042.4805 | 1209118.3655 | 2628043.1178 | 1209121.8593 | 2628045.4825 | 1209126.5731
37 | 2628045.5217 | 1209106.8844 | 2628047.6163 | 1209112.4529 | 2628051.8508 | 1209117.1532 | 2628057.9096 | 1209121.8621 | 2628068.4797 | 1209127.3814 | 2628071.7509 | 1209128.4196 | 2628076.6261 | 1209127.7977 | 2628087.1895 | 1209108.8589 | 2628095.7968 | 1209095.3251 | 2628111.0233 | 1209075.6522 | 2628123.0943 | 1209057.8323 | 2628134.4012 | 1209042.4658 | 2628150.859 | 1209021.2646 | 2628153.738 | 1209018.4322 | 2628157.0101 | 1209016.0573 | 2628160.6599 | 1209014.1846 | 2628180.8561 | 1209009.4438 | 2628206.7673 | 1209008.1652 | 2628210.2216 | 1209007.4589 | 2628213.6327 | 1209006.2299 | 2628218.2459 | 1209004.7842 | 2628223.5229 | 1208994.7701 | 2628223.2068 | 1208976.4027 | 2628229.9801 | 1208960.2145 | 2628242.0971 | 1208948.8431 | 2628252.7506 | 1208939.9662
38 | 2628045.5217 | 1209106.8844 | 2628048.7228 | 1209103.4197
39 | 2628027.7745 | 1208959.0958 | 2628022.261 | 1208970.9877 | 2628009.4122 | 1208987.7481 | 2627962.0762 | 1209028.9385 | 2627940.1031 | 1209046.5436
40 | 2628252.7506 | 1208939.9662 | 2628253.5026 | 1208951.3429 | 2628248.169 | 1208958.8441 | 2628246.2872 | 1208967.7736 | 2628247.0514 | 1208979.7728 | 2628253.9279 | 1208991.5897 | 2628256.5193 | 1209002.9862 | 2628251.1569 | 1209016.5796
41 | 2628454.1556 | 1208759.7756 | 2628442.8832 | 1208762.7904 | 2628397.1241 | 1208778.2704 | 2628374.0284 | 1208791.5238 | 2628362.5251 | 1208812.7923 | 2628358.68 | 1208834.9532 | 2628372.4341 | 1208887.1367 | 2628378.9101 | 1208900.0302 | 2628378.2973 | 1208907.4315 | 2628375.4677 | 1208911.02 | 2628371.0635 | 1208914.8569 | 2628354.1827 | 1208916.0441 | 2628335.9346 | 1208923.4729 | 2628318.9632 | 1208922.9477 | 2628302.4534 | 1208914.8316 | 2628284.099 | 1208906.1621 | 2628271.7699 | 1208904.4806 | 2628263.5184 | 1208908.5439 | 2628260.1458 | 1208912.8415 | 2628255.3759 | 1208929.7173 | 2628252.7506 | 1208939.9662
42 | 2628048.7228 | 1209103.4197 | 2628051.1386 | 1209098.8507 | 2628052.2208 | 1209095.0203 | 2628052.3067 | 1209092.9195 | 2628051.5646 | 1209089.0694 | 2628050.6768 | 1209087.1197 | 2628044.9351 | 1209080.4552
43 | 2628027.7745 | 1208959.0958 | 2628023.4921 | 1208958.0863 | 2628011.0509 | 1208957.6166 | 2628004.1291 | 1208955.3495 | 2627999.1465 | 1208950.9196
44 | 2628080.2373 | 1208862.4098 | 2628075.1852 | 1208868.2561 | 2628070.9511 | 1208874.7621 | 2628068.0029 | 1208880.9739 | 2628062.0988 | 1208891.8412 | 2628037.1944 | 1208937.6612 | 2628027.7745 | 1208959.0958
45 | 2628044.9351 | 1209080.4552 | 2628043.7141 | 1209079.038 | 2628042.0624 | 1209076.2732 | 2628040.8374 | 1209073.288 | 2628040.0691 | 1209070.1826 | 2628039.6445 | 1209062.0502
46 | 2628039.971 | 1209055.772 | 2628039.546 | 1209060.1634 | 2628039.6445 | 1209062.0502
47 | 2628039.971 | 1209055.772 | 2628040.4807 | 1209050.5068 | 2628044.7584 | 1209034.6846 | 2628044.9521 | 1209033.4185
48 | 2627599.1714 | 1208497.0201 | 2627623.1139 | 1208488.9044
49 | 2627577.9967 | 1208496.1107 | 2627599.1714 | 1208497.0201
50 | 2627599.1714 | 1208497.0201 | 2627618.4153 | 1208504.5131 | 2627619.1419 | 1208504.6573
51 | 2627577.9967 | 1208496.1107 | 2627570.6287 | 1208496.1703
52 | 2627657.9207 | 1208503.9249 | 2627634.3039 | 1208507.6661 | 2627619.1419 | 1208504.6573
53 | 2627548.3407 | 1208496.2963 | 2627563.1115 | 1208496.2311 | 2627570.6287 | 1208496.1703
54 | 2627937.7721 | 1208315.7634 | 2627918.7674 | 1208366.1082 | 2627893.2047 | 1208402.8873 | 2627883.6834 | 1208408.5238 | 2627863.0168 | 1208414.3418 | 2627827.8818 | 1208417.2576 | 2627805.7509 | 1208430.6288 | 2627796.2265 | 1208440.2455 | 2627784.1501 | 1208470.6175 | 2627772.8805 | 1208482.8276 | 2627759.4438 | 1208488.6129 | 2627736.4419 | 1208493.1976 | 2627694.4017 | 1208493.514 | 2627660.4204 | 1208503.529 | 2627657.9207 | 1208503.9249
55 | 2628626.8207 | 1208901.4843 | 2628780.1557 | 1208640.2578
56 | 2628770.3481 | 1208620.0103 | 2628775.6493 | 1208632.0649 | 2628778.676 | 1208639.7171 | 2628780.1557 | 1208640.2578
57 | 2628454.1556 | 1208759.7756 | 2628453.9974 | 1208772.2375 | 2628447.2391 | 1208784.1972
58 | 2628080.2373 | 1208862.4098 | 2628085.7207 | 1208856.9659 | 2628091.6126 | 1208851.9574 | 2628097.8595 | 1208847.4286 | 2628166.8913 | 1208806.5305 | 2628177.5631 | 1208797.031 | 2628186.3876 | 1208785.9219 | 2628196.1553 | 1208769.8812 | 2628199.9979 | 1208761.0276 | 2628203.8241 | 1208749.1946 | 2628207.7918 | 1208734.783 | 2628211.9373 | 1208716.5145 | 2628213.2912 | 1208707.2226
59 | 2628216.1235 | 1208686.4285 | 2628214.3492 | 1208699.961 | 2628213.2912 | 1208707.2226
60 | 2628314.855 | 1208642.9597 | 2628313.8735 | 1208641.532 | 2628305.171 | 1208634.787 | 2628300.8028 | 1208632.5985 | 2628297.5063 | 1208632.0381 | 2628294.6771 | 1208632.3249 | 2628290.7507 | 1208633.1512 | 2628283.5864 | 1208635.4742 | 2628277.018 | 1208637.1885 | 2628259.7299 | 1208639.1634 | 2628255.2629 | 1208640.154 | 2628251.021 | 1208641.8015 | 2628247.0726 | 1208644.0619 | 2628243.5168 | 1208646.9023 | 2628241.7684 | 1208648.506 | 2628241.1377 | 1208649.3254
61 | 2628314.855 | 1208642.9597 | 2628314.855 | 1208642.9597 | 2628315.6804 | 1208645.2316 | 2628316.0941 | 1208647.7683 | 2628315.7429 | 1208654.486
62 | 2628241.1377 | 1208649.3254 | 2628240.4299 | 1208650.2451 | 2628238.1464 | 1208654.0809 | 2628235.0128 | 1208661.4159
63 | 2628216.1235 | 1208686.4285 | 2628221.2251 | 1208684.6293 | 2628223.2996 | 1208683.1827 | 2628225.1026 | 1208681.2679 | 2628229.5621 | 1208673.7959 | 2628234.672 | 1208662.2135 | 2628235.0128 | 1208661.4159
64 | 2627991.5442 | 1208732.4431 | 2627998.6686 | 1208740.1808 | 2628001.2834 | 1208741.8384 | 2628006.9534 | 1208743.6326 | 2628012.952 | 1208743.4273 | 2628018.4811 | 1208741.2409 | 2628020.9296 | 1208739.4402 | 2628039.6711 | 1208720.8732 | 2628045.105 | 1208716.2961 | 2628050.9921 | 1208712.3215 | 2628057.2638 | 1208709.0157 | 2628063.8287 | 1208706.4006 | 2628089.8313 | 1208700.5083 | 2628099.8353 | 1208695.6193 | 2628108.8354 | 1208689.2024 | 2628147.2282 | 1208657.6431 | 2628156.0856 | 1208650.881 | 2628165.3777 | 1208645.4662 | 2628167.7732 | 1208643.6431 | 2628171.4816 | 1208639.0802 | 2628172.7869 | 1208636.307 | 2628176.055 | 1208621.9477 | 2628177.4574 | 1208617.9409 | 2628179.3984 | 1208614.1702 | 2628181.8548 | 1208610.7243 | 2628184.7656 | 1208607.6474 | 2628188.3668 | 1208604.8628 | 2628192.2928 | 1208602.5133 | 2628196.4675 | 1208600.632 | 2628200.8298 | 1208599.2518 | 2628205.2657 | 1208598.4055 | 2628211.5358 | 1208598.6908 | 2628214.5119 | 1208599.4942 | 2628217.334 | 1208600.7193 | 2628222.4325 | 1208604.4233 | 2628226.2733 | 1208608.8661 | 2628232.5093 | 1208616.3664 | 2628234.4026 | 1208619.4771 | 2628229.083 | 1208627.1897 | 2628225.0764 | 1208635.3309 | 2628222.0164 | 1208642.6428 | 2628219.7433 | 1208650.7255 | 2628218.322 | 1208661.9473 | 2628216.1235 | 1208686.4285
65 | 2628216.1235 | 1208686.4285 | 2628218.322 | 1208661.9473 | 2628219.7433 | 1208650.7255 | 2628222.0164 | 1208642.6428 | 2628225.0764 | 1208635.3309 | 2628229.083 | 1208627.1897 | 2628234.4026 | 1208619.4771 | 2628267.4821 | 1208580.0446 | 2628283.217 | 1208559.3407 | 2628287.435 | 1208553.135 | 2628332.1435 | 1208466.1534
66 | 2629120.3641 | 1207819.8776 | 2629123.4675 | 1207819.5703 | 2629131.5679 | 1207812.6393 | 2629139.6541 | 1207805.6314
67 | 2629120.3641 | 1207819.8776 | 2629115.9753 | 1207823.335
68 | 2629030.2778 | 1207744.8975 | 2629033.5213 | 1207739.2434 | 2629039.4918 | 1207735.6481 | 2629045.4673 | 1207732.5977 | 2629048.3763 | 1207731.6335 | 2629052.0582 | 1207731.2067 | 2629055.6683 | 1207731.4799 | 2629059.0698 | 1207732.4303 | 2629062.0583 | 1207733.879 | 2629065.15 | 1207735.9952 | 2629070.7992 | 1207742.1928 | 2629092.2931 | 1207763.9429 | 2629099.2341 | 1207776.5171 | 2629097.507 | 1207789.2825 | 2629095.811 | 1207797.2009 | 2629102.0534 | 1207806.4587 | 2629117.6486 | 1207820.1312 | 2629120.3641 | 1207819.8776
69 | 2629030.2778 | 1207744.8975 | 2629020.3434 | 1207763.1373 | 2629016.4998 | 1207768.6995 | 2629011.566 | 1207774.8568 | 2629007.2957 | 1207779.0495 | 2629002.6858 | 1207782.707 | 2628997.7047 | 1207786.0959 | 2628990.9284 | 1207789.6872 | 2628983.4116 | 1207792.3189 | 2628969.0342 | 1207795.5511 | 2628960.0311 | 1207797.3974 | 2628953.4271 | 1207799.9446 | 2628947.7778 | 1207803.1635 | 2628943.0467 | 1207806.7426 | 2628936.5381 | 1207813.148 | 2628929.7021 | 1207821.2195 | 2628914.2568 | 1207840.9002 | 2628908.5199 | 1207846.5312 | 2628905.7625 | 1207848.7574
70 | 2629577.2915 | 1208852.7876 | 2629581.1523 | 1208849.1965 | 2629588.6855 | 1208839.9619 | 2629596.4124 | 1208828.4715 | 2629604.4157 | 1208814.8701 | 2629617.2315 | 1208784.2942 | 2629630.6357 | 1208751.5866 | 2629642.5685 | 1208727.4099 | 2629653.8611 | 1208711.2679 | 2629677.6438 | 1208684.3041 | 2629689.8747 | 1208669.0563 | 2629704.0523 | 1208650.1252
71 | 2629548.0522 | 1208874.4248 | 2629561.039 | 1208866.051 | 2629572.8894 | 1208856.8822 | 2629577.2915 | 1208852.7876
72 | 2629548.0522 | 1208874.4248 | 2629545.4697 | 1208876.9118
73 | 2629534.3271 | 1208887.6422 | 2629545.4697 | 1208876.9118
74 | 2629534.3271 | 1208887.6422 | 2629536.3361 | 1208893.3331 | 2629539.4617 | 1208903.8211 | 2629536.7625 | 1208911.6344 | 2629521.0765 | 1208924.4295
75 | 2628504.6648 | 1208446.1352 | 2628501.693 | 1208454.4082 | 2628498.538 | 1208462.5956
76 | 2628493.5278 | 1208473.6912 | 2628496.8053 | 1208467.092 | 2628498.538 | 1208462.5956
77 | 2628493.5278 | 1208473.6912 | 2628500.6431 | 1208481.6741 | 2628501.9744 | 1208487.8617 | 2628501.2558 | 1208493.4725
78 | 2628501.2558 | 1208493.4725 | 2628496.9005 | 1208496.5424
79 | 2628501.2558 | 1208493.4725 | 2628500.7458 | 1208498.3951 | 2628500.4373 | 1208507.2875 | 2628498.1152 | 1208512.824 | 2628495.2459 | 1208518.3023 | 2628495.5369 | 1208521.0496
80 | 2627548.3407 | 1208496.2963 | 2627545.9737 | 1208498.5423 | 2627539.1557 | 1208509.4781
81 | 2627537.6521 | 1208517.8147 | 2627537.7561 | 1208511.7229 | 2627539.1557 | 1208509.4781
82 | 2627537.6521 | 1208517.8147 | 2627537.61 | 1208520.3493 | 2627539.8303 | 1208529.9556
83 | 2627542.3166 | 1208543.6956 | 2627545.3055 | 1208536.3159 | 2627540.0099 | 1208530.7329 | 2627539.8303 | 1208529.9556
84 | 2627713.8837 | 1208869.2264 | 2627718.6981 | 1208867.0141 | 2627723.863 | 1208864.6256 | 2627735.2234 | 1208857.252 | 2627751.4682 | 1208845.6764 | 2627795.3736 | 1208818.0648 | 2627841.6221 | 1208795.0338 | 2627890.7152 | 1208776.63 | 2627901.5312 | 1208771.9556 | 2627915.2241 | 1208764.9378 | 2627928.2548 | 1208758.0726 | 2627941.9181 | 1208752.5222 | 2627949.7813 | 1208750.2132 | 2627967.872 | 1208745.5841 | 2627985.5722 | 1208735.0721 | 2627991.5442 | 1208732.4431
85 | 2627991.5442 | 1208732.4431 | 2627991.9466 | 1208724.4293 | 2627993.147 | 1208720.7957
86 | 2628332.1435 | 1208466.1534 | 2628354.8902 | 1208477.0117 | 2628368.0912 | 1208484.1784 | 2628385.5971 | 1208492.4661 | 2628410.4849 | 1208502.2676 | 2628422.236 | 1208505.781 | 2628431.6384 | 1208506.0259 | 2628438.1109 | 1208505.3452 | 2628444.4649 | 1208503.9857 | 2628447.4647 | 1208503.0217
87 | 2628332.1435 | 1208466.1534 | 2628336.4379 | 1208456.6684 | 2628343.16 | 1208443.4373 | 2628346.5299 | 1208438.1725 | 2628351.5889 | 1208430.9813 | 2628358.1341 | 1208423.019 | 2628366.2667 | 1208413.7302 | 2628392.9459 | 1208385.7744 | 2628423.5413 | 1208351.2337 | 2628433.2809 | 1208341.9564
88 | 2627986.3385 | 1208936.654 | 2627991.6465 | 1208944.2515 | 2627999.1465 | 1208950.9196
89 | 2627735.5406 | 1208882.2453 | 2627728.2384 | 1208875.0963 | 2627721.7363 | 1208870.797 | 2627718.4593 | 1208869.3254 | 2627713.8837 | 1208869.2264
90 | 2627994.5039 | 1208519.3039 | 2627991.0308 | 1208533.6957 | 2627993.8978 | 1208539.9682 | 2628006.6785 | 1208537.9269 | 2628010.5286 | 1208542.0361 | 2628003.4843 | 1208554.4545 | 2627975.0894 | 1208579.2244 | 2627956.4087 | 1208583.1281 | 2627932.8244 | 1208580.6165 | 2627927.3876 | 1208582.5588 | 2627924.3965 | 1208588.2036 | 2627923.5982 | 1208601.2405 | 2627924.036 | 1208613.2938 | 2627932.4383 | 1208679.4702 | 2627934.8322 | 1208689.3536 | 2627936.2397 | 1208692.3508 | 2627938.1123 | 1208695.0499 | 2627940.4199 | 1208697.3953 | 2627943.0866 | 1208699.32 | 2627946.0445 | 1208700.768 | 2627949.2025 | 1208701.6944 | 2627952.4694 | 1208702.0765 | 2627955.7541 | 1208701.914 | 2627959.0034 | 1208701.1844 | 2627977.9609 | 1208691.6677 | 2627979.4073 | 1208691.2298 | 2627982.5324 | 1208691.0554 | 2627985.5464 | 1208691.8811 | 2627986.8353 | 1208692.5986 | 2627989.1134 | 1208694.7438 | 2627990.5754 | 1208697.4633 | 2627993.8975 | 1208718.524 | 2627993.147 | 1208720.7957
91 | 2628447.4647 | 1208503.0217 | 2628449.8622 | 1208507.191 | 2628452.1653 | 1208509.4166
92 | 2628414.1143 | 1209594.8443 | 2628420.6468 | 1209596.23
93 | 2628414.1143 | 1209594.8443 | 2628412.6817 | 1209589.2232 | 2628412.1943 | 1209583.0285 | 2628417.5076 | 1209557.3615 | 2628420.0463 | 1209547.746 | 2628442.4385 | 1209486.896 | 2628446.147 | 1209472.6611 | 2628447.5424 | 1209470.1219
94 | 2628428.3631 | 1209572.9331 | 2628426.1894 | 1209572.9227 | 2628422.2119 | 1209578.2179 | 2628414.1143 | 1209594.8443
95 | 2628452.2675 | 1209465.5215 | 2628451.6371 | 1209465.7723 | 2628449.37 | 1209467.8071 | 2628447.5424 | 1209470.1219
96 | 2627994.5039 | 1208519.3039 | 2628000.8721 | 1208518.1441 | 2628006.3278 | 1208515.4237 | 2628010.5632 | 1208511.9527 | 2628013.6555 | 1208507.4425 | 2628015.5087 | 1208502.9264 | 2628015.6126 | 1208496.9791 | 2628013.8074 | 1208466.9204 | 2628013.1633 | 1208463.2375 | 2628012.2061 | 1208459.8645 | 2627993.2766 | 1208422.6772 | 2627990.341 | 1208413.1803 | 2627985.062 | 1208378.1693 | 2627980.6897 | 1208365.4083 | 2627975.2151 | 1208352.6422 | 2627970.4132 | 1208347.2056 | 2627957.9981 | 1208337.6422 | 2627955.0275 | 1208334.004 | 2627953.4558 | 1208330.339 | 2627953.8786 | 1208321.2026 | 2627961.0801 | 1208289.852
97 | 2627961.0801 | 1208289.852 | 2627954.0595 | 1208292.2872 | 2627947.5786 | 1208296.3703 | 2627940.8744 | 1208307.5452 | 2627937.7721 | 1208315.7634
98 | 2628495.5369 | 1208521.0496 | 2628485.1891 | 1208524.5801 | 2628477.2953 | 1208525.2206 | 2628468.4248 | 1208521.832 | 2628458.3828 | 1208515.4251 | 2628452.1653 | 1208509.4166
99 | 2629062.7062 | 1209088.9718 | 2629060.0677 | 1209090.3209 | 2629057.5173 | 1209092.7098 | 2629055.4626 | 1209096.313 | 2629053.2063 | 1209102.3165 | 2629050.8978 | 1209108.0975 | 2629047.373 | 1209115.4845 | 2629028.5278 | 1209148.7228 | 2629022.8615 | 1209160.3907 | 2629019.3908 | 1209170.7241 | 2629011.3507 | 1209195.399 | 2629006.6563 | 1209207.2941 | 2629004.8942 | 1209217.9804 | 2629003.3375 | 1209233.326 | 2628999.3953 | 1209246.8478 | 2628993.9685 | 1209259.3285 | 2628984.4134 | 1209276.692 | 2628980.3422 | 1209287.0781 | 2628978.5599 | 1209295.6632 | 2628978.4259 | 1209306.0573 | 2628980.4065 | 1209314.5494 | 2628986.0324 | 1209331.5307 | 2628989.8686 | 1209339.8318 | 2628996.9556 | 1209353.382
100 | 2629498.3627 | 1208948.0764 | 2629062.7062 | 1209088.9718
101 | 2628843.5608 | 1209482.838 | 2628996.9556 | 1209353.382
102 | 2629498.3627 | 1208948.0764 | 2629506.417 | 1208936.3874 | 2629521.0765 | 1208924.4295
103 | 2628843.5608 | 1209482.838 | 2628836.2464 | 1209480.2123 | 2628811.9776 | 1209489.6228 | 2628809.5023 | 1209493.6854
104 | 2628495.5369 | 1208521.0496 | 2628770.3481 | 1208620.0103

## bus_geodata
| x | y | coords
0 | 2627807.4698 | 1209303.1564
1 | 2627834.1637 | 1209290.3707
2 | 2627731.5402 | 1209224.9861
3 | 2627814.3056 | 1209131.6448
4 | 2628012.1832 | 1209548.656
5 | 2628333.7282 | 1209694.808
6 | 2628459.8102 | 1209476.7575
7 | 2628397.708 | 1209287.3642
8 | 2628513.9852 | 1209231.7597
9 | 2628460.1432 | 1209462.3886
10 | 2628793.6842 | 1209310.1027
11 | 2628904.7554 | 1208043.2234
12 | 2628900.2433 | 1208022.0722
13 | 2628887.7514 | 1208052.0795
14 | 2629015.3733 | 1208247.8223
15 | 2628800.1787 | 1207979.394
16 | 2628861.2699 | 1208034.098
17 | 2628580.2226 | 1208141.0849
18 | 2628808.4819 | 1207963.0373
19 | 2628510.5825 | 1207802.1556
20 | 2628355.5484 | 1207997.0677
21 | 2628340.4963 | 1208011.282
22 | 2627877.4504 | 1209036.6966
23 | 2627867.3405 | 1209012.6088
24 | 2627877.2768 | 1209045.5599
25 | 2627850.8166 | 1208983.5065
26 | 2627847.6449 | 1209115.8311
27 | 2627916.3826 | 1209065.2677
28 | 2627840.0812 | 1209120.2725
29 | 2628004.3582 | 1209108.988
30 | 2628034.3243 | 1209109.442
31 | 2628045.5217 | 1209106.8844
32 | 2627940.1031 | 1209046.5436
33 | 2628045.4825 | 1209126.5731
34 | 2628252.7506 | 1208939.9662
35 | 2628048.7228 | 1209103.4197
36 | 2628027.7745 | 1208959.0958
37 | 2628044.9351 | 1209080.4552
38 | 2628039.6445 | 1209062.0502
39 | 2628039.971 | 1209055.772
40 | 2628044.9521 | 1209033.4185
41 | 2627623.1139 | 1208488.9044
42 | 2627599.1714 | 1208497.0201
43 | 2627577.9967 | 1208496.1107
44 | 2627619.1419 | 1208504.6573
45 | 2627570.6287 | 1208496.1703
46 | 2627657.9207 | 1208503.9249
47 | 2628626.8207 | 1208901.4843
48 | 2628780.1557 | 1208640.2578
49 | 2628447.2391 | 1208784.1972
50 | 2628454.1556 | 1208759.7756
51 | 2628080.2373 | 1208862.4098
52 | 2628213.2912 | 1208707.2226
53 | 2628314.855 | 1208642.9597
54 | 2628241.1377 | 1208649.3254
55 | 2628315.7429 | 1208654.486
56 | 2628235.0128 | 1208661.4159
57 | 2628216.1235 | 1208686.4285
58 | 2629139.6541 | 1207805.6314
59 | 2629120.3641 | 1207819.8776
60 | 2629115.9753 | 1207823.335
61 | 2629030.2778 | 1207744.8975
62 | 2628905.7625 | 1207848.7574
63 | 2629577.2915 | 1208852.7876
64 | 2629704.0523 | 1208650.1252
65 | 2629548.0522 | 1208874.4248
66 | 2629545.4697 | 1208876.9118
67 | 2629534.3271 | 1208887.6422
68 | 2628504.6648 | 1208446.1352
69 | 2628498.538 | 1208462.5956
70 | 2628493.5278 | 1208473.6912
71 | 2628501.2558 | 1208493.4725
72 | 2628251.1569 | 1209016.5796
73 | 2627539.1557 | 1208509.4781
74 | 2627548.3407 | 1208496.2964
75 | 2627537.6521 | 1208517.8147
76 | 2627539.8303 | 1208529.9556
77 | 2627542.3166 | 1208543.6956
78 | 2627991.5442 | 1208732.4431
79 | 2628332.1435 | 1208466.1534
80 | 2627999.1465 | 1208950.9196
81 | 2627713.8837 | 1208869.2264
82 | 2627993.147 | 1208720.7957
83 | 2628447.4647 | 1208503.0217
84 | 2628433.2809 | 1208341.9564
85 | 2628420.6468 | 1209596.23
86 | 2628414.1142 | 1209594.8443
87 | 2628447.5424 | 1209470.1219
88 | 2628428.3631 | 1209572.9331
89 | 2628452.2675 | 1209465.5215
90 | 2627994.5039 | 1208519.3039
91 | 2627961.0801 | 1208289.852
92 | 2627937.7721 | 1208315.7634
93 | 2627735.5406 | 1208882.2453
94 | 2628452.1653 | 1208509.4166
95 | 2629062.7062 | 1209088.9718
96 | 2628996.9556 | 1209353.382
97 | 2629498.3627 | 1208948.0764
98 | 2628843.5608 | 1209482.838
99 | 2627986.3385 | 1208936.654
100 | 2629521.0765 | 1208924.4295
101 | 2628805.4179 | 1209282.1468
102 | 2628809.5023 | 1209493.6854
103 | 2628496.9005 | 1208496.5424
104 | 2628495.5369 | 1208521.0496
105 | 2628770.3481 | 1208620.0103
106 | 2628252.7506 | 1208939.9662

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1