## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_957-2_1_2_node_55 | 0.4 | n |  | TRUE
1 | bus_LV_957-2_1_2_node_56 | 0.4 | n |  | TRUE
2 | bus_LV_957-2_1_2_node_57 | 0.4 | n |  | TRUE
3 | bus_LV_957-2_1_2_node_58 | 0.4 | n |  | TRUE
4 | bus_LV_957-2_1_2_node_59 | 0.4 | n |  | TRUE
5 | bus_LV_957-2_1_2_node_60 | 0.4 | n |  | TRUE
6 | bus_LV_957-2_1_2_node_61 | 0.4 | n |  | TRUE
7 | bus_LV_957-2_1_2_node_75 | 0.4 | n |  | TRUE
8 | bus_LV_957-2_1_2_node_62 | 0.4 | n |  | TRUE
9 | bus_LV_957-2_1_2_node_63 | 0.4 | n |  | TRUE
10 | bus_LV_957-2_1_2_node_101 | 0.4 | n |  | TRUE
11 | bus_LV_957-2_1_2_node_64 | 0.4 | n |  | TRUE
12 | bus_LV_957-2_1_2_node_65 | 0.4 | n |  | TRUE
13 | bus_LV_957-2_1_2_node_66 | 0.4 | n |  | TRUE
14 | bus_LV_957-2_1_2_node_67 | 0.4 | n |  | TRUE
15 | bus_LV_957-2_1_2_node_68 | 0.4 | n |  | TRUE
16 | bus_LV_957-2_1_2_node_69 | 0.4 | n |  | TRUE
17 | bus_LV_957-2_1_2_node_89 | 0.4 | n |  | TRUE
18 | bus_LV_957-2_1_2_node_103 | 0.4 | n |  | TRUE
19 | bus_LV_957-2_1_2_node_70 | 0.4 | n |  | TRUE
20 | bus_LV_957-2_1_2_node_71 | 0.4 | n |  | TRUE
21 | bus_LV_957-2_1_2_node_72 | 0.4 | n |  | TRUE
22 | bus_LV_957-2_1_2_node_73 | 0.4 | n |  | TRUE
23 | bus_LV_957-2_1_2_node_74 | 0.4 | n |  | TRUE
24 | bus_LV_957-2_1_2_node_82 | 0.4 | n |  | TRUE
25 | bus_LV_957-2_1_2_node_76 | 0.4 | n |  | TRUE
26 | bus_LV_957-2_1_2_node_114 | 0.4 | n |  | TRUE
27 | bus_LV_957-2_1_2_node_77 | 0.4 | n |  | TRUE
28 | bus_LV_957-2_1_2_node_78 | 0.4 | n |  | TRUE
29 | bus_LV_957-2_1_2_node_79 | 0.4 | n |  | TRUE
30 | bus_LV_957-2_1_2_node_80 | 0.4 | n |  | TRUE
31 | bus_LV_957-2_1_2_node_81 | 0.4 | n |  | TRUE
32 | bus_LV_957-2_1_2_node_86 | 0.4 | n |  | TRUE
33 | bus_LV_957-2_1_2_node_121 | 0.4 | n |  | TRUE
34 | bus_LV_957-2_1_2_node_83 | 0.4 | n |  | TRUE
35 | bus_LV_957-2_1_2_node_84 | 0.4 | n |  | TRUE
36 | bus_LV_957-2_1_2_node_123 | 0.4 | n |  | TRUE
37 | bus_LV_957-2_1_2_node_119 | 0.4 | n |  | TRUE
38 | bus_LV_957-2_1_2_node_87 | 0.4 | n |  | TRUE
39 | bus_LV_957-2_1_2_node_88 | 0.4 | n |  | TRUE
40 | bus_LV_957-2_1_2_node_172 | 0.4 | n |  | TRUE
41 | bus_LV_957-2_1_2_node_90 | 0.4 | n |  | TRUE
42 | bus_LV_957-2_1_2_node_91 | 0.4 | n |  | TRUE
43 | bus_LV_957-2_1_2_node_92 | 0.4 | n |  | TRUE
44 | bus_LV_957-2_1_2_node_93 | 0.4 | n |  | TRUE
45 | bus_LV_957-2_1_2_node_94 | 0.4 | n |  | TRUE
46 | bus_LV_957-2_1_2_node_95 | 0.4 | n |  | TRUE
47 | bus_LV_957-2_1_2_node_106 | 0.4 | n |  | TRUE
48 | bus_LV_957-2_1_2_node_96 | 0.4 | n |  | TRUE
49 | bus_LV_957-2_1_2_node_97 | 0.4 | n |  | TRUE
50 | bus_LV_957-2_1_2_node_98 | 0.4 | n |  | TRUE
51 | bus_LV_957-2_1_2_node_99 | 0.4 | n |  | TRUE
52 | bus_LV_957-2_1_2_node_100 | 0.4 | n |  | TRUE
53 | bus_LV_957-2_1_2_node_112 | 0.4 | n |  | TRUE
54 | bus_LV_957-2_1_2_node_120 | 0.4 | n |  | TRUE
55 | bus_LV_957-2_1_2_node_108 | 0.4 | n |  | TRUE
56 | bus_LV_957-2_1_2_node_102 | 0.4 | n |  | TRUE
57 | bus_LV_957-2_1_2_node_117 | 0.4 | n |  | TRUE
58 | bus_LV_957-2_1_2_node_104 | 0.4 | n |  | TRUE
59 | bus_LV_957-2_1_2_node_105 | 0.4 | n |  | TRUE
60 | bus_LV_957-2_1_2_node_107 | 0.4 | n |  | TRUE
61 | bus_LV_957-2_1_2_node_115 | 0.4 | n |  | TRUE
62 | bus_LV_957-2_1_2_node_116 | 0.4 | n |  | TRUE
63 | bus_LV_957-2_1_2_node_124 | 0.4 | n |  | TRUE
64 | bus_LV_957-2_1_2_node_297 | 0.4 | n |  | TRUE
65 | bus_LV_957-2_1_2_node_169 | 0.4 | n |  | TRUE
66 | bus_LV_957-2_1_2_node_170 | 0.4 | n |  | TRUE
67 | bus_LV_957-2_1_2_node_171 | 0.4 | n |  | TRUE
68 | bus_LV_957-2_1_2_node_182 | 0.4 | n |  | TRUE
69 | bus_LV_957-2_1_2_node_294 | 0.4 | n |  | TRUE
70 | bus_LV_957-2_1_2_node_295 | 0.4 | n |  | TRUE
71 | bus_LV_957-2_1_2_node_296 | 0.4 | n |  | TRUE
72 | bus_MV_0_node_62 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_957-2_1_2_load_55 | 0 | 0.00065101 | 0.00016316 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_957-2_1_2_load_56 | 1 | 0.0010417 | 0.00026106 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_957-2_1_2_load_58 | 3 | 0.00040092 | 0.00010048 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_957-2_1_2_load_59 | 4 | 0.00069595 | 0.00017442 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_957-2_1_2_load_60 | 5 | 0.0019751 | 0.000495 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_957-2_1_2_load_75 | 7 | 0.00084403 | 0.00021153 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_957-2_1_2_load_62 | 8 | 0.0067739 | 0.0016977 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_957-2_1_2_load_63 | 9 | 0.001511 | 0.00037868 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_957-2_1_2_load_64 | 11 | 0.00031005 | 7.7705e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_957-2_1_2_load_65 | 12 | 0.0024736 | 0.00061995 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_957-2_1_2_load_67 | 14 | 0.00038366 | 9.6155e-05 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_957-2_1_2_load_68 | 15 | 0.00044553 | 0.00011166 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_957-2_1_2_load_69 | 16 | 0.00019806 | 4.9638e-05 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_957-2_1_2_load_89 | 17 | 0.0005293 | 0.00013266 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_957-2_1_2_load_70 | 19 | 0.002641 | 0.00066189 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_957-2_1_2_load_71 | 20 | 0.0057576 | 0.001443 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_957-2_1_2_load_73 | 22 | 0.0017968 | 0.00045033 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_957-2_1_2_load_82 | 24 | 0.0014987 | 0.00037562 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_957-2_1_2_load_76 | 25 | 0.00017385 | 4.3572e-05 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_957-2_1_2_load_114 | 26 | 0.00014371 | 3.6017e-05 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_957-2_1_2_load_77 | 27 | 0.0018263 | 0.00045771 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_957-2_1_2_load_78 | 28 | 0.00017571 | 4.4036e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_957-2_1_2_load_79 | 29 | 0.00034949 | 8.759e-05 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_957-2_1_2_load_80 | 30 | 0.00011062 | 2.7723e-05 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_957-2_1_2_load_81 | 31 | 0.0011443 | 0.0002868 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_957-2_1_2_load_86 | 32 | 0.0003239 | 8.1178e-05 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_957-2_1_2_load_119 | 37 | 0.00057564 | 0.00014427 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_957-2_1_2_load_88 | 39 | 0.0012582 | 0.00031534 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_957-2_1_2_load_172 | 40 | 8.8929e-05 | 2.2288e-05 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_957-2_1_2_load_90 | 41 | 9.3436e-05 | 2.3417e-05 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_957-2_1_2_load_91 | 42 | 0.00011282 | 2.8276e-05 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_957-2_1_2_load_92 | 43 | 0.00023193 | 5.8128e-05 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_957-2_1_2_load_93 | 44 | 0.00048419 | 0.00012135 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_957-2_1_2_load_95 | 46 | 0.0010809 | 0.00027089 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_957-2_1_2_load_96 | 48 | 0.00011515 | 2.8858e-05 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_957-2_1_2_load_97 | 49 | 0.00016708 | 4.1875e-05 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_957-2_1_2_load_98 | 50 | 0.00061375 | 0.00015382 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_957-2_1_2_load_99 | 51 | 0.00018038 | 4.5208e-05 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_957-2_1_2_load_112 | 53 | 0.00012869 | 3.2253e-05 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_957-2_1_2_load_120 | 54 | 0.00010458 | 2.6211e-05 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_957-2_1_2_load_108 | 55 | 0.00079581 | 0.00019945 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_957-2_1_2_load_117 | 57 | 0.00065652 | 0.00016454 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_957-2_1_2_load_104 | 58 | 0.00031078 | 7.789e-05 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_957-2_1_2_load_107 | 60 | 0.00023774 | 5.9584e-05 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_957-2_1_2_load_115 | 61 | 7.0269e-05 | 1.7611e-05 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_957-2_1_2_load_116 | 62 | 0.00013577 | 3.4026e-05 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_957-2_1_2_load_124 | 63 | 0.00071416 | 0.00017899 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_957-2_1_2_load_297 | 64 | 0.00014129 | 3.541e-05 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_957-2_1_2_load_169 | 65 | 7.615e-05 | 1.9085e-05 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_957-2_1_2_load_170 | 66 | 0.00057915 | 0.00014515 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_957-2_1_2_load_182 | 68 | 0.00028653 | 7.181e-05 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_957-2_1_2_load_294 | 69 | 0.00030016 | 7.5228e-05 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_957-2_1_2_load_295 | 70 | 7.9398e-05 | 1.9899e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 8 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_957-2_1_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.026296 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
1 | LV_957-2_1_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.17177 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
2 | LV_957-2_1_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.034743 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
3 | LV_957-2_1_2_line_3 | NAYY 4x150 SE | 2 | 4 | 0.06828 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_957-2_1_2_line_4 | NAYY 4x150 SE | 2 | 5 | 0.085701 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_957-2_1_2_line_5 | NAYY 4x150 SE | 3 | 6 | 0.046272 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
6 | LV_957-2_1_2_line_6 | NAYY 4x150 SE | 4 | 7 | 0.02139 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_957-2_1_2_line_7 | NAYY 4x150 SE | 6 | 8 | 0.032038 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
8 | LV_957-2_1_2_line_8 | NAYY 4x150 SE | 6 | 9 | 0.047712 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_957-2_1_2_line_9 | NAYY 4x150 SE | 7 | 25 | 0.019252 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_957-2_1_2_line_10 | NAYY 4x150 SE | 9 | 10 | 0.26001 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_957-2_1_2_line_11 | NAYY 4x150 SE | 10 | 56 | 0.21321 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_957-2_1_2_line_12 | NAYY 4x150 SE | 11 | 12 | 0.0047412 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_957-2_1_2_line_13 | NAYY 4x150 SE | 11 | 13 | 0.017878 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_957-2_1_2_line_14 | NAYY 4x150 SE | 12 | 14 | 0.0059663 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_957-2_1_2_line_15 | NAYY 4x150 SE | 13 | 15 | 0.003715 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_957-2_1_2_line_16 | NAYY 4x150 SE | 13 | 16 | 0.015633 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_957-2_1_2_line_17 | NAYY 4x150 SE | 15 | 17 | 0.01044 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_957-2_1_2_line_18 | NAYY 4x150 SE | 16 | 18 | 0.030127 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_957-2_1_2_line_19 | NAYY 4x150 SE | 18 | 58 | 0.012616 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_957-2_1_2_line_20 | NAYY 4x150 SE | 18 | 47 | 0.076288 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_957-2_1_2_line_21 | NAYY 4x150 SE | 19 | 20 | 0.019066 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_957-2_1_2_line_22 | NAYY 4x150 SE | 19 | 21 | 0.072955 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_957-2_1_2_line_23 | NAYY 4x150 SE | 20 | 22 | 0.0084873 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_957-2_1_2_line_24 | NAYY 4x150 SE | 21 | 23 | 0.19453 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_957-2_1_2_line_25 | NAYY 4x150 SE | 23 | 24 | 0.046903 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_957-2_1_2_line_26 | NAYY 4x150 SE | 24 | 34 | 0.0063387 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_957-2_1_2_line_27 | NAYY 4x150 SE | 25 | 26 | 0.013798 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_957-2_1_2_line_28 | NAYY 4x150 SE | 26 | 61 | 0.17076 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_957-2_1_2_line_29 | NAYY 4x150 SE | 27 | 28 | 0.021805 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_957-2_1_2_line_30 | NAYY 4x150 SE | 27 | 29 | 0.012289 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_957-2_1_2_line_31 | NAYY 4x150 SE | 28 | 30 | 0.0045563 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_957-2_1_2_line_32 | NAYY 4x150 SE | 29 | 31 | 0.057562 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_957-2_1_2_line_33 | NAYY 4x150 SE | 30 | 32 | 0.0036911 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_957-2_1_2_line_34 | NAYY 4x150 SE | 31 | 33 | 0.26609 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_957-2_1_2_line_35 | NAYY 4x150 SE | 32 | 38 | 0.0062617 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_957-2_1_2_line_36 | NAYY 4x150 SE | 33 | 63 | 0.079652 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_957-2_1_2_line_37 | NAYY 4x150 SE | 34 | 35 | 0.18094 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_957-2_1_2_line_38 | NAYY 4x150 SE | 35 | 36 | 0.22525 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_957-2_1_2_line_39 | NAYY 4x150 SE | 35 | 37 | 0.051475 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_957-2_1_2_line_40 | NAYY 4x150 SE | 36 | 42 | 0.22678 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_957-2_1_2_line_41 | NAYY 4x150 SE | 36 | 60 | 0.12913 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_957-2_1_2_line_42 | NAYY 4x150 SE | 37 | 62 | 0.044317 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_957-2_1_2_line_43 | NAYY 4x150 SE | 38 | 39 | 0.30862 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_957-2_1_2_line_44 | NAYY 4x150 SE | 38 | 40 | 0.32223 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_957-2_1_2_line_45 | NAYY 4x150 SE | 39 | 41 | 0.018906 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_957-2_1_2_line_46 | NAYY 4x150 SE | 40 | 66 | 0.054628 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_957-2_1_2_line_47 | NAYY 4x150 SE | 41 | 42 | 0.020436 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_957-2_1_2_line_48 | NAYY 4x150 SE | 43 | 44 | 0.00984 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_957-2_1_2_line_49 | NAYY 4x150 SE | 43 | 45 | 0.02717 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_957-2_1_2_line_50 | NAYY 4x150 SE | 45 | 46 | 0.012164 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_957-2_1_2_line_51 | NAYY 4x150 SE | 46 | 47 | 0.026472 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_957-2_1_2_line_52 | NAYY 4x150 SE | 48 | 49 | 0.01178 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_957-2_1_2_line_53 | NAYY 4x150 SE | 48 | 50 | 0.013221 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_957-2_1_2_line_54 | NAYY 4x150 SE | 49 | 51 | 0.0073856 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_957-2_1_2_line_55 | NAYY 4x150 SE | 50 | 52 | 0.019432 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_957-2_1_2_line_56 | NAYY 4x150 SE | 51 | 53 | 0.006864 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_957-2_1_2_line_57 | NAYY 4x150 SE | 52 | 54 | 0.041843 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_957-2_1_2_line_58 | NAYY 4x150 SE | 52 | 55 | 0.051119 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_957-2_1_2_line_59 | NAYY 4x150 SE | 55 | 60 | 0.053269 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_957-2_1_2_line_60 | NAYY 4x150 SE | 56 | 57 | 0.049449 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_957-2_1_2_line_61 | NAYY 4x150 SE | 57 | 59 | 0.018888 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_957-2_1_2_line_62 | NAYY 4x150 SE | 58 | 59 | 0.029881 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_957-2_1_2_line_63 | NAYY 4x150 SE | 61 | 62 | 0.011342 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_957-2_1_2_line_64 | NAYY 4x150 SE | 63 | 64 | 0.0016973 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_957-2_1_2_line_65 | NAYY 4x150 SE | 64 | 71 | 0.015673 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_957-2_1_2_line_66 | NAYY 4x150 SE | 65 | 66 | 0.00067167 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_957-2_1_2_line_67 | NAYY 4x150 SE | 65 | 67 | 0.023391 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_957-2_1_2_line_68 | NAYY 4x150 SE | 67 | 68 | 0.32773 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_957-2_1_2_line_69 | NAYY 4x150 SE | 69 | 70 | 0.016885 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_957-2_1_2_line_70 | NAYY 4x150 SE | 69 | 71 | 0.011604 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_957-2_1_2_trafo_62 | 0.25 MVA 20/0.4 kV | 72 | 8 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27
0 | 2624782.9477 | 1211420.7842 | 2624768.1361 | 1211442.5114
1 | 2624650.4844 | 1211380.3688 | 2624658.8965 | 1211382.0044 | 2624682.7888 | 1211375.6327 | 2624687.061 | 1211375.1279 | 2624689.3925 | 1211375.4043 | 2624693.5425 | 1211376.9223 | 2624697.0718 | 1211379.694 | 2624708.7382 | 1211397.3077 | 2624711.0072 | 1211399.8296 | 2624713.6274 | 1211401.9639 | 2624716.5456 | 1211403.6658 | 2624719.7014 | 1211404.8907 | 2624723.0036 | 1211405.6158 | 2624726.3764 | 1211405.8188 | 2624729.7893 | 1211405.4883 | 2624737.2412 | 1211404.1183 | 2624764.7759 | 1211397.0617 | 2624769.1091 | 1211396.5127 | 2624773.5697 | 1211396.42 | 2624778.4885 | 1211397.5632 | 2624782.8465 | 1211400.205 | 2624786.1659 | 1211404.1099 | 2624786.9997 | 1211406.4369 | 2624787.4371 | 1211410.8968 | 2624786.9654 | 1211412.8737 | 2624786.3932 | 1211415.2616 | 2624785.3287 | 1211417.2916 | 2624782.9477 | 1211420.7842
2 | 2624753.7506 | 1211472.726 | 2624753.893 | 1211470.9583 | 2624755.2139 | 1211463.9043 | 2624757.2636 | 1211457.02 | 2624759.9112 | 1211450.6718 | 2624765.4526 | 1211446.4479 | 2624768.1361 | 1211442.5114
3 | 2624650.4844 | 1211380.3688 | 2624644.991 | 1211382.1916 | 2624638.1049 | 1211384.5423 | 2624631.1838 | 1211386.1703 | 2624624.1364 | 1211387.1084 | 2624617.0311 | 1211387.346 | 2624609.9514 | 1211386.8944 | 2624587.7132 | 1211382.8005 | 2624583.7074 | 1211381.6037
4 | 2624650.4844 | 1211380.3688 | 2624654.6765 | 1211375.361 | 2624679.2882 | 1211347.5024 | 2624689.4722 | 1211337.739 | 2624702.9525 | 1211328.3227 | 2624705.8615 | 1211324.9217 | 2624709.8595 | 1211319.212
5 | 2624760.6192 | 1211518.1795 | 2624756.5003 | 1211501.8532 | 2624754.4195 | 1211492.4282 | 2624753.4917 | 1211485.2981 | 2624753.3163 | 1211478.1155 | 2624753.7506 | 1211472.726
6 | 2624583.7074 | 1211381.6037 | 2624563.2131 | 1211375.4804
7 | 2624760.6192 | 1211518.1795 | 2624758.126 | 1211522.0936 | 2624752.2862 | 1211548.8623
8 | 2624760.6192 | 1211518.1795 | 2624772.2848 | 1211564.4435
9 | 2624544.1955 | 1211375.7228 | 2624548.2653 | 1211374.9118 | 2624559.8695 | 1211374.4814 | 2624563.2131 | 1211375.4804
10 | 2624962.6582 | 1211725.5703 | 2624947.1947 | 1211716.9676 | 2624924.4212 | 1211699.4516 | 2624866.3741 | 1211661.0992 | 2624836.8141 | 1211642.0211 | 2624801.5977 | 1211625.6101 | 2624791.185 | 1211617.3178 | 2624785.6024 | 1211609.5458 | 2624781.5336 | 1211599.4899 | 2624777.8044 | 1211586.3337 | 2624772.2848 | 1211564.4435
11 | 2624962.6582 | 1211725.5703 | 2624977.5388 | 1211726.3885 | 2624985.9986 | 1211725.5567 | 2625000.4634 | 1211716.8234 | 2625005.6715 | 1211710.5083 | 2625026.0483 | 1211690.6712 | 2625034.7439 | 1211680.7131 | 2625041.3854 | 1211669.6013 | 2625053.3998 | 1211636.4663 | 2625063.9891 | 1211598.9561 | 2625072.941 | 1211564.1963
12 | 2625014.6278 | 1211499.2579 | 2625017.8603 | 1211502.7264
13 | 2625002.4391 | 1211486.1791 | 2625014.6278 | 1211499.2579
14 | 2625021.928 | 1211507.0911 | 2625017.8603 | 1211502.7264
15 | 2625002.4391 | 1211486.1791 | 2624999.5348 | 1211488.4956
16 | 2625002.4391 | 1211486.1791 | 2625012.2048 | 1211478.4045 | 2625014.9411 | 1211476.8439
17 | 2624999.5348 | 1211488.4956 | 2624991.3727 | 1211495.0057
18 | 2625043.1306 | 1211470.7852 | 2625037.4072 | 1211469.4605 | 2625029.8922 | 1211469.5624 | 2625027.6488 | 1211470.031 | 2625025.48 | 1211470.8335 | 2625014.9411 | 1211476.8439
19 | 2625043.1306 | 1211470.7852 | 2625047.5483 | 1211475.4508 | 2625052.129 | 1211479.6155
20 | 2625043.1306 | 1211470.7852 | 2625044.6999 | 1211468.0013 | 2625049.4664 | 1211463.7856 | 2625080.9424 | 1211444.5734 | 2625090.1469 | 1211440.2095 | 2625092.8475 | 1211435.8184 | 2625100.3442 | 1211427.4006 | 2625102.7392 | 1211425.2206
21 | 2624720.3064 | 1211841.1662 | 2624733.028 | 1211854.6888 | 2624733.3917 | 1211855.0311
22 | 2624666.8745 | 1211792.4024 | 2624672.5487 | 1211794.5493 | 2624687.6796 | 1211806.4852 | 2624720.3064 | 1211841.1662
23 | 2624739.572 | 1211860.8483 | 2624733.3917 | 1211855.0311
24 | 2624666.8745 | 1211792.4024 | 2624644.0054 | 1211788.7394 | 2624614.9702 | 1211782.4273 | 2624582.367 | 1211771.7204 | 2624550.9173 | 1211757.5943 | 2624529.4293 | 1211743.1868 | 2624514.3714 | 1211730.0287 | 2624506.2448 | 1211725.5818 | 2624489.8738 | 1211717.6435
25 | 2624489.8738 | 1211717.6435 | 2624495.0099 | 1211712.0837 | 2624500.7357 | 1211707.2266 | 2624507.6981 | 1211699.1283 | 2624512.6317 | 1211687.3753 | 2624516.6111 | 1211679.9787
26 | 2624519.6142 | 1211674.3966 | 2624516.6111 | 1211679.9787
27 | 2624531.4384 | 1211380.4634 | 2624535.0846 | 1211378.0705 | 2624538.0981 | 1211376.9378 | 2624544.1955 | 1211375.7228
28 | 2624531.4384 | 1211380.4634 | 2624529.8658 | 1211381.4955 | 2624525.9102 | 1211386.282 | 2624510.9004 | 1211413.0466 | 2624501.4731 | 1211438.489 | 2624495.1948 | 1211459.4084 | 2624476.9068 | 1211537.1552 | 2624476.3054 | 1211540.2382
29 | 2624430.8636 | 1211082.5076 | 2624430.3128 | 1211082.5971 | 2624418.617 | 1211082.9828 | 2624413.9183 | 1211083.6751 | 2624409.3231 | 1211085.046
30 | 2624430.8636 | 1211082.5076 | 2624437.1941 | 1211081.4801 | 2624442.8209 | 1211079.7896
31 | 2624405.2833 | 1211087.1531 | 2624409.3231 | 1211085.046 | 2624409.3231 | 1211085.046
32 | 2624442.8209 | 1211079.7896 | 2624447.3431 | 1211078.431 | 2624456.8155 | 1211073.6003 | 2624464.449 | 1211068.8066 | 2624471.8183 | 1211063.5561 | 2624478.8169 | 1211057.926 | 2624489.0314 | 1211046.72
33 | 2624402.1166 | 1211089.0365 | 2624403.5282 | 1211088.0685 | 2624405.2833 | 1211087.1531
34 | 2624687.3531 | 1210877.7931 | 2624684.8466 | 1210883.0301 | 2624681.9017 | 1210887.7095 | 2624678.4492 | 1210892.0199 | 2624674.5197 | 1210895.917 | 2624670.1819 | 1210899.3343 | 2624665.4739 | 1210902.2276 | 2624660.4261 | 1210904.5859 | 2624620.8035 | 1210919.9201 | 2624605.5422 | 1210928.0063 | 2624594.1823 | 1210935.3304 | 2624585.0201 | 1210942.2521 | 2624572.4749 | 1210953.229 | 2624550.2235 | 1210974.1271 | 2624531.7793 | 1210993.1399 | 2624516.4051 | 1211012.1653 | 2624502.5325 | 1211031.9085 | 2624489.0314 | 1211046.72
35 | 2624396.9523 | 1211092.5776 | 2624402.1166 | 1211089.0365
36 | 2624687.3531 | 1210877.7931 | 2624689.1439 | 1210871.03 | 2624690.2447 | 1210862.0962 | 2624692.0053 | 1210822.2032 | 2624692.3896 | 1210800.9261 | 2624692.6942 | 1210798.5027
37 | 2624400.1761 | 1211598.1648 | 2624407.8183 | 1211604.0549 | 2624403.7144 | 1211611.7536 | 2624403.6779 | 1211620.6918 | 2624410.3935 | 1211632.0812 | 2624422.7521 | 1211640.2808 | 2624432.1161 | 1211643.154 | 2624441.8944 | 1211643.194 | 2624451.9385 | 1211639.5664 | 2624461.4852 | 1211636.7816 | 2624474.5372 | 1211635.2119 | 2624482.9328 | 1211635.2241 | 2624489.8503 | 1211638.0985 | 2624497.3159 | 1211646.267 | 2624504.6178 | 1211653.6122 | 2624509.504 | 1211655.2554 | 2624515.0538 | 1211654.4444 | 2624519.9308 | 1211656.4989 | 2624522.7542 | 1211664.6373 | 2624519.6142 | 1211674.3966
38 | 2624400.1761 | 1211598.1648 | 2624394.3275 | 1211599.5751 | 2624364.1556 | 1211609.024 | 2624332.0741 | 1211622.8456 | 2624326.7031 | 1211624.5247 | 2624321.1828 | 1211625.5584 | 2624315.5816 | 1211625.9469 | 2624309.9679 | 1211625.6684 | 2624304.4328 | 1211624.7342 | 2624299.0144 | 1211623.1447 | 2624273.6459 | 1211613.5806 | 2624248.2001 | 1211600.57 | 2624214.98 | 1211582.3028 | 2624201.6182 | 1211575.934 | 2624201.1366 | 1211565.4039
39 | 2624400.1761 | 1211598.1648 | 2624430.248 | 1211590.9058 | 2624449.6711 | 1211584.2285
40 | 2624201.1366 | 1211565.4039 | 2624241.2578 | 1211342.1963
41 | 2624201.1366 | 1211565.4039 | 2624139.877 | 1211679.081
42 | 2624474.134 | 1211551.3707 | 2624472.452 | 1211559.9943 | 2624467.8261 | 1211572.6714 | 2624465.6575 | 1211575.3084 | 2624463.5958 | 1211577.8125 | 2624455.1435 | 1211582.3472 | 2624449.6711 | 1211584.2285
43 | 2624396.9523 | 1211092.5776 | 2624400.8883 | 1211100.0312 | 2624404.1444 | 1211104.647 | 2624414.1615 | 1211117.1172 | 2624415.9779 | 1211120.7489 | 2624416.7467 | 1211124.1539 | 2624417.1013 | 1211128.4912 | 2624416.5425 | 1211133.2138 | 2624414.805 | 1211138.165 | 2624409.6968 | 1211149.8063 | 2624402.6637 | 1211162.0845 | 2624375.4199 | 1211203.8413 | 2624354.0986 | 1211237.4178 | 2624319.9449 | 1211296.8901 | 2624301.9913 | 1211330.2137 | 2624291.9587 | 1211345.8817 | 2624288.1444 | 1211349.6239 | 2624285.9738 | 1211350.8602 | 2624280.847 | 1211352.2513 | 2624278.8921 | 1211352.2692
44 | 2624396.9523 | 1211092.5776 | 2624089.6729 | 1210995.5694
45 | 2624278.8921 | 1211352.2692 | 2624278.3243 | 1211352.2744 | 2624274.7032 | 1211351.4704 | 2624262.9187 | 1211345.7637 | 2624261.4017 | 1211345.5291
46 | 2624044.0153 | 1211011.5846 | 2624050.0951 | 1210999.4197 | 2624051.9194 | 1210997.3926 | 2624054.2806 | 1210995.9902 | 2624056.8591 | 1210995.3669 | 2624065.9963 | 1210994.492 | 2624084.2847 | 1210994.8881 | 2624089.6729 | 1210995.5694
47 | 2624261.4017 | 1211345.5291 | 2624242.4011 | 1211342.5898 | 2624241.2578 | 1211342.1963
48 | 2625087.2263 | 1211368.3578 | 2625087.1011 | 1211365.7547 | 2625089.2341 | 1211359.0376 | 2625089.3321 | 1211358.8791
49 | 2625105.1503 | 1211386.6645 | 2625101.9591 | 1211383.0157 | 2625089.7184 | 1211375.7936 | 2625087.4086 | 1211372.1485 | 2625087.2263 | 1211368.3578
50 | 2625105.1503 | 1211386.6645 | 2625104.2807 | 1211398.7971
51 | 2625102.7392 | 1211425.2206 | 2625103.1485 | 1211414.5941 | 2625104.2807 | 1211398.7971
52 | 2624231.7606 | 1211768.5871 | 2624231.7606 | 1211768.5871 | 2624235.7015 | 1211776.6299 | 2624236.4424 | 1211779.3543
53 | 2624231.7606 | 1211768.5871 | 2624223.9427 | 1211761.0512 | 2624222.0816 | 1211759.5969
54 | 2624238.4803 | 1211786.4521 | 2624237.5356 | 1211783.3745 | 2624236.4424 | 1211779.3543
55 | 2624206.498 | 1211747.9954 | 2624215.7479 | 1211754.6477 | 2624222.0816 | 1211759.5969
56 | 2624238.4803 | 1211786.4521 | 2624239.5377 | 1211789.8974 | 2624239.5245 | 1211793.1575
57 | 2624206.498 | 1211747.9954 | 2624202.5535 | 1211750.1918 | 2624197.3799 | 1211753.8173 | 2624186.1048 | 1211761.3648 | 2624174.4569 | 1211770.8786 | 2624172.7582 | 1211772.5785
58 | 2624206.498 | 1211747.9954 | 2624207.2454 | 1211743.5515 | 2624207.5478 | 1211740.1841 | 2624208.1123 | 1211735.8617 | 2624207.6026 | 1211732.2799 | 2624205.7432 | 1211726.1355 | 2624203.3628 | 1211721.0897 | 2624199.8236 | 1211716.9953 | 2624192.8742 | 1211710.7303 | 2624185.7757 | 1211706.0766
59 | 2624139.877 | 1211679.081 | 2624166.4592 | 1211695.0813 | 2624180.8106 | 1211702.8215 | 2624185.7757 | 1211706.0766
60 | 2625072.941 | 1211564.1963 | 2625075.7218 | 1211551.5452 | 2625077.8663 | 1211536.6124 | 2625078.3178 | 1211521.3724 | 2625077.7402 | 1211515.2361
61 | 2625076.5155 | 1211496.3952 | 2625076.914 | 1211506.4581 | 2625077.7402 | 1211515.2361
62 | 2625076.5155 | 1211496.3952 | 2625070.955 | 1211494.2706 | 2625061.0367 | 1211487.7142 | 2625052.129 | 1211479.6155
63 | 2624474.134 | 1211551.3707 | 2624476.3054 | 1211540.2382
64 | 2624692.6942 | 1210798.5027 | 2624692.9058 | 1210796.8186
65 | 2624695.8516 | 1210781.4628 | 2624693.9454 | 1210788.5478 | 2624692.9058 | 1210796.8186
66 | 2624044.0153 | 1211011.5846 | 2624043.715 | 1211012.1854
67 | 2624038.1775 | 1211034.1469 | 2624037.911 | 1211028.6205 | 2624038.6953 | 1211020.6525 | 2624042.6646 | 1211014.2871 | 2624043.715 | 1211012.1854
68 | 2623812.5432 | 1211271.836 | 2624038.1775 | 1211034.1469
69 | 2624692.3814 | 1210770.4599 | 2624692.2236 | 1210769.3743 | 2624691.9098 | 1210764.4036 | 2624693.1498 | 1210753.6672
70 | 2624695.8516 | 1210781.4628 | 2624692.896 | 1210774.0019 | 2624692.3814 | 1210770.4599

## bus_geodata
| x | y | coords
0 | 2624782.9477 | 1211420.7842
1 | 2624768.1361 | 1211442.5114
2 | 2624650.4844 | 1211380.3688
3 | 2624753.7506 | 1211472.726
4 | 2624583.7074 | 1211381.6037
5 | 2624709.8595 | 1211319.212
6 | 2624760.6192 | 1211518.1795
7 | 2624563.2131 | 1211375.4804
8 | 2624752.2862 | 1211548.8623
9 | 2624772.2848 | 1211564.4435
10 | 2624962.6582 | 1211725.5703
11 | 2625014.6278 | 1211499.2579
12 | 2625017.8603 | 1211502.7264
13 | 2625002.4391 | 1211486.1791
14 | 2625021.928 | 1211507.0911
15 | 2624999.5348 | 1211488.4956
16 | 2625014.9411 | 1211476.8439
17 | 2624991.3727 | 1211495.0057
18 | 2625043.1306 | 1211470.7852
19 | 2624720.3064 | 1211841.1662
20 | 2624733.3917 | 1211855.0311
21 | 2624666.8745 | 1211792.4024
22 | 2624739.572 | 1211860.8483
23 | 2624489.8738 | 1211717.6435
24 | 2624516.6111 | 1211679.9787
25 | 2624544.1955 | 1211375.7228
26 | 2624531.4384 | 1211380.4634
27 | 2624430.8636 | 1211082.5076
28 | 2624409.3231 | 1211085.046
29 | 2624442.8209 | 1211079.7896
30 | 2624405.2833 | 1211087.1531
31 | 2624489.0314 | 1211046.72
32 | 2624402.1166 | 1211089.0365
33 | 2624687.3531 | 1210877.7931
34 | 2624519.6142 | 1211674.3966
35 | 2624400.1761 | 1211598.1648
36 | 2624201.1366 | 1211565.4039
37 | 2624449.6711 | 1211584.2285
38 | 2624396.9523 | 1211092.5776
39 | 2624278.8921 | 1211352.2692
40 | 2624089.6729 | 1210995.5694
41 | 2624261.4017 | 1211345.5291
42 | 2624241.2578 | 1211342.1963
43 | 2625087.2263 | 1211368.3578
44 | 2625089.3321 | 1211358.8791
45 | 2625105.1503 | 1211386.6645
46 | 2625104.2807 | 1211398.7971
47 | 2625102.7392 | 1211425.2206
48 | 2624231.7606 | 1211768.5871
49 | 2624236.4424 | 1211779.3543
50 | 2624222.0816 | 1211759.5969
51 | 2624238.4803 | 1211786.4521
52 | 2624206.498 | 1211747.9954
53 | 2624239.5245 | 1211793.1575
54 | 2624172.7582 | 1211772.5785
55 | 2624185.7757 | 1211706.0766
56 | 2625072.941 | 1211564.1963
57 | 2625077.7402 | 1211515.2361
58 | 2625052.129 | 1211479.6155
59 | 2625076.5155 | 1211496.3952
60 | 2624139.877 | 1211679.081
61 | 2624476.3054 | 1211540.2382
62 | 2624474.134 | 1211551.3707
63 | 2624692.6942 | 1210798.5027
64 | 2624692.9058 | 1210796.8186
65 | 2624043.715 | 1211012.1854
66 | 2624044.0153 | 1211011.5846
67 | 2624038.1775 | 1211034.1469
68 | 2623812.5432 | 1211271.836
69 | 2624692.3814 | 1210770.4599
70 | 2624693.1498 | 1210753.6672
71 | 2624695.8516 | 1210781.4628
72 | 2624752.2862 | 1211548.8623

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1