## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_957-6_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_957-6_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_957-6_0_3_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_957-6_0_3_node_2 | 0.4 | n |  | TRUE
4 | bus_LV_957-6_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_957-6_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_957-6_0_3_node_92 | 0.4 | n |  | TRUE
7 | bus_LV_957-6_0_3_node_95 | 0.4 | n |  | TRUE
8 | bus_LV_957-6_0_3_node_91 | 0.4 | n |  | TRUE
9 | bus_LV_957-6_0_3_node_96 | 0.4 | n |  | TRUE
10 | bus_LV_957-6_0_3_node_98 | 0.4 | n |  | TRUE
11 | bus_LV_957-6_0_3_node_45 | 0.4 | n |  | TRUE
12 | bus_LV_957-6_0_3_node_6 | 0.4 | n |  | TRUE
13 | bus_LV_957-6_0_3_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_957-6_0_3_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_957-6_0_3_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_957-6_0_3_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_957-6_0_3_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_957-6_0_3_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_957-6_0_3_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_957-6_0_3_node_44 | 0.4 | n |  | TRUE
21 | bus_LV_957-6_0_3_node_28 | 0.4 | n |  | TRUE
22 | bus_LV_957-6_0_3_node_43 | 0.4 | n |  | TRUE
23 | bus_LV_957-6_0_3_node_25 | 0.4 | n |  | TRUE
24 | bus_LV_957-6_0_3_node_14 | 0.4 | n |  | TRUE
25 | bus_LV_957-6_0_3_node_15 | 0.4 | n |  | TRUE
26 | bus_LV_957-6_0_3_node_16 | 0.4 | n |  | TRUE
27 | bus_LV_957-6_0_3_node_17 | 0.4 | n |  | TRUE
28 | bus_LV_957-6_0_3_node_18 | 0.4 | n |  | TRUE
29 | bus_LV_957-6_0_3_node_19 | 0.4 | n |  | TRUE
30 | bus_LV_957-6_0_3_node_20 | 0.4 | n |  | TRUE
31 | bus_LV_957-6_0_3_node_21 | 0.4 | n |  | TRUE
32 | bus_LV_957-6_0_3_node_22 | 0.4 | n |  | TRUE
33 | bus_LV_957-6_0_3_node_52 | 0.4 | n |  | TRUE
34 | bus_LV_957-6_0_3_node_51 | 0.4 | n |  | TRUE
35 | bus_LV_957-6_0_3_node_65 | 0.4 | n |  | TRUE
36 | bus_LV_957-6_0_3_node_53 | 0.4 | n |  | TRUE
37 | bus_LV_957-6_0_3_node_50 | 0.4 | n |  | TRUE
38 | bus_LV_957-6_0_3_node_67 | 0.4 | n |  | TRUE
39 | bus_LV_957-6_0_3_node_63 | 0.4 | n |  | TRUE
40 | bus_LV_957-6_0_3_node_23 | 0.4 | n |  | TRUE
41 | bus_LV_957-6_0_3_node_24 | 0.4 | n |  | TRUE
42 | bus_LV_957-6_0_3_node_26 | 0.4 | n |  | TRUE
43 | bus_LV_957-6_0_3_node_27 | 0.4 | n |  | TRUE
44 | bus_LV_957-6_0_3_node_29 | 0.4 | n |  | TRUE
45 | bus_LV_957-6_0_3_node_30 | 0.4 | n |  | TRUE
46 | bus_LV_957-6_0_3_node_31 | 0.4 | n |  | TRUE
47 | bus_LV_957-6_0_3_node_57 | 0.4 | n |  | TRUE
48 | bus_LV_957-6_0_3_node_32 | 0.4 | n |  | TRUE
49 | bus_LV_957-6_0_3_node_56 | 0.4 | n |  | TRUE
50 | bus_LV_957-6_0_3_node_90 | 0.4 | n |  | TRUE
51 | bus_LV_957-6_0_3_node_42 | 0.4 | n |  | TRUE
52 | bus_LV_957-6_0_3_node_88 | 0.4 | n |  | TRUE
53 | bus_LV_957-6_0_3_node_33 | 0.4 | n |  | TRUE
54 | bus_LV_957-6_0_3_node_34 | 0.4 | n |  | TRUE
55 | bus_LV_957-6_0_3_node_35 | 0.4 | n |  | TRUE
56 | bus_LV_957-6_0_3_node_36 | 0.4 | n |  | TRUE
57 | bus_LV_957-6_0_3_node_37 | 0.4 | n |  | TRUE
58 | bus_LV_957-6_0_3_node_38 | 0.4 | n |  | TRUE
59 | bus_LV_957-6_0_3_node_39 | 0.4 | n |  | TRUE
60 | bus_LV_957-6_0_3_node_40 | 0.4 | n |  | TRUE
61 | bus_LV_957-6_0_3_node_41 | 0.4 | n |  | TRUE
62 | bus_LV_957-6_0_3_node_46 | 0.4 | n |  | TRUE
63 | bus_LV_957-6_0_3_node_47 | 0.4 | n |  | TRUE
64 | bus_LV_957-6_0_3_node_48 | 0.4 | n |  | TRUE
65 | bus_LV_957-6_0_3_node_49 | 0.4 | n |  | TRUE
66 | bus_LV_957-6_0_3_node_79 | 0.4 | n |  | TRUE
67 | bus_LV_957-6_0_3_node_80 | 0.4 | n |  | TRUE
68 | bus_LV_957-6_0_3_node_81 | 0.4 | n |  | TRUE
69 | bus_LV_957-6_0_3_node_82 | 0.4 | n |  | TRUE
70 | bus_LV_957-6_0_3_node_97 | 0.4 | n |  | TRUE
71 | bus_LV_957-6_0_3_node_87 | 0.4 | n |  | TRUE
72 | bus_LV_957-6_0_3_node_85 | 0.4 | n |  | TRUE
73 | bus_LV_957-6_0_3_node_86 | 0.4 | n |  | TRUE
74 | bus_LV_957-6_0_3_node_55 | 0.4 | n |  | TRUE
75 | bus_LV_957-6_0_3_node_54 | 0.4 | n |  | TRUE
76 | bus_LV_957-6_0_3_node_72 | 0.4 | n |  | TRUE
77 | bus_LV_957-6_0_3_node_83 | 0.4 | n |  | TRUE
78 | bus_LV_957-6_0_3_node_94 | 0.4 | n |  | TRUE
79 | bus_LV_957-6_0_3_node_74 | 0.4 | n |  | TRUE
80 | bus_LV_957-6_0_3_node_69 | 0.4 | n |  | TRUE
81 | bus_LV_957-6_0_3_node_84 | 0.4 | n |  | TRUE
82 | bus_LV_957-6_0_3_node_93 | 0.4 | n |  | TRUE
83 | bus_LV_957-6_0_3_node_58 | 0.4 | n |  | TRUE
84 | bus_LV_957-6_0_3_node_59 | 0.4 | n |  | TRUE
85 | bus_LV_957-6_0_3_node_60 | 0.4 | n |  | TRUE
86 | bus_LV_957-6_0_3_node_89 | 0.4 | n |  | TRUE
87 | bus_LV_957-6_0_3_node_61 | 0.4 | n |  | TRUE
88 | bus_LV_957-6_0_3_node_62 | 0.4 | n |  | TRUE
89 | bus_LV_957-6_0_3_node_64 | 0.4 | n |  | TRUE
90 | bus_LV_957-6_0_3_node_66 | 0.4 | n |  | TRUE
91 | bus_LV_957-6_0_3_node_75 | 0.4 | n |  | TRUE
92 | bus_LV_957-6_0_3_node_76 | 0.4 | n |  | TRUE
93 | bus_LV_957-6_0_3_node_77 | 0.4 | n |  | TRUE
94 | bus_LV_957-6_0_3_node_68 | 0.4 | n |  | TRUE
95 | bus_LV_957-6_0_3_node_70 | 0.4 | n |  | TRUE
96 | bus_LV_957-6_0_3_node_71 | 0.4 | n |  | TRUE
97 | bus_LV_957-6_0_3_node_73 | 0.4 | n |  | TRUE
98 | bus_LV_957-6_0_3_node_99 | 0.4 | n |  | TRUE
99 | bus_LV_957-6_0_3_node_78 | 0.4 | n |  | TRUE
100 | bus_MV_183_0_node_141 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_957-6_0_3_load_0 | 0 | 0.0025167 | 0.00063074 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_957-6_0_3_load_4 | 4 | 0.0025147 | 0.00063024 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_957-6_0_3_load_5 | 5 | 0.0020845 | 0.00052242 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_957-6_0_3_load_92 | 6 | 0.0067119 | 0.0016822 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_957-6_0_3_load_95 | 7 | 0.0015717 | 0.0003939 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_957-6_0_3_load_96 | 9 | 0.0013735 | 0.00034424 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_957-6_0_3_load_98 | 10 | 0.0015831 | 0.00039676 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_957-6_0_3_load_6 | 12 | 0.010199 | 0.002556 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_957-6_0_3_load_7 | 13 | 0.0091866 | 0.0023024 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_957-6_0_3_load_8 | 14 | 0.0036824 | 0.00092288 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_957-6_0_3_load_9 | 15 | 0.002871 | 0.00071954 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_957-6_0_3_load_10 | 16 | 0.0030847 | 0.00077309 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_957-6_0_3_load_11 | 17 | 0.0086367 | 0.0021646 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_957-6_0_3_load_12 | 18 | 0.0033269 | 0.00083379 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_957-6_0_3_load_13 | 19 | 0.0020016 | 0.00050166 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_957-6_0_3_load_44 | 20 | 0.0033374 | 0.00083642 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_957-6_0_3_load_28 | 21 | 0.0015772 | 0.00039527 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_957-6_0_3_load_43 | 22 | 0.002621 | 0.00065687 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_957-6_0_3_load_14 | 24 | 0.0039349 | 0.00098618 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_957-6_0_3_load_15 | 25 | 0.0019417 | 0.00048664 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_957-6_0_3_load_17 | 27 | 0.0021189 | 0.00053106 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_957-6_0_3_load_18 | 28 | 0.0017592 | 0.00044091 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_957-6_0_3_load_19 | 29 | 0.0041136 | 0.001031 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_957-6_0_3_load_20 | 30 | 0.0019246 | 0.00048235 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_957-6_0_3_load_21 | 31 | 0.0027679 | 0.00069371 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_957-6_0_3_load_52 | 33 | 0.001997 | 0.00050048 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_957-6_0_3_load_51 | 34 | 0.0062353 | 0.0015627 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_957-6_0_3_load_67 | 38 | 0.0015777 | 0.0003954 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_957-6_0_3_load_63 | 39 | 0.0044754 | 0.0011216 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_957-6_0_3_load_23 | 40 | 0.0020611 | 0.00051657 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_957-6_0_3_load_24 | 41 | 0.0061145 | 0.0015324 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_957-6_0_3_load_26 | 42 | 0.0023962 | 0.00060054 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_957-6_0_3_load_27 | 43 | 0.0032789 | 0.00082178 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_957-6_0_3_load_29 | 44 | 0.0027209 | 0.00068191 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_957-6_0_3_load_30 | 45 | 0.0027061 | 0.00067821 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_957-6_0_3_load_31 | 46 | 0.0018792 | 0.00047097 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_957-6_0_3_load_57 | 47 | 0.0021543 | 0.00053993 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_957-6_0_3_load_56 | 49 | 0.0030565 | 0.00076603 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_957-6_0_3_load_90 | 50 | 0.0022949 | 0.00057516 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_957-6_0_3_load_42 | 51 | 0.0011563 | 0.00028979 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_957-6_0_3_load_88 | 52 | 0.0024222 | 0.00060706 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_957-6_0_3_load_33 | 53 | 0.0041385 | 0.0010372 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_957-6_0_3_load_34 | 54 | 0.0016073 | 0.00040283 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_957-6_0_3_load_35 | 55 | 0.0032341 | 0.00081053 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_957-6_0_3_load_36 | 56 | 0.0016042 | 0.00040205 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_957-6_0_3_load_37 | 57 | 0.0036242 | 0.0009083 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_957-6_0_3_load_38 | 58 | 0.0036857 | 0.00092373 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_957-6_0_3_load_39 | 59 | 0.0016397 | 0.00041094 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_957-6_0_3_load_40 | 60 | 0.0013846 | 0.00034702 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_957-6_0_3_load_46 | 62 | 0.0024556 | 0.00061544 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_957-6_0_3_load_47 | 63 | 0.001714 | 0.00042957 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_957-6_0_3_load_48 | 64 | 0.0013636 | 0.00034175 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_957-6_0_3_load_49 | 65 | 0.0019906 | 0.00049888 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_957-6_0_3_load_79 | 66 | 0.0066785 | 0.0016738 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_957-6_0_3_load_80 | 67 | 0.00075512 | 0.00018925 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_957-6_0_3_load_82 | 69 | 0.00061661 | 0.00015454 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_957-6_0_3_load_97 | 70 | 0.0012708 | 0.00031849 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_957-6_0_3_load_87 | 71 | 0.00080387 | 0.00020147 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_957-6_0_3_load_85 | 72 | 0.0013981 | 0.0003504 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_957-6_0_3_load_86 | 73 | 0.0028707 | 0.00071946 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_957-6_0_3_load_83 | 77 | 0.0040567 | 0.0010167 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_957-6_0_3_load_94 | 78 | 0.002794 | 0.00070024 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_957-6_0_3_load_74 | 79 | 0.0021125 | 0.00052943 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_957-6_0_3_load_84 | 81 | 0.0025224 | 0.00063217 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_957-6_0_3_load_93 | 82 | 0.0029301 | 0.00073434 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_957-6_0_3_load_58 | 83 | 0.0033188 | 0.00083176 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_957-6_0_3_load_59 | 84 | 0.0029557 | 0.00074076 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_957-6_0_3_load_89 | 86 | 0.0040572 | 0.0010168 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_957-6_0_3_load_61 | 87 | 0.0022167 | 0.00055556 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_957-6_0_3_load_62 | 88 | 0.0019245 | 0.00048231 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_957-6_0_3_load_64 | 89 | 0.0032563 | 0.00081611 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_957-6_0_3_load_66 | 90 | 0.0016891 | 0.00042333 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_957-6_0_3_load_75 | 91 | 0.0018037 | 0.00045204 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_957-6_0_3_load_76 | 92 | 0.0023487 | 0.00058865 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_957-6_0_3_load_77 | 93 | 0.0041334 | 0.0010359 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_957-6_0_3_load_68 | 94 | 0.0015284 | 0.00038306 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_957-6_0_3_load_70 | 95 | 0.0027727 | 0.00069489 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_957-6_0_3_load_71 | 96 | 0.0053749 | 0.0013471 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_957-6_0_3_load_73 | 97 | 0.0015027 | 0.00037662 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_957-6_0_3_load_99 | 98 | 0.0023337 | 0.00058489 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_957-6_0_3_load_78 | 99 | 0.0019391 | 0.00048599 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 31 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_957-6_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.027585 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_957-6_0_3_line_1 | NAYY 4x150 SE | 1 | 2 | 0.023153 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_957-6_0_3_line_2 | NAYY 4x150 SE | 2 | 6 | 0.0052247 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_957-6_0_3_line_3 | NAYY 4x150 SE | 3 | 4 | 0.02119 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_957-6_0_3_line_4 | NAYY 4x150 SE | 3 | 5 | 0.01808 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_957-6_0_3_line_5 | NAYY 4x150 SE | 5 | 7 | 0.0093053 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_957-6_0_3_line_6 | NAYY 4x150 SE | 6 | 8 | 0.044871 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_957-6_0_3_line_7 | NAYY 4x150 SE | 7 | 11 | 0.030891 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_957-6_0_3_line_8 | NAYY 4x150 SE | 8 | 86 | 0.011414 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_957-6_0_3_line_9 | NAYY 4x150 SE | 9 | 10 | 0.0076366 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_957-6_0_3_line_10 | NAYY 4x150 SE | 10 | 58 | 0.01308 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_957-6_0_3_line_11 | NAYY 4x150 SE | 11 | 51 | 0.011385 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_957-6_0_3_line_12 | NAYY 4x150 SE | 11 | 48 | 0.023652 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_957-6_0_3_line_13 | NAYY 4x150 SE | 12 | 13 | 0.0010611 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_957-6_0_3_line_14 | NAYY 4x150 SE | 12 | 14 | 0.022151 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_957-6_0_3_line_15 | NAYY 4x150 SE | 13 | 15 | 0.0093748 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_957-6_0_3_line_16 | NAYY 4x150 SE | 14 | 16 | 0.019528 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_957-6_0_3_line_17 | NAYY 4x150 SE | 14 | 17 | 0.014553 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_957-6_0_3_line_18 | NAYY 4x150 SE | 15 | 18 | 0.014097 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_957-6_0_3_line_19 | NAYY 4x150 SE | 16 | 19 | 0.0037314 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_957-6_0_3_line_20 | NAYY 4x150 SE | 18 | 20 | 0.0089815 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_957-6_0_3_line_21 | NAYY 4x150 SE | 19 | 21 | 0.01268 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
22 | LV_957-6_0_3_line_22 | NAYY 4x150 SE | 20 | 22 | 0.0058264 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_957-6_0_3_line_23 | NAYY 4x150 SE | 21 | 23 | 0.012463 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
24 | LV_957-6_0_3_line_24 | NAYY 4x150 SE | 22 | 61 | 0.010473 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_957-6_0_3_line_25 | NAYY 4x150 SE | 23 | 43 | 0.0024227 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
26 | LV_957-6_0_3_line_26 | NAYY 4x150 SE | 23 | 40 | 0.027742 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_957-6_0_3_line_27 | NAYY 4x150 SE | 24 | 25 | 0.021442 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
28 | LV_957-6_0_3_line_28 | NAYY 4x150 SE | 24 | 26 | 0.013756 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
29 | LV_957-6_0_3_line_29 | NAYY 4x150 SE | 25 | 27 | 0.033645 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
30 | LV_957-6_0_3_line_30 | NAYY 4x150 SE | 26 | 28 | 0.0013638 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
31 | LV_957-6_0_3_line_31 | NAYY 4x150 SE | 26 | 29 | 0.0023102 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_957-6_0_3_line_32 | NAYY 4x150 SE | 27 | 30 | 0.011751 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
33 | LV_957-6_0_3_line_33 | NAYY 4x150 SE | 28 | 31 | 0.0052071 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
34 | LV_957-6_0_3_line_34 | NAYY 4x150 SE | 29 | 32 | 0.041075 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_957-6_0_3_line_35 | NAYY 4x150 SE | 30 | 33 | 0.0077413 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
36 | LV_957-6_0_3_line_36 | NAYY 4x150 SE | 32 | 34 | 0.01437 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_957-6_0_3_line_37 | NAYY 4x150 SE | 32 | 35 | 0.029149 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_957-6_0_3_line_38 | NAYY 4x150 SE | 33 | 36 | 0.0224 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
39 | LV_957-6_0_3_line_39 | NAYY 4x150 SE | 34 | 37 | 0.02748 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_957-6_0_3_line_40 | NAYY 4x150 SE | 35 | 38 | 0.0036537 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_957-6_0_3_line_41 | NAYY 4x150 SE | 35 | 39 | 0.018561 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_957-6_0_3_line_42 | NAYY 4x150 SE | 36 | 74 | 0.020005 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
43 | LV_957-6_0_3_line_43 | NAYY 4x150 SE | 37 | 64 | 0.013492 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_957-6_0_3_line_44 | NAYY 4x150 SE | 38 | 92 | 0.022658 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_957-6_0_3_line_45 | NAYY 4x150 SE | 39 | 87 | 0.005498 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_957-6_0_3_line_46 | NAYY 4x150 SE | 40 | 41 | 0.0064614 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_957-6_0_3_line_47 | NAYY 4x150 SE | 41 | 42 | 0.0074587 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_957-6_0_3_line_48 | NAYY 4x150 SE | 42 | 44 | 0.015985 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_957-6_0_3_line_49 | NAYY 4x150 SE | 43 | 45 | 0.018938 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
50 | LV_957-6_0_3_line_50 | NAYY 4x150 SE | 44 | 46 | 0.00087614 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_957-6_0_3_line_51 | NAYY 4x150 SE | 45 | 47 | 0.001113 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
52 | LV_957-6_0_3_line_52 | NAYY 4x150 SE | 46 | 48 | 0.010745 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_957-6_0_3_line_53 | NAYY 4x150 SE | 47 | 49 | 0.0094814 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
54 | LV_957-6_0_3_line_54 | NAYY 4x150 SE | 48 | 50 | 0.027281 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_957-6_0_3_line_55 | NAYY 4x150 SE | 49 | 83 | 0.0166 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
56 | LV_957-6_0_3_line_56 | NAYY 4x150 SE | 50 | 52 | 0.013564 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_957-6_0_3_line_57 | NAYY 4x150 SE | 52 | 86 | 0.0076364 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_957-6_0_3_line_58 | NAYY 4x150 SE | 53 | 54 | 0.017457 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_957-6_0_3_line_59 | NAYY 4x150 SE | 53 | 55 | 0.024782 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_957-6_0_3_line_60 | NAYY 4x150 SE | 54 | 56 | 0.0038828 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_957-6_0_3_line_61 | NAYY 4x150 SE | 55 | 57 | 0.010038 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_957-6_0_3_line_62 | NAYY 4x150 SE | 56 | 58 | 0.0084609 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_957-6_0_3_line_63 | NAYY 4x150 SE | 57 | 59 | 0.014365 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_957-6_0_3_line_64 | NAYY 4x150 SE | 59 | 60 | 0.0043313 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_957-6_0_3_line_65 | NAYY 4x150 SE | 60 | 61 | 0.020527 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_957-6_0_3_line_66 | NAYY 4x150 SE | 62 | 63 | 0.033109 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_957-6_0_3_line_67 | NAYY 4x150 SE | 62 | 64 | 0.026972 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_957-6_0_3_line_68 | NAYY 4x150 SE | 63 | 65 | 0.022352 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_957-6_0_3_line_69 | NAYY 4x150 SE | 63 | 66 | 0.079155 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_957-6_0_3_line_70 | NAYY 4x150 SE | 65 | 71 | 0.062443 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_957-6_0_3_line_71 | NAYY 4x150 SE | 66 | 67 | 0.016997 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_957-6_0_3_line_72 | NAYY 4x150 SE | 67 | 68 | 0.0077215 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_957-6_0_3_line_73 | NAYY 4x150 SE | 68 | 69 | 0.011287 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_957-6_0_3_line_74 | NAYY 4x150 SE | 69 | 70 | 0.0044696 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_957-6_0_3_line_75 | NAYY 4x150 SE | 71 | 72 | 0.0042718 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_957-6_0_3_line_76 | NAYY 4x150 SE | 72 | 73 | 0.010696 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_957-6_0_3_line_77 | NAYY 4x150 SE | 74 | 78 | 0.018116 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
78 | LV_957-6_0_3_line_78 | NAYY 4x150 SE | 75 | 76 | 0.035986 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_957-6_0_3_line_79 | NAYY 4x150 SE | 75 | 77 | 0.015071 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_957-6_0_3_line_80 | NAYY 4x150 SE | 76 | 79 | 0.028864 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_957-6_0_3_line_81 | NAYY 4x150 SE | 76 | 80 | 0.016034 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_957-6_0_3_line_82 | NAYY 4x150 SE | 77 | 81 | 0.005542 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_957-6_0_3_line_83 | NAYY 4x150 SE | 78 | 82 | 0.02267 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
84 | LV_957-6_0_3_line_84 | NAYY 4x150 SE | 80 | 96 | 0.040783 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_957-6_0_3_line_85 | NAYY 4x150 SE | 80 | 94 | 0.048651 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_957-6_0_3_line_86 | NAYY 4x150 SE | 81 | 99 | 0.021279 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_957-6_0_3_line_87 | NAYY 4x150 SE | 82 | 85 | 0.015762 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
88 | LV_957-6_0_3_line_88 | NAYY 4x150 SE | 83 | 84 | 0.03158 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
89 | LV_957-6_0_3_line_89 | NAYY 4x150 SE | 84 | 85 | 0.014136 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
90 | LV_957-6_0_3_line_90 | NAYY 4x150 SE | 87 | 88 | 0.028463 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_957-6_0_3_line_91 | NAYY 4x150 SE | 88 | 89 | 0.0022936 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_957-6_0_3_line_92 | NAYY 4x150 SE | 89 | 90 | 0.027163 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_957-6_0_3_line_93 | NAYY 4x150 SE | 90 | 91 | 0.0047329 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
94 | LV_957-6_0_3_line_94 | NAYY 4x150 SE | 92 | 93 | 0.017078 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
95 | LV_957-6_0_3_line_95 | NAYY 4x150 SE | 93 | 99 | 0.0040994 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
96 | LV_957-6_0_3_line_96 | NAYY 4x150 SE | 94 | 95 | 0.005472 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
97 | LV_957-6_0_3_line_97 | NAYY 4x150 SE | 96 | 97 | 0.0065762 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
98 | LV_957-6_0_3_line_98 | NAYY 4x150 SE | 97 | 98 | 0.044096 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_957-6_0_3_trafo_21 | 0.25 MVA 20/0.4 kV | 100 | 31 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2623696.925 | 1209093.6621 | 2623689.0648 | 1209076.5547 | 2623685.5172 | 1209068.5468
1 | 2623696.925 | 1209093.6621 | 2623699.1405 | 1209098.5181 | 2623706.6852 | 1209114.657
2 | 2623706.6852 | 1209114.657 | 2623708.7551 | 1209119.4542
3 | 2623727.461 | 1209058.6191 | 2623729.7479 | 1209053.1362 | 2623732.9601 | 1209044.3441 | 2623735.8613 | 1209039.2194 | 2623735.8613 | 1209039.2194
4 | 2623727.461 | 1209058.6191 | 2623742.2376 | 1209069.0365
5 | 2623742.2376 | 1209069.0365 | 2623749.8429 | 1209074.3981
6 | 2623726.661 | 1209160.5952 | 2623725.1758 | 1209157.5098 | 2623708.7551 | 1209119.4542
7 | 2623765.201 | 1209100.6147 | 2623753.7709 | 1209077.1673 | 2623749.8429 | 1209074.3981
8 | 2623726.661 | 1209160.5952 | 2623734.1736 | 1209152.0019
9 | 2623762.4961 | 1209020.905 | 2623769.2229 | 1209017.2902
10 | 2623769.2229 | 1209017.2902 | 2623772.0069 | 1209015.7943 | 2623776.3664 | 1209014.7888 | 2623781.7838 | 1209015.344
11 | 2623765.201 | 1209100.6147 | 2623768.3434 | 1209099.8267 | 2623775.6269 | 1209096.1808
12 | 2623771.8393 | 1209122.9202 | 2623770.8 | 1209114.756 | 2623769.7294 | 1209110.6494 | 2623766.8962 | 1209106.3135 | 2623765.4806 | 1209102.9504 | 2623765.201 | 1209100.6147
13 | 2623849.2257 | 1209098.145 | 2623848.7204 | 1209097.2119 | 2623848.7204 | 1209097.2119
14 | 2623859.7746 | 1209117.623 | 2623849.2257 | 1209098.145
15 | 2623839.5497 | 1209098.1647 | 2623839.5497 | 1209098.1647 | 2623841.0528 | 1209098.6377 | 2623848.7204 | 1209097.2119
16 | 2623859.7746 | 1209117.623 | 2623843.6643 | 1209128.6593
17 | 2623872.4969 | 1209110.492 | 2623859.7746 | 1209117.623
18 | 2623839.5497 | 1209098.1647 | 2623836.597 | 1209093.3058 | 2623835.6966 | 1209092.2683 | 2623833.9388 | 1209090.8494 | 2623830.927 | 1209089.381 | 2623829.5421 | 1209089.0344
19 | 2623840.7312 | 1209130.9598 | 2623842.6557 | 1209129.3501 | 2623843.6643 | 1209128.6593
20 | 2623820.8293 | 1209086.8538 | 2623829.5421 | 1209089.0344
21 | 2623840.7312 | 1209130.9598 | 2623831.005 | 1209139.0944
22 | 2623820.8293 | 1209086.8538 | 2623815.1772 | 1209085.4391
23 | 2623821.7946 | 1209147.4772 | 2623826.7011 | 1209142.694 | 2623831.005 | 1209139.0944
24 | 2623805.0178 | 1209082.8964 | 2623815.1772 | 1209085.4391
25 | 2623821.7946 | 1209147.4772 | 2623820.0597 | 1209149.1683
26 | 2623821.7946 | 1209147.4772 | 2623810.9347 | 1209131.7029 | 2623811.4014 | 1209129.0254 | 2623807.9929 | 1209124.2423
27 | 2623849.772 | 1209192.736 | 2623836.0282 | 1209209.1934
28 | 2623859.4939 | 1209184.1368 | 2623851.7134 | 1209192.9107 | 2623849.8828 | 1209192.6033 | 2623849.772 | 1209192.736
29 | 2623814.462 | 1209235.0176 | 2623836.0282 | 1209209.1934
30 | 2623859.4939 | 1209184.1368 | 2623858.5671 | 1209183.1364
31 | 2623859.4939 | 1209184.1368 | 2623861.0627 | 1209185.8326
32 | 2623806.9299 | 1209244.0369 | 2623814.462 | 1209235.0176
33 | 2623855.0285 | 1209179.3163 | 2623858.5671 | 1209183.1364
34 | 2623888.9573 | 1209215.9834 | 2623861.0627 | 1209185.8326
35 | 2623806.9299 | 1209244.0369 | 2623801.9678 | 1209249.9787
36 | 2623888.9573 | 1209215.9834 | 2623890.8432 | 1209213.8786 | 2623896.4887 | 1209210.5771 | 2623901.2372 | 1209208.9983
37 | 2623869.4577 | 1209237.6955 | 2623888.9573 | 1209215.9834
38 | 2623786.5932 | 1209266.1257 | 2623792.1136 | 1209261.7786 | 2623801.9678 | 1209249.9787
39 | 2623927.3136 | 1209200.328 | 2623901.2372 | 1209208.9983
40 | 2623869.4577 | 1209237.6955 | 2623867.017 | 1209240.4143
41 | 2623869.4577 | 1209237.6955 | 2623883.1274 | 1209250.2512
42 | 2623776.591 | 1209248.7873 | 2623786.5932 | 1209266.1257
43 | 2623927.3136 | 1209200.328 | 2623936.3281 | 1209210.3664
44 | 2623867.017 | 1209240.4143 | 2623851.8813 | 1209257.2749
45 | 2623887.1766 | 1209253.9704 | 2623883.1274 | 1209250.2512
46 | 2623807.9929 | 1209124.2423 | 2623804.2432 | 1209118.9802
47 | 2623797.668 | 1209122.5015 | 2623804.2432 | 1209118.9802 | 2623804.2432 | 1209118.9802
48 | 2623797.668 | 1209122.5015 | 2623788.8714 | 1209127.2126 | 2623783.0997 | 1209125.5512
49 | 2623820.0597 | 1209149.1683 | 2623817.8419 | 1209151.3302 | 2623809.49 | 1209164.7904
50 | 2623783.0997 | 1209125.5512 | 2623782.2578 | 1209125.3088
51 | 2623809.49 | 1209164.7904 | 2623808.9032 | 1209165.7361
52 | 2623771.8393 | 1209122.9202 | 2623774.2637 | 1209123.0077 | 2623782.2578 | 1209125.3088
53 | 2623802.7634 | 1209172.8867 | 2623807.2311 | 1209168.4309 | 2623808.9032 | 1209165.7361
54 | 2623771.8393 | 1209122.9202 | 2623768.9552 | 1209123.7425 | 2623764.4021 | 1209125.6811 | 2623758.7896 | 1209128.3047 | 2623754.2247 | 1209131.3105 | 2623750.1985 | 1209134.5407 | 2623748.4347 | 1209136.3266
55 | 2623802.7634 | 1209172.8867 | 2623798.3711 | 1209177.2673 | 2623789.7815 | 1209183.1252 | 2623789.7815 | 1209183.1252
56 | 2623739.1997 | 1209146.2528 | 2623743.5817 | 1209141.2404 | 2623748.4347 | 1209136.3266
57 | 2623739.1997 | 1209146.2528 | 2623734.1736 | 1209152.0019
58 | 2623807.936 | 1209026.2316 | 2623806.0546 | 1209022.9559 | 2623796.4648 | 1209022.2285 | 2623792.5854 | 1209021.0235
59 | 2623807.936 | 1209026.2316 | 2623818.0799 | 1209043.8933 | 2623819.27 | 1209046.6329 | 2623819.3783 | 1209048.0563 | 2623819.3783 | 1209048.0563
60 | 2623792.5854 | 1209021.0235 | 2623792.5854 | 1209021.0235 | 2623790.1985 | 1209019.1351 | 2623789.4801 | 1209018.7012
61 | 2623811.026 | 1209053.4458 | 2623818.5149 | 1209049.1869 | 2623819.3783 | 1209048.0563
62 | 2623781.7838 | 1209015.344 | 2623781.7838 | 1209015.344 | 2623786.1037 | 1209016.6619 | 2623789.4801 | 1209018.7012
63 | 2623811.026 | 1209053.4458 | 2623798.5394 | 1209060.547 | 2623798.5394 | 1209060.547
64 | 2623798.5394 | 1209060.547 | 2623797.1664 | 1209061.7422 | 2623796.7593 | 1209062.819 | 2623796.9394 | 1209064.1669
65 | 2623805.0178 | 1209082.8964 | 2623805.0224 | 1209081.7514 | 2623804.5118 | 1209080.1596 | 2623796.9807 | 1209064.4764 | 2623796.9394 | 1209064.1669
66 | 2623976.4703 | 1209255.0689 | 2623954.3487 | 1209230.4343
67 | 2623936.3281 | 1209210.3664 | 2623954.3487 | 1209230.4343
68 | 2623988.185 | 1209273.535 | 2623985.5657 | 1209265.1976 | 2623976.4703 | 1209255.0689
69 | 2623976.4703 | 1209255.0689 | 2624028.2916 | 1209195.235
70 | 2623988.185 | 1209273.535 | 2624010.2894 | 1209331.9342
71 | 2624028.2916 | 1209195.235 | 2624025.5515 | 1209178.46
72 | 2624024.2763 | 1209170.8446 | 2624025.0708 | 1209175.5171 | 2624025.5515 | 1209178.46
73 | 2624024.2763 | 1209170.8446 | 2624028.3651 | 1209167.2034 | 2624029.671 | 1209161.5398
74 | 2624030.5659 | 1209157.1625 | 2624030.2372 | 1209159.0842 | 2624029.671 | 1209161.5398
75 | 2624010.2894 | 1209331.9342 | 2624007.1269 | 1209334.8059
76 | 2624007.1269 | 1209334.8059 | 2623999.2086 | 1209341.9961
77 | 2623776.591 | 1209248.7873 | 2623767.0073 | 1209233.4134
78 | 2623820.2722 | 1209336.8438 | 2623818.916 | 1209328.1224 | 2623808.5497 | 1209303.0115
79 | 2623808.5497 | 1209303.0115 | 2623819.7372 | 1209292.9125
80 | 2623820.2722 | 1209336.8438 | 2623820.8515 | 1209357.4132 | 2623819.5852 | 1209365.6025
81 | 2623820.2722 | 1209336.8438 | 2623830.2841 | 1209336.4279 | 2623835.9534 | 1209338.5628
82 | 2623819.7372 | 1209292.9125 | 2623820.5414 | 1209292.1865 | 2623823.5198 | 1209288.8687
83 | 2623755.5043 | 1209213.8817 | 2623763.3284 | 1209227.5116 | 2623767.0073 | 1209233.4134
84 | 2623835.9534 | 1209338.5628 | 2623866.259 | 1209365.8538
85 | 2623835.9534 | 1209338.5628 | 2623858.1271 | 1209313.2815 | 2623866.116 | 1209311.2567 | 2623872.6377 | 1209313.1171
86 | 2623823.5198 | 1209288.8687 | 2623837.7342 | 1209273.0343
87 | 2623747.6572 | 1209200.2119 | 2623755.5043 | 1209213.8817
88 | 2623760.098 | 1209193.4997 | 2623766.3121 | 1209190.147 | 2623778.1435 | 1209187.1479 | 2623789.7815 | 1209183.1252
89 | 2623747.6572 | 1209200.2119 | 2623760.098 | 1209193.4997
90 | 2623887.1766 | 1209253.9704 | 2623908.1387 | 1209273.2243
91 | 2623908.1387 | 1209273.2243 | 2623909.8279 | 1209274.7759
92 | 2623909.8279 | 1209274.7759 | 2623929.8326 | 1209293.1503
93 | 2623933.3183 | 1209296.3519 | 2623929.8326 | 1209293.1503
94 | 2623840.4727 | 1209269.9838 | 2623851.8813 | 1209257.2749
95 | 2623837.7342 | 1209273.0343 | 2623840.4727 | 1209269.9838
96 | 2623876.2927 | 1209317.1895 | 2623872.6377 | 1209313.1171
97 | 2623866.259 | 1209365.8538 | 2623871.1457 | 1209370.2544
98 | 2623871.1457 | 1209370.2544 | 2623890.3864 | 1209409.9311

## bus_geodata
| x | y | coords
0 | 2623685.5172 | 1209068.5468
1 | 2623696.925 | 1209093.6621
2 | 2623706.6852 | 1209114.657
3 | 2623727.461 | 1209058.6191
4 | 2623735.8613 | 1209039.2194
5 | 2623742.2376 | 1209069.0365
6 | 2623708.7551 | 1209119.4542
7 | 2623749.8429 | 1209074.3981
8 | 2623726.661 | 1209160.5952
9 | 2623762.4961 | 1209020.905
10 | 2623769.2229 | 1209017.2902
11 | 2623765.201 | 1209100.6147
12 | 2623849.2257 | 1209098.145
13 | 2623848.7204 | 1209097.2119
14 | 2623859.7746 | 1209117.623
15 | 2623839.5497 | 1209098.1647
16 | 2623843.6643 | 1209128.6593
17 | 2623872.4969 | 1209110.492
18 | 2623829.5421 | 1209089.0344
19 | 2623840.7312 | 1209130.9598
20 | 2623820.8293 | 1209086.8538
21 | 2623831.005 | 1209139.0944
22 | 2623815.1772 | 1209085.4392
23 | 2623821.7946 | 1209147.4772
24 | 2623849.772 | 1209192.736
25 | 2623836.0282 | 1209209.1934
26 | 2623859.4939 | 1209184.1368
27 | 2623814.462 | 1209235.0176
28 | 2623858.5671 | 1209183.1364
29 | 2623861.0627 | 1209185.8326
30 | 2623806.9299 | 1209244.0369
31 | 2623855.0285 | 1209179.3163
32 | 2623888.9573 | 1209215.9834
33 | 2623801.9678 | 1209249.9787
34 | 2623901.2372 | 1209208.9983
35 | 2623869.4577 | 1209237.6955
36 | 2623786.5932 | 1209266.1257
37 | 2623927.3136 | 1209200.328
38 | 2623867.017 | 1209240.4143
39 | 2623883.1274 | 1209250.2512
40 | 2623807.9929 | 1209124.2423
41 | 2623804.2432 | 1209118.9802
42 | 2623797.668 | 1209122.5015
43 | 2623820.0597 | 1209149.1683
44 | 2623783.0997 | 1209125.5512
45 | 2623809.49 | 1209164.7904
46 | 2623782.2578 | 1209125.3088
47 | 2623808.9032 | 1209165.7361
48 | 2623771.8393 | 1209122.9202
49 | 2623802.7634 | 1209172.8867
50 | 2623748.4347 | 1209136.3266
51 | 2623775.6269 | 1209096.1808
52 | 2623739.1997 | 1209146.2528
53 | 2623807.936 | 1209026.2316
54 | 2623792.5854 | 1209021.0235
55 | 2623819.3783 | 1209048.0563
56 | 2623789.4801 | 1209018.7012
57 | 2623811.026 | 1209053.4458
58 | 2623781.7838 | 1209015.344
59 | 2623798.5394 | 1209060.547
60 | 2623796.9394 | 1209064.1669
61 | 2623805.0178 | 1209082.8964
62 | 2623954.3487 | 1209230.4343
63 | 2623976.4703 | 1209255.0689
64 | 2623936.3281 | 1209210.3664
65 | 2623988.185 | 1209273.535
66 | 2624028.2916 | 1209195.235
67 | 2624025.5515 | 1209178.46
68 | 2624024.2763 | 1209170.8446
69 | 2624029.671 | 1209161.5398
70 | 2624030.5659 | 1209157.1625
71 | 2624010.2894 | 1209331.9342
72 | 2624007.1269 | 1209334.8059
73 | 2623999.2086 | 1209341.9961
74 | 2623776.591 | 1209248.7873
75 | 2623808.5497 | 1209303.0115
76 | 2623820.2722 | 1209336.8438
77 | 2623819.7372 | 1209292.9125
78 | 2623767.0073 | 1209233.4134
79 | 2623819.5852 | 1209365.6025
80 | 2623835.9534 | 1209338.5628
81 | 2623823.5198 | 1209288.8687
82 | 2623755.5043 | 1209213.8817
83 | 2623789.7815 | 1209183.1252
84 | 2623760.098 | 1209193.4997
85 | 2623747.6572 | 1209200.2119
86 | 2623734.1736 | 1209152.0019
87 | 2623887.1766 | 1209253.9704
88 | 2623908.1387 | 1209273.2243
89 | 2623909.8279 | 1209274.7759
90 | 2623929.8326 | 1209293.1503
91 | 2623933.3183 | 1209296.3519
92 | 2623851.8813 | 1209257.2749
93 | 2623840.4727 | 1209269.9838
94 | 2623872.6377 | 1209313.1171
95 | 2623876.2927 | 1209317.1895
96 | 2623866.259 | 1209365.8538
97 | 2623871.1457 | 1209370.2544
98 | 2623890.3864 | 1209409.9311
99 | 2623837.7342 | 1209273.0343
100 | 2623859.4939 | 1209184.1368

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1