## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_957-9_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_957-9_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_957-9_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_957-9_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_957-9_0_4_node_16 | 0.4 | n |  | TRUE
5 | bus_LV_957-9_0_4_node_38 | 0.4 | n |  | TRUE
6 | bus_LV_957-9_0_4_node_14 | 0.4 | n |  | TRUE
7 | bus_LV_957-9_0_4_node_31 | 0.4 | n |  | TRUE
8 | bus_LV_957-9_0_4_node_13 | 0.4 | n |  | TRUE
9 | bus_LV_957-9_0_4_node_70 | 0.4 | n |  | TRUE
10 | bus_LV_957-9_0_4_node_10 | 0.4 | n |  | TRUE
11 | bus_LV_957-9_0_4_node_61 | 0.4 | n |  | TRUE
12 | bus_LV_957-9_0_4_node_82 | 0.4 | n |  | TRUE
13 | bus_LV_957-9_0_4_node_11 | 0.4 | n |  | TRUE
14 | bus_LV_957-9_0_4_node_60 | 0.4 | n |  | TRUE
15 | bus_LV_957-9_0_4_node_4 | 0.4 | n |  | TRUE
16 | bus_LV_957-9_0_4_node_5 | 0.4 | n |  | TRUE
17 | bus_LV_957-9_0_4_node_6 | 0.4 | n |  | TRUE
18 | bus_LV_957-9_0_4_node_8 | 0.4 | n |  | TRUE
19 | bus_LV_957-9_0_4_node_7 | 0.4 | n |  | TRUE
20 | bus_LV_957-9_0_4_node_9 | 0.4 | n |  | TRUE
21 | bus_LV_957-9_0_4_node_12 | 0.4 | n |  | TRUE
22 | bus_LV_957-9_0_4_node_17 | 0.4 | n |  | TRUE
23 | bus_LV_957-9_0_4_node_15 | 0.4 | n |  | TRUE
24 | bus_LV_957-9_0_4_node_26 | 0.4 | n |  | TRUE
25 | bus_LV_957-9_0_4_node_25 | 0.4 | n |  | TRUE
26 | bus_LV_957-9_0_4_node_36 | 0.4 | n |  | TRUE
27 | bus_LV_957-9_0_4_node_45 | 0.4 | n |  | TRUE
28 | bus_LV_957-9_0_4_node_32 | 0.4 | n |  | TRUE
29 | bus_LV_957-9_0_4_node_59 | 0.4 | n |  | TRUE
30 | bus_LV_957-9_0_4_node_69 | 0.4 | n |  | TRUE
31 | bus_LV_957-9_0_4_node_48 | 0.4 | n |  | TRUE
32 | bus_LV_957-9_0_4_node_50 | 0.4 | n |  | TRUE
33 | bus_LV_957-9_0_4_node_46 | 0.4 | n |  | TRUE
34 | bus_LV_957-9_0_4_node_37 | 0.4 | n |  | TRUE
35 | bus_LV_957-9_0_4_node_34 | 0.4 | n |  | TRUE
36 | bus_LV_957-9_0_4_node_18 | 0.4 | n |  | TRUE
37 | bus_LV_957-9_0_4_node_19 | 0.4 | n |  | TRUE
38 | bus_LV_957-9_0_4_node_20 | 0.4 | n |  | TRUE
39 | bus_LV_957-9_0_4_node_21 | 0.4 | n |  | TRUE
40 | bus_LV_957-9_0_4_node_22 | 0.4 | n |  | TRUE
41 | bus_LV_957-9_0_4_node_30 | 0.4 | n |  | TRUE
42 | bus_LV_957-9_0_4_node_24 | 0.4 | n |  | TRUE
43 | bus_LV_957-9_0_4_node_29 | 0.4 | n |  | TRUE
44 | bus_LV_957-9_0_4_node_23 | 0.4 | n |  | TRUE
45 | bus_LV_957-9_0_4_node_42 | 0.4 | n |  | TRUE
46 | bus_LV_957-9_0_4_node_27 | 0.4 | n |  | TRUE
47 | bus_LV_957-9_0_4_node_28 | 0.4 | n |  | TRUE
48 | bus_LV_957-9_0_4_node_81 | 0.4 | n |  | TRUE
49 | bus_LV_957-9_0_4_node_33 | 0.4 | n |  | TRUE
50 | bus_LV_957-9_0_4_node_35 | 0.4 | n |  | TRUE
51 | bus_LV_957-9_0_4_node_85 | 0.4 | n |  | TRUE
52 | bus_LV_957-9_0_4_node_86 | 0.4 | n |  | TRUE
53 | bus_LV_957-9_0_4_node_39 | 0.4 | n |  | TRUE
54 | bus_LV_957-9_0_4_node_40 | 0.4 | n |  | TRUE
55 | bus_LV_957-9_0_4_node_41 | 0.4 | n |  | TRUE
56 | bus_LV_957-9_0_4_node_43 | 0.4 | n |  | TRUE
57 | bus_LV_957-9_0_4_node_44 | 0.4 | n |  | TRUE
58 | bus_LV_957-9_0_4_node_58 | 0.4 | n |  | TRUE
59 | bus_LV_957-9_0_4_node_64 | 0.4 | n |  | TRUE
60 | bus_LV_957-9_0_4_node_57 | 0.4 | n |  | TRUE
61 | bus_LV_957-9_0_4_node_54 | 0.4 | n |  | TRUE
62 | bus_LV_957-9_0_4_node_47 | 0.4 | n |  | TRUE
63 | bus_LV_957-9_0_4_node_49 | 0.4 | n |  | TRUE
64 | bus_LV_957-9_0_4_node_56 | 0.4 | n |  | TRUE
65 | bus_LV_957-9_0_4_node_51 | 0.4 | n |  | TRUE
66 | bus_LV_957-9_0_4_node_52 | 0.4 | n |  | TRUE
67 | bus_LV_957-9_0_4_node_53 | 0.4 | n |  | TRUE
68 | bus_LV_957-9_0_4_node_55 | 0.4 | n |  | TRUE
69 | bus_LV_957-9_0_4_node_67 | 0.4 | n |  | TRUE
70 | bus_LV_957-9_0_4_node_63 | 0.4 | n |  | TRUE
71 | bus_LV_957-9_0_4_node_65 | 0.4 | n |  | TRUE
72 | bus_LV_957-9_0_4_node_72 | 0.4 | n |  | TRUE
73 | bus_LV_957-9_0_4_node_62 | 0.4 | n |  | TRUE
74 | bus_LV_957-9_0_4_node_71 | 0.4 | n |  | TRUE
75 | bus_LV_957-9_0_4_node_66 | 0.4 | n |  | TRUE
76 | bus_LV_957-9_0_4_node_68 | 0.4 | n |  | TRUE
77 | bus_LV_957-9_0_4_node_79 | 0.4 | n |  | TRUE
78 | bus_LV_957-9_0_4_node_80 | 0.4 | n |  | TRUE
79 | bus_LV_957-9_0_4_node_83 | 0.4 | n |  | TRUE
80 | bus_LV_957-9_0_4_node_75 | 0.4 | n |  | TRUE
81 | bus_LV_957-9_0_4_node_76 | 0.4 | n |  | TRUE
82 | bus_LV_957-9_0_4_node_78 | 0.4 | n |  | TRUE
83 | bus_LV_957-9_0_4_node_94 | 0.4 | n |  | TRUE
84 | bus_LV_957-9_0_4_node_87 | 0.4 | n |  | TRUE
85 | bus_LV_957-9_0_4_node_88 | 0.4 | n |  | TRUE
86 | bus_LV_957-9_0_4_node_92 | 0.4 | n |  | TRUE
87 | bus_LV_957-9_0_4_node_89 | 0.4 | n |  | TRUE
88 | bus_LV_957-9_0_4_node_90 | 0.4 | n |  | TRUE
89 | bus_LV_957-9_0_4_node_93 | 0.4 | n |  | TRUE
90 | bus_LV_957-9_0_4_node_91 | 0.4 | n |  | TRUE
91 | bus_MV_183_0_node_102 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_957-9_0_4_load_0 | 0 | 0.0013595 | 0.00034073 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_957-9_0_4_load_3 | 3 | 0.0019478 | 0.00048816 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_957-9_0_4_load_16 | 4 | 0.00069227 | 0.0001735 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_957-9_0_4_load_14 | 6 | 0.001075 | 0.00026942 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_957-9_0_4_load_31 | 7 | 0.0024592 | 0.00061633 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_957-9_0_4_load_13 | 8 | 0.00095493 | 0.00023933 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_957-9_0_4_load_70 | 9 | 0.002183 | 0.00054712 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_957-9_0_4_load_61 | 11 | 0.0032033 | 0.00080282 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_957-9_0_4_load_82 | 12 | 0.00087642 | 0.00021965 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_957-9_0_4_load_60 | 14 | 0.0059768 | 0.0014979 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_957-9_0_4_load_4 | 15 | 0.010693 | 0.00268 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_957-9_0_4_load_5 | 16 | 0.0026453 | 0.00066298 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_957-9_0_4_load_6 | 17 | 0.0021437 | 0.00053726 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_957-9_0_4_load_8 | 18 | 0.0051695 | 0.0012956 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_957-9_0_4_load_12 | 21 | 0.00053285 | 0.00013355 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_957-9_0_4_load_17 | 22 | 0.00062701 | 0.00015714 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_957-9_0_4_load_15 | 23 | 0.00088046 | 0.00022066 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_957-9_0_4_load_26 | 24 | 0.0027757 | 0.00069566 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_957-9_0_4_load_36 | 26 | 0.0031753 | 0.00079582 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_957-9_0_4_load_45 | 27 | 0.003678 | 0.00092179 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_957-9_0_4_load_59 | 29 | 0.0025736 | 0.00064501 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_957-9_0_4_load_69 | 30 | 0.0023313 | 0.00058429 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_957-9_0_4_load_48 | 31 | 0.0055379 | 0.0013879 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_957-9_0_4_load_50 | 32 | 0.0010727 | 0.00026885 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_957-9_0_4_load_46 | 33 | 0.0011338 | 0.00028416 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_957-9_0_4_load_37 | 34 | 0.0006465 | 0.00016203 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_957-9_0_4_load_34 | 35 | 0.0037191 | 0.0009321 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_957-9_0_4_load_18 | 36 | 0.0038177 | 0.00095679 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_957-9_0_4_load_19 | 37 | 0.0022278 | 0.00055833 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_957-9_0_4_load_20 | 38 | 0.0036237 | 0.00090819 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_957-9_0_4_load_30 | 41 | 0.001786 | 0.00044761 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_957-9_0_4_load_24 | 42 | 0.00405 | 0.001015 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_957-9_0_4_load_23 | 44 | 0.0011769 | 0.00029496 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_957-9_0_4_load_42 | 45 | 0.0055412 | 0.0013887 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_957-9_0_4_load_27 | 46 | 0.0011001 | 0.00027572 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_957-9_0_4_load_28 | 47 | 0.001226 | 0.00030727 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_957-9_0_4_load_81 | 48 | 0.002616 | 0.00065564 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_957-9_0_4_load_85 | 51 | 0.00045218 | 0.00011333 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_957-9_0_4_load_39 | 53 | 0.00090355 | 0.00022645 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_957-9_0_4_load_40 | 54 | 0.00065976 | 0.00016535 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_957-9_0_4_load_43 | 56 | 0.00051865 | 0.00012999 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_957-9_0_4_load_44 | 57 | 0.0057236 | 0.0014345 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_957-9_0_4_load_58 | 58 | 0.004533 | 0.0011361 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_957-9_0_4_load_64 | 59 | 0.0014875 | 0.00037281 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_957-9_0_4_load_57 | 60 | 0.0028674 | 0.00071864 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_957-9_0_4_load_47 | 62 | 0.00096862 | 0.00024276 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_957-9_0_4_load_49 | 63 | 0.0025115 | 0.00062944 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_957-9_0_4_load_56 | 64 | 0.00082273 | 0.0002062 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_957-9_0_4_load_51 | 65 | 0.012299 | 0.0030825 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_957-9_0_4_load_52 | 66 | 0.0043491 | 0.00109 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_957-9_0_4_load_53 | 67 | 0.032103 | 0.0080457 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_957-9_0_4_load_65 | 71 | 0.00061376 | 0.00015382 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_957-9_0_4_load_72 | 72 | 0.0015285 | 0.00038307 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_957-9_0_4_load_62 | 73 | 0.0038561 | 0.00096643 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_957-9_0_4_load_71 | 74 | 0.0027972 | 0.00070104 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_957-9_0_4_load_66 | 75 | 0.00059819 | 0.00014992 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_957-9_0_4_load_68 | 76 | 0.00059686 | 0.00014959 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_957-9_0_4_load_79 | 77 | 0.00061263 | 0.00015354 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_957-9_0_4_load_80 | 78 | 0.00068484 | 0.00017164 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_957-9_0_4_load_83 | 79 | 0.00063561 | 0.0001593 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_957-9_0_4_load_75 | 80 | 0.00059608 | 0.00014939 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_957-9_0_4_load_78 | 82 | 0.0034048 | 0.00085331 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_957-9_0_4_load_87 | 84 | 0.0012602 | 0.00031583 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_957-9_0_4_load_92 | 86 | 0.00089643 | 0.00022467 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_957-9_0_4_load_90 | 88 | 0.00143 | 0.0003584 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_957-9_0_4_load_93 | 89 | 0.0011792 | 0.00029554 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_957-9_0_4_load_91 | 90 | 0.0061304 | 0.0015364 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 32 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_957-9_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0061905 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_957-9_0_4_line_1 | NAYY 4x150 SE | 1 | 2 | 0.023142 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_957-9_0_4_line_2 | NAYY 4x150 SE | 1 | 3 | 0.018014 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_957-9_0_4_line_3 | NAYY 4x150 SE | 2 | 9 | 0.037087 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_957-9_0_4_line_4 | NAYY 4x150 SE | 2 | 10 | 0.018258 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_957-9_0_4_line_5 | NAYY 4x150 SE | 2 | 11 | 0.015237 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_957-9_0_4_line_6 | NAYY 4x150 SE | 4 | 5 | 0.31256 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
7 | LV_957-9_0_4_line_7 | NAYY 4x150 SE | 4 | 6 | 0.034025 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
8 | LV_957-9_0_4_line_8 | NAYY 4x150 SE | 5 | 35 | 0.42021 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
9 | LV_957-9_0_4_line_9 | NAYY 4x150 SE | 5 | 34 | 0.11048 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_957-9_0_4_line_10 | NAYY 4x150 SE | 6 | 23 | 0.013889 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
11 | LV_957-9_0_4_line_11 | NAYY 4x150 SE | 7 | 8 | 0.012834 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_957-9_0_4_line_12 | NAYY 4x150 SE | 8 | 20 | 0.048063 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_957-9_0_4_line_13 | NAYY 4x150 SE | 9 | 12 | 0.01175 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_957-9_0_4_line_14 | NAYY 4x150 SE | 10 | 13 | 0.00731 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_957-9_0_4_line_15 | NAYY 4x150 SE | 11 | 14 | 0.0057424 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_957-9_0_4_line_16 | NAYY 4x150 SE | 12 | 79 | 0.010757 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_957-9_0_4_line_17 | NAYY 4x150 SE | 13 | 29 | 0.016279 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_957-9_0_4_line_18 | NAYY 4x150 SE | 14 | 73 | 0.023695 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_957-9_0_4_line_19 | NAYY 4x150 SE | 15 | 16 | 0.0080767 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
20 | LV_957-9_0_4_line_20 | NAYY 4x150 SE | 15 | 17 | 0.032454 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
21 | LV_957-9_0_4_line_21 | NAYY 4x150 SE | 16 | 18 | 0.046202 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
22 | LV_957-9_0_4_line_22 | NAYY 4x150 SE | 17 | 19 | 0.013449 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
23 | LV_957-9_0_4_line_23 | NAYY 4x150 SE | 18 | 20 | 0.018033 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
24 | LV_957-9_0_4_line_24 | NAYY 4x150 SE | 19 | 24 | 0.0022727 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
25 | LV_957-9_0_4_line_25 | NAYY 4x150 SE | 20 | 21 | 0.024482 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
26 | LV_957-9_0_4_line_26 | NAYY 4x150 SE | 21 | 22 | 0.017718 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
27 | LV_957-9_0_4_line_27 | NAYY 4x150 SE | 22 | 23 | 0.018607 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
28 | LV_957-9_0_4_line_28 | NAYY 4x150 SE | 24 | 28 | 0.035094 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
29 | LV_957-9_0_4_line_29 | NAYY 4x150 SE | 25 | 26 | 0.015978 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
30 | LV_957-9_0_4_line_30 | NAYY 4x150 SE | 25 | 27 | 0.010356 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
31 | LV_957-9_0_4_line_31 | NAYY 4x150 SE | 26 | 28 | 0.020329 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
32 | LV_957-9_0_4_line_32 | NAYY 4x150 SE | 27 | 45 | 0.0061414 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
33 | LV_957-9_0_4_line_33 | NAYY 4x150 SE | 28 | 39 | 0.015149 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_957-9_0_4_line_34 | NAYY 4x150 SE | 29 | 30 | 0.0016476 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_957-9_0_4_line_35 | NAYY 4x150 SE | 30 | 32 | 0.0099409 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_957-9_0_4_line_36 | NAYY 4x150 SE | 31 | 32 | 0.025752 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
37 | LV_957-9_0_4_line_37 | NAYY 4x150 SE | 31 | 33 | 0.024793 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
38 | LV_957-9_0_4_line_38 | NAYY 4x150 SE | 33 | 62 | 0.033531 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
39 | LV_957-9_0_4_line_39 | NAYY 4x150 SE | 35 | 49 | 0.015194 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
40 | LV_957-9_0_4_line_40 | NAYY 4x150 SE | 36 | 37 | 0.0053512 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_957-9_0_4_line_41 | NAYY 4x150 SE | 36 | 38 | 0.0016512 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_957-9_0_4_line_42 | NAYY 4x150 SE | 37 | 39 | 0.013491 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_957-9_0_4_line_43 | NAYY 4x150 SE | 38 | 40 | 0.015921 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_957-9_0_4_line_44 | NAYY 4x150 SE | 40 | 41 | 0.043454 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_957-9_0_4_line_45 | NAYY 4x150 SE | 40 | 42 | 0.0090976 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_957-9_0_4_line_46 | NAYY 4x150 SE | 41 | 43 | 0.047309 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_957-9_0_4_line_47 | NAYY 4x150 SE | 42 | 44 | 0.074274 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_957-9_0_4_line_48 | NAYY 4x150 SE | 43 | 46 | 0.014168 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_957-9_0_4_line_49 | NAYY 4x150 SE | 45 | 54 | 0.021186 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
50 | LV_957-9_0_4_line_50 | NAYY 4x150 SE | 46 | 47 | 0.022292 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_957-9_0_4_line_51 | NAYY 4x150 SE | 47 | 48 | 0.070766 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_957-9_0_4_line_52 | NAYY 4x150 SE | 49 | 50 | 0.008831 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_957-9_0_4_line_53 | NAYY 4x150 SE | 50 | 51 | 0.069342 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_957-9_0_4_line_54 | NAYY 4x150 SE | 51 | 52 | 0.024475 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_957-9_0_4_line_55 | NAYY 4x150 SE | 52 | 84 | 0.0151 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_957-9_0_4_line_56 | NAYY 4x150 SE | 52 | 85 | 0.056199 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_957-9_0_4_line_57 | NAYY 4x150 SE | 53 | 54 | 0.0041017 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
58 | LV_957-9_0_4_line_58 | NAYY 4x150 SE | 53 | 55 | 0.04474 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
59 | LV_957-9_0_4_line_59 | NAYY 4x150 SE | 55 | 56 | 0.0093514 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
60 | LV_957-9_0_4_line_60 | NAYY 4x150 SE | 55 | 57 | 0.011615 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_957-9_0_4_line_61 | NAYY 4x150 SE | 56 | 58 | 0.014108 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
62 | LV_957-9_0_4_line_62 | NAYY 4x150 SE | 57 | 59 | 0.026152 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_957-9_0_4_line_63 | NAYY 4x150 SE | 58 | 60 | 0.0038304 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
64 | LV_957-9_0_4_line_64 | NAYY 4x150 SE | 59 | 61 | 0.063466 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_957-9_0_4_line_65 | NAYY 4x150 SE | 60 | 64 | 0.016604 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
66 | LV_957-9_0_4_line_66 | NAYY 4x150 SE | 61 | 69 | 0.095317 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_957-9_0_4_line_67 | NAYY 4x150 SE | 62 | 63 | 0.0068231 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
68 | LV_957-9_0_4_line_68 | NAYY 4x150 SE | 63 | 64 | 0.0087741 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
69 | LV_957-9_0_4_line_69 | NAYY 4x150 SE | 65 | 66 | 0.0065011 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_957-9_0_4_line_70 | NAYY 4x150 SE | 65 | 67 | 0.015179 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_957-9_0_4_line_71 | NAYY 4x150 SE | 67 | 68 | 0.0092225 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_957-9_0_4_line_72 | NAYY 4x150 SE | 68 | 70 | 0.047419 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_957-9_0_4_line_73 | NAYY 4x150 SE | 69 | 71 | 0.092619 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_957-9_0_4_line_74 | NAYY 4x150 SE | 70 | 72 | 0.03919 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_957-9_0_4_line_75 | NAYY 4x150 SE | 70 | 73 | 0.032618 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_957-9_0_4_line_76 | NAYY 4x150 SE | 71 | 75 | 0.0058968 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_957-9_0_4_line_77 | NAYY 4x150 SE | 72 | 74 | 0.00083124 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_957-9_0_4_line_78 | NAYY 4x150 SE | 75 | 76 | 0.0058129 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_957-9_0_4_line_79 | NAYY 4x150 SE | 76 | 77 | 0.0058794 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_957-9_0_4_line_80 | NAYY 4x150 SE | 77 | 78 | 8.69e-05 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_957-9_0_4_line_81 | NAYY 4x150 SE | 80 | 81 | 0.01902 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_957-9_0_4_line_82 | NAYY 4x150 SE | 81 | 82 | 0.055182 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_957-9_0_4_line_83 | NAYY 4x150 SE | 82 | 83 | 0.03632 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_957-9_0_4_line_84 | NAYY 4x150 SE | 83 | 86 | 0.14668 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_957-9_0_4_line_85 | NAYY 4x150 SE | 84 | 87 | 0.011694 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_957-9_0_4_line_86 | NAYY 4x150 SE | 85 | 86 | 0.022132 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_957-9_0_4_line_87 | NAYY 4x150 SE | 85 | 88 | 0.02875 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_957-9_0_4_line_88 | NAYY 4x150 SE | 87 | 89 | 0.022537 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_957-9_0_4_line_89 | NAYY 4x150 SE | 88 | 90 | 0.0012058 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_957-9_0_4_trafo_50 | 0.25 MVA 20/0.4 kV | 91 | 32 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2622699.6253 | 1208315.6488 | 2622703.6976 | 1208320.3113
1 | 2622712.2274 | 1208296.2191 | 2622699.6253 | 1208315.6488
2 | 2622699.6253 | 1208315.6488 | 2622685.6009 | 1208304.3438
3 | 2622683.0083 | 1208273.2733 | 2622706.4821 | 1208291.7059 | 2622712.2274 | 1208296.2191
4 | 2622712.2274 | 1208296.2191 | 2622726.4529 | 1208307.7129
5 | 2622712.2274 | 1208296.2191 | 2622721.82 | 1208284.3802
6 | 2622672.982 | 1208441.8056 | 2622458.5272 | 1208669.1916
7 | 2622672.982 | 1208441.8056 | 2622674.0143 | 1208441.8331 | 2622706.615 | 1208446.9041
8 | 2622364.4378 | 1208259.6552 | 2622458.5272 | 1208669.1916
9 | 2622458.5272 | 1208669.1916 | 2622499.7915 | 1208698.8076 | 2622509.1628 | 1208707.2809 | 2622518.3038 | 1208716.3315 | 2622528.5406 | 1208729.1216 | 2622538.3607 | 1208743.9828
10 | 2622706.615 | 1208446.9041 | 2622706.615 | 1208446.9041 | 2622719.7077 | 1208451.54
11 | 2622727.3476 | 1208406.9209 | 2622718.8468 | 1208397.3064
12 | 2622764.9207 | 1208435.208 | 2622763.1026 | 1208435.5235 | 2622761.4466 | 1208435.2059 | 2622758.775 | 1208434.084 | 2622755.3703 | 1208431.8365 | 2622735.8567 | 1208415.6755 | 2622730.6078 | 1208410.6083 | 2622727.3476 | 1208406.9209
13 | 2622683.0083 | 1208273.2733 | 2622673.5896 | 1208266.2483
14 | 2622731.9995 | 1208312.4922 | 2622726.9152 | 1208308.0815 | 2622726.4529 | 1208307.7129
15 | 2622725.4351 | 1208279.9186 | 2622721.82 | 1208284.3802
16 | 2622673.5896 | 1208266.2483 | 2622664.9673 | 1208259.8172
17 | 2622731.9995 | 1208312.4922 | 2622739.3654 | 1208310.6302 | 2622746.5344 | 1208315.5259
18 | 2622725.4351 | 1208279.9186 | 2622740.3519 | 1208261.5087
19 | 2622819.6473 | 1208406.3078 | 2622816.2976 | 1208398.9585
20 | 2622819.6473 | 1208406.3078 | 2622822.1463 | 1208411.7908 | 2622824.3576 | 1208416.0238 | 2622826.6305 | 1208420.0236 | 2622829.405 | 1208424.0698 | 2622832.5374 | 1208427.9505 | 2622837.1021 | 1208432.993 | 2622837.3678 | 1208433.2324
21 | 2622816.2976 | 1208398.9585 | 2622775.693 | 1208421.0008
22 | 2622847.5583 | 1208442.0046 | 2622842.1325 | 1208437.5258 | 2622837.3678 | 1208433.2324
23 | 2622764.9207 | 1208435.208 | 2622766.7197 | 1208433.9253 | 2622768.5821 | 1208431.9312 | 2622770.698 | 1208429.2711 | 2622771.2556 | 1208428.5618 | 2622773.7551 | 1208424.9804 | 2622775.693 | 1208421.0008
24 | 2622847.5583 | 1208442.0046 | 2622849.3307 | 1208443.4273
25 | 2622764.9207 | 1208435.208 | 2622764.9121 | 1208437.4648 | 2622764.5079 | 1208439.7979 | 2622763.6254 | 1208441.9846 | 2622759.4399 | 1208447.1383 | 2622752.5134 | 1208455.5025
26 | 2622752.5134 | 1208455.5025 | 2622751.8869 | 1208456.2591 | 2622745.9704 | 1208460.8391 | 2622737.2476 | 1208457.7505
27 | 2622719.7077 | 1208451.54 | 2622737.2476 | 1208457.7505
28 | 2622876.6983 | 1208465.3957 | 2622849.3307 | 1208443.4273
29 | 2622878.6111 | 1208430.3946 | 2622879.0411 | 1208439.2123 | 2622879.974 | 1208446.3009
30 | 2622878.6111 | 1208430.3946 | 2622880.1251 | 1208420.1502 | 2622880.1251 | 1208420.1502
31 | 2622876.6983 | 1208465.3957 | 2622878.6166 | 1208462.7126 | 2622878.0031 | 1208460.1533 | 2622880.7918 | 1208452.5153 | 2622879.974 | 1208446.3009
32 | 2622880.4722 | 1208414.0186 | 2622880.1251 | 1208420.1502
33 | 2622888.5972 | 1208474.8131 | 2622876.6983 | 1208465.3957
34 | 2622746.5344 | 1208315.5259 | 2622747.895 | 1208316.4551
35 | 2622756.1043 | 1208322.0613 | 2622747.895 | 1208316.4551
36 | 2622756.1043 | 1208322.0613 | 2622771.2721 | 1208332.4193 | 2622777.3511 | 1208336.6122
37 | 2622797.7606 | 1208350.689 | 2622777.3511 | 1208336.6122
38 | 2622797.7606 | 1208350.689 | 2622800.706 | 1208352.7205 | 2622809.8435 | 1208356.7354 | 2622817.3998 | 1208358.7653 | 2622828.3948 | 1208358.1291 | 2622829.5061 | 1208357.9017
39 | 2622351.0853 | 1208252.3346 | 2622364.4378 | 1208259.6552
40 | 2622883.2172 | 1208487.1845 | 2622881.0831 | 1208492.0918
41 | 2622880.4246 | 1208493.606 | 2622881.0831 | 1208492.0918
42 | 2622888.5972 | 1208474.8131 | 2622883.2172 | 1208487.1845
43 | 2622875.2405 | 1208508.6476 | 2622879.2866 | 1208496.2228 | 2622880.4246 | 1208493.606
44 | 2622875.2405 | 1208508.6476 | 2622875.4111 | 1208513.74 | 2622876.0443 | 1208517.1109 | 2622876.9251 | 1208519.3711 | 2622878.1791 | 1208521.4326 | 2622880.2145 | 1208523.9085 | 2622882.3647 | 1208526.1957 | 2622885.6773 | 1208528.6542 | 2622889.9171 | 1208531.1718 | 2622902.7615 | 1208538.2994
45 | 2622875.2405 | 1208508.6476 | 2622872.1463 | 1208516.6624 | 2622872.0758 | 1208517.1637
46 | 2622943.9253 | 1208561.6068 | 2622916.8292 | 1208546.6057 | 2622903.8368 | 1208538.8961 | 2622902.7615 | 1208538.2994
47 | 2622872.0758 | 1208517.1637 | 2622871.8337 | 1208518.8847 | 2622871.9923 | 1208521.1421 | 2622872.7269 | 1208523.8576 | 2622873.7736 | 1208526.4519 | 2622875.2237 | 1208528.9255 | 2622881.6001 | 1208537.2657 | 2622897.0892 | 1208556.0243 | 2622912.7481 | 1208577.9827
48 | 2622943.9253 | 1208561.6068 | 2622950.0085 | 1208548.8108
49 | 2622880.4722 | 1208414.0186 | 2622881.67 | 1208392.866
50 | 2622950.0085 | 1208548.8108 | 2622959.5795 | 1208528.6782
51 | 2622959.5795 | 1208528.6782 | 2622994.946 | 1208467.3835
52 | 2622351.0853 | 1208252.3346 | 2622342.2541 | 1208251.6568
53 | 2622342.2541 | 1208251.6568 | 2622338.3135 | 1208242.2035 | 2622331.4405 | 1208230.1489 | 2622306.5332 | 1208192.4019
54 | 2622293.0534 | 1208171.9733 | 2622306.5332 | 1208192.4019
55 | 2622293.0534 | 1208171.9733 | 2622279.9158 | 1208179.4175
56 | 2622252.3797 | 1208133.556 | 2622260.7904 | 1208139.0126 | 2622270.3688 | 1208149.3651 | 2622283.8845 | 1208163.968 | 2622293.0534 | 1208171.9733
57 | 2622881.9019 | 1208388.7709 | 2622881.67 | 1208392.866
58 | 2622887.4316 | 1208344.4026 | 2622883.5733 | 1208371.3028 | 2622882.4487 | 1208379.114 | 2622881.9019 | 1208388.7709
59 | 2622887.4316 | 1208344.4026 | 2622878.2883 | 1208346.3644
60 | 2622887.4316 | 1208344.4026 | 2622889.1375 | 1208332.9139
61 | 2622878.2883 | 1208346.3644 | 2622876.8941 | 1208346.6635 | 2622864.6005 | 1208349.7777
62 | 2622889.1375 | 1208332.9139 | 2622891.5908 | 1208316.3918 | 2622893.2506 | 1208307.0904
63 | 2622864.6005 | 1208349.7777 | 2622860.8874 | 1208350.7183
64 | 2622908.9209 | 1208245.652 | 2622906.5226 | 1208254.5255 | 2622898.0655 | 1208283.2425 | 2622895.6927 | 1208293.4058 | 2622893.2506 | 1208307.0904
65 | 2622844.7866 | 1208354.7745 | 2622845.2465 | 1208354.6804 | 2622860.8874 | 1208350.7183
66 | 2622908.9209 | 1208245.652 | 2622918.3545 | 1208247.8227 | 2622988.8673 | 1208262.9906 | 2623002.2575 | 1208266.2327
67 | 2622836.1906 | 1208356.5337 | 2622829.5061 | 1208357.9017
68 | 2622844.7866 | 1208354.7745 | 2622836.1906 | 1208356.5337
69 | 2622828.086 | 1208231.7593 | 2622833.567 | 1208231.9785 | 2622834.5798 | 1208232.0563
70 | 2622828.086 | 1208231.7593 | 2622818.821 | 1208231.3886 | 2622812.9148 | 1208231.4051
71 | 2622803.6924 | 1208231.4309 | 2622812.9148 | 1208231.4051
72 | 2622803.6924 | 1208231.4309 | 2622797.6405 | 1208231.5635 | 2622756.2141 | 1208234.085
73 | 2623002.2575 | 1208266.2327 | 2622992.6584 | 1208309.0975 | 2622992.0797 | 1208313.2976 | 2622991.7767 | 1208316.9541 | 2622991.527 | 1208318.6318 | 2622990.9889 | 1208320.1862 | 2622990.0324 | 1208321.8056 | 2622988.253 | 1208323.9111 | 2622984.2623 | 1208327.7534 | 2622962.27 | 1208343.8698
74 | 2622756.2141 | 1208234.085 | 2622717.0797 | 1208236.177
75 | 2622756.2141 | 1208234.085 | 2622756.2612 | 1208237.6983 | 2622755.9108 | 1208239.8648 | 2622755.303 | 1208241.7636 | 2622753.8942 | 1208244.393 | 2622751.8304 | 1208247.3424 | 2622740.3519 | 1208261.5087
76 | 2622962.27 | 1208343.8698 | 2622957.5136 | 1208347.3554
77 | 2622717.0797 | 1208236.177 | 2622716.2497 | 1208236.2214
78 | 2622957.5136 | 1208347.3554 | 2622952.8249 | 1208350.7913
79 | 2622952.8249 | 1208350.7913 | 2622948.0825 | 1208354.2666
80 | 2622948.0124 | 1208354.318 | 2622948.0825 | 1208354.2666
81 | 2622436.6247 | 1208100.4701 | 2622449.0148 | 1208086.0392
82 | 2622436.6247 | 1208100.4701 | 2622396.5179 | 1208062.5691
83 | 2622368.6448 | 1208039.3482 | 2622386.7698 | 1208053.3572 | 2622396.5179 | 1208062.5691
84 | 2622242.4078 | 1208114.0345 | 2622368.6448 | 1208039.3482
85 | 2622269.7412 | 1208185.1827 | 2622279.9158 | 1208179.4175
86 | 2622252.3797 | 1208133.556 | 2622246.02 | 1208124.4607 | 2622242.4078 | 1208114.0345
87 | 2622252.3797 | 1208133.556 | 2622235.4038 | 1208151.9254 | 2622232.1893 | 1208153.8329
88 | 2622269.7412 | 1208185.1827 | 2622261.3009 | 1208206.0852
89 | 2622232.1893 | 1208153.8329 | 2622231.1524 | 1208154.4483

## bus_geodata
| x | y | coords
0 | 2622703.6976 | 1208320.3113
1 | 2622699.6253 | 1208315.6488
2 | 2622712.2274 | 1208296.2191
3 | 2622685.6009 | 1208304.3438
4 | 2622672.982 | 1208441.8056
5 | 2622458.5272 | 1208669.1916
6 | 2622706.615 | 1208446.9041
7 | 2622718.8468 | 1208397.3064
8 | 2622727.3476 | 1208406.9209
9 | 2622683.0083 | 1208273.2733
10 | 2622726.4529 | 1208307.7129
11 | 2622721.82 | 1208284.3802
12 | 2622673.5897 | 1208266.2483
13 | 2622731.9995 | 1208312.4922
14 | 2622725.4351 | 1208279.9186
15 | 2622819.6473 | 1208406.3078
16 | 2622816.2976 | 1208398.9585
17 | 2622837.3678 | 1208433.2324
18 | 2622775.693 | 1208421.0008
19 | 2622847.5583 | 1208442.0046
20 | 2622764.9207 | 1208435.208
21 | 2622752.5134 | 1208455.5025
22 | 2622737.2476 | 1208457.7505
23 | 2622719.7077 | 1208451.54
24 | 2622849.3307 | 1208443.4273
25 | 2622878.6111 | 1208430.3946
26 | 2622879.974 | 1208446.3009
27 | 2622880.1251 | 1208420.1502
28 | 2622876.6983 | 1208465.3957
29 | 2622746.5344 | 1208315.5259
30 | 2622747.895 | 1208316.4551
31 | 2622777.3511 | 1208336.6122
32 | 2622756.1043 | 1208322.0613
33 | 2622797.7606 | 1208350.689
34 | 2622538.3607 | 1208743.9828
35 | 2622364.4378 | 1208259.6552
36 | 2622881.0831 | 1208492.0918
37 | 2622883.2172 | 1208487.1845
38 | 2622880.4246 | 1208493.606
39 | 2622888.5972 | 1208474.8131
40 | 2622875.2405 | 1208508.6476
41 | 2622902.7615 | 1208538.2994
42 | 2622872.0758 | 1208517.1637
43 | 2622943.9253 | 1208561.6068
44 | 2622912.7481 | 1208577.9827
45 | 2622880.4722 | 1208414.0186
46 | 2622950.0085 | 1208548.8108
47 | 2622959.5795 | 1208528.6782
48 | 2622994.946 | 1208467.3835
49 | 2622351.0853 | 1208252.3346
50 | 2622342.2541 | 1208251.6568
51 | 2622306.5332 | 1208192.4019
52 | 2622293.0534 | 1208171.9733
53 | 2622881.9019 | 1208388.7709
54 | 2622881.67 | 1208392.866
55 | 2622887.4316 | 1208344.4026
56 | 2622878.2883 | 1208346.3644
57 | 2622889.1375 | 1208332.9139
58 | 2622864.6005 | 1208349.7777
59 | 2622893.2506 | 1208307.0904
60 | 2622860.8874 | 1208350.7183
61 | 2622908.9209 | 1208245.652
62 | 2622829.5061 | 1208357.9017
63 | 2622836.1906 | 1208356.5337
64 | 2622844.7866 | 1208354.7745
65 | 2622828.086 | 1208231.7593
66 | 2622834.5798 | 1208232.0563
67 | 2622812.9148 | 1208231.4051
68 | 2622803.6924 | 1208231.4309
69 | 2623002.2575 | 1208266.2327
70 | 2622756.2141 | 1208234.085
71 | 2622962.27 | 1208343.8698
72 | 2622717.0797 | 1208236.177
73 | 2622740.3519 | 1208261.5087
74 | 2622716.2497 | 1208236.2214
75 | 2622957.5136 | 1208347.3554
76 | 2622952.8249 | 1208350.7913
77 | 2622948.0825 | 1208354.2666
78 | 2622948.0124 | 1208354.318
79 | 2622664.9673 | 1208259.8172
80 | 2622449.0148 | 1208086.0392
81 | 2622436.6247 | 1208100.4701
82 | 2622396.5179 | 1208062.5691
83 | 2622368.6448 | 1208039.3482
84 | 2622279.9158 | 1208179.4175
85 | 2622252.3797 | 1208133.556
86 | 2622242.4078 | 1208114.0345
87 | 2622269.7412 | 1208185.1827
88 | 2622232.1893 | 1208153.8329
89 | 2622261.3009 | 1208206.0852
90 | 2622231.1524 | 1208154.4483
91 | 2622731.9995 | 1208312.4922

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1