## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_958-1_1_5_node_8 | 0.4 | n |  | TRUE
1 | bus_LV_958-1_1_5_node_9 | 0.4 | n |  | TRUE
2 | bus_LV_958-1_1_5_node_10 | 0.4 | n |  | TRUE
3 | bus_LV_958-1_1_5_node_11 | 0.4 | n |  | TRUE
4 | bus_LV_958-1_1_5_node_12 | 0.4 | n |  | TRUE
5 | bus_LV_958-1_1_5_node_13 | 0.4 | n |  | TRUE
6 | bus_LV_958-1_1_5_node_14 | 0.4 | n |  | TRUE
7 | bus_LV_958-1_1_5_node_15 | 0.4 | n |  | TRUE
8 | bus_LV_958-1_1_5_node_70 | 0.4 | n |  | TRUE
9 | bus_LV_958-1_1_5_node_164 | 0.4 | n |  | TRUE
10 | bus_LV_958-1_1_5_node_32 | 0.4 | n |  | TRUE
11 | bus_LV_958-1_1_5_node_33 | 0.4 | n |  | TRUE
12 | bus_LV_958-1_1_5_node_34 | 0.4 | n |  | TRUE
13 | bus_LV_958-1_1_5_node_35 | 0.4 | n |  | TRUE
14 | bus_LV_958-1_1_5_node_36 | 0.4 | n |  | TRUE
15 | bus_LV_958-1_1_5_node_37 | 0.4 | n |  | TRUE
16 | bus_LV_958-1_1_5_node_38 | 0.4 | n |  | TRUE
17 | bus_LV_958-1_1_5_node_39 | 0.4 | n |  | TRUE
18 | bus_LV_958-1_1_5_node_113 | 0.4 | n |  | TRUE
19 | bus_LV_958-1_1_5_node_104 | 0.4 | n |  | TRUE
20 | bus_LV_958-1_1_5_node_105 | 0.4 | n |  | TRUE
21 | bus_LV_958-1_1_5_node_64 | 0.4 | n |  | TRUE
22 | bus_LV_958-1_1_5_node_65 | 0.4 | n |  | TRUE
23 | bus_LV_958-1_1_5_node_66 | 0.4 | n |  | TRUE
24 | bus_LV_958-1_1_5_node_67 | 0.4 | n |  | TRUE
25 | bus_LV_958-1_1_5_node_68 | 0.4 | n |  | TRUE
26 | bus_LV_958-1_1_5_node_69 | 0.4 | n |  | TRUE
27 | bus_LV_958-1_1_5_node_71 | 0.4 | n |  | TRUE
28 | bus_LV_958-1_1_5_node_72 | 0.4 | n |  | TRUE
29 | bus_LV_958-1_1_5_node_103 | 0.4 | n |  | TRUE
30 | bus_LV_958-1_1_5_node_102 | 0.4 | n |  | TRUE
31 | bus_LV_958-1_1_5_node_220 | 0.4 | n |  | TRUE
32 | bus_LV_958-1_1_5_node_125 | 0.4 | n |  | TRUE
33 | bus_LV_958-1_1_5_node_82 | 0.4 | n |  | TRUE
34 | bus_LV_958-1_1_5_node_83 | 0.4 | n |  | TRUE
35 | bus_LV_958-1_1_5_node_84 | 0.4 | n |  | TRUE
36 | bus_LV_958-1_1_5_node_85 | 0.4 | n |  | TRUE
37 | bus_LV_958-1_1_5_node_86 | 0.4 | n |  | TRUE
38 | bus_LV_958-1_1_5_node_87 | 0.4 | n |  | TRUE
39 | bus_LV_958-1_1_5_node_88 | 0.4 | n |  | TRUE
40 | bus_LV_958-1_1_5_node_89 | 0.4 | n |  | TRUE
41 | bus_LV_958-1_1_5_node_111 | 0.4 | n |  | TRUE
42 | bus_LV_958-1_1_5_node_255 | 0.4 | n |  | TRUE
43 | bus_LV_958-1_1_5_node_212 | 0.4 | n |  | TRUE
44 | bus_LV_958-1_1_5_node_106 | 0.4 | n |  | TRUE
45 | bus_LV_958-1_1_5_node_107 | 0.4 | n |  | TRUE
46 | bus_LV_958-1_1_5_node_108 | 0.4 | n |  | TRUE
47 | bus_LV_958-1_1_5_node_109 | 0.4 | n |  | TRUE
48 | bus_LV_958-1_1_5_node_178 | 0.4 | n |  | TRUE
49 | bus_LV_958-1_1_5_node_110 | 0.4 | n |  | TRUE
50 | bus_LV_958-1_1_5_node_130 | 0.4 | n |  | TRUE
51 | bus_LV_958-1_1_5_node_194 | 0.4 | n |  | TRUE
52 | bus_LV_958-1_1_5_node_112 | 0.4 | n |  | TRUE
53 | bus_LV_958-1_1_5_node_114 | 0.4 | n |  | TRUE
54 | bus_LV_958-1_1_5_node_115 | 0.4 | n |  | TRUE
55 | bus_LV_958-1_1_5_node_116 | 0.4 | n |  | TRUE
56 | bus_LV_958-1_1_5_node_117 | 0.4 | n |  | TRUE
57 | bus_LV_958-1_1_5_node_118 | 0.4 | n |  | TRUE
58 | bus_LV_958-1_1_5_node_140 | 0.4 | n |  | TRUE
59 | bus_LV_958-1_1_5_node_119 | 0.4 | n |  | TRUE
60 | bus_LV_958-1_1_5_node_120 | 0.4 | n |  | TRUE
61 | bus_LV_958-1_1_5_node_121 | 0.4 | n |  | TRUE
62 | bus_LV_958-1_1_5_node_122 | 0.4 | n |  | TRUE
63 | bus_LV_958-1_1_5_node_123 | 0.4 | n |  | TRUE
64 | bus_LV_958-1_1_5_node_124 | 0.4 | n |  | TRUE
65 | bus_LV_958-1_1_5_node_126 | 0.4 | n |  | TRUE
66 | bus_LV_958-1_1_5_node_190 | 0.4 | n |  | TRUE
67 | bus_LV_958-1_1_5_node_217 | 0.4 | n |  | TRUE
68 | bus_LV_958-1_1_5_node_127 | 0.4 | n |  | TRUE
69 | bus_LV_958-1_1_5_node_128 | 0.4 | n |  | TRUE
70 | bus_LV_958-1_1_5_node_129 | 0.4 | n |  | TRUE
71 | bus_LV_958-1_1_5_node_131 | 0.4 | n |  | TRUE
72 | bus_LV_958-1_1_5_node_132 | 0.4 | n |  | TRUE
73 | bus_LV_958-1_1_5_node_133 | 0.4 | n |  | TRUE
74 | bus_LV_958-1_1_5_node_147 | 0.4 | n |  | TRUE
75 | bus_LV_958-1_1_5_node_139 | 0.4 | n |  | TRUE
76 | bus_LV_958-1_1_5_node_141 | 0.4 | n |  | TRUE
77 | bus_LV_958-1_1_5_node_142 | 0.4 | n |  | TRUE
78 | bus_LV_958-1_1_5_node_144 | 0.4 | n |  | TRUE
79 | bus_LV_958-1_1_5_node_145 | 0.4 | n |  | TRUE
80 | bus_LV_958-1_1_5_node_146 | 0.4 | n |  | TRUE
81 | bus_LV_958-1_1_5_node_148 | 0.4 | n |  | TRUE
82 | bus_LV_958-1_1_5_node_149 | 0.4 | n |  | TRUE
83 | bus_LV_958-1_1_5_node_150 | 0.4 | n |  | TRUE
84 | bus_LV_958-1_1_5_node_165 | 0.4 | n |  | TRUE
85 | bus_LV_958-1_1_5_node_166 | 0.4 | n |  | TRUE
86 | bus_LV_958-1_1_5_node_167 | 0.4 | n |  | TRUE
87 | bus_LV_958-1_1_5_node_168 | 0.4 | n |  | TRUE
88 | bus_LV_958-1_1_5_node_266 | 0.4 | n |  | TRUE
89 | bus_LV_958-1_1_5_node_250 | 0.4 | n |  | TRUE
90 | bus_LV_958-1_1_5_node_170 | 0.4 | n |  | TRUE
91 | bus_LV_958-1_1_5_node_172 | 0.4 | n |  | TRUE
92 | bus_LV_958-1_1_5_node_173 | 0.4 | n |  | TRUE
93 | bus_LV_958-1_1_5_node_174 | 0.4 | n |  | TRUE
94 | bus_LV_958-1_1_5_node_175 | 0.4 | n |  | TRUE
95 | bus_LV_958-1_1_5_node_213 | 0.4 | n |  | TRUE
96 | bus_LV_958-1_1_5_node_176 | 0.4 | n |  | TRUE
97 | bus_LV_958-1_1_5_node_177 | 0.4 | n |  | TRUE
98 | bus_LV_958-1_1_5_node_179 | 0.4 | n |  | TRUE
99 | bus_LV_958-1_1_5_node_180 | 0.4 | n |  | TRUE
100 | bus_LV_958-1_1_5_node_221 | 0.4 | n |  | TRUE
101 | bus_LV_958-1_1_5_node_267 | 0.4 | n |  | TRUE
102 | bus_LV_958-1_1_5_node_193 | 0.4 | n |  | TRUE
103 | bus_LV_958-1_1_5_node_195 | 0.4 | n |  | TRUE
104 | bus_LV_958-1_1_5_node_205 | 0.4 | n |  | TRUE
105 | bus_LV_958-1_1_5_node_206 | 0.4 | n |  | TRUE
106 | bus_LV_958-1_1_5_node_219 | 0.4 | n |  | TRUE
107 | bus_LV_958-1_1_5_node_218 | 0.4 | n |  | TRUE
108 | bus_LV_958-1_1_5_node_208 | 0.4 | n |  | TRUE
109 | bus_LV_958-1_1_5_node_209 | 0.4 | n |  | TRUE
110 | bus_LV_958-1_1_5_node_210 | 0.4 | n |  | TRUE
111 | bus_LV_958-1_1_5_node_211 | 0.4 | n |  | TRUE
112 | bus_LV_958-1_1_5_node_238 | 0.4 | n |  | TRUE
113 | bus_LV_958-1_1_5_node_237 | 0.4 | n |  | TRUE
114 | bus_LV_958-1_1_5_node_222 | 0.4 | n |  | TRUE
115 | bus_LV_958-1_1_5_node_223 | 0.4 | n |  | TRUE
116 | bus_LV_958-1_1_5_node_239 | 0.4 | n |  | TRUE
117 | bus_LV_958-1_1_5_node_240 | 0.4 | n |  | TRUE
118 | bus_LV_958-1_1_5_node_241 | 0.4 | n |  | TRUE
119 | bus_LV_958-1_1_5_node_242 | 0.4 | n |  | TRUE
120 | bus_LV_958-1_1_5_node_243 | 0.4 | n |  | TRUE
121 | bus_LV_958-1_1_5_node_259 | 0.4 | n |  | TRUE
122 | bus_LV_958-1_1_5_node_251 | 0.4 | n |  | TRUE
123 | bus_LV_958-1_1_5_node_258 | 0.4 | n |  | TRUE
124 | bus_MV_0_node_165 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_958-1_1_5_load_8 | 0 | 0.00078381 | 0.00019644 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_958-1_1_5_load_9 | 1 | 0.0011859 | 0.00029721 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_958-1_1_5_load_10 | 2 | 0.00024645 | 6.1767e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_958-1_1_5_load_11 | 3 | 0.00022033 | 5.522e-05 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_958-1_1_5_load_12 | 4 | 0.00019924 | 4.9934e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_958-1_1_5_load_70 | 8 | 0.00023656 | 5.9287e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_958-1_1_5_load_164 | 9 | 0.00023839 | 5.9747e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_958-1_1_5_load_32 | 10 | 0.0013132 | 0.00032912 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_958-1_1_5_load_33 | 11 | 0.00047613 | 0.00011933 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_958-1_1_5_load_34 | 12 | 0.00078742 | 0.00019735 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_958-1_1_5_load_35 | 13 | 0.00048729 | 0.00012213 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_958-1_1_5_load_37 | 15 | 0.00033519 | 8.4007e-05 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_958-1_1_5_load_39 | 17 | 0.00041575 | 0.0001042 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_958-1_1_5_load_104 | 19 | 0.00020985 | 5.2593e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_958-1_1_5_load_64 | 21 | 0.00024922 | 6.2461e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_958-1_1_5_load_65 | 22 | 0.00050626 | 0.00012688 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_958-1_1_5_load_68 | 25 | 0.00077584 | 0.00019444 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_958-1_1_5_load_69 | 26 | 0.00016885 | 4.2318e-05 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_958-1_1_5_load_103 | 29 | 0.00052761 | 0.00013223 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_958-1_1_5_load_102 | 30 | 0.00019224 | 4.8181e-05 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_958-1_1_5_load_220 | 31 | 0.0010999 | 0.00027566 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_958-1_1_5_load_82 | 33 | 0.00019345 | 4.8482e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_958-1_1_5_load_84 | 35 | 0.00051438 | 0.00012892 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_958-1_1_5_load_85 | 36 | 0.00022695 | 5.6878e-05 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_958-1_1_5_load_87 | 38 | 0.00025468 | 6.383e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_958-1_1_5_load_88 | 39 | 0.00027413 | 6.8703e-05 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_958-1_1_5_load_111 | 41 | 0.00063465 | 0.00015906 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_958-1_1_5_load_255 | 42 | 0.000411 | 0.00010301 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_958-1_1_5_load_212 | 43 | 0.00033578 | 8.4153e-05 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_958-1_1_5_load_106 | 44 | 0.00024978 | 6.26e-05 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_958-1_1_5_load_110 | 49 | 0.00098145 | 0.00024597 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_958-1_1_5_load_130 | 50 | 0.00038052 | 9.5367e-05 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_958-1_1_5_load_194 | 51 | 0.00013193 | 3.3064e-05 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_958-1_1_5_load_114 | 53 | 0.00056921 | 0.00014266 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_958-1_1_5_load_115 | 54 | 0.00020278 | 5.0821e-05 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_958-1_1_5_load_116 | 55 | 0.0010935 | 0.00027406 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_958-1_1_5_load_117 | 56 | 0.00061062 | 0.00015304 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_958-1_1_5_load_140 | 58 | 0.00031472 | 7.8876e-05 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_958-1_1_5_load_119 | 59 | 0.00037252 | 9.3361e-05 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_958-1_1_5_load_120 | 60 | 0.00024928 | 6.2476e-05 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_958-1_1_5_load_123 | 63 | 0.0010853 | 0.000272 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_958-1_1_5_load_126 | 65 | 0.00023641 | 5.925e-05 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_958-1_1_5_load_190 | 66 | 0.00048945 | 0.00012267 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_958-1_1_5_load_217 | 67 | 0.00018819 | 4.7164e-05 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_958-1_1_5_load_127 | 68 | 0.0013238 | 0.00033177 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_958-1_1_5_load_128 | 69 | 0.00018351 | 4.5993e-05 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_958-1_1_5_load_129 | 70 | 0.00032975 | 8.2643e-05 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_958-1_1_5_load_132 | 72 | 0.0011133 | 0.00027901 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_958-1_1_5_load_133 | 73 | 0.0003151 | 7.8971e-05 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_958-1_1_5_load_139 | 75 | 0.000935 | 0.00023433 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_958-1_1_5_load_141 | 76 | 0.00017658 | 4.4255e-05 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_958-1_1_5_load_142 | 77 | 0.00013109 | 3.2854e-05 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_958-1_1_5_load_144 | 78 | 0.0002631 | 6.594e-05 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_958-1_1_5_load_145 | 79 | 0.00016753 | 4.1988e-05 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_958-1_1_5_load_149 | 82 | 0.00022024 | 5.5198e-05 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_958-1_1_5_load_150 | 83 | 0.0010825 | 0.00027131 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_958-1_1_5_load_166 | 85 | 0.00026369 | 6.6088e-05 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_958-1_1_5_load_168 | 87 | 0.00024824 | 6.2216e-05 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_958-1_1_5_load_266 | 88 | 0.00033465 | 8.3871e-05 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_958-1_1_5_load_250 | 89 | 0.0020964 | 0.0005254 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_958-1_1_5_load_170 | 90 | 0.00020205 | 5.0638e-05 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_958-1_1_5_load_174 | 93 | 0.00071902 | 0.0001802 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_958-1_1_5_load_175 | 94 | 0.0002078 | 5.2079e-05 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_958-1_1_5_load_213 | 95 | 0.0025529 | 0.00063982 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_958-1_1_5_load_176 | 96 | 0.00060198 | 0.00015087 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_958-1_1_5_load_179 | 98 | 0.00081972 | 0.00020544 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_958-1_1_5_load_180 | 99 | 0.00081329 | 0.00020383 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_958-1_1_5_load_221 | 100 | 0.0020061 | 0.00050277 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_958-1_1_5_load_267 | 101 | 0.00037064 | 9.2892e-05 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_958-1_1_5_load_193 | 102 | 0.0006804 | 0.00017052 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_958-1_1_5_load_205 | 104 | 0.00031783 | 7.9656e-05 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_958-1_1_5_load_218 | 107 | 0.00063191 | 0.00015837 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_958-1_1_5_load_208 | 108 | 0.00019016 | 4.7658e-05 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_958-1_1_5_load_209 | 109 | 0.00014092 | 3.5318e-05 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_958-1_1_5_load_211 | 111 | 0.00015916 | 3.989e-05 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_958-1_1_5_load_238 | 112 | 0.00080545 | 0.00020186 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_958-1_1_5_load_237 | 113 | 0.00017902 | 4.4866e-05 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_958-1_1_5_load_222 | 114 | 0.0022013 | 0.00055169 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_958-1_1_5_load_223 | 115 | 0.00055145 | 0.00013821 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_958-1_1_5_load_239 | 116 | 0.00032144 | 8.0561e-05 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_958-1_1_5_load_241 | 118 | 0.00012584 | 3.1538e-05 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_958-1_1_5_load_242 | 119 | 0.0014819 | 0.00037139 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_958-1_1_5_load_243 | 120 | 0.00016783 | 4.2061e-05 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_958-1_1_5_load_251 | 122 | 0.00032752 | 8.2084e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 84 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_958-1_1_5_line_0 | NAYY 4x150 SE | 0 | 1 | 0.00082826 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
1 | LV_958-1_1_5_line_1 | NAYY 4x150 SE | 0 | 2 | 0.020828 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
2 | LV_958-1_1_5_line_2 | NAYY 4x150 SE | 1 | 3 | 0.0062499 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
3 | LV_958-1_1_5_line_3 | NAYY 4x150 SE | 2 | 4 | 0.0023471 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
4 | LV_958-1_1_5_line_4 | NAYY 4x150 SE | 3 | 5 | 0.014119 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
5 | LV_958-1_1_5_line_5 | NAYY 4x150 SE | 4 | 6 | 0.3207 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
6 | LV_958-1_1_5_line_6 | NAYY 4x150 SE | 5 | 7 | 0.009331 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
7 | LV_958-1_1_5_line_7 | NAYY 4x150 SE | 6 | 8 | 0.038861 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
8 | LV_958-1_1_5_line_8 | NAYY 4x150 SE | 7 | 9 | 0.046326 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
9 | LV_958-1_1_5_line_9 | NAYY 4x150 SE | 8 | 24 | 0.17585 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
10 | LV_958-1_1_5_line_10 | NAYY 4x150 SE | 9 | 84 | 0.15885 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
11 | LV_958-1_1_5_line_11 | NAYY 4x150 SE | 10 | 11 | 0.011728 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_958-1_1_5_line_12 | NAYY 4x150 SE | 10 | 12 | 0.053088 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_958-1_1_5_line_13 | NAYY 4x150 SE | 11 | 13 | 0.036368 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_958-1_1_5_line_14 | NAYY 4x150 SE | 12 | 14 | 0.13715 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_958-1_1_5_line_15 | NAYY 4x150 SE | 13 | 15 | 0.035924 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_958-1_1_5_line_16 | NAYY 4x150 SE | 14 | 16 | 0.082029 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_958-1_1_5_line_17 | NAYY 4x150 SE | 14 | 17 | 0.032932 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_958-1_1_5_line_18 | NAYY 4x150 SE | 15 | 18 | 0.06873 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_958-1_1_5_line_19 | NAYY 4x150 SE | 16 | 19 | 0.029283 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_958-1_1_5_line_20 | NAYY 4x150 SE | 16 | 20 | 0.068213 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_958-1_1_5_line_21 | NAYY 4x150 SE | 18 | 40 | 0.10937 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_958-1_1_5_line_22 | NAYY 4x150 SE | 19 | 42 | 0.34428 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_958-1_1_5_line_23 | NAYY 4x150 SE | 20 | 43 | 0.010008 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_958-1_1_5_line_24 | NAYY 4x150 SE | 21 | 22 | 0.14301 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_958-1_1_5_line_25 | NAYY 4x150 SE | 21 | 23 | 0.014904 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_958-1_1_5_line_26 | NAYY 4x150 SE | 22 | 24 | 0.32308 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_958-1_1_5_line_27 | NAYY 4x150 SE | 23 | 25 | 0.012874 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_958-1_1_5_line_28 | NAYY 4x150 SE | 23 | 26 | 0.0054693 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_958-1_1_5_line_29 | NAYY 4x150 SE | 24 | 27 | 0.087542 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_958-1_1_5_line_30 | NAYY 4x150 SE | 24 | 28 | 0.16615 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_958-1_1_5_line_31 | NAYY 4x150 SE | 27 | 29 | 0.039466 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_958-1_1_5_line_32 | NAYY 4x150 SE | 27 | 30 | 0.044827 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_958-1_1_5_line_33 | NAYY 4x150 SE | 28 | 31 | 0.051811 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_958-1_1_5_line_34 | NAYY 4x150 SE | 28 | 32 | 0.062827 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_958-1_1_5_line_35 | NAYY 4x150 SE | 30 | 38 | 0.029899 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_958-1_1_5_line_36 | NAYY 4x150 SE | 32 | 67 | 0.039 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_958-1_1_5_line_37 | NAYY 4x150 SE | 32 | 62 | 0.2805 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_958-1_1_5_line_38 | NAYY 4x150 SE | 33 | 34 | 0.032115 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_958-1_1_5_line_39 | NAYY 4x150 SE | 33 | 35 | 0.0066906 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_958-1_1_5_line_40 | NAYY 4x150 SE | 34 | 36 | 0.053884 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_958-1_1_5_line_41 | NAYY 4x150 SE | 34 | 37 | 0.008528 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_958-1_1_5_line_42 | NAYY 4x150 SE | 36 | 38 | 0.011877 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_958-1_1_5_line_43 | NAYY 4x150 SE | 37 | 39 | 0.022041 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_958-1_1_5_line_44 | NAYY 4x150 SE | 37 | 40 | 0.060044 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_958-1_1_5_line_45 | NAYY 4x150 SE | 40 | 41 | 0.10725 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_958-1_1_5_line_46 | NAYY 4x150 SE | 41 | 52 | 0.14154 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_958-1_1_5_line_47 | NAYY 4x150 SE | 43 | 110 | 0.36657 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_958-1_1_5_line_48 | NAYY 4x150 SE | 44 | 45 | 0.1886 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_958-1_1_5_line_49 | NAYY 4x150 SE | 44 | 46 | 0.2557 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_958-1_1_5_line_50 | NAYY 4x150 SE | 45 | 47 | 0.21729 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_958-1_1_5_line_51 | NAYY 4x150 SE | 46 | 48 | 0.36362 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_958-1_1_5_line_52 | NAYY 4x150 SE | 47 | 49 | 0.11695 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_958-1_1_5_line_53 | NAYY 4x150 SE | 48 | 96 | 0.054518 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_958-1_1_5_line_54 | NAYY 4x150 SE | 49 | 50 | 0.015374 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_958-1_1_5_line_55 | NAYY 4x150 SE | 49 | 51 | 0.37616 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
56 | LV_958-1_1_5_line_56 | NAYY 4x150 SE | 50 | 69 | 0.011102 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_958-1_1_5_line_57 | NAYY 4x150 SE | 51 | 102 | 0.004753 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
58 | LV_958-1_1_5_line_58 | NAYY 4x150 SE | 52 | 53 | 0.041705 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_958-1_1_5_line_59 | NAYY 4x150 SE | 52 | 54 | 0.029187 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_958-1_1_5_line_60 | NAYY 4x150 SE | 52 | 55 | 0.26582 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_958-1_1_5_line_61 | NAYY 4x150 SE | 54 | 56 | 0.0044579 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_958-1_1_5_line_62 | NAYY 4x150 SE | 55 | 57 | 0.10653 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_958-1_1_5_line_63 | NAYY 4x150 SE | 57 | 58 | 0.009177 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_958-1_1_5_line_64 | NAYY 4x150 SE | 58 | 75 | 0.027315 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_958-1_1_5_line_65 | NAYY 4x150 SE | 59 | 60 | 0.016953 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_958-1_1_5_line_66 | NAYY 4x150 SE | 59 | 61 | 0.010301 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_958-1_1_5_line_67 | NAYY 4x150 SE | 60 | 62 | 0.031144 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_958-1_1_5_line_68 | NAYY 4x150 SE | 61 | 63 | 0.016327 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_958-1_1_5_line_69 | NAYY 4x150 SE | 62 | 64 | 0.028904 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_958-1_1_5_line_70 | NAYY 4x150 SE | 64 | 65 | 0.035556 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_958-1_1_5_line_71 | NAYY 4x150 SE | 64 | 66 | 0.022167 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_958-1_1_5_line_72 | NAYY 4x150 SE | 66 | 101 | 0.011638 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_958-1_1_5_line_73 | NAYY 4x150 SE | 67 | 107 | 0.086564 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_958-1_1_5_line_74 | NAYY 4x150 SE | 68 | 69 | 0.012189 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_958-1_1_5_line_75 | NAYY 4x150 SE | 68 | 70 | 0.10794 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_958-1_1_5_line_76 | NAYY 4x150 SE | 70 | 71 | 0.14556 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_958-1_1_5_line_77 | NAYY 4x150 SE | 71 | 72 | 0.016131 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_958-1_1_5_line_78 | NAYY 4x150 SE | 71 | 73 | 0.018346 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_958-1_1_5_line_79 | NAYY 4x150 SE | 72 | 74 | 0.013854 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_958-1_1_5_line_80 | NAYY 4x150 SE | 74 | 82 | 0.016739 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_958-1_1_5_line_81 | NAYY 4x150 SE | 74 | 79 | 0.0017871 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_958-1_1_5_line_82 | NAYY 4x150 SE | 75 | 76 | 0.0014085 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_958-1_1_5_line_83 | NAYY 4x150 SE | 76 | 77 | 0.017285 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_958-1_1_5_line_84 | NAYY 4x150 SE | 77 | 78 | 0.1318 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_958-1_1_5_line_85 | NAYY 4x150 SE | 79 | 80 | 0.037421 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_958-1_1_5_line_86 | NAYY 4x150 SE | 80 | 81 | 0.013195 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_958-1_1_5_line_87 | NAYY 4x150 SE | 81 | 83 | 0.023374 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_958-1_1_5_line_88 | NAYY 4x150 SE | 84 | 85 | 0.014615 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_958-1_1_5_line_89 | NAYY 4x150 SE | 84 | 86 | 0.30405 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
90 | LV_958-1_1_5_line_90 | NAYY 4x150 SE | 85 | 87 | 0.026672 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_958-1_1_5_line_91 | NAYY 4x150 SE | 86 | 88 | 0.22966 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
92 | LV_958-1_1_5_line_92 | NAYY 4x150 SE | 87 | 89 | 0.032412 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_958-1_1_5_line_93 | NAYY 4x150 SE | 88 | 103 | 0.30733 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
94 | LV_958-1_1_5_line_94 | NAYY 4x150 SE | 89 | 122 | 0.034989 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
95 | LV_958-1_1_5_line_95 | NAYY 4x150 SE | 90 | 91 | 0.025671 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
96 | LV_958-1_1_5_line_96 | NAYY 4x150 SE | 91 | 92 | 0.004961 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
97 | LV_958-1_1_5_line_97 | NAYY 4x150 SE | 92 | 93 | 0.043919 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
98 | LV_958-1_1_5_line_98 | NAYY 4x150 SE | 92 | 94 | 0.007137 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
99 | LV_958-1_1_5_line_99 | NAYY 4x150 SE | 94 | 95 | 0.020893 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
100 | LV_958-1_1_5_line_100 | NAYY 4x150 SE | 95 | 111 | 0.011921 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
101 | LV_958-1_1_5_line_101 | NAYY 4x150 SE | 96 | 97 | 0.023737 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
102 | LV_958-1_1_5_line_102 | NAYY 4x150 SE | 97 | 98 | 0.0067411 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
103 | LV_958-1_1_5_line_103 | NAYY 4x150 SE | 98 | 99 | 0.0001357 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
104 | LV_958-1_1_5_line_104 | NAYY 4x150 SE | 99 | 100 | 0.025016 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
105 | LV_958-1_1_5_line_105 | NAYY 4x150 SE | 100 | 114 | 0.0040853 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
106 | LV_958-1_1_5_line_106 | NAYY 4x150 SE | 102 | 103 | 0.29599 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
107 | LV_958-1_1_5_line_107 | NAYY 4x150 SE | 104 | 105 | 0.0067862 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
108 | LV_958-1_1_5_line_108 | NAYY 4x150 SE | 105 | 106 | 0.14133 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
109 | LV_958-1_1_5_line_109 | NAYY 4x150 SE | 105 | 107 | 0.2014 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
110 | LV_958-1_1_5_line_110 | NAYY 4x150 SE | 106 | 112 | 0.017211 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
111 | LV_958-1_1_5_line_111 | NAYY 4x150 SE | 106 | 113 | 0.036192 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
112 | LV_958-1_1_5_line_112 | NAYY 4x150 SE | 108 | 109 | 0.017329 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
113 | LV_958-1_1_5_line_113 | NAYY 4x150 SE | 108 | 110 | 0.05318 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
114 | LV_958-1_1_5_line_114 | NAYY 4x150 SE | 110 | 111 | 0.041568 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
115 | LV_958-1_1_5_line_115 | NAYY 4x150 SE | 114 | 115 | 0.02338 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
116 | LV_958-1_1_5_line_116 | NAYY 4x150 SE | 116 | 117 | 0.034367 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
117 | LV_958-1_1_5_line_117 | NAYY 4x150 SE | 117 | 118 | 0.030666 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
118 | LV_958-1_1_5_line_118 | NAYY 4x150 SE | 117 | 119 | 0.0083234 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
119 | LV_958-1_1_5_line_119 | NAYY 4x150 SE | 118 | 120 | 0.022375 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
120 | LV_958-1_1_5_line_120 | NAYY 4x150 SE | 120 | 121 | 0.067986 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
121 | LV_958-1_1_5_line_121 | NAYY 4x150 SE | 121 | 123 | 0.23767 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
122 | LV_958-1_1_5_line_122 | NAYY 4x150 SE | 122 | 123 | 0.1644 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_958-1_1_5_trafo_165 | 0.25 MVA 20/0.4 kV | 124 | 84 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28 | x29 | y29 | x30 | y30 | x31 | y31 | x32 | y32
0 | 2626567.4097 | 1206402.2012 | 2626566.7075 | 1206401.7618
1 | 2626567.4097 | 1206402.2012 | 2626570.1434 | 1206403.9118 | 2626587.3904 | 1206407.4361
2 | 2626566.7075 | 1206401.7618 | 2626561.4094 | 1206398.4466
3 | 2626589.69 | 1206407.906 | 2626587.3904 | 1206407.4361
4 | 2626549.4405 | 1206390.9571 | 2626561.4094 | 1206398.4466
5 | 2626900.2629 | 1206385.9995 | 2626899.4364 | 1206385.4622 | 2626888.6119 | 1206387.8482 | 2626869.5925 | 1206399.7582 | 2626853.8287 | 1206411.4829 | 2626837.2928 | 1206415.6777 | 2626795.4633 | 1206418.3361 | 2626741.0463 | 1206409.5543 | 2626721.0452 | 1206411.4993 | 2626640.6555 | 1206417.0327 | 2626592.5566 | 1206408.4917 | 2626589.69 | 1206407.906
6 | 2626549.4405 | 1206390.9571 | 2626540.6205 | 1206394.0753
7 | 2626900.2629 | 1206385.9995 | 2626906.3515 | 1206389.9625 | 2626919.9398 | 1206407.0998 | 2626927.5876 | 1206413.1083
8 | 2626540.6205 | 1206394.0753 | 2626541.0067 | 1206349.8968 | 2626540.7697 | 1206347.764
9 | 2627038.2527 | 1206516.2165 | 2627029.501 | 1206512.6194 | 2627019.854 | 1206503.5263 | 2627018.2763 | 1206492.5464 | 2627015.1565 | 1206461.0147 | 2627008.6951 | 1206445.3212 | 2627003.6415 | 1206436.1488 | 2626989.0049 | 1206423.8871 | 2626976.1803 | 1206419.5601 | 2626956.8089 | 1206418.45 | 2626941.913 | 1206419.8058 | 2626930.1016 | 1206415.0833 | 2626927.5876 | 1206413.1083
10 | 2626611.156 | 1206217.4348 | 2626565.2829 | 1206258.7094 | 2626549.4914 | 1206276.7382 | 2626543.936 | 1206287.8975 | 2626540.1145 | 1206299.0646 | 2626538.3066 | 1206315.7325 | 2626539.2444 | 1206334.0357 | 2626540.7697 | 1206347.764
11 | 2626556.7668 | 1206615.9418 | 2626551.0225 | 1206616.9122 | 2626545.6015 | 1206619.2457
12 | 2626506.2129 | 1206653.7908 | 2626520.7899 | 1206636.9893 | 2626526.7783 | 1206630.9903 | 2626537.0647 | 1206622.9203 | 2626545.6015 | 1206619.2457
13 | 2626592.9607 | 1206615.4574 | 2626566.9883 | 1206614.2149 | 2626556.7668 | 1206615.9418
14 | 2626387.4637 | 1206719.7569 | 2626393.7116 | 1206713.5032 | 2626406.4888 | 1206704.3878 | 2626467.5517 | 1206678.3654 | 2626489.8347 | 1206667.4802 | 2626502.5147 | 1206658.0533 | 2626506.2129 | 1206653.7908
15 | 2626592.9607 | 1206615.4574 | 2626620.0247 | 1206616.7521 | 2626628.8483 | 1206616.445
16 | 2626387.4637 | 1206719.7569 | 2626377.6647 | 1206729.4857 | 2626373.5325 | 1206733.6365 | 2626331.2789 | 1206779.6426
17 | 2626387.4637 | 1206719.7569 | 2626379.8291 | 1206718.0444 | 2626368.9859 | 1206717.9744 | 2626354.8224 | 1206719.6658
18 | 2626691.0972 | 1206592.3108 | 2626676.9483 | 1206603.6207 | 2626661.8714 | 1206611.5912 | 2626644.6589 | 1206615.8947 | 2626628.8483 | 1206616.445
19 | 2626331.2789 | 1206779.6426 | 2626326.645 | 1206775.1419 | 2626323.5021 | 1206772.2265 | 2626321.1103 | 1206771.4489 | 2626315.5831 | 1206774.6708 | 2626308.7371 | 1206781.4341
20 | 2626308.516 | 1206834.0728 | 2626303.1175 | 1206827.0785 | 2626299.6241 | 1206819.1476 | 2626313.6423 | 1206799.2648 | 2626331.2789 | 1206779.6426
21 | 2626691.0972 | 1206592.3108 | 2626699.8422 | 1206587.2137 | 2626724.4896 | 1206576.6067 | 2626795.038 | 1206559.0459
22 | 2626308.7371 | 1206781.4341 | 2625964.4605 | 1206783.8411
23 | 2626308.516 | 1206834.0728 | 2626312.8545 | 1206834.8479 | 2626317.7564 | 1206837.5577
24 | 2627265.3972 | 1206305.9343 | 2627259.3888 | 1206307.9931 | 2627233.4395 | 1206318.4473 | 2627201.5627 | 1206329.6863 | 2627181.7843 | 1206329.3963 | 2627161.1928 | 1206327.2682 | 2627137.7098 | 1206332.2422 | 2627127.3222 | 1206331.8087
25 | 2627279.4967 | 1206301.1031 | 2627265.3972 | 1206305.9343
26 | 2627038.2527 | 1206516.2165 | 2627031.8824 | 1206505.6151 | 2627031.1467 | 1206486.7013 | 2627035.1175 | 1206420.8381 | 2627046.9829 | 1206368.2291 | 2627055.5061 | 1206333.2926 | 2627056.6226 | 1206311.7523 | 2627057.117 | 1206293.2442 | 2627059.9899 | 1206288.588 | 2627064.0699 | 1206289.418 | 2627069.7285 | 1206301.0278 | 2627077.1967 | 1206317.7376 | 2627081.2543 | 1206321.8249 | 2627085.5121 | 1206327.0249 | 2627094.0672 | 1206330.4211 | 2627127.3222 | 1206331.8087
27 | 2627279.4967 | 1206301.1031 | 2627282.0376 | 1206305.8951 | 2627286.8481 | 1206311.598
28 | 2627279.4967 | 1206301.1031 | 2627278.3827 | 1206296.9068 | 2627278.059 | 1206295.8266
29 | 2626999.613 | 1206558.6434 | 2627015.7633 | 1206555.5813 | 2627029.5588 | 1206551.9638 | 2627054.8094 | 1206539.3153 | 2627052.107 | 1206533.2331 | 2627048.3039 | 1206528.3909 | 2627038.2527 | 1206516.2165
30 | 2627038.2527 | 1206516.2165 | 2627048.3039 | 1206528.3909 | 2627052.107 | 1206533.2331 | 2627054.8094 | 1206539.3153 | 2627070.4113 | 1206533.138 | 2627086.2872 | 1206526.8842 | 2627100.4361 | 1206522.5014 | 2627115.0119 | 1206519.5769 | 2627188.6278 | 1206511.7846
31 | 2626999.613 | 1206558.6434 | 2627001.0072 | 1206566.4763 | 2627000.5822 | 1206571.3548 | 2626995.3753 | 1206575.9228 | 2626977.6785 | 1206584.67
32 | 2626999.613 | 1206558.6434 | 2626974.4331 | 1206559.0411 | 2626961.6835 | 1206558.3721 | 2626955.1456 | 1206556.2383
33 | 2627188.6278 | 1206511.7846 | 2627202.5391 | 1206541.2642 | 2627211.0744 | 1206548.9296 | 2627216.8605 | 1206554.1366
34 | 2627250.3086 | 1206499.8697 | 2627230.6471 | 1206505.7612 | 2627210.4633 | 1206509.4381 | 2627188.6278 | 1206511.7846
35 | 2626926.8887 | 1206546.5009 | 2626932.6806 | 1206548.1913 | 2626949.6635 | 1206554.4491 | 2626955.1456 | 1206556.2383
36 | 2627250.3086 | 1206499.8697 | 2627267.4608 | 1206534.8954
37 | 2627250.3086 | 1206499.8697 | 2627336.1806 | 1206474.4141 | 2627346.6927 | 1206470.5044 | 2627351.9906 | 1206467.7159 | 2627360.6776 | 1206462.1414 | 2627366.5331 | 1206457.1655 | 2627375.1881 | 1206448.6225 | 2627390.0186 | 1206433.3152 | 2627397.9286 | 1206426.4143 | 2627403.6748 | 1206422.0493 | 2627408.9708 | 1206418.0268 | 2627418.2802 | 1206412.7443 | 2627471.0465 | 1206383.3812 | 2627487.3746 | 1206374.8848 | 2627495.0255 | 1206371.4403
38 | 2626862.0113 | 1206543.482 | 2626871.9256 | 1206560.814 | 2626875.6837 | 1206572.3656
39 | 2626877.7536 | 1206578.728 | 2626875.6837 | 1206572.3656
40 | 2626862.0113 | 1206543.482 | 2626874.8725 | 1206541.3053 | 2626888.7401 | 1206540.2559 | 2626900.9788 | 1206541.2226 | 2626914.2262 | 1206542.8053 | 2626915.4878 | 1206543.1735
41 | 2626862.0113 | 1206543.482 | 2626853.6386 | 1206545.2232
42 | 2626915.4878 | 1206543.1735 | 2626926.8887 | 1206546.5009
43 | 2626839.4183 | 1206531.6852 | 2626846.6581 | 1206533.2963 | 2626850.6474 | 1206535.6711 | 2626852.5424 | 1206542.0943 | 2626853.6386 | 1206545.2232
44 | 2626795.038 | 1206559.0459 | 2626853.6386 | 1206545.2232
45 | 2626795.038 | 1206559.0459 | 2626796.9209 | 1206564.7908 | 2626797.2456 | 1206572.0964 | 2626795.2208 | 1206579.3358 | 2626791.2488 | 1206586.6888 | 2626767.5866 | 1206609.8846 | 2626742.2067 | 1206636.3414 | 2626736.1239 | 1206641.8685
46 | 2626643.2992 | 1206733.2763 | 2626640.7232 | 1206726.0608 | 2626639.878 | 1206719.4756 | 2626640.5985 | 1206713.0752 | 2626643.0188 | 1206707.4717 | 2626646.7969 | 1206702.6303 | 2626673.9567 | 1206679.305 | 2626697.3727 | 1206666.8025 | 2626723.3623 | 1206651.8881 | 2626732.2961 | 1206645.3466 | 2626736.1239 | 1206641.8685
47 | 2626473.985 | 1206877.516 | 2626469.3359 | 1206869.6132 | 2626463.7919 | 1206862.9183 | 2626456.7218 | 1206857.3951 | 2626448.8835 | 1206853.625 | 2626437.99 | 1206851.231 | 2626385.748 | 1206850.0664 | 2626379.003 | 1206851.8487 | 2626373.7634 | 1206855.3942 | 2626369.169 | 1206860.9215 | 2626360.5957 | 1206877.2484 | 2626354.0149 | 1206893.5285 | 2626348.1391 | 1206910.3342 | 2626346.6357 | 1206918.4543 | 2626346.6576 | 1206927.2815 | 2626348.2085 | 1206934.2478 | 2626351.4812 | 1206949.1038 | 2626351.451 | 1206955.9409 | 2626348.6781 | 1206960.5534 | 2626344.2755 | 1206962.2794 | 2626339.7607 | 1206961.8482 | 2626335.4315 | 1206958.972 | 2626327.5275 | 1206944.2623 | 2626323.9893 | 1206934.4302 | 2626320.7014 | 1206923.0204 | 2626317.7821 | 1206907.3433 | 2626318.1488 | 1206889.6906 | 2626322.6344 | 1206857.0366 | 2626323.0697 | 1206849.7122 | 2626323.0985 | 1206844.8874 | 2626321.9896 | 1206841.1583 | 2626318.7333 | 1206838.0978 | 2626317.7564 | 1206837.5577
48 | 2626234.9398 | 1206019.4963 | 2626228.9792 | 1206003.4834 | 2626227.9485 | 1205997.4756 | 2626228.348 | 1205975.7319 | 2626232.302 | 1205956.8165 | 2626234.4218 | 1205941.6841 | 2626233.7939 | 1205911.4534 | 2626235.022 | 1205898.4849 | 2626237.1116 | 1205890.2562 | 2626239.4239 | 1205883.2513 | 2626263.8516 | 1205862.547 | 2626279.085 | 1205853.1234
49 | 2626416.7169 | 1205719.7963 | 2626397.9188 | 1205727.84 | 2626375.8629 | 1205733.0345 | 2626350.7854 | 1205735.2919 | 2626344.2162 | 1205734.8739 | 2626339.9717 | 1205733.2987 | 2626334.5025 | 1205730.0395 | 2626328.4189 | 1205726.4107 | 2626323.7233 | 1205725.3895 | 2626317.6513 | 1205726.0409 | 2626313.5829 | 1205727.635 | 2626310.3808 | 1205731.1451 | 2626308.8122 | 1205736.7524 | 2626308.4833 | 1205742.3763 | 2626310.3523 | 1205756.648 | 2626314.4911 | 1205777.0554 | 2626318.8531 | 1205796.8411 | 2626320.0054 | 1205806.3292 | 2626320.1745 | 1205811.0993 | 2626319.3115 | 1205817.0988 | 2626317.3693 | 1205822.938 | 2626308.1922 | 1205834.4484 | 2626301.1949 | 1205839.7317 | 2626292.6703 | 1205844.7192 | 2626279.085 | 1205853.1234
50 | 2626103.7978 | 1206137.9885 | 2626106.6637 | 1206131.2861 | 2626110.9971 | 1206126.3912 | 2626123.5907 | 1206115.9848 | 2626141.1174 | 1206104.4216 | 2626155.7429 | 1206098.9381 | 2626173.459 | 1206096.2696 | 2626188.6007 | 1206094.4682 | 2626201.4405 | 1206093.8797 | 2626208.6667 | 1206091.7991 | 2626218.8853 | 1206087.1746 | 2626230.0057 | 1206079.797 | 2626243.0873 | 1206070.905 | 2626248.1363 | 1206064.1345 | 2626250.004 | 1206057.917 | 2626250.1839 | 1206051.5921 | 2626248.3065 | 1206044.4243 | 2626234.9398 | 1206019.4963
51 | 2626416.7169 | 1205719.7963 | 2626168.0618 | 1205454.4784
52 | 2626103.7978 | 1206137.9885 | 2626101.2774 | 1206136.988 | 2626098.509 | 1206137.0204 | 2626092.9229 | 1206137.9743 | 2626081.6052 | 1206141.816 | 2626074.6328 | 1206143.2753 | 2626069.2706 | 1206143.4409 | 2626063.9209 | 1206142.4837 | 2626059.061 | 1206140.8283 | 2626054.2964 | 1206138.2395 | 2626047.46 | 1206132.8956 | 2626029.4343 | 1206112.4169 | 2626022.2078 | 1206102.3354 | 2626018.3158 | 1206093.1912 | 2626018.5823 | 1206086.1217 | 2626018.5823 | 1206086.1217
53 | 2626168.0618 | 1205454.4784 | 2626169.9703 | 1205447.6497 | 2626173.3198 | 1205431.3442 | 2626175.4137 | 1205409.9637 | 2626176.3542 | 1205400.7129
54 | 2626018.5823 | 1206086.1217 | 2626022.0723 | 1206079.2998 | 2626027.8364 | 1206074.1776
55 | 2626018.5823 | 1206086.1217 | 2625737.9988 | 1206336.6564
56 | 2626027.8364 | 1206074.1776 | 2626027.8364 | 1206074.1776 | 2626038.165 | 1206070.1066
57 | 2625737.9988 | 1206336.6564 | 2625738.6219 | 1206341.3684
58 | 2626643.2992 | 1206733.2763 | 2626653.9072 | 1206738.3597 | 2626659.183 | 1206745.4983 | 2626667.9233 | 1206751.6296 | 2626678.3201 | 1206752.8989
59 | 2626643.2992 | 1206733.2763 | 2626636.949 | 1206745.3992 | 2626637.8308 | 1206760.8758
60 | 2626643.2992 | 1206733.2763 | 2626648.5348 | 1206740.9372 | 2626653.7123 | 1206747.9642 | 2626662.4584 | 1206756.1855 | 2626671.0318 | 1206762.2049 | 2626718.8488 | 1206788.9221 | 2626731.405 | 1206797.0049 | 2626742.3258 | 1206806.9037 | 2626748.0021 | 1206809.4861 | 2626753.008 | 1206808.9415 | 2626756.9796 | 1206806.7469 | 2626759.512 | 1206803.2897 | 2626760.408 | 1206798.4687 | 2626759.0654 | 1206794.3271 | 2626755.446 | 1206790.8979 | 2626746.984 | 1206787.2024 | 2626742.3356 | 1206784.3134 | 2626737.989 | 1206780.2583 | 2626731.9216 | 1206769.9032 | 2626728.5091 | 1206761.0163 | 2626727.0297 | 1206753.4611 | 2626727.8691 | 1206747.6949 | 2626730.9238 | 1206743.0616 | 2626735.4806 | 1206739.2465 | 2626741.4612 | 1206736.7051 | 2626748.6368 | 1206735.6255 | 2626755.995 | 1206736.2032 | 2626764.58 | 1206739.6213 | 2626772.0611 | 1206744.5857
61 | 2626638.0844 | 1206765.3265 | 2626637.8308 | 1206760.8758
62 | 2626868.4195 | 1206785.9349 | 2626855.8012 | 1206784.9221 | 2626837.3127 | 1206780.5144 | 2626829.6662 | 1206778.101 | 2626821.3547 | 1206774.7396 | 2626806.1575 | 1206767.2117 | 2626772.0611 | 1206744.5857
63 | 2626868.4195 | 1206785.9349 | 2626866.93 | 1206782.3484 | 2626863.2123 | 1206778.5801
64 | 2626852.6779 | 1206754.2528 | 2626855.145 | 1206758.3376 | 2626856.6572 | 1206763.6585 | 2626857.3397 | 1206770.8322 | 2626859.7691 | 1206775.09 | 2626863.2123 | 1206778.5801
65 | 2627512.2009 | 1206413.8997 | 2627512.1179 | 1206413.3534 | 2627512.0822 | 1206407.9057 | 2627512.5223 | 1206398.2023 | 2627512.3477 | 1206396.9756
66 | 2627519.1188 | 1206420.6118 | 2627516.537 | 1206419.7884 | 2627514.8087 | 1206418.5798 | 2627513.1523 | 1206416.6266 | 2627512.3763 | 1206415.0555 | 2627512.2009 | 1206413.8997
67 | 2627495.0255 | 1206371.4403 | 2627509.0045 | 1206389.2589 | 2627511.0344 | 1206392.6813 | 2627512.1392 | 1206395.5102 | 2627512.3477 | 1206396.9756
68 | 2627519.1188 | 1206420.6118 | 2627522.9811 | 1206420.7741 | 2627526.7263 | 1206419.9576 | 2627531.0304 | 1206418.3432 | 2627534.794 | 1206416.8979
69 | 2627495.0255 | 1206371.4403 | 2627521.5584 | 1206359.8003
70 | 2627521.5584 | 1206359.8003 | 2627525.3558 | 1206367.4776 | 2627528.084 | 1206371.1922 | 2627530.8238 | 1206374.0397 | 2627534.5997 | 1206376.4585 | 2627539.8646 | 1206379.2287 | 2627542.3508 | 1206380.9856 | 2627544.145 | 1206382.7504 | 2627545.3731 | 1206384.8538
71 | 2627521.5584 | 1206359.8003 | 2627532.3207 | 1206356.1255 | 2627538.5955 | 1206354.2756 | 2627542.7286 | 1206353.2735
72 | 2627554.2893 | 1206352.3861 | 2627551.9886 | 1206352.3362 | 2627548.612 | 1206352.3651 | 2627544.1302 | 1206352.9337 | 2627542.7286 | 1206353.2735
73 | 2627267.4608 | 1206534.8954 | 2627274.9005 | 1206550.0876 | 2627280.2955 | 1206554.3257 | 2627294.9551 | 1206559.6733 | 2627302.0695 | 1206565.409 | 2627315.5801 | 1206584.2367 | 2627319.4872 | 1206592.8816 | 2627322.4149 | 1206597.4002
74 | 2626049.4121 | 1206065.4216 | 2626046.1655 | 1206066.9533 | 2626038.165 | 1206070.1066
75 | 2626049.4121 | 1206065.4216 | 2626061.5059 | 1206059.7161 | 2626073.5078 | 1206050.7078 | 2626081.516 | 1206041.9712 | 2626087.0806 | 1206030.3001 | 2626088.3035 | 1206018.4433 | 2626085.6995 | 1206003.4681 | 2626078.1855 | 1205976.849
76 | 2626021.8637 | 1205844.146 | 2626021.8687 | 1205846.4918 | 2626022.8 | 1205850.9427 | 2626025.1326 | 1205856.6894 | 2626030.099 | 1205865.3825 | 2626051.5904 | 1205898.7946 | 2626057.8149 | 1205910.2169 | 2626063.6712 | 1205925.8511 | 2626072.7952 | 1205957.7531 | 2626078.1855 | 1205976.849
77 | 2626021.8637 | 1205844.146 | 2626022.5283 | 1205841.7142 | 2626023.93 | 1205839.4301 | 2626025.9863 | 1205837.0377 | 2626028.192 | 1205835.2352 | 2626032.703 | 1205833.2538
78 | 2626021.8637 | 1205844.146 | 2626011.7106 | 1205845.8917 | 2626003.6733 | 1205845.5677
79 | 2626046.3412 | 1205831.0675 | 2626038.1013 | 1205831.8543 | 2626032.703 | 1205833.2538
80 | 2626046.3412 | 1205831.0675 | 2626046.1657 | 1205845.1634 | 2626046.5911 | 1205847.7713
81 | 2626046.3412 | 1205831.0675 | 2626048.1201 | 1205830.8965
82 | 2626851.9497 | 1206753.0471 | 2626852.6779 | 1206754.2528
83 | 2626851.9497 | 1206753.0471 | 2626851.5296 | 1206752.3514 | 2626849.2933 | 1206747.4164 | 2626849.1705 | 1206742.5798 | 2626850.3461 | 1206738.1826 | 2626851.224 | 1206736.7681
84 | 2626964.5321 | 1206677.0622 | 2626955.1829 | 1206676.164 | 2626948.3715 | 1206677.4229 | 2626943.5662 | 1206678.9799 | 2626894.9775 | 1206700.4177 | 2626887.2266 | 1206705.9859 | 2626882.7487 | 1206710.8352 | 2626872.2006 | 1206719.5371 | 2626857.8179 | 1206728.7109 | 2626852.7129 | 1206734.3689 | 2626851.224 | 1206736.7681
85 | 2626085.4885 | 1205830.4266 | 2626058.5148 | 1205829.8976 | 2626048.1201 | 1205830.8965
86 | 2626085.4885 | 1205830.4266 | 2626092.7125 | 1205828.935 | 2626097.6015 | 1205825.7212
87 | 2626097.6015 | 1205825.7212 | 2626100.4124 | 1205829.9025 | 2626103.3314 | 1205840.6879 | 2626104.4695 | 1205847.7595
88 | 2626611.156 | 1206217.4348 | 2626620.3893 | 1206206.1064
89 | 2626611.156 | 1206217.4348 | 2626596.1234 | 1206216.9676 | 2626590.7395 | 1206215.1983 | 2626587.1149 | 1206212.8364 | 2626583.9582 | 1206209.5539 | 2626578.2055 | 1206198.3665 | 2626572.4398 | 1206190.0919 | 2626563.5621 | 1206182.1592 | 2626533.5837 | 1206158.1794 | 2626520.2428 | 1206151.75 | 2626514.6254 | 1206149.4461 | 2626506.3021 | 1206148.5309 | 2626496.41 | 1206148.1091 | 2626462.5053 | 1206169.1929 | 2626417.6575 | 1206159.2781 | 2626370.2145 | 1206144.5939 | 2626361.3306 | 1206151.8032 | 2626350.5743 | 1206157.6591 | 2626348.0715 | 1206159.5602
90 | 2626626.1776 | 1206180.9535 | 2626626.9892 | 1206188.4224 | 2626623.0465 | 1206202.8462 | 2626620.3893 | 1206206.1064
91 | 2626348.0715 | 1206159.5602 | 2626327.875 | 1206159.0822 | 2626315.6636 | 1206162.0745 | 2626296.2072 | 1206173.1507 | 2626276.6169 | 1206187.039 | 2626252.9952 | 1206199.3866 | 2626227.2042 | 1206210.4908 | 2626221.3258 | 1206213.9113 | 2626216.4419 | 1206217.7476 | 2626212.0825 | 1206221.6529 | 2626199.1762 | 1206235.7375 | 2626185.9424 | 1206246.4967 | 2626154.3373 | 1206258.5763 | 2626148.4209 | 1206262.0998
92 | 2626626.1776 | 1206180.9535 | 2626625.3455 | 1206173.2956 | 2626619.9887 | 1206156.8737 | 2626615.9546 | 1206152.5311 | 2626615.8541 | 1206151.0263
93 | 2626148.4209 | 1206262.0998 | 2625892.9368 | 1206432.9139
94 | 2626615.8541 | 1206151.0263 | 2626614.9351 | 1206137.2736 | 2626619.543 | 1206122.0523 | 2626622.677 | 1206117.7754
95 | 2626498.7825 | 1206945.9084 | 2626493.8068 | 1206949.9664 | 2626489.4806 | 1206955.0167 | 2626486.9234 | 1206958.9854 | 2626484.5943 | 1206964.656 | 2626484.2983 | 1206966.3795
96 | 2626498.2113 | 1206940.9809 | 2626498.7825 | 1206945.9084
97 | 2626524.4991 | 1206944.1436 | 2626523.5262 | 1206933.778 | 2626521.7144 | 1206929.0895 | 2626518.664 | 1206927.653 | 2626513.7645 | 1206928.2427 | 2626507.6146 | 1206934.7191 | 2626498.2113 | 1206940.9809
98 | 2626498.2113 | 1206940.9809 | 2626500.6358 | 1206934.2684
99 | 2626500.6358 | 1206934.2684 | 2626504.3854 | 1206923.8876 | 2626504.1109 | 1206920.6179 | 2626501.9553 | 1206918.0291 | 2626498.9106 | 1206917.0262 | 2626498.9106 | 1206917.0262
100 | 2626487.1691 | 1206914.9628 | 2626498.9106 | 1206917.0262
101 | 2626178.4099 | 1205377.0697 | 2626177.8617 | 1205385.8833 | 2626176.3542 | 1205400.7129
102 | 2626178.4099 | 1205377.0697 | 2626178.8247 | 1205370.3413
103 | 2626178.8331 | 1205370.2058 | 2626178.8247 | 1205370.3413
104 | 2626178.8331 | 1205370.2058 | 2626179.376 | 1205361.3985 | 2626179.4242 | 1205350.4037 | 2626178.1314 | 1205345.3695
105 | 2626177.1153 | 1205341.4126 | 2626178.1314 | 1205345.3695
106 | 2625892.9368 | 1206432.9139 | 2625886.5489 | 1206432.9418 | 2625880.9135 | 1206434.7851 | 2625877.5516 | 1206438.4615 | 2625874.4442 | 1206444.8405 | 2625873.2682 | 1206452.9955 | 2625873.2159 | 1206465.0909 | 2625872.1636 | 1206478.0602 | 2625869.4195 | 1206488.343 | 2625866.5928 | 1206491.3658 | 2625862.1336 | 1206492.0469 | 2625857.9213 | 1206490.1609 | 2625854.3556 | 1206486.4657 | 2625849.7556 | 1206479.2529 | 2625825.2383 | 1206460.003 | 2625801.3954 | 1206444.7916 | 2625778.1703 | 1206436.1756 | 2625764.1005 | 1206431.2233 | 2625750.5071 | 1206416.2676 | 2625737.119 | 1206401.3128 | 2625732.0697 | 1206383.6257 | 2625737.6994 | 1206354.8339 | 2625738.6389 | 1206341.4972 | 2625738.6219 | 1206341.3684
107 | 2627387.7476 | 1206786.235 | 2627391.0229 | 1206792.1785
108 | 2627387.7476 | 1206786.235 | 2627378.2794 | 1206786.4807 | 2627372.3543 | 1206783.4852 | 2627353.8505 | 1206772.5278 | 2627334.2154 | 1206761.1539 | 2627326.2998 | 1206752.7797 | 2627315.506 | 1206731.9076 | 2627304.4224 | 1206719.539 | 2627292.3315 | 1206711.2681 | 2627277.4589 | 1206709.3325
109 | 2627387.7476 | 1206786.235 | 2627383.9153 | 1206774.5887 | 2627370.6331 | 1206735.9063 | 2627363.9948 | 1206715.9426 | 2627362.6332 | 1206701.0948 | 2627352.5599 | 1206674.0114 | 2627337.1995 | 1206644.0466 | 2627333.2672 | 1206622.6278 | 2627331.3757 | 1206612.2023 | 2627330.3456 | 1206609.6406 | 2627322.4149 | 1206597.4002
110 | 2627277.4589 | 1206709.3325 | 2627274.596 | 1206705.1505 | 2627269.0512 | 1206702.1124 | 2627264.5977 | 1206698.3657
111 | 2627277.4589 | 1206709.3325 | 2627267.4515 | 1206716.0684 | 2627249.0088 | 1206731.6264
112 | 2626541.9416 | 1206869.015 | 2626526.682 | 1206866.8991 | 2626524.7622 | 1206866.7746
113 | 2626473.985 | 1206877.516 | 2626489.9383 | 1206874.0514 | 2626502.6159 | 1206866.7924 | 2626509.7604 | 1206865.8013 | 2626524.7622 | 1206866.7746
114 | 2626473.985 | 1206877.516 | 2626478.6845 | 1206889.4657 | 2626481.4702 | 1206909.4669 | 2626482.8622 | 1206912.8083 | 2626485.6065 | 1206914.6882 | 2626487.1691 | 1206914.9628
115 | 2626177.337 | 1205318.1211 | 2626176.5375 | 1205339.1627 | 2626177.1153 | 1205341.4126
116 | 2626838.0133 | 1206031.5559 | 2626856.0866 | 1206060.7866
117 | 2626838.0133 | 1206031.5559 | 2626830.2588 | 1206020.7929 | 2626833.156 | 1206003.9188 | 2626833.2501 | 1206003.6559
118 | 2626838.0133 | 1206031.5559 | 2626846.0992 | 1206033.5299
119 | 2626847.1601 | 1205988.0572 | 2626844.3658 | 1205988.6939 | 2626836.5833 | 1205994.3399 | 2626833.2501 | 1206003.6559
120 | 2626912.9791 | 1205987.0235 | 2626909.8462 | 1205990.3113 | 2626904.424 | 1205991.9545 | 2626854.7955 | 1205986.3172 | 2626847.1601 | 1205988.0572
121 | 2626912.9791 | 1205987.0235 | 2626909.8962 | 1205982.585 | 2626891.6243 | 1205980.1792 | 2626862.4085 | 1205969.3308 | 2626830.0483 | 1205943.9937 | 2626799.8614 | 1205952.9189 | 2626771.8332 | 1205974.0052 | 2626745.2951 | 1205985.0481 | 2626703.3217 | 1206000.5581 | 2626701.5676 | 1206001.662
122 | 2626701.5676 | 1206001.662 | 2626695.436 | 1206005.4924 | 2626694.6198 | 1206014.5493 | 2626703.574 | 1206044.5282 | 2626704.1828 | 1206056.3597 | 2626698.8256 | 1206065.6076 | 2626678.157 | 1206077.1218 | 2626636.6065 | 1206098.593 | 2626629.5903 | 1206106.4106 | 2626624.7154 | 1206114.9937 | 2626622.677 | 1206117.7754

## bus_geodata
| x | y | coords
0 | 2626567.4097 | 1206402.2012
1 | 2626566.7075 | 1206401.7618
2 | 2626587.3904 | 1206407.4361
3 | 2626561.4094 | 1206398.4466
4 | 2626589.69 | 1206407.906
5 | 2626549.4404 | 1206390.9571
6 | 2626900.2629 | 1206385.9995
7 | 2626540.6205 | 1206394.0753
8 | 2626927.5876 | 1206413.1083
9 | 2626540.7697 | 1206347.764
10 | 2626545.6015 | 1206619.2457
11 | 2626556.7668 | 1206615.9418
12 | 2626506.2129 | 1206653.7908
13 | 2626592.9607 | 1206615.4574
14 | 2626387.4637 | 1206719.7569
15 | 2626628.8483 | 1206616.445
16 | 2626331.2789 | 1206779.6426
17 | 2626354.8225 | 1206719.6658
18 | 2626691.0972 | 1206592.3108
19 | 2626308.7371 | 1206781.4341
20 | 2626308.516 | 1206834.0728
21 | 2627265.3972 | 1206305.9343
22 | 2627127.3222 | 1206331.8087
23 | 2627279.4966 | 1206301.1031
24 | 2627038.2527 | 1206516.2165
25 | 2627286.8481 | 1206311.598
26 | 2627278.0591 | 1206295.8266
27 | 2626999.613 | 1206558.6434
28 | 2627188.6278 | 1206511.7846
29 | 2626977.6785 | 1206584.67
30 | 2626955.1456 | 1206556.2383
31 | 2627216.8605 | 1206554.1366
32 | 2627250.3086 | 1206499.8697
33 | 2626875.6837 | 1206572.3656
34 | 2626862.0113 | 1206543.482
35 | 2626877.7536 | 1206578.728
36 | 2626915.4878 | 1206543.1735
37 | 2626853.6386 | 1206545.2232
38 | 2626926.8887 | 1206546.5009
39 | 2626839.4183 | 1206531.6852
40 | 2626795.038 | 1206559.0459
41 | 2626736.1239 | 1206641.8685
42 | 2625964.4605 | 1206783.8411
43 | 2626317.7564 | 1206837.5577
44 | 2626279.085 | 1205853.1234
45 | 2626234.9398 | 1206019.4963
46 | 2626416.7169 | 1205719.7963
47 | 2626103.7978 | 1206137.9885
48 | 2626168.0618 | 1205454.4784
49 | 2626018.5823 | 1206086.1217
50 | 2626027.8364 | 1206074.1776
51 | 2625737.9988 | 1206336.6564
52 | 2626643.2992 | 1206733.2763
53 | 2626678.3201 | 1206752.8989
54 | 2626637.8308 | 1206760.8758
55 | 2626772.0611 | 1206744.5857
56 | 2626638.0844 | 1206765.3265
57 | 2626868.4195 | 1206785.9349
58 | 2626863.2123 | 1206778.5801
59 | 2627512.2009 | 1206413.8997
60 | 2627512.3477 | 1206396.9756
61 | 2627519.1188 | 1206420.6118
62 | 2627495.0255 | 1206371.4403
63 | 2627534.794 | 1206416.8979
64 | 2627521.5584 | 1206359.8003
65 | 2627545.3731 | 1206384.8538
66 | 2627542.7286 | 1206353.2735
67 | 2627267.4608 | 1206534.8954
68 | 2626049.4121 | 1206065.4216
69 | 2626038.165 | 1206070.1066
70 | 2626078.1855 | 1205976.849
71 | 2626021.8637 | 1205844.146
72 | 2626032.703 | 1205833.2538
73 | 2626003.6733 | 1205845.5677
74 | 2626046.3412 | 1205831.0675
75 | 2626852.6779 | 1206754.2528
76 | 2626851.9497 | 1206753.0471
77 | 2626851.224 | 1206736.7681
78 | 2626964.5321 | 1206677.0622
79 | 2626048.1201 | 1205830.8965
80 | 2626085.4885 | 1205830.4266
81 | 2626097.6015 | 1205825.7212
82 | 2626046.5911 | 1205847.7713
83 | 2626104.4695 | 1205847.7595
84 | 2626611.156 | 1206217.4348
85 | 2626620.3893 | 1206206.1064
86 | 2626348.0715 | 1206159.5602
87 | 2626626.1776 | 1206180.9535
88 | 2626148.4209 | 1206262.0998
89 | 2626615.8541 | 1206151.0263
90 | 2626484.2983 | 1206966.3795
91 | 2626498.7825 | 1206945.9084
92 | 2626498.2113 | 1206940.9809
93 | 2626524.4991 | 1206944.1436
94 | 2626500.6358 | 1206934.2684
95 | 2626498.9106 | 1206917.0262
96 | 2626176.3542 | 1205400.7129
97 | 2626178.4099 | 1205377.0697
98 | 2626178.8247 | 1205370.3413
99 | 2626178.8331 | 1205370.2058
100 | 2626178.1314 | 1205345.3695
101 | 2627554.2893 | 1206352.3861
102 | 2625738.6219 | 1206341.3684
103 | 2625892.9368 | 1206432.9139
104 | 2627391.0229 | 1206792.1785
105 | 2627387.7476 | 1206786.235
106 | 2627277.4589 | 1206709.3325
107 | 2627322.4149 | 1206597.4002
108 | 2626524.7622 | 1206866.7746
109 | 2626541.9416 | 1206869.015
110 | 2626473.985 | 1206877.516
111 | 2626487.1691 | 1206914.9628
112 | 2627264.5977 | 1206698.3657
113 | 2627249.0088 | 1206731.6264
114 | 2626177.1153 | 1205341.4126
115 | 2626177.337 | 1205318.1211
116 | 2626856.0866 | 1206060.7866
117 | 2626838.0133 | 1206031.5559
118 | 2626833.2501 | 1206003.6559
119 | 2626846.0992 | 1206033.5299
120 | 2626847.1601 | 1205988.0572
121 | 2626912.9791 | 1205987.0235
122 | 2626622.677 | 1206117.7754
123 | 2626701.5676 | 1206001.662
124 | 2626611.156 | 1206217.4348

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1