## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_958-2_1_2_node_128 | 0.4 | n |  | TRUE
1 | bus_LV_958-2_1_2_node_126 | 0.4 | n |  | TRUE
2 | bus_LV_958-2_1_2_node_138 | 0.4 | n |  | TRUE
3 | bus_LV_958-2_1_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_958-2_1_2_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_958-2_1_2_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_958-2_1_2_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_958-2_1_2_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_958-2_1_2_node_75 | 0.4 | n |  | TRUE
9 | bus_LV_958-2_1_2_node_72 | 0.4 | n |  | TRUE
10 | bus_LV_958-2_1_2_node_158 | 0.4 | n |  | TRUE
11 | bus_LV_958-2_1_2_node_70 | 0.4 | n |  | TRUE
12 | bus_LV_958-2_1_2_node_133 | 0.4 | n |  | TRUE
13 | bus_LV_958-2_1_2_node_127 | 0.4 | n |  | TRUE
14 | bus_LV_958-2_1_2_node_136 | 0.4 | n |  | TRUE
15 | bus_LV_958-2_1_2_node_137 | 0.4 | n |  | TRUE
16 | bus_LV_958-2_1_2_node_207 | 0.4 | n |  | TRUE
17 | bus_LV_958-2_1_2_node_88 | 0.4 | n |  | TRUE
18 | bus_LV_958-2_1_2_node_139 | 0.4 | n |  | TRUE
19 | bus_LV_958-2_1_2_node_144 | 0.4 | n |  | TRUE
20 | bus_LV_958-2_1_2_node_74 | 0.4 | n |  | TRUE
21 | bus_LV_958-2_1_2_node_205 | 0.4 | n |  | TRUE
22 | bus_LV_958-2_1_2_node_208 | 0.4 | n |  | TRUE
23 | bus_LV_958-2_1_2_node_215 | 0.4 | n |  | TRUE
24 | bus_LV_958-2_1_2_node_209 | 0.4 | n |  | TRUE
25 | bus_LV_958-2_1_2_node_210 | 0.4 | n |  | TRUE
26 | bus_LV_958-2_1_2_node_211 | 0.4 | n |  | TRUE
27 | bus_LV_958-2_1_2_node_159 | 0.4 | n |  | TRUE
28 | bus_LV_958-2_1_2_node_160 | 0.4 | n |  | TRUE
29 | bus_LV_958-2_1_2_node_161 | 0.4 | n |  | TRUE
30 | bus_LV_958-2_1_2_node_162 | 0.4 | n |  | TRUE
31 | bus_LV_958-2_1_2_node_163 | 0.4 | n |  | TRUE
32 | bus_LV_958-2_1_2_node_172 | 0.4 | n |  | TRUE
33 | bus_LV_958-2_1_2_node_186 | 0.4 | n |  | TRUE
34 | bus_LV_958-2_1_2_node_187 | 0.4 | n |  | TRUE
35 | bus_LV_958-2_1_2_node_206 | 0.4 | n |  | TRUE
36 | bus_LV_958-2_1_2_node_175 | 0.4 | n |  | TRUE
37 | bus_LV_958-2_1_2_node_199 | 0.4 | n |  | TRUE
38 | bus_LV_958-2_1_2_node_196 | 0.4 | n |  | TRUE
39 | bus_LV_958-2_1_2_node_182 | 0.4 | n |  | TRUE
40 | bus_LV_958-2_1_2_node_183 | 0.4 | n |  | TRUE
41 | bus_LV_958-2_1_2_node_213 | 0.4 | n |  | TRUE
42 | bus_LV_958-2_1_2_node_184 | 0.4 | n |  | TRUE
43 | bus_LV_958-2_1_2_node_197 | 0.4 | n |  | TRUE
44 | bus_LV_958-2_1_2_node_230 | 0.4 | n |  | TRUE
45 | bus_LV_958-2_1_2_node_63 | 0.4 | n |  | TRUE
46 | bus_LV_958-2_1_2_node_64 | 0.4 | n |  | TRUE
47 | bus_LV_958-2_1_2_node_65 | 0.4 | n |  | TRUE
48 | bus_LV_958-2_1_2_node_67 | 0.4 | n |  | TRUE
49 | bus_LV_958-2_1_2_node_68 | 0.4 | n |  | TRUE
50 | bus_LV_958-2_1_2_node_194 | 0.4 | n |  | TRUE
51 | bus_LV_958-2_1_2_node_231 | 0.4 | n |  | TRUE
52 | bus_LV_958-2_1_2_node_69 | 0.4 | n |  | TRUE
53 | bus_LV_958-2_1_2_node_71 | 0.4 | n |  | TRUE
54 | bus_LV_958-2_1_2_node_217 | 0.4 | n |  | TRUE
55 | bus_LV_958-2_1_2_node_193 | 0.4 | n |  | TRUE
56 | bus_LV_958-2_1_2_node_195 | 0.4 | n |  | TRUE
57 | bus_LV_958-2_1_2_node_198 | 0.4 | n |  | TRUE
58 | bus_LV_958-2_1_2_node_204 | 0.4 | n |  | TRUE
59 | bus_LV_958-2_1_2_node_85 | 0.4 | n |  | TRUE
60 | bus_LV_958-2_1_2_node_86 | 0.4 | n |  | TRUE
61 | bus_LV_958-2_1_2_node_87 | 0.4 | n |  | TRUE
62 | bus_LV_958-2_1_2_node_89 | 0.4 | n |  | TRUE
63 | bus_LV_958-2_1_2_node_90 | 0.4 | n |  | TRUE
64 | bus_LV_958-2_1_2_node_219 | 0.4 | n |  | TRUE
65 | bus_LV_958-2_1_2_node_218 | 0.4 | n |  | TRUE
66 | bus_LV_958-2_1_2_node_124 | 0.4 | n |  | TRUE
67 | bus_LV_958-2_1_2_node_125 | 0.4 | n |  | TRUE
68 | bus_MV_183_0_node_135 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_958-2_1_2_load_128 | 0 | 0.0022544 | 0.000565 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_958-2_1_2_load_126 | 1 | 0.0022633 | 0.00056725 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_958-2_1_2_load_138 | 2 | 0.002255 | 0.00056515 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_958-2_1_2_load_3 | 3 | 0.0066485 | 0.0016663 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_958-2_1_2_load_5 | 5 | 0.0021286 | 0.00053347 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_958-2_1_2_load_75 | 8 | 0.00036955 | 9.2617e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_958-2_1_2_load_72 | 9 | 0.00031133 | 7.8028e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_958-2_1_2_load_158 | 10 | 0.0013325 | 0.00033397 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_958-2_1_2_load_70 | 11 | 0.0063667 | 0.0015956 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_958-2_1_2_load_133 | 12 | 0.00065028 | 0.00016298 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_958-2_1_2_load_127 | 13 | 0.0007789 | 0.00019521 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_958-2_1_2_load_136 | 14 | 0.00078723 | 0.0001973 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_958-2_1_2_load_137 | 15 | 0.00066492 | 0.00016665 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_958-2_1_2_load_207 | 16 | 0.00057942 | 0.00014522 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_958-2_1_2_load_144 | 19 | 0.00051791 | 0.0001298 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_958-2_1_2_load_205 | 21 | 0.00050329 | 0.00012614 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_958-2_1_2_load_208 | 22 | 0.001532 | 0.00038396 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_958-2_1_2_load_215 | 23 | 0.0010354 | 0.0002595 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_958-2_1_2_load_210 | 25 | 0.0058032 | 0.0014544 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_958-2_1_2_load_211 | 26 | 0.0014513 | 0.00036372 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_958-2_1_2_load_159 | 27 | 0.00089193 | 0.00022354 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_958-2_1_2_load_160 | 28 | 0.00032998 | 8.27e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_958-2_1_2_load_161 | 29 | 0.00053944 | 0.0001352 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_958-2_1_2_load_172 | 32 | 0.0017836 | 0.00044702 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_958-2_1_2_load_186 | 33 | 0.00039078 | 9.794e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_958-2_1_2_load_187 | 34 | 0.00018272 | 4.5794e-05 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_958-2_1_2_load_206 | 35 | 0.0015299 | 0.00038343 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_958-2_1_2_load_199 | 37 | 0.00079051 | 0.00019812 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_958-2_1_2_load_196 | 38 | 0.00073552 | 0.00018434 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_958-2_1_2_load_182 | 39 | 0.002499 | 0.00062631 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_958-2_1_2_load_183 | 40 | 0.0039576 | 0.00099188 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_958-2_1_2_load_213 | 41 | 0.0014055 | 0.00035225 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_958-2_1_2_load_63 | 45 | 0.00019908 | 4.9895e-05 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_958-2_1_2_load_64 | 46 | 0.00042749 | 0.00010714 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_958-2_1_2_load_68 | 49 | 0.00059883 | 0.00015008 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_958-2_1_2_load_231 | 51 | 0.00075375 | 0.00018891 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_958-2_1_2_load_69 | 52 | 0.0016484 | 0.00041313 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_958-2_1_2_load_71 | 53 | 0.0010685 | 0.0002678 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_958-2_1_2_load_217 | 54 | 0.00053513 | 0.00013412 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_958-2_1_2_load_193 | 55 | 0.0019761 | 0.00049526 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_958-2_1_2_load_195 | 56 | 0.00030372 | 7.612e-05 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_958-2_1_2_load_198 | 57 | 0.0011223 | 0.00028128 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_958-2_1_2_load_204 | 58 | 0.0010452 | 0.00026196 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_958-2_1_2_load_85 | 59 | 0.0023987 | 0.00060117 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_958-2_1_2_load_86 | 60 | 0.0022553 | 0.00056523 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_958-2_1_2_load_89 | 62 | 0.004672 | 0.0011709 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_958-2_1_2_load_219 | 64 | 0.0044094 | 0.0011051 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_958-2_1_2_load_218 | 65 | 0.0009293 | 0.0002329 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_958-2_1_2_load_124 | 66 | 0.002255 | 0.00056515 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_958-2_1_2_load_125 | 67 | 0.0030235 | 0.00075776 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 18 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_958-2_1_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.024628 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_958-2_1_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.020385 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_958-2_1_2_line_2 | NAYY 4x150 SE | 1 | 66 | 0.0050406 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_958-2_1_2_line_3 | NAYY 4x150 SE | 2 | 17 | 0.026649 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_958-2_1_2_line_4 | NAYY 4x150 SE | 3 | 4 | 0.011185 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_958-2_1_2_line_5 | NAYY 4x150 SE | 3 | 5 | 0.043526 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_958-2_1_2_line_6 | NAYY 4x150 SE | 4 | 6 | 0.041384 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_958-2_1_2_line_7 | NAYY 4x150 SE | 4 | 7 | 0.025371 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_958-2_1_2_line_8 | NAYY 4x150 SE | 6 | 8 | 0.070339 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_958-2_1_2_line_9 | NAYY 4x150 SE | 6 | 9 | 0.0059422 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_958-2_1_2_line_10 | NAYY 4x150 SE | 7 | 10 | 0.023728 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_958-2_1_2_line_11 | NAYY 4x150 SE | 7 | 11 | 0.086835 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_958-2_1_2_line_12 | NAYY 4x150 SE | 10 | 18 | 0.22614 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_958-2_1_2_line_13 | NAYY 4x150 SE | 11 | 51 | 0.45677 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_958-2_1_2_line_14 | NAYY 4x150 SE | 11 | 52 | 0.001345 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_958-2_1_2_line_15 | NAYY 4x150 SE | 12 | 13 | 0.0024383 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_958-2_1_2_line_16 | NAYY 4x150 SE | 12 | 14 | 0.021772 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_958-2_1_2_line_17 | NAYY 4x150 SE | 13 | 67 | 0.018063 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_958-2_1_2_line_18 | NAYY 4x150 SE | 14 | 15 | 0.018958 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_958-2_1_2_line_19 | NAYY 4x150 SE | 15 | 16 | 0.0050985 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_958-2_1_2_line_20 | NAYY 4x150 SE | 16 | 21 | 0.026166 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_958-2_1_2_line_21 | NAYY 4x150 SE | 17 | 18 | 0.030705 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_958-2_1_2_line_22 | NAYY 4x150 SE | 17 | 60 | 0.022161 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_958-2_1_2_line_23 | NAYY 4x150 SE | 19 | 20 | 0.014914 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_958-2_1_2_line_24 | NAYY 4x150 SE | 20 | 54 | 0.022009 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_958-2_1_2_line_25 | NAYY 4x150 SE | 21 | 58 | 0.0041374 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_958-2_1_2_line_26 | NAYY 4x150 SE | 22 | 23 | 0.12975 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_958-2_1_2_line_27 | NAYY 4x150 SE | 23 | 65 | 0.16227 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_958-2_1_2_line_28 | NAYY 4x150 SE | 23 | 25 | 0.051309 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_958-2_1_2_line_29 | NAYY 4x150 SE | 24 | 25 | 0.023061 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_958-2_1_2_line_30 | NAYY 4x150 SE | 24 | 26 | 0.018767 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_958-2_1_2_line_31 | NAYY 4x150 SE | 27 | 28 | 0.015954 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_958-2_1_2_line_32 | NAYY 4x150 SE | 27 | 29 | 0.056102 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_958-2_1_2_line_33 | NAYY 4x150 SE | 28 | 30 | 0.015213 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_958-2_1_2_line_34 | NAYY 4x150 SE | 29 | 31 | 0.022605 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_958-2_1_2_line_35 | NAYY 4x150 SE | 30 | 32 | 0.018657 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_958-2_1_2_line_36 | NAYY 4x150 SE | 31 | 33 | 0.024578 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_958-2_1_2_line_37 | NAYY 4x150 SE | 31 | 34 | 0.033249 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_958-2_1_2_line_38 | NAYY 4x150 SE | 32 | 35 | 0.17996 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_958-2_1_2_line_39 | NAYY 4x150 SE | 34 | 44 | 0.011968 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_958-2_1_2_line_40 | NAYY 4x150 SE | 35 | 58 | 0.026425 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_958-2_1_2_line_41 | NAYY 4x150 SE | 36 | 37 | 0.019967 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_958-2_1_2_line_42 | NAYY 4x150 SE | 36 | 38 | 0.03112 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_958-2_1_2_line_43 | NAYY 4x150 SE | 37 | 44 | 0.01359 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_958-2_1_2_line_44 | NAYY 4x150 SE | 38 | 43 | 0.0986 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_958-2_1_2_line_45 | NAYY 4x150 SE | 39 | 40 | 0.020404 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_958-2_1_2_line_46 | NAYY 4x150 SE | 39 | 41 | 0.1783 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_958-2_1_2_line_47 | NAYY 4x150 SE | 40 | 42 | 0.039857 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_958-2_1_2_line_48 | NAYY 4x150 SE | 42 | 43 | 0.038065 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_958-2_1_2_line_49 | NAYY 4x150 SE | 43 | 57 | 0.01222 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_958-2_1_2_line_50 | NAYY 4x150 SE | 44 | 54 | 0.023808 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_958-2_1_2_line_51 | NAYY 4x150 SE | 45 | 46 | 0.00011299 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_958-2_1_2_line_52 | NAYY 4x150 SE | 45 | 47 | 0.010306 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_958-2_1_2_line_53 | NAYY 4x150 SE | 47 | 48 | 0.05096 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_958-2_1_2_line_54 | NAYY 4x150 SE | 47 | 49 | 0.023025 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_958-2_1_2_line_55 | NAYY 4x150 SE | 48 | 50 | 0.01117 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_958-2_1_2_line_56 | NAYY 4x150 SE | 48 | 51 | 0.01771 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_958-2_1_2_line_57 | NAYY 4x150 SE | 50 | 55 | 0.005227 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_958-2_1_2_line_58 | NAYY 4x150 SE | 52 | 53 | 0.027372 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_958-2_1_2_line_59 | NAYY 4x150 SE | 55 | 56 | 0.010939 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_958-2_1_2_line_60 | NAYY 4x150 SE | 59 | 60 | 0.018738 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_958-2_1_2_line_61 | NAYY 4x150 SE | 59 | 61 | 0.011905 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_958-2_1_2_line_62 | NAYY 4x150 SE | 61 | 62 | 0.020064 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_958-2_1_2_line_63 | NAYY 4x150 SE | 61 | 63 | 0.041393 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_958-2_1_2_line_64 | NAYY 4x150 SE | 63 | 64 | 0.080975 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_958-2_1_2_line_65 | NAYY 4x150 SE | 63 | 65 | 0.029694 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_958-2_1_2_line_66 | NAYY 4x150 SE | 66 | 67 | 0.0053909 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_958-2_1_2_trafo_139 | 0.25 MVA 20/0.4 kV | 68 | 18 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2625012.8124 | 1207513.6132 | 2625017.9939 | 1207511.3802 | 2625031.5981 | 1207503.5995 | 2625034.6253 | 1207502.2506
1 | 2625054.2763 | 1207500.903 | 2625048.7456 | 1207499.4022 | 2625040.1753 | 1207499.7777 | 2625034.6253 | 1207502.2506
2 | 2625012.8124 | 1207513.6132 | 2625008.1833 | 1207515.6082 | 2625008.1833 | 1207515.6082
3 | 2625080.0059 | 1207507.5822 | 2625077.673 | 1207507.2723 | 2625073.6836 | 1207506.733 | 2625062.8942 | 1207503.2414 | 2625054.2763 | 1207500.903
4 | 2625133.3446 | 1207215.799 | 2625129.9144 | 1207216.0403 | 2625122.4488 | 1207213.9744
5 | 2625088.9595 | 1207218.403 | 2625097.8351 | 1207208.7904 | 2625106.5196 | 1207203.0681 | 2625110.0856 | 1207203.0831 | 2625122.4488 | 1207213.9744
6 | 2625133.3446 | 1207215.799 | 2625132.817 | 1207212.884 | 2625134.4095 | 1207195.8146 | 2625133.5039 | 1207188.7624 | 2625131.242 | 1207182.3827 | 2625127.467 | 1207176.0188
7 | 2625142.5767 | 1207238.9729 | 2625138.0563 | 1207232.6615 | 2625135.1576 | 1207225.8344 | 2625133.3446 | 1207215.799
8 | 2625100.6166 | 1207111.3256 | 2625101.6056 | 1207118.4448 | 2625109.0284 | 1207132.5394 | 2625120.6365 | 1207158.5026 | 2625127.467 | 1207176.0188
9 | 2625127.467 | 1207176.0188 | 2625122.8229 | 1207172.3117
10 | 2625142.5767 | 1207238.9729 | 2625142.9168 | 1207244.8665 | 2625143.009 | 1207246.4567 | 2625143.4067 | 1207253.1399 | 2625148.8059 | 1207261.0016
11 | 2625142.5767 | 1207238.9729 | 2625150.0874 | 1207235.7138 | 2625157.4646 | 1207231.6648 | 2625169.0391 | 1207222.1749 | 2625176.6027 | 1207213.5908 | 2625186.8125 | 1207204.9845 | 2625191.8261 | 1207202.5043 | 2625197.1098 | 1207202.6933 | 2625201.7534 | 1207205.0141 | 2625211.7071 | 1207215.4179
12 | 2625148.8059 | 1207261.0016 | 2625092.1578 | 1207479.9289
13 | 2625211.7071 | 1207215.4179 | 2625473.2312 | 1206840.9247
14 | 2625212.6384 | 1207216.3883 | 2625212.1018 | 1207215.8304 | 2625211.7071 | 1207215.4179
15 | 2624986.8686 | 1207508.526 | 2624985.1352 | 1207506.811
16 | 2624970.2961 | 1207490.9038 | 2624977.2547 | 1207499.0142 | 2624985.1352 | 1207506.811
17 | 2624986.8686 | 1207508.526 | 2624990.0511 | 1207511.6747 | 2624998.6036 | 1207515.5681 | 2625002.7925 | 1207515.5857
18 | 2624970.2961 | 1207490.9038 | 2624964.4751 | 1207484.1192 | 2624959.4306 | 1207475.4637
19 | 2624959.4306 | 1207475.4637 | 2624957.5903 | 1207472.3061 | 2624957.0697 | 1207470.9595
20 | 2624957.0697 | 1207470.9595 | 2624947.6341 | 1207446.5543
21 | 2625080.0059 | 1207507.5822 | 2625082.9083 | 1207495.3876 | 2625086.8233 | 1207486.4657 | 2625092.1578 | 1207479.9289
22 | 2625080.0059 | 1207507.5822 | 2625077.8273 | 1207517.6231 | 2625073.1343 | 1207528.5435
23 | 2624886.9661 | 1207070.0099 | 2624886.4813 | 1207062.248 | 2624887.484 | 1207055.1816
24 | 2624886.9661 | 1207070.0099 | 2624867.7291 | 1207080.703
25 | 2624946.1421 | 1207442.6953 | 2624947.6341 | 1207446.5543
26 | 2625218.6082 | 1207668.766 | 2625213.4115 | 1207798.4073
27 | 2625062.9089 | 1207623.0639 | 2625218.6082 | 1207668.766
28 | 2625218.6082 | 1207668.766 | 2625249.6756 | 1207670.1423 | 2625256.5673 | 1207671.1386 | 2625261.6218 | 1207673.2834 | 2625268.3727 | 1207677.1049
29 | 2625288.1736 | 1207688.9154 | 2625277.4512 | 1207682.2441 | 2625268.3727 | 1207677.1049
30 | 2625288.1736 | 1207688.9154 | 2625300.73 | 1207680.7862 | 2625303.4973 | 1207678.169
31 | 2624910.0188 | 1207192.1434 | 2624913.1735 | 1207198.3572 | 2624916.319 | 1207206.7734
32 | 2624910.0188 | 1207192.1434 | 2624908.0376 | 1207188.2413 | 2624902.373 | 1207180.9247 | 2624877.2519 | 1207151.4371 | 2624875.0387 | 1207148.4277
33 | 2624920.6203 | 1207221.3566 | 2624917.2642 | 1207209.3025 | 2624916.319 | 1207206.7734
34 | 2624862.4622 | 1207129.6635 | 2624869.3054 | 1207140.6314 | 2624875.0387 | 1207148.4277
35 | 2624920.6203 | 1207221.3566 | 2624924.7636 | 1207237.9275 | 2624925.254 | 1207239.4256
36 | 2624842.201 | 1207119.9072 | 2624850.6321 | 1207129.3808 | 2624856.2244 | 1207130.3268 | 2624862.4622 | 1207129.6635
37 | 2624862.4622 | 1207129.6635 | 2624859.4978 | 1207123.9257 | 2624853.5576 | 1207109.7043 | 2624849.4327 | 1207099.0999
38 | 2624925.254 | 1207239.4256 | 2624934.5614 | 1207419.1471
39 | 2624845.0939 | 1207087.9459 | 2624849.4327 | 1207099.0999
40 | 2624934.5614 | 1207419.1471 | 2624940.0339 | 1207426.8964 | 2624946.1421 | 1207442.6953
41 | 2624828.0372 | 1207059.0479 | 2624838.1863 | 1207076.2428
42 | 2624828.0372 | 1207059.0479 | 2624819.8051 | 1207071.1982 | 2624812.5894 | 1207085.9742
43 | 2624845.0939 | 1207087.9459 | 2624838.1863 | 1207076.2428
44 | 2624772.2442 | 1207175.7371 | 2624774.7788 | 1207165.9421 | 2624781.338 | 1207150.0716 | 2624799.222 | 1207113.3475 | 2624812.5894 | 1207085.9742
45 | 2624760.6709 | 1207226.2392 | 2624757.9429 | 1207225.072 | 2624752.2302 | 1207225.6598 | 2624747.1082 | 1207230.5191 | 2624744.1074 | 1207234.0493
46 | 2624744.1074 | 1207234.0493 | 2624581.2195 | 1207306.5716
47 | 2624791.9776 | 1207208.2258 | 2624789.2979 | 1207214.5182 | 2624781.2058 | 1207220.488 | 2624771.8039 | 1207226.9527 | 2624764.6601 | 1207227.9459 | 2624760.6709 | 1207226.2392
48 | 2624772.2442 | 1207175.7371 | 2624775.4572 | 1207182.0428 | 2624788.8335 | 1207201.8203 | 2624791.9776 | 1207208.2258
49 | 2624772.2442 | 1207175.7371 | 2624764.2195 | 1207184.9526
50 | 2624845.0939 | 1207087.9459 | 2624860.8765 | 1207083.1088 | 2624866.0226 | 1207081.6516 | 2624867.7291 | 1207080.703
51 | 2625439.7639 | 1206791.1129 | 2625439.6671 | 1206791.0546
52 | 2625449.0603 | 1206795.5553 | 2625440.1738 | 1206791.3596 | 2625439.7639 | 1206791.1129
53 | 2625449.0603 | 1206795.5553 | 2625442.1178 | 1206804.4863 | 2625439.3316 | 1206810.5779 | 2625440.7443 | 1206818.1325 | 2625446.4856 | 1206823.4266 | 2625457.8837 | 1206827.066 | 2625463.4092 | 1206827.6898
54 | 2625449.0603 | 1206795.5553 | 2625453.4973 | 1206794.6626 | 2625460.7387 | 1206788.7679 | 2625467.7009 | 1206782.8121
55 | 2625470.5307 | 1206819.5823 | 2625467.8621 | 1206824.8405 | 2625463.4092 | 1206827.6898
56 | 2625463.4092 | 1206827.6898 | 2625469.6382 | 1206830.9515 | 2625472.5017 | 1206837.0671 | 2625473.2312 | 1206840.9247
57 | 2625470.5307 | 1206819.5823 | 2625471.3967 | 1206814.4276
58 | 2625212.6384 | 1207216.3883 | 2625222.6775 | 1207226.8256 | 2625231.9115 | 1207235.8202
59 | 2625479.2386 | 1206806.8012 | 2625471.3967 | 1206814.4276
60 | 2625065.736 | 1207545.7588 | 2625073.1343 | 1207528.5435
61 | 2625061.0354 | 1207556.6968 | 2625065.736 | 1207545.7588
62 | 2625061.0354 | 1207556.6968 | 2625042.1018 | 1207549.9026
63 | 2625064.7408 | 1207597.7797 | 2625062.7449 | 1207587.8102 | 2625060.9673 | 1207572.9611 | 2625061.0354 | 1207556.6968
64 | 2625064.7408 | 1207597.7797 | 2625056.1732 | 1207597.5325 | 2625043.0605 | 1207591.4742 | 2625026.6565 | 1207585.2132 | 2625018.2834 | 1207583.9219 | 2625012.8881 | 1207586.8676 | 2625014.0498 | 1207590.8636 | 2625018.2542 | 1207594.5277 | 2625021.9085 | 1207598.812 | 2625023.9248 | 1207603.9122 | 2625024.1088 | 1207608.9936
65 | 2625064.7408 | 1207597.7797 | 2625068.5748 | 1207606.3338 | 2625070.6971 | 1207613.3466 | 2625068.0249 | 1207619.6389 | 2625062.9089 | 1207623.0639
66 | 2625008.1833 | 1207515.6082 | 2625002.7925 | 1207515.5857

## bus_geodata
| x | y | coords
0 | 2625034.6253 | 1207502.2506
1 | 2625012.8124 | 1207513.6132
2 | 2625054.2763 | 1207500.903
3 | 2625122.4488 | 1207213.9744
4 | 2625133.3446 | 1207215.799
5 | 2625088.9595 | 1207218.403
6 | 2625127.467 | 1207176.0188
7 | 2625142.5767 | 1207238.9729
8 | 2625100.6166 | 1207111.3256
9 | 2625122.8228 | 1207172.3117
10 | 2625148.8059 | 1207261.0016
11 | 2625211.7071 | 1207215.4179
12 | 2624985.1352 | 1207506.811
13 | 2624986.8686 | 1207508.526
14 | 2624970.2961 | 1207490.9038
15 | 2624959.4306 | 1207475.4637
16 | 2624957.0697 | 1207470.9595
17 | 2625080.0059 | 1207507.5822
18 | 2625092.1578 | 1207479.9289
19 | 2624887.484 | 1207055.1816
20 | 2624886.9661 | 1207070.0099
21 | 2624947.6341 | 1207446.5543
22 | 2625213.4115 | 1207798.4073
23 | 2625218.6082 | 1207668.766
24 | 2625288.1736 | 1207688.9154
25 | 2625268.3727 | 1207677.1049
26 | 2625303.4973 | 1207678.169
27 | 2624910.0188 | 1207192.1434
28 | 2624916.319 | 1207206.7734
29 | 2624875.0387 | 1207148.4277
30 | 2624920.6203 | 1207221.3566
31 | 2624862.4622 | 1207129.6635
32 | 2624925.254 | 1207239.4256
33 | 2624842.201 | 1207119.9072
34 | 2624849.4327 | 1207099.0999
35 | 2624934.5614 | 1207419.1471
36 | 2624828.0372 | 1207059.0479
37 | 2624838.1863 | 1207076.2428
38 | 2624812.5894 | 1207085.9742
39 | 2624744.1074 | 1207234.0493
40 | 2624760.6709 | 1207226.2392
41 | 2624581.2195 | 1207306.5716
42 | 2624791.9776 | 1207208.2258
43 | 2624772.2442 | 1207175.7371
44 | 2624845.0939 | 1207087.9459
45 | 2625439.7639 | 1206791.1129
46 | 2625439.6671 | 1206791.0546
47 | 2625449.0603 | 1206795.5553
48 | 2625463.4092 | 1206827.6898
49 | 2625467.7009 | 1206782.8121
50 | 2625470.5307 | 1206819.5823
51 | 2625473.2312 | 1206840.9247
52 | 2625212.6384 | 1207216.3883
53 | 2625231.9115 | 1207235.8202
54 | 2624867.7291 | 1207080.703
55 | 2625471.3967 | 1206814.4276
56 | 2625479.2386 | 1206806.8012
57 | 2624764.2195 | 1207184.9526
58 | 2624946.1421 | 1207442.6953
59 | 2625065.736 | 1207545.7588
60 | 2625073.1343 | 1207528.5435
61 | 2625061.0354 | 1207556.6968
62 | 2625042.1018 | 1207549.9026
63 | 2625064.7408 | 1207597.7797
64 | 2625024.1088 | 1207608.9936
65 | 2625062.9089 | 1207623.0639
66 | 2625008.1833 | 1207515.6082
67 | 2625002.7925 | 1207515.5857
68 | 2625080.0059 | 1207507.5822

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1