## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_958-3_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_958-3_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_958-3_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_958-3_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_958-3_0_3_node_54 | 0.4 | n |  | TRUE
5 | bus_LV_958-3_0_3_node_55 | 0.4 | n |  | TRUE
6 | bus_LV_958-3_0_3_node_131 | 0.4 | n |  | TRUE
7 | bus_LV_958-3_0_3_node_4 | 0.4 | n |  | TRUE
8 | bus_LV_958-3_0_3_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_958-3_0_3_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_958-3_0_3_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_958-3_0_3_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_958-3_0_3_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_958-3_0_3_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_958-3_0_3_node_103 | 0.4 | n |  | TRUE
15 | bus_LV_958-3_0_3_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_958-3_0_3_node_12 | 0.4 | n |  | TRUE
17 | bus_LV_958-3_0_3_node_13 | 0.4 | n |  | TRUE
18 | bus_LV_958-3_0_3_node_21 | 0.4 | n |  | TRUE
19 | bus_LV_958-3_0_3_node_118 | 0.4 | n |  | TRUE
20 | bus_LV_958-3_0_3_node_14 | 0.4 | n |  | TRUE
21 | bus_LV_958-3_0_3_node_15 | 0.4 | n |  | TRUE
22 | bus_LV_958-3_0_3_node_16 | 0.4 | n |  | TRUE
23 | bus_LV_958-3_0_3_node_17 | 0.4 | n |  | TRUE
24 | bus_LV_958-3_0_3_node_18 | 0.4 | n |  | TRUE
25 | bus_LV_958-3_0_3_node_19 | 0.4 | n |  | TRUE
26 | bus_LV_958-3_0_3_node_20 | 0.4 | n |  | TRUE
27 | bus_LV_958-3_0_3_node_122 | 0.4 | n |  | TRUE
28 | bus_LV_958-3_0_3_node_22 | 0.4 | n |  | TRUE
29 | bus_LV_958-3_0_3_node_23 | 0.4 | n |  | TRUE
30 | bus_LV_958-3_0_3_node_24 | 0.4 | n |  | TRUE
31 | bus_LV_958-3_0_3_node_74 | 0.4 | n |  | TRUE
32 | bus_LV_958-3_0_3_node_25 | 0.4 | n |  | TRUE
33 | bus_LV_958-3_0_3_node_27 | 0.4 | n |  | TRUE
34 | bus_LV_958-3_0_3_node_81 | 0.4 | n |  | TRUE
35 | bus_LV_958-3_0_3_node_106 | 0.4 | n |  | TRUE
36 | bus_LV_958-3_0_3_node_148 | 0.4 | n |  | TRUE
37 | bus_LV_958-3_0_3_node_41 | 0.4 | n |  | TRUE
38 | bus_LV_958-3_0_3_node_42 | 0.4 | n |  | TRUE
39 | bus_LV_958-3_0_3_node_43 | 0.4 | n |  | TRUE
40 | bus_LV_958-3_0_3_node_44 | 0.4 | n |  | TRUE
41 | bus_LV_958-3_0_3_node_45 | 0.4 | n |  | TRUE
42 | bus_LV_958-3_0_3_node_112 | 0.4 | n |  | TRUE
43 | bus_LV_958-3_0_3_node_80 | 0.4 | n |  | TRUE
44 | bus_LV_958-3_0_3_node_105 | 0.4 | n |  | TRUE
45 | bus_LV_958-3_0_3_node_116 | 0.4 | n |  | TRUE
46 | bus_LV_958-3_0_3_node_73 | 0.4 | n |  | TRUE
47 | bus_LV_958-3_0_3_node_77 | 0.4 | n |  | TRUE
48 | bus_LV_958-3_0_3_node_78 | 0.4 | n |  | TRUE
49 | bus_LV_958-3_0_3_node_79 | 0.4 | n |  | TRUE
50 | bus_LV_958-3_0_3_node_102 | 0.4 | n |  | TRUE
51 | bus_LV_958-3_0_3_node_104 | 0.4 | n |  | TRUE
52 | bus_LV_958-3_0_3_node_111 | 0.4 | n |  | TRUE
53 | bus_LV_958-3_0_3_node_113 | 0.4 | n |  | TRUE
54 | bus_LV_958-3_0_3_node_114 | 0.4 | n |  | TRUE
55 | bus_LV_958-3_0_3_node_115 | 0.4 | n |  | TRUE
56 | bus_LV_958-3_0_3_node_117 | 0.4 | n |  | TRUE
57 | bus_LV_958-3_0_3_node_119 | 0.4 | n |  | TRUE
58 | bus_LV_958-3_0_3_node_123 | 0.4 | n |  | TRUE
59 | bus_MV_183_0_node_104 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_958-3_0_3_load_0 | 0 | 0.00074829 | 0.00018754 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_958-3_0_3_load_1 | 1 | 0.00079731 | 0.00019982 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_958-3_0_3_load_2 | 2 | 0.0004743 | 0.00011887 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_958-3_0_3_load_54 | 4 | 0.0058894 | 0.001476 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_958-3_0_3_load_131 | 6 | 0.0014891 | 0.00037322 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_958-3_0_3_load_4 | 7 | 0.00095269 | 0.00023877 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_958-3_0_3_load_5 | 8 | 0.0036823 | 0.00092287 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_958-3_0_3_load_7 | 10 | 0.001684 | 0.00042205 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_958-3_0_3_load_9 | 12 | 0.0013107 | 0.00032848 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_958-3_0_3_load_103 | 14 | 0.0026398 | 0.0006616 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_958-3_0_3_load_11 | 15 | 0.0013592 | 0.00034065 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_958-3_0_3_load_13 | 17 | 0.0037036 | 0.0009282 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_958-3_0_3_load_21 | 18 | 0.0084224 | 0.0021108 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_958-3_0_3_load_118 | 19 | 0.0016848 | 0.00042225 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_958-3_0_3_load_14 | 20 | 0.0026574 | 0.00066601 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_958-3_0_3_load_15 | 21 | 0.0012387 | 0.00031045 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_958-3_0_3_load_16 | 22 | 0.0085616 | 0.0021457 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_958-3_0_3_load_17 | 23 | 0.0036441 | 0.00091331 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_958-3_0_3_load_18 | 24 | 0.0016394 | 0.00041088 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_958-3_0_3_load_20 | 26 | 0.0033275 | 0.00083395 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_958-3_0_3_load_22 | 28 | 0.00057502 | 0.00014411 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_958-3_0_3_load_23 | 29 | 0.0021553 | 0.00054017 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_958-3_0_3_load_74 | 31 | 0.00044266 | 0.00011094 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_958-3_0_3_load_27 | 33 | 0.00055658 | 0.00013949 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_958-3_0_3_load_81 | 34 | 0.00082353 | 0.0002064 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_958-3_0_3_load_106 | 35 | 0.00057306 | 0.00014362 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_958-3_0_3_load_148 | 36 | 0.0056415 | 0.0014139 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_958-3_0_3_load_41 | 37 | 0.0011038 | 0.00027664 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_958-3_0_3_load_44 | 40 | 0.0011191 | 0.00028047 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_958-3_0_3_load_45 | 41 | 0.00043802 | 0.00010978 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_958-3_0_3_load_80 | 43 | 0.00053635 | 0.00013442 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_958-3_0_3_load_105 | 44 | 0.0010015 | 0.00025099 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_958-3_0_3_load_73 | 46 | 0.0011448 | 0.00028691 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_958-3_0_3_load_77 | 47 | 0.0024171 | 0.00060577 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_958-3_0_3_load_78 | 48 | 0.00075938 | 0.00019032 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_958-3_0_3_load_102 | 50 | 0.0014701 | 0.00036844 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_958-3_0_3_load_104 | 51 | 0.0011242 | 0.00028176 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_958-3_0_3_load_111 | 52 | 0.00054357 | 0.00013623 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_958-3_0_3_load_114 | 54 | 0.0027877 | 0.00069865 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_958-3_0_3_load_115 | 55 | 0.0025299 | 0.00063405 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_958-3_0_3_load_117 | 56 | 0.00064941 | 0.00016276 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_958-3_0_3_load_119 | 57 | 0.0020114 | 0.0005041 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_958-3_0_3_load_123 | 58 | 0.003997 | 0.0010017 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 6 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_958-3_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.016588 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_958-3_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.012818 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_958-3_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.0096551 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_958-3_0_3_line_3 | NAYY 4x150 SE | 3 | 4 | 0.026395 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_958-3_0_3_line_4 | NAYY 4x150 SE | 3 | 5 | 0.044918 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_958-3_0_3_line_5 | NAYY 4x150 SE | 3 | 6 | 0.10819 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_958-3_0_3_line_6 | NAYY 4x150 SE | 4 | 45 | 0.022592 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_958-3_0_3_line_7 | NAYY 4x150 SE | 5 | 36 | 0.035491 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_958-3_0_3_line_8 | NAYY 4x150 SE | 6 | 35 | 0.075405 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_958-3_0_3_line_9 | NAYY 4x150 SE | 6 | 11 | 0.062156 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_958-3_0_3_line_10 | NAYY 4x150 SE | 7 | 8 | 0.0063373 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_958-3_0_3_line_11 | NAYY 4x150 SE | 7 | 9 | 0.0051427 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_958-3_0_3_line_12 | NAYY 4x150 SE | 8 | 10 | 0.0037284 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_958-3_0_3_line_13 | NAYY 4x150 SE | 9 | 11 | 0.021783 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_958-3_0_3_line_14 | NAYY 4x150 SE | 9 | 12 | 0.026577 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_958-3_0_3_line_15 | NAYY 4x150 SE | 10 | 13 | 0.024903 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_958-3_0_3_line_16 | NAYY 4x150 SE | 12 | 14 | 0.029829 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_958-3_0_3_line_17 | NAYY 4x150 SE | 13 | 15 | 0.04188 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_958-3_0_3_line_18 | NAYY 4x150 SE | 13 | 16 | 0.012943 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_958-3_0_3_line_19 | NAYY 4x150 SE | 14 | 50 | 0.036479 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_958-3_0_3_line_20 | NAYY 4x150 SE | 15 | 17 | 0.036065 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_958-3_0_3_line_21 | NAYY 4x150 SE | 16 | 18 | 0.0041844 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_958-3_0_3_line_22 | NAYY 4x150 SE | 16 | 19 | 0.015783 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_958-3_0_3_line_23 | NAYY 4x150 SE | 17 | 20 | 0.012486 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_958-3_0_3_line_24 | NAYY 4x150 SE | 18 | 25 | 0.026359 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_958-3_0_3_line_25 | NAYY 4x150 SE | 19 | 57 | 0.0084879 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_958-3_0_3_line_26 | NAYY 4x150 SE | 21 | 22 | 0.0027852 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_958-3_0_3_line_27 | NAYY 4x150 SE | 21 | 23 | 0.012758 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_958-3_0_3_line_28 | NAYY 4x150 SE | 22 | 24 | 0.043622 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_958-3_0_3_line_29 | NAYY 4x150 SE | 23 | 25 | 0.015014 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_958-3_0_3_line_30 | NAYY 4x150 SE | 25 | 26 | 0.048245 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_958-3_0_3_line_31 | NAYY 4x150 SE | 26 | 27 | 0.0024363 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_958-3_0_3_line_32 | NAYY 4x150 SE | 27 | 58 | 0.041537 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_958-3_0_3_line_33 | NAYY 4x150 SE | 28 | 29 | 0.030022 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_958-3_0_3_line_34 | NAYY 4x150 SE | 28 | 30 | 0.048163 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_958-3_0_3_line_35 | NAYY 4x150 SE | 28 | 31 | 0.092931 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_958-3_0_3_line_36 | NAYY 4x150 SE | 29 | 32 | 0.012853 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_958-3_0_3_line_37 | NAYY 4x150 SE | 30 | 33 | 0.02965 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_958-3_0_3_line_38 | NAYY 4x150 SE | 31 | 46 | 0.0030074 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_958-3_0_3_line_39 | NAYY 4x150 SE | 32 | 34 | 0.24405 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_958-3_0_3_line_40 | NAYY 4x150 SE | 34 | 49 | 0.0072811 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_958-3_0_3_line_41 | NAYY 4x150 SE | 35 | 44 | 0.042545 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_958-3_0_3_line_42 | NAYY 4x150 SE | 37 | 38 | 0.030485 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_958-3_0_3_line_43 | NAYY 4x150 SE | 37 | 39 | 0.041368 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_958-3_0_3_line_44 | NAYY 4x150 SE | 38 | 40 | 0.022401 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_958-3_0_3_line_45 | NAYY 4x150 SE | 39 | 41 | 0.080898 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_958-3_0_3_line_46 | NAYY 4x150 SE | 39 | 42 | 0.27819 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_958-3_0_3_line_47 | NAYY 4x150 SE | 40 | 43 | 0.12525 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_958-3_0_3_line_48 | NAYY 4x150 SE | 41 | 44 | 0.021121 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_958-3_0_3_line_49 | NAYY 4x150 SE | 42 | 52 | 0.015888 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_958-3_0_3_line_50 | NAYY 4x150 SE | 43 | 48 | 0.095668 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_958-3_0_3_line_51 | NAYY 4x150 SE | 45 | 56 | 0.032734 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_958-3_0_3_line_52 | NAYY 4x150 SE | 45 | 55 | 0.015794 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_958-3_0_3_line_53 | NAYY 4x150 SE | 47 | 48 | 0.025527 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_958-3_0_3_line_54 | NAYY 4x150 SE | 47 | 49 | 0.031247 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_958-3_0_3_line_55 | NAYY 4x150 SE | 50 | 51 | 0.032412 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_958-3_0_3_line_56 | NAYY 4x150 SE | 52 | 53 | 0.017532 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_958-3_0_3_line_57 | NAYY 4x150 SE | 53 | 54 | 0.008405 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_958-3_0_3_trafo_131 | 0.25 MVA 20/0.4 kV | 59 | 6 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2622952.2786 | 1207450.7867 | 2622952.0594 | 1207448.4846 | 2622952.4712 | 1207446.1737 | 2622953.2861 | 1207443.8422 | 2622954.5637 | 1207441.7904 | 2622957.8423 | 1207439.4017 | 2622960.3136 | 1207437.7286
1 | 2622952.2786 | 1207450.7867 | 2622952.2786 | 1207450.7867 | 2622953.4285 | 1207454.2819 | 2622956.5577 | 1207461.0866 | 2622957.3762 | 1207462.5178
2 | 2622968.3087 | 1207432.3157 | 2622960.3136 | 1207437.7286
3 | 2622968.3087 | 1207432.3157 | 2622972.5929 | 1207437.3127 | 2622981.9107 | 1207446.209 | 2622986.5661 | 1207451.3431
4 | 2622968.3087 | 1207432.3157 | 2622980.7271 | 1207435.6541 | 2622996.7935 | 1207441.3857 | 2622998.0562 | 1207439.2672 | 2623000.6344 | 1207437.0981 | 2623004.5878 | 1207435.19 | 2623009.1777 | 1207433.8736
5 | 2622921.8489 | 1207334.6109 | 2622968.3087 | 1207432.3157
6 | 2622999.8795 | 1207469.302 | 2622998.6682 | 1207465.9733 | 2622996.2958 | 1207462.0731 | 2622986.5661 | 1207451.3431
7 | 2623009.1777 | 1207433.8736 | 2623030.7989 | 1207422.6394 | 2623035.0473 | 1207432.9837
8 | 2622921.8489 | 1207334.6109 | 2622926.3204 | 1207332.01 | 2622940.4221 | 1207324.7489 | 2622951.0374 | 1207320.5206 | 2622963.3021 | 1207314.4754 | 2622982.5168 | 1207302.3424 | 2622987.8531 | 1207298.5513
9 | 2622867.6715 | 1207362.9472 | 2622878.4844 | 1207360.6984 | 2622890.5366 | 1207356.4755 | 2622897.8977 | 1207352.2346 | 2622904.4438 | 1207346.3675 | 2622912.4209 | 1207340.0946 | 2622921.8489 | 1207334.6109
10 | 2622840.8055 | 1207365.4702 | 2622834.4867 | 1207365.9555 | 2622834.4867 | 1207365.9555
11 | 2622845.9331 | 1207365.0765 | 2622840.8055 | 1207365.4702
12 | 2622830.7594 | 1207365.8674 | 2622834.4867 | 1207365.9555
13 | 2622867.6715 | 1207362.9472 | 2622854.8848 | 1207364.3992 | 2622845.9331 | 1207365.0765
14 | 2622845.9331 | 1207365.0765 | 2622854.0251 | 1207358.5704 | 2622867.2111 | 1207349.1704
15 | 2622805.8628 | 1207365.2793 | 2622830.7594 | 1207365.8674
16 | 2622891.2729 | 1207331.545 | 2622878.2545 | 1207341.2979 | 2622867.2111 | 1207349.1704
17 | 2622805.8628 | 1207365.2793 | 2622806.8638 | 1207359.9913 | 2622807.8962 | 1207354.4588 | 2622811.6548 | 1207345.8127 | 2622819.7217 | 1207341.8858 | 2622831.537 | 1207337.8976
18 | 2622792.8851 | 1207364.9741 | 2622805.8628 | 1207365.2793
19 | 2622923.0403 | 1207313.8727 | 2622899.323 | 1207325.5141 | 2622891.2729 | 1207331.545
20 | 2622858.3297 | 1207317.2502 | 2622856.2924 | 1207324.3378 | 2622849.135 | 1207331.0142 | 2622835.5495 | 1207336.5432 | 2622831.537 | 1207337.8976
21 | 2622792.8851 | 1207364.9741 | 2622788.7614 | 1207364.264
22 | 2622792.8851 | 1207364.9741 | 2622790.7934 | 1207380.6177
23 | 2622858.3297 | 1207317.2502 | 2622861.779 | 1207305.2497
24 | 2622762.8963 | 1207359.3346 | 2622766.0782 | 1207360.3584 | 2622788.7614 | 1207364.264
25 | 2622789.6685 | 1207389.0308 | 2622790.7934 | 1207380.6177
26 | 2622755.4422 | 1207386.0756 | 2622754.9115 | 1207388.8098
27 | 2622755.4422 | 1207386.0756 | 2622756.0393 | 1207382.9994 | 2622758.7178 | 1207373.7556
28 | 2622754.8515 | 1207431.9304 | 2622755.4654 | 1207427.9333 | 2622756.9266 | 1207417.5665 | 2622756.5399 | 1207413.296 | 2622755.7319 | 1207409.8354 | 2622753.7515 | 1207394.7862 | 2622754.9115 | 1207388.8098
29 | 2622762.8963 | 1207359.3346 | 2622758.7178 | 1207373.7556
30 | 2622762.8963 | 1207359.3346 | 2622755.5301 | 1207356.9719 | 2622746.7274 | 1207352.4693 | 2622724.4763 | 1207335.4419 | 2622722.4404 | 1207333.8207
31 | 2622720.5345 | 1207332.303 | 2622722.4404 | 1207333.8207
32 | 2622705.7153 | 1207370.4124 | 2622708.0015 | 1207359.0369 | 2622710.0538 | 1207355.1759 | 2622714.1568 | 1207349.9108 | 2622718.0539 | 1207342.8105 | 2622719.7141 | 1207336.102 | 2622720.5345 | 1207332.303
33 | 2623615.7271 | 1207167.3754 | 2623602.7533 | 1207187.5821 | 2623598.6086 | 1207191.9326
34 | 2623641.7487 | 1207126.8467 | 2623615.7271 | 1207167.3754
35 | 2623615.7271 | 1207167.3754 | 2623685.5909 | 1207228.6545
36 | 2623589.7429 | 1207201.2384 | 2623598.6086 | 1207191.9326
37 | 2623641.7487 | 1207126.8467 | 2623641.4443 | 1207123.0657 | 2623643.1911 | 1207097.2676
38 | 2623685.5909 | 1207228.6545 | 2623686.2528 | 1207231.5882
39 | 2623370.4545 | 1207308.3473 | 2623589.7429 | 1207201.2384
40 | 2623364.8047 | 1207312.9401 | 2623370.4545 | 1207308.3473
41 | 2622987.8531 | 1207298.5513 | 2622994.1743 | 1207294.0604 | 2623008.5736 | 1207288.5349 | 2623027.212 | 1207283.2703
42 | 2623175.6194 | 1207204.4884 | 2623161.1286 | 1207206.0554 | 2623145.52 | 1207209.1381
43 | 2623106.1254 | 1207221.6292 | 2623115.3001 | 1207218.3962 | 2623125.412 | 1207214.6665 | 2623142.9651 | 1207209.6427 | 2623145.52 | 1207209.1381
44 | 2623175.6194 | 1207204.4884 | 2623183.5741 | 1207204.1079 | 2623198.0748 | 1207203.9196
45 | 2623106.1254 | 1207221.6292 | 2623095.4548 | 1207234.1727 | 2623075.1847 | 1207255.6509 | 2623064.2359 | 1207265.4586 | 2623056.2617 | 1207270.9198 | 2623046.9411 | 1207275.8256
46 | 2623106.1254 | 1207221.6292 | 2622965.3937 | 1206981.6652
47 | 2623198.0748 | 1207203.9196 | 2623215.3927 | 1207327.9656
48 | 2623046.9411 | 1207275.8256 | 2623043.9953 | 1207277.3761 | 2623028.8816 | 1207282.7987 | 2623027.212 | 1207283.2703
49 | 2622965.3937 | 1206981.6652 | 2622966.8893 | 1206978.3024 | 2622969.6079 | 1206975.2667 | 2622975.9929 | 1206971.9004 | 2622976.8387 | 1206971.5513
50 | 2623215.3927 | 1207327.9656 | 2623251.7213 | 1207316.4015 | 2623273.157 | 1207310.0813 | 2623283.2606 | 1207308.453 | 2623296.4224 | 1207308.3709 | 2623308.2162 | 1207308.7162
51 | 2622999.8795 | 1207469.302 | 2622988.8256 | 1207480.8659 | 2622985.7987 | 1207483.0666 | 2622982.8831 | 1207484.0115 | 2622981.0656 | 1207484.1046 | 2622979.2517 | 1207483.2527 | 2622974.7134 | 1207479.0885
52 | 2622999.8795 | 1207469.302 | 2623001.2877 | 1207472.8316 | 2623003.0849 | 1207476.0625 | 2623004.9911 | 1207478.6046 | 2623007.5887 | 1207481.2716 | 2623008.8107 | 1207481.9466
53 | 2623333.7028 | 1207309.9368 | 2623326.65 | 1207309.2558 | 2623308.2162 | 1207308.7162
54 | 2623364.8047 | 1207312.9401 | 2623333.7028 | 1207309.9368
55 | 2622952.1366 | 1207299.591 | 2622923.0403 | 1207313.8727
56 | 2622993.0449 | 1206964.862 | 2622976.8387 | 1206971.5513
57 | 2623000.8284 | 1206961.6346 | 2622993.0449 | 1206964.862

## bus_geodata
| x | y | coords
0 | 2622952.2786 | 1207450.7867
1 | 2622960.3136 | 1207437.7286
2 | 2622957.3762 | 1207462.5178
3 | 2622968.3087 | 1207432.3157
4 | 2622986.5661 | 1207451.3431
5 | 2623009.1777 | 1207433.8736
6 | 2622921.8489 | 1207334.6109
7 | 2622840.8055 | 1207365.4702
8 | 2622834.4867 | 1207365.9555
9 | 2622845.9331 | 1207365.0765
10 | 2622830.7594 | 1207365.8674
11 | 2622867.6715 | 1207362.9472
12 | 2622867.2111 | 1207349.1704
13 | 2622805.8628 | 1207365.2793
14 | 2622891.2729 | 1207331.545
15 | 2622831.537 | 1207337.8976
16 | 2622792.8851 | 1207364.9741
17 | 2622858.3297 | 1207317.2502
18 | 2622788.7614 | 1207364.264
19 | 2622790.7934 | 1207380.6177
20 | 2622861.779 | 1207305.2497
21 | 2622755.4422 | 1207386.0756
22 | 2622754.9115 | 1207388.8098
23 | 2622758.7178 | 1207373.7556
24 | 2622754.8515 | 1207431.9304
25 | 2622762.8963 | 1207359.3346
26 | 2622722.4404 | 1207333.8207
27 | 2622720.5345 | 1207332.303
28 | 2623615.7271 | 1207167.3754
29 | 2623598.6086 | 1207191.9326
30 | 2623641.7487 | 1207126.8467
31 | 2623685.5909 | 1207228.6545
32 | 2623589.7429 | 1207201.2384
33 | 2623643.1911 | 1207097.2676
34 | 2623370.4544 | 1207308.3473
35 | 2622987.8531 | 1207298.5513
36 | 2623035.0473 | 1207432.9837
37 | 2623145.52 | 1207209.1381
38 | 2623175.6194 | 1207204.4884
39 | 2623106.1254 | 1207221.6292
40 | 2623198.0748 | 1207203.9196
41 | 2623046.9411 | 1207275.8256
42 | 2622965.3937 | 1206981.6652
43 | 2623215.3927 | 1207327.9656
44 | 2623027.212 | 1207283.2703
45 | 2622999.8795 | 1207469.302
46 | 2623686.2528 | 1207231.5882
47 | 2623333.7028 | 1207309.9368
48 | 2623308.2162 | 1207308.7162
49 | 2623364.8047 | 1207312.9401
50 | 2622923.0403 | 1207313.8727
51 | 2622952.1366 | 1207299.591
52 | 2622976.8387 | 1206971.5513
53 | 2622993.0449 | 1206964.862
54 | 2623000.8284 | 1206961.6346
55 | 2623008.8107 | 1207481.9466
56 | 2622974.7134 | 1207479.0885
57 | 2622789.6685 | 1207389.0308
58 | 2622705.7153 | 1207370.4124
59 | 2622867.6715 | 1207362.9472

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1