## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_958-3_1_2_node_95 | 0.4 | n |  | TRUE
1 | bus_LV_958-3_1_2_node_96 | 0.4 | n |  | TRUE
2 | bus_LV_958-3_1_2_node_98 | 0.4 | n |  | TRUE
3 | bus_LV_958-3_1_2_node_52 | 0.4 | n |  | TRUE
4 | bus_LV_958-3_1_2_node_97 | 0.4 | n |  | TRUE
5 | bus_LV_958-3_1_2_node_99 | 0.4 | n |  | TRUE
6 | bus_LV_958-3_1_2_node_28 | 0.4 | n |  | TRUE
7 | bus_LV_958-3_1_2_node_29 | 0.4 | n |  | TRUE
8 | bus_LV_958-3_1_2_node_30 | 0.4 | n |  | TRUE
9 | bus_LV_958-3_1_2_node_31 | 0.4 | n |  | TRUE
10 | bus_LV_958-3_1_2_node_33 | 0.4 | n |  | TRUE
11 | bus_LV_958-3_1_2_node_86 | 0.4 | n |  | TRUE
12 | bus_LV_958-3_1_2_node_32 | 0.4 | n |  | TRUE
13 | bus_LV_958-3_1_2_node_34 | 0.4 | n |  | TRUE
14 | bus_LV_958-3_1_2_node_36 | 0.4 | n |  | TRUE
15 | bus_LV_958-3_1_2_node_84 | 0.4 | n |  | TRUE
16 | bus_LV_958-3_1_2_node_35 | 0.4 | n |  | TRUE
17 | bus_LV_958-3_1_2_node_38 | 0.4 | n |  | TRUE
18 | bus_LV_958-3_1_2_node_37 | 0.4 | n |  | TRUE
19 | bus_LV_958-3_1_2_node_57 | 0.4 | n |  | TRUE
20 | bus_LV_958-3_1_2_node_39 | 0.4 | n |  | TRUE
21 | bus_LV_958-3_1_2_node_48 | 0.4 | n |  | TRUE
22 | bus_LV_958-3_1_2_node_40 | 0.4 | n |  | TRUE
23 | bus_LV_958-3_1_2_node_67 | 0.4 | n |  | TRUE
24 | bus_LV_958-3_1_2_node_135 | 0.4 | n |  | TRUE
25 | bus_LV_958-3_1_2_node_46 | 0.4 | n |  | TRUE
26 | bus_LV_958-3_1_2_node_47 | 0.4 | n |  | TRUE
27 | bus_LV_958-3_1_2_node_58 | 0.4 | n |  | TRUE
28 | bus_LV_958-3_1_2_node_49 | 0.4 | n |  | TRUE
29 | bus_LV_958-3_1_2_node_50 | 0.4 | n |  | TRUE
30 | bus_LV_958-3_1_2_node_51 | 0.4 | n |  | TRUE
31 | bus_LV_958-3_1_2_node_60 | 0.4 | n |  | TRUE
32 | bus_LV_958-3_1_2_node_72 | 0.4 | n |  | TRUE
33 | bus_LV_958-3_1_2_node_59 | 0.4 | n |  | TRUE
34 | bus_LV_958-3_1_2_node_69 | 0.4 | n |  | TRUE
35 | bus_LV_958-3_1_2_node_70 | 0.4 | n |  | TRUE
36 | bus_LV_958-3_1_2_node_71 | 0.4 | n |  | TRUE
37 | bus_LV_958-3_1_2_node_75 | 0.4 | n |  | TRUE
38 | bus_LV_958-3_1_2_node_76 | 0.4 | n |  | TRUE
39 | bus_LV_958-3_1_2_node_61 | 0.4 | n |  | TRUE
40 | bus_LV_958-3_1_2_node_62 | 0.4 | n |  | TRUE
41 | bus_LV_958-3_1_2_node_63 | 0.4 | n |  | TRUE
42 | bus_LV_958-3_1_2_node_64 | 0.4 | n |  | TRUE
43 | bus_LV_958-3_1_2_node_65 | 0.4 | n |  | TRUE
44 | bus_LV_958-3_1_2_node_66 | 0.4 | n |  | TRUE
45 | bus_LV_958-3_1_2_node_121 | 0.4 | n |  | TRUE
46 | bus_LV_958-3_1_2_node_101 | 0.4 | n |  | TRUE
47 | bus_LV_958-3_1_2_node_100 | 0.4 | n |  | TRUE
48 | bus_LV_958-3_1_2_node_88 | 0.4 | n |  | TRUE
49 | bus_LV_958-3_1_2_node_133 | 0.4 | n |  | TRUE
50 | bus_LV_958-3_1_2_node_134 | 0.4 | n |  | TRUE
51 | bus_LV_958-3_1_2_node_120 | 0.4 | n |  | TRUE
52 | bus_LV_958-3_1_2_node_139 | 0.4 | n |  | TRUE
53 | bus_LV_958-3_1_2_node_130 | 0.4 | n |  | TRUE
54 | bus_LV_958-3_1_2_node_87 | 0.4 | n |  | TRUE
55 | bus_LV_958-3_1_2_node_136 | 0.4 | n |  | TRUE
56 | bus_LV_958-3_1_2_node_126 | 0.4 | n |  | TRUE
57 | bus_LV_958-3_1_2_node_127 | 0.4 | n |  | TRUE
58 | bus_LV_958-3_1_2_node_128 | 0.4 | n |  | TRUE
59 | bus_LV_958-3_1_2_node_82 | 0.4 | n |  | TRUE
60 | bus_LV_958-3_1_2_node_83 | 0.4 | n |  | TRUE
61 | bus_LV_958-3_1_2_node_85 | 0.4 | n |  | TRUE
62 | bus_LV_958-3_1_2_node_137 | 0.4 | n |  | TRUE
63 | bus_LV_958-3_1_2_node_89 | 0.4 | n |  | TRUE
64 | bus_LV_958-3_1_2_node_90 | 0.4 | n |  | TRUE
65 | bus_LV_958-3_1_2_node_91 | 0.4 | n |  | TRUE
66 | bus_LV_958-3_1_2_node_92 | 0.4 | n |  | TRUE
67 | bus_LV_958-3_1_2_node_93 | 0.4 | n |  | TRUE
68 | bus_LV_958-3_1_2_node_94 | 0.4 | n |  | TRUE
69 | bus_LV_958-3_1_2_node_109 | 0.4 | n |  | TRUE
70 | bus_LV_958-3_1_2_node_107 | 0.4 | n |  | TRUE
71 | bus_LV_958-3_1_2_node_124 | 0.4 | n |  | TRUE
72 | bus_LV_958-3_1_2_node_146 | 0.4 | n |  | TRUE
73 | bus_LV_958-3_1_2_node_125 | 0.4 | n |  | TRUE
74 | bus_LV_958-3_1_2_node_147 | 0.4 | n |  | TRUE
75 | bus_LV_958-3_1_2_node_141 | 0.4 | n |  | TRUE
76 | bus_LV_958-3_1_2_node_140 | 0.4 | n |  | TRUE
77 | bus_LV_958-3_1_2_node_108 | 0.4 | n |  | TRUE
78 | bus_LV_958-3_1_2_node_110 | 0.4 | n |  | TRUE
79 | bus_LV_958-3_1_2_node_138 | 0.4 | n |  | TRUE
80 | bus_LV_958-3_1_2_node_129 | 0.4 | n |  | TRUE
81 | bus_LV_958-3_1_2_node_145 | 0.4 | n |  | TRUE
82 | bus_LV_958-3_1_2_node_143 | 0.4 | n |  | TRUE
83 | bus_LV_958-3_1_2_node_142 | 0.4 | n |  | TRUE
84 | bus_LV_958-3_1_2_node_144 | 0.4 | n |  | TRUE
85 | bus_MV_0_node_29 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_958-3_1_2_load_95 | 0 | 0.00048553 | 0.00012169 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_958-3_1_2_load_96 | 1 | 0.00026108 | 6.5434e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_958-3_1_2_load_52 | 3 | 0.0013163 | 0.00032988 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_958-3_1_2_load_97 | 4 | 0.0013206 | 0.00033098 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_958-3_1_2_load_28 | 6 | 0.00035514 | 8.9005e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_958-3_1_2_load_29 | 7 | 0.00082476 | 0.0002067 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_958-3_1_2_load_33 | 10 | 0.0011241 | 0.00028171 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_958-3_1_2_load_86 | 11 | 0.00078976 | 0.00019793 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_958-3_1_2_load_32 | 12 | 0.00025811 | 6.4688e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_958-3_1_2_load_34 | 13 | 0.00054945 | 0.00013771 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_958-3_1_2_load_84 | 15 | 0.0004777 | 0.00011972 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_958-3_1_2_load_38 | 17 | 0.00019165 | 4.8031e-05 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_958-3_1_2_load_37 | 18 | 0.00047887 | 0.00012002 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_958-3_1_2_load_57 | 19 | 0.00071789 | 0.00017992 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_958-3_1_2_load_39 | 20 | 0.00028494 | 7.1413e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_958-3_1_2_load_48 | 21 | 0.0011987 | 0.00030043 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_958-3_1_2_load_40 | 22 | 0.0011208 | 0.0002809 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_958-3_1_2_load_67 | 23 | 0.00047114 | 0.00011808 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_958-3_1_2_load_46 | 25 | 0.00047766 | 0.00011971 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_958-3_1_2_load_58 | 27 | 0.0003529 | 8.8444e-05 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_958-3_1_2_load_50 | 29 | 0.00040994 | 0.00010274 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_958-3_1_2_load_72 | 32 | 0.00062232 | 0.00015597 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_958-3_1_2_load_59 | 33 | 0.0013261 | 0.00033235 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_958-3_1_2_load_69 | 34 | 0.0003921 | 9.8268e-05 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_958-3_1_2_load_71 | 36 | 0.0012227 | 0.00030643 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_958-3_1_2_load_75 | 37 | 0.00032542 | 8.1557e-05 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_958-3_1_2_load_76 | 38 | 0.0004875 | 0.00012218 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_958-3_1_2_load_61 | 39 | 0.00082309 | 0.00020629 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_958-3_1_2_load_62 | 40 | 0.00096955 | 0.00024299 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_958-3_1_2_load_64 | 42 | 0.00087532 | 0.00021938 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_958-3_1_2_load_121 | 45 | 0.00078187 | 0.00019595 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_958-3_1_2_load_101 | 46 | 0.0036955 | 0.00092618 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_958-3_1_2_load_100 | 47 | 0.0012734 | 0.00031914 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_958-3_1_2_load_133 | 49 | 0.0061249 | 0.0015351 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_958-3_1_2_load_134 | 50 | 0.0023232 | 0.00058224 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_958-3_1_2_load_120 | 51 | 0.00077792 | 0.00019497 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_958-3_1_2_load_130 | 53 | 0.0029127 | 0.00072998 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_958-3_1_2_load_87 | 54 | 0.00051064 | 0.00012798 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_958-3_1_2_load_136 | 55 | 0.00041613 | 0.00010429 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_958-3_1_2_load_126 | 56 | 0.0016055 | 0.00040238 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_958-3_1_2_load_128 | 58 | 0.00075327 | 0.00018879 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_958-3_1_2_load_82 | 59 | 0.00030975 | 7.763e-05 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_958-3_1_2_load_83 | 60 | 0.00057181 | 0.00014331 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_958-3_1_2_load_85 | 61 | 0.00025164 | 6.3066e-05 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_958-3_1_2_load_137 | 62 | 0.0011777 | 0.00029516 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_958-3_1_2_load_89 | 63 | 0.00027416 | 6.8712e-05 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_958-3_1_2_load_90 | 64 | 0.00028392 | 7.1156e-05 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_958-3_1_2_load_92 | 66 | 0.0016093 | 0.00040333 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_958-3_1_2_load_93 | 67 | 0.00039634 | 9.9333e-05 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_958-3_1_2_load_107 | 70 | 0.0011455 | 0.00028709 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_958-3_1_2_load_146 | 72 | 0.00046918 | 0.00011759 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_958-3_1_2_load_147 | 74 | 0.0030749 | 0.00077063 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_958-3_1_2_load_140 | 76 | 0.00056694 | 0.00014209 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_958-3_1_2_load_108 | 77 | 0.0019851 | 0.00049752 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_958-3_1_2_load_110 | 78 | 0.00028165 | 7.0588e-05 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_958-3_1_2_load_138 | 79 | 0.00038545 | 9.6603e-05 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_958-3_1_2_load_129 | 80 | 0.0017621 | 0.00044162 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_958-3_1_2_load_145 | 81 | 0.0008541 | 0.00021406 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_958-3_1_2_load_143 | 82 | 0.0010292 | 0.00025793 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_958-3_1_2_load_144 | 84 | 0.001506 | 0.00037744 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 7 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_958-3_1_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.018898 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_958-3_1_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.11059 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_958-3_1_2_line_2 | NAYY 4x150 SE | 0 | 3 | 0.24458 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_958-3_1_2_line_3 | NAYY 4x150 SE | 1 | 4 | 0.01576 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_958-3_1_2_line_4 | NAYY 4x150 SE | 2 | 5 | 0.08044 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_958-3_1_2_line_5 | NAYY 4x150 SE | 3 | 34 | 0.1203 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_958-3_1_2_line_6 | NAYY 4x150 SE | 5 | 56 | 0.04106 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_958-3_1_2_line_7 | NAYY 4x150 SE | 6 | 7 | 0.03886 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_958-3_1_2_line_8 | NAYY 4x150 SE | 6 | 8 | 0.042733 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_958-3_1_2_line_9 | NAYY 4x150 SE | 7 | 9 | 0.015784 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_958-3_1_2_line_10 | NAYY 4x150 SE | 8 | 10 | 0.0041056 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_958-3_1_2_line_11 | NAYY 4x150 SE | 9 | 11 | 0.0083922 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_958-3_1_2_line_12 | NAYY 4x150 SE | 10 | 14 | 0.018708 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_958-3_1_2_line_13 | NAYY 4x150 SE | 11 | 15 | 0.012163 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_958-3_1_2_line_14 | NAYY 4x150 SE | 12 | 13 | 0.024861 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_958-3_1_2_line_15 | NAYY 4x150 SE | 13 | 16 | 0.012404 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_958-3_1_2_line_16 | NAYY 4x150 SE | 14 | 17 | 0.01538 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_958-3_1_2_line_17 | NAYY 4x150 SE | 14 | 16 | 0.01398 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_958-3_1_2_line_18 | NAYY 4x150 SE | 15 | 59 | 0.016726 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_958-3_1_2_line_19 | NAYY 4x150 SE | 16 | 18 | 0.014279 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_958-3_1_2_line_20 | NAYY 4x150 SE | 17 | 20 | 0.091802 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_958-3_1_2_line_21 | NAYY 4x150 SE | 18 | 19 | 0.021218 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_958-3_1_2_line_22 | NAYY 4x150 SE | 19 | 21 | 0.027725 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_958-3_1_2_line_23 | NAYY 4x150 SE | 20 | 22 | 0.0065165 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_958-3_1_2_line_24 | NAYY 4x150 SE | 21 | 26 | 0.026329 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_958-3_1_2_line_25 | NAYY 4x150 SE | 23 | 24 | 0.34954 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_958-3_1_2_line_26 | NAYY 4x150 SE | 24 | 55 | 0.016569 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_958-3_1_2_line_27 | NAYY 4x150 SE | 25 | 26 | 0.010293 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_958-3_1_2_line_28 | NAYY 4x150 SE | 25 | 27 | 0.12789 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_958-3_1_2_line_29 | NAYY 4x150 SE | 27 | 29 | 0.0069185 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_958-3_1_2_line_30 | NAYY 4x150 SE | 28 | 29 | 0.024227 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_958-3_1_2_line_31 | NAYY 4x150 SE | 28 | 30 | 0.10437 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_958-3_1_2_line_32 | NAYY 4x150 SE | 30 | 31 | 0.022433 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_958-3_1_2_line_33 | NAYY 4x150 SE | 30 | 32 | 0.016758 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_958-3_1_2_line_34 | NAYY 4x150 SE | 31 | 33 | 0.029617 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_958-3_1_2_line_35 | NAYY 4x150 SE | 32 | 35 | 0.050481 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_958-3_1_2_line_36 | NAYY 4x150 SE | 34 | 35 | 0.026239 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_958-3_1_2_line_37 | NAYY 4x150 SE | 35 | 36 | 0.028287 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_958-3_1_2_line_38 | NAYY 4x150 SE | 36 | 37 | 0.007015 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_958-3_1_2_line_39 | NAYY 4x150 SE | 37 | 38 | 0.023866 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_958-3_1_2_line_40 | NAYY 4x150 SE | 39 | 40 | 0.019982 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_958-3_1_2_line_41 | NAYY 4x150 SE | 39 | 41 | 0.049333 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_958-3_1_2_line_42 | NAYY 4x150 SE | 40 | 42 | 0.0011502 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_958-3_1_2_line_43 | NAYY 4x150 SE | 41 | 43 | 0.018107 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_958-3_1_2_line_44 | NAYY 4x150 SE | 41 | 44 | 0.048696 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_958-3_1_2_line_45 | NAYY 4x150 SE | 42 | 45 | 0.016995 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_958-3_1_2_line_46 | NAYY 4x150 SE | 43 | 46 | 0.027814 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_958-3_1_2_line_47 | NAYY 4x150 SE | 43 | 47 | 0.041105 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_958-3_1_2_line_48 | NAYY 4x150 SE | 44 | 48 | 0.042627 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_958-3_1_2_line_49 | NAYY 4x150 SE | 44 | 49 | 0.027836 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_958-3_1_2_line_50 | NAYY 4x150 SE | 44 | 50 | 0.094828 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_958-3_1_2_line_51 | NAYY 4x150 SE | 45 | 51 | 0.01556 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_958-3_1_2_line_52 | NAYY 4x150 SE | 46 | 52 | 0.02946 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_958-3_1_2_line_53 | NAYY 4x150 SE | 48 | 53 | 0.03477 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_958-3_1_2_line_54 | NAYY 4x150 SE | 48 | 54 | 0.0367 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_958-3_1_2_line_55 | NAYY 4x150 SE | 50 | 55 | 0.079381 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_958-3_1_2_line_56 | NAYY 4x150 SE | 52 | 76 | 0.0024883 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_958-3_1_2_line_57 | NAYY 4x150 SE | 53 | 62 | 0.0055032 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_958-3_1_2_line_58 | NAYY 4x150 SE | 54 | 61 | 0.011383 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_958-3_1_2_line_59 | NAYY 4x150 SE | 56 | 57 | 0.031239 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_958-3_1_2_line_60 | NAYY 4x150 SE | 57 | 58 | 0.013106 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_958-3_1_2_line_61 | NAYY 4x150 SE | 59 | 60 | 0.0020324 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_958-3_1_2_line_62 | NAYY 4x150 SE | 60 | 61 | 0.0067822 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_958-3_1_2_line_63 | NAYY 4x150 SE | 63 | 64 | 0.01685 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_958-3_1_2_line_64 | NAYY 4x150 SE | 63 | 65 | 0.0096906 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_958-3_1_2_line_65 | NAYY 4x150 SE | 64 | 66 | 0.0055128 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_958-3_1_2_line_66 | NAYY 4x150 SE | 65 | 67 | 0.041943 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_958-3_1_2_line_67 | NAYY 4x150 SE | 65 | 68 | 0.033247 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_958-3_1_2_line_68 | NAYY 4x150 SE | 66 | 69 | 0.1121 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_958-3_1_2_line_69 | NAYY 4x150 SE | 67 | 71 | 0.017102 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_958-3_1_2_line_70 | NAYY 4x150 SE | 68 | 72 | 0.01912 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_958-3_1_2_line_71 | NAYY 4x150 SE | 69 | 70 | 0.047879 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_958-3_1_2_line_72 | NAYY 4x150 SE | 70 | 77 | 0.012319 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_958-3_1_2_line_73 | NAYY 4x150 SE | 71 | 73 | 0.040001 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_958-3_1_2_line_74 | NAYY 4x150 SE | 73 | 80 | 0.010347 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_958-3_1_2_line_75 | NAYY 4x150 SE | 74 | 75 | 0.026876 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_958-3_1_2_line_76 | NAYY 4x150 SE | 75 | 84 | 0.023235 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_958-3_1_2_line_77 | NAYY 4x150 SE | 76 | 83 | 0.023696 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_958-3_1_2_line_78 | NAYY 4x150 SE | 77 | 78 | 0.0061412 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_958-3_1_2_line_79 | NAYY 4x150 SE | 78 | 79 | 0.0066012 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_958-3_1_2_line_80 | NAYY 4x150 SE | 79 | 81 | 0.01083 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_958-3_1_2_line_81 | NAYY 4x150 SE | 81 | 82 | 0.021151 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_958-3_1_2_line_82 | NAYY 4x150 SE | 82 | 83 | 0.063375 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_958-3_1_2_line_83 | NAYY 4x150 SE | 83 | 84 | 0.0093291 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_958-3_1_2_trafo_29 | 0.25 MVA 20/0.4 kV | 85 | 7 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2623868.3856 | 1207100.2967 | 2623850.974 | 1207104.8872 | 2623850.0958 | 1207105.042
1 | 2623973.8404 | 1207133.6164 | 2623868.3856 | 1207100.2967
2 | 2623868.3856 | 1207100.2967 | 2623872.4717 | 1206855.7507
3 | 2623850.0958 | 1207105.042 | 2623839.1344 | 1207106.9745 | 2623834.5063 | 1207107.099
4 | 2623971.2668 | 1207204.679 | 2623978.3702 | 1207187.1866 | 2623987.3371 | 1207171.4471 | 2623989.1008 | 1207156.368 | 2623979.2199 | 1207136.484 | 2623973.8404 | 1207133.6164
5 | 2623905.9827 | 1206740.2154 | 2623872.4717 | 1206855.7507
6 | 2623971.2668 | 1207204.679 | 2623978.4296 | 1207221.6838 | 2623994.5301 | 1207237.5551
7 | 2623625.6307 | 1206346.676 | 2623641.6872 | 1206371.1046 | 2623646.1864 | 1206379.6153
8 | 2623666.1581 | 1206417.3936 | 2623646.1864 | 1206379.6153
9 | 2623616.9611 | 1206333.486 | 2623625.6307 | 1206346.676
10 | 2623666.1581 | 1206417.3936 | 2623668.2245 | 1206420.9412
11 | 2623616.9611 | 1206333.486 | 2623612.5556 | 1206326.3433
12 | 2623679.1182 | 1206436.0997 | 2623671.2792 | 1206426.1854 | 2623668.2245 | 1206420.9412
13 | 2623612.5556 | 1206326.3433 | 2623606.1703 | 1206315.9908
14 | 2623693.0862 | 1206416.747 | 2623700.8134 | 1206426.6248 | 2623701.1914 | 1206432.9298 | 2623697.0918 | 1206437.3152
15 | 2623688.6211 | 1206446.3764 | 2623697.0918 | 1206437.3152
16 | 2623679.1182 | 1206436.0997 | 2623672.4334 | 1206441.9765 | 2623668.5407 | 1206447.1555
17 | 2623688.6211 | 1206446.3764 | 2623679.1182 | 1206436.0997
18 | 2623597.1507 | 1206301.9103 | 2623600.7529 | 1206307.2075 | 2623606.1703 | 1206315.9908
19 | 2623688.6211 | 1206446.3764 | 2623698.5803 | 1206456.6086
20 | 2623668.5407 | 1206447.1555 | 2623663.5273 | 1206453.8257 | 2623654.764 | 1206466.0867 | 2623633.222 | 1206496.5074 | 2623615.1755 | 1206521.8502 | 2623615.1755 | 1206521.8502
21 | 2623713.3791 | 1206471.8132 | 2623698.5803 | 1206456.6086
22 | 2623713.3791 | 1206471.8132 | 2623732.7164 | 1206491.6808
23 | 2623615.1755 | 1206521.8502 | 2623614.7392 | 1206528.3521
24 | 2623751.0805 | 1206510.5485 | 2623732.7164 | 1206491.6808
25 | 2623410.8951 | 1206342.07 | 2623249.441 | 1206652.0916
26 | 2623427.3233 | 1206339.5773 | 2623410.8951 | 1206342.07
27 | 2623751.0805 | 1206510.5485 | 2623758.2015 | 1206517.9814
28 | 2623758.2015 | 1206517.9814 | 2623869.8794 | 1206580.2926
29 | 2623874.0934 | 1206585.7798 | 2623869.8794 | 1206580.2926
30 | 2623857.2262 | 1206603.1444 | 2623862.5546 | 1206597.985 | 2623866.8826 | 1206593.8777 | 2623874.0934 | 1206585.7798
31 | 2623857.2262 | 1206603.1444 | 2623869.1587 | 1206612.3193 | 2623884.9327 | 1206623.066 | 2623947.0252 | 1206656.3438
32 | 2623955.9502 | 1206636.0571 | 2623953.6703 | 1206645.1975 | 2623950.8718 | 1206650.9228 | 2623947.0252 | 1206656.3438
33 | 2623947.0252 | 1206656.3438 | 2623941.8328 | 1206665.5059 | 2623938.8822 | 1206670.9898
34 | 2623955.9502 | 1206636.0571 | 2623952.2072 | 1206632.6736 | 2623947.723 | 1206630.2098 | 2623941.0906 | 1206628.6713 | 2623929.723 | 1206623.1297
35 | 2623916.9307 | 1206716.4123 | 2623929.2149 | 1206688.9573 | 2623938.8822 | 1206670.9898
36 | 2623916.9307 | 1206716.4123 | 2623914.5522 | 1206721.728 | 2623910.0515 | 1206732.9051 | 2623905.9827 | 1206740.2154
37 | 2623916.9307 | 1206716.4123 | 2623906.8606 | 1206722.6755 | 2623898.9044 | 1206723.2552 | 2623890.7865 | 1206720.9071
38 | 2623884.0372 | 1206719 | 2623884.6403 | 1206719.1293 | 2623890.7865 | 1206720.9071
39 | 2623884.0372 | 1206719 | 2623860.7011 | 1206713.9966
40 | 2623533.8437 | 1206151.1483 | 2623532.808 | 1206148.0072 | 2623529.6231 | 1206131.6398
41 | 2623570.3842 | 1206180.6843 | 2623566.4914 | 1206174.6546 | 2623561.479 | 1206169.0651 | 2623555.5814 | 1206166.1958 | 2623548.2392 | 1206165.1441 | 2623540.7146 | 1206160.234 | 2623535.025 | 1206154.7308 | 2623533.8437 | 1206151.1483
42 | 2623529.4034 | 1206130.5108 | 2623529.6231 | 1206131.6398
43 | 2623581.5814 | 1206166.4317 | 2623570.3842 | 1206180.6843
44 | 2623541.3177 | 1206219.5359 | 2623553.3134 | 1206207.1763 | 2623570.3842 | 1206180.6843
45 | 2623529.4034 | 1206130.5108 | 2623526.1572 | 1206113.8285
46 | 2623581.5814 | 1206166.4317 | 2623583.1636 | 1206164.4257 | 2623588.8862 | 1206157.6889 | 2623599.0961 | 1206148.9132 | 2623601.5062 | 1206147.1994
47 | 2623581.5814 | 1206166.4317 | 2623607.1045 | 1206189.2561 | 2623612.4286 | 1206193.5906
48 | 2623541.3177 | 1206219.5359 | 2623545.0681 | 1206224.9981 | 2623555.8615 | 1206241.8166 | 2623565.1564 | 1206254.8604
49 | 2623541.3177 | 1206219.5359 | 2623525.3915 | 1206196.7056
50 | 2623541.3177 | 1206219.5359 | 2623459.1368 | 1206266.85
51 | 2623522.2288 | 1206098.788 | 2623525.2047 | 1206108.9335 | 2623526.1572 | 1206113.8285
52 | 2623627.1149 | 1206132.9038 | 2623624.4724 | 1206133.7939 | 2623610.7567 | 1206140.6213 | 2623601.5062 | 1206147.1994
53 | 2623565.1564 | 1206254.8604 | 2623571.5834 | 1206248.8046 | 2623576.3099 | 1206240.0851 | 2623582.6654 | 1206230.9606 | 2623587.562 | 1206231.18
54 | 2623565.1564 | 1206254.8604 | 2623585.7932 | 1206285.2083
55 | 2623427.3233 | 1206339.5773 | 2623459.1368 | 1206266.85
56 | 2623627.1149 | 1206132.9038 | 2623629.4807 | 1206132.1329
57 | 2623591.8298 | 1206234.6543 | 2623587.562 | 1206231.18
58 | 2623592.1941 | 1206294.6213 | 2623585.7932 | 1206285.2083
59 | 2623997.3427 | 1207260.6702 | 2624005.1937 | 1207252.0525 | 2624006.1629 | 1207249.2771 | 2624004.9705 | 1207247.0377 | 2623994.9399 | 1207237.9591 | 2623994.5301 | 1207237.5551
60 | 2623997.3427 | 1207260.6702 | 2623997.9715 | 1207265.0419 | 2624001.6893 | 1207272.8955
61 | 2623597.1507 | 1206301.9103 | 2623596.0078 | 1206300.2296
62 | 2623592.1941 | 1206294.6213 | 2623596.0078 | 1206300.2296
63 | 2623747.6569 | 1205961.288 | 2623757.1226 | 1205975.228
64 | 2623742.2132 | 1205953.2709 | 2623747.6569 | 1205961.288
65 | 2623760.2194 | 1205979.7887 | 2623757.1226 | 1205975.228
66 | 2623742.2132 | 1205953.2709 | 2623725.5016 | 1205957.8961 | 2623717.6825 | 1205958.143 | 2623710.5422 | 1205956.0135 | 2623703.3182 | 1205950.111
67 | 2623742.2132 | 1205953.2709 | 2623748.2137 | 1205951.3381 | 2623757.752 | 1205947.1403 | 2623767.1507 | 1205941.708 | 2623771.5833 | 1205938.1792
68 | 2623809.7198 | 1206080.3651 | 2623760.2194 | 1205979.7887
69 | 2623690.0746 | 1205939.2899 | 2623703.3182 | 1205950.111
70 | 2623771.5833 | 1205938.1792 | 2623784.4158 | 1205948.9917 | 2623783.8119 | 1205951.2516
71 | 2623809.7198 | 1206080.3651 | 2623803.2544 | 1206082.5851 | 2623797.5332 | 1206085.0526 | 2623789.034 | 1206090.0104 | 2623785.7488 | 1206091.8873 | 2623782.8266 | 1206094.2659 | 2623780.0692 | 1206097.3011 | 2623774.1847 | 1206104.515 | 2623771.5823 | 1206106.7948 | 2623771.0939 | 1206107.0505
72 | 2623771.0939 | 1206107.0505 | 2623768.6102 | 1206108.3505 | 2623764.8417 | 1206109.3917 | 2623759.3144 | 1206110.3249
73 | 2623690.0746 | 1205939.2899 | 2623701.5513 | 1205925.7056 | 2623708.6661 | 1205920.8644 | 2623719.158 | 1205912.1011
74 | 2623719.158 | 1205912.1011 | 2623724.9557 | 1205911.446 | 2623729.44 | 1205910.9447
75 | 2623643.4382 | 1206095.5365 | 2623644.9218 | 1206093.4412 | 2623645.8574 | 1206089.5649 | 2623646.13 | 1206085.9974 | 2623645.7137 | 1206081.66 | 2623644.7106 | 1206079.5437 | 2623643.1498 | 1206078.059 | 2623641.4933 | 1206077.73 | 2623635.3445 | 1206078.7174
76 | 2623643.4382 | 1206095.5365 | 2623645.7493 | 1206099.5812 | 2623646.5655 | 1206102.8084 | 2623648.5229 | 1206111.6766 | 2623650.1002 | 1206117.6374
77 | 2623652.4867 | 1206126.6561 | 2623637.9353 | 1206129.3779 | 2623629.4807 | 1206132.1329
78 | 2623753.2589 | 1206111.3473 | 2623759.3144 | 1206110.3249
79 | 2623746.7498 | 1206112.4463 | 2623753.2589 | 1206111.3473
80 | 2623746.7498 | 1206112.4463 | 2623736.0709 | 1206114.2493
81 | 2623715.2575 | 1206118.0132 | 2623731.5174 | 1206115.0181 | 2623736.0709 | 1206114.2493
82 | 2623652.4867 | 1206126.6561 | 2623705.8168 | 1206119.7522 | 2623715.2575 | 1206118.0132
83 | 2623652.4867 | 1206126.6561 | 2623650.1002 | 1206117.6374

## bus_geodata
| x | y | coords
0 | 2623868.3856 | 1207100.2967
1 | 2623850.0958 | 1207105.042
2 | 2623973.8404 | 1207133.6164
3 | 2623872.4717 | 1206855.7507
4 | 2623834.5063 | 1207107.099
5 | 2623971.2668 | 1207204.679
6 | 2623646.1864 | 1206379.6153
7 | 2623625.6307 | 1206346.676
8 | 2623666.1581 | 1206417.3936
9 | 2623616.9611 | 1206333.486
10 | 2623668.2245 | 1206420.9412
11 | 2623612.5556 | 1206326.3433
12 | 2623693.0862 | 1206416.747
13 | 2623697.0918 | 1206437.3152
14 | 2623679.1182 | 1206436.0997
15 | 2623606.1703 | 1206315.9908
16 | 2623688.6211 | 1206446.3764
17 | 2623668.5407 | 1206447.1555
18 | 2623698.5803 | 1206456.6086
19 | 2623713.3791 | 1206471.8132
20 | 2623615.1755 | 1206521.8502
21 | 2623732.7164 | 1206491.6808
22 | 2623614.7392 | 1206528.3521
23 | 2623249.441 | 1206652.0916
24 | 2623410.8951 | 1206342.07
25 | 2623758.2015 | 1206517.9814
26 | 2623751.0805 | 1206510.5485
27 | 2623869.8794 | 1206580.2926
28 | 2623857.2262 | 1206603.1444
29 | 2623874.0934 | 1206585.7798
30 | 2623947.0252 | 1206656.3438
31 | 2623955.9502 | 1206636.0571
32 | 2623938.8822 | 1206670.9898
33 | 2623929.723 | 1206623.1297
34 | 2623905.9827 | 1206740.2154
35 | 2623916.9307 | 1206716.4123
36 | 2623890.7865 | 1206720.9071
37 | 2623884.0372 | 1206719
38 | 2623860.7011 | 1206713.9966
39 | 2623533.8437 | 1206151.1483
40 | 2623529.6231 | 1206131.6398
41 | 2623570.3842 | 1206180.6843
42 | 2623529.4034 | 1206130.5108
43 | 2623581.5814 | 1206166.4317
44 | 2623541.3177 | 1206219.5359
45 | 2623526.1572 | 1206113.8285
46 | 2623601.5062 | 1206147.1994
47 | 2623612.4286 | 1206193.5906
48 | 2623565.1564 | 1206254.8604
49 | 2623525.3915 | 1206196.7056
50 | 2623459.1368 | 1206266.85
51 | 2623522.2288 | 1206098.788
52 | 2623627.1149 | 1206132.9038
53 | 2623587.562 | 1206231.18
54 | 2623585.7932 | 1206285.2083
55 | 2623427.3233 | 1206339.5773
56 | 2623994.5301 | 1207237.5551
57 | 2623997.3427 | 1207260.6702
58 | 2624001.6893 | 1207272.8955
59 | 2623597.1507 | 1206301.9103
60 | 2623596.0078 | 1206300.2296
61 | 2623592.1941 | 1206294.6213
62 | 2623591.8298 | 1206234.6543
63 | 2623747.6569 | 1205961.288
64 | 2623757.1226 | 1205975.228
65 | 2623742.2132 | 1205953.2709
66 | 2623760.2194 | 1205979.7887
67 | 2623703.3182 | 1205950.111
68 | 2623771.5833 | 1205938.1792
69 | 2623809.7198 | 1206080.3651
70 | 2623771.0939 | 1206107.0505
71 | 2623690.0746 | 1205939.2899
72 | 2623783.8119 | 1205951.2516
73 | 2623719.158 | 1205912.1011
74 | 2623635.3445 | 1206078.7174
75 | 2623643.4382 | 1206095.5365
76 | 2623629.4807 | 1206132.1329
77 | 2623759.3144 | 1206110.3249
78 | 2623753.2589 | 1206111.3473
79 | 2623746.7498 | 1206112.4463
80 | 2623729.44 | 1205910.9447
81 | 2623736.0709 | 1206114.2493
82 | 2623715.2575 | 1206118.0132
83 | 2623652.4867 | 1206126.6561
84 | 2623650.1002 | 1206117.6374
85 | 2623625.6307 | 1206346.676

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1