## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_959-1_1_2_node_9 | 0.4 | n |  | TRUE
1 | bus_LV_959-1_1_2_node_17 | 0.4 | n |  | TRUE
2 | bus_LV_959-1_1_2_node_16 | 0.4 | n |  | TRUE
3 | bus_LV_959-1_1_2_node_18 | 0.4 | n |  | TRUE
4 | bus_LV_959-1_1_2_node_14 | 0.4 | n |  | TRUE
5 | bus_LV_959-1_1_2_node_13 | 0.4 | n |  | TRUE
6 | bus_LV_959-1_1_2_node_15 | 0.4 | n |  | TRUE
7 | bus_LV_959-1_1_2_node_19 | 0.4 | n |  | TRUE
8 | bus_LV_959-1_1_2_node_20 | 0.4 | n |  | TRUE
9 | bus_LV_959-1_1_2_node_21 | 0.4 | n |  | TRUE
10 | bus_LV_959-1_1_2_node_168 | 0.4 | n |  | TRUE
11 | bus_LV_959-1_1_2_node_127 | 0.4 | n |  | TRUE
12 | bus_LV_959-1_1_2_node_126 | 0.4 | n |  | TRUE
13 | bus_LV_959-1_1_2_node_37 | 0.4 | n |  | TRUE
14 | bus_LV_959-1_1_2_node_178 | 0.4 | n |  | TRUE
15 | bus_LV_959-1_1_2_node_55 | 0.4 | n |  | TRUE
16 | bus_LV_959-1_1_2_node_67 | 0.4 | n |  | TRUE
17 | bus_LV_959-1_1_2_node_151 | 0.4 | n |  | TRUE
18 | bus_LV_959-1_1_2_node_129 | 0.4 | n |  | TRUE
19 | bus_LV_959-1_1_2_node_61 | 0.4 | n |  | TRUE
20 | bus_LV_959-1_1_2_node_59 | 0.4 | n |  | TRUE
21 | bus_LV_959-1_1_2_node_45 | 0.4 | n |  | TRUE
22 | bus_LV_959-1_1_2_node_46 | 0.4 | n |  | TRUE
23 | bus_LV_959-1_1_2_node_47 | 0.4 | n |  | TRUE
24 | bus_LV_959-1_1_2_node_48 | 0.4 | n |  | TRUE
25 | bus_LV_959-1_1_2_node_49 | 0.4 | n |  | TRUE
26 | bus_LV_959-1_1_2_node_50 | 0.4 | n |  | TRUE
27 | bus_LV_959-1_1_2_node_51 | 0.4 | n |  | TRUE
28 | bus_LV_959-1_1_2_node_62 | 0.4 | n |  | TRUE
29 | bus_LV_959-1_1_2_node_58 | 0.4 | n |  | TRUE
30 | bus_LV_959-1_1_2_node_139 | 0.4 | n |  | TRUE
31 | bus_LV_959-1_1_2_node_57 | 0.4 | n |  | TRUE
32 | bus_LV_959-1_1_2_node_56 | 0.4 | n |  | TRUE
33 | bus_LV_959-1_1_2_node_66 | 0.4 | n |  | TRUE
34 | bus_LV_959-1_1_2_node_140 | 0.4 | n |  | TRUE
35 | bus_LV_959-1_1_2_node_60 | 0.4 | n |  | TRUE
36 | bus_LV_959-1_1_2_node_65 | 0.4 | n |  | TRUE
37 | bus_LV_959-1_1_2_node_64 | 0.4 | n |  | TRUE
38 | bus_LV_959-1_1_2_node_63 | 0.4 | n |  | TRUE
39 | bus_LV_959-1_1_2_node_108 | 0.4 | n |  | TRUE
40 | bus_LV_959-1_1_2_node_109 | 0.4 | n |  | TRUE
41 | bus_LV_959-1_1_2_node_110 | 0.4 | n |  | TRUE
42 | bus_LV_959-1_1_2_node_111 | 0.4 | n |  | TRUE
43 | bus_LV_959-1_1_2_node_112 | 0.4 | n |  | TRUE
44 | bus_LV_959-1_1_2_node_162 | 0.4 | n |  | TRUE
45 | bus_LV_959-1_1_2_node_165 | 0.4 | n |  | TRUE
46 | bus_LV_959-1_1_2_node_124 | 0.4 | n |  | TRUE
47 | bus_LV_959-1_1_2_node_166 | 0.4 | n |  | TRUE
48 | bus_LV_959-1_1_2_node_113 | 0.4 | n |  | TRUE
49 | bus_LV_959-1_1_2_node_114 | 0.4 | n |  | TRUE
50 | bus_LV_959-1_1_2_node_115 | 0.4 | n |  | TRUE
51 | bus_LV_959-1_1_2_node_116 | 0.4 | n |  | TRUE
52 | bus_LV_959-1_1_2_node_117 | 0.4 | n |  | TRUE
53 | bus_LV_959-1_1_2_node_118 | 0.4 | n |  | TRUE
54 | bus_LV_959-1_1_2_node_121 | 0.4 | n |  | TRUE
55 | bus_LV_959-1_1_2_node_122 | 0.4 | n |  | TRUE
56 | bus_LV_959-1_1_2_node_119 | 0.4 | n |  | TRUE
57 | bus_LV_959-1_1_2_node_123 | 0.4 | n |  | TRUE
58 | bus_LV_959-1_1_2_node_132 | 0.4 | n |  | TRUE
59 | bus_LV_959-1_1_2_node_120 | 0.4 | n |  | TRUE
60 | bus_LV_959-1_1_2_node_125 | 0.4 | n |  | TRUE
61 | bus_LV_959-1_1_2_node_159 | 0.4 | n |  | TRUE
62 | bus_LV_959-1_1_2_node_161 | 0.4 | n |  | TRUE
63 | bus_LV_959-1_1_2_node_133 | 0.4 | n |  | TRUE
64 | bus_LV_959-1_1_2_node_134 | 0.4 | n |  | TRUE
65 | bus_LV_959-1_1_2_node_148 | 0.4 | n |  | TRUE
66 | bus_LV_959-1_1_2_node_158 | 0.4 | n |  | TRUE
67 | bus_LV_959-1_1_2_node_141 | 0.4 | n |  | TRUE
68 | bus_LV_959-1_1_2_node_128 | 0.4 | n |  | TRUE
69 | bus_LV_959-1_1_2_node_131 | 0.4 | n |  | TRUE
70 | bus_LV_959-1_1_2_node_150 | 0.4 | n |  | TRUE
71 | bus_LV_959-1_1_2_node_130 | 0.4 | n |  | TRUE
72 | bus_LV_959-1_1_2_node_152 | 0.4 | n |  | TRUE
73 | bus_LV_959-1_1_2_node_138 | 0.4 | n |  | TRUE
74 | bus_LV_959-1_1_2_node_135 | 0.4 | n |  | TRUE
75 | bus_LV_959-1_1_2_node_155 | 0.4 | n |  | TRUE
76 | bus_LV_959-1_1_2_node_173 | 0.4 | n |  | TRUE
77 | bus_LV_959-1_1_2_node_170 | 0.4 | n |  | TRUE
78 | bus_LV_959-1_1_2_node_136 | 0.4 | n |  | TRUE
79 | bus_LV_959-1_1_2_node_143 | 0.4 | n |  | TRUE
80 | bus_LV_959-1_1_2_node_142 | 0.4 | n |  | TRUE
81 | bus_LV_959-1_1_2_node_174 | 0.4 | n |  | TRUE
82 | bus_LV_959-1_1_2_node_175 | 0.4 | n |  | TRUE
83 | bus_LV_959-1_1_2_node_172 | 0.4 | n |  | TRUE
84 | bus_LV_959-1_1_2_node_137 | 0.4 | n |  | TRUE
85 | bus_LV_959-1_1_2_node_169 | 0.4 | n |  | TRUE
86 | bus_LV_959-1_1_2_node_144 | 0.4 | n |  | TRUE
87 | bus_LV_959-1_1_2_node_145 | 0.4 | n |  | TRUE
88 | bus_LV_959-1_1_2_node_147 | 0.4 | n |  | TRUE
89 | bus_LV_959-1_1_2_node_164 | 0.4 | n |  | TRUE
90 | bus_LV_959-1_1_2_node_149 | 0.4 | n |  | TRUE
91 | bus_LV_959-1_1_2_node_160 | 0.4 | n |  | TRUE
92 | bus_LV_959-1_1_2_node_153 | 0.4 | n |  | TRUE
93 | bus_LV_959-1_1_2_node_163 | 0.4 | n |  | TRUE
94 | bus_LV_959-1_1_2_node_154 | 0.4 | n |  | TRUE
95 | bus_LV_959-1_1_2_node_157 | 0.4 | n |  | TRUE
96 | bus_LV_959-1_1_2_node_171 | 0.4 | n |  | TRUE
97 | bus_LV_959-1_1_2_node_182 | 0.4 | n |  | TRUE
98 | bus_MV_129_2_node_263 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_959-1_1_2_load_17 | 1 | 0.00024297 | 6.0895e-05 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_959-1_1_2_load_16 | 2 | 0.0005787 | 0.00014504 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_959-1_1_2_load_14 | 4 | 0.00041643 | 0.00010437 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_959-1_1_2_load_13 | 5 | 0.00031287 | 7.8412e-05 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_959-1_1_2_load_15 | 6 | 0.0019551 | 0.00049 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_959-1_1_2_load_20 | 8 | 0.00079086 | 0.00019821 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_959-1_1_2_load_21 | 9 | 0.00104 | 0.00026064 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_959-1_1_2_load_168 | 10 | 0.001461 | 0.00036617 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_959-1_1_2_load_127 | 11 | 0.00029374 | 7.3619e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_959-1_1_2_load_126 | 12 | 0.00043769 | 0.00010969 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_959-1_1_2_load_178 | 14 | 0.00061091 | 0.00015311 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_959-1_1_2_load_67 | 16 | 0.00025499 | 6.3905e-05 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_959-1_1_2_load_151 | 17 | 0.0036657 | 0.0009187 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_959-1_1_2_load_61 | 19 | 6.4591e-05 | 1.6188e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_959-1_1_2_load_45 | 21 | 6.8052e-05 | 1.7055e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_959-1_1_2_load_49 | 25 | 0.00067232 | 0.0001685 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_959-1_1_2_load_62 | 28 | 8.7944e-05 | 2.2041e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_959-1_1_2_load_58 | 29 | 0.00014551 | 3.6469e-05 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_959-1_1_2_load_139 | 30 | 0.00036594 | 9.1714e-05 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_959-1_1_2_load_57 | 31 | 0.00031532 | 7.9026e-05 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_959-1_1_2_load_56 | 32 | 0.00014305 | 3.5852e-05 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_959-1_1_2_load_140 | 34 | 0.00011406 | 2.8587e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_959-1_1_2_load_65 | 36 | 0.00077504 | 0.00019424 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_959-1_1_2_load_64 | 37 | 9.2418e-05 | 2.3162e-05 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_959-1_1_2_load_63 | 38 | 9.5638e-05 | 2.3969e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_959-1_1_2_load_108 | 39 | 0.00054776 | 0.00013728 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_959-1_1_2_load_109 | 40 | 0.0073765 | 0.0018487 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_959-1_1_2_load_111 | 42 | 0.0006022 | 0.00015092 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_959-1_1_2_load_165 | 45 | 0.0011038 | 0.00027663 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_959-1_1_2_load_113 | 48 | 0.00082855 | 0.00020766 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_959-1_1_2_load_114 | 49 | 0.0021474 | 0.00053819 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_959-1_1_2_load_117 | 52 | 0.0012959 | 0.00032479 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_959-1_1_2_load_118 | 53 | 0.0024937 | 0.00062498 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_959-1_1_2_load_121 | 54 | 0.005088 | 0.0012752 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_959-1_1_2_load_122 | 55 | 0.0022587 | 0.00056607 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_959-1_1_2_load_119 | 56 | 0.0010991 | 0.00027546 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_959-1_1_2_load_123 | 57 | 0.0013415 | 0.0003362 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_959-1_1_2_load_125 | 60 | 0.0060832 | 0.0015246 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_959-1_1_2_load_161 | 62 | 0.00033532 | 8.4038e-05 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_959-1_1_2_load_134 | 64 | 0.001941 | 0.00048645 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_959-1_1_2_load_158 | 66 | 0.013656 | 0.0034226 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_959-1_1_2_load_141 | 67 | 8.7159e-05 | 2.1844e-05 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_959-1_1_2_load_150 | 70 | 0.0035112 | 0.00087999 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_959-1_1_2_load_138 | 73 | 0.0046623 | 0.0011685 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_959-1_1_2_load_135 | 74 | 0.0014557 | 0.00036483 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_959-1_1_2_load_173 | 76 | 0.0072677 | 0.0018214 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_959-1_1_2_load_136 | 78 | 0.0014014 | 0.00035123 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_959-1_1_2_load_143 | 79 | 0.0074544 | 0.0018682 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_959-1_1_2_load_142 | 80 | 0.0034149 | 0.00085584 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_959-1_1_2_load_175 | 82 | 0.0084363 | 0.0021143 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_959-1_1_2_load_137 | 84 | 0.0017812 | 0.00044641 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_959-1_1_2_load_169 | 85 | 0.0021338 | 0.00053478 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_959-1_1_2_load_144 | 86 | 0.0028362 | 0.00071081 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_959-1_1_2_load_145 | 87 | 0.0028931 | 0.00072507 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_959-1_1_2_load_147 | 88 | 0.0011199 | 0.00028068 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_959-1_1_2_load_164 | 89 | 0.0004823 | 0.00012087 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_959-1_1_2_load_160 | 91 | 0.010745 | 0.0026928 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_959-1_1_2_load_153 | 92 | 0.0085047 | 0.0021315 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_959-1_1_2_load_163 | 93 | 0.00016368 | 4.1021e-05 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_959-1_1_2_load_154 | 94 | 0.009784 | 0.0024521 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_959-1_1_2_load_157 | 95 | 0.00051904 | 0.00013008 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_959-1_1_2_load_182 | 97 | 0.0050984 | 0.0012778 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 82 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_959-1_1_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.13208 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_959-1_1_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.19179 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_959-1_1_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.24652 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_959-1_1_2_line_3 | NAYY 4x150 SE | 2 | 4 | 0.0082159 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_959-1_1_2_line_4 | NAYY 4x150 SE | 3 | 7 | 0.044881 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_959-1_1_2_line_5 | NAYY 4x150 SE | 3 | 8 | 0.042595 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_959-1_1_2_line_6 | NAYY 4x150 SE | 3 | 9 | 0.12963 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_959-1_1_2_line_7 | NAYY 4x150 SE | 4 | 5 | 0.006913 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_959-1_1_2_line_8 | NAYY 4x150 SE | 5 | 6 | 0.0038967 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_959-1_1_2_line_9 | NAYY 4x150 SE | 7 | 10 | 0.033994 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_959-1_1_2_line_10 | NAYY 4x150 SE | 9 | 11 | 0.022957 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_959-1_1_2_line_11 | NAYY 4x150 SE | 11 | 12 | 0.018508 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_959-1_1_2_line_12 | NAYY 4x150 SE | 12 | 68 | 0.010801 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_959-1_1_2_line_13 | NAYY 4x150 SE | 13 | 14 | 0.014229 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_959-1_1_2_line_14 | NAYY 4x150 SE | 13 | 15 | 0.32645 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_959-1_1_2_line_15 | NAYY 4x150 SE | 15 | 16 | 0.0047192 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_959-1_1_2_line_16 | NAYY 4x150 SE | 16 | 33 | 0.03015 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_959-1_1_2_line_17 | NAYY 4x150 SE | 17 | 18 | 0.066416 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_959-1_1_2_line_18 | NAYY 4x150 SE | 18 | 70 | 0.016648 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_959-1_1_2_line_19 | NAYY 4x150 SE | 19 | 20 | 0.05406 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_959-1_1_2_line_20 | NAYY 4x150 SE | 20 | 35 | 0.018392 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_959-1_1_2_line_21 | NAYY 4x150 SE | 20 | 29 | 0.0071356 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_959-1_1_2_line_22 | NAYY 4x150 SE | 21 | 22 | 0.0089879 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_959-1_1_2_line_23 | NAYY 4x150 SE | 21 | 23 | 0.0052538 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_959-1_1_2_line_24 | NAYY 4x150 SE | 22 | 24 | 0.00349 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_959-1_1_2_line_25 | NAYY 4x150 SE | 22 | 25 | 0.011179 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_959-1_1_2_line_26 | NAYY 4x150 SE | 23 | 26 | 0.21913 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_959-1_1_2_line_27 | NAYY 4x150 SE | 23 | 27 | 0.029061 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_959-1_1_2_line_28 | NAYY 4x150 SE | 24 | 28 | 0.01253 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_959-1_1_2_line_29 | NAYY 4x150 SE | 24 | 29 | 0.068645 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_959-1_1_2_line_30 | NAYY 4x150 SE | 26 | 30 | 0.053751 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_959-1_1_2_line_31 | NAYY 4x150 SE | 27 | 31 | 0.013182 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_959-1_1_2_line_32 | NAYY 4x150 SE | 27 | 32 | 0.031573 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_959-1_1_2_line_33 | NAYY 4x150 SE | 28 | 33 | 0.030372 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_959-1_1_2_line_34 | NAYY 4x150 SE | 30 | 34 | 0.029261 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_959-1_1_2_line_35 | NAYY 4x150 SE | 34 | 67 | 0.012193 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_959-1_1_2_line_36 | NAYY 4x150 SE | 35 | 36 | 0.008927 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_959-1_1_2_line_37 | NAYY 4x150 SE | 35 | 37 | 0.0025713 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_959-1_1_2_line_38 | NAYY 4x150 SE | 37 | 38 | 0.029616 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_959-1_1_2_line_39 | NAYY 4x150 SE | 39 | 40 | 0.0075813 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_959-1_1_2_line_40 | NAYY 4x150 SE | 39 | 41 | 0.0068372 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_959-1_1_2_line_41 | NAYY 4x150 SE | 40 | 42 | 0.019333 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_959-1_1_2_line_42 | NAYY 4x150 SE | 41 | 43 | 0.014471 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_959-1_1_2_line_43 | NAYY 4x150 SE | 42 | 44 | 0.033934 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_959-1_1_2_line_44 | NAYY 4x150 SE | 43 | 45 | 0.040928 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_959-1_1_2_line_45 | NAYY 4x150 SE | 44 | 46 | 0.059382 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_959-1_1_2_line_46 | NAYY 4x150 SE | 45 | 47 | 0.075113 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_959-1_1_2_line_47 | NAYY 4x150 SE | 46 | 61 | 0.011708 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_959-1_1_2_line_48 | NAYY 4x150 SE | 46 | 62 | 0.010492 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_959-1_1_2_line_49 | NAYY 4x150 SE | 46 | 59 | 0.051424 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_959-1_1_2_line_50 | NAYY 4x150 SE | 47 | 55 | 0.019324 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
51 | LV_959-1_1_2_line_51 | NAYY 4x150 SE | 48 | 49 | 0.017074 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_959-1_1_2_line_52 | NAYY 4x150 SE | 48 | 50 | 0.0049502 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_959-1_1_2_line_53 | NAYY 4x150 SE | 49 | 51 | 0.020133 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_959-1_1_2_line_54 | NAYY 4x150 SE | 50 | 52 | 0.025758 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_959-1_1_2_line_55 | NAYY 4x150 SE | 50 | 53 | 0.01361 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_959-1_1_2_line_56 | NAYY 4x150 SE | 51 | 54 | 0.081629 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
57 | LV_959-1_1_2_line_57 | NAYY 4x150 SE | 51 | 55 | 0.0066882 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
58 | LV_959-1_1_2_line_58 | NAYY 4x150 SE | 52 | 56 | 0.00538 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_959-1_1_2_line_59 | NAYY 4x150 SE | 53 | 57 | 0.021412 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_959-1_1_2_line_60 | NAYY 4x150 SE | 54 | 58 | 0.041942 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
61 | LV_959-1_1_2_line_61 | NAYY 4x150 SE | 58 | 63 | 0.006911 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_959-1_1_2_line_62 | NAYY 4x150 SE | 58 | 64 | 0.018245 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
63 | LV_959-1_1_2_line_63 | NAYY 4x150 SE | 59 | 60 | 0.013334 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_959-1_1_2_line_64 | NAYY 4x150 SE | 61 | 65 | 0.011829 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_959-1_1_2_line_65 | NAYY 4x150 SE | 61 | 66 | 0.020856 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_959-1_1_2_line_66 | NAYY 4x150 SE | 62 | 67 | 0.040437 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_959-1_1_2_line_67 | NAYY 4x150 SE | 63 | 79 | 0.01226 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_959-1_1_2_line_68 | NAYY 4x150 SE | 63 | 80 | 0.017605 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_959-1_1_2_line_69 | NAYY 4x150 SE | 64 | 81 | 0.003209 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
70 | LV_959-1_1_2_line_70 | NAYY 4x150 SE | 65 | 89 | 0.032957 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_959-1_1_2_line_71 | NAYY 4x150 SE | 66 | 90 | 0.038851 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_959-1_1_2_line_72 | NAYY 4x150 SE | 68 | 69 | 0.011173 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_959-1_1_2_line_73 | NAYY 4x150 SE | 69 | 73 | 0.020926 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_959-1_1_2_line_74 | NAYY 4x150 SE | 69 | 74 | 0.017481 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_959-1_1_2_line_75 | NAYY 4x150 SE | 70 | 71 | 0.01086 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_959-1_1_2_line_76 | NAYY 4x150 SE | 71 | 72 | 0.010494 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_959-1_1_2_line_77 | NAYY 4x150 SE | 72 | 75 | 0.020933 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_959-1_1_2_line_78 | NAYY 4x150 SE | 72 | 76 | 0.019744 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_959-1_1_2_line_79 | NAYY 4x150 SE | 73 | 77 | 0.0019086 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_959-1_1_2_line_80 | NAYY 4x150 SE | 74 | 78 | 0.0023982 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_959-1_1_2_line_81 | NAYY 4x150 SE | 75 | 92 | 0.059308 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_959-1_1_2_line_82 | NAYY 4x150 SE | 75 | 88 | 0.0011914 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_959-1_1_2_line_83 | NAYY 4x150 SE | 76 | 83 | 0.030178 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_959-1_1_2_line_84 | NAYY 4x150 SE | 77 | 83 | 0.017459 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_959-1_1_2_line_85 | NAYY 4x150 SE | 78 | 84 | 0.035179 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_959-1_1_2_line_86 | NAYY 4x150 SE | 81 | 82 | 0.046723 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
87 | LV_959-1_1_2_line_87 | NAYY 4x150 SE | 81 | 83 | 0.069628 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_959-1_1_2_line_88 | NAYY 4x150 SE | 83 | 96 | 0.022522 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_959-1_1_2_line_89 | NAYY 4x150 SE | 84 | 85 | 0.029156 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_959-1_1_2_line_90 | NAYY 4x150 SE | 86 | 87 | 0.0083536 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_959-1_1_2_line_91 | NAYY 4x150 SE | 87 | 88 | 0.021182 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_959-1_1_2_line_92 | NAYY 4x150 SE | 89 | 93 | 0.071546 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_959-1_1_2_line_93 | NAYY 4x150 SE | 90 | 91 | 0.014549 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
94 | LV_959-1_1_2_line_94 | NAYY 4x150 SE | 92 | 94 | 0.074695 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
95 | LV_959-1_1_2_line_95 | NAYY 4x150 SE | 93 | 95 | 0.005784 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
96 | LV_959-1_1_2_line_96 | NAYY 4x150 SE | 96 | 97 | 0.005005 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_959-1_1_2_trafo_175 | 0.25 MVA 20/0.4 kV | 98 | 82 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27
0 | 2626091.8251 | 1217602.4857 | 2626060.2519 | 1217634.9666 | 2626034.8314 | 1217668.1748 | 2626010.6823 | 1217706.1008
1 | 2626091.8251 | 1217602.4857 | 2626087.2713 | 1217598.9193 | 2626083.3887 | 1217596.3564 | 2626078.9143 | 1217595.4697 | 2626068.6401 | 1217596.5143 | 2626060.7012 | 1217598.125 | 2626052.8886 | 1217600.3589 | 2626015.0764 | 1217613.6906 | 2626000.4023 | 1217619.3855 | 2625985.9159 | 1217625.5705 | 2625971.6553 | 1217632.2123 | 2625942.2533 | 1217647.3154 | 2625934.1781 | 1217650.6267 | 2625925.9381 | 1217653.4258 | 2625917.5789 | 1217655.7131 | 2625914.4417 | 1217657.8022
2 | 2625899.9417 | 1217926.2039 | 2625912.7651 | 1217902.5459 | 2625936.4651 | 1217852.6644 | 2625957.3909 | 1217807.2402 | 2625982.44 | 1217756.2197 | 2626008.7399 | 1217709.1515 | 2626010.6823 | 1217706.1008
3 | 2625914.4417 | 1217657.8022 | 2625912.2047 | 1217659.2918 | 2625908.7394 | 1217663.5991
4 | 2625899.9417 | 1217926.2039 | 2625892.515 | 1217925.3379 | 2625884.2962 | 1217928.6041 | 2625876.2299 | 1217933.4497 | 2625868.1601 | 1217937.3504 | 2625858.9865 | 1217942.0244
5 | 2625899.9417 | 1217926.2039 | 2625904.0229 | 1217928.4563 | 2625906.6774 | 1217934.1377 | 2625910.5749 | 1217945.4834 | 2625912.7207 | 1217959.9567 | 2625913.0176 | 1217964.9942
6 | 2625899.9417 | 1217926.2039 | 2625897.172 | 1217931.3171 | 2625886.3622 | 1217954.4836 | 2625875.7535 | 1217976.795 | 2625844.6279 | 1218039.8299 | 2625842.9649 | 1218042.6104
7 | 2625904.406 | 1217668.9854 | 2625908.7394 | 1217663.5991
8 | 2625901.9634 | 1217672.0214 | 2625904.406 | 1217668.9854
9 | 2625858.9865 | 1217942.0244 | 2625855.8436 | 1217940.4433 | 2625850.9434 | 1217941.5227 | 2625842.8827 | 1217945.1009 | 2625833.5524 | 1217949.1518 | 2625828.5524 | 1217953.2535
10 | 2625831.1809 | 1218062.3125 | 2625842.9649 | 1218042.6104
11 | 2625819.0884 | 1218076.145 | 2625828.2063 | 1218067.2858 | 2625831.1809 | 1218062.3125
12 | 2625810.5996 | 1218082.7742 | 2625816.5756 | 1218078.5865 | 2625819.0884 | 1218076.145
13 | 2625397.4316 | 1217594.4316 | 2625403.0658 | 1217595.6896 | 2625406.5614 | 1217596.5272 | 2625410.6486 | 1217599.2239
14 | 2625265.3716 | 1217681.4438 | 2625263.5031 | 1217642.3022 | 2625262.8084 | 1217621.7319 | 2625263.2987 | 1217604.5351 | 2625264.4241 | 1217587.9192 | 2625266.3669 | 1217571.8515 | 2625270.5749 | 1217544.2645 | 2625279.9209 | 1217550.8967 | 2625285.9822 | 1217557.0593 | 2625297.7821 | 1217572.1068 | 2625308.8116 | 1217589.8305 | 2625322.108 | 1217604.562 | 2625346.6242 | 1217627.8906 | 2625351.2386 | 1217631.5901 | 2625354.4274 | 1217633.1712 | 2625357.7854 | 1217634.2194 | 2625361.2747 | 1217634.7345 | 2625364.7968 | 1217634.6828 | 2625368.2605 | 1217634.086 | 2625371.5975 | 1217632.944 | 2625374.7013 | 1217631.2896 | 2625377.5187 | 1217629.167 | 2625380.0271 | 1217626.5317 | 2625385.4906 | 1217619.7399 | 2625390.4546 | 1217612.6124 | 2625394.965 | 1217605.0606 | 2625396.809 | 1217599.8098 | 2625397.4316 | 1217594.4316
15 | 2625265.3716 | 1217681.4438 | 2625265.6929 | 1217686.152
16 | 2625269.0126 | 1217716.0347 | 2625267.1112 | 1217707.9887 | 2625266.365 | 1217696.0009 | 2625265.6929 | 1217686.152
17 | 2625793.1253 | 1218055.3384 | 2625760.9024 | 1217997.2629
18 | 2625793.1253 | 1218055.3384 | 2625778.8492 | 1218063.9024
19 | 2625209.5893 | 1217766.3904 | 2625187.3969 | 1217760.7491 | 2625162.7596 | 1217755.3309 | 2625156.8562 | 1217754.7074
20 | 2625209.5893 | 1217766.3904 | 2625205.6747 | 1217782.1052 | 2625205.3088 | 1217784.2715
21 | 2625209.5893 | 1217766.3904 | 2625216.6918 | 1217767.0768
22 | 2625284.7319 | 1217759.0038 | 2625291.0661 | 1217765.3804
23 | 2625294.7687 | 1217769.1077 | 2625291.0661 | 1217765.3804
24 | 2625284.7319 | 1217759.0038 | 2625282.2681 | 1217756.5253
25 | 2625293.4448 | 1217751.97 | 2625284.7319 | 1217759.0038
26 | 2625294.7687 | 1217769.1077 | 2625297.9647 | 1217774.3465 | 2625303.0647 | 1217776.2581 | 2625326.4914 | 1217784.3065 | 2625330.4265 | 1217787.0804 | 2625338.9801 | 1217797.8896 | 2625361.0841 | 1217813.548 | 2625376.1622 | 1217828.5874 | 2625389.8021 | 1217846.2778 | 2625418.2157 | 1217886.244 | 2625430.2389 | 1217898.5245 | 2625444.0914 | 1217910.7684 | 2625452.1449 | 1217914.1714
27 | 2625292.7016 | 1217796.5926 | 2625296.2638 | 1217785.2678 | 2625297.9647 | 1217774.3465 | 2625294.7687 | 1217769.1077
28 | 2625282.2681 | 1217756.5253 | 2625276.9669 | 1217745.172
29 | 2625282.2681 | 1217756.5253 | 2625278.5423 | 1217759.8781 | 2625273.3579 | 1217763.5472 | 2625269.7078 | 1217765.1771 | 2625265.9006 | 1217766.2617 | 2625240.9746 | 1217768.1018 | 2625227.0317 | 1217768.0762 | 2625216.6918 | 1217767.0768
30 | 2625452.1449 | 1217914.1714 | 2625460.7946 | 1217925.5037 | 2625471.3287 | 1217936.3215 | 2625477.9372 | 1217942.1975 | 2625489.5684 | 1217952.5212
31 | 2625292.7016 | 1217796.5926 | 2625305.313 | 1217800.4288
32 | 2625292.7016 | 1217796.5926 | 2625283.7693 | 1217824.9823 | 2625283.2494 | 1217826.7172
33 | 2625269.0126 | 1217716.0347 | 2625273.3998 | 1217737.5324 | 2625276.9669 | 1217745.172
34 | 2625511.006 | 1217972.4229 | 2625502.2539 | 1217963.7805 | 2625489.5684 | 1217952.5212
35 | 2625511.006 | 1217972.4229 | 2625511.006 | 1217972.4229 | 2625517.8914 | 1217980.9572 | 2625518.6124 | 1217981.9506
36 | 2625205.3088 | 1217784.2715 | 2625196.8188 | 1217787.104
37 | 2625205.3088 | 1217784.2715 | 2625204.8789 | 1217786.8067
38 | 2625186.3888 | 1217807.1528 | 2625188.5344 | 1217805.9466 | 2625195.3337 | 1217802.6734 | 2625203.4096 | 1217795.47 | 2625204.8789 | 1217786.8067
39 | 2625522.0979 | 1218124.4632 | 2625521.6093 | 1218116.8977
40 | 2625522.5385 | 1218131.2862 | 2625522.0979 | 1218124.4632
41 | 2625520.1271 | 1218097.6281 | 2625520.6023 | 1218101.305 | 2625521.6093 | 1218116.8977
42 | 2625522.5385 | 1218131.2862 | 2625532.7938 | 1218141.5248
43 | 2625518.0148 | 1218063.9057 | 2625517.2449 | 1218075.3312 | 2625520.1271 | 1218097.6281
44 | 2625532.7938 | 1218141.5248 | 2625546.9714 | 1218155.6603 | 2625552.3244 | 1218162.187 | 2625561.2516 | 1218170.8884
45 | 2625518.0148 | 1218063.9057 | 2625520.5162 | 1218057.5683 | 2625529.049 | 1218042.9185 | 2625546.2646 | 1218026.4604 | 2625550.5997 | 1218022.5989 | 2625553.2036 | 1218017.1403
46 | 2625605.9941 | 1218221.429 | 2625597.3408 | 1218223.5042 | 2625591.0611 | 1218220.6978 | 2625587.0924 | 1218215.2555 | 2625579.2847 | 1218191.7973 | 2625575.5577 | 1218184.8329 | 2625561.2516 | 1218170.8884
47 | 2625564.9168 | 1218016.6123 | 2625556.7323 | 1218017.2665 | 2625553.2036 | 1218017.1403
48 | 2625553.2036 | 1218017.1403 | 2625546.001 | 1218015.3528 | 2625543.4288 | 1218013.675
49 | 2625557.1508 | 1218068.3979 | 2625554.6816 | 1218031.7884 | 2625553.2036 | 1218017.1403
50 | 2625605.9941 | 1218221.429 | 2625612.1822 | 1218203.1227
51 | 2625604.308 | 1218169.3814 | 2625606.1904 | 1218175.6811 | 2625610.9931 | 1218174.2565 | 2625612.3833 | 1218179.5665
52 | 2625602.8908 | 1218164.6384 | 2625604.308 | 1218169.3814
53 | 2625617.4821 | 1218199.0431 | 2625612.3833 | 1218179.5665
54 | 2625602.8908 | 1218164.6384 | 2625601.0127 | 1218158.3823 | 2625598.3271 | 1218151.0332 | 2625594.4706 | 1218144.2016 | 2625592.2746 | 1218141.4039
55 | 2625602.8908 | 1218164.6384 | 2625615.9755 | 1218160.8923
56 | 2625617.4821 | 1218199.0431 | 2625635.6844 | 1218186.0581 | 2625643.6345 | 1218179.8665 | 2625653.1404 | 1218173.6815 | 2625662.3201 | 1218167.484 | 2625674.185 | 1218159.864 | 2625681.1152 | 1218156.1138 | 2625685.3873 | 1218153.9362
57 | 2625617.4821 | 1218199.0431 | 2625612.1822 | 1218203.1227
58 | 2625592.2746 | 1218141.4039 | 2625589.6547 | 1218138.0663 | 2625588.8269 | 1218137.287
59 | 2625631.9611 | 1218149.988 | 2625629.2514 | 1218157.0915 | 2625615.9755 | 1218160.8923
60 | 2625691.7055 | 1218116.6922 | 2625694.5558 | 1218128.0554 | 2625695.8407 | 1218141.6244 | 2625690.6643 | 1218150.5072 | 2625687.6034 | 1218152.8065 | 2625685.3873 | 1218153.9362
61 | 2625691.7055 | 1218116.6922 | 2625684.8038 | 1218117.3295
62 | 2625691.7055 | 1218116.6922 | 2625709.9301 | 1218115.8252
63 | 2625570.5042 | 1218067.6769 | 2625557.1508 | 1218068.3979
64 | 2625564.9168 | 1218016.6123 | 2625570.7456 | 1218014.8807 | 2625574.7556 | 1218010.7288
65 | 2625564.9168 | 1218016.6123 | 2625571.4952 | 1218018.8418 | 2625585.3721 | 1218017.8863
66 | 2625518.6124 | 1217981.9506 | 2625537.9996 | 1218008.6592 | 2625541.6263 | 1218012.4991 | 2625543.4288 | 1218013.675
67 | 2625682.3813 | 1218105.3121 | 2625684.8038 | 1218117.3295
68 | 2625684.8038 | 1218117.3295 | 2625677.8641 | 1218117.9667 | 2625671.4987 | 1218126.4881
69 | 2625713.1354 | 1218115.6727 | 2625709.9301 | 1218115.8252
70 | 2625574.7556 | 1218010.7288 | 2625575.8458 | 1218009.5995 | 2625582.8427 | 1218000.9467 | 2625586.5695 | 1217995.5818 | 2625592.5566 | 1217985.257 | 2625593.2657 | 1217983.611
71 | 2625622.2505 | 1218027.0752 | 2625605.4947 | 1218019.4434 | 2625598.7561 | 1218017.4244 | 2625593.6866 | 1218017.3137 | 2625585.3721 | 1218017.8863
72 | 2625810.5996 | 1218082.7742 | 2625812.3798 | 1218085.2945 | 2625817.2472 | 1218091.7526
73 | 2625817.2472 | 1218091.7526 | 2625802.1722 | 1218104.4837 | 2625801.1269 | 1218105.0611
74 | 2625817.2472 | 1218091.7526 | 2625828.6035 | 1218105.0428
75 | 2625769.5361 | 1218069.4892 | 2625778.8492 | 1218063.9024
76 | 2625760.4131 | 1218064.2579 | 2625769.5361 | 1218069.4892
77 | 2625760.4131 | 1218064.2579 | 2625741.9141 | 1218054.3613
78 | 2625760.4131 | 1218064.2579 | 2625765.3116 | 1218074.0736 | 2625768.8268 | 1218082.1128
79 | 2625799.4562 | 1218105.9839 | 2625801.1269 | 1218105.0611
80 | 2625828.6035 | 1218105.0428 | 2625830.1614 | 1218106.866
81 | 2625741.9141 | 1218054.3613 | 2625730.8837 | 1218039.116 | 2625717.6666 | 1218017.0018 | 2625709.9556 | 1218004.4541
82 | 2625741.9141 | 1218054.3613 | 2625740.7769 | 1218054.0062
83 | 2625782.3434 | 1218109.0785 | 2625771.9402 | 1218089.2332 | 2625768.8268 | 1218082.1128
84 | 2625782.3434 | 1218109.0785 | 2625785.1297 | 1218108.857 | 2625790.1635 | 1218108.4452 | 2625799.4562 | 1218105.9839
85 | 2625853.0146 | 1218133.6111 | 2625830.1614 | 1218106.866
86 | 2625694.114 | 1218075.5454 | 2625699.4607 | 1218078.2366 | 2625706.1221 | 1218085.8252 | 2625709.6298 | 1218099.6372 | 2625713.1354 | 1218115.6727
87 | 2625782.3434 | 1218109.0785 | 2625759.7871 | 1218114.3175 | 2625734.1156 | 1218115.0961 | 2625713.1354 | 1218115.6727
88 | 2625782.3434 | 1218109.0785 | 2625785.1297 | 1218108.857 | 2625787.9564 | 1218113.3607 | 2625789.0726 | 1218114.9998 | 2625795.181 | 1218125.8214
89 | 2625853.0146 | 1218133.6111 | 2625871.9549 | 1218155.7769
90 | 2625720.5578 | 1218047.6935 | 2625712.5838 | 1218045.2038
91 | 2625720.5578 | 1218047.6935 | 2625740.7769 | 1218054.0062
92 | 2625581.9886 | 1217915.1656 | 2625595.5927 | 1217953.3627 | 2625596.7621 | 1217958.5374 | 2625597.2859 | 1217963.8205 | 2625597.1645 | 1217969.123 | 2625596.3285 | 1217974.6893 | 2625594.7798 | 1217980.0969 | 2625593.2657 | 1217983.611
93 | 2625631.0099 | 1218037.4744 | 2625630.7363 | 1218034.0379 | 2625627.9201 | 1218030.6016 | 2625622.2505 | 1218027.0752
94 | 2625709.9556 | 1218004.4541 | 2625708.2681 | 1218001.7081 | 2625702.2254 | 1217989.6529 | 2625691.7296 | 1217971.8307 | 2625678.7223 | 1217952.0411 | 2625671.119 | 1217940.7376
95 | 2625580.048 | 1217909.7169 | 2625581.9886 | 1217915.1656
96 | 2625790.9872 | 1218128.5715 | 2625795.181 | 1218125.8214

## bus_geodata
| x | y | coords
0 | 2626091.8251 | 1217602.4857
1 | 2626010.6823 | 1217706.1008
2 | 2625914.4417 | 1217657.8022
3 | 2625899.9417 | 1217926.2039
4 | 2625908.7394 | 1217663.5991
5 | 2625904.406 | 1217668.9854
6 | 2625901.9634 | 1217672.0214
7 | 2625858.9865 | 1217942.0244
8 | 2625913.0176 | 1217964.9942
9 | 2625842.9649 | 1218042.6104
10 | 2625828.5524 | 1217953.2535
11 | 2625831.1809 | 1218062.3125
12 | 2625819.0884 | 1218076.145
13 | 2625397.4316 | 1217594.4316
14 | 2625410.6486 | 1217599.2239
15 | 2625265.3716 | 1217681.4438
16 | 2625265.6929 | 1217686.152
17 | 2625760.9024 | 1217997.2629
18 | 2625793.1253 | 1218055.3384
19 | 2625156.8562 | 1217754.7074
20 | 2625209.5893 | 1217766.3904
21 | 2625291.0661 | 1217765.3804
22 | 2625284.7319 | 1217759.0038
23 | 2625294.7687 | 1217769.1077
24 | 2625282.2681 | 1217756.5253
25 | 2625293.4448 | 1217751.97
26 | 2625452.1449 | 1217914.1714
27 | 2625292.7016 | 1217796.5926
28 | 2625276.9669 | 1217745.172
29 | 2625216.6918 | 1217767.0768
30 | 2625489.5684 | 1217952.5212
31 | 2625305.313 | 1217800.4288
32 | 2625283.2494 | 1217826.7172
33 | 2625269.0126 | 1217716.0347
34 | 2625511.006 | 1217972.4229
35 | 2625205.3088 | 1217784.2715
36 | 2625196.8188 | 1217787.104
37 | 2625204.8789 | 1217786.8067
38 | 2625186.3888 | 1217807.1528
39 | 2625522.0979 | 1218124.4632
40 | 2625521.6093 | 1218116.8977
41 | 2625522.5385 | 1218131.2862
42 | 2625520.1271 | 1218097.6281
43 | 2625532.7938 | 1218141.5248
44 | 2625518.0148 | 1218063.9057
45 | 2625561.2516 | 1218170.8884
46 | 2625553.2036 | 1218017.1403
47 | 2625605.9941 | 1218221.429
48 | 2625604.308 | 1218169.3814
49 | 2625612.3833 | 1218179.5665
50 | 2625602.8908 | 1218164.6384
51 | 2625617.4821 | 1218199.0431
52 | 2625592.2746 | 1218141.4039
53 | 2625615.9755 | 1218160.8923
54 | 2625685.3873 | 1218153.9362
55 | 2625612.1822 | 1218203.1227
56 | 2625588.8269 | 1218137.287
57 | 2625631.9611 | 1218149.988
58 | 2625691.7055 | 1218116.6922
59 | 2625557.1508 | 1218068.3979
60 | 2625570.5042 | 1218067.6769
61 | 2625564.9168 | 1218016.6123
62 | 2625543.4288 | 1218013.675
63 | 2625684.8038 | 1218117.3295
64 | 2625709.9301 | 1218115.8252
65 | 2625574.7556 | 1218010.7288
66 | 2625585.3721 | 1218017.8863
67 | 2625518.6124 | 1217981.9506
68 | 2625810.5996 | 1218082.7742
69 | 2625817.2472 | 1218091.7526
70 | 2625778.8492 | 1218063.9024
71 | 2625769.5361 | 1218069.4892
72 | 2625760.4131 | 1218064.2579
73 | 2625801.1269 | 1218105.0611
74 | 2625828.6035 | 1218105.0428
75 | 2625741.9141 | 1218054.3613
76 | 2625768.8268 | 1218082.1128
77 | 2625799.4562 | 1218105.9839
78 | 2625830.1614 | 1218106.866
79 | 2625682.3813 | 1218105.3121
80 | 2625671.4987 | 1218126.4881
81 | 2625713.1354 | 1218115.6727
82 | 2625694.114 | 1218075.5454
83 | 2625782.3434 | 1218109.0785
84 | 2625853.0146 | 1218133.6111
85 | 2625871.9549 | 1218155.7769
86 | 2625712.5838 | 1218045.2038
87 | 2625720.5578 | 1218047.6935
88 | 2625740.7769 | 1218054.0062
89 | 2625593.2657 | 1217983.6111
90 | 2625622.2505 | 1218027.0752
91 | 2625631.0099 | 1218037.4744
92 | 2625709.9556 | 1218004.4541
93 | 2625581.9886 | 1217915.1656
94 | 2625671.119 | 1217940.7376
95 | 2625580.048 | 1217909.7169
96 | 2625795.181 | 1218125.8214
97 | 2625790.9872 | 1218128.5715
98 | 2625713.1354 | 1218115.6727

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1