## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_960-2_2_3_node_129 | 0.4 | n |  | TRUE
1 | bus_LV_960-2_2_3_node_111 | 0.4 | n |  | TRUE
2 | bus_LV_960-2_2_3_node_130 | 0.4 | n |  | TRUE
3 | bus_LV_960-2_2_3_node_131 | 0.4 | n |  | TRUE
4 | bus_LV_960-2_2_3_node_132 | 0.4 | n |  | TRUE
5 | bus_LV_960-2_2_3_node_133 | 0.4 | n |  | TRUE
6 | bus_LV_960-2_2_3_node_134 | 0.4 | n |  | TRUE
7 | bus_LV_960-2_2_3_node_135 | 0.4 | n |  | TRUE
8 | bus_LV_960-2_2_3_node_136 | 0.4 | n |  | TRUE
9 | bus_LV_960-2_2_3_node_137 | 0.4 | n |  | TRUE
10 | bus_LV_960-2_2_3_node_193 | 0.4 | n |  | TRUE
11 | bus_LV_960-2_2_3_node_174 | 0.4 | n |  | TRUE
12 | bus_LV_960-2_2_3_node_117 | 0.4 | n |  | TRUE
13 | bus_LV_960-2_2_3_node_148 | 0.4 | n |  | TRUE
14 | bus_LV_960-2_2_3_node_72 | 0.4 | n |  | TRUE
15 | bus_LV_960-2_2_3_node_149 | 0.4 | n |  | TRUE
16 | bus_LV_960-2_2_3_node_150 | 0.4 | n |  | TRUE
17 | bus_LV_960-2_2_3_node_151 | 0.4 | n |  | TRUE
18 | bus_LV_960-2_2_3_node_152 | 0.4 | n |  | TRUE
19 | bus_LV_960-2_2_3_node_153 | 0.4 | n |  | TRUE
20 | bus_LV_960-2_2_3_node_168 | 0.4 | n |  | TRUE
21 | bus_LV_960-2_2_3_node_207 | 0.4 | n |  | TRUE
22 | bus_LV_960-2_2_3_node_73 | 0.4 | n |  | TRUE
23 | bus_LV_960-2_2_3_node_169 | 0.4 | n |  | TRUE
24 | bus_LV_960-2_2_3_node_221 | 0.4 | n |  | TRUE
25 | bus_LV_960-2_2_3_node_185 | 0.4 | n |  | TRUE
26 | bus_LV_960-2_2_3_node_186 | 0.4 | n |  | TRUE
27 | bus_LV_960-2_2_3_node_189 | 0.4 | n |  | TRUE
28 | bus_LV_960-2_2_3_node_190 | 0.4 | n |  | TRUE
29 | bus_LV_960-2_2_3_node_187 | 0.4 | n |  | TRUE
30 | bus_LV_960-2_2_3_node_188 | 0.4 | n |  | TRUE
31 | bus_LV_960-2_2_3_node_191 | 0.4 | n |  | TRUE
32 | bus_LV_960-2_2_3_node_192 | 0.4 | n |  | TRUE
33 | bus_LV_960-2_2_3_node_118 | 0.4 | n |  | TRUE
34 | bus_LV_960-2_2_3_node_79 | 0.4 | n |  | TRUE
35 | bus_LV_960-2_2_3_node_194 | 0.4 | n |  | TRUE
36 | bus_LV_960-2_2_3_node_70 | 0.4 | n |  | TRUE
37 | bus_LV_960-2_2_3_node_71 | 0.4 | n |  | TRUE
38 | bus_LV_960-2_2_3_node_223 | 0.4 | n |  | TRUE
39 | bus_LV_960-2_2_3_node_74 | 0.4 | n |  | TRUE
40 | bus_LV_960-2_2_3_node_75 | 0.4 | n |  | TRUE
41 | bus_LV_960-2_2_3_node_76 | 0.4 | n |  | TRUE
42 | bus_LV_960-2_2_3_node_78 | 0.4 | n |  | TRUE
43 | bus_LV_960-2_2_3_node_213 | 0.4 | n |  | TRUE
44 | bus_LV_960-2_2_3_node_80 | 0.4 | n |  | TRUE
45 | bus_LV_960-2_2_3_node_113 | 0.4 | n |  | TRUE
46 | bus_LV_960-2_2_3_node_82 | 0.4 | n |  | TRUE
47 | bus_LV_960-2_2_3_node_81 | 0.4 | n |  | TRUE
48 | bus_LV_960-2_2_3_node_211 | 0.4 | n |  | TRUE
49 | bus_LV_960-2_2_3_node_106 | 0.4 | n |  | TRUE
50 | bus_LV_960-2_2_3_node_212 | 0.4 | n |  | TRUE
51 | bus_LV_960-2_2_3_node_214 | 0.4 | n |  | TRUE
52 | bus_LV_960-2_2_3_node_119 | 0.4 | n |  | TRUE
53 | bus_LV_960-2_2_3_node_215 | 0.4 | n |  | TRUE
54 | bus_LV_960-2_2_3_node_216 | 0.4 | n |  | TRUE
55 | bus_LV_960-2_2_3_node_217 | 0.4 | n |  | TRUE
56 | bus_LV_960-2_2_3_node_218 | 0.4 | n |  | TRUE
57 | bus_LV_960-2_2_3_node_222 | 0.4 | n |  | TRUE
58 | bus_LV_960-2_2_3_node_110 | 0.4 | n |  | TRUE
59 | bus_LV_960-2_2_3_node_107 | 0.4 | n |  | TRUE
60 | bus_LV_960-2_2_3_node_109 | 0.4 | n |  | TRUE
61 | bus_LV_960-2_2_3_node_108 | 0.4 | n |  | TRUE
62 | bus_LV_960-2_2_3_node_112 | 0.4 | n |  | TRUE
63 | bus_LV_960-2_2_3_node_114 | 0.4 | n |  | TRUE
64 | bus_LV_960-2_2_3_node_115 | 0.4 | n |  | TRUE
65 | bus_LV_960-2_2_3_node_116 | 0.4 | n |  | TRUE
66 | bus_MV_0_node_221 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_960-2_2_3_load_129 | 0 | 0.00021733 | 5.4469e-05 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_960-2_2_3_load_111 | 1 | 0.00057363 | 0.00014377 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_960-2_2_3_load_130 | 2 | 0.00059194 | 0.00014835 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_960-2_2_3_load_131 | 3 | 0.00071733 | 0.00017978 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_960-2_2_3_load_133 | 5 | 0.00024527 | 6.1472e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_960-2_2_3_load_135 | 7 | 0.0012147 | 0.00030444 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_960-2_2_3_load_136 | 8 | 0.00029645 | 7.4298e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_960-2_2_3_load_137 | 9 | 0.0013846 | 0.000347 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_960-2_2_3_load_193 | 10 | 0.00022747 | 5.701e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_960-2_2_3_load_174 | 11 | 0.00025219 | 6.3206e-05 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_960-2_2_3_load_117 | 12 | 0.0002073 | 5.1954e-05 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_960-2_2_3_load_148 | 13 | 0.001578 | 0.00039547 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_960-2_2_3_load_150 | 16 | 0.001564 | 0.00039197 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_960-2_2_3_load_151 | 17 | 0.0031806 | 0.00079715 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_960-2_2_3_load_152 | 18 | 0.00047839 | 0.0001199 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_960-2_2_3_load_153 | 19 | 0.00072891 | 0.00018268 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_960-2_2_3_load_168 | 20 | 0.0024458 | 0.00061296 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_960-2_2_3_load_207 | 21 | 0.00054408 | 0.00013636 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_960-2_2_3_load_169 | 23 | 0.003248 | 0.00081403 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_960-2_2_3_load_221 | 24 | 0.00020649 | 5.1752e-05 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_960-2_2_3_load_185 | 25 | 0.00032237 | 8.0794e-05 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_960-2_2_3_load_189 | 27 | 0.0027029 | 0.00067742 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_960-2_2_3_load_190 | 28 | 0.0004189 | 0.00010499 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_960-2_2_3_load_188 | 30 | 0.00036103 | 9.0482e-05 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_960-2_2_3_load_192 | 32 | 0.00078225 | 0.00019605 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_960-2_2_3_load_79 | 34 | 0.00018879 | 4.7314e-05 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_960-2_2_3_load_194 | 35 | 0.00080218 | 0.00020104 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_960-2_2_3_load_70 | 36 | 0.0051696 | 0.0012956 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_960-2_2_3_load_223 | 38 | 0.00027526 | 6.8986e-05 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_960-2_2_3_load_74 | 39 | 0.00033422 | 8.3763e-05 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_960-2_2_3_load_75 | 40 | 0.00020021 | 5.0177e-05 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_960-2_2_3_load_213 | 43 | 0.00019218 | 4.8166e-05 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_960-2_2_3_load_113 | 45 | 0.00019623 | 4.9179e-05 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_960-2_2_3_load_81 | 47 | 0.00074066 | 0.00018563 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_960-2_2_3_load_106 | 49 | 6.172e-05 | 1.5469e-05 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_960-2_2_3_load_214 | 51 | 0.00053972 | 0.00013527 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_960-2_2_3_load_215 | 53 | 0.00019894 | 4.9858e-05 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_960-2_2_3_load_217 | 55 | 0.0011561 | 0.00028973 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_960-2_2_3_load_222 | 57 | 0.00035847 | 8.984e-05 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_960-2_2_3_load_107 | 59 | 0.00016671 | 4.1781e-05 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_960-2_2_3_load_112 | 62 | 0.00046242 | 0.00011589 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_960-2_2_3_load_115 | 64 | 0.00060159 | 0.00015077 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_960-2_2_3_load_116 | 65 | 0.0003895 | 9.7617e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 24 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_960-2_2_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.027842 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_960-2_2_3_line_1 | NAYY 4x150 SE | 1 | 61 | 0.0065519 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_960-2_2_3_line_2 | NAYY 4x150 SE | 2 | 3 | 0.020612 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_960-2_2_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.019097 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_960-2_2_3_line_4 | NAYY 4x150 SE | 3 | 5 | 0.016205 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_960-2_2_3_line_5 | NAYY 4x150 SE | 4 | 6 | 0.048998 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_960-2_2_3_line_6 | NAYY 4x150 SE | 5 | 7 | 0.015603 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_960-2_2_3_line_7 | NAYY 4x150 SE | 6 | 8 | 0.018693 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_960-2_2_3_line_8 | NAYY 4x150 SE | 6 | 9 | 0.0061878 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_960-2_2_3_line_9 | NAYY 4x150 SE | 7 | 10 | 0.04828 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_960-2_2_3_line_10 | NAYY 4x150 SE | 8 | 11 | 0.019684 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_960-2_2_3_line_11 | NAYY 4x150 SE | 9 | 12 | 0.007191 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_960-2_2_3_line_12 | NAYY 4x150 SE | 10 | 34 | 0.0097585 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_960-2_2_3_line_13 | NAYY 4x150 SE | 11 | 24 | 0.17731 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_960-2_2_3_line_14 | NAYY 4x150 SE | 12 | 44 | 0.11014 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_960-2_2_3_line_15 | NAYY 4x150 SE | 13 | 14 | 0.17605 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_960-2_2_3_line_16 | NAYY 4x150 SE | 13 | 15 | 0.022625 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_960-2_2_3_line_17 | NAYY 4x150 SE | 14 | 38 | 0.21821 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_960-2_2_3_line_18 | NAYY 4x150 SE | 15 | 16 | 0.0073527 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_960-2_2_3_line_19 | NAYY 4x150 SE | 15 | 17 | 0.027677 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_960-2_2_3_line_20 | NAYY 4x150 SE | 16 | 18 | 0.043394 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_960-2_2_3_line_21 | NAYY 4x150 SE | 17 | 19 | 0.0091849 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_960-2_2_3_line_22 | NAYY 4x150 SE | 18 | 20 | 0.022669 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_960-2_2_3_line_23 | NAYY 4x150 SE | 19 | 21 | 0.021919 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_960-2_2_3_line_24 | NAYY 4x150 SE | 20 | 22 | 0.056421 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_960-2_2_3_line_25 | NAYY 4x150 SE | 22 | 23 | 0.033613 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_960-2_2_3_line_26 | NAYY 4x150 SE | 22 | 37 | 0.11684 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_960-2_2_3_line_27 | NAYY 4x150 SE | 24 | 50 | 0.075285 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
28 | LV_960-2_2_3_line_28 | NAYY 4x150 SE | 25 | 26 | 0.053936 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_960-2_2_3_line_29 | NAYY 4x150 SE | 25 | 27 | 0.16132 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_960-2_2_3_line_30 | NAYY 4x150 SE | 26 | 28 | 0.17831 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_960-2_2_3_line_31 | NAYY 4x150 SE | 27 | 29 | 0.028694 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_960-2_2_3_line_32 | NAYY 4x150 SE | 29 | 30 | 0.0035986 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_960-2_2_3_line_33 | NAYY 4x150 SE | 30 | 31 | 0.032005 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_960-2_2_3_line_34 | NAYY 4x150 SE | 31 | 32 | 0.020783 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_960-2_2_3_line_35 | NAYY 4x150 SE | 32 | 33 | 0.028159 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_960-2_2_3_line_36 | NAYY 4x150 SE | 33 | 35 | 0.033204 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_960-2_2_3_line_37 | NAYY 4x150 SE | 33 | 64 | 0.18677 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_960-2_2_3_line_38 | NAYY 4x150 SE | 34 | 41 | 0.08352 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_960-2_2_3_line_39 | NAYY 4x150 SE | 36 | 37 | 0.020911 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_960-2_2_3_line_40 | NAYY 4x150 SE | 38 | 58 | 0.067752 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_960-2_2_3_line_41 | NAYY 4x150 SE | 39 | 40 | 0.015767 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_960-2_2_3_line_42 | NAYY 4x150 SE | 40 | 41 | 0.047232 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_960-2_2_3_line_43 | NAYY 4x150 SE | 41 | 42 | 0.044298 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_960-2_2_3_line_44 | NAYY 4x150 SE | 42 | 43 | 0.0085148 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_960-2_2_3_line_45 | NAYY 4x150 SE | 44 | 45 | 0.12248 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_960-2_2_3_line_46 | NAYY 4x150 SE | 44 | 46 | 0.16751 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_960-2_2_3_line_47 | NAYY 4x150 SE | 45 | 62 | 0.031688 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_960-2_2_3_line_48 | NAYY 4x150 SE | 46 | 47 | 0.050626 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_960-2_2_3_line_49 | NAYY 4x150 SE | 48 | 49 | 0.22124 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
50 | LV_960-2_2_3_line_50 | NAYY 4x150 SE | 48 | 50 | 0.029221 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
51 | LV_960-2_2_3_line_51 | NAYY 4x150 SE | 49 | 59 | 0.0097085 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_960-2_2_3_line_52 | NAYY 4x150 SE | 49 | 60 | 0.19771 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
53 | LV_960-2_2_3_line_53 | NAYY 4x150 SE | 51 | 52 | 0.055218 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_960-2_2_3_line_54 | NAYY 4x150 SE | 52 | 53 | 0.0091059 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_960-2_2_3_line_55 | NAYY 4x150 SE | 52 | 65 | 0.080786 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_960-2_2_3_line_56 | NAYY 4x150 SE | 53 | 54 | 0.030512 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_960-2_2_3_line_57 | NAYY 4x150 SE | 54 | 55 | 0.014334 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_960-2_2_3_line_58 | NAYY 4x150 SE | 54 | 56 | 0.015053 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_960-2_2_3_line_59 | NAYY 4x150 SE | 56 | 57 | 0.034672 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_960-2_2_3_line_60 | NAYY 4x150 SE | 58 | 60 | 0.14746 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_960-2_2_3_line_61 | NAYY 4x150 SE | 59 | 61 | 0.036423 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_960-2_2_3_line_62 | NAYY 4x150 SE | 62 | 63 | 0.0052837 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_960-2_2_3_line_63 | NAYY 4x150 SE | 63 | 64 | 0.026286 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_960-2_2_3_line_64 | NAYY 4x150 SE | 63 | 65 | 0.015054 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_960-2_2_3_trafo_221 | 0.25 MVA 20/0.4 kV | 66 | 24 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23
0 | 2628669.912 | 1213489.6777 | 2628663.593 | 1213486.2333 | 2628645.8347 | 1213475.7038
1 | 2628640.9003 | 1213471.3938 | 2628645.8244 | 1213475.6976 | 2628645.8347 | 1213475.7038
2 | 2628682.1352 | 1212915.4297 | 2628681.7734 | 1212909.8138 | 2628679.029 | 1212897.6048 | 2628678.295 | 1212895.2454
3 | 2628680.5461 | 1212934.433 | 2628681.2547 | 1212929.2446 | 2628682.2541 | 1212917.2759 | 2628682.1352 | 1212915.4297
4 | 2628678.295 | 1212895.2454 | 2628674.2039 | 1212882.095 | 2628672.9057 | 1212880.0372
5 | 2628680.5461 | 1212934.433 | 2628682.3022 | 1212937.3098 | 2628687.7154 | 1212944.2397 | 2628697.9228 | 1212962.0434 | 2628704.2633 | 1212975.1813 | 2628705.3429 | 1212976.5651
6 | 2628663.7127 | 1212867.5092 | 2628664.593 | 1212868.1631 | 2628669.6805 | 1212874.9247 | 2628672.9057 | 1212880.0372
7 | 2628705.3429 | 1212976.5651 | 2628687.423 | 1212981.8862
8 | 2628705.3429 | 1212976.5651 | 2628708.0005 | 1212979.9353 | 2628709.3226 | 1212981.294
9 | 2628661.4996 | 1212822.7161 | 2628661.7008 | 1212831.3616 | 2628660.3662 | 1212838.7705 | 2628656.9844 | 1212846.9701 | 2628655.9393 | 1212852.6461 | 2628656.1448 | 1212855.7155 | 2628657.9945 | 1212861.272 | 2628661.5804 | 1212865.9252 | 2628663.7127 | 1212867.5092
10 | 2628687.423 | 1212981.8862 | 2628685.1157 | 1212982.5713 | 2628678.0747 | 1212987.1624 | 2628670.9091 | 1212992.3923
11 | 2628709.3226 | 1212981.294 | 2628711.3264 | 1212983.3532 | 2628714.7568 | 1212985.9754
12 | 2628661.4996 | 1212822.7161 | 2628661.2725 | 1212812.9602
13 | 2628670.9091 | 1212992.3923 | 2628670.992 | 1213169.6992
14 | 2628774.1514 | 1212922.5653 | 2628767.369 | 1212927.0796 | 2628765.5145 | 1212928.8717 | 2628763.9132 | 1212931.699 | 2628763.0934 | 1212934.7301 | 2628762.7821 | 1212937.8526 | 2628762.9181 | 1212941.1662 | 2628764.15 | 1212948.7654 | 2628764.7713 | 1212955.4055 | 2628764.6793 | 1212960.3079 | 2628764.0973 | 1212966.0083 | 2628762.9221 | 1212970.294 | 2628761.5753 | 1212973.9118 | 2628759.3313 | 1212977.7143 | 2628756.4813 | 1212981.1692 | 2628753.1721 | 1212983.7547 | 2628748.8837 | 1212986.1799 | 2628741.946 | 1212988.2477 | 2628735.0886 | 1212989.4154 | 2628728.866 | 1212989.6967 | 2628723.4138 | 1212989.3036 | 2628719.4455 | 1212988.3618 | 2628715.3074 | 1212986.3963 | 2628714.7568 | 1212985.9754
15 | 2628225.4423 | 1213291.9027 | 2628230.1313 | 1213278.5395 | 2628233.7314 | 1213254.5095 | 2628233.4318 | 1213245.5918 | 2628232.8305 | 1213231.3809 | 2628233.3231 | 1213228.4149 | 2628235.6129 | 1213222.8781 | 2628239.4477 | 1213218.2825 | 2628241.8415 | 1213216.4594 | 2628245.6797 | 1213214.3653 | 2628249.1334 | 1213211.6801 | 2628252.1185 | 1213208.4812 | 2628254.5512 | 1213204.8462 | 2628267.9608 | 1213191.4353 | 2628272.4267 | 1213189.9223 | 2628296.3669 | 1213179.1851 | 2628306.6968 | 1213169.6841 | 2628311.2193 | 1213161.0784 | 2628312.9291 | 1213156.0879
16 | 2628320.2622 | 1213134.684 | 2628312.9291 | 1213156.0879
17 | 2628225.4423 | 1213291.9027 | 2628375.4127 | 1213450.4148
18 | 2628320.2622 | 1213134.684 | 2628313.4341 | 1213131.9565
19 | 2628320.2622 | 1213134.684 | 2628325.448 | 1213136.7542 | 2628345.3803 | 1213146.2842
20 | 2628271.3886 | 1213129.2172 | 2628279.5318 | 1213126.7754 | 2628291.4238 | 1213125.8868 | 2628302.9684 | 1213127.7759 | 2628313.4341 | 1213131.9565
21 | 2628353.6668 | 1213150.2461 | 2628345.3803 | 1213146.2842
22 | 2628249.675 | 1213135.7282 | 2628249.675 | 1213135.7282 | 2628271.3886 | 1213129.2172
23 | 2628353.6668 | 1213150.2461 | 2628354.6643 | 1213150.723 | 2628360.9738 | 1213154.5107 | 2628371.98 | 1213162.2496
24 | 2628198.5852 | 1213159.6449 | 2628234.4771 | 1213143.394 | 2628249.675 | 1213135.7282
25 | 2628167.1007 | 1213149.8241 | 2628173.0491 | 1213154.477 | 2628185.1934 | 1213158.0586 | 2628198.5852 | 1213159.6449
26 | 2628086.7879 | 1213153.1145 | 2628116.5393 | 1213163.2491 | 2628127.6314 | 1213166.0474 | 2628154.8033 | 1213170.6447 | 2628169.166 | 1213170.9125 | 2628179.1445 | 1213169.8479 | 2628183.3618 | 1213167.9222 | 2628190.9806 | 1213163.0887 | 2628198.5852 | 1213159.6449
27 | 2628693.1263 | 1213240.9128 | 2628692.9029 | 1213236.8094 | 2628692.0647 | 1213224.7206 | 2628689.9729 | 1213215.85 | 2628686.3032 | 1213204.9595 | 2628680.6649 | 1213191.1801 | 2628674.8577 | 1213179.3232 | 2628670.992 | 1213169.6992
28 | 2629081.6229 | 1213394.268 | 2629086.1524 | 1213387.5195 | 2629098.639 | 1213372.0826 | 2629110.8273 | 1213358.6454 | 2629117.614 | 1213354.7763
29 | 2629082.4817 | 1213197.3324 | 2629117.614 | 1213354.7763
30 | 2628923.112 | 1213440.5581 | 2628935.3232 | 1213442.6518 | 2628947.0314 | 1213443.5313 | 2628972.9584 | 1213438.1984 | 2628987.8618 | 1213436.4808 | 2629021.3385 | 1213435.9097 | 2629029.3775 | 1213435.3262 | 2629037.3519 | 1213433.9753 | 2629045.1704 | 1213431.8899 | 2629052.7494 | 1213429.0696 | 2629060.1649 | 1213425.5036 | 2629073.8806 | 1213413.4523 | 2629076.9741 | 1213408.3423 | 2629079.8334 | 1213401.4189 | 2629081.6229 | 1213394.268
31 | 2629109.9039 | 1213191.3009 | 2629096.4631 | 1213196.694 | 2629088.51 | 1213198.2784 | 2629082.4817 | 1213197.3324
32 | 2629109.9039 | 1213191.3009 | 2629109.9224 | 1213187.7023
33 | 2629109.7508 | 1213155.702 | 2629110.0394 | 1213165.0532 | 2629109.9224 | 1213187.7023
34 | 2629109.7508 | 1213155.702 | 2629102.8066 | 1213154.4452 | 2629097.7829 | 1213153.4424 | 2629089.5222 | 1213151.0393
35 | 2629062.8744 | 1213141.9659 | 2629083.3634 | 1213149.2476 | 2629089.5222 | 1213151.0393
36 | 2629050.1316 | 1213172.4992 | 2629055.6784 | 1213162.7761 | 2629062.8744 | 1213141.9659
37 | 2629062.8744 | 1213141.9659 | 2628996.4024 | 1213118.3516 | 2628980.5041 | 1213112.0598 | 2628950.4756 | 1213098.2174 | 2628935.7005 | 1213090.5303 | 2628922.0346 | 1213081.2366 | 2628909.0802 | 1213070.9013 | 2628897.1626 | 1213059.7595
38 | 2628662.8786 | 1212731.5882 | 2628656.9334 | 1212743.6554 | 2628654.9626 | 1212750.6722 | 2628654.5021 | 1212765.9009 | 2628661.2725 | 1212812.9602 | 2628661.2725 | 1212812.9602
39 | 2628086.7879 | 1213153.1145 | 2628088.6618 | 1213147.1421 | 2628089.0801 | 1213142.1968 | 2628088.8903 | 1213137.3265 | 2628088.1075 | 1213132.5757
40 | 2628375.4127 | 1213450.4148 | 2628374.4837 | 1213460.4939 | 2628375.5842 | 1213465.4686 | 2628375.7631 | 1213470.9615 | 2628375.0222 | 1213476.639 | 2628374.1834 | 1213482.1159 | 2628372.427 | 1213487.2883 | 2628369.6405 | 1213493.4675 | 2628357.8517 | 1213509.5652 | 2628355.9762 | 1213512.6358
41 | 2628694.7378 | 1212766.5055 | 2628682.6419 | 1212776.6184
42 | 2628694.7378 | 1212766.5055 | 2628674.9492 | 1212745.8765 | 2628662.8786 | 1212731.5882
43 | 2628639.2128 | 1212694.1089 | 2628643.4707 | 1212701.2445 | 2628662.8786 | 1212731.5882
44 | 2628639.2128 | 1212694.1089 | 2628636.4344 | 1212695.2851 | 2628633.9481 | 1212695.7624 | 2628631.1265 | 1212694.8483
45 | 2628774.1514 | 1212922.5653 | 2628778.8294 | 1212932.3045 | 2628786.5573 | 1212944.3819 | 2628794.3731 | 1212953.9918 | 2628831.6034 | 1212994.6834 | 2628841.6605 | 1213004.1707 | 2628854.5529 | 1213013.603
46 | 2628774.1514 | 1212922.5653 | 2628902.6464 | 1212815.1021
47 | 2628878.1408 | 1213034.6155 | 2628873.897 | 1213029.6632 | 2628861.4545 | 1213018.6524 | 2628854.5529 | 1213013.603
48 | 2628902.6464 | 1212815.1021 | 2628930.1703 | 1212795.8688 | 2628934.6861 | 1212788.8755 | 2628933.7614 | 1212782.1672 | 2628933.4589 | 1212780.2386
49 | 2628597.3528 | 1213456.2028 | 2628664.2408 | 1213245.3211
50 | 2628693.1263 | 1213240.9128 | 2628686.4822 | 1213242.0037 | 2628664.2408 | 1213245.3211
51 | 2628597.3528 | 1213456.2028 | 2628605.4738 | 1213458.8391 | 2628606.5729 | 1213459.241
52 | 2628597.3528 | 1213456.2028 | 2628468.4381 | 1213606.1019
53 | 2628960.1463 | 1213005.6337 | 2628966.7701 | 1213011.9138 | 2628976.9793 | 1213018.1891 | 2628997.2707 | 1213024.0242 | 2629009.8161 | 1213027.8762
54 | 2628960.1463 | 1213005.6337 | 2628968.9893 | 1213003.4615
55 | 2628960.1463 | 1213005.6337 | 2628954.3697 | 1213006.3616 | 2628933.1842 | 1213007.8821 | 2628926.2719 | 1213007.8375 | 2628914.5188 | 1213006.6354 | 2628909.55 | 1213006.8115 | 2628904.6684 | 1213007.8218 | 2628899.9347 | 1213009.6555 | 2628896.4961 | 1213012.2848 | 2628891.3113 | 1213019.4193 | 2628887.3711 | 1213024.9796
56 | 2628994.2542 | 1212988.2336 | 2628993.1801 | 1212990.4074 | 2628991.3069 | 1212992.922 | 2628989.0251 | 1212995.0899 | 2628986.4263 | 1212996.8228 | 2628971.5086 | 1213002.8427 | 2628968.9893 | 1213003.4615
57 | 2628994.2542 | 1212988.2336 | 2629001.5896 | 1212991.8713 | 2629004.2959 | 1212994.586 | 2629004.5277 | 1212996.9107
58 | 2628994.2542 | 1212988.2336 | 2628995.5813 | 1212985.5496 | 2628996.5055 | 1212981.3851 | 2629003.9462 | 1212983.7003
59 | 2629028.2514 | 1212982.6733 | 2629027.4959 | 1212978.7118 | 2629024.7092 | 1212975.3519 | 2629020.0022 | 1212973.2501 | 2629011.9165 | 1212973.9334 | 2629006.2977 | 1212978.1308 | 2629003.9462 | 1212983.7003
60 | 2628355.9762 | 1213512.6358 | 2628357.5214 | 1213515.1446 | 2628374.2334 | 1213535.5356 | 2628382.5439 | 1213543.2906 | 2628413.3796 | 1213570.8529 | 2628422.9992 | 1213578.0361 | 2628440.1782 | 1213588.0014 | 2628468.4381 | 1213606.1019
61 | 2628640.9003 | 1213471.3938 | 2628634.279 | 1213469.372 | 2628606.5729 | 1213459.241
62 | 2628881.5789 | 1213038.6277 | 2628878.1408 | 1213034.6155
63 | 2628881.5789 | 1213038.6277 | 2628888.894 | 1213049.6026 | 2628897.1626 | 1213059.7595
64 | 2628881.5789 | 1213038.6277 | 2628883.9154 | 1213029.8562 | 2628887.3711 | 1213024.9796

## bus_geodata
| x | y | coords
0 | 2628669.912 | 1213489.6777
1 | 2628645.8347 | 1213475.7038
2 | 2628682.1352 | 1212915.4297
3 | 2628678.295 | 1212895.2454
4 | 2628680.5461 | 1212934.433
5 | 2628672.9057 | 1212880.0372
6 | 2628705.3429 | 1212976.5651
7 | 2628663.7127 | 1212867.5092
8 | 2628687.423 | 1212981.8862
9 | 2628709.3226 | 1212981.294
10 | 2628661.4996 | 1212822.7161
11 | 2628670.9091 | 1212992.3923
12 | 2628714.7568 | 1212985.9754
13 | 2628312.9291 | 1213156.0879
14 | 2628225.4423 | 1213291.9027
15 | 2628320.2622 | 1213134.684
16 | 2628313.4341 | 1213131.9565
17 | 2628345.3803 | 1213146.2842
18 | 2628271.3886 | 1213129.2172
19 | 2628353.6668 | 1213150.2461
20 | 2628249.675 | 1213135.7282
21 | 2628371.98 | 1213162.2496
22 | 2628198.5852 | 1213159.6449
23 | 2628167.1007 | 1213149.8241
24 | 2628670.992 | 1213169.6992
25 | 2629117.614 | 1213354.7763
26 | 2629081.6229 | 1213394.268
27 | 2629082.4817 | 1213197.3324
28 | 2628923.112 | 1213440.5581
29 | 2629109.9039 | 1213191.3009
30 | 2629109.9224 | 1213187.7023
31 | 2629109.7508 | 1213155.702
32 | 2629089.5222 | 1213151.0393
33 | 2629062.8744 | 1213141.9659
34 | 2628661.2725 | 1212812.9602
35 | 2629050.1316 | 1213172.4992
36 | 2628088.1075 | 1213132.5757
37 | 2628086.7879 | 1213153.1145
38 | 2628375.4127 | 1213450.4148
39 | 2628682.6419 | 1212776.6184
40 | 2628694.7378 | 1212766.5055
41 | 2628662.8786 | 1212731.5882
42 | 2628639.2128 | 1212694.1089
43 | 2628631.1265 | 1212694.8483
44 | 2628774.1514 | 1212922.5653
45 | 2628854.5529 | 1213013.603
46 | 2628902.6464 | 1212815.1021
47 | 2628933.4589 | 1212780.2386
48 | 2628664.2408 | 1213245.3211
49 | 2628597.3528 | 1213456.2028
50 | 2628693.1263 | 1213240.9128
51 | 2629009.8161 | 1213027.8762
52 | 2628960.1463 | 1213005.6337
53 | 2628968.9893 | 1213003.4615
54 | 2628994.2542 | 1212988.2336
55 | 2629004.5277 | 1212996.9107
56 | 2629003.9462 | 1212983.7003
57 | 2629028.2515 | 1212982.6733
58 | 2628355.9762 | 1213512.6358
59 | 2628606.5729 | 1213459.241
60 | 2628468.4381 | 1213606.1019
61 | 2628640.9003 | 1213471.3938
62 | 2628878.1408 | 1213034.6155
63 | 2628881.5789 | 1213038.6277
64 | 2628897.1626 | 1213059.7595
65 | 2628887.3711 | 1213024.9796
66 | 2628670.992 | 1213169.6992

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1