## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1051-14_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1051-14_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1051-14_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1051-14_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1051-14_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1051-14_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_1051-14_0_3_node_9 | 0.4 | n |  | TRUE
7 | bus_LV_1051-14_0_3_node_10 | 0.4 | n |  | TRUE
8 | bus_LV_1051-14_0_3_node_71 | 0.4 | n |  | TRUE
9 | bus_LV_1051-14_0_3_node_72 | 0.4 | n |  | TRUE
10 | bus_LV_1051-14_0_3_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_1051-14_0_3_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_1051-14_0_3_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_1051-14_0_3_node_45 | 0.4 | n |  | TRUE
14 | bus_LV_1051-14_0_3_node_82 | 0.4 | n |  | TRUE
15 | bus_LV_1051-14_0_3_node_58 | 0.4 | n |  | TRUE
16 | bus_LV_1051-14_0_3_node_57 | 0.4 | n |  | TRUE
17 | bus_LV_1051-14_0_3_node_55 | 0.4 | n |  | TRUE
18 | bus_LV_1051-14_0_3_node_76 | 0.4 | n |  | TRUE
19 | bus_LV_1051-14_0_3_node_83 | 0.4 | n |  | TRUE
20 | bus_LV_1051-14_0_3_node_70 | 0.4 | n |  | TRUE
21 | bus_LV_1051-14_0_3_node_56 | 0.4 | n |  | TRUE
22 | bus_LV_1051-14_0_3_node_11 | 0.4 | n |  | TRUE
23 | bus_LV_1051-14_0_3_node_12 | 0.4 | n |  | TRUE
24 | bus_LV_1051-14_0_3_node_13 | 0.4 | n |  | TRUE
25 | bus_LV_1051-14_0_3_node_14 | 0.4 | n |  | TRUE
26 | bus_LV_1051-14_0_3_node_15 | 0.4 | n |  | TRUE
27 | bus_LV_1051-14_0_3_node_16 | 0.4 | n |  | TRUE
28 | bus_LV_1051-14_0_3_node_17 | 0.4 | n |  | TRUE
29 | bus_LV_1051-14_0_3_node_24 | 0.4 | n |  | TRUE
30 | bus_LV_1051-14_0_3_node_32 | 0.4 | n |  | TRUE
31 | bus_LV_1051-14_0_3_node_34 | 0.4 | n |  | TRUE
32 | bus_LV_1051-14_0_3_node_22 | 0.4 | n |  | TRUE
33 | bus_LV_1051-14_0_3_node_53 | 0.4 | n |  | TRUE
34 | bus_LV_1051-14_0_3_node_33 | 0.4 | n |  | TRUE
35 | bus_LV_1051-14_0_3_node_35 | 0.4 | n |  | TRUE
36 | bus_LV_1051-14_0_3_node_18 | 0.4 | n |  | TRUE
37 | bus_LV_1051-14_0_3_node_19 | 0.4 | n |  | TRUE
38 | bus_LV_1051-14_0_3_node_20 | 0.4 | n |  | TRUE
39 | bus_LV_1051-14_0_3_node_21 | 0.4 | n |  | TRUE
40 | bus_LV_1051-14_0_3_node_23 | 0.4 | n |  | TRUE
41 | bus_LV_1051-14_0_3_node_36 | 0.4 | n |  | TRUE
42 | bus_LV_1051-14_0_3_node_40 | 0.4 | n |  | TRUE
43 | bus_LV_1051-14_0_3_node_30 | 0.4 | n |  | TRUE
44 | bus_LV_1051-14_0_3_node_28 | 0.4 | n |  | TRUE
45 | bus_LV_1051-14_0_3_node_25 | 0.4 | n |  | TRUE
46 | bus_LV_1051-14_0_3_node_26 | 0.4 | n |  | TRUE
47 | bus_LV_1051-14_0_3_node_27 | 0.4 | n |  | TRUE
48 | bus_LV_1051-14_0_3_node_29 | 0.4 | n |  | TRUE
49 | bus_LV_1051-14_0_3_node_31 | 0.4 | n |  | TRUE
50 | bus_LV_1051-14_0_3_node_52 | 0.4 | n |  | TRUE
51 | bus_LV_1051-14_0_3_node_50 | 0.4 | n |  | TRUE
52 | bus_LV_1051-14_0_3_node_54 | 0.4 | n |  | TRUE
53 | bus_LV_1051-14_0_3_node_38 | 0.4 | n |  | TRUE
54 | bus_LV_1051-14_0_3_node_68 | 0.4 | n |  | TRUE
55 | bus_LV_1051-14_0_3_node_66 | 0.4 | n |  | TRUE
56 | bus_LV_1051-14_0_3_node_39 | 0.4 | n |  | TRUE
57 | bus_LV_1051-14_0_3_node_69 | 0.4 | n |  | TRUE
58 | bus_LV_1051-14_0_3_node_64 | 0.4 | n |  | TRUE
59 | bus_LV_1051-14_0_3_node_41 | 0.4 | n |  | TRUE
60 | bus_LV_1051-14_0_3_node_42 | 0.4 | n |  | TRUE
61 | bus_LV_1051-14_0_3_node_43 | 0.4 | n |  | TRUE
62 | bus_LV_1051-14_0_3_node_44 | 0.4 | n |  | TRUE
63 | bus_LV_1051-14_0_3_node_46 | 0.4 | n |  | TRUE
64 | bus_LV_1051-14_0_3_node_51 | 0.4 | n |  | TRUE
65 | bus_LV_1051-14_0_3_node_49 | 0.4 | n |  | TRUE
66 | bus_LV_1051-14_0_3_node_47 | 0.4 | n |  | TRUE
67 | bus_LV_1051-14_0_3_node_48 | 0.4 | n |  | TRUE
68 | bus_LV_1051-14_0_3_node_60 | 0.4 | n |  | TRUE
69 | bus_LV_1051-14_0_3_node_61 | 0.4 | n |  | TRUE
70 | bus_LV_1051-14_0_3_node_62 | 0.4 | n |  | TRUE
71 | bus_LV_1051-14_0_3_node_63 | 0.4 | n |  | TRUE
72 | bus_LV_1051-14_0_3_node_65 | 0.4 | n |  | TRUE
73 | bus_LV_1051-14_0_3_node_67 | 0.4 | n |  | TRUE
74 | bus_LV_1051-14_0_3_node_73 | 0.4 | n |  | TRUE
75 | bus_LV_1051-14_0_3_node_74 | 0.4 | n |  | TRUE
76 | bus_LV_1051-14_0_3_node_75 | 0.4 | n |  | TRUE
77 | bus_LV_1051-14_0_3_node_77 | 0.4 | n |  | TRUE
78 | bus_LV_1051-14_0_3_node_78 | 0.4 | n |  | TRUE
79 | bus_LV_1051-14_0_3_node_79 | 0.4 | n |  | TRUE
80 | bus_LV_1051-14_0_3_node_80 | 0.4 | n |  | TRUE
81 | bus_MV_211_0_node_3 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1051-14_0_3_load_0 | 0 | 0.0045634 | 0.0011437 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1051-14_0_3_load_1 | 1 | 0.0046558 | 0.0011669 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1051-14_0_3_load_2 | 2 | 0.0063513 | 0.0015918 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1051-14_0_3_load_9 | 6 | 0.0036531 | 0.00091556 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1051-14_0_3_load_10 | 7 | 0.0057176 | 0.001433 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1051-14_0_3_load_71 | 8 | 0.0038206 | 0.00095754 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1051-14_0_3_load_72 | 9 | 0.0039446 | 0.00098861 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1051-14_0_3_load_45 | 13 | 0.0060781 | 0.0015233 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1051-14_0_3_load_82 | 14 | 0.011398 | 0.0028567 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1051-14_0_3_load_58 | 15 | 0.0034217 | 0.00085755 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1051-14_0_3_load_57 | 16 | 0.0022708 | 0.00056911 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1051-14_0_3_load_55 | 17 | 0.0036279 | 0.00090925 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1051-14_0_3_load_76 | 18 | 0.0039468 | 0.00098916 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1051-14_0_3_load_83 | 19 | 0.010952 | 0.0027449 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1051-14_0_3_load_70 | 20 | 0.0034178 | 0.00085658 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1051-14_0_3_load_56 | 21 | 0.0022708 | 0.00056911 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1051-14_0_3_load_11 | 22 | 0.002312 | 0.00057945 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1051-14_0_3_load_12 | 23 | 0.0023118 | 0.00057939 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1051-14_0_3_load_13 | 24 | 0.0017919 | 0.00044908 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1051-14_0_3_load_14 | 25 | 0.006335 | 0.0015877 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1051-14_0_3_load_15 | 26 | 0.0017897 | 0.00044855 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1051-14_0_3_load_16 | 27 | 0.0017877 | 0.00044805 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1051-14_0_3_load_17 | 28 | 0.0017886 | 0.00044827 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1051-14_0_3_load_24 | 29 | 0.0017908 | 0.00044881 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1051-14_0_3_load_32 | 30 | 0.0021959 | 0.00055033 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1051-14_0_3_load_34 | 31 | 0.002312 | 0.00057945 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1051-14_0_3_load_22 | 32 | 0.0017877 | 0.00044805 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1051-14_0_3_load_53 | 33 | 0.0021997 | 0.00055129 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1051-14_0_3_load_33 | 34 | 0.0023133 | 0.00057977 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1051-14_0_3_load_18 | 36 | 0.0023109 | 0.00057917 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1051-14_0_3_load_19 | 37 | 0.0015368 | 0.00038516 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1051-14_0_3_load_20 | 38 | 0.0017908 | 0.00044881 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1051-14_0_3_load_21 | 39 | 0.0015368 | 0.00038516 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1051-14_0_3_load_23 | 40 | 0.0015385 | 0.00038557 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1051-14_0_3_load_36 | 41 | 0.020978 | 0.0052576 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1051-14_0_3_load_40 | 42 | 0.0033431 | 0.00083785 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1051-14_0_3_load_30 | 43 | 0.0015361 | 0.00038497 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1051-14_0_3_load_28 | 44 | 0.0014788 | 0.00037063 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1051-14_0_3_load_25 | 45 | 0.0014788 | 0.00037063 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1051-14_0_3_load_26 | 46 | 0.0014788 | 0.00037063 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1051-14_0_3_load_27 | 47 | 0.0015551 | 0.00038974 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1051-14_0_3_load_29 | 48 | 0.0015546 | 0.00038961 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1051-14_0_3_load_31 | 49 | 0.0035533 | 0.00089053 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1051-14_0_3_load_52 | 50 | 0.0016705 | 0.00041865 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1051-14_0_3_load_50 | 51 | 0.0015546 | 0.00038961 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1051-14_0_3_load_54 | 52 | 0.0021959 | 0.00055033 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1051-14_0_3_load_68 | 54 | 0.0022857 | 0.00057284 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1051-14_0_3_load_66 | 55 | 0.0022893 | 0.00057376 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1051-14_0_3_load_69 | 57 | 0.0045799 | 0.0011478 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_1051-14_0_3_load_64 | 58 | 0.0021238 | 0.00053227 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_1051-14_0_3_load_41 | 59 | 0.002069 | 0.00051854 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_1051-14_0_3_load_42 | 60 | 0.0028761 | 0.00072081 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_1051-14_0_3_load_43 | 61 | 0.0017007 | 0.00042623 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_1051-14_0_3_load_44 | 62 | 0.0035471 | 0.00088899 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_1051-14_0_3_load_46 | 63 | 0.0044443 | 0.0011138 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_1051-14_0_3_load_49 | 65 | 0.015543 | 0.0038954 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_1051-14_0_3_load_47 | 66 | 0.0015551 | 0.00038974 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_1051-14_0_3_load_48 | 67 | 0.0019563 | 0.00049031 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_1051-14_0_3_load_60 | 68 | 0.0022708 | 0.0005691 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_1051-14_0_3_load_61 | 69 | 0.0022708 | 0.0005691 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_1051-14_0_3_load_62 | 70 | 0.0022708 | 0.0005691 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_1051-14_0_3_load_63 | 71 | 0.0022708 | 0.00056911 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_1051-14_0_3_load_65 | 72 | 0.0021249 | 0.00053254 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_1051-14_0_3_load_67 | 73 | 0.0022014 | 0.00055173 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_1051-14_0_3_load_73 | 74 | 0.0083785 | 0.0020999 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_1051-14_0_3_load_74 | 75 | 0.0019612 | 0.00049152 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_1051-14_0_3_load_75 | 76 | 0.0039473 | 0.00098929 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_1051-14_0_3_load_77 | 77 | 0.0038176 | 0.00095678 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_1051-14_0_3_load_78 | 78 | 0.0039483 | 0.00098953 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_1051-14_0_3_load_79 | 79 | 0.0038174 | 0.00095673 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_1051-14_0_3_load_80 | 80 | 0.0036503 | 0.00091484 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 1 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1051-14_0_3_line_0 |  | 0 | 1 | 0.029484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1051-14_0_3_line_1 |  | 0 | 2 | 0.028689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1051-14_0_3_line_2 |  | 1 | 3 | 0.01927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
3 | LV_1051-14_0_3_line_3 |  | 2 | 4 | 0.019422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1051-14_0_3_line_4 |  | 3 | 5 | 0.003606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
5 | LV_1051-14_0_3_line_5 |  | 4 | 6 | 0.004987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1051-14_0_3_line_6 |  | 4 | 7 | 0.0084236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1051-14_0_3_line_7 |  | 5 | 8 | 0.015092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1051-14_0_3_line_8 |  | 5 | 9 | 0.015362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
9 | LV_1051-14_0_3_line_9 |  | 7 | 17 | 0.0022949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1051-14_0_3_line_10 |  | 8 | 18 | 0.00071159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1051-14_0_3_line_11 |  | 9 | 11 | 0.0018126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
12 | LV_1051-14_0_3_line_12 |  | 10 | 11 | 0.018318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
13 | LV_1051-14_0_3_line_13 |  | 10 | 12 | 0.004331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
14 | LV_1051-14_0_3_line_14 |  | 10 | 13 | 0.023019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1051-14_0_3_line_15 |  | 11 | 14 | 0.047204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1051-14_0_3_line_16 |  | 12 | 15 | 0.025354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1051-14_0_3_line_17 |  | 12 | 16 | 0.016108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1051-14_0_3_line_18 |  | 14 | 19 | 0.026497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1051-14_0_3_line_19 |  | 15 | 20 | 7.1603e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1051-14_0_3_line_20 |  | 16 | 21 | 0.00063516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1051-14_0_3_line_21 |  | 18 | 75 | 0.01812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1051-14_0_3_line_22 |  | 20 | 56 | 0.071555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1051-14_0_3_line_23 |  | 21 | 52 | 0.024231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1051-14_0_3_line_24 |  | 22 | 23 | 6.1572e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1051-14_0_3_line_25 |  | 22 | 24 | 5.9224e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1051-14_0_3_line_26 |  | 23 | 25 | 0.0083678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1051-14_0_3_line_27 |  | 24 | 26 | 6.2548e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1051-14_0_3_line_28 |  | 25 | 27 | 0.0088605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1051-14_0_3_line_29 |  | 26 | 28 | 6.0295e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1051-14_0_3_line_30 |  | 27 | 29 | 4.499e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1051-14_0_3_line_31 |  | 28 | 30 | 0.06337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1051-14_0_3_line_32 |  | 28 | 31 | 0.094372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1051-14_0_3_line_33 |  | 29 | 32 | 4.4983e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1051-14_0_3_line_34 |  | 30 | 33 | 0.00026476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1051-14_0_3_line_35 |  | 31 | 34 | 0.01535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1051-14_0_3_line_36 |  | 32 | 38 | 4.4976e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1051-14_0_3_line_37 |  | 33 | 52 | 0.00026477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1051-14_0_3_line_38 |  | 34 | 35 | 0.075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1051-14_0_3_line_39 |  | 35 | 41 | 0.026742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1051-14_0_3_line_40 |  | 36 | 37 | 0.030849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1051-14_0_3_line_41 |  | 36 | 38 | 4.497e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1051-14_0_3_line_42 |  | 37 | 39 | 0.0038463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1051-14_0_3_line_43 |  | 39 | 40 | 0.0057775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1051-14_0_3_line_44 |  | 40 | 43 | 0.0034179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1051-14_0_3_line_45 |  | 41 | 42 | 0.0152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1051-14_0_3_line_46 |  | 43 | 44 | 0.014087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1051-14_0_3_line_47 |  | 44 | 46 | 0.0054041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1051-14_0_3_line_48 |  | 45 | 46 | 0.0020607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1051-14_0_3_line_49 |  | 45 | 47 | 0.0051328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1051-14_0_3_line_50 |  | 47 | 48 | 0.0057144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1051-14_0_3_line_51 |  | 48 | 49 | 0.0048125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1051-14_0_3_line_52 |  | 49 | 50 | 0.0015817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1051-14_0_3_line_53 |  | 50 | 51 | 0.0030115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1051-14_0_3_line_54 |  | 51 | 67 | 0.0032157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_1051-14_0_3_line_55 |  | 53 | 54 | 0.037695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_1051-14_0_3_line_56 |  | 53 | 55 | 0.015288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_1051-14_0_3_line_57 |  | 54 | 57 | 0.0021084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_1051-14_0_3_line_58 |  | 55 | 58 | 0.023921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_1051-14_0_3_line_59 |  | 56 | 57 | 0.013817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_1051-14_0_3_line_60 |  | 58 | 70 | 0.0024793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_1051-14_0_3_line_61 |  | 59 | 60 | 0.027355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_1051-14_0_3_line_62 |  | 59 | 61 | 0.009976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_1051-14_0_3_line_63 |  | 60 | 62 | 0.027417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_1051-14_0_3_line_64 |  | 62 | 63 | 0.010406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_1051-14_0_3_line_65 |  | 63 | 64 | 0.032396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_1051-14_0_3_line_66 |  | 64 | 65 | 0.011057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_1051-14_0_3_line_67 |  | 65 | 66 | 0.03913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_1051-14_0_3_line_68 |  | 66 | 67 | 0.0026654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_1051-14_0_3_line_69 |  | 68 | 69 | 1.7725e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_1051-14_0_3_line_70 |  | 68 | 70 | 1.7727e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_1051-14_0_3_line_71 |  | 69 | 71 | 1.7722e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_1051-14_0_3_line_72 |  | 71 | 72 | 0.0038349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_1051-14_0_3_line_73 |  | 72 | 73 | 0.006789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_1051-14_0_3_line_74 |  | 73 | 74 | 0.0085119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_1051-14_0_3_line_75 |  | 75 | 76 | 0.0060842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_1051-14_0_3_line_76 |  | 76 | 77 | 0.007727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_1051-14_0_3_line_77 |  | 77 | 78 | 0.013294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_1051-14_0_3_line_78 |  | 78 | 79 | 0.0036373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_1051-14_0_3_line_79 |  | 79 | 80 | 0.030158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1051-14_0_3_trafo_1 | 0.63 MVA 20/0.4 kV | 81 | 1 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2670406.7113 | 1213230.1501 | 2670407.593 | 1213230.8368 | 2670414.0318 | 1213239.4737 | 2670418.4357 | 1213249.9545 | 2670418.3857 | 1213256.1797
1 | 2670406.7113 | 1213230.1501 | 2670389.429 | 1213216.6913 | 2670383.8301 | 1213212.8605
2 | 2670415.6534 | 1213275.1931 | 2670416.9376 | 1213270.0161 | 2670418.3551 | 1213259.9932 | 2670418.3857 | 1213256.1797
3 | 2670367.8008 | 1213201.8935 | 2670383.8301 | 1213212.8605
4 | 2670415.6534 | 1213275.1931 | 2670412.1625 | 1213274.2513
5 | 2670367.8008 | 1213201.8935 | 2670369.1267 | 1213206.701
6 | 2670367.8008 | 1213201.8935 | 2670360.8494 | 1213197.136
7 | 2670412.1625 | 1213274.2513 | 2670397.5873 | 1213270.3336
8 | 2670412.1625 | 1213274.2513 | 2670406.1113 | 1213288.3709
9 | 2670360.8494 | 1213197.136 | 2670358.9555 | 1213195.8399
10 | 2670396.9001 | 1213270.1489 | 2670397.5873 | 1213270.3336
11 | 2670405.3973 | 1213290.0369 | 2670406.1113 | 1213288.3709
12 | 2670405.3973 | 1213290.0369 | 2670406.0247 | 1213290.3001 | 2670409.0863 | 1213291.5703 | 2670411.8228 | 1213292.7145 | 2670412.9038 | 1213293.1719 | 2670411.922 | 1213295.2506 | 2670411.8013 | 1213299.0404 | 2670413.1275 | 1213301.2463 | 2670414.3938 | 1213302.084
13 | 2670413.9631 | 1213306.3928 | 2670414.3072 | 1213302.9836 | 2670414.3938 | 1213302.084
14 | 2670414.3938 | 1213302.084 | 2670421.3082 | 1213301.9656 | 2670432.7357 | 1213301.1444 | 2670437.3315 | 1213300.457
15 | 2670405.3973 | 1213290.0369 | 2670402.8968 | 1213295.2774 | 2670398.9411 | 1213299.6001 | 2670393.8589 | 1213302.8199 | 2670388.0825 | 1213303.7078 | 2670381.2147 | 1213303.0931 | 2670370.7645 | 1213300.924 | 2670364.8906 | 1213299.2437
16 | 2670413.9631 | 1213306.3928 | 2670413.576 | 1213309.5791 | 2670411.8123 | 1213312.2599 | 2670394.0983 | 1213318.9509
17 | 2670413.9631 | 1213306.3928 | 2670424.3826 | 1213305.3707 | 2670430.0041 | 1213304.9291
18 | 2670364.8906 | 1213299.2437 | 2670358.522 | 1213297.4218 | 2670340.2246 | 1213289.6662
19 | 2670394.0313 | 1213318.9762 | 2670394.0983 | 1213318.9509
20 | 2670430.6373 | 1213304.8794 | 2670430.0041 | 1213304.9291
21 | 2670390.6709 | 1213257.0799 | 2670390.807 | 1213258.9007 | 2670389.5772 | 1213261.3989 | 2670389.712 | 1213265.4252 | 2670391.0498 | 1213268.5763 | 2670396.9001 | 1213270.1489
22 | 2670383.4447 | 1213347.136 | 2670383.3945 | 1213345.6011 | 2670381.5229 | 1213341.9767 | 2670378.6762 | 1213341.1649 | 2670374.7206 | 1213340.9736 | 2670361.9872 | 1213339.1667 | 2670359.4123 | 1213335.2672 | 2670359.7659 | 1213330.4128 | 2670368.6048 | 1213325.5696 | 2670378.1609 | 1213324.9708 | 2670394.0313 | 1213318.9762
23 | 2670430.6373 | 1213304.8794 | 2670435.9479 | 1213304.4622 | 2670446.3586 | 1213302.2615 | 2670451.3236 | 1213300.608 | 2670454.078 | 1213299.3449
24 | 2670463.7853 | 1213242.5458 | 2670463.8018 | 1213242.6051
25 | 2670463.8018 | 1213242.6051 | 2670463.8176 | 1213242.6622
26 | 2670463.7853 | 1213242.5458 | 2670463.1436 | 1213240.2319 | 2670461.5335 | 1213234.4867
27 | 2670463.8176 | 1213242.6622 | 2670463.8343 | 1213242.7225
28 | 2670461.5335 | 1213234.4867 | 2670459.1424 | 1213225.955
29 | 2670463.8343 | 1213242.7225 | 2670463.8504 | 1213242.7806
30 | 2670459.1303 | 1213225.9117 | 2670459.1424 | 1213225.955
31 | 2670463.8504 | 1213242.7806 | 2670469.5044 | 1213263.1659 | 2670470.1876 | 1213271.5681 | 2670470.352 | 1213276.9401 | 2670469.2311 | 1213282.4303 | 2670466.4089 | 1213287.9004 | 2670463.5605 | 1213292.3696 | 2670459.8787 | 1213296.0062 | 2670456.0745 | 1213298.4294 | 2670454.5594 | 1213299.1242
32 | 2670463.8504 | 1213242.7806 | 2670558.1471 | 1213239.0083
33 | 2670459.1181 | 1213225.8683 | 2670459.1303 | 1213225.9117
34 | 2670454.5594 | 1213299.1242 | 2670454.3187 | 1213299.2346
35 | 2670558.1471 | 1213239.0083 | 2670561.8414 | 1213224.1099
36 | 2670459.106 | 1213225.825 | 2670459.1181 | 1213225.8683
37 | 2670454.3187 | 1213299.2346 | 2670454.078 | 1213299.3449
38 | 2670587.6647 | 1213154.6948 | 2670579.6763 | 1213164.6621 | 2670576.7979 | 1213171.6546 | 2670571.4789 | 1213184.5887 | 2670567.131 | 1213202.7709 | 2670562.2646 | 1213222.4035 | 2670561.8414 | 1213224.1099
39 | 2670587.6647 | 1213154.6948 | 2670610.1699 | 1213140.2499
40 | 2670459.0938 | 1213225.7817 | 2670458.7699 | 1213224.626 | 2670453.0231 | 1213208.2256 | 2670447.6545 | 1213197.1918
41 | 2670459.0938 | 1213225.7817 | 2670459.106 | 1213225.825
42 | 2670447.6545 | 1213197.1918 | 2670447.6311 | 1213197.1438 | 2670445.7243 | 1213193.8651
43 | 2670445.7243 | 1213193.8651 | 2670442.8198 | 1213188.8708
44 | 2670442.8198 | 1213188.8708 | 2670441.7715 | 1213187.0683 | 2670440.9949 | 1213185.9852
45 | 2670622.962 | 1213132.0394 | 2670610.1699 | 1213140.2499
46 | 2670432.8062 | 1213174.5225 | 2670433.7074 | 1213175.8216 | 2670440.9949 | 1213185.9852
47 | 2670432.8062 | 1213174.5225 | 2670429.7261 | 1213170.0821 | 2670429.7261 | 1213170.0821
48 | 2670428.3957 | 1213168.5084 | 2670429.7261 | 1213170.0821
49 | 2670428.3957 | 1213168.5084 | 2670425.0819 | 1213164.5887
50 | 2670425.0819 | 1213164.5887 | 2670421.3926 | 1213160.2248
51 | 2670421.3926 | 1213160.2248 | 2670418.2855 | 1213156.5496 | 2670418.2855 | 1213156.5496
52 | 2670418.2855 | 1213156.5496 | 2670417.1214 | 1213155.4788
53 | 2670417.1214 | 1213155.4788 | 2670414.905 | 1213153.4399
54 | 2670412.5384 | 1213151.2629 | 2670414.905 | 1213153.4399
55 | 2670411.1015 | 1213375.0132 | 2670396.6487 | 1213365.7035 | 2670390.4461 | 1213350.5874 | 2670394.2714 | 1213348.9426
56 | 2670411.1015 | 1213375.0132 | 2670410.2524 | 1213369.0772 | 2670415.2611 | 1213361.2518
57 | 2670394.1215 | 1213346.8396 | 2670394.2714 | 1213348.9426
58 | 2670415.2611 | 1213361.2518 | 2670419.8648 | 1213354.0591 | 2670421.7236 | 1213352.9692 | 2670434.7107 | 1213350.4635
59 | 2670383.4447 | 1213347.136 | 2670388.8157 | 1213345.1981 | 2670389.4773 | 1213348.3524 | 2670394.1215 | 1213346.8396
60 | 2670437.1451 | 1213349.9938 | 2670434.7107 | 1213350.4635
61 | 2670422.3253 | 1213167.064 | 2670433.557 | 1213180.8341 | 2670438.5349 | 1213189.0259
62 | 2670443.2737 | 1213197.7965 | 2670440.3755 | 1213192.055 | 2670438.5349 | 1213189.0259
63 | 2670422.3253 | 1213167.064 | 2670417.8987 | 1213161.6371 | 2670409.1841 | 1213152.7176 | 2670403.075 | 1213147.6405
64 | 2670394.9557 | 1213141.1421 | 2670396.7259 | 1213142.364 | 2670403.075 | 1213147.6405
65 | 2670369.1123 | 1213121.6808 | 2670378.5353 | 1213129.8082 | 2670394.9557 | 1213141.1421
66 | 2670369.1123 | 1213121.6808 | 2670379.1615 | 1213126.2939
67 | 2670410.5768 | 1213149.4583 | 2670409.0418 | 1213148.0463 | 2670395.6442 | 1213137.4704 | 2670382.4863 | 1213127.8202 | 2670379.1615 | 1213126.2939
68 | 2670410.5768 | 1213149.4583 | 2670412.5384 | 1213151.2629
69 | 2670437.1799 | 1213349.9871 | 2670437.1625 | 1213349.9904
70 | 2670437.1625 | 1213349.9904 | 2670437.1451 | 1213349.9938
71 | 2670437.1973 | 1213349.9837 | 2670437.1799 | 1213349.9871
72 | 2670437.1973 | 1213349.9837 | 2670440.9628 | 1213349.2572
73 | 2670447.6288 | 1213347.9711 | 2670440.9628 | 1213349.2572
74 | 2670455.9866 | 1213346.3585 | 2670447.6288 | 1213347.9711
75 | 2670390.6709 | 1213257.0799 | 2670390.4593 | 1213254.2493 | 2670387.7142 | 1213252.5174
76 | 2670387.7142 | 1213252.5174 | 2670384.3891 | 1213250.4197 | 2670382.6922 | 1213247.4422 | 2670382.3826 | 1213247.2425
77 | 2670372.4553 | 1213241.4989 | 2670376.3425 | 1213240.9076 | 2670376.5994 | 1213241.6667 | 2670377.1865 | 1213244.064 | 2670380.1816 | 1213245.8227 | 2670382.3826 | 1213247.2425
78 | 2670368.8595 | 1213242.0459 | 2670372.4553 | 1213241.4989
79 | 2670368.8595 | 1213242.0459 | 2670364.7442 | 1213242.6719 | 2670358.9633 | 1213243.9379 | 2670353.3612 | 1213245.5061 | 2670352.8566 | 1213243.1987 | 2670342.3852 | 1213247.3223 | 2670341.7599 | 1213247.4779

## bus_geodata
| x | y | coords
0 | 2670406.7113 | 1213230.1501
1 | 2670418.3857 | 1213256.1797
2 | 2670383.8301 | 1213212.8605
3 | 2670415.6534 | 1213275.1931
4 | 2670367.8008 | 1213201.8935
5 | 2670412.1625 | 1213274.2513
6 | 2670369.1267 | 1213206.701
7 | 2670360.8494 | 1213197.136
8 | 2670397.5873 | 1213270.3336
9 | 2670406.1113 | 1213288.3709
10 | 2670414.3938 | 1213302.084
11 | 2670405.3973 | 1213290.0369
12 | 2670413.9631 | 1213306.3928
13 | 2670437.3315 | 1213300.457
14 | 2670364.8906 | 1213299.2437
15 | 2670394.0983 | 1213318.9509
16 | 2670430.0041 | 1213304.9291
17 | 2670358.9555 | 1213195.8399
18 | 2670396.9001 | 1213270.1489
19 | 2670340.2246 | 1213289.6662
20 | 2670394.0313 | 1213318.9762
21 | 2670430.6373 | 1213304.8794
22 | 2670463.8018 | 1213242.6051
23 | 2670463.7853 | 1213242.5458
24 | 2670463.8176 | 1213242.6622
25 | 2670461.5335 | 1213234.4867
26 | 2670463.8343 | 1213242.7225
27 | 2670459.1424 | 1213225.955
28 | 2670463.8504 | 1213242.7806
29 | 2670459.1303 | 1213225.9117
30 | 2670454.5594 | 1213299.1242
31 | 2670558.1471 | 1213239.0083
32 | 2670459.1181 | 1213225.8683
33 | 2670454.3187 | 1213299.2346
34 | 2670561.8414 | 1213224.1099
35 | 2670587.6647 | 1213154.6948
36 | 2670459.0938 | 1213225.7817
37 | 2670447.6545 | 1213197.1918
38 | 2670459.106 | 1213225.825
39 | 2670445.7243 | 1213193.8651
40 | 2670442.8198 | 1213188.8708
41 | 2670610.1699 | 1213140.2499
42 | 2670622.962 | 1213132.0394
43 | 2670440.9949 | 1213185.9852
44 | 2670432.8062 | 1213174.5225
45 | 2670428.3957 | 1213168.5084
46 | 2670429.7261 | 1213170.0821
47 | 2670425.0818 | 1213164.5887
48 | 2670421.3926 | 1213160.2248
49 | 2670418.2855 | 1213156.5496
50 | 2670417.1214 | 1213155.4788
51 | 2670414.905 | 1213153.4399
52 | 2670454.078 | 1213299.3449
53 | 2670411.1015 | 1213375.0132
54 | 2670394.2714 | 1213348.9426
55 | 2670415.2611 | 1213361.2518
56 | 2670383.4447 | 1213347.136
57 | 2670394.1215 | 1213346.8396
58 | 2670434.7107 | 1213350.4635
59 | 2670438.5349 | 1213189.0259
60 | 2670422.3253 | 1213167.064
61 | 2670443.2737 | 1213197.7965
62 | 2670403.075 | 1213147.6405
63 | 2670394.9557 | 1213141.1421
64 | 2670369.1123 | 1213121.6808
65 | 2670379.1615 | 1213126.2939
66 | 2670410.5768 | 1213149.4583
67 | 2670412.5384 | 1213151.2629
68 | 2670437.1625 | 1213349.9904
69 | 2670437.1799 | 1213349.9871
70 | 2670437.1451 | 1213349.9938
71 | 2670437.1973 | 1213349.9837
72 | 2670440.9628 | 1213349.2572
73 | 2670447.6288 | 1213347.9711
74 | 2670455.9866 | 1213346.3585
75 | 2670390.6709 | 1213257.0799
76 | 2670387.7142 | 1213252.5174
77 | 2670382.3826 | 1213247.2425
78 | 2670372.4553 | 1213241.4989
79 | 2670368.8595 | 1213242.0459
80 | 2670341.7599 | 1213247.4779
81 | 2670415.6534 | 1213275.1931

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99936 | -0.012298 | 0.0045634 | 0.0011437
1 | 1 | 0 | -0.24961 | -0.063224
2 | 0.99886 | -0.021992 | 0.0063513 | 0.0015918
3 | 0.99804 | -0.037231 | 0 | 0
4 | 0.99863 | -0.026403 | 0 | 0
5 | 0.99767 | -0.044214 | 0 | 0
6 | 0.99861 | -0.026722 | 0.0036531 | 0.00091556
7 | 0.99856 | -0.027779 | 0.0057176 | 0.001433
8 | 0.99727 | -0.051858 | 0.0038206 | 0.00095754
9 | 0.99631 | -0.07012 | 0.0039446 | 0.00098861
10 | 0.99475 | -0.099869 | 0 | 0
11 | 0.99615 | -0.073119 | 0 | 0
12 | 0.99443 | -0.10597 | 0 | 0
13 | 0.99462 | -0.10233 | 0.0060781 | 0.0015233
14 | 0.99519 | -0.091669 | 0.011398 | 0.0028567
15 | 0.9935 | -0.12383 | 0.0034217 | 0.00085755
16 | 0.99264 | -0.14012 | 0.0022708 | 0.00056911
17 | 0.99855 | -0.027925 | 0.0036279 | 0.00090925
18 | 0.99726 | -0.052171 | 0.0039468 | 0.00098916
19 | 0.99493 | -0.096778 | 0.010952 | 0.0027449
20 | 0.9935 | -0.12387 | 0.0034178 | 0.00085658
21 | 0.99257 | -0.14144 | 0.0022708 | 0.00056911
22 | 0.98351 | -0.31597 | 0.002312 | 0.00057945
23 | 0.98351 | -0.31605 | 0.0023118 | 0.00057939
24 | 0.98352 | -0.31589 | 0.0017919 | 0.00044908
25 | 0.98297 | -0.32661 | 0.006335 | 0.0015877
26 | 0.98352 | -0.3158 | 0.0017897 | 0.00044855
27 | 0.98245 | -0.33678 | 0.0017877 | 0.00044805
28 | 0.98353 | -0.31572 | 0.0017886 | 0.00044827
29 | 0.98244 | -0.33683 | 0.0017908 | 0.00044881
30 | 0.98992 | -0.19215 | 0.0021959 | 0.00055033
31 | 0.981 | -0.36508 | 0.002312 | 0.00057945
32 | 0.98244 | -0.33688 | 0.0017877 | 0.00044805
33 | 0.98995 | -0.19163 | 0.0021997 | 0.00055129
34 | 0.98062 | -0.37249 | 0.0023133 | 0.00057977
35 | 0.97893 | -0.40561 | 0 | 0
36 | 0.98244 | -0.33698 | 0.0023109 | 0.00057917
37 | 0.98089 | -0.3672 | 0.0015368 | 0.00038516
38 | 0.98244 | -0.33693 | 0.0017908 | 0.00044881
39 | 0.9807 | -0.37087 | 0.0015368 | 0.00038516
40 | 0.98043 | -0.37622 | 0.0015385 | 0.00038557
41 | 0.97832 | -0.41745 | 0.020978 | 0.0052576
42 | 0.97828 | -0.41837 | 0.0033431 | 0.00083785
43 | 0.98027 | -0.37929 | 0.0015361 | 0.00038497
44 | 0.97964 | -0.39157 | 0.0014788 | 0.00037063
45 | 0.97932 | -0.39783 | 0.0014788 | 0.00037063
46 | 0.97941 | -0.39614 | 0.0014788 | 0.00037063
47 | 0.97911 | -0.40189 | 0.0015551 | 0.00038974
48 | 0.97889 | -0.40626 | 0.0015546 | 0.00038961
49 | 0.97871 | -0.4098 | 0.0035533 | 0.00089053
50 | 0.97866 | -0.41087 | 0.0016705 | 0.00041865
51 | 0.97856 | -0.4128 | 0.0015546 | 0.00038961
52 | 0.98998 | -0.19109 | 0.0021959 | 0.00055033
53 | 0.98995 | -0.19247 | 0 | 0
54 | 0.99086 | -0.17492 | 0.0022857 | 0.00057284
55 | 0.98958 | -0.1996 | 0.0022893 | 0.00057376
56 | 0.99133 | -0.16575 | 0 | 0
57 | 0.99091 | -0.17386 | 0.0045799 | 0.0011478
58 | 0.98906 | -0.20979 | 0.0021238 | 0.00053227
59 | 0.97633 | -0.45661 | 0.002069 | 0.00051854
60 | 0.97642 | -0.45473 | 0.0028761 | 0.00072081
61 | 0.97631 | -0.45692 | 0.0017007 | 0.00042623
62 | 0.97659 | -0.4514 | 0.0035471 | 0.00088899
63 | 0.97669 | -0.44946 | 0.0044443 | 0.0011138
64 | 0.97713 | -0.4408 | 0 | 0
65 | 0.97728 | -0.43784 | 0.015543 | 0.0038954
66 | 0.97838 | -0.41631 | 0.0015551 | 0.00038974
67 | 0.97846 | -0.41477 | 0.0019563 | 0.00049031
68 | 0.98901 | -0.21076 | 0.0022708 | 0.0005691
69 | 0.98901 | -0.21076 | 0.0022708 | 0.0005691
70 | 0.98901 | -0.21075 | 0.0022708 | 0.0005691
71 | 0.98901 | -0.21077 | 0.0022708 | 0.00056911
72 | 0.98896 | -0.21164 | 0.0021249 | 0.00053254
73 | 0.9889 | -0.21292 | 0.0022014 | 0.00055173
74 | 0.98883 | -0.21419 | 0.0083785 | 0.0020999
75 | 0.99691 | -0.058888 | 0.0019612 | 0.00049152
76 | 0.9968 | -0.060935 | 0.0039473 | 0.00098929
77 | 0.9967 | -0.063001 | 0.0038176 | 0.00095678
78 | 0.99656 | -0.065664 | 0.0039483 | 0.00098953
79 | 0.99653 | -0.066141 | 0.0038174 | 0.00095673
80 | 0.99643 | -0.068073 | 0.0036503 | 0.00091484
81 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.023926 | -0.0060003 | 0.02394 | 0.0060089 | 1.4033e-05 | 8.5946e-06 | 0.035626 | 0.035626 | 0.035626 | 0.99936 | -0.012298 | 1 | 0 | 9.7874
1 | 0.019362 | 0.0048566 | -0.019353 | -0.0048513 | 8.9427e-06 | 5.3476e-06 | 0.028831 | 0.028831 | 0.028831 | 0.99936 | -0.012298 | 0.99886 | -0.021992 | 7.9207
2 | 0.22402 | 0.057215 | -0.22362 | -0.056958 | 0.0004024 | 0.00025703 | 0.33372 | 0.33372 | 0.33372 | 1 | 0 | 0.99804 | -0.037231 | 45.8408
3 | 0.013002 | 0.0032595 | -0.012999 | -0.003258 | 2.7326e-06 | 1.4947e-06 | 0.01937 | 0.01937 | 0.01937 | 0.99886 | -0.021992 | 0.99863 | -0.026403 | 5.3214
4 | 0.22362 | 0.056958 | -0.22354 | -0.05691 | 7.53e-05 | 4.8098e-05 | 0.33372 | 0.33372 | 0.33372 | 0.99804 | -0.037231 | 0.99767 | -0.044214 | 45.8408
5 | 0.0036532 | 0.00091553 | -0.0036531 | -0.00091556 | 5.5414e-08 | -2.9781e-08 | 0.0054434 | 0.0054434 | 0.0054434 | 0.99863 | -0.026403 | 0.99861 | -0.026722 | 1.4955
6 | 0.0093461 | 0.0023425 | -0.0093455 | -0.0023422 | 6.1264e-07 | 2.8189e-07 | 0.013926 | 0.013926 | 0.013926 | 0.99863 | -0.026403 | 0.99856 | -0.027779 | 3.8259
7 | 0.028933 | 0.0072589 | -0.028922 | -0.0072523 | 1.054e-05 | 6.5489e-06 | 0.043155 | 0.043155 | 0.043155 | 0.99767 | -0.044214 | 0.99727 | -0.051858 | 11.8559
8 | 0.19461 | 0.049651 | -0.19436 | -0.049496 | 0.00024318 | 0.00015523 | 0.29057 | 0.29057 | 0.29057 | 0.99767 | -0.044214 | 0.99631 | -0.07012 | 39.913
9 | 0.003628 | 0.00090923 | -0.0036279 | -0.00090925 | 2.5153e-08 | -1.3922e-08 | 0.0054063 | 0.0054063 | 0.0054063 | 0.99856 | -0.027779 | 0.99855 | -0.027925 | 1.4852
10 | 0.025101 | 0.0062948 | -0.025101 | -0.0062946 | 3.7434e-07 | 2.303e-07 | 0.037455 | 0.037455 | 0.037455 | 0.99727 | -0.051858 | 0.99726 | -0.052171 | 10.2897
11 | 0.19042 | 0.048507 | -0.19039 | -0.04849 | 2.7542e-05 | 1.758e-05 | 0.28468 | 0.28468 | 0.28468 | 0.99631 | -0.07012 | 0.99615 | -0.073119 | 39.1037
12 | -0.1678 | -0.042737 | 0.16802 | 0.042875 | 0.00021682 | 0.00013829 | 0.25125 | 0.25125 | 0.25125 | 0.99475 | -0.099869 | 0.99615 | -0.073119 | 34.5127
13 | 0.16172 | 0.041213 | -0.16168 | -0.041183 | 4.762e-05 | 3.0365e-05 | 0.24216 | 0.24216 | 0.24216 | 0.99475 | -0.099869 | 0.99443 | -0.10597 | 33.2637
14 | 0.0060788 | 0.0015235 | -0.0060781 | -0.0015233 | 7.1375e-07 | 1.5801e-07 | 0.0090931 | 0.0090932 | 0.0090932 | 0.99475 | -0.099869 | 0.99462 | -0.10233 | 2.4981
15 | 0.022373 | 0.005615 | -0.022353 | -0.005603 | 1.9774e-05 | 1.2042e-05 | 0.033423 | 0.033423 | 0.033423 | 0.99615 | -0.073119 | 0.99519 | -0.091669 | 9.1822
16 | 0.040066 | 0.010101 | -0.040032 | -0.01008 | 3.4199e-05 | 2.1559e-05 | 0.059974 | 0.059974 | 0.059974 | 0.99443 | -0.10597 | 0.9935 | -0.12383 | 16.4764
17 | 0.12161 | 0.031082 | -0.12141 | -0.030954 | 0.0002005 | 0.00012811 | 0.18219 | 0.18219 | 0.18219 | 0.99443 | -0.10597 | 0.99264 | -0.14012 | 50.051
18 | 0.010955 | 0.0027463 | -0.010952 | -0.0027449 | 2.6661e-06 | 1.3621e-06 | 0.01638 | 0.01638 | 0.01638 | 0.99519 | -0.091669 | 0.99493 | -0.096778 | 4.5001
19 | 0.03661 | 0.009222 | -0.03661 | -0.009222 | 8.0781e-08 | 5.0773e-08 | 0.054849 | 0.054849 | 0.054849 | 0.9935 | -0.12383 | 0.9935 | -0.12387 | 15.0685
20 | 0.11914 | 0.030384 | -0.11913 | -0.03038 | 7.6131e-06 | 4.8642e-06 | 0.17878 | 0.17878 | 0.17878 | 0.99264 | -0.14012 | 0.99257 | -0.14144 | 49.1159
21 | 0.021154 | 0.0053054 | -0.021147 | -0.0053013 | 6.7706e-06 | 4.0968e-06 | 0.031566 | 0.031566 | 0.031566 | 0.99726 | -0.052171 | 0.99691 | -0.058888 | 8.6719
22 | 0.033192 | 0.0083654 | -0.033126 | -0.0083238 | 6.6362e-05 | 4.1547e-05 | 0.04973 | 0.049731 | 0.049731 | 0.9935 | -0.12387 | 0.99133 | -0.16575 | 13.6623
23 | 0.11686 | 0.02981 | -0.11658 | -0.029632 | 0.00027948 | 0.00017856 | 0.17538 | 0.17538 | 0.17538 | 0.99257 | -0.14144 | 0.98998 | -0.19109 | 48.1807
24 | 0.072572 | 0.018299 | -0.072572 | -0.018299 | 2.7856e-07 | 1.775e-07 | 0.10984 | 0.10984 | 0.10984 | 0.98351 | -0.31597 | 0.98351 | -0.31605 | 30.1755
25 | -0.074884 | -0.018879 | 0.074885 | 0.018879 | 2.8528e-07 | 1.8182e-07 | 0.11334 | 0.11334 | 0.11334 | 0.98351 | -0.31597 | 0.98352 | -0.31589 | 31.1365
26 | 0.07026 | 0.01772 | -0.070225 | -0.017697 | 3.5485e-05 | 2.2604e-05 | 0.10634 | 0.10634 | 0.10634 | 0.98351 | -0.31605 | 0.98297 | -0.32661 | 29.2146
27 | -0.076677 | -0.019328 | 0.076677 | 0.019328 | 3.1587e-07 | 2.0137e-07 | 0.11605 | 0.11605 | 0.11605 | 0.98352 | -0.31589 | 0.98352 | -0.3158 | 31.8812
28 | 0.06389 | 0.01611 | -0.063859 | -0.01609 | 3.1103e-05 | 1.9794e-05 | 0.096751 | 0.096751 | 0.096751 | 0.98297 | -0.32661 | 0.98245 | -0.33678 | 26.58
29 | -0.078467 | -0.019777 | 0.078467 | 0.019777 | 3.1888e-07 | 2.0332e-07 | 0.11876 | 0.11876 | 0.11876 | 0.98352 | -0.3158 | 0.98353 | -0.31572 | 32.6251
30 | 0.062071 | 0.015642 | -0.062071 | -0.015642 | 1.4922e-07 | 9.4927e-08 | 0.094044 | 0.094044 | 0.094044 | 0.98245 | -0.33678 | 0.98244 | -0.33683 | 25.8361
31 | -0.10933 | -0.027561 | 0.10998 | 0.027976 | 0.00065066 | 0.00041561 | 0.16547 | 0.16547 | 0.16547 | 0.98353 | -0.31572 | 0.98992 | -0.19215 | 45.4589
32 | 0.029077 | 0.0073353 | -0.029008 | -0.0072926 | 6.8542e-05 | 4.2673e-05 | 0.044009 | 0.044009 | 0.044009 | 0.98353 | -0.31572 | 0.981 | -0.36508 | 12.0905
33 | 0.06028 | 0.015193 | -0.06028 | -0.015193 | 1.407e-07 | 8.9485e-08 | 0.091331 | 0.091331 | 0.091331 | 0.98244 | -0.33683 | 0.98244 | -0.33688 | 25.091
34 | -0.11218 | -0.028527 | 0.11218 | 0.028528 | 2.828e-06 | 1.8065e-06 | 0.16877 | 0.16877 | 0.16877 | 0.98992 | -0.19215 | 0.98995 | -0.19163 | 46.3656
35 | 0.026696 | 0.0067132 | -0.026687 | -0.0067073 | 9.4425e-06 | 5.8495e-06 | 0.040502 | 0.040502 | 0.040502 | 0.981 | -0.36508 | 0.98062 | -0.37249 | 11.127
36 | 0.058492 | 0.014745 | -0.058492 | -0.014745 | 1.3247e-07 | 8.421e-08 | 0.088624 | 0.088624 | 0.088624 | 0.98244 | -0.33688 | 0.98244 | -0.33693 | 24.3471
37 | -0.11438 | -0.02908 | 0.11438 | 0.029082 | 2.94e-06 | 1.8782e-06 | 0.17208 | 0.17208 | 0.17208 | 0.98995 | -0.19163 | 0.98998 | -0.19109 | 47.274
38 | 0.024374 | 0.0061275 | -0.024335 | -0.0061039 | 3.8487e-05 | 2.3687e-05 | 0.036992 | 0.036992 | 0.036992 | 0.98062 | -0.37249 | 0.97893 | -0.40561 | 10.1628
39 | 0.024335 | 0.0061039 | -0.024321 | -0.0060954 | 1.3723e-05 | 8.4468e-06 | 0.036992 | 0.036993 | 0.036993 | 0.97893 | -0.40561 | 0.97832 | -0.41745 | 10.1628
40 | 0.05439 | 0.013717 | -0.054312 | -0.013667 | 7.8567e-05 | 4.9893e-05 | 0.082411 | 0.082411 | 0.082411 | 0.98244 | -0.33698 | 0.98089 | -0.3672 | 22.6404
41 | -0.056701 | -0.014296 | 0.056701 | 0.014296 | 1.2447e-07 | 7.909e-08 | 0.085911 | 0.085911 | 0.085911 | 0.98244 | -0.33698 | 0.98244 | -0.33693 | 23.602
42 | 0.052775 | 0.013281 | -0.052766 | -0.013276 | 9.2495e-06 | 5.8711e-06 | 0.08008 | 0.08008 | 0.08008 | 0.98089 | -0.3672 | 0.9807 | -0.37087 | 22
43 | 0.051229 | 0.01289 | -0.051216 | -0.012882 | 1.3096e-05 | 8.3088e-06 | 0.077748 | 0.077748 | 0.077748 | 0.9807 | -0.37087 | 0.98043 | -0.37622 | 21.3594
44 | 0.049677 | 0.012497 | -0.04967 | -0.012492 | 7.2892e-06 | 4.622e-06 | 0.075413 | 0.075413 | 0.075413 | 0.98043 | -0.37622 | 0.98027 | -0.37929 | 20.7179
45 | 0.0033432 | 0.00083776 | -0.0033431 | -0.00083785 | 1.4739e-07 | -9.6529e-08 | 0.0050849 | 0.005085 | 0.005085 | 0.97832 | -0.41745 | 0.97828 | -0.41837 | 1.397
46 | 0.048134 | 0.012107 | -0.048106 | -0.012089 | 2.8215e-05 | 1.788e-05 | 0.073081 | 0.073082 | 0.073082 | 0.98027 | -0.37929 | 0.97964 | -0.39157 | 20.0773
47 | 0.046627 | 0.011718 | -0.046617 | -0.011712 | 1.0169e-05 | 6.4398e-06 | 0.070835 | 0.070835 | 0.070835 | 0.97964 | -0.39157 | 0.97941 | -0.39614 | 19.4602
48 | -0.045134 | -0.011339 | 0.045138 | 0.011341 | 3.6354e-06 | 2.3007e-06 | 0.068588 | 0.068588 | 0.068588 | 0.97932 | -0.39783 | 0.97941 | -0.39614 | 18.843
49 | 0.043655 | 0.010968 | -0.043647 | -0.010963 | 8.4714e-06 | 5.3571e-06 | 0.066341 | 0.066342 | 0.066342 | 0.97932 | -0.39783 | 0.97911 | -0.40189 | 18.2257
50 | 0.042092 | 0.010573 | -0.042083 | -0.010568 | 8.7713e-06 | 5.5418e-06 | 0.063978 | 0.063978 | 0.063978 | 0.97911 | -0.40189 | 0.97889 | -0.40626 | 17.5764
51 | 0.040529 | 0.010178 | -0.040522 | -0.010174 | 6.8514e-06 | 4.3244e-06 | 0.061615 | 0.061615 | 0.061615 | 0.97889 | -0.40626 | 0.97871 | -0.4098 | 16.9272
52 | 0.036968 | 0.0092833 | -0.036967 | -0.0092822 | 1.8742e-06 | 1.1796e-06 | 0.056213 | 0.056213 | 0.056213 | 0.97871 | -0.4098 | 0.97866 | -0.41087 | 15.4431
53 | 0.035296 | 0.0088635 | -0.035293 | -0.0088615 | 3.2533e-06 | 2.0443e-06 | 0.053673 | 0.053673 | 0.053673 | 0.97866 | -0.41087 | 0.97856 | -0.4128 | 14.7453
54 | 0.033738 | 0.0084719 | -0.033735 | -0.0084699 | 3.1746e-06 | 1.9914e-06 | 0.051309 | 0.051309 | 0.051309 | 0.97856 | -0.4128 | 0.97846 | -0.41477 | 14.0959
55 | -0.026224 | -0.0065807 | 0.026246 | 0.0065942 | 2.1967e-05 | 1.3574e-05 | 0.039421 | 0.039421 | 0.039421 | 0.98995 | -0.19247 | 0.99086 | -0.17492 | 10.83
56 | 0.026224 | 0.0065807 | -0.026215 | -0.0065752 | 8.9089e-06 | 5.5052e-06 | 0.039421 | 0.039421 | 0.039421 | 0.98995 | -0.19247 | 0.98958 | -0.1996 | 10.83
57 | -0.028532 | -0.0071671 | 0.028533 | 0.007168 | 1.452e-06 | 9.021e-07 | 0.042853 | 0.042853 | 0.042853 | 0.99086 | -0.17492 | 0.99091 | -0.17386 | 11.7729
58 | 0.023926 | 0.0060014 | -0.023914 | -0.0059943 | 1.1612e-05 | 7.1245e-06 | 0.035979 | 0.035979 | 0.035979 | 0.98958 | -0.1996 | 0.98906 | -0.20979 | 9.8843
59 | 0.033126 | 0.0083238 | -0.033113 | -0.0083158 | 1.2814e-05 | 8.0232e-06 | 0.049731 | 0.049731 | 0.049731 | 0.99133 | -0.16575 | 0.99091 | -0.17386 | 13.6623
60 | 0.021791 | 0.005462 | -0.02179 | -0.0054614 | 9.9926e-07 | 6.0771e-07 | 0.032784 | 0.032784 | 0.032784 | 0.98906 | -0.20979 | 0.98901 | -0.21075 | 9.0065
61 | -0.0037697 | -0.00094466 | 0.00377 | 0.00094454 | 3.3861e-07 | -1.2542e-07 | 0.0057453 | 0.0057452 | 0.0057453 | 0.97633 | -0.45661 | 0.97642 | -0.45473 | 1.5784
62 | 0.0017007 | 0.00042613 | -0.0017007 | -0.00042623 | 2.5135e-08 | -1.0867e-07 | 0.002592 | 0.0025921 | 0.0025921 | 0.97633 | -0.45661 | 0.97631 | -0.45692 | 0.71211
63 | -0.0066461 | -0.0016653 | 0.0066472 | 0.0016657 | 1.0546e-06 | 3.3198e-07 | 0.010128 | 0.010128 | 0.010128 | 0.97642 | -0.45473 | 0.97659 | -0.4514 | 2.7825
64 | -0.010194 | -0.0025547 | 0.010195 | 0.0025551 | 9.4151e-07 | 4.7235e-07 | 0.015533 | 0.015533 | 0.015533 | 0.97659 | -0.4514 | 0.97669 | -0.44946 | 4.2672
65 | -0.01464 | -0.003669 | 0.014646 | 0.0036725 | 6.0433e-06 | 3.4621e-06 | 0.022304 | 0.022304 | 0.022304 | 0.97669 | -0.44946 | 0.97713 | -0.4408 | 6.1274
66 | -0.014646 | -0.0036725 | 0.014648 | 0.0036736 | 2.0627e-06 | 1.1816e-06 | 0.022304 | 0.022304 | 0.022304 | 0.97713 | -0.4408 | 0.97728 | -0.43784 | 6.1274
67 | -0.03019 | -0.007569 | 0.030221 | 0.0075884 | 3.1008e-05 | 1.9354e-05 | 0.045969 | 0.045969 | 0.045969 | 0.97728 | -0.43784 | 0.97838 | -0.41631 | 12.6288
68 | -0.031776 | -0.0079781 | 0.031779 | 0.0079796 | 2.3351e-06 | 1.461e-06 | 0.048334 | 0.048334 | 0.048334 | 0.97838 | -0.41631 | 0.97846 | -0.41477 | 13.2785
69 | 0.017248 | 0.0043232 | -0.017248 | -0.0043232 | 4.4753e-09 | 2.6345e-09 | 0.025951 | 0.025951 | 0.025951 | 0.98901 | -0.21076 | 0.98901 | -0.21076 | 7.1293
70 | -0.019519 | -0.0048923 | 0.019519 | 0.0048923 | 5.7322e-09 | 3.4389e-09 | 0.029367 | 0.029367 | 0.029367 | 0.98901 | -0.21076 | 0.98901 | -0.21075 | 8.0679
71 | 0.014977 | 0.0037541 | -0.014977 | -0.0037541 | 3.3739e-09 | 1.9295e-09 | 0.022534 | 0.022534 | 0.022534 | 0.98901 | -0.21076 | 0.98901 | -0.21077 | 6.1907
72 | 0.012707 | 0.003185 | -0.012706 | -0.0031847 | 5.2561e-07 | 2.8718e-07 | 0.019118 | 0.019118 | 0.019118 | 0.98901 | -0.21077 | 0.98896 | -0.21164 | 5.2521
73 | 0.010581 | 0.0026521 | -0.01058 | -0.0026518 | 6.453e-07 | 3.2588e-07 | 0.015921 | 0.015921 | 0.015921 | 0.98896 | -0.21164 | 0.9889 | -0.21292 | 4.3738
74 | 0.008379 | 0.0021001 | -0.0083785 | -0.0020999 | 5.0741e-07 | 2.1555e-07 | 0.012608 | 0.012608 | 0.012608 | 0.9889 | -0.21292 | 0.98883 | -0.21419 | 3.4638
75 | 0.019186 | 0.0048098 | -0.019184 | -0.0048087 | 1.8713e-06 | 1.1183e-06 | 0.028638 | 0.028638 | 0.028638 | 0.99691 | -0.058888 | 0.9968 | -0.060935 | 7.8677
76 | 0.015237 | 0.0038194 | -0.015235 | -0.0038185 | 1.4992e-06 | 8.5875e-07 | 0.022746 | 0.022746 | 0.022746 | 0.9968 | -0.060935 | 0.9967 | -0.063001 | 6.2489
77 | 0.011418 | 0.0028617 | -0.011416 | -0.002861 | 1.4486e-06 | 7.5387e-07 | 0.017046 | 0.017046 | 0.017046 | 0.9967 | -0.063001 | 0.99656 | -0.065664 | 4.6831
78 | 0.0074682 | 0.0018715 | -0.007468 | -0.0018714 | 1.696e-07 | 6.1157e-08 | 0.011151 | 0.011151 | 0.011151 | 0.99656 | -0.065664 | 0.99653 | -0.066141 | 3.0635
79 | 0.0036506 | 0.00091466 | -0.0036503 | -0.00091484 | 3.3604e-07 | -1.7781e-07 | 0.0054509 | 0.0054511 | 0.0054511 | 0.99653 | -0.066141 | 0.99643 | -0.068073 | 1.4976

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.25426 | 0.064391

## res_load
| p_mw | q_mvar
0 | 0.0045634 | 0.0011437
1 | 0.0046558 | 0.0011669
2 | 0.0063513 | 0.0015918
3 | 0.0036531 | 0.00091556
4 | 0.0057176 | 0.001433
5 | 0.0038206 | 0.00095754
6 | 0.0039446 | 0.00098861
7 | 0.0060781 | 0.0015233
8 | 0.011398 | 0.0028567
9 | 0.0034217 | 0.00085755
10 | 0.0022708 | 0.00056911
11 | 0.0036279 | 0.00090925
12 | 0.0039468 | 0.00098916
13 | 0.010952 | 0.0027449
14 | 0.0034178 | 0.00085658
15 | 0.0022708 | 0.00056911
16 | 0.002312 | 0.00057945
17 | 0.0023118 | 0.00057939
18 | 0.0017919 | 0.00044908
19 | 0.006335 | 0.0015877
20 | 0.0017897 | 0.00044855
21 | 0.0017877 | 0.00044805
22 | 0.0017886 | 0.00044827
23 | 0.0017908 | 0.00044881
24 | 0.0021959 | 0.00055033
25 | 0.002312 | 0.00057945
26 | 0.0017877 | 0.00044805
27 | 0.0021997 | 0.00055129
28 | 0.0023133 | 0.00057977
29 | 0.0023109 | 0.00057917
30 | 0.0015368 | 0.00038516
31 | 0.0017908 | 0.00044881
32 | 0.0015368 | 0.00038516
33 | 0.0015385 | 0.00038557
34 | 0.020978 | 0.0052576
35 | 0.0033431 | 0.00083785
36 | 0.0015361 | 0.00038497
37 | 0.0014788 | 0.00037063
38 | 0.0014788 | 0.00037063
39 | 0.0014788 | 0.00037063
40 | 0.0015551 | 0.00038974
41 | 0.0015546 | 0.00038961
42 | 0.0035533 | 0.00089053
43 | 0.0016705 | 0.00041865
44 | 0.0015546 | 0.00038961
45 | 0.0021959 | 0.00055033
46 | 0.0022857 | 0.00057284
47 | 0.0022893 | 0.00057376
48 | 0.0045799 | 0.0011478
49 | 0.0021238 | 0.00053227
50 | 0.002069 | 0.00051854
51 | 0.0028761 | 0.00072081
52 | 0.0017007 | 0.00042623
53 | 0.0035471 | 0.00088899
54 | 0.0044443 | 0.0011138
55 | 0.015543 | 0.0038954
56 | 0.0015551 | 0.00038974
57 | 0.0019563 | 0.00049031
58 | 0.0022708 | 0.0005691
59 | 0.0022708 | 0.0005691
60 | 0.0022708 | 0.0005691
61 | 0.0022708 | 0.00056911
62 | 0.0021249 | 0.00053254
63 | 0.0022014 | 0.00055173
64 | 0.0083785 | 0.0020999
65 | 0.0019612 | 0.00049152
66 | 0.0039473 | 0.00098929
67 | 0.0038176 | 0.00095678
68 | 0.0039483 | 0.00098953
69 | 0.0038174 | 0.00095673
70 | 0.0036503 | 0.00091484

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1