## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1051-16_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1051-16_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1051-16_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1051-16_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1051-16_0_4_node_20 | 0.4 | n |  | TRUE
5 | bus_LV_1051-16_0_4_node_21 | 0.4 | n |  | TRUE
6 | bus_LV_1051-16_0_4_node_22 | 0.4 | n |  | TRUE
7 | bus_LV_1051-16_0_4_node_12 | 0.4 | n |  | TRUE
8 | bus_LV_1051-16_0_4_node_9 | 0.4 | n |  | TRUE
9 | bus_LV_1051-16_0_4_node_10 | 0.4 | n |  | TRUE
10 | bus_LV_1051-16_0_4_node_96 | 0.4 | n |  | TRUE
11 | bus_LV_1051-16_0_4_node_57 | 0.4 | n |  | TRUE
12 | bus_LV_1051-16_0_4_node_55 | 0.4 | n |  | TRUE
13 | bus_LV_1051-16_0_4_node_36 | 0.4 | n |  | TRUE
14 | bus_LV_1051-16_0_4_node_14 | 0.4 | n |  | TRUE
15 | bus_LV_1051-16_0_4_node_13 | 0.4 | n |  | TRUE
16 | bus_LV_1051-16_0_4_node_18 | 0.4 | n |  | TRUE
17 | bus_LV_1051-16_0_4_node_33 | 0.4 | n |  | TRUE
18 | bus_LV_1051-16_0_4_node_31 | 0.4 | n |  | TRUE
19 | bus_LV_1051-16_0_4_node_17 | 0.4 | n |  | TRUE
20 | bus_LV_1051-16_0_4_node_92 | 0.4 | n |  | TRUE
21 | bus_LV_1051-16_0_4_node_65 | 0.4 | n |  | TRUE
22 | bus_LV_1051-16_0_4_node_25 | 0.4 | n |  | TRUE
23 | bus_LV_1051-16_0_4_node_23 | 0.4 | n |  | TRUE
24 | bus_LV_1051-16_0_4_node_90 | 0.4 | n |  | TRUE
25 | bus_LV_1051-16_0_4_node_60 | 0.4 | n |  | TRUE
26 | bus_LV_1051-16_0_4_node_24 | 0.4 | n |  | TRUE
27 | bus_LV_1051-16_0_4_node_32 | 0.4 | n |  | TRUE
28 | bus_LV_1051-16_0_4_node_35 | 0.4 | n |  | TRUE
29 | bus_LV_1051-16_0_4_node_38 | 0.4 | n |  | TRUE
30 | bus_LV_1051-16_0_4_node_39 | 0.4 | n |  | TRUE
31 | bus_LV_1051-16_0_4_node_41 | 0.4 | n |  | TRUE
32 | bus_LV_1051-16_0_4_node_42 | 0.4 | n |  | TRUE
33 | bus_LV_1051-16_0_4_node_44 | 0.4 | n |  | TRUE
34 | bus_LV_1051-16_0_4_node_62 | 0.4 | n |  | TRUE
35 | bus_LV_1051-16_0_4_node_61 | 0.4 | n |  | TRUE
36 | bus_LV_1051-16_0_4_node_56 | 0.4 | n |  | TRUE
37 | bus_LV_1051-16_0_4_node_58 | 0.4 | n |  | TRUE
38 | bus_LV_1051-16_0_4_node_59 | 0.4 | n |  | TRUE
39 | bus_LV_1051-16_0_4_node_89 | 0.4 | n |  | TRUE
40 | bus_LV_1051-16_0_4_node_63 | 0.4 | n |  | TRUE
41 | bus_LV_1051-16_0_4_node_64 | 0.4 | n |  | TRUE
42 | bus_MV_211_0_node_168 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1051-16_0_4_load_0 | 0 | 0.0022164 | 0.00055548 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1051-16_0_4_load_1 | 1 | 0.020452 | 0.0051257 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1051-16_0_4_load_21 | 5 | 0.011644 | 0.0029182 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1051-16_0_4_load_22 | 6 | 0.0054507 | 0.0013661 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1051-16_0_4_load_96 | 10 | 0.0064899 | 0.0016265 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1051-16_0_4_load_55 | 12 | 0.0015403 | 0.00038603 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1051-16_0_4_load_36 | 13 | 0.059299 | 0.014862 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1051-16_0_4_load_31 | 18 | 0.01352 | 0.0033885 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1051-16_0_4_load_92 | 20 | 0.01595 | 0.0039974 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1051-16_0_4_load_65 | 21 | 0.010933 | 0.0027401 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1051-16_0_4_load_25 | 22 | 0.0029336 | 0.00073524 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1051-16_0_4_load_23 | 23 | 0.0024712 | 0.00061934 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1051-16_0_4_load_90 | 24 | 0.0038949 | 0.00097616 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1051-16_0_4_load_60 | 25 | 0.0085922 | 0.0021534 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1051-16_0_4_load_24 | 26 | 0.0028518 | 0.00071472 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1051-16_0_4_load_32 | 27 | 0.003473 | 0.00087041 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1051-16_0_4_load_35 | 28 | 0.014124 | 0.0035398 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1051-16_0_4_load_38 | 29 | 0.0016157 | 0.00040493 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1051-16_0_4_load_41 | 31 | 0.0016497 | 0.00041344 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1051-16_0_4_load_44 | 33 | 0.0028115 | 0.00070463 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1051-16_0_4_load_61 | 35 | 0.0017819 | 0.00044659 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1051-16_0_4_load_56 | 36 | 0.0064303 | 0.0016116 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1051-16_0_4_load_58 | 37 | 0.012307 | 0.0030844 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1051-16_0_4_load_59 | 38 | 0.011359 | 0.0028468 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1051-16_0_4_load_89 | 39 | 0.0017809 | 0.00044633 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1051-16_0_4_load_63 | 40 | 0.0036285 | 0.00090938 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1051-16_0_4_load_64 | 41 | 0.0033229 | 0.00083279 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 14 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1051-16_0_4_line_0 |  | 0 | 1 | 0.029874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1051-16_0_4_line_1 |  | 0 | 2 | 0.038244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1051-16_0_4_line_2 |  | 1 | 3 | 0.035574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1051-16_0_4_line_3 |  | 2 | 4 | 0.32823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1051-16_0_4_line_4 |  | 3 | 5 | 0.015734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1051-16_0_4_line_5 |  | 3 | 6 | 0.055035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1051-16_0_4_line_6 |  | 3 | 7 | 0.0098383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1051-16_0_4_line_7 |  | 4 | 22 | 0.007283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1051-16_0_4_line_8 |  | 4 | 23 | 0.017649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1051-16_0_4_line_9 |  | 4 | 24 | 0.036145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1051-16_0_4_line_10 |  | 5 | 25 | 1.5677e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1051-16_0_4_line_11 |  | 7 | 13 | 0.0037048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1051-16_0_4_line_12 |  | 7 | 14 | 0.013304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
13 | LV_1051-16_0_4_line_13 |  | 8 | 9 | 0.039811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1051-16_0_4_line_14 |  | 8 | 10 | 0.055397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1051-16_0_4_line_15 |  | 9 | 11 | 0.007566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1051-16_0_4_line_16 |  | 9 | 12 | 0.022626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1051-16_0_4_line_17 |  | 11 | 37 | 0.019288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1051-16_0_4_line_18 |  | 11 | 38 | 0.011294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1051-16_0_4_line_19 |  | 12 | 36 | 0.066046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1051-16_0_4_line_20 |  | 13 | 15 | 0.0515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1051-16_0_4_line_21 |  | 14 | 17 | 0.011902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1051-16_0_4_line_22 |  | 14 | 18 | 0.034546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1051-16_0_4_line_23 |  | 15 | 16 | 0.0616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1051-16_0_4_line_24 |  | 16 | 21 | 0.019148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1051-16_0_4_line_25 |  | 16 | 19 | 0.012487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1051-16_0_4_line_26 |  | 17 | 28 | 0.018909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1051-16_0_4_line_27 |  | 18 | 27 | 0.033938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1051-16_0_4_line_28 |  | 19 | 20 | 0.01639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1051-16_0_4_line_29 |  | 21 | 41 | 0.021031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1051-16_0_4_line_30 |  | 23 | 26 | 0.019176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1051-16_0_4_line_31 |  | 25 | 38 | 0.018776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1051-16_0_4_line_32 |  | 29 | 30 | 0.052279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1051-16_0_4_line_33 |  | 30 | 31 | 0.012723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1051-16_0_4_line_34 |  | 30 | 32 | 0.23018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1051-16_0_4_line_35 |  | 31 | 33 | 0.024701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1051-16_0_4_line_36 |  | 32 | 34 | 0.022694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1051-16_0_4_line_37 |  | 32 | 35 | 0.026332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1051-16_0_4_line_38 |  | 34 | 39 | 0.012043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1051-16_0_4_line_39 |  | 35 | 37 | 0.031699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1051-16_0_4_line_40 |  | 40 | 41 | 0.0066604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1051-16_0_4_trafo_14 | 0.63 MVA 20/0.4 kV | 42 | 14 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28 | x29 | y29 | x30 | y30 | x31 | y31 | x32 | y32
0 | 2670205.1771 | 1213202.6879 | 2670219.4513 | 1213228.9313
1 | 2670184.5784 | 1213170.4819 | 2670202.9136 | 1213198.5264 | 2670205.1771 | 1213202.6879
2 | 2670236.4489 | 1213260.1821 | 2670236.2481 | 1213259.8128 | 2670219.4513 | 1213228.9313
3 | 2670099.5267 | 1213168.9698 | 2670083.2872 | 1213158.4057 | 2670082.2539 | 1213157.7709 | 2670078.317 | 1213155.3343 | 2670071.0134 | 1213151.068 | 2670055.7796 | 1213142.1946 | 2670052.55 | 1213140.3333 | 2670035.6172 | 1213130.5728 | 2670026.2382 | 1213125.126 | 2670023.8666 | 1213123.3081 | 2670020.7493 | 1213120.9367 | 2670017.2853 | 1213115.7483 | 2670017.9931 | 1213111.1093 | 2670020.0801 | 1213105.4747 | 2670024.141 | 1213099.9411 | 2670034.5889 | 1213087.4781 | 2670049.5228 | 1213099.2609 | 2670058.5922 | 1213106.483 | 2670064.557 | 1213110.9114 | 2670078.8357 | 1213119.6068 | 2670097.7303 | 1213130.5023 | 2670125.3152 | 1213146.6033 | 2670132.5194 | 1213152.2137 | 2670138.5192 | 1213157.5209 | 2670144.9663 | 1213151.2928 | 2670149.8966 | 1213147.4262 | 2670156.5582 | 1213144.2692 | 2670159.0745 | 1213142.8312 | 2670162.3574 | 1213142.1027 | 2670165.4726 | 1213141.4167 | 2670169.8826 | 1213140.4457 | 2670178.2504 | 1213153.6858 | 2670184.5784 | 1213170.4819
4 | 2670236.4489 | 1213260.1821 | 2670222.9083 | 1213268.1944 | 2670222.9083 | 1213268.1944
5 | 2670236.4489 | 1213260.1821 | 2670254.6342 | 1213293.8062 | 2670262.8327 | 1213308.4799
6 | 2670236.4489 | 1213260.1821 | 2670237.5724 | 1213259.6061 | 2670240.3849 | 1213258.1716 | 2670243.48 | 1213256.6071 | 2670245.2149 | 1213255.7158
7 | 2670099.5267 | 1213168.9698 | 2670095.6104 | 1213175.1165
8 | 2670099.5267 | 1213168.9698 | 2670106.9452 | 1213173.7933 | 2670114.3655 | 1213178.5247
9 | 2670099.5267 | 1213168.9698 | 2670123.4239 | 1213141.8516
10 | 2670222.8931 | 1213268.1902 | 2670222.9083 | 1213268.1944
11 | 2670245.2149 | 1213255.7158 | 2670246.8808 | 1213259.025
12 | 2670245.2149 | 1213255.7158 | 2670238.8957 | 1213244.0007
13 | 2670193.2169 | 1213266.5439 | 2670189.4951 | 1213268.4235 | 2670199.0441 | 1213293.5961 | 2670200.4773 | 1213302.1961
14 | 2670200.4773 | 1213302.1961 | 2670177.6499 | 1213309.8879 | 2670175.2616 | 1213310.1378 | 2670172.8859 | 1213309.3204 | 2670169.8362 | 1213305.7379 | 2670167.2426 | 1213299.5479 | 2670165.4779 | 1213294.5796 | 2670164.4927 | 1213290.5099 | 2670164.4273 | 1213288.3189 | 2670164.7282 | 1213285.0055
15 | 2670193.2169 | 1213266.5439 | 2670195.6775 | 1213273.6995
16 | 2670193.2169 | 1213266.5439 | 2670190.9544 | 1213259.9798 | 2670184.7327 | 1213245.5836
17 | 2670195.6775 | 1213273.6995 | 2670201.084 | 1213289.3841 | 2670201.7252 | 1213292.0047
18 | 2670195.6775 | 1213273.6995 | 2670205.421 | 1213267.989
19 | 2670184.7327 | 1213245.5836 | 2670178.5377 | 1213231.249 | 2670158.4113 | 1213186.2729 | 2670157.9519 | 1213185.2116
20 | 2670274.8349 | 1213302.0938 | 2670273.6604 | 1213299.912 | 2670263.4755 | 1213283.604 | 2670256.661 | 1213274.5958 | 2670251.6729 | 1213268.5444 | 2670246.8808 | 1213259.025
21 | 2670238.8957 | 1213244.0007 | 2670243.5534 | 1213240.0642 | 2670247.0495 | 1213235.4136
22 | 2670238.8957 | 1213244.0007 | 2670222.5127 | 1213213.5869
23 | 2670274.8349 | 1213302.0938 | 2670281.5407 | 1213300.3384 | 2670285.0725 | 1213298.4566 | 2670288.8955 | 1213296.367 | 2670285.7401 | 1213288.8696 | 2670279.5301 | 1213271.1297 | 2670280.9649 | 1213269.2788 | 2670284.9024 | 1213263.277 | 2670287.6077 | 1213258.6948 | 2670290.5879 | 1213255.2722
24 | 2670290.5879 | 1213255.2722 | 2670291.3272 | 1213254.4249 | 2670294.8214 | 1213251.8756 | 2670298.9442 | 1213252.0687 | 2670308.4321 | 1213250.8131
25 | 2670290.5879 | 1213255.2722 | 2670286.4642 | 1213253.8783 | 2670278.7548 | 1213251.1858
26 | 2670247.0495 | 1213235.4136 | 2670255.9991 | 1213234.7185 | 2670262.3669 | 1213230.7021 | 2670263.3052 | 1213228.4451
27 | 2670222.5127 | 1213213.5869 | 2670217.0169 | 1213203.3843 | 2670205.41 | 1213184.2856
28 | 2670281.0352 | 1213234.958 | 2670278.7548 | 1213251.1858
29 | 2670322.4961 | 1213241.5233 | 2670318.0051 | 1213238.4848 | 2670308.4321 | 1213250.8131
30 | 2670128.6944 | 1213190.6373 | 2670127.9113 | 1213188.7492 | 2670126.0643 | 1213186.2481 | 2670122.6667 | 1213183.8177 | 2670114.3655 | 1213178.5247
31 | 2670205.421 | 1213267.989 | 2670210.7777 | 1213264.8495 | 2670222.8931 | 1213268.1902
32 | 2670088.3257 | 1213292.0154 | 2670049.6174 | 1213256.8759
33 | 2670088.3257 | 1213292.0154 | 2670096.8399 | 1213282.5615
34 | 2670088.3257 | 1213292.0154 | 2670098.0916 | 1213301.3471 | 2670106.6431 | 1213310.5979 | 2670116.7003 | 1213322.935 | 2670119.5377 | 1213327.1265 | 2670125.1678 | 1213335.4423 | 2670126.6034 | 1213338.0386 | 2670135.6119 | 1213354.277 | 2670140.362 | 1213364.417 | 2670144.9124 | 1213376.6782 | 2670147.3495 | 1213383.2554 | 2670152.1458 | 1213401.0897 | 2670153.4708 | 1213404.0404 | 2670155.785 | 1213406.2135 | 2670157.922 | 1213407.306 | 2670162.4629 | 1213407.4595 | 2670162.6651 | 1213408.3513 | 2670163.4458 | 1213411.7293 | 2670177.9979 | 1213406.1636 | 2670186.284 | 1213399.2123 | 2670191.2881 | 1213393.5788 | 2670195.3365 | 1213388.4676 | 2670198.2029 | 1213382.4531 | 2670200.1786 | 1213375.9501 | 2670201.8027 | 1213364.4731 | 2670201.855 | 1213349.7089 | 2670205.6162 | 1213349.6309
35 | 2670096.8399 | 1213282.5615 | 2670113.37 | 1213264.207
36 | 2670228.134 | 1213351.4526 | 2670223.5627 | 1213349.9979 | 2670216.7843 | 1213349.54 | 2670205.6162 | 1213349.6309
37 | 2670205.6162 | 1213349.6309 | 2670205.6734 | 1213326.7171 | 2670205.5642 | 1213323.301
38 | 2670236.8338 | 1213343.5723 | 2670232.5968 | 1213345.9906 | 2670229.8039 | 1213348.337 | 2670228.134 | 1213351.4526
39 | 2670201.7252 | 1213292.0047 | 2670204.9906 | 1213305.3512 | 2670205.5642 | 1213323.301
40 | 2670328.0125 | 1213245.2556 | 2670322.4961 | 1213241.5233

## bus_geodata
| x | y | coords
0 | 2670205.1771 | 1213202.6879
1 | 2670219.4513 | 1213228.9313
2 | 2670184.5784 | 1213170.4819
3 | 2670236.4489 | 1213260.1821
4 | 2670099.5267 | 1213168.9698
5 | 2670222.9083 | 1213268.1944
6 | 2670262.8327 | 1213308.4799
7 | 2670245.2149 | 1213255.7158
8 | 2670200.4773 | 1213302.1961
9 | 2670193.2169 | 1213266.5439
10 | 2670164.7282 | 1213285.0055
11 | 2670195.6775 | 1213273.6995
12 | 2670184.7327 | 1213245.5836
13 | 2670246.8808 | 1213259.025
14 | 2670238.8957 | 1213244.0007
15 | 2670274.8349 | 1213302.0938
16 | 2670290.5879 | 1213255.2722
17 | 2670247.0495 | 1213235.4136
18 | 2670222.5127 | 1213213.5869
19 | 2670278.7548 | 1213251.1858
20 | 2670281.0352 | 1213234.958
21 | 2670308.4321 | 1213250.8131
22 | 2670095.6104 | 1213175.1165
23 | 2670114.3655 | 1213178.5247
24 | 2670123.4239 | 1213141.8516
25 | 2670222.8931 | 1213268.1902
26 | 2670128.6944 | 1213190.6373
27 | 2670205.41 | 1213184.2856
28 | 2670263.3052 | 1213228.4451
29 | 2670049.6174 | 1213256.8759
30 | 2670088.3257 | 1213292.0154
31 | 2670096.8399 | 1213282.5615
32 | 2670205.6162 | 1213349.6309
33 | 2670113.37 | 1213264.207
34 | 2670228.134 | 1213351.4526
35 | 2670205.5642 | 1213323.301
36 | 2670157.9519 | 1213185.2116
37 | 2670201.7252 | 1213292.0047
38 | 2670205.421 | 1213267.989
39 | 2670236.8338 | 1213343.5723
40 | 2670328.0125 | 1213245.2556
41 | 2670322.4961 | 1213241.5233
42 | 2670234.254 | 1213246.5921

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99629 | -0.071283 | 0.0022164 | 0.00055548
1 | 0.99668 | -0.063741 | 0.020452 | 0.0051257
2 | 0.99586 | -0.079456 | 0 | 0
3 | 0.99781 | -0.042022 | 0 | 0
4 | 0.99222 | -0.14986 | 0 | 0
5 | 0.99684 | -0.060776 | 0.011644 | 0.0029182
6 | 0.99754 | -0.047276 | 0.0054507 | 0.0013661
7 | 0.99878 | -0.023385 | 0 | 0
8 | 0.99531 | -0.090245 | 0 | 0
9 | 0.99554 | -0.085699 | 0 | 0
10 | 0.99498 | -0.096573 | 0.0064899 | 0.0016265
11 | 0.99564 | -0.083774 | 0 | 0
12 | 0.99538 | -0.088872 | 0.0015403 | 0.00038603
13 | 0.99847 | -0.029416 | 0.059299 | 0.014862
14 | 1 | 0 | -0.23488 | -0.05871
15 | 0.99688 | -0.059933 | 0 | 0
16 | 0.99498 | -0.096561 | 0 | 0
17 | 0.99985 | -0.0029306 | 0 | 0
18 | 0.99947 | -0.010238 | 0.01352 | 0.0033885
19 | 0.9948 | -0.10007 | 0 | 0
20 | 0.99456 | -0.10467 | 0.01595 | 0.0039974
21 | 0.99467 | -0.10259 | 0.010933 | 0.0027401
22 | 0.9922 | -0.15023 | 0.0029336 | 0.00073524
23 | 0.99213 | -0.15152 | 0.0024712 | 0.00061934
24 | 0.99209 | -0.15235 | 0.0038949 | 0.00097616
25 | 0.99684 | -0.060792 | 0.0085922 | 0.0021534
26 | 0.99208 | -0.15249 | 0.0028518 | 0.00071472
27 | 0.99936 | -0.012295 | 0.003473 | 0.00087041
28 | 0.99961 | -0.0075881 | 0.014124 | 0.0035398
29 | 0.99344 | -0.12645 | 0.0016157 | 0.00040493
30 | 0.99351 | -0.12495 | 0 | 0
31 | 0.99346 | -0.12596 | 0.0016497 | 0.00041344
32 | 0.99479 | -0.10026 | 0 | 0
33 | 0.9934 | -0.12718 | 0.0028115 | 0.00070463
34 | 0.99475 | -0.10097 | 0 | 0
35 | 0.99498 | -0.09661 | 0.0017819 | 0.00044659
36 | 0.99499 | -0.096347 | 0.0064303 | 0.0016116
37 | 0.99526 | -0.091224 | 0.012307 | 0.0030844
38 | 0.99602 | -0.076543 | 0.011359 | 0.0028468
39 | 0.99473 | -0.10135 | 0.0017809 | 0.00044633
40 | 0.99451 | -0.10559 | 0.0036285 | 0.00090938
41 | 0.99453 | -0.10517 | 0.0033229 | 0.00083279
42 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.014415 | -0.003625 | 0.01442 | 0.003628 | 5.1946e-06 | 2.9354e-06 | 0.021533 | 0.021533 | 0.021533 | 0.99629 | -0.071283 | 0.99668 | -0.063741 | 5.9158
1 | 0.012198 | 0.0030696 | -0.012193 | -0.003067 | 4.7626e-06 | 2.5502e-06 | 0.018223 | 0.018223 | 0.018223 | 0.99629 | -0.071283 | 0.99586 | -0.079456 | 5.0064
2 | -0.034871 | -0.0087536 | 0.034908 | 0.0087763 | 3.6165e-05 | 2.2682e-05 | 0.052067 | 0.052067 | 0.052067 | 0.99668 | -0.063741 | 0.99781 | -0.042022 | 14.3041
3 | 0.012193 | 0.003067 | -0.012153 | -0.0030451 | 4.0879e-05 | 2.1907e-05 | 0.018223 | 0.018225 | 0.018225 | 0.99586 | -0.079456 | 0.99222 | -0.14986 | 5.0068
4 | 0.068139 | 0.017122 | -0.068078 | -0.017083 | 6.094e-05 | 3.8797e-05 | 0.10163 | 0.10163 | 0.10163 | 0.99781 | -0.042022 | 0.99684 | -0.060776 | 27.9205
5 | 0.005452 | 0.0013662 | -0.0054507 | -0.0013661 | 1.3643e-06 | 1.545e-07 | 0.0081305 | 0.0081307 | 0.0081307 | 0.99781 | -0.042022 | 0.99754 | -0.047276 | 2.2337
6 | -0.1085 | -0.027264 | 0.1086 | 0.027326 | 9.6618e-05 | 6.1707e-05 | 0.16183 | 0.16183 | 0.16183 | 0.99781 | -0.042022 | 0.99878 | -0.023385 | 44.4581
7 | 0.0029337 | 0.00073518 | -0.0029336 | -0.00073524 | 5.2865e-08 | -6.0231e-08 | 0.0043996 | 0.0043996 | 0.0043996 | 0.99222 | -0.14986 | 0.9922 | -0.15023 | 1.2087
8 | 0.0053235 | 0.0013339 | -0.0053231 | -0.0013339 | 4.2184e-07 | 4.2042e-08 | 0.0079835 | 0.0079836 | 0.0079836 | 0.99222 | -0.14986 | 0.99213 | -0.15152 | 2.1933
9 | 0.0038954 | 0.00097598 | -0.0038949 | -0.00097615 | 4.6257e-07 | -1.7075e-07 | 0.0058417 | 0.0058419 | 0.0058419 | 0.99222 | -0.14986 | 0.99209 | -0.15235 | 1.6049
10 | 0.056434 | 0.014165 | -0.056434 | -0.014165 | 4.1728e-08 | 2.651e-08 | 0.084249 | 0.084249 | 0.084249 | 0.99684 | -0.060776 | 0.99684 | -0.060792 | 23.1454
11 | 0.093281 | 0.023434 | -0.093254 | -0.023416 | 2.684e-05 | 1.7129e-05 | 0.13899 | 0.13899 | 0.13899 | 0.99878 | -0.023385 | 0.99847 | -0.029416 | 38.1849
12 | -0.20188 | -0.05076 | 0.2021 | 0.050904 | 0.00022573 | 0.00014412 | 0.30082 | 0.30082 | 0.30082 | 0.99878 | -0.023385 | 1 | 0 | 41.3215
13 | -0.0064918 | -0.001627 | 0.0064932 | 0.0016274 | 1.4062e-06 | 3.8247e-07 | 0.0097055 | 0.0097053 | 0.0097055 | 0.99531 | -0.090245 | 0.99554 | -0.085699 | 2.6663
14 | 0.0064918 | 0.001627 | -0.0064899 | -0.0016265 | 1.9569e-06 | 5.3268e-07 | 0.0097055 | 0.0097057 | 0.0097057 | 0.99531 | -0.090245 | 0.99498 | -0.096573 | 2.6664
15 | -0.014467 | -0.0036261 | 0.014469 | 0.0036269 | 1.3267e-06 | 7.507e-07 | 0.021624 | 0.021624 | 0.021624 | 0.99554 | -0.085699 | 0.99564 | -0.083774 | 5.9407
16 | 0.0079741 | 0.0019987 | -0.0079729 | -0.0019982 | 1.2053e-06 | 4.7727e-07 | 0.011919 | 0.011919 | 0.011919 | 0.99554 | -0.085699 | 0.99538 | -0.088872 | 3.2744
17 | 0.021966 | 0.0055071 | -0.021958 | -0.0055024 | 7.7956e-06 | 4.7384e-06 | 0.032829 | 0.03283 | 0.03283 | 0.99564 | -0.083774 | 0.99526 | -0.091224 | 9.0191
18 | -0.036435 | -0.009134 | 0.036447 | 0.0091419 | 1.2558e-05 | 7.8901e-06 | 0.054454 | 0.054453 | 0.054454 | 0.99564 | -0.083774 | 0.99602 | -0.076543 | 14.9598
19 | 0.0064326 | 0.0016122 | -0.0064303 | -0.0016116 | 2.2904e-06 | 6.0768e-07 | 0.0096163 | 0.0096166 | 0.0096166 | 0.99538 | -0.088872 | 0.99499 | -0.096347 | 2.6419
20 | 0.033955 | 0.0085546 | -0.033906 | -0.0085236 | 4.9485e-05 | 3.0998e-05 | 0.050619 | 0.050619 | 0.050619 | 0.99847 | -0.029416 | 0.99688 | -0.059933 | 13.9064
21 | 0.014129 | 0.0035427 | -0.014127 | -0.0035416 | 1.973e-06 | 1.1066e-06 | 0.021025 | 0.021025 | 0.021025 | 1 | 0 | 0.99985 | -0.0029306 | 5.7761
22 | 0.017002 | 0.0042635 | -0.016993 | -0.0042586 | 8.2919e-06 | 4.8539e-06 | 0.0253 | 0.0253 | 0.0253 | 1 | 0 | 0.99947 | -0.010238 | 6.9505
23 | 0.033906 | 0.0085236 | -0.033847 | -0.0084865 | 5.919e-05 | 3.708e-05 | 0.050619 | 0.05062 | 0.05062 | 0.99688 | -0.059933 | 0.99498 | -0.096561 | 13.9065
24 | 0.01789 | 0.0044855 | -0.017885 | -0.0044825 | 5.1405e-06 | 3.0413e-06 | 0.026756 | 0.026756 | 0.026756 | 0.99498 | -0.096561 | 0.99467 | -0.10259 | 7.3506
25 | 0.015956 | 0.004001 | -0.015953 | -0.0039995 | 2.6666e-06 | 1.5445e-06 | 0.023863 | 0.023864 | 0.023864 | 0.99498 | -0.096561 | 0.9948 | -0.10007 | 6.5559
26 | 0.014127 | 0.0035416 | -0.014124 | -0.0035398 | 3.1345e-06 | 1.7582e-06 | 0.021025 | 0.021025 | 0.021025 | 0.99985 | -0.0029306 | 0.99961 | -0.0075881 | 5.7761
27 | 0.0034733 | 0.00087018 | -0.003473 | -0.00087041 | 3.4031e-07 | -2.2692e-07 | 0.005171 | 0.0051711 | 0.0051711 | 0.99947 | -0.010238 | 0.99936 | -0.012295 | 1.4206
28 | 0.015953 | 0.0039995 | -0.01595 | -0.0039974 | 3.5001e-06 | 2.0273e-06 | 0.023864 | 0.023864 | 0.023864 | 0.9948 | -0.10007 | 0.99456 | -0.10467 | 6.5559
29 | 0.0069522 | 0.0017424 | -0.0069514 | -0.0017421 | 8.531e-07 | 2.7305e-07 | 0.010401 | 0.010401 | 0.010401 | 0.99467 | -0.10259 | 0.99453 | -0.10517 | 2.8573
30 | 0.0028519 | 0.00071456 | -0.0028518 | -0.00071472 | 1.3156e-07 | -1.6342e-07 | 0.0042773 | 0.0042774 | 0.0042774 | 0.99213 | -0.15152 | 0.99208 | -0.15249 | 1.1751
31 | 0.047842 | 0.012011 | -0.047806 | -0.011989 | 3.5919e-05 | 2.2744e-05 | 0.071423 | 0.071423 | 0.071423 | 0.99684 | -0.060792 | 0.99602 | -0.076543 | 19.6218
32 | -0.0016157 | -0.00040493 | 0.0016158 | 0.00040432 | 1.1481e-07 | -6.0347e-07 | 0.00242 | 0.0024198 | 0.00242 | 0.99344 | -0.12645 | 0.99351 | -0.12495 | 0.66485
33 | 0.0044615 | 0.0011178 | -0.0044613 | -0.0011179 | 2.1303e-07 | -2.8408e-08 | 0.0066821 | 0.0066821 | 0.0066821 | 0.99351 | -0.12495 | 0.99346 | -0.12596 | 1.8358
34 | -0.0060773 | -0.0015222 | 0.0060845 | 0.0015237 | 7.1502e-06 | 1.5915e-06 | 0.0091019 | 0.0091008 | 0.0091019 | 0.99351 | -0.12495 | 0.99479 | -0.10026 | 2.5005
35 | 0.0028117 | 0.00070442 | -0.0028115 | -0.00070463 | 1.6428e-07 | -2.1468e-07 | 0.0042113 | 0.0042114 | 0.0042114 | 0.99346 | -0.12596 | 0.9934 | -0.12718 | 1.157
36 | 0.001781 | 0.00044594 | -0.0017809 | -0.00044619 | 6.0392e-08 | -2.5597e-07 | 0.0026638 | 0.0026639 | 0.0026639 | 0.99479 | -0.10026 | 0.99475 | -0.10097 | 0.73185
37 | -0.0078655 | -0.0019697 | 0.0078668 | 0.0019702 | 1.3667e-06 | 5.3275e-07 | 0.011765 | 0.011765 | 0.011765 | 0.99479 | -0.10026 | 0.99498 | -0.09661 | 3.2321
38 | 0.0017809 | 0.00044619 | -0.0017809 | -0.00044633 | 3.205e-08 | -1.3583e-07 | 0.0026639 | 0.002664 | 0.002664 | 0.99475 | -0.10097 | 0.99473 | -0.10135 | 0.73187
39 | -0.0096487 | -0.0024168 | 0.0096512 | 0.002418 | 2.475e-06 | 1.1722e-06 | 0.014429 | 0.014429 | 0.014429 | 0.99498 | -0.09661 | 0.99526 | -0.091224 | 3.9641
40 | -0.0036285 | -0.00090937 | 0.0036285 | 0.00090934 | 7.3615e-08 | -3.9311e-08 | 0.005429 | 0.005429 | 0.005429 | 0.99451 | -0.10559 | 0.99453 | -0.10517 | 1.4915

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -6.4999e-16 | 2.4266e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 7.2519e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.23488 | 0.05871

## res_load
| p_mw | q_mvar
0 | 0.0022164 | 0.00055548
1 | 0.020452 | 0.0051257
2 | 0.011644 | 0.0029182
3 | 0.0054507 | 0.0013661
4 | 0.0064899 | 0.0016265
5 | 0.0015403 | 0.00038603
6 | 0.059299 | 0.014862
7 | 0.01352 | 0.0033885
8 | 0.01595 | 0.0039974
9 | 0.010933 | 0.0027401
10 | 0.0029336 | 0.00073524
11 | 0.0024712 | 0.00061934
12 | 0.0038949 | 0.00097616
13 | 0.0085922 | 0.0021534
14 | 0.0028518 | 0.00071472
15 | 0.003473 | 0.00087041
16 | 0.014124 | 0.0035398
17 | 0.0016157 | 0.00040493
18 | 0.0016497 | 0.00041344
19 | 0.0028115 | 0.00070463
20 | 0.0017819 | 0.00044659
21 | 0.0064303 | 0.0016116
22 | 0.012307 | 0.0030844
23 | 0.011359 | 0.0028468
24 | 0.0017809 | 0.00044633
25 | 0.0036285 | 0.00090938
26 | 0.0033229 | 0.00083279

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1