## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1051-5_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1051-5_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1051-5_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1051-5_0_3_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_1051-5_0_3_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_1051-5_0_3_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_1051-5_0_3_node_28 | 0.4 | n |  | TRUE
7 | bus_LV_1051-5_0_3_node_29 | 0.4 | n |  | TRUE
8 | bus_LV_1051-5_0_3_node_10 | 0.4 | n |  | TRUE
9 | bus_LV_1051-5_0_3_node_30 | 0.4 | n |  | TRUE
10 | bus_LV_1051-5_0_3_node_89 | 0.4 | n |  | TRUE
11 | bus_LV_1051-5_0_3_node_87 | 0.4 | n |  | TRUE
12 | bus_LV_1051-5_0_3_node_27 | 0.4 | n |  | TRUE
13 | bus_LV_1051-5_0_3_node_68 | 0.4 | n |  | TRUE
14 | bus_LV_1051-5_0_3_node_58 | 0.4 | n |  | TRUE
15 | bus_LV_1051-5_0_3_node_67 | 0.4 | n |  | TRUE
16 | bus_LV_1051-5_0_3_node_21 | 0.4 | n |  | TRUE
17 | bus_LV_1051-5_0_3_node_41 | 0.4 | n |  | TRUE
18 | bus_LV_1051-5_0_3_node_88 | 0.4 | n |  | TRUE
19 | bus_LV_1051-5_0_3_node_51 | 0.4 | n |  | TRUE
20 | bus_LV_1051-5_0_3_node_18 | 0.4 | n |  | TRUE
21 | bus_LV_1051-5_0_3_node_20 | 0.4 | n |  | TRUE
22 | bus_LV_1051-5_0_3_node_17 | 0.4 | n |  | TRUE
23 | bus_LV_1051-5_0_3_node_83 | 0.4 | n |  | TRUE
24 | bus_LV_1051-5_0_3_node_50 | 0.4 | n |  | TRUE
25 | bus_LV_1051-5_0_3_node_77 | 0.4 | n |  | TRUE
26 | bus_LV_1051-5_0_3_node_44 | 0.4 | n |  | TRUE
27 | bus_LV_1051-5_0_3_node_82 | 0.4 | n |  | TRUE
28 | bus_LV_1051-5_0_3_node_7 | 0.4 | n |  | TRUE
29 | bus_LV_1051-5_0_3_node_8 | 0.4 | n |  | TRUE
30 | bus_LV_1051-5_0_3_node_9 | 0.4 | n |  | TRUE
31 | bus_LV_1051-5_0_3_node_11 | 0.4 | n |  | TRUE
32 | bus_LV_1051-5_0_3_node_33 | 0.4 | n |  | TRUE
33 | bus_LV_1051-5_0_3_node_36 | 0.4 | n |  | TRUE
34 | bus_LV_1051-5_0_3_node_12 | 0.4 | n |  | TRUE
35 | bus_LV_1051-5_0_3_node_13 | 0.4 | n |  | TRUE
36 | bus_LV_1051-5_0_3_node_14 | 0.4 | n |  | TRUE
37 | bus_LV_1051-5_0_3_node_15 | 0.4 | n |  | TRUE
38 | bus_LV_1051-5_0_3_node_16 | 0.4 | n |  | TRUE
39 | bus_LV_1051-5_0_3_node_48 | 0.4 | n |  | TRUE
40 | bus_LV_1051-5_0_3_node_49 | 0.4 | n |  | TRUE
41 | bus_LV_1051-5_0_3_node_52 | 0.4 | n |  | TRUE
42 | bus_LV_1051-5_0_3_node_19 | 0.4 | n |  | TRUE
43 | bus_LV_1051-5_0_3_node_31 | 0.4 | n |  | TRUE
44 | bus_LV_1051-5_0_3_node_35 | 0.4 | n |  | TRUE
45 | bus_LV_1051-5_0_3_node_22 | 0.4 | n |  | TRUE
46 | bus_LV_1051-5_0_3_node_26 | 0.4 | n |  | TRUE
47 | bus_LV_1051-5_0_3_node_80 | 0.4 | n |  | TRUE
48 | bus_LV_1051-5_0_3_node_90 | 0.4 | n |  | TRUE
49 | bus_LV_1051-5_0_3_node_25 | 0.4 | n |  | TRUE
50 | bus_LV_1051-5_0_3_node_70 | 0.4 | n |  | TRUE
51 | bus_LV_1051-5_0_3_node_84 | 0.4 | n |  | TRUE
52 | bus_LV_1051-5_0_3_node_32 | 0.4 | n |  | TRUE
53 | bus_LV_1051-5_0_3_node_64 | 0.4 | n |  | TRUE
54 | bus_LV_1051-5_0_3_node_47 | 0.4 | n |  | TRUE
55 | bus_LV_1051-5_0_3_node_45 | 0.4 | n |  | TRUE
56 | bus_LV_1051-5_0_3_node_34 | 0.4 | n |  | TRUE
57 | bus_LV_1051-5_0_3_node_39 | 0.4 | n |  | TRUE
58 | bus_LV_1051-5_0_3_node_79 | 0.4 | n |  | TRUE
59 | bus_LV_1051-5_0_3_node_66 | 0.4 | n |  | TRUE
60 | bus_LV_1051-5_0_3_node_65 | 0.4 | n |  | TRUE
61 | bus_LV_1051-5_0_3_node_46 | 0.4 | n |  | TRUE
62 | bus_LV_1051-5_0_3_node_43 | 0.4 | n |  | TRUE
63 | bus_LV_1051-5_0_3_node_69 | 0.4 | n |  | TRUE
64 | bus_LV_1051-5_0_3_node_85 | 0.4 | n |  | TRUE
65 | bus_LV_1051-5_0_3_node_40 | 0.4 | n |  | TRUE
66 | bus_LV_1051-5_0_3_node_56 | 0.4 | n |  | TRUE
67 | bus_LV_1051-5_0_3_node_62 | 0.4 | n |  | TRUE
68 | bus_LV_1051-5_0_3_node_91 | 0.4 | n |  | TRUE
69 | bus_LV_1051-5_0_3_node_37 | 0.4 | n |  | TRUE
70 | bus_LV_1051-5_0_3_node_38 | 0.4 | n |  | TRUE
71 | bus_LV_1051-5_0_3_node_42 | 0.4 | n |  | TRUE
72 | bus_LV_1051-5_0_3_node_86 | 0.4 | n |  | TRUE
73 | bus_LV_1051-5_0_3_node_76 | 0.4 | n |  | TRUE
74 | bus_LV_1051-5_0_3_node_53 | 0.4 | n |  | TRUE
75 | bus_LV_1051-5_0_3_node_54 | 0.4 | n |  | TRUE
76 | bus_LV_1051-5_0_3_node_55 | 0.4 | n |  | TRUE
77 | bus_LV_1051-5_0_3_node_57 | 0.4 | n |  | TRUE
78 | bus_LV_1051-5_0_3_node_59 | 0.4 | n |  | TRUE
79 | bus_LV_1051-5_0_3_node_75 | 0.4 | n |  | TRUE
80 | bus_LV_1051-5_0_3_node_74 | 0.4 | n |  | TRUE
81 | bus_LV_1051-5_0_3_node_60 | 0.4 | n |  | TRUE
82 | bus_LV_1051-5_0_3_node_61 | 0.4 | n |  | TRUE
83 | bus_LV_1051-5_0_3_node_63 | 0.4 | n |  | TRUE
84 | bus_LV_1051-5_0_3_node_71 | 0.4 | n |  | TRUE
85 | bus_LV_1051-5_0_3_node_72 | 0.4 | n |  | TRUE
86 | bus_LV_1051-5_0_3_node_73 | 0.4 | n |  | TRUE
87 | bus_LV_1051-5_0_3_node_78 | 0.4 | n |  | TRUE
88 | bus_MV_211_1_node_21 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1051-5_0_3_load_0 | 0 | 0.0031141 | 0.00078046 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1051-5_0_3_load_2 | 2 | 0.0015794 | 0.00039584 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1051-5_0_3_load_6 | 5 | 0.0065076 | 0.001631 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1051-5_0_3_load_10 | 8 | 0.0022819 | 0.00057189 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1051-5_0_3_load_89 | 10 | 0.0080284 | 0.0020121 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1051-5_0_3_load_87 | 11 | 0.0035475 | 0.00088908 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1051-5_0_3_load_68 | 13 | 0.0018531 | 0.00046444 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1051-5_0_3_load_58 | 14 | 0.0018024 | 0.00045173 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1051-5_0_3_load_67 | 15 | 0.0032631 | 0.00081782 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1051-5_0_3_load_41 | 17 | 0.0033147 | 0.00083074 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1051-5_0_3_load_88 | 18 | 0.003549 | 0.00088947 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1051-5_0_3_load_20 | 21 | 0.006433 | 0.0016123 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1051-5_0_3_load_17 | 22 | 0.0038734 | 0.00097076 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1051-5_0_3_load_83 | 23 | 0.0053591 | 0.0013431 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1051-5_0_3_load_77 | 25 | 0.0032124 | 0.00080511 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1051-5_0_3_load_82 | 27 | 0.0025023 | 0.00062714 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1051-5_0_3_load_7 | 28 | 0.0023595 | 0.00059135 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1051-5_0_3_load_8 | 29 | 0.0025981 | 0.00065114 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1051-5_0_3_load_9 | 30 | 0.0023607 | 0.00059164 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1051-5_0_3_load_11 | 31 | 0.0010372 | 0.00025994 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1051-5_0_3_load_33 | 32 | 0.0079363 | 0.001989 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1051-5_0_3_load_36 | 33 | 0.0028964 | 0.0007259 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1051-5_0_3_load_12 | 34 | 0.0010968 | 0.0002749 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1051-5_0_3_load_13 | 35 | 0.0010951 | 0.00027447 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1051-5_0_3_load_14 | 36 | 0.0017266 | 0.00043273 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1051-5_0_3_load_15 | 37 | 0.002432 | 0.00060951 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1051-5_0_3_load_16 | 38 | 0.0033171 | 0.00083134 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1051-5_0_3_load_48 | 39 | 0.0030736 | 0.00077032 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1051-5_0_3_load_49 | 40 | 0.0011068 | 0.0002774 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1051-5_0_3_load_52 | 41 | 0.0015857 | 0.00039741 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1051-5_0_3_load_35 | 44 | 0.0086368 | 0.0021646 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1051-5_0_3_load_90 | 48 | 0.0058684 | 0.0014708 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1051-5_0_3_load_70 | 50 | 0.0029825 | 0.00074749 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1051-5_0_3_load_84 | 51 | 0.003405 | 0.00085336 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1051-5_0_3_load_64 | 53 | 0.0038836 | 0.00097333 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1051-5_0_3_load_45 | 55 | 0.001298 | 0.00032531 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1051-5_0_3_load_34 | 56 | 0.0027127 | 0.00067987 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1051-5_0_3_load_39 | 57 | 0.0021561 | 0.00054038 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1051-5_0_3_load_79 | 58 | 0.0030036 | 0.00075278 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1051-5_0_3_load_66 | 59 | 0.0032818 | 0.00082249 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1051-5_0_3_load_65 | 60 | 0.0033027 | 0.00082773 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1051-5_0_3_load_46 | 61 | 0.0066135 | 0.0016575 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1051-5_0_3_load_43 | 62 | 0.003041 | 0.00076216 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1051-5_0_3_load_69 | 63 | 0.002984 | 0.00074785 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1051-5_0_3_load_85 | 64 | 0.0031141 | 0.00078048 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1051-5_0_3_load_40 | 65 | 0.0018041 | 0.00045216 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1051-5_0_3_load_62 | 67 | 0.0033023 | 0.00082764 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1051-5_0_3_load_91 | 68 | 0.003693 | 0.00092556 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1051-5_0_3_load_37 | 69 | 0.0018048 | 0.00045233 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_1051-5_0_3_load_38 | 70 | 0.0018533 | 0.00046449 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_1051-5_0_3_load_42 | 71 | 0.0031584 | 0.00079156 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_1051-5_0_3_load_86 | 72 | 0.002689 | 0.00067394 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_1051-5_0_3_load_76 | 73 | 0.0032116 | 0.00080491 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_1051-5_0_3_load_53 | 74 | 0.0045501 | 0.0011404 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_1051-5_0_3_load_54 | 75 | 0.0039367 | 0.00098664 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_1051-5_0_3_load_55 | 76 | 0.0038542 | 0.00096596 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_1051-5_0_3_load_57 | 77 | 0.0044432 | 0.0011136 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_1051-5_0_3_load_59 | 78 | 0.0036308 | 0.00090996 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_1051-5_0_3_load_74 | 80 | 0.0037508 | 0.00094004 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_1051-5_0_3_load_60 | 81 | 0.003282 | 0.00082254 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_1051-5_0_3_load_61 | 82 | 0.003301 | 0.00082731 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_1051-5_0_3_load_63 | 83 | 0.0032832 | 0.00082285 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_1051-5_0_3_load_71 | 84 | 0.0029819 | 0.00074733 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_1051-5_0_3_load_73 | 86 | 0.0042414 | 0.001063 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_1051-5_0_3_load_78 | 87 | 0.0032091 | 0.00080428 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 75 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1051-5_0_3_line_0 |  | 0 | 1 | 0.22788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1051-5_0_3_line_1 |  | 1 | 2 | 0.24153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1051-5_0_3_line_2 |  | 2 | 3 | 0.28136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1051-5_0_3_line_3 |  | 3 | 4 | 0.28198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1051-5_0_3_line_4 |  | 3 | 5 | 0.010308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1051-5_0_3_line_5 |  | 4 | 23 | 0.088149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1051-5_0_3_line_6 |  | 6 | 7 | 0.03807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1051-5_0_3_line_7 |  | 6 | 8 | 0.037981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1051-5_0_3_line_8 |  | 7 | 19 | 0.009597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1051-5_0_3_line_9 |  | 7 | 15 | 0.011693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1051-5_0_3_line_10 |  | 8 | 29 | 0.0091993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1051-5_0_3_line_11 |  | 9 | 10 | 0.021675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1051-5_0_3_line_12 |  | 9 | 11 | 0.014639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1051-5_0_3_line_13 |  | 11 | 18 | 0.0082007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1051-5_0_3_line_14 |  | 12 | 13 | 0.017905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1051-5_0_3_line_15 |  | 12 | 14 | 0.012615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
16 | LV_1051-5_0_3_line_16 |  | 12 | 15 | 0.052375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
17 | LV_1051-5_0_3_line_17 |  | 13 | 65 | 0.017634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1051-5_0_3_line_18 |  | 14 | 66 | 0.012077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
19 | LV_1051-5_0_3_line_19 |  | 16 | 17 | 0.025832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1051-5_0_3_line_20 |  | 16 | 18 | 0.0055901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1051-5_0_3_line_21 |  | 17 | 57 | 0.01879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1051-5_0_3_line_22 |  | 19 | 41 | 0.015947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1051-5_0_3_line_23 |  | 19 | 38 | 0.02261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1051-5_0_3_line_24 |  | 20 | 21 | 0.016087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1051-5_0_3_line_25 |  | 20 | 22 | 0.023988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1051-5_0_3_line_26 |  | 21 | 44 | 0.03751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1051-5_0_3_line_27 |  | 22 | 42 | 0.052787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1051-5_0_3_line_28 |  | 23 | 27 | 0.056593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1051-5_0_3_line_29 |  | 24 | 25 | 0.003561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1051-5_0_3_line_30 |  | 24 | 26 | 0.008197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1051-5_0_3_line_31 |  | 25 | 73 | 0.010357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1051-5_0_3_line_32 |  | 26 | 62 | 0.030293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1051-5_0_3_line_33 |  | 26 | 49 | 0.019686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1051-5_0_3_line_34 |  | 27 | 79 | 0.045322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1051-5_0_3_line_35 |  | 28 | 29 | 0.017387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1051-5_0_3_line_36 |  | 28 | 30 | 0.0079499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1051-5_0_3_line_37 |  | 30 | 31 | 0.01608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1051-5_0_3_line_38 |  | 31 | 32 | 0.031484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1051-5_0_3_line_39 |  | 32 | 33 | 0.024563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1051-5_0_3_line_40 |  | 33 | 56 | 0.00013427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1051-5_0_3_line_41 |  | 34 | 35 | 0.0066429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1051-5_0_3_line_42 |  | 34 | 36 | 0.0022556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1051-5_0_3_line_43 |  | 35 | 37 | 0.008119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1051-5_0_3_line_44 |  | 36 | 38 | 0.040384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1051-5_0_3_line_45 |  | 37 | 39 | 0.022469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1051-5_0_3_line_46 |  | 39 | 40 | 0.0058237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1051-5_0_3_line_47 |  | 40 | 72 | 0.0068235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1051-5_0_3_line_48 |  | 41 | 74 | 0.010385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1051-5_0_3_line_49 |  | 42 | 43 | 0.049151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1051-5_0_3_line_50 |  | 43 | 52 | 0.047334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1051-5_0_3_line_51 |  | 43 | 53 | 0.029749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1051-5_0_3_line_52 |  | 44 | 56 | 0.038194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1051-5_0_3_line_53 |  | 45 | 46 | 0.16513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1051-5_0_3_line_54 |  | 45 | 47 | 0.016792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_1051-5_0_3_line_55 |  | 45 | 48 | 0.011085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_1051-5_0_3_line_56 |  | 46 | 51 | 0.022136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_1051-5_0_3_line_57 |  | 46 | 49 | 0.033145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_1051-5_0_3_line_58 |  | 47 | 58 | 0.032683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_1051-5_0_3_line_59 |  | 49 | 50 | 0.015997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_1051-5_0_3_line_60 |  | 50 | 63 | 0.0099607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_1051-5_0_3_line_61 |  | 51 | 64 | 0.0040133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_1051-5_0_3_line_62 |  | 52 | 54 | 0.059933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_1051-5_0_3_line_63 |  | 52 | 55 | 0.088417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_1051-5_0_3_line_64 |  | 53 | 67 | 0.026129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_1051-5_0_3_line_65 |  | 54 | 68 | 0.13331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_1051-5_0_3_line_66 |  | 55 | 61 | 0.025389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_1051-5_0_3_line_67 |  | 57 | 69 | 0.0057916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_1051-5_0_3_line_68 |  | 59 | 60 | 0.0052659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_1051-5_0_3_line_69 |  | 60 | 83 | 0.024299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_1051-5_0_3_line_70 |  | 62 | 71 | 0.0068609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_1051-5_0_3_line_71 |  | 63 | 84 | 0.0099592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_1051-5_0_3_line_72 |  | 65 | 70 | 0.0057899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_1051-5_0_3_line_73 |  | 66 | 78 | 0.046736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_1051-5_0_3_line_74 |  | 66 | 75 | 0.024795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
75 | LV_1051-5_0_3_line_75 |  | 67 | 81 | 0.0077965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_1051-5_0_3_line_76 |  | 69 | 70 | 0.016682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_1051-5_0_3_line_77 |  | 73 | 87 | 0.01814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_1051-5_0_3_line_78 |  | 75 | 76 | 0.080345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_1051-5_0_3_line_79 |  | 76 | 77 | 0.040404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_1051-5_0_3_line_80 |  | 77 | 79 | 0.019214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_1051-5_0_3_line_81 |  | 79 | 80 | 0.003804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_1051-5_0_3_line_82 |  | 80 | 86 | 0.017565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_1051-5_0_3_line_83 |  | 81 | 82 | 0.030803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_1051-5_0_3_line_84 |  | 82 | 83 | 0.0059779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_1051-5_0_3_line_85 |  | 84 | 85 | 0.019702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_1051-5_0_3_line_86 |  | 85 | 86 | 0.020095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1051-5_0_3_trafo_54 | 0.63 MVA 20/0.4 kV | 88 | 75 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28
0 | 2669310.297 | 1212884.8477 | 2669297.9571 | 1212886.9834 | 2669286.9794 | 1212919.6541 | 2669274.0516 | 1212932.512 | 2669235.7716 | 1212951.3128 | 2669208.3492 | 1212994.8885 | 2669202.9164 | 1213041.4435 | 2669194.6024 | 1213055.4336 | 2669191.5128 | 1213059.8377
1 | 2669310.297 | 1212884.8477 | 2669351.4214 | 1212918.0908 | 2669358.805 | 1212921.4232 | 2669364.7499 | 1212922.3929 | 2669367.664 | 1212923.9723 | 2669380.4288 | 1212934.2827 | 2669383.6431 | 1212938.1336 | 2669399.5381 | 1213008.4625 | 2669412.9809 | 1213021.2047 | 2669445.3121 | 1213046.1299 | 2669461.0343 | 1213055.5633
2 | 2669479.574 | 1212850.6064 | 2669488.4034 | 1212860.9157 | 2669499.8015 | 1212884.1853 | 2669532.3163 | 1212934.4512 | 2669539.376 | 1212946.0074 | 2669544.1391 | 1212962.9624 | 2669545.6875 | 1212980.6693 | 2669546.4881 | 1213008.4183 | 2669543.3028 | 1213020.9779 | 2669539.0529 | 1213028.4108 | 2669533.399 | 1213033.7705 | 2669522.1691 | 1213036.508 | 2669499.2237 | 1213043.8897 | 2669476.2409 | 1213053.8282 | 2669461.0343 | 1213055.5633
3 | 2669625.8465 | 1213078.6991 | 2669622.3278 | 1213067.7512 | 2669613.7319 | 1213039.4442 | 2669599.8836 | 1213010.0754 | 2669598.3639 | 1213006.8445 | 2669581.8672 | 1212971.9969 | 2669576.5822 | 1212958.1043 | 2669557.5706 | 1212931.7217 | 2669553.8283 | 1212921.038 | 2669550.1595 | 1212910.5665 | 2669523.8668 | 1212881.1527 | 2669497.8223 | 1212853.8877 | 2669493.054 | 1212850.3967 | 2669485.3614 | 1212849.4509 | 2669479.574 | 1212850.6064
4 | 2669479.574 | 1212850.6064 | 2669471.038 | 1212844.8282
5 | 2669625.8465 | 1213078.6991 | 2669630.8307 | 1213074.7437 | 2669633.8181 | 1213070.6871 | 2669635.9237 | 1213066.031 | 2669635.4261 | 1213045.5457 | 2669634.4381 | 1213042.321 | 2669628.4076 | 1213031.1325 | 2669626.1048 | 1213027.3144 | 2669624.8343 | 1213022.9079 | 2669620.8353 | 1213007.5516 | 2669618.1323 | 1212997.7679
6 | 2669622.5656 | 1212784.5655 | 2669624.1829 | 1212780.7375 | 2669629.125 | 1212781.0621 | 2669634.8622 | 1212780.9623 | 2669646.5416 | 1212775.5619 | 2669643.203 | 1212768.6964 | 2669642.0848 | 1212766.2152
7 | 2669642.0848 | 1212766.2152 | 2669640.6139 | 1212771.1566 | 2669638.0252 | 1212774.2395 | 2669631.605 | 1212776.8773 | 2669627.4078 | 1212776.5281 | 2669620.8285 | 1212773.2715 | 2669614.3932 | 1212765.2214
8 | 2669618.8233 | 1212793.4051 | 2669622.5656 | 1212784.5655
9 | 2669622.5656 | 1212784.5655 | 2669618.4791 | 1212782.5388 | 2669612.8859 | 1212778.1152
10 | 2669608.9705 | 1212757.797 | 2669612.1799 | 1212762.4527 | 2669614.3932 | 1212765.2214
11 | 2669494.3763 | 1212695.2372 | 2669490.3049 | 1212687.9964 | 2669486.627 | 1212681.5384 | 2669484.3281 | 1212676.0526
12 | 2669484.3281 | 1212676.0526 | 2669497.7821 | 1212670.2835 | 2669497.7821 | 1212670.2835
13 | 2669497.7821 | 1212670.2835 | 2669504.0392 | 1212664.9825
14 | 2669583.6572 | 1212734.6581 | 2669572.7083 | 1212720.4906
15 | 2669583.6572 | 1212734.6581 | 2669574.4375 | 1212743.2676
16 | 2669583.6572 | 1212734.6581 | 2669604.487 | 1212766.0874 | 2669612.8859 | 1212778.1152
17 | 2669572.7083 | 1212720.4906 | 2669567.7903 | 1212714.1269 | 2669561.371 | 1212707.0005
18 | 2669568.4767 | 1212753.6151 | 2669572.6271 | 1212744.9581 | 2669574.4375 | 1212743.2676
19 | 2669508.6007 | 1212661.8265 | 2669510.8701 | 1212660.7189 | 2669514.5074 | 1212660.2276 | 2669517.7181 | 1212661.1434 | 2669525.5053 | 1212668.3275 | 2669529.5199 | 1212672.3778
20 | 2669508.6007 | 1212661.8265 | 2669506.6754 | 1212662.749 | 2669504.0392 | 1212664.9825
21 | 2669542.4545 | 1212686.0002 | 2669536.799 | 1212679.7218 | 2669529.5199 | 1212672.3778
22 | 2669618.8233 | 1212793.4051 | 2669632.592 | 1212801.4504
23 | 2669618.8233 | 1212793.4051 | 2669612.4092 | 1212805.2822 | 2669611.3742 | 1212809.3393 | 2669610.9902 | 1212814.249 | 2669610.9902 | 1212814.249
24 | 2669486.1298 | 1212614.0348 | 2669497.0466 | 1212625.8504
25 | 2669486.1298 | 1212614.0348 | 2669487.8251 | 1212597.6443 | 2669485.932 | 1212590.3771
26 | 2669497.0466 | 1212625.8504 | 2669498.2169 | 1212627.1171 | 2669522.4796 | 1212653.421
27 | 2669488.0768 | 1212544.7586 | 2669486.2853 | 1212545.9273 | 2669479.1065 | 1212550.4132 | 2669476.3151 | 1212553.9385 | 2669481.2946 | 1212572.5748 | 2669485.932 | 1212590.3771
28 | 2669618.4789 | 1212944.9195 | 2669611.6505 | 1212954.1999 | 2669609.7251 | 1212960.3368 | 2669609.367 | 1212966.2808 | 2669611.3377 | 1212973.1748 | 2669618.1323 | 1212997.7679
29 | 2669685.3865 | 1212977.7311 | 2669682.1002 | 1212979.1027
30 | 2669692.9674 | 1212974.5621 | 2669685.3865 | 1212977.7311
31 | 2669672.5422 | 1212983.0921 | 2669682.1002 | 1212979.1027
32 | 2669692.9674 | 1212974.5621 | 2669705.6704 | 1212979.7026 | 2669711.7883 | 1212982.1089 | 2669711.1864 | 1212983.5584 | 2669718.8372 | 1212987.1346
33 | 2669692.9674 | 1212974.5621 | 2669696.2656 | 1212973.1775 | 2669697.2372 | 1212969.342 | 2669696.2592 | 1212963.3268 | 2669694.1996 | 1212958.1884 | 2669694.3878 | 1212957.6903
34 | 2669627.6269 | 1212902.8319 | 2669625.4306 | 1212909.3993 | 2669626.7092 | 1212913.7614 | 2669628.2314 | 1212922.6292 | 2669626.3954 | 1212931.5244 | 2669625.2525 | 1212935.7137 | 2669618.4789 | 1212944.9195
35 | 2669599.1023 | 1212743.482 | 2669608.9705 | 1212757.797
36 | 2669599.1023 | 1212743.482 | 2669598.8594 | 1212743.1296 | 2669594.4558 | 1212737.0314
37 | 2669585.0421 | 1212723.9951 | 2669594.4558 | 1212737.0314
38 | 2669585.0421 | 1212723.9951 | 2669582.8521 | 1212720.9624 | 2669565.2595 | 1212699.5101
39 | 2669565.2595 | 1212699.5101 | 2669563.0688 | 1212696.8388 | 2669548.6238 | 1212681.4477
40 | 2669548.532 | 1212681.3498 | 2669548.6238 | 1212681.4477
41 | 2669643.8886 | 1212836.8554 | 2669650.1765 | 1212838.998
42 | 2669641.7536 | 1212836.1278 | 2669643.8886 | 1212836.8554
43 | 2669657.3751 | 1212842.5444 | 2669654.6412 | 1212840.5194 | 2669650.1765 | 1212838.998
44 | 2669641.7536 | 1212836.1278 | 2669623.0181 | 1212829.7435 | 2669617.5741 | 1212826.2111 | 2669614.5445 | 1212823.4629 | 2669612.0852 | 1212819.365 | 2669610.9902 | 1212814.249
45 | 2669657.3751 | 1212842.5444 | 2669669.4341 | 1212851.4768 | 2669674.071 | 1212857.3234
46 | 2669674.071 | 1212857.3234 | 2669677.6898 | 1212861.8863
47 | 2669681.9298 | 1212867.2326 | 2669677.6898 | 1212861.8863
48 | 2669641.5588 | 1212806.6899 | 2669632.592 | 1212801.4504
49 | 2669516.2724 | 1212583.1333 | 2669500.35 | 1212571.2181 | 2669497.3809 | 1212566.525 | 2669493.109 | 1212558.2256 | 2669488.0768 | 1212544.7586
50 | 2669516.2724 | 1212583.1333 | 2669510.5221 | 1212576.5288 | 2669504.67 | 1212568.2221 | 2669500.6929 | 1212561.3604 | 2669496.4862 | 1212552.6837 | 2669494.6602 | 1212548.3375 | 2669500.1025 | 1212545.5214
51 | 2669516.2724 | 1212583.1333 | 2669522.652 | 1212589.2003 | 2669534.3099 | 1212596.7409 | 2669540.7967 | 1212599.5311
52 | 2669522.4796 | 1212653.421 | 2669531.6188 | 1212663.329 | 2669548.532 | 1212681.3498
53 | 2669702.1085 | 1212934.1213 | 2669705.3326 | 1212928.6778 | 2669706.9395 | 1212926.3951 | 2669707.8253 | 1212927.9509 | 2669708.6118 | 1212927.6155 | 2669710.4594 | 1212926.8366 | 2669712.1316 | 1212926.1112 | 2669714.4299 | 1212925.1263 | 2669716.4151 | 1212924.2712 | 2669718.2248 | 1212923.4919 | 2669720.6756 | 1212922.4532 | 2669721.8514 | 1212921.9555 | 2669723.4989 | 1212924.6431 | 2669727.0049 | 1212928.2308 | 2669731.2974 | 1212930.8159 | 2669736.4469 | 1212932.8774 | 2669744.1605 | 1212933.9683 | 2669752.03 | 1212934.0603 | 2669761.3885 | 1212932.869 | 2669774.9443 | 1212929.4032 | 2669783.6282 | 1212926.7809 | 2669783.4976 | 1212925.6008 | 2669796.5925 | 1212921.2846 | 2669796.6447 | 1212916.8269 | 2669790.5203 | 1212917.5668 | 2669787.8745 | 1212909.2974 | 2669787.8335 | 1212903.7156 | 2669793.776 | 1212883.4724 | 2669792.0965 | 1212872.4792
54 | 2669792.0965 | 1212872.4792 | 2669808.8664 | 1212870.9412
55 | 2669781.0301 | 1212873.5393 | 2669792.0965 | 1212872.4792
56 | 2669702.1085 | 1212934.1213 | 2669701.9784 | 1212930.3063 | 2669701.6964 | 1212923.8879 | 2669702.4486 | 1212912.0171
57 | 2669702.1085 | 1212934.1213 | 2669702.3418 | 1212940.806 | 2669702.4836 | 1212941.03 | 2669698.5228 | 1212945.153 | 2669702.3655 | 1212946.5766 | 2669701.1329 | 1212949.3417 | 2669697.9462 | 1212948.3371 | 2669697.4286 | 1212949.7209 | 2669694.3878 | 1212957.6903
58 | 2669808.8664 | 1212870.9412 | 2669807.5769 | 1212857.1396 | 2669806.3813 | 1212846.3522 | 2669805.1098 | 1212845.9371 | 2669804.4374 | 1212839.3409
59 | 2669694.3878 | 1212957.6903 | 2669679.7101 | 1212951.3292
60 | 2669670.5707 | 1212947.3683 | 2669679.7101 | 1212951.3292
61 | 2669702.7025 | 1212908.0119 | 2669702.4486 | 1212912.0171
62 | 2669552.0089 | 1212567.0731 | 2669540.4181 | 1212557.0317 | 2669519.4556 | 1212544.0571 | 2669504.3866 | 1212543.003 | 2669500.1025 | 1212545.5214
63 | 2669500.1025 | 1212545.5214 | 2669502.718 | 1212553.1789 | 2669506.979 | 1212562.412 | 2669510.0263 | 1212567.573 | 2669518.7083 | 1212578.1697 | 2669529.236 | 1212586.8645 | 2669536.9093 | 1212591.4456 | 2669545.1115 | 1212595.6216 | 2669562.1603 | 1212603.2274
64 | 2669564.6965 | 1212610.0646 | 2669562.6585 | 1212608.9345 | 2669540.7967 | 1212599.5311
65 | 2669552.0089 | 1212567.0731 | 2669567.9755 | 1212566.7257 | 2669585.1528 | 1212569.4055 | 2669608.8357 | 1212577.1088 | 2669623.9698 | 1212587.5475 | 2669629.6279 | 1212589.0255 | 2669633.0358 | 1212586.0635 | 2669634.0259 | 1212577.4029 | 2669624.3403 | 1212540.8559
66 | 2669562.1603 | 1212603.2274 | 2669564.2792 | 1212604.1727 | 2669574.6193 | 1212609.3965 | 2669583.4251 | 1212615.2362 | 2669584.1498 | 1212615.7991
67 | 2669542.4545 | 1212686.0002 | 2669546.3307 | 1212690.3035
68 | 2669613.8913 | 1212663.5409 | 2669611.2667 | 1212658.9757
69 | 2669597.9087 | 1212638.7283 | 2669605.4826 | 1212648.9146 | 2669611.2667 | 1212658.9757
70 | 2669718.8372 | 1212987.1346 | 2669719.5053 | 1212987.4469 | 2669725.5489 | 1212986.4614
71 | 2669670.5707 | 1212947.3683 | 2669661.4328 | 1212943.4081
72 | 2669557.4959 | 1212702.6986 | 2669561.371 | 1212707.0005
73 | 2669523.991 | 1212738.8984 | 2669563.1844 | 1212752.0524 | 2669568.4767 | 1212753.6151
74 | 2669568.4767 | 1212753.6151 | 2669568.5718 | 1212759.1419 | 2669570.4199 | 1212769.3921 | 2669571.7993 | 1212778.1361
75 | 2669571.5149 | 1212613.8455 | 2669564.6965 | 1212610.0646
76 | 2669557.4959 | 1212702.6986 | 2669546.3307 | 1212690.3035
77 | 2669658.6762 | 1212982.8445 | 2669660.6314 | 1212987.8038 | 2669670.3316 | 1212984.0147 | 2669672.5422 | 1212983.0921
78 | 2669571.7993 | 1212778.1361 | 2669577.02 | 1212811.2286 | 2669581.5827 | 1212832.9843 | 2669590.6345 | 1212854.1698 | 2669591.5197 | 1212855.4743
79 | 2669615.3747 | 1212888.0309 | 2669605.6019 | 1212876.2249 | 2669591.5197 | 1212855.4743
80 | 2669627.6269 | 1212902.8319 | 2669615.3747 | 1212888.0309
81 | 2669627.6269 | 1212902.8319 | 2669629.8955 | 1212905.8855
82 | 2669637.0949 | 1212921.7866 | 2669632.1596 | 1212908.9331 | 2669629.8955 | 1212905.8855
83 | 2669571.5149 | 1212613.8455 | 2669579.2279 | 1212618.1224 | 2669589.0713 | 1212626.8427 | 2669594.3419 | 1212633.9312
84 | 2669594.3419 | 1212633.9312 | 2669597.9087 | 1212638.7283
85 | 2669642.6027 | 1212941.0529 | 2669652.784 | 1212939.6598 | 2669661.4328 | 1212943.4081
86 | 2669642.6027 | 1212941.0529 | 2669641.5795 | 1212934.9927 | 2669637.8072 | 1212923.6416 | 2669637.0949 | 1212921.7866

## bus_geodata
| x | y | coords
0 | 2669191.5128 | 1213059.8377
1 | 2669310.297 | 1212884.8477
2 | 2669461.0343 | 1213055.5633
3 | 2669479.574 | 1212850.6064
4 | 2669625.8465 | 1213078.6991
5 | 2669471.038 | 1212844.8282
6 | 2669642.0848 | 1212766.2152
7 | 2669622.5656 | 1212784.5655
8 | 2669614.3932 | 1212765.2214
9 | 2669484.3281 | 1212676.0526
10 | 2669494.3763 | 1212695.2372
11 | 2669497.7821 | 1212670.2835
12 | 2669583.6572 | 1212734.6581
13 | 2669572.7083 | 1212720.4906
14 | 2669574.4375 | 1212743.2676
15 | 2669612.8859 | 1212778.1152
16 | 2669508.6007 | 1212661.8265
17 | 2669529.5199 | 1212672.3778
18 | 2669504.0392 | 1212664.9825
19 | 2669618.8233 | 1212793.4051
20 | 2669486.1298 | 1212614.0348
21 | 2669497.0466 | 1212625.8504
22 | 2669485.932 | 1212590.3771
23 | 2669618.1323 | 1212997.7679
24 | 2669685.3865 | 1212977.7311
25 | 2669682.1002 | 1212979.1027
26 | 2669692.9674 | 1212974.5621
27 | 2669618.4789 | 1212944.9195
28 | 2669599.1023 | 1212743.482
29 | 2669608.9705 | 1212757.797
30 | 2669594.4558 | 1212737.0314
31 | 2669585.0421 | 1212723.9951
32 | 2669565.2595 | 1212699.5101
33 | 2669548.6238 | 1212681.4477
34 | 2669643.8886 | 1212836.8554
35 | 2669650.1765 | 1212838.998
36 | 2669641.7536 | 1212836.1278
37 | 2669657.3751 | 1212842.5444
38 | 2669610.9902 | 1212814.249
39 | 2669674.071 | 1212857.3234
40 | 2669677.6898 | 1212861.8863
41 | 2669632.592 | 1212801.4504
42 | 2669488.0768 | 1212544.7586
43 | 2669516.2724 | 1212583.1333
44 | 2669522.4796 | 1212653.421
45 | 2669792.0965 | 1212872.4792
46 | 2669702.1085 | 1212934.1213
47 | 2669808.8664 | 1212870.9412
48 | 2669781.0301 | 1212873.5393
49 | 2669694.3878 | 1212957.6903
50 | 2669679.7101 | 1212951.3292
51 | 2669702.4486 | 1212912.0171
52 | 2669500.1025 | 1212545.5214
53 | 2669540.7967 | 1212599.5311
54 | 2669552.0089 | 1212567.0731
55 | 2669562.1603 | 1212603.2274
56 | 2669548.532 | 1212681.3498
57 | 2669542.4545 | 1212686.0002
58 | 2669804.4374 | 1212839.3409
59 | 2669613.8913 | 1212663.5409
60 | 2669611.2667 | 1212658.9757
61 | 2669584.1498 | 1212615.7991
62 | 2669718.8372 | 1212987.1346
63 | 2669670.5707 | 1212947.3683
64 | 2669702.7025 | 1212908.0119
65 | 2669561.371 | 1212707.0005
66 | 2669568.4767 | 1212753.6151
67 | 2669564.6965 | 1212610.0646
68 | 2669624.3403 | 1212540.8559
69 | 2669546.3307 | 1212690.3035
70 | 2669557.4959 | 1212702.6986
71 | 2669725.5489 | 1212986.4614
72 | 2669681.9298 | 1212867.2326
73 | 2669672.5422 | 1212983.0921
74 | 2669641.5588 | 1212806.6899
75 | 2669571.7993 | 1212778.1361
76 | 2669591.5197 | 1212855.4743
77 | 2669615.3747 | 1212888.0309
78 | 2669523.991 | 1212738.8984
79 | 2669627.6269 | 1212902.8319
80 | 2669629.8955 | 1212905.8855
81 | 2669571.5149 | 1212613.8455
82 | 2669594.3419 | 1212633.9312
83 | 2669597.9087 | 1212638.7283
84 | 2669661.4328 | 1212943.4081
85 | 2669642.6027 | 1212941.0529
86 | 2669637.0949 | 1212921.7866
87 | 2669658.6762 | 1212982.8445
88 | 2669568.4767 | 1212753.6151

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98254 | -0.33735 | 0.0031141 | 0.00078046
1 | 0.98319 | -0.32453 | 0 | 0
2 | 0.98389 | -0.31093 | 0.0015794 | 0.00039584
3 | 0.9851 | -0.28709 | 0 | 0
4 | 0.98801 | -0.23038 | 0 | 0
5 | 0.98504 | -0.28829 | 0.0065076 | 0.001631
6 | 0.99051 | -0.18035 | 0 | 0
7 | 0.99329 | -0.12748 | 0 | 0
8 | 0.98775 | -0.23339 | 0.0022819 | 0.00057189
9 | 0.99451 | -0.10477 | 0 | 0
10 | 0.99436 | -0.10784 | 0.0080284 | 0.0020121
11 | 0.99462 | -0.1027 | 0.0035475 | 0.00088908
12 | 0.99691 | -0.058584 | 0 | 0
13 | 0.99645 | -0.067354 | 0.0018531 | 0.00046444
14 | 0.99768 | -0.043965 | 0.0018024 | 0.00045173
15 | 0.99438 | -0.10663 | 0.0032631 | 0.00081782
16 | 0.99479 | -0.099538 | 0 | 0
17 | 0.99514 | -0.092658 | 0.0033147 | 0.00083074
18 | 0.99471 | -0.10103 | 0.003549 | 0.00088947
19 | 0.99309 | -0.13133 | 0 | 0
20 | 0.97688 | -0.44418 | 0 | 0
21 | 0.97747 | -0.43269 | 0.006433 | 0.0016123
22 | 0.97601 | -0.46134 | 0.0038734 | 0.00097076
23 | 0.98892 | -0.21271 | 0.0053591 | 0.0013431
24 | 0.98675 | -0.25485 | 0 | 0
25 | 0.98672 | -0.25547 | 0.0032124 | 0.00080511
26 | 0.98682 | -0.25344 | 0 | 0
27 | 0.98978 | -0.19598 | 0.0025023 | 0.00062714
28 | 0.98591 | -0.2688 | 0.0023595 | 0.00059135
29 | 0.98709 | -0.24591 | 0.0025981 | 0.00065114
30 | 0.98538 | -0.27895 | 0.0023607 | 0.00059164
31 | 0.98435 | -0.29883 | 0.0010372 | 0.00025994
32 | 0.98237 | -0.33727 | 0.0079363 | 0.001989
33 | 0.981 | -0.36385 | 0.0028964 | 0.0007259
34 | 0.99223 | -0.14784 | 0.0010968 | 0.0002749
35 | 0.99217 | -0.14907 | 0.0010951 | 0.00027447
36 | 0.99226 | -0.14739 | 0.0017266 | 0.00043273
37 | 0.9921 | -0.1504 | 0.002432 | 0.00060951
38 | 0.99275 | -0.13794 | 0.0033171 | 0.00083134
39 | 0.99196 | -0.15314 | 0.0030736 | 0.00077032
40 | 0.99194 | -0.15353 | 0.0011068 | 0.0002774
41 | 0.993 | -0.13305 | 0.0015857 | 0.00039741
42 | 0.97427 | -0.49545 | 0 | 0
43 | 0.97265 | -0.52733 | 0 | 0
44 | 0.97906 | -0.40156 | 0.0086368 | 0.0021646
45 | 0.98529 | -0.28328 | 0 | 0
46 | 0.98664 | -0.257 | 0 | 0
47 | 0.98525 | -0.28418 | 0 | 0
48 | 0.98523 | -0.28445 | 0.0058684 | 0.0014708
49 | 0.98711 | -0.24786 | 0 | 0
50 | 0.98757 | -0.23893 | 0.0029825 | 0.00074749
51 | 0.98651 | -0.25958 | 0.003405 | 0.00085336
52 | 0.97214 | -0.53746 | 0 | 0
53 | 0.972 | -0.54029 | 0.0038836 | 0.00097333
54 | 0.97194 | -0.54155 | 0 | 0
55 | 0.97149 | -0.55037 | 0.001298 | 0.00032531
56 | 0.98099 | -0.36399 | 0.0027127 | 0.00067987
57 | 0.99546 | -0.086561 | 0.0021561 | 0.00054038
58 | 0.98516 | -0.28595 | 0.0030036 | 0.00075278
59 | 0.9708 | -0.56405 | 0.0032818 | 0.00082249
60 | 0.97081 | -0.56373 | 0.0033027 | 0.00082773
61 | 0.97133 | -0.55347 | 0.0066135 | 0.0016575
62 | 0.98665 | -0.2568 | 0.003041 | 0.00076216
63 | 0.98788 | -0.23284 | 0.002984 | 0.00074785
64 | 0.9865 | -0.25981 | 0.0031141 | 0.00078048
65 | 0.99603 | -0.075425 | 0.0018041 | 0.00045216
66 | 0.99843 | -0.0298 | 0 | 0
67 | 0.97152 | -0.54982 | 0.0033023 | 0.00082764
68 | 0.97148 | -0.55064 | 0.003693 | 0.00092556
69 | 0.99557 | -0.084463 | 0.0018048 | 0.00045233
70 | 0.99591 | -0.077892 | 0.0018533 | 0.00046449
71 | 0.98663 | -0.25719 | 0.0031584 | 0.00079156
72 | 0.99192 | -0.15385 | 0.002689 | 0.00067394
73 | 0.98666 | -0.25666 | 0.0032116 | 0.00080491
74 | 0.99295 | -0.13389 | 0.0045501 | 0.0011404
75 | 1 | 0 | -0.21771 | -0.055235
76 | 0.99442 | -0.10644 | 0.0038542 | 0.00096596
77 | 0.99176 | -0.15766 | 0.0044432 | 0.0011136
78 | 0.99827 | -0.032768 | 0.0036308 | 0.00090996
79 | 0.99058 | -0.18059 | 0 | 0
80 | 0.99041 | -0.18385 | 0.0037508 | 0.00094004
81 | 0.9714 | -0.55219 | 0.003282 | 0.00082254
82 | 0.97102 | -0.55968 | 0.003301 | 0.00082731
83 | 0.97096 | -0.56077 | 0.0032832 | 0.00082285
84 | 0.98822 | -0.22622 | 0.0029819 | 0.00074733
85 | 0.98895 | -0.2121 | 0 | 0
86 | 0.98969 | -0.19772 | 0.0042414 | 0.001063
87 | 0.9866 | -0.2577 | 0.0032091 | 0.00080428
88 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0031141 | -0.00078046 | 0.003116 | 0.00077879 | 1.9003e-06 | -1.6719e-06 | 0.0047161 | 0.0047151 | 0.0047161 | 0.98254 | -0.33735 | 0.98319 | -0.32453 | 1.2956
1 | -0.003116 | -0.00077879 | 0.003118 | 0.00077701 | 2.0132e-06 | -1.7768e-06 | 0.0047151 | 0.004714 | 0.0047151 | 0.98319 | -0.32453 | 0.98389 | -0.31093 | 1.2954
2 | -0.0046974 | -0.0011729 | 0.0047027 | 0.0011727 | 5.3218e-06 | -1.7166e-07 | 0.0071027 | 0.0071014 | 0.0071027 | 0.98389 | -0.31093 | 0.9851 | -0.28709 | 1.9513
3 | -0.011211 | -0.0028037 | 0.011241 | 0.0028195 | 3.0313e-05 | 1.5799e-05 | 0.016932 | 0.016931 | 0.016932 | 0.9851 | -0.28709 | 0.98801 | -0.23038 | 4.6516
4 | 0.0065079 | 0.0016311 | -0.0065076 | -0.001631 | 3.7354e-07 | 1.0784e-07 | 0.0098304 | 0.0098304 | 0.0098304 | 0.9851 | -0.28709 | 0.98504 | -0.28829 | 2.7007
5 | -0.011241 | -0.0028195 | 0.01125 | 0.0028245 | 9.475e-06 | 4.9341e-06 | 0.016931 | 0.01693 | 0.016931 | 0.98801 | -0.23038 | 0.98892 | -0.21271 | 4.6512
6 | -0.07938 | -0.020279 | 0.079584 | 0.020408 | 0.00020348 | 0.00012974 | 0.11939 | 0.11939 | 0.11939 | 0.99051 | -0.18035 | 0.99329 | -0.12748 | 32.7989
7 | 0.07938 | 0.020279 | -0.079177 | -0.020149 | 0.00020301 | 0.00012944 | 0.11939 | 0.11939 | 0.11939 | 0.99051 | -0.18035 | 0.98775 | -0.23339 | 32.7989
8 | 0.022691 | 0.0056922 | -0.022687 | -0.0056897 | 4.1591e-06 | 2.5377e-06 | 0.033995 | 0.033995 | 0.033995 | 0.99329 | -0.12748 | 0.99309 | -0.13133 | 9.3394
9 | -0.10228 | -0.026101 | 0.10238 | 0.026166 | 0.00010316 | 6.5868e-05 | 0.15338 | 0.15338 | 0.15338 | 0.99329 | -0.12748 | 0.99438 | -0.10663 | 42.1381
10 | 0.076895 | 0.019577 | -0.076849 | -0.019548 | 4.638e-05 | 2.9566e-05 | 0.11595 | 0.11595 | 0.11595 | 0.98775 | -0.23339 | 0.98709 | -0.24591 | 31.8545
11 | 0.0080296 | 0.0020126 | -0.0080284 | -0.0020121 | 1.1732e-06 | 4.6965e-07 | 0.012014 | 0.012014 | 0.012014 | 0.99451 | -0.10477 | 0.99436 | -0.10784 | 3.3006
12 | -0.0080296 | -0.0020126 | 0.0080304 | 0.0020129 | 7.9235e-07 | 3.1713e-07 | 0.012014 | 0.012014 | 0.012014 | 0.99451 | -0.10477 | 0.99462 | -0.1027 | 3.3006
13 | -0.011578 | -0.002902 | 0.011579 | 0.0029025 | 9.2266e-07 | 4.8406e-07 | 0.017321 | 0.017321 | 0.017321 | 0.99462 | -0.1027 | 0.99471 | -0.10103 | 4.7586
14 | 0.027959 | 0.0070238 | -0.027947 | -0.0070166 | 1.1697e-05 | 7.2529e-06 | 0.041738 | 0.041739 | 0.041739 | 0.99691 | -0.058584 | 0.99645 | -0.067354 | 11.4666
15 | -0.13385 | -0.034164 | 0.13394 | 0.034224 | 9.4612e-05 | 6.0222e-05 | 0.2 | 0.2 | 0.2 | 0.99691 | -0.058584 | 0.99768 | -0.043965 | 27.473
16 | 0.10589 | 0.02714 | -0.10564 | -0.026984 | 0.00024598 | 0.00015606 | 0.15827 | 0.15827 | 0.15827 | 0.99691 | -0.058584 | 0.99438 | -0.10663 | 21.7398
17 | 0.026094 | 0.0065521 | -0.026084 | -0.0065459 | 1.0043e-05 | 6.198e-06 | 0.038971 | 0.038971 | 0.038971 | 0.99645 | -0.067354 | 0.99603 | -0.075425 | 10.7064
18 | -0.13574 | -0.034676 | 0.13584 | 0.034735 | 9.3035e-05 | 5.9227e-05 | 0.20269 | 0.20269 | 0.20269 | 0.99768 | -0.043965 | 0.99843 | -0.0298 | 27.8422
19 | -0.015129 | -0.0037925 | 0.015134 | 0.0037954 | 4.961e-06 | 2.8395e-06 | 0.02263 | 0.02263 | 0.02263 | 0.99479 | -0.099538 | 0.99514 | -0.092658 | 6.2171
20 | 0.015129 | 0.0037925 | -0.015128 | -0.0037919 | 1.0736e-06 | 6.1452e-07 | 0.02263 | 0.02263 | 0.02263 | 0.99479 | -0.099538 | 0.99471 | -0.10103 | 6.2171
21 | -0.018449 | -0.0046261 | 0.018454 | 0.0046293 | 5.3624e-06 | 3.1877e-06 | 0.027587 | 0.027587 | 0.027587 | 0.99514 | -0.092658 | 0.99546 | -0.086561 | 7.5787
22 | 0.0061365 | 0.0015379 | -0.006136 | -0.0015378 | 5.0558e-07 | 1.1726e-07 | 0.0091947 | 0.0091948 | 0.0091948 | 0.99309 | -0.13133 | 0.993 | -0.13305 | 2.526
23 | 0.016551 | 0.0041518 | -0.016546 | -0.0041488 | 5.2151e-06 | 3.0452e-06 | 0.024801 | 0.024801 | 0.024801 | 0.99309 | -0.13133 | 0.99275 | -0.13794 | 6.8134
24 | -0.039304 | -0.0099165 | 0.039325 | 0.0099301 | 2.1639e-05 | 1.3648e-05 | 0.059892 | 0.059892 | 0.059892 | 0.97688 | -0.44418 | 0.97747 | -0.43269 | 16.4539
25 | 0.039304 | 0.0099165 | -0.039271 | -0.0098961 | 3.2267e-05 | 2.0351e-05 | 0.059892 | 0.059892 | 0.059892 | 0.97688 | -0.44418 | 0.97601 | -0.46134 | 16.4539
26 | -0.045758 | -0.011542 | 0.045827 | 0.011586 | 6.8305e-05 | 4.3244e-05 | 0.069685 | 0.069685 | 0.069685 | 0.97747 | -0.43269 | 0.97906 | -0.40156 | 19.1443
27 | 0.035398 | 0.0089254 | -0.03534 | -0.0088891 | 5.7695e-05 | 3.6266e-05 | 0.053987 | 0.053987 | 0.053987 | 0.97601 | -0.46134 | 0.97427 | -0.49545 | 14.8316
28 | -0.01661 | -0.0041676 | 0.016623 | 0.0041753 | 1.3257e-05 | 7.758e-06 | 0.024994 | 0.024994 | 0.024994 | 0.98892 | -0.21271 | 0.98978 | -0.19598 | 6.8664
29 | 0.009634 | 0.0024144 | -0.0096337 | -0.0024143 | 2.8185e-07 | 1.349e-07 | 0.014528 | 0.014528 | 0.014528 | 0.98675 | -0.25485 | 0.98672 | -0.25547 | 3.9912
30 | -0.009634 | -0.0024144 | 0.0096346 | 0.0024147 | 6.4878e-07 | 3.105e-07 | 0.014528 | 0.014528 | 0.014528 | 0.98675 | -0.25485 | 0.98682 | -0.25344 | 3.9912
31 | 0.0064213 | 0.0016092 | -0.0064209 | -0.0016091 | 3.642e-07 | 1.008e-07 | 0.0096835 | 0.0096835 | 0.0096835 | 0.98672 | -0.25547 | 0.98666 | -0.25666 | 2.6603
32 | 0.0062005 | 0.0015539 | -0.0061995 | -0.0015537 | 9.9302e-07 | 2.4859e-07 | 0.0093496 | 0.0093497 | 0.0093497 | 0.98682 | -0.25344 | 0.98665 | -0.2568 | 2.5686
33 | -0.015835 | -0.0039686 | 0.015839 | 0.0039711 | 4.2089e-06 | 2.4421e-06 | 0.023878 | 0.023877 | 0.023878 | 0.98682 | -0.25344 | 0.98711 | -0.24786 | 6.5598
34 | -0.019125 | -0.0048025 | 0.019139 | 0.0048109 | 1.4053e-05 | 8.4112e-06 | 0.028756 | 0.028755 | 0.028756 | 0.98978 | -0.19598 | 0.99058 | -0.18059 | 7.8999
35 | -0.074169 | -0.018844 | 0.074251 | 0.018896 | 8.1837e-05 | 5.2154e-05 | 0.11203 | 0.11203 | 0.11203 | 0.98591 | -0.2688 | 0.98709 | -0.24591 | 30.7786
36 | 0.07181 | 0.018253 | -0.071775 | -0.018231 | 3.5078e-05 | 2.2349e-05 | 0.10847 | 0.10847 | 0.10847 | 0.98591 | -0.2688 | 0.98538 | -0.27895 | 29.8003
37 | 0.069414 | 0.017639 | -0.069347 | -0.017597 | 6.6364e-05 | 4.2268e-05 | 0.10491 | 0.10491 | 0.10491 | 0.98538 | -0.27895 | 0.98435 | -0.29883 | 28.8209
38 | 0.06831 | 0.017337 | -0.068184 | -0.017256 | 0.00012609 | 8.0295e-05 | 0.10334 | 0.10334 | 0.10334 | 0.98435 | -0.29883 | 0.98237 | -0.33727 | 28.3902
39 | 0.060248 | 0.015267 | -0.060171 | -0.015219 | 7.6812e-05 | 4.8849e-05 | 0.091319 | 0.091319 | 0.091319 | 0.98237 | -0.33727 | 0.981 | -0.36385 | 25.0877
40 | 0.057275 | 0.014493 | -0.057274 | -0.014492 | 3.8045e-07 | 2.418e-07 | 0.086926 | 0.086926 | 0.086926 | 0.981 | -0.36385 | 0.98099 | -0.36399 | 23.8808
41 | 0.010399 | 0.0026064 | -0.010398 | -0.0026061 | 6.0583e-07 | 3.0193e-07 | 0.015595 | 0.015595 | 0.015595 | 0.99223 | -0.14784 | 0.99217 | -0.14907 | 4.2843
42 | -0.011496 | -0.0028813 | 0.011496 | 0.0028814 | 2.5139e-07 | 1.3176e-07 | 0.01724 | 0.01724 | 0.01724 | 0.99223 | -0.14784 | 0.99226 | -0.14739 | 4.7362
43 | 0.0093031 | 0.0023316 | -0.0093025 | -0.0023314 | 5.927e-07 | 2.7448e-07 | 0.013952 | 0.013952 | 0.013952 | 0.99217 | -0.14907 | 0.9921 | -0.1504 | 3.8331
44 | -0.013223 | -0.0033142 | 0.013228 | 0.0033174 | 5.9544e-06 | 3.2889e-06 | 0.019829 | 0.019829 | 0.019829 | 0.99226 | -0.14739 | 0.99275 | -0.13794 | 5.4475
45 | 0.0068705 | 0.0017218 | -0.0068696 | -0.0017216 | 8.9474e-07 | 2.8254e-07 | 0.010305 | 0.010305 | 0.010305 | 0.9921 | -0.1504 | 0.99196 | -0.15314 | 2.831
46 | 0.003796 | 0.00095125 | -0.0037959 | -0.00095128 | 7.0812e-08 | -2.9858e-08 | 0.0056942 | 0.0056943 | 0.0056943 | 0.99196 | -0.15314 | 0.99194 | -0.15353 | 1.5644
47 | 0.0026891 | 0.00067388 | -0.002689 | -0.00067394 | 4.1638e-08 | -6.1433e-08 | 0.0040339 | 0.0040339 | 0.0040339 | 0.99194 | -0.15353 | 0.99192 | -0.15385 | 1.1082
48 | 0.0045503 | 0.0011403 | -0.0045501 | -0.0011404 | 1.8107e-07 | -1.8456e-08 | 0.0068186 | 0.0068187 | 0.0068187 | 0.993 | -0.13305 | 0.99295 | -0.13389 | 1.8733
49 | 0.03534 | 0.0088891 | -0.035287 | -0.0088553 | 5.3722e-05 | 3.3771e-05 | 0.053987 | 0.053987 | 0.053987 | 0.97427 | -0.49545 | 0.97265 | -0.52733 | 14.8317
50 | 0.011618 | 0.0029128 | -0.011613 | -0.0029098 | 5.608e-06 | 3.002e-06 | 0.017775 | 0.017775 | 0.017775 | 0.97265 | -0.52733 | 0.97214 | -0.53746 | 4.8832
51 | 0.023668 | 0.0059425 | -0.023654 | -0.0059335 | 1.463e-05 | 8.994e-06 | 0.036213 | 0.036213 | 0.036213 | 0.97265 | -0.52733 | 0.972 | -0.54029 | 9.9486
52 | -0.054463 | -0.01375 | 0.054562 | 0.013813 | 9.8221e-05 | 6.238e-05 | 0.082811 | 0.082811 | 0.082811 | 0.97906 | -0.40156 | 0.98099 | -0.36399 | 22.7504
53 | -0.0088728 | -0.0022232 | 0.0088839 | 0.0022282 | 1.1118e-05 | 5.0095e-06 | 0.0134 | 0.013399 | 0.0134 | 0.98529 | -0.28328 | 0.98664 | -0.257 | 3.6812
54 | 0.003004 | 0.00075239 | -0.0030039 | -0.00075252 | 1.296e-07 | -1.3092e-07 | 0.0045365 | 0.0045366 | 0.0045366 | 0.98529 | -0.28328 | 0.98525 | -0.28418 | 1.2463
55 | 0.0058688 | 0.0014708 | -0.0058684 | -0.0014708 | 3.2655e-07 | 6.7818e-08 | 0.0088632 | 0.0088632 | 0.0088632 | 0.98529 | -0.28328 | 0.98523 | -0.28445 | 2.4349
56 | 0.0065199 | 0.001634 | -0.0065191 | -0.0016338 | 8.0265e-07 | 2.3103e-07 | 0.0098331 | 0.0098332 | 0.0098332 | 0.98664 | -0.257 | 0.98651 | -0.25958 | 2.7014
57 | -0.015404 | -0.0038623 | 0.015411 | 0.0038661 | 6.7084e-06 | 3.8699e-06 | 0.023232 | 0.023232 | 0.023232 | 0.98664 | -0.257 | 0.98711 | -0.24786 | 6.3824
58 | 0.0030039 | 0.00075252 | -0.0030036 | -0.00075278 | 2.5225e-07 | -2.5474e-07 | 0.0045366 | 0.0045368 | 0.0045368 | 0.98525 | -0.28418 | 0.98516 | -0.28595 | 1.2464
59 | -0.03125 | -0.0078372 | 0.031263 | 0.0078455 | 1.3313e-05 | 8.3158e-06 | 0.047109 | 0.047109 | 0.047109 | 0.98711 | -0.24786 | 0.98757 | -0.23893 | 12.9421
60 | -0.034246 | -0.008593 | 0.034256 | 0.0085993 | 9.9466e-06 | 6.2383e-06 | 0.051603 | 0.051603 | 0.051603 | 0.98757 | -0.23893 | 0.98788 | -0.23284 | 14.1767
61 | 0.0031142 | 0.00078045 | -0.0031141 | -0.00078048 | 3.3207e-08 | -2.9987e-08 | 0.0046973 | 0.0046973 | 0.0046973 | 0.98651 | -0.25958 | 0.9865 | -0.25981 | 1.2905
62 | 0.0036953 | 0.00092465 | -0.0036946 | -0.00092493 | 7.1895e-07 | -2.8279e-07 | 0.0056558 | 0.005656 | 0.005656 | 0.97214 | -0.53746 | 0.97194 | -0.54155 | 1.5539
63 | 0.0079174 | 0.0019852 | -0.0079125 | -0.0019831 | 4.8699e-06 | 2.0213e-06 | 0.012119 | 0.01212 | 0.01212 | 0.97214 | -0.53746 | 0.97149 | -0.55037 | 3.3295
64 | 0.01977 | 0.0049602 | -0.019761 | -0.0049548 | 8.9765e-06 | 5.4212e-06 | 0.030268 | 0.030268 | 0.030268 | 0.972 | -0.54029 | 0.97152 | -0.54982 | 8.3153
65 | 0.0036946 | 0.00092493 | -0.003693 | -0.00092556 | 1.5994e-06 | -6.2775e-07 | 0.005656 | 0.0056566 | 0.0056566 | 0.97194 | -0.54155 | 0.97148 | -0.55064 | 1.554
66 | 0.0066145 | 0.0016578 | -0.0066135 | -0.0016575 | 9.7727e-07 | 3.1114e-07 | 0.010131 | 0.010131 | 0.010131 | 0.97149 | -0.55037 | 0.97133 | -0.55347 | 2.7834
67 | -0.02061 | -0.0051697 | 0.020612 | 0.0051709 | 2.0616e-06 | 1.2441e-06 | 0.03081 | 0.030809 | 0.03081 | 0.99546 | -0.086561 | 0.99557 | -0.084463 | 8.4642
68 | -0.0032818 | -0.00082249 | 0.0032818 | 0.00082246 | 4.9966e-08 | -3.3131e-08 | 0.0050302 | 0.0050302 | 0.0050302 | 0.9708 | -0.56405 | 0.97081 | -0.56373 | 1.3819
69 | -0.0065845 | -0.0016502 | 0.0065854 | 0.0016505 | 9.2811e-07 | 2.935e-07 | 0.010092 | 0.010092 | 0.010092 | 0.97081 | -0.56373 | 0.97096 | -0.56077 | 2.7726
70 | 0.0031584 | 0.00079151 | -0.0031584 | -0.00079156 | 5.8377e-08 | -5.026e-08 | 0.0047634 | 0.0047634 | 0.0047634 | 0.98665 | -0.2568 | 0.98663 | -0.25719 | 1.3086
71 | -0.03724 | -0.0093471 | 0.037251 | 0.0093545 | 1.1753e-05 | 7.3943e-06 | 0.056098 | 0.056098 | 0.056098 | 0.98788 | -0.23284 | 0.98822 | -0.22622 | 15.4115
72 | 0.02428 | 0.0060938 | -0.024277 | -0.006092 | 2.8572e-06 | 1.7533e-06 | 0.036276 | 0.036276 | 0.036276 | 0.99603 | -0.075425 | 0.99591 | -0.077892 | 9.966
73 | 0.0036313 | 0.00090968 | -0.0036308 | -0.00090996 | 5.1332e-07 | -2.826e-07 | 0.0054118 | 0.005412 | 0.005412 | 0.99843 | -0.0298 | 0.99827 | -0.032768 | 1.4868
74 | -0.13947 | -0.035645 | 0.13967 | 0.035773 | 0.00020134 | 0.00012821 | 0.2081 | 0.2081 | 0.2081 | 0.99843 | -0.0298 | 1 | 0 | 28.5856
75 | 0.016459 | 0.0041272 | -0.016457 | -0.0041261 | 1.8581e-06 | 1.0926e-06 | 0.02521 | 0.02521 | 0.02521 | 0.97152 | -0.54982 | 0.9714 | -0.55219 | 6.9257
76 | -0.022417 | -0.0056233 | 0.022424 | 0.0056275 | 7.0236e-06 | 4.2781e-06 | 0.033507 | 0.033507 | 0.033507 | 0.99557 | -0.084463 | 0.99591 | -0.077892 | 9.2052
77 | 0.0032093 | 0.00080415 | -0.0032091 | -0.00080428 | 1.5935e-07 | -1.2968e-07 | 0.00484 | 0.00484 | 0.00484 | 0.98666 | -0.25666 | 0.9866 | -0.2577 | 1.3297
78 | 0.076395 | 0.019462 | -0.076005 | -0.019213 | 0.00039011 | 0.00024862 | 0.11379 | 0.11379 | 0.11379 | 1 | 0 | 0.99442 | -0.10644 | 31.2606
79 | 0.07215 | 0.018247 | -0.071974 | -0.018134 | 0.0001768 | 0.00011263 | 0.10802 | 0.10802 | 0.10802 | 0.99442 | -0.10644 | 0.99176 | -0.15766 | 29.6762
80 | 0.06753 | 0.017021 | -0.067456 | -0.016974 | 7.4019e-05 | 4.7125e-05 | 0.10135 | 0.10136 | 0.10136 | 0.99176 | -0.15766 | 0.99058 | -0.18059 | 27.8448
81 | 0.048317 | 0.012163 | -0.04831 | -0.012158 | 7.5188e-06 | 4.763e-06 | 0.0726 | 0.0726 | 0.0726 | 0.99058 | -0.18059 | 0.99041 | -0.18385 | 19.945
82 | 0.044559 | 0.011218 | -0.044529 | -0.011199 | 2.9537e-05 | 1.8678e-05 | 0.066964 | 0.066965 | 0.066965 | 0.99041 | -0.18385 | 0.98969 | -0.19772 | 18.3969
83 | 0.013175 | 0.0033035 | -0.01317 | -0.0033009 | 4.7051e-06 | 2.6301e-06 | 0.020182 | 0.020182 | 0.020182 | 0.9714 | -0.55219 | 0.97102 | -0.55968 | 5.5446
84 | 0.0098692 | 0.0024736 | -0.0098686 | -0.0024733 | 5.1275e-07 | 2.5422e-07 | 0.015124 | 0.015124 | 0.015124 | 0.97102 | -0.55968 | 0.97096 | -0.56077 | 4.1549
85 | -0.040233 | -0.010102 | 0.04026 | 0.010119 | 2.7122e-05 | 1.7105e-05 | 0.060588 | 0.060588 | 0.060588 | 0.98822 | -0.22622 | 0.98895 | -0.2121 | 16.645
86 | -0.04026 | -0.010119 | 0.040288 | 0.010136 | 2.7662e-05 | 1.7445e-05 | 0.060588 | 0.060588 | 0.060588 | 0.98895 | -0.2121 | 0.98969 | -0.19772 | 16.6449

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.22165 | 0.056222

## res_load
| p_mw | q_mvar
0 | 0.0031141 | 0.00078046
1 | 0.0015794 | 0.00039584
2 | 0.0065076 | 0.001631
3 | 0.0022819 | 0.00057189
4 | 0.0080284 | 0.0020121
5 | 0.0035475 | 0.00088908
6 | 0.0018531 | 0.00046444
7 | 0.0018024 | 0.00045173
8 | 0.0032631 | 0.00081782
9 | 0.0033147 | 0.00083074
10 | 0.003549 | 0.00088947
11 | 0.006433 | 0.0016123
12 | 0.0038734 | 0.00097076
13 | 0.0053591 | 0.0013431
14 | 0.0032124 | 0.00080511
15 | 0.0025023 | 0.00062714
16 | 0.0023595 | 0.00059135
17 | 0.0025981 | 0.00065114
18 | 0.0023607 | 0.00059164
19 | 0.0010372 | 0.00025994
20 | 0.0079363 | 0.001989
21 | 0.0028964 | 0.0007259
22 | 0.0010968 | 0.0002749
23 | 0.0010951 | 0.00027447
24 | 0.0017266 | 0.00043273
25 | 0.002432 | 0.00060951
26 | 0.0033171 | 0.00083134
27 | 0.0030736 | 0.00077032
28 | 0.0011068 | 0.0002774
29 | 0.0015857 | 0.00039741
30 | 0.0086368 | 0.0021646
31 | 0.0058684 | 0.0014708
32 | 0.0029825 | 0.00074749
33 | 0.003405 | 0.00085336
34 | 0.0038836 | 0.00097333
35 | 0.001298 | 0.00032531
36 | 0.0027127 | 0.00067987
37 | 0.0021561 | 0.00054038
38 | 0.0030036 | 0.00075278
39 | 0.0032818 | 0.00082249
40 | 0.0033027 | 0.00082773
41 | 0.0066135 | 0.0016575
42 | 0.003041 | 0.00076216
43 | 0.002984 | 0.00074785
44 | 0.0031141 | 0.00078048
45 | 0.0018041 | 0.00045216
46 | 0.0033023 | 0.00082764
47 | 0.003693 | 0.00092556
48 | 0.0018048 | 0.00045233
49 | 0.0018533 | 0.00046449
50 | 0.0031584 | 0.00079156
51 | 0.002689 | 0.00067394
52 | 0.0032116 | 0.00080491
53 | 0.0045501 | 0.0011404
54 | 0.0039367 | 0.00098664
55 | 0.0038542 | 0.00096596
56 | 0.0044432 | 0.0011136
57 | 0.0036308 | 0.00090996
58 | 0.0037508 | 0.00094004
59 | 0.003282 | 0.00082254
60 | 0.003301 | 0.00082731
61 | 0.0032832 | 0.00082285
62 | 0.0029819 | 0.00074733
63 | 0.0042414 | 0.001063
64 | 0.0032091 | 0.00080428

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1